## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4671-49_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4671-49_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4671-49_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4671-49_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4671-49_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4671-49_0_3_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_4671-49_0_3_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_4671-49_0_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_4671-49_0_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_4671-49_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4671-49_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4671-49_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4671-49_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4671-49_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4671-49_0_3_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_4671-49_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_4671-49_0_3_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_4671-49_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_4671-49_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4671-49_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4671-49_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4671-49_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4671-49_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4671-49_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_4671-49_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_4671-49_0_3_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_4671-49_0_3_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_4671-49_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4671-49_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_4671-49_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4671-49_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4671-49_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4671-49_0_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_4671-49_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_4671-49_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_4671-49_0_3_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_4671-49_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_4671-49_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_4671-49_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4671-49_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4671-49_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4671-49_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4671-49_0_3_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_4671-49_0_3_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_4671-49_0_3_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_4671-49_0_3_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_4671-49_0_3_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_4671-49_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_4671-49_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_4671-49_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_4671-49_0_3_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_4671-49_0_3_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_4671-49_0_3_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_4671-49_0_3_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_4671-49_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_4671-49_0_3_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_4671-49_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_4671-49_0_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_4671-49_0_3_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_4671-49_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_4671-49_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4671-49_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4671-49_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4671-49_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_4671-49_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4671-49_0_3_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_4671-49_0_3_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_4671-49_0_3_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_4671-49_0_3_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_4671-49_0_3_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_4671-49_0_3_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_4671-49_0_3_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_4671-49_0_3_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_4671-49_0_3_node_94 | 0.4 | n |  | TRUE
74 | bus_LV_4671-49_0_3_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_4671-49_0_3_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_4671-49_0_3_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4671-49_0_3_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_4671-49_0_3_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_4671-49_0_3_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_4671-49_0_3_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_4671-49_0_3_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_4671-49_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_4671-49_0_3_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_4671-49_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_4671-49_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_4671-49_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_4671-49_0_3_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_4671-49_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_4671-49_0_3_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_4671-49_0_3_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_4671-49_0_3_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_4671-49_0_3_node_90 | 0.4 | n |  | TRUE
93 | bus_MV_442_0_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4671-49_0_3_load_0 | 0 | 0.0028248 | 0.00070795 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4671-49_0_3_load_1 | 1 | 0.0028543 | 0.00071536 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4671-49_0_3_load_4 | 3 | 0.0019552 | 0.00049002 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4671-49_0_3_load_28 | 5 | 0.0019273 | 0.00048303 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4671-49_0_3_load_47 | 6 | 0.0011187 | 0.00028038 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4671-49_0_3_load_29 | 7 | 0.00060239 | 0.00015097 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4671-49_0_3_load_6 | 9 | 0.0027733 | 0.00069506 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4671-49_0_3_load_7 | 10 | 0.0033324 | 0.00083517 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4671-49_0_3_load_8 | 11 | 0.012056 | 0.0030214 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4671-49_0_3_load_9 | 12 | 0.0018246 | 0.0004573 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4671-49_0_3_load_10 | 13 | 0.0015407 | 0.00038614 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4671-49_0_3_load_61 | 14 | 0.015499 | 0.0038844 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4671-49_0_3_load_16 | 15 | 0.0017134 | 0.00042941 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4671-49_0_3_load_74 | 16 | 0.0018236 | 0.00045705 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4671-49_0_3_load_17 | 17 | 0.0017129 | 0.00042929 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4671-49_0_3_load_11 | 18 | 0.0026694 | 0.00066902 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4671-49_0_3_load_12 | 19 | 0.002722 | 0.00068219 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4671-49_0_3_load_14 | 21 | 0.0071119 | 0.0017824 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4671-49_0_3_load_15 | 22 | 0.0071186 | 0.0017841 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4671-49_0_3_load_30 | 23 | 0.0071145 | 0.0017831 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4671-49_0_3_load_34 | 25 | 0.0017858 | 0.00044757 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4671-49_0_3_load_35 | 26 | 0.00098062 | 0.00024577 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4671-49_0_3_load_18 | 27 | 0.0060018 | 0.0015042 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4671-49_0_3_load_19 | 28 | 0.001825 | 0.00045739 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4671-49_0_3_load_20 | 29 | 0.0029099 | 0.00072928 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4671-49_0_3_load_22 | 31 | 0.002119 | 0.00053108 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4671-49_0_3_load_33 | 33 | 0.013405 | 0.0033597 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4671-49_0_3_load_38 | 34 | 0.00212 | 0.00053132 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4671-49_0_3_load_64 | 35 | 0.0025559 | 0.00064056 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4671-49_0_3_load_37 | 36 | 0.0041122 | 0.0010306 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4671-49_0_3_load_23 | 37 | 0.014419 | 0.0036137 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4671-49_0_3_load_71 | 42 | 0.0061297 | 0.0015362 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4671-49_0_3_load_69 | 43 | 0.0034565 | 0.00086628 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4671-49_0_3_load_95 | 44 | 0.0070521 | 0.0017674 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4671-49_0_3_load_76 | 45 | 0.0070233 | 0.0017602 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4671-49_0_3_load_70 | 46 | 0.003414 | 0.00085564 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4671-49_0_3_load_40 | 48 | 0.0011192 | 0.00028049 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4671-49_0_3_load_83 | 50 | 0.002327 | 0.0005832 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4671-49_0_3_load_92 | 51 | 0.0023307 | 0.00058412 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4671-49_0_3_load_82 | 52 | 0.0018741 | 0.0004697 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4671-49_0_3_load_81 | 53 | 0.0014626 | 0.00036656 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4671-49_0_3_load_36 | 54 | 0.00097951 | 0.00024549 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4671-49_0_3_load_52 | 55 | 0.0036269 | 0.00090899 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4671-49_0_3_load_66 | 57 | 0.0027584 | 0.00069131 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4671-49_0_3_load_67 | 58 | 0.0025015 | 0.00062692 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4671-49_0_3_load_41 | 59 | 0.0041658 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4671-49_0_3_load_42 | 60 | 0.0030334 | 0.00076024 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4671-49_0_3_load_44 | 62 | 0.0033591 | 0.00084188 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4671-49_0_3_load_46 | 63 | 0.0018756 | 0.00047006 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4671-49_0_3_load_53 | 64 | 0.0014626 | 0.00036656 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4671-49_0_3_load_84 | 65 | 0.0024368 | 0.00061071 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4671-49_0_3_load_85 | 66 | 0.0024368 | 0.00061071 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4671-49_0_3_load_72 | 69 | 0.0059825 | 0.0014994 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4671-49_0_3_load_93 | 70 | 0.0035351 | 0.00088599 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4671-49_0_3_load_94 | 73 | 0.016957 | 0.0042499 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4671-49_0_3_load_54 | 74 | 0.0060624 | 0.0015194 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4671-49_0_3_load_57 | 76 | 0.006543 | 0.0016398 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4671-49_0_3_load_58 | 77 | 0.017942 | 0.0044967 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4671-49_0_3_load_59 | 78 | 0.013306 | 0.0033349 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4671-49_0_3_load_60 | 79 | 0.002362 | 0.00059197 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4671-49_0_3_load_65 | 81 | 0.0057074 | 0.0014304 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4671-49_0_3_load_75 | 82 | 0.0020029 | 0.00050198 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4671-49_0_3_load_68 | 83 | 0.0049105 | 0.0012307 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4671-49_0_3_load_77 | 84 | 0.010028 | 0.0025133 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4671-49_0_3_load_78 | 85 | 0.034198 | 0.0085709 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4671-49_0_3_load_79 | 86 | 0.0059108 | 0.0014814 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4671-49_0_3_load_86 | 88 | 0.0026898 | 0.00067412 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4671-49_0_3_load_87 | 89 | 0.02706 | 0.0067818 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4671-49_0_3_load_88 | 90 | 0.0026916 | 0.00067457 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4671-49_0_3_load_89 | 91 | 0.0026916 | 0.00067458 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4671-49_0_3_load_90 | 92 | 0.0026901 | 0.00067421 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4671-49_0_3_line_0 |  | 0 | 1 | 0.029708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4671-49_0_3_line_1 |  | 1 | 2 | 0.042333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4671-49_0_3_line_2 |  | 2 | 3 | 0.016686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4671-49_0_3_line_3 |  | 2 | 4 | 0.02277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4671-49_0_3_line_4 |  | 3 | 5 | 0.01346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4671-49_0_3_line_5 |  | 4 | 6 | 0.010059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4671-49_0_3_line_6 |  | 5 | 7 | 0.014285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4671-49_0_3_line_7 |  | 6 | 8 | 0.053401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4671-49_0_3_line_8 |  | 7 | 47 | 0.015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4671-49_0_3_line_9 |  | 8 | 67 | 0.004847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4671-49_0_3_line_10 |  | 8 | 68 | 0.016073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4671-49_0_3_line_11 |  | 9 | 10 | 0.020409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4671-49_0_3_line_12 |  | 9 | 11 | 0.0058057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4671-49_0_3_line_13 |  | 10 | 12 | 0.019654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4671-49_0_3_line_14 |  | 11 | 13 | 0.015618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4671-49_0_3_line_15 |  | 12 | 14 | 0.0036585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4671-49_0_3_line_16 |  | 13 | 15 | 0.013764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4671-49_0_3_line_17 |  | 14 | 16 | 0.0024657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4671-49_0_3_line_18 |  | 15 | 17 | 0.0073227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4671-49_0_3_line_19 |  | 16 | 82 | 0.017885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4671-49_0_3_line_20 |  | 17 | 25 | 0.00024286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4671-49_0_3_line_21 |  | 18 | 19 | 0.0047872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4671-49_0_3_line_22 |  | 18 | 20 | 0.015188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4671-49_0_3_line_23 |  | 19 | 21 | 0.027009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4671-49_0_3_line_24 |  | 20 | 22 | 0.020972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4671-49_0_3_line_25 |  | 21 | 23 | 0.0015934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4671-49_0_3_line_26 |  | 23 | 24 | 0.027006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4671-49_0_3_line_27 |  | 24 | 49 | 0.042042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4671-49_0_3_line_28 |  | 24 | 33 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4671-49_0_3_line_29 |  | 25 | 26 | 0.0065724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4671-49_0_3_line_30 |  | 26 | 54 | 0.0055585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4671-49_0_3_line_31 |  | 27 | 28 | 0.0059593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4671-49_0_3_line_32 |  | 27 | 29 | 0.019771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4671-49_0_3_line_33 |  | 28 | 30 | 0.01578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4671-49_0_3_line_34 |  | 29 | 31 | 0.009243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4671-49_0_3_line_35 |  | 30 | 32 | 0.021287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4671-49_0_3_line_36 |  | 30 | 33 | 0.0047624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4671-49_0_3_line_37 |  | 31 | 34 | 0.00037562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4671-49_0_3_line_38 |  | 32 | 35 | 0.017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4671-49_0_3_line_39 |  | 34 | 36 | 0.00216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4671-49_0_3_line_40 |  | 35 | 80 | 0.0048109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4671-49_0_3_line_41 |  | 36 | 47 | 0.0017741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4671-49_0_3_line_42 |  | 37 | 38 | 0.021305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4671-49_0_3_line_43 |  | 37 | 39 | 0.019137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4671-49_0_3_line_44 |  | 38 | 40 | 0.026711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4671-49_0_3_line_45 |  | 39 | 41 | 0.028856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4671-49_0_3_line_46 |  | 40 | 42 | 0.01731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4671-49_0_3_line_47 |  | 40 | 43 | 0.016747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4671-49_0_3_line_48 |  | 41 | 44 | 0.010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4671-49_0_3_line_49 |  | 42 | 45 | 0.020873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4671-49_0_3_line_50 |  | 43 | 46 | 0.0056314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4671-49_0_3_line_51 |  | 45 | 84 | 0.0044496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4671-49_0_3_line_52 |  | 46 | 62 | 0.02341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4671-49_0_3_line_53 |  | 47 | 48 | 0.018097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4671-49_0_3_line_54 |  | 48 | 57 | 0.022434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4671-49_0_3_line_55 |  | 49 | 50 | 0.042719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4671-49_0_3_line_56 |  | 50 | 51 | 0.0069935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4671-49_0_3_line_57 |  | 51 | 87 | 0.03151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4671-49_0_3_line_58 |  | 52 | 53 | 0.0015884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4671-49_0_3_line_59 |  | 53 | 64 | 0.00011707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4671-49_0_3_line_60 |  | 54 | 55 | 0.01126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4671-49_0_3_line_61 |  | 55 | 56 | 0.011541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4671-49_0_3_line_62 |  | 56 | 64 | 0.016821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4671-49_0_3_line_63 |  | 56 | 61 | 0.003331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4671-49_0_3_line_64 |  | 57 | 58 | 0.00046249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4671-49_0_3_line_65 |  | 58 | 83 | 0.021917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4671-49_0_3_line_66 |  | 59 | 60 | 0.011967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4671-49_0_3_line_67 |  | 59 | 61 | 0.019159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4671-49_0_3_line_68 |  | 60 | 62 | 0.0019288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4671-49_0_3_line_69 |  | 61 | 63 | 0.016976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4671-49_0_3_line_70 |  | 63 | 65 | 0.0076426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4671-49_0_3_line_71 |  | 65 | 66 | 0.0058189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4671-49_0_3_line_72 |  | 66 | 88 | 0.017855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4671-49_0_3_line_73 |  | 67 | 69 | 0.010123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4671-49_0_3_line_74 |  | 68 | 70 | 0.052581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4671-49_0_3_line_75 |  | 69 | 71 | 0.040695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4671-49_0_3_line_76 |  | 71 | 72 | 0.039251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4671-49_0_3_line_77 |  | 72 | 73 | 0.038168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4671-49_0_3_line_78 |  | 74 | 75 | 0.030311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4671-49_0_3_line_79 |  | 75 | 76 | 0.002625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4671-49_0_3_line_80 |  | 75 | 77 | 0.027377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4671-49_0_3_line_81 |  | 76 | 78 | 0.023472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4671-49_0_3_line_82 |  | 78 | 79 | 0.0033461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4671-49_0_3_line_83 |  | 79 | 80 | 0.025175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4671-49_0_3_line_84 |  | 80 | 81 | 0.015143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4671-49_0_3_line_85 |  | 84 | 85 | 0.023407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4671-49_0_3_line_86 |  | 85 | 86 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4671-49_0_3_line_87 |  | 87 | 92 | 0.0441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_4671-49_0_3_line_88 |  | 88 | 89 | 0.0058734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_4671-49_0_3_line_89 |  | 89 | 90 | 0.00038191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_4671-49_0_3_line_90 |  | 90 | 91 | 0.006439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_4671-49_0_3_line_91 |  | 91 | 92 | 0.0062546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4671-49_0_3_trafo_82 | 0.63 MVA 20/0.4 kV | 93 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2731221.6505 | 1277932.7407 | 2731204.2472 | 1277940.0515 | 2731193.8994 | 1277943.2507
1 | 2731152.7656 | 1277953.1419 | 2731184.2801 | 1277946.2247 | 2731193.8994 | 1277943.2507
2 | 2731152.7656 | 1277953.1419 | 2731159.6935 | 1277968.3218
3 | 2731130.0191 | 1277955.1827 | 2731152.7656 | 1277953.1419
4 | 2731165.2819 | 1277980.5667 | 2731159.6935 | 1277968.3218
5 | 2731130.0191 | 1277955.1827 | 2731119.9807 | 1277955.8277
6 | 2731165.2819 | 1277980.5667 | 2731171.213 | 1277993.5624
7 | 2731066.7238 | 1277959.7139 | 2731088.489 | 1277957.8512 | 2731119.9807 | 1277955.8277
8 | 2731177.6005 | 1278007.5584 | 2731171.213 | 1277993.5624
9 | 2731066.7238 | 1277959.7139 | 2731067.1802 | 1277964.5399
10 | 2731055.8127 | 1277955.5007 | 2731055.841 | 1277960.6508 | 2731066.7238 | 1277959.7139
11 | 2731182.8631 | 1278169.6289 | 2731165.4154 | 1278180.2168
12 | 2731187.8264 | 1278166.617 | 2731182.8631 | 1278169.6289
13 | 2731165.4154 | 1278180.2168 | 2731148.6132 | 1278190.4131
14 | 2731187.8264 | 1278166.617 | 2731201.1779 | 1278158.5147
15 | 2731145.4855 | 1278192.3111 | 2731148.6132 | 1278190.4131
16 | 2731212.9447 | 1278151.3742 | 2731201.1779 | 1278158.5147
17 | 2731145.4855 | 1278192.3111 | 2731143.3776 | 1278193.5902
18 | 2731212.9447 | 1278151.3742 | 2731219.2048 | 1278147.5753
19 | 2731128.0877 | 1278202.8687 | 2731143.3776 | 1278193.5902
20 | 2731219.4125 | 1278147.4493 | 2731219.2048 | 1278147.5753
21 | 2731261.9937 | 1278001.876 | 2731258.8227 | 1278005.4623
22 | 2731272.0538 | 1277990.4982 | 2731261.9937 | 1278001.876
23 | 2731240.7336 | 1278025.5175 | 2731250.3163 | 1278015.083 | 2731258.8227 | 1278005.4623
24 | 2731272.0538 | 1277990.4982 | 2731284.333 | 1278007.5
25 | 2731239.6559 | 1278026.6911 | 2731240.7336 | 1278025.5175
26 | 2731221.3893 | 1278046.5815 | 2731239.6559 | 1278026.6911
27 | 2731259.431 | 1278062.143 | 2731248.7971 | 1278061.3612 | 2731237.3912 | 1278057.7818 | 2731221.3893 | 1278046.5815
28 | 2731221.3893 | 1278046.5815 | 2731216.802 | 1278048.359 | 2731206.8302 | 1278054.1592
29 | 2731219.4125 | 1278147.4493 | 2731225.0312 | 1278144.0396
30 | 2731225.0312 | 1278144.0396 | 2731229.7832 | 1278141.156
31 | 2731195.8163 | 1278042.3631 | 2731193.0529 | 1278037.0832
32 | 2731183.8849 | 1278019.566 | 2731193.0529 | 1278037.0832
33 | 2731202.7135 | 1278056.5537 | 2731197.4718 | 1278045.5263 | 2731195.8163 | 1278042.3631
34 | 2731183.8849 | 1278019.566 | 2731179.5989 | 1278011.3767
35 | 2731202.7135 | 1278056.5537 | 2731191.5276 | 1278062.6776 | 2731184.0016 | 1278066.8031
36 | 2731202.7135 | 1278056.5537 | 2731206.8302 | 1278054.1592
37 | 2731179.5989 | 1278011.3767 | 2731179.4248 | 1278011.0439
38 | 2731184.0016 | 1278066.8031 | 2731168.5946 | 1278075.2528
39 | 2731178.4232 | 1278009.1302 | 2731179.4248 | 1278011.0439
40 | 2731164.3764 | 1278077.5662 | 2731168.5946 | 1278075.2528
41 | 2731177.6005 | 1278007.5584 | 2731178.4232 | 1278009.1302
42 | 2731272.8781 | 1278212.3338 | 2731269.0801 | 1278209.3908 | 2731263.6218 | 1278212.4835 | 2731255.988 | 1278219.2883
43 | 2731240.4324 | 1278230.4074 | 2731254.2122 | 1278220.8713 | 2731255.988 | 1278219.2883
44 | 2731293.1851 | 1278194.9131 | 2731272.8781 | 1278212.3338
45 | 2731224.7594 | 1278206.1461 | 2731240.4324 | 1278230.4074
46 | 2731293.1851 | 1278194.9131 | 2731306.8412 | 1278184.2762
47 | 2731293.1851 | 1278194.9131 | 2731284.4648 | 1278180.6155
48 | 2731217.6069 | 1278203.2953 | 2731221.0076 | 1278208.5539 | 2731224.7594 | 1278206.1461
49 | 2731306.8412 | 1278184.2762 | 2731323.3081 | 1278171.45
50 | 2731284.4648 | 1278180.6155 | 2731281.5324 | 1278175.8077
51 | 2731323.3081 | 1278171.45 | 2731326.8184 | 1278168.7157
52 | 2731269.3428 | 1278155.822 | 2731281.5324 | 1278175.8077
53 | 2731177.6005 | 1278007.5584 | 2731161.3075 | 1278015.4342
54 | 2731141.1094 | 1278025.1977 | 2731161.3075 | 1278015.4342
55 | 2731259.431 | 1278062.143 | 2731276.0735 | 1278057.0639 | 2731290.6855 | 1278053.0407 | 2731300.8393 | 1278052.6178
56 | 2731300.8393 | 1278052.6178 | 2731304.6045 | 1278052.461 | 2731307.8206 | 1278052.6999
57 | 2731338.6848 | 1278058.5701 | 2731317.6546 | 1278053.4302 | 2731307.8206 | 1278052.6999
58 | 2731240.6684 | 1278114.7397 | 2731239.8612 | 1278113.3717
59 | 2731240.7279 | 1278114.8405 | 2731240.6684 | 1278114.7397
60 | 2731239.409 | 1278135.3147 | 2731229.7832 | 1278141.156
61 | 2731249.2755 | 1278129.3273 | 2731239.409 | 1278135.3147
62 | 2731249.2755 | 1278129.3273 | 2731240.7279 | 1278114.8405
63 | 2731252.1327 | 1278127.6003 | 2731249.2755 | 1278129.3273
64 | 2731140.693 | 1278025.3989 | 2731141.1094 | 1278025.1977
65 | 2731120.9609 | 1278034.9372 | 2731140.693 | 1278025.3989
66 | 2731262.1082 | 1278143.9577 | 2731264.3157 | 1278147.5798 | 2731268.3384 | 1278154.1753
67 | 2731252.1327 | 1278127.6003 | 2731253.8225 | 1278130.3628 | 2731262.1082 | 1278143.9577
68 | 2731269.3428 | 1278155.822 | 2731268.3384 | 1278154.1753
69 | 2731252.1327 | 1278127.6003 | 2731266.1598 | 1278118.0392
70 | 2731266.1598 | 1278118.0392 | 2731272.4749 | 1278113.7348
71 | 2731272.4749 | 1278113.7348 | 2731277.2831 | 1278110.4574
72 | 2731277.2831 | 1278110.4574 | 2731292.0367 | 1278100.4012
73 | 2731067.1802 | 1277964.5399 | 2731068.1513 | 1277974.6158
74 | 2731055.8127 | 1277955.5007 | 2731057.9803 | 1277955.7158 | 2731071.7379 | 1277954.9651 | 2731108.2554 | 1277952.1711
75 | 2731035.8265 | 1277985.8754 | 2731045.1875 | 1277989.1421 | 2731047.7551 | 1277981.1691 | 2731054.5153 | 1277975.6472 | 2731068.1513 | 1277974.6158
76 | 2731035.8265 | 1277985.8754 | 2731034.737 | 1277988.8986 | 2731032.9089 | 1277996.065 | 2731030.9488 | 1278007.1434 | 2731028.5737 | 1278024.3742
77 | 2731066.4739 | 1278029.7658 | 2731028.5737 | 1278024.3742
78 | 2731116.8433 | 1278104.4692 | 2731091.3528 | 1278120.8699
79 | 2731116.8433 | 1278104.4692 | 2731119.1278 | 1278103.1763
80 | 2731116.8433 | 1278104.4692 | 2731131.4359 | 1278127.6323
81 | 2731119.1278 | 1278103.1763 | 2731139.5552 | 1278091.6147
82 | 2731142.4672 | 1278089.9665 | 2731139.5552 | 1278091.6147
83 | 2731164.3764 | 1278077.5662 | 2731142.4672 | 1278089.9665
84 | 2731171.3228 | 1278091.0338 | 2731164.3764 | 1278077.5662
85 | 2731326.8184 | 1278168.7157 | 2731345.2848 | 1278154.332
86 | 2731355.4588 | 1278146.4074 | 2731345.2848 | 1278154.332
87 | 2731338.6848 | 1278058.5701 | 2731324.0101 | 1278075.8603 | 2731308.8734 | 1278088.9251 | 2731307.6943 | 1278089.7288
88 | 2731292.0367 | 1278100.4012 | 2731296.8899 | 1278097.0932
89 | 2731297.2055 | 1278096.8781 | 2731296.8899 | 1278097.0932
90 | 2731297.2055 | 1278096.8781 | 2731302.5261 | 1278093.2515
91 | 2731302.5261 | 1278093.2515 | 2731307.6943 | 1278089.7288

## bus_geodata
| x | y | coords
0 | 2731221.6505 | 1277932.7407
1 | 2731193.8994 | 1277943.2507
2 | 2731152.7656 | 1277953.1419
3 | 2731159.6935 | 1277968.3218
4 | 2731130.0191 | 1277955.1827
5 | 2731165.2819 | 1277980.5667
6 | 2731119.9807 | 1277955.8277
7 | 2731171.213 | 1277993.5624
8 | 2731066.7238 | 1277959.7139
9 | 2731182.8631 | 1278169.6289
10 | 2731165.4154 | 1278180.2168
11 | 2731187.8264 | 1278166.617
12 | 2731148.6132 | 1278190.4131
13 | 2731201.1779 | 1278158.5147
14 | 2731145.4855 | 1278192.3111
15 | 2731212.9447 | 1278151.3742
16 | 2731143.3776 | 1278193.5902
17 | 2731219.2048 | 1278147.5753
18 | 2731261.9937 | 1278001.876
19 | 2731258.8227 | 1278005.4623
20 | 2731272.0538 | 1277990.4982
21 | 2731240.7336 | 1278025.5175
22 | 2731284.333 | 1278007.5
23 | 2731239.6559 | 1278026.6911
24 | 2731221.3893 | 1278046.5815
25 | 2731219.4125 | 1278147.4493
26 | 2731225.0312 | 1278144.0396
27 | 2731193.0529 | 1278037.0832
28 | 2731195.8162 | 1278042.3631
29 | 2731183.8849 | 1278019.566
30 | 2731202.7135 | 1278056.5537
31 | 2731179.5989 | 1278011.3767
32 | 2731184.0016 | 1278066.8031
33 | 2731206.8302 | 1278054.1592
34 | 2731179.4248 | 1278011.0439
35 | 2731168.5946 | 1278075.2528
36 | 2731178.4232 | 1278009.1302
37 | 2731255.988 | 1278219.2883
38 | 2731272.8781 | 1278212.3338
39 | 2731240.4324 | 1278230.4074
40 | 2731293.1851 | 1278194.9131
41 | 2731224.7594 | 1278206.1461
42 | 2731306.8412 | 1278184.2762
43 | 2731284.4648 | 1278180.6155
44 | 2731217.6069 | 1278203.2953
45 | 2731323.3081 | 1278171.45
46 | 2731281.5324 | 1278175.8077
47 | 2731177.6005 | 1278007.5584
48 | 2731161.3075 | 1278015.4342
49 | 2731259.431 | 1278062.143
50 | 2731300.8393 | 1278052.6178
51 | 2731307.8206 | 1278052.6999
52 | 2731239.8612 | 1278113.3717
53 | 2731240.6684 | 1278114.7397
54 | 2731229.7832 | 1278141.156
55 | 2731239.409 | 1278135.3147
56 | 2731249.2755 | 1278129.3273
57 | 2731141.1094 | 1278025.1977
58 | 2731140.693 | 1278025.3989
59 | 2731262.1082 | 1278143.9577
60 | 2731268.3384 | 1278154.1753
61 | 2731252.1327 | 1278127.6003
62 | 2731269.3428 | 1278155.822
63 | 2731266.1598 | 1278118.0392
64 | 2731240.7279 | 1278114.8405
65 | 2731272.4749 | 1278113.7348
66 | 2731277.2831 | 1278110.4574
67 | 2731067.1802 | 1277964.5399
68 | 2731055.8127 | 1277955.5007
69 | 2731068.1513 | 1277974.6158
70 | 2731108.2554 | 1277952.1711
71 | 2731035.8265 | 1277985.8754
72 | 2731028.5737 | 1278024.3742
73 | 2731066.4739 | 1278029.7658
74 | 2731091.3528 | 1278120.8699
75 | 2731116.8433 | 1278104.4692
76 | 2731119.1278 | 1278103.1763
77 | 2731131.4359 | 1278127.6323
78 | 2731139.5552 | 1278091.6147
79 | 2731142.4672 | 1278089.9665
80 | 2731164.3764 | 1278077.5662
81 | 2731171.3228 | 1278091.0338
82 | 2731128.0877 | 1278202.8687
83 | 2731120.9609 | 1278034.9372
84 | 2731326.8184 | 1278168.7157
85 | 2731345.2848 | 1278154.332
86 | 2731355.4588 | 1278146.4074
87 | 2731338.6848 | 1278058.5701
88 | 2731292.0367 | 1278100.4012
89 | 2731296.8899 | 1278097.0932
90 | 2731297.2055 | 1278096.8781
91 | 2731302.5261 | 1278093.2515
92 | 2731307.6943 | 1278089.7288
93 | 2731249.2755 | 1278129.3273

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1