## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4724-9_1_4_node_27 | 0.4 | n |  | TRUE
1 | bus_LV_4724-9_1_4_node_29 | 0.4 | n |  | TRUE
2 | bus_LV_4724-9_1_4_node_28 | 0.4 | n |  | TRUE
3 | bus_LV_4724-9_1_4_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_4724-9_1_4_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_4724-9_1_4_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_4724-9_1_4_node_106 | 0.4 | n |  | TRUE
7 | bus_LV_4724-9_1_4_node_89 | 0.4 | n |  | TRUE
8 | bus_LV_4724-9_1_4_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_4724-9_1_4_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_4724-9_1_4_node_107 | 0.4 | n |  | TRUE
11 | bus_LV_4724-9_1_4_node_95 | 0.4 | n |  | TRUE
12 | bus_LV_4724-9_1_4_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_4724-9_1_4_node_108 | 0.4 | n |  | TRUE
14 | bus_LV_4724-9_1_4_node_80 | 0.4 | n |  | TRUE
15 | bus_LV_4724-9_1_4_node_84 | 0.4 | n |  | TRUE
16 | bus_LV_4724-9_1_4_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_4724-9_1_4_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_4724-9_1_4_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_4724-9_1_4_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_4724-9_1_4_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_4724-9_1_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_4724-9_1_4_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_4724-9_1_4_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_4724-9_1_4_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_4724-9_1_4_node_98 | 0.4 | n |  | TRUE
26 | bus_LV_4724-9_1_4_node_111 | 0.4 | n |  | TRUE
27 | bus_LV_4724-9_1_4_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_4724-9_1_4_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_4724-9_1_4_node_99 | 0.4 | n |  | TRUE
30 | bus_LV_4724-9_1_4_node_112 | 0.4 | n |  | TRUE
31 | bus_LV_4724-9_1_4_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_4724-9_1_4_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_4724-9_1_4_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_4724-9_1_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_4724-9_1_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_4724-9_1_4_node_126 | 0.4 | n |  | TRUE
37 | bus_LV_4724-9_1_4_node_123 | 0.4 | n |  | TRUE
38 | bus_LV_4724-9_1_4_node_105 | 0.4 | n |  | TRUE
39 | bus_LV_4724-9_1_4_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_4724-9_1_4_node_117 | 0.4 | n |  | TRUE
41 | bus_LV_4724-9_1_4_node_124 | 0.4 | n |  | TRUE
42 | bus_LV_4724-9_1_4_node_102 | 0.4 | n |  | TRUE
43 | bus_LV_4724-9_1_4_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_4724-9_1_4_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_4724-9_1_4_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_4724-9_1_4_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_4724-9_1_4_node_74 | 0.4 | n |  | TRUE
48 | bus_LV_4724-9_1_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_4724-9_1_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_4724-9_1_4_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_4724-9_1_4_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_4724-9_1_4_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_4724-9_1_4_node_81 | 0.4 | n |  | TRUE
54 | bus_LV_4724-9_1_4_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_4724-9_1_4_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_4724-9_1_4_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_4724-9_1_4_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_4724-9_1_4_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_4724-9_1_4_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_4724-9_1_4_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_4724-9_1_4_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_4724-9_1_4_node_109 | 0.4 | n |  | TRUE
63 | bus_LV_4724-9_1_4_node_94 | 0.4 | n |  | TRUE
64 | bus_LV_4724-9_1_4_node_128 | 0.4 | n |  | TRUE
65 | bus_LV_4724-9_1_4_node_110 | 0.4 | n |  | TRUE
66 | bus_LV_4724-9_1_4_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_4724-9_1_4_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_4724-9_1_4_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_4724-9_1_4_node_86 | 0.4 | n |  | TRUE
70 | bus_LV_4724-9_1_4_node_97 | 0.4 | n |  | TRUE
71 | bus_LV_4724-9_1_4_node_96 | 0.4 | n |  | TRUE
72 | bus_LV_4724-9_1_4_node_119 | 0.4 | n |  | TRUE
73 | bus_LV_4724-9_1_4_node_129 | 0.4 | n |  | TRUE
74 | bus_LV_4724-9_1_4_node_130 | 0.4 | n |  | TRUE
75 | bus_LV_4724-9_1_4_node_131 | 0.4 | n |  | TRUE
76 | bus_LV_4724-9_1_4_node_132 | 0.4 | n |  | TRUE
77 | bus_LV_4724-9_1_4_node_118 | 0.4 | n |  | TRUE
78 | bus_LV_4724-9_1_4_node_101 | 0.4 | n |  | TRUE
79 | bus_LV_4724-9_1_4_node_104 | 0.4 | n |  | TRUE
80 | bus_LV_4724-9_1_4_node_115 | 0.4 | n |  | TRUE
81 | bus_LV_4724-9_1_4_node_113 | 0.4 | n |  | TRUE
82 | bus_LV_4724-9_1_4_node_120 | 0.4 | n |  | TRUE
83 | bus_LV_4724-9_1_4_node_121 | 0.4 | n |  | TRUE
84 | bus_LV_4724-9_1_4_node_114 | 0.4 | n |  | TRUE
85 | bus_LV_4724-9_1_4_node_116 | 0.4 | n |  | TRUE
86 | bus_LV_4724-9_1_4_node_122 | 0.4 | n |  | TRUE
87 | bus_LV_4724-9_1_4_node_125 | 0.4 | n |  | TRUE
88 | bus_MV_35_1_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4724-9_1_4_load_27 | 0 | 0.0090068 | 0.0022573 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4724-9_1_4_load_28 | 2 | 0.042331 | 0.010609 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4724-9_1_4_load_40 | 3 | 0.0057896 | 0.001451 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4724-9_1_4_load_31 | 5 | 0.0073734 | 0.001848 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4724-9_1_4_load_106 | 6 | 0.031191 | 0.0078173 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4724-9_1_4_load_107 | 10 | 0.011435 | 0.002866 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4724-9_1_4_load_95 | 11 | 0.0087909 | 0.0022032 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4724-9_1_4_load_108 | 13 | 0.0093957 | 0.0023548 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4724-9_1_4_load_84 | 15 | 0.0037927 | 0.00095054 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4724-9_1_4_load_73 | 16 | 0.0020466 | 0.00051292 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4724-9_1_4_load_41 | 17 | 0.0096935 | 0.0024294 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4724-9_1_4_load_42 | 18 | 0.00243 | 0.00060902 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4724-9_1_4_load_44 | 20 | 0.0072556 | 0.0018184 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4724-9_1_4_load_46 | 22 | 0.0059256 | 0.0014851 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4724-9_1_4_load_90 | 23 | 0.0089566 | 0.0022447 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4724-9_1_4_load_76 | 24 | 0.0049662 | 0.0012447 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4724-9_1_4_load_98 | 25 | 0.0071424 | 0.0017901 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4724-9_1_4_load_111 | 26 | 0.007969 | 0.0019972 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4724-9_1_4_load_85 | 27 | 0.0025813 | 0.00064694 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4724-9_1_4_load_75 | 28 | 0.011404 | 0.002858 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4724-9_1_4_load_99 | 29 | 0.016196 | 0.0040592 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4724-9_1_4_load_112 | 30 | 0.001726 | 0.00043258 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4724-9_1_4_load_47 | 31 | 0.0042424 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4724-9_1_4_load_48 | 32 | 0.0047789 | 0.0011977 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4724-9_1_4_load_52 | 35 | 0.0062482 | 0.0015659 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4724-9_1_4_load_126 | 36 | 0.0022183 | 0.00055597 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4724-9_1_4_load_123 | 37 | 0.0015752 | 0.00039478 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4724-9_1_4_load_105 | 38 | 0.0035549 | 0.00089094 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4724-9_1_4_load_117 | 40 | 0.0031623 | 0.00079256 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4724-9_1_4_load_124 | 41 | 0.0026627 | 0.00066733 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4724-9_1_4_load_59 | 43 | 0.0021759 | 0.00054532 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4724-9_1_4_load_60 | 44 | 0.0049293 | 0.0012354 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4724-9_1_4_load_61 | 45 | 0.0014216 | 0.00035628 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4724-9_1_4_load_62 | 46 | 0.0018809 | 0.00047139 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4724-9_1_4_load_74 | 47 | 0.0039134 | 0.00098079 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4724-9_1_4_load_69 | 48 | 0.0044625 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4724-9_1_4_load_65 | 49 | 0.0011987 | 0.00030042 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4724-9_1_4_load_66 | 50 | 0.0029682 | 0.00074389 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4724-9_1_4_load_67 | 51 | 0.0022188 | 0.00055609 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4724-9_1_4_load_81 | 53 | 0.015078 | 0.0037789 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4724-9_1_4_load_72 | 54 | 0.0070952 | 0.0017782 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4724-9_1_4_load_70 | 56 | 0.0020284 | 0.00050837 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4724-9_1_4_load_71 | 57 | 0.0017272 | 0.00043288 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4724-9_1_4_load_78 | 59 | 0.00072382 | 0.00018141 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4724-9_1_4_load_79 | 60 | 0.00045431 | 0.00011386 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4724-9_1_4_load_109 | 62 | 0.00048817 | 0.00012235 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4724-9_1_4_load_94 | 63 | 0.00057776 | 0.0001448 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4724-9_1_4_load_128 | 64 | 0.0007662 | 0.00019203 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4724-9_1_4_load_110 | 65 | 0.0017595 | 0.00044097 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4724-9_1_4_load_82 | 66 | 0.0021812 | 0.00054665 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4724-9_1_4_load_87 | 67 | 0.040685 | 0.010197 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4724-9_1_4_load_83 | 68 | 0.0031043 | 0.000778 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4724-9_1_4_load_86 | 69 | 0.0014179 | 0.00035536 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4724-9_1_4_load_97 | 70 | 0.0054767 | 0.0013726 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4724-9_1_4_load_96 | 71 | 0.0019643 | 0.00049229 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4724-9_1_4_load_119 | 72 | 0.00049134 | 0.00012314 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4724-9_1_4_load_131 | 75 | 0.00044472 | 0.00011146 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4724-9_1_4_load_132 | 76 | 0.00075667 | 0.00018964 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4724-9_1_4_load_118 | 77 | 0.0017536 | 0.0004395 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4724-9_1_4_load_101 | 78 | 0.014064 | 0.0035247 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4724-9_1_4_load_104 | 79 | 0.0059045 | 0.0014798 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4724-9_1_4_load_113 | 81 | 0.0040931 | 0.0010258 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4724-9_1_4_load_120 | 82 | 0.0014107 | 0.00035355 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4724-9_1_4_load_121 | 83 | 0.0021884 | 0.00054846 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4724-9_1_4_load_114 | 84 | 0.0027436 | 0.0006876 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4724-9_1_4_load_116 | 85 | 0.0032486 | 0.00081418 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4724-9_1_4_load_122 | 86 | 0.0013595 | 0.00034073 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4724-9_1_4_load_125 | 87 | 0.0043684 | 0.0010948 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4724-9_1_4_line_0 |  | 0 | 1 | 0.018376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4724-9_1_4_line_1 |  | 1 | 4 | 0.026657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4724-9_1_4_line_2 |  | 1 | 5 | 0.011977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4724-9_1_4_line_3 |  | 2 | 3 | 0.0012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4724-9_1_4_line_4 |  | 3 | 4 | 0.023264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4724-9_1_4_line_5 |  | 4 | 6 | 0.014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4724-9_1_4_line_6 |  | 6 | 7 | 0.011982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4724-9_1_4_line_7 |  | 7 | 70 | 0.025225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4724-9_1_4_line_8 |  | 7 | 55 | 0.013405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4724-9_1_4_line_9 |  | 8 | 9 | 0.021863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4724-9_1_4_line_10 |  | 8 | 10 | 0.013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4724-9_1_4_line_11 |  | 9 | 11 | 0.022129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4724-9_1_4_line_12 |  | 10 | 12 | 0.017412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4724-9_1_4_line_13 |  | 12 | 13 | 0.020116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4724-9_1_4_line_14 |  | 13 | 39 | 0.019751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4724-9_1_4_line_15 |  | 14 | 15 | 0.017445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4724-9_1_4_line_16 |  | 14 | 16 | 0.010127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4724-9_1_4_line_17 |  | 15 | 66 | 0.024831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4724-9_1_4_line_18 |  | 16 | 57 | 0.029023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4724-9_1_4_line_19 |  | 17 | 18 | 0.018554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4724-9_1_4_line_20 |  | 17 | 19 | 0.010444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4724-9_1_4_line_21 |  | 18 | 20 | 0.006405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4724-9_1_4_line_22 |  | 19 | 21 | 0.007085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4724-9_1_4_line_23 |  | 19 | 22 | 0.011736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4724-9_1_4_line_24 |  | 20 | 23 | 0.00055652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4724-9_1_4_line_25 |  | 21 | 24 | 0.027285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4724-9_1_4_line_26 |  | 21 | 25 | 0.026165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4724-9_1_4_line_27 |  | 22 | 26 | 0.022478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4724-9_1_4_line_28 |  | 23 | 27 | 0.0060205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4724-9_1_4_line_29 |  | 24 | 28 | 0.0075863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4724-9_1_4_line_30 |  | 25 | 29 | 0.026619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4724-9_1_4_line_31 |  | 26 | 30 | 0.018262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4724-9_1_4_line_32 |  | 27 | 68 | 0.015623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4724-9_1_4_line_33 |  | 28 | 58 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4724-9_1_4_line_34 |  | 30 | 82 | 0.018046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4724-9_1_4_line_35 |  | 31 | 32 | 0.032394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4724-9_1_4_line_36 |  | 31 | 33 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4724-9_1_4_line_37 |  | 33 | 34 | 0.006757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4724-9_1_4_line_38 |  | 33 | 35 | 0.019778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4724-9_1_4_line_39 |  | 34 | 36 | 0.028962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4724-9_1_4_line_40 |  | 34 | 37 | 0.012253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4724-9_1_4_line_41 |  | 35 | 38 | 0.004771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4724-9_1_4_line_42 |  | 36 | 40 | 0.020214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4724-9_1_4_line_43 |  | 37 | 41 | 0.01059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4724-9_1_4_line_44 |  | 38 | 42 | 0.026805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4724-9_1_4_line_45 |  | 39 | 40 | 0.016216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4724-9_1_4_line_46 |  | 41 | 87 | 0.011379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4724-9_1_4_line_47 |  | 42 | 79 | 0.00066587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4724-9_1_4_line_48 |  | 42 | 78 | 0.037523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4724-9_1_4_line_49 |  | 43 | 44 | 0.013957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4724-9_1_4_line_50 |  | 43 | 45 | 0.030809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4724-9_1_4_line_51 |  | 44 | 46 | 0.0045204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4724-9_1_4_line_52 |  | 46 | 47 | 0.026289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4724-9_1_4_line_53 |  | 47 | 48 | 0.0016659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4724-9_1_4_line_54 |  | 48 | 51 | 0.024141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4724-9_1_4_line_55 |  | 49 | 50 | 0.019176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4724-9_1_4_line_56 |  | 49 | 51 | 0.0015806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4724-9_1_4_line_57 |  | 50 | 52 | 0.012671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4724-9_1_4_line_58 |  | 52 | 53 | 0.014845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4724-9_1_4_line_59 |  | 52 | 54 | 0.015338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4724-9_1_4_line_60 |  | 53 | 55 | 0.013689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_4724-9_1_4_line_61 |  | 54 | 56 | 0.01947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_4724-9_1_4_line_62 |  | 55 | 67 | 0.0182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4724-9_1_4_line_63 |  | 56 | 57 | 0.026384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_4724-9_1_4_line_64 |  | 58 | 59 | 0.0076208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4724-9_1_4_line_65 |  | 58 | 60 | 0.018335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4724-9_1_4_line_66 |  | 59 | 61 | 0.014962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4724-9_1_4_line_67 |  | 60 | 62 | 0.029088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4724-9_1_4_line_68 |  | 61 | 63 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4724-9_1_4_line_69 |  | 61 | 64 | 0.24577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4724-9_1_4_line_70 |  | 62 | 65 | 0.0040916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4724-9_1_4_line_71 |  | 63 | 72 | 0.016781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4724-9_1_4_line_72 |  | 64 | 73 | 0.073164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4724-9_1_4_line_73 |  | 66 | 68 | 0.0043793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_4724-9_1_4_line_74 |  | 67 | 69 | 0.041113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4724-9_1_4_line_75 |  | 70 | 71 | 0.012685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4724-9_1_4_line_76 |  | 72 | 77 | 0.050347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4724-9_1_4_line_77 |  | 73 | 74 | 0.042334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4724-9_1_4_line_78 |  | 74 | 75 | 0.030911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4724-9_1_4_line_79 |  | 75 | 76 | 0.015876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4724-9_1_4_line_80 |  | 79 | 80 | 0.016164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4724-9_1_4_line_81 |  | 80 | 81 | 0.036284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4724-9_1_4_line_82 |  | 81 | 84 | 0.021942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4724-9_1_4_line_83 |  | 82 | 83 | 0.0083904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4724-9_1_4_line_84 |  | 83 | 86 | 0.0041893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4724-9_1_4_line_85 |  | 84 | 85 | 0.020298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4724-9_1_4_line_86 |  | 86 | 87 | 0.0060233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4724-9_1_4_trafo_73 | 0.63 MVA 20/0.4 kV | 88 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2715418.7804 | 1258152.2835 | 2715415.5282 | 1258170.3693
1 | 2715444.9225 | 1258157.8759 | 2715418.7804 | 1258152.2835
2 | 2715418.7804 | 1258152.2835 | 2715407.154 | 1258149.4062
3 | 2715438.7943 | 1258181.6301 | 2715439.1024 | 1258180.3993
4 | 2715444.9225 | 1258157.8759 | 2715441.3064 | 1258171.5949 | 2715439.1024 | 1258180.3993
5 | 2715444.9225 | 1258157.8759 | 2715455.3711 | 1258157.2903 | 2715459.4444 | 1258156.1512
6 | 2715470.9839 | 1258152.9244 | 2715459.4444 | 1258156.1512
7 | 2715470.9839 | 1258152.9244 | 2715485.2717 | 1258173.7123
8 | 2715462.6602 | 1258142.3974 | 2715470.9839 | 1258152.9244
9 | 2715524.5801 | 1258230.9038 | 2715521.6581 | 1258245.3703 | 2715528.7251 | 1258246.0977
10 | 2715528.7251 | 1258246.0977 | 2715540.7065 | 1258247.3326 | 2715542.5676 | 1258247.9096
11 | 2715524.5801 | 1258230.9038 | 2715512.0457 | 1258212.6669
12 | 2715559.1986 | 1258253.0652 | 2715542.5676 | 1258247.9096
13 | 2715559.1986 | 1258253.0652 | 2715567.7962 | 1258255.7354 | 2715578.1696 | 1258259.722
14 | 2715596.6058 | 1258266.8074 | 2715578.1696 | 1258259.722
15 | 2715551.051 | 1258203.8194 | 2715567.2103 | 1258197.2464
16 | 2715551.051 | 1258203.8194 | 2715544.7309 | 1258195.907
17 | 2715590.2396 | 1258187.9723 | 2715589.3711 | 1258188.232 | 2715567.2103 | 1258197.2464
18 | 2715527.0623 | 1258172.8954 | 2715532.6701 | 1258180.8076 | 2715544.7309 | 1258195.907
19 | 2715640.3612 | 1258176.861 | 2715621.9212 | 1258178.9145
20 | 2715650.3333 | 1258174.422 | 2715647.3144 | 1258176.0867 | 2715640.3612 | 1258176.861
21 | 2715615.7049 | 1258180.3576 | 2715619.706 | 1258179.1611 | 2715621.9212 | 1258178.9145
22 | 2715656.5467 | 1258170.9849 | 2715650.3333 | 1258174.422
23 | 2715650.3333 | 1258174.422 | 2715650.8947 | 1258186.1451
24 | 2715615.7049 | 1258180.3576 | 2715615.1717 | 1258180.517
25 | 2715656.5467 | 1258170.9849 | 2715682.0107 | 1258161.1831
26 | 2715656.5467 | 1258170.9849 | 2715652.9354 | 1258157.4361 | 2715653.4944 | 1258145.3054
27 | 2715650.8947 | 1258186.1451 | 2715651.2597 | 1258193.7679 | 2715664.9003 | 1258199.6283 | 2715664.9003 | 1258199.6283
28 | 2715615.1717 | 1258180.517 | 2715609.4035 | 1258182.2418
29 | 2715689.0907 | 1258158.4578 | 2715682.0107 | 1258161.1831
30 | 2715653.4944 | 1258145.3054 | 2715654.7197 | 1258118.7142
31 | 2715664.9003 | 1258199.6283 | 2715665.9677 | 1258204.4311 | 2715665.619 | 1258217.7684
32 | 2715594.4353 | 1258186.7177 | 2715609.4035 | 1258182.2418
33 | 2715707.6012 | 1258151.3325 | 2715689.0907 | 1258158.4578
34 | 2715665.1473 | 1258235.808 | 2715665.619 | 1258217.7684
35 | 2715658.679 | 1258312.2146 | 2715658.679 | 1258312.2146 | 2715627.3267 | 1258304.066
36 | 2715665.081 | 1258289.4868 | 2715658.679 | 1258312.2146
37 | 2715665.081 | 1258289.4868 | 2715658.5721 | 1258287.6024
38 | 2715665.081 | 1258289.4868 | 2715668.0212 | 1258290.3005 | 2715684.1491 | 1258294.7395
39 | 2715658.5721 | 1258287.6024 | 2715630.8824 | 1258279.1127
40 | 2715658.5721 | 1258287.6024 | 2715661.688 | 1258275.7518
41 | 2715688.7491 | 1258296.0055 | 2715684.1491 | 1258294.7395
42 | 2715611.7951 | 1258272.4858 | 2715623.3174 | 1258276.7933 | 2715630.8824 | 1258279.1127
43 | 2715661.688 | 1258275.7518 | 2715664.3809 | 1258265.51
44 | 2715714.5205 | 1258303.3761 | 2715697.6417 | 1258298.4531 | 2715688.7491 | 1258296.0055
45 | 2715596.6058 | 1258266.8074 | 2715611.7951 | 1258272.4858
46 | 2715664.3809 | 1258265.51 | 2715665.8068 | 1258260.0868 | 2715665.0204 | 1258254.3693
47 | 2715715.1728 | 1258303.5099 | 2715714.5205 | 1258303.3761
48 | 2715714.5205 | 1258303.3761 | 2715714.1946 | 1258307.6957 | 2715715.0084 | 1258312.7382 | 2715717.7985 | 1258323.5353 | 2715718.9361 | 1258328.6064 | 2715719.3725 | 1258333.6637 | 2715719.3468 | 1258338.8343 | 2715719.3394 | 1258340.3225
49 | 2715473.3868 | 1258028.6034 | 2715478.7665 | 1258037.0546 | 2715479.9588 | 1258040.8085
50 | 2715473.3868 | 1258028.6034 | 2715469.6129 | 1258022.6748 | 2715458.9934 | 1258004.5744 | 2715457.3623 | 1258002.3038
51 | 2715481.3272 | 1258045.1168 | 2715479.9588 | 1258040.8085
52 | 2715481.3272 | 1258045.1168 | 2715485.8428 | 1258059.334 | 2715488.5562 | 1258070.377
53 | 2715488.5562 | 1258070.377 | 2715488.9537 | 1258071.9948
54 | 2715494.185 | 1258095.5612 | 2715494.185 | 1258095.5612 | 2715489.769 | 1258075.3132 | 2715488.9537 | 1258071.9948
55 | 2715494.0664 | 1258097.1373 | 2715492.627 | 1258116.2596
56 | 2715494.0664 | 1258097.1373 | 2715494.185 | 1258095.5612
57 | 2715487.0057 | 1258127.6153 | 2715492.627 | 1258116.2596
58 | 2715487.0057 | 1258127.6153 | 2715480.7112 | 1258130.5728 | 2715474.1113 | 1258134.8962
59 | 2715487.0057 | 1258127.6153 | 2715499.4634 | 1258136.562
60 | 2715462.6602 | 1258142.3974 | 2715474.1113 | 1258134.8962
61 | 2715511.806 | 1258151.37 | 2715503.2258 | 1258139.264 | 2715499.4634 | 1258136.562
62 | 2715462.6602 | 1258142.3974 | 2715451.6431 | 1258127.9106
63 | 2715511.806 | 1258151.37 | 2715527.0623 | 1258172.8954
64 | 2715707.6012 | 1258151.3325 | 2715713.7933 | 1258146.8903
65 | 2715707.6012 | 1258151.3325 | 2715703.178 | 1258169.1263
66 | 2715725.9504 | 1258138.1688 | 2715713.7933 | 1258146.8903
67 | 2715700.8366 | 1258197.9737 | 2715701.2492 | 1258176.8858 | 2715703.178 | 1258169.1263
68 | 2715725.9504 | 1258138.1688 | 2715730.8011 | 1258149.0415
69 | 2715725.9504 | 1258138.1688 | 2715911.8587 | 1257977.4171
70 | 2715700.7566 | 1258202.0645 | 2715700.8366 | 1258197.9737
71 | 2715742.0908 | 1258160.8038 | 2715742.0908 | 1258160.8038 | 2715733.0376 | 1258154.0543 | 2715730.8011 | 1258149.0415
72 | 2715960.3458 | 1257922.6264 | 2715911.8587 | 1257977.4171
73 | 2715590.2396 | 1258187.9723 | 2715594.4353 | 1258186.7177
74 | 2715427.199 | 1258094.8656 | 2715433.4556 | 1258103.9949 | 2715451.6431 | 1258127.9106
75 | 2715492.4568 | 1258184.1663 | 2715485.2717 | 1258173.7123
76 | 2715754.0762 | 1258206.5166 | 2715757.4531 | 1258192.3647 | 2715754.6007 | 1258185.136 | 2715746.2014 | 1258175.419 | 2715742.0908 | 1258160.8038
77 | 2715988.509 | 1257890.951 | 2715977.2515 | 1257903.5301 | 2715960.3458 | 1257922.6264
78 | 2715988.509 | 1257890.951 | 2715981.0721 | 1257860.9476
79 | 2715981.0721 | 1257860.9476 | 2715977.2524 | 1257845.5375
80 | 2715731.0071 | 1258306.7569 | 2715715.1728 | 1258303.5099
81 | 2715731.0071 | 1258306.7569 | 2715740.6862 | 1258271.7874
82 | 2715740.6862 | 1258271.7874 | 2715746.5394 | 1258250.6404
83 | 2715665.1473 | 1258235.808 | 2715665.1002 | 1258237.6093 | 2715664.8427 | 1258244.1927
84 | 2715664.8427 | 1258244.1927 | 2715664.679 | 1258248.3788
85 | 2715751.9542 | 1258231.0777 | 2715746.5394 | 1258250.6404
86 | 2715665.0204 | 1258254.3693 | 2715664.5722 | 1258251.1106 | 2715664.679 | 1258248.3788

## bus_geodata
| x | y | coords
0 | 2715415.5282 | 1258170.3693
1 | 2715418.7804 | 1258152.2835
2 | 2715438.7943 | 1258181.6301
3 | 2715439.1024 | 1258180.3993
4 | 2715444.9225 | 1258157.8759
5 | 2715407.154 | 1258149.4062
6 | 2715459.4444 | 1258156.1512
7 | 2715470.9839 | 1258152.9244
8 | 2715528.7251 | 1258246.0977
9 | 2715524.5801 | 1258230.9038
10 | 2715542.5676 | 1258247.9096
11 | 2715512.0457 | 1258212.6669
12 | 2715559.1986 | 1258253.0652
13 | 2715578.1696 | 1258259.722
14 | 2715551.051 | 1258203.8194
15 | 2715567.2103 | 1258197.2464
16 | 2715544.7309 | 1258195.907
17 | 2715640.3612 | 1258176.861
18 | 2715621.9212 | 1258178.9145
19 | 2715650.3333 | 1258174.422
20 | 2715615.7049 | 1258180.3576
21 | 2715656.5467 | 1258170.9849
22 | 2715650.8947 | 1258186.1451
23 | 2715615.1717 | 1258180.517
24 | 2715682.0107 | 1258161.1831
25 | 2715653.4944 | 1258145.3054
26 | 2715664.9003 | 1258199.6283
27 | 2715609.4035 | 1258182.2418
28 | 2715689.0907 | 1258158.4578
29 | 2715654.7197 | 1258118.7142
30 | 2715665.619 | 1258217.7684
31 | 2715658.679 | 1258312.2146
32 | 2715627.3266 | 1258304.066
33 | 2715665.081 | 1258289.4868
34 | 2715658.5721 | 1258287.6024
35 | 2715684.1491 | 1258294.7395
36 | 2715630.8824 | 1258279.1127
37 | 2715661.688 | 1258275.7518
38 | 2715688.7491 | 1258296.0055
39 | 2715596.6058 | 1258266.8074
40 | 2715611.7951 | 1258272.4858
41 | 2715664.3809 | 1258265.51
42 | 2715714.5205 | 1258303.3761
43 | 2715473.3868 | 1258028.6034
44 | 2715479.9588 | 1258040.8085
45 | 2715457.3623 | 1258002.3038
46 | 2715481.3272 | 1258045.1168
47 | 2715488.5562 | 1258070.377
48 | 2715488.9537 | 1258071.9948
49 | 2715494.0664 | 1258097.1373
50 | 2715492.627 | 1258116.2596
51 | 2715494.185 | 1258095.5612
52 | 2715487.0057 | 1258127.6153
53 | 2715474.1113 | 1258134.8962
54 | 2715499.4634 | 1258136.562
55 | 2715462.6602 | 1258142.3974
56 | 2715511.806 | 1258151.37
57 | 2715527.0623 | 1258172.8954
58 | 2715707.6012 | 1258151.3325
59 | 2715713.7933 | 1258146.8903
60 | 2715703.178 | 1258169.1263
61 | 2715725.9504 | 1258138.1688
62 | 2715700.8366 | 1258197.9737
63 | 2715730.8011 | 1258149.0415
64 | 2715911.8587 | 1257977.4171
65 | 2715700.7566 | 1258202.0645
66 | 2715590.2396 | 1258187.9723
67 | 2715451.6431 | 1258127.9106
68 | 2715594.4353 | 1258186.7177
69 | 2715427.199 | 1258094.8656
70 | 2715485.2717 | 1258173.7123
71 | 2715492.4568 | 1258184.1663
72 | 2715742.0908 | 1258160.8038
73 | 2715960.3458 | 1257922.6264
74 | 2715988.509 | 1257890.951
75 | 2715981.0721 | 1257860.9476
76 | 2715977.2524 | 1257845.5375
77 | 2715754.0762 | 1258206.5166
78 | 2715719.3394 | 1258340.3225
79 | 2715715.1728 | 1258303.5099
80 | 2715731.0071 | 1258306.7569
81 | 2715740.6862 | 1258271.7874
82 | 2715665.1473 | 1258235.808
83 | 2715664.8427 | 1258244.1927
84 | 2715746.5394 | 1258250.6404
85 | 2715751.9542 | 1258231.0777
86 | 2715664.679 | 1258248.3788
87 | 2715665.0204 | 1258254.3693
88 | 2715544.7309 | 1258195.907

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1