## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4746-12_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4746-12_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4746-12_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4746-12_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4746-12_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4746-12_0_6_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_4746-12_0_6_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_4746-12_0_6_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_4746-12_0_6_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_4746-12_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4746-12_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4746-12_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4746-12_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4746-12_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4746-12_0_6_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_4746-12_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4746-12_0_6_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_4746-12_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4746-12_0_6_node_104 | 0.4 | n |  | TRUE
19 | bus_LV_4746-12_0_6_node_105 | 0.4 | n |  | TRUE
20 | bus_LV_4746-12_0_6_node_103 | 0.4 | n |  | TRUE
21 | bus_LV_4746-12_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4746-12_0_6_node_101 | 0.4 | n |  | TRUE
23 | bus_LV_4746-12_0_6_node_88 | 0.4 | n |  | TRUE
24 | bus_LV_4746-12_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4746-12_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4746-12_0_6_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_4746-12_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4746-12_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4746-12_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4746-12_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4746-12_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4746-12_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4746-12_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4746-12_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4746-12_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_4746-12_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4746-12_0_6_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_4746-12_0_6_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_4746-12_0_6_node_90 | 0.4 | n |  | TRUE
40 | bus_LV_4746-12_0_6_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_4746-12_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4746-12_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_4746-12_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_4746-12_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4746-12_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_4746-12_0_6_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_4746-12_0_6_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_4746-12_0_6_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_4746-12_0_6_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_4746-12_0_6_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4746-12_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_4746-12_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4746-12_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4746-12_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_4746-12_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4746-12_0_6_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4746-12_0_6_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_4746-12_0_6_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_4746-12_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_4746-12_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_4746-12_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_4746-12_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_4746-12_0_6_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_4746-12_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4746-12_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_4746-12_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4746-12_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_4746-12_0_6_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_4746-12_0_6_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_4746-12_0_6_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4746-12_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_4746-12_0_6_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_4746-12_0_6_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_4746-12_0_6_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_4746-12_0_6_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_4746-12_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_4746-12_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_4746-12_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_4746-12_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_4746-12_0_6_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_4746-12_0_6_node_99 | 0.4 | n |  | TRUE
82 | bus_LV_4746-12_0_6_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_4746-12_0_6_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_4746-12_0_6_node_98 | 0.4 | n |  | TRUE
85 | bus_LV_4746-12_0_6_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_4746-12_0_6_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_4746-12_0_6_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_4746-12_0_6_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_4746-12_0_6_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_4746-12_0_6_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_4746-12_0_6_node_108 | 0.4 | n |  | TRUE
92 | bus_LV_4746-12_0_6_node_109 | 0.4 | n |  | TRUE
93 | bus_LV_4746-12_0_6_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_4746-12_0_6_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_4746-12_0_6_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_4746-12_0_6_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_4746-12_0_6_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_4746-12_0_6_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_4746-12_0_6_node_93 | 0.4 | n |  | TRUE
100 | bus_LV_4746-12_0_6_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_4746-12_0_6_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_4746-12_0_6_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_4746-12_0_6_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_4746-12_0_6_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_4746-12_0_6_node_107 | 0.4 | n |  | TRUE
106 | bus_LV_4746-12_0_6_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_4746-12_0_6_node_110 | 0.4 | n |  | TRUE
108 | bus_LV_4746-12_0_6_node_111 | 0.4 | n |  | TRUE
109 | bus_MV_443_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4746-12_0_6_load_0 | 0 | 0.031243 | 0.0078302 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4746-12_0_6_load_1 | 1 | 0.010208 | 0.0025584 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4746-12_0_6_load_2 | 2 | 0.013239 | 0.003318 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4746-12_0_6_load_3 | 3 | 0.010928 | 0.0027387 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4746-12_0_6_load_4 | 4 | 0.017462 | 0.0043765 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4746-12_0_6_load_26 | 5 | 0.0090977 | 0.0022801 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4746-12_0_6_load_28 | 6 | 0.011894 | 0.002981 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4746-12_0_6_load_27 | 7 | 0.0060063 | 0.0015053 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4746-12_0_6_load_5 | 9 | 0.025491 | 0.0063886 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4746-12_0_6_load_6 | 10 | 0.002372 | 0.00059449 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4746-12_0_6_load_7 | 11 | 0.020927 | 0.0052448 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4746-12_0_6_load_8 | 12 | 0.00076487 | 0.00019169 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4746-12_0_6_load_9 | 13 | 0.0030654 | 0.00076825 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4746-12_0_6_load_30 | 14 | 0.0022189 | 0.0005561 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4746-12_0_6_load_10 | 15 | 0.0076269 | 0.0019115 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4746-12_0_6_load_31 | 16 | 0.0025877 | 0.00064854 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4746-12_0_6_load_11 | 17 | 0.0049945 | 0.0012517 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4746-12_0_6_load_105 | 19 | 0.0019057 | 0.00047761 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4746-12_0_6_load_12 | 21 | 0.014962 | 0.0037499 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4746-12_0_6_load_101 | 22 | 0.006219 | 0.0015586 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4746-12_0_6_load_88 | 23 | 0.001786 | 0.0004476 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4746-12_0_6_load_13 | 24 | 0.0030871 | 0.00077369 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4746-12_0_6_load_14 | 25 | 0.0024395 | 0.00061139 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4746-12_0_6_load_15 | 27 | 0.01306 | 0.0032732 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4746-12_0_6_load_16 | 28 | 0.005743 | 0.0014393 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4746-12_0_6_load_18 | 29 | 0.010337 | 0.0025907 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4746-12_0_6_load_20 | 30 | 0.028181 | 0.0070628 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4746-12_0_6_load_21 | 31 | 0.0071018 | 0.0017799 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4746-12_0_6_load_24 | 32 | 0.011816 | 0.0029615 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4746-12_0_6_load_22 | 33 | 0.010007 | 0.0025081 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4746-12_0_6_load_23 | 34 | 0.0038336 | 0.00096079 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4746-12_0_6_load_25 | 35 | 0.0032197 | 0.00080692 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4746-12_0_6_load_91 | 37 | 0.0036345 | 0.00091088 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4746-12_0_6_load_40 | 38 | 0.0016309 | 0.00040875 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4746-12_0_6_load_90 | 39 | 0.0024969 | 0.00062577 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4746-12_0_6_load_37 | 40 | 0.0010017 | 0.00025106 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4746-12_0_6_load_34 | 41 | 0.0053729 | 0.0013466 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4746-12_0_6_load_35 | 42 | 0.0050017 | 0.0012536 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4746-12_0_6_load_38 | 44 | 0.008455 | 0.002119 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4746-12_0_6_load_39 | 45 | 0.0025697 | 0.00064403 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4746-12_0_6_load_63 | 46 | 0.0049358 | 0.001237 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4746-12_0_6_load_102 | 47 | 0.0020645 | 0.00051742 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4746-12_0_6_load_49 | 48 | 0.0040526 | 0.0010157 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4746-12_0_6_load_41 | 49 | 0.0060526 | 0.0015169 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4746-12_0_6_load_42 | 50 | 0.0055571 | 0.0013928 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4746-12_0_6_load_43 | 51 | 0.0043044 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4746-12_0_6_load_44 | 52 | 0.0077712 | 0.0019477 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4746-12_0_6_load_45 | 53 | 0.0044874 | 0.0011247 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4746-12_0_6_load_46 | 54 | 0.0031659 | 0.00079344 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4746-12_0_6_load_47 | 55 | 0.0019279 | 0.00048317 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4746-12_0_6_load_48 | 56 | 0.0018505 | 0.00046379 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4746-12_0_6_load_76 | 57 | 0.0043003 | 0.0010778 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4746-12_0_6_load_74 | 58 | 0.0012446 | 0.00031193 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4746-12_0_6_load_50 | 59 | 0.0022744 | 0.00057001 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4746-12_0_6_load_51 | 60 | 0.0037697 | 0.00094477 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4746-12_0_6_load_54 | 62 | 0.0048802 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4746-12_0_6_load_56 | 63 | 0.0028896 | 0.00072419 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4746-12_0_6_load_55 | 64 | 0.002992 | 0.00074987 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4746-12_0_6_load_57 | 65 | 0.0051914 | 0.0013011 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4746-12_0_6_load_58 | 66 | 0.0035211 | 0.00088248 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4746-12_0_6_load_61 | 67 | 0.001513 | 0.00037919 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4746-12_0_6_load_59 | 68 | 0.0030722 | 0.00076997 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4746-12_0_6_load_60 | 69 | 0.0019741 | 0.00049477 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4746-12_0_6_load_62 | 70 | 0.0015452 | 0.00038726 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4746-12_0_6_load_64 | 71 | 0.003367 | 0.00084385 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4746-12_0_6_load_65 | 72 | 0.0017434 | 0.00043695 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4746-12_0_6_load_66 | 73 | 0.0022511 | 0.00056419 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4746-12_0_6_load_67 | 74 | 0.0040589 | 0.0010172 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4746-12_0_6_load_68 | 75 | 0.0040148 | 0.0010062 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4746-12_0_6_load_69 | 76 | 0.0011279 | 0.00028268 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4746-12_0_6_load_70 | 77 | 0.0011893 | 0.00029806 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4746-12_0_6_load_71 | 78 | 0.00099204 | 0.00024863 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4746-12_0_6_load_99 | 81 | 0.00039858 | 9.9893e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4746-12_0_6_load_81 | 82 | 0.00079541 | 0.00019935 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4746-12_0_6_load_77 | 83 | 0.0010904 | 0.00027329 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4746-12_0_6_load_98 | 84 | 0.0017679 | 0.00044307 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4746-12_0_6_load_73 | 85 | 0.0017536 | 0.00043949 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4746-12_0_6_load_78 | 87 | 0.001747 | 0.00043784 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4746-12_0_6_load_79 | 88 | 0.0015058 | 0.00037739 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4746-12_0_6_load_89 | 89 | 0.0013495 | 0.00033822 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4746-12_0_6_load_86 | 90 | 0.0018517 | 0.00046408 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4746-12_0_6_load_108 | 91 | 0.00097164 | 0.00024351 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4746-12_0_6_load_109 | 92 | 0.00095078 | 0.00023829 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4746-12_0_6_load_82 | 93 | 0.00078428 | 0.00019656 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4746-12_0_6_load_83 | 94 | 0.0027738 | 0.00069519 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4746-12_0_6_load_84 | 95 | 0.0019964 | 0.00050035 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4746-12_0_6_load_85 | 96 | 0.0028596 | 0.00071669 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4746-12_0_6_load_87 | 97 | 0.0007092 | 0.00017774 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4746-12_0_6_load_92 | 98 | 0.0013435 | 0.00033672 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4746-12_0_6_load_93 | 99 | 0.00086569 | 0.00021696 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4746-12_0_6_load_94 | 100 | 0.0015237 | 0.00038188 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4746-12_0_6_load_95 | 101 | 0.0019031 | 0.00047696 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4746-12_0_6_load_97 | 103 | 0.00051416 | 0.00012886 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4746-12_0_6_load_100 | 104 | 0.0012998 | 0.00032576 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4746-12_0_6_load_107 | 105 | 0.0014746 | 0.00036956 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4746-12_0_6_load_106 | 106 | 0.0015979 | 0.00040047 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4746-12_0_6_load_110 | 107 | 0.00066157 | 0.0001658 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4746-12_0_6_load_111 | 108 | 0.0015567 | 0.00039014 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4746-12_0_6_line_0 |  | 0 | 1 | 0.014953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4746-12_0_6_line_1 |  | 0 | 2 | 0.0015344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4746-12_0_6_line_2 |  | 1 | 3 | 0.0091679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4746-12_0_6_line_3 |  | 2 | 4 | 0.027109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_4746-12_0_6_line_4 |  | 3 | 5 | 0.019809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4746-12_0_6_line_5 |  | 4 | 6 | 0.0007717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4746-12_0_6_line_6 |  | 5 | 7 | 0.0099107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4746-12_0_6_line_7 |  | 6 | 8 | 0.042892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4746-12_0_6_line_8 |  | 7 | 36 | 0.014751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4746-12_0_6_line_9 |  | 8 | 26 | 0.03917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4746-12_0_6_line_10 |  | 8 | 16 | 0.019643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4746-12_0_6_line_11 |  | 8 | 25 | 0.010914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4746-12_0_6_line_12 |  | 9 | 10 | 0.021895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4746-12_0_6_line_13 |  | 9 | 11 | 0.0066116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4746-12_0_6_line_14 |  | 10 | 12 | 0.0081584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4746-12_0_6_line_15 |  | 11 | 13 | 0.045676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4746-12_0_6_line_16 |  | 12 | 14 | 0.025033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4746-12_0_6_line_17 |  | 13 | 15 | 0.0075299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4746-12_0_6_line_18 |  | 14 | 16 | 0.015056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4746-12_0_6_line_19 |  | 17 | 18 | 0.028815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4746-12_0_6_line_20 |  | 18 | 19 | 0.0087878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4746-12_0_6_line_21 |  | 18 | 20 | 0.04618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4746-12_0_6_line_22 |  | 20 | 47 | 0.019752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4746-12_0_6_line_23 |  | 21 | 22 | 0.085114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4746-12_0_6_line_24 |  | 22 | 23 | 0.012992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4746-12_0_6_line_25 |  | 23 | 97 | 0.021505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4746-12_0_6_line_26 |  | 24 | 25 | 0.0095169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4746-12_0_6_line_27 |  | 26 | 37 | 0.022128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4746-12_0_6_line_28 |  | 26 | 38 | 0.01843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4746-12_0_6_line_29 |  | 27 | 28 | 0.03107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4746-12_0_6_line_30 |  | 28 | 29 | 0.0086387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4746-12_0_6_line_31 |  | 29 | 30 | 0.0071834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4746-12_0_6_line_32 |  | 30 | 31 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4746-12_0_6_line_33 |  | 31 | 32 | 0.024621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4746-12_0_6_line_34 |  | 32 | 33 | 0.0091423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4746-12_0_6_line_35 |  | 33 | 34 | 0.018374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4746-12_0_6_line_36 |  | 34 | 35 | 0.02215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4746-12_0_6_line_37 |  | 35 | 36 | 0.031245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4746-12_0_6_line_38 |  | 37 | 39 | 0.019688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_4746-12_0_6_line_39 |  | 38 | 40 | 0.023381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4746-12_0_6_line_40 |  | 39 | 88 | 0.016184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4746-12_0_6_line_41 |  | 40 | 42 | 0.014541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4746-12_0_6_line_42 |  | 41 | 42 | 0.047227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4746-12_0_6_line_43 |  | 43 | 44 | 0.033629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4746-12_0_6_line_44 |  | 43 | 45 | 0.013324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4746-12_0_6_line_45 |  | 44 | 46 | 0.011492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4746-12_0_6_line_46 |  | 45 | 47 | 0.022008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4746-12_0_6_line_47 |  | 46 | 48 | 0.0217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4746-12_0_6_line_48 |  | 48 | 53 | 0.027049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4746-12_0_6_line_49 |  | 49 | 50 | 0.027275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4746-12_0_6_line_50 |  | 49 | 51 | 0.0058532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4746-12_0_6_line_51 |  | 50 | 52 | 0.0073739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4746-12_0_6_line_52 |  | 51 | 53 | 0.034707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4746-12_0_6_line_53 |  | 52 | 54 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4746-12_0_6_line_54 |  | 54 | 55 | 0.013114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4746-12_0_6_line_55 |  | 55 | 56 | 0.0099147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4746-12_0_6_line_56 |  | 56 | 57 | 0.0039524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4746-12_0_6_line_57 |  | 57 | 58 | 0.022602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4746-12_0_6_line_58 |  | 58 | 85 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4746-12_0_6_line_59 |  | 59 | 60 | 0.010329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4746-12_0_6_line_60 |  | 59 | 61 | 0.016605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4746-12_0_6_line_61 |  | 61 | 62 | 0.0057426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4746-12_0_6_line_62 |  | 62 | 63 | 0.033963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4746-12_0_6_line_63 |  | 63 | 64 | 0.0090113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4746-12_0_6_line_64 |  | 64 | 65 | 0.00055447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4746-12_0_6_line_65 |  | 65 | 66 | 0.018601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4746-12_0_6_line_66 |  | 66 | 67 | 0.0035556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4746-12_0_6_line_67 |  | 67 | 68 | 0.00066762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4746-12_0_6_line_68 |  | 68 | 69 | 0.021712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4746-12_0_6_line_69 |  | 69 | 70 | 0.0063939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4746-12_0_6_line_70 |  | 70 | 71 | 0.0079938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4746-12_0_6_line_71 |  | 71 | 72 | 0.0078048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4746-12_0_6_line_72 |  | 72 | 73 | 0.008912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4746-12_0_6_line_73 |  | 73 | 74 | 0.011687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4746-12_0_6_line_74 |  | 74 | 75 | 0.015336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4746-12_0_6_line_75 |  | 75 | 76 | 0.011621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4746-12_0_6_line_76 |  | 76 | 77 | 0.0067213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4746-12_0_6_line_77 |  | 77 | 78 | 0.0057224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4746-12_0_6_line_78 |  | 78 | 79 | 0.013927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4746-12_0_6_line_79 |  | 79 | 80 | 0.009885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4746-12_0_6_line_80 |  | 79 | 81 | 0.0058743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4746-12_0_6_line_81 |  | 80 | 82 | 0.033362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4746-12_0_6_line_82 |  | 80 | 83 | 0.02391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4746-12_0_6_line_83 |  | 81 | 84 | 0.026944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4746-12_0_6_line_84 |  | 82 | 91 | 0.023714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4746-12_0_6_line_85 |  | 83 | 86 | 0.015224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4746-12_0_6_line_86 |  | 84 | 103 | 0.0062416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4746-12_0_6_line_87 |  | 85 | 86 | 0.014005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4746-12_0_6_line_88 |  | 86 | 87 | 0.025175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4746-12_0_6_line_89 |  | 86 | 88 | 0.030584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_4746-12_0_6_line_90 |  | 87 | 89 | 0.019943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4746-12_0_6_line_91 |  | 89 | 90 | 0.0069959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4746-12_0_6_line_92 |  | 90 | 95 | 0.0010484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4746-12_0_6_line_93 |  | 91 | 92 | 0.017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4746-12_0_6_line_94 |  | 92 | 107 | 0.012782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4746-12_0_6_line_95 |  | 93 | 94 | 0.01842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4746-12_0_6_line_96 |  | 93 | 95 | 0.013584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4746-12_0_6_line_97 |  | 94 | 96 | 0.00075094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4746-12_0_6_line_98 |  | 96 | 97 | 0.00043603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4746-12_0_6_line_99 |  | 98 | 99 | 0.0035747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4746-12_0_6_line_100 |  | 98 | 100 | 0.0049452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4746-12_0_6_line_101 |  | 99 | 101 | 0.01717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4746-12_0_6_line_102 |  | 100 | 102 | 0.071897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4746-12_0_6_line_103 |  | 101 | 103 | 0.010025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4746-12_0_6_line_104 |  | 102 | 104 | 0.044506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4746-12_0_6_line_105 |  | 104 | 105 | 0.040503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4746-12_0_6_line_106 |  | 105 | 106 | 0.043303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4746-12_0_6_line_107 |  | 107 | 108 | 0.010509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4746-12_0_6_trafo_29 | 0.63 MVA 20/0.4 kV | 109 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2717204.2908 | 1259637.6656 | 2717200.5702 | 1259652.1486
1 | 2717204.2908 | 1259637.6656 | 2717204.2908 | 1259637.6656 | 2717204.436 | 1259636.1381
2 | 2717198.2891 | 1259661.0282 | 2717200.5702 | 1259652.1486
3 | 2717207.0006 | 1259609.1504 | 2717204.436 | 1259636.1381
4 | 2717198.2891 | 1259661.0282 | 2717193.3604 | 1259680.2139
5 | 2717207.0006 | 1259609.1504 | 2717207.0736 | 1259608.3822
6 | 2717190.8945 | 1259689.813 | 2717193.3604 | 1259680.2139
7 | 2717211.1312 | 1259565.683 | 2717207.0736 | 1259608.3822
8 | 2717185.5169 | 1259703.5065 | 2717189.9283 | 1259693.5741 | 2717190.8945 | 1259689.813
9 | 2717210.5578 | 1259526.5265 | 2717211.0595 | 1259538.4913 | 2717211.1312 | 1259565.683
10 | 2717211.1312 | 1259565.683 | 2717230.4646 | 1259569.1541
11 | 2717211.1312 | 1259565.683 | 2717201.5749 | 1259560.4105
12 | 2717299.5028 | 1259581.5492 | 2717277.9528 | 1259577.6801
13 | 2717299.5028 | 1259581.5492 | 2717306.0103 | 1259582.7175
14 | 2717277.9528 | 1259577.6801 | 2717269.9228 | 1259576.2384
15 | 2717351.1993 | 1259589.326 | 2717314.8834 | 1259584.3106 | 2717306.0103 | 1259582.7175
16 | 2717245.2834 | 1259571.8147 | 2717269.9228 | 1259576.2384
17 | 2717351.1993 | 1259589.326 | 2717358.6584 | 1259590.3561
18 | 2717245.2834 | 1259571.8147 | 2717230.4646 | 1259569.1541
19 | 2717432.882 | 1259602.3222 | 2717404.4867 | 1259597.4247
20 | 2717432.882 | 1259602.3222 | 2717433.5552 | 1259611.0841
21 | 2717424.7903 | 1259556.8554 | 2717432.882 | 1259602.3222
22 | 2717424.7903 | 1259556.8554 | 2717405.2113 | 1259554.2455
23 | 2717076.5836 | 1259441.2677 | 2717062.2133 | 1259525.1595
24 | 2717089.5728 | 1259441.0157 | 2717076.5836 | 1259441.2677
25 | 2717111.0736 | 1259440.5986 | 2717089.5728 | 1259441.0157
26 | 2717201.5749 | 1259560.4105 | 2717193.2422 | 1259555.8131
27 | 2717210.5578 | 1259526.5265 | 2717207.2738 | 1259504.6439
28 | 2717210.5578 | 1259526.5265 | 2717228.8341 | 1259528.9054
29 | 2717057.1599 | 1259672.5581 | 2717039.3444 | 1259663.0453 | 2717029.9967 | 1259657.4907
30 | 2717057.1599 | 1259672.5581 | 2717059.6969 | 1259673.9128 | 2717065.0599 | 1259676.0217
31 | 2717071.745 | 1259678.6505 | 2717065.0599 | 1259676.0217
32 | 2717082.2598 | 1259682.5595 | 2717079.6493 | 1259681.7588 | 2717071.745 | 1259678.6505
33 | 2717105.9096 | 1259689.3017 | 2717102.4383 | 1259688.7491 | 2717082.2598 | 1259682.5595
34 | 2717105.9096 | 1259689.3017 | 2717114.9382 | 1259690.7391
35 | 2717133.0837 | 1259693.628 | 2717114.9382 | 1259690.7391
36 | 2717154.9586 | 1259697.1106 | 2717133.0837 | 1259693.628
37 | 2717185.5169 | 1259703.5065 | 2717167.299 | 1259699.0752 | 2717154.9586 | 1259697.1106
38 | 2717207.2738 | 1259504.6439 | 2717204.3519 | 1259485.174
39 | 2717228.8341 | 1259528.9054 | 2717252.0197 | 1259531.9232
40 | 2717201.9499 | 1259469.1688 | 2717204.3519 | 1259485.174
41 | 2717266.3858 | 1259534.1665 | 2717253.0922 | 1259532.0628 | 2717252.0197 | 1259531.9232
42 | 2717313.0326 | 1259541.5484 | 2717266.3858 | 1259534.1665
43 | 2717370.1896 | 1259549.5771 | 2717375.5047 | 1259516.3703
44 | 2717370.1896 | 1259549.5771 | 2717383.3963 | 1259551.3376
45 | 2717375.5047 | 1259516.3703 | 2717377.321 | 1259505.0228
46 | 2717383.3963 | 1259551.3376 | 2717405.2113 | 1259554.2455
47 | 2717380.7506 | 1259483.5959 | 2717377.321 | 1259505.0228
48 | 2717380.7506 | 1259483.5959 | 2717354.4701 | 1259477.1924
49 | 2717315.0633 | 1259467.5906 | 2717288.564 | 1259461.1338
50 | 2717315.0633 | 1259467.5906 | 2717320.7501 | 1259468.9762
51 | 2717288.564 | 1259461.1338 | 2717281.3997 | 1259459.3881
52 | 2717320.7501 | 1259468.9762 | 2717354.4701 | 1259477.1924
53 | 2717271.5189 | 1259456.9806 | 2717281.3997 | 1259459.3881
54 | 2717271.5189 | 1259456.9806 | 2717258.7773 | 1259453.876
55 | 2717249.1444 | 1259451.5288 | 2717258.7773 | 1259453.876
56 | 2717245.3044 | 1259450.5932 | 2717249.1444 | 1259451.5288
57 | 2717245.3044 | 1259450.5932 | 2717223.3451 | 1259445.2426
58 | 2717211.0178 | 1259442.2389 | 2717223.3451 | 1259445.2426
59 | 2717386.4558 | 1259424.2019 | 2717389.417 | 1259434.097
60 | 2717381.6951 | 1259408.2937 | 2717386.4558 | 1259424.2019
61 | 2717381.6951 | 1259408.2937 | 2717376.7428 | 1259405.3865
62 | 2717376.7428 | 1259405.3865 | 2717368.9505 | 1259400.8122 | 2717344.7445 | 1259394.8575
63 | 2717335.9941 | 1259392.7049 | 2717344.7445 | 1259394.8575
64 | 2717335.9941 | 1259392.7049 | 2717335.4557 | 1259392.5725
65 | 2717317.3936 | 1259388.1292 | 2717335.4557 | 1259392.5725
66 | 2717317.3936 | 1259388.1292 | 2717313.9409 | 1259387.2799
67 | 2717313.9409 | 1259387.2799 | 2717313.2926 | 1259387.1204
68 | 2717313.2926 | 1259387.1204 | 2717292.209 | 1259381.9338
69 | 2717285.9104 | 1259381.2929 | 2717289.094 | 1259381.1675 | 2717292.209 | 1259381.9338
70 | 2717285.9104 | 1259381.2929 | 2717277.9228 | 1259381.6074
71 | 2717277.9228 | 1259381.6074 | 2717270.124 | 1259381.9145
72 | 2717261.6058 | 1259384.5343 | 2717270.124 | 1259381.9145 | 2717270.124 | 1259381.9145
73 | 2717250.4351 | 1259387.97 | 2717261.6058 | 1259384.5343
74 | 2717250.4351 | 1259387.97 | 2717248.8602 | 1259388.4544 | 2717235.1917 | 1259389.1984
75 | 2717235.1917 | 1259389.1984 | 2717227.4466 | 1259389.6201 | 2717223.5823 | 1259389.66
76 | 2717216.8614 | 1259389.7295 | 2717223.5823 | 1259389.66
77 | 2717216.8614 | 1259389.7295 | 2717211.1393 | 1259389.7887
78 | 2717197.2133 | 1259389.9326 | 2717211.1393 | 1259389.7887
79 | 2717197.2133 | 1259389.9326 | 2717197.0325 | 1259399.8154
80 | 2717197.2133 | 1259389.9326 | 2717197.354 | 1259384.06
81 | 2717197.0325 | 1259399.8154 | 2717175.7567 | 1259398.593 | 2717171.0565 | 1259396.0756 | 2717168.624 | 1259390.9897 | 2717168.5724 | 1259389.9091
82 | 2717197.0325 | 1259399.8154 | 2717196.6008 | 1259423.4941 | 2717196.6127 | 1259423.7208
83 | 2717197.9994 | 1259357.1235 | 2717197.354 | 1259384.06
84 | 2717168.5724 | 1259389.9091 | 2717168.1285 | 1259380.6042 | 2717167.103 | 1259376.0466 | 2717163.9357 | 1259372.6476 | 2717159.0775 | 1259371.1594
85 | 2717197.4109 | 1259438.9235 | 2717196.6127 | 1259423.7208
86 | 2717197.9994 | 1259357.1235 | 2717198.149 | 1259350.8837
87 | 2717197.4109 | 1259438.9235 | 2717211.0178 | 1259442.2389
88 | 2717197.4109 | 1259438.9235 | 2717172.2411 | 1259439.4118
89 | 2717197.4109 | 1259438.9235 | 2717201.9499 | 1259469.1688
90 | 2717172.2411 | 1259439.4118 | 2717152.3017 | 1259439.7987
91 | 2717145.3071 | 1259439.9344 | 2717152.3017 | 1259439.7987
92 | 2717145.3071 | 1259439.9344 | 2717144.2589 | 1259439.9547
93 | 2717159.0775 | 1259371.1594 | 2717158.3075 | 1259370.9236 | 2717141.2654 | 1259369.5124
94 | 2717128.5271 | 1259368.4575 | 2717141.2654 | 1259369.5124
95 | 2717130.6772 | 1259440.2182 | 2717112.2603 | 1259440.5755
96 | 2717130.6772 | 1259440.2182 | 2717144.2589 | 1259439.9547
97 | 2717111.5095 | 1259440.5901 | 2717112.2603 | 1259440.5755
98 | 2717111.0736 | 1259440.5986 | 2717111.5095 | 1259440.5901
99 | 2717202.7094 | 1259320.5185 | 2717202.0613 | 1259324.034
100 | 2717202.7094 | 1259320.5185 | 2717203.606 | 1259315.6553
101 | 2717202.0613 | 1259324.034 | 2717198.9484 | 1259340.9194
102 | 2717217.0501 | 1259245.0443 | 2717211.2348 | 1259278.6138 | 2717207.1408 | 1259296.4815 | 2717203.606 | 1259315.6553
103 | 2717198.9484 | 1259340.9194 | 2717198.304 | 1259344.4148 | 2717198.149 | 1259350.8837
104 | 2717217.0501 | 1259245.0443 | 2717224.7167 | 1259250.0672 | 2717251.6978 | 1259272.8921
105 | 2717251.6978 | 1259272.8921 | 2717282.6205 | 1259299.0514
106 | 2717315.6807 | 1259327.019 | 2717282.6205 | 1259299.0514
107 | 2717128.5271 | 1259368.4575 | 2717118.0543 | 1259367.5903

## bus_geodata
| x | y | coords
0 | 2717204.2909 | 1259637.6656
1 | 2717200.5702 | 1259652.1486
2 | 2717204.436 | 1259636.1381
3 | 2717198.2891 | 1259661.0282
4 | 2717207.0006 | 1259609.1504
5 | 2717193.3604 | 1259680.2139
6 | 2717207.0736 | 1259608.3822
7 | 2717190.8945 | 1259689.813
8 | 2717211.1312 | 1259565.683
9 | 2717299.5028 | 1259581.5492
10 | 2717277.9528 | 1259577.6801
11 | 2717306.0103 | 1259582.7175
12 | 2717269.9228 | 1259576.2384
13 | 2717351.1993 | 1259589.326
14 | 2717245.2834 | 1259571.8147
15 | 2717358.6584 | 1259590.3561
16 | 2717230.4646 | 1259569.1541
17 | 2717404.4867 | 1259597.4247
18 | 2717432.882 | 1259602.3222
19 | 2717433.5552 | 1259611.0841
20 | 2717424.7903 | 1259556.8554
21 | 2717062.2133 | 1259525.1595
22 | 2717076.5836 | 1259441.2677
23 | 2717089.5728 | 1259441.0157
24 | 2717193.2422 | 1259555.8131
25 | 2717201.5749 | 1259560.4105
26 | 2717210.5578 | 1259526.5265
27 | 2717029.9967 | 1259657.4907
28 | 2717057.1599 | 1259672.5581
29 | 2717065.0599 | 1259676.0217
30 | 2717071.745 | 1259678.6505
31 | 2717082.2598 | 1259682.5595
32 | 2717105.9096 | 1259689.3017
33 | 2717114.9382 | 1259690.7391
34 | 2717133.0837 | 1259693.628
35 | 2717154.9586 | 1259697.1106
36 | 2717185.5169 | 1259703.5065
37 | 2717207.2738 | 1259504.6439
38 | 2717228.8341 | 1259528.9054
39 | 2717204.3519 | 1259485.174
40 | 2717252.0197 | 1259531.9232
41 | 2717313.0326 | 1259541.5484
42 | 2717266.3858 | 1259534.1665
43 | 2717370.1896 | 1259549.5771
44 | 2717375.5047 | 1259516.3703
45 | 2717383.3963 | 1259551.3376
46 | 2717377.321 | 1259505.0228
47 | 2717405.2113 | 1259554.2455
48 | 2717380.7506 | 1259483.5959
49 | 2717315.0633 | 1259467.5906
50 | 2717288.564 | 1259461.1338
51 | 2717320.7501 | 1259468.9762
52 | 2717281.3997 | 1259459.3881
53 | 2717354.4701 | 1259477.1924
54 | 2717271.5189 | 1259456.9806
55 | 2717258.7773 | 1259453.876
56 | 2717249.1444 | 1259451.5288
57 | 2717245.3044 | 1259450.5932
58 | 2717223.3451 | 1259445.2426
59 | 2717386.4558 | 1259424.2019
60 | 2717389.417 | 1259434.097
61 | 2717381.6951 | 1259408.2937
62 | 2717376.7428 | 1259405.3865
63 | 2717344.7445 | 1259394.8575
64 | 2717335.9941 | 1259392.7049
65 | 2717335.4557 | 1259392.5725
66 | 2717317.3936 | 1259388.1292
67 | 2717313.9409 | 1259387.2799
68 | 2717313.2926 | 1259387.1204
69 | 2717292.209 | 1259381.9338
70 | 2717285.9104 | 1259381.2929
71 | 2717277.9228 | 1259381.6074
72 | 2717270.124 | 1259381.9145
73 | 2717261.6058 | 1259384.5343
74 | 2717250.4351 | 1259387.97
75 | 2717235.1917 | 1259389.1984
76 | 2717223.5823 | 1259389.66
77 | 2717216.8614 | 1259389.7295
78 | 2717211.1393 | 1259389.7887
79 | 2717197.2133 | 1259389.9326
80 | 2717197.0325 | 1259399.8154
81 | 2717197.354 | 1259384.06
82 | 2717168.5724 | 1259389.9091
83 | 2717196.6127 | 1259423.7208
84 | 2717197.9994 | 1259357.1235
85 | 2717211.0178 | 1259442.2389
86 | 2717197.4109 | 1259438.9235
87 | 2717172.2411 | 1259439.4118
88 | 2717201.9499 | 1259469.1688
89 | 2717152.3017 | 1259439.7987
90 | 2717145.3071 | 1259439.9344
91 | 2717159.0775 | 1259371.1594
92 | 2717141.2654 | 1259369.5124
93 | 2717130.6772 | 1259440.2182
94 | 2717112.2603 | 1259440.5755
95 | 2717144.2589 | 1259439.9547
96 | 2717111.5095 | 1259440.5901
97 | 2717111.0736 | 1259440.5986
98 | 2717202.7094 | 1259320.5185
99 | 2717202.0613 | 1259324.034
100 | 2717203.606 | 1259315.6553
101 | 2717198.9484 | 1259340.9194
102 | 2717217.0501 | 1259245.0443
103 | 2717198.149 | 1259350.8837
104 | 2717251.6978 | 1259272.8921
105 | 2717282.6205 | 1259299.0514
106 | 2717315.6807 | 1259327.019
107 | 2717128.5271 | 1259368.4575
108 | 2717118.0543 | 1259367.5903
109 | 2717210.5578 | 1259526.5265

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1