## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4746-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4746-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4746-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4746-5_0_5_node_49 | 0.4 | n |  | TRUE
4 | bus_LV_4746-5_0_5_node_47 | 0.4 | n |  | TRUE
5 | bus_LV_4746-5_0_5_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4746-5_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4746-5_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4746-5_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4746-5_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4746-5_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4746-5_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4746-5_0_5_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_4746-5_0_5_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_4746-5_0_5_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_4746-5_0_5_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_4746-5_0_5_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4746-5_0_5_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_4746-5_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4746-5_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4746-5_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4746-5_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4746-5_0_5_node_94 | 0.4 | n |  | TRUE
23 | bus_LV_4746-5_0_5_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_4746-5_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4746-5_0_5_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_4746-5_0_5_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_4746-5_0_5_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_4746-5_0_5_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_4746-5_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_4746-5_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4746-5_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4746-5_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4746-5_0_5_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_4746-5_0_5_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_4746-5_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4746-5_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_4746-5_0_5_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_4746-5_0_5_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_4746-5_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_4746-5_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_4746-5_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4746-5_0_5_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4746-5_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4746-5_0_5_node_77 | 0.4 | n |  | TRUE
45 | bus_LV_4746-5_0_5_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_4746-5_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4746-5_0_5_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_4746-5_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4746-5_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4746-5_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_4746-5_0_5_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_4746-5_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4746-5_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4746-5_0_5_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_4746-5_0_5_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_4746-5_0_5_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_4746-5_0_5_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_4746-5_0_5_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4746-5_0_5_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_4746-5_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_4746-5_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4746-5_0_5_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_4746-5_0_5_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_4746-5_0_5_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_4746-5_0_5_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_4746-5_0_5_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_4746-5_0_5_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_4746-5_0_5_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_4746-5_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_4746-5_0_5_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_4746-5_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4746-5_0_5_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_4746-5_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_4746-5_0_5_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_4746-5_0_5_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_4746-5_0_5_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_4746-5_0_5_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_4746-5_0_5_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_4746-5_0_5_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_4746-5_0_5_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_4746-5_0_5_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_4746-5_0_5_node_97 | 0.4 | n |  | TRUE
83 | bus_LV_4746-5_0_5_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_4746-5_0_5_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_4746-5_0_5_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_4746-5_0_5_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_4746-5_0_5_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_4746-5_0_5_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_4746-5_0_5_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_4746-5_0_5_node_87 | 0.4 | n |  | TRUE
91 | bus_MV_443_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4746-5_0_5_load_0 | 0 | 0.020431 | 0.0051205 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4746-5_0_5_load_2 | 2 | 0.0078852 | 0.0019762 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4746-5_0_5_load_3 | 5 | 0.066488 | 0.016663 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4746-5_0_5_load_4 | 6 | 0.012697 | 0.003182 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4746-5_0_5_load_7 | 9 | 0.0015822 | 0.00039653 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4746-5_0_5_load_8 | 10 | 0.024288 | 0.0060872 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4746-5_0_5_load_9 | 11 | 0.013601 | 0.0034089 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4746-5_0_5_load_36 | 12 | 0.0015697 | 0.00039341 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4746-5_0_5_load_37 | 14 | 0.00060794 | 0.00015236 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4746-5_0_5_load_17 | 16 | 0.0010482 | 0.00026271 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4746-5_0_5_load_24 | 17 | 0.0013288 | 0.00033304 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4746-5_0_5_load_11 | 18 | 0.0095509 | 0.0023937 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4746-5_0_5_load_12 | 19 | 0.0040256 | 0.0010089 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4746-5_0_5_load_75 | 23 | 0.004009 | 0.0010048 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4746-5_0_5_load_16 | 24 | 0.0055188 | 0.0013832 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4746-5_0_5_load_93 | 26 | 0.0064708 | 0.0016217 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4746-5_0_5_load_46 | 28 | 0.005369 | 0.0013456 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4746-5_0_5_load_42 | 29 | 0.0052395 | 0.0013131 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4746-5_0_5_load_20 | 31 | 0.0032653 | 0.00081835 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4746-5_0_5_load_33 | 33 | 0.0058511 | 0.0014664 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4746-5_0_5_load_28 | 35 | 0.00047709 | 0.00011957 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4746-5_0_5_load_34 | 36 | 0.0031175 | 0.00078131 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4746-5_0_5_load_74 | 37 | 0.0026971 | 0.00067595 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4746-5_0_5_load_66 | 38 | 0.0028736 | 0.0007202 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4746-5_0_5_load_29 | 39 | 0.00047285 | 0.00011851 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4746-5_0_5_load_23 | 40 | 0.0055674 | 0.0013953 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4746-5_0_5_load_25 | 41 | 0.056645 | 0.014197 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4746-5_0_5_load_26 | 42 | 0.0013672 | 0.00034265 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4746-5_0_5_load_27 | 43 | 0.0065293 | 0.0016364 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4746-5_0_5_load_35 | 46 | 0.002916 | 0.00073083 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4746-5_0_5_load_90 | 47 | 0.0023132 | 0.00057975 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4746-5_0_5_load_38 | 48 | 0.0013683 | 0.00034293 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4746-5_0_5_load_39 | 49 | 0.00038067 | 9.5404e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4746-5_0_5_load_40 | 50 | 0.00021059 | 5.2779e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4746-5_0_5_load_41 | 51 | 0.0047686 | 0.0011951 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4746-5_0_5_load_43 | 52 | 0.0064781 | 0.0016236 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4746-5_0_5_load_62 | 56 | 0.010769 | 0.0026989 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4746-5_0_5_load_48 | 58 | 0.0076627 | 0.0019204 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4746-5_0_5_load_54 | 59 | 0.0061029 | 0.0015295 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4746-5_0_5_load_50 | 60 | 0.0075492 | 0.001892 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4746-5_0_5_load_51 | 61 | 0.016618 | 0.0041648 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4746-5_0_5_load_69 | 64 | 0.0092972 | 0.0023301 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4746-5_0_5_load_68 | 65 | 0.011675 | 0.0029261 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4746-5_0_5_load_61 | 66 | 0.003456 | 0.00086616 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4746-5_0_5_load_70 | 67 | 0.0023884 | 0.00059858 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4746-5_0_5_load_56 | 68 | 0.0018459 | 0.00046263 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4746-5_0_5_load_63 | 71 | 0.0034555 | 0.00086603 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4746-5_0_5_load_64 | 72 | 0.0098666 | 0.0024728 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4746-5_0_5_load_65 | 73 | 0.0031684 | 0.00079409 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4746-5_0_5_load_72 | 75 | 0.0030689 | 0.00076914 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4746-5_0_5_load_88 | 76 | 0.0030938 | 0.00077537 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4746-5_0_5_load_89 | 77 | 0.0027879 | 0.00069872 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4746-5_0_5_load_78 | 78 | 0.0048174 | 0.0012074 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4746-5_0_5_load_79 | 79 | 0.0021276 | 0.00053322 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4746-5_0_5_load_80 | 80 | 0.0016946 | 0.00042471 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4746-5_0_5_load_97 | 82 | 0.0082387 | 0.0020648 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4746-5_0_5_load_81 | 83 | 0.0029551 | 0.00074062 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4746-5_0_5_load_92 | 85 | 0.0047754 | 0.0011968 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4746-5_0_5_load_82 | 86 | 0.0024733 | 0.00061986 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4746-5_0_5_load_84 | 87 | 0.0031447 | 0.00078813 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4746-5_0_5_load_85 | 88 | 0.0020456 | 0.00051268 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4746-5_0_5_load_86 | 89 | 0.0028374 | 0.00071111 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4746-5_0_5_load_87 | 90 | 0.007013 | 0.0017576 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 79 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4746-5_0_5_line_0 |  | 0 | 1 | 0.066705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4746-5_0_5_line_1 |  | 1 | 2 | 0.052406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4746-5_0_5_line_2 |  | 2 | 3 | 0.10788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4746-5_0_5_line_3 |  | 3 | 4 | 0.052335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4746-5_0_5_line_4 |  | 4 | 58 | 0.017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4746-5_0_5_line_5 |  | 5 | 6 | 0.056232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4746-5_0_5_line_6 |  | 5 | 7 | 0.05823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4746-5_0_5_line_7 |  | 6 | 8 | 0.054174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4746-5_0_5_line_8 |  | 7 | 9 | 0.024442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4746-5_0_5_line_9 |  | 7 | 10 | 0.059069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4746-5_0_5_line_10 |  | 8 | 11 | 8.1971e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4746-5_0_5_line_11 |  | 9 | 12 | 0.01486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4746-5_0_5_line_12 |  | 11 | 13 | 0.043477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4746-5_0_5_line_13 |  | 12 | 14 | 0.014178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4746-5_0_5_line_14 |  | 13 | 15 | 0.014155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4746-5_0_5_line_15 |  | 13 | 16 | 0.043955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4746-5_0_5_line_16 |  | 14 | 48 | 0.019166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4746-5_0_5_line_17 |  | 15 | 17 | 0.018876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4746-5_0_5_line_18 |  | 16 | 30 | 0.020074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_4746-5_0_5_line_19 |  | 17 | 40 | 0.025315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4746-5_0_5_line_20 |  | 18 | 19 | 0.01676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4746-5_0_5_line_21 |  | 18 | 20 | 0.030524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4746-5_0_5_line_22 |  | 20 | 21 | 0.015213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4746-5_0_5_line_23 |  | 20 | 22 | 0.038722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4746-5_0_5_line_24 |  | 21 | 23 | 0.025127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4746-5_0_5_line_25 |  | 22 | 26 | 0.026126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4746-5_0_5_line_26 |  | 23 | 27 | 0.019211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4746-5_0_5_line_27 |  | 24 | 25 | 0.0031287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4746-5_0_5_line_28 |  | 25 | 28 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4746-5_0_5_line_29 |  | 25 | 29 | 0.014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4746-5_0_5_line_30 |  | 26 | 81 | 0.014816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4746-5_0_5_line_31 |  | 27 | 54 | 0.032375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4746-5_0_5_line_32 |  | 29 | 51 | 0.0018677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4746-5_0_5_line_33 |  | 30 | 31 | 0.025584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4746-5_0_5_line_34 |  | 30 | 32 | 0.026212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4746-5_0_5_line_35 |  | 31 | 33 | 0.023833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4746-5_0_5_line_36 |  | 32 | 34 | 0.050499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4746-5_0_5_line_37 |  | 32 | 35 | 0.075794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4746-5_0_5_line_38 |  | 33 | 36 | 0.011021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4746-5_0_5_line_39 |  | 34 | 37 | 0.018685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_4746-5_0_5_line_40 |  | 34 | 38 | 0.039292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4746-5_0_5_line_41 |  | 35 | 39 | 0.022053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4746-5_0_5_line_42 |  | 36 | 46 | 0.029704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4746-5_0_5_line_43 |  | 37 | 44 | 0.028975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_4746-5_0_5_line_44 |  | 38 | 45 | 0.046595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4746-5_0_5_line_45 |  | 40 | 41 | 0.015767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4746-5_0_5_line_46 |  | 41 | 42 | 0.018849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4746-5_0_5_line_47 |  | 42 | 43 | 0.034392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4746-5_0_5_line_48 |  | 44 | 78 | 0.014767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4746-5_0_5_line_49 |  | 44 | 79 | 0.019004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_4746-5_0_5_line_50 |  | 44 | 80 | 0.01635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4746-5_0_5_line_51 |  | 45 | 71 | 0.022376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4746-5_0_5_line_52 |  | 45 | 69 | 0.032814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_4746-5_0_5_line_53 |  | 46 | 47 | 0.045159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4746-5_0_5_line_54 |  | 48 | 49 | 0.0064346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4746-5_0_5_line_55 |  | 49 | 50 | 0.0086502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4746-5_0_5_line_56 |  | 51 | 52 | 0.016536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4746-5_0_5_line_57 |  | 52 | 53 | 0.018113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4746-5_0_5_line_58 |  | 53 | 54 | 0.010184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4746-5_0_5_line_59 |  | 53 | 55 | 0.015911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4746-5_0_5_line_60 |  | 54 | 56 | 0.027128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4746-5_0_5_line_61 |  | 55 | 57 | 0.025558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4746-5_0_5_line_62 |  | 57 | 59 | 0.028962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4746-5_0_5_line_63 |  | 57 | 60 | 0.016888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4746-5_0_5_line_64 |  | 58 | 59 | 0.018089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4746-5_0_5_line_65 |  | 60 | 61 | 0.010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4746-5_0_5_line_66 |  | 61 | 62 | 0.026909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4746-5_0_5_line_67 |  | 62 | 63 | 0.025725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_4746-5_0_5_line_68 |  | 62 | 64 | 0.018117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4746-5_0_5_line_69 |  | 63 | 65 | 0.025846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4746-5_0_5_line_70 |  | 63 | 66 | 0.0068215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_4746-5_0_5_line_71 |  | 64 | 67 | 0.00084168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4746-5_0_5_line_72 |  | 66 | 70 | 0.019869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_4746-5_0_5_line_73 |  | 67 | 74 | 0.017146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4746-5_0_5_line_74 |  | 68 | 69 | 0.022607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_4746-5_0_5_line_75 |  | 68 | 70 | 0.0056675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_4746-5_0_5_line_76 |  | 71 | 72 | 0.025453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4746-5_0_5_line_77 |  | 72 | 73 | 0.021591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4746-5_0_5_line_78 |  | 74 | 75 | 0.03823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4746-5_0_5_line_79 |  | 75 | 76 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4746-5_0_5_line_80 |  | 76 | 77 | 0.0030523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4746-5_0_5_line_81 |  | 78 | 83 | 0.0084545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4746-5_0_5_line_82 |  | 79 | 84 | 0.029274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4746-5_0_5_line_83 |  | 80 | 85 | 0.0041933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4746-5_0_5_line_84 |  | 81 | 82 | 0.030779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4746-5_0_5_line_85 |  | 83 | 86 | 0.011566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4746-5_0_5_line_86 |  | 84 | 87 | 0.015232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4746-5_0_5_line_87 |  | 84 | 88 | 0.015123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4746-5_0_5_line_88 |  | 87 | 89 | 0.0040108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4746-5_0_5_line_89 |  | 89 | 90 | 0.012591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4746-5_0_5_trafo_79 | 0.63 MVA 20/0.4 kV | 91 | 79 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2717567.7152 | 1260061.6879 | 2717570.6905 | 1260077.3606 | 2717577.9869 | 1260099.4137 | 2717578.7059 | 1260126.9279
1 | 2717567.7152 | 1260061.6879 | 2717561.4615 | 1260074.3969 | 2717538.5087 | 1260086.3625 | 2717526.1688 | 1260087.019
2 | 2717511.148 | 1260007.5616 | 2717506.9539 | 1260045.2333 | 2717495.3436 | 1260068.7677 | 2717498.1773 | 1260082.0911 | 2717505.7928 | 1260088.1031 | 2717526.1688 | 1260087.019
3 | 2717461.9109 | 1259991.2253 | 2717482.204 | 1260001.5705 | 2717511.148 | 1260007.5616
4 | 2717461.9109 | 1259991.2253 | 2717453.3294 | 1260006.8605
5 | 2717404.2614 | 1260327.4814 | 2717405.0836 | 1260294.0612 | 2717402.6805 | 1260289.7987 | 2717395.717 | 1260287.0248 | 2717385.3056 | 1260287.1749
6 | 2717379.5808 | 1260376.8051 | 2717394.372 | 1260365.0104 | 2717400.2794 | 1260352.628 | 2717404.0278 | 1260336.9776 | 2717404.2614 | 1260327.4814
7 | 2717331.1373 | 1260287.9558 | 2717385.3056 | 1260287.1749
8 | 2717379.5808 | 1260376.8051 | 2717379.8159 | 1260401.2461
9 | 2717379.5808 | 1260376.8051 | 2717320.5701 | 1260374.1781
10 | 2717331.1373 | 1260287.9558 | 2717331.0553 | 1260287.9569
11 | 2717379.9313 | 1260416.1054 | 2717379.9499 | 1260415.168 | 2717379.8159 | 1260401.2461
12 | 2717287.6183 | 1260289.7612 | 2717325.1273 | 1260288.0367 | 2717331.0553 | 1260287.9569
13 | 2717379.9313 | 1260416.1054 | 2717379.6498 | 1260430.2809
14 | 2717287.6183 | 1260289.7612 | 2717285.8546 | 1260303.8052
15 | 2717287.6183 | 1260289.7612 | 2717290.3368 | 1260245.8906
16 | 2717379.2693 | 1260449.4431 | 2717379.6498 | 1260430.2809
17 | 2717285.8546 | 1260303.8052 | 2717267.0449 | 1260305.3798
18 | 2717289.2666 | 1260226.0607 | 2717291.1003 | 1260233.5702 | 2717290.3368 | 1260245.8906
19 | 2717241.8178 | 1260307.4917 | 2717267.0449 | 1260305.3798
20 | 2717382.1146 | 1259913.5127 | 2717387.406 | 1259897.6101
21 | 2717372.4777 | 1259942.475 | 2717382.1146 | 1259913.5127
22 | 2717372.4777 | 1259942.475 | 2717366.9565 | 1259956.6556
23 | 2717372.4777 | 1259942.475 | 2717335.1525 | 1259932.1703
24 | 2717366.9565 | 1259956.6556 | 2717356.8652 | 1259979.6669
25 | 2717335.1525 | 1259932.1703 | 2717323.2841 | 1259955.445
26 | 2717349.1499 | 1259997.26 | 2717356.8652 | 1259979.6669
27 | 2717416.6285 | 1259967.8285 | 2717413.9601 | 1259966.195
28 | 2717416.6285 | 1259967.8285 | 2717431.3212 | 1259975.4201
29 | 2717416.6285 | 1259967.8285 | 2717409.0426 | 1259979.7185
30 | 2717316.5535 | 1259968.6443 | 2717323.2841 | 1259955.445
31 | 2717349.1499 | 1259997.26 | 2717380.5931 | 1260005.3462
32 | 2717408.038 | 1259981.2931 | 2717409.0426 | 1259979.7185
33 | 2717289.2666 | 1260226.0607 | 2717297.7673 | 1260225.0728 | 2717314.1846 | 1260229.5869
34 | 2717289.2666 | 1260226.0607 | 2717286.3402 | 1260221.5654 | 2717294.1773 | 1260215.2709 | 2717301.3929 | 1260207.2402
35 | 2717337.1649 | 1260235.9056 | 2717314.1846 | 1260229.5869
36 | 2717301.3929 | 1260207.2402 | 2717302.3844 | 1260201.7218 | 2717309.3632 | 1260157.3771
37 | 2717301.3929 | 1260207.2402 | 2717297.7611 | 1260207.1459 | 2717290.1343 | 1260210.8202 | 2717279.7705 | 1260212.2382 | 2717226.5532 | 1260213.6044
38 | 2717337.1649 | 1260235.9056 | 2717341.3147 | 1260237.0466 | 2717348.0304 | 1260236.8878
39 | 2717309.3632 | 1260157.3771 | 2717321.9456 | 1260158.8945 | 2717327.8399 | 1260160.0748
40 | 2717309.3632 | 1260157.3771 | 2717314.5225 | 1260121.5259 | 2717315.1161 | 1260118.5124
41 | 2717226.5532 | 1260213.6044 | 2717204.5075 | 1260214.1704
42 | 2717377.7257 | 1260236.1853 | 2717348.0304 | 1260236.8878
43 | 2717353.7832 | 1260172.5155 | 2717333.104 | 1260161.1288 | 2717327.8399 | 1260160.0748
44 | 2717324.1216 | 1260072.7961 | 2717315.1161 | 1260118.5124
45 | 2717241.8178 | 1260307.4917 | 2717226.1063 | 1260308.807
46 | 2717207.3228 | 1260310.3795 | 2717226.1063 | 1260308.807
47 | 2717177.12 | 1260319.2321 | 2717180.3872 | 1260312.6344 | 2717207.3228 | 1260310.3795
48 | 2717353.7832 | 1260172.5155 | 2717346.5317 | 1260185.3796
49 | 2717353.7832 | 1260172.5155 | 2717359.0238 | 1260178.5358 | 2717368.5732 | 1260184.0394
50 | 2717353.7832 | 1260172.5155 | 2717360.939 | 1260157.8147
51 | 2717324.1216 | 1260072.7961 | 2717343.7974 | 1260083.4528
52 | 2717324.1216 | 1260072.7961 | 2717330.9105 | 1260040.6917
53 | 2717422.8722 | 1260235.1174 | 2717377.7257 | 1260236.1853
54 | 2717379.1416 | 1260455.8764 | 2717379.2693 | 1260449.4431
55 | 2717378.9699 | 1260464.5249 | 2717379.1416 | 1260455.8764
56 | 2717408.038 | 1259981.2931 | 2717399.144 | 1259995.2335
57 | 2717389.4019 | 1260010.5032 | 2717399.144 | 1259995.2335
58 | 2717380.5931 | 1260005.3462 | 2717389.4019 | 1260010.5032
59 | 2717403.2212 | 1260018.4621 | 2717389.4019 | 1260010.5032
60 | 2717380.5931 | 1260005.3462 | 2717368.2983 | 1260029.5278
61 | 2717403.2212 | 1260018.4621 | 2717425.52 | 1260031.0711
62 | 2717425.52 | 1260031.0711 | 2717436.8174 | 1260036.9449 | 2717444.626 | 1260022.7178
63 | 2717425.52 | 1260031.0711 | 2717418.0655 | 1260046.2246
64 | 2717444.626 | 1260022.7178 | 2717453.3294 | 1260006.8605
65 | 2717418.0655 | 1260046.2246 | 2717413.3974 | 1260055.714
66 | 2717401.5195 | 1260079.8595 | 2717413.3974 | 1260055.714
67 | 2717401.5195 | 1260079.8595 | 2717379.1184 | 1260067.0929
68 | 2717401.5195 | 1260079.8595 | 2717417.2012 | 1260088.932
69 | 2717379.1184 | 1260067.0929 | 2717390.5962 | 1260043.9349
70 | 2717379.1184 | 1260067.0929 | 2717373.1633 | 1260063.7659
71 | 2717417.9298 | 1260089.3535 | 2717417.2012 | 1260088.932
72 | 2717355.8176 | 1260054.075 | 2717373.1633 | 1260063.7659
73 | 2717432.7712 | 1260097.9399 | 2717417.9298 | 1260089.3535
74 | 2717330.9105 | 1260040.6917 | 2717350.8251 | 1260051.3924
75 | 2717355.8176 | 1260054.075 | 2717350.8251 | 1260051.3924
76 | 2717343.7974 | 1260083.4528 | 2717366.1788 | 1260095.575
77 | 2717385.164 | 1260105.8577 | 2717366.1788 | 1260095.575
78 | 2717432.7712 | 1260097.9399 | 2717422.8537 | 1260126.9794 | 2717422.9693 | 1260131.4078 | 2717424.2244 | 1260134.2574 | 2717424.2244 | 1260134.2574
79 | 2717424.2244 | 1260134.2574 | 2717426.5075 | 1260136.2155 | 2717436.0329 | 1260139.7796
80 | 2717438.8916 | 1260140.8493 | 2717436.0329 | 1260139.7796
81 | 2717346.5317 | 1260185.3796 | 2717342.3801 | 1260192.7446
82 | 2717393.9361 | 1260198.6569 | 2717368.5732 | 1260184.0394
83 | 2717362.7743 | 1260154.0444 | 2717360.939 | 1260157.8147
84 | 2717316.5535 | 1259968.6443 | 2717301.2469 | 1259960.7785 | 2717303.8167 | 1259954.7464 | 2717297.6054 | 1259951.4903
85 | 2717336.7005 | 1260202.8202 | 2717342.3801 | 1260192.7446
86 | 2717393.9361 | 1260198.6569 | 2717401.6237 | 1260195.718 | 2717406.2199 | 1260190.4356
87 | 2717406.8119 | 1260206.6527 | 2717393.9361 | 1260198.6569
88 | 2717406.2199 | 1260190.4356 | 2717408.8526 | 1260187.4098
89 | 2717411.3592 | 1260175.071 | 2717408.8526 | 1260187.4098

## bus_geodata
| x | y | coords
0 | 2717578.7059 | 1260126.9279
1 | 2717567.7152 | 1260061.6879
2 | 2717526.1688 | 1260087.019
3 | 2717511.148 | 1260007.5616
4 | 2717461.9109 | 1259991.2253
5 | 2717404.2614 | 1260327.4814
6 | 2717385.3056 | 1260287.1749
7 | 2717379.5808 | 1260376.8051
8 | 2717331.1373 | 1260287.9558
9 | 2717379.8159 | 1260401.2461
10 | 2717320.5701 | 1260374.1781
11 | 2717331.0553 | 1260287.9569
12 | 2717379.9313 | 1260416.1054
13 | 2717287.6183 | 1260289.7612
14 | 2717379.6498 | 1260430.2809
15 | 2717285.8546 | 1260303.8052
16 | 2717290.3368 | 1260245.8906
17 | 2717267.0449 | 1260305.3798
18 | 2717382.1146 | 1259913.5127
19 | 2717387.406 | 1259897.6101
20 | 2717372.4777 | 1259942.475
21 | 2717366.9565 | 1259956.6556
22 | 2717335.1525 | 1259932.1703
23 | 2717356.8652 | 1259979.6669
24 | 2717413.9601 | 1259966.195
25 | 2717416.6285 | 1259967.8285
26 | 2717323.2841 | 1259955.445
27 | 2717349.1499 | 1259997.26
28 | 2717431.3212 | 1259975.4201
29 | 2717409.0426 | 1259979.7185
30 | 2717289.2666 | 1260226.0607
31 | 2717314.1846 | 1260229.5869
32 | 2717301.3929 | 1260207.2402
33 | 2717337.1649 | 1260235.9056
34 | 2717309.3632 | 1260157.3771
35 | 2717226.5532 | 1260213.6044
36 | 2717348.0304 | 1260236.8878
37 | 2717327.8399 | 1260160.0748
38 | 2717315.1161 | 1260118.5124
39 | 2717204.5075 | 1260214.1704
40 | 2717241.8178 | 1260307.4917
41 | 2717226.1063 | 1260308.807
42 | 2717207.3228 | 1260310.3795
43 | 2717177.12 | 1260319.2321
44 | 2717353.7832 | 1260172.5155
45 | 2717324.1216 | 1260072.7961
46 | 2717377.7257 | 1260236.1853
47 | 2717422.8722 | 1260235.1174
48 | 2717379.2693 | 1260449.4431
49 | 2717379.1416 | 1260455.8764
50 | 2717378.9699 | 1260464.5249
51 | 2717408.038 | 1259981.2931
52 | 2717399.144 | 1259995.2335
53 | 2717389.4019 | 1260010.5032
54 | 2717380.5931 | 1260005.3462
55 | 2717403.2212 | 1260018.4621
56 | 2717368.2983 | 1260029.5278
57 | 2717425.52 | 1260031.0711
58 | 2717453.3294 | 1260006.8605
59 | 2717444.626 | 1260022.7178
60 | 2717418.0655 | 1260046.2246
61 | 2717413.3974 | 1260055.714
62 | 2717401.5195 | 1260079.8595
63 | 2717379.1184 | 1260067.0929
64 | 2717417.2012 | 1260088.932
65 | 2717390.5962 | 1260043.9349
66 | 2717373.1633 | 1260063.7659
67 | 2717417.9298 | 1260089.3535
68 | 2717350.8251 | 1260051.3924
69 | 2717330.9105 | 1260040.6917
70 | 2717355.8176 | 1260054.075
71 | 2717343.7974 | 1260083.4528
72 | 2717366.1788 | 1260095.575
73 | 2717385.164 | 1260105.8577
74 | 2717432.7712 | 1260097.9399
75 | 2717424.2244 | 1260134.2574
76 | 2717436.0329 | 1260139.7796
77 | 2717438.8916 | 1260140.8493
78 | 2717346.5317 | 1260185.3796
79 | 2717368.5732 | 1260184.0394
80 | 2717360.939 | 1260157.8147
81 | 2717316.5535 | 1259968.6443
82 | 2717297.6054 | 1259951.4903
83 | 2717342.3801 | 1260192.7446
84 | 2717393.9361 | 1260198.6569
85 | 2717362.7743 | 1260154.0444
86 | 2717336.7005 | 1260202.8202
87 | 2717406.2199 | 1260190.4356
88 | 2717406.8119 | 1260206.6527
89 | 2717408.8526 | 1260187.4098
90 | 2717411.3592 | 1260175.071
91 | 2717353.7832 | 1260172.5155

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1