## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4746-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4746-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4746-9_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4746-9_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4746-9_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4746-9_0_6_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_4746-9_0_6_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_4746-9_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4746-9_0_6_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_4746-9_0_6_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_4746-9_0_6_node_59 | 0.4 | n |  | TRUE
11 | bus_LV_4746-9_0_6_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_4746-9_0_6_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_4746-9_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4746-9_0_6_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_4746-9_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4746-9_0_6_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_4746-9_0_6_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_4746-9_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4746-9_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4746-9_0_6_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_4746-9_0_6_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_4746-9_0_6_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_4746-9_0_6_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_4746-9_0_6_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_4746-9_0_6_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_4746-9_0_6_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_4746-9_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_4746-9_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4746-9_0_6_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_4746-9_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4746-9_0_6_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_4746-9_0_6_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_4746-9_0_6_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_4746-9_0_6_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_4746-9_0_6_node_96 | 0.4 | n |  | TRUE
36 | bus_LV_4746-9_0_6_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_4746-9_0_6_node_97 | 0.4 | n |  | TRUE
38 | bus_LV_4746-9_0_6_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_4746-9_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_4746-9_0_6_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_4746-9_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4746-9_0_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4746-9_0_6_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_4746-9_0_6_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_4746-9_0_6_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_4746-9_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4746-9_0_6_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4746-9_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4746-9_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4746-9_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4746-9_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_4746-9_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_4746-9_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4746-9_0_6_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4746-9_0_6_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_4746-9_0_6_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4746-9_0_6_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_4746-9_0_6_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_4746-9_0_6_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_4746-9_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_4746-9_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_4746-9_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_4746-9_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4746-9_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_4746-9_0_6_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_4746-9_0_6_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4746-9_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_4746-9_0_6_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_4746-9_0_6_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_4746-9_0_6_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_4746-9_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_4746-9_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_4746-9_0_6_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_4746-9_0_6_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_4746-9_0_6_node_81 | 0.4 | n |  | TRUE
76 | bus_LV_4746-9_0_6_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_4746-9_0_6_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_4746-9_0_6_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_4746-9_0_6_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_4746-9_0_6_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_4746-9_0_6_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_4746-9_0_6_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_4746-9_0_6_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_4746-9_0_6_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_4746-9_0_6_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_4746-9_0_6_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_4746-9_0_6_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_4746-9_0_6_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_4746-9_0_6_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_4746-9_0_6_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_4746-9_0_6_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_4746-9_0_6_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_4746-9_0_6_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_4746-9_0_6_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_4746-9_0_6_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_4746-9_0_6_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_4746-9_0_6_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_4746-9_0_6_node_93 | 0.4 | n |  | TRUE
99 | bus_MV_443_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4746-9_0_6_load_0 | 0 | 0.0030104 | 0.00075447 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4746-9_0_6_load_1 | 1 | 0.0012312 | 0.00030857 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4746-9_0_6_load_5 | 4 | 0.0051055 | 0.0012795 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4746-9_0_6_load_36 | 5 | 0.00040904 | 0.00010252 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4746-9_0_6_load_18 | 9 | 0.0013789 | 0.00034559 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4746-9_0_6_load_37 | 14 | 0.0025167 | 0.00063074 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4746-9_0_6_load_19 | 17 | 0.00056088 | 0.00014057 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4746-9_0_6_load_12 | 18 | 0.00189 | 0.00047369 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4746-9_0_6_load_16 | 19 | 0.00095176 | 0.00023853 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4746-9_0_6_load_6 | 20 | 0.011574 | 0.0029008 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4746-9_0_6_load_35 | 24 | 0.0007163 | 0.00017952 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4746-9_0_6_load_31 | 26 | 0.00045801 | 0.00011479 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4746-9_0_6_load_20 | 28 | 0.0031398 | 0.00078691 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4746-9_0_6_load_28 | 29 | 0.00051575 | 0.00012926 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4746-9_0_6_load_30 | 31 | 0.00033195 | 8.3195e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4746-9_0_6_load_96 | 35 | 0.0037844 | 0.00094846 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4746-9_0_6_load_91 | 36 | 0.0037906 | 0.00095001 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4746-9_0_6_load_97 | 37 | 0.0037517 | 0.00094025 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4746-9_0_6_load_17 | 38 | 0.00099208 | 0.00024864 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4746-9_0_6_load_34 | 39 | 0.00088237 | 0.00022114 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4746-9_0_6_load_21 | 40 | 0.0017444 | 0.0004372 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4746-9_0_6_load_29 | 41 | 0.0018181 | 0.00045567 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4746-9_0_6_load_89 | 43 | 0.0096256 | 0.0024124 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4746-9_0_6_load_44 | 44 | 0.06903 | 0.0173 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4746-9_0_6_load_38 | 47 | 0.027969 | 0.0070096 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4746-9_0_6_load_39 | 48 | 0.023067 | 0.0057811 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4746-9_0_6_load_41 | 50 | 0.071921 | 0.018025 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4746-9_0_6_load_43 | 51 | 0.0088662 | 0.0022221 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4746-9_0_6_load_49 | 52 | 0.0088742 | 0.0022241 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4746-9_0_6_load_45 | 53 | 0.00021175 | 5.307e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4746-9_0_6_load_47 | 54 | 0.013263 | 0.003324 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4746-9_0_6_load_46 | 55 | 0.0030703 | 0.0007695 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4746-9_0_6_load_48 | 56 | 0.0040843 | 0.0010236 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4746-9_0_6_load_50 | 57 | 0.0025216 | 0.00063197 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4746-9_0_6_load_79 | 58 | 0.0032416 | 0.00081241 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4746-9_0_6_load_77 | 59 | 0.0015294 | 0.00038332 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4746-9_0_6_load_51 | 60 | 0.0022617 | 0.00056684 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4746-9_0_6_load_52 | 61 | 0.0032357 | 0.00081094 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4746-9_0_6_load_53 | 62 | 0.0024783 | 0.00062112 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4746-9_0_6_load_54 | 63 | 0.0063471 | 0.0015907 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4746-9_0_6_load_55 | 64 | 0.00091882 | 0.00023028 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4746-9_0_6_load_58 | 65 | 0.0033109 | 0.0008298 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4746-9_0_6_load_57 | 67 | 0.0024975 | 0.00062592 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4746-9_0_6_load_56 | 70 | 0.0074531 | 0.0018679 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4746-9_0_6_load_60 | 71 | 0.0018944 | 0.00047479 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4746-9_0_6_load_61 | 72 | 0.0020734 | 0.00051964 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4746-9_0_6_load_81 | 75 | 0.0019532 | 0.00048953 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4746-9_0_6_load_94 | 76 | 0.0059801 | 0.0014987 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4746-9_0_6_load_82 | 78 | 0.00036832 | 9.231e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4746-9_0_6_load_74 | 79 | 0.00043634 | 0.00010936 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4746-9_0_6_load_67 | 80 | 0.010168 | 0.0025483 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4746-9_0_6_load_68 | 81 | 0.0063546 | 0.0015926 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4746-9_0_6_load_69 | 82 | 0.0038768 | 0.00097163 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4746-9_0_6_load_70 | 83 | 0.016243 | 0.0040709 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4746-9_0_6_load_71 | 84 | 0.014126 | 0.0035402 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4746-9_0_6_load_83 | 85 | 0.015077 | 0.0037787 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4746-9_0_6_load_73 | 86 | 0.0050564 | 0.0012673 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4746-9_0_6_load_100 | 87 | 0.011389 | 0.0028542 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4746-9_0_6_load_72 | 88 | 0.0005415 | 0.00013571 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4746-9_0_6_load_84 | 89 | 0.0012724 | 0.00031888 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4746-9_0_6_load_76 | 90 | 0.0010212 | 0.00025594 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4746-9_0_6_load_80 | 91 | 0.002278 | 0.00057093 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4746-9_0_6_load_95 | 92 | 0.0043261 | 0.0010842 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4746-9_0_6_load_86 | 93 | 0.00093162 | 0.00023349 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4746-9_0_6_load_88 | 95 | 0.0070385 | 0.001764 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4746-9_0_6_load_92 | 97 | 0.0036549 | 0.000916 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4746-9_0_6_load_93 | 98 | 0.0037295 | 0.00093471 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4746-9_0_6_line_0 |  | 0 | 1 | 0.021347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4746-9_0_6_line_1 |  | 0 | 2 | 0.021904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4746-9_0_6_line_2 |  | 1 | 3 | 0.023535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4746-9_0_6_line_3 |  | 2 | 4 | 0.024172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4746-9_0_6_line_4 |  | 3 | 5 | 0.021336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4746-9_0_6_line_5 |  | 3 | 6 | 0.025246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4746-9_0_6_line_6 |  | 5 | 10 | 0.00043989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4746-9_0_6_line_7 |  | 6 | 16 | 0.04085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4746-9_0_6_line_8 |  | 6 | 17 | 0.029172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4746-9_0_6_line_9 |  | 7 | 8 | 0.026904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4746-9_0_6_line_10 |  | 7 | 9 | 0.014443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4746-9_0_6_line_11 |  | 8 | 18 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4746-9_0_6_line_12 |  | 9 | 19 | 0.0099567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4746-9_0_6_line_13 |  | 10 | 11 | 0.011819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4746-9_0_6_line_14 |  | 11 | 12 | 0.004941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4746-9_0_6_line_15 |  | 12 | 31 | 0.0093474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4746-9_0_6_line_16 |  | 13 | 14 | 0.027498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4746-9_0_6_line_17 |  | 13 | 15 | 0.014081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4746-9_0_6_line_18 |  | 15 | 23 | 0.005508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4746-9_0_6_line_19 |  | 16 | 44 | 0.020028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4746-9_0_6_line_20 |  | 17 | 38 | 0.013571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4746-9_0_6_line_21 |  | 18 | 32 | 0.02299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4746-9_0_6_line_22 |  | 19 | 38 | 0.0060722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4746-9_0_6_line_23 |  | 20 | 21 | 0.026113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4746-9_0_6_line_24 |  | 21 | 22 | 0.005456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4746-9_0_6_line_25 |  | 22 | 24 | 0.040648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4746-9_0_6_line_26 |  | 22 | 25 | 0.015224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4746-9_0_6_line_27 |  | 23 | 24 | 0.042521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4746-9_0_6_line_28 |  | 23 | 26 | 0.023486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4746-9_0_6_line_29 |  | 25 | 29 | 0.014735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4746-9_0_6_line_30 |  | 25 | 30 | 0.04 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4746-9_0_6_line_31 |  | 25 | 27 | 0.01187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4746-9_0_6_line_32 |  | 26 | 31 | 0.029067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4746-9_0_6_line_33 |  | 27 | 28 | 0.036885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4746-9_0_6_line_34 |  | 28 | 39 | 0.068897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4746-9_0_6_line_35 |  | 29 | 41 | 0.014488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4746-9_0_6_line_36 |  | 30 | 40 | 0.014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4746-9_0_6_line_37 |  | 32 | 33 | 0.034378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4746-9_0_6_line_38 |  | 33 | 34 | 0.023236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4746-9_0_6_line_39 |  | 33 | 35 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4746-9_0_6_line_40 |  | 34 | 36 | 0.014303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4746-9_0_6_line_41 |  | 35 | 37 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4746-9_0_6_line_42 |  | 36 | 42 | 0.035582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4746-9_0_6_line_43 |  | 37 | 96 | 0.035271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4746-9_0_6_line_44 |  | 42 | 43 | 0.019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4746-9_0_6_line_45 |  | 43 | 45 | 0.0092718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4746-9_0_6_line_46 |  | 44 | 46 | 0.0093462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4746-9_0_6_line_47 |  | 45 | 97 | 0.021711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4746-9_0_6_line_48 |  | 45 | 98 | 0.020531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4746-9_0_6_line_49 |  | 46 | 53 | 0.017756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4746-9_0_6_line_50 |  | 47 | 48 | 0.014344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4746-9_0_6_line_51 |  | 47 | 49 | 0.012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4746-9_0_6_line_52 |  | 48 | 50 | 0.010552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4746-9_0_6_line_53 |  | 49 | 51 | 0.0097427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4746-9_0_6_line_54 |  | 50 | 52 | 0.0096787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4746-9_0_6_line_55 |  | 51 | 53 | 0.02731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4746-9_0_6_line_56 |  | 52 | 54 | 0.018248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4746-9_0_6_line_57 |  | 54 | 55 | 0.032794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4746-9_0_6_line_58 |  | 55 | 56 | 0.0040379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4746-9_0_6_line_59 |  | 56 | 57 | 0.014552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4746-9_0_6_line_60 |  | 57 | 58 | 0.055495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4746-9_0_6_line_61 |  | 58 | 59 | 0.038916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4746-9_0_6_line_62 |  | 59 | 90 | 0.0077693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4746-9_0_6_line_63 |  | 60 | 61 | 0.018273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4746-9_0_6_line_64 |  | 60 | 62 | 0.018861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4746-9_0_6_line_65 |  | 61 | 63 | 0.024066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4746-9_0_6_line_66 |  | 62 | 64 | 0.024802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4746-9_0_6_line_67 |  | 63 | 65 | 9.5642e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4746-9_0_6_line_68 |  | 64 | 66 | 0.010006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4746-9_0_6_line_69 |  | 65 | 67 | 0.021114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4746-9_0_6_line_70 |  | 66 | 68 | 0.004216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4746-9_0_6_line_71 |  | 66 | 69 | 0.005742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4746-9_0_6_line_72 |  | 67 | 70 | 0.055721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4746-9_0_6_line_73 |  | 68 | 78 | 0.020548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4746-9_0_6_line_74 |  | 68 | 79 | 0.011094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4746-9_0_6_line_75 |  | 69 | 75 | 0.033746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4746-9_0_6_line_76 |  | 69 | 72 | 0.01329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4746-9_0_6_line_77 |  | 71 | 72 | 0.040052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4746-9_0_6_line_78 |  | 71 | 73 | 0.027696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4746-9_0_6_line_79 |  | 73 | 74 | 0.038592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4746-9_0_6_line_80 |  | 74 | 76 | 0.047381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4746-9_0_6_line_81 |  | 75 | 77 | 0.028658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_4746-9_0_6_line_82 |  | 77 | 91 | 0.003598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4746-9_0_6_line_83 |  | 77 | 90 | 0.016842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_4746-9_0_6_line_84 |  | 78 | 89 | 0.019656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4746-9_0_6_line_85 |  | 79 | 88 | 0.008808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4746-9_0_6_line_86 |  | 80 | 81 | 0.02238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4746-9_0_6_line_87 |  | 80 | 82 | 0.0037104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4746-9_0_6_line_88 |  | 81 | 83 | 0.026402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4746-9_0_6_line_89 |  | 82 | 84 | 0.029123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4746-9_0_6_line_90 |  | 83 | 85 | 0.0041518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4746-9_0_6_line_91 |  | 84 | 86 | 1.9345e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4746-9_0_6_line_92 |  | 85 | 87 | 0.043776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4746-9_0_6_line_93 |  | 86 | 88 | 0.024256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4746-9_0_6_line_94 |  | 91 | 92 | 0.016292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4746-9_0_6_line_95 |  | 93 | 94 | 0.010213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4746-9_0_6_line_96 |  | 94 | 95 | 0.034293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4746-9_0_6_line_97 |  | 95 | 96 | 0.072873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4746-9_0_6_trafo_43 | 0.63 MVA 20/0.4 kV | 99 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2716997.4733 | 1260202.5922 | 2717011.5998 | 1260186.5881
1 | 2716982.9784 | 1260219.0135 | 2716997.4733 | 1260202.5922
2 | 2717027.1741 | 1260168.9439 | 2717011.5998 | 1260186.5881
3 | 2716982.9784 | 1260219.0135 | 2716965.8218 | 1260236.0403
4 | 2717027.1741 | 1260168.9439 | 2717041.659 | 1260153.2787
5 | 2717027.1741 | 1260168.9439 | 2717017.1198 | 1260160.0596 | 2717009.9031 | 1260150.642
6 | 2717041.659 | 1260153.2787 | 2717041.9576 | 1260152.9557
7 | 2717009.9031 | 1260150.642 | 2717022.1906 | 1260137.7293 | 2717038.0008 | 1260120.9163
8 | 2717009.9031 | 1260150.642 | 2717000.4767 | 1260159.163 | 2716996.4341 | 1260155.4465 | 2716988.5908 | 1260163.1215
9 | 2716957.1118 | 1260193.9248 | 2716948.1517 | 1260199.8418 | 2716936.8844 | 1260211.4959
10 | 2716957.1118 | 1260193.9248 | 2716967.4348 | 1260183.8233
11 | 2716936.8844 | 1260211.4959 | 2716925.9329 | 1260201.1912
12 | 2716967.4348 | 1260183.8233 | 2716974.5512 | 1260176.8597
13 | 2717050.549 | 1260161.0994 | 2717046.7158 | 1260157.4649 | 2717046.0202 | 1260156.8061 | 2717041.9576 | 1260152.9557
14 | 2717050.549 | 1260161.0994 | 2717054.1379 | 1260164.5067
15 | 2717054.1379 | 1260164.5067 | 2717047.6718 | 1260171.2569
16 | 2717008.1727 | 1260206.4563 | 2716992.5116 | 1260221.4708 | 2716988.5314 | 1260225.6933
17 | 2717018.1221 | 1260216.4506 | 2717008.1727 | 1260206.4563
18 | 2717021.0714 | 1260211.7938 | 2717018.1221 | 1260216.4506
19 | 2717038.0008 | 1260120.9163 | 2717051.7208 | 1260106.3265
20 | 2716978.8912 | 1260172.6129 | 2716988.5908 | 1260163.1215
21 | 2716909.1897 | 1260185.4371 | 2716925.9329 | 1260201.1912
22 | 2716978.8912 | 1260172.6129 | 2716974.5512 | 1260176.8597
23 | 2717103.8073 | 1260222.173 | 2717077.7008 | 1260222.7551
24 | 2717103.8073 | 1260222.173 | 2717103.0171 | 1260216.7749
25 | 2717103.0171 | 1260216.7749 | 2717062.383 | 1260217.8204
26 | 2717100.6463 | 1260201.7371 | 2717102.5852 | 1260213.8415 | 2717103.0171 | 1260216.7749
27 | 2717021.0714 | 1260211.7938 | 2717029.5252 | 1260215.8423 | 2717040.7379 | 1260218.3774 | 2717062.383 | 1260217.8204
28 | 2717021.0714 | 1260211.7938 | 2717019.5857 | 1260209.9183 | 2717018.572 | 1260207.0514 | 2717018.933 | 1260202.5212 | 2717020.5058 | 1260199.6165 | 2717027.5649 | 1260192.2473
29 | 2717100.6463 | 1260201.7371 | 2717089.638 | 1260191.9417
30 | 2717100.6463 | 1260201.7371 | 2717100.4937 | 1260191.1693 | 2717118.8177 | 1260168.1008
31 | 2717100.6463 | 1260201.7371 | 2717104.9794 | 1260200.6775 | 2717112.0902 | 1260202.8757
32 | 2717047.6718 | 1260171.2569 | 2717027.5649 | 1260192.2473
33 | 2717112.0902 | 1260202.8757 | 2717134.4927 | 1260173.5734
34 | 2717134.4927 | 1260173.5734 | 2717189.883 | 1260214.5458
35 | 2717078.8142 | 1260182.3104 | 2717089.638 | 1260191.9417
36 | 2717118.8177 | 1260168.1008 | 2717127.4596 | 1260156.9122
37 | 2716909.1897 | 1260185.4371 | 2716925.821 | 1260167.4835 | 2716919.0906 | 1260160.1552
38 | 2716919.0906 | 1260160.1552 | 2716931.5262 | 1260140.5061
39 | 2716919.0906 | 1260160.1552 | 2716916.1976 | 1260157.0064 | 2716908.3607 | 1260149.2461
40 | 2716931.5262 | 1260140.5061 | 2716945.6277 | 1260138.1143
41 | 2716908.3607 | 1260149.2461 | 2716899.48 | 1260140.4522
42 | 2716970.6681 | 1260113.4451 | 2716947.8498 | 1260137.7374 | 2716945.6277 | 1260138.1143
43 | 2716868.8414 | 1260125.9773 | 2716873.0104 | 1260124.8364 | 2716895.3759 | 1260136.3883 | 2716899.48 | 1260140.4522
44 | 2716970.6681 | 1260113.4451 | 2716967.7741 | 1260110.73 | 2716956.367 | 1260100.6156
45 | 2716949.4296 | 1260094.4644 | 2716956.367 | 1260100.6156
46 | 2717058.1235 | 1260099.518 | 2717051.7208 | 1260106.3265
47 | 2716949.4296 | 1260094.4644 | 2716933.1815 | 1260080.0641
48 | 2716949.4296 | 1260094.4644 | 2716935.8981 | 1260109.9055
49 | 2717058.1235 | 1260099.518 | 2717062.3519 | 1260103.3716 | 2717066.156 | 1260106.1938 | 2717070.8355 | 1260100.5926
50 | 2717068.7669 | 1260057.978 | 2717070.6729 | 1260043.7614
51 | 2717067.0802 | 1260070.5589 | 2717068.7669 | 1260057.978
52 | 2717070.6729 | 1260043.7614 | 2717070.8572 | 1260042.3869 | 2717075.4509 | 1260034.4566
53 | 2717067.0802 | 1260070.5589 | 2717076.0359 | 1260074.395
54 | 2717081.7062 | 1260027.3382 | 2717077.9839 | 1260030.0839 | 2717075.4509 | 1260034.4566
55 | 2717070.8355 | 1260100.5926 | 2717072.8535 | 1260093.86 | 2717073.5473 | 1260077.8598 | 2717076.0359 | 1260074.395
56 | 2717096.3915 | 1260016.5062 | 2717081.7062 | 1260027.3382
57 | 2717121.8024 | 1259995.8959 | 2717114.4552 | 1260003.1822 | 2717096.3915 | 1260016.5062
58 | 2717121.8024 | 1259995.8959 | 2717124.6138 | 1259993.1079 | 2717124.6311 | 1259993.0314
59 | 2717124.6311 | 1259993.0314 | 2717127.8447 | 1259978.8388
60 | 2717127.8447 | 1259978.8388 | 2717129.6123 | 1259971.032 | 2717135.3717 | 1259958.8799 | 2717159.1717 | 1259934.5392
61 | 2717191.7053 | 1259916.5405 | 2717173.1544 | 1259920.2388 | 2717159.1717 | 1259934.5392
62 | 2717199.3247 | 1259915.0214 | 2717191.7053 | 1259916.5405
63 | 2717195.7899 | 1260010.9927 | 2717183.0837 | 1260024.1245
64 | 2717195.7899 | 1260010.9927 | 2717208.9051 | 1259997.4381
65 | 2717183.0837 | 1260024.1245 | 2717166.3493 | 1260041.4196
66 | 2717208.9051 | 1259997.4381 | 2717226.1513 | 1259979.6141
67 | 2717166.3493 | 1260041.4196 | 2717166.2828 | 1260041.4883
68 | 2717232.9929 | 1259972.3137 | 2717228.5549 | 1259977.13 | 2717226.1513 | 1259979.6141
69 | 2717151.601 | 1260056.662 | 2717166.2828 | 1260041.4883
70 | 2717232.9929 | 1259972.3137 | 2717236.0025 | 1259975.2759
71 | 2717232.9929 | 1259972.3137 | 2717236.9877 | 1259968.1782
72 | 2717112.8545 | 1260096.7065 | 2717151.601 | 1260056.662
73 | 2717236.0025 | 1259975.2759 | 2717247.5477 | 1259984.2569 | 2717252.6573 | 1259987.2476
74 | 2717236.0025 | 1259975.2759 | 2717228.3151 | 1259983.2748
75 | 2717236.9877 | 1259968.1782 | 2717232.7202 | 1259964.0122 | 2717228.0167 | 1259959.0258 | 2717225.3346 | 1259954.3686 | 2717224.5309 | 1259950.4159 | 2717222.002 | 1259939.1772
76 | 2717236.9877 | 1259968.1782 | 2717246.2237 | 1259958.6226
77 | 2717274.0589 | 1259929.8243 | 2717246.2237 | 1259958.6226
78 | 2717293.3071 | 1259909.9102 | 2717274.0589 | 1259929.8243
79 | 2717293.3071 | 1259909.9102 | 2717320.2514 | 1259882.2092
80 | 2717320.2514 | 1259882.2092 | 2717315.6344 | 1259878.1808 | 2717309.741 | 1259875.0279 | 2717277.1054 | 1259863.6278
81 | 2717215.7108 | 1259911.2183 | 2717222.002 | 1259939.1772
82 | 2717215.7108 | 1259911.2183 | 2717214.8095 | 1259907.7349
83 | 2717215.7108 | 1259911.2183 | 2717211.1057 | 1259912.6727 | 2717199.3247 | 1259915.0214
84 | 2717252.6573 | 1259987.2476 | 2717269.6212 | 1259997.1765
85 | 2717222.2117 | 1259989.6253 | 2717228.3151 | 1259983.2748
86 | 2717182.6387 | 1260030.8011 | 2717167.1307 | 1260046.9373
87 | 2717182.6387 | 1260030.8011 | 2717185.2098 | 1260028.1259
88 | 2717167.1307 | 1260046.9373 | 2717148.8357 | 1260065.9733
89 | 2717185.2098 | 1260028.1259 | 2717205.3902 | 1260007.1281
90 | 2717148.8357 | 1260065.9733 | 2717145.9588 | 1260068.9667
91 | 2717205.4036 | 1260007.1142 | 2717205.3902 | 1260007.1281
92 | 2717145.9588 | 1260068.9667 | 2717115.625 | 1260100.5291
93 | 2717222.2117 | 1259989.6253 | 2717205.4036 | 1260007.1142
94 | 2717210.7287 | 1259891.9625 | 2717214.8095 | 1259907.7349
95 | 2716772.0349 | 1260086.6653 | 2716762.4974 | 1260090.3177
96 | 2716772.0349 | 1260086.6653 | 2716797.9421 | 1260109.1331
97 | 2716868.8414 | 1260125.9773 | 2716797.9421 | 1260109.1331

## bus_geodata
| x | y | coords
0 | 2716997.4733 | 1260202.5922
1 | 2717011.5998 | 1260186.5881
2 | 2716982.9784 | 1260219.0135
3 | 2717027.1741 | 1260168.9439
4 | 2716965.8218 | 1260236.0403
5 | 2717041.659 | 1260153.2787
6 | 2717009.9031 | 1260150.642
7 | 2716957.1118 | 1260193.9248
8 | 2716936.8844 | 1260211.4959
9 | 2716967.4348 | 1260183.8233
10 | 2717041.9576 | 1260152.9557
11 | 2717050.549 | 1260161.0994
12 | 2717054.1379 | 1260164.5067
13 | 2717008.1727 | 1260206.4563
14 | 2716988.5314 | 1260225.6933
15 | 2717018.1221 | 1260216.4506
16 | 2717038.0008 | 1260120.9163
17 | 2716988.5908 | 1260163.1215
18 | 2716925.9329 | 1260201.1912
19 | 2716974.5512 | 1260176.8597
20 | 2717077.7008 | 1260222.7551
21 | 2717103.8073 | 1260222.173
22 | 2717103.0171 | 1260216.7749
23 | 2717021.0714 | 1260211.7938
24 | 2717062.383 | 1260217.8204
25 | 2717100.6463 | 1260201.7371
26 | 2717027.5649 | 1260192.2473
27 | 2717112.0902 | 1260202.8757
28 | 2717134.4927 | 1260173.5734
29 | 2717089.638 | 1260191.9417
30 | 2717118.8177 | 1260168.1008
31 | 2717047.6718 | 1260171.2569
32 | 2716909.1897 | 1260185.4371
33 | 2716919.0906 | 1260160.1552
34 | 2716931.5262 | 1260140.5061
35 | 2716908.3607 | 1260149.2461
36 | 2716945.6277 | 1260138.1143
37 | 2716899.48 | 1260140.4522
38 | 2716978.8912 | 1260172.6129
39 | 2717189.883 | 1260214.5458
40 | 2717127.4596 | 1260156.9122
41 | 2717078.8142 | 1260182.3104
42 | 2716970.6681 | 1260113.4451
43 | 2716956.367 | 1260100.6156
44 | 2717051.7208 | 1260106.3265
45 | 2716949.4296 | 1260094.4644
46 | 2717058.1235 | 1260099.518
47 | 2717068.7669 | 1260057.978
48 | 2717070.6729 | 1260043.7614
49 | 2717067.0802 | 1260070.5589
50 | 2717075.4509 | 1260034.4566
51 | 2717076.0359 | 1260074.395
52 | 2717081.7062 | 1260027.3382
53 | 2717070.8355 | 1260100.5926
54 | 2717096.3915 | 1260016.5062
55 | 2717121.8024 | 1259995.8959
56 | 2717124.6311 | 1259993.0314
57 | 2717127.8447 | 1259978.8388
58 | 2717159.1717 | 1259934.5392
59 | 2717191.7053 | 1259916.5405
60 | 2717195.7899 | 1260010.9927
61 | 2717183.0837 | 1260024.1245
62 | 2717208.9051 | 1259997.4381
63 | 2717166.3493 | 1260041.4196
64 | 2717226.1513 | 1259979.6141
65 | 2717166.2828 | 1260041.4883
66 | 2717232.9929 | 1259972.3137
67 | 2717151.601 | 1260056.662
68 | 2717236.0025 | 1259975.2759
69 | 2717236.9877 | 1259968.1781
70 | 2717112.8545 | 1260096.7065
71 | 2717274.0589 | 1259929.8243
72 | 2717246.2237 | 1259958.6226
73 | 2717293.3071 | 1259909.9102
74 | 2717320.2514 | 1259882.2092
75 | 2717222.002 | 1259939.1772
76 | 2717277.1054 | 1259863.6278
77 | 2717215.7108 | 1259911.2183
78 | 2717252.6573 | 1259987.2476
79 | 2717228.3151 | 1259983.2748
80 | 2717182.6387 | 1260030.8011
81 | 2717167.1307 | 1260046.9373
82 | 2717185.2098 | 1260028.1259
83 | 2717148.8357 | 1260065.9733
84 | 2717205.3902 | 1260007.1281
85 | 2717145.9588 | 1260068.9667
86 | 2717205.4036 | 1260007.1142
87 | 2717115.625 | 1260100.5291
88 | 2717222.2117 | 1259989.6253
89 | 2717269.6212 | 1259997.1765
90 | 2717199.3247 | 1259915.0214
91 | 2717214.8095 | 1259907.7349
92 | 2717210.7287 | 1259891.9625
93 | 2716762.4974 | 1260090.3177
94 | 2716772.0349 | 1260086.6653
95 | 2716797.9421 | 1260109.1331
96 | 2716868.8414 | 1260125.9773
97 | 2716933.1815 | 1260080.0641
98 | 2716935.8981 | 1260109.9055
99 | 2717067.0802 | 1260070.5589

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1