## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4751-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4751-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4751-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4751-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4751-2_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4751-2_0_4_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_4751-2_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4751-2_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4751-2_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_4751-2_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_4751-2_0_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_4751-2_0_4_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_4751-2_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4751-2_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4751-2_0_4_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_4751-2_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4751-2_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4751-2_0_4_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_4751-2_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4751-2_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4751-2_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_4751-2_0_4_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_4751-2_0_4_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_4751-2_0_4_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_4751-2_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4751-2_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_4751-2_0_4_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_4751-2_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_4751-2_0_4_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_4751-2_0_4_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_4751-2_0_4_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_4751-2_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_4751-2_0_4_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_4751-2_0_4_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_4751-2_0_4_node_118 | 0.4 | n |  | TRUE
35 | bus_LV_4751-2_0_4_node_115 | 0.4 | n |  | TRUE
36 | bus_LV_4751-2_0_4_node_66 | 0.4 | n |  | TRUE
37 | bus_LV_4751-2_0_4_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_4751-2_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_4751-2_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_4751-2_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_4751-2_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_4751-2_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_4751-2_0_4_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_4751-2_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_4751-2_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_4751-2_0_4_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_4751-2_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4751-2_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4751-2_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4751-2_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_4751-2_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_4751-2_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4751-2_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_4751-2_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_4751-2_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4751-2_0_4_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_4751-2_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_4751-2_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4751-2_0_4_node_73 | 0.4 | n |  | TRUE
60 | bus_LV_4751-2_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_4751-2_0_4_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_4751-2_0_4_node_97 | 0.4 | n |  | TRUE
63 | bus_LV_4751-2_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_4751-2_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_4751-2_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_4751-2_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4751-2_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_4751-2_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_4751-2_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_4751-2_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_4751-2_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4751-2_0_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_4751-2_0_4_node_101 | 0.4 | n |  | TRUE
74 | bus_LV_4751-2_0_4_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_4751-2_0_4_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_4751-2_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_4751-2_0_4_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_4751-2_0_4_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_4751-2_0_4_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_4751-2_0_4_node_116 | 0.4 | n |  | TRUE
81 | bus_LV_4751-2_0_4_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_4751-2_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_4751-2_0_4_node_109 | 0.4 | n |  | TRUE
84 | bus_LV_4751-2_0_4_node_108 | 0.4 | n |  | TRUE
85 | bus_LV_4751-2_0_4_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_4751-2_0_4_node_119 | 0.4 | n |  | TRUE
87 | bus_LV_4751-2_0_4_node_105 | 0.4 | n |  | TRUE
88 | bus_LV_4751-2_0_4_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_4751-2_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4751-2_0_4_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_4751-2_0_4_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_4751-2_0_4_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_4751-2_0_4_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_4751-2_0_4_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_4751-2_0_4_node_107 | 0.4 | n |  | TRUE
96 | bus_LV_4751-2_0_4_node_78 | 0.4 | n |  | TRUE
97 | bus_LV_4751-2_0_4_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_4751-2_0_4_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_4751-2_0_4_node_74 | 0.4 | n |  | TRUE
100 | bus_LV_4751-2_0_4_node_76 | 0.4 | n |  | TRUE
101 | bus_LV_4751-2_0_4_node_81 | 0.4 | n |  | TRUE
102 | bus_LV_4751-2_0_4_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_4751-2_0_4_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_4751-2_0_4_node_93 | 0.4 | n |  | TRUE
105 | bus_LV_4751-2_0_4_node_102 | 0.4 | n |  | TRUE
106 | bus_LV_4751-2_0_4_node_104 | 0.4 | n |  | TRUE
107 | bus_LV_4751-2_0_4_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_4751-2_0_4_node_113 | 0.4 | n |  | TRUE
109 | bus_LV_4751-2_0_4_node_111 | 0.4 | n |  | TRUE
110 | bus_LV_4751-2_0_4_node_112 | 0.4 | n |  | TRUE
111 | bus_LV_4751-2_0_4_node_114 | 0.4 | n |  | TRUE
112 | bus_LV_4751-2_0_4_node_120 | 0.4 | n |  | TRUE
113 | bus_MV_156_1_node_179 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4751-2_0_4_load_0 | 0 | 0.011213 | 0.0028103 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4751-2_0_4_load_3 | 3 | 0.011568 | 0.0028991 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4751-2_0_4_load_14 | 5 | 0.009888 | 0.0024782 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4751-2_0_4_load_5 | 6 | 0.002686 | 0.00067317 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4751-2_0_4_load_19 | 8 | 0.0099309 | 0.0024889 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4751-2_0_4_load_13 | 9 | 0.015938 | 0.0039944 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4751-2_0_4_load_52 | 10 | 0.009839 | 0.0024659 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4751-2_0_4_load_12 | 12 | 0.00041159 | 0.00010315 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4751-2_0_4_load_7 | 13 | 0.014753 | 0.0036974 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4751-2_0_4_load_20 | 14 | 0.00071377 | 0.00017889 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4751-2_0_4_load_21 | 17 | 0.016749 | 0.0041977 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4751-2_0_4_load_16 | 18 | 0.0020415 | 0.00051164 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4751-2_0_4_load_49 | 21 | 0.0065959 | 0.0016531 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4751-2_0_4_load_95 | 22 | 0.0065525 | 0.0016422 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4751-2_0_4_load_22 | 24 | 0.016985 | 0.0042569 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4751-2_0_4_load_24 | 26 | 0.0010073 | 0.00025245 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4751-2_0_4_load_42 | 28 | 0.014234 | 0.0035673 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4751-2_0_4_load_43 | 29 | 0.0075243 | 0.0018858 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4751-2_0_4_load_32 | 30 | 0.020965 | 0.0052544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4751-2_0_4_load_118 | 34 | 0.001608 | 0.00040301 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4751-2_0_4_load_115 | 35 | 0.006939 | 0.0017391 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4751-2_0_4_load_66 | 36 | 0.0012867 | 0.00032249 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4751-2_0_4_load_27 | 38 | 0.013139 | 0.0032931 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4751-2_0_4_load_31 | 41 | 0.0059103 | 0.0014813 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4751-2_0_4_load_37 | 42 | 0.0054921 | 0.0013764 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4751-2_0_4_load_91 | 43 | 0.0032703 | 0.00081963 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4751-2_0_4_load_35 | 44 | 0.0040805 | 0.0010227 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4751-2_0_4_load_38 | 45 | 0.0099655 | 0.0024976 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4751-2_0_4_load_90 | 46 | 0.0026984 | 0.00067629 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4751-2_0_4_load_33 | 47 | 0.0046521 | 0.0011659 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4751-2_0_4_load_34 | 48 | 0.00094367 | 0.00023651 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4751-2_0_4_load_36 | 49 | 0.0016762 | 0.0004201 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4751-2_0_4_load_50 | 50 | 0.0015273 | 0.00038279 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4751-2_0_4_load_48 | 51 | 0.0065878 | 0.001651 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4751-2_0_4_load_39 | 52 | 0.012258 | 0.0030721 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4751-2_0_4_load_41 | 53 | 0.0038335 | 0.00096076 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4751-2_0_4_load_51 | 54 | 0.0016114 | 0.00040386 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4751-2_0_4_load_65 | 56 | 0.0023131 | 0.00057971 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4751-2_0_4_load_44 | 57 | 0.0055978 | 0.0014029 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4751-2_0_4_load_45 | 58 | 0.0037001 | 0.00092734 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4751-2_0_4_load_73 | 59 | 0.0072315 | 0.0018124 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4751-2_0_4_load_99 | 61 | 0.0055857 | 0.0013999 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4751-2_0_4_load_97 | 62 | 0.0047132 | 0.0011812 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4751-2_0_4_load_55 | 63 | 0.012144 | 0.0030436 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4751-2_0_4_load_63 | 64 | 0.0013413 | 0.00033616 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4751-2_0_4_load_64 | 65 | 0.0025418 | 0.00063704 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4751-2_0_4_load_56 | 66 | 0.011636 | 0.0029161 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4751-2_0_4_load_59 | 69 | 0.003717 | 0.00093156 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4751-2_0_4_load_60 | 70 | 0.0037166 | 0.00093148 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4751-2_0_4_load_62 | 71 | 0.0019822 | 0.0004968 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4751-2_0_4_load_71 | 72 | 0.0016738 | 0.0004195 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4751-2_0_4_load_101 | 73 | 0.0030082 | 0.00075392 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4751-2_0_4_load_100 | 77 | 0.0072995 | 0.0018294 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4751-2_0_4_load_116 | 80 | 0.0077172 | 0.0019341 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4751-2_0_4_load_109 | 83 | 0.0014356 | 0.0003598 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4751-2_0_4_load_108 | 84 | 0.0023069 | 0.00057816 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4751-2_0_4_load_119 | 86 | 0.0062835 | 0.0015748 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4751-2_0_4_load_75 | 88 | 0.0020266 | 0.0005079 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4751-2_0_4_load_80 | 89 | 0.00079011 | 0.00019802 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4751-2_0_4_load_79 | 90 | 0.0010388 | 0.00026036 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4751-2_0_4_load_69 | 91 | 0.001135 | 0.00028446 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4751-2_0_4_load_70 | 92 | 0.0034557 | 0.00086609 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4751-2_0_4_load_89 | 93 | 0.0060336 | 0.0015122 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4751-2_0_4_load_94 | 94 | 0.0029622 | 0.0007424 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4751-2_0_4_load_78 | 96 | 0.0022322 | 0.00055943 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4751-2_0_4_load_96 | 97 | 0.0047516 | 0.0011909 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4751-2_0_4_load_98 | 98 | 0.0056492 | 0.0014158 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4751-2_0_4_load_74 | 99 | 0.0017248 | 0.00043228 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4751-2_0_4_load_76 | 100 | 0.0024363 | 0.0006106 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4751-2_0_4_load_81 | 101 | 0.0016564 | 0.00041514 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4751-2_0_4_load_103 | 102 | 0.018858 | 0.0047262 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4751-2_0_4_load_92 | 103 | 0.0034874 | 0.00087402 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4751-2_0_4_load_93 | 104 | 0.0016577 | 0.00041547 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4751-2_0_4_load_102 | 105 | 0.008916 | 0.0022346 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4751-2_0_4_load_104 | 106 | 0.0039809 | 0.00099771 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4751-2_0_4_load_106 | 107 | 0.002172 | 0.00054435 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4751-2_0_4_load_111 | 109 | 0.010307 | 0.0025831 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4751-2_0_4_load_120 | 112 | 0.0075237 | 0.0018856 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4751-2_0_4_line_0 |  | 0 | 1 | 0.064699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4751-2_0_4_line_1 |  | 0 | 2 | 0.026355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4751-2_0_4_line_2 |  | 1 | 3 | 0.025452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4751-2_0_4_line_3 |  | 2 | 4 | 0.11746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4751-2_0_4_line_4 |  | 3 | 5 | 0.037079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4751-2_0_4_line_5 |  | 4 | 8 | 0.0026784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4751-2_0_4_line_6 |  | 5 | 9 | 0.041133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4751-2_0_4_line_7 |  | 6 | 7 | 0.007986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4751-2_0_4_line_8 |  | 7 | 12 | 0.017176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4751-2_0_4_line_9 |  | 7 | 13 | 0.029424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4751-2_0_4_line_10 |  | 8 | 14 | 0.028385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4751-2_0_4_line_11 |  | 9 | 19 | 0.038414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4751-2_0_4_line_12 |  | 10 | 11 | 0.051197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4751-2_0_4_line_13 |  | 11 | 63 | 0.032261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4751-2_0_4_line_14 |  | 13 | 15 | 0.03083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4751-2_0_4_line_15 |  | 15 | 16 | 0.031874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4751-2_0_4_line_16 |  | 16 | 17 | 0.01666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4751-2_0_4_line_17 |  | 17 | 18 | 0.040154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4751-2_0_4_line_18 |  | 18 | 19 | 0.0018859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4751-2_0_4_line_19 |  | 19 | 20 | 0.048266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4751-2_0_4_line_20 |  | 20 | 21 | 0.022952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4751-2_0_4_line_21 |  | 20 | 22 | 0.021107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4751-2_0_4_line_22 |  | 21 | 23 | 0.017595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4751-2_0_4_line_23 |  | 23 | 51 | 0.021684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4751-2_0_4_line_24 |  | 23 | 57 | 0.01309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4751-2_0_4_line_25 |  | 24 | 25 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4751-2_0_4_line_26 |  | 24 | 26 | 0.034043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4751-2_0_4_line_27 |  | 25 | 27 | 0.017413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4751-2_0_4_line_28 |  | 27 | 28 | 0.026247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4751-2_0_4_line_29 |  | 27 | 29 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4751-2_0_4_line_30 |  | 27 | 30 | 0.028639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4751-2_0_4_line_31 |  | 28 | 31 | 0.017901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4751-2_0_4_line_32 |  | 29 | 32 | 0.021353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4751-2_0_4_line_33 |  | 31 | 45 | 0.021335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4751-2_0_4_line_34 |  | 32 | 56 | 0.04723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4751-2_0_4_line_35 |  | 33 | 34 | 0.054913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4751-2_0_4_line_36 |  | 33 | 35 | 0.042983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4751-2_0_4_line_37 |  | 35 | 95 | 0.01699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4751-2_0_4_line_38 |  | 36 | 37 | 0.0037204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4751-2_0_4_line_39 |  | 37 | 91 | 0.0077798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4751-2_0_4_line_40 |  | 37 | 92 | 0.018333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4751-2_0_4_line_41 |  | 38 | 39 | 0.039009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4751-2_0_4_line_42 |  | 39 | 40 | 0.009971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4751-2_0_4_line_43 |  | 39 | 41 | 0.011579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4751-2_0_4_line_44 |  | 40 | 42 | 0.013406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4751-2_0_4_line_45 |  | 41 | 43 | 0.022004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4751-2_0_4_line_46 |  | 42 | 44 | 0.00058261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4751-2_0_4_line_47 |  | 43 | 46 | 0.0096433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4751-2_0_4_line_48 |  | 44 | 47 | 0.024728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4751-2_0_4_line_49 |  | 45 | 52 | 0.023761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4751-2_0_4_line_50 |  | 46 | 103 | 0.0021223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4751-2_0_4_line_51 |  | 47 | 48 | 0.025346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4751-2_0_4_line_52 |  | 48 | 49 | 0.0036609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4751-2_0_4_line_53 |  | 49 | 50 | 0.0081696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4751-2_0_4_line_54 |  | 50 | 51 | 0.0108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4751-2_0_4_line_55 |  | 52 | 53 | 0.0088352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4751-2_0_4_line_56 |  | 53 | 54 | 0.028532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4751-2_0_4_line_57 |  | 54 | 55 | 0.031155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4751-2_0_4_line_58 |  | 55 | 59 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4751-2_0_4_line_59 |  | 55 | 58 | 0.015215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4751-2_0_4_line_60 |  | 56 | 64 | 0.02463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4751-2_0_4_line_61 |  | 57 | 58 | 0.02069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4751-2_0_4_line_62 |  | 59 | 60 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_4751-2_0_4_line_63 |  | 60 | 74 | 0.008386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4751-2_0_4_line_64 |  | 60 | 68 | 0.012071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4751-2_0_4_line_65 |  | 61 | 62 | 0.016911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4751-2_0_4_line_66 |  | 62 | 104 | 0.010981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4751-2_0_4_line_67 |  | 63 | 64 | 0.015436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4751-2_0_4_line_68 |  | 64 | 65 | 0.033742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4751-2_0_4_line_69 |  | 65 | 89 | 0.0062317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4751-2_0_4_line_70 |  | 66 | 67 | 0.030363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4751-2_0_4_line_71 |  | 66 | 68 | 0.020647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4751-2_0_4_line_72 |  | 67 | 69 | 0.033468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4751-2_0_4_line_73 |  | 67 | 70 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4751-2_0_4_line_74 |  | 68 | 71 | 0.0072068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4751-2_0_4_line_75 |  | 69 | 72 | 0.02773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4751-2_0_4_line_76 |  | 70 | 73 | 0.020571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4751-2_0_4_line_77 |  | 71 | 75 | 0.014038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4751-2_0_4_line_78 |  | 72 | 76 | 0.03295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4751-2_0_4_line_79 |  | 73 | 77 | 0.019816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4751-2_0_4_line_80 |  | 74 | 88 | 0.0079392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4751-2_0_4_line_81 |  | 75 | 85 | 0.035519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4751-2_0_4_line_82 |  | 76 | 97 | 0.10605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4751-2_0_4_line_83 |  | 77 | 105 | 0.00084942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4751-2_0_4_line_84 |  | 78 | 79 | 0.011041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4751-2_0_4_line_85 |  | 78 | 80 | 0.011293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4751-2_0_4_line_86 |  | 79 | 83 | 0.032136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4751-2_0_4_line_87 |  | 79 | 84 | 0.0066834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4751-2_0_4_line_88 |  | 80 | 81 | 0.020386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4751-2_0_4_line_89 |  | 81 | 82 | 0.017448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4751-2_0_4_line_90 |  | 82 | 87 | 0.022711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4751-2_0_4_line_91 |  | 82 | 85 | 0.033446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4751-2_0_4_line_92 |  | 85 | 86 | 0.040667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4751-2_0_4_line_93 |  | 87 | 102 | 0.023687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4751-2_0_4_line_94 |  | 88 | 99 | 0.018388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4751-2_0_4_line_95 |  | 89 | 90 | 0.03058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4751-2_0_4_line_96 |  | 90 | 101 | 0.0028745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4751-2_0_4_line_97 |  | 91 | 93 | 0.0061875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4751-2_0_4_line_98 |  | 92 | 94 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4751-2_0_4_line_99 |  | 94 | 96 | 0.0043193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4751-2_0_4_line_100 |  | 95 | 108 | 0.019969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4751-2_0_4_line_101 |  | 95 | 107 | 0.010818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4751-2_0_4_line_102 |  | 96 | 100 | 0.012876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4751-2_0_4_line_103 |  | 97 | 98 | 0.005427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4751-2_0_4_line_104 |  | 99 | 100 | 0.0039836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4751-2_0_4_line_105 |  | 102 | 106 | 0.013026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4751-2_0_4_line_106 |  | 103 | 104 | 0.010598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4751-2_0_4_line_107 |  | 106 | 107 | 0.033127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4751-2_0_4_line_108 |  | 108 | 109 | 0.0080468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4751-2_0_4_line_109 |  | 109 | 110 | 0.0075488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4751-2_0_4_line_110 |  | 110 | 111 | 0.015399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4751-2_0_4_line_111 |  | 111 | 112 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4751-2_0_4_trafo_33 | 0.63 MVA 20/0.4 kV | 113 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2721692.8807 | 1256402.8031 | 2721696.1883 | 1256391.2721 | 2721712.7225 | 1256341.2295
1 | 2721720.9906 | 1256316.2053 | 2721712.7225 | 1256341.2295
2 | 2721692.8807 | 1256402.8031 | 2721680.5292 | 1256398.5122 | 2721669.1039 | 1256393.7549
3 | 2721710.4891 | 1256242.147 | 2721722.073 | 1256246.3665 | 2721739.3549 | 1256252.6718 | 2721751.9522 | 1256256.0337 | 2721750.9848 | 1256259.0498 | 2721749.9932 | 1256262.1432 | 2721748.5259 | 1256266.7282 | 2721735.7879 | 1256306.501 | 2721733.7001 | 1256313.0082 | 2721730.8548 | 1256315.6298 | 2721726.1859 | 1256316.6903 | 2721720.9906 | 1256316.2053
4 | 2721633.2996 | 1256385.1791 | 2721638.6794 | 1256386.9644 | 2721646.1531 | 1256388.5416 | 2721653.298 | 1256388.8664 | 2721661.3958 | 1256390.5454 | 2721669.1039 | 1256393.7549
5 | 2721710.4891 | 1256242.147 | 2721707.9364 | 1256241.336
6 | 2721594.2599 | 1256372.2234 | 2721633.2996 | 1256385.1791
7 | 2721650.9092 | 1256292.9892 | 2721657.3168 | 1256295.056 | 2721658.5094 | 1256295.4415
8 | 2721650.9092 | 1256292.9892 | 2721656.8999 | 1256276.8919
9 | 2721650.9092 | 1256292.9892 | 2721622.9086 | 1256283.947
10 | 2721680.8835 | 1256232.7414 | 2721707.9364 | 1256241.336
11 | 2721558.6222 | 1256358.0395 | 2721577.1637 | 1256366.5498 | 2721594.2599 | 1256372.2234
12 | 2721745.3082 | 1256540.7459 | 2721749.1824 | 1256520.0074 | 2721734.5902 | 1256517.5719 | 2721728.687 | 1256514.47 | 2721723.6105 | 1256507.4818
13 | 2721745.3082 | 1256540.7459 | 2721776.8775 | 1256547.3898
14 | 2721593.5707 | 1256274.473 | 2721622.9086 | 1256283.947
15 | 2721581.2281 | 1256303.8675 | 2721586.9572 | 1256290.8626 | 2721593.5707 | 1256274.473
16 | 2721581.2281 | 1256303.8675 | 2721574.8121 | 1256319.2426
17 | 2721574.8121 | 1256319.2426 | 2721559.3485 | 1256356.2991
18 | 2721558.6222 | 1256358.0395 | 2721559.3485 | 1256356.2991
19 | 2721541.7902 | 1256403.2779 | 2721546.1975 | 1256390.3459 | 2721555.9078 | 1256365.3123 | 2721557.8197 | 1256360.3806 | 2721558.6222 | 1256358.0395
20 | 2721535.0854 | 1256425.2261 | 2721538.1294 | 1256414.3902 | 2721541.7902 | 1256403.2779
21 | 2721541.7902 | 1256403.2779 | 2721522.0003 | 1256395.9395
22 | 2721535.0854 | 1256425.2261 | 2721530.6319 | 1256442.2495
23 | 2721530.6319 | 1256442.2495 | 2721551.5084 | 1256448.1126
24 | 2721530.6319 | 1256442.2495 | 2721527.4427 | 1256454.9447
25 | 2721657.7229 | 1256550.7988 | 2721668.3058 | 1256553.7744 | 2721678.1137 | 1256554.9679
26 | 2721711.6879 | 1256560.4496 | 2721693.7097 | 1256556.8659 | 2721678.1137 | 1256554.9679
27 | 2721657.7229 | 1256550.7988 | 2721668.29 | 1256536.9371
28 | 2721668.29 | 1256536.9371 | 2721644.9552 | 1256524.9199
29 | 2721668.29 | 1256536.9371 | 2721682.8423 | 1256541.3438
30 | 2721668.29 | 1256536.9371 | 2721681.3774 | 1256511.4635
31 | 2721629.0409 | 1256516.7242 | 2721644.9552 | 1256524.9199
32 | 2721703.2785 | 1256547.5322 | 2721682.8423 | 1256541.3438
33 | 2721629.0409 | 1256516.7242 | 2721608.4636 | 1256511.0877
34 | 2721703.2785 | 1256547.5322 | 2721723.0029 | 1256553.5095 | 2721749.2147 | 1256558.1502
35 | 2721636.3198 | 1256597.4776 | 2721638.6986 | 1256604.3213 | 2721652.7628 | 1256608.2137 | 2721665.937 | 1256610.998 | 2721678.1315 | 1256610.4369 | 2721685.4754 | 1256609.5093
36 | 2721636.3198 | 1256597.4776 | 2721625.3756 | 1256597.3972 | 2721622.1477 | 1256599.5661 | 2721619.602 | 1256602.3051 | 2721615.3512 | 1256606.8884 | 2721603.9074 | 1256620.9879
37 | 2721593.2005 | 1256634.1795 | 2721603.9074 | 1256620.9879
38 | 2721596.1195 | 1256564.4675 | 2721599.7661 | 1256565.2043
39 | 2721596.1195 | 1256564.4675 | 2721597.1076 | 1256556.7506
40 | 2721596.1195 | 1256564.4675 | 2721578.6399 | 1256558.9396
41 | 2721636.7182 | 1256459.5987 | 2721651.2185 | 1256458.44 | 2721659.6869 | 1256456.7681 | 2721670.049 | 1256459.4834 | 2721674.9378 | 1256460.9994
42 | 2721635.4888 | 1256469.4932 | 2721636.7182 | 1256459.5987
43 | 2721636.7182 | 1256459.5987 | 2721635.6788 | 1256453.6499 | 2721632.1301 | 1256449.3955
44 | 2721635.4888 | 1256469.4932 | 2721622.3853 | 1256466.6619
45 | 2721611.4069 | 1256441.9977 | 2721632.1301 | 1256449.3955
46 | 2721621.8159 | 1256466.5389 | 2721622.3853 | 1256466.6619
47 | 2721602.1417 | 1256439.3274 | 2721610.9742 | 1256441.8432 | 2721611.4069 | 1256441.9977
48 | 2721597.7386 | 1256460.9334 | 2721605.342 | 1256462.9793 | 2721621.8159 | 1256466.5389
49 | 2721608.4636 | 1256511.0877 | 2721590.3708 | 1256506.1318 | 2721585.4824 | 1256505.0747
50 | 2721602.1417 | 1256439.3274 | 2721600.1005 | 1256438.7461
51 | 2721597.7386 | 1256460.9334 | 2721583.908 | 1256457.2119 | 2721573.2956 | 1256454.2315
52 | 2721573.2956 | 1256454.2315 | 2721569.7711 | 1256453.2416
53 | 2721569.7711 | 1256453.2416 | 2721561.9058 | 1256451.0327
54 | 2721551.5084 | 1256448.1126 | 2721561.9058 | 1256451.0327
55 | 2721585.4824 | 1256505.0747 | 2721576.8469 | 1256503.2072
56 | 2721549.0155 | 1256496.9287 | 2721562.0718 | 1256500.012 | 2721576.8469 | 1256503.2072
57 | 2721518.6946 | 1256489.7682 | 2721549.0155 | 1256496.9287
58 | 2721518.6946 | 1256489.7682 | 2721515.7361 | 1256500.8505 | 2721513.2013 | 1256510.3569
59 | 2721518.6946 | 1256489.7682 | 2721522.4017 | 1256475.0112
60 | 2721773.4672 | 1256562.4439 | 2721749.2147 | 1256558.1502
61 | 2721527.4427 | 1256454.9447 | 2721522.4017 | 1256475.0112
62 | 2721508.0123 | 1256529.8173 | 2721513.2013 | 1256510.3569
63 | 2721508.0123 | 1256529.8173 | 2721515.9758 | 1256532.5164
64 | 2721508.0123 | 1256529.8173 | 2721497.2085 | 1256524.3686
65 | 2721562.5885 | 1256430.3132 | 2721579.2172 | 1256433.389
66 | 2721579.2172 | 1256433.389 | 2721585.137 | 1256434.484 | 2721589.9078 | 1256435.8428
67 | 2721773.4672 | 1256562.4439 | 2721776.8775 | 1256547.3898
68 | 2721773.4672 | 1256562.4439 | 2721783.9369 | 1256563.9495 | 2721797.1775 | 1256566.0792 | 2721806.8664 | 1256567.2016
69 | 2721813.0567 | 1256567.9186 | 2721813.0567 | 1256567.9186 | 2721806.8664 | 1256567.2016
70 | 2721452.6524 | 1256499.5328 | 2721479.1738 | 1256514.316
71 | 2721497.2085 | 1256524.3686 | 2721479.1738 | 1256514.316
72 | 2721452.6524 | 1256499.5328 | 2721426.1995 | 1256484.3214 | 2721423.3928 | 1256483.4007
73 | 2721452.6524 | 1256499.5328 | 2721457.8827 | 1256483.097
74 | 2721497.2085 | 1256524.3686 | 2721495.7603 | 1256527.664 | 2721498.7693 | 1256529.6536
75 | 2721423.3928 | 1256483.4007 | 2721397.0442 | 1256474.7571
76 | 2721463.8036 | 1256463.4307 | 2721463.6678 | 1256464.9174 | 2721457.8827 | 1256483.097
77 | 2721501.6732 | 1256542.0534 | 2721502.7444 | 1256536.9154 | 2721502.6191 | 1256535.3003 | 2721502.2142 | 1256533.3458 | 2721500.7767 | 1256530.9809 | 2721498.7693 | 1256529.6536
78 | 2721365.736 | 1256464.4866 | 2721397.0442 | 1256474.7571
79 | 2721465.6053 | 1256443.6965 | 2721463.8036 | 1256463.4307
80 | 2721515.9758 | 1256532.5164 | 2721523.4953 | 1256535.0636
81 | 2721486.6592 | 1256564.932 | 2721496.3693 | 1256567.0664 | 2721497.3926 | 1256560.9488 | 2721500.9844 | 1256545.1086 | 2721501.6732 | 1256542.0534
82 | 2721365.736 | 1256464.4866 | 2721374.9089 | 1256408.6148 | 2721423.8358 | 1256415.6513
83 | 2721465.6825 | 1256442.8506 | 2721465.6053 | 1256443.6965
84 | 2721500.8159 | 1256622.3615 | 2721506.4901 | 1256621.5551 | 2721511.748 | 1256620.8179
85 | 2721500.8159 | 1256622.3615 | 2721499.4326 | 1256611.154
86 | 2721511.748 | 1256620.8179 | 2721513.0593 | 1256630.7979 | 2721513.1434 | 1256632.579 | 2721512.9202 | 1256634.2648 | 2721512.3551 | 1256636.0659 | 2721512.0595 | 1256637.9726 | 2721512.2058 | 1256640.0329 | 2721513.7996 | 1256652.6361
87 | 2721511.748 | 1256620.8179 | 2721511.2059 | 1256614.1565
88 | 2721496.9355 | 1256590.9211 | 2721499.4326 | 1256611.154
89 | 2721496.9355 | 1256590.9211 | 2721501.5543 | 1256590.4488 | 2721500.6866 | 1256582.3795 | 2721505.2182 | 1256583.5847
90 | 2721526.8917 | 1256590.1575 | 2721512.5214 | 1256584.6355 | 2721505.2182 | 1256583.5847
91 | 2721486.6592 | 1256564.932 | 2721496.3693 | 1256567.0664 | 2721500.7026 | 1256568.0117 | 2721500.4036 | 1256575.223 | 2721500.6866 | 1256582.3795 | 2721505.2182 | 1256583.5847
92 | 2721486.6592 | 1256564.932 | 2721449.0532 | 1256549.1801
93 | 2721526.8917 | 1256590.1575 | 2721547.6508 | 1256601.5644
94 | 2721540.4911 | 1256541.9978 | 2721531.9478 | 1256537.9267 | 2721523.4953 | 1256535.0636
95 | 2721843.5545 | 1256565.97 | 2721831.3782 | 1256567.2839 | 2721813.0567 | 1256567.9186
96 | 2721843.5545 | 1256565.97 | 2721846.4125 | 1256565.6616
97 | 2721597.8935 | 1256550.6132 | 2721597.1076 | 1256556.7506
98 | 2721559.6106 | 1256551.1087 | 2721570.9215 | 1256556.4986 | 2721578.6399 | 1256558.9396
99 | 2721555.7114 | 1256549.2506 | 2721559.6106 | 1256551.1087
100 | 2721608.6692 | 1256646.8083 | 2721596.4501 | 1256636.8264 | 2721593.2005 | 1256634.1795
101 | 2721593.2005 | 1256634.1795 | 2721585.4429 | 1256626.64
102 | 2721544.0873 | 1256543.7115 | 2721555.7114 | 1256549.2506
103 | 2721429.2075 | 1256416.4238 | 2721423.8358 | 1256415.6513
104 | 2721540.4911 | 1256541.9978 | 2721544.0873 | 1256543.7115
105 | 2721547.6508 | 1256601.5644 | 2721548.9044 | 1256602.2532 | 2721559.6125 | 1256606.7021
106 | 2721600.1005 | 1256438.7461 | 2721589.9078 | 1256435.8428
107 | 2721559.6125 | 1256606.7021 | 2721568.8977 | 1256610.5599 | 2721585.4429 | 1256626.64
108 | 2721608.6692 | 1256646.8083 | 2721614.905 | 1256651.8941
109 | 2721620.755 | 1256656.6651 | 2721614.905 | 1256651.8941
110 | 2721632.707 | 1256666.4192 | 2721620.755 | 1256656.6651
111 | 2721623.6067 | 1256677.5642 | 2721629.7512 | 1256670.0283 | 2721632.707 | 1256666.4192

## bus_geodata
| x | y | coords
0 | 2721712.7225 | 1256341.2295
1 | 2721692.8807 | 1256402.8031
2 | 2721720.9906 | 1256316.2053
3 | 2721669.1039 | 1256393.7549
4 | 2721710.4891 | 1256242.147
5 | 2721633.2996 | 1256385.1791
6 | 2721658.5094 | 1256295.4415
7 | 2721650.9092 | 1256292.9892
8 | 2721707.9364 | 1256241.336
9 | 2721594.2599 | 1256372.2234
10 | 2721723.6105 | 1256507.4818
11 | 2721745.3082 | 1256540.7459
12 | 2721656.8999 | 1256276.8919
13 | 2721622.9086 | 1256283.947
14 | 2721680.8835 | 1256232.7414
15 | 2721593.5707 | 1256274.473
16 | 2721581.2281 | 1256303.8675
17 | 2721574.8121 | 1256319.2426
18 | 2721559.3485 | 1256356.2991
19 | 2721558.6222 | 1256358.0395
20 | 2721541.7902 | 1256403.2779
21 | 2721535.0854 | 1256425.2261
22 | 2721522.0003 | 1256395.9395
23 | 2721530.6319 | 1256442.2495
24 | 2721678.1137 | 1256554.9679
25 | 2721657.7229 | 1256550.7988
26 | 2721711.6879 | 1256560.4496
27 | 2721668.29 | 1256536.9371
28 | 2721644.9552 | 1256524.9199
29 | 2721682.8423 | 1256541.3438
30 | 2721681.3774 | 1256511.4635
31 | 2721629.0409 | 1256516.7242
32 | 2721703.2785 | 1256547.5322
33 | 2721636.3198 | 1256597.4776
34 | 2721685.4754 | 1256609.5093
35 | 2721603.9074 | 1256620.9879
36 | 2721599.7661 | 1256565.2043
37 | 2721596.1195 | 1256564.4675
38 | 2721674.9378 | 1256460.9994
39 | 2721636.7182 | 1256459.5987
40 | 2721635.4888 | 1256469.4932
41 | 2721632.1301 | 1256449.3955
42 | 2721622.3853 | 1256466.6619
43 | 2721611.4069 | 1256441.9977
44 | 2721621.8159 | 1256466.5389
45 | 2721608.4636 | 1256511.0877
46 | 2721602.1417 | 1256439.3274
47 | 2721597.7386 | 1256460.9334
48 | 2721573.2956 | 1256454.2315
49 | 2721569.7711 | 1256453.2416
50 | 2721561.9058 | 1256451.0327
51 | 2721551.5084 | 1256448.1126
52 | 2721585.4824 | 1256505.0747
53 | 2721576.8469 | 1256503.2072
54 | 2721549.0155 | 1256496.9287
55 | 2721518.6946 | 1256489.7682
56 | 2721749.2147 | 1256558.1502
57 | 2721527.4427 | 1256454.9447
58 | 2721522.4017 | 1256475.0112
59 | 2721513.2013 | 1256510.3569
60 | 2721508.0123 | 1256529.8173
61 | 2721562.5885 | 1256430.3132
62 | 2721579.2172 | 1256433.389
63 | 2721776.8775 | 1256547.3898
64 | 2721773.4672 | 1256562.4439
65 | 2721806.8664 | 1256567.2016
66 | 2721479.1738 | 1256514.316
67 | 2721452.6524 | 1256499.5328
68 | 2721497.2085 | 1256524.3686
69 | 2721423.3928 | 1256483.4007
70 | 2721457.8827 | 1256483.097
71 | 2721498.7693 | 1256529.6536
72 | 2721397.0442 | 1256474.7571
73 | 2721463.8036 | 1256463.4307
74 | 2721515.9758 | 1256532.5164
75 | 2721501.6732 | 1256542.0534
76 | 2721365.736 | 1256464.4866
77 | 2721465.6053 | 1256443.6965
78 | 2721500.8159 | 1256622.3615
79 | 2721511.748 | 1256620.8179
80 | 2721499.4326 | 1256611.154
81 | 2721496.9355 | 1256590.9211
82 | 2721505.2182 | 1256583.5847
83 | 2721513.7996 | 1256652.6361
84 | 2721511.2059 | 1256614.1565
85 | 2721486.6592 | 1256564.932
86 | 2721449.0532 | 1256549.1801
87 | 2721526.8917 | 1256590.1575
88 | 2721523.4953 | 1256535.0636
89 | 2721813.0567 | 1256567.9186
90 | 2721843.5545 | 1256565.97
91 | 2721597.1076 | 1256556.7506
92 | 2721578.6399 | 1256558.9396
93 | 2721597.8935 | 1256550.6132
94 | 2721559.6106 | 1256551.1087
95 | 2721593.2005 | 1256634.1795
96 | 2721555.7114 | 1256549.2506
97 | 2721423.8358 | 1256415.6513
98 | 2721429.2075 | 1256416.4238
99 | 2721540.4911 | 1256541.9978
100 | 2721544.0873 | 1256543.7115
101 | 2721846.4125 | 1256565.6616
102 | 2721547.6508 | 1256601.5644
103 | 2721600.1005 | 1256438.7461
104 | 2721589.9078 | 1256435.8428
105 | 2721465.6825 | 1256442.8506
106 | 2721559.6125 | 1256606.7021
107 | 2721585.4429 | 1256626.64
108 | 2721608.6692 | 1256646.8083
109 | 2721614.905 | 1256651.8941
110 | 2721620.755 | 1256656.6651
111 | 2721632.707 | 1256666.4192
112 | 2721623.6067 | 1256677.5642
113 | 2721635.4888 | 1256469.4932

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1