## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4751-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4751-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4751-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4751-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4751-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4751-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4751-4_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4751-4_0_3_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_4751-4_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4751-4_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4751-4_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4751-4_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4751-4_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_4751-4_0_3_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_4751-4_0_3_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_4751-4_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4751-4_0_3_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_4751-4_0_3_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_4751-4_0_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_4751-4_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4751-4_0_3_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_4751-4_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4751-4_0_3_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_4751-4_0_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_4751-4_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4751-4_0_3_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_4751-4_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_4751-4_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_4751-4_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4751-4_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4751-4_0_3_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_4751-4_0_3_node_74 | 0.4 | n |  | TRUE
32 | bus_LV_4751-4_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_4751-4_0_3_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_4751-4_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_4751-4_0_3_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_4751-4_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_4751-4_0_3_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_4751-4_0_3_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_4751-4_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4751-4_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4751-4_0_3_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_4751-4_0_3_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4751-4_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_4751-4_0_3_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4751-4_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_4751-4_0_3_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_4751-4_0_3_node_77 | 0.4 | n |  | TRUE
48 | bus_LV_4751-4_0_3_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_4751-4_0_3_node_21 | 0.4 | n |  | TRUE
50 | bus_LV_4751-4_0_3_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_4751-4_0_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_4751-4_0_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_4751-4_0_3_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_4751-4_0_3_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_4751-4_0_3_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_4751-4_0_3_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_4751-4_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_4751-4_0_3_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_4751-4_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4751-4_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_4751-4_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_4751-4_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_4751-4_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_4751-4_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4751-4_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_4751-4_0_3_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_4751-4_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_4751-4_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_4751-4_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_4751-4_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_4751-4_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4751-4_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_4751-4_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_MV_156_1_node_186 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4751-4_0_3_load_0 | 0 | 0.0074912 | 0.0018775 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4751-4_0_3_load_3 | 3 | 0.014952 | 0.0037473 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4751-4_0_3_load_5 | 5 | 0.0088159 | 0.0022095 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4751-4_0_3_load_6 | 6 | 0.0059748 | 0.0014974 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4751-4_0_3_load_76 | 7 | 0.017684 | 0.0044319 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4751-4_0_3_load_7 | 8 | 0.011583 | 0.0029029 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4751-4_0_3_load_10 | 11 | 0.0030768 | 0.00077112 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4751-4_0_3_load_75 | 13 | 0.0044699 | 0.0011203 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4751-4_0_3_load_73 | 14 | 0.0024519 | 0.00061451 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4751-4_0_3_load_47 | 17 | 0.013125 | 0.0032895 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4751-4_0_3_load_28 | 18 | 0.026192 | 0.0065643 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4751-4_0_3_load_35 | 20 | 0.011842 | 0.002968 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4751-4_0_3_load_44 | 22 | 0.003837 | 0.00096165 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4751-4_0_3_load_43 | 23 | 0.0037428 | 0.00093805 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4751-4_0_3_load_32 | 26 | 0.0047908 | 0.0012007 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4751-4_0_3_load_45 | 27 | 0.0016754 | 0.00041989 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4751-4_0_3_load_72 | 30 | 0.0025958 | 0.00065057 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4751-4_0_3_load_74 | 31 | 0.0035572 | 0.00089152 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4751-4_0_3_load_31 | 32 | 0.0047922 | 0.001201 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4751-4_0_3_load_42 | 35 | 0.0035644 | 0.00089332 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4751-4_0_3_load_38 | 36 | 0.00093315 | 0.00023387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4751-4_0_3_load_71 | 37 | 0.0040734 | 0.0010209 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4751-4_0_3_load_69 | 38 | 0.0085908 | 0.0021531 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4751-4_0_3_load_27 | 39 | 0.0053696 | 0.0013457 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4751-4_0_3_load_34 | 40 | 0.0052939 | 0.0013268 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4751-4_0_3_load_46 | 41 | 0.001528 | 0.00038296 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4751-4_0_3_load_24 | 42 | 0.0014237 | 0.00035681 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4751-4_0_3_load_23 | 43 | 0.0053738 | 0.0013468 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4751-4_0_3_load_26 | 44 | 0.0015727 | 0.00039415 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4751-4_0_3_load_39 | 45 | 0.0019796 | 0.00049614 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4751-4_0_3_load_66 | 46 | 0.0017443 | 0.00043716 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4751-4_0_3_load_77 | 47 | 0.010814 | 0.0027102 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4751-4_0_3_load_20 | 48 | 0.0039984 | 0.0010021 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4751-4_0_3_load_21 | 49 | 0.0020707 | 0.00051897 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4751-4_0_3_load_22 | 50 | 0.0012949 | 0.00032453 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4751-4_0_3_load_54 | 51 | 0.003566 | 0.00089372 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4751-4_0_3_load_55 | 52 | 0.0015652 | 0.00039227 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4751-4_0_3_load_25 | 53 | 0.0054405 | 0.0013635 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4751-4_0_3_load_70 | 54 | 0.011523 | 0.002888 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4751-4_0_3_load_68 | 55 | 0.01127 | 0.0028244 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4751-4_0_3_load_36 | 57 | 0.0064538 | 0.0016175 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4751-4_0_3_load_53 | 60 | 0.0018223 | 0.00045671 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4751-4_0_3_load_49 | 61 | 0.0024692 | 0.00061885 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4751-4_0_3_load_48 | 62 | 0.020304 | 0.0050886 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4751-4_0_3_load_50 | 63 | 0.053696 | 0.013457 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4751-4_0_3_load_52 | 64 | 0.0049287 | 0.0012353 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4751-4_0_3_load_62 | 65 | 0.0032142 | 0.00080556 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4751-4_0_3_load_61 | 67 | 0.0032133 | 0.00080533 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4751-4_0_3_load_58 | 68 | 0.0058022 | 0.0014542 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4751-4_0_3_load_59 | 69 | 0.0030577 | 0.00076633 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4751-4_0_3_load_57 | 70 | 0.0015675 | 0.00039284 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4751-4_0_3_load_63 | 71 | 0.0088336 | 0.0022139 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4751-4_0_3_load_64 | 72 | 0.006848 | 0.0017163 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4751-4_0_3_load_67 | 73 | 0.009976 | 0.0025002 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4751-4_0_3_line_0 |  | 0 | 1 | 0.015875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4751-4_0_3_line_1 |  | 0 | 2 | 0.062332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4751-4_0_3_line_2 |  | 1 | 3 | 0.032804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4751-4_0_3_line_3 |  | 1 | 4 | 0.12137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4751-4_0_3_line_4 |  | 2 | 5 | 0.053806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4751-4_0_3_line_5 |  | 3 | 6 | 0.011735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4751-4_0_3_line_6 |  | 4 | 7 | 0.055523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4751-4_0_3_line_7 |  | 6 | 8 | 0.040083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4751-4_0_3_line_8 |  | 8 | 9 | 0.024144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4751-4_0_3_line_9 |  | 9 | 10 | 0.016481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4751-4_0_3_line_10 |  | 9 | 11 | 0.02011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4751-4_0_3_line_11 |  | 10 | 12 | 0.009524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4751-4_0_3_line_12 |  | 10 | 13 | 0.010224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4751-4_0_3_line_13 |  | 11 | 14 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4751-4_0_3_line_14 |  | 12 | 23 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4751-4_0_3_line_15 |  | 12 | 19 | 0.010189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4751-4_0_3_line_16 |  | 14 | 37 | 0.018575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4751-4_0_3_line_17 |  | 15 | 16 | 0.005821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4751-4_0_3_line_18 |  | 15 | 17 | 0.012697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4751-4_0_3_line_19 |  | 15 | 18 | 0.028011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4751-4_0_3_line_20 |  | 16 | 37 | 0.0042397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4751-4_0_3_line_21 |  | 16 | 38 | 0.043051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4751-4_0_3_line_22 |  | 18 | 39 | 0.050166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4751-4_0_3_line_23 |  | 19 | 20 | 0.016316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4751-4_0_3_line_24 |  | 20 | 40 | 0.042905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4751-4_0_3_line_25 |  | 21 | 22 | 0.011931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4751-4_0_3_line_26 |  | 21 | 23 | 0.0074074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4751-4_0_3_line_27 |  | 22 | 41 | 0.018893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4751-4_0_3_line_28 |  | 24 | 25 | 0.033188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4751-4_0_3_line_29 |  | 24 | 26 | 0.020997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4751-4_0_3_line_30 |  | 24 | 27 | 0.012861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4751-4_0_3_line_31 |  | 25 | 44 | 0.009266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4751-4_0_3_line_32 |  | 25 | 45 | 0.021425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4751-4_0_3_line_33 |  | 26 | 32 | 0.026941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4751-4_0_3_line_34 |  | 27 | 41 | 0.024131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4751-4_0_3_line_35 |  | 28 | 29 | 0.011107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4751-4_0_3_line_36 |  | 28 | 30 | 0.0060697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4751-4_0_3_line_37 |  | 28 | 31 | 0.031126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4751-4_0_3_line_38 |  | 29 | 32 | 0.022963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4751-4_0_3_line_39 |  | 30 | 46 | 0.028136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4751-4_0_3_line_40 |  | 33 | 34 | 0.079359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4751-4_0_3_line_41 |  | 33 | 35 | 0.052109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4751-4_0_3_line_42 |  | 33 | 36 | 0.059263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4751-4_0_3_line_43 |  | 34 | 47 | 0.054509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4751-4_0_3_line_44 |  | 36 | 45 | 0.011833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4751-4_0_3_line_45 |  | 38 | 54 | 0.05951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4751-4_0_3_line_46 |  | 40 | 57 | 0.0012842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4751-4_0_3_line_47 |  | 42 | 43 | 0.0037651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4751-4_0_3_line_48 |  | 43 | 53 | 0.024061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4751-4_0_3_line_49 |  | 44 | 53 | 0.019154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4751-4_0_3_line_50 |  | 46 | 72 | 0.010796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4751-4_0_3_line_51 |  | 48 | 49 | 0.010941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4751-4_0_3_line_52 |  | 49 | 50 | 0.014987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4751-4_0_3_line_53 |  | 50 | 51 | 0.0082782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4751-4_0_3_line_54 |  | 51 | 52 | 0.0088185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4751-4_0_3_line_55 |  | 52 | 69 | 0.01428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4751-4_0_3_line_56 |  | 55 | 56 | 0.037547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4751-4_0_3_line_57 |  | 56 | 73 | 0.022053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4751-4_0_3_line_58 |  | 56 | 71 | 0.017796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4751-4_0_3_line_59 |  | 57 | 58 | 0.022861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4751-4_0_3_line_60 |  | 58 | 59 | 0.006323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4751-4_0_3_line_61 |  | 59 | 60 | 0.0035691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4751-4_0_3_line_62 |  | 59 | 61 | 0.024154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4751-4_0_3_line_63 |  | 60 | 66 | 0.016872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4751-4_0_3_line_64 |  | 61 | 62 | 0.022813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4751-4_0_3_line_65 |  | 62 | 63 | 0.022051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4751-4_0_3_line_66 |  | 64 | 65 | 0.018571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4751-4_0_3_line_67 |  | 65 | 67 | 0.0077906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4751-4_0_3_line_68 |  | 66 | 67 | 0.04005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4751-4_0_3_line_69 |  | 66 | 68 | 0.016607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4751-4_0_3_line_70 |  | 68 | 70 | 0.017166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4751-4_0_3_line_71 |  | 69 | 70 | 0.0022271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4751-4_0_3_line_72 |  | 71 | 72 | 0.028228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4751-4_0_3_trafo_35 | 0.63 MVA 20/0.4 kV | 74 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2721341.6145 | 1256861.8614 | 2721340.1066 | 1256877.6644
1 | 2721333.7576 | 1256939.6683 | 2721335.9836 | 1256920.8753 | 2721340.1066 | 1256877.6644
2 | 2721341.6145 | 1256861.8614 | 2721345.2999 | 1256829.2647
3 | 2721443.9087 | 1256837.6043 | 2721438.8625 | 1256844.2065 | 2721436.7181 | 1256861.9447 | 2721421.5559 | 1256861.222 | 2721390.9666 | 1256863.1297 | 2721341.6145 | 1256861.8614
4 | 2721333.7576 | 1256939.6683 | 2721313.3332 | 1256939.9167 | 2721280.001 | 1256941.7131
5 | 2721345.2999 | 1256829.2647 | 2721346.6183 | 1256817.6043
6 | 2721443.9087 | 1256837.6043 | 2721447.5175 | 1256821.2862 | 2721448.9208 | 1256804.745 | 2721441.3729 | 1256798.3513 | 2721429.0025 | 1256798.3197
7 | 2721351.1215 | 1256777.7752 | 2721346.6183 | 1256817.6043
8 | 2721353.834 | 1256753.7841 | 2721351.1215 | 1256777.7752
9 | 2721353.834 | 1256753.7841 | 2721358.0199 | 1256751.2454 | 2721359.4491 | 1256747.3936 | 2721361.4611 | 1256744.5546 | 2721364.7888 | 1256742.2986
10 | 2721353.834 | 1256753.7841 | 2721347.6317 | 1256757.538 | 2721344.8585 | 1256756.3023 | 2721342.4694 | 1256756.9317 | 2721336.3362 | 1256760.9876
11 | 2721359.5738 | 1256734.3292 | 2721362.4263 | 1256738.6915 | 2721364.7888 | 1256742.2986
12 | 2721364.7888 | 1256742.2986 | 2721373.32 | 1256736.6646
13 | 2721336.3362 | 1256760.9876 | 2721320.7707 | 1256771.2809
14 | 2721359.5738 | 1256734.3292 | 2721361.7255 | 1256733.1389 | 2721373.7018 | 1256725.4732
15 | 2721350.3341 | 1256735.0182 | 2721353.4845 | 1256732.9476 | 2721354.982 | 1256733.8569 | 2721357.0058 | 1256734.4878 | 2721359.5738 | 1256734.3292
16 | 2721305.2775 | 1256781.5264 | 2721320.7707 | 1256771.2809
17 | 2721298.5598 | 1256778.9845 | 2721301.741 | 1256783.8651
18 | 2721298.5598 | 1256778.9845 | 2721296.5701 | 1256775.9522 | 2721304.173 | 1256771.0068
19 | 2721298.5598 | 1256778.9845 | 2721274.7456 | 1256793.7334
20 | 2721301.741 | 1256783.8651 | 2721305.2775 | 1256781.5264
21 | 2721301.741 | 1256783.8651 | 2721280.2778 | 1256796.125 | 2721264.4011 | 1256805.2912
22 | 2721274.7456 | 1256793.7334 | 2721259.9225 | 1256802.9139 | 2721232.7018 | 1256817.1133 | 2721230.8206 | 1256817.8734
23 | 2721350.3341 | 1256735.0182 | 2721341.4352 | 1256721.3422
24 | 2721341.4352 | 1256721.3422 | 2721318.0348 | 1256685.3799
25 | 2721379.9407 | 1256721.4799 | 2721389.8901 | 1256714.895
26 | 2721379.9407 | 1256721.4799 | 2721373.7018 | 1256725.4732
27 | 2721405.6454 | 1256704.4675 | 2721389.8901 | 1256714.895
28 | 2721427.6076 | 1256652.397 | 2721432.6096 | 1256677.3547 | 2721436.4928 | 1256684.0513
29 | 2721436.4928 | 1256684.0513 | 2721454.0159 | 1256672.4839
30 | 2721436.4928 | 1256684.0513 | 2721425.7679 | 1256691.1495
31 | 2721427.6076 | 1256652.397 | 2721418.575 | 1256654.4636
32 | 2721427.6076 | 1256652.397 | 2721426.2275 | 1256644.295 | 2721432.1459 | 1256632.489
33 | 2721454.0159 | 1256672.4839 | 2721476.4996 | 1256657.6419
34 | 2721425.7679 | 1256691.1495 | 2721405.6454 | 1256704.4675
35 | 2721495.4244 | 1256644.6593 | 2721496.2468 | 1256649.0578 | 2721497.4632 | 1256655.5773
36 | 2721497.4632 | 1256655.5773 | 2721493.7763 | 1256657.6924 | 2721492.2528 | 1256658.6864
37 | 2721497.4632 | 1256655.5773 | 2721500.7552 | 1256655.0666 | 2721503.0006 | 1256655.5576 | 2721504.6376 | 1256657.0258 | 2721505.6827 | 1256659.3938 | 2721506.1482 | 1256662.8063 | 2721508.2795 | 1256679.9389
38 | 2721495.4244 | 1256644.6593 | 2721493.0307 | 1256646.6119 | 2721489.6253 | 1256648.9774 | 2721476.4996 | 1256657.6419
39 | 2721468.6891 | 1256674.0608 | 2721492.2528 | 1256658.6864
40 | 2721451.5031 | 1256566.5344 | 2721445.2233 | 1256558.9879 | 2721437.2462 | 1256550.7059 | 2721425.5863 | 1256543.5939 | 2721383.6431 | 1256528.5429
41 | 2721451.5031 | 1256566.5344 | 2721419.5466 | 1256579.8461 | 2721413.0874 | 1256585.0849 | 2721410.5132 | 1256593.9954
42 | 2721451.5031 | 1256566.5344 | 2721453.85 | 1256574.9454 | 2721453.8185 | 1256584.9313 | 2721450.0054 | 1256596.8635 | 2721437.4488 | 1256621.9109
43 | 2721377.8265 | 1256578.9343 | 2721372.8178 | 1256572.6706 | 2721371.0954 | 1256566.5411 | 2721371.6831 | 1256561.4265 | 2721383.6431 | 1256528.5429
44 | 2721437.4488 | 1256621.9109 | 2721432.1459 | 1256632.489
45 | 2721264.4011 | 1256805.2912 | 2721253.7889 | 1256811.418 | 2721244.0818 | 1256816.1455 | 2721214.8496 | 1256829.125 | 2721210.653 | 1256830.6771
46 | 2721317.3314 | 1256684.3055 | 2721317.4479 | 1256684.4779 | 2721318.0348 | 1256685.3799
47 | 2721379.9697 | 1256679.446 | 2721382.4631 | 1256676.6248
48 | 2721401.1322 | 1256662.1355 | 2721390.5229 | 1256667.5053 | 2721382.4631 | 1256676.6248
49 | 2721418.575 | 1256654.4636 | 2721414.4048 | 1256655.4178 | 2721401.1322 | 1256662.1355
50 | 2721468.6891 | 1256674.0608 | 2721459.6475 | 1256679.9601
51 | 2721373.7597 | 1256603.0061 | 2721363.8852 | 1256607.7168
52 | 2721350.3583 | 1256614.1701 | 2721363.8852 | 1256607.7168
53 | 2721350.3583 | 1256614.1701 | 2721342.8868 | 1256617.7345
54 | 2721334.9276 | 1256621.5315 | 2721342.8868 | 1256617.7345
55 | 2721334.9276 | 1256621.5315 | 2721322.0392 | 1256627.6801
56 | 2721421.1018 | 1256705.1096 | 2721431.465 | 1256741.1981
57 | 2721421.1018 | 1256705.1096 | 2721402.6994 | 1256717.2625
58 | 2721421.1018 | 1256705.1096 | 2721436.0061 | 1256695.3851
59 | 2721304.5331 | 1256665.3632 | 2721317.3314 | 1256684.3055
60 | 2721300.9896 | 1256660.1194 | 2721304.5331 | 1256665.3632
61 | 2721300.9896 | 1256660.1194 | 2721298.9916 | 1256657.162
62 | 2721300.9896 | 1256660.1194 | 2721284.7259 | 1256670.7844 | 2721280.3709 | 1256672.5663
63 | 2721289.5464 | 1256643.1813 | 2721298.9916 | 1256657.162
64 | 2721259.2567 | 1256681.2052 | 2721259.2567 | 1256681.2052 | 2721280.3709 | 1256672.5663
65 | 2721259.2567 | 1256681.2052 | 2721256.7982 | 1256687.0599 | 2721242.2385 | 1256692.9373
66 | 2721227.7491 | 1256665.5127 | 2721244.9112 | 1256658.4165
67 | 2721244.9112 | 1256658.4165 | 2721252.1106 | 1256655.4397
68 | 2721289.5464 | 1256643.1813 | 2721283.4581 | 1256642.4782 | 2721252.1106 | 1256655.4397
69 | 2721289.5464 | 1256643.1813 | 2721304.5355 | 1256636.0305
70 | 2721320.0291 | 1256628.639 | 2721304.5355 | 1256636.0305
71 | 2721320.0291 | 1256628.639 | 2721322.0392 | 1256627.6801
72 | 2721436.0061 | 1256695.3851 | 2721459.6475 | 1256679.9601

## bus_geodata
| x | y | coords
0 | 2721340.1066 | 1256877.6644
1 | 2721341.6145 | 1256861.8614
2 | 2721333.7576 | 1256939.6683
3 | 2721345.2999 | 1256829.2647
4 | 2721443.9087 | 1256837.6043
5 | 2721280.001 | 1256941.7131
6 | 2721346.6183 | 1256817.6043
7 | 2721429.0025 | 1256798.3197
8 | 2721351.1215 | 1256777.7752
9 | 2721353.834 | 1256753.7841
10 | 2721364.7888 | 1256742.2986
11 | 2721336.3362 | 1256760.9876
12 | 2721359.5738 | 1256734.3292
13 | 2721373.32 | 1256736.6646
14 | 2721320.7707 | 1256771.2809
15 | 2721298.5598 | 1256778.9845
16 | 2721301.741 | 1256783.8651
17 | 2721304.173 | 1256771.0068
18 | 2721274.7456 | 1256793.7334
19 | 2721350.3341 | 1256735.0182
20 | 2721341.4352 | 1256721.3422
21 | 2721379.9407 | 1256721.4799
22 | 2721389.8901 | 1256714.895
23 | 2721373.7018 | 1256725.4732
24 | 2721436.4928 | 1256684.0513
25 | 2721427.6076 | 1256652.397
26 | 2721454.0159 | 1256672.4839
27 | 2721425.7679 | 1256691.1495
28 | 2721497.4632 | 1256655.5773
29 | 2721495.4244 | 1256644.6593
30 | 2721492.2528 | 1256658.6864
31 | 2721508.2795 | 1256679.9389
32 | 2721476.4996 | 1256657.6419
33 | 2721451.5031 | 1256566.5344
34 | 2721383.6431 | 1256528.5429
35 | 2721410.5132 | 1256593.9954
36 | 2721437.4488 | 1256621.9109
37 | 2721305.2775 | 1256781.5264
38 | 2721264.4011 | 1256805.2912
39 | 2721230.8206 | 1256817.8734
40 | 2721318.0348 | 1256685.3799
41 | 2721405.6454 | 1256704.4675
42 | 2721379.9697 | 1256679.446
43 | 2721382.4631 | 1256676.6248
44 | 2721418.575 | 1256654.4636
45 | 2721432.1459 | 1256632.489
46 | 2721468.6891 | 1256674.0608
47 | 2721377.8265 | 1256578.9343
48 | 2721373.7597 | 1256603.0061
49 | 2721363.8852 | 1256607.7168
50 | 2721350.3583 | 1256614.1701
51 | 2721342.8868 | 1256617.7345
52 | 2721334.9276 | 1256621.5315
53 | 2721401.1322 | 1256662.1355
54 | 2721210.653 | 1256830.6771
55 | 2721431.465 | 1256741.1981
56 | 2721421.1018 | 1256705.1096
57 | 2721317.3314 | 1256684.3055
58 | 2721304.5331 | 1256665.3632
59 | 2721300.9896 | 1256660.1194
60 | 2721298.9916 | 1256657.162
61 | 2721280.3709 | 1256672.5663
62 | 2721259.2567 | 1256681.2052
63 | 2721242.2385 | 1256692.9373
64 | 2721227.7491 | 1256665.5127
65 | 2721244.9112 | 1256658.4165
66 | 2721289.5464 | 1256643.1813
67 | 2721252.1106 | 1256655.4397
68 | 2721304.5355 | 1256636.0305
69 | 2721322.0392 | 1256627.6801
70 | 2721320.0291 | 1256628.639
71 | 2721436.0061 | 1256695.3851
72 | 2721459.6475 | 1256679.9601
73 | 2721402.6994 | 1256717.2625
74 | 2721350.3341 | 1256735.0182

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1