## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4751-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4751-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4751-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4751-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4751-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4751-6_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_4751-6_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_4751-6_0_4_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_4751-6_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_4751-6_0_4_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_4751-6_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_4751-6_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_4751-6_0_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_4751-6_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4751-6_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_4751-6_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_4751-6_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_4751-6_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4751-6_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4751-6_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4751-6_0_4_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_4751-6_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_4751-6_0_4_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_4751-6_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4751-6_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_4751-6_0_4_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_4751-6_0_4_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_4751-6_0_4_node_84 | 0.4 | n |  | TRUE
28 | bus_LV_4751-6_0_4_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_4751-6_0_4_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_4751-6_0_4_node_12 | 0.4 | n |  | TRUE
31 | bus_LV_4751-6_0_4_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_4751-6_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_4751-6_0_4_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_4751-6_0_4_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_4751-6_0_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_4751-6_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_4751-6_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_4751-6_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_4751-6_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_4751-6_0_4_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_4751-6_0_4_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_4751-6_0_4_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_4751-6_0_4_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_4751-6_0_4_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_4751-6_0_4_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_4751-6_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_4751-6_0_4_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_4751-6_0_4_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_4751-6_0_4_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_4751-6_0_4_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_4751-6_0_4_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_4751-6_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_4751-6_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_4751-6_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_4751-6_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_4751-6_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_4751-6_0_4_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_4751-6_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_4751-6_0_4_node_76 | 0.4 | n |  | TRUE
60 | bus_LV_4751-6_0_4_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4751-6_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_4751-6_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_4751-6_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4751-6_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_4751-6_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4751-6_0_4_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_4751-6_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_4751-6_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_4751-6_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_4751-6_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_4751-6_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_4751-6_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_4751-6_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_4751-6_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_4751-6_0_4_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_4751-6_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_4751-6_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_4751-6_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_4751-6_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_4751-6_0_4_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_4751-6_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_MV_156_1_node_190 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4751-6_0_4_load_0 | 0 | 0.0048892 | 0.0012254 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4751-6_0_4_load_1 | 1 | 0.0021804 | 0.00054645 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4751-6_0_4_load_2 | 2 | 0.00098969 | 0.00024804 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4751-6_0_4_load_46 | 5 | 0.0053491 | 0.0013406 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4751-6_0_4_load_27 | 7 | 0.0023398 | 0.00058642 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4751-6_0_4_load_15 | 8 | 0.002151 | 0.00053909 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4751-6_0_4_load_50 | 9 | 0.0021558 | 0.0005403 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4751-6_0_4_load_17 | 11 | 0.032823 | 0.0082262 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4751-6_0_4_load_26 | 12 | 0.0021376 | 0.00053574 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4751-6_0_4_load_5 | 14 | 0.0033243 | 0.00083315 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4751-6_0_4_load_6 | 15 | 0.00061257 | 0.00015353 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4751-6_0_4_load_33 | 20 | 0.018635 | 0.0046705 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4751-6_0_4_load_34 | 21 | 0.0010353 | 0.00025948 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4751-6_0_4_load_57 | 22 | 0.011667 | 0.0029241 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4751-6_0_4_load_55 | 25 | 0.016776 | 0.0042044 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4751-6_0_4_load_84 | 27 | 0.029626 | 0.0074249 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4751-6_0_4_load_62 | 28 | 0.021121 | 0.0052933 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4751-6_0_4_load_11 | 29 | 0.0024522 | 0.00061458 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4751-6_0_4_load_12 | 30 | 0.0023322 | 0.00058452 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4751-6_0_4_load_16 | 32 | 0.0050438 | 0.0012641 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4751-6_0_4_load_59 | 33 | 0.0028535 | 0.00071515 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4751-6_0_4_load_37 | 34 | 0.0021194 | 0.00053118 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4751-6_0_4_load_45 | 37 | 0.0013436 | 0.00033673 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4751-6_0_4_load_42 | 38 | 0.00094036 | 0.00023568 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4751-6_0_4_load_83 | 40 | 0.021869 | 0.0054809 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4751-6_0_4_load_82 | 41 | 0.0040908 | 0.0010253 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4751-6_0_4_load_49 | 42 | 0.021112 | 0.0052911 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4751-6_0_4_load_47 | 43 | 0.028404 | 0.0071186 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4751-6_0_4_load_66 | 48 | 0.011503 | 0.002883 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4751-6_0_4_load_60 | 49 | 0.010665 | 0.0026729 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4751-6_0_4_load_25 | 50 | 0.0040423 | 0.0010131 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4751-6_0_4_load_29 | 52 | 0.0013383 | 0.00033541 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4751-6_0_4_load_56 | 54 | 0.032633 | 0.0081787 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4751-6_0_4_load_30 | 55 | 0.035048 | 0.0087839 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4751-6_0_4_load_48 | 57 | 0.012904 | 0.003234 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4751-6_0_4_load_76 | 59 | 0.0010959 | 0.00027465 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4751-6_0_4_load_35 | 60 | 0.0020369 | 0.00051049 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4751-6_0_4_load_38 | 61 | 0.0017142 | 0.00042961 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4751-6_0_4_load_41 | 63 | 0.002273 | 0.00056967 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4751-6_0_4_load_51 | 64 | 0.001864 | 0.00046716 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4751-6_0_4_load_44 | 65 | 0.004951 | 0.0012408 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4751-6_0_4_load_61 | 66 | 0.0030364 | 0.00076099 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4751-6_0_4_load_54 | 67 | 0.016801 | 0.0042107 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4751-6_0_4_load_52 | 68 | 0.0085483 | 0.0021424 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4751-6_0_4_load_67 | 69 | 0.0059989 | 0.0015035 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4751-6_0_4_load_68 | 70 | 0.0069512 | 0.0017421 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4751-6_0_4_load_69 | 71 | 0.0020372 | 0.00051057 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4751-6_0_4_load_70 | 72 | 0.0017006 | 0.00042621 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4751-6_0_4_load_71 | 73 | 0.0020389 | 0.000511 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4751-6_0_4_load_80 | 75 | 0.0020377 | 0.00051071 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4751-6_0_4_load_72 | 76 | 0.0053634 | 0.0013442 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4751-6_0_4_load_78 | 77 | 0.0021448 | 0.00053754 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4751-6_0_4_load_73 | 78 | 0.0031524 | 0.00079008 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4751-6_0_4_load_75 | 79 | 0.002526 | 0.00063307 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4751-6_0_4_load_79 | 80 | 0.0039485 | 0.0009896 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4751-6_0_4_load_81 | 81 | 0.0038584 | 0.00096701 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4751-6_0_4_line_0 |  | 0 | 1 | 0.056871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4751-6_0_4_line_1 |  | 0 | 2 | 0.00594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4751-6_0_4_line_2 |  | 1 | 3 | 0.04363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4751-6_0_4_line_3 |  | 2 | 4 | 0.043781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4751-6_0_4_line_4 |  | 3 | 5 | 0.018115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4751-6_0_4_line_5 |  | 3 | 6 | 0.059187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4751-6_0_4_line_6 |  | 4 | 7 | 0.009043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4751-6_0_4_line_7 |  | 4 | 8 | 0.019226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4751-6_0_4_line_8 |  | 5 | 9 | 0.020534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4751-6_0_4_line_9 |  | 6 | 10 | 0.035142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4751-6_0_4_line_10 |  | 6 | 11 | 0.028207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4751-6_0_4_line_11 |  | 7 | 12 | 0.02011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4751-6_0_4_line_12 |  | 8 | 13 | 0.023878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4751-6_0_4_line_13 |  | 9 | 64 | 0.0047306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4751-6_0_4_line_14 |  | 10 | 42 | 0.037982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4751-6_0_4_line_15 |  | 10 | 43 | 0.031569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4751-6_0_4_line_16 |  | 10 | 39 | 0.025206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4751-6_0_4_line_17 |  | 11 | 19 | 0.031322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4751-6_0_4_line_18 |  | 12 | 50 | 0.030843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4751-6_0_4_line_19 |  | 13 | 32 | 0.01902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4751-6_0_4_line_20 |  | 13 | 29 | 0.0035694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4751-6_0_4_line_21 |  | 14 | 15 | 0.057911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4751-6_0_4_line_22 |  | 14 | 16 | 0.050822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4751-6_0_4_line_23 |  | 15 | 17 | 0.06131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4751-6_0_4_line_24 |  | 16 | 18 | 0.007837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4751-6_0_4_line_25 |  | 16 | 19 | 0.082712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4751-6_0_4_line_26 |  | 17 | 20 | 0.054544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4751-6_0_4_line_27 |  | 17 | 21 | 0.055309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4751-6_0_4_line_28 |  | 18 | 22 | 0.030768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4751-6_0_4_line_29 |  | 19 | 23 | 0.002092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4751-6_0_4_line_30 |  | 19 | 24 | 0.038059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4751-6_0_4_line_31 |  | 20 | 25 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4751-6_0_4_line_32 |  | 21 | 26 | 0.029629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4751-6_0_4_line_33 |  | 23 | 27 | 0.017123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4751-6_0_4_line_34 |  | 24 | 28 | 0.028125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4751-6_0_4_line_35 |  | 25 | 54 | 0.020428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4751-6_0_4_line_36 |  | 26 | 59 | 0.011475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4751-6_0_4_line_37 |  | 28 | 44 | 0.0030469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4751-6_0_4_line_38 |  | 29 | 30 | 0.029939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4751-6_0_4_line_39 |  | 30 | 31 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4751-6_0_4_line_40 |  | 31 | 33 | 0.019918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4751-6_0_4_line_41 |  | 31 | 34 | 0.015728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4751-6_0_4_line_42 |  | 32 | 35 | 0.0077661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4751-6_0_4_line_43 |  | 34 | 36 | 0.0087839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4751-6_0_4_line_44 |  | 35 | 37 | 0.01096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4751-6_0_4_line_45 |  | 35 | 38 | 0.010528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4751-6_0_4_line_46 |  | 36 | 60 | 0.021169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4751-6_0_4_line_47 |  | 37 | 66 | 0.003318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4751-6_0_4_line_48 |  | 38 | 65 | 0.0019515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4751-6_0_4_line_49 |  | 39 | 40 | 0.012134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4751-6_0_4_line_50 |  | 39 | 41 | 0.011787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4751-6_0_4_line_51 |  | 43 | 46 | 0.027658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4751-6_0_4_line_52 |  | 44 | 45 | 0.050321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4751-6_0_4_line_53 |  | 45 | 49 | 0.015862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4751-6_0_4_line_54 |  | 45 | 47 | 0.0040152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4751-6_0_4_line_55 |  | 46 | 57 | 0.021154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4751-6_0_4_line_56 |  | 46 | 56 | 0.005385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4751-6_0_4_line_57 |  | 47 | 48 | 0.014811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4751-6_0_4_line_58 |  | 51 | 52 | 0.060358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4751-6_0_4_line_59 |  | 51 | 53 | 0.089929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4751-6_0_4_line_60 |  | 53 | 54 | 0.027839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4751-6_0_4_line_61 |  | 55 | 56 | 0.034413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4751-6_0_4_line_62 |  | 57 | 58 | 0.020238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4751-6_0_4_line_63 |  | 58 | 67 | 0.024335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4751-6_0_4_line_64 |  | 58 | 68 | 0.01805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4751-6_0_4_line_65 |  | 59 | 79 | 0.019367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4751-6_0_4_line_66 |  | 61 | 62 | 0.012217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4751-6_0_4_line_67 |  | 62 | 63 | 0.0094659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4751-6_0_4_line_68 |  | 63 | 64 | 0.014932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4751-6_0_4_line_69 |  | 69 | 70 | 0.02778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4751-6_0_4_line_70 |  | 69 | 71 | 0.0086853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4751-6_0_4_line_71 |  | 70 | 72 | 0.0075334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4751-6_0_4_line_72 |  | 71 | 73 | 0.0060376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4751-6_0_4_line_73 |  | 72 | 74 | 0.018386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4751-6_0_4_line_74 |  | 73 | 75 | 0.0060383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4751-6_0_4_line_75 |  | 74 | 76 | 0.04148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4751-6_0_4_line_76 |  | 75 | 77 | 0.0028926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4751-6_0_4_line_77 |  | 76 | 78 | 0.027102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4751-6_0_4_line_78 |  | 77 | 80 | 0.015903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4751-6_0_4_line_79 |  | 78 | 79 | 0.028369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4751-6_0_4_line_80 |  | 80 | 81 | 0.015271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4751-6_0_4_trafo_17 | 0.63 MVA 20/0.4 kV | 82 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2721267.8617 | 1256181.8454 | 2721273.4773 | 1256196.1401 | 2721279.8833 | 1256202.3434 | 2721287.985 | 1256206.057 | 2721311.0669 | 1256211.3626
1 | 2721267.8617 | 1256181.8454 | 2721265.6898 | 1256176.3167
2 | 2721353.5884 | 1256221.1365 | 2721311.0669 | 1256211.3626
3 | 2721263.6163 | 1256135.0849 | 2721258.2112 | 1256146.2951 | 2721258.829 | 1256158.852 | 2721265.6898 | 1256176.3167
4 | 2721353.5884 | 1256221.1365 | 2721356.1954 | 1256203.2101
5 | 2721354.6302 | 1256280.3095 | 2721353.5884 | 1256221.1365
6 | 2721263.6163 | 1256135.0849 | 2721255.4034 | 1256138.8697
7 | 2721263.6163 | 1256135.0849 | 2721270.4477 | 1256129.7424 | 2721280.2734 | 1256125.8909
8 | 2721356.1954 | 1256203.2101 | 2721356.3989 | 1256201.8106 | 2721362.2343 | 1256183.6032
9 | 2721354.6302 | 1256280.3095 | 2721360.2915 | 1256280.1476 | 2721386.0315 | 1256279.419 | 2721389.7592 | 1256279.3732
10 | 2721354.6302 | 1256280.3095 | 2721326.4256 | 1256280.7006
11 | 2721237.1396 | 1256147.2863 | 2721255.4034 | 1256138.8697
12 | 2721302.5041 | 1256117.177 | 2721280.2734 | 1256125.8909
13 | 2721362.2343 | 1256183.6032 | 2721362.2343 | 1256183.6032 | 2721364.8759 | 1256179.6789
14 | 2721389.7592 | 1256279.3732 | 2721389.8567 | 1256284.5464 | 2721388.2751 | 1256293.2437 | 2721388.4069 | 1256317.2108
15 | 2721389.7592 | 1256279.3732 | 2721421.3251 | 1256278.9482
16 | 2721385.8838 | 1256257.9417 | 2721386.0315 | 1256279.419 | 2721389.7592 | 1256279.3732
17 | 2721295.1062 | 1256281.135 | 2721326.4256 | 1256280.7006
18 | 2721237.1396 | 1256147.2863 | 2721221.0347 | 1256154.7079 | 2721214.6027 | 1256143.2842
19 | 2721302.5041 | 1256117.177 | 2721309.221 | 1256134.9713
20 | 2721302.5041 | 1256117.177 | 2721305.8345 | 1256115.893
21 | 2721235.7695 | 1256360.1775 | 2721239.7166 | 1256379.4974 | 2721236.0662 | 1256400.4409 | 2721228.9609 | 1256407.7574 | 2721223.2237 | 1256411.2837
22 | 2721232.0065 | 1256309.5675 | 2721234.2454 | 1256352.7176 | 2721235.7695 | 1256360.1775
23 | 2721168.2718 | 1256438.275 | 2721203.081 | 1256422.7072 | 2721211.2589 | 1256418.6378 | 2721223.2237 | 1256411.2837
24 | 2721232.0065 | 1256309.5675 | 2721230.9965 | 1256301.7956
25 | 2721232.0065 | 1256309.5675 | 2721235.4215 | 1256304.9 | 2721238.4976 | 1256292.1074 | 2721240.9426 | 1256288.3875 | 2721244.2852 | 1256286.888 | 2721286.5166 | 1256286.5081 | 2721295.2367 | 1256285.8084 | 2721295.1062 | 1256281.135
26 | 2721168.2718 | 1256438.275 | 2721132.4412 | 1256397.1503
27 | 2721168.2718 | 1256438.275 | 2721180.013 | 1256451.0153 | 2721186.9465 | 1256458.3414 | 2721193.3762 | 1256461.9094 | 2721207.6885 | 1256466.9735 | 2721212.9111 | 1256468.1865
28 | 2721230.9965 | 1256301.7956 | 2721235.6489 | 1256271.3815
29 | 2721293.0083 | 1256281.1698 | 2721295.1062 | 1256281.135
30 | 2721295.1062 | 1256281.135 | 2721295.2367 | 1256285.8084 | 2721295.9179 | 1256319.1848
31 | 2721132.4412 | 1256397.1503 | 2721123.1896 | 1256386.5317
32 | 2721241.4073 | 1256463.3829 | 2721226.9073 | 1256468.9464 | 2721216.7207 | 1256469.0713 | 2721212.9111 | 1256468.1865
33 | 2721292.5067 | 1256264.0557 | 2721293.0083 | 1256281.1698
34 | 2721295.9179 | 1256319.1848 | 2721324.039 | 1256318.6978
35 | 2721123.1896 | 1256386.5317 | 2721121.4023 | 1256384.4803 | 2721109.7673 | 1256371.132
36 | 2721241.4073 | 1256463.3829 | 2721251.9221 | 1256458.7876
37 | 2721327.0854 | 1256318.6451 | 2721324.039 | 1256318.6978
38 | 2721305.8345 | 1256115.893 | 2721333.7698 | 1256105.1231
39 | 2721346.9286 | 1256100.0501 | 2721333.7698 | 1256105.1231
40 | 2721346.9286 | 1256100.0501 | 2721354.3798 | 1256118.5217
41 | 2721346.9286 | 1256100.0501 | 2721361.6882 | 1256094.6158
42 | 2721311.9636 | 1256142.237 | 2721309.221 | 1256134.9713
43 | 2721369.9312 | 1256091.5808 | 2721361.6882 | 1256094.6158
44 | 2721311.9636 | 1256142.237 | 2721321.9418 | 1256137.7039
45 | 2721311.9636 | 1256142.237 | 2721315.7463 | 1256152.0623
46 | 2721369.9312 | 1256091.5808 | 2721377.1726 | 1256111.4727
47 | 2721324.9626 | 1256136.3316 | 2721321.9418 | 1256137.7039
48 | 2721316.4474 | 1256153.8835 | 2721315.7463 | 1256152.0623
49 | 2721385.8762 | 1256245.8088 | 2721385.8838 | 1256257.9417
50 | 2721385.8838 | 1256257.9417 | 2721374.0986 | 1256258.1371
51 | 2721448.9809 | 1256278.5758 | 2721421.3251 | 1256278.9482
52 | 2721327.0854 | 1256318.6451 | 2721327.1732 | 1256333.1262 | 2721327.3192 | 1256358.0064 | 2721329.2627 | 1256359.2473 | 2721329.3041 | 1256367.9002
53 | 2721329.3041 | 1256367.9002 | 2721344.2945 | 1256362.7139
54 | 2721325.4067 | 1256368.8656 | 2721327.3782 | 1256368.3722 | 2721329.3041 | 1256367.9002
55 | 2721448.9809 | 1256278.5758 | 2721449.2098 | 1256299.7283
56 | 2721454.3787 | 1256278.3863 | 2721448.9809 | 1256278.5758
57 | 2721325.4067 | 1256368.8656 | 2721310.5958 | 1256368.8676
58 | 2721080.4244 | 1256261.3571 | 2721097.5539 | 1256257.8155 | 2721139.4379 | 1256266.9403
59 | 2721090.9988 | 1256350.6623 | 2721080.4244 | 1256261.3571
60 | 2721090.9988 | 1256350.6623 | 2721093.5998 | 1256352.5838 | 2721109.7673 | 1256371.132
61 | 2721454.3787 | 1256278.3863 | 2721453.5226 | 1256254.6814 | 2721450.3058 | 1256246.0079 | 2721450.131 | 1256244.5764
62 | 2721449.4287 | 1256319.9655 | 2721449.2098 | 1256299.7283
63 | 2721449.4287 | 1256319.9655 | 2721425.0211 | 1256320.1095
64 | 2721449.4287 | 1256319.9655 | 2721467.477 | 1256320.1863
65 | 2721269.9201 | 1256451.7345 | 2721269.9201 | 1256451.7345 | 2721264.6769 | 1256453.2173 | 2721256.2582 | 1256456.8925 | 2721251.9221 | 1256458.7876
66 | 2721380.2024 | 1256160.9073 | 2721389.2281 | 1256152.6741
67 | 2721380.2024 | 1256160.9073 | 2721373.2137 | 1256167.2918
68 | 2721373.2137 | 1256167.2918 | 2721364.8759 | 1256179.6789
69 | 2721374.4358 | 1256411.4965 | 2721369.9351 | 1256438.9097
70 | 2721374.4358 | 1256411.4965 | 2721374.9089 | 1256408.6148 | 2721380.6151 | 1256409.4354
71 | 2721369.9351 | 1256438.9097 | 2721368.7147 | 1256446.3436
72 | 2721386.5913 | 1256410.2949 | 2721380.6151 | 1256409.4354
73 | 2721365.736 | 1256464.4866 | 2721368.7147 | 1256446.3436
74 | 2721392.5681 | 1256411.1545 | 2721386.5913 | 1256410.2949
75 | 2721365.736 | 1256464.4866 | 2721346.4188 | 1256458.8524 | 2721325.1528 | 1256456.8737
76 | 2721395.4312 | 1256411.5662 | 2721392.5681 | 1256411.1545
77 | 2721325.1528 | 1256456.8737 | 2721298.1671 | 1256454.3628
78 | 2721395.4312 | 1256411.5662 | 2721411.1722 | 1256413.8301
79 | 2721269.9201 | 1256451.7345 | 2721298.1671 | 1256454.3628
80 | 2721426.2875 | 1256416.0039 | 2721411.1722 | 1256413.8301

## bus_geodata
| x | y | coords
0 | 2721267.8617 | 1256181.8454
1 | 2721311.0669 | 1256211.3626
2 | 2721265.6898 | 1256176.3167
3 | 2721353.5884 | 1256221.1365
4 | 2721263.6163 | 1256135.0849
5 | 2721356.1954 | 1256203.2101
6 | 2721354.6302 | 1256280.3095
7 | 2721255.4034 | 1256138.8697
8 | 2721280.2734 | 1256125.8909
9 | 2721362.2343 | 1256183.6032
10 | 2721389.7592 | 1256279.3732
11 | 2721326.4256 | 1256280.7006
12 | 2721237.1396 | 1256147.2863
13 | 2721302.5041 | 1256117.177
14 | 2721235.7695 | 1256360.1775
15 | 2721223.2237 | 1256411.2837
16 | 2721232.0065 | 1256309.5675
17 | 2721168.2718 | 1256438.275
18 | 2721230.9965 | 1256301.7956
19 | 2721295.1062 | 1256281.135
20 | 2721132.4412 | 1256397.1503
21 | 2721212.9111 | 1256468.1865
22 | 2721235.6489 | 1256271.3815
23 | 2721293.0083 | 1256281.1698
24 | 2721295.9179 | 1256319.1848
25 | 2721123.1896 | 1256386.5317
26 | 2721241.4073 | 1256463.3829
27 | 2721292.5067 | 1256264.0557
28 | 2721324.039 | 1256318.6978
29 | 2721305.8345 | 1256115.893
30 | 2721333.7698 | 1256105.1231
31 | 2721346.9286 | 1256100.0501
32 | 2721309.221 | 1256134.9713
33 | 2721354.3798 | 1256118.5217
34 | 2721361.6882 | 1256094.6158
35 | 2721311.9636 | 1256142.237
36 | 2721369.9312 | 1256091.5808
37 | 2721321.9418 | 1256137.7039
38 | 2721315.7463 | 1256152.0623
39 | 2721385.8838 | 1256257.9417
40 | 2721385.8762 | 1256245.8088
41 | 2721374.0986 | 1256258.1371
42 | 2721388.4069 | 1256317.2108
43 | 2721421.3251 | 1256278.9482
44 | 2721327.0854 | 1256318.6451
45 | 2721329.3041 | 1256367.9002
46 | 2721448.9809 | 1256278.5758
47 | 2721325.4067 | 1256368.8656
48 | 2721310.5958 | 1256368.8676
49 | 2721344.2945 | 1256362.7139
50 | 2721214.6027 | 1256143.2842
51 | 2721080.4244 | 1256261.3571
52 | 2721139.4379 | 1256266.9403
53 | 2721090.9988 | 1256350.6623
54 | 2721109.7673 | 1256371.132
55 | 2721450.131 | 1256244.5764
56 | 2721454.3787 | 1256278.3863
57 | 2721449.2098 | 1256299.7283
58 | 2721449.4287 | 1256319.9655
59 | 2721251.9221 | 1256458.7876
60 | 2721377.1726 | 1256111.4727
61 | 2721389.2281 | 1256152.6741
62 | 2721380.2024 | 1256160.9073
63 | 2721373.2137 | 1256167.2918
64 | 2721364.8759 | 1256179.6789
65 | 2721316.4474 | 1256153.8835
66 | 2721324.9626 | 1256136.3316
67 | 2721425.0211 | 1256320.1095
68 | 2721467.477 | 1256320.1863
69 | 2721374.4358 | 1256411.4965
70 | 2721369.9351 | 1256438.9097
71 | 2721380.6151 | 1256409.4355
72 | 2721368.7147 | 1256446.3436
73 | 2721386.5913 | 1256410.2949
74 | 2721365.736 | 1256464.4866
75 | 2721392.5681 | 1256411.1545
76 | 2721325.1528 | 1256456.8737
77 | 2721395.4312 | 1256411.5662
78 | 2721298.1671 | 1256454.3628
79 | 2721269.9201 | 1256451.7345
80 | 2721411.1722 | 1256413.8301
81 | 2721426.2875 | 1256416.0039
82 | 2721354.6302 | 1256280.3095

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1