## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4761-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4761-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4761-14_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4761-14_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4761-14_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4761-14_0_6_node_129 | 0.4 | n |  | TRUE
6 | bus_LV_4761-14_0_6_node_128 | 0.4 | n |  | TRUE
7 | bus_LV_4761-14_0_6_node_130 | 0.4 | n |  | TRUE
8 | bus_LV_4761-14_0_6_node_127 | 0.4 | n |  | TRUE
9 | bus_LV_4761-14_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4761-14_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4761-14_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4761-14_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4761-14_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4761-14_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4761-14_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4761-14_0_6_node_141 | 0.4 | n |  | TRUE
17 | bus_LV_4761-14_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4761-14_0_6_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4761-14_0_6_node_142 | 0.4 | n |  | TRUE
20 | bus_LV_4761-14_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4761-14_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4761-14_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4761-14_0_6_node_137 | 0.4 | n |  | TRUE
24 | bus_LV_4761-14_0_6_node_135 | 0.4 | n |  | TRUE
25 | bus_LV_4761-14_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4761-14_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4761-14_0_6_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_4761-14_0_6_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_4761-14_0_6_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_4761-14_0_6_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_4761-14_0_6_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_4761-14_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4761-14_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4761-14_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4761-14_0_6_node_164 | 0.4 | n |  | TRUE
36 | bus_LV_4761-14_0_6_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_4761-14_0_6_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_4761-14_0_6_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_4761-14_0_6_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_4761-14_0_6_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_4761-14_0_6_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4761-14_0_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4761-14_0_6_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_4761-14_0_6_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_4761-14_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_4761-14_0_6_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_4761-14_0_6_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_4761-14_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_4761-14_0_6_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_4761-14_0_6_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_4761-14_0_6_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4761-14_0_6_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_4761-14_0_6_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_4761-14_0_6_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4761-14_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_4761-14_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_4761-14_0_6_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_4761-14_0_6_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_4761-14_0_6_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_4761-14_0_6_node_66 | 0.4 | n |  | TRUE
61 | bus_LV_4761-14_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_4761-14_0_6_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_4761-14_0_6_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_4761-14_0_6_node_92 | 0.4 | n |  | TRUE
65 | bus_LV_4761-14_0_6_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_4761-14_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4761-14_0_6_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_4761-14_0_6_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_4761-14_0_6_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_4761-14_0_6_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_4761-14_0_6_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_4761-14_0_6_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_4761-14_0_6_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_4761-14_0_6_node_46 | 0.4 | n |  | TRUE
75 | bus_LV_4761-14_0_6_node_47 | 0.4 | n |  | TRUE
76 | bus_LV_4761-14_0_6_node_49 | 0.4 | n |  | TRUE
77 | bus_LV_4761-14_0_6_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_4761-14_0_6_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_4761-14_0_6_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_4761-14_0_6_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_4761-14_0_6_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_4761-14_0_6_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_4761-14_0_6_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_4761-14_0_6_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_4761-14_0_6_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_4761-14_0_6_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_4761-14_0_6_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_4761-14_0_6_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_4761-14_0_6_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_4761-14_0_6_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_4761-14_0_6_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_4761-14_0_6_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_4761-14_0_6_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_4761-14_0_6_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_4761-14_0_6_node_105 | 0.4 | n |  | TRUE
96 | bus_LV_4761-14_0_6_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_4761-14_0_6_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_4761-14_0_6_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_4761-14_0_6_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_4761-14_0_6_node_112 | 0.4 | n |  | TRUE
101 | bus_LV_4761-14_0_6_node_113 | 0.4 | n |  | TRUE
102 | bus_LV_4761-14_0_6_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_4761-14_0_6_node_114 | 0.4 | n |  | TRUE
104 | bus_LV_4761-14_0_6_node_93 | 0.4 | n |  | TRUE
105 | bus_LV_4761-14_0_6_node_95 | 0.4 | n |  | TRUE
106 | bus_LV_4761-14_0_6_node_97 | 0.4 | n |  | TRUE
107 | bus_LV_4761-14_0_6_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_4761-14_0_6_node_104 | 0.4 | n |  | TRUE
109 | bus_LV_4761-14_0_6_node_98 | 0.4 | n |  | TRUE
110 | bus_LV_4761-14_0_6_node_99 | 0.4 | n |  | TRUE
111 | bus_LV_4761-14_0_6_node_100 | 0.4 | n |  | TRUE
112 | bus_LV_4761-14_0_6_node_101 | 0.4 | n |  | TRUE
113 | bus_LV_4761-14_0_6_node_102 | 0.4 | n |  | TRUE
114 | bus_LV_4761-14_0_6_node_110 | 0.4 | n |  | TRUE
115 | bus_LV_4761-14_0_6_node_103 | 0.4 | n |  | TRUE
116 | bus_LV_4761-14_0_6_node_108 | 0.4 | n |  | TRUE
117 | bus_LV_4761-14_0_6_node_107 | 0.4 | n |  | TRUE
118 | bus_LV_4761-14_0_6_node_109 | 0.4 | n |  | TRUE
119 | bus_LV_4761-14_0_6_node_111 | 0.4 | n |  | TRUE
120 | bus_LV_4761-14_0_6_node_115 | 0.4 | n |  | TRUE
121 | bus_LV_4761-14_0_6_node_116 | 0.4 | n |  | TRUE
122 | bus_LV_4761-14_0_6_node_117 | 0.4 | n |  | TRUE
123 | bus_LV_4761-14_0_6_node_118 | 0.4 | n |  | TRUE
124 | bus_LV_4761-14_0_6_node_122 | 0.4 | n |  | TRUE
125 | bus_LV_4761-14_0_6_node_121 | 0.4 | n |  | TRUE
126 | bus_LV_4761-14_0_6_node_123 | 0.4 | n |  | TRUE
127 | bus_LV_4761-14_0_6_node_154 | 0.4 | n |  | TRUE
128 | bus_LV_4761-14_0_6_node_151 | 0.4 | n |  | TRUE
129 | bus_LV_4761-14_0_6_node_124 | 0.4 | n |  | TRUE
130 | bus_LV_4761-14_0_6_node_125 | 0.4 | n |  | TRUE
131 | bus_LV_4761-14_0_6_node_126 | 0.4 | n |  | TRUE
132 | bus_LV_4761-14_0_6_node_131 | 0.4 | n |  | TRUE
133 | bus_LV_4761-14_0_6_node_132 | 0.4 | n |  | TRUE
134 | bus_LV_4761-14_0_6_node_133 | 0.4 | n |  | TRUE
135 | bus_LV_4761-14_0_6_node_134 | 0.4 | n |  | TRUE
136 | bus_LV_4761-14_0_6_node_136 | 0.4 | n |  | TRUE
137 | bus_LV_4761-14_0_6_node_138 | 0.4 | n |  | TRUE
138 | bus_LV_4761-14_0_6_node_139 | 0.4 | n |  | TRUE
139 | bus_LV_4761-14_0_6_node_140 | 0.4 | n |  | TRUE
140 | bus_LV_4761-14_0_6_node_158 | 0.4 | n |  | TRUE
141 | bus_LV_4761-14_0_6_node_159 | 0.4 | n |  | TRUE
142 | bus_LV_4761-14_0_6_node_157 | 0.4 | n |  | TRUE
143 | bus_LV_4761-14_0_6_node_143 | 0.4 | n |  | TRUE
144 | bus_LV_4761-14_0_6_node_144 | 0.4 | n |  | TRUE
145 | bus_LV_4761-14_0_6_node_145 | 0.4 | n |  | TRUE
146 | bus_LV_4761-14_0_6_node_146 | 0.4 | n |  | TRUE
147 | bus_LV_4761-14_0_6_node_162 | 0.4 | n |  | TRUE
148 | bus_LV_4761-14_0_6_node_161 | 0.4 | n |  | TRUE
149 | bus_LV_4761-14_0_6_node_149 | 0.4 | n |  | TRUE
150 | bus_LV_4761-14_0_6_node_150 | 0.4 | n |  | TRUE
151 | bus_LV_4761-14_0_6_node_152 | 0.4 | n |  | TRUE
152 | bus_LV_4761-14_0_6_node_153 | 0.4 | n |  | TRUE
153 | bus_LV_4761-14_0_6_node_155 | 0.4 | n |  | TRUE
154 | bus_LV_4761-14_0_6_node_163 | 0.4 | n |  | TRUE
155 | bus_LV_4761-14_0_6_node_156 | 0.4 | n |  | TRUE
156 | bus_LV_4761-14_0_6_node_160 | 0.4 | n |  | TRUE
157 | bus_MV_443_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4761-14_0_6_load_0 | 0 | 0.010276 | 0.0025754 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4761-14_0_6_load_1 | 1 | 0.0082624 | 0.0020708 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4761-14_0_6_load_2 | 2 | 0.0071674 | 0.0017963 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4761-14_0_6_load_3 | 3 | 0.0049518 | 0.001241 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4761-14_0_6_load_4 | 4 | 0.0057694 | 0.001446 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4761-14_0_6_load_129 | 5 | 0.008059 | 0.0020198 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4761-14_0_6_load_128 | 6 | 0.012946 | 0.0032446 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4761-14_0_6_load_130 | 7 | 0.0065167 | 0.0016332 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4761-14_0_6_load_127 | 8 | 0.0071557 | 0.0017934 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4761-14_0_6_load_5 | 9 | 0.0079179 | 0.0019844 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4761-14_0_6_load_6 | 10 | 0.0042658 | 0.0010691 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4761-14_0_6_load_7 | 11 | 0.016128 | 0.004042 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4761-14_0_6_load_9 | 13 | 0.011604 | 0.0029083 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4761-14_0_6_load_14 | 14 | 0.0122 | 0.0030576 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4761-14_0_6_load_15 | 15 | 0.0053874 | 0.0013502 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4761-14_0_6_load_141 | 16 | 0.014938 | 0.0037438 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4761-14_0_6_load_12 | 17 | 0.005173 | 0.0012965 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4761-14_0_6_load_10 | 20 | 0.0025281 | 0.0006336 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4761-14_0_6_load_11 | 21 | 0.0020859 | 0.00052278 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4761-14_0_6_load_13 | 22 | 0.0059785 | 0.0014984 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4761-14_0_6_load_137 | 23 | 0.0022728 | 0.00056961 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4761-14_0_6_load_135 | 24 | 0.0063258 | 0.0015854 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4761-14_0_6_load_18 | 26 | 0.0034725 | 0.00087029 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4761-14_0_6_load_96 | 28 | 0.00096789 | 0.00024258 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4761-14_0_6_load_82 | 29 | 0.0053295 | 0.0013357 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4761-14_0_6_load_94 | 31 | 0.0012471 | 0.00031256 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4761-14_0_6_load_20 | 32 | 0.00046294 | 0.00011602 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4761-14_0_6_load_21 | 33 | 0.0021444 | 0.00053743 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4761-14_0_6_load_164 | 35 | 0.0010965 | 0.00027481 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4761-14_0_6_load_65 | 37 | 0.00040219 | 0.0001008 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4761-14_0_6_load_43 | 38 | 0.00032456 | 8.1342e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4761-14_0_6_load_86 | 39 | 0.0019871 | 0.00049801 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4761-14_0_6_load_24 | 40 | 0.0013449 | 0.00033707 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4761-14_0_6_load_26 | 42 | 0.0011002 | 0.00027573 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4761-14_0_6_load_27 | 43 | 0.00029233 | 7.3264e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4761-14_0_6_load_58 | 46 | 0.0012273 | 0.0003076 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4761-14_0_6_load_31 | 48 | 0.00045025 | 0.00011284 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4761-14_0_6_load_28 | 49 | 0.00032324 | 8.1011e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4761-14_0_6_load_29 | 50 | 0.00289 | 0.0007243 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4761-14_0_6_load_33 | 51 | 0.00047108 | 0.00011806 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4761-14_0_6_load_34 | 52 | 0.010023 | 0.0025121 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4761-14_0_6_load_35 | 54 | 0.0038584 | 0.000967 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4761-14_0_6_load_39 | 56 | 0.003193 | 0.00080024 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4761-14_0_6_load_69 | 57 | 0.0022994 | 0.00057628 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4761-14_0_6_load_62 | 58 | 0.0029916 | 0.00074976 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4761-14_0_6_load_67 | 59 | 0.0013328 | 0.00033404 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4761-14_0_6_load_66 | 60 | 0.0033105 | 0.00082968 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4761-14_0_6_load_57 | 61 | 0.0029161 | 0.00073084 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4761-14_0_6_load_68 | 62 | 0.0021415 | 0.00053672 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4761-14_0_6_load_60 | 63 | 0.0020131 | 0.00050453 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4761-14_0_6_load_92 | 64 | 0.0028716 | 0.0007197 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4761-14_0_6_load_48 | 65 | 0.0031893 | 0.00079932 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4761-14_0_6_load_56 | 66 | 0.0060184 | 0.0015084 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4761-14_0_6_load_40 | 67 | 0.00081027 | 0.00020307 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4761-14_0_6_load_41 | 68 | 0.00037756 | 9.4625e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4761-14_0_6_load_42 | 69 | 0.00053367 | 0.00013375 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4761-14_0_6_load_44 | 70 | 0.00048528 | 0.00012162 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4761-14_0_6_load_73 | 71 | 0.001588 | 0.00039799 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4761-14_0_6_load_74 | 72 | 0.0057124 | 0.0014317 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4761-14_0_6_load_45 | 73 | 0.0016938 | 0.00042452 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4761-14_0_6_load_46 | 74 | 0.0039026 | 0.00097808 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4761-14_0_6_load_49 | 76 | 0.001105 | 0.00027693 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4761-14_0_6_load_55 | 78 | 0.0013364 | 0.00033494 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4761-14_0_6_load_53 | 79 | 0.0024159 | 0.00060549 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4761-14_0_6_load_54 | 80 | 0.0026329 | 0.00065986 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4761-14_0_6_load_70 | 81 | 0.00054525 | 0.00013665 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4761-14_0_6_load_79 | 82 | 0.0011531 | 0.00028899 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4761-14_0_6_load_78 | 83 | 0.0019121 | 0.00047922 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4761-14_0_6_load_71 | 84 | 0.0013952 | 0.00034967 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4761-14_0_6_load_59 | 85 | 0.0026201 | 0.00065666 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4761-14_0_6_load_61 | 86 | 0.0031314 | 0.0007848 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4761-14_0_6_load_63 | 87 | 0.0009103 | 0.00022814 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4761-14_0_6_load_90 | 88 | 0.0020553 | 0.00051511 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4761-14_0_6_load_77 | 90 | 0.00049087 | 0.00012302 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4761-14_0_6_load_81 | 92 | 0.0022375 | 0.00056078 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4761-14_0_6_load_80 | 94 | 0.0036022 | 0.00090279 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4761-14_0_6_load_105 | 95 | 0.0038366 | 0.00096153 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4761-14_0_6_load_89 | 96 | 0.0026615 | 0.00066704 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4761-14_0_6_load_84 | 97 | 0.0028516 | 0.00071468 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4761-14_0_6_load_85 | 98 | 0.0030357 | 0.00076083 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4761-14_0_6_load_87 | 99 | 0.0032933 | 0.00082538 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4761-14_0_6_load_112 | 100 | 0.0034143 | 0.0008557 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4761-14_0_6_load_113 | 101 | 0.0036792 | 0.0009221 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4761-14_0_6_load_88 | 102 | 0.0030581 | 0.00076644 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4761-14_0_6_load_114 | 103 | 0.0023413 | 0.00058679 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4761-14_0_6_load_93 | 104 | 0.0028133 | 0.00070508 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4761-14_0_6_load_95 | 105 | 0.0067652 | 0.0016955 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4761-14_0_6_load_97 | 106 | 0.0069365 | 0.0017384 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4761-14_0_6_load_106 | 107 | 0.0040988 | 0.0010273 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4761-14_0_6_load_104 | 108 | 0.0036595 | 0.00091717 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4761-14_0_6_load_98 | 109 | 0.0025216 | 0.00063196 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4761-14_0_6_load_99 | 110 | 0.002799 | 0.0007015 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4761-14_0_6_load_101 | 112 | 0.002173 | 0.0005446 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4761-14_0_6_load_102 | 113 | 0.0037951 | 0.00095115 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4761-14_0_6_load_110 | 114 | 0.0014621 | 0.00036645 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4761-14_0_6_load_103 | 115 | 0.0039166 | 0.00098159 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4761-14_0_6_load_108 | 116 | 0.002575 | 0.00064536 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4761-14_0_6_load_107 | 117 | 0.0026359 | 0.00066061 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4761-14_0_6_load_109 | 118 | 0.0040014 | 0.0010029 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4761-14_0_6_load_111 | 119 | 0.0026292 | 0.00065895 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4761-14_0_6_load_115 | 120 | 0.0087534 | 0.0021938 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4761-14_0_6_load_116 | 121 | 0.0020365 | 0.00051038 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4761-14_0_6_load_117 | 122 | 0.0016191 | 0.00040578 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4761-14_0_6_load_118 | 123 | 0.0033126 | 0.00083022 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4761-14_0_6_load_122 | 124 | 0.0024409 | 0.00061175 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4761-14_0_6_load_123 | 126 | 0.0017344 | 0.00043468 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4761-14_0_6_load_154 | 127 | 0.0015343 | 0.00038454 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4761-14_0_6_load_124 | 129 | 0.0027855 | 0.00069812 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4761-14_0_6_load_125 | 130 | 0.0069732 | 0.0017477 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4761-14_0_6_load_126 | 131 | 0.0019239 | 0.00048218 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4761-14_0_6_load_131 | 132 | 0.0040252 | 0.0010088 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4761-14_0_6_load_132 | 133 | 0.0068447 | 0.0017154 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4761-14_0_6_load_133 | 134 | 0.0072558 | 0.0018185 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4761-14_0_6_load_136 | 136 | 0.019269 | 0.0048293 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4761-14_0_6_load_138 | 137 | 0.010999 | 0.0027566 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4761-14_0_6_load_139 | 138 | 0.0070989 | 0.0017792 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4761-14_0_6_load_140 | 139 | 0.0041948 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4761-14_0_6_load_159 | 141 | 0.0013934 | 0.00034923 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4761-14_0_6_load_157 | 142 | 0.0050045 | 0.0012542 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4761-14_0_6_load_144 | 144 | 0.015452 | 0.0038725 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4761-14_0_6_load_145 | 145 | 0.0088501 | 0.002218 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4761-14_0_6_load_146 | 146 | 0.0047771 | 0.0011972 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4761-14_0_6_load_162 | 147 | 0.0021246 | 0.00053248 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4761-14_0_6_load_161 | 148 | 0.00090369 | 0.00022649 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4761-14_0_6_load_149 | 149 | 0.0013706 | 0.00034351 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4761-14_0_6_load_150 | 150 | 0.016861 | 0.0042257 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4761-14_0_6_load_152 | 151 | 0.0016964 | 0.00042517 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4761-14_0_6_load_153 | 152 | 0.0015579 | 0.00039046 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4761-14_0_6_load_155 | 153 | 0.034717 | 0.0087009 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4761-14_0_6_load_163 | 154 | 0.023305 | 0.0058407 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4761-14_0_6_load_156 | 155 | 0.0022527 | 0.00056457 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_4761-14_0_6_load_160 | 156 | 0.0020158 | 0.00050522 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 105 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4761-14_0_6_line_0 |  | 0 | 1 | 0.0076428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4761-14_0_6_line_1 |  | 0 | 2 | 0.0038225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4761-14_0_6_line_2 |  | 1 | 3 | 0.0051711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4761-14_0_6_line_3 |  | 2 | 4 | 0.01933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4761-14_0_6_line_4 |  | 3 | 5 | 0.013698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_4761-14_0_6_line_5 |  | 4 | 6 | 0.0067182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4761-14_0_6_line_6 |  | 5 | 7 | 0.0012084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4761-14_0_6_line_7 |  | 6 | 8 | 0.012778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4761-14_0_6_line_8 |  | 7 | 132 | 0.015831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_4761-14_0_6_line_9 |  | 8 | 131 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4761-14_0_6_line_10 |  | 9 | 10 | 0.00313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4761-14_0_6_line_11 |  | 9 | 11 | 0.013256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4761-14_0_6_line_12 |  | 10 | 12 | 0.015096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4761-14_0_6_line_13 |  | 11 | 13 | 0.0036263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4761-14_0_6_line_14 |  | 12 | 14 | 0.010487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4761-14_0_6_line_15 |  | 12 | 15 | 0.017822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4761-14_0_6_line_16 |  | 13 | 16 | 0.034313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4761-14_0_6_line_17 |  | 14 | 17 | 0.024651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4761-14_0_6_line_18 |  | 15 | 18 | 0.01877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4761-14_0_6_line_19 |  | 16 | 19 | 0.040636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4761-14_0_6_line_20 |  | 17 | 20 | 0.017006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4761-14_0_6_line_21 |  | 18 | 25 | 0.026267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4761-14_0_6_line_22 |  | 18 | 26 | 0.022682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4761-14_0_6_line_23 |  | 19 | 143 | 0.019305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4761-14_0_6_line_24 |  | 20 | 21 | 0.0035122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4761-14_0_6_line_25 |  | 21 | 22 | 0.019695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4761-14_0_6_line_26 |  | 22 | 23 | 0.00065466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4761-14_0_6_line_27 |  | 23 | 24 | 0.026077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4761-14_0_6_line_28 |  | 24 | 136 | 0.0050526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_4761-14_0_6_line_29 |  | 25 | 27 | 0.047185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4761-14_0_6_line_30 |  | 25 | 28 | 0.06112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4761-14_0_6_line_31 |  | 27 | 29 | 0.023427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4761-14_0_6_line_32 |  | 27 | 30 | 0.010209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4761-14_0_6_line_33 |  | 28 | 31 | 0.018924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4761-14_0_6_line_34 |  | 30 | 57 | 0.02164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_4761-14_0_6_line_35 |  | 30 | 54 | 0.013949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4761-14_0_6_line_36 |  | 31 | 104 | 0.025766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4761-14_0_6_line_37 |  | 32 | 33 | 0.035388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4761-14_0_6_line_38 |  | 32 | 34 | 0.10807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4761-14_0_6_line_39 |  | 34 | 35 | 0.29495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4761-14_0_6_line_40 |  | 35 | 39 | 0.08185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4761-14_0_6_line_41 |  | 36 | 37 | 0.046414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4761-14_0_6_line_42 |  | 36 | 38 | 0.028334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4761-14_0_6_line_43 |  | 38 | 68 | 0.022679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4761-14_0_6_line_44 |  | 39 | 97 | 0.0055086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4761-14_0_6_line_45 |  | 40 | 41 | 0.033837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4761-14_0_6_line_46 |  | 41 | 42 | 0.0068774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4761-14_0_6_line_47 |  | 41 | 43 | 0.00019354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4761-14_0_6_line_48 |  | 42 | 44 | 0.011718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4761-14_0_6_line_49 |  | 43 | 45 | 0.017752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4761-14_0_6_line_50 |  | 44 | 46 | 0.019537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4761-14_0_6_line_51 |  | 44 | 47 | 0.057882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4761-14_0_6_line_52 |  | 45 | 48 | 0.045495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4761-14_0_6_line_53 |  | 45 | 49 | 0.025301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4761-14_0_6_line_54 |  | 46 | 81 | 0.042298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4761-14_0_6_line_55 |  | 47 | 79 | 0.014112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4761-14_0_6_line_56 |  | 49 | 50 | 0.0032663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4761-14_0_6_line_57 |  | 50 | 51 | 0.1622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4761-14_0_6_line_58 |  | 52 | 53 | 0.0017156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4761-14_0_6_line_59 |  | 53 | 55 | 0.069157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4761-14_0_6_line_60 |  | 53 | 56 | 0.023299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_4761-14_0_6_line_61 |  | 55 | 58 | 0.017649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4761-14_0_6_line_62 |  | 55 | 59 | 0.041609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_4761-14_0_6_line_63 |  | 55 | 60 | 0.024533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4761-14_0_6_line_64 |  | 56 | 61 | 0.018008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_4761-14_0_6_line_65 |  | 57 | 62 | 0.025369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_4761-14_0_6_line_66 |  | 58 | 63 | 0.024097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4761-14_0_6_line_67 |  | 59 | 64 | 0.018864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4761-14_0_6_line_68 |  | 60 | 65 | 0.026127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4761-14_0_6_line_69 |  | 61 | 66 | 0.006302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_4761-14_0_6_line_70 |  | 62 | 77 | 0.030626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_4761-14_0_6_line_71 |  | 63 | 85 | 0.0037108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4761-14_0_6_line_72 |  | 64 | 88 | 0.0026823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4761-14_0_6_line_73 |  | 65 | 74 | 0.0231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4761-14_0_6_line_74 |  | 66 | 80 | 0.019663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_4761-14_0_6_line_75 |  | 67 | 68 | 0.0025592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4761-14_0_6_line_76 |  | 67 | 69 | 0.024804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4761-14_0_6_line_77 |  | 69 | 70 | 0.0082886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4761-14_0_6_line_78 |  | 70 | 71 | 0.01516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4761-14_0_6_line_79 |  | 71 | 72 | 0.017251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4761-14_0_6_line_80 |  | 72 | 91 | 0.048133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4761-14_0_6_line_81 |  | 73 | 74 | 0.0091531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4761-14_0_6_line_82 |  | 73 | 75 | 0.048077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4761-14_0_6_line_83 |  | 75 | 76 | 0.034563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4761-14_0_6_line_84 |  | 77 | 78 | 0.046447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_4761-14_0_6_line_85 |  | 78 | 80 | 0.017576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_4761-14_0_6_line_86 |  | 81 | 84 | 0.0328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4761-14_0_6_line_87 |  | 82 | 83 | 0.017655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4761-14_0_6_line_88 |  | 83 | 89 | 0.0068468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4761-14_0_6_line_89 |  | 84 | 89 | 0.02606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4761-14_0_6_line_90 |  | 85 | 86 | 0.022945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4761-14_0_6_line_91 |  | 86 | 87 | 0.025066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4761-14_0_6_line_92 |  | 88 | 102 | 0.034045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4761-14_0_6_line_93 |  | 89 | 90 | 0.0010603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4761-14_0_6_line_94 |  | 90 | 94 | 0.0096743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4761-14_0_6_line_95 |  | 91 | 92 | 0.027417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4761-14_0_6_line_96 |  | 91 | 93 | 0.032417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4761-14_0_6_line_97 |  | 92 | 94 | 0.020252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4761-14_0_6_line_98 |  | 93 | 95 | 0.016625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4761-14_0_6_line_99 |  | 93 | 96 | 0.014344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4761-14_0_6_line_100 |  | 95 | 103 | 0.013831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4761-14_0_6_line_101 |  | 96 | 102 | 0.0055873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4761-14_0_6_line_102 |  | 97 | 98 | 0.015814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4761-14_0_6_line_103 |  | 98 | 99 | 0.01111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4761-14_0_6_line_104 |  | 99 | 100 | 0.019049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4761-14_0_6_line_105 |  | 100 | 101 | 0.014026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4761-14_0_6_line_106 |  | 101 | 103 | 0.011779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4761-14_0_6_line_107 |  | 104 | 105 | 0.025693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_4761-14_0_6_line_108 |  | 105 | 106 | 0.041271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4761-14_0_6_line_109 |  | 106 | 107 | 0.031097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4761-14_0_6_line_110 |  | 107 | 108 | 0.026506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4761-14_0_6_line_111 |  | 108 | 115 | 0.022845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4761-14_0_6_line_112 |  | 109 | 110 | 0.010672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4761-14_0_6_line_113 |  | 109 | 111 | 0.04384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4761-14_0_6_line_114 |  | 110 | 112 | 0.030342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4761-14_0_6_line_115 |  | 111 | 113 | 0.019514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4761-14_0_6_line_116 |  | 112 | 114 | 0.025395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4761-14_0_6_line_117 |  | 113 | 115 | 0.022697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4761-14_0_6_line_118 |  | 114 | 116 | 0.00050038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4761-14_0_6_line_119 |  | 116 | 117 | 0.018201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4761-14_0_6_line_120 |  | 117 | 118 | 0.017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4761-14_0_6_line_121 |  | 118 | 119 | 0.0036674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4761-14_0_6_line_122 |  | 119 | 120 | 0.018339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4761-14_0_6_line_123 |  | 121 | 122 | 0.014671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4761-14_0_6_line_124 |  | 122 | 123 | 0.0089051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4761-14_0_6_line_125 |  | 123 | 124 | 0.033762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4761-14_0_6_line_126 |  | 124 | 125 | 0.014877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4761-14_0_6_line_127 |  | 125 | 126 | 0.011383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4761-14_0_6_line_128 |  | 126 | 129 | 0.013392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4761-14_0_6_line_129 |  | 127 | 128 | 0.026929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4761-14_0_6_line_130 |  | 128 | 152 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4761-14_0_6_line_131 |  | 128 | 149 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4761-14_0_6_line_132 |  | 129 | 130 | 0.0073169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4761-14_0_6_line_133 |  | 130 | 131 | 0.0083196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4761-14_0_6_line_134 |  | 132 | 133 | 0.0022205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
135 | LV_4761-14_0_6_line_135 |  | 133 | 134 | 0.015226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
136 | LV_4761-14_0_6_line_136 |  | 134 | 135 | 0.010633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
137 | LV_4761-14_0_6_line_137 |  | 135 | 136 | 0.028427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
138 | LV_4761-14_0_6_line_138 |  | 135 | 137 | 0.030528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
139 | LV_4761-14_0_6_line_139 |  | 137 | 138 | 0.019032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
140 | LV_4761-14_0_6_line_140 |  | 138 | 139 | 0.022783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
141 | LV_4761-14_0_6_line_141 |  | 139 | 140 | 0.027257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
142 | LV_4761-14_0_6_line_142 |  | 140 | 141 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4761-14_0_6_line_143 |  | 140 | 142 | 0.013105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
144 | LV_4761-14_0_6_line_144 |  | 141 | 156 | 0.020528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4761-14_0_6_line_145 |  | 142 | 155 | 0.020093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
146 | LV_4761-14_0_6_line_146 |  | 143 | 144 | 0.0091343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4761-14_0_6_line_147 |  | 144 | 145 | 0.022948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4761-14_0_6_line_148 |  | 145 | 146 | 0.025448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4761-14_0_6_line_149 |  | 147 | 148 | 0.019781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4761-14_0_6_line_150 |  | 148 | 156 | 0.011828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4761-14_0_6_line_151 |  | 149 | 150 | 0.01721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4761-14_0_6_line_152 |  | 150 | 151 | 0.019985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
153 | LV_4761-14_0_6_line_153 |  | 151 | 153 | 0.0062871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
154 | LV_4761-14_0_6_line_154 |  | 152 | 154 | 0.026689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4761-14_0_6_line_155 |  | 153 | 155 | 0.026631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4761-14_0_6_trafo_95 | 0.63 MVA 20/0.4 kV | 157 | 105 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2717269.4756 | 1257726.0535 | 2717276.5176 | 1257729.0237
1 | 2717269.4756 | 1257726.0535 | 2717265.9535 | 1257724.568
2 | 2717276.5176 | 1257729.0237 | 2717276.7633 | 1257729.1273 | 2717281.2901 | 1257731.0145
3 | 2717265.9535 | 1257724.568 | 2717248.1428 | 1257717.0559
4 | 2717281.2901 | 1257731.0145 | 2717293.9338 | 1257736.2856
5 | 2717248.1428 | 1257717.0559 | 2717241.9527 | 1257714.445
6 | 2717295.0491 | 1257736.7506 | 2717293.9338 | 1257736.2856
7 | 2717230.1787 | 1257709.479 | 2717241.9527 | 1257714.445
8 | 2717309.6615 | 1257742.8424 | 2717295.0491 | 1257736.7506
9 | 2717230.1787 | 1257709.479 | 2717219.9909 | 1257705.1821
10 | 2717455.8851 | 1257845.6417 | 2717454.0196 | 1257843.1284
11 | 2717455.8851 | 1257845.6417 | 2717463.7857 | 1257856.286
12 | 2717445.0223 | 1257831.0067 | 2717454.0196 | 1257843.1284
13 | 2717465.947 | 1257859.1978 | 2717463.7857 | 1257856.286
14 | 2717445.0223 | 1257831.0067 | 2717437.6209 | 1257823.5777
15 | 2717445.0223 | 1257831.0067 | 2717450.2257 | 1257826.4727 | 2717457.7718 | 1257821.3179 | 2717459.2213 | 1257820.2812
16 | 2717465.947 | 1257859.1978 | 2717477.503 | 1257874.7668 | 2717482.2082 | 1257884.6798 | 2717483.1388 | 1257888.5198
17 | 2717420.1916 | 1257806.145 | 2717422.8685 | 1257808.7702 | 2717437.6209 | 1257823.5777
18 | 2717474.4882 | 1257809.3616 | 2717459.2213 | 1257820.2812
19 | 2717484.4083 | 1257928.8283 | 2717486.1796 | 1257908.7572 | 2717484.1878 | 1257892.8484 | 2717483.1388 | 1257888.5198
20 | 2717407.747 | 1257794.5622 | 2717414.5237 | 1257800.5865 | 2717420.1916 | 1257806.145
21 | 2717474.4882 | 1257809.3616 | 2717491.7096 | 1257798.5607 | 2717497.382 | 1257796.616
22 | 2717474.4882 | 1257809.3616 | 2717493.1319 | 1257822.2808
23 | 2717484.4083 | 1257928.8283 | 2717480.1123 | 1257928.6873 | 2717479.1046 | 1257933.8607 | 2717477.8014 | 1257936.059 | 2717475.8211 | 1257937.7989 | 2717471.3042 | 1257938.5322
24 | 2717407.747 | 1257794.5622 | 2717405.122 | 1257792.2287
25 | 2717389.4881 | 1257780.3002 | 2717396.6923 | 1257785.1306 | 2717403.622 | 1257790.8953 | 2717405.122 | 1257792.2287
26 | 2717388.9444 | 1257779.9357 | 2717389.4881 | 1257780.3002
27 | 2717366.1322 | 1257767.3311 | 2717386.198 | 1257778.0942 | 2717388.9444 | 1257779.9357
28 | 2717366.1322 | 1257767.3311 | 2717365.4225 | 1257766.9504 | 2717361.5432 | 1257765.2212
29 | 2717539.8496 | 1257783.748 | 2717527.508 | 1257795.6688 | 2717497.382 | 1257796.616
30 | 2717497.382 | 1257796.616 | 2717480.7107 | 1257782.7621 | 2717454.2402 | 1257769.0138 | 2717446.085 | 1257763.9197
31 | 2717539.8496 | 1257783.748 | 2717549.5069 | 1257783.5618 | 2717560.312 | 1257792.0949
32 | 2717539.8496 | 1257783.748 | 2717538.5349 | 1257773.6243
33 | 2717430.0351 | 1257753.894 | 2717446.085 | 1257763.9197
34 | 2717538.5349 | 1257773.6243 | 2717559.6697 | 1257768.9755
35 | 2717538.5349 | 1257773.6243 | 2717531.6053 | 1257761.5178
36 | 2717408.1818 | 1257740.2433 | 2717430.0351 | 1257753.894
37 | 2717383.0702 | 1257132.5328 | 2717415.9954 | 1257119.5621
38 | 2717281.6843 | 1257169.7873 | 2717317.0942 | 1257158.5236 | 2717383.0702 | 1257132.5328
39 | 2717294.4324 | 1257464.4635 | 2717281.6843 | 1257169.7873
40 | 2717333.3257 | 1257536.482 | 2717294.4324 | 1257464.4635
41 | 2717545.549 | 1257416.1217 | 2717573.7061 | 1257438.8115 | 2717581.9216 | 1257444.9456
42 | 2717545.549 | 1257416.1217 | 2717526.7101 | 1257437.2854
43 | 2717526.7101 | 1257437.2854 | 2717523.8479 | 1257440.5007 | 2717513.348 | 1257455.5794
44 | 2717333.3257 | 1257536.482 | 2717338.4156 | 1257538.5884
45 | 2717638.8735 | 1257510.7794 | 2717657.2138 | 1257534.0306 | 2717660.8706 | 1257536.1423
46 | 2717638.8735 | 1257510.7794 | 2717632.6103 | 1257513.6203
47 | 2717638.8735 | 1257510.7794 | 2717639.0601 | 1257510.7281
48 | 2717621.9393 | 1257518.4606 | 2717632.6103 | 1257513.6203
49 | 2717656.1793 | 1257506.0303 | 2717639.0601 | 1257510.7281
50 | 2717621.9393 | 1257518.4606 | 2717603.6132 | 1257525.2333
51 | 2717621.9393 | 1257518.4606 | 2717611.223 | 1257552.1546 | 2717608.3952 | 1257574.5066
52 | 2717656.1793 | 1257506.0303 | 2717653.3 | 1257497.9772 | 2717644.5996 | 1257491.7434 | 2717623.574 | 1257476.0448
53 | 2717656.1793 | 1257506.0303 | 2717676.8253 | 1257500.2023 | 2717680.4641 | 1257498.9488
54 | 2717603.6132 | 1257525.2333 | 2717595.8399 | 1257528.106 | 2717570.9917 | 1257533.6283 | 2717562.5639 | 1257535.1044
55 | 2717608.3952 | 1257574.5066 | 2717594.6906 | 1257571.1407
56 | 2717683.5522 | 1257497.885 | 2717680.4641 | 1257498.9488
57 | 2717683.5522 | 1257497.885 | 2717816.812 | 1257405.4159
58 | 2717515.0687 | 1257708.1241 | 2717515.1374 | 1257709.8383
59 | 2717530.6995 | 1257640.754 | 2717515.0687 | 1257708.1241
60 | 2717515.0687 | 1257708.1241 | 2717538.3533 | 1257708.9556
61 | 2717530.6995 | 1257640.754 | 2717536.413 | 1257624.055
62 | 2717530.6995 | 1257640.754 | 2717517.7546 | 1257631.7781 | 2717495.5782 | 1257618.4828
63 | 2717530.6995 | 1257640.754 | 2717551.803 | 1257653.2652
64 | 2717538.3533 | 1257708.9556 | 2717556.3494 | 1257709.5984
65 | 2717584.6097 | 1257764.3405 | 2717563.0173 | 1257768.2391 | 2717559.6697 | 1257768.9755
66 | 2717536.413 | 1257624.055 | 2717537.3774 | 1257621.2364 | 2717541.6717 | 1257619.1977 | 2717557.6994 | 1257622.4992
67 | 2717479.1106 | 1257609.2942 | 2717489.1115 | 1257614.6059 | 2717495.5782 | 1257618.4828
68 | 2717551.803 | 1257653.2652 | 2717574.2775 | 1257666.5892
69 | 2717556.3494 | 1257709.5984 | 2717562.6474 | 1257709.8233
70 | 2717615.098 | 1257762.3575 | 2717592.7562 | 1257762.8696 | 2717584.6097 | 1257764.3405
71 | 2717561.3339 | 1257623.2478 | 2717557.6994 | 1257622.4992
72 | 2717479.1106 | 1257609.2942 | 2717476.7417 | 1257608.0359
73 | 2717574.2775 | 1257666.5892 | 2717594.1484 | 1257678.3696
74 | 2717581.6721 | 1257713.821 | 2717571.2317 | 1257710.1299 | 2717562.6474 | 1257709.8233
75 | 2717511.8855 | 1257457.6796 | 2717513.348 | 1257455.5794
76 | 2717511.8855 | 1257457.6796 | 2717497.7112 | 1257478.0347
77 | 2717497.7112 | 1257478.0347 | 2717492.9747 | 1257484.8366
78 | 2717484.3117 | 1257497.2773 | 2717492.9747 | 1257484.8366
79 | 2717474.4538 | 1257511.4339 | 2717484.3117 | 1257497.2773
80 | 2717446.361 | 1257550.5134 | 2717463.842 | 1257526.673 | 2717474.4538 | 1257511.4339
81 | 2717602.0218 | 1257683.0374 | 2717594.1484 | 1257678.3696
82 | 2717638.32 | 1257713.7992 | 2717619.5534 | 1257693.4309 | 2717602.0218 | 1257683.0374
83 | 2717638.32 | 1257713.7992 | 2717642.1112 | 1257697.238 | 2717643.0998 | 1257679.6919
84 | 2717615.098 | 1257762.3575 | 2717612.3359 | 1257741.2066 | 2717601.6701 | 1257724.2133 | 2717597.3293 | 1257721.6266
85 | 2717581.6721 | 1257713.821 | 2717587.9628 | 1257716.0451 | 2717597.3293 | 1257721.6266
86 | 2717530.1762 | 1257540.1764 | 2717537.8036 | 1257539.4409 | 2717562.5639 | 1257535.1044
87 | 2717505.8697 | 1257549.3266 | 2717523.0149 | 1257553.5374
88 | 2717504.2369 | 1257542.6774 | 2717505.8697 | 1257549.3266
89 | 2717504.2369 | 1257542.6774 | 2717530.1762 | 1257540.1764
90 | 2717561.3339 | 1257623.2478 | 2717583.8069 | 1257627.877
91 | 2717608.3572 | 1257632.934 | 2717583.8069 | 1257627.877
92 | 2717446.6747 | 1257592.0666 | 2717446.6747 | 1257592.0666 | 2717476.7417 | 1257608.0359
93 | 2717504.2369 | 1257542.6774 | 2717503.1862 | 1257542.8196
94 | 2717503.1862 | 1257542.8196 | 2717493.5994 | 1257544.1176
95 | 2717446.361 | 1257550.5134 | 2717473.5304 | 1257546.8348
96 | 2717446.361 | 1257550.5134 | 2717433.1418 | 1257564.4521 | 2717432.8792 | 1257577.6805
97 | 2717493.5994 | 1257544.1176 | 2717473.5304 | 1257546.8348
98 | 2717432.8792 | 1257577.6805 | 2717417.5178 | 1257571.3234
99 | 2717432.8792 | 1257577.6805 | 2717442.8075 | 1257588.0338
100 | 2717404.7377 | 1257566.0346 | 2717417.5178 | 1257571.3234
101 | 2717446.6747 | 1257592.0666 | 2717442.8075 | 1257588.0338
102 | 2717338.4156 | 1257538.5884 | 2717353.0276 | 1257544.6353
103 | 2717353.0276 | 1257544.6353 | 2717363.293 | 1257548.8835
104 | 2717380.8943 | 1257556.1674 | 2717363.293 | 1257548.8835
105 | 2717380.8943 | 1257556.1674 | 2717393.8542 | 1257561.5307
106 | 2717404.7377 | 1257566.0346 | 2717393.8542 | 1257561.5307
107 | 2717408.1818 | 1257740.2433 | 2717390.2337 | 1257729.0319 | 2717387.1176 | 1257725.7425
108 | 2717387.1176 | 1257725.7425 | 2717358.7343 | 1257695.7806
109 | 2717334.269 | 1257676.5933 | 2717358.4318 | 1257695.4613 | 2717358.7343 | 1257695.7806
110 | 2717334.269 | 1257676.5933 | 2717313.3778 | 1257660.2799
111 | 2717295.372 | 1257646.2198 | 2717313.3778 | 1257660.2799
112 | 2717271.146 | 1257592.8463 | 2717274.7125 | 1257592.9248 | 2717281.4506 | 1257595.1758
113 | 2717261.228 | 1257621.4156 | 2717254.1621 | 1257606.9076 | 2717254.3038 | 1257599.7598 | 2717259.386 | 1257592.5876 | 2717271.146 | 1257592.8463
114 | 2717281.4506 | 1257595.1758 | 2717310.2292 | 1257604.7897
115 | 2717261.228 | 1257621.4156 | 2717277.1503 | 1257632.698
116 | 2717334.1477 | 1257613.3183 | 2717315.2692 | 1257606.4734 | 2717310.2292 | 1257604.7897
117 | 2717277.1503 | 1257632.698 | 2717286.9322 | 1257639.6294 | 2717295.372 | 1257646.2198
118 | 2717334.6181 | 1257613.4888 | 2717334.1477 | 1257613.3183
119 | 2717351.7111 | 1257619.7306 | 2717351.5122 | 1257619.6142 | 2717334.6181 | 1257613.4888
120 | 2717351.7111 | 1257619.7306 | 2717367.0256 | 1257628.6971
121 | 2717370.1904 | 1257630.55 | 2717367.0256 | 1257628.6971
122 | 2717386.0161 | 1257639.8157 | 2717370.1904 | 1257630.55
123 | 2717188.523 | 1257630.8305 | 2717192.3644 | 1257633.4401 | 2717200.3101 | 1257639.5565
124 | 2717200.3101 | 1257639.5565 | 2717203.6635 | 1257642.1379 | 2717204.9016 | 1257646.6441 | 2717204.9016 | 1257646.6441
125 | 2717204.9016 | 1257646.6441 | 2717202.5254 | 1257653.136 | 2717189.7168 | 1257676.7322
126 | 2717182.6195 | 1257689.8068 | 2717189.7168 | 1257676.7322
127 | 2717182.6195 | 1257689.8068 | 2717186.5099 | 1257691.3963 | 2717193.173 | 1257694.0728
128 | 2717193.173 | 1257694.0728 | 2717203.2256 | 1257698.1108 | 2717205.5835 | 1257699.1053
129 | 2717197.179 | 1257766.1387 | 2717182.3868 | 1257753.7018 | 2717177.2355 | 1257748.1091
130 | 2717197.179 | 1257766.1387 | 2717203.9944 | 1257756.6111
131 | 2717197.179 | 1257766.1387 | 2717206.7866 | 1257774.0937
132 | 2717212.3252 | 1257701.9489 | 2717205.5835 | 1257699.1053
133 | 2717212.3252 | 1257701.9489 | 2717219.9909 | 1257705.1821
134 | 2717309.6615 | 1257742.8424 | 2717311.7109 | 1257743.6968
135 | 2717325.7646 | 1257749.5557 | 2717311.7109 | 1257743.6968
136 | 2717335.5792 | 1257753.6473 | 2717325.7646 | 1257749.5557
137 | 2717335.5792 | 1257753.6473 | 2717361.5432 | 1257765.2212
138 | 2717335.5792 | 1257753.6473 | 2717322.9636 | 1257781.4466
139 | 2717312.8773 | 1257797.5759 | 2717322.5899 | 1257782.2701 | 2717322.9636 | 1257781.4466
140 | 2717301.2979 | 1257817.1957 | 2717311.7528 | 1257799.3479 | 2717312.8773 | 1257797.5759
141 | 2717286.3606 | 1257839.9798 | 2717297.4442 | 1257823.7743 | 2717301.2979 | 1257817.1957
142 | 2717286.3606 | 1257839.9798 | 2717296.3836 | 1257850.2539 | 2717298.0252 | 1257852.8973
143 | 2717286.3606 | 1257839.9798 | 2717276.2669 | 1257831.6223
144 | 2717298.0252 | 1257852.8973 | 2717308.8551 | 1257870.3361
145 | 2717260.7908 | 1257818.8083 | 2717276.2669 | 1257831.6223
146 | 2717471.3042 | 1257938.5322 | 2717462.287 | 1257939.9908
147 | 2717462.287 | 1257939.9908 | 2717450.8533 | 1257941.8403 | 2717440.0657 | 1257945.4174
148 | 2717440.0657 | 1257945.4174 | 2717430.8872 | 1257948.461 | 2717416.6537 | 1257955.2705
149 | 2717314.3286 | 1257880.7934 | 2717318.904 | 1257890.902 | 2717321.4272 | 1257899.2127
150 | 2717314.3286 | 1257880.7934 | 2717311.585 | 1257874.7318 | 2717308.8551 | 1257870.3361
151 | 2717206.7866 | 1257774.0937 | 2717220.0425 | 1257785.0693
152 | 2717235.4356 | 1257797.8146 | 2717220.0425 | 1257785.0693
153 | 2717235.4356 | 1257797.8146 | 2717240.2782 | 1257801.8242
154 | 2717222.0126 | 1257739.9745 | 2717216.0512 | 1257739.7562 | 2717203.9944 | 1257756.6111
155 | 2717260.7908 | 1257818.8083 | 2717240.2782 | 1257801.8242

## bus_geodata
| x | y | coords
0 | 2717269.4756 | 1257726.0535
1 | 2717276.5176 | 1257729.0237
2 | 2717265.9535 | 1257724.568
3 | 2717281.2901 | 1257731.0145
4 | 2717248.1428 | 1257717.0559
5 | 2717293.9338 | 1257736.2856
6 | 2717241.9527 | 1257714.445
7 | 2717295.0491 | 1257736.7506
8 | 2717230.1787 | 1257709.479
9 | 2717455.8851 | 1257845.6417
10 | 2717454.0196 | 1257843.1284
11 | 2717463.7857 | 1257856.286
12 | 2717445.0223 | 1257831.0067
13 | 2717465.947 | 1257859.1978
14 | 2717437.6209 | 1257823.5777
15 | 2717459.2213 | 1257820.2812
16 | 2717483.1388 | 1257888.5198
17 | 2717420.1916 | 1257806.145
18 | 2717474.4882 | 1257809.3616
19 | 2717484.4083 | 1257928.8283
20 | 2717407.747 | 1257794.5622
21 | 2717405.122 | 1257792.2287
22 | 2717389.4881 | 1257780.3002
23 | 2717388.9444 | 1257779.9357
24 | 2717366.1322 | 1257767.3311
25 | 2717497.382 | 1257796.616
26 | 2717493.1319 | 1257822.2808
27 | 2717539.8496 | 1257783.748
28 | 2717446.085 | 1257763.9197
29 | 2717560.312 | 1257792.0949
30 | 2717538.5349 | 1257773.6243
31 | 2717430.0351 | 1257753.894
32 | 2717383.0702 | 1257132.5328
33 | 2717415.9954 | 1257119.5621
34 | 2717281.6843 | 1257169.7873
35 | 2717294.4324 | 1257464.4635
36 | 2717545.549 | 1257416.1217
37 | 2717581.9216 | 1257444.9456
38 | 2717526.7101 | 1257437.2854
39 | 2717333.3257 | 1257536.482
40 | 2717660.8706 | 1257536.1423
41 | 2717638.8735 | 1257510.7794
42 | 2717632.6103 | 1257513.6203
43 | 2717639.0601 | 1257510.7281
44 | 2717621.9393 | 1257518.4606
45 | 2717656.1793 | 1257506.0303
46 | 2717603.6132 | 1257525.2333
47 | 2717608.3952 | 1257574.5066
48 | 2717623.574 | 1257476.0448
49 | 2717680.4641 | 1257498.9488
50 | 2717683.5522 | 1257497.885
51 | 2717816.812 | 1257405.4159
52 | 2717515.1374 | 1257709.8383
53 | 2717515.0687 | 1257708.1241
54 | 2717531.6053 | 1257761.5178
55 | 2717530.6995 | 1257640.754
56 | 2717538.3533 | 1257708.9556
57 | 2717559.6697 | 1257768.9755
58 | 2717536.413 | 1257624.055
59 | 2717495.5782 | 1257618.4828
60 | 2717551.803 | 1257653.2652
61 | 2717556.3494 | 1257709.5984
62 | 2717584.6097 | 1257764.3405
63 | 2717557.6994 | 1257622.4992
64 | 2717479.1106 | 1257609.2942
65 | 2717574.2775 | 1257666.5892
66 | 2717562.6474 | 1257709.8233
67 | 2717511.8855 | 1257457.6796
68 | 2717513.348 | 1257455.5794
69 | 2717497.7112 | 1257478.0347
70 | 2717492.9747 | 1257484.8366
71 | 2717484.3117 | 1257497.2773
72 | 2717474.4538 | 1257511.4339
73 | 2717602.0218 | 1257683.0374
74 | 2717594.1484 | 1257678.3696
75 | 2717638.32 | 1257713.7992
76 | 2717643.0998 | 1257679.6919
77 | 2717615.098 | 1257762.3575
78 | 2717597.3293 | 1257721.6266
79 | 2717594.6906 | 1257571.1407
80 | 2717581.6721 | 1257713.821
81 | 2717562.5639 | 1257535.1044
82 | 2717523.0149 | 1257553.5374
83 | 2717505.8697 | 1257549.3266
84 | 2717530.1762 | 1257540.1764
85 | 2717561.3339 | 1257623.2478
86 | 2717583.8069 | 1257627.877
87 | 2717608.3572 | 1257632.934
88 | 2717476.7417 | 1257608.0359
89 | 2717504.2369 | 1257542.6774
90 | 2717503.1863 | 1257542.8196
91 | 2717446.361 | 1257550.5134
92 | 2717473.5304 | 1257546.8348
93 | 2717432.8792 | 1257577.6805
94 | 2717493.5994 | 1257544.1176
95 | 2717417.5178 | 1257571.3234
96 | 2717442.8075 | 1257588.0338
97 | 2717338.4156 | 1257538.5884
98 | 2717353.0276 | 1257544.6353
99 | 2717363.293 | 1257548.8835
100 | 2717380.8943 | 1257556.1674
101 | 2717393.8542 | 1257561.5307
102 | 2717446.6747 | 1257592.0666
103 | 2717404.7377 | 1257566.0346
104 | 2717408.1818 | 1257740.2433
105 | 2717387.1176 | 1257725.7425
106 | 2717358.7343 | 1257695.7806
107 | 2717334.269 | 1257676.5933
108 | 2717313.3778 | 1257660.2799
109 | 2717271.146 | 1257592.8463
110 | 2717281.4506 | 1257595.1758
111 | 2717261.228 | 1257621.4156
112 | 2717310.2292 | 1257604.7897
113 | 2717277.1503 | 1257632.698
114 | 2717334.1477 | 1257613.3183
115 | 2717295.372 | 1257646.2198
116 | 2717334.6181 | 1257613.4888
117 | 2717351.7111 | 1257619.7306
118 | 2717367.0256 | 1257628.6971
119 | 2717370.1904 | 1257630.55
120 | 2717386.0161 | 1257639.8157
121 | 2717188.523 | 1257630.8305
122 | 2717200.3101 | 1257639.5565
123 | 2717204.9016 | 1257646.6441
124 | 2717189.7168 | 1257676.7322
125 | 2717182.6195 | 1257689.8068
126 | 2717193.173 | 1257694.0728
127 | 2717177.2355 | 1257748.1091
128 | 2717197.179 | 1257766.1387
129 | 2717205.5835 | 1257699.1053
130 | 2717212.3252 | 1257701.9489
131 | 2717219.9909 | 1257705.1821
132 | 2717309.6615 | 1257742.8424
133 | 2717311.7109 | 1257743.6968
134 | 2717325.7646 | 1257749.5557
135 | 2717335.5792 | 1257753.6473
136 | 2717361.5432 | 1257765.2212
137 | 2717322.9636 | 1257781.4466
138 | 2717312.8773 | 1257797.5759
139 | 2717301.2979 | 1257817.1957
140 | 2717286.3606 | 1257839.9798
141 | 2717298.0252 | 1257852.8973
142 | 2717276.2669 | 1257831.6223
143 | 2717471.3042 | 1257938.5322
144 | 2717462.287 | 1257939.9908
145 | 2717440.0657 | 1257945.4174
146 | 2717416.6537 | 1257955.2705
147 | 2717321.4272 | 1257899.2127
148 | 2717314.3286 | 1257880.7934
149 | 2717206.7866 | 1257774.0937
150 | 2717220.0425 | 1257785.0693
151 | 2717235.4356 | 1257797.8146
152 | 2717203.9944 | 1257756.6111
153 | 2717240.2782 | 1257801.8242
154 | 2717222.0126 | 1257739.9745
155 | 2717260.7908 | 1257818.8083
156 | 2717308.8551 | 1257870.3361
157 | 2717497.382 | 1257796.616

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1