## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4761-16_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4761-16_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4761-16_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4761-16_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4761-16_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4761-16_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4761-16_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4761-16_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4761-16_0_5_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_4761-16_0_5_node_108 | 0.4 | n |  | TRUE
10 | bus_LV_4761-16_0_5_node_107 | 0.4 | n |  | TRUE
11 | bus_LV_4761-16_0_5_node_84 | 0.4 | n |  | TRUE
12 | bus_LV_4761-16_0_5_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_4761-16_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4761-16_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4761-16_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4761-16_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4761-16_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4761-16_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4761-16_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4761-16_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4761-16_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4761-16_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_4761-16_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4761-16_0_5_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_4761-16_0_5_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4761-16_0_5_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_4761-16_0_5_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_4761-16_0_5_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_4761-16_0_5_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_4761-16_0_5_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_4761-16_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4761-16_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_4761-16_0_5_node_105 | 0.4 | n |  | TRUE
34 | bus_LV_4761-16_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4761-16_0_5_node_104 | 0.4 | n |  | TRUE
36 | bus_LV_4761-16_0_5_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_4761-16_0_5_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4761-16_0_5_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_4761-16_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_4761-16_0_5_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_4761-16_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4761-16_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_4761-16_0_5_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_4761-16_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4761-16_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_4761-16_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4761-16_0_5_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_4761-16_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4761-16_0_5_node_97 | 0.4 | n |  | TRUE
50 | bus_LV_4761-16_0_5_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_4761-16_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4761-16_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_4761-16_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_4761-16_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_4761-16_0_5_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_4761-16_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_4761-16_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_4761-16_0_5_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4761-16_0_5_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4761-16_0_5_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_4761-16_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4761-16_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_4761-16_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_4761-16_0_5_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_4761-16_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_4761-16_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4761-16_0_5_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_4761-16_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_4761-16_0_5_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_4761-16_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4761-16_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4761-16_0_5_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_4761-16_0_5_node_76 | 0.4 | n |  | TRUE
74 | bus_LV_4761-16_0_5_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_4761-16_0_5_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_4761-16_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4761-16_0_5_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_4761-16_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_4761-16_0_5_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_4761-16_0_5_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_4761-16_0_5_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_4761-16_0_5_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_4761-16_0_5_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_4761-16_0_5_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_4761-16_0_5_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_4761-16_0_5_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_4761-16_0_5_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_4761-16_0_5_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_4761-16_0_5_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_4761-16_0_5_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_4761-16_0_5_node_98 | 0.4 | n |  | TRUE
92 | bus_LV_4761-16_0_5_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_4761-16_0_5_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_4761-16_0_5_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_4761-16_0_5_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_4761-16_0_5_node_103 | 0.4 | n |  | TRUE
97 | bus_LV_4761-16_0_5_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_4761-16_0_5_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_4761-16_0_5_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_4761-16_0_5_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_4761-16_0_5_node_91 | 0.4 | n |  | TRUE
102 | bus_LV_4761-16_0_5_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_4761-16_0_5_node_106 | 0.4 | n |  | TRUE
104 | bus_LV_4761-16_0_5_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_4761-16_0_5_node_101 | 0.4 | n |  | TRUE
106 | bus_MV_35_1_node_193 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4761-16_0_5_load_0 | 0 | 0.0053474 | 0.0013402 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4761-16_0_5_load_1 | 1 | 0.0066104 | 0.0016567 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4761-16_0_5_load_2 | 2 | 0.0066691 | 0.0016714 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4761-16_0_5_load_3 | 3 | 0.0052163 | 0.0013073 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4761-16_0_5_load_5 | 5 | 0.0061856 | 0.0015502 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4761-16_0_5_load_7 | 7 | 0.0072766 | 0.0018237 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4761-16_0_5_load_108 | 9 | 0.0096223 | 0.0024116 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4761-16_0_5_load_107 | 10 | 0.017026 | 0.0042672 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4761-16_0_5_load_84 | 11 | 0.0047706 | 0.0011956 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4761-16_0_5_load_42 | 12 | 0.0057664 | 0.0014452 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4761-16_0_5_load_8 | 13 | 0.0030753 | 0.00077073 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4761-16_0_5_load_9 | 14 | 0.0038397 | 0.00096232 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4761-16_0_5_load_11 | 16 | 0.0087867 | 0.0022022 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4761-16_0_5_load_12 | 17 | 0.0031241 | 0.00078297 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4761-16_0_5_load_13 | 18 | 0.002424 | 0.00060752 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4761-16_0_5_load_15 | 19 | 0.0022787 | 0.00057109 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4761-16_0_5_load_18 | 20 | 0.0034018 | 0.00085257 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4761-16_0_5_load_14 | 21 | 0.0016519 | 0.000414 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4761-16_0_5_load_16 | 22 | 0.0021249 | 0.00053254 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4761-16_0_5_load_17 | 23 | 0.0025062 | 0.00062812 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4761-16_0_5_load_20 | 24 | 0.0017326 | 0.00043422 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4761-16_0_5_load_21 | 25 | 0.0022682 | 0.00056846 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4761-16_0_5_load_92 | 27 | 0.0050512 | 0.001266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4761-16_0_5_load_46 | 28 | 0.016051 | 0.0040226 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4761-16_0_5_load_49 | 29 | 0.010559 | 0.0026462 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4761-16_0_5_load_22 | 31 | 0.0026137 | 0.00065505 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4761-16_0_5_load_23 | 32 | 0.0017108 | 0.00042877 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4761-16_0_5_load_105 | 33 | 0.0043149 | 0.0010814 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4761-16_0_5_load_24 | 34 | 0.0022755 | 0.00057028 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4761-16_0_5_load_104 | 35 | 0.0024971 | 0.00062582 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4761-16_0_5_load_25 | 36 | 0.0022352 | 0.00056019 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4761-16_0_5_load_27 | 38 | 0.002306 | 0.00057793 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4761-16_0_5_load_28 | 39 | 0.015226 | 0.0038161 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4761-16_0_5_load_29 | 40 | 0.0027593 | 0.00069154 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4761-16_0_5_load_34 | 41 | 0.0037096 | 0.00092972 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4761-16_0_5_load_30 | 43 | 0.0025899 | 0.00064908 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4761-16_0_5_load_31 | 44 | 0.003183 | 0.00079773 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4761-16_0_5_load_78 | 47 | 0.0016502 | 0.00041359 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4761-16_0_5_load_97 | 49 | 0.0023174 | 0.0005808 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4761-16_0_5_load_77 | 50 | 0.0016502 | 0.00041359 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4761-16_0_5_load_40 | 51 | 0.0027564 | 0.00069081 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4761-16_0_5_load_36 | 52 | 0.0069275 | 0.0017362 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4761-16_0_5_load_37 | 53 | 0.0070937 | 0.0017779 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4761-16_0_5_load_41 | 55 | 0.01447 | 0.0036265 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4761-16_0_5_load_43 | 56 | 0.010937 | 0.002741 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4761-16_0_5_load_45 | 58 | 0.010716 | 0.0026857 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4761-16_0_5_load_47 | 59 | 0.0032418 | 0.00081248 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4761-16_0_5_load_93 | 60 | 0.019973 | 0.0050058 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4761-16_0_5_load_51 | 61 | 0.0022468 | 0.00056309 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4761-16_0_5_load_52 | 62 | 0.0022734 | 0.00056976 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4761-16_0_5_load_53 | 63 | 0.0023839 | 0.00059746 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4761-16_0_5_load_54 | 64 | 0.0025023 | 0.00062712 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4761-16_0_5_load_55 | 65 | 0.0021316 | 0.00053424 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4761-16_0_5_load_56 | 66 | 0.0039678 | 0.00099443 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4761-16_0_5_load_60 | 67 | 0.0022827 | 0.00057209 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4761-16_0_5_load_59 | 68 | 0.0019907 | 0.00049892 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4761-16_0_5_load_62 | 70 | 0.0022169 | 0.0005556 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4761-16_0_5_load_79 | 72 | 0.0019425 | 0.00048683 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4761-16_0_5_load_76 | 73 | 0.0036514 | 0.00091512 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4761-16_0_5_load_80 | 74 | 0.0043073 | 0.0010795 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4761-16_0_5_load_73 | 75 | 0.0016733 | 0.00041936 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4761-16_0_5_load_64 | 76 | 0.0019948 | 0.00049995 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4761-16_0_5_load_66 | 78 | 0.0016019 | 0.00040147 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4761-16_0_5_load_67 | 79 | 0.0016502 | 0.00041359 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4761-16_0_5_load_68 | 80 | 0.001356 | 0.00033984 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4761-16_0_5_load_86 | 82 | 0.0017443 | 0.00043717 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4761-16_0_5_load_74 | 83 | 0.002188 | 0.00054837 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4761-16_0_5_load_69 | 84 | 0.0033052 | 0.00082836 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4761-16_0_5_load_70 | 85 | 0.0016523 | 0.00041411 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4761-16_0_5_load_75 | 88 | 0.0027519 | 0.00068969 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4761-16_0_5_load_81 | 89 | 0.0055487 | 0.0013906 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4761-16_0_5_load_82 | 90 | 0.0017147 | 0.00042973 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4761-16_0_5_load_98 | 91 | 0.0047722 | 0.001196 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4761-16_0_5_load_102 | 92 | 0.0029207 | 0.00073198 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4761-16_0_5_load_99 | 93 | 0.0023171 | 0.00058072 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4761-16_0_5_load_88 | 94 | 0.0018537 | 0.00046458 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4761-16_0_5_load_87 | 95 | 0.003869 | 0.00096966 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4761-16_0_5_load_103 | 96 | 0.0023828 | 0.00059718 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4761-16_0_5_load_96 | 97 | 0.0018819 | 0.00047165 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4761-16_0_5_load_95 | 98 | 0.0044687 | 0.00112 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4761-16_0_5_load_89 | 99 | 0.0025113 | 0.00062939 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4761-16_0_5_load_90 | 100 | 0.005025 | 0.0012594 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4761-16_0_5_load_91 | 101 | 0.0042278 | 0.0010596 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4761-16_0_5_load_94 | 102 | 0.0020868 | 0.00052301 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4761-16_0_5_load_106 | 103 | 0.005831 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4761-16_0_5_load_100 | 104 | 0.0018368 | 0.00046035 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4761-16_0_5_load_101 | 105 | 0.0024188 | 0.00060622 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4761-16_0_5_line_0 |  | 0 | 1 | 0.019535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4761-16_0_5_line_1 |  | 0 | 2 | 0.01282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4761-16_0_5_line_2 |  | 1 | 3 | 0.0053023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4761-16_0_5_line_3 |  | 3 | 4 | 0.015418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4761-16_0_5_line_4 |  | 4 | 5 | 0.021868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4761-16_0_5_line_5 |  | 4 | 6 | 0.028385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4761-16_0_5_line_6 |  | 5 | 7 | 0.0038513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4761-16_0_5_line_7 |  | 6 | 8 | 0.012101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4761-16_0_5_line_8 |  | 6 | 9 | 0.017115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4761-16_0_5_line_9 |  | 7 | 10 | 0.032748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4761-16_0_5_line_10 |  | 8 | 11 | 0.016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4761-16_0_5_line_11 |  | 8 | 12 | 0.0090098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4761-16_0_5_line_12 |  | 12 | 54 | 0.0398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4761-16_0_5_line_13 |  | 13 | 14 | 0.022605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4761-16_0_5_line_14 |  | 13 | 15 | 0.012172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4761-16_0_5_line_15 |  | 14 | 16 | 0.027993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4761-16_0_5_line_16 |  | 15 | 17 | 0.020984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4761-16_0_5_line_17 |  | 15 | 18 | 0.017953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4761-16_0_5_line_18 |  | 17 | 19 | 0.012871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4761-16_0_5_line_19 |  | 18 | 20 | 0.028001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4761-16_0_5_line_20 |  | 19 | 21 | 0.0067145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4761-16_0_5_line_21 |  | 21 | 22 | 0.024544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4761-16_0_5_line_22 |  | 22 | 23 | 0.011434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4761-16_0_5_line_23 |  | 23 | 24 | 0.022634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4761-16_0_5_line_24 |  | 24 | 25 | 0.018152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4761-16_0_5_line_25 |  | 25 | 31 | 0.01323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4761-16_0_5_line_26 |  | 26 | 27 | 0.029625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4761-16_0_5_line_27 |  | 26 | 28 | 0.032855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4761-16_0_5_line_28 |  | 27 | 60 | 0.016311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4761-16_0_5_line_29 |  | 28 | 57 | 0.0186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4761-16_0_5_line_30 |  | 29 | 30 | 0.023013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4761-16_0_5_line_31 |  | 30 | 59 | 0.00080544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4761-16_0_5_line_32 |  | 31 | 32 | 0.0087839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4761-16_0_5_line_33 |  | 31 | 33 | 0.12799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4761-16_0_5_line_34 |  | 32 | 34 | 0.013963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4761-16_0_5_line_35 |  | 33 | 35 | 0.035496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4761-16_0_5_line_36 |  | 34 | 36 | 0.00013244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4761-16_0_5_line_37 |  | 36 | 37 | 0.037113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4761-16_0_5_line_38 |  | 37 | 38 | 0.012453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4761-16_0_5_line_39 |  | 37 | 39 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4761-16_0_5_line_40 |  | 38 | 40 | 0.018164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4761-16_0_5_line_41 |  | 39 | 41 | 0.0093091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4761-16_0_5_line_42 |  | 41 | 42 | 0.013859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4761-16_0_5_line_43 |  | 42 | 46 | 0.027784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4761-16_0_5_line_44 |  | 42 | 43 | 0.042792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4761-16_0_5_line_45 |  | 43 | 44 | 0.034638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4761-16_0_5_line_46 |  | 44 | 45 | 0.042542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4761-16_0_5_line_47 |  | 45 | 47 | 0.015361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4761-16_0_5_line_48 |  | 46 | 48 | 0.016381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4761-16_0_5_line_49 |  | 46 | 49 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4761-16_0_5_line_50 |  | 47 | 50 | 0.018326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4761-16_0_5_line_51 |  | 48 | 51 | 0.021928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4761-16_0_5_line_52 |  | 48 | 52 | 0.020996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4761-16_0_5_line_53 |  | 50 | 79 | 0.0039801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4761-16_0_5_line_54 |  | 52 | 53 | 0.0055906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4761-16_0_5_line_55 |  | 53 | 54 | 0.022427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4761-16_0_5_line_56 |  | 54 | 55 | 0.016158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4761-16_0_5_line_57 |  | 55 | 56 | 0.015268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4761-16_0_5_line_58 |  | 56 | 57 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4761-16_0_5_line_59 |  | 57 | 58 | 0.014358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4761-16_0_5_line_60 |  | 58 | 59 | 0.017979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4761-16_0_5_line_61 |  | 60 | 103 | 0.17094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4761-16_0_5_line_62 |  | 61 | 62 | 0.022944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4761-16_0_5_line_63 |  | 61 | 63 | 0.0035843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4761-16_0_5_line_64 |  | 62 | 64 | 0.0023268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4761-16_0_5_line_65 |  | 63 | 65 | 0.019514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4761-16_0_5_line_66 |  | 64 | 66 | 0.010831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4761-16_0_5_line_67 |  | 65 | 67 | 0.031774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4761-16_0_5_line_68 |  | 67 | 68 | 0.033555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4761-16_0_5_line_69 |  | 68 | 69 | 0.031466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4761-16_0_5_line_70 |  | 69 | 70 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4761-16_0_5_line_71 |  | 69 | 71 | 0.011622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4761-16_0_5_line_72 |  | 70 | 72 | 0.02237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4761-16_0_5_line_73 |  | 71 | 73 | 0.021576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4761-16_0_5_line_74 |  | 72 | 74 | 0.00038854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4761-16_0_5_line_75 |  | 73 | 75 | 0.022056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4761-16_0_5_line_76 |  | 74 | 94 | 0.008347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4761-16_0_5_line_77 |  | 75 | 86 | 0.039493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4761-16_0_5_line_78 |  | 76 | 77 | 0.012345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4761-16_0_5_line_79 |  | 76 | 78 | 0.019867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4761-16_0_5_line_80 |  | 77 | 79 | 0.0065416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4761-16_0_5_line_81 |  | 77 | 80 | 0.0076677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4761-16_0_5_line_82 |  | 80 | 81 | 0.021674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4761-16_0_5_line_83 |  | 81 | 82 | 0.0087475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4761-16_0_5_line_84 |  | 81 | 83 | 0.025477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4761-16_0_5_line_85 |  | 82 | 97 | 0.00012899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4761-16_0_5_line_86 |  | 83 | 86 | 0.019636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4761-16_0_5_line_87 |  | 84 | 85 | 0.020015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4761-16_0_5_line_88 |  | 84 | 86 | 0.049041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4761-16_0_5_line_89 |  | 85 | 87 | 0.0060481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4761-16_0_5_line_90 |  | 86 | 88 | 0.031212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4761-16_0_5_line_91 |  | 87 | 89 | 0.01826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4761-16_0_5_line_92 |  | 87 | 90 | 0.036281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4761-16_0_5_line_93 |  | 88 | 91 | 0.0023508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4761-16_0_5_line_94 |  | 89 | 92 | 0.017376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4761-16_0_5_line_95 |  | 91 | 93 | 0.022866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4761-16_0_5_line_96 |  | 92 | 96 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4761-16_0_5_line_97 |  | 93 | 104 | 0.011212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4761-16_0_5_line_98 |  | 94 | 95 | 0.020876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4761-16_0_5_line_99 |  | 97 | 98 | 0.029652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4761-16_0_5_line_100 |  | 98 | 102 | 0.0058014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4761-16_0_5_line_101 |  | 99 | 100 | 0.003636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4761-16_0_5_line_102 |  | 100 | 101 | 0.015815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4761-16_0_5_line_103 |  | 101 | 102 | 0.013059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4761-16_0_5_line_104 |  | 104 | 105 | 0.011727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4761-16_0_5_trafo_35 | 0.63 MVA 20/0.4 kV | 106 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2716597.0073 | 1258153.1787 | 2716614.2878 | 1258144.0686
1 | 2716585.6667 | 1258159.1574 | 2716597.0073 | 1258153.1787
2 | 2716618.9782 | 1258141.5958 | 2716614.2878 | 1258144.0686
3 | 2716632.6171 | 1258134.4055 | 2716618.9782 | 1258141.5958
4 | 2716632.6171 | 1258134.4055 | 2716650.8165 | 1258122.2816
5 | 2716616.8618 | 1258110.7636 | 2716632.6171 | 1258134.4055
6 | 2716650.8165 | 1258122.2816 | 2716654.0217 | 1258120.1464
7 | 2716608.5549 | 1258106.3628 | 2716610.2296 | 1258105.5729 | 2716612.6501 | 1258104.4418 | 2716616.8618 | 1258110.7636
8 | 2716630.6156 | 1258100.5257 | 2716616.8618 | 1258110.7636
9 | 2716654.0217 | 1258120.1464 | 2716684.9878 | 1258130.8012
10 | 2716608.5549 | 1258106.3628 | 2716596.688 | 1258111.9338 | 2716593.9948 | 1258113.4969
11 | 2716608.5549 | 1258106.3628 | 2716604.132 | 1258098.5133
12 | 2716595.5437 | 1258067.84 | 2716611.9415 | 1258093.7186 | 2716604.132 | 1258098.5133
13 | 2716585.1413 | 1257864.9156 | 2716593.3378 | 1257885.9819
14 | 2716597.7514 | 1257897.3255 | 2716593.3378 | 1257885.9819
15 | 2716574.9908 | 1257838.8273 | 2716585.1413 | 1257864.9156
16 | 2716597.7514 | 1257897.3255 | 2716579.638 | 1257907.9193
17 | 2716597.7514 | 1257897.3255 | 2716605.2174 | 1257913.652
18 | 2716579.638 | 1257907.9193 | 2716568.5277 | 1257914.4172
19 | 2716616.8621 | 1257939.1163 | 2716605.2174 | 1257913.652
20 | 2716562.7318 | 1257917.807 | 2716568.5277 | 1257914.4172
21 | 2716541.5449 | 1257930.1982 | 2716562.7318 | 1257917.807
22 | 2716541.5449 | 1257930.1982 | 2716531.675 | 1257935.9707
23 | 2716512.1372 | 1257947.3975 | 2716531.675 | 1257935.9707
24 | 2716512.1372 | 1257947.3975 | 2716496.468 | 1257956.5617
25 | 2716496.468 | 1257956.5617 | 2716485.0474 | 1257963.2411
26 | 2716655.8238 | 1258001.2592 | 2716664.3537 | 1258011.1803 | 2716676.676 | 1258022.2159
27 | 2716655.8238 | 1258001.2592 | 2716641.3413 | 1258012.4834 | 2716637.5816 | 1258019.571 | 2716632.0828 | 1258023.0537
28 | 2716676.676 | 1258022.2159 | 2716688.8264 | 1258033.0976
29 | 2716617.0723 | 1258033.5345 | 2716617.4202 | 1258032.3403 | 2716632.0828 | 1258023.0537
30 | 2716599.8019 | 1258005.2477 | 2716597.4283 | 1258001.3198 | 2716597.4163 | 1258000.3965 | 2716605.2251 | 1257994.1116 | 2716611.5178 | 1257990.075
31 | 2716599.8019 | 1258005.2477 | 2716600.2216 | 1258005.9352
32 | 2716485.0474 | 1257963.2411 | 2716482.2963 | 1257971.5831 | 2716482.2963 | 1257971.5831
33 | 2716485.0474 | 1257963.2411 | 2716390.545 | 1257876.9167
34 | 2716482.2963 | 1257971.5831 | 2716489.9481 | 1257983.2623
35 | 2716355.8024 | 1257883.4043 | 2716376.09 | 1257877.9691 | 2716390.545 | 1257876.9167
36 | 2716490.0207 | 1257983.373 | 2716489.9481 | 1257983.2623
37 | 2716510.3594 | 1258014.4167 | 2716490.0207 | 1257983.373
38 | 2716510.3594 | 1258014.4167 | 2716500.0801 | 1258021.4468
39 | 2716510.3594 | 1258014.4167 | 2716516.5045 | 1258024.7504
40 | 2716485.0867 | 1258031.7008 | 2716500.0801 | 1258021.4468
41 | 2716521.2625 | 1258032.7517 | 2716516.5045 | 1258024.7504
42 | 2716528.3458 | 1258044.6634 | 2716521.2625 | 1258032.7517
43 | 2716542.5735 | 1258068.553 | 2716528.3458 | 1258044.6634
44 | 2716528.3458 | 1258044.6634 | 2716525.6967 | 1258046.3016 | 2716524.7588 | 1258048.3516 | 2716524.913 | 1258050.4786 | 2716524.3866 | 1258052.3143 | 2716523.0099 | 1258052.9099 | 2716521.2895 | 1258052.5758 | 2716518.1934 | 1258051.6362 | 2716516.0321 | 1258051.8606 | 2716509.0839 | 1258056.1942 | 2716505.693 | 1258058.3515 | 2716504.1583 | 1258058.5437 | 2716502.744 | 1258057.9821 | 2716500.0701 | 1258055.5162 | 2716498.5838 | 1258054.7863 | 2716497.4419 | 1258054.9418 | 2716494.9029 | 1258056.5361
45 | 2716494.9029 | 1258056.5361 | 2716490.8139 | 1258059.1038 | 2716485.4078 | 1258064.0239 | 2716484.6973 | 1258066.0227 | 2716484.7704 | 1258068.4373 | 2716492.8883 | 1258084.4617
46 | 2716502.5212 | 1258125.5692 | 2716502.1098 | 1258115.8305 | 2716498.3374 | 1258102.1334 | 2716495.093 | 1258088.8136 | 2716492.8883 | 1258084.4617
47 | 2716502.5212 | 1258125.5692 | 2716497.9443 | 1258128.2147 | 2716493.4492 | 1258129.3828 | 2716490.1637 | 1258133.7061
48 | 2716542.5735 | 1258068.553 | 2716551.824 | 1258082.0912
49 | 2716542.5735 | 1258068.553 | 2716532.4317 | 1258075.7537
50 | 2716476.3563 | 1258141.8461 | 2716480.9874 | 1258142.9604 | 2716483.5239 | 1258142.4432 | 2716490.1637 | 1258133.7061
51 | 2716551.824 | 1258082.0912 | 2716563.9672 | 1258100.3498
52 | 2716551.824 | 1258082.0912 | 2716569.9367 | 1258071.4721 | 2716569.9367 | 1258071.4721
53 | 2716472.6207 | 1258143.2196 | 2716476.3563 | 1258141.8461 | 2716476.3563 | 1258141.8461
54 | 2716569.9367 | 1258071.4721 | 2716575.3461 | 1258072.8838
55 | 2716595.5437 | 1258067.84 | 2716583.4419 | 1258074.9967 | 2716575.3461 | 1258072.8838
56 | 2716595.5437 | 1258067.84 | 2716609.454 | 1258059.618 | 2716609.454 | 1258059.618
57 | 2716613.7345 | 1258044.9623 | 2716609.454 | 1258059.618
58 | 2716617.0723 | 1258033.5345 | 2716613.7345 | 1258044.9623
59 | 2716617.0723 | 1258033.5345 | 2716609.5905 | 1258021.2802
60 | 2716609.5905 | 1258021.2802 | 2716600.2216 | 1258005.9352
61 | 2716688.8264 | 1258033.0976 | 2716800.5051 | 1257903.6837
62 | 2716340.1333 | 1258127.1452 | 2716342.9144 | 1258104.3707
63 | 2716340.1333 | 1258127.1452 | 2716339.6989 | 1258130.7031
64 | 2716343.1964 | 1258102.061 | 2716342.9144 | 1258104.3707
65 | 2716337.3335 | 1258150.0735 | 2716339.6989 | 1258130.7031
66 | 2716344.5092 | 1258091.3096 | 2716343.1964 | 1258102.061
67 | 2716335.3173 | 1258181.5123 | 2716334.1173 | 1258176.412 | 2716337.3335 | 1258150.0735
68 | 2716343.0025 | 1258214.1758 | 2716335.3173 | 1258181.5123
69 | 2716367.773 | 1258215.952 | 2716344.7792 | 1258221.7272 | 2716343.0025 | 1258214.1758
70 | 2716367.773 | 1258215.952 | 2716364.3945 | 1258201.5287
71 | 2716367.773 | 1258215.952 | 2716371.9561 | 1258226.7991
72 | 2716364.3945 | 1258201.5287 | 2716361.8875 | 1258190.8258 | 2716361.2663 | 1258179.465
73 | 2716371.9561 | 1258226.7991 | 2716392.2145 | 1258219.3738
74 | 2716361.2663 | 1258179.465 | 2716361.2451 | 1258179.077
75 | 2716412.9231 | 1258211.7835 | 2716392.2145 | 1258219.3738
76 | 2716360.7894 | 1258170.7425 | 2716360.7894 | 1258170.7425 | 2716361.2451 | 1258179.077
77 | 2716450.0058 | 1258198.1984 | 2716437.29 | 1258202.8522 | 2716412.9231 | 1258211.7835
78 | 2716466.481 | 1258145.4771 | 2716470.36 | 1258157.197
79 | 2716476.6026 | 1258176.0582 | 2716470.36 | 1258157.197
80 | 2716466.481 | 1258145.4771 | 2716472.6207 | 1258143.2196
81 | 2716466.481 | 1258145.4771 | 2716459.1898 | 1258147.8503
82 | 2716438.5802 | 1258154.5583 | 2716459.1898 | 1258147.8503
83 | 2716438.5802 | 1258154.5583 | 2716438.1063 | 1258153.3479 | 2716435.2559 | 1258146.4672
84 | 2716438.5802 | 1258154.5583 | 2716443.4099 | 1258173.9255 | 2716444.8566 | 1258179.2492
85 | 2716435.2066 | 1258146.3481 | 2716435.2559 | 1258146.4672
86 | 2716450.0058 | 1258198.1984 | 2716444.8566 | 1258179.2492
87 | 2716496.2073 | 1258181.7548 | 2716497.4639 | 1258181.3177 | 2716505.5966 | 1258179.2426 | 2716512.5393 | 1258177.8559 | 2716515.7511 | 1258177.8729
88 | 2716450.0058 | 1258198.1984 | 2716471.6663 | 1258190.4401 | 2716485.9068 | 1258185.3382 | 2716496.2073 | 1258181.7548
89 | 2716521.7991 | 1258177.9049 | 2716515.7511 | 1258177.8729
90 | 2716450.0058 | 1258198.1984 | 2716458.1111 | 1258228.3392
91 | 2716521.7991 | 1258177.9049 | 2716520.9917 | 1258189.41 | 2716521.4058 | 1258196.1237
92 | 2716521.7991 | 1258177.9049 | 2716529.2685 | 1258179.6423 | 2716535.5638 | 1258182.7912 | 2716541.7596 | 1258187.1614 | 2716551.773 | 1258196.9337
93 | 2716458.1111 | 1258228.3392 | 2716458.7216 | 1258230.6093
94 | 2716521.4058 | 1258196.1237 | 2716521.5918 | 1258199.1413 | 2716525.4336 | 1258212.9702
95 | 2716465.4055 | 1258252.4691 | 2716460.841 | 1258238.4907 | 2716458.7216 | 1258230.6093
96 | 2716525.4336 | 1258212.9702 | 2716531.8628 | 1258236.1127
97 | 2716465.4055 | 1258252.4691 | 2716468.8857 | 1258263.1271
98 | 2716361.9907 | 1258149.9012 | 2716360.7894 | 1258170.7425
99 | 2716435.2066 | 1258146.3481 | 2716431.483 | 1258137.3594 | 2716419.5575 | 1258121.4 | 2716419.5575 | 1258121.4
100 | 2716414.7479 | 1258118.1559 | 2716419.5575 | 1258121.4
101 | 2716386.0314 | 1258103.5488 | 2716389.4782 | 1258104.7065
102 | 2716389.4782 | 1258104.7065 | 2716400.0951 | 1258108.2726 | 2716403.9211 | 1258110.8533
103 | 2716414.7479 | 1258118.1559 | 2716403.9211 | 1258110.8533
104 | 2716472.5258 | 1258274.2746 | 2716468.8857 | 1258263.1271

## bus_geodata
| x | y | coords
0 | 2716597.0073 | 1258153.1787
1 | 2716614.2878 | 1258144.0686
2 | 2716585.6667 | 1258159.1574
3 | 2716618.9782 | 1258141.5958
4 | 2716632.6171 | 1258134.4055
5 | 2716650.8165 | 1258122.2816
6 | 2716616.8618 | 1258110.7636
7 | 2716654.0217 | 1258120.1464
8 | 2716608.5549 | 1258106.3628
9 | 2716630.6156 | 1258100.5257
10 | 2716684.9878 | 1258130.8012
11 | 2716593.9948 | 1258113.4969
12 | 2716604.132 | 1258098.5133
13 | 2716593.3378 | 1257885.9819
14 | 2716585.1413 | 1257864.9156
15 | 2716597.7514 | 1257897.3255
16 | 2716574.9908 | 1257838.8273
17 | 2716579.638 | 1257907.9193
18 | 2716605.2174 | 1257913.652
19 | 2716568.5277 | 1257914.4172
20 | 2716616.8621 | 1257939.1163
21 | 2716562.7318 | 1257917.807
22 | 2716541.5449 | 1257930.1982
23 | 2716531.675 | 1257935.9707
24 | 2716512.1372 | 1257947.3975
25 | 2716496.468 | 1257956.5617
26 | 2716655.8238 | 1258001.2592
27 | 2716676.676 | 1258022.2159
28 | 2716632.0828 | 1258023.0537
29 | 2716611.5178 | 1257990.075
30 | 2716599.8019 | 1258005.2477
31 | 2716485.0474 | 1257963.2411
32 | 2716482.2963 | 1257971.5831
33 | 2716390.545 | 1257876.9167
34 | 2716489.9481 | 1257983.2623
35 | 2716355.8024 | 1257883.4043
36 | 2716490.0207 | 1257983.373
37 | 2716510.3594 | 1258014.4167
38 | 2716500.0801 | 1258021.4468
39 | 2716516.5045 | 1258024.7504
40 | 2716485.0867 | 1258031.7008
41 | 2716521.2625 | 1258032.7517
42 | 2716528.3458 | 1258044.6634
43 | 2716494.9029 | 1258056.5361
44 | 2716492.8883 | 1258084.4617
45 | 2716502.5212 | 1258125.5692
46 | 2716542.5735 | 1258068.553
47 | 2716490.1637 | 1258133.7062
48 | 2716551.824 | 1258082.0912
49 | 2716532.4317 | 1258075.7537
50 | 2716476.3563 | 1258141.8461
51 | 2716563.9672 | 1258100.3498
52 | 2716569.9367 | 1258071.4721
53 | 2716575.3461 | 1258072.8838
54 | 2716595.5437 | 1258067.84
55 | 2716609.454 | 1258059.618
56 | 2716613.7345 | 1258044.9623
57 | 2716617.0723 | 1258033.5345
58 | 2716609.5905 | 1258021.2802
59 | 2716600.2216 | 1258005.9352
60 | 2716688.8264 | 1258033.0976
61 | 2716340.1333 | 1258127.1452
62 | 2716342.9144 | 1258104.3707
63 | 2716339.6989 | 1258130.7031
64 | 2716343.1964 | 1258102.061
65 | 2716337.3335 | 1258150.0735
66 | 2716344.5092 | 1258091.3096
67 | 2716335.3173 | 1258181.5123
68 | 2716343.0025 | 1258214.1758
69 | 2716367.773 | 1258215.952
70 | 2716364.3945 | 1258201.5287
71 | 2716371.9561 | 1258226.7991
72 | 2716361.2663 | 1258179.465
73 | 2716392.2145 | 1258219.3738
74 | 2716361.2451 | 1258179.077
75 | 2716412.9231 | 1258211.7835
76 | 2716470.36 | 1258157.197
77 | 2716466.481 | 1258145.4771
78 | 2716476.6026 | 1258176.0582
79 | 2716472.6207 | 1258143.2196
80 | 2716459.1898 | 1258147.8503
81 | 2716438.5802 | 1258154.5583
82 | 2716435.2559 | 1258146.4672
83 | 2716444.8566 | 1258179.2492
84 | 2716496.2073 | 1258181.7548
85 | 2716515.7511 | 1258177.8729
86 | 2716450.0058 | 1258198.1984
87 | 2716521.7991 | 1258177.9049
88 | 2716458.1111 | 1258228.3392
89 | 2716521.4058 | 1258196.1237
90 | 2716551.773 | 1258196.9337
91 | 2716458.7216 | 1258230.6093
92 | 2716525.4336 | 1258212.9702
93 | 2716465.4055 | 1258252.4691
94 | 2716360.7894 | 1258170.7425
95 | 2716361.9907 | 1258149.9012
96 | 2716531.8628 | 1258236.1127
97 | 2716435.2066 | 1258146.3481
98 | 2716419.5575 | 1258121.4
99 | 2716386.0314 | 1258103.5488
100 | 2716389.4782 | 1258104.7065
101 | 2716403.9211 | 1258110.8533
102 | 2716414.7479 | 1258118.1559
103 | 2716800.5051 | 1257903.6837
104 | 2716468.8857 | 1258263.1271
105 | 2716472.5258 | 1258274.2746
106 | 2716551.824 | 1258082.0912

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1