## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4786-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4786-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4786-2_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4786-2_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4786-2_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_4786-2_0_4_node_160 | 0.4 | n |  | TRUE
6 | bus_LV_4786-2_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4786-2_0_4_node_123 | 0.4 | n |  | TRUE
8 | bus_LV_4786-2_0_4_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_4786-2_0_4_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_4786-2_0_4_node_153 | 0.4 | n |  | TRUE
11 | bus_LV_4786-2_0_4_node_157 | 0.4 | n |  | TRUE
12 | bus_LV_4786-2_0_4_node_171 | 0.4 | n |  | TRUE
13 | bus_LV_4786-2_0_4_node_151 | 0.4 | n |  | TRUE
14 | bus_LV_4786-2_0_4_node_152 | 0.4 | n |  | TRUE
15 | bus_LV_4786-2_0_4_node_155 | 0.4 | n |  | TRUE
16 | bus_LV_4786-2_0_4_node_150 | 0.4 | n |  | TRUE
17 | bus_LV_4786-2_0_4_node_156 | 0.4 | n |  | TRUE
18 | bus_LV_4786-2_0_4_node_158 | 0.4 | n |  | TRUE
19 | bus_LV_4786-2_0_4_node_159 | 0.4 | n |  | TRUE
20 | bus_LV_4786-2_0_4_node_166 | 0.4 | n |  | TRUE
21 | bus_LV_4786-2_0_4_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_4786-2_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_4786-2_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_4786-2_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4786-2_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4786-2_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4786-2_0_4_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_4786-2_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4786-2_0_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_4786-2_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_4786-2_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_4786-2_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_4786-2_0_4_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_4786-2_0_4_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_4786-2_0_4_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_4786-2_0_4_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_4786-2_0_4_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_4786-2_0_4_node_109 | 0.4 | n |  | TRUE
39 | bus_LV_4786-2_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_4786-2_0_4_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_4786-2_0_4_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_4786-2_0_4_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_4786-2_0_4_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_4786-2_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_4786-2_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_4786-2_0_4_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_4786-2_0_4_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_4786-2_0_4_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_4786-2_0_4_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_4786-2_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_4786-2_0_4_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_4786-2_0_4_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_4786-2_0_4_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_4786-2_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4786-2_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_4786-2_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_4786-2_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_4786-2_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_4786-2_0_4_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_4786-2_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_4786-2_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4786-2_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_4786-2_0_4_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_4786-2_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4786-2_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4786-2_0_4_node_170 | 0.4 | n |  | TRUE
67 | bus_LV_4786-2_0_4_node_124 | 0.4 | n |  | TRUE
68 | bus_LV_4786-2_0_4_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_4786-2_0_4_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_4786-2_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_4786-2_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_4786-2_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_4786-2_0_4_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_4786-2_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4786-2_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_4786-2_0_4_node_54 | 0.4 | n |  | TRUE
77 | bus_LV_4786-2_0_4_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_4786-2_0_4_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_4786-2_0_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_4786-2_0_4_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_4786-2_0_4_node_114 | 0.4 | n |  | TRUE
82 | bus_LV_4786-2_0_4_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_4786-2_0_4_node_127 | 0.4 | n |  | TRUE
84 | bus_LV_4786-2_0_4_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_4786-2_0_4_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_4786-2_0_4_node_59 | 0.4 | n |  | TRUE
87 | bus_LV_4786-2_0_4_node_61 | 0.4 | n |  | TRUE
88 | bus_LV_4786-2_0_4_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_4786-2_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_4786-2_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_4786-2_0_4_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_4786-2_0_4_node_67 | 0.4 | n |  | TRUE
93 | bus_LV_4786-2_0_4_node_100 | 0.4 | n |  | TRUE
94 | bus_LV_4786-2_0_4_node_133 | 0.4 | n |  | TRUE
95 | bus_LV_4786-2_0_4_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_4786-2_0_4_node_138 | 0.4 | n |  | TRUE
97 | bus_LV_4786-2_0_4_node_132 | 0.4 | n |  | TRUE
98 | bus_LV_4786-2_0_4_node_70 | 0.4 | n |  | TRUE
99 | bus_LV_4786-2_0_4_node_72 | 0.4 | n |  | TRUE
100 | bus_LV_4786-2_0_4_node_74 | 0.4 | n |  | TRUE
101 | bus_LV_4786-2_0_4_node_107 | 0.4 | n |  | TRUE
102 | bus_LV_4786-2_0_4_node_108 | 0.4 | n |  | TRUE
103 | bus_LV_4786-2_0_4_node_75 | 0.4 | n |  | TRUE
104 | bus_LV_4786-2_0_4_node_77 | 0.4 | n |  | TRUE
105 | bus_LV_4786-2_0_4_node_79 | 0.4 | n |  | TRUE
106 | bus_LV_4786-2_0_4_node_90 | 0.4 | n |  | TRUE
107 | bus_LV_4786-2_0_4_node_129 | 0.4 | n |  | TRUE
108 | bus_LV_4786-2_0_4_node_87 | 0.4 | n |  | TRUE
109 | bus_LV_4786-2_0_4_node_82 | 0.4 | n |  | TRUE
110 | bus_LV_4786-2_0_4_node_105 | 0.4 | n |  | TRUE
111 | bus_LV_4786-2_0_4_node_104 | 0.4 | n |  | TRUE
112 | bus_LV_4786-2_0_4_node_85 | 0.4 | n |  | TRUE
113 | bus_LV_4786-2_0_4_node_118 | 0.4 | n |  | TRUE
114 | bus_LV_4786-2_0_4_node_86 | 0.4 | n |  | TRUE
115 | bus_LV_4786-2_0_4_node_88 | 0.4 | n |  | TRUE
116 | bus_LV_4786-2_0_4_node_89 | 0.4 | n |  | TRUE
117 | bus_LV_4786-2_0_4_node_91 | 0.4 | n |  | TRUE
118 | bus_LV_4786-2_0_4_node_92 | 0.4 | n |  | TRUE
119 | bus_LV_4786-2_0_4_node_99 | 0.4 | n |  | TRUE
120 | bus_LV_4786-2_0_4_node_120 | 0.4 | n |  | TRUE
121 | bus_LV_4786-2_0_4_node_165 | 0.4 | n |  | TRUE
122 | bus_LV_4786-2_0_4_node_169 | 0.4 | n |  | TRUE
123 | bus_LV_4786-2_0_4_node_163 | 0.4 | n |  | TRUE
124 | bus_LV_4786-2_0_4_node_97 | 0.4 | n |  | TRUE
125 | bus_LV_4786-2_0_4_node_121 | 0.4 | n |  | TRUE
126 | bus_LV_4786-2_0_4_node_122 | 0.4 | n |  | TRUE
127 | bus_LV_4786-2_0_4_node_93 | 0.4 | n |  | TRUE
128 | bus_LV_4786-2_0_4_node_94 | 0.4 | n |  | TRUE
129 | bus_LV_4786-2_0_4_node_95 | 0.4 | n |  | TRUE
130 | bus_LV_4786-2_0_4_node_96 | 0.4 | n |  | TRUE
131 | bus_LV_4786-2_0_4_node_116 | 0.4 | n |  | TRUE
132 | bus_LV_4786-2_0_4_node_126 | 0.4 | n |  | TRUE
133 | bus_LV_4786-2_0_4_node_115 | 0.4 | n |  | TRUE
134 | bus_LV_4786-2_0_4_node_119 | 0.4 | n |  | TRUE
135 | bus_LV_4786-2_0_4_node_101 | 0.4 | n |  | TRUE
136 | bus_LV_4786-2_0_4_node_102 | 0.4 | n |  | TRUE
137 | bus_LV_4786-2_0_4_node_103 | 0.4 | n |  | TRUE
138 | bus_LV_4786-2_0_4_node_106 | 0.4 | n |  | TRUE
139 | bus_LV_4786-2_0_4_node_113 | 0.4 | n |  | TRUE
140 | bus_LV_4786-2_0_4_node_110 | 0.4 | n |  | TRUE
141 | bus_LV_4786-2_0_4_node_111 | 0.4 | n |  | TRUE
142 | bus_LV_4786-2_0_4_node_112 | 0.4 | n |  | TRUE
143 | bus_LV_4786-2_0_4_node_128 | 0.4 | n |  | TRUE
144 | bus_LV_4786-2_0_4_node_117 | 0.4 | n |  | TRUE
145 | bus_LV_4786-2_0_4_node_141 | 0.4 | n |  | TRUE
146 | bus_LV_4786-2_0_4_node_139 | 0.4 | n |  | TRUE
147 | bus_LV_4786-2_0_4_node_140 | 0.4 | n |  | TRUE
148 | bus_LV_4786-2_0_4_node_168 | 0.4 | n |  | TRUE
149 | bus_LV_4786-2_0_4_node_161 | 0.4 | n |  | TRUE
150 | bus_LV_4786-2_0_4_node_130 | 0.4 | n |  | TRUE
151 | bus_LV_4786-2_0_4_node_131 | 0.4 | n |  | TRUE
152 | bus_LV_4786-2_0_4_node_136 | 0.4 | n |  | TRUE
153 | bus_LV_4786-2_0_4_node_134 | 0.4 | n |  | TRUE
154 | bus_LV_4786-2_0_4_node_135 | 0.4 | n |  | TRUE
155 | bus_LV_4786-2_0_4_node_137 | 0.4 | n |  | TRUE
156 | bus_LV_4786-2_0_4_node_145 | 0.4 | n |  | TRUE
157 | bus_LV_4786-2_0_4_node_143 | 0.4 | n |  | TRUE
158 | bus_LV_4786-2_0_4_node_142 | 0.4 | n |  | TRUE
159 | bus_LV_4786-2_0_4_node_144 | 0.4 | n |  | TRUE
160 | bus_LV_4786-2_0_4_node_146 | 0.4 | n |  | TRUE
161 | bus_LV_4786-2_0_4_node_148 | 0.4 | n |  | TRUE
162 | bus_LV_4786-2_0_4_node_149 | 0.4 | n |  | TRUE
163 | bus_LV_4786-2_0_4_node_154 | 0.4 | n |  | TRUE
164 | bus_LV_4786-2_0_4_node_167 | 0.4 | n |  | TRUE
165 | bus_LV_4786-2_0_4_node_164 | 0.4 | n |  | TRUE
166 | bus_LV_4786-2_0_4_node_162 | 0.4 | n |  | TRUE
167 | bus_MV_589_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4786-2_0_4_load_0 | 0 | 0.0030838 | 0.00077287 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4786-2_0_4_load_4 | 2 | 0.0015672 | 0.00039277 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4786-2_0_4_load_7 | 4 | 0.003791 | 0.00095011 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4786-2_0_4_load_160 | 5 | 0.0029443 | 0.0007379 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4786-2_0_4_load_123 | 7 | 0.0023692 | 0.00059377 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4786-2_0_4_load_37 | 8 | 0.00098379 | 0.00024656 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4786-2_0_4_load_157 | 11 | 0.013921 | 0.0034889 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4786-2_0_4_load_171 | 12 | 0.018715 | 0.0046904 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4786-2_0_4_load_155 | 15 | 0.0031669 | 0.00079369 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4786-2_0_4_load_150 | 16 | 0.018708 | 0.0046887 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4786-2_0_4_load_156 | 17 | 0.0031253 | 0.00078328 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4786-2_0_4_load_10 | 22 | 0.0067179 | 0.0016837 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4786-2_0_4_load_11 | 23 | 0.004549 | 0.0011401 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4786-2_0_4_load_12 | 24 | 0.0068903 | 0.0017269 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4786-2_0_4_load_13 | 25 | 0.004502 | 0.0011283 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4786-2_0_4_load_14 | 26 | 0.0068892 | 0.0017266 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4786-2_0_4_load_17 | 31 | 0.0014329 | 0.00035913 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4786-2_0_4_load_18 | 32 | 0.0023668 | 0.00059317 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4786-2_0_4_load_78 | 33 | 0.0014321 | 0.00035892 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4786-2_0_4_load_80 | 34 | 0.0023677 | 0.00059339 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4786-2_0_4_load_76 | 36 | 0.0014329 | 0.00035913 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4786-2_0_4_load_81 | 37 | 0.0014719 | 0.00036889 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4786-2_0_4_load_109 | 38 | 0.0034715 | 0.00087005 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4786-2_0_4_load_19 | 40 | 0.00077186 | 0.00019345 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4786-2_0_4_load_20 | 41 | 0.0031961 | 0.00080102 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4786-2_0_4_load_21 | 42 | 0.0013835 | 0.00034674 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4786-2_0_4_load_35 | 44 | 0.004171 | 0.0010454 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4786-2_0_4_load_44 | 45 | 0.0030824 | 0.00077252 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4786-2_0_4_load_23 | 46 | 0.0039309 | 0.00098517 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4786-2_0_4_load_24 | 47 | 0.0030219 | 0.00075735 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4786-2_0_4_load_48 | 49 | 0.0087703 | 0.002198 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4786-2_0_4_load_27 | 51 | 0.0039415 | 0.00098782 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4786-2_0_4_load_26 | 52 | 0.0046695 | 0.0011703 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4786-2_0_4_load_28 | 53 | 0.0026922 | 0.00067473 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4786-2_0_4_load_47 | 54 | 0.0018952 | 0.00047497 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4786-2_0_4_load_30 | 55 | 0.0036103 | 0.00090483 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4786-2_0_4_load_46 | 56 | 0.0041805 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4786-2_0_4_load_32 | 57 | 0.00077616 | 0.00019453 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4786-2_0_4_load_33 | 58 | 0.00066372 | 0.00016634 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4786-2_0_4_load_34 | 59 | 0.00067853 | 0.00017005 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4786-2_0_4_load_43 | 60 | 0.00079559 | 0.00019939 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4786-2_0_4_load_42 | 61 | 0.00071898 | 0.00018019 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4786-2_0_4_load_38 | 62 | 0.00070107 | 0.0001757 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4786-2_0_4_load_39 | 63 | 0.0025073 | 0.00062839 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4786-2_0_4_load_40 | 64 | 0.00089755 | 0.00022495 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4786-2_0_4_load_41 | 65 | 0.0023411 | 0.00058674 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4786-2_0_4_load_170 | 66 | 0.0036085 | 0.00090437 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4786-2_0_4_load_49 | 68 | 0.0040063 | 0.0010041 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4786-2_0_4_load_50 | 69 | 0.0019852 | 0.00049754 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4786-2_0_4_load_51 | 70 | 0.0028102 | 0.0007043 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4786-2_0_4_load_62 | 72 | 0.0022709 | 0.00056915 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4786-2_0_4_load_73 | 73 | 0.0022943 | 0.000575 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4786-2_0_4_load_60 | 74 | 0.0022314 | 0.00055924 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4786-2_0_4_load_71 | 75 | 0.0021271 | 0.00053311 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4786-2_0_4_load_54 | 76 | 0.006949 | 0.0017416 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4786-2_0_4_load_55 | 77 | 0.0026524 | 0.00066475 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4786-2_0_4_load_56 | 78 | 0.0026391 | 0.00066142 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4786-2_0_4_load_57 | 79 | 0.0026566 | 0.00066581 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4786-2_0_4_load_58 | 80 | 0.0011323 | 0.00028379 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4786-2_0_4_load_114 | 81 | 0.0032921 | 0.00082507 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4786-2_0_4_load_127 | 83 | 0.0053614 | 0.0013437 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4786-2_0_4_load_68 | 84 | 0.001442 | 0.0003614 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4786-2_0_4_load_64 | 85 | 0.00104 | 0.00026064 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4786-2_0_4_load_59 | 86 | 0.0022575 | 0.00056577 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4786-2_0_4_load_61 | 87 | 0.0017674 | 0.00044296 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4786-2_0_4_load_63 | 88 | 0.0016 | 0.000401 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4786-2_0_4_load_83 | 89 | 0.0017077 | 0.000428 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4786-2_0_4_load_84 | 90 | 0.0022555 | 0.00056529 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4786-2_0_4_load_65 | 91 | 0.0011881 | 0.00029776 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4786-2_0_4_load_67 | 92 | 0.0019594 | 0.00049107 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4786-2_0_4_load_100 | 93 | 0.0012073 | 0.00030259 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4786-2_0_4_load_98 | 95 | 0.0022717 | 0.00056934 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4786-2_0_4_load_138 | 96 | 0.0014369 | 0.00036011 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4786-2_0_4_load_70 | 98 | 0.0017287 | 0.00043324 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4786-2_0_4_load_72 | 99 | 0.0030176 | 0.00075628 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4786-2_0_4_load_74 | 100 | 0.0027258 | 0.00068316 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4786-2_0_4_load_107 | 101 | 0.0018555 | 0.00046503 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4786-2_0_4_load_75 | 103 | 0.0029115 | 0.00072969 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4786-2_0_4_load_77 | 104 | 0.0030145 | 0.00075552 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4786-2_0_4_load_129 | 107 | 0.0045923 | 0.0011509 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4786-2_0_4_load_87 | 108 | 0.0023021 | 0.00057696 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4786-2_0_4_load_82 | 109 | 0.0016075 | 0.00040288 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4786-2_0_4_load_105 | 110 | 0.0014725 | 0.00036905 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4786-2_0_4_load_104 | 111 | 0.0016067 | 0.00040267 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4786-2_0_4_load_85 | 112 | 0.002051 | 0.00051402 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4786-2_0_4_load_118 | 113 | 0.0043152 | 0.0010815 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4786-2_0_4_load_86 | 114 | 0.0022915 | 0.0005743 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4786-2_0_4_load_89 | 116 | 0.0039916 | 0.0010004 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4786-2_0_4_load_91 | 117 | 0.002269 | 0.00056867 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4786-2_0_4_load_92 | 118 | 0.0019146 | 0.00047984 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4786-2_0_4_load_99 | 119 | 0.0022839 | 0.0005724 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4786-2_0_4_load_169 | 122 | 0.0023173 | 0.00058076 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4786-2_0_4_load_97 | 124 | 0.0023105 | 0.00057907 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4786-2_0_4_load_121 | 125 | 0.0047157 | 0.0011819 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4786-2_0_4_load_122 | 126 | 0.0028979 | 0.00072628 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4786-2_0_4_load_93 | 127 | 0.00132 | 0.00033082 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4786-2_0_4_load_94 | 128 | 0.002164 | 0.00054236 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4786-2_0_4_load_95 | 129 | 0.002176 | 0.00054535 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4786-2_0_4_load_126 | 132 | 0.0023724 | 0.00059459 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4786-2_0_4_load_115 | 133 | 0.003564 | 0.00089322 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4786-2_0_4_load_119 | 134 | 0.0013175 | 0.0003302 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4786-2_0_4_load_101 | 135 | 0.0023166 | 0.0005806 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4786-2_0_4_load_102 | 136 | 0.0014906 | 0.00037358 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4786-2_0_4_load_103 | 137 | 0.0023166 | 0.0005806 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4786-2_0_4_load_106 | 138 | 0.0014906 | 0.00037358 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4786-2_0_4_load_113 | 139 | 0.0023371 | 0.00058574 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4786-2_0_4_load_110 | 140 | 0.0017543 | 0.00043967 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4786-2_0_4_load_111 | 141 | 0.002372 | 0.00059447 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4786-2_0_4_load_112 | 142 | 0.0015756 | 0.00039488 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4786-2_0_4_load_128 | 143 | 0.0026315 | 0.00065951 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4786-2_0_4_load_117 | 144 | 0.011326 | 0.0028386 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4786-2_0_4_load_141 | 145 | 0.0059547 | 0.0014924 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4786-2_0_4_load_139 | 146 | 0.0066066 | 0.0016558 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4786-2_0_4_load_140 | 147 | 0.0029106 | 0.00072947 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4786-2_0_4_load_168 | 148 | 0.0024429 | 0.00061225 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4786-2_0_4_load_130 | 150 | 0.0035015 | 0.00087756 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4786-2_0_4_load_131 | 151 | 0.0019012 | 0.00047649 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4786-2_0_4_load_136 | 152 | 0.0021925 | 0.00054949 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4786-2_0_4_load_134 | 153 | 0.0065547 | 0.0016428 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4786-2_0_4_load_135 | 154 | 0.0087333 | 0.0021888 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4786-2_0_4_load_137 | 155 | 0.0022162 | 0.00055543 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4786-2_0_4_load_145 | 156 | 0.00097412 | 0.00024414 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4786-2_0_4_load_143 | 157 | 0.0029215 | 0.00073219 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4786-2_0_4_load_142 | 158 | 0.0040282 | 0.0010096 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4786-2_0_4_load_144 | 159 | 0.002295 | 0.00057519 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4786-2_0_4_load_146 | 160 | 0.0047438 | 0.0011889 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4786-2_0_4_load_149 | 162 | 0.0051028 | 0.0012789 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4786-2_0_4_load_167 | 164 | 0.024571 | 0.0061582 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4786-2_0_4_load_164 | 165 | 0.01509 | 0.003782 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4786-2_0_4_load_162 | 166 | 0.003754 | 0.00094083 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 107 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4786-2_0_4_line_0 |  | 0 | 1 | 0.027887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4786-2_0_4_line_1 |  | 1 | 2 | 0.019278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4786-2_0_4_line_2 |  | 1 | 3 | 0.033504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4786-2_0_4_line_3 |  | 2 | 4 | 0.059874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4786-2_0_4_line_4 |  | 3 | 5 | 0.015269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4786-2_0_4_line_5 |  | 5 | 19 | 0.018302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4786-2_0_4_line_6 |  | 6 | 7 | 0.025735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_4786-2_0_4_line_7 |  | 6 | 8 | 0.016295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_4786-2_0_4_line_8 |  | 7 | 20 | 0.026008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4786-2_0_4_line_9 |  | 8 | 21 | 0.0080826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_4786-2_0_4_line_10 |  | 9 | 10 | 0.023126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4786-2_0_4_line_11 |  | 9 | 11 | 0.039803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4786-2_0_4_line_12 |  | 10 | 12 | 0.009544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4786-2_0_4_line_13 |  | 10 | 13 | 0.023383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4786-2_0_4_line_14 |  | 11 | 17 | 0.041232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4786-2_0_4_line_15 |  | 13 | 163 | 0.021025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4786-2_0_4_line_16 |  | 13 | 16 | 0.0051241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4786-2_0_4_line_17 |  | 14 | 15 | 0.031375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4786-2_0_4_line_18 |  | 14 | 16 | 0.014702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4786-2_0_4_line_19 |  | 17 | 18 | 0.019762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4786-2_0_4_line_20 |  | 18 | 19 | 0.020034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4786-2_0_4_line_21 |  | 19 | 149 | 0.004705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4786-2_0_4_line_22 |  | 20 | 148 | 0.0083038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4786-2_0_4_line_23 |  | 20 | 149 | 0.033386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4786-2_0_4_line_24 |  | 21 | 44 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4786-2_0_4_line_25 |  | 21 | 43 | 0.016825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_4786-2_0_4_line_26 |  | 22 | 23 | 0.02603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4786-2_0_4_line_27 |  | 22 | 24 | 0.028425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4786-2_0_4_line_28 |  | 23 | 25 | 0.027699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4786-2_0_4_line_29 |  | 24 | 26 | 0.027002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4786-2_0_4_line_30 |  | 25 | 27 | 0.02692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4786-2_0_4_line_31 |  | 26 | 28 | 0.024175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4786-2_0_4_line_32 |  | 27 | 29 | 0.02927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4786-2_0_4_line_33 |  | 28 | 30 | 0.011318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_4786-2_0_4_line_34 |  | 28 | 31 | 0.013839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4786-2_0_4_line_35 |  | 28 | 32 | 0.018136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4786-2_0_4_line_36 |  | 29 | 45 | 0.018362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4786-2_0_4_line_37 |  | 29 | 43 | 0.02166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4786-2_0_4_line_38 |  | 30 | 33 | 0.0035684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4786-2_0_4_line_39 |  | 31 | 34 | 0.004755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4786-2_0_4_line_40 |  | 32 | 35 | 0.027664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4786-2_0_4_line_41 |  | 33 | 36 | 0.0070193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_4786-2_0_4_line_42 |  | 34 | 37 | 0.017771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4786-2_0_4_line_43 |  | 35 | 38 | 0.0050218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4786-2_0_4_line_44 |  | 35 | 39 | 0.022274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4786-2_0_4_line_45 |  | 36 | 103 | 0.009437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_4786-2_0_4_line_46 |  | 37 | 109 | 0.00090818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4786-2_0_4_line_47 |  | 38 | 55 | 0.019575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4786-2_0_4_line_48 |  | 39 | 72 | 0.0052785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4786-2_0_4_line_49 |  | 39 | 69 | 0.019536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4786-2_0_4_line_50 |  | 40 | 41 | 0.030583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4786-2_0_4_line_51 |  | 40 | 42 | 0.02845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4786-2_0_4_line_52 |  | 41 | 43 | 0.016152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4786-2_0_4_line_53 |  | 45 | 65 | 0.014414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4786-2_0_4_line_54 |  | 46 | 47 | 0.00011106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4786-2_0_4_line_55 |  | 47 | 48 | 0.0082823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4786-2_0_4_line_56 |  | 48 | 49 | 0.04904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4786-2_0_4_line_57 |  | 48 | 50 | 0.008403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4786-2_0_4_line_58 |  | 50 | 51 | 0.030882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4786-2_0_4_line_59 |  | 51 | 52 | 0.0026054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4786-2_0_4_line_60 |  | 52 | 53 | 0.030589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4786-2_0_4_line_61 |  | 53 | 54 | 0.036503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4786-2_0_4_line_62 |  | 54 | 56 | 0.01192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4786-2_0_4_line_63 |  | 56 | 66 | 0.038916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4786-2_0_4_line_64 |  | 57 | 58 | 0.0008832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4786-2_0_4_line_65 |  | 58 | 59 | 0.019326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4786-2_0_4_line_66 |  | 59 | 60 | 0.00012049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4786-2_0_4_line_67 |  | 60 | 61 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4786-2_0_4_line_68 |  | 61 | 64 | 0.00023944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4786-2_0_4_line_69 |  | 62 | 63 | 0.019911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4786-2_0_4_line_70 |  | 62 | 64 | 0.018894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4786-2_0_4_line_71 |  | 63 | 65 | 0.019073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4786-2_0_4_line_72 |  | 66 | 67 | 0.041088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4786-2_0_4_line_73 |  | 67 | 71 | 0.002753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4786-2_0_4_line_74 |  | 68 | 69 | 0.027937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4786-2_0_4_line_75 |  | 68 | 70 | 0.0052688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4786-2_0_4_line_76 |  | 70 | 71 | 0.017163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4786-2_0_4_line_77 |  | 71 | 73 | 0.032202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4786-2_0_4_line_78 |  | 72 | 74 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4786-2_0_4_line_79 |  | 73 | 75 | 0.022363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4786-2_0_4_line_80 |  | 74 | 86 | 0.0076247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4786-2_0_4_line_81 |  | 75 | 98 | 0.020478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4786-2_0_4_line_82 |  | 76 | 77 | 0.018544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4786-2_0_4_line_83 |  | 76 | 78 | 0.0041111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4786-2_0_4_line_84 |  | 77 | 79 | 0.0088172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4786-2_0_4_line_85 |  | 78 | 80 | 0.0087617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4786-2_0_4_line_86 |  | 79 | 81 | 0.0024042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4786-2_0_4_line_87 |  | 80 | 82 | 0.020102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4786-2_0_4_line_88 |  | 81 | 83 | 0.021109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4786-2_0_4_line_89 |  | 82 | 84 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4786-2_0_4_line_90 |  | 82 | 85 | 0.0085207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4786-2_0_4_line_91 |  | 83 | 143 | 0.021779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4786-2_0_4_line_92 |  | 84 | 94 | 0.031445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4786-2_0_4_line_93 |  | 85 | 91 | 0.0086328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4786-2_0_4_line_94 |  | 86 | 87 | 0.019025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4786-2_0_4_line_95 |  | 87 | 88 | 0.019649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4786-2_0_4_line_96 |  | 88 | 89 | 0.018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4786-2_0_4_line_97 |  | 89 | 90 | 0.018989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4786-2_0_4_line_98 |  | 90 | 112 | 0.017636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4786-2_0_4_line_99 |  | 91 | 92 | 0.0019606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4786-2_0_4_line_100 |  | 92 | 93 | 0.0066902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4786-2_0_4_line_101 |  | 93 | 95 | 0.012877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4786-2_0_4_line_102 |  | 94 | 96 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4786-2_0_4_line_103 |  | 94 | 97 | 0.019629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4786-2_0_4_line_104 |  | 95 | 124 | 0.0032815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4786-2_0_4_line_105 |  | 96 | 152 | 0.0020291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4786-2_0_4_line_106 |  | 97 | 150 | 0.020824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4786-2_0_4_line_107 |  | 98 | 99 | 0.0032333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4786-2_0_4_line_108 |  | 99 | 100 | 0.010114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4786-2_0_4_line_109 |  | 100 | 101 | 0.027532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4786-2_0_4_line_110 |  | 101 | 102 | 0.0077693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4786-2_0_4_line_111 |  | 102 | 139 | 0.013375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4786-2_0_4_line_112 |  | 102 | 140 | 0.010491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4786-2_0_4_line_113 |  | 103 | 104 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_4786-2_0_4_line_114 |  | 104 | 105 | 0.023519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_4786-2_0_4_line_115 |  | 105 | 106 | 0.01308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4786-2_0_4_line_116 |  | 105 | 107 | 0.018922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
117 | LV_4786-2_0_4_line_117 |  | 106 | 108 | 0.021007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4786-2_0_4_line_118 |  | 108 | 116 | 0.032464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4786-2_0_4_line_119 |  | 108 | 114 | 0.01394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4786-2_0_4_line_120 |  | 109 | 110 | 0.0062519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4786-2_0_4_line_121 |  | 110 | 111 | 0.00049972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4786-2_0_4_line_122 |  | 111 | 138 | 0.015814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4786-2_0_4_line_123 |  | 112 | 113 | 0.022825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4786-2_0_4_line_124 |  | 114 | 115 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4786-2_0_4_line_125 |  | 115 | 117 | 0.0042076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4786-2_0_4_line_126 |  | 115 | 118 | 0.012203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4786-2_0_4_line_127 |  | 117 | 119 | 0.0007233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4786-2_0_4_line_128 |  | 118 | 120 | 0.011159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4786-2_0_4_line_129 |  | 119 | 124 | 0.013412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4786-2_0_4_line_130 |  | 120 | 125 | 0.013442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4786-2_0_4_line_131 |  | 120 | 126 | 0.008474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4786-2_0_4_line_132 |  | 121 | 122 | 0.020759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4786-2_0_4_line_133 |  | 121 | 123 | 0.03326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4786-2_0_4_line_134 |  | 122 | 148 | 0.035409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4786-2_0_4_line_135 |  | 123 | 165 | 0.031339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4786-2_0_4_line_136 |  | 123 | 166 | 0.026096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4786-2_0_4_line_137 |  | 126 | 145 | 0.049938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4786-2_0_4_line_138 |  | 127 | 128 | 0.0065951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4786-2_0_4_line_139 |  | 127 | 129 | 0.035756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4786-2_0_4_line_140 |  | 128 | 130 | 0.010292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4786-2_0_4_line_141 |  | 130 | 131 | 0.011708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4786-2_0_4_line_142 |  | 130 | 132 | 0.014069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4786-2_0_4_line_143 |  | 131 | 133 | 0.040534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4786-2_0_4_line_144 |  | 132 | 134 | 0.00010527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4786-2_0_4_line_145 |  | 133 | 144 | 0.009946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4786-2_0_4_line_146 |  | 134 | 142 | 0.018278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4786-2_0_4_line_147 |  | 135 | 136 | 0.0024063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4786-2_0_4_line_148 |  | 136 | 137 | 0.0044333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4786-2_0_4_line_149 |  | 137 | 138 | 0.002721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4786-2_0_4_line_150 |  | 140 | 141 | 0.0014054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4786-2_0_4_line_151 |  | 141 | 142 | 0.016997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4786-2_0_4_line_152 |  | 145 | 146 | 0.006128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4786-2_0_4_line_153 |  | 146 | 147 | 0.035363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4786-2_0_4_line_154 |  | 147 | 158 | 0.010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4786-2_0_4_line_155 |  | 150 | 151 | 0.061688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4786-2_0_4_line_156 |  | 152 | 153 | 0.043887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4786-2_0_4_line_157 |  | 153 | 154 | 0.0051539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4786-2_0_4_line_158 |  | 154 | 155 | 0.022819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4786-2_0_4_line_159 |  | 155 | 156 | 2.9435e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4786-2_0_4_line_160 |  | 156 | 157 | 0.02449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4786-2_0_4_line_161 |  | 157 | 159 | 0.017967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4786-2_0_4_line_162 |  | 159 | 160 | 0.011962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_4786-2_0_4_line_163 |  | 160 | 161 | 0.023537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_4786-2_0_4_line_164 |  | 161 | 162 | 0.035795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_4786-2_0_4_line_165 |  | 163 | 164 | 0.019617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4786-2_0_4_trafo_129 | 0.63 MVA 20/0.4 kV | 167 | 107 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2720481.5057 | 1257189.1921 | 2720459.6131 | 1257206.4656
1 | 2720481.5057 | 1257189.1921 | 2720498.2157 | 1257179.5795
2 | 2720462.3236 | 1257173.6771 | 2720474.1062 | 1257169.5688 | 2720477.4428 | 1257180.5463 | 2720481.5057 | 1257189.1921
3 | 2720498.2157 | 1257179.5795 | 2720528.4763 | 1257231.2441
4 | 2720462.3236 | 1257173.6771 | 2720447.8047 | 1257178.4041
5 | 2720430.402 | 1257184.07 | 2720447.8047 | 1257178.4041
6 | 2720461.8375 | 1257133.0985 | 2720437.6132 | 1257141.7869
7 | 2720461.8375 | 1257133.0985 | 2720457.3008 | 1257117.4475
8 | 2720413.1322 | 1257150.5673 | 2720437.6132 | 1257141.7869
9 | 2720455.0505 | 1257109.6844 | 2720457.3008 | 1257117.4475
10 | 2720353.9301 | 1257266.8871 | 2720356.4125 | 1257274.2551 | 2720370.6421 | 1257268.4949
11 | 2720370.6421 | 1257268.4949 | 2720377.2629 | 1257261.1676 | 2720381.5209 | 1257250.9675 | 2720394.901 | 1257237.6548
12 | 2720351.2882 | 1257257.7142 | 2720353.9301 | 1257266.8871
13 | 2720353.9301 | 1257266.8871 | 2720331.3331 | 1257273.1443
14 | 2720426.8734 | 1257212.5965 | 2720413.4375 | 1257223.3814 | 2720407.7424 | 1257224.878 | 2720394.901 | 1257237.6548
15 | 2720325.6808 | 1257252.8895 | 2720331.3331 | 1257273.1443
16 | 2720331.3331 | 1257273.1443 | 2720332.6457 | 1257278.0974
17 | 2720336.4117 | 1257292.3086 | 2720312.9733 | 1257313.2394
18 | 2720336.4117 | 1257292.3086 | 2720332.6457 | 1257278.0974
19 | 2720442.2848 | 1257200.2258 | 2720426.8734 | 1257212.5965
20 | 2720442.2848 | 1257200.2258 | 2720430.402 | 1257184.07
21 | 2720427.8807 | 1257180.093 | 2720430.402 | 1257184.07
22 | 2720413.1322 | 1257150.5673 | 2720405.3157 | 1257153.3703
23 | 2720427.8807 | 1257180.093 | 2720419.2385 | 1257168.5183 | 2720413.1322 | 1257150.5673
24 | 2720455.0505 | 1257109.6844 | 2720464.957 | 1257095.1518
25 | 2720455.0505 | 1257109.6844 | 2720443.0416 | 1257097.8631
26 | 2720329.6731 | 1257086.8773 | 2720331.1123 | 1257086.3771 | 2720334.983 | 1257087.0564 | 2720341.5768 | 1257088.8475 | 2720351.0862 | 1257088.585 | 2720355.0851 | 1257087.205
27 | 2720329.6731 | 1257086.8773 | 2720302.8233 | 1257096.2092
28 | 2720381.2684 | 1257078.1688 | 2720355.0851 | 1257087.205
29 | 2720302.8233 | 1257096.2092 | 2720277.3181 | 1257105.0737
30 | 2720404.2174 | 1257064.9225 | 2720400.2905 | 1257069.2242 | 2720393.1215 | 1257073.4598 | 2720387.5104 | 1257076.0146 | 2720381.2684 | 1257078.1688
31 | 2720255.0951 | 1257110.4757 | 2720262.3593 | 1257112.3138 | 2720271.6537 | 1257107.0424 | 2720277.3181 | 1257105.0737
32 | 2720404.2174 | 1257064.9225 | 2720412.9037 | 1257071.7496 | 2720427.2324 | 1257083.0064
33 | 2720255.0951 | 1257110.4757 | 2720259.5982 | 1257120.8651
34 | 2720255.0951 | 1257110.4757 | 2720245.1276 | 1257109.528 | 2720241.4894 | 1257110.7143
35 | 2720255.0951 | 1257110.4757 | 2720253.5838 | 1257105.4184 | 2720250.3778 | 1257096.5233 | 2720249.148 | 1257093.3503
36 | 2720427.2324 | 1257083.0064 | 2720410.2397 | 1257089.9648
37 | 2720427.2324 | 1257083.0064 | 2720443.0416 | 1257097.8631
38 | 2720259.5982 | 1257120.8651 | 2720261.0176 | 1257124.1391
39 | 2720241.4894 | 1257110.7143 | 2720236.9686 | 1257112.1884
40 | 2720252.9944 | 1257072.0774 | 2720251.8059 | 1257073.3988 | 2720251.065 | 1257073.8509 | 2720243.3398 | 1257078.3645 | 2720249.148 | 1257093.3503
41 | 2720261.0176 | 1257124.1391 | 2720263.8096 | 1257130.5792
42 | 2720220.0726 | 1257117.6976 | 2720236.9686 | 1257112.1884
43 | 2720252.9944 | 1257072.0774 | 2720257.2868 | 1257069.4709
44 | 2720231.3024 | 1257069.0342 | 2720242.0964 | 1257072.0004 | 2720248.5215 | 1257073.1875 | 2720252.9944 | 1257072.0774
45 | 2720267.5633 | 1257139.2375 | 2720263.8096 | 1257130.5792
46 | 2720219.2092 | 1257117.9791 | 2720220.0726 | 1257117.6976
47 | 2720274.965 | 1257061.1682 | 2720262.0674 | 1257066.568 | 2720257.2868 | 1257069.4709
48 | 2720231.3024 | 1257069.0342 | 2720226.7582 | 1257071.7197
49 | 2720231.3024 | 1257069.0342 | 2720238.3228 | 1257059.8577 | 2720242.074 | 1257052.8115
50 | 2720428.3264 | 1257104.5237 | 2720400.4642 | 1257117.1349
51 | 2720374.5454 | 1257128.8665 | 2720400.4642 | 1257117.1349
52 | 2720443.0416 | 1257097.8631 | 2720428.3264 | 1257104.5237
53 | 2720410.2397 | 1257089.9648 | 2720396.9005 | 1257095.4271
54 | 2720359.337 | 1256994.6193 | 2720359.2919 | 1256994.5178
55 | 2720362.6952 | 1257002.1902 | 2720359.337 | 1256994.6193
56 | 2720362.6952 | 1257002.1902 | 2720389.7786 | 1257009.7809 | 2720393.5734 | 1257011.971 | 2720397.6838 | 1257017.5595 | 2720398.9217 | 1257019.7421 | 2720399.4954 | 1257021.9446 | 2720404.1818 | 1257023.024
57 | 2720362.6952 | 1257002.1902 | 2720364.8684 | 1257010.3082
58 | 2720364.8684 | 1257010.3082 | 2720364.8321 | 1257029.146 | 2720362.919 | 1257031.5982 | 2720354.3061 | 1257033.97
59 | 2720351.7942 | 1257034.6617 | 2720354.3061 | 1257033.97
60 | 2720322.3028 | 1257042.7828 | 2720351.7942 | 1257034.6617
61 | 2720322.3028 | 1257042.7828 | 2720318.4511 | 1257006.4835
62 | 2720318.4511 | 1257006.4835 | 2720314.2089 | 1256995.3434
63 | 2720275.4423 | 1256991.9414 | 2720314.2089 | 1256995.3434
64 | 2720306.9666 | 1257132.2544 | 2720307.7839 | 1257131.9197
65 | 2720307.7839 | 1257131.9197 | 2720325.6683 | 1257124.5961
66 | 2720325.6683 | 1257124.5961 | 2720325.7798 | 1257124.5505
67 | 2720325.7798 | 1257124.5505 | 2720343.1175 | 1257117.4508
68 | 2720343.1175 | 1257117.4508 | 2720343.3391 | 1257117.3601
69 | 2720360.8237 | 1257110.2002 | 2720379.2499 | 1257102.6549
70 | 2720343.3391 | 1257117.3601 | 2720360.8237 | 1257110.2002
71 | 2720396.9005 | 1257095.4271 | 2720379.2499 | 1257102.6549
72 | 2720275.4423 | 1256991.9414 | 2720235.8792 | 1257003.4367
73 | 2720237.0049 | 1257005.9506 | 2720235.8792 | 1257003.4367
74 | 2720246.8156 | 1257026.123 | 2720247.9294 | 1257038.1227 | 2720245.2869 | 1257046.7766 | 2720242.074 | 1257052.8115
75 | 2720246.8156 | 1257026.123 | 2720246.8156 | 1257026.123 | 2720244.5112 | 1257021.3848
76 | 2720237.0049 | 1257005.9506 | 2720244.5112 | 1257021.3848
77 | 2720237.0049 | 1257005.9506 | 2720206.6411 | 1257016.6747
78 | 2720226.7582 | 1257071.7197 | 2720222.6066 | 1257074.1732 | 2720215.2389 | 1257077.5136
79 | 2720206.6411 | 1257016.6747 | 2720185.5549 | 1257024.122
80 | 2720208.2947 | 1257080.662 | 2720215.2389 | 1257077.5136
81 | 2720166.246 | 1257030.9416 | 2720185.5549 | 1257024.122
82 | 2720170.1936 | 1257187.3421 | 2720163.4146 | 1257170.0816
83 | 2720171.6965 | 1257191.1687 | 2720170.1936 | 1257187.3421
84 | 2720160.1913 | 1257161.8748 | 2720163.4146 | 1257170.0816
85 | 2720171.6965 | 1257191.1687 | 2720174.8995 | 1257199.324
86 | 2720160.1913 | 1257161.8748 | 2720159.3125 | 1257159.637
87 | 2720182.248 | 1257218.0345 | 2720174.8995 | 1257199.324
88 | 2720151.5957 | 1257139.9889 | 2720159.3125 | 1257159.637
89 | 2720182.248 | 1257218.0345 | 2720166.7089 | 1257221.3493
90 | 2720182.248 | 1257218.0345 | 2720190.5378 | 1257216.0645
91 | 2720151.5957 | 1257139.9889 | 2720171.7905 | 1257131.6915
92 | 2720136.1629 | 1257228.7529 | 2720149.6428 | 1257224.9899 | 2720166.7089 | 1257221.3493
93 | 2720190.5378 | 1257216.0645 | 2720198.9367 | 1257214.0686
94 | 2720208.2947 | 1257080.662 | 2720190.9672 | 1257088.5181
95 | 2720190.9672 | 1257088.5181 | 2720173.0718 | 1257096.6317
96 | 2720156.2291 | 1257104.2679 | 2720173.0718 | 1257096.6317
97 | 2720156.2291 | 1257104.2679 | 2720138.9349 | 1257112.1089
98 | 2720138.9349 | 1257112.1089 | 2720133.6788 | 1257114.492 | 2720123.5573 | 1257120.6832
99 | 2720200.8442 | 1257213.6153 | 2720198.9367 | 1257214.0686
100 | 2720207.3531 | 1257212.0685 | 2720200.8442 | 1257213.6153
101 | 2720219.881 | 1257209.0913 | 2720207.3531 | 1257212.0685
102 | 2720136.1629 | 1257228.7529 | 2720140.8872 | 1257247.2929
103 | 2720136.1629 | 1257228.7529 | 2720116.9547 | 1257233.0558
104 | 2720223.0736 | 1257208.3326 | 2720219.881 | 1257209.0913
105 | 2720141.3882 | 1257249.2591 | 2720140.8872 | 1257247.2929
106 | 2720116.9547 | 1257233.0558 | 2720096.391 | 1257236.3357
107 | 2720166.246 | 1257030.9416 | 2720163.1973 | 1257032.0184
108 | 2720153.9773 | 1257035.986 | 2720155.8406 | 1257034.6166 | 2720163.1973 | 1257032.0184
109 | 2720153.9773 | 1257035.986 | 2720131.7918 | 1257052.2904
110 | 2720125.1412 | 1257056.1346 | 2720127.7155 | 1257055.2861 | 2720131.7918 | 1257052.2904
111 | 2720125.1412 | 1257056.1346 | 2720120.4417 | 1257043.6121
112 | 2720125.1412 | 1257056.1346 | 2720115.1801 | 1257059.4261
113 | 2720267.5633 | 1257139.2375 | 2720269.5843 | 1257143.8991 | 2720275.3585 | 1257158.1151
114 | 2720284.2093 | 1257179.9054 | 2720275.3585 | 1257158.1151
115 | 2720289.1371 | 1257192.0272 | 2720284.2093 | 1257179.9054
116 | 2720268.9046 | 1257172.8772 | 2720270.2669 | 1257172.6492 | 2720273.9818 | 1257175.4271 | 2720276.7893 | 1257179.799 | 2720281.7146 | 1257180.9223 | 2720284.2093 | 1257179.9054
117 | 2720289.1371 | 1257192.0272 | 2720268.7331 | 1257197.2617
118 | 2720281.4091 | 1257221.9073 | 2720276.2213 | 1257223.3143 | 2720268.7331 | 1257197.2617
119 | 2720268.7331 | 1257197.2617 | 2720255.1949 | 1257200.5861
120 | 2720219.2092 | 1257117.9791 | 2720213.2653 | 1257119.9172
121 | 2720212.7902 | 1257120.0721 | 2720213.2653 | 1257119.9172
122 | 2720197.7549 | 1257124.9746 | 2720212.7902 | 1257120.0721
123 | 2720123.5573 | 1257120.6832 | 2720109.0089 | 1257129.5823 | 2720104.3842 | 1257133.0331
124 | 2720240.9198 | 1257204.0915 | 2720255.1949 | 1257200.5861
125 | 2720240.9198 | 1257204.0915 | 2720236.8262 | 1257205.0643
126 | 2720240.9198 | 1257204.0915 | 2720243.6013 | 1257215.9964
127 | 2720236.1225 | 1257205.2316 | 2720236.8262 | 1257205.0643
128 | 2720246.0532 | 1257226.8823 | 2720243.6013 | 1257215.9964
129 | 2720223.0736 | 1257208.3326 | 2720236.1225 | 1257205.2316
130 | 2720259.2142 | 1257223.9693 | 2720246.0532 | 1257226.8823
131 | 2720237.7704 | 1257228.7824 | 2720246.0532 | 1257226.8823
132 | 2720352.4447 | 1257172.33 | 2720371.9853 | 1257165.3227
133 | 2720352.4447 | 1257172.33 | 2720362.7988 | 1257203.9458
134 | 2720405.3157 | 1257153.3703 | 2720371.9853 | 1257165.3227
135 | 2720362.7988 | 1257203.9458 | 2720332.7542 | 1257212.8579
136 | 2720362.7988 | 1257203.9458 | 2720387.301 | 1257194.9657
137 | 2720237.7704 | 1257228.7824 | 2720232.9058 | 1257278.4825
138 | 2720065.8821 | 1257080.7601 | 2720066.0723 | 1257087.3524 | 2720066.0723 | 1257087.3524
139 | 2720033.4884 | 1257098.1201 | 2720049.0538 | 1257096.3596 | 2720060.1048 | 1257093.7258 | 2720066.0723 | 1257087.3524
140 | 2720065.5852 | 1257070.4723 | 2720065.8821 | 1257080.7601
141 | 2720065.5852 | 1257070.4723 | 2720063.7229 | 1257058.9134
142 | 2720065.5852 | 1257070.4723 | 2720079.3691 | 1257067.6554
143 | 2720063.7229 | 1257058.9134 | 2720025.7155 | 1257073.0011
144 | 2720079.4722 | 1257067.6343 | 2720079.3691 | 1257067.6554
145 | 2720016.3895 | 1257076.4578 | 2720025.7155 | 1257073.0011
146 | 2720079.4722 | 1257067.6343 | 2720097.38 | 1257063.9745
147 | 2720188.6653 | 1257127.9384 | 2720190.9531 | 1257127.1924
148 | 2720195.168 | 1257125.8181 | 2720190.9531 | 1257127.1924
149 | 2720197.7549 | 1257124.9746 | 2720195.168 | 1257125.8181
150 | 2720115.1801 | 1257059.4261 | 2720113.8456 | 1257059.867
151 | 2720113.8456 | 1257059.867 | 2720107.9562 | 1257061.8131 | 2720097.38 | 1257063.9745
152 | 2720232.9058 | 1257278.4825 | 2720234.5741 | 1257284.379
153 | 2720234.5741 | 1257284.379 | 2720244.2011 | 1257318.4064
154 | 2720247.0246 | 1257328.3863 | 2720244.2011 | 1257318.4064
155 | 2720036.1026 | 1257249.2411 | 2720058.8817 | 1257243.5425 | 2720082.0093 | 1257238.6295 | 2720096.391 | 1257236.3357
156 | 2720141.3882 | 1257249.2591 | 2720146.8932 | 1257270.8629 | 2720148.5729 | 1257277.2915 | 2720153.0577 | 1257291.5513
157 | 2720153.0577 | 1257291.5513 | 2720154.604 | 1257296.4677
158 | 2720161.4503 | 1257318.2355 | 2720154.604 | 1257296.4677
159 | 2720161.4503 | 1257318.2355 | 2720161.4591 | 1257318.2636
160 | 2720161.4591 | 1257318.2636 | 2720168.8068 | 1257341.6257
161 | 2720168.8068 | 1257341.6257 | 2720174.1972 | 1257358.7647
162 | 2720177.7862 | 1257370.1759 | 2720174.1972 | 1257358.7647
163 | 2720184.8477 | 1257392.6283 | 2720177.7862 | 1257370.1759
164 | 2720184.8477 | 1257392.6283 | 2720150.8678 | 1257403.8815
165 | 2720325.6808 | 1257252.8895 | 2720306.7177 | 1257258.1198

## bus_geodata
| x | y | coords
0 | 2720459.6131 | 1257206.4656
1 | 2720481.5057 | 1257189.1921
2 | 2720498.2157 | 1257179.5795
3 | 2720462.3236 | 1257173.6771
4 | 2720528.4763 | 1257231.2441
5 | 2720447.8047 | 1257178.4041
6 | 2720461.8375 | 1257133.0985
7 | 2720437.6132 | 1257141.7869
8 | 2720457.3008 | 1257117.4475
9 | 2720370.6421 | 1257268.4949
10 | 2720353.9301 | 1257266.8871
11 | 2720394.901 | 1257237.6548
12 | 2720351.2882 | 1257257.7142
13 | 2720331.3331 | 1257273.1443
14 | 2720336.4117 | 1257292.3086
15 | 2720312.9733 | 1257313.2394
16 | 2720332.6457 | 1257278.0974
17 | 2720426.8734 | 1257212.5965
18 | 2720442.2848 | 1257200.2258
19 | 2720430.402 | 1257184.07
20 | 2720413.1322 | 1257150.5673
21 | 2720455.0505 | 1257109.6844
22 | 2720329.6731 | 1257086.8773
23 | 2720355.0851 | 1257087.205
24 | 2720302.8233 | 1257096.2092
25 | 2720381.2684 | 1257078.1688
26 | 2720277.3181 | 1257105.0737
27 | 2720404.2174 | 1257064.9225
28 | 2720255.0951 | 1257110.4757
29 | 2720427.2324 | 1257083.0064
30 | 2720259.5982 | 1257120.8651
31 | 2720241.4894 | 1257110.7143
32 | 2720249.148 | 1257093.3503
33 | 2720261.0176 | 1257124.1391
34 | 2720236.9686 | 1257112.1884
35 | 2720252.9944 | 1257072.0774
36 | 2720263.8096 | 1257130.5792
37 | 2720220.0726 | 1257117.6976
38 | 2720257.2868 | 1257069.4709
39 | 2720231.3024 | 1257069.0342
40 | 2720400.4642 | 1257117.1349
41 | 2720428.3264 | 1257104.5237
42 | 2720374.5454 | 1257128.8665
43 | 2720443.0416 | 1257097.8631
44 | 2720464.957 | 1257095.1518
45 | 2720410.2397 | 1257089.9648
46 | 2720359.2919 | 1256994.5178
47 | 2720359.337 | 1256994.6193
48 | 2720362.6952 | 1257002.1902
49 | 2720404.1818 | 1257023.024
50 | 2720364.8684 | 1257010.3082
51 | 2720354.3061 | 1257033.97
52 | 2720351.7942 | 1257034.6617
53 | 2720322.3028 | 1257042.7828
54 | 2720318.4511 | 1257006.4835
55 | 2720274.965 | 1257061.1682
56 | 2720314.2089 | 1256995.3434
57 | 2720306.9666 | 1257132.2544
58 | 2720307.7839 | 1257131.9197
59 | 2720325.6683 | 1257124.5961
60 | 2720325.7798 | 1257124.5505
61 | 2720343.1175 | 1257117.4508
62 | 2720360.8237 | 1257110.2002
63 | 2720379.2499 | 1257102.6549
64 | 2720343.3391 | 1257117.3601
65 | 2720396.9005 | 1257095.4271
66 | 2720275.4423 | 1256991.9414
67 | 2720235.8792 | 1257003.4367
68 | 2720246.8156 | 1257026.123
69 | 2720242.074 | 1257052.8115
70 | 2720244.5112 | 1257021.3848
71 | 2720237.0049 | 1257005.9506
72 | 2720226.7582 | 1257071.7197
73 | 2720206.6411 | 1257016.6747
74 | 2720215.2389 | 1257077.5136
75 | 2720185.5549 | 1257024.122
76 | 2720170.1936 | 1257187.3421
77 | 2720163.4146 | 1257170.0816
78 | 2720171.6965 | 1257191.1687
79 | 2720160.1913 | 1257161.8748
80 | 2720174.8995 | 1257199.324
81 | 2720159.3125 | 1257159.637
82 | 2720182.248 | 1257218.0345
83 | 2720151.5957 | 1257139.9889
84 | 2720166.7089 | 1257221.3493
85 | 2720190.5378 | 1257216.0645
86 | 2720208.2947 | 1257080.662
87 | 2720190.9672 | 1257088.5181
88 | 2720173.0718 | 1257096.6317
89 | 2720156.2291 | 1257104.2679
90 | 2720138.9349 | 1257112.1089
91 | 2720198.9367 | 1257214.0686
92 | 2720200.8442 | 1257213.6153
93 | 2720207.3531 | 1257212.0685
94 | 2720136.1629 | 1257228.7529
95 | 2720219.881 | 1257209.0913
96 | 2720140.8872 | 1257247.2929
97 | 2720116.9547 | 1257233.0558
98 | 2720166.246 | 1257030.9416
99 | 2720163.1973 | 1257032.0184
100 | 2720153.9773 | 1257035.986
101 | 2720131.7918 | 1257052.2904
102 | 2720125.1412 | 1257056.1346
103 | 2720267.5633 | 1257139.2375
104 | 2720275.3585 | 1257158.1151
105 | 2720284.2093 | 1257179.9054
106 | 2720289.1371 | 1257192.0272
107 | 2720268.9046 | 1257172.8772
108 | 2720268.7331 | 1257197.2617
109 | 2720219.2092 | 1257117.9791
110 | 2720213.2653 | 1257119.9172
111 | 2720212.7902 | 1257120.0721
112 | 2720123.5573 | 1257120.6832
113 | 2720104.3842 | 1257133.0331
114 | 2720255.1949 | 1257200.5861
115 | 2720240.9198 | 1257204.0915
116 | 2720281.4091 | 1257221.9073
117 | 2720236.8262 | 1257205.0643
118 | 2720243.6013 | 1257215.9964
119 | 2720236.1225 | 1257205.2316
120 | 2720246.0532 | 1257226.8823
121 | 2720352.4447 | 1257172.33
122 | 2720371.9853 | 1257165.3227
123 | 2720362.7988 | 1257203.9458
124 | 2720223.0736 | 1257208.3326
125 | 2720259.2142 | 1257223.9693
126 | 2720237.7704 | 1257228.7824
127 | 2720066.0723 | 1257087.3524
128 | 2720065.8821 | 1257080.7601
129 | 2720033.4884 | 1257098.1201
130 | 2720065.5852 | 1257070.4723
131 | 2720063.7229 | 1257058.9134
132 | 2720079.3691 | 1257067.6554
133 | 2720025.7155 | 1257073.0011
134 | 2720079.4722 | 1257067.6343
135 | 2720188.6653 | 1257127.9384
136 | 2720190.9531 | 1257127.1924
137 | 2720195.168 | 1257125.8181
138 | 2720197.7549 | 1257124.9746
139 | 2720120.4417 | 1257043.6121
140 | 2720115.1801 | 1257059.4261
141 | 2720113.8456 | 1257059.867
142 | 2720097.38 | 1257063.9745
143 | 2720171.7905 | 1257131.6915
144 | 2720016.3895 | 1257076.4578
145 | 2720232.9058 | 1257278.4825
146 | 2720234.5741 | 1257284.379
147 | 2720244.2011 | 1257318.4064
148 | 2720405.3157 | 1257153.3703
149 | 2720427.8807 | 1257180.093
150 | 2720096.391 | 1257236.3357
151 | 2720036.1026 | 1257249.2411
152 | 2720141.3882 | 1257249.2591
153 | 2720153.0577 | 1257291.5513
154 | 2720154.604 | 1257296.4677
155 | 2720161.4503 | 1257318.2355
156 | 2720161.4591 | 1257318.2636
157 | 2720168.8068 | 1257341.6257
158 | 2720247.0246 | 1257328.3863
159 | 2720174.1972 | 1257358.7647
160 | 2720177.7862 | 1257370.1759
161 | 2720184.8477 | 1257392.6283
162 | 2720150.8678 | 1257403.8815
163 | 2720325.6808 | 1257252.8895
164 | 2720306.7177 | 1257258.1198
165 | 2720332.7542 | 1257212.8579
166 | 2720387.301 | 1257194.9657
167 | 2720284.2093 | 1257179.9054

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1