## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4946-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4946-10_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4946-10_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_4946-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4946-10_0_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_4946-10_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4946-10_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4946-10_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4946-10_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_4946-10_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4946-10_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4946-10_0_3_node_105 | 0.4 | n |  | TRUE
12 | bus_LV_4946-10_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_4946-10_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_4946-10_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4946-10_0_3_node_99 | 0.4 | n |  | TRUE
16 | bus_LV_4946-10_0_3_node_97 | 0.4 | n |  | TRUE
17 | bus_LV_4946-10_0_3_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_4946-10_0_3_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_4946-10_0_3_node_101 | 0.4 | n |  | TRUE
20 | bus_LV_4946-10_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_4946-10_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4946-10_0_3_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_4946-10_0_3_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_4946-10_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4946-10_0_3_node_92 | 0.4 | n |  | TRUE
26 | bus_LV_4946-10_0_3_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_4946-10_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_4946-10_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_4946-10_0_3_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_4946-10_0_3_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_4946-10_0_3_node_106 | 0.4 | n |  | TRUE
32 | bus_LV_4946-10_0_3_node_83 | 0.4 | n |  | TRUE
33 | bus_LV_4946-10_0_3_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_4946-10_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_4946-10_0_3_node_96 | 0.4 | n |  | TRUE
36 | bus_LV_4946-10_0_3_node_100 | 0.4 | n |  | TRUE
37 | bus_LV_4946-10_0_3_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_4946-10_0_3_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_4946-10_0_3_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_4946-10_0_3_node_16 | 0.4 | n |  | TRUE
41 | bus_LV_4946-10_0_3_node_17 | 0.4 | n |  | TRUE
42 | bus_LV_4946-10_0_3_node_18 | 0.4 | n |  | TRUE
43 | bus_LV_4946-10_0_3_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_4946-10_0_3_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_4946-10_0_3_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_4946-10_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_4946-10_0_3_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_4946-10_0_3_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_4946-10_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4946-10_0_3_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_4946-10_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_4946-10_0_3_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4946-10_0_3_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4946-10_0_3_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_4946-10_0_3_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_4946-10_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_4946-10_0_3_node_23 | 0.4 | n |  | TRUE
58 | bus_LV_4946-10_0_3_node_24 | 0.4 | n |  | TRUE
59 | bus_LV_4946-10_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_4946-10_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_4946-10_0_3_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_4946-10_0_3_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_4946-10_0_3_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4946-10_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_4946-10_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4946-10_0_3_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4946-10_0_3_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_4946-10_0_3_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_4946-10_0_3_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_4946-10_0_3_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_4946-10_0_3_node_40 | 0.4 | n |  | TRUE
72 | bus_LV_4946-10_0_3_node_41 | 0.4 | n |  | TRUE
73 | bus_LV_4946-10_0_3_node_95 | 0.4 | n |  | TRUE
74 | bus_LV_4946-10_0_3_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_4946-10_0_3_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_4946-10_0_3_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_4946-10_0_3_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_4946-10_0_3_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_4946-10_0_3_node_50 | 0.4 | n |  | TRUE
80 | bus_LV_4946-10_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_4946-10_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_4946-10_0_3_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4946-10_0_3_node_51 | 0.4 | n |  | TRUE
84 | bus_LV_4946-10_0_3_node_52 | 0.4 | n |  | TRUE
85 | bus_LV_4946-10_0_3_node_54 | 0.4 | n |  | TRUE
86 | bus_LV_4946-10_0_3_node_55 | 0.4 | n |  | TRUE
87 | bus_LV_4946-10_0_3_node_56 | 0.4 | n |  | TRUE
88 | bus_LV_4946-10_0_3_node_64 | 0.4 | n |  | TRUE
89 | bus_LV_4946-10_0_3_node_63 | 0.4 | n |  | TRUE
90 | bus_LV_4946-10_0_3_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_4946-10_0_3_node_76 | 0.4 | n |  | TRUE
92 | bus_LV_4946-10_0_3_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_4946-10_0_3_node_108 | 0.4 | n |  | TRUE
94 | bus_LV_4946-10_0_3_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_4946-10_0_3_node_107 | 0.4 | n |  | TRUE
96 | bus_LV_4946-10_0_3_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_4946-10_0_3_node_104 | 0.4 | n |  | TRUE
98 | bus_LV_4946-10_0_3_node_102 | 0.4 | n |  | TRUE
99 | bus_MV_488_1_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4946-10_0_3_load_0 | 0 | 0.017254 | 0.0043243 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4946-10_0_3_load_29 | 8 | 0.0047946 | 0.0012016 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4946-10_0_3_load_105 | 11 | 0.0029628 | 0.00074255 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4946-10_0_3_load_34 | 13 | 0.0017953 | 0.00044995 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4946-10_0_3_load_99 | 15 | 0.0052448 | 0.0013145 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4946-10_0_3_load_97 | 16 | 0.006242 | 0.0015644 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4946-10_0_3_load_101 | 19 | 0.0063824 | 0.0015996 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4946-10_0_3_load_32 | 20 | 0.0033055 | 0.00082843 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4946-10_0_3_load_65 | 22 | 0.0076586 | 0.0019194 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4946-10_0_3_load_70 | 23 | 0.0070934 | 0.0017778 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4946-10_0_3_load_92 | 25 | 0.0022214 | 0.00055673 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4946-10_0_3_load_82 | 26 | 0.0014568 | 0.0003651 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4946-10_0_3_load_33 | 27 | 0.0046335 | 0.0011613 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4946-10_0_3_load_106 | 31 | 0.052306 | 0.013109 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4946-10_0_3_load_83 | 32 | 0.0068337 | 0.0017127 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4946-10_0_3_load_103 | 33 | 0.0062438 | 0.0015648 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4946-10_0_3_load_96 | 35 | 0.0065063 | 0.0016306 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4946-10_0_3_load_100 | 36 | 0.0065915 | 0.001652 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4946-10_0_3_load_93 | 38 | 0.0022201 | 0.0005564 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4946-10_0_3_load_16 | 40 | 0.0014865 | 0.00037254 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4946-10_0_3_load_17 | 41 | 0.0048282 | 0.0012101 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4946-10_0_3_load_19 | 43 | 0.0096161 | 0.00241 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4946-10_0_3_load_20 | 44 | 0.0020342 | 0.00050981 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4946-10_0_3_load_80 | 47 | 0.0019204 | 0.0004813 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4946-10_0_3_load_36 | 49 | 0.0078756 | 0.0019738 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4946-10_0_3_load_43 | 52 | 0.0012315 | 0.00030864 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4946-10_0_3_load_90 | 54 | 0.0011692 | 0.00029304 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4946-10_0_3_load_28 | 55 | 0.023295 | 0.0058382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4946-10_0_3_load_23 | 57 | 0.0063263 | 0.0015855 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4946-10_0_3_load_24 | 58 | 0.0022283 | 0.00055847 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4946-10_0_3_load_109 | 61 | 0.00084931 | 0.00021286 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4946-10_0_3_load_59 | 64 | 0.0020273 | 0.00050809 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4946-10_0_3_load_66 | 66 | 0.00642 | 0.001609 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4946-10_0_3_load_89 | 67 | 0.0016838 | 0.00042199 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4946-10_0_3_load_91 | 68 | 0.0043519 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4946-10_0_3_load_37 | 69 | 0.0037185 | 0.00093196 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4946-10_0_3_load_38 | 70 | 0.0052632 | 0.0013191 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4946-10_0_3_load_40 | 71 | 0.0010557 | 0.00026458 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4946-10_0_3_load_41 | 72 | 0.0015134 | 0.0003793 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4946-10_0_3_load_95 | 73 | 0.0014614 | 0.00036626 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4946-10_0_3_load_94 | 74 | 0.00138 | 0.00034585 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4946-10_0_3_load_46 | 75 | 0.0078408 | 0.0019651 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4946-10_0_3_load_48 | 76 | 0.0013247 | 0.00033201 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4946-10_0_3_load_47 | 77 | 0.0013512 | 0.00033864 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4946-10_0_3_load_50 | 79 | 0.0018661 | 0.00046769 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4946-10_0_3_load_73 | 82 | 0.0057225 | 0.0014342 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4946-10_0_3_load_51 | 83 | 0.0085451 | 0.0021416 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4946-10_0_3_load_54 | 85 | 0.0074206 | 0.0018598 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4946-10_0_3_load_56 | 87 | 0.0079273 | 0.0019868 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4946-10_0_3_load_64 | 88 | 0.0081006 | 0.0020302 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4946-10_0_3_load_63 | 89 | 0.00084632 | 0.00021211 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4946-10_0_3_load_108 | 93 | 0.0038627 | 0.00096809 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4946-10_0_3_load_107 | 95 | 0.0038603 | 0.00096748 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4946-10_0_3_load_98 | 96 | 0.00086744 | 0.0002174 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4946-10_0_3_load_104 | 97 | 0.0062542 | 0.0015674 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4946-10_0_3_load_102 | 98 | 0.00086606 | 0.00021706 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4946-10_0_3_line_0 |  | 0 | 1 | 0.034855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4946-10_0_3_line_1 |  | 1 | 4 | 0.047156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4946-10_0_3_line_2 |  | 1 | 2 | 0.031283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4946-10_0_3_line_3 |  | 2 | 3 | 0.038868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4946-10_0_3_line_4 |  | 3 | 5 | 0.054612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4946-10_0_3_line_5 |  | 4 | 20 | 0.015988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4946-10_0_3_line_6 |  | 5 | 11 | 0.020321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4946-10_0_3_line_7 |  | 6 | 7 | 0.043123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4946-10_0_3_line_8 |  | 6 | 8 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4946-10_0_3_line_9 |  | 7 | 12 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4946-10_0_3_line_10 |  | 7 | 13 | 0.030885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4946-10_0_3_line_11 |  | 9 | 10 | 0.021707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4946-10_0_3_line_12 |  | 9 | 11 | 0.0039768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4946-10_0_3_line_13 |  | 10 | 17 | 0.043915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4946-10_0_3_line_14 |  | 10 | 18 | 0.034068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4946-10_0_3_line_15 |  | 10 | 19 | 0.018883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4946-10_0_3_line_16 |  | 12 | 27 | 0.050028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4946-10_0_3_line_17 |  | 12 | 20 | 0.027258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4946-10_0_3_line_18 |  | 14 | 15 | 0.015228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4946-10_0_3_line_19 |  | 14 | 16 | 0.026536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4946-10_0_3_line_20 |  | 16 | 35 | 0.016089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4946-10_0_3_line_21 |  | 17 | 33 | 0.014804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4946-10_0_3_line_22 |  | 17 | 34 | 0.080638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4946-10_0_3_line_23 |  | 17 | 30 | 0.009292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4946-10_0_3_line_24 |  | 18 | 32 | 0.031705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4946-10_0_3_line_25 |  | 19 | 36 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4946-10_0_3_line_26 |  | 21 | 22 | 0.016407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4946-10_0_3_line_27 |  | 21 | 23 | 0.030585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4946-10_0_3_line_28 |  | 22 | 37 | 0.022861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4946-10_0_3_line_29 |  | 23 | 28 | 0.028639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4946-10_0_3_line_30 |  | 24 | 25 | 0.013186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4946-10_0_3_line_31 |  | 24 | 26 | 0.013205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4946-10_0_3_line_32 |  | 25 | 38 | 0.021304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4946-10_0_3_line_33 |  | 26 | 39 | 0.021612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4946-10_0_3_line_34 |  | 28 | 29 | 0.0098262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4946-10_0_3_line_35 |  | 29 | 68 | 0.02349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4946-10_0_3_line_36 |  | 29 | 67 | 0.017143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4946-10_0_3_line_37 |  | 30 | 31 | 0.089975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4946-10_0_3_line_38 |  | 33 | 98 | 0.0099572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4946-10_0_3_line_39 |  | 34 | 59 | 0.02271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4946-10_0_3_line_40 |  | 34 | 60 | 0.033363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4946-10_0_3_line_41 |  | 34 | 58 | 0.041088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4946-10_0_3_line_42 |  | 35 | 92 | 0.04456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4946-10_0_3_line_43 |  | 37 | 88 | 0.015742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4946-10_0_3_line_44 |  | 37 | 86 | 0.018176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4946-10_0_3_line_45 |  | 38 | 80 | 0.0051342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4946-10_0_3_line_46 |  | 39 | 79 | 0.0052942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4946-10_0_3_line_47 |  | 40 | 41 | 0.011508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4946-10_0_3_line_48 |  | 40 | 42 | 0.016689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4946-10_0_3_line_49 |  | 41 | 43 | 0.022086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4946-10_0_3_line_50 |  | 42 | 44 | 0.0047065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4946-10_0_3_line_51 |  | 42 | 45 | 0.032658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4946-10_0_3_line_52 |  | 43 | 46 | 0.0043986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4946-10_0_3_line_53 |  | 44 | 47 | 0.021727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4946-10_0_3_line_54 |  | 45 | 48 | 0.022496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4946-10_0_3_line_55 |  | 45 | 49 | 0.024674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4946-10_0_3_line_56 |  | 46 | 53 | 0.021797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4946-10_0_3_line_57 |  | 48 | 54 | 0.010589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4946-10_0_3_line_58 |  | 49 | 51 | 0.02448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4946-10_0_3_line_59 |  | 50 | 51 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4946-10_0_3_line_60 |  | 50 | 52 | 0.021474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4946-10_0_3_line_61 |  | 51 | 55 | 0.024781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4946-10_0_3_line_62 |  | 52 | 56 | 0.02792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4946-10_0_3_line_63 |  | 53 | 73 | 0.022551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4946-10_0_3_line_64 |  | 54 | 67 | 0.015188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4946-10_0_3_line_65 |  | 56 | 72 | 0.052203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4946-10_0_3_line_66 |  | 57 | 58 | 0.0063246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4946-10_0_3_line_67 |  | 59 | 61 | 0.01115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4946-10_0_3_line_68 |  | 59 | 62 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4946-10_0_3_line_69 |  | 60 | 66 | 0.020904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4946-10_0_3_line_70 |  | 62 | 89 | 0.002117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4946-10_0_3_line_71 |  | 62 | 64 | 0.024619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4946-10_0_3_line_72 |  | 63 | 64 | 0.0033995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4946-10_0_3_line_73 |  | 63 | 65 | 0.027806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4946-10_0_3_line_74 |  | 65 | 87 | 0.019538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4946-10_0_3_line_75 |  | 65 | 83 | 0.014724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4946-10_0_3_line_76 |  | 69 | 70 | 0.018842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4946-10_0_3_line_77 |  | 70 | 71 | 0.043414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4946-10_0_3_line_78 |  | 71 | 72 | 0.026257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4946-10_0_3_line_79 |  | 73 | 74 | 0.0089394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4946-10_0_3_line_80 |  | 75 | 76 | 0.013657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4946-10_0_3_line_81 |  | 76 | 79 | 0.021527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4946-10_0_3_line_82 |  | 77 | 78 | 0.0049209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4946-10_0_3_line_83 |  | 78 | 80 | 0.007349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4946-10_0_3_line_84 |  | 78 | 81 | 0.013675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4946-10_0_3_line_85 |  | 81 | 82 | 0.0068879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4946-10_0_3_line_86 |  | 82 | 90 | 0.02655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4946-10_0_3_line_87 |  | 83 | 84 | 0.015358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4946-10_0_3_line_88 |  | 84 | 85 | 0.018881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4946-10_0_3_line_89 |  | 84 | 86 | 0.020562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4946-10_0_3_line_90 |  | 90 | 91 | 0.044567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4946-10_0_3_line_91 |  | 90 | 92 | 0.013176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4946-10_0_3_line_92 |  | 91 | 93 | 0.001903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4946-10_0_3_line_93 |  | 91 | 94 | 0.011899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4946-10_0_3_line_94 |  | 92 | 96 | 0.010304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4946-10_0_3_line_95 |  | 94 | 95 | 0.001891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4946-10_0_3_line_96 |  | 96 | 97 | 0.0086206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4946-10_0_3_line_97 |  | 97 | 98 | 0.0088271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4946-10_0_3_trafo_63 | 0.63 MVA 20/0.4 kV | 99 | 89 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2724758.6867 | 1269582.2439 | 2724742.845 | 1269551.1972
1 | 2724758.6867 | 1269582.2439 | 2724773.4487 | 1269574.7153 | 2724773.2671 | 1269573.6883 | 2724798.0333 | 1269561.1554 | 2724799.787 | 1269561.8709
2 | 2724752.4279 | 1269603.4314 | 2724765.994 | 1269596.567 | 2724758.6867 | 1269582.2439
3 | 2724752.4279 | 1269603.4314 | 2724754.3488 | 1269606.5637 | 2724759.2383 | 1269615.2639 | 2724765.8157 | 1269610.6986 | 2724768.5365 | 1269609.466 | 2724771.1406 | 1269608.4089 | 2724773.9696 | 1269607.757 | 2724776.6295 | 1269607.2682 | 2724782.4127 | 1269606.8011
4 | 2724776.432 | 1269654.3521 | 2724773.7269 | 1269648.7898 | 2724770.8558 | 1269642.8904 | 2724774.51 | 1269637.7406 | 2724776.7579 | 1269633.2395 | 2724778.0755 | 1269628.5963 | 2724778.8266 | 1269623.6854 | 2724778.6121 | 1269619.2323 | 2724784.4877 | 1269616.1758 | 2724783.3342 | 1269612.7038 | 2724782.7151 | 1269609.9437 | 2724782.4127 | 1269606.8011
5 | 2724799.787 | 1269561.8709 | 2724814.0013 | 1269554.5523
6 | 2724776.432 | 1269654.3521 | 2724779.8979 | 1269653.4801 | 2724783.4773 | 1269653.2888 | 2724788.1644 | 1269654.1108 | 2724791.9966 | 1269656.2048 | 2724793.9328 | 1269658.2587 | 2724794.6357 | 1269659.2495
7 | 2724840.5465 | 1269549.7986 | 2724848.4045 | 1269545.9055 | 2724849.9958 | 1269549.676 | 2724853.2671 | 1269556.5848 | 2724873.5683 | 1269546.6158
8 | 2724873.5683 | 1269546.6158 | 2724890.0409 | 1269538.5257
9 | 2724834.3522 | 1269537.3117 | 2724837.6959 | 1269543.9997 | 2724840.5465 | 1269549.7986
10 | 2724840.5465 | 1269549.7986 | 2724813.0739 | 1269563.9107
11 | 2724796.9369 | 1269662.4928 | 2724802.0319 | 1269659.3308 | 2724809.188 | 1269673.3172
12 | 2724796.9369 | 1269662.4928 | 2724794.6357 | 1269659.2495
13 | 2724828.793 | 1269712.6123 | 2724815.4911 | 1269685.6395 | 2724809.188 | 1269673.3172
14 | 2724797.4003 | 1269694.688 | 2724804.2699 | 1269691.2521 | 2724815.4911 | 1269685.6395 | 2724809.188 | 1269673.3172
15 | 2724809.188 | 1269673.3172 | 2724825.4982 | 1269663.8014
16 | 2724834.3522 | 1269537.3117 | 2724812.9897 | 1269494.5986 | 2724812.5444 | 1269493.2324 | 2724812.5695 | 1269492.3988
17 | 2724834.3522 | 1269537.3117 | 2724825.0374 | 1269548.8701 | 2724814.0013 | 1269554.5523
18 | 2724869.5713 | 1269619.9103 | 2724855.8886 | 1269626.5953
19 | 2724869.5713 | 1269619.9103 | 2724871.7416 | 1269626.5512 | 2724872.5278 | 1269636.3547 | 2724871.5555 | 1269646.0209
20 | 2724872.7122 | 1269662.0676 | 2724872.6549 | 1269661.6586 | 2724871.5555 | 1269646.0209
21 | 2724828.793 | 1269712.6123 | 2724843.4992 | 1269710.9145
22 | 2724828.793 | 1269712.6123 | 2724830.8362 | 1269716.7259 | 2724860.5822 | 1269776.5433 | 2724864.6976 | 1269784.8157
23 | 2724826.5287 | 1269718.6033 | 2724830.8362 | 1269716.7259 | 2724828.793 | 1269712.6123
24 | 2724797.4003 | 1269694.688 | 2724789.1152 | 1269678.2088 | 2724777.2256 | 1269684.0801
25 | 2724840.5245 | 1269650.6048 | 2724826.5718 | 1269663.1751 | 2724825.4982 | 1269663.8014
26 | 2725002.5626 | 1269723.9971 | 2724986.6034 | 1269727.9964
27 | 2725002.5626 | 1269723.9971 | 2725000.1832 | 1269733.2775 | 2724999.6638 | 1269754.2759
28 | 2724986.6034 | 1269727.9964 | 2724964.8196 | 1269735.1311
29 | 2725001.4213 | 1269782.8608 | 2724999.6602 | 1269754.4194 | 2724999.6638 | 1269754.2759
30 | 2724964.0383 | 1269657.1979 | 2724953.1404 | 1269664.6207
31 | 2724964.0383 | 1269657.1979 | 2724956.8504 | 1269646.1212
32 | 2724953.1404 | 1269664.6207 | 2724935.5332 | 1269676.6134
33 | 2724945.086 | 1269627.9922 | 2724956.8504 | 1269646.1212
34 | 2725001.4213 | 1269782.8608 | 2725001.7085 | 1269786.3591 | 2725002.2301 | 1269792.6537
35 | 2725002.2301 | 1269792.6537 | 2724979.0901 | 1269796.6941
36 | 2725002.2301 | 1269792.6537 | 2725003.6514 | 1269809.7375
37 | 2724826.5287 | 1269718.6033 | 2724825.3378 | 1269719.39 | 2724824.3952 | 1269721.2496 | 2724824.1399 | 1269723.0013 | 2724824.9964 | 1269725.2104 | 2724827.317 | 1269729.7303 | 2724835.0182 | 1269746.0526 | 2724830.8442 | 1269748.0217 | 2724781.519 | 1269771.3875
38 | 2724853.3907 | 1269709.7726 | 2724843.4992 | 1269710.9145
39 | 2724864.6976 | 1269784.8157 | 2724860.5822 | 1269776.5433 | 2724872.0304 | 1269769.4454
40 | 2724864.6976 | 1269784.8157 | 2724886.3866 | 1269771.117 | 2724891.703 | 1269776.7013
41 | 2724864.6976 | 1269784.8157 | 2724892.7419 | 1269814.8448
42 | 2724880.8227 | 1269705.7277 | 2724879.1467 | 1269688.5319 | 2724873.7079 | 1269669.1656 | 2724872.7122 | 1269662.0676
43 | 2724964.8196 | 1269735.1311 | 2724963.0319 | 1269719.4909
44 | 2724955.8455 | 1269744.8169 | 2724953.6396 | 1269738.798 | 2724964.8196 | 1269735.1311
45 | 2724931.2898 | 1269679.5037 | 2724935.5332 | 1269676.6134
46 | 2724945.086 | 1269627.9922 | 2724940.6508 | 1269630.8831
47 | 2725035.759 | 1269872.6147 | 2725038.5102 | 1269883.7894
48 | 2725029.1824 | 1269857.4064 | 2725034.3968 | 1269867.0813 | 2725035.759 | 1269872.6147
49 | 2725040.6471 | 1269905.6445 | 2725039.1592 | 1269898.0886 | 2725039.2134 | 1269886.6458 | 2725038.5102 | 1269883.7894
50 | 2725029.1824 | 1269857.4064 | 2725033.302 | 1269855.1306
51 | 2725003.5516 | 1269857.8422 | 2725003.639 | 1269860.4687 | 2725004.4113 | 1269862.3868 | 2725005.4252 | 1269863.9097 | 2725007.0395 | 1269865.1672 | 2725008.6831 | 1269865.747 | 2725011.0236 | 1269865.7632 | 2725025.6714 | 1269859.345 | 2725029.1824 | 1269857.4064
52 | 2725041.4969 | 1269909.9602 | 2725040.6471 | 1269905.6445
53 | 2725052.3206 | 1269844.6244 | 2725033.302 | 1269855.1306
54 | 2725003.5516 | 1269857.8422 | 2725005.1039 | 1269845.6748 | 2725005.1827 | 1269839.1148 | 2725005.2303 | 1269835.4458
55 | 2725003.5516 | 1269857.8422 | 2724994.9901 | 1269857.2938 | 2724983.6388 | 1269868.7043
56 | 2725041.4969 | 1269909.9602 | 2725047.4227 | 1269906.6604 | 2725054.7395 | 1269919.7719
57 | 2725005.2303 | 1269835.4458 | 2725005.3019 | 1269829.5752 | 2725004.9107 | 1269824.8736
58 | 2724966.3735 | 1269886.0596 | 2724983.6388 | 1269868.7043
59 | 2724976.8786 | 1269887.2384 | 2724972.9824 | 1269887.4673 | 2724969.6495 | 1269887.0409 | 2724966.3735 | 1269886.0596
60 | 2724976.8786 | 1269887.2384 | 2724974.4965 | 1269896.6523 | 2724969.556 | 1269907.3279
61 | 2724966.3735 | 1269886.0596 | 2724962.7101 | 1269884.1803 | 2724959.8801 | 1269882.3966 | 2724956.9086 | 1269880.1872 | 2724947.0957 | 1269870.7489
62 | 2724957.8298 | 1269932.6665 | 2724969.556 | 1269907.3279
63 | 2725054.7395 | 1269919.7719 | 2725068.8961 | 1269912.0199 | 2725074.4992 | 1269908.9053
64 | 2725003.6514 | 1269809.7375 | 2725004.9107 | 1269824.8736
65 | 2724957.8298 | 1269932.6665 | 2724940.9168 | 1269928.0601 | 2724919.5325 | 1269920.2673 | 2724909.0965 | 1269914.5196
66 | 2724897.0587 | 1269819.4671 | 2724892.7419 | 1269814.8448
67 | 2724872.0304 | 1269769.4454 | 2724870.7896 | 1269758.3644
68 | 2724890.0378 | 1269758.2823 | 2724872.0304 | 1269769.4454
69 | 2724891.703 | 1269776.7013 | 2724906.1104 | 1269791.848
70 | 2724890.0378 | 1269758.2823 | 2724889.8265 | 1269756.1759
71 | 2724890.0378 | 1269758.2823 | 2724914.3639 | 1269754.4974
72 | 2724917.723 | 1269753.9748 | 2724914.3639 | 1269754.4974
73 | 2724917.723 | 1269753.9748 | 2724920.9271 | 1269760.1371 | 2724927.8175 | 1269763.1857 | 2724933.3058 | 1269770.9534 | 2724934.6908 | 1269774.5082
74 | 2724934.6908 | 1269774.5082 | 2724941.7767 | 1269792.7157
75 | 2724934.6908 | 1269774.5082 | 2724948.5109 | 1269769.428
76 | 2724848.0693 | 1269880.9086 | 2724831.5653 | 1269871.8189
77 | 2724886.0972 | 1269901.8526 | 2724848.0693 | 1269880.9086
78 | 2724886.0972 | 1269901.8526 | 2724909.0965 | 1269914.5196
79 | 2725082.3126 | 1269904.5621 | 2725074.4992 | 1269908.9053
80 | 2724911.175 | 1269650.0956 | 2724911.175 | 1269650.0956 | 2724922.6164 | 1269642.638
81 | 2724940.6508 | 1269630.8831 | 2724922.6164 | 1269642.638
82 | 2724927.1354 | 1269673.4325 | 2724924.3575 | 1269669.3706
83 | 2724931.2898 | 1269679.5037 | 2724927.1354 | 1269673.4325
84 | 2724927.1354 | 1269673.4325 | 2724915.7949 | 1269681.122
85 | 2724915.7949 | 1269681.122 | 2724910.093 | 1269684.9862
86 | 2724887.77 | 1269699.3353 | 2724896.2528 | 1269694.3656 | 2724910.093 | 1269684.9862
87 | 2724962.926 | 1269764.1291 | 2724948.5109 | 1269769.428
88 | 2724962.926 | 1269764.1291 | 2724970.6511 | 1269766.5058 | 2724972.3191 | 1269777.1748
89 | 2724962.926 | 1269764.1291 | 2724955.8455 | 1269744.8169
90 | 2724887.77 | 1269699.3353 | 2724889.301 | 1269703.4604 | 2724895.1378 | 1269701.1705 | 2724905.7251 | 1269695.9896 | 2724913.8978 | 1269709.942 | 2724908.856 | 1269713.0827
91 | 2724880.8227 | 1269705.7277 | 2724886.9922 | 1269704.0788 | 2724889.301 | 1269703.4604 | 2724887.77 | 1269699.3353
92 | 2724907.2388 | 1269714.0939 | 2724908.856 | 1269713.0827
93 | 2724908.856 | 1269713.0827 | 2724913.8978 | 1269709.942 | 2724918.955 | 1269706.7904
94 | 2724880.8227 | 1269705.7277 | 2724870.7233 | 1269707.7717
95 | 2724920.5644 | 1269705.7902 | 2724918.955 | 1269706.7904
96 | 2724870.7233 | 1269707.7717 | 2724862.1596 | 1269708.7603
97 | 2724853.3907 | 1269709.7726 | 2724862.1596 | 1269708.7603

## bus_geodata
| x | y | coords
0 | 2724742.845 | 1269551.1972
1 | 2724758.6867 | 1269582.2439
2 | 2724752.4279 | 1269603.4314
3 | 2724782.4127 | 1269606.8011
4 | 2724799.787 | 1269561.8709
5 | 2724776.432 | 1269654.3521
6 | 2724873.5683 | 1269546.6158
7 | 2724840.5465 | 1269549.7986
8 | 2724890.0409 | 1269538.5257
9 | 2724796.9369 | 1269662.4928
10 | 2724809.188 | 1269673.3172
11 | 2724794.6357 | 1269659.2495
12 | 2724834.3522 | 1269537.3117
13 | 2724813.0739 | 1269563.9107
14 | 2724869.5713 | 1269619.9103
15 | 2724855.8886 | 1269626.5953
16 | 2724871.5555 | 1269646.0209
17 | 2724828.793 | 1269712.6123
18 | 2724797.4003 | 1269694.688
19 | 2724825.4982 | 1269663.8014
20 | 2724814.0013 | 1269554.5523
21 | 2725002.5626 | 1269723.9971
22 | 2724986.6034 | 1269727.9964
23 | 2724999.6638 | 1269754.2759
24 | 2724964.0383 | 1269657.1979
25 | 2724953.1404 | 1269664.6207
26 | 2724956.8504 | 1269646.1212
27 | 2724812.5695 | 1269492.3988
28 | 2725001.4213 | 1269782.8608
29 | 2725002.2301 | 1269792.6537
30 | 2724826.5287 | 1269718.6033
31 | 2724781.519 | 1269771.3875
32 | 2724777.2256 | 1269684.0801
33 | 2724843.4992 | 1269710.9145
34 | 2724864.6976 | 1269784.8157
35 | 2724872.7122 | 1269662.0676
36 | 2724840.5245 | 1269650.6048
37 | 2724964.8196 | 1269735.1311
38 | 2724935.5332 | 1269676.6134
39 | 2724945.086 | 1269627.9922
40 | 2725035.759 | 1269872.6147
41 | 2725038.5102 | 1269883.7894
42 | 2725029.1824 | 1269857.4064
43 | 2725040.6471 | 1269905.6445
44 | 2725033.302 | 1269855.1306
45 | 2725003.5516 | 1269857.8422
46 | 2725041.4969 | 1269909.9602
47 | 2725052.3206 | 1269844.6244
48 | 2725005.2303 | 1269835.4458
49 | 2724983.6388 | 1269868.7043
50 | 2724976.8786 | 1269887.2384
51 | 2724966.3735 | 1269886.0596
52 | 2724969.556 | 1269907.3279
53 | 2725054.7395 | 1269919.7719
54 | 2725004.9107 | 1269824.8736
55 | 2724947.0957 | 1269870.7489
56 | 2724957.8298 | 1269932.6665
57 | 2724897.0587 | 1269819.4671
58 | 2724892.7419 | 1269814.8448
59 | 2724872.0304 | 1269769.4454
60 | 2724891.703 | 1269776.7013
61 | 2724870.7896 | 1269758.3644
62 | 2724890.0378 | 1269758.2823
63 | 2724917.723 | 1269753.9748
64 | 2724914.3639 | 1269754.4974
65 | 2724934.6908 | 1269774.5082
66 | 2724906.1104 | 1269791.848
67 | 2725003.6514 | 1269809.7375
68 | 2724979.0901 | 1269796.6941
69 | 2724831.5653 | 1269871.8189
70 | 2724848.0693 | 1269880.9086
71 | 2724886.0972 | 1269901.8526
72 | 2724909.0965 | 1269914.5196
73 | 2725074.4992 | 1269908.9053
74 | 2725082.3126 | 1269904.5621
75 | 2724911.175 | 1269650.0956
76 | 2724922.6164 | 1269642.638
77 | 2724924.3575 | 1269669.3706
78 | 2724927.1354 | 1269673.4325
79 | 2724940.6508 | 1269630.8831
80 | 2724931.2898 | 1269679.5037
81 | 2724915.7949 | 1269681.122
82 | 2724910.093 | 1269684.9862
83 | 2724948.5109 | 1269769.428
84 | 2724962.926 | 1269764.1291
85 | 2724972.3191 | 1269777.1748
86 | 2724955.8455 | 1269744.8169
87 | 2724941.7767 | 1269792.7157
88 | 2724963.0319 | 1269719.4909
89 | 2724889.8265 | 1269756.1759
90 | 2724887.77 | 1269699.3353
91 | 2724908.856 | 1269713.0827
92 | 2724880.8227 | 1269705.7277
93 | 2724907.2388 | 1269714.0939
94 | 2724918.955 | 1269706.7904
95 | 2724920.5644 | 1269705.7902
96 | 2724870.7233 | 1269707.7717
97 | 2724862.1596 | 1269708.7603
98 | 2724853.3907 | 1269709.7726
99 | 2724890.0378 | 1269758.2823

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1