## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4946-15_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4946-15_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4946-15_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4946-15_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4946-15_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4946-15_0_4_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_4946-15_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_4946-15_0_4_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_4946-15_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4946-15_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4946-15_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4946-15_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4946-15_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4946-15_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4946-15_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_4946-15_0_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_4946-15_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4946-15_0_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_4946-15_0_4_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_4946-15_0_4_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_4946-15_0_4_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_4946-15_0_4_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_4946-15_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4946-15_0_4_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_4946-15_0_4_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_4946-15_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4946-15_0_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_4946-15_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4946-15_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_4946-15_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_4946-15_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4946-15_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4946-15_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_4946-15_0_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_4946-15_0_4_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_4946-15_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_4946-15_0_4_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_4946-15_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_4946-15_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4946-15_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_4946-15_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_4946-15_0_4_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_4946-15_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_4946-15_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_4946-15_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4946-15_0_4_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_4946-15_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_4946-15_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_4946-15_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_4946-15_0_4_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_4946-15_0_4_node_58 | 0.4 | n |  | TRUE
51 | bus_LV_4946-15_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_4946-15_0_4_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_4946-15_0_4_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_4946-15_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_4946-15_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_4946-15_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_4946-15_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_4946-15_0_4_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_4946-15_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_MV_488_1_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4946-15_0_4_load_0 | 0 | 0.004725 | 0.0011842 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4946-15_0_4_load_1 | 1 | 0.012517 | 0.003137 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4946-15_0_4_load_2 | 2 | 0.012025 | 0.0030137 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4946-15_0_4_load_3 | 3 | 0.003998 | 0.001002 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4946-15_0_4_load_4 | 4 | 0.0040544 | 0.0010161 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4946-15_0_4_load_27 | 6 | 0.00036792 | 9.2209e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4946-15_0_4_load_5 | 8 | 0.0006669 | 0.00016714 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4946-15_0_4_load_44 | 15 | 0.079129 | 0.019832 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4946-15_0_4_load_30 | 17 | 0.0066548 | 0.0016678 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4946-15_0_4_load_28 | 19 | 0.00023114 | 5.7929e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4946-15_0_4_load_64 | 20 | 0.0047969 | 0.0012022 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4946-15_0_4_load_47 | 21 | 0.0016627 | 0.00041672 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4946-15_0_4_load_63 | 24 | 0.0053307 | 0.001336 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4946-15_0_4_load_65 | 26 | 0.019237 | 0.0048212 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4946-15_0_4_load_33 | 28 | 0.0016191 | 0.00040578 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4946-15_0_4_load_29 | 29 | 0.00022473 | 5.6323e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4946-15_0_4_load_45 | 32 | 0.001746 | 0.0004376 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4946-15_0_4_load_46 | 33 | 0.0022812 | 0.00057172 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4946-15_0_4_load_38 | 34 | 0.017659 | 0.0044257 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4946-15_0_4_load_40 | 35 | 0.002247 | 0.00056316 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4946-15_0_4_load_62 | 36 | 0.0044243 | 0.0011088 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4946-15_0_4_load_32 | 38 | 0.098673 | 0.02473 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4946-15_0_4_load_35 | 39 | 0.0082066 | 0.0020568 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4946-15_0_4_load_36 | 40 | 0.0054509 | 0.0013661 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4946-15_0_4_load_41 | 43 | 0.00082282 | 0.00020622 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4946-15_0_4_load_31 | 44 | 0.00033403 | 8.3717e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4946-15_0_4_load_48 | 45 | 0.00034004 | 8.5222e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4946-15_0_4_load_39 | 46 | 0.018382 | 0.004607 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4946-15_0_4_load_50 | 48 | 0.0039078 | 0.00097938 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4946-15_0_4_load_51 | 49 | 0.0018708 | 0.00046886 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4946-15_0_4_load_58 | 50 | 0.00028033 | 7.0257e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4946-15_0_4_load_55 | 54 | 0.001548 | 0.00038795 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4946-15_0_4_load_54 | 55 | 0.002149 | 0.0005386 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4946-15_0_4_load_59 | 56 | 0.0033597 | 0.00084202 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4946-15_0_4_load_56 | 57 | 0.0017013 | 0.00042638 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4946-15_0_4_load_60 | 58 | 0.002889 | 0.00072406 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4946-15_0_4_load_61 | 59 | 0.0022552 | 0.0005652 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4946-15_0_4_line_0 |  | 0 | 1 | 0.0074608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4946-15_0_4_line_1 |  | 0 | 2 | 0.026784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4946-15_0_4_line_2 |  | 1 | 3 | 0.018776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4946-15_0_4_line_3 |  | 2 | 4 | 0.016352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4946-15_0_4_line_4 |  | 3 | 5 | 0.0092742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4946-15_0_4_line_5 |  | 5 | 6 | 0.025786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4946-15_0_4_line_6 |  | 5 | 7 | 0.023154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4946-15_0_4_line_7 |  | 6 | 44 | 0.008879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4946-15_0_4_line_8 |  | 7 | 29 | 0.0099023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4946-15_0_4_line_9 |  | 7 | 9 | 0.044419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4946-15_0_4_line_10 |  | 8 | 9 | 0.017393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4946-15_0_4_line_11 |  | 8 | 10 | 0.084907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4946-15_0_4_line_12 |  | 10 | 11 | 0.046014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4946-15_0_4_line_13 |  | 11 | 20 | 0.02594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4946-15_0_4_line_14 |  | 12 | 13 | 0.010749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4946-15_0_4_line_15 |  | 12 | 14 | 0.01278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4946-15_0_4_line_16 |  | 12 | 15 | 0.035666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4946-15_0_4_line_17 |  | 13 | 18 | 0.013481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4946-15_0_4_line_18 |  | 13 | 21 | 0.054362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4946-15_0_4_line_19 |  | 14 | 34 | 0.032959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4946-15_0_4_line_20 |  | 14 | 25 | 0.004629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4946-15_0_4_line_21 |  | 15 | 27 | 0.054792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4946-15_0_4_line_22 |  | 16 | 17 | 0.084798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4946-15_0_4_line_23 |  | 16 | 18 | 0.041613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4946-15_0_4_line_24 |  | 16 | 19 | 0.031358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4946-15_0_4_line_25 |  | 18 | 35 | 0.024959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4946-15_0_4_line_26 |  | 19 | 29 | 0.028716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4946-15_0_4_line_27 |  | 21 | 33 | 0.041185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4946-15_0_4_line_28 |  | 22 | 23 | 0.030828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4946-15_0_4_line_29 |  | 22 | 24 | 0.018424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4946-15_0_4_line_30 |  | 23 | 36 | 0.041452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4946-15_0_4_line_31 |  | 23 | 37 | 0.016314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4946-15_0_4_line_32 |  | 25 | 26 | 0.00166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4946-15_0_4_line_33 |  | 27 | 28 | 0.080988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4946-15_0_4_line_34 |  | 28 | 38 | 0.016095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4946-15_0_4_line_35 |  | 30 | 31 | 0.032388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4946-15_0_4_line_36 |  | 30 | 32 | 0.077987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4946-15_0_4_line_37 |  | 31 | 33 | 0.065543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4946-15_0_4_line_38 |  | 34 | 41 | 0.023565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4946-15_0_4_line_39 |  | 35 | 42 | 0.020728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4946-15_0_4_line_40 |  | 37 | 46 | 0.065192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4946-15_0_4_line_41 |  | 39 | 40 | 0.0084036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4946-15_0_4_line_42 |  | 40 | 41 | 0.043323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4946-15_0_4_line_43 |  | 41 | 46 | 0.015617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4946-15_0_4_line_44 |  | 42 | 43 | 0.015278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4946-15_0_4_line_45 |  | 43 | 45 | 0.0099907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4946-15_0_4_line_46 |  | 45 | 47 | 0.014704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4946-15_0_4_line_47 |  | 47 | 48 | 0.024151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4946-15_0_4_line_48 |  | 47 | 49 | 0.0054882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4946-15_0_4_line_49 |  | 48 | 50 | 0.0068275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4946-15_0_4_line_50 |  | 49 | 51 | 0.012725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4946-15_0_4_line_51 |  | 51 | 52 | 0.011002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4946-15_0_4_line_52 |  | 52 | 53 | 0.008667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4946-15_0_4_line_53 |  | 52 | 54 | 0.010144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4946-15_0_4_line_54 |  | 53 | 56 | 0.012405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4946-15_0_4_line_55 |  | 53 | 55 | 0.0065269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4946-15_0_4_line_56 |  | 54 | 57 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4946-15_0_4_line_57 |  | 56 | 58 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4946-15_0_4_line_58 |  | 58 | 59 | 0.01096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4946-15_0_4_trafo_9 | 0.63 MVA 20/0.4 kV | 60 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2725226.4861 | 1269954.8024 | 2725219.0713 | 1269955.6303
1 | 2725226.4861 | 1269954.8024 | 2725253.1049 | 1269951.8305
2 | 2725200.4113 | 1269957.7136 | 2725219.0713 | 1269955.6303
3 | 2725269.3564 | 1269950.016 | 2725253.1049 | 1269951.8305
4 | 2725191.1944 | 1269958.7427 | 2725200.4113 | 1269957.7136
5 | 2725191.1944 | 1269958.7427 | 2725186.1861 | 1269959.237 | 2725190.181 | 1269979.6024
6 | 2725176.5147 | 1269959.9216 | 2725185.9247 | 1269950.6234 | 2725186.0782 | 1269950.4821 | 2725191.1944 | 1269958.7427
7 | 2725190.181 | 1269979.6024 | 2725191.8901 | 1269988.3153
8 | 2725176.5147 | 1269959.9216 | 2725171.2852 | 1269964.8153 | 2725169.552 | 1269966.9376
9 | 2725176.5147 | 1269959.9216 | 2725172.2995 | 1269956.3845 | 2725181.8368 | 1269945.6989 | 2725184.3655 | 1269942.8721 | 2725177.8411 | 1269933.9367 | 2725185.4662 | 1269927.8815
10 | 2725185.4662 | 1269927.8815 | 2725189.4889 | 1269928.078 | 2725194.2854 | 1269926.9231 | 2725201.4809 | 1269922.5278
11 | 2725275.0396 | 1269880.1582 | 2725230.0573 | 1269905.0721 | 2725201.4809 | 1269922.5278
12 | 2725275.0396 | 1269880.1582 | 2725277.1812 | 1269883.8737 | 2725279.5113 | 1269887.9269 | 2725274.1383 | 1269891.0603 | 2725258.6879 | 1269900.1745 | 2725247.6842 | 1269906.8919
13 | 2725250.69 | 1269932.6573 | 2725247.6842 | 1269906.8919
14 | 2725091.322 | 1270051.769 | 2725095.3224 | 1270054.7898 | 2725099.9006 | 1270058.2455
15 | 2725091.322 | 1270051.769 | 2725091.4163 | 1270051.5819 | 2725091.5512 | 1270048.4152 | 2725090.602 | 1270044.9029 | 2725090.1981 | 1270044.4272 | 2725093.1474 | 1270040.2191
16 | 2725091.322 | 1270051.769 | 2725090.4714 | 1270053.5526 | 2725069.8942 | 1270080.2278
17 | 2725108.2245 | 1270047.6231 | 2725099.9006 | 1270058.2455
18 | 2725099.9006 | 1270058.2455 | 2725066.9561 | 1270101.4882
19 | 2725093.1474 | 1270040.2191 | 2725081.9361 | 1270034.3763 | 2725071.1286 | 1270030.0768 | 2725062.9488 | 1270027.1565
20 | 2725095.8095 | 1270036.4275 | 2725093.1474 | 1270040.2191
21 | 2725036.4508 | 1270123.6296 | 2725044.4928 | 1270113.1568 | 2725069.8942 | 1270080.2278
22 | 2725132.6766 | 1270014.3434 | 2725158.4638 | 1270017.5037 | 2725180.6634 | 1270018.7641 | 2725203.1021 | 1270019.7517 | 2725211.0358 | 1270031.4349
23 | 2725132.6766 | 1270014.3434 | 2725132.1522 | 1270017.424 | 2725114.808 | 1270039.2102 | 2725108.2245 | 1270047.6231
24 | 2725132.6766 | 1270014.3434 | 2725136.1959 | 1270009.5246 | 2725139.723 | 1270004.6948 | 2725151.4484 | 1269989.2261
25 | 2725108.2245 | 1270047.6231 | 2725130.1809 | 1270059.4927
26 | 2725151.4484 | 1269989.2261 | 2725152.724 | 1269987.5432 | 2725169.552 | 1269966.9376
27 | 2725041.9972 | 1270134.2489 | 2725066.9561 | 1270101.4882
28 | 2725114.2158 | 1269966.3078 | 2725105.2587 | 1269967.0298 | 2725098.239 | 1269956.6048 | 2725093.852 | 1269948.3821
29 | 2725114.2158 | 1269966.3078 | 2725114.4872 | 1269969.4831 | 2725115.7958 | 1269984.664
30 | 2725093.852 | 1269948.3821 | 2725130.8139 | 1269929.6172
31 | 2725079.2015 | 1269955.6453 | 2725093.852 | 1269948.3821
32 | 2725094.2406 | 1270035.8716 | 2725095.8095 | 1270036.4275
33 | 2725036.4508 | 1270123.6296 | 2725030.966 | 1270115.3614 | 2724986.2288 | 1270110.7104 | 2724988.5431 | 1270084.7259
34 | 2724989.9709 | 1270068.6945 | 2724988.5431 | 1270084.7259
35 | 2724997.691 | 1270212.3807 | 2724993.6975 | 1270209.3934 | 2724991.8646 | 1270205.6734 | 2724991.8358 | 1270200.6348 | 2724992.8925 | 1270195.8749 | 2724995.4505 | 1270191.3026 | 2725000.7885 | 1270185.1765
36 | 2724997.691 | 1270212.3807 | 2725010.7192 | 1270213.4463 | 2725017.3466 | 1270212.5412 | 2725043.9968 | 1270207.2559 | 2725074.4499 | 1270201.1615
37 | 2725000.7885 | 1270185.1765 | 2725020.9952 | 1270161.8158 | 2725041.9972 | 1270134.2489
38 | 2725039.6004 | 1270024.3485 | 2725050.9603 | 1270024.9562 | 2725062.9488 | 1270027.1565
39 | 2725148.4152 | 1270069.3501 | 2725130.1809 | 1270059.4927
40 | 2725079.2015 | 1269955.6453 | 2725072.4965 | 1269961.62 | 2725065.6086 | 1269969.4815 | 2725059.8712 | 1269977.7454 | 2725054.8855 | 1269986.0587 | 2725049.5943 | 1269996.0004 | 2725042.8362 | 1270009.1029
41 | 2724988.9923 | 1270032.2698 | 2724991.6097 | 1270031.1281 | 2724996.8866 | 1270029.4151
42 | 2725039.6004 | 1270024.3485 | 2725029.889 | 1270024.0872 | 2725023.6169 | 1270024.199 | 2725013.8497 | 1270025.1487 | 2725004.0237 | 1270027.0981 | 2724996.8866 | 1270029.4151
43 | 2725039.6004 | 1270024.3485 | 2725040.9436 | 1270015.6578 | 2725042.8362 | 1270009.1029
44 | 2725148.4152 | 1270069.3501 | 2725138.6246 | 1270081.0783
45 | 2725132.222 | 1270088.7479 | 2725138.6246 | 1270081.0783
46 | 2725122.7988 | 1270100.036 | 2725132.222 | 1270088.7479
47 | 2725122.7988 | 1270100.036 | 2725104.0275 | 1270084.7687
48 | 2725122.7988 | 1270100.036 | 2725119.2824 | 1270104.2497
49 | 2725104.0275 | 1270084.7687 | 2725108.5459 | 1270079.6503
50 | 2725113.3371 | 1270115.3387 | 2725116.3966 | 1270107.7075 | 2725119.2824 | 1270104.2497
51 | 2725113.3371 | 1270115.3387 | 2725109.0127 | 1270116.248 | 2725104.522 | 1270121.0907
52 | 2725102.9601 | 1270129.0873 | 2725102.1617 | 1270125.5671 | 2725104.522 | 1270121.0907
53 | 2725104.522 | 1270121.0907 | 2725096.7148 | 1270114.6132
54 | 2725102.9601 | 1270129.0873 | 2725091.4859 | 1270133.8029
55 | 2725102.9601 | 1270129.0873 | 2725109.2207 | 1270130.9327
56 | 2725088.235 | 1270107.5777 | 2725096.7148 | 1270114.6132
57 | 2725091.4859 | 1270133.8029 | 2725089.4755 | 1270134.6291 | 2725078.0661 | 1270136.2229
58 | 2725078.0661 | 1270136.2229 | 2725074.0607 | 1270136.7825 | 2725068.0719 | 1270140.2255 | 2725068.068 | 1270140.2316

## bus_geodata
| x | y | coords
0 | 2725226.4861 | 1269954.8024
1 | 2725219.0713 | 1269955.6303
2 | 2725253.1049 | 1269951.8305
3 | 2725200.4113 | 1269957.7136
4 | 2725269.3564 | 1269950.0161
5 | 2725191.1944 | 1269958.7427
6 | 2725190.181 | 1269979.6024
7 | 2725176.5147 | 1269959.9216
8 | 2725201.4809 | 1269922.5278
9 | 2725185.4662 | 1269927.8815
10 | 2725275.0396 | 1269880.1582
11 | 2725247.6842 | 1269906.8919
12 | 2725091.322 | 1270051.769
13 | 2725099.9006 | 1270058.2455
14 | 2725093.1474 | 1270040.2191
15 | 2725069.8942 | 1270080.2278
16 | 2725132.6766 | 1270014.3434
17 | 2725211.0358 | 1270031.4349
18 | 2725108.2245 | 1270047.6231
19 | 2725151.4484 | 1269989.2261
20 | 2725250.69 | 1269932.6573
21 | 2725066.9561 | 1270101.4882
22 | 2725114.2158 | 1269966.3078
23 | 2725093.852 | 1269948.3821
24 | 2725115.7958 | 1269984.664
25 | 2725095.8095 | 1270036.4275
26 | 2725094.2406 | 1270035.8716
27 | 2725036.4508 | 1270123.6296
28 | 2724988.5431 | 1270084.7259
29 | 2725169.552 | 1269966.9376
30 | 2724997.691 | 1270212.3807
31 | 2725000.7885 | 1270185.1765
32 | 2725074.4499 | 1270201.1615
33 | 2725041.9972 | 1270134.2489
34 | 2725062.9488 | 1270027.1565
35 | 2725130.1809 | 1270059.4927
36 | 2725130.8139 | 1269929.6172
37 | 2725079.2015 | 1269955.6453
38 | 2724989.9709 | 1270068.6945
39 | 2724988.9923 | 1270032.2698
40 | 2724996.8866 | 1270029.4151
41 | 2725039.6004 | 1270024.3485
42 | 2725148.4152 | 1270069.3501
43 | 2725138.6246 | 1270081.0783
44 | 2725191.8901 | 1269988.3153
45 | 2725132.2221 | 1270088.7479
46 | 2725042.8362 | 1270009.1029
47 | 2725122.7988 | 1270100.036
48 | 2725104.0275 | 1270084.7687
49 | 2725119.2824 | 1270104.2497
50 | 2725108.5459 | 1270079.6503
51 | 2725113.3371 | 1270115.3387
52 | 2725104.522 | 1270121.0907
53 | 2725102.9601 | 1270129.0873
54 | 2725096.7148 | 1270114.6132
55 | 2725109.2207 | 1270130.9327
56 | 2725091.4859 | 1270133.8029
57 | 2725088.235 | 1270107.5777
58 | 2725078.0661 | 1270136.2229
59 | 2725068.068 | 1270140.2316
60 | 2725095.3224 | 1270054.7898

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1