## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4946-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4946-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4946-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4946-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4946-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4946-17_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4946-17_0_4_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_4946-17_0_4_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_4946-17_0_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_4946-17_0_4_node_109 | 0.4 | n |  | TRUE
10 | bus_LV_4946-17_0_4_node_110 | 0.4 | n |  | TRUE
11 | bus_LV_4946-17_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4946-17_0_4_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_4946-17_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4946-17_0_4_node_66 | 0.4 | n |  | TRUE
15 | bus_LV_4946-17_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4946-17_0_4_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_4946-17_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4946-17_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4946-17_0_4_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_4946-17_0_4_node_108 | 0.4 | n |  | TRUE
21 | bus_LV_4946-17_0_4_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_4946-17_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4946-17_0_4_node_111 | 0.4 | n |  | TRUE
24 | bus_LV_4946-17_0_4_node_112 | 0.4 | n |  | TRUE
25 | bus_LV_4946-17_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4946-17_0_4_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_4946-17_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4946-17_0_4_node_88 | 0.4 | n |  | TRUE
29 | bus_LV_4946-17_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4946-17_0_4_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_4946-17_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4946-17_0_4_node_79 | 0.4 | n |  | TRUE
33 | bus_LV_4946-17_0_4_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_4946-17_0_4_node_76 | 0.4 | n |  | TRUE
35 | bus_LV_4946-17_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4946-17_0_4_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_4946-17_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4946-17_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_4946-17_0_4_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_4946-17_0_4_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_4946-17_0_4_node_98 | 0.4 | n |  | TRUE
42 | bus_LV_4946-17_0_4_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_4946-17_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_4946-17_0_4_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_4946-17_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4946-17_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_4946-17_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_4946-17_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_4946-17_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_4946-17_0_4_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_4946-17_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4946-17_0_4_node_89 | 0.4 | n |  | TRUE
53 | bus_LV_4946-17_0_4_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_4946-17_0_4_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_4946-17_0_4_node_91 | 0.4 | n |  | TRUE
56 | bus_LV_4946-17_0_4_node_107 | 0.4 | n |  | TRUE
57 | bus_LV_4946-17_0_4_node_105 | 0.4 | n |  | TRUE
58 | bus_LV_4946-17_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_4946-17_0_4_node_28 | 0.4 | n |  | TRUE
60 | bus_LV_4946-17_0_4_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_4946-17_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_4946-17_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_4946-17_0_4_node_103 | 0.4 | n |  | TRUE
64 | bus_LV_4946-17_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_4946-17_0_4_node_31 | 0.4 | n |  | TRUE
66 | bus_LV_4946-17_0_4_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_4946-17_0_4_node_32 | 0.4 | n |  | TRUE
68 | bus_LV_4946-17_0_4_node_34 | 0.4 | n |  | TRUE
69 | bus_LV_4946-17_0_4_node_35 | 0.4 | n |  | TRUE
70 | bus_LV_4946-17_0_4_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_4946-17_0_4_node_37 | 0.4 | n |  | TRUE
72 | bus_LV_4946-17_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_4946-17_0_4_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_4946-17_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_4946-17_0_4_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_4946-17_0_4_node_41 | 0.4 | n |  | TRUE
77 | bus_LV_4946-17_0_4_node_44 | 0.4 | n |  | TRUE
78 | bus_LV_4946-17_0_4_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_4946-17_0_4_node_99 | 0.4 | n |  | TRUE
80 | bus_LV_4946-17_0_4_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_4946-17_0_4_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_4946-17_0_4_node_104 | 0.4 | n |  | TRUE
83 | bus_LV_4946-17_0_4_node_102 | 0.4 | n |  | TRUE
84 | bus_LV_4946-17_0_4_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_4946-17_0_4_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_4946-17_0_4_node_64 | 0.4 | n |  | TRUE
87 | bus_LV_4946-17_0_4_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_4946-17_0_4_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_4946-17_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_4946-17_0_4_node_67 | 0.4 | n |  | TRUE
91 | bus_LV_4946-17_0_4_node_68 | 0.4 | n |  | TRUE
92 | bus_LV_4946-17_0_4_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_4946-17_0_4_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_4946-17_0_4_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_4946-17_0_4_node_73 | 0.4 | n |  | TRUE
96 | bus_LV_4946-17_0_4_node_74 | 0.4 | n |  | TRUE
97 | bus_LV_4946-17_0_4_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_4946-17_0_4_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_4946-17_0_4_node_84 | 0.4 | n |  | TRUE
100 | bus_LV_4946-17_0_4_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_4946-17_0_4_node_77 | 0.4 | n |  | TRUE
102 | bus_LV_4946-17_0_4_node_82 | 0.4 | n |  | TRUE
103 | bus_LV_4946-17_0_4_node_83 | 0.4 | n |  | TRUE
104 | bus_LV_4946-17_0_4_node_86 | 0.4 | n |  | TRUE
105 | bus_LV_4946-17_0_4_node_92 | 0.4 | n |  | TRUE
106 | bus_MV_488_1_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4946-17_0_4_load_0 | 0 | 0.0068039 | 0.0017052 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4946-17_0_4_load_1 | 1 | 0.0027702 | 0.00069428 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4946-17_0_4_load_3 | 3 | 0.0052055 | 0.0013046 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4946-17_0_4_load_38 | 6 | 0.0036231 | 0.00090803 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4946-17_0_4_load_26 | 7 | 0.0137 | 0.0034336 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4946-17_0_4_load_23 | 8 | 0.012837 | 0.0032171 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4946-17_0_4_load_109 | 9 | 0.0073057 | 0.001831 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4946-17_0_4_load_110 | 10 | 0.0073084 | 0.0018317 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4946-17_0_4_load_58 | 12 | 0.0022337 | 0.00055982 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4946-17_0_4_load_66 | 14 | 0.0061069 | 0.0015305 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4946-17_0_4_load_29 | 16 | 0.016359 | 0.0041 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4946-17_0_4_load_45 | 19 | 0.0026315 | 0.00065952 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4946-17_0_4_load_108 | 20 | 0.0127 | 0.0031829 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4946-17_0_4_load_48 | 21 | 0.0079784 | 0.0019996 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4946-17_0_4_load_111 | 23 | 0.0037439 | 0.00093831 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4946-17_0_4_load_112 | 24 | 0.0093148 | 0.0023345 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4946-17_0_4_load_39 | 26 | 0.0051837 | 0.0012991 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4946-17_0_4_load_88 | 28 | 0.0023833 | 0.00059732 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4946-17_0_4_load_80 | 30 | 0.0034604 | 0.00086725 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4946-17_0_4_load_79 | 32 | 0.0016042 | 0.00040204 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4946-17_0_4_load_78 | 33 | 0.0016663 | 0.00041761 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4946-17_0_4_load_76 | 34 | 0.0017401 | 0.0004361 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4946-17_0_4_load_106 | 36 | 0.0013131 | 0.0003291 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4946-17_0_4_load_25 | 38 | 0.0036107 | 0.00090492 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4946-17_0_4_load_95 | 40 | 0.0023297 | 0.00058389 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4946-17_0_4_load_98 | 41 | 0.0030415 | 0.00076227 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4946-17_0_4_load_50 | 42 | 0.0056081 | 0.0014055 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4946-17_0_4_load_51 | 43 | 0.0044385 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4946-17_0_4_load_57 | 44 | 0.0023045 | 0.00057756 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4946-17_0_4_load_27 | 45 | 0.0020424 | 0.00051189 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4946-17_0_4_load_43 | 46 | 0.0016301 | 0.00040855 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4946-17_0_4_load_49 | 47 | 0.0038176 | 0.00095679 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4946-17_0_4_load_47 | 48 | 0.0033202 | 0.00083212 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4946-17_0_4_load_46 | 49 | 0.0021071 | 0.00052809 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4946-17_0_4_load_56 | 50 | 0.012939 | 0.0032428 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4946-17_0_4_load_75 | 54 | 0.0017538 | 0.00043955 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4946-17_0_4_load_91 | 55 | 0.0015759 | 0.00039496 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4946-17_0_4_load_107 | 56 | 0.001359 | 0.00034061 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4946-17_0_4_load_105 | 57 | 0.016191 | 0.004058 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4946-17_0_4_load_28 | 59 | 0.0039997 | 0.0010024 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4946-17_0_4_load_61 | 61 | 0.0018822 | 0.00047172 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4946-17_0_4_load_59 | 62 | 0.0025805 | 0.00064674 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4946-17_0_4_load_103 | 63 | 0.0012211 | 0.00030603 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4946-17_0_4_load_31 | 65 | 0.0083742 | 0.0020988 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4946-17_0_4_load_32 | 67 | 0.0010579 | 0.00026513 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4946-17_0_4_load_34 | 68 | 0.00096831 | 0.00024268 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4946-17_0_4_load_35 | 69 | 0.004151 | 0.0010403 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4946-17_0_4_load_36 | 70 | 0.0023079 | 0.00057841 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4946-17_0_4_load_37 | 71 | 0.0010422 | 0.00026119 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4946-17_0_4_load_55 | 72 | 0.0038029 | 0.0009531 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4946-17_0_4_load_52 | 74 | 0.0033095 | 0.00082945 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4946-17_0_4_load_101 | 75 | 0.0012093 | 0.00030307 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4946-17_0_4_load_44 | 77 | 0.0032743 | 0.00082062 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4946-17_0_4_load_94 | 78 | 0.002489 | 0.0006238 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4946-17_0_4_load_99 | 79 | 0.001292 | 0.00032381 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4946-17_0_4_load_90 | 81 | 0.012892 | 0.0032309 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4946-17_0_4_load_104 | 82 | 0.0026308 | 0.00065933 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4946-17_0_4_load_102 | 83 | 0.0079087 | 0.0019821 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4946-17_0_4_load_62 | 84 | 0.0027858 | 0.00069818 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4946-17_0_4_load_63 | 85 | 0.0011259 | 0.00028217 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4946-17_0_4_load_64 | 86 | 0.0012431 | 0.00031156 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4946-17_0_4_load_93 | 87 | 0.0010069 | 0.00025236 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4946-17_0_4_load_65 | 88 | 0.014283 | 0.0035796 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4946-17_0_4_load_85 | 89 | 0.0011285 | 0.00028284 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4946-17_0_4_load_67 | 90 | 0.0069077 | 0.0017312 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4946-17_0_4_load_68 | 91 | 0.0010338 | 0.00025908 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4946-17_0_4_load_69 | 92 | 0.0022905 | 0.00057406 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4946-17_0_4_load_70 | 93 | 0.0028085 | 0.00070388 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4946-17_0_4_load_73 | 95 | 0.0085484 | 0.0021424 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4946-17_0_4_load_87 | 97 | 0.0019462 | 0.00048775 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4946-17_0_4_load_97 | 98 | 0.0018729 | 0.0004694 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4946-17_0_4_load_96 | 100 | 0.0041173 | 0.0010319 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4946-17_0_4_load_77 | 101 | 0.001666 | 0.00041753 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4946-17_0_4_load_82 | 102 | 0.0090363 | 0.0022647 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4946-17_0_4_load_83 | 103 | 0.0028353 | 0.00071059 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4946-17_0_4_load_86 | 104 | 0.005 | 0.0012531 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4946-17_0_4_load_92 | 105 | 0.0059041 | 0.0014797 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4946-17_0_4_line_0 |  | 0 | 1 | 0.024169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4946-17_0_4_line_1 |  | 0 | 2 | 0.0023844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4946-17_0_4_line_2 |  | 1 | 3 | 0.00065801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4946-17_0_4_line_3 |  | 2 | 4 | 0.030882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4946-17_0_4_line_4 |  | 2 | 5 | 0.027836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4946-17_0_4_line_5 |  | 3 | 6 | 0.012191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4946-17_0_4_line_6 |  | 4 | 7 | 0.026303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4946-17_0_4_line_7 |  | 4 | 8 | 0.019489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4946-17_0_4_line_8 |  | 5 | 9 | 0.026833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4946-17_0_4_line_9 |  | 5 | 10 | 0.010854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4946-17_0_4_line_10 |  | 6 | 18 | 0.027171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4946-17_0_4_line_11 |  | 8 | 37 | 0.017734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4946-17_0_4_line_12 |  | 11 | 12 | 0.024245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4946-17_0_4_line_13 |  | 11 | 13 | 0.013693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4946-17_0_4_line_14 |  | 11 | 14 | 0.0036664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4946-17_0_4_line_15 |  | 12 | 44 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4946-17_0_4_line_16 |  | 13 | 20 | 0.005576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4946-17_0_4_line_17 |  | 13 | 15 | 0.039699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4946-17_0_4_line_18 |  | 13 | 17 | 0.020371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4946-17_0_4_line_19 |  | 15 | 16 | 0.013749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4946-17_0_4_line_20 |  | 16 | 45 | 0.014268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4946-17_0_4_line_21 |  | 17 | 18 | 0.009105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4946-17_0_4_line_22 |  | 17 | 19 | 0.0021448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4946-17_0_4_line_23 |  | 18 | 21 | 0.021707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4946-17_0_4_line_24 |  | 19 | 46 | 0.0073309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4946-17_0_4_line_25 |  | 21 | 47 | 0.0035261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4946-17_0_4_line_26 |  | 22 | 23 | 0.007911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4946-17_0_4_line_27 |  | 22 | 24 | 0.007867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4946-17_0_4_line_28 |  | 22 | 25 | 0.073743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4946-17_0_4_line_29 |  | 25 | 26 | 0.02691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4946-17_0_4_line_30 |  | 26 | 51 | 0.0083944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4946-17_0_4_line_31 |  | 27 | 28 | 0.022041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4946-17_0_4_line_32 |  | 27 | 29 | 0.012812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4946-17_0_4_line_33 |  | 27 | 30 | 0.030042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4946-17_0_4_line_34 |  | 28 | 52 | 0.024542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4946-17_0_4_line_35 |  | 29 | 34 | 0.010438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4946-17_0_4_line_36 |  | 29 | 33 | 0.0072221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4946-17_0_4_line_37 |  | 30 | 53 | 0.014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4946-17_0_4_line_38 |  | 31 | 32 | 0.0097185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4946-17_0_4_line_39 |  | 31 | 33 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4946-17_0_4_line_40 |  | 32 | 35 | 0.030049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4946-17_0_4_line_41 |  | 34 | 54 | 0.0076944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4946-17_0_4_line_42 |  | 35 | 36 | 0.011516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4946-17_0_4_line_43 |  | 36 | 56 | 0.0062233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4946-17_0_4_line_44 |  | 37 | 38 | 0.01132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4946-17_0_4_line_45 |  | 39 | 40 | 0.018026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4946-17_0_4_line_46 |  | 39 | 41 | 0.013664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4946-17_0_4_line_47 |  | 40 | 78 | 0.020046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4946-17_0_4_line_48 |  | 41 | 79 | 0.025801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4946-17_0_4_line_49 |  | 42 | 43 | 0.0020507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4946-17_0_4_line_50 |  | 43 | 74 | 0.023556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4946-17_0_4_line_51 |  | 44 | 50 | 0.0026878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4946-17_0_4_line_52 |  | 45 | 59 | 7.9356e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4946-17_0_4_line_53 |  | 46 | 77 | 0.008171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4946-17_0_4_line_54 |  | 47 | 76 | 0.03224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4946-17_0_4_line_55 |  | 48 | 49 | 0.010244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4946-17_0_4_line_56 |  | 49 | 77 | 0.0099324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4946-17_0_4_line_57 |  | 51 | 76 | 0.024896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4946-17_0_4_line_58 |  | 52 | 55 | 0.0048274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4946-17_0_4_line_59 |  | 53 | 80 | 0.010803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4946-17_0_4_line_60 |  | 53 | 93 | 0.019688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4946-17_0_4_line_61 |  | 54 | 101 | 0.0063351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4946-17_0_4_line_62 |  | 57 | 58 | 0.02064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4946-17_0_4_line_63 |  | 58 | 76 | 0.02276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4946-17_0_4_line_64 |  | 59 | 60 | 0.015182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_4946-17_0_4_line_65 |  | 60 | 61 | 0.032449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4946-17_0_4_line_66 |  | 60 | 62 | 0.0057718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4946-17_0_4_line_67 |  | 61 | 63 | 0.006647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4946-17_0_4_line_68 |  | 62 | 64 | 0.014142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4946-17_0_4_line_69 |  | 63 | 75 | 6.2665e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4946-17_0_4_line_70 |  | 64 | 84 | 0.026303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4946-17_0_4_line_71 |  | 64 | 85 | 0.0043676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4946-17_0_4_line_72 |  | 65 | 66 | 0.020484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4946-17_0_4_line_73 |  | 66 | 69 | 0.014393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4946-17_0_4_line_74 |  | 66 | 70 | 0.017821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4946-17_0_4_line_75 |  | 67 | 68 | 0.0062158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4946-17_0_4_line_76 |  | 68 | 71 | 0.0062836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4946-17_0_4_line_77 |  | 69 | 72 | 0.017428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4946-17_0_4_line_78 |  | 70 | 73 | 0.0010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4946-17_0_4_line_79 |  | 71 | 73 | 0.017624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4946-17_0_4_line_80 |  | 72 | 74 | 0.0043805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4946-17_0_4_line_81 |  | 73 | 75 | 0.023711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4946-17_0_4_line_82 |  | 78 | 100 | 0.0042476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4946-17_0_4_line_83 |  | 80 | 81 | 0.016956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4946-17_0_4_line_84 |  | 82 | 83 | 0.0094032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4946-17_0_4_line_85 |  | 83 | 96 | 0.035006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4946-17_0_4_line_86 |  | 84 | 86 | 0.0032701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4946-17_0_4_line_87 |  | 85 | 87 | 0.0011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4946-17_0_4_line_88 |  | 86 | 88 | 0.012577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4946-17_0_4_line_89 |  | 87 | 89 | 0.012884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4946-17_0_4_line_90 |  | 88 | 90 | 0.0098178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4946-17_0_4_line_91 |  | 89 | 103 | 0.0066171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4946-17_0_4_line_92 |  | 90 | 91 | 0.005718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4946-17_0_4_line_93 |  | 92 | 93 | 0.013253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4946-17_0_4_line_94 |  | 92 | 94 | 0.018014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4946-17_0_4_line_95 |  | 94 | 95 | 0.0060516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4946-17_0_4_line_96 |  | 94 | 96 | 0.031382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4946-17_0_4_line_97 |  | 96 | 97 | 0.0073131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4946-17_0_4_line_98 |  | 96 | 98 | 0.012775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4946-17_0_4_line_99 |  | 97 | 99 | 0.029325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4946-17_0_4_line_100 |  | 98 | 100 | 0.0038156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4946-17_0_4_line_101 |  | 99 | 104 | 0.020177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4946-17_0_4_line_102 |  | 99 | 102 | 0.003561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4946-17_0_4_line_103 |  | 102 | 103 | 0.017485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4946-17_0_4_line_104 |  | 104 | 105 | 0.023174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4946-17_0_4_trafo_27 | 0.63 MVA 20/0.4 kV | 106 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2725380.8696 | 1270141.1007 | 2725389.124 | 1270139.5086 | 2725404.6136 | 1270136.5877
1 | 2725378.5284 | 1270141.5523 | 2725380.8696 | 1270141.1007
2 | 2725405.2602 | 1270136.4658 | 2725404.6136 | 1270136.5877
3 | 2725378.5284 | 1270141.5523 | 2725379.4392 | 1270145.7978 | 2725380.3616 | 1270149.8544 | 2725384.9919 | 1270149.0742 | 2725389.0443 | 1270166.2874
4 | 2725378.5284 | 1270141.5523 | 2725379.4392 | 1270145.7978 | 2725380.3616 | 1270149.8544 | 2725381.6603 | 1270169.1444
5 | 2725417.2293 | 1270134.1494 | 2725407.7289 | 1270136.0003 | 2725405.2602 | 1270136.4658
6 | 2725389.0443 | 1270166.2874 | 2725391.7928 | 1270176.4996 | 2725406.9506 | 1270172.306
7 | 2725389.0443 | 1270166.2874 | 2725408.2366 | 1270162.8986
8 | 2725381.6603 | 1270169.1444 | 2725383.2814 | 1270193.1011 | 2725380.4872 | 1270193.5422
9 | 2725370.9535 | 1270171.1079 | 2725381.6603 | 1270169.1444
10 | 2725444.0326 | 1270129.832 | 2725433.2593 | 1270131.0266 | 2725417.2293 | 1270134.1494
11 | 2725425.7005 | 1270159.8151 | 2725408.2366 | 1270162.8986
12 | 2725476.8559 | 1270141.8736 | 2725479.1265 | 1270135.2602 | 2725487.5664 | 1270130.8909 | 2725495.0148 | 1270128.7541
13 | 2725463.4178 | 1270144.5018 | 2725469.8585 | 1270143.1818 | 2725476.8559 | 1270141.8736
14 | 2725476.8559 | 1270141.8736 | 2725476.9591 | 1270145.5386
15 | 2725495.0148 | 1270128.7541 | 2725506.0204 | 1270125.5969
16 | 2725463.4178 | 1270144.5018 | 2725465.0657 | 1270149.8306
17 | 2725463.4178 | 1270144.5018 | 2725469.8585 | 1270143.1818 | 2725472.074 | 1270158.6321 | 2725472.989 | 1270170.8184 | 2725473.0496 | 1270176.1135
18 | 2725453.1609 | 1270129.5478 | 2725453.5218 | 1270133.4591 | 2725453.9549 | 1270137.8724 | 2725457.6463 | 1270138.7739 | 2725460.7364 | 1270141.0527 | 2725463.4178 | 1270144.5018
19 | 2725473.0496 | 1270176.1135 | 2725472.9889 | 1270184.6313 | 2725472.9511 | 1270189.8625
20 | 2725472.9511 | 1270189.8625 | 2725472.8726 | 1270200.7216 | 2725472.7686 | 1270204.1282
21 | 2725453.1609 | 1270129.5478 | 2725444.0326 | 1270129.832
22 | 2725453.1609 | 1270129.5478 | 2725455.2714 | 1270129.1657
23 | 2725444.0326 | 1270129.832 | 2725433.3507 | 1270110.9355
24 | 2725462.485 | 1270127.8597 | 2725455.2714 | 1270129.1657
25 | 2725433.3507 | 1270110.9355 | 2725431.6155 | 1270107.8659
26 | 2725349.0336 | 1270073.4296 | 2725353.1729 | 1270080.1793
27 | 2725355.8249 | 1270069.4256 | 2725349.0336 | 1270073.4296
28 | 2725349.0336 | 1270073.4296 | 2725345.6075 | 1270067.8295 | 2725332.7895 | 1270046.927 | 2725343.0279 | 1270042.5735 | 2725352.4825 | 1270040.0384 | 2725365.4145 | 1270037.8553 | 2725373.9003 | 1270036.2895
29 | 2725373.9003 | 1270036.2895 | 2725378.7837 | 1270044.8566 | 2725383.6546 | 1270051.8888 | 2725388.1821 | 1270057.7236 | 2725388.9658 | 1270058.5088
30 | 2725394.896 | 1270064.4502 | 2725388.9658 | 1270058.5088
31 | 2725574.031 | 1270258.258 | 2725583.505 | 1270264.7099 | 2725592.0253 | 1270270.9804
32 | 2725574.031 | 1270258.258 | 2725577.4931 | 1270255.7848 | 2725581.6737 | 1270252.7932 | 2725580.7895 | 1270251.551 | 2725579.6857 | 1270250.015
33 | 2725574.031 | 1270258.258 | 2725553.0939 | 1270274.4725 | 2725551.4082 | 1270277.608
34 | 2725613.1735 | 1270281.3562 | 2725606.0694 | 1270281.3162 | 2725592.0253 | 1270270.9804
35 | 2725579.6857 | 1270250.015 | 2725571.2207 | 1270256.1212
36 | 2725579.6857 | 1270250.015 | 2725585.5448 | 1270245.7925
37 | 2725552.4102 | 1270291.396 | 2725550.2119 | 1270283.2861 | 2725550.7116 | 1270278.9038 | 2725551.4082 | 1270277.608
38 | 2725598.168 | 1270236.6955 | 2725592.4085 | 1270228.8675
39 | 2725598.168 | 1270236.6955 | 2725585.5448 | 1270245.7925
40 | 2725579.1004 | 1270205.3609 | 2725585.3964 | 1270214.0251 | 2725582.8141 | 1270215.8274 | 2725592.4085 | 1270228.8675
41 | 2725564.9804 | 1270260.6226 | 2725571.2207 | 1270256.1212
42 | 2725579.1004 | 1270205.3609 | 2725578.4794 | 1270204.4803 | 2725569.8345 | 1270210.3301
43 | 2725564.6804 | 1270213.8178 | 2725569.8345 | 1270210.3301
44 | 2725425.7005 | 1270159.8151 | 2725427.6744 | 1270159.3677 | 2725426.6204 | 1270153.7178 | 2725425.9654 | 1270150.23
45 | 2725423.3897 | 1270343.9819 | 2725440.1641 | 1270337.3822
46 | 2725423.3897 | 1270343.9819 | 2725417.0215 | 1270331.8921
47 | 2725458.9322 | 1270330.3397 | 2725442.5918 | 1270336.427 | 2725440.1641 | 1270337.3822
48 | 2725405.654 | 1270308.7392 | 2725411.7422 | 1270321.8696 | 2725417.0215 | 1270331.8921
49 | 2725338.178 | 1270270.4869 | 2725340.0922 | 1270269.7514
50 | 2725340.0922 | 1270269.7514 | 2725362.0811 | 1270261.3032
51 | 2725508.604 | 1270124.8557 | 2725506.0204 | 1270125.5969
52 | 2725472.7686 | 1270204.1282 | 2725472.7662 | 1270204.2075
53 | 2725462.485 | 1270127.8597 | 2725468.1135 | 1270126.8406 | 2725470.5006 | 1270126.2845
54 | 2725412.8257 | 1270081.7469 | 2725417.3398 | 1270087.1477 | 2725421.0243 | 1270091.5634 | 2725429.7281 | 1270104.5269 | 2725431.6155 | 1270107.8659
55 | 2725480.1739 | 1270124.0308 | 2725483.6425 | 1270123.2227 | 2725490.0998 | 1270121.5019
56 | 2725480.1739 | 1270124.0308 | 2725470.5006 | 1270126.2845
57 | 2725394.896 | 1270064.4502 | 2725407.6994 | 1270076.1106 | 2725412.8257 | 1270081.7469
58 | 2725613.1735 | 1270281.3562 | 2725617.5132 | 1270279.2419
59 | 2725555.7517 | 1270301.6654 | 2725554.6407 | 1270297.6381 | 2725552.4102 | 1270291.396
60 | 2725552.4102 | 1270291.396 | 2725546.9706 | 1270295.195 | 2725535.4999 | 1270301.4237
61 | 2725559.8426 | 1270264.3287 | 2725564.9804 | 1270260.6226
62 | 2725419.6946 | 1270061.6963 | 2725439.8827 | 1270057.3994
63 | 2725419.6946 | 1270061.6963 | 2725414.7441 | 1270065.8506 | 2725412.4677 | 1270072.0302 | 2725412.8257 | 1270081.7469
64 | 2725472.3028 | 1270219.3824 | 2725472.7662 | 1270204.2075
65 | 2725472.3028 | 1270219.3824 | 2725441.9382 | 1270230.8257
66 | 2725472.3028 | 1270219.3824 | 2725472.4386 | 1270225.1526
67 | 2725441.9382 | 1270230.8257 | 2725435.7183 | 1270233.1697
68 | 2725472.2032 | 1270239.2877 | 2725472.54 | 1270229.4635 | 2725472.4386 | 1270225.1526
69 | 2725435.6597 | 1270233.1918 | 2725435.7183 | 1270233.1697
70 | 2725472.2032 | 1270239.2877 | 2725478.6399 | 1270239.2132 | 2725491.4932 | 1270233.9925 | 2725497.1152 | 1270231.918
71 | 2725472.2032 | 1270239.2877 | 2725472.2908 | 1270243.6544
72 | 2725395.874 | 1270248.3198 | 2725388.6268 | 1270229.1602
73 | 2725395.874 | 1270248.3198 | 2725382.4384 | 1270253.4818
74 | 2725395.874 | 1270248.3198 | 2725412.5076 | 1270241.9244
75 | 2725399.9145 | 1270214.8087 | 2725403.2608 | 1270220.0468
76 | 2725403.2608 | 1270220.0468 | 2725406.6437 | 1270225.3421
77 | 2725366.1701 | 1270259.7321 | 2725382.4384 | 1270253.4818
78 | 2725413.4716 | 1270241.5537 | 2725412.5076 | 1270241.9244
79 | 2725413.4716 | 1270241.5537 | 2725407.7287 | 1270227.0405 | 2725406.6437 | 1270225.3421
80 | 2725366.1701 | 1270259.7321 | 2725362.0811 | 1270261.3032
81 | 2725413.4716 | 1270241.5537 | 2725435.6597 | 1270233.1918
82 | 2725458.9322 | 1270330.3397 | 2725462.9126 | 1270328.8569
83 | 2725555.7517 | 1270301.6654 | 2725561.7735 | 1270298.8019 | 2725569.2866 | 1270295.1804 | 2725571.043 | 1270294.3392
84 | 2725481.0513 | 1270365.5684 | 2725481.8447 | 1270356.1987
85 | 2725477.4659 | 1270321.6873 | 2725478.846 | 1270327.2218 | 2725479.9215 | 1270331.5042 | 2725481.6261 | 1270340.1818 | 2725482.1734 | 1270352.3158 | 2725481.8447 | 1270356.1987
86 | 2725497.1152 | 1270231.918 | 2725500.1832 | 1270230.7859
87 | 2725472.3144 | 1270244.8273 | 2725472.2908 | 1270243.6544
88 | 2725500.1832 | 1270230.7859 | 2725511.9828 | 1270226.4319
89 | 2725472.3144 | 1270244.8273 | 2725472.5727 | 1270257.7083
90 | 2725517.518 | 1270234.5407 | 2725511.9828 | 1270226.4319 | 2725511.9828 | 1270226.4319
91 | 2725472.7054 | 1270264.3241 | 2725472.5727 | 1270257.7083
92 | 2725520.7417 | 1270239.2633 | 2725517.518 | 1270234.5407
93 | 2725523.8533 | 1270307.7479 | 2725535.4999 | 1270301.4237
94 | 2725507.7347 | 1270315.7693 | 2725516.6581 | 1270311.6551 | 2725523.8533 | 1270307.7479
95 | 2725507.7347 | 1270315.7693 | 2725513.6954 | 1270314.7248
96 | 2725507.7347 | 1270315.7693 | 2725496.5092 | 1270320.1905 | 2725487.6749 | 1270322.5939 | 2725477.4659 | 1270321.6873
97 | 2725477.4659 | 1270321.6873 | 2725477.8253 | 1270318.2362 | 2725477.726 | 1270314.3942
98 | 2725477.4659 | 1270321.6873 | 2725475.8334 | 1270323.7768 | 2725473.2644 | 1270325.3126 | 2725468.2641 | 1270326.8633 | 2725466.4882 | 1270327.5249
99 | 2725474.1073 | 1270285.3154 | 2725474.9825 | 1270295.8327 | 2725477.6973 | 1270313.2844 | 2725477.726 | 1270314.3942
100 | 2725466.4882 | 1270327.5249 | 2725462.9126 | 1270328.8569
101 | 2725474.1073 | 1270285.3154 | 2725454.0927 | 1270287.8715
102 | 2725474.1073 | 1270285.3154 | 2725473.8131 | 1270281.7666
103 | 2725473.8131 | 1270281.7666 | 2725472.8134 | 1270269.7068 | 2725472.7054 | 1270264.3241
104 | 2725431.1053 | 1270290.8073 | 2725454.0927 | 1270287.8715

## bus_geodata
| x | y | coords
0 | 2725380.8696 | 1270141.1007
1 | 2725404.6136 | 1270136.5877
2 | 2725378.5284 | 1270141.5523
3 | 2725405.2602 | 1270136.4658
4 | 2725389.0443 | 1270166.2874
5 | 2725381.6603 | 1270169.1444
6 | 2725417.2293 | 1270134.1494
7 | 2725406.9506 | 1270172.306
8 | 2725408.2366 | 1270162.8986
9 | 2725380.4872 | 1270193.5422
10 | 2725370.9535 | 1270171.1079
11 | 2725476.8559 | 1270141.8736
12 | 2725495.0148 | 1270128.7541
13 | 2725463.4178 | 1270144.5018
14 | 2725476.9591 | 1270145.5386
15 | 2725473.0496 | 1270176.1135
16 | 2725472.9511 | 1270189.8625
17 | 2725453.1609 | 1270129.5478
18 | 2725444.0326 | 1270129.832
19 | 2725455.2714 | 1270129.1657
20 | 2725465.0657 | 1270149.8306
21 | 2725433.3507 | 1270110.9355
22 | 2725349.0336 | 1270073.4296
23 | 2725353.1729 | 1270080.1793
24 | 2725355.8249 | 1270069.4256
25 | 2725373.9003 | 1270036.2895
26 | 2725388.9658 | 1270058.5088
27 | 2725574.031 | 1270258.258
28 | 2725592.0253 | 1270270.9804
29 | 2725579.6857 | 1270250.015
30 | 2725551.4082 | 1270277.608
31 | 2725598.168 | 1270236.6955
32 | 2725592.4085 | 1270228.8675
33 | 2725585.5448 | 1270245.7925
34 | 2725571.2207 | 1270256.1212
35 | 2725579.1004 | 1270205.3609
36 | 2725569.8345 | 1270210.3301
37 | 2725425.7005 | 1270159.8151
38 | 2725425.9654 | 1270150.23
39 | 2725423.3897 | 1270343.9819
40 | 2725440.1641 | 1270337.3822
41 | 2725417.0215 | 1270331.8921
42 | 2725338.178 | 1270270.4869
43 | 2725340.0922 | 1270269.7514
44 | 2725506.0204 | 1270125.5969
45 | 2725472.7686 | 1270204.1282
46 | 2725462.485 | 1270127.8597
47 | 2725431.6155 | 1270107.8659
48 | 2725490.0998 | 1270121.5019
49 | 2725480.1739 | 1270124.0308
50 | 2725508.604 | 1270124.8557
51 | 2725394.896 | 1270064.4502
52 | 2725613.1735 | 1270281.3562
53 | 2725552.4102 | 1270291.396
54 | 2725564.9804 | 1270260.6226
55 | 2725617.5132 | 1270279.2419
56 | 2725564.6804 | 1270213.8178
57 | 2725439.8827 | 1270057.3994
58 | 2725419.6946 | 1270061.6963
59 | 2725472.7662 | 1270204.2075
60 | 2725472.3028 | 1270219.3824
61 | 2725441.9382 | 1270230.8257
62 | 2725472.4386 | 1270225.1526
63 | 2725435.7183 | 1270233.1697
64 | 2725472.2032 | 1270239.2877
65 | 2725388.6268 | 1270229.1602
66 | 2725395.874 | 1270248.3198
67 | 2725399.9145 | 1270214.8087
68 | 2725403.2608 | 1270220.0468
69 | 2725382.4384 | 1270253.4818
70 | 2725412.5076 | 1270241.9244
71 | 2725406.6437 | 1270225.3421
72 | 2725366.1701 | 1270259.7321
73 | 2725413.4716 | 1270241.5537
74 | 2725362.0811 | 1270261.3032
75 | 2725435.6597 | 1270233.1918
76 | 2725412.8257 | 1270081.7469
77 | 2725470.5006 | 1270126.2845
78 | 2725458.9322 | 1270330.3397
79 | 2725405.654 | 1270308.7392
80 | 2725555.7517 | 1270301.6654
81 | 2725571.043 | 1270294.3392
82 | 2725481.0513 | 1270365.5684
83 | 2725481.8447 | 1270356.1987
84 | 2725497.1152 | 1270231.918
85 | 2725472.2908 | 1270243.6544
86 | 2725500.1832 | 1270230.7859
87 | 2725472.3144 | 1270244.8273
88 | 2725511.9828 | 1270226.4319
89 | 2725472.5727 | 1270257.7083
90 | 2725517.518 | 1270234.5407
91 | 2725520.7417 | 1270239.2633
92 | 2725523.8533 | 1270307.7479
93 | 2725535.4999 | 1270301.4237
94 | 2725507.7347 | 1270315.7693
95 | 2725513.6954 | 1270314.7248
96 | 2725477.4659 | 1270321.6873
97 | 2725477.726 | 1270314.3942
98 | 2725466.4882 | 1270327.5249
99 | 2725474.1073 | 1270285.3154
100 | 2725462.9126 | 1270328.8569
101 | 2725559.8426 | 1270264.3287
102 | 2725473.8131 | 1270281.7666
103 | 2725472.7054 | 1270264.3241
104 | 2725454.0927 | 1270287.8715
105 | 2725431.1053 | 1270290.8073
106 | 2725472.3028 | 1270219.3824

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1