## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4946-20_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4946-20_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4946-20_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4946-20_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4946-20_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4946-20_0_3_node_92 | 0.4 | n |  | TRUE
6 | bus_LV_4946-20_0_3_node_94 | 0.4 | n |  | TRUE
7 | bus_LV_4946-20_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4946-20_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4946-20_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4946-20_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_4946-20_0_3_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_4946-20_0_3_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_4946-20_0_3_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_4946-20_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4946-20_0_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_4946-20_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_4946-20_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4946-20_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_4946-20_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_4946-20_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4946-20_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4946-20_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4946-20_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_4946-20_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_4946-20_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4946-20_0_3_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_4946-20_0_3_node_77 | 0.4 | n |  | TRUE
28 | bus_LV_4946-20_0_3_node_95 | 0.4 | n |  | TRUE
29 | bus_LV_4946-20_0_3_node_93 | 0.4 | n |  | TRUE
30 | bus_LV_4946-20_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_4946-20_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_4946-20_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4946-20_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_4946-20_0_3_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_4946-20_0_3_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_4946-20_0_3_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_4946-20_0_3_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_4946-20_0_3_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_4946-20_0_3_node_89 | 0.4 | n |  | TRUE
40 | bus_LV_4946-20_0_3_node_76 | 0.4 | n |  | TRUE
41 | bus_LV_4946-20_0_3_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4946-20_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_4946-20_0_3_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_4946-20_0_3_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_4946-20_0_3_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_4946-20_0_3_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_4946-20_0_3_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_4946-20_0_3_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_4946-20_0_3_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_4946-20_0_3_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_4946-20_0_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_4946-20_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_4946-20_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_4946-20_0_3_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_4946-20_0_3_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_4946-20_0_3_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_4946-20_0_3_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_4946-20_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4946-20_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4946-20_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_4946-20_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_4946-20_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_4946-20_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_4946-20_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4946-20_0_3_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_4946-20_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4946-20_0_3_node_90 | 0.4 | n |  | TRUE
68 | bus_LV_4946-20_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_4946-20_0_3_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_4946-20_0_3_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_4946-20_0_3_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_4946-20_0_3_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_4946-20_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4946-20_0_3_node_88 | 0.4 | n |  | TRUE
75 | bus_LV_4946-20_0_3_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_4946-20_0_3_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4946-20_0_3_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_4946-20_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_4946-20_0_3_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_4946-20_0_3_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_4946-20_0_3_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_4946-20_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_4946-20_0_3_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_4946-20_0_3_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_4946-20_0_3_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_4946-20_0_3_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_4946-20_0_3_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_4946-20_0_3_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_4946-20_0_3_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_4946-20_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_4946-20_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4946-20_0_3_node_87 | 0.4 | n |  | TRUE
93 | bus_MV_488_1_node_68 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4946-20_0_3_load_0 | 0 | 0.0048752 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4946-20_0_3_load_1 | 1 | 0.0014914 | 0.00037379 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4946-20_0_3_load_3 | 3 | 0.003906 | 0.00097892 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4946-20_0_3_load_4 | 4 | 0.0019792 | 0.00049604 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4946-20_0_3_load_92 | 5 | 0.0019858 | 0.00049768 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4946-20_0_3_load_94 | 6 | 0.0016371 | 0.0004103 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4946-20_0_3_load_15 | 10 | 0.011107 | 0.0027837 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4946-20_0_3_load_33 | 11 | 0.0095354 | 0.0023898 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4946-20_0_3_load_34 | 12 | 0.011861 | 0.0029727 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4946-20_0_3_load_30 | 13 | 0.011268 | 0.0028239 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4946-20_0_3_load_27 | 15 | 0.03033 | 0.0076015 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4946-20_0_3_load_19 | 16 | 0.0073745 | 0.0018482 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4946-20_0_3_load_20 | 18 | 0.00231 | 0.00057894 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4946-20_0_3_load_21 | 19 | 0.003778 | 0.00094686 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4946-20_0_3_load_26 | 23 | 0.0038126 | 0.00095552 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4946-20_0_3_load_29 | 24 | 0.019062 | 0.0047775 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4946-20_0_3_load_73 | 26 | 0.0056237 | 0.0014094 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4946-20_0_3_load_77 | 27 | 0.0028995 | 0.00072667 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4946-20_0_3_load_95 | 28 | 0.0021015 | 0.00052668 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4946-20_0_3_load_93 | 29 | 0.01347 | 0.0033758 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4946-20_0_3_load_31 | 30 | 0.0040329 | 0.0010107 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4946-20_0_3_load_25 | 31 | 0.0063273 | 0.0015858 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4946-20_0_3_load_28 | 32 | 0.0052642 | 0.0013193 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4946-20_0_3_load_32 | 33 | 0.0096515 | 0.0024189 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4946-20_0_3_load_74 | 34 | 0.0058517 | 0.0014666 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4946-20_0_3_load_75 | 35 | 0.0052132 | 0.0013066 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4946-20_0_3_load_96 | 38 | 0.0036606 | 0.00091743 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4946-20_0_3_load_89 | 39 | 0.0038786 | 0.00097206 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4946-20_0_3_load_76 | 40 | 0.0037971 | 0.00095164 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4946-20_0_3_load_24 | 41 | 0.0025495 | 0.00063897 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4946-20_0_3_load_23 | 42 | 0.0021622 | 0.00054189 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4946-20_0_3_load_70 | 43 | 0.0024921 | 0.00062457 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4946-20_0_3_load_79 | 45 | 0.0022818 | 0.00057187 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4946-20_0_3_load_59 | 47 | 0.007372 | 0.0018476 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4946-20_0_3_load_72 | 48 | 0.0026075 | 0.0006535 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4946-20_0_3_load_71 | 49 | 0.0079449 | 0.0019912 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4946-20_0_3_load_36 | 50 | 0.0015427 | 0.00038664 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4946-20_0_3_load_37 | 51 | 0.0014506 | 0.00036355 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4946-20_0_3_load_39 | 53 | 0.0015424 | 0.00038656 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4946-20_0_3_load_41 | 55 | 0.0016109 | 0.00040372 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4946-20_0_3_load_53 | 56 | 0.0019183 | 0.00048078 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4946-20_0_3_load_97 | 57 | 0.0022901 | 0.00057396 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4946-20_0_3_load_42 | 59 | 0.0014499 | 0.00036338 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4946-20_0_3_load_43 | 60 | 0.0040888 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4946-20_0_3_load_44 | 61 | 0.0010801 | 0.00027071 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4946-20_0_3_load_46 | 62 | 0.0014515 | 0.00036379 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4946-20_0_3_load_51 | 63 | 0.0030954 | 0.00077579 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4946-20_0_3_load_52 | 64 | 0.0026304 | 0.00065925 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4946-20_0_3_load_47 | 65 | 0.0010177 | 0.00025506 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4946-20_0_3_load_55 | 66 | 0.0026737 | 0.00067009 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4946-20_0_3_load_90 | 67 | 0.0038277 | 0.00095932 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4946-20_0_3_load_48 | 68 | 0.0014506 | 0.00036356 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4946-20_0_3_load_49 | 69 | 0.0010177 | 0.00025506 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4946-20_0_3_load_50 | 70 | 0.0038421 | 0.00096292 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4946-20_0_3_load_54 | 71 | 0.0023998 | 0.00060144 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4946-20_0_3_load_56 | 73 | 0.0023152 | 0.00058024 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4946-20_0_3_load_88 | 74 | 0.00182 | 0.00045614 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4946-20_0_3_load_80 | 75 | 0.0022191 | 0.00055616 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4946-20_0_3_load_57 | 76 | 0.0032228 | 0.00080771 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4946-20_0_3_load_64 | 78 | 0.002183 | 0.00054712 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4946-20_0_3_load_63 | 80 | 0.0020036 | 0.00050216 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4946-20_0_3_load_65 | 81 | 0.0032609 | 0.00081727 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4946-20_0_3_load_82 | 82 | 0.0021675 | 0.00054322 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4946-20_0_3_load_83 | 83 | 0.003045 | 0.00076315 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4946-20_0_3_load_67 | 85 | 0.0027842 | 0.00069778 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4946-20_0_3_load_68 | 86 | 0.0018727 | 0.00046935 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4946-20_0_3_load_69 | 87 | 0.0026127 | 0.0006548 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4946-20_0_3_load_81 | 88 | 0.0023154 | 0.00058028 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4946-20_0_3_load_84 | 89 | 0.0026397 | 0.00066157 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4946-20_0_3_load_85 | 90 | 0.0012021 | 0.00030127 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4946-20_0_3_load_86 | 91 | 0.0064829 | 0.0016248 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4946-20_0_3_load_87 | 92 | 0.0033048 | 0.00082826 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4946-20_0_3_line_0 |  | 0 | 1 | 0.0080991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4946-20_0_3_line_1 |  | 0 | 2 | 0.0014785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4946-20_0_3_line_2 |  | 1 | 3 | 0.0060996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4946-20_0_3_line_3 |  | 2 | 4 | 0.0060686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_4946-20_0_3_line_4 |  | 3 | 5 | 0.0030885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4946-20_0_3_line_5 |  | 4 | 6 | 0.021113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4946-20_0_3_line_6 |  | 5 | 28 | 0.006847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4946-20_0_3_line_7 |  | 6 | 12 | 0.026803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4946-20_0_3_line_8 |  | 7 | 8 | 0.025854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4946-20_0_3_line_9 |  | 7 | 9 | 0.05125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4946-20_0_3_line_10 |  | 7 | 10 | 0.051534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4946-20_0_3_line_11 |  | 8 | 16 | 0.027505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4946-20_0_3_line_12 |  | 8 | 14 | 0.011105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4946-20_0_3_line_13 |  | 9 | 11 | 0.0065574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4946-20_0_3_line_14 |  | 9 | 12 | 0.025271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4946-20_0_3_line_15 |  | 9 | 13 | 0.051702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4946-20_0_3_line_16 |  | 11 | 29 | 0.0099191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4946-20_0_3_line_17 |  | 13 | 30 | 0.025974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4946-20_0_3_line_18 |  | 14 | 15 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4946-20_0_3_line_19 |  | 16 | 17 | 0.026412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4946-20_0_3_line_20 |  | 17 | 18 | 0.030674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4946-20_0_3_line_21 |  | 17 | 19 | 0.01182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4946-20_0_3_line_22 |  | 18 | 31 | 0.012257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4946-20_0_3_line_23 |  | 19 | 23 | 0.034086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4946-20_0_3_line_24 |  | 20 | 21 | 0.022721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4946-20_0_3_line_25 |  | 20 | 22 | 0.013866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4946-20_0_3_line_26 |  | 20 | 23 | 0.0033862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4946-20_0_3_line_27 |  | 21 | 27 | 0.026043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4946-20_0_3_line_28 |  | 21 | 25 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4946-20_0_3_line_29 |  | 22 | 24 | 0.014445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4946-20_0_3_line_30 |  | 24 | 32 | 0.03345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4946-20_0_3_line_31 |  | 25 | 26 | 0.035001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4946-20_0_3_line_32 |  | 26 | 34 | 0.030408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4946-20_0_3_line_33 |  | 27 | 35 | 0.024707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4946-20_0_3_line_34 |  | 28 | 38 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4946-20_0_3_line_35 |  | 29 | 43 | 0.025636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4946-20_0_3_line_36 |  | 30 | 33 | 0.022469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4946-20_0_3_line_37 |  | 31 | 41 | 0.014573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4946-20_0_3_line_38 |  | 35 | 40 | 0.027235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4946-20_0_3_line_39 |  | 36 | 37 | 0.027363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4946-20_0_3_line_40 |  | 36 | 38 | 0.0030008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4946-20_0_3_line_41 |  | 37 | 39 | 0.046642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4946-20_0_3_line_42 |  | 39 | 92 | 0.024026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4946-20_0_3_line_43 |  | 41 | 42 | 0.0096317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4946-20_0_3_line_44 |  | 43 | 84 | 0.016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4946-20_0_3_line_45 |  | 44 | 45 | 0.018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4946-20_0_3_line_46 |  | 44 | 46 | 0.037166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4946-20_0_3_line_47 |  | 45 | 72 | 0.026984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4946-20_0_3_line_48 |  | 46 | 47 | 0.021444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4946-20_0_3_line_49 |  | 47 | 79 | 0.012502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4946-20_0_3_line_50 |  | 48 | 49 | 0.014842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4946-20_0_3_line_51 |  | 49 | 87 | 0.0067047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4946-20_0_3_line_52 |  | 50 | 51 | 0.017948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4946-20_0_3_line_53 |  | 50 | 52 | 0.019965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4946-20_0_3_line_54 |  | 51 | 53 | 0.00084784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4946-20_0_3_line_55 |  | 52 | 54 | 0.07236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4946-20_0_3_line_56 |  | 52 | 55 | 0.045265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4946-20_0_3_line_57 |  | 54 | 56 | 0.056952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4946-20_0_3_line_58 |  | 55 | 57 | 0.017003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4946-20_0_3_line_59 |  | 56 | 58 | 0.018181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4946-20_0_3_line_60 |  | 58 | 63 | 0.037962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4946-20_0_3_line_61 |  | 58 | 64 | 0.014754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4946-20_0_3_line_62 |  | 58 | 60 | 0.014894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4946-20_0_3_line_63 |  | 59 | 60 | 0.0042467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4946-20_0_3_line_64 |  | 59 | 61 | 0.018433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4946-20_0_3_line_65 |  | 61 | 62 | 0.0088922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4946-20_0_3_line_66 |  | 62 | 65 | 0.011094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4946-20_0_3_line_67 |  | 63 | 66 | 0.00017647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4946-20_0_3_line_68 |  | 64 | 67 | 0.020612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4946-20_0_3_line_69 |  | 65 | 68 | 0.013312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4946-20_0_3_line_70 |  | 66 | 73 | 0.028611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4946-20_0_3_line_71 |  | 67 | 74 | 0.019725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4946-20_0_3_line_72 |  | 68 | 69 | 0.017126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4946-20_0_3_line_73 |  | 69 | 70 | 0.039607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4946-20_0_3_line_74 |  | 70 | 71 | 0.017312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4946-20_0_3_line_75 |  | 71 | 72 | 0.022503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4946-20_0_3_line_76 |  | 72 | 75 | 0.016711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4946-20_0_3_line_77 |  | 73 | 76 | 0.0061872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4946-20_0_3_line_78 |  | 74 | 91 | 0.013892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4946-20_0_3_line_79 |  | 75 | 88 | 0.0028478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4946-20_0_3_line_80 |  | 76 | 77 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4946-20_0_3_line_81 |  | 77 | 78 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4946-20_0_3_line_82 |  | 78 | 81 | 0.0040634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4946-20_0_3_line_83 |  | 79 | 80 | 0.014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4946-20_0_3_line_84 |  | 80 | 82 | 0.0047396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4946-20_0_3_line_85 |  | 82 | 83 | 0.016471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4946-20_0_3_line_86 |  | 83 | 89 | 0.0034966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4946-20_0_3_line_87 |  | 84 | 85 | 0.013208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4946-20_0_3_line_88 |  | 85 | 86 | 0.0031046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4946-20_0_3_line_89 |  | 86 | 87 | 0.018399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4946-20_0_3_line_90 |  | 89 | 90 | 0.0049912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4946-20_0_3_line_91 |  | 91 | 92 | 0.0066907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4946-20_0_3_trafo_33 | 0.63 MVA 20/0.4 kV | 93 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2725644.0445 | 1269428.3803 | 2725642.3209 | 1269436.2939
1 | 2725644.3591 | 1269426.9357 | 2725644.0445 | 1269428.3803
2 | 2725642.3209 | 1269436.2939 | 2725641.314 | 1269440.9172 | 2725641.042 | 1269442.2578
3 | 2725644.3591 | 1269426.9357 | 2725646.4917 | 1269421.2541
4 | 2725641.042 | 1269442.2578 | 2725640.4278 | 1269445.2846
5 | 2725646.4917 | 1269421.2541 | 2725652.5466 | 1269405.1229 | 2725653.4712 | 1269401.3517
6 | 2725639.0663 | 1269451.9948 | 2725640.4278 | 1269445.2846
7 | 2725653.4712 | 1269401.3517 | 2725656.7672 | 1269387.9078 | 2725659.7485 | 1269375.2947
8 | 2725623.3742 | 1269353.6436 | 2725632.024 | 1269378.0168
9 | 2725632.024 | 1269378.0168 | 2725637.2028 | 1269375.5469 | 2725633.8633 | 1269366.5787 | 2725644.437 | 1269361.7435 | 2725666.1824 | 1269350.8625
10 | 2725632.024 | 1269378.0168 | 2725626.5336 | 1269380.6247 | 2725621.4701 | 1269384.0425 | 2725610.0771 | 1269399.0809 | 2725605.4803 | 1269402.8533 | 2725592.6795 | 1269409.7345
11 | 2725623.3742 | 1269353.6436 | 2725614.1735 | 1269327.7231
12 | 2725623.3742 | 1269353.6436 | 2725628.5334 | 1269351.7404 | 2725633.7915 | 1269349.7949
13 | 2725666.1824 | 1269350.8625 | 2725672.0727 | 1269347.9807
14 | 2725666.1824 | 1269350.8625 | 2725662.2023 | 1269364.9131 | 2725659.7485 | 1269375.2947
15 | 2725666.1824 | 1269350.8625 | 2725677.9878 | 1269300.526
16 | 2725680.948 | 1269343.5563 | 2725679.9279 | 1269344.1375 | 2725672.0727 | 1269347.9807
17 | 2725677.9878 | 1269300.526 | 2725683.9184 | 1269275.2383
18 | 2725633.7915 | 1269349.7949 | 2725629.1328 | 1269336.9244
19 | 2725605.2444 | 1269302.8666 | 2725611.6917 | 1269320.7313 | 2725614.1735 | 1269327.7231
20 | 2725605.2444 | 1269302.8666 | 2725578.0609 | 1269317.0776
21 | 2725605.2444 | 1269302.8666 | 2725602.6783 | 1269295.7498 | 2725601.2754 | 1269291.7333
22 | 2725567.199 | 1269322.756 | 2725578.0609 | 1269317.0776
23 | 2725590.1012 | 1269259.5308 | 2725590.3728 | 1269260.2664 | 2725596.8743 | 1269279.1333 | 2725601.2754 | 1269291.7333
24 | 2725572.4054 | 1269249.5968 | 2725577.8174 | 1269246.787 | 2725581.8775 | 1269246.6621 | 2725584.9928 | 1269248.1297 | 2725587.1679 | 1269251.6903 | 2725588.928 | 1269256.3543
25 | 2725588.928 | 1269256.3543 | 2725595.6963 | 1269254.1851 | 2725602.1313 | 1269252.1199
26 | 2725588.928 | 1269256.3543 | 2725590.1012 | 1269259.5308
27 | 2725572.4054 | 1269249.5968 | 2725549.2747 | 1269261.5641
28 | 2725566.0413 | 1269237.3613 | 2725567.3648 | 1269239.9029 | 2725570.6409 | 1269246.2006 | 2725572.4054 | 1269249.5968
29 | 2725602.1313 | 1269252.1199 | 2725605.8609 | 1269266.0756
30 | 2725615.2597 | 1269298.1646 | 2725613.1288 | 1269292.1131 | 2725608.3786 | 1269275.4967 | 2725605.8609 | 1269266.0756
31 | 2725566.0413 | 1269237.3613 | 2725559.2191 | 1269241.7093 | 2725546.4025 | 1269248.6434 | 2725535.506 | 1269254.4322
32 | 2725535.506 | 1269254.4322 | 2725508.6521 | 1269268.6985
33 | 2725527.4121 | 1269273.0732 | 2725540.2166 | 1269266.2505 | 2725549.2747 | 1269261.5641
34 | 2725639.0663 | 1269451.9948 | 2725637.2269 | 1269461.0601 | 2725635.8149 | 1269470.5531
35 | 2725680.948 | 1269343.5563 | 2725703.2223 | 1269330.8652
36 | 2725689.0489 | 1269253.3627 | 2725683.9184 | 1269275.2383
37 | 2725567.199 | 1269322.756 | 2725554.2847 | 1269329.5074
38 | 2725527.4121 | 1269273.0732 | 2725505.6342 | 1269284.6773 | 2725503.3713 | 1269285.8705
39 | 2725635.3734 | 1269473.5212 | 2725635.3743 | 1269487.6232 | 2725636.2519 | 1269500.8542
40 | 2725635.3734 | 1269473.5212 | 2725635.8149 | 1269470.5531
41 | 2725636.2519 | 1269500.8542 | 2725653.5437 | 1269498.6643 | 2725681.8852 | 1269491.5865
42 | 2725705.1957 | 1269485.7651 | 2725681.8852 | 1269491.5865
43 | 2725545.749 | 1269333.9697 | 2725554.2847 | 1269329.5074
44 | 2725717.2966 | 1269322.8461 | 2725703.2223 | 1269330.8652
45 | 2725865.7846 | 1269333.1617 | 2725867.8362 | 1269339.3222 | 2725874.5557 | 1269349.5303
46 | 2725865.7846 | 1269333.1617 | 2725829.1314 | 1269339.9317
47 | 2725875.0464 | 1269371.1498 | 2725879.2135 | 1269369.5371 | 2725881.0677 | 1269366.952 | 2725881.4802 | 1269362.4344 | 2725880.4066 | 1269358.4189 | 2725874.5557 | 1269349.5303
48 | 2725829.1314 | 1269339.9317 | 2725810.7686 | 1269351.0058
49 | 2725800.0626 | 1269357.4622 | 2725810.7686 | 1269351.0058
50 | 2725765.4135 | 1269293.697 | 2725752.7196 | 1269301.387
51 | 2725746.9851 | 1269304.8609 | 2725752.7196 | 1269301.387
52 | 2725851.8938 | 1269491.7175 | 2725843.5495 | 1269475.8271
53 | 2725861.1761 | 1269509.394 | 2725851.8938 | 1269491.7175
54 | 2725843.1553 | 1269475.0765 | 2725843.5495 | 1269475.8271
55 | 2725796.2981 | 1269540.4522 | 2725801.8948 | 1269540.2712 | 2725808.1875 | 1269538.1588 | 2725861.1761 | 1269509.394
56 | 2725861.1761 | 1269509.394 | 2725900.9579 | 1269487.7997
57 | 2725796.2981 | 1269540.4522 | 2725782.8936 | 1269485.1004
58 | 2725915.9015 | 1269479.688 | 2725900.9579 | 1269487.7997
59 | 2725778.6143 | 1269467.43 | 2725782.8936 | 1269485.1004
60 | 2725778.6143 | 1269467.43 | 2725769.0745 | 1269430.6858
61 | 2725778.6143 | 1269467.43 | 2725764.2996 | 1269471.0049
62 | 2725778.6143 | 1269467.43 | 2725791.7839 | 1269460.4738
63 | 2725795.5389 | 1269458.4903 | 2725791.7839 | 1269460.4738
64 | 2725795.5389 | 1269458.4903 | 2725811.8378 | 1269449.8811
65 | 2725819.7005 | 1269445.728 | 2725811.8378 | 1269449.8811
66 | 2725819.7005 | 1269445.728 | 2725829.5098 | 1269440.5466
67 | 2725769.0745 | 1269430.6858 | 2725769.0302 | 1269430.515
68 | 2725764.2996 | 1269471.0049 | 2725744.3018 | 1269475.999
69 | 2725841.2807 | 1269434.3292 | 2725829.5098 | 1269440.5466
70 | 2725761.8403 | 1269402.8222 | 2725769.0302 | 1269430.515
71 | 2725725.1647 | 1269480.7782 | 2725744.3018 | 1269475.999
72 | 2725841.2807 | 1269434.3292 | 2725856.4244 | 1269426.3301
73 | 2725856.4244 | 1269426.3301 | 2725870.0106 | 1269419.1538 | 2725881.2173 | 1269410.7626 | 2725890.3637 | 1269406.1532
74 | 2725885.8143 | 1269390.9094 | 2725891.6208 | 1269401.5646 | 2725891.9682 | 1269403.2736 | 2725891.3756 | 1269405.2962 | 2725890.3637 | 1269406.1532 | 2725890.3637 | 1269406.1532
75 | 2725875.0464 | 1269371.1498 | 2725885.8143 | 1269390.9094
76 | 2725875.0464 | 1269371.1498 | 2725859.2622 | 1269376.6381
77 | 2725761.8403 | 1269402.8222 | 2725760.2855 | 1269396.8335
78 | 2725711.6871 | 1269484.144 | 2725725.1647 | 1269480.7782
79 | 2725856.5724 | 1269377.5733 | 2725859.2622 | 1269376.6381
80 | 2725756.7916 | 1269383.3762 | 2725760.2855 | 1269396.8335
81 | 2725756.7916 | 1269383.3762 | 2725747.8826 | 1269369.7223
82 | 2725747.8826 | 1269369.7223 | 2725745.6622 | 1269366.3192
83 | 2725800.0626 | 1269357.4622 | 2725805.5902 | 1269371.126 | 2725805.5902 | 1269371.126
84 | 2725806.5147 | 1269375.7746 | 2725805.5902 | 1269371.126
85 | 2725806.5147 | 1269375.7746 | 2725809.7273 | 1269391.9294
86 | 2725810.4093 | 1269395.3588 | 2725809.7273 | 1269391.9294
87 | 2725717.2966 | 1269322.8461 | 2725728.593 | 1269316.0028
88 | 2725728.593 | 1269316.0028 | 2725731.2484 | 1269314.3942
89 | 2725746.9851 | 1269304.8609 | 2725731.2484 | 1269314.3942
90 | 2725811.3828 | 1269400.2542 | 2725810.4093 | 1269395.3588
91 | 2725711.6871 | 1269484.144 | 2725705.1957 | 1269485.7651

## bus_geodata
| x | y | coords
0 | 2725644.0445 | 1269428.3803
1 | 2725642.3209 | 1269436.2939
2 | 2725644.3591 | 1269426.9357
3 | 2725641.042 | 1269442.2578
4 | 2725646.4917 | 1269421.2541
5 | 2725640.4278 | 1269445.2846
6 | 2725653.4712 | 1269401.3517
7 | 2725632.024 | 1269378.0168
8 | 2725623.3742 | 1269353.6436
9 | 2725666.1824 | 1269350.8625
10 | 2725592.6795 | 1269409.7345
11 | 2725672.0727 | 1269347.9807
12 | 2725659.7485 | 1269375.2947
13 | 2725677.9878 | 1269300.526
14 | 2725633.7915 | 1269349.7949
15 | 2725629.1328 | 1269336.9244
16 | 2725614.1735 | 1269327.7231
17 | 2725605.2444 | 1269302.8666
18 | 2725578.0609 | 1269317.0776
19 | 2725601.2754 | 1269291.7333
20 | 2725588.928 | 1269256.3543
21 | 2725572.4054 | 1269249.5968
22 | 2725602.1313 | 1269252.1199
23 | 2725590.1012 | 1269259.5308
24 | 2725605.8609 | 1269266.0756
25 | 2725566.0413 | 1269237.3613
26 | 2725535.506 | 1269254.4322
27 | 2725549.2747 | 1269261.5641
28 | 2725639.0663 | 1269451.9948
29 | 2725680.948 | 1269343.5563
30 | 2725683.9184 | 1269275.2383
31 | 2725567.199 | 1269322.756
32 | 2725615.2597 | 1269298.1646
33 | 2725689.0489 | 1269253.3627
34 | 2725508.6521 | 1269268.6985
35 | 2725527.4121 | 1269273.0732
36 | 2725635.3734 | 1269473.5212
37 | 2725636.2519 | 1269500.8542
38 | 2725635.8149 | 1269470.5531
39 | 2725681.8852 | 1269491.5865
40 | 2725503.3713 | 1269285.8705
41 | 2725554.2847 | 1269329.5074
42 | 2725545.749 | 1269333.9697
43 | 2725703.2223 | 1269330.8652
44 | 2725865.7846 | 1269333.1617
45 | 2725874.5557 | 1269349.5302
46 | 2725829.1314 | 1269339.9317
47 | 2725810.7686 | 1269351.0058
48 | 2725765.4135 | 1269293.697
49 | 2725752.7196 | 1269301.387
50 | 2725851.8938 | 1269491.7174
51 | 2725843.5495 | 1269475.8271
52 | 2725861.1761 | 1269509.394
53 | 2725843.1553 | 1269475.0765
54 | 2725796.2981 | 1269540.4522
55 | 2725900.9579 | 1269487.7997
56 | 2725782.8936 | 1269485.1004
57 | 2725915.9015 | 1269479.688
58 | 2725778.6143 | 1269467.43
59 | 2725795.5389 | 1269458.4903
60 | 2725791.7839 | 1269460.4738
61 | 2725811.8378 | 1269449.8811
62 | 2725819.7005 | 1269445.728
63 | 2725769.0745 | 1269430.6858
64 | 2725764.2996 | 1269471.0049
65 | 2725829.5098 | 1269440.5466
66 | 2725769.0302 | 1269430.515
67 | 2725744.3018 | 1269475.999
68 | 2725841.2807 | 1269434.3292
69 | 2725856.4244 | 1269426.3301
70 | 2725890.3637 | 1269406.1532
71 | 2725885.8143 | 1269390.9094
72 | 2725875.0464 | 1269371.1498
73 | 2725761.8403 | 1269402.8222
74 | 2725725.1647 | 1269480.7782
75 | 2725859.2622 | 1269376.6381
76 | 2725760.2855 | 1269396.8335
77 | 2725756.7916 | 1269383.3762
78 | 2725747.8826 | 1269369.7223
79 | 2725800.0626 | 1269357.4622
80 | 2725805.5902 | 1269371.126
81 | 2725745.6622 | 1269366.3192
82 | 2725806.5147 | 1269375.7746
83 | 2725809.7273 | 1269391.9294
84 | 2725717.2966 | 1269322.8461
85 | 2725728.593 | 1269316.0028
86 | 2725731.2484 | 1269314.3942
87 | 2725746.9851 | 1269304.8609
88 | 2725856.5723 | 1269377.5733
89 | 2725810.4093 | 1269395.3588
90 | 2725811.3828 | 1269400.2542
91 | 2725711.6871 | 1269484.144
92 | 2725705.1957 | 1269485.7651
93 | 2725666.1824 | 1269350.8625

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1