## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4946-21_1_3_node_60 | 0.4 | n |  | TRUE
1 | bus_LV_4946-21_1_3_node_81 | 0.4 | n |  | TRUE
2 | bus_LV_4946-21_1_3_node_104 | 0.4 | n |  | TRUE
3 | bus_LV_4946-21_1_3_node_95 | 0.4 | n |  | TRUE
4 | bus_LV_4946-21_1_3_node_61 | 0.4 | n |  | TRUE
5 | bus_LV_4946-21_1_3_node_62 | 0.4 | n |  | TRUE
6 | bus_LV_4946-21_1_3_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_4946-21_1_3_node_64 | 0.4 | n |  | TRUE
8 | bus_LV_4946-21_1_3_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_4946-21_1_3_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_4946-21_1_3_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_4946-21_1_3_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_4946-21_1_3_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_4946-21_1_3_node_74 | 0.4 | n |  | TRUE
14 | bus_LV_4946-21_1_3_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_4946-21_1_3_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_4946-21_1_3_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_4946-21_1_3_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_4946-21_1_3_node_101 | 0.4 | n |  | TRUE
19 | bus_LV_4946-21_1_3_node_92 | 0.4 | n |  | TRUE
20 | bus_LV_4946-21_1_3_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_4946-21_1_3_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_4946-21_1_3_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_4946-21_1_3_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_4946-21_1_3_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_4946-21_1_3_node_79 | 0.4 | n |  | TRUE
26 | bus_LV_4946-21_1_3_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_4946-21_1_3_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_4946-21_1_3_node_106 | 0.4 | n |  | TRUE
29 | bus_LV_4946-21_1_3_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_4946-21_1_3_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_4946-21_1_3_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_4946-21_1_3_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_4946-21_1_3_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_4946-21_1_3_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_4946-21_1_3_node_107 | 0.4 | n |  | TRUE
36 | bus_LV_4946-21_1_3_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_4946-21_1_3_node_93 | 0.4 | n |  | TRUE
38 | bus_LV_4946-21_1_3_node_94 | 0.4 | n |  | TRUE
39 | bus_LV_4946-21_1_3_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_4946-21_1_3_node_97 | 0.4 | n |  | TRUE
41 | bus_LV_4946-21_1_3_node_105 | 0.4 | n |  | TRUE
42 | bus_LV_4946-21_1_3_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_4946-21_1_3_node_100 | 0.4 | n |  | TRUE
44 | bus_LV_4946-21_1_3_node_247 | 0.4 | n |  | TRUE
45 | bus_LV_4946-21_1_3_node_102 | 0.4 | n |  | TRUE
46 | bus_LV_4946-21_1_3_node_103 | 0.4 | n |  | TRUE
47 | bus_LV_4946-21_1_3_node_124 | 0.4 | n |  | TRUE
48 | bus_LV_4946-21_1_3_node_155 | 0.4 | n |  | TRUE
49 | bus_LV_4946-21_1_3_node_147 | 0.4 | n |  | TRUE
50 | bus_LV_4946-21_1_3_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_4946-21_1_3_node_108 | 0.4 | n |  | TRUE
52 | bus_LV_4946-21_1_3_node_133 | 0.4 | n |  | TRUE
53 | bus_LV_4946-21_1_3_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_4946-21_1_3_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_4946-21_1_3_node_112 | 0.4 | n |  | TRUE
56 | bus_LV_4946-21_1_3_node_113 | 0.4 | n |  | TRUE
57 | bus_LV_4946-21_1_3_node_114 | 0.4 | n |  | TRUE
58 | bus_LV_4946-21_1_3_node_115 | 0.4 | n |  | TRUE
59 | bus_LV_4946-21_1_3_node_136 | 0.4 | n |  | TRUE
60 | bus_LV_4946-21_1_3_node_178 | 0.4 | n |  | TRUE
61 | bus_LV_4946-21_1_3_node_170 | 0.4 | n |  | TRUE
62 | bus_LV_4946-21_1_3_node_116 | 0.4 | n |  | TRUE
63 | bus_LV_4946-21_1_3_node_117 | 0.4 | n |  | TRUE
64 | bus_LV_4946-21_1_3_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_4946-21_1_3_node_119 | 0.4 | n |  | TRUE
66 | bus_LV_4946-21_1_3_node_120 | 0.4 | n |  | TRUE
67 | bus_LV_4946-21_1_3_node_121 | 0.4 | n |  | TRUE
68 | bus_LV_4946-21_1_3_node_159 | 0.4 | n |  | TRUE
69 | bus_LV_4946-21_1_3_node_168 | 0.4 | n |  | TRUE
70 | bus_LV_4946-21_1_3_node_139 | 0.4 | n |  | TRUE
71 | bus_LV_4946-21_1_3_node_163 | 0.4 | n |  | TRUE
72 | bus_LV_4946-21_1_3_node_122 | 0.4 | n |  | TRUE
73 | bus_LV_4946-21_1_3_node_123 | 0.4 | n |  | TRUE
74 | bus_LV_4946-21_1_3_node_125 | 0.4 | n |  | TRUE
75 | bus_LV_4946-21_1_3_node_126 | 0.4 | n |  | TRUE
76 | bus_LV_4946-21_1_3_node_127 | 0.4 | n |  | TRUE
77 | bus_LV_4946-21_1_3_node_144 | 0.4 | n |  | TRUE
78 | bus_LV_4946-21_1_3_node_165 | 0.4 | n |  | TRUE
79 | bus_LV_4946-21_1_3_node_143 | 0.4 | n |  | TRUE
80 | bus_LV_4946-21_1_3_node_128 | 0.4 | n |  | TRUE
81 | bus_LV_4946-21_1_3_node_129 | 0.4 | n |  | TRUE
82 | bus_LV_4946-21_1_3_node_130 | 0.4 | n |  | TRUE
83 | bus_LV_4946-21_1_3_node_131 | 0.4 | n |  | TRUE
84 | bus_LV_4946-21_1_3_node_182 | 0.4 | n |  | TRUE
85 | bus_LV_4946-21_1_3_node_151 | 0.4 | n |  | TRUE
86 | bus_LV_4946-21_1_3_node_132 | 0.4 | n |  | TRUE
87 | bus_LV_4946-21_1_3_node_138 | 0.4 | n |  | TRUE
88 | bus_LV_4946-21_1_3_node_158 | 0.4 | n |  | TRUE
89 | bus_LV_4946-21_1_3_node_134 | 0.4 | n |  | TRUE
90 | bus_LV_4946-21_1_3_node_135 | 0.4 | n |  | TRUE
91 | bus_LV_4946-21_1_3_node_137 | 0.4 | n |  | TRUE
92 | bus_LV_4946-21_1_3_node_140 | 0.4 | n |  | TRUE
93 | bus_LV_4946-21_1_3_node_141 | 0.4 | n |  | TRUE
94 | bus_LV_4946-21_1_3_node_180 | 0.4 | n |  | TRUE
95 | bus_LV_4946-21_1_3_node_142 | 0.4 | n |  | TRUE
96 | bus_LV_4946-21_1_3_node_145 | 0.4 | n |  | TRUE
97 | bus_LV_4946-21_1_3_node_146 | 0.4 | n |  | TRUE
98 | bus_LV_4946-21_1_3_node_152 | 0.4 | n |  | TRUE
99 | bus_LV_4946-21_1_3_node_153 | 0.4 | n |  | TRUE
100 | bus_LV_4946-21_1_3_node_154 | 0.4 | n |  | TRUE
101 | bus_LV_4946-21_1_3_node_157 | 0.4 | n |  | TRUE
102 | bus_LV_4946-21_1_3_node_160 | 0.4 | n |  | TRUE
103 | bus_LV_4946-21_1_3_node_167 | 0.4 | n |  | TRUE
104 | bus_LV_4946-21_1_3_node_161 | 0.4 | n |  | TRUE
105 | bus_LV_4946-21_1_3_node_162 | 0.4 | n |  | TRUE
106 | bus_LV_4946-21_1_3_node_164 | 0.4 | n |  | TRUE
107 | bus_LV_4946-21_1_3_node_175 | 0.4 | n |  | TRUE
108 | bus_LV_4946-21_1_3_node_166 | 0.4 | n |  | TRUE
109 | bus_LV_4946-21_1_3_node_169 | 0.4 | n |  | TRUE
110 | bus_LV_4946-21_1_3_node_171 | 0.4 | n |  | TRUE
111 | bus_LV_4946-21_1_3_node_173 | 0.4 | n |  | TRUE
112 | bus_LV_4946-21_1_3_node_172 | 0.4 | n |  | TRUE
113 | bus_LV_4946-21_1_3_node_174 | 0.4 | n |  | TRUE
114 | bus_LV_4946-21_1_3_node_179 | 0.4 | n |  | TRUE
115 | bus_LV_4946-21_1_3_node_245 | 0.4 | n |  | TRUE
116 | bus_LV_4946-21_1_3_node_246 | 0.4 | n |  | TRUE
117 | bus_MV_488_1_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4946-21_1_3_load_104 | 2 | 0.0027341 | 0.00068523 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4946-21_1_3_load_95 | 3 | 0.0024314 | 0.00060938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4946-21_1_3_load_61 | 4 | 0.0014719 | 0.0003689 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4946-21_1_3_load_62 | 5 | 0.0014071 | 0.00035264 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4946-21_1_3_load_63 | 6 | 0.0014325 | 0.00035902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4946-21_1_3_load_64 | 7 | 0.001971 | 0.00049397 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4946-21_1_3_load_65 | 9 | 0.0032796 | 0.00082194 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4946-21_1_3_load_66 | 10 | 0.0011879 | 0.0002977 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4946-21_1_3_load_67 | 11 | 0.0026405 | 0.00066177 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4946-21_1_3_load_74 | 13 | 0.0010183 | 0.00025522 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4946-21_1_3_load_73 | 14 | 0.0024366 | 0.00061067 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4946-21_1_3_load_70 | 15 | 0.001846 | 0.00046265 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4946-21_1_3_load_71 | 16 | 0.0025999 | 0.0006516 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4946-21_1_3_load_72 | 17 | 0.0040068 | 0.0010042 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4946-21_1_3_load_92 | 19 | 0.0021517 | 0.00053926 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4946-21_1_3_load_75 | 20 | 0.0011414 | 0.00028606 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4946-21_1_3_load_76 | 21 | 0.0030602 | 0.00076695 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4946-21_1_3_load_89 | 22 | 0.002647 | 0.00066339 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4946-21_1_3_load_77 | 23 | 0.0021554 | 0.00054019 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4946-21_1_3_load_78 | 24 | 0.0025472 | 0.00063838 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4946-21_1_3_load_79 | 25 | 0.0039861 | 0.00099902 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4946-21_1_3_load_80 | 26 | 0.0028398 | 0.00071172 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4946-21_1_3_load_82 | 27 | 0.0014188 | 0.00035557 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4946-21_1_3_load_84 | 29 | 0.0020705 | 0.00051891 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4946-21_1_3_load_87 | 31 | 0.0039197 | 0.00098236 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4946-21_1_3_load_88 | 32 | 0.0020343 | 0.00050985 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4946-21_1_3_load_90 | 33 | 0.0019458 | 0.00048765 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4946-21_1_3_load_98 | 34 | 0.0012953 | 0.00032464 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4946-21_1_3_load_107 | 35 | 0.0026819 | 0.00067215 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4946-21_1_3_load_91 | 36 | 0.0016878 | 0.000423 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4946-21_1_3_load_93 | 37 | 0.0020977 | 0.00052573 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4946-21_1_3_load_94 | 38 | 0.0020994 | 0.00052615 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4946-21_1_3_load_96 | 39 | 0.00076708 | 0.00019225 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4946-21_1_3_load_97 | 40 | 0.00093293 | 0.00023382 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4946-21_1_3_load_105 | 41 | 0.00080608 | 0.00020202 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4946-21_1_3_load_100 | 43 | 0.0019565 | 0.00049033 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4946-21_1_3_load_247 | 44 | 0.010823 | 0.0027125 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4946-21_1_3_load_103 | 46 | 0.001915 | 0.00047993 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4946-21_1_3_load_155 | 48 | 0.0026578 | 0.00066611 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4946-21_1_3_load_147 | 49 | 0.0020399 | 0.00051126 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4946-21_1_3_load_109 | 50 | 0.0032357 | 0.00081094 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4946-21_1_3_load_108 | 51 | 0.0077283 | 0.0019369 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4946-21_1_3_load_110 | 53 | 0.0013779 | 0.00034533 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4946-21_1_3_load_111 | 54 | 0.0019967 | 0.00050042 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4946-21_1_3_load_113 | 56 | 0.0023502 | 0.00058903 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4946-21_1_3_load_114 | 57 | 0.001998 | 0.00050074 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4946-21_1_3_load_115 | 58 | 0.0023227 | 0.00058212 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4946-21_1_3_load_136 | 59 | 0.0024481 | 0.00061354 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4946-21_1_3_load_178 | 60 | 0.0018337 | 0.00045956 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4946-21_1_3_load_170 | 61 | 0.0024826 | 0.00062221 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4946-21_1_3_load_116 | 62 | 0.0016369 | 0.00041025 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4946-21_1_3_load_117 | 63 | 0.0035588 | 0.00089191 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4946-21_1_3_load_119 | 65 | 0.0025256 | 0.00063298 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4946-21_1_3_load_120 | 66 | 0.0029342 | 0.00073538 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4946-21_1_3_load_159 | 68 | 0.0021897 | 0.0005488 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4946-21_1_3_load_168 | 69 | 0.0028387 | 0.00071146 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4946-21_1_3_load_139 | 70 | 0.0034092 | 0.00085443 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4946-21_1_3_load_163 | 71 | 0.0045757 | 0.0011468 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4946-21_1_3_load_122 | 72 | 0.0037873 | 0.00094918 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4946-21_1_3_load_125 | 74 | 0.0023181 | 0.00058096 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4946-21_1_3_load_126 | 75 | 0.0023135 | 0.00057983 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4946-21_1_3_load_127 | 76 | 0.0018646 | 0.00046731 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4946-21_1_3_load_144 | 77 | 0.0024593 | 0.00061636 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4946-21_1_3_load_165 | 78 | 0.0023144 | 0.00058005 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4946-21_1_3_load_143 | 79 | 0.0023492 | 0.00058878 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4946-21_1_3_load_128 | 80 | 0.0021878 | 0.00054832 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4946-21_1_3_load_129 | 81 | 0.0026814 | 0.00067203 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4946-21_1_3_load_130 | 82 | 0.0033256 | 0.00083347 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4946-21_1_3_load_131 | 83 | 0.0021019 | 0.00052678 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4946-21_1_3_load_182 | 84 | 0.002008 | 0.00050324 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4946-21_1_3_load_151 | 85 | 0.0029198 | 0.00073178 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4946-21_1_3_load_138 | 87 | 0.0027736 | 0.00069512 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4946-21_1_3_load_158 | 88 | 0.0023732 | 0.00059479 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4946-21_1_3_load_134 | 89 | 0.0019317 | 0.00048413 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4946-21_1_3_load_135 | 90 | 0.0034872 | 0.00087399 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4946-21_1_3_load_137 | 91 | 0.0043162 | 0.0010817 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4946-21_1_3_load_140 | 92 | 0.001456 | 0.0003649 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4946-21_1_3_load_141 | 93 | 0.0015954 | 0.00039984 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4946-21_1_3_load_180 | 94 | 0.0020169 | 0.00050547 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4946-21_1_3_load_142 | 95 | 0.0022984 | 0.00057604 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4946-21_1_3_load_145 | 96 | 0.0020787 | 0.00052096 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4946-21_1_3_load_146 | 97 | 0.0028688 | 0.00071899 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4946-21_1_3_load_152 | 98 | 0.0041857 | 0.001049 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4946-21_1_3_load_153 | 99 | 0.002097 | 0.00052556 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4946-21_1_3_load_154 | 100 | 0.0031274 | 0.0007838 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4946-21_1_3_load_157 | 101 | 0.0049362 | 0.0012371 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4946-21_1_3_load_160 | 102 | 0.002614 | 0.00065514 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4946-21_1_3_load_167 | 103 | 0.0021205 | 0.00053144 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4946-21_1_3_load_161 | 104 | 0.001395 | 0.00034963 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4946-21_1_3_load_162 | 105 | 0.0014 | 0.00035087 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4946-21_1_3_load_175 | 107 | 0.0012878 | 0.00032276 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4946-21_1_3_load_166 | 108 | 0.0022241 | 0.00055742 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4946-21_1_3_load_171 | 110 | 0.0038028 | 0.00095307 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4946-21_1_3_load_173 | 111 | 0.0020641 | 0.00051732 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4946-21_1_3_load_172 | 112 | 0.0028234 | 0.00070761 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4946-21_1_3_load_174 | 113 | 0.0020643 | 0.00051737 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4946-21_1_3_load_179 | 114 | 0.0018937 | 0.00047461 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4946-21_1_3_load_245 | 115 | 0.0015869 | 0.00039771 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4946-21_1_3_load_246 | 116 | 0.0012173 | 0.00030509 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4946-21_1_3_line_0 |  | 0 | 1 | 0.04015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4946-21_1_3_line_1 |  | 0 | 2 | 0.028623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4946-21_1_3_line_2 |  | 0 | 3 | 0.017562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4946-21_1_3_line_3 |  | 1 | 28 | 0.011233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4946-21_1_3_line_4 |  | 1 | 25 | 0.019606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4946-21_1_3_line_5 |  | 2 | 49 | 0.025715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4946-21_1_3_line_6 |  | 3 | 37 | 0.026965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4946-21_1_3_line_7 |  | 4 | 5 | 0.0050187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4946-21_1_3_line_8 |  | 4 | 6 | 0.00095117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4946-21_1_3_line_9 |  | 5 | 7 | 0.017567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4946-21_1_3_line_10 |  | 7 | 8 | 0.0049583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4946-21_1_3_line_11 |  | 8 | 13 | 0.017129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4946-21_1_3_line_12 |  | 8 | 10 | 0.01635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4946-21_1_3_line_13 |  | 9 | 10 | 0.0077225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4946-21_1_3_line_14 |  | 9 | 11 | 0.03059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4946-21_1_3_line_15 |  | 11 | 12 | 0.012962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4946-21_1_3_line_16 |  | 12 | 14 | 0.021723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4946-21_1_3_line_17 |  | 12 | 15 | 0.0028926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4946-21_1_3_line_18 |  | 13 | 20 | 0.011357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4946-21_1_3_line_19 |  | 14 | 19 | 0.0028793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4946-21_1_3_line_20 |  | 15 | 16 | 0.020698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4946-21_1_3_line_21 |  | 16 | 17 | 0.027048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4946-21_1_3_line_22 |  | 17 | 18 | 0.0015133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4946-21_1_3_line_23 |  | 18 | 45 | 0.021167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4946-21_1_3_line_24 |  | 18 | 46 | 0.024862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4946-21_1_3_line_25 |  | 19 | 36 | 0.024761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4946-21_1_3_line_26 |  | 20 | 21 | 0.021892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4946-21_1_3_line_27 |  | 21 | 22 | 0.0037687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4946-21_1_3_line_28 |  | 22 | 35 | 0.010265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4946-21_1_3_line_29 |  | 23 | 24 | 0.028189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4946-21_1_3_line_30 |  | 23 | 25 | 0.029581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4946-21_1_3_line_31 |  | 24 | 26 | 0.029638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4946-21_1_3_line_32 |  | 26 | 27 | 0.027194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4946-21_1_3_line_33 |  | 28 | 50 | 0.029437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4946-21_1_3_line_34 |  | 29 | 30 | 0.02187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4946-21_1_3_line_35 |  | 30 | 31 | 0.017384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4946-21_1_3_line_36 |  | 30 | 32 | 0.054169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4946-21_1_3_line_37 |  | 31 | 33 | 0.030078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4946-21_1_3_line_38 |  | 32 | 34 | 0.03613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4946-21_1_3_line_39 |  | 33 | 36 | 0.00057411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4946-21_1_3_line_40 |  | 34 | 42 | 0.0023389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4946-21_1_3_line_41 |  | 35 | 51 | 0.0077305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4946-21_1_3_line_42 |  | 37 | 38 | 0.022704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4946-21_1_3_line_43 |  | 38 | 39 | 0.026035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4946-21_1_3_line_44 |  | 39 | 40 | 0.02353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4946-21_1_3_line_45 |  | 40 | 41 | 0.025213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4946-21_1_3_line_46 |  | 42 | 43 | 0.07817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4946-21_1_3_line_47 |  | 43 | 44 | 0.02077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4946-21_1_3_line_48 |  | 44 | 116 | 0.026226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4946-21_1_3_line_49 |  | 45 | 47 | 0.023149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4946-21_1_3_line_50 |  | 45 | 48 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4946-21_1_3_line_51 |  | 47 | 76 | 0.019371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4946-21_1_3_line_52 |  | 47 | 72 | 0.0197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4946-21_1_3_line_53 |  | 48 | 100 | 0.033484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4946-21_1_3_line_54 |  | 50 | 52 | 0.01547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4946-21_1_3_line_55 |  | 52 | 89 | 0.013859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4946-21_1_3_line_56 |  | 52 | 90 | 0.019788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4946-21_1_3_line_57 |  | 52 | 59 | 0.034829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4946-21_1_3_line_58 |  | 53 | 54 | 0.013306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4946-21_1_3_line_59 |  | 53 | 55 | 0.0012771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4946-21_1_3_line_60 |  | 54 | 56 | 0.018274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4946-21_1_3_line_61 |  | 55 | 57 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4946-21_1_3_line_62 |  | 55 | 58 | 0.01862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4946-21_1_3_line_63 |  | 56 | 59 | 0.014617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4946-21_1_3_line_64 |  | 57 | 60 | 0.013012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4946-21_1_3_line_65 |  | 58 | 61 | 0.012416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4946-21_1_3_line_66 |  | 60 | 114 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4946-21_1_3_line_67 |  | 61 | 111 | 0.01355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4946-21_1_3_line_68 |  | 61 | 109 | 0.011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4946-21_1_3_line_69 |  | 62 | 63 | 0.022709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4946-21_1_3_line_70 |  | 62 | 64 | 0.0018703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4946-21_1_3_line_71 |  | 63 | 65 | 0.0018508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4946-21_1_3_line_72 |  | 64 | 66 | 0.021954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4946-21_1_3_line_73 |  | 64 | 67 | 0.030609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4946-21_1_3_line_74 |  | 65 | 68 | 0.020771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4946-21_1_3_line_75 |  | 66 | 69 | 0.00019153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4946-21_1_3_line_76 |  | 67 | 70 | 0.015923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4946-21_1_3_line_77 |  | 67 | 71 | 0.014275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4946-21_1_3_line_78 |  | 68 | 102 | 0.0024763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4946-21_1_3_line_79 |  | 70 | 91 | 0.0020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4946-21_1_3_line_80 |  | 71 | 104 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4946-21_1_3_line_81 |  | 72 | 73 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4946-21_1_3_line_82 |  | 73 | 74 | 0.015214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4946-21_1_3_line_83 |  | 73 | 75 | 0.0038904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4946-21_1_3_line_84 |  | 74 | 77 | 0.027638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4946-21_1_3_line_85 |  | 75 | 78 | 0.013348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4946-21_1_3_line_86 |  | 76 | 79 | 0.0024411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4946-21_1_3_line_87 |  | 77 | 96 | 0.0020974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4946-21_1_3_line_88 |  | 78 | 108 | 0.010378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4946-21_1_3_line_89 |  | 79 | 89 | 0.022395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4946-21_1_3_line_90 |  | 80 | 81 | 0.01027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4946-21_1_3_line_91 |  | 80 | 82 | 0.012968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4946-21_1_3_line_92 |  | 81 | 83 | 0.0085749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4946-21_1_3_line_93 |  | 82 | 84 | 0.10906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4946-21_1_3_line_94 |  | 83 | 85 | 0.012217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4946-21_1_3_line_95 |  | 84 | 101 | 0.054805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4946-21_1_3_line_96 |  | 85 | 97 | 0.021527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4946-21_1_3_line_97 |  | 86 | 87 | 0.015081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4946-21_1_3_line_98 |  | 86 | 88 | 0.011932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4946-21_1_3_line_99 |  | 87 | 91 | 0.026975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4946-21_1_3_line_100 |  | 88 | 95 | 0.015668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4946-21_1_3_line_101 |  | 92 | 93 | 0.0092358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4946-21_1_3_line_102 |  | 92 | 94 | 0.042391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4946-21_1_3_line_103 |  | 93 | 95 | 0.014968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4946-21_1_3_line_104 |  | 96 | 97 | 0.01924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4946-21_1_3_line_105 |  | 97 | 98 | 0.019564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4946-21_1_3_line_106 |  | 99 | 100 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4946-21_1_3_line_107 |  | 102 | 103 | 0.012857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4946-21_1_3_line_108 |  | 103 | 108 | 0.01051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4946-21_1_3_line_109 |  | 104 | 105 | 0.0015985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4946-21_1_3_line_110 |  | 105 | 106 | 0.013408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4946-21_1_3_line_111 |  | 106 | 107 | 0.032644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4946-21_1_3_line_112 |  | 109 | 110 | 0.011817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4946-21_1_3_line_113 |  | 110 | 112 | 0.011222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4946-21_1_3_line_114 |  | 111 | 113 | 0.014049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4946-21_1_3_line_115 |  | 115 | 116 | 0.00019045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4946-21_1_3_trafo_124 | 0.63 MVA 20/0.4 kV | 117 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2726214.9927 | 1269155.2682 | 2726207.8275 | 1269177.3912 | 2726202.6581 | 1269193.4847
1 | 2726202.6581 | 1269193.4847 | 2726175.1047 | 1269185.7345
2 | 2726202.6581 | 1269193.4847 | 2726219.4501 | 1269198.6274
3 | 2726214.9927 | 1269155.2682 | 2726218.3685 | 1269144.5525
4 | 2726214.9927 | 1269155.2682 | 2726233.7042 | 1269161.1235
5 | 2726150.35 | 1269178.7715 | 2726175.1047 | 1269185.7345
6 | 2726245.493 | 1269205.5786 | 2726244.4385 | 1269205.3995 | 2726234.7333 | 1269203.0232 | 2726223.7782 | 1269199.953 | 2726219.4501 | 1269198.6274
7 | 2726350.9959 | 1269057.1197 | 2726346.2058 | 1269055.6225
8 | 2726351.9038 | 1269057.4035 | 2726350.9959 | 1269057.1197
9 | 2726346.2058 | 1269055.6225 | 2726329.439 | 1269050.382
10 | 2726324.7065 | 1269048.9029 | 2726329.439 | 1269050.382
11 | 2726324.7065 | 1269048.9029 | 2726308.4036 | 1269043.6479
12 | 2726324.7065 | 1269048.9029 | 2726315.3339 | 1269062.3002
13 | 2726310.9071 | 1269068.628 | 2726315.3339 | 1269062.3002
14 | 2726310.9071 | 1269068.628 | 2726293.3717 | 1269093.6934
15 | 2726285.9413 | 1269104.3146 | 2726293.3717 | 1269093.6934
16 | 2726285.9413 | 1269104.3146 | 2726306.5565 | 1269111.1627
17 | 2726285.9413 | 1269104.3146 | 2726283.1932 | 1269103.412
18 | 2726308.4036 | 1269043.6479 | 2726297.5941 | 1269040.1636
19 | 2726306.5565 | 1269111.1627 | 2726309.2889 | 1269112.0704
20 | 2726283.1932 | 1269103.412 | 2726263.5291 | 1269096.9532
21 | 2726237.832 | 1269088.5129 | 2726263.5291 | 1269096.9532
22 | 2726236.3943 | 1269088.0407 | 2726237.832 | 1269088.5129
23 | 2726236.3943 | 1269088.0407 | 2726216.1931 | 1269081.5253
24 | 2726236.3943 | 1269088.0407 | 2726228.8389 | 1269111.7274
25 | 2726332.7876 | 1269119.8763 | 2726309.2889 | 1269112.0704
26 | 2726297.5941 | 1269040.1636 | 2726276.758 | 1269033.4474
27 | 2726273.171 | 1269032.2912 | 2726276.758 | 1269033.4474
28 | 2726273.171 | 1269032.2912 | 2726263.4005 | 1269029.1418
29 | 2726261.9348 | 1269169.9578 | 2726288.8369 | 1269178.3763
30 | 2726261.9348 | 1269169.9578 | 2726233.7042 | 1269161.1235
31 | 2726288.8369 | 1269178.3763 | 2726317.1219 | 1269187.2275
32 | 2726343.0751 | 1269195.3491 | 2726317.1219 | 1269187.2275
33 | 2726218.3685 | 1269144.5525 | 2726190.4982 | 1269135.0772
34 | 2726378.3741 | 1269135.0196 | 2726372.7514 | 1269156.154
35 | 2726378.3741 | 1269135.0196 | 2726361.8769 | 1269129.5394
36 | 2726378.3741 | 1269135.0196 | 2726387.837 | 1269110.7438 | 2726393.0742 | 1269087.6455 | 2726393.5207 | 1269083.2383
37 | 2726333.3324 | 1269120.0573 | 2726361.8769 | 1269129.5394
38 | 2726397.1625 | 1269047.292 | 2726393.5207 | 1269083.2383
39 | 2726332.7876 | 1269119.8763 | 2726333.3324 | 1269120.0573
40 | 2726397.3983 | 1269044.965 | 2726397.1625 | 1269047.292
41 | 2726256.0428 | 1269026.7702 | 2726263.4005 | 1269029.1418
42 | 2726245.493 | 1269205.5786 | 2726251.1064 | 1269206.5319 | 2726257.9456 | 1269207.757 | 2726267.6601 | 1269210.3774
43 | 2726267.6601 | 1269210.3774 | 2726268.5587 | 1269210.6198 | 2726292.5992 | 1269217.8489
44 | 2726292.5992 | 1269217.8489 | 2726303.1596 | 1269221.0246 | 2726315.1178 | 1269224.6748
45 | 2726339.2323 | 1269232.0357 | 2726315.1178 | 1269224.6748
46 | 2726398.4444 | 1268967.2818 | 2726401.962 | 1268987.5759 | 2726397.8096 | 1269040.87 | 2726397.3983 | 1269044.965
47 | 2726398.4444 | 1268967.2818 | 2726396.7238 | 1268946.5835
48 | 2726394.5512 | 1268920.4477 | 2726396.7238 | 1268946.5835
49 | 2726193.9387 | 1269074.9215 | 2726216.1931 | 1269081.5253
50 | 2726216.1931 | 1269081.5253 | 2726216.2665 | 1269063.8175
51 | 2726193.9387 | 1269074.9215 | 2726187.9047 | 1269093.3285
52 | 2726193.9387 | 1269074.9215 | 2726174.9723 | 1269069.5939
53 | 2726215.4957 | 1269030.366 | 2726216.3577 | 1269041.7918 | 2726216.2665 | 1269063.8175
54 | 2726175.8515 | 1269130.0976 | 2726190.4982 | 1269135.0772
55 | 2726175.8515 | 1269130.0976 | 2726180.1685 | 1269116.9284
56 | 2726175.8515 | 1269130.0976 | 2726172.2445 | 1269149.5542
57 | 2726175.8515 | 1269130.0976 | 2726141.7759 | 1269122.8936
58 | 2726096.5776 | 1269113.338 | 2726109.5963 | 1269116.0904
59 | 2726095.3282 | 1269113.0739 | 2726096.5776 | 1269113.338
60 | 2726127.4754 | 1269119.8703 | 2726109.5963 | 1269116.0904
61 | 2726095.3282 | 1269113.0739 | 2726092.4692 | 1269126.0736
62 | 2726095.3282 | 1269113.0739 | 2726077.1099 | 1269109.2285
63 | 2726127.4754 | 1269119.8703 | 2726141.7759 | 1269122.8936
64 | 2726092.4692 | 1269126.0736 | 2726089.6743 | 1269138.782
65 | 2726064.962 | 1269106.6644 | 2726077.1099 | 1269109.2285
66 | 2726086.9489 | 1269151.1741 | 2726089.6743 | 1269138.782
67 | 2726064.962 | 1269106.6644 | 2726062.2209 | 1269119.934
68 | 2726064.962 | 1269106.6644 | 2726053.4063 | 1269104.2155
69 | 2726085.2521 | 1269050.8704 | 2726062.7721 | 1269047.6546
70 | 2726060.9207 | 1269047.3897 | 2726062.7721 | 1269047.6546
71 | 2726085.2521 | 1269050.8704 | 2726087.0843 | 1269051.1325
72 | 2726060.9207 | 1269047.3897 | 2726058.0427 | 1269069.1539
73 | 2726030.3376 | 1269044.7793 | 2726043.0511 | 1269045.5401 | 2726060.9207 | 1269047.3897
74 | 2726107.5662 | 1269054.5623 | 2726095.5565 | 1269052.3445 | 2726087.0843 | 1269051.1325
75 | 2726058.0427 | 1269069.1539 | 2726058.0176 | 1269069.3438
76 | 2726030.3376 | 1269044.7793 | 2726032.2758 | 1269028.9744
77 | 2726030.3376 | 1269044.7793 | 2726016.0634 | 1269044.9427
78 | 2726107.5662 | 1269054.5623 | 2726110.0013 | 1269055.012
79 | 2726032.2758 | 1269028.9744 | 2726032.5287 | 1269026.912
80 | 2726016.0634 | 1269044.9427 | 2725994.8104 | 1269045.186
81 | 2726159.9134 | 1269065.3638 | 2726174.9723 | 1269069.5939
82 | 2726159.9134 | 1269065.3638 | 2726161.9094 | 1269050.2809
83 | 2726159.9134 | 1269065.3638 | 2726156.1163 | 1269064.5172
84 | 2726165.5354 | 1269022.8816 | 2726161.9094 | 1269050.2809
85 | 2726156.1163 | 1269064.5172 | 2726143.0884 | 1269061.6124
86 | 2726187.9047 | 1269093.3285 | 2726187.1443 | 1269095.6481
87 | 2726165.5354 | 1269022.8816 | 2726165.8106 | 1269020.8024
88 | 2726132.9591 | 1269059.3539 | 2726143.0884 | 1269061.6124
89 | 2726180.1685 | 1269116.9284 | 2726187.1443 | 1269095.6481
90 | 2726116.1623 | 1268995.1178 | 2726126.3511 | 1268996.4089
91 | 2726103.2974 | 1268993.4876 | 2726116.1623 | 1268995.1178
92 | 2726134.858 | 1268997.4869 | 2726126.3511 | 1268996.4089
93 | 2726103.2974 | 1268993.4876 | 2726097.0509 | 1268884.6051
94 | 2726134.858 | 1268997.4869 | 2726146.9782 | 1268999.0227
95 | 2726097.0509 | 1268884.6051 | 2726146.4107 | 1268860.7892
96 | 2726168.3347 | 1269001.7289 | 2726146.9782 | 1268999.0227
97 | 2726037.6478 | 1268985.1688 | 2726035.8121 | 1269000.1378
98 | 2726037.6478 | 1268985.1688 | 2726025.7517 | 1268984.2489
99 | 2726032.5287 | 1269026.912 | 2726035.8121 | 1269000.1378
100 | 2726025.7517 | 1268984.2489 | 2726010.1301 | 1268983.0411
101 | 2725995.2071 | 1268981.8872 | 2725985.9988 | 1268981.1752
102 | 2725985.9988 | 1268981.1752 | 2725953.6256 | 1268953.8071
103 | 2725995.2071 | 1268981.8872 | 2726010.1301 | 1268983.0411
104 | 2726168.3347 | 1269001.7289 | 2726165.8106 | 1269020.8024
105 | 2726168.3347 | 1269001.7289 | 2726187.6622 | 1269005.1115
106 | 2726215.4957 | 1269030.366 | 2726214.0903 | 1269011.7373
107 | 2726122.6443 | 1269057.3468 | 2726110.0013 | 1269055.012
108 | 2726122.6443 | 1269057.3468 | 2726130.289 | 1269058.7585 | 2726132.9591 | 1269059.3539
109 | 2725993.212 | 1269045.2043 | 2725994.8104 | 1269045.186
110 | 2725979.805 | 1269045.3577 | 2725993.212 | 1269045.2043
111 | 2725979.805 | 1269045.3577 | 2725987.9931 | 1269057.8106 | 2725996.1704 | 1269073.5544
112 | 2726053.4063 | 1269104.2155 | 2726041.5901 | 1269104.0419
113 | 2726041.5901 | 1269104.0419 | 2726040.0409 | 1269104.0191 | 2726032.3964 | 1269104.5454 | 2726030.4617 | 1269105.0916
114 | 2726059.3788 | 1269133.6926 | 2726062.2209 | 1269119.934
115 | 2726394.5512 | 1268920.4477 | 2726394.5354 | 1268920.2579

## bus_geodata
| x | y | coords
0 | 2726202.6581 | 1269193.4847
1 | 2726214.9927 | 1269155.2682
2 | 2726175.1047 | 1269185.7345
3 | 2726219.4501 | 1269198.6274
4 | 2726350.9959 | 1269057.1197
5 | 2726346.2058 | 1269055.6225
6 | 2726351.9038 | 1269057.4035
7 | 2726329.439 | 1269050.382
8 | 2726324.7065 | 1269048.9029
9 | 2726310.9071 | 1269068.628
10 | 2726315.3339 | 1269062.3002
11 | 2726293.3717 | 1269093.6934
12 | 2726285.9413 | 1269104.3146
13 | 2726308.4036 | 1269043.6479
14 | 2726306.5565 | 1269111.1627
15 | 2726283.1932 | 1269103.412
16 | 2726263.5291 | 1269096.9532
17 | 2726237.832 | 1269088.5129
18 | 2726236.3943 | 1269088.0407
19 | 2726309.2889 | 1269112.0704
20 | 2726297.5941 | 1269040.1636
21 | 2726276.758 | 1269033.4474
22 | 2726273.171 | 1269032.2912
23 | 2726261.9348 | 1269169.9578
24 | 2726288.8369 | 1269178.3763
25 | 2726233.7042 | 1269161.1235
26 | 2726317.1219 | 1269187.2275
27 | 2726343.0751 | 1269195.3491
28 | 2726218.3685 | 1269144.5525
29 | 2726372.7514 | 1269156.154
30 | 2726378.3741 | 1269135.0196
31 | 2726361.8769 | 1269129.5394
32 | 2726393.5207 | 1269083.2383
33 | 2726333.3324 | 1269120.0573
34 | 2726397.1625 | 1269047.292
35 | 2726263.4005 | 1269029.1418
36 | 2726332.7876 | 1269119.8763
37 | 2726245.493 | 1269205.5786
38 | 2726267.6601 | 1269210.3774
39 | 2726292.5992 | 1269217.8489
40 | 2726315.1178 | 1269224.6748
41 | 2726339.2323 | 1269232.0357
42 | 2726397.3983 | 1269044.965
43 | 2726398.4444 | 1268967.2818
44 | 2726396.7238 | 1268946.5835
45 | 2726216.1931 | 1269081.5253
46 | 2726228.8389 | 1269111.7274
47 | 2726193.9387 | 1269074.9215
48 | 2726216.2665 | 1269063.8175
49 | 2726150.35 | 1269178.7715
50 | 2726190.4982 | 1269135.0772
51 | 2726256.0428 | 1269026.7702
52 | 2726175.8515 | 1269130.0976
53 | 2726096.5776 | 1269113.338
54 | 2726109.5963 | 1269116.0904
55 | 2726095.3282 | 1269113.0739
56 | 2726127.4754 | 1269119.8703
57 | 2726092.4692 | 1269126.0736
58 | 2726077.1099 | 1269109.2285
59 | 2726141.7759 | 1269122.8936
60 | 2726089.6743 | 1269138.782
61 | 2726064.962 | 1269106.6644
62 | 2726062.7721 | 1269047.6546
63 | 2726085.2521 | 1269050.8704
64 | 2726060.9207 | 1269047.3897
65 | 2726087.0843 | 1269051.1325
66 | 2726058.0427 | 1269069.1539
67 | 2726030.3376 | 1269044.7793
68 | 2726107.5662 | 1269054.5623
69 | 2726058.0176 | 1269069.3438
70 | 2726032.2758 | 1269028.9744
71 | 2726016.0634 | 1269044.9427
72 | 2726174.9723 | 1269069.5939
73 | 2726159.9134 | 1269065.3638
74 | 2726161.9094 | 1269050.2809
75 | 2726156.1163 | 1269064.5172
76 | 2726187.9047 | 1269093.3285
77 | 2726165.5354 | 1269022.8816
78 | 2726143.0884 | 1269061.6124
79 | 2726187.1443 | 1269095.6481
80 | 2726116.1623 | 1268995.1178
81 | 2726126.3511 | 1268996.4089
82 | 2726103.2974 | 1268993.4876
83 | 2726134.858 | 1268997.4869
84 | 2726097.0509 | 1268884.6051
85 | 2726146.9782 | 1268999.0227
86 | 2726037.6478 | 1268985.1688
87 | 2726035.8121 | 1269000.1378
88 | 2726025.7517 | 1268984.2489
89 | 2726180.1685 | 1269116.9284
90 | 2726172.2445 | 1269149.5542
91 | 2726032.5287 | 1269026.912
92 | 2725985.9988 | 1268981.1752
93 | 2725995.2071 | 1268981.8872
94 | 2725953.6256 | 1268953.8071
95 | 2726010.1301 | 1268983.0411
96 | 2726165.8106 | 1269020.8024
97 | 2726168.3347 | 1269001.7289
98 | 2726187.6622 | 1269005.1115
99 | 2726214.0903 | 1269011.7373
100 | 2726215.4957 | 1269030.366
101 | 2726146.4107 | 1268860.7892
102 | 2726110.0013 | 1269055.012
103 | 2726122.6443 | 1269057.3468
104 | 2725994.8104 | 1269045.186
105 | 2725993.212 | 1269045.2043
106 | 2725979.805 | 1269045.3577
107 | 2725996.1704 | 1269073.5544
108 | 2726132.9591 | 1269059.3539
109 | 2726053.4063 | 1269104.2155
110 | 2726041.5901 | 1269104.0419
111 | 2726062.2209 | 1269119.934
112 | 2726030.4617 | 1269105.0916
113 | 2726059.3788 | 1269133.6926
114 | 2726086.9489 | 1269151.1741
115 | 2726394.5354 | 1268920.2579
116 | 2726394.5512 | 1268920.4477
117 | 2726216.1931 | 1269081.5253

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1