## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4946-27_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4946-27_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4946-27_0_3_node_111 | 0.4 | n |  | TRUE
3 | bus_LV_4946-27_0_3_node_112 | 0.4 | n |  | TRUE
4 | bus_LV_4946-27_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_4946-27_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4946-27_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4946-27_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4946-27_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_4946-27_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4946-27_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4946-27_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4946-27_0_3_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_4946-27_0_3_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_4946-27_0_3_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_4946-27_0_3_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_4946-27_0_3_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_4946-27_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4946-27_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4946-27_0_3_node_87 | 0.4 | n |  | TRUE
20 | bus_LV_4946-27_0_3_node_85 | 0.4 | n |  | TRUE
21 | bus_LV_4946-27_0_3_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_4946-27_0_3_node_99 | 0.4 | n |  | TRUE
23 | bus_LV_4946-27_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4946-27_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_4946-27_0_3_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_4946-27_0_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_4946-27_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_4946-27_0_3_node_103 | 0.4 | n |  | TRUE
29 | bus_LV_4946-27_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_4946-27_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_4946-27_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_4946-27_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_4946-27_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4946-27_0_3_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_4946-27_0_3_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_4946-27_0_3_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_4946-27_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_4946-27_0_3_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_4946-27_0_3_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_4946-27_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_4946-27_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_4946-27_0_3_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_4946-27_0_3_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_4946-27_0_3_node_75 | 0.4 | n |  | TRUE
45 | bus_LV_4946-27_0_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_4946-27_0_3_node_162 | 0.4 | n |  | TRUE
47 | bus_LV_4946-27_0_3_node_83 | 0.4 | n |  | TRUE
48 | bus_LV_4946-27_0_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_4946-27_0_3_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_4946-27_0_3_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_4946-27_0_3_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_4946-27_0_3_node_94 | 0.4 | n |  | TRUE
53 | bus_LV_4946-27_0_3_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_4946-27_0_3_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_4946-27_0_3_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_4946-27_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_4946-27_0_3_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_4946-27_0_3_node_137 | 0.4 | n |  | TRUE
59 | bus_LV_4946-27_0_3_node_138 | 0.4 | n |  | TRUE
60 | bus_LV_4946-27_0_3_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_4946-27_0_3_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_4946-27_0_3_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_4946-27_0_3_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_4946-27_0_3_node_34 | 0.4 | n |  | TRUE
65 | bus_LV_4946-27_0_3_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_4946-27_0_3_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_4946-27_0_3_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_4946-27_0_3_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_4946-27_0_3_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_4946-27_0_3_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_4946-27_0_3_node_109 | 0.4 | n |  | TRUE
72 | bus_LV_4946-27_0_3_node_110 | 0.4 | n |  | TRUE
73 | bus_LV_4946-27_0_3_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_4946-27_0_3_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_4946-27_0_3_node_43 | 0.4 | n |  | TRUE
76 | bus_LV_4946-27_0_3_node_44 | 0.4 | n |  | TRUE
77 | bus_LV_4946-27_0_3_node_45 | 0.4 | n |  | TRUE
78 | bus_LV_4946-27_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_4946-27_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_4946-27_0_3_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_4946-27_0_3_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_4946-27_0_3_node_47 | 0.4 | n |  | TRUE
83 | bus_LV_4946-27_0_3_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_4946-27_0_3_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_4946-27_0_3_node_52 | 0.4 | n |  | TRUE
86 | bus_LV_4946-27_0_3_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_4946-27_0_3_node_54 | 0.4 | n |  | TRUE
88 | bus_LV_4946-27_0_3_node_55 | 0.4 | n |  | TRUE
89 | bus_LV_4946-27_0_3_node_56 | 0.4 | n |  | TRUE
90 | bus_LV_4946-27_0_3_node_104 | 0.4 | n |  | TRUE
91 | bus_LV_4946-27_0_3_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_4946-27_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_4946-27_0_3_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_4946-27_0_3_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_4946-27_0_3_node_59 | 0.4 | n |  | TRUE
96 | bus_LV_4946-27_0_3_node_60 | 0.4 | n |  | TRUE
97 | bus_LV_4946-27_0_3_node_71 | 0.4 | n |  | TRUE
98 | bus_LV_4946-27_0_3_node_69 | 0.4 | n |  | TRUE
99 | bus_LV_4946-27_0_3_node_163 | 0.4 | n |  | TRUE
100 | bus_LV_4946-27_0_3_node_66 | 0.4 | n |  | TRUE
101 | bus_LV_4946-27_0_3_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_4946-27_0_3_node_89 | 0.4 | n |  | TRUE
103 | bus_LV_4946-27_0_3_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_4946-27_0_3_node_107 | 0.4 | n |  | TRUE
105 | bus_LV_4946-27_0_3_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_4946-27_0_3_node_92 | 0.4 | n |  | TRUE
107 | bus_LV_4946-27_0_3_node_93 | 0.4 | n |  | TRUE
108 | bus_LV_4946-27_0_3_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_4946-27_0_3_node_160 | 0.4 | n |  | TRUE
110 | bus_LV_4946-27_0_3_node_128 | 0.4 | n |  | TRUE
111 | bus_LV_4946-27_0_3_node_98 | 0.4 | n |  | TRUE
112 | bus_LV_4946-27_0_3_node_101 | 0.4 | n |  | TRUE
113 | bus_LV_4946-27_0_3_node_96 | 0.4 | n |  | TRUE
114 | bus_LV_4946-27_0_3_node_97 | 0.4 | n |  | TRUE
115 | bus_LV_4946-27_0_3_node_106 | 0.4 | n |  | TRUE
116 | bus_LV_4946-27_0_3_node_113 | 0.4 | n |  | TRUE
117 | bus_LV_4946-27_0_3_node_127 | 0.4 | n |  | TRUE
118 | bus_LV_4946-27_0_3_node_129 | 0.4 | n |  | TRUE
119 | bus_LV_4946-27_0_3_node_114 | 0.4 | n |  | TRUE
120 | bus_LV_4946-27_0_3_node_115 | 0.4 | n |  | TRUE
121 | bus_LV_4946-27_0_3_node_116 | 0.4 | n |  | TRUE
122 | bus_LV_4946-27_0_3_node_117 | 0.4 | n |  | TRUE
123 | bus_LV_4946-27_0_3_node_125 | 0.4 | n |  | TRUE
124 | bus_LV_4946-27_0_3_node_126 | 0.4 | n |  | TRUE
125 | bus_LV_4946-27_0_3_node_118 | 0.4 | n |  | TRUE
126 | bus_LV_4946-27_0_3_node_119 | 0.4 | n |  | TRUE
127 | bus_LV_4946-27_0_3_node_120 | 0.4 | n |  | TRUE
128 | bus_LV_4946-27_0_3_node_121 | 0.4 | n |  | TRUE
129 | bus_LV_4946-27_0_3_node_122 | 0.4 | n |  | TRUE
130 | bus_LV_4946-27_0_3_node_123 | 0.4 | n |  | TRUE
131 | bus_LV_4946-27_0_3_node_124 | 0.4 | n |  | TRUE
132 | bus_LV_4946-27_0_3_node_145 | 0.4 | n |  | TRUE
133 | bus_LV_4946-27_0_3_node_147 | 0.4 | n |  | TRUE
134 | bus_LV_4946-27_0_3_node_144 | 0.4 | n |  | TRUE
135 | bus_LV_4946-27_0_3_node_146 | 0.4 | n |  | TRUE
136 | bus_LV_4946-27_0_3_node_135 | 0.4 | n |  | TRUE
137 | bus_LV_4946-27_0_3_node_136 | 0.4 | n |  | TRUE
138 | bus_LV_4946-27_0_3_node_158 | 0.4 | n |  | TRUE
139 | bus_LV_4946-27_0_3_node_143 | 0.4 | n |  | TRUE
140 | bus_LV_4946-27_0_3_node_161 | 0.4 | n |  | TRUE
141 | bus_LV_4946-27_0_3_node_157 | 0.4 | n |  | TRUE
142 | bus_LV_4946-27_0_3_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_4946-27_0_3_node_132 | 0.4 | n |  | TRUE
144 | bus_LV_4946-27_0_3_node_133 | 0.4 | n |  | TRUE
145 | bus_LV_4946-27_0_3_node_134 | 0.4 | n |  | TRUE
146 | bus_LV_4946-27_0_3_node_155 | 0.4 | n |  | TRUE
147 | bus_LV_4946-27_0_3_node_156 | 0.4 | n |  | TRUE
148 | bus_LV_4946-27_0_3_node_159 | 0.4 | n |  | TRUE
149 | bus_LV_4946-27_0_3_node_149 | 0.4 | n |  | TRUE
150 | bus_LV_4946-27_0_3_node_141 | 0.4 | n |  | TRUE
151 | bus_LV_4946-27_0_3_node_139 | 0.4 | n |  | TRUE
152 | bus_LV_4946-27_0_3_node_140 | 0.4 | n |  | TRUE
153 | bus_LV_4946-27_0_3_node_142 | 0.4 | n |  | TRUE
154 | bus_LV_4946-27_0_3_node_151 | 0.4 | n |  | TRUE
155 | bus_LV_4946-27_0_3_node_148 | 0.4 | n |  | TRUE
156 | bus_LV_4946-27_0_3_node_150 | 0.4 | n |  | TRUE
157 | bus_LV_4946-27_0_3_node_154 | 0.4 | n |  | TRUE
158 | bus_LV_4946-27_0_3_node_152 | 0.4 | n |  | TRUE
159 | bus_LV_4946-27_0_3_node_153 | 0.4 | n |  | TRUE
160 | bus_MV_488_1_node_99 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4946-27_0_3_load_0 | 0 | 0.003615 | 0.00090599 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4946-27_0_3_load_111 | 2 | 0.00084203 | 0.00021103 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4946-27_0_3_load_112 | 3 | 0.0012317 | 0.00030869 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4946-27_0_3_load_2 | 4 | 0.0030552 | 0.00076571 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4946-27_0_3_load_3 | 5 | 0.00072935 | 0.00018279 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4946-27_0_3_load_4 | 6 | 0.00072935 | 0.00018279 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4946-27_0_3_load_8 | 7 | 0.0024506 | 0.00061418 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4946-27_0_3_load_9 | 8 | 0.0019881 | 0.00049827 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4946-27_0_3_load_5 | 9 | 0.0019126 | 0.00047934 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4946-27_0_3_load_7 | 11 | 0.0011007 | 0.00027587 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4946-27_0_3_load_58 | 12 | 0.0010313 | 0.00025847 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4946-27_0_3_load_57 | 13 | 0.001051 | 0.00026339 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4946-27_0_3_load_74 | 15 | 0.0018443 | 0.00046224 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4946-27_0_3_load_50 | 16 | 0.0010645 | 0.0002668 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4946-27_0_3_load_10 | 17 | 0.0010512 | 0.00026345 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4946-27_0_3_load_11 | 18 | 0.001403 | 0.00035164 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4946-27_0_3_load_87 | 19 | 0.0016151 | 0.00040477 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4946-27_0_3_load_85 | 20 | 0.0012125 | 0.00030389 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4946-27_0_3_load_84 | 21 | 0.0016496 | 0.00041342 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4946-27_0_3_load_99 | 22 | 0.0015872 | 0.0003978 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4946-27_0_3_load_102 | 25 | 0.0019793 | 0.00049606 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4946-27_0_3_load_48 | 26 | 0.0018079 | 0.00045311 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4946-27_0_3_load_25 | 27 | 0.0036521 | 0.0009153 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4946-27_0_3_load_103 | 28 | 0.001736 | 0.00043509 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4946-27_0_3_load_28 | 29 | 0.0014232 | 0.00035669 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4946-27_0_3_load_29 | 30 | 0.0014112 | 0.00035367 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4946-27_0_3_load_15 | 31 | 0.0045956 | 0.0011518 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4946-27_0_3_load_16 | 32 | 0.0047239 | 0.0011839 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4946-27_0_3_load_17 | 33 | 0.0012958 | 0.00032476 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4946-27_0_3_load_79 | 35 | 0.0033929 | 0.00085035 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4946-27_0_3_load_77 | 36 | 0.0015479 | 0.00038795 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4946-27_0_3_load_18 | 37 | 0.0030023 | 0.00075245 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4946-27_0_3_load_19 | 38 | 0.0036199 | 0.00090723 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4946-27_0_3_load_20 | 39 | 0.0047348 | 0.0011867 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4946-27_0_3_load_22 | 41 | 0.0064712 | 0.0016218 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4946-27_0_3_load_64 | 43 | 0.0021522 | 0.00053939 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4946-27_0_3_load_75 | 44 | 0.0056828 | 0.0014243 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4946-27_0_3_load_78 | 45 | 0.0034279 | 0.00085912 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4946-27_0_3_load_162 | 46 | 0.0022599 | 0.00056639 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4946-27_0_3_load_83 | 47 | 0.0025341 | 0.00063512 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4946-27_0_3_load_61 | 48 | 0.0014424 | 0.00036149 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4946-27_0_3_load_23 | 49 | 0.0016833 | 0.00042187 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4946-27_0_3_load_24 | 50 | 0.0013559 | 0.00033983 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4946-27_0_3_load_76 | 53 | 0.0052504 | 0.0013159 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4946-27_0_3_load_95 | 54 | 0.0011272 | 0.00028251 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4946-27_0_3_load_62 | 55 | 0.0019924 | 0.00049934 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4946-27_0_3_load_46 | 56 | 0.0023149 | 0.00058016 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4946-27_0_3_load_30 | 57 | 0.0017678 | 0.00044304 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4946-27_0_3_load_138 | 59 | 0.0005524 | 0.00013844 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4946-27_0_3_load_108 | 60 | 0.0012446 | 0.00031192 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4946-27_0_3_load_31 | 61 | 0.0019038 | 0.00047713 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4946-27_0_3_load_32 | 62 | 0.0015542 | 0.00038952 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4946-27_0_3_load_33 | 63 | 0.003019 | 0.00075663 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4946-27_0_3_load_39 | 66 | 0.0039957 | 0.0010014 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4946-27_0_3_load_40 | 67 | 0.00084082 | 0.00021073 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4946-27_0_3_load_35 | 68 | 0.0011138 | 0.00027915 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4946-27_0_3_load_36 | 69 | 0.0009759 | 0.00024458 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4946-27_0_3_load_38 | 70 | 0.0014092 | 0.00035319 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4946-27_0_3_load_109 | 71 | 0.0016017 | 0.00040143 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4946-27_0_3_load_110 | 72 | 0.0026268 | 0.00065835 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4946-27_0_3_load_41 | 73 | 0.0012396 | 0.00031067 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4946-27_0_3_load_42 | 74 | 0.0019284 | 0.0004833 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4946-27_0_3_load_43 | 75 | 0.0012402 | 0.00031082 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4946-27_0_3_load_44 | 76 | 0.0015841 | 0.00039702 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4946-27_0_3_load_45 | 77 | 0.0014234 | 0.00035674 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4946-27_0_3_load_68 | 78 | 0.0015841 | 0.00039702 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4946-27_0_3_load_81 | 80 | 0.00073604 | 0.00018447 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4946-27_0_3_load_47 | 82 | 0.0021953 | 0.0005502 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4946-27_0_3_load_51 | 84 | 0.0021438 | 0.00053728 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4946-27_0_3_load_52 | 85 | 0.0008372 | 0.00020982 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4946-27_0_3_load_55 | 88 | 0.0014392 | 0.0003607 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4946-27_0_3_load_56 | 89 | 0.0049181 | 0.0012326 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4946-27_0_3_load_104 | 90 | 0.0010852 | 0.00027199 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4946-27_0_3_load_72 | 91 | 0.0013104 | 0.00032843 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4946-27_0_3_load_88 | 92 | 0.0020432 | 0.00051208 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4946-27_0_3_load_70 | 93 | 0.0012813 | 0.00032111 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4946-27_0_3_load_86 | 94 | 0.0019893 | 0.00049857 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4946-27_0_3_load_59 | 95 | 0.0017348 | 0.00043479 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4946-27_0_3_load_60 | 96 | 0.0013124 | 0.00032891 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4946-27_0_3_load_71 | 97 | 0.0045579 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4946-27_0_3_load_69 | 98 | 0.0010566 | 0.0002648 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4946-27_0_3_load_163 | 99 | 0.0022962 | 0.00057547 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4946-27_0_3_load_90 | 101 | 0.0042557 | 0.0010666 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4946-27_0_3_load_89 | 102 | 0.0021343 | 0.00053491 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4946-27_0_3_load_92 | 106 | 0.00217 | 0.00054386 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4946-27_0_3_load_93 | 107 | 0.0020134 | 0.00050461 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4946-27_0_3_load_105 | 108 | 0.0046604 | 0.001168 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4946-27_0_3_load_160 | 109 | 0.0028785 | 0.00072141 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4946-27_0_3_load_128 | 110 | 0.0015918 | 0.00039893 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4946-27_0_3_load_98 | 111 | 0.002176 | 0.00054537 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4946-27_0_3_load_101 | 112 | 0.0037195 | 0.00093219 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4946-27_0_3_load_96 | 113 | 0.0014547 | 0.00036458 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4946-27_0_3_load_97 | 114 | 0.0014542 | 0.00036445 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4946-27_0_3_load_106 | 115 | 0.0030563 | 0.00076597 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4946-27_0_3_load_113 | 116 | 0.00077458 | 0.00019413 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4946-27_0_3_load_129 | 118 | 0.0016803 | 0.00042112 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4946-27_0_3_load_114 | 119 | 0.0018789 | 0.00047089 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4946-27_0_3_load_115 | 120 | 0.0013044 | 0.00032692 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4946-27_0_3_load_116 | 121 | 0.0018767 | 0.00047034 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4946-27_0_3_load_117 | 122 | 0.0031745 | 0.00079559 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4946-27_0_3_load_125 | 123 | 0.0021995 | 0.00055126 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4946-27_0_3_load_118 | 125 | 0.0019468 | 0.00048793 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4946-27_0_3_load_119 | 126 | 0.0014468 | 0.0003626 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4946-27_0_3_load_120 | 127 | 0.003038 | 0.00076138 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4946-27_0_3_load_121 | 128 | 0.0012812 | 0.00032109 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4946-27_0_3_load_122 | 129 | 0.002035 | 0.00051003 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4946-27_0_3_load_123 | 130 | 0.0020596 | 0.00051619 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4946-27_0_3_load_145 | 132 | 0.0020091 | 0.00050352 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4946-27_0_3_load_147 | 133 | 0.0013349 | 0.00033455 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4946-27_0_3_load_144 | 134 | 0.0013121 | 0.00032883 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4946-27_0_3_load_146 | 135 | 0.0026538 | 0.00066511 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4946-27_0_3_load_136 | 137 | 0.0018464 | 0.00046276 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4946-27_0_3_load_158 | 138 | 0.0015082 | 0.00037799 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4946-27_0_3_load_161 | 140 | 0.0012656 | 0.0003172 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4946-27_0_3_load_157 | 141 | 0.0023753 | 0.0005953 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4946-27_0_3_load_130 | 142 | 0.0030597 | 0.00076684 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4946-27_0_3_load_133 | 144 | 0.0011509 | 0.00028845 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4946-27_0_3_load_134 | 145 | 0.0023071 | 0.0005782 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4946-27_0_3_load_155 | 146 | 0.0013079 | 0.0003278 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4946-27_0_3_load_156 | 147 | 0.0019647 | 0.0004924 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4946-27_0_3_load_159 | 148 | 0.0024375 | 0.00061089 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4946-27_0_3_load_149 | 149 | 0.0019233 | 0.00048203 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4946-27_0_3_load_141 | 150 | 0.0019487 | 0.00048839 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4946-27_0_3_load_139 | 151 | 0.0031198 | 0.0007819 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4946-27_0_3_load_140 | 152 | 0.0021528 | 0.00053955 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4946-27_0_3_load_142 | 153 | 0.0023671 | 0.00059326 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4946-27_0_3_load_151 | 154 | 0.0027488 | 0.0006889 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4946-27_0_3_load_150 | 156 | 0.0017214 | 0.00043143 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4946-27_0_3_load_154 | 157 | 0.0033224 | 0.00083267 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4946-27_0_3_load_152 | 158 | 0.0022654 | 0.00056776 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4946-27_0_3_load_153 | 159 | 0.0022667 | 0.00056809 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 44 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4946-27_0_3_line_0 |  | 0 | 1 | 0.045386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4946-27_0_3_line_1 |  | 1 | 2 | 0.097894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4946-27_0_3_line_2 |  | 2 | 3 | 0.002319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4946-27_0_3_line_3 |  | 3 | 116 | 0.012953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4946-27_0_3_line_4 |  | 4 | 5 | 0.00075182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4946-27_0_3_line_5 |  | 5 | 6 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4946-27_0_3_line_6 |  | 6 | 7 | 0.052175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4946-27_0_3_line_7 |  | 7 | 8 | 0.0059544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4946-27_0_3_line_8 |  | 8 | 14 | 0.015256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4946-27_0_3_line_9 |  | 9 | 10 | 0.013958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4946-27_0_3_line_10 |  | 10 | 11 | 0.001527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4946-27_0_3_line_11 |  | 11 | 12 | 0.022885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4946-27_0_3_line_12 |  | 12 | 13 | 0.02043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4946-27_0_3_line_13 |  | 13 | 95 | 0.0034078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4946-27_0_3_line_14 |  | 14 | 15 | 0.020754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4946-27_0_3_line_15 |  | 14 | 16 | 0.0092749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4946-27_0_3_line_16 |  | 15 | 105 | 0.025107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4946-27_0_3_line_17 |  | 16 | 64 | 0.017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4946-27_0_3_line_18 |  | 17 | 18 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4946-27_0_3_line_19 |  | 18 | 19 | 0.11532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4946-27_0_3_line_20 |  | 19 | 22 | 0.0094149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4946-27_0_3_line_21 |  | 19 | 20 | 0.021072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4946-27_0_3_line_22 |  | 20 | 21 | 0.0019914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4946-27_0_3_line_23 |  | 21 | 94 | 0.02315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4946-27_0_3_line_24 |  | 22 | 111 | 0.021697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4946-27_0_3_line_25 |  | 23 | 24 | 0.040644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4946-27_0_3_line_26 |  | 23 | 25 | 0.059845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4946-27_0_3_line_27 |  | 24 | 26 | 0.019687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4946-27_0_3_line_28 |  | 24 | 27 | 0.0044965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4946-27_0_3_line_29 |  | 25 | 28 | 0.0084995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4946-27_0_3_line_30 |  | 26 | 56 | 0.012844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4946-27_0_3_line_31 |  | 27 | 49 | 0.003698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4946-27_0_3_line_32 |  | 29 | 30 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4946-27_0_3_line_33 |  | 30 | 57 | 0.041281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4946-27_0_3_line_34 |  | 31 | 32 | 0.016333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4946-27_0_3_line_35 |  | 32 | 33 | 0.0022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4946-27_0_3_line_36 |  | 33 | 34 | 0.024343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4946-27_0_3_line_37 |  | 34 | 35 | 0.015424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4946-27_0_3_line_38 |  | 34 | 36 | 0.022506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4946-27_0_3_line_39 |  | 35 | 104 | 0.034983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4946-27_0_3_line_40 |  | 36 | 45 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4946-27_0_3_line_41 |  | 37 | 38 | 0.009298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_4946-27_0_3_line_42 |  | 37 | 39 | 0.031105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4946-27_0_3_line_43 |  | 38 | 40 | 0.048706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4946-27_0_3_line_44 |  | 39 | 41 | 0.010785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4946-27_0_3_line_45 |  | 40 | 42 | 0.026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_4946-27_0_3_line_46 |  | 40 | 43 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4946-27_0_3_line_47 |  | 41 | 44 | 0.021006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4946-27_0_3_line_48 |  | 42 | 45 | 0.029188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4946-27_0_3_line_49 |  | 42 | 46 | 0.014669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4946-27_0_3_line_50 |  | 43 | 47 | 0.0054379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4946-27_0_3_line_51 |  | 44 | 48 | 0.031968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4946-27_0_3_line_52 |  | 46 | 99 | 0.039362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4946-27_0_3_line_53 |  | 47 | 81 | 0.018553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4946-27_0_3_line_54 |  | 48 | 83 | 0.034292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4946-27_0_3_line_55 |  | 49 | 50 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4946-27_0_3_line_56 |  | 50 | 51 | 0.010252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4946-27_0_3_line_57 |  | 51 | 52 | 0.015693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4946-27_0_3_line_58 |  | 51 | 53 | 0.018399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4946-27_0_3_line_59 |  | 52 | 54 | 0.0088782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4946-27_0_3_line_60 |  | 53 | 55 | 0.01346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4946-27_0_3_line_61 |  | 54 | 70 | 0.0098029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4946-27_0_3_line_62 |  | 55 | 83 | 0.022057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4946-27_0_3_line_63 |  | 57 | 58 | 0.0064461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4946-27_0_3_line_64 |  | 58 | 59 | 0.0019772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4946-27_0_3_line_65 |  | 58 | 60 | 0.031771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4946-27_0_3_line_66 |  | 59 | 134 | 0.021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4946-27_0_3_line_67 |  | 60 | 104 | 0.014287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4946-27_0_3_line_68 |  | 61 | 62 | 0.006087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4946-27_0_3_line_69 |  | 61 | 63 | 0.014003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4946-27_0_3_line_70 |  | 62 | 64 | 0.026708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4946-27_0_3_line_71 |  | 64 | 65 | 0.039489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4946-27_0_3_line_72 |  | 65 | 66 | 0.024877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4946-27_0_3_line_73 |  | 65 | 67 | 0.017082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4946-27_0_3_line_74 |  | 65 | 68 | 0.0075326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4946-27_0_3_line_75 |  | 67 | 71 | 0.0084365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4946-27_0_3_line_76 |  | 68 | 69 | 0.0076017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4946-27_0_3_line_77 |  | 69 | 70 | 0.0092996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4946-27_0_3_line_78 |  | 71 | 72 | 0.00091612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4946-27_0_3_line_79 |  | 72 | 90 | 0.017194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4946-27_0_3_line_80 |  | 73 | 74 | 0.010332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4946-27_0_3_line_81 |  | 73 | 75 | 0.00015165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4946-27_0_3_line_82 |  | 74 | 76 | 0.035677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4946-27_0_3_line_83 |  | 75 | 77 | 0.0033672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4946-27_0_3_line_84 |  | 76 | 78 | 0.00030812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4946-27_0_3_line_85 |  | 77 | 79 | 0.036475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4946-27_0_3_line_86 |  | 79 | 80 | 0.012078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4946-27_0_3_line_87 |  | 79 | 81 | 0.010729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4946-27_0_3_line_88 |  | 81 | 109 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4946-27_0_3_line_89 |  | 82 | 83 | 0.016224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4946-27_0_3_line_90 |  | 84 | 85 | 0.028888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4946-27_0_3_line_91 |  | 84 | 86 | 0.0062104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4946-27_0_3_line_92 |  | 85 | 87 | 0.014428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4946-27_0_3_line_93 |  | 86 | 88 | 0.0090926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4946-27_0_3_line_94 |  | 86 | 89 | 0.025293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4946-27_0_3_line_95 |  | 87 | 90 | 0.021194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4946-27_0_3_line_96 |  | 87 | 91 | 0.017832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4946-27_0_3_line_97 |  | 88 | 92 | 0.014788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4946-27_0_3_line_98 |  | 91 | 93 | 0.01397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4946-27_0_3_line_99 |  | 92 | 94 | 0.0093107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4946-27_0_3_line_100 |  | 93 | 98 | 0.020095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4946-27_0_3_line_101 |  | 95 | 96 | 0.022133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4946-27_0_3_line_102 |  | 96 | 97 | 0.0040989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4946-27_0_3_line_103 |  | 97 | 98 | 0.019613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4946-27_0_3_line_104 |  | 100 | 101 | 0.028862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4946-27_0_3_line_105 |  | 100 | 102 | 0.038607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4946-27_0_3_line_106 |  | 101 | 103 | 0.0095502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4946-27_0_3_line_107 |  | 103 | 112 | 0.016288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4946-27_0_3_line_108 |  | 103 | 106 | 0.029696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4946-27_0_3_line_109 |  | 104 | 108 | 0.02703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4946-27_0_3_line_110 |  | 105 | 106 | 0.0076118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4946-27_0_3_line_111 |  | 105 | 107 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4946-27_0_3_line_112 |  | 108 | 115 | 0.0064846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4946-27_0_3_line_113 |  | 109 | 110 | 0.032996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4946-27_0_3_line_114 |  | 110 | 117 | 0.0075364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4946-27_0_3_line_115 |  | 111 | 114 | 0.0083235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4946-27_0_3_line_116 |  | 113 | 114 | 0.029145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4946-27_0_3_line_117 |  | 116 | 117 | 0.011172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4946-27_0_3_line_118 |  | 117 | 118 | 0.022618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4946-27_0_3_line_119 |  | 118 | 140 | 0.0060428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4946-27_0_3_line_120 |  | 119 | 120 | 0.013655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4946-27_0_3_line_121 |  | 119 | 121 | 0.0035281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4946-27_0_3_line_122 |  | 120 | 122 | 0.0090779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4946-27_0_3_line_123 |  | 122 | 123 | 0.02287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4946-27_0_3_line_124 |  | 123 | 124 | 0.022213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4946-27_0_3_line_125 |  | 124 | 136 | 0.02959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4946-27_0_3_line_126 |  | 124 | 137 | 0.014734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4946-27_0_3_line_127 |  | 125 | 126 | 0.025681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4946-27_0_3_line_128 |  | 125 | 127 | 0.049694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4946-27_0_3_line_129 |  | 126 | 128 | 0.027035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4946-27_0_3_line_130 |  | 127 | 129 | 0.024901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4946-27_0_3_line_131 |  | 129 | 130 | 0.020339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4946-27_0_3_line_132 |  | 130 | 131 | 0.057481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4946-27_0_3_line_133 |  | 131 | 132 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4946-27_0_3_line_134 |  | 131 | 133 | 0.015841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4946-27_0_3_line_135 |  | 132 | 134 | 0.031145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4946-27_0_3_line_136 |  | 133 | 135 | 0.018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4946-27_0_3_line_137 |  | 135 | 155 | 0.059127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4946-27_0_3_line_138 |  | 136 | 138 | 0.017318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4946-27_0_3_line_139 |  | 137 | 139 | 0.030129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4946-27_0_3_line_140 |  | 138 | 148 | 0.0236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4946-27_0_3_line_141 |  | 139 | 149 | 0.033607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4946-27_0_3_line_142 |  | 139 | 150 | 0.016598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4946-27_0_3_line_143 |  | 140 | 141 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4946-27_0_3_line_144 |  | 141 | 147 | 0.016808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4946-27_0_3_line_145 |  | 142 | 143 | 0.018645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4946-27_0_3_line_146 |  | 143 | 144 | 0.010818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4946-27_0_3_line_147 |  | 143 | 145 | 0.022121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4946-27_0_3_line_148 |  | 144 | 146 | 0.0090135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4946-27_0_3_line_149 |  | 146 | 147 | 0.0089162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4946-27_0_3_line_150 |  | 149 | 154 | 0.022107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4946-27_0_3_line_151 |  | 149 | 155 | 0.023884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4946-27_0_3_line_152 |  | 150 | 151 | 0.02088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4946-27_0_3_line_153 |  | 151 | 152 | 0.001968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4946-27_0_3_line_154 |  | 152 | 153 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4946-27_0_3_line_155 |  | 154 | 158 | 0.028269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4946-27_0_3_line_156 |  | 155 | 156 | 0.043441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4946-27_0_3_line_157 |  | 156 | 157 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4946-27_0_3_line_158 |  | 158 | 159 | 0.030375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4946-27_0_3_trafo_75 | 0.63 MVA 20/0.4 kV | 160 | 44 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2726806.367 | 1270223.8399 | 2726803.9915 | 1270219.8518 | 2726801.1989 | 1270211.8066 | 2726798.2257 | 1270207.2607 | 2726787.1482 | 1270205.0876 | 2726772.9832 | 1270205.4395 | 2726771.6669 | 1270205.6811
1 | 2726836.849 | 1270130.8129 | 2726806.367 | 1270223.8399
2 | 2726836.849 | 1270130.8129 | 2726838.2814 | 1270128.9891
3 | 2726846.282 | 1270118.8022 | 2726838.2814 | 1270128.9891
4 | 2727283.9794 | 1270346.6976 | 2727284.4418 | 1270347.2904
5 | 2727271.9586 | 1270331.2855 | 2727283.9794 | 1270346.6976
6 | 2727271.9586 | 1270331.2855 | 2727265.3603 | 1270322.8256 | 2727246.3128 | 1270297.2579 | 2727241.3267 | 1270289.0976
7 | 2727238.2221 | 1270284.0167 | 2727241.3267 | 1270289.0976
8 | 2727230.268 | 1270270.9988 | 2727238.2221 | 1270284.0167
9 | 2727412.9228 | 1270219.6542 | 2727412.8175 | 1270233.6122
10 | 2727412.9228 | 1270219.6542 | 2727411.3959 | 1270219.6405
11 | 2727388.5121 | 1270219.4351 | 2727411.3959 | 1270219.6405
12 | 2727368.0825 | 1270219.2517 | 2727388.5121 | 1270219.4351
13 | 2727364.6748 | 1270219.2212 | 2727368.0825 | 1270219.2517
14 | 2727230.268 | 1270270.9988 | 2727212.1252 | 1270281.0761
15 | 2727230.268 | 1270270.9988 | 2727226.3777 | 1270262.5793
16 | 2727190.1762 | 1270293.2675 | 2727212.1252 | 1270281.0761
17 | 2727219.2226 | 1270247.0941 | 2727226.3777 | 1270262.5793
18 | 2727334.5831 | 1270036.5771 | 2727350.8456 | 1270039.1091
19 | 2727344.4795 | 1270154.2495 | 2727350.8456 | 1270039.1091
20 | 2727353.8892 | 1270154.5648 | 2727344.4795 | 1270154.2495
21 | 2727323.419 | 1270153.5439 | 2727344.4795 | 1270154.2495
22 | 2727321.4287 | 1270153.4772 | 2727323.419 | 1270153.5439
23 | 2727321.4287 | 1270153.4772 | 2727298.2916 | 1270152.702
24 | 2727353.8892 | 1270154.5648 | 2727375.5741 | 1270155.2913
25 | 2727184.3544 | 1270106.2447 | 2727185.4888 | 1270110.8845 | 2727185.7015 | 1270112.891 | 2727185.4083 | 1270125.0961 | 2727178.8646 | 1270132.5734 | 2727170.3437 | 1270140.6419
26 | 2727184.3544 | 1270106.2447 | 2727178.5329 | 1270093.8299 | 2727169.4484 | 1270083.3356 | 2727153.4315 | 1270075.3056 | 2727139.2698 | 1270073.0779
27 | 2727170.3437 | 1270140.6419 | 2727169.5669 | 1270132.3285 | 2727166.8294 | 1270127.6875 | 2727162.1456 | 1270125.6959 | 2727161.2922 | 1270125.7977
28 | 2727170.3437 | 1270140.6419 | 2727169.0214 | 1270144.9396
29 | 2727139.2698 | 1270073.0779 | 2727130.8735 | 1270071.7572
30 | 2727148.5388 | 1270127.3198 | 2727161.2922 | 1270125.7977
31 | 2727167.934 | 1270148.4741 | 2727169.0214 | 1270144.9396
32 | 2727146.8296 | 1270012.0758 | 2727130.2093 | 1270004.8374
33 | 2727130.2093 | 1270004.8374 | 2727092.362 | 1269988.3543
34 | 2727028.296 | 1270050.1171 | 2727044.539 | 1270051.8289
35 | 2727026.0709 | 1270049.8826 | 2727028.296 | 1270050.1171
36 | 2727008.0099 | 1270036.73 | 2727012.3536 | 1270045.0868 | 2727018.6875 | 1270049.1045 | 2727026.0709 | 1270049.8826
37 | 2727008.0099 | 1270036.73 | 2727022.3102 | 1270030.9496
38 | 2727008.0099 | 1270036.73 | 2726993.6604 | 1270043.539 | 2726987.9822 | 1270046.9484
39 | 2727054.7438 | 1270017.8395 | 2727022.3102 | 1270030.9496
40 | 2726970.611 | 1270058.1477 | 2726975.314 | 1270054.555 | 2726987.9822 | 1270046.9484
41 | 2726987.3525 | 1270103.1558 | 2726996.5612 | 1270104.4415
42 | 2727027.367 | 1270108.7425 | 2726996.5612 | 1270104.4415
43 | 2726938.9257 | 1270102.6846 | 2726956.6132 | 1270100.5961 | 2726971.7487 | 1270100.9773 | 2726987.3525 | 1270103.1558
44 | 2727038.048 | 1270110.2337 | 2727027.367 | 1270108.7425
45 | 2726949.9513 | 1270078.5879 | 2726944.7843 | 1270086.8068 | 2726938.9257 | 1270102.6846
46 | 2726938.9257 | 1270102.6846 | 2726927.7915 | 1270106.121
47 | 2727038.048 | 1270110.2337 | 2727049.3489 | 1270111.8114 | 2727058.8405 | 1270113.2195
48 | 2726949.9513 | 1270078.5879 | 2726954.9494 | 1270072.6231 | 2726962.8251 | 1270064.0955 | 2726970.611 | 1270058.1477
49 | 2726949.9513 | 1270078.5879 | 2726944.5211 | 1270078.0485 | 2726936.9438 | 1270079.6983 | 2726935.5511 | 1270080.1277
50 | 2726922.5954 | 1270107.7246 | 2726927.7915 | 1270106.121
51 | 2727089.3926 | 1270121.656 | 2727080.8466 | 1270117.472 | 2727073.29 | 1270115.3631 | 2727058.8405 | 1270113.2195
52 | 2726898.3112 | 1270071.9055 | 2726906.0964 | 1270073.185 | 2726916.4625 | 1270078.0011 | 2726925.7391 | 1270081.6816 | 2726930.2003 | 1270081.7776 | 2726935.5511 | 1270080.1277
53 | 2726904.8673 | 1270113.196 | 2726922.5954 | 1270107.7246
54 | 2727111.6086 | 1270147.1505 | 2727105.6985 | 1270136.747 | 2727098.7686 | 1270128.9572 | 2727090.0897 | 1270121.9973 | 2727089.3926 | 1270121.656
55 | 2727167.934 | 1270148.4741 | 2727165.4795 | 1270156.452 | 2727157.4445 | 1270171.1254
56 | 2727152.5206 | 1270180.1175 | 2727157.4445 | 1270171.1254
57 | 2727165.6641 | 1270188.7529 | 2727152.5206 | 1270180.1175
58 | 2727152.5206 | 1270180.1175 | 2727136.4949 | 1270171.078
59 | 2727165.6641 | 1270188.7529 | 2727173.2248 | 1270193.4068
60 | 2727136.4949 | 1270171.078 | 2727124.7716 | 1270164.4653
61 | 2727181.573 | 1270198.5454 | 2727173.2248 | 1270193.4068
62 | 2727111.6086 | 1270147.1505 | 2727117.1992 | 1270157.0134 | 2727122.8574 | 1270163.3856 | 2727124.7716 | 1270164.4653
63 | 2727086.4521 | 1269985.7805 | 2727092.362 | 1269988.3543
64 | 2727086.4521 | 1269985.7805 | 2727084.6094 | 1269985.0637
65 | 2727086.4521 | 1269985.7805 | 2727076.4043 | 1270002.5355 | 2727066.4122 | 1270009.5954
66 | 2727064.1187 | 1269977.0936 | 2727084.6094 | 1269985.0637
67 | 2727054.7438 | 1270017.8395 | 2727066.4122 | 1270009.5954
68 | 2727251.7549 | 1270242.9478 | 2727245.7168 | 1270243.7174
69 | 2727265.6458 | 1270241.1774 | 2727251.7549 | 1270242.9478
70 | 2727219.2226 | 1270247.0941 | 2727245.7168 | 1270243.7174
71 | 2727202.3809 | 1270211.3535 | 2727210.8378 | 1270228.9521 | 2727219.2226 | 1270247.0941
72 | 2727202.3809 | 1270211.3535 | 2727192.4496 | 1270220.9598 | 2727183.0397 | 1270226.772
73 | 2727202.3809 | 1270211.3535 | 2727219.4169 | 1270212.6058
74 | 2727202.3809 | 1270211.3535 | 2727195.9661 | 1270207.4049
75 | 2727219.4169 | 1270212.6058 | 2727227.8308 | 1270213.2244
76 | 2727195.9661 | 1270207.4049 | 2727189.4925 | 1270203.4202
77 | 2727189.4925 | 1270203.4202 | 2727181.573 | 1270198.5454
78 | 2727228.7444 | 1270213.2915 | 2727227.8308 | 1270213.2244
79 | 2727228.7444 | 1270213.2915 | 2727245.8923 | 1270214.5521
80 | 2726943.1641 | 1270129.3741 | 2726951.018 | 1270130.4705 | 2726953.155 | 1270131.5661
81 | 2726943.1641 | 1270129.3741 | 2726943.0139 | 1270129.3531
82 | 2726953.155 | 1270131.5661 | 2726955.9537 | 1270133.0011 | 2726964.9079 | 1270139.0659 | 2726968.8415 | 1270146.5464 | 2726967.0478 | 1270159.6897
83 | 2726939.6791 | 1270128.8875 | 2726943.0139 | 1270129.3531
84 | 2726967.0061 | 1270159.995 | 2726967.0478 | 1270159.6897
85 | 2726903.5545 | 1270123.8445 | 2726939.6791 | 1270128.8875
86 | 2726903.5545 | 1270123.8445 | 2726902.2568 | 1270135.8525
87 | 2726903.5545 | 1270123.8445 | 2726904.8673 | 1270113.196
88 | 2726904.8673 | 1270113.196 | 2726893.2744 | 1270114.1234
89 | 2727111.6086 | 1270147.1505 | 2727124.5909 | 1270137.4208 | 2727124.5909 | 1270137.4208
90 | 2727269.9212 | 1270172.892 | 2727269.6413 | 1270174.9125 | 2727267.9424 | 1270201.7069
91 | 2727270.7734 | 1270166.7403 | 2727269.9212 | 1270172.892
92 | 2727267.0294 | 1270216.1059 | 2727267.9424 | 1270201.7069
93 | 2727270.7734 | 1270166.7403 | 2727275.9029 | 1270159.2327
94 | 2727247.4841 | 1270156.707 | 2727270.7734 | 1270166.7403
95 | 2727267.0294 | 1270216.1059 | 2727245.8923 | 1270214.5521
96 | 2727267.0294 | 1270216.1059 | 2727284.8135 | 1270217.4126
97 | 2727289.0219 | 1270153.2915 | 2727283.8536 | 1270153.8768 | 2727275.9029 | 1270159.2327
98 | 2727284.8135 | 1270217.4126 | 2727298.746 | 1270218.4363
99 | 2727298.2916 | 1270152.702 | 2727295.1561 | 1270152.5969 | 2727289.0219 | 1270153.2915
100 | 2727318.8319 | 1270218.8097 | 2727301.7395 | 1270218.6562 | 2727298.746 | 1270218.4363
101 | 2727364.6748 | 1270219.2212 | 2727342.5424 | 1270219.0225
102 | 2727338.4437 | 1270218.9857 | 2727342.5424 | 1270219.0225
103 | 2727338.4437 | 1270218.9857 | 2727318.8319 | 1270218.8097
104 | 2727128.9997 | 1270260.4976 | 2727153.9771 | 1270274.9599
105 | 2727128.9997 | 1270260.4976 | 2727128.1913 | 1270266.2301 | 2727112.2314 | 1270294.906
106 | 2727153.9642 | 1270284.2906 | 2727154.9565 | 1270278.4064 | 2727153.9771 | 1270274.9599
107 | 2727153.9642 | 1270284.2906 | 2727145.4761 | 1270298.1919
108 | 2727153.9642 | 1270284.2906 | 2727182.7881 | 1270291.436
109 | 2727054.7438 | 1270017.8395 | 2727060.1303 | 1270022.8601 | 2727064.4845 | 1270024.0882 | 2727079.5079 | 1270025.9857
110 | 2727190.1762 | 1270293.2675 | 2727182.7881 | 1270291.436
111 | 2727190.1762 | 1270293.2675 | 2727193.6921 | 1270311.2466
112 | 2727085.9414 | 1270026.7983 | 2727079.5079 | 1270025.9857
113 | 2726893.2744 | 1270114.1234 | 2726888.2122 | 1270114.5284 | 2726865.7526 | 1270113.1336 | 2726860.4972 | 1270111.8303
114 | 2726853.1823 | 1270110.0163 | 2726860.4972 | 1270111.8303
115 | 2727383.8929 | 1270155.5701 | 2727375.5741 | 1270155.2913
116 | 2727413.0215 | 1270156.546 | 2727383.8929 | 1270155.5701
117 | 2726853.1823 | 1270110.0163 | 2726846.282 | 1270118.8022
118 | 2726853.1823 | 1270110.0163 | 2726843.0718 | 1270104.5163 | 2726835.1895 | 1270096.6891
119 | 2726830.9016 | 1270092.4312 | 2726835.1895 | 1270096.6891
120 | 2726847.4474 | 1270038.2763 | 2726844.5353 | 1270024.9355
121 | 2726848.1997 | 1270041.7232 | 2726847.4474 | 1270038.2763
122 | 2726842.5994 | 1270016.0664 | 2726844.5353 | 1270024.9355
123 | 2726842.5994 | 1270016.0664 | 2726839.3948 | 1270001.3853 | 2726838.3558 | 1269993.611
124 | 2726835.4135 | 1269971.5942 | 2726838.3558 | 1269993.611
125 | 2726835.4135 | 1269971.5942 | 2726806.7172 | 1269979.1408
126 | 2726835.4135 | 1269971.5942 | 2726849.9395 | 1269969.128
127 | 2726884.1736 | 1269923.2341 | 2726858.5324 | 1269921.8045
128 | 2726933.6446 | 1269927.7557 | 2726927.2486 | 1269926.7914 | 2726893.1272 | 1269923.7333 | 2726884.1736 | 1269923.2341
129 | 2726858.5324 | 1269921.8045 | 2726850.2752 | 1269921.3441 | 2726831.5201 | 1269920.7476
130 | 2726933.6446 | 1269927.7557 | 2726956.0735 | 1269931.1371 | 2726958.245 | 1269931.5892
131 | 2726958.245 | 1269931.5892 | 2726978.1567 | 1269935.7347
132 | 2727023.7366 | 1269961.3866 | 2727022.5049 | 1269953.2191 | 2727016.9418 | 1269946.2596 | 2727009.778 | 1269943.0248 | 2726981.2736 | 1269936.3836 | 2726978.1567 | 1269935.7347
133 | 2727023.7366 | 1269961.3866 | 2727035.0921 | 1269965.8034
134 | 2727023.7366 | 1269961.3866 | 2727019.4143 | 1269969.1676 | 2727014.0654 | 1269973.59
135 | 2727035.0921 | 1269965.8034 | 2727064.1187 | 1269977.0936
136 | 2727014.0654 | 1269973.59 | 2727014.0654 | 1269973.59 | 2727002.6872 | 1269975.5806 | 2726996.2387 | 1269975.4921
137 | 2726937.4027 | 1269970.1724 | 2726982.7093 | 1269975.3064 | 2726996.2387 | 1269975.4921
138 | 2726806.7172 | 1269979.1408 | 2726808.3764 | 1269996.3786
139 | 2726879.9134 | 1269966.2893 | 2726855.9389 | 1269968.1094 | 2726849.9395 | 1269969.128
140 | 2726810.6375 | 1270019.8698 | 2726808.3764 | 1269996.3786
141 | 2726879.9134 | 1269966.2893 | 2726913.6008 | 1269967.4696
142 | 2726879.9134 | 1269966.2893 | 2726879.4359 | 1269982.8805
143 | 2726830.9016 | 1270092.4312 | 2726818.5168 | 1270080.1329 | 2726818.5168 | 1270080.1329
144 | 2726818.5168 | 1270080.1329 | 2726805.9433 | 1270072.6116 | 2726803.9096 | 1270071.8934
145 | 2726776.8026 | 1270062.3209 | 2726759.3174 | 1270055.8478
146 | 2726776.8026 | 1270062.3209 | 2726787.0031 | 1270065.9231
147 | 2726776.8026 | 1270062.3209 | 2726772.5186 | 1270084.0226
148 | 2726787.0031 | 1270065.9231 | 2726795.5022 | 1270068.9244
149 | 2726803.9096 | 1270071.8934 | 2726795.5022 | 1270068.9244
150 | 2726913.6008 | 1269967.4696 | 2726913.2203 | 1269978.8609 | 2726914.7933 | 1269989.4543
151 | 2726913.6008 | 1269967.4696 | 2726937.4027 | 1269970.1724
152 | 2726878.8352 | 1270003.7517 | 2726879.4359 | 1269982.8805
153 | 2726878.8352 | 1270003.7517 | 2726878.7786 | 1270005.7189
154 | 2726880.6247 | 1270025.9826 | 2726878.426 | 1270017.9723 | 2726878.7786 | 1270005.7189
155 | 2726915.8835 | 1270017.5743 | 2726916.6968 | 1270005.505 | 2726916.1526 | 1269998.6091 | 2726914.7933 | 1269989.4543
156 | 2726937.4027 | 1269970.1724 | 2726942.0747 | 1270001.0683 | 2726954.21 | 1270002.2569
157 | 2726964.3373 | 1270003.2488 | 2726954.21 | 1270002.2569
158 | 2726916.9684 | 1270047.8282 | 2726915.0939 | 1270029.2928 | 2726915.8835 | 1270017.5743

## bus_geodata
| x | y | coords
0 | 2726771.6669 | 1270205.6811
1 | 2726806.367 | 1270223.8399
2 | 2726836.849 | 1270130.8129
3 | 2726838.2814 | 1270128.9891
4 | 2727284.4418 | 1270347.2904
5 | 2727283.9794 | 1270346.6976
6 | 2727271.9586 | 1270331.2855
7 | 2727241.3267 | 1270289.0976
8 | 2727238.2221 | 1270284.0167
9 | 2727412.8175 | 1270233.6122
10 | 2727412.9228 | 1270219.6542
11 | 2727411.3959 | 1270219.6405
12 | 2727388.5121 | 1270219.4351
13 | 2727368.0825 | 1270219.2517
14 | 2727230.268 | 1270270.9988
15 | 2727212.1252 | 1270281.0761
16 | 2727226.3777 | 1270262.5793
17 | 2727334.5831 | 1270036.5771
18 | 2727350.8456 | 1270039.1091
19 | 2727344.4795 | 1270154.2495
20 | 2727323.419 | 1270153.5439
21 | 2727321.4287 | 1270153.4772
22 | 2727353.8892 | 1270154.5648
23 | 2727184.3544 | 1270106.2447
24 | 2727170.3437 | 1270140.6419
25 | 2727139.2698 | 1270073.0779
26 | 2727161.2922 | 1270125.7977
27 | 2727169.0214 | 1270144.9396
28 | 2727130.8735 | 1270071.7572
29 | 2727146.8296 | 1270012.0758
30 | 2727130.2093 | 1270004.8374
31 | 2727044.539 | 1270051.8289
32 | 2727028.296 | 1270050.1171
33 | 2727026.0709 | 1270049.8826
34 | 2727008.0099 | 1270036.73
35 | 2727022.3102 | 1270030.9496
36 | 2726987.9822 | 1270046.9484
37 | 2726996.5612 | 1270104.4415
38 | 2726987.3525 | 1270103.1558
39 | 2727027.367 | 1270108.7425
40 | 2726938.9257 | 1270102.6846
41 | 2727038.048 | 1270110.2337
42 | 2726949.9513 | 1270078.5879
43 | 2726927.7915 | 1270106.121
44 | 2727058.8405 | 1270113.2195
45 | 2726970.611 | 1270058.1477
46 | 2726935.5511 | 1270080.1277
47 | 2726922.5954 | 1270107.7246
48 | 2727089.3926 | 1270121.656
49 | 2727167.934 | 1270148.4741
50 | 2727157.4445 | 1270171.1254
51 | 2727152.5206 | 1270180.1175
52 | 2727165.6641 | 1270188.7529
53 | 2727136.4949 | 1270171.078
54 | 2727173.2248 | 1270193.4068
55 | 2727124.7716 | 1270164.4653
56 | 2727148.5388 | 1270127.3198
57 | 2727092.362 | 1269988.3543
58 | 2727086.4521 | 1269985.7805
59 | 2727084.6094 | 1269985.0637
60 | 2727066.4122 | 1270009.5954
61 | 2727251.7549 | 1270242.9478
62 | 2727245.7168 | 1270243.7174
63 | 2727265.6458 | 1270241.1774
64 | 2727219.2226 | 1270247.0941
65 | 2727202.3809 | 1270211.3535
66 | 2727183.0397 | 1270226.772
67 | 2727219.4169 | 1270212.6058
68 | 2727195.9661 | 1270207.4049
69 | 2727189.4925 | 1270203.4202
70 | 2727181.573 | 1270198.5454
71 | 2727227.8307 | 1270213.2244
72 | 2727228.7444 | 1270213.2915
73 | 2726943.1641 | 1270129.3741
74 | 2726953.155 | 1270131.5661
75 | 2726943.0139 | 1270129.3531
76 | 2726967.0478 | 1270159.6897
77 | 2726939.6791 | 1270128.8875
78 | 2726967.0061 | 1270159.995
79 | 2726903.5545 | 1270123.8445
80 | 2726902.2568 | 1270135.8525
81 | 2726904.8673 | 1270113.196
82 | 2727124.5909 | 1270137.4208
83 | 2727111.6086 | 1270147.1505
84 | 2727269.9212 | 1270172.892
85 | 2727267.9424 | 1270201.7069
86 | 2727270.7734 | 1270166.7403
87 | 2727267.0294 | 1270216.1059
88 | 2727275.9029 | 1270159.2327
89 | 2727247.4841 | 1270156.707
90 | 2727245.8923 | 1270214.5521
91 | 2727284.8135 | 1270217.4126
92 | 2727289.0219 | 1270153.2915
93 | 2727298.746 | 1270218.4363
94 | 2727298.2916 | 1270152.702
95 | 2727364.6748 | 1270219.2212
96 | 2727342.5424 | 1270219.0225
97 | 2727338.4437 | 1270218.9857
98 | 2727318.8319 | 1270218.8097
99 | 2726898.3112 | 1270071.9055
100 | 2727128.9997 | 1270260.4976
101 | 2727153.9771 | 1270274.9599
102 | 2727112.2314 | 1270294.906
103 | 2727153.9642 | 1270284.2906
104 | 2727054.7438 | 1270017.8395
105 | 2727190.1762 | 1270293.2675
106 | 2727182.7881 | 1270291.436
107 | 2727193.6921 | 1270311.2466
108 | 2727079.5078 | 1270025.9857
109 | 2726893.2744 | 1270114.1234
110 | 2726860.4972 | 1270111.8303
111 | 2727375.5741 | 1270155.2913
112 | 2727145.4761 | 1270298.1919
113 | 2727413.0215 | 1270156.546
114 | 2727383.8929 | 1270155.5701
115 | 2727085.9414 | 1270026.7983
116 | 2726846.282 | 1270118.8022
117 | 2726853.1823 | 1270110.0163
118 | 2726835.1895 | 1270096.6891
119 | 2726847.4473 | 1270038.2763
120 | 2726844.5353 | 1270024.9355
121 | 2726848.1997 | 1270041.7232
122 | 2726842.5994 | 1270016.0664
123 | 2726838.3558 | 1269993.611
124 | 2726835.4135 | 1269971.5942
125 | 2726884.1736 | 1269923.2341
126 | 2726858.5324 | 1269921.8045
127 | 2726933.6446 | 1269927.7557
128 | 2726831.5201 | 1269920.7476
129 | 2726958.245 | 1269931.5892
130 | 2726978.1567 | 1269935.7347
131 | 2727023.7366 | 1269961.3866
132 | 2727035.0921 | 1269965.8034
133 | 2727014.0654 | 1269973.59
134 | 2727064.1187 | 1269977.0936
135 | 2726996.2387 | 1269975.4921
136 | 2726806.7172 | 1269979.1408
137 | 2726849.9395 | 1269969.128
138 | 2726808.3764 | 1269996.3786
139 | 2726879.9134 | 1269966.2893
140 | 2726830.9016 | 1270092.4312
141 | 2726818.5168 | 1270080.1329
142 | 2726759.3174 | 1270055.8478
143 | 2726776.8026 | 1270062.3209
144 | 2726787.0031 | 1270065.9231
145 | 2726772.5186 | 1270084.0226
146 | 2726795.5022 | 1270068.9244
147 | 2726803.9096 | 1270071.8934
148 | 2726810.6375 | 1270019.8698
149 | 2726913.6008 | 1269967.4696
150 | 2726879.4359 | 1269982.8805
151 | 2726878.8352 | 1270003.7517
152 | 2726878.7786 | 1270005.7189
153 | 2726880.6247 | 1270025.9826
154 | 2726914.7933 | 1269989.4543
155 | 2726937.4027 | 1269970.1724
156 | 2726954.21 | 1270002.2569
157 | 2726964.3373 | 1270003.2488
158 | 2726915.8835 | 1270017.5743
159 | 2726916.9684 | 1270047.8282
160 | 2727111.6086 | 1270147.1505

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1