## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4946-34_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4946-34_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4946-34_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4946-34_0_4_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_4946-34_0_4_node_84 | 0.4 | n |  | TRUE
5 | bus_LV_4946-34_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_4946-34_0_4_node_86 | 0.4 | n |  | TRUE
7 | bus_LV_4946-34_0_4_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_4946-34_0_4_node_85 | 0.4 | n |  | TRUE
9 | bus_LV_4946-34_0_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_4946-34_0_4_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_4946-34_0_4_node_94 | 0.4 | n |  | TRUE
12 | bus_LV_4946-34_0_4_node_91 | 0.4 | n |  | TRUE
13 | bus_LV_4946-34_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_4946-34_0_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_4946-34_0_4_node_87 | 0.4 | n |  | TRUE
16 | bus_LV_4946-34_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_4946-34_0_4_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_4946-34_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4946-34_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_4946-34_0_4_node_92 | 0.4 | n |  | TRUE
21 | bus_LV_4946-34_0_4_node_89 | 0.4 | n |  | TRUE
22 | bus_LV_4946-34_0_4_node_5 | 0.4 | n |  | TRUE
23 | bus_LV_4946-34_0_4_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_4946-34_0_4_node_95 | 0.4 | n |  | TRUE
25 | bus_LV_4946-34_0_4_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_4946-34_0_4_node_4 | 0.4 | n |  | TRUE
27 | bus_LV_4946-34_0_4_node_3 | 0.4 | n |  | TRUE
28 | bus_LV_4946-34_0_4_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_4946-34_0_4_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_4946-34_0_4_node_8 | 0.4 | n |  | TRUE
31 | bus_LV_4946-34_0_4_node_9 | 0.4 | n |  | TRUE
32 | bus_LV_4946-34_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_4946-34_0_4_node_11 | 0.4 | n |  | TRUE
34 | bus_LV_4946-34_0_4_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_4946-34_0_4_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_4946-34_0_4_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_4946-34_0_4_node_13 | 0.4 | n |  | TRUE
38 | bus_LV_4946-34_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_4946-34_0_4_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_4946-34_0_4_node_14 | 0.4 | n |  | TRUE
41 | bus_LV_4946-34_0_4_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_4946-34_0_4_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_4946-34_0_4_node_15 | 0.4 | n |  | TRUE
44 | bus_LV_4946-34_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_4946-34_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_4946-34_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_4946-34_0_4_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_4946-34_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_4946-34_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_4946-34_0_4_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_4946-34_0_4_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_4946-34_0_4_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_4946-34_0_4_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_4946-34_0_4_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_4946-34_0_4_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_4946-34_0_4_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_4946-34_0_4_node_83 | 0.4 | n |  | TRUE
58 | bus_LV_4946-34_0_4_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_4946-34_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_4946-34_0_4_node_29 | 0.4 | n |  | TRUE
61 | bus_LV_4946-34_0_4_node_33 | 0.4 | n |  | TRUE
62 | bus_LV_4946-34_0_4_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_4946-34_0_4_node_30 | 0.4 | n |  | TRUE
64 | bus_LV_4946-34_0_4_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_4946-34_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4946-34_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_4946-34_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_4946-34_0_4_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_4946-34_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_4946-34_0_4_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_4946-34_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_4946-34_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_4946-34_0_4_node_90 | 0.4 | n |  | TRUE
74 | bus_LV_4946-34_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_4946-34_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_4946-34_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_4946-34_0_4_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_4946-34_0_4_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_4946-34_0_4_node_40 | 0.4 | n |  | TRUE
80 | bus_LV_4946-34_0_4_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_4946-34_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_4946-34_0_4_node_38 | 0.4 | n |  | TRUE
83 | bus_LV_4946-34_0_4_node_39 | 0.4 | n |  | TRUE
84 | bus_LV_4946-34_0_4_node_55 | 0.4 | n |  | TRUE
85 | bus_LV_4946-34_0_4_node_46 | 0.4 | n |  | TRUE
86 | bus_LV_4946-34_0_4_node_47 | 0.4 | n |  | TRUE
87 | bus_LV_4946-34_0_4_node_48 | 0.4 | n |  | TRUE
88 | bus_LV_4946-34_0_4_node_52 | 0.4 | n |  | TRUE
89 | bus_LV_4946-34_0_4_node_50 | 0.4 | n |  | TRUE
90 | bus_LV_4946-34_0_4_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_4946-34_0_4_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_4946-34_0_4_node_71 | 0.4 | n |  | TRUE
93 | bus_LV_4946-34_0_4_node_72 | 0.4 | n |  | TRUE
94 | bus_MV_488_1_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4946-34_0_4_load_0 | 0 | 0.019111 | 0.0047896 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4946-34_0_4_load_84 | 4 | 0.01397 | 0.0035012 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4946-34_0_4_load_86 | 6 | 0.010503 | 0.0026324 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4946-34_0_4_load_85 | 8 | 0.010755 | 0.0026956 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4946-34_0_4_load_94 | 11 | 0.0014497 | 0.00036333 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4946-34_0_4_load_87 | 15 | 0.0071735 | 0.0017978 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4946-34_0_4_load_88 | 17 | 0.0070027 | 0.001755 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4946-34_0_4_load_92 | 20 | 0.0080127 | 0.0020082 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4946-34_0_4_load_95 | 24 | 0.0040493 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4946-34_0_4_load_3 | 27 | 0.003161 | 0.00079222 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4946-34_0_4_load_76 | 28 | 0.0076773 | 0.0019241 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4946-34_0_4_load_80 | 29 | 0.012695 | 0.0031816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4946-34_0_4_load_36 | 32 | 0.0066861 | 0.0016757 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4946-34_0_4_load_59 | 34 | 0.003113 | 0.0007802 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4946-34_0_4_load_58 | 35 | 0.004796 | 0.001202 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4946-34_0_4_load_57 | 36 | 0.0056278 | 0.0014105 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4946-34_0_4_load_73 | 39 | 0.0050491 | 0.0012654 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4946-34_0_4_load_79 | 42 | 0.066195 | 0.01659 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4946-34_0_4_load_43 | 45 | 0.0043051 | 0.001079 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4946-34_0_4_load_44 | 46 | 0.0002308 | 5.7844e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4946-34_0_4_load_60 | 48 | 0.003179 | 0.00079673 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4946-34_0_4_load_45 | 49 | 0.00037595 | 9.4222e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4946-34_0_4_load_78 | 52 | 0.01231 | 0.0030852 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4946-34_0_4_load_82 | 54 | 0.014122 | 0.0035393 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4946-34_0_4_load_83 | 57 | 0.014119 | 0.0035386 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4946-34_0_4_load_81 | 58 | 0.012313 | 0.003086 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4946-34_0_4_load_65 | 59 | 0.01185 | 0.0029698 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4946-34_0_4_load_70 | 62 | 0.0087278 | 0.0021874 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4946-34_0_4_load_41 | 65 | 0.00056372 | 0.00014128 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4946-34_0_4_load_42 | 66 | 0.0038409 | 0.00096262 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4946-34_0_4_load_61 | 67 | 0.0062659 | 0.0015704 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4946-34_0_4_load_77 | 68 | 0.0053202 | 0.0013334 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4946-34_0_4_load_93 | 70 | 0.010308 | 0.0025835 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4946-34_0_4_load_66 | 71 | 0.0037749 | 0.00094609 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4946-34_0_4_load_90 | 73 | 0.010308 | 0.0025835 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4946-34_0_4_load_62 | 76 | 0.01248 | 0.0031279 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4946-34_0_4_load_53 | 78 | 0.0014434 | 0.00036175 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4946-34_0_4_load_49 | 80 | 0.024035 | 0.0060238 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4946-34_0_4_load_74 | 81 | 0.0030106 | 0.00075453 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4946-34_0_4_load_38 | 82 | 0.0014858 | 0.00037239 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4946-34_0_4_load_39 | 83 | 0.0045849 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4946-34_0_4_load_55 | 84 | 0.0017836 | 0.00044701 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4946-34_0_4_load_46 | 85 | 0.02363 | 0.0059222 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4946-34_0_4_load_47 | 86 | 0.01681 | 0.0042131 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4946-34_0_4_load_50 | 89 | 0.05013 | 0.012564 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4946-34_0_4_load_68 | 90 | 0.0042822 | 0.0010732 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4946-34_0_4_load_71 | 92 | 0.0042823 | 0.0010732 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4946-34_0_4_load_72 | 93 | 0.0049229 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4946-34_0_4_line_0 |  | 0 | 1 | 0.010532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4946-34_0_4_line_1 |  | 1 | 2 | 0.061015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4946-34_0_4_line_2 |  | 2 | 3 | 0.028539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4946-34_0_4_line_3 |  | 2 | 4 | 0.0434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4946-34_0_4_line_4 |  | 3 | 29 | 0.002493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4946-34_0_4_line_5 |  | 3 | 26 | 0.027878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4946-34_0_4_line_6 |  | 5 | 6 | 0.00276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4946-34_0_4_line_7 |  | 5 | 7 | 0.019063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4946-34_0_4_line_8 |  | 7 | 8 | 0.004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4946-34_0_4_line_9 |  | 7 | 9 | 0.059291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4946-34_0_4_line_10 |  | 9 | 47 | 0.028394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4946-34_0_4_line_11 |  | 9 | 48 | 0.0058502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4946-34_0_4_line_12 |  | 9 | 14 | 0.022482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4946-34_0_4_line_13 |  | 10 | 11 | 0.004075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4946-34_0_4_line_14 |  | 10 | 12 | 0.015497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4946-34_0_4_line_15 |  | 10 | 13 | 0.054608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4946-34_0_4_line_16 |  | 12 | 70 | 0.021839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4946-34_0_4_line_17 |  | 12 | 21 | 0.035505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4946-34_0_4_line_18 |  | 13 | 28 | 0.049551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4946-34_0_4_line_19 |  | 13 | 23 | 0.15565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4946-34_0_4_line_20 |  | 14 | 15 | 0.003479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4946-34_0_4_line_21 |  | 14 | 16 | 0.019041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4946-34_0_4_line_22 |  | 16 | 17 | 0.001991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4946-34_0_4_line_23 |  | 16 | 18 | 0.023289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4946-34_0_4_line_24 |  | 18 | 33 | 0.034707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4946-34_0_4_line_25 |  | 18 | 34 | 0.0090342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4946-34_0_4_line_26 |  | 19 | 20 | 0.004663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4946-34_0_4_line_27 |  | 19 | 21 | 0.035242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4946-34_0_4_line_28 |  | 19 | 22 | 0.04914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4946-34_0_4_line_29 |  | 21 | 73 | 0.004814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4946-34_0_4_line_30 |  | 22 | 27 | 0.019484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4946-34_0_4_line_31 |  | 23 | 24 | 0.071608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4946-34_0_4_line_32 |  | 23 | 25 | 0.014981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4946-34_0_4_line_33 |  | 25 | 35 | 0.0084406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_4946-34_0_4_line_34 |  | 26 | 27 | 0.030061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4946-34_0_4_line_35 |  | 28 | 30 | 0.028284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4946-34_0_4_line_36 |  | 30 | 31 | 0.4081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4946-34_0_4_line_37 |  | 31 | 32 | 0.050272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4946-34_0_4_line_38 |  | 33 | 35 | 0.017868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4946-34_0_4_line_39 |  | 33 | 36 | 0.017997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4946-34_0_4_line_40 |  | 37 | 38 | 0.11493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4946-34_0_4_line_41 |  | 37 | 39 | 0.037233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4946-34_0_4_line_42 |  | 38 | 68 | 0.039534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4946-34_0_4_line_43 |  | 38 | 69 | 0.080904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4946-34_0_4_line_44 |  | 40 | 41 | 0.10039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4946-34_0_4_line_45 |  | 40 | 42 | 0.01126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4946-34_0_4_line_46 |  | 41 | 49 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4946-34_0_4_line_47 |  | 41 | 46 | 0.0029896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_4946-34_0_4_line_48 |  | 43 | 44 | 0.014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_4946-34_0_4_line_49 |  | 43 | 45 | 0.017271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4946-34_0_4_line_50 |  | 43 | 46 | 0.039993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_4946-34_0_4_line_51 |  | 44 | 50 | 0.034853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_4946-34_0_4_line_52 |  | 45 | 66 | 0.047589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4946-34_0_4_line_53 |  | 47 | 71 | 0.016251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4946-34_0_4_line_54 |  | 47 | 55 | 0.026416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4946-34_0_4_line_55 |  | 49 | 72 | 0.0225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_4946-34_0_4_line_56 |  | 50 | 51 | 0.017575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_4946-34_0_4_line_57 |  | 50 | 52 | 0.00787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4946-34_0_4_line_58 |  | 51 | 58 | 0.066385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_4946-34_0_4_line_59 |  | 51 | 55 | 0.017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_4946-34_0_4_line_60 |  | 53 | 54 | 0.002485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4946-34_0_4_line_61 |  | 53 | 55 | 0.036236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4946-34_0_4_line_62 |  | 55 | 59 | 0.0032808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4946-34_0_4_line_63 |  | 55 | 56 | 0.071621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4946-34_0_4_line_64 |  | 56 | 57 | 0.003232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4946-34_0_4_line_65 |  | 60 | 61 | 0.036722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4946-34_0_4_line_66 |  | 60 | 62 | 0.026508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4946-34_0_4_line_67 |  | 61 | 67 | 0.014498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4946-34_0_4_line_68 |  | 62 | 74 | 0.021888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4946-34_0_4_line_69 |  | 63 | 64 | 0.070391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4946-34_0_4_line_70 |  | 63 | 65 | 0.0549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4946-34_0_4_line_71 |  | 64 | 66 | 0.0087297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4946-34_0_4_line_72 |  | 67 | 76 | 0.022176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4946-34_0_4_line_73 |  | 69 | 81 | 0.020437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4946-34_0_4_line_74 |  | 69 | 77 | 0.084335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4946-34_0_4_line_75 |  | 71 | 75 | 0.022637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4946-34_0_4_line_76 |  | 72 | 84 | 0.023323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4946-34_0_4_line_77 |  | 74 | 90 | 0.034798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4946-34_0_4_line_78 |  | 74 | 75 | 0.037606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4946-34_0_4_line_79 |  | 77 | 78 | 0.01887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4946-34_0_4_line_80 |  | 77 | 79 | 0.02935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4946-34_0_4_line_81 |  | 77 | 80 | 0.031508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4946-34_0_4_line_82 |  | 78 | 84 | 0.021692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4946-34_0_4_line_83 |  | 79 | 83 | 0.019907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4946-34_0_4_line_84 |  | 80 | 89 | 0.0096166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4946-34_0_4_line_85 |  | 82 | 83 | 0.0020538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4946-34_0_4_line_86 |  | 85 | 86 | 0.026374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4946-34_0_4_line_87 |  | 86 | 87 | 0.034367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4946-34_0_4_line_88 |  | 87 | 88 | 0.013544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4946-34_0_4_line_89 |  | 88 | 89 | 0.030329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4946-34_0_4_line_90 |  | 90 | 91 | 0.013606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4946-34_0_4_line_91 |  | 91 | 92 | 0.027682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4946-34_0_4_line_92 |  | 91 | 93 | 0.021755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4946-34_0_4_trafo_81 | 0.63 MVA 20/0.4 kV | 94 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2724888.7024 | 1270364.8838 | 2724898.2768 | 1270360.4954
1 | 2724866.3532 | 1270331.6249 | 2724869.7027 | 1270339.0804 | 2724862.7644 | 1270342.2367 | 2724874.7227 | 1270368.247 | 2724878.0389 | 1270370.8751 | 2724880.2513 | 1270368.7532 | 2724888.7024 | 1270364.8838
2 | 2724866.3532 | 1270331.6249 | 2724861.4445 | 1270333.8343 | 2724840.3352 | 1270343.3526
3 | 2724878.8246 | 1270306.354 | 2724880.4359 | 1270305.6096 | 2724888.0172 | 1270321.8627 | 2724866.3532 | 1270331.6249
4 | 2724839.231 | 1270341.116 | 2724840.3352 | 1270343.3526
5 | 2724840.3352 | 1270343.3526 | 2724825.0999 | 1270350.2148 | 2724828.0453 | 1270352.5792 | 2724821.2479 | 1270355.4827
6 | 2724990.6061 | 1270368.1533 | 2724988.1049 | 1270369.3348
7 | 2724982.2767 | 1270350.9945 | 2724990.6061 | 1270368.1533
8 | 2724982.2767 | 1270350.9945 | 2724978.636 | 1270352.6746
9 | 2724982.2767 | 1270350.9945 | 2724976.2695 | 1270338.6114 | 2725007.2919 | 1270323.3759 | 2725009.4591 | 1270325.8796 | 2725016.5068 | 1270322.8927
10 | 2725016.5068 | 1270322.8927 | 2724997.9056 | 1270301.3902
11 | 2725016.5068 | 1270322.8927 | 2725020.3343 | 1270327.3171
12 | 2725016.5068 | 1270322.8927 | 2725009.4591 | 1270325.8796 | 2725017.6204 | 1270335.3389 | 2725017.0681 | 1270337.6071
13 | 2724920.9639 | 1270416.2471 | 2724922.7756 | 1270419.8999
14 | 2724936.8603 | 1270413.3473 | 2724922.7756 | 1270419.8999
15 | 2724922.7756 | 1270419.8999 | 2724909.4204 | 1270426.1233 | 2724914.3685 | 1270430.5876 | 2724909.3782 | 1270433.4514 | 2724916.2769 | 1270440.6929 | 2724927.7237 | 1270453.8695
16 | 2724951.4715 | 1270402.1904 | 2724953.1189 | 1270405.7841 | 2724936.8603 | 1270413.3473
17 | 2724930.444 | 1270384.0287 | 2724924.8277 | 1270386.6012 | 2724936.8603 | 1270413.3473
18 | 2724927.7237 | 1270453.8695 | 2724960.2065 | 1270491.2887
19 | 2724927.7237 | 1270453.8695 | 2724940.637 | 1270445.7684 | 2724952.7294 | 1270441.5981 | 2724970.8747 | 1270438.0564 | 2724992.1951 | 1270432.0686 | 2725017.2921 | 1270419.4102 | 2725047.1954 | 1270404.051 | 2725059.3422 | 1270402.2955 | 2725067.3694 | 1270404.5786 | 2725071.1528 | 1270407.884
20 | 2725017.0681 | 1270337.6071 | 2725013.8845 | 1270339.03
21 | 2725017.0681 | 1270337.6071 | 2725025.1699 | 1270354.8502
22 | 2725025.1699 | 1270354.8502 | 2725023.3392 | 1270355.6455
23 | 2725025.1699 | 1270354.8502 | 2725031.9307 | 1270351.9017 | 2725037.4845 | 1270358.3252 | 2725038.9494 | 1270356.321 | 2725042.2338 | 1270352.6315
24 | 2725042.2338 | 1270352.6315 | 2725059.6174 | 1270371.9063 | 2725065.3707 | 1270378.501
25 | 2725042.2338 | 1270352.6315 | 2725036.3231 | 1270345.7991
26 | 2724896.4982 | 1270394.4651 | 2724898.4101 | 1270398.7205
27 | 2724930.444 | 1270384.0287 | 2724924.8277 | 1270386.6012 | 2724898.4101 | 1270398.7205
28 | 2724858.3577 | 1270388.3086 | 2724864.6525 | 1270385.6836 | 2724874.2087 | 1270394.3159 | 2724885.5965 | 1270404.5995 | 2724898.4101 | 1270398.7205
29 | 2724928.6116 | 1270379.5747 | 2724930.444 | 1270384.0287
30 | 2724858.3577 | 1270388.3086 | 2724843.764 | 1270375.3996
31 | 2725071.1528 | 1270407.884 | 2725015.9635 | 1270453.7028
32 | 2725071.1528 | 1270407.884 | 2725072.7079 | 1270406.5935 | 2725075.9024 | 1270403.9476 | 2725082.6979 | 1270398.2974
33 | 2725082.6979 | 1270398.2974 | 2725077.1346 | 1270391.9497
34 | 2724821.2479 | 1270355.4827 | 2724843.764 | 1270375.3996
35 | 2724978.7479 | 1270512.6479 | 2724960.2065 | 1270491.2887
36 | 2724714.5673 | 1270702.5297 | 2724677.5497 | 1270623.7194 | 2724978.7479 | 1270512.6479
37 | 2724714.5673 | 1270702.5297 | 2724690.9866 | 1270704.4225 | 2724675.8296 | 1270705.8483 | 2724664.721 | 1270708.3718
38 | 2725065.3707 | 1270378.501 | 2725070.323 | 1270384.1778 | 2725077.1346 | 1270391.9497
39 | 2725065.3707 | 1270378.501 | 2725079.8453 | 1270367.8058
40 | 2724677.3353 | 1270116.9443 | 2724686.6966 | 1270111.6815 | 2724689.654 | 1270116.693 | 2724703.2816 | 1270108.9957 | 2724750.6327 | 1270082.2151 | 2724775.2909 | 1270068.2785
41 | 2724677.3353 | 1270116.9443 | 2724661.6346 | 1270087.0297 | 2724659.998 | 1270083.9938
42 | 2724757.4769 | 1270032.9584 | 2724773.7308 | 1270065.176 | 2724775.2909 | 1270068.2785
43 | 2724829.8954 | 1270021.3552 | 2724832.9799 | 1270035.6559 | 2724775.2909 | 1270068.2785
44 | 2724825.9881 | 1270231.7124 | 2724842.0717 | 1270224.6123 | 2724858.3269 | 1270217.5827 | 2724874.5538 | 1270210.1187 | 2724877.3434 | 1270208.8209 | 2724880.7754 | 1270207.4033 | 2724895.8122 | 1270200.3369 | 2724917.4299 | 1270190.2957
45 | 2724825.9881 | 1270231.7124 | 2724815.7568 | 1270236.4784
46 | 2724917.4299 | 1270190.2957 | 2724908.2065 | 1270172.3034
47 | 2724917.4299 | 1270190.2957 | 2724918.8802 | 1270192.9101
48 | 2724938.2803 | 1270227.8827 | 2724941.9267 | 1270234.4659 | 2724945.7577 | 1270240.864
49 | 2724938.2803 | 1270227.8827 | 2724948.3705 | 1270220.9007 | 2724952.3606 | 1270217.8862
50 | 2724938.2803 | 1270227.8827 | 2724918.8802 | 1270192.9101
51 | 2724945.7577 | 1270240.864 | 2724938.0437 | 1270245.1048 | 2724955.3716 | 1270264.5561
52 | 2724987.3847 | 1270185.7606 | 2724982.7318 | 1270190.8998 | 2724969.1576 | 1270203.8802 | 2724955.0862 | 1270215.827 | 2724952.3606 | 1270217.8862
53 | 2724997.9056 | 1270301.3902 | 2725001.5542 | 1270296.8521 | 2725004.5736 | 1270286.8706
54 | 2724980.7045 | 1270281.2964 | 2724997.9056 | 1270301.3902
55 | 2724897.8594 | 1270152.3244 | 2724902.7209 | 1270161.6025 | 2724908.2065 | 1270172.3034
56 | 2724955.3716 | 1270264.5561 | 2724967.2747 | 1270277.5199
57 | 2724955.3716 | 1270264.5561 | 2724948.2404 | 1270267.9306
58 | 2724967.2747 | 1270277.5199 | 2724924.9639 | 1270296.9653 | 2724918.0899 | 1270281.4388 | 2724915.2704 | 1270282.3689
59 | 2724967.2747 | 1270277.5199 | 2724974.2046 | 1270285.0735 | 2724980.7045 | 1270281.2964
60 | 2724985.9802 | 1270305.475 | 2724983.7731 | 1270306.6293
61 | 2724980.7045 | 1270281.2964 | 2724974.2046 | 1270285.0735 | 2724978.693 | 1270290.2733 | 2724990.0062 | 1270303.3693 | 2724985.9802 | 1270305.475
62 | 2724980.7045 | 1270281.2964 | 2724978.5592 | 1270278.8143
63 | 2724980.7045 | 1270281.2964 | 2724974.2046 | 1270285.0735 | 2724978.693 | 1270290.2733 | 2724953.8863 | 1270302.3598 | 2724956.8306 | 1270309.0394 | 2724944.829 | 1270314.5907 | 2724948.6275 | 1270322.8787
64 | 2724948.6275 | 1270322.8787 | 2724945.6573 | 1270324.1727
65 | 2725044.6127 | 1270215.8436 | 2725011.7402 | 1270222.454 | 2725011.7102 | 1270225.6452
66 | 2725044.6127 | 1270215.8436 | 2725046.9223 | 1270242.2505
67 | 2725011.7102 | 1270225.6452 | 2724997.4726 | 1270228.3798
68 | 2725048.8295 | 1270264.0555 | 2725046.9223 | 1270242.2505
69 | 2724993.2437 | 1270179.2892 | 2725000.9421 | 1270169.7543 | 2725014.9176 | 1270151.6888 | 2725036.4508 | 1270123.6296
70 | 2725036.4508 | 1270123.6296 | 2725030.966 | 1270115.3614 | 2724986.2288 | 1270110.7104
71 | 2724993.2437 | 1270179.2892 | 2724987.3847 | 1270185.7606
72 | 2724984.1751 | 1270237.8962 | 2724983.6814 | 1270229.578 | 2724997.4726 | 1270228.3798
73 | 2724829.8954 | 1270021.3552 | 2724827.2979 | 1270001.084
74 | 2724829.8954 | 1270021.3552 | 2724832.9799 | 1270035.6559 | 2724841.7316 | 1270048.1969 | 2724848.81 | 1270060.8471 | 2724867.3757 | 1270096.1834
75 | 2725011.1282 | 1270265.203 | 2725004.5736 | 1270286.8706
76 | 2724897.8594 | 1270152.3244 | 2724891.7319 | 1270140.6285 | 2724886.8687 | 1270131.7541
77 | 2725048.8295 | 1270264.0555 | 2725069.6187 | 1270263.2838 | 2725071.1135 | 1270277.1986
78 | 2725011.1282 | 1270265.203 | 2725048.8295 | 1270264.0555
79 | 2724867.3757 | 1270096.1834 | 2724876.444 | 1270112.7312
80 | 2724867.3757 | 1270096.1834 | 2724887.7439 | 1270085.0926 | 2724893.2472 | 1270082.184
81 | 2724867.3757 | 1270096.1834 | 2724840.1955 | 1270112.1205
82 | 2724886.8687 | 1270131.7541 | 2724876.444 | 1270112.7312
83 | 2724893.2472 | 1270082.184 | 2724910.8416 | 1270072.8721
84 | 2724840.1955 | 1270112.1205 | 2724831.8998 | 1270116.9847
85 | 2724912.6568 | 1270071.9114 | 2724910.8416 | 1270072.8721
86 | 2724761.5825 | 1270175.3414 | 2724785.0098 | 1270163.2274 | 2724785.0098 | 1270163.2274
87 | 2724794.0304 | 1270139.1957 | 2724785.2968 | 1270145.0277 | 2724778.139 | 1270149.3027 | 2724785.0098 | 1270163.2274
88 | 2724794.0304 | 1270139.1957 | 2724805.7365 | 1270132.3255
89 | 2724805.7365 | 1270132.3255 | 2724831.8998 | 1270116.9847
90 | 2725072.5669 | 1270290.7273 | 2725071.1135 | 1270277.1986
91 | 2725072.5669 | 1270290.7273 | 2725064.3109 | 1270291.0639 | 2725056.8032 | 1270292.3172 | 2725047.0972 | 1270299.0411
92 | 2725072.5669 | 1270290.7273 | 2725074.171 | 1270300.2701 | 2725073.1622 | 1270312.3057

## bus_geodata
| x | y | coords
0 | 2724898.2768 | 1270360.4954
1 | 2724888.7024 | 1270364.8838
2 | 2724866.3532 | 1270331.6249
3 | 2724840.3352 | 1270343.3526
4 | 2724878.8246 | 1270306.354
5 | 2724990.6061 | 1270368.1533
6 | 2724988.1049 | 1270369.3348
7 | 2724982.2767 | 1270350.9945
8 | 2724978.636 | 1270352.6746
9 | 2725016.5068 | 1270322.8927
10 | 2724922.7756 | 1270419.8999
11 | 2724920.9639 | 1270416.2471
12 | 2724936.8603 | 1270413.3472
13 | 2724927.7237 | 1270453.8695
14 | 2725017.0681 | 1270337.6071
15 | 2725013.8845 | 1270339.03
16 | 2725025.1699 | 1270354.8502
17 | 2725023.3392 | 1270355.6455
18 | 2725042.2338 | 1270352.6315
19 | 2724898.4101 | 1270398.7205
20 | 2724896.4982 | 1270394.4651
21 | 2724930.444 | 1270384.0287
22 | 2724858.3577 | 1270388.3086
23 | 2725071.1528 | 1270407.884
24 | 2725015.9635 | 1270453.7028
25 | 2725082.6979 | 1270398.2974
26 | 2724821.2479 | 1270355.4827
27 | 2724843.764 | 1270375.3996
28 | 2724960.2065 | 1270491.2887
29 | 2724839.231 | 1270341.116
30 | 2724978.7479 | 1270512.6479
31 | 2724714.5673 | 1270702.5297
32 | 2724664.721 | 1270708.3718
33 | 2725065.3707 | 1270378.501
34 | 2725036.3231 | 1270345.7991
35 | 2725077.1346 | 1270391.9497
36 | 2725079.8453 | 1270367.8058
37 | 2724677.3353 | 1270116.9443
38 | 2724775.2909 | 1270068.2785
39 | 2724659.998 | 1270083.9938
40 | 2724825.9881 | 1270231.7124
41 | 2724917.4299 | 1270190.2957
42 | 2724815.7568 | 1270236.4784
43 | 2724938.2803 | 1270227.8827
44 | 2724945.7577 | 1270240.864
45 | 2724952.3606 | 1270217.8862
46 | 2724918.8802 | 1270192.9101
47 | 2724997.9056 | 1270301.3902
48 | 2725020.3343 | 1270327.3171
49 | 2724908.2065 | 1270172.3034
50 | 2724955.3716 | 1270264.5561
51 | 2724967.2747 | 1270277.5199
52 | 2724948.2404 | 1270267.9306
53 | 2724985.9802 | 1270305.475
54 | 2724983.7731 | 1270306.6293
55 | 2724980.7045 | 1270281.2964
56 | 2724948.6275 | 1270322.8787
57 | 2724945.6573 | 1270324.1727
58 | 2724915.2704 | 1270282.3689
59 | 2724978.5592 | 1270278.8143
60 | 2725044.6127 | 1270215.8436
61 | 2725011.7102 | 1270225.6452
62 | 2725046.9223 | 1270242.2505
63 | 2725036.4508 | 1270123.6296
64 | 2724993.2437 | 1270179.2892
65 | 2724986.2288 | 1270110.7104
66 | 2724987.3847 | 1270185.7606
67 | 2724997.4726 | 1270228.3798
68 | 2724757.4769 | 1270032.9584
69 | 2724829.8954 | 1270021.3552
70 | 2724951.4715 | 1270402.1904
71 | 2725004.5736 | 1270286.8706
72 | 2724897.8594 | 1270152.3244
73 | 2724928.6116 | 1270379.5747
74 | 2725048.8295 | 1270264.0555
75 | 2725011.1282 | 1270265.203
76 | 2724984.1751 | 1270237.8962
77 | 2724867.3757 | 1270096.1834
78 | 2724876.444 | 1270112.7312
79 | 2724893.2472 | 1270082.184
80 | 2724840.1955 | 1270112.1205
81 | 2724827.2979 | 1270001.084
82 | 2724912.6568 | 1270071.9114
83 | 2724910.8416 | 1270072.8721
84 | 2724886.8687 | 1270131.7541
85 | 2724761.5825 | 1270175.3414
86 | 2724785.0098 | 1270163.2274
87 | 2724794.0304 | 1270139.1957
88 | 2724805.7364 | 1270132.3255
89 | 2724831.8998 | 1270116.9847
90 | 2725071.1135 | 1270277.1986
91 | 2725072.5669 | 1270290.7273
92 | 2725047.0972 | 1270299.0411
93 | 2725073.1622 | 1270312.3057
94 | 2724967.2747 | 1270277.5199

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1