## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4946-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4946-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4946-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4946-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4946-3_0_4_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_4946-3_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_4946-3_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_4946-3_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4946-3_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_4946-3_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4946-3_0_4_node_100 | 0.4 | n |  | TRUE
11 | bus_LV_4946-3_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4946-3_0_4_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_4946-3_0_4_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_4946-3_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4946-3_0_4_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_4946-3_0_4_node_95 | 0.4 | n |  | TRUE
17 | bus_LV_4946-3_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_4946-3_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4946-3_0_4_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_4946-3_0_4_node_99 | 0.4 | n |  | TRUE
21 | bus_LV_4946-3_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_4946-3_0_4_node_101 | 0.4 | n |  | TRUE
23 | bus_LV_4946-3_0_4_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_4946-3_0_4_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_4946-3_0_4_node_96 | 0.4 | n |  | TRUE
26 | bus_LV_4946-3_0_4_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_4946-3_0_4_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_4946-3_0_4_node_71 | 0.4 | n |  | TRUE
29 | bus_LV_4946-3_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_4946-3_0_4_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_4946-3_0_4_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_4946-3_0_4_node_121 | 0.4 | n |  | TRUE
33 | bus_LV_4946-3_0_4_node_94 | 0.4 | n |  | TRUE
34 | bus_LV_4946-3_0_4_node_93 | 0.4 | n |  | TRUE
35 | bus_LV_4946-3_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4946-3_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_4946-3_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_4946-3_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_4946-3_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_4946-3_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_4946-3_0_4_node_104 | 0.4 | n |  | TRUE
42 | bus_LV_4946-3_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4946-3_0_4_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_4946-3_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4946-3_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_4946-3_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4946-3_0_4_node_103 | 0.4 | n |  | TRUE
48 | bus_LV_4946-3_0_4_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_4946-3_0_4_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_4946-3_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_4946-3_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_4946-3_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_4946-3_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_4946-3_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_4946-3_0_4_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_4946-3_0_4_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_4946-3_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_4946-3_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_4946-3_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_4946-3_0_4_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_4946-3_0_4_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_4946-3_0_4_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_4946-3_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_4946-3_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4946-3_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_4946-3_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_4946-3_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_4946-3_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_4946-3_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_4946-3_0_4_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_4946-3_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_4946-3_0_4_node_117 | 0.4 | n |  | TRUE
73 | bus_LV_4946-3_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_4946-3_0_4_node_115 | 0.4 | n |  | TRUE
75 | bus_LV_4946-3_0_4_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_4946-3_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4946-3_0_4_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_4946-3_0_4_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_4946-3_0_4_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_4946-3_0_4_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_4946-3_0_4_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_4946-3_0_4_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_4946-3_0_4_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_4946-3_0_4_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_4946-3_0_4_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_4946-3_0_4_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_4946-3_0_4_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_4946-3_0_4_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_4946-3_0_4_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_4946-3_0_4_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_4946-3_0_4_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_4946-3_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_4946-3_0_4_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_4946-3_0_4_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_4946-3_0_4_node_105 | 0.4 | n |  | TRUE
96 | bus_LV_4946-3_0_4_node_106 | 0.4 | n |  | TRUE
97 | bus_LV_4946-3_0_4_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_4946-3_0_4_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_4946-3_0_4_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_4946-3_0_4_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_4946-3_0_4_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_4946-3_0_4_node_107 | 0.4 | n |  | TRUE
103 | bus_LV_4946-3_0_4_node_111 | 0.4 | n |  | TRUE
104 | bus_LV_4946-3_0_4_node_112 | 0.4 | n |  | TRUE
105 | bus_LV_4946-3_0_4_node_110 | 0.4 | n |  | TRUE
106 | bus_LV_4946-3_0_4_node_116 | 0.4 | n |  | TRUE
107 | bus_LV_4946-3_0_4_node_120 | 0.4 | n |  | TRUE
108 | bus_LV_4946-3_0_4_node_114 | 0.4 | n |  | TRUE
109 | bus_LV_4946-3_0_4_node_119 | 0.4 | n |  | TRUE
110 | bus_LV_4946-3_0_4_node_118 | 0.4 | n |  | TRUE
111 | bus_LV_4946-3_0_4_node_113 | 0.4 | n |  | TRUE
112 | bus_MV_488_1_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4946-3_0_4_load_0 | 0 | 0.012398 | 0.0031071 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4946-3_0_4_load_3 | 3 | 0.01306 | 0.0032732 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4946-3_0_4_load_15 | 4 | 0.0064944 | 0.0016277 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4946-3_0_4_load_100 | 10 | 0.021323 | 0.005344 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4946-3_0_4_load_78 | 12 | 0.0059495 | 0.0014911 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4946-3_0_4_load_76 | 13 | 0.0084861 | 0.0021268 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4946-3_0_4_load_95 | 16 | 0.02604 | 0.0065263 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4946-3_0_4_load_25 | 17 | 0.012952 | 0.0032462 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4946-3_0_4_load_98 | 19 | 0.006377 | 0.0015982 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4946-3_0_4_load_99 | 20 | 0.0042025 | 0.0010532 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4946-3_0_4_load_27 | 21 | 0.0047355 | 0.0011868 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4946-3_0_4_load_101 | 22 | 0.0079538 | 0.0019934 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4946-3_0_4_load_77 | 23 | 0.0040637 | 0.0010185 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4946-3_0_4_load_97 | 26 | 0.034905 | 0.0087481 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4946-3_0_4_load_71 | 28 | 0.0048643 | 0.0012191 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4946-3_0_4_load_62 | 31 | 0.00357 | 0.00089472 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4946-3_0_4_load_121 | 32 | 0.0018026 | 0.00045178 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4946-3_0_4_load_94 | 33 | 0.012398 | 0.0031072 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4946-3_0_4_load_93 | 34 | 0.0080628 | 0.0020207 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4946-3_0_4_load_19 | 36 | 0.035592 | 0.0089202 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4946-3_0_4_load_20 | 37 | 0.010037 | 0.0025155 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4946-3_0_4_load_22 | 39 | 0.0061118 | 0.0015318 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4946-3_0_4_load_24 | 40 | 0.0074328 | 0.0018628 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4946-3_0_4_load_104 | 41 | 0.0072086 | 0.0018067 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4946-3_0_4_load_26 | 42 | 0.007843 | 0.0019657 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4946-3_0_4_load_90 | 43 | 0.011016 | 0.0027609 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4946-3_0_4_load_28 | 45 | 0.0085625 | 0.002146 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4946-3_0_4_load_29 | 46 | 0.0065767 | 0.0016483 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4946-3_0_4_load_103 | 47 | 0.0055779 | 0.001398 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4946-3_0_4_load_108 | 48 | 0.0081029 | 0.0020308 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4946-3_0_4_load_35 | 50 | 0.0041712 | 0.0010454 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4946-3_0_4_load_38 | 53 | 0.0070587 | 0.0017691 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4946-3_0_4_load_85 | 55 | 0.0018414 | 0.00046151 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4946-3_0_4_load_84 | 56 | 0.0028547 | 0.00071547 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4946-3_0_4_load_52 | 59 | 0.011496 | 0.002881 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4946-3_0_4_load_60 | 60 | 0.0010611 | 0.00026594 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4946-3_0_4_load_102 | 62 | 0.0038596 | 0.00096731 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4946-3_0_4_load_58 | 63 | 0.0027344 | 0.0006853 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4946-3_0_4_load_53 | 64 | 0.01334 | 0.0033434 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4946-3_0_4_load_61 | 65 | 0.0015666 | 0.00039262 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4946-3_0_4_load_44 | 66 | 0.0065475 | 0.001641 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4946-3_0_4_load_45 | 67 | 0.0028983 | 0.00072639 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4946-3_0_4_load_47 | 69 | 0.010484 | 0.0026275 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4946-3_0_4_load_49 | 70 | 0.0045614 | 0.0011432 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4946-3_0_4_load_50 | 71 | 0.0023252 | 0.00058274 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4946-3_0_4_load_117 | 72 | 0.0026516 | 0.00066455 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4946-3_0_4_load_51 | 73 | 0.010485 | 0.0026278 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4946-3_0_4_load_115 | 74 | 0.0079117 | 0.0019829 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4946-3_0_4_load_64 | 75 | 0.0019687 | 0.00049341 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4946-3_0_4_load_63 | 76 | 0.010485 | 0.0026278 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4946-3_0_4_load_54 | 77 | 0.011416 | 0.002861 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4946-3_0_4_load_55 | 78 | 0.0024835 | 0.00062241 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4946-3_0_4_load_56 | 79 | 0.0023938 | 0.00059995 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4946-3_0_4_load_57 | 80 | 0.0044585 | 0.0011174 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4946-3_0_4_load_59 | 81 | 0.0024835 | 0.00062242 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4946-3_0_4_load_65 | 82 | 0.0026415 | 0.00066203 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4946-3_0_4_load_66 | 83 | 0.0020232 | 0.00050707 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4946-3_0_4_load_68 | 85 | 0.0064393 | 0.0016138 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4946-3_0_4_load_70 | 87 | 0.0085651 | 0.0021466 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4946-3_0_4_load_82 | 88 | 0.0018175 | 0.00045551 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4946-3_0_4_load_92 | 89 | 0.0064835 | 0.0016249 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4946-3_0_4_load_72 | 90 | 0.0025863 | 0.00064818 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4946-3_0_4_load_80 | 91 | 0.0038957 | 0.00097635 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4946-3_0_4_load_79 | 93 | 0.0038052 | 0.00095368 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4946-3_0_4_load_83 | 94 | 0.0022809 | 0.00057164 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4946-3_0_4_load_105 | 95 | 0.0018839 | 0.00047215 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4946-3_0_4_load_106 | 96 | 0.006467 | 0.0016208 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4946-3_0_4_load_86 | 97 | 0.0093033 | 0.0023316 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4946-3_0_4_load_87 | 98 | 0.0017315 | 0.00043395 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4946-3_0_4_load_88 | 99 | 0.009525 | 0.0023872 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4946-3_0_4_load_89 | 100 | 0.0021209 | 0.00053156 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4946-3_0_4_load_109 | 101 | 0.0013669 | 0.00034259 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4946-3_0_4_load_107 | 102 | 0.0019044 | 0.00047728 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4946-3_0_4_load_111 | 103 | 0.0025986 | 0.00065128 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4946-3_0_4_load_112 | 104 | 0.003575 | 0.00089598 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4946-3_0_4_load_116 | 106 | 0.0020829 | 0.00052203 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4946-3_0_4_load_120 | 107 | 0.0033232 | 0.00083287 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4946-3_0_4_load_114 | 108 | 0.0021936 | 0.00054978 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4946-3_0_4_load_119 | 109 | 0.0013652 | 0.00034215 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4946-3_0_4_load_118 | 110 | 0.0013664 | 0.00034246 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4946-3_0_4_load_113 | 111 | 0.0020808 | 0.0005215 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 99 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4946-3_0_4_line_0 |  | 0 | 1 | 0.012958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4946-3_0_4_line_1 |  | 0 | 2 | 0.013766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4946-3_0_4_line_2 |  | 1 | 3 | 0.0018115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4946-3_0_4_line_3 |  | 2 | 4 | 0.0089484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4946-3_0_4_line_4 |  | 2 | 5 | 0.027556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4946-3_0_4_line_5 |  | 3 | 6 | 0.016966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4946-3_0_4_line_6 |  | 4 | 7 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4946-3_0_4_line_7 |  | 5 | 20 | 0.0030154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_4946-3_0_4_line_8 |  | 5 | 21 | 0.0080007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4946-3_0_4_line_9 |  | 6 | 17 | 0.044174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4946-3_0_4_line_10 |  | 7 | 8 | 0.017283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4946-3_0_4_line_11 |  | 8 | 22 | 0.024211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4946-3_0_4_line_12 |  | 8 | 9 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4946-3_0_4_line_13 |  | 9 | 10 | 0.0058128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4946-3_0_4_line_14 |  | 11 | 12 | 0.014428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4946-3_0_4_line_15 |  | 11 | 13 | 0.0062162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4946-3_0_4_line_16 |  | 13 | 23 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4946-3_0_4_line_17 |  | 14 | 15 | 0.003949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4946-3_0_4_line_18 |  | 14 | 16 | 0.018882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4946-3_0_4_line_19 |  | 15 | 23 | 0.0059325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4946-3_0_4_line_20 |  | 15 | 27 | 0.014797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4946-3_0_4_line_21 |  | 18 | 19 | 0.017145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4946-3_0_4_line_22 |  | 18 | 20 | 0.022329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4946-3_0_4_line_23 |  | 19 | 34 | 0.010701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4946-3_0_4_line_24 |  | 21 | 35 | 0.0010252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4946-3_0_4_line_25 |  | 24 | 25 | 0.006857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4946-3_0_4_line_26 |  | 24 | 26 | 0.020767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4946-3_0_4_line_27 |  | 25 | 33 | 0.013029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4946-3_0_4_line_28 |  | 27 | 28 | 0.011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4946-3_0_4_line_29 |  | 28 | 90 | 0.0046081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4946-3_0_4_line_30 |  | 29 | 30 | 0.031439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4946-3_0_4_line_31 |  | 29 | 31 | 0.0025338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4946-3_0_4_line_32 |  | 30 | 32 | 0.02125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4946-3_0_4_line_33 |  | 31 | 49 | 0.013058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4946-3_0_4_line_34 |  | 33 | 86 | 0.012279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4946-3_0_4_line_35 |  | 34 | 92 | 0.0051471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4946-3_0_4_line_36 |  | 35 | 42 | 0.0029948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4946-3_0_4_line_37 |  | 35 | 38 | 0.018527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4946-3_0_4_line_38 |  | 36 | 37 | 0.0076257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4946-3_0_4_line_39 |  | 36 | 38 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_4946-3_0_4_line_40 |  | 37 | 39 | 0.016316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4946-3_0_4_line_41 |  | 38 | 40 | 0.0098784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4946-3_0_4_line_42 |  | 39 | 41 | 0.0096962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4946-3_0_4_line_43 |  | 40 | 43 | 0.0065828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4946-3_0_4_line_44 |  | 41 | 44 | 0.020504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4946-3_0_4_line_45 |  | 44 | 47 | 0.011503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_4946-3_0_4_line_46 |  | 44 | 46 | 0.014683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4946-3_0_4_line_47 |  | 45 | 46 | 0.00080162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4946-3_0_4_line_48 |  | 47 | 48 | 0.00016627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_4946-3_0_4_line_49 |  | 48 | 101 | 0.012397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_4946-3_0_4_line_50 |  | 49 | 65 | 0.068369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4946-3_0_4_line_51 |  | 49 | 68 | 0.021116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4946-3_0_4_line_52 |  | 50 | 51 | 0.013107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4946-3_0_4_line_53 |  | 50 | 52 | 0.0117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4946-3_0_4_line_54 |  | 51 | 53 | 0.011302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4946-3_0_4_line_55 |  | 52 | 54 | 0.076689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4946-3_0_4_line_56 |  | 53 | 55 | 0.0019273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4946-3_0_4_line_57 |  | 54 | 56 | 0.031688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4946-3_0_4_line_58 |  | 56 | 61 | 0.028389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4946-3_0_4_line_59 |  | 57 | 58 | 0.031023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4946-3_0_4_line_60 |  | 57 | 59 | 0.02807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4946-3_0_4_line_61 |  | 58 | 60 | 0.026451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4946-3_0_4_line_62 |  | 59 | 64 | 0.020186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4946-3_0_4_line_63 |  | 60 | 65 | 0.032359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4946-3_0_4_line_64 |  | 61 | 94 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4946-3_0_4_line_65 |  | 62 | 63 | 0.027055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4946-3_0_4_line_66 |  | 63 | 79 | 0.01994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4946-3_0_4_line_67 |  | 64 | 77 | 0.0093702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4946-3_0_4_line_68 |  | 66 | 67 | 0.024013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4946-3_0_4_line_69 |  | 66 | 68 | 0.01626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4946-3_0_4_line_70 |  | 67 | 69 | 0.0087965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4946-3_0_4_line_71 |  | 68 | 70 | 0.010166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4946-3_0_4_line_72 |  | 69 | 71 | 0.020068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4946-3_0_4_line_73 |  | 70 | 72 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_4946-3_0_4_line_74 |  | 71 | 73 | 0.00073354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4946-3_0_4_line_75 |  | 72 | 74 | 0.0035843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_4946-3_0_4_line_76 |  | 73 | 75 | 0.018145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4946-3_0_4_line_77 |  | 74 | 111 | 0.024779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_4946-3_0_4_line_78 |  | 75 | 76 | 0.0021652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4946-3_0_4_line_79 |  | 76 | 81 | 0.024299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4946-3_0_4_line_80 |  | 78 | 79 | 0.0029125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4946-3_0_4_line_81 |  | 78 | 80 | 0.022985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4946-3_0_4_line_82 |  | 80 | 81 | 0.00032863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4946-3_0_4_line_83 |  | 82 | 83 | 0.0082665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4946-3_0_4_line_84 |  | 82 | 84 | 0.0086248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4946-3_0_4_line_85 |  | 83 | 85 | 0.0031298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4946-3_0_4_line_86 |  | 84 | 86 | 0.01169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4946-3_0_4_line_87 |  | 84 | 87 | 0.0035506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4946-3_0_4_line_88 |  | 85 | 88 | 0.0029348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4946-3_0_4_line_89 |  | 86 | 89 | 0.012127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4946-3_0_4_line_90 |  | 87 | 90 | 0.011859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4946-3_0_4_line_91 |  | 88 | 91 | 0.0031947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4946-3_0_4_line_92 |  | 89 | 92 | 0.011812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4946-3_0_4_line_93 |  | 91 | 93 | 0.0047653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4946-3_0_4_line_94 |  | 92 | 100 | 0.0059416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_4946-3_0_4_line_95 |  | 94 | 95 | 0.026891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4946-3_0_4_line_96 |  | 95 | 96 | 0.0048329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4946-3_0_4_line_97 |  | 96 | 102 | 0.027518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4946-3_0_4_line_98 |  | 97 | 98 | 0.010589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_4946-3_0_4_line_99 |  | 97 | 99 | 0.00077157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_4946-3_0_4_line_100 |  | 98 | 100 | 0.0057236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_4946-3_0_4_line_101 |  | 101 | 105 | 0.016273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_4946-3_0_4_line_102 |  | 102 | 103 | 0.0079673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4946-3_0_4_line_103 |  | 103 | 104 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4946-3_0_4_line_104 |  | 104 | 110 | 0.0086769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4946-3_0_4_line_105 |  | 105 | 106 | 0.0024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_4946-3_0_4_line_106 |  | 105 | 107 | 0.016209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4946-3_0_4_line_107 |  | 106 | 108 | 0.0091759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_4946-3_0_4_line_108 |  | 107 | 109 | 0.0059569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4946-3_0_4_line_109 |  | 108 | 111 | 0.0028934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_4946-3_0_4_line_110 |  | 109 | 110 | 0.00027666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4946-3_0_4_trafo_88 | 0.63 MVA 20/0.4 kV | 112 | 99 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2725819.8832 | 1269928.7713 | 2725817.9814 | 1269930.0653 | 2725809.4496 | 1269936.4532
1 | 2725799.3416 | 1269945.7608 | 2725800.4388 | 1269944.4273 | 2725808.1602 | 1269937.4186 | 2725809.4496 | 1269936.4532
2 | 2725819.8832 | 1269928.7713 | 2725821.3823 | 1269927.7544
3 | 2725799.3416 | 1269945.7608 | 2725794.9435 | 1269941.2852 | 2725793.5777 | 1269938.9868
4 | 2725799.3416 | 1269945.7608 | 2725797.688 | 1269947.7719 | 2725792.3098 | 1269954.319 | 2725798.3288 | 1269959.73 | 2725802.5305 | 1269958.9409 | 2725805.2114 | 1269962.0565
5 | 2725836.5716 | 1269920.2299 | 2725830.6904 | 1269922.8293 | 2725822.0292 | 1269927.3156 | 2725821.3823 | 1269927.7544
6 | 2725790.3595 | 1269922.926 | 2725788.4039 | 1269930.2801 | 2725793.5777 | 1269938.9868
7 | 2725805.2114 | 1269962.0565 | 2725802.5325 | 1269963.4409
8 | 2725805.2114 | 1269962.0565 | 2725812.7289 | 1269959.3184
9 | 2725836.5716 | 1269920.2299 | 2725848.0003 | 1269921.152 | 2725858.7693 | 1269918.0674 | 2725871.8589 | 1269915.2214 | 2725880.0132 | 1269914.0385
10 | 2725790.3595 | 1269922.926 | 2725782.7116 | 1269907.4154
11 | 2725782.7116 | 1269907.4154 | 2725781.5395 | 1269908.0243 | 2725761.0852 | 1269918.2997
12 | 2725792.188 | 1269902.4681 | 2725782.7116 | 1269907.4154
13 | 2725792.188 | 1269902.4681 | 2725791.0591 | 1269900.3421 | 2725789.4647 | 1269897.3327
14 | 2725706.7746 | 1270036.686 | 2725696.1021 | 1270046.3957
15 | 2725706.7746 | 1270036.686 | 2725711.322 | 1270032.4479
16 | 2725711.322 | 1270032.4479 | 2725717.6943 | 1270026.5089 | 2725724.0223 | 1270020.6881
17 | 2725728.3886 | 1270016.6718 | 2725726.0479 | 1270013.4857
18 | 2725726.0479 | 1270013.4857 | 2725723.6929 | 1270010.2659 | 2725722.0017 | 1270008.039 | 2725717.8113 | 1270007.2379 | 2725718.7054 | 1270002.7194 | 2725717.0328 | 1269999.9625
19 | 2725728.3886 | 1270016.6718 | 2725724.0223 | 1270020.6881
20 | 2725739.3787 | 1270006.7298 | 2725728.3886 | 1270016.6718
21 | 2725782.361 | 1269972.9578 | 2725785.0198 | 1269978.8755 | 2725789.7415 | 1269975.5841 | 2725792.3906 | 1269979.7085
22 | 2725782.361 | 1269972.9578 | 2725790.0206 | 1269969.907 | 2725802.5325 | 1269963.4409
23 | 2725797.5447 | 1269989.0682 | 2725794.6808 | 1269983.2742 | 2725792.3906 | 1269979.7085
24 | 2725813.6922 | 1269958.9675 | 2725812.7289 | 1269959.3184
25 | 2725759.705 | 1269986.755 | 2725765.1678 | 1269982.5896
26 | 2725759.705 | 1269986.755 | 2725755.4973 | 1269982.5282 | 2725744.9064 | 1269972.1863
27 | 2725765.1678 | 1269982.5896 | 2725768.2185 | 1269987.4258 | 2725772.4647 | 1269993.3773
28 | 2725739.3787 | 1270006.7298 | 2725748.6285 | 1270013.4663
29 | 2725748.6285 | 1270013.4663 | 2725748.6285 | 1270013.4663 | 2725751.5359 | 1270014.0732 | 2725753.1589 | 1270013.852 | 2725753.1589 | 1270013.852
30 | 2726036.8267 | 1270053.6677 | 2726031.8972 | 1270056.4652 | 2726017.9404 | 1270065.3869 | 2726009.7561 | 1270069.7497
31 | 2726009.7561 | 1270069.7497 | 2726007.3658 | 1270070.5903
32 | 2726036.8267 | 1270053.6677 | 2726043.3177 | 1270050.3587 | 2726056.5033 | 1270045.7624
33 | 2725994.7035 | 1270072.8871 | 2725998.92 | 1270073.1662 | 2726005.4031 | 1270071.2805 | 2726007.3658 | 1270070.5903
34 | 2725778.4013 | 1270004.0692 | 2725773.604 | 1269996.4266 | 2725772.4647 | 1269993.3773
35 | 2725799.8255 | 1269993.6823 | 2725797.5447 | 1269989.0682
36 | 2725813.6922 | 1269958.9675 | 2725815.8021 | 1269956.8422
37 | 2725832.0295 | 1269956.4002 | 2725826.457 | 1269956.526 | 2725820.5907 | 1269957.3685 | 2725813.6922 | 1269958.9675
38 | 2725853.5943 | 1269959.4374 | 2725857.6191 | 1269960.0042 | 2725861.0856 | 1269960.8204
39 | 2725832.0295 | 1269956.4002 | 2725853.5943 | 1269959.4374
40 | 2725861.0856 | 1269960.8204 | 2725870.4481 | 1269963.0248 | 2725876.6834 | 1269965.4705
41 | 2725832.0295 | 1269956.4002 | 2725831.3578 | 1269966.2557
42 | 2725876.6834 | 1269965.4705 | 2725880.9728 | 1269967.1529 | 2725885.2956 | 1269969.8377
43 | 2725831.3578 | 1269966.2557 | 2725830.9102 | 1269972.8233
44 | 2725899.8406 | 1269983.8261 | 2725897.7225 | 1269980.0885 | 2725890.8748 | 1269973.303 | 2725885.2956 | 1269969.8377
45 | 2725899.8406 | 1269983.8261 | 2725902.0842 | 1269990.1464 | 2725903.2535 | 1269994.7981
46 | 2725899.8406 | 1269983.8261 | 2725914.0127 | 1269980.336 | 2725914.0962 | 1269980.3108
47 | 2725914.8636 | 1269980.079 | 2725914.0962 | 1269980.3108
48 | 2725903.2941 | 1269994.9594 | 2725903.2535 | 1269994.7981
49 | 2725903.2941 | 1269994.9594 | 2725906.3164 | 1270006.9821
50 | 2725994.7035 | 1270072.8871 | 2725994.4947 | 1270077.7316 | 2725993.2332 | 1270083.5879 | 2725985.1046 | 1270101.2088 | 2725985.0076 | 1270107.8685 | 2725986.9526 | 1270114.7719 | 2725990.869 | 1270121.3505 | 2725996.0637 | 1270137.1538
51 | 2725979.4159 | 1270059.1816 | 2725986.7346 | 1270068.5687 | 2725989.8452 | 1270071.2931 | 2725994.7035 | 1270072.8871
52 | 2725736.25 | 1270069.4994 | 2725743.3798 | 1270063.4011 | 2725745.153 | 1270062.8383 | 2725746.9651 | 1270063.2773
53 | 2725754.2025 | 1270072.2619 | 2725748.8156 | 1270064.3844 | 2725746.9651 | 1270063.2773
54 | 2725736.25 | 1270069.4994 | 2725732.1693 | 1270065.6757 | 2725728.188 | 1270061.5831
55 | 2725754.2025 | 1270072.2619 | 2725757.5322 | 1270078.1272 | 2725763.3586 | 1270084.8019 | 2725768.2996 | 1270088.8775 | 2725771.7492 | 1270094.7676 | 2725773.7343 | 1270100.8599 | 2725772.594 | 1270105.629 | 2725766.5369 | 1270116.1432 | 2725765.127 | 1270121.9074 | 2725765.6778 | 1270126.0786 | 2725772.7122 | 1270120.9235 | 2725774.8815 | 1270123.3164 | 2725776.3257 | 1270125.1266
56 | 2725726.8441 | 1270060.2017 | 2725728.188 | 1270061.5831
57 | 2725776.3257 | 1270125.1266 | 2725795.5659 | 1270110.1891 | 2725791.6177 | 1270104.0129
58 | 2725797.8411 | 1270080.7768 | 2725786.585 | 1270096.1403 | 2725791.6177 | 1270104.0129
59 | 2725972.8838 | 1270197.0041 | 2725993.4063 | 1270192.8824 | 2725999.0692 | 1270193.4482 | 2726003.0595 | 1270195.5019
60 | 2725972.8838 | 1270197.0041 | 2725966.4852 | 1270169.6729
61 | 2726003.0595 | 1270195.5019 | 2726000.6064 | 1270169.1649
62 | 2725965.5823 | 1270150.046 | 2725963.6754 | 1270157.6711 | 2725966.4852 | 1270169.6729
63 | 2726000.6064 | 1270169.1649 | 2725999.3551 | 1270155.7302 | 2725996.0637 | 1270137.1538
64 | 2725797.8411 | 1270080.7768 | 2725813.3231 | 1270073.0928
65 | 2725841.9148 | 1270142.1718 | 2725819.384 | 1270157.15
66 | 2725858.8094 | 1270131.5936 | 2725849.8885 | 1270136.8709 | 2725841.9148 | 1270142.1718
67 | 2725967.8557 | 1270140.9558 | 2725965.5823 | 1270150.046
68 | 2725945.2503 | 1270080.458 | 2725965.9177 | 1270068.2318
69 | 2725979.4159 | 1270059.1816 | 2725969.3229 | 1270066.2174 | 2725965.9177 | 1270068.2318
70 | 2725945.2503 | 1270080.458 | 2725937.6794 | 1270084.9367
71 | 2725979.4159 | 1270059.1816 | 2725972.7614 | 1270051.4956
72 | 2725920.4074 | 1270095.1542 | 2725937.6794 | 1270084.9367
73 | 2725954.577 | 1270032.8778 | 2725957.6242 | 1270034.9388 | 2725962.8956 | 1270040.1004 | 2725972.7614 | 1270051.4956
74 | 2725920.4074 | 1270095.1542 | 2725919.7761 | 1270095.5277
75 | 2725954.577 | 1270032.8778 | 2725951.9704 | 1270031.1147 | 2725951.5823 | 1270030.9128
76 | 2725919.7761 | 1270095.5277 | 2725904.1591 | 1270104.7662
77 | 2725927.767 | 1270024.8207 | 2725939.5207 | 1270026.5561 | 2725947.0871 | 1270028.5749 | 2725951.5823 | 1270030.9128
78 | 2725902.2956 | 1270105.8686 | 2725904.1591 | 1270104.7662
79 | 2725881.3816 | 1270118.2406 | 2725902.2956 | 1270105.8686
80 | 2725861.3162 | 1270130.1107 | 2725858.8094 | 1270131.5936
81 | 2725861.3162 | 1270130.1107 | 2725881.0988 | 1270118.408
82 | 2725881.3816 | 1270118.2406 | 2725881.0988 | 1270118.408
83 | 2725769.0235 | 1270015.9876 | 2725769.9117 | 1270019.9365 | 2725771.6254 | 1270023.7917
84 | 2725767.21 | 1270007.5564 | 2725767.7803 | 1270010.4601 | 2725769.0235 | 1270015.9876
85 | 2725772.8968 | 1270026.6517 | 2725771.6254 | 1270023.7917
86 | 2725767.21 | 1270007.5564 | 2725775.3184 | 1270004.9822 | 2725778.4013 | 1270004.0692
87 | 2725767.21 | 1270007.5564 | 2725763.9998 | 1270009.0735
88 | 2725772.8968 | 1270026.6517 | 2725774.0889 | 1270029.3334
89 | 2725778.4013 | 1270004.0692 | 2725789.096 | 1269998.3516
90 | 2725753.1589 | 1270013.852 | 2725756.1092 | 1270012.8027 | 2725763.9998 | 1270009.0735
91 | 2725775.3866 | 1270032.2527 | 2725774.0889 | 1270029.3334
92 | 2725799.8255 | 1269993.6823 | 2725796.8259 | 1269994.219 | 2725789.096 | 1269998.3516
93 | 2725777.3282 | 1270036.6044 | 2725777.1587 | 1270036.2393 | 2725775.3866 | 1270032.2527
94 | 2725799.8255 | 1269993.6823 | 2725804.0872 | 1269995.3747 | 2725805.4433 | 1269995.3597
95 | 2725837.4106 | 1270061.1377 | 2725813.3231 | 1270073.0928
96 | 2725837.4106 | 1270061.1377 | 2725841.7397 | 1270058.9891
97 | 2725866.3888 | 1270046.7552 | 2725841.7397 | 1270058.9891
98 | 2725820.8671 | 1269990.3297 | 2725810.9238 | 1269993.9703
99 | 2725820.8671 | 1269990.3297 | 2725821.5916 | 1269990.0644
100 | 2725805.4433 | 1269995.3597 | 2725807.1814 | 1269995.3405 | 2725810.9238 | 1269993.9703
101 | 2725913.8686 | 1270020.9596 | 2725910.3307 | 1270017.4476 | 2725907.6693 | 1270012.3639 | 2725906.3164 | 1270006.9821
102 | 2725866.3888 | 1270046.7552 | 2725873.5255 | 1270043.2132
103 | 2725873.5255 | 1270043.2132 | 2725887.1497 | 1270036.4512
104 | 2725895.0553 | 1270032.8916 | 2725891.2573 | 1270034.4125 | 2725887.1497 | 1270036.4512
105 | 2725913.8686 | 1270020.9596 | 2725916.085 | 1270021.9572
106 | 2725913.8686 | 1270020.9596 | 2725906.4047 | 1270027.1841 | 2725900.7194 | 1270030.315
107 | 2725924.9046 | 1270024.3981 | 2725924.9046 | 1270024.3981 | 2725917.6558 | 1270022.6642 | 2725916.085 | 1270021.9572
108 | 2725900.7194 | 1270030.315 | 2725898.6667 | 1270031.4454 | 2725895.3122 | 1270032.7887
109 | 2725927.767 | 1270024.8207 | 2725924.9046 | 1270024.3981
110 | 2725895.3122 | 1270032.7887 | 2725895.0553 | 1270032.8916

## bus_geodata
| x | y | coords
0 | 2725809.4496 | 1269936.4532
1 | 2725819.8832 | 1269928.7713
2 | 2725799.3416 | 1269945.7608
3 | 2725821.3823 | 1269927.7544
4 | 2725793.5777 | 1269938.9868
5 | 2725805.2114 | 1269962.0565
6 | 2725836.5716 | 1269920.2299
7 | 2725790.3595 | 1269922.926
8 | 2725782.7116 | 1269907.4154
9 | 2725792.188 | 1269902.4681
10 | 2725789.4647 | 1269897.3327
11 | 2725706.7746 | 1270036.686
12 | 2725696.1021 | 1270046.3957
13 | 2725711.322 | 1270032.4479
14 | 2725726.0479 | 1270013.4857
15 | 2725728.3886 | 1270016.6718
16 | 2725717.0328 | 1269999.9625
17 | 2725880.0132 | 1269914.0385
18 | 2725782.361 | 1269972.9578
19 | 2725792.3906 | 1269979.7085
20 | 2725802.5325 | 1269963.4409
21 | 2725812.7289 | 1269959.3184
22 | 2725761.0852 | 1269918.2997
23 | 2725724.0223 | 1270020.6881
24 | 2725759.705 | 1269986.755
25 | 2725765.1678 | 1269982.5896
26 | 2725744.9064 | 1269972.1863
27 | 2725739.3787 | 1270006.7298
28 | 2725748.6285 | 1270013.4663
29 | 2726009.7561 | 1270069.7497
30 | 2726036.8267 | 1270053.6677
31 | 2726007.3658 | 1270070.5903
32 | 2726056.5033 | 1270045.7624
33 | 2725772.4647 | 1269993.3773
34 | 2725797.5447 | 1269989.0682
35 | 2725813.6922 | 1269958.9675
36 | 2725853.5943 | 1269959.4374
37 | 2725861.0856 | 1269960.8204
38 | 2725832.0295 | 1269956.4002
39 | 2725876.6834 | 1269965.4705
40 | 2725831.3578 | 1269966.2557
41 | 2725885.2956 | 1269969.8377
42 | 2725815.8021 | 1269956.8422
43 | 2725830.9102 | 1269972.8233
44 | 2725899.8406 | 1269983.8261
45 | 2725914.8636 | 1269980.079
46 | 2725914.0962 | 1269980.3108
47 | 2725903.2535 | 1269994.7981
48 | 2725903.2941 | 1269994.9594
49 | 2725994.7035 | 1270072.8871
50 | 2725746.9651 | 1270063.2773
51 | 2725736.25 | 1270069.4994
52 | 2725754.2025 | 1270072.2619
53 | 2725728.188 | 1270061.5831
54 | 2725776.3257 | 1270125.1266
55 | 2725726.8441 | 1270060.2017
56 | 2725791.6177 | 1270104.0129
57 | 2725972.8838 | 1270197.0041
58 | 2726003.0595 | 1270195.5019
59 | 2725966.4852 | 1270169.6729
60 | 2726000.6064 | 1270169.1649
61 | 2725797.8411 | 1270080.7768
62 | 2725819.384 | 1270157.15
63 | 2725841.9148 | 1270142.1718
64 | 2725965.5823 | 1270150.046
65 | 2725996.0637 | 1270137.1538
66 | 2725965.9177 | 1270068.2318
67 | 2725945.2503 | 1270080.458
68 | 2725979.4159 | 1270059.1816
69 | 2725937.6794 | 1270084.9367
70 | 2725972.7614 | 1270051.4956
71 | 2725920.4074 | 1270095.1542
72 | 2725954.5771 | 1270032.8778
73 | 2725919.7761 | 1270095.5277
74 | 2725951.5823 | 1270030.9128
75 | 2725904.1591 | 1270104.7662
76 | 2725902.2956 | 1270105.8686
77 | 2725967.8557 | 1270140.9558
78 | 2725861.3162 | 1270130.1107
79 | 2725858.8094 | 1270131.5936
80 | 2725881.0988 | 1270118.408
81 | 2725881.3816 | 1270118.2406
82 | 2725769.0235 | 1270015.9876
83 | 2725771.6254 | 1270023.7917
84 | 2725767.21 | 1270007.5564
85 | 2725772.8968 | 1270026.6517
86 | 2725778.4013 | 1270004.0692
87 | 2725763.9998 | 1270009.0735
88 | 2725774.0889 | 1270029.3334
89 | 2725789.096 | 1269998.3516
90 | 2725753.1589 | 1270013.852
91 | 2725775.3866 | 1270032.2527
92 | 2725799.8255 | 1269993.6823
93 | 2725777.3282 | 1270036.6044
94 | 2725813.3231 | 1270073.0928
95 | 2725837.4106 | 1270061.1377
96 | 2725841.7397 | 1270058.9891
97 | 2725820.8671 | 1269990.3297
98 | 2725810.9238 | 1269993.9703
99 | 2725821.5916 | 1269990.0644
100 | 2725805.4433 | 1269995.3597
101 | 2725906.3164 | 1270006.9821
102 | 2725866.3888 | 1270046.7552
103 | 2725873.5255 | 1270043.2132
104 | 2725887.1497 | 1270036.4512
105 | 2725913.8686 | 1270020.9596
106 | 2725916.085 | 1270021.9572
107 | 2725900.7194 | 1270030.315
108 | 2725924.9046 | 1270024.3981
109 | 2725895.3122 | 1270032.7887
110 | 2725895.0553 | 1270032.8916
111 | 2725927.767 | 1270024.8207
112 | 2725799.8255 | 1269993.6823

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1