## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_51-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_51-8_0_3_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_51-8_0_3_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_51-8_0_3_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_51-8_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_51-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_51-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_51-8_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_51-8_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_51-8_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_51-8_0_3_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_51-8_0_3_node_38 | 0.4 | n |  | TRUE
12 | bus_LV_51-8_0_3_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_51-8_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_51-8_0_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_51-8_0_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_51-8_0_3_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_51-8_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_51-8_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_51-8_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_51-8_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_51-8_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_51-8_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_51-8_0_3_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_51-8_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_51-8_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_51-8_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_51-8_0_3_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_51-8_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_51-8_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_51-8_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_51-8_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_51-8_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_51-8_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_51-8_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_51-8_0_3_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_51-8_0_3_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_51-8_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_51-8_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_51-8_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_51-8_0_3_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_51-8_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_51-8_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_51-8_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_51-8_0_3_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_51-8_0_3_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_51-8_0_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_51-8_0_3_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_51-8_0_3_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_51-8_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_51-8_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_51-8_0_3_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_51-8_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_51-8_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_51-8_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_51-8_0_3_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_51-8_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_51-8_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_51-8_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_51-8_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_51-8_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_51-8_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_51-8_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_51-8_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_51-8_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_51-8_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_51-8_0_3_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_51-8_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_51-8_0_3_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_51-8_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_51-8_0_3_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_51-8_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_51-8_0_3_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_51-8_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_51-8_0_3_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_51-8_0_3_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_51-8_0_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_51-8_0_3_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_51-8_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_51-8_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_51-8_0_3_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_51-8_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_51-8_0_3_node_86 | 0.4 | n |  | TRUE
83 | bus_MV_618_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_51-8_0_3_load_0 | 0 | 0.0035632 | 0.00089301 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_51-8_0_3_load_13 | 2 | 0.0020703 | 0.00051886 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_51-8_0_3_load_1 | 3 | 0.011666 | 0.0029238 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_51-8_0_3_load_6 | 6 | 0.0021794 | 0.00054621 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_51-8_0_3_load_16 | 8 | 0.0060907 | 0.0015265 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_51-8_0_3_load_10 | 9 | 0.0032085 | 0.00080413 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_51-8_0_3_load_38 | 11 | 0.0065675 | 0.001646 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_51-8_0_3_load_44 | 12 | 0.0037065 | 0.00092893 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_51-8_0_3_load_8 | 13 | 0.004001 | 0.0010027 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_51-8_0_3_load_18 | 14 | 0.0014944 | 0.00037453 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_51-8_0_3_load_37 | 15 | 0.0015197 | 0.00038087 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_51-8_0_3_load_7 | 17 | 0.0047228 | 0.0011837 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_51-8_0_3_load_12 | 20 | 0.002975 | 0.0007456 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_51-8_0_3_load_15 | 21 | 0.026717 | 0.006696 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_51-8_0_3_load_19 | 22 | 0.01272 | 0.003188 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_51-8_0_3_load_85 | 23 | 0.0086547 | 0.0021691 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_51-8_0_3_load_20 | 24 | 0.0097741 | 0.0024496 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_51-8_0_3_load_21 | 25 | 0.0031801 | 0.000797 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_51-8_0_3_load_22 | 26 | 0.0041925 | 0.0010507 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_51-8_0_3_load_76 | 27 | 0.009762 | 0.0024466 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_51-8_0_3_load_29 | 28 | 0.0092905 | 0.0023284 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_51-8_0_3_load_23 | 29 | 0.020727 | 0.0051948 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_51-8_0_3_load_24 | 30 | 0.016068 | 0.004027 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_51-8_0_3_load_25 | 31 | 0.012421 | 0.003113 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_51-8_0_3_load_27 | 34 | 0.0036679 | 0.00091926 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_51-8_0_3_load_81 | 35 | 0.0076757 | 0.0019237 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_51-8_0_3_load_79 | 36 | 0.0077736 | 0.0019483 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_51-8_0_3_load_28 | 37 | 0.010646 | 0.002668 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_51-8_0_3_load_31 | 38 | 0.0051203 | 0.0012833 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_51-8_0_3_load_32 | 39 | 0.0011522 | 0.00028877 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_51-8_0_3_load_34 | 41 | 0.0011895 | 0.00029813 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_51-8_0_3_load_35 | 42 | 0.0039416 | 0.00098785 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_51-8_0_3_load_36 | 43 | 0.0013833 | 0.00034669 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_51-8_0_3_load_71 | 44 | 0.001482 | 0.00037143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_51-8_0_3_load_72 | 46 | 0.0017133 | 0.0004294 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_51-8_0_3_load_54 | 47 | 0.0019806 | 0.00049639 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_51-8_0_3_load_78 | 48 | 0.00086988 | 0.00021801 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_51-8_0_3_load_39 | 49 | 0.0049799 | 0.0012481 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_51-8_0_3_load_40 | 50 | 0.0027714 | 0.00069457 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_51-8_0_3_load_47 | 53 | 0.0031119 | 0.00077993 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_51-8_0_3_load_45 | 54 | 0.0087835 | 0.0022014 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_51-8_0_3_load_63 | 55 | 0.0016864 | 0.00042265 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_51-8_0_3_load_61 | 58 | 0.00096885 | 0.00024282 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_51-8_0_3_load_62 | 59 | 0.0016357 | 0.00040995 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_51-8_0_3_load_49 | 60 | 0.00085531 | 0.00021436 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_51-8_0_3_load_50 | 61 | 0.00085192 | 0.00021351 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_51-8_0_3_load_52 | 63 | 0.0018342 | 0.0004597 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_51-8_0_3_load_53 | 64 | 0.0015692 | 0.00039329 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_51-8_0_3_load_65 | 65 | 0.0014136 | 0.00035428 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_51-8_0_3_load_73 | 66 | 0.0013956 | 0.00034977 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_51-8_0_3_load_66 | 67 | 0.0016302 | 0.00040857 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_51-8_0_3_load_74 | 68 | 0.000942 | 0.00023609 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_51-8_0_3_load_55 | 69 | 0.0010382 | 0.0002602 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_51-8_0_3_load_56 | 70 | 0.0013239 | 0.00033179 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_51-8_0_3_load_57 | 71 | 0.0024305 | 0.00060914 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_51-8_0_3_load_58 | 72 | 0.0009965 | 0.00024975 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_51-8_0_3_load_59 | 73 | 0.00066308 | 0.00016618 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_51-8_0_3_load_60 | 74 | 0.0014311 | 0.00035866 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_51-8_0_3_load_77 | 75 | 0.0015933 | 0.00039933 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_51-8_0_3_load_64 | 76 | 0.0025783 | 0.00064618 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_51-8_0_3_load_68 | 77 | 0.0022268 | 0.00055809 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_51-8_0_3_load_67 | 78 | 0.0017383 | 0.00043565 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_51-8_0_3_load_69 | 79 | 0.001305 | 0.00032705 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_51-8_0_3_load_70 | 80 | 0.00095293 | 0.00023883 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_51-8_0_3_load_75 | 81 | 0.001075 | 0.00026941 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_51-8_0_3_load_86 | 82 | 0.0011841 | 0.00029677 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_51-8_0_3_line_0 |  | 0 | 1 | 0.056039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_51-8_0_3_line_1 |  | 1 | 2 | 0.054931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_51-8_0_3_line_2 |  | 2 | 19 | 0.022341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_51-8_0_3_line_3 |  | 3 | 4 | 0.0016348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_51-8_0_3_line_4 |  | 4 | 5 | 0.019115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_51-8_0_3_line_5 |  | 4 | 6 | 0.034326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_51-8_0_3_line_6 |  | 5 | 10 | 0.001483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_51-8_0_3_line_7 |  | 5 | 11 | 0.051928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_51-8_0_3_line_8 |  | 6 | 12 | 0.0015825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_51-8_0_3_line_9 |  | 7 | 8 | 0.034006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_51-8_0_3_line_10 |  | 7 | 9 | 0.033154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_51-8_0_3_line_11 |  | 8 | 10 | 0.022598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_51-8_0_3_line_12 |  | 9 | 13 | 0.014974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_51-8_0_3_line_13 |  | 10 | 14 | 0.022265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_51-8_0_3_line_14 |  | 11 | 15 | 0.030252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_51-8_0_3_line_15 |  | 12 | 16 | 0.019614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_51-8_0_3_line_16 |  | 13 | 17 | 0.016259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_51-8_0_3_line_17 |  | 14 | 25 | 0.0019989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_51-8_0_3_line_18 |  | 15 | 42 | 0.0023423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_51-8_0_3_line_19 |  | 16 | 55 | 0.01218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_51-8_0_3_line_20 |  | 16 | 51 | 0.011027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_51-8_0_3_line_21 |  | 17 | 18 | 0.022927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_51-8_0_3_line_22 |  | 18 | 19 | 0.015278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_51-8_0_3_line_23 |  | 18 | 20 | 0.018217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_51-8_0_3_line_24 |  | 19 | 21 | 0.057885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_51-8_0_3_line_25 |  | 20 | 22 | 0.042503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_51-8_0_3_line_26 |  | 21 | 23 | 0.0074708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_51-8_0_3_line_27 |  | 22 | 24 | 0.013307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_51-8_0_3_line_28 |  | 24 | 27 | 0.017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_51-8_0_3_line_29 |  | 25 | 26 | 0.019765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_51-8_0_3_line_30 |  | 26 | 29 | 5.5809e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_51-8_0_3_line_31 |  | 27 | 28 | 0.019391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_51-8_0_3_line_32 |  | 28 | 37 | 0.02167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_51-8_0_3_line_33 |  | 30 | 31 | 0.049061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_51-8_0_3_line_34 |  | 31 | 32 | 0.054131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_51-8_0_3_line_35 |  | 32 | 33 | 0.062984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_51-8_0_3_line_36 |  | 32 | 34 | 0.030579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_51-8_0_3_line_37 |  | 33 | 35 | 0.04558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_51-8_0_3_line_38 |  | 33 | 36 | 0.014939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_51-8_0_3_line_39 |  | 34 | 37 | 0.018672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_51-8_0_3_line_40 |  | 38 | 39 | 0.053713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_51-8_0_3_line_41 |  | 38 | 40 | 0.03189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_51-8_0_3_line_42 |  | 39 | 41 | 0.0064577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_51-8_0_3_line_43 |  | 40 | 42 | 0.010933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_51-8_0_3_line_44 |  | 40 | 43 | 0.035772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_51-8_0_3_line_45 |  | 41 | 44 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_51-8_0_3_line_46 |  | 43 | 45 | 0.0030479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_51-8_0_3_line_47 |  | 44 | 46 | 0.0015495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_51-8_0_3_line_48 |  | 45 | 47 | 0.022147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_51-8_0_3_line_49 |  | 45 | 48 | 0.01263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_51-8_0_3_line_50 |  | 47 | 62 | 0.0086358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_51-8_0_3_line_51 |  | 48 | 75 | 0.017102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_51-8_0_3_line_52 |  | 49 | 50 | 0.01381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_51-8_0_3_line_53 |  | 49 | 51 | 0.019477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_51-8_0_3_line_54 |  | 50 | 52 | 0.029919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_51-8_0_3_line_55 |  | 52 | 53 | 0.040121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_51-8_0_3_line_56 |  | 52 | 54 | 0.021643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_51-8_0_3_line_57 |  | 54 | 56 | 0.032097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_51-8_0_3_line_58 |  | 56 | 57 | 0.046553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_51-8_0_3_line_59 |  | 57 | 58 | 0.034205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_51-8_0_3_line_60 |  | 58 | 59 | 0.044617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_51-8_0_3_line_61 |  | 60 | 61 | 0.00054058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_51-8_0_3_line_62 |  | 60 | 62 | 0.019289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_51-8_0_3_line_63 |  | 61 | 63 | 0.026055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_51-8_0_3_line_64 |  | 62 | 64 | 0.030893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_51-8_0_3_line_65 |  | 63 | 65 | 0.0095975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_51-8_0_3_line_66 |  | 64 | 66 | 0.024449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_51-8_0_3_line_67 |  | 65 | 67 | 0.0071714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_51-8_0_3_line_68 |  | 66 | 68 | 0.003101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_51-8_0_3_line_69 |  | 67 | 78 | 0.02265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_51-8_0_3_line_70 |  | 68 | 81 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_51-8_0_3_line_71 |  | 69 | 70 | 0.021133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_51-8_0_3_line_72 |  | 69 | 71 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_51-8_0_3_line_73 |  | 70 | 72 | 0.016999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_51-8_0_3_line_74 |  | 71 | 73 | 0.0097385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_51-8_0_3_line_75 |  | 72 | 74 | 0.0057263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_51-8_0_3_line_76 |  | 73 | 75 | 0.0034763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_51-8_0_3_line_77 |  | 74 | 76 | 0.029132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_51-8_0_3_line_78 |  | 76 | 77 | 0.02582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_51-8_0_3_line_79 |  | 78 | 79 | 0.00052803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_51-8_0_3_line_80 |  | 79 | 80 | 0.012994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_51-8_0_3_line_81 |  | 81 | 82 | 0.0018679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_51-8_0_3_trafo_19 | 0.63 MVA 20/0.4 kV | 83 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2683686.1542 | 1261878.8539 | 2683717.0656 | 1261832.1118
1 | 2683686.1542 | 1261878.8539 | 2683735.5439 | 1261902.8961
2 | 2683755.6317 | 1261912.6746 | 2683735.5439 | 1261902.8961
3 | 2683766.6173 | 1262019.6024 | 2683765.247 | 1262018.711
4 | 2683781.3928 | 1262007.4244 | 2683766.6173 | 1262019.6024
5 | 2683766.6173 | 1262019.6024 | 2683785.8492 | 1262036.4323 | 2683791.2534 | 1262043.3399
6 | 2683781.3928 | 1262007.4244 | 2683782.4846 | 1262006.4168
7 | 2683781.3928 | 1262007.4244 | 2683797.1862 | 1262012.2073 | 2683821.3823 | 1262017.4431 | 2683831.8404 | 1262015.3253
8 | 2683791.2534 | 1262043.3399 | 2683792.2285 | 1262044.5863
9 | 2683727.1031 | 1261996.7697 | 2683747.5094 | 1262003.5861 | 2683759.9603 | 1262004.5938
10 | 2683727.1031 | 1261996.7697 | 2683743.0083 | 1261967.6797
11 | 2683782.4846 | 1262006.4168 | 2683759.9603 | 1262004.5938
12 | 2683743.0083 | 1261967.6797 | 2683750.1917 | 1261954.5415
13 | 2683782.4846 | 1262006.4168 | 2683792.0972 | 1261997.5238 | 2683798.3103 | 1261990.7804
14 | 2683831.8404 | 1262015.3253 | 2683842.0121 | 1262013.2655 | 2683861.044 | 1262007.5422
15 | 2683804.3145 | 1262060.0345 | 2683792.2285 | 1262044.5863
16 | 2683757.9919 | 1261940.2753 | 2683750.1917 | 1261954.5415
17 | 2683798.3103 | 1261990.7804 | 2683799.6648 | 1261989.3104
18 | 2683863.287 | 1262006.8676 | 2683861.044 | 1262007.5422
19 | 2683804.3145 | 1262060.0345 | 2683816.4764 | 1262060.6924
20 | 2683808.7456 | 1262069.5603 | 2683808.6884 | 1262065.6231 | 2683804.3145 | 1262060.0345
21 | 2683768.9909 | 1261920.1584 | 2683757.9919 | 1261940.2753
22 | 2683755.6317 | 1261912.6746 | 2683768.9909 | 1261920.1584
23 | 2683768.9909 | 1261920.1584 | 2683775.7192 | 1261923.9233 | 2683785.792 | 1261926.9115
24 | 2683755.6317 | 1261912.6746 | 2683800.5744 | 1261906.6063 | 2683800.9409 | 1261894.0777
25 | 2683827.316 | 1261927.1728 | 2683800.8337 | 1261931.3737 | 2683785.792 | 1261926.9115
26 | 2683801.1593 | 1261886.6101 | 2683800.9409 | 1261894.0777
27 | 2683838.8528 | 1261920.572 | 2683827.538 | 1261927.1376 | 2683827.316 | 1261927.1728
28 | 2683838.8528 | 1261920.572 | 2683854.1754 | 1261911.6808
29 | 2683815.067 | 1261977.5561 | 2683807.2268 | 1261981.1031 | 2683799.6648 | 1261989.3104
30 | 2683815.1178 | 1261977.5331 | 2683815.067 | 1261977.5561
31 | 2683869.5366 | 1261899.847 | 2683854.1754 | 1261911.6808 | 2683854.1754 | 1261911.6808
32 | 2683869.5366 | 1261899.847 | 2683886.7034 | 1261886.6223
33 | 2683800.1277 | 1261855.3406 | 2683840.8041 | 1261856.1702 | 2683848.845 | 1261853.8237
34 | 2683894.5357 | 1261851.0056 | 2683872.4409 | 1261861.2003 | 2683863.2616 | 1261849.6167 | 2683848.845 | 1261853.8237
35 | 2683894.5357 | 1261851.0056 | 2683892.3445 | 1261848.2391 | 2683887.358 | 1261843.3312 | 2683878.2827 | 1261835.0405 | 2683859.9916 | 1261820.3809 | 2683845.0385 | 1261812.6296
36 | 2683894.5357 | 1261851.0056 | 2683907.0703 | 1261870.9323 | 2683901.4952 | 1261875.2272
37 | 2683845.0385 | 1261812.6296 | 2683878.3873 | 1261781.5594
38 | 2683845.0385 | 1261812.6296 | 2683832.5313 | 1261804.4591
39 | 2683901.4952 | 1261875.2272 | 2683886.7034 | 1261886.6223
40 | 2683896.3016 | 1261981.3891 | 2683937.1159 | 1261946.4707
41 | 2683873.757 | 1262003.7191 | 2683880.513 | 1261994.8969 | 2683896.3016 | 1261981.3891
42 | 2683942.0228 | 1261942.2727 | 2683942.0228 | 1261942.2727 | 2683937.1159 | 1261946.4707
43 | 2683873.757 | 1262003.7191 | 2683863.287 | 1262006.8676
44 | 2683873.757 | 1262003.7191 | 2683893.8556 | 1261999.8121 | 2683909.1086 | 1261998.6563
45 | 2683942.0228 | 1261942.2727 | 2683951.988 | 1261929.3874
46 | 2683912.1478 | 1261998.426 | 2683909.1086 | 1261998.6563
47 | 2683951.988 | 1261929.3874 | 2683952.936 | 1261928.1617
48 | 2683912.1478 | 1261998.426 | 2683934.1503 | 1261995.8983
49 | 2683912.1478 | 1261998.426 | 2683906.1093 | 1262009.5193
50 | 2683942.7296 | 1261994.9127 | 2683934.1503 | 1261995.8983
51 | 2683906.1093 | 1262009.5193 | 2683901.8346 | 1262017.3723 | 2683899.2497 | 1262025.1128
52 | 2683815.876 | 1262086.4824 | 2683816.8849 | 1262091.237 | 2683819.2814 | 1262099.8592
53 | 2683808.7456 | 1262069.5603 | 2683812.8449 | 1262072.1982 | 2683815.876 | 1262086.4824
54 | 2683830.5663 | 1262127.5147 | 2683820.8566 | 1262105.5266 | 2683819.2814 | 1262099.8592
55 | 2683830.5663 | 1262127.5147 | 2683809.0725 | 1262129.9454 | 2683790.9455 | 1262133.5911
56 | 2683830.5663 | 1262127.5147 | 2683852.2095 | 1262127.4788
57 | 2683883.4107 | 1262132.6567 | 2683876.2805 | 1262129.0972 | 2683853.0282 | 1262127.4775 | 2683852.2095 | 1262127.4788
58 | 2683883.4107 | 1262132.6567 | 2683903.1421 | 1262123.2736 | 2683906.2643 | 1262120.4267 | 2683917.1456 | 1262108.683 | 2683920.2074 | 1262105.3127
59 | 2683920.2074 | 1262105.3127 | 2683912.7641 | 1262097.2675 | 2683900.2897 | 1262082.6903 | 2683897.3514 | 1262079.891
60 | 2683897.3514 | 1262079.891 | 2683881.3914 | 1262064.6861 | 2683868.413 | 1262055.3503 | 2683861.8323 | 1262055.6079
61 | 2683956.8561 | 1262008.8283 | 2683956.471 | 1262008.449
62 | 2683942.7296 | 1261994.9127 | 2683956.471 | 1262008.449
63 | 2683956.8561 | 1262008.8283 | 2683975.4182 | 1262027.1133
64 | 2683942.7296 | 1261994.9127 | 2683970.2011 | 1261980.7806
65 | 2683982.2554 | 1262033.8485 | 2683975.4182 | 1262027.1133
66 | 2683991.3998 | 1261968.6245 | 2683977.3955 | 1261977.0796 | 2683970.2011 | 1261980.7806
67 | 2683982.2554 | 1262033.8485 | 2683982.2554 | 1262033.8485 | 2683988.1966 | 1262037.8649
68 | 2683991.3998 | 1261968.6245 | 2683994.0544 | 1261967.0218
69 | 2683988.1966 | 1262037.8649 | 2683995.361 | 1262042.7081 | 2684008.34 | 1262047.9616
70 | 2683994.0544 | 1261967.0218 | 2684003.4873 | 1261961.3266 | 2684003.4873 | 1261961.3266
71 | 2683913.1956 | 1262057.021 | 2683930.1304 | 1262069.6626
72 | 2683913.1956 | 1262057.021 | 2683905.2069 | 1262051.0576 | 2683897.8251 | 1262042.3906 | 2683897.4218 | 1262037.9223
73 | 2683930.1304 | 1262069.6626 | 2683937.5508 | 1262075.2019 | 2683943.628 | 1262079.9941
74 | 2683898.1485 | 1262028.4101 | 2683896.9005 | 1262032.1472 | 2683897.4218 | 1262037.9223
75 | 2683943.628 | 1262079.9941 | 2683948.1245 | 1262083.5399
76 | 2683898.1485 | 1262028.4101 | 2683899.2497 | 1262025.1128
77 | 2683948.1245 | 1262083.5399 | 2683953.9069 | 1262088.0996 | 2683974.407 | 1262095.4203
78 | 2683998.7233 | 1262104.1038 | 2683974.407 | 1262095.4203
79 | 2684008.8294 | 1262048.1597 | 2684008.34 | 1262047.9616
80 | 2684008.8294 | 1262048.1597 | 2684012.7572 | 1262049.7495 | 2684021.1269 | 1262052.3252
81 | 2684003.4873 | 1261961.3266 | 2684004.9478 | 1261960.1622

## bus_geodata
| x | y | coords
0 | 2683717.0656 | 1261832.1118
1 | 2683686.1542 | 1261878.8539
2 | 2683735.5439 | 1261902.8961
3 | 2683765.247 | 1262018.711
4 | 2683766.6173 | 1262019.6024
5 | 2683781.3928 | 1262007.4244
6 | 2683791.2534 | 1262043.3399
7 | 2683727.1031 | 1261996.7697
8 | 2683759.9603 | 1262004.5938
9 | 2683743.0083 | 1261967.6798
10 | 2683782.4846 | 1262006.4168
11 | 2683831.8404 | 1262015.3253
12 | 2683792.2285 | 1262044.5863
13 | 2683750.1917 | 1261954.5415
14 | 2683798.3103 | 1261990.7804
15 | 2683861.044 | 1262007.5422
16 | 2683804.3145 | 1262060.0345
17 | 2683757.9919 | 1261940.2753
18 | 2683768.9909 | 1261920.1584
19 | 2683755.6317 | 1261912.6746
20 | 2683785.792 | 1261926.9115
21 | 2683800.9409 | 1261894.0777
22 | 2683827.316 | 1261927.1728
23 | 2683801.1593 | 1261886.6101
24 | 2683838.8528 | 1261920.572
25 | 2683799.6648 | 1261989.3104
26 | 2683815.067 | 1261977.5561
27 | 2683854.1754 | 1261911.6808
28 | 2683869.5366 | 1261899.847
29 | 2683815.1178 | 1261977.5331
30 | 2683800.1277 | 1261855.3406
31 | 2683848.845 | 1261853.8237
32 | 2683894.5357 | 1261851.0056
33 | 2683845.0385 | 1261812.6296
34 | 2683901.4952 | 1261875.2272
35 | 2683878.3873 | 1261781.5594
36 | 2683832.5313 | 1261804.4591
37 | 2683886.7034 | 1261886.6223
38 | 2683896.3016 | 1261981.3891
39 | 2683937.1159 | 1261946.4707
40 | 2683873.757 | 1262003.7191
41 | 2683942.0228 | 1261942.2727
42 | 2683863.287 | 1262006.8676
43 | 2683909.1086 | 1261998.6563
44 | 2683951.988 | 1261929.3874
45 | 2683912.1478 | 1261998.426
46 | 2683952.936 | 1261928.1617
47 | 2683934.1503 | 1261995.8983
48 | 2683906.1093 | 1262009.5193
49 | 2683815.876 | 1262086.4824
50 | 2683819.2814 | 1262099.8592
51 | 2683808.7456 | 1262069.5603
52 | 2683830.5663 | 1262127.5147
53 | 2683790.9455 | 1262133.5911
54 | 2683852.2095 | 1262127.4788
55 | 2683816.4764 | 1262060.6924
56 | 2683883.4107 | 1262132.6567
57 | 2683920.2074 | 1262105.3127
58 | 2683897.3514 | 1262079.891
59 | 2683861.8323 | 1262055.6079
60 | 2683956.471 | 1262008.449
61 | 2683956.8561 | 1262008.8283
62 | 2683942.7296 | 1261994.9127
63 | 2683975.4182 | 1262027.1133
64 | 2683970.2011 | 1261980.7806
65 | 2683982.2554 | 1262033.8485
66 | 2683991.3998 | 1261968.6245
67 | 2683988.1966 | 1262037.8649
68 | 2683994.0544 | 1261967.0218
69 | 2683913.1956 | 1262057.021
70 | 2683930.1304 | 1262069.6626
71 | 2683897.4218 | 1262037.9223
72 | 2683943.628 | 1262079.9941
73 | 2683898.1485 | 1262028.4101
74 | 2683948.1245 | 1262083.5399
75 | 2683899.2497 | 1262025.1128
76 | 2683974.407 | 1262095.4203
77 | 2683998.7233 | 1262104.1038
78 | 2684008.34 | 1262047.9616
79 | 2684008.8294 | 1262048.1597
80 | 2684021.1269 | 1262052.3252
81 | 2684003.4873 | 1261961.3266
82 | 2684004.9478 | 1261960.1622
83 | 2683768.9909 | 1261920.1584

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1