## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_52-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_52-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_52-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_52-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_52-1_0_5_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_52-1_0_5_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_52-1_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_52-1_0_5_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_52-1_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_52-1_0_5_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_52-1_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_52-1_0_5_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_52-1_0_5_node_85 | 0.4 | n |  | TRUE
13 | bus_LV_52-1_0_5_node_81 | 0.4 | n |  | TRUE
14 | bus_LV_52-1_0_5_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_52-1_0_5_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_52-1_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_52-1_0_5_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_52-1_0_5_node_91 | 0.4 | n |  | TRUE
19 | bus_LV_52-1_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_52-1_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_52-1_0_5_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_52-1_0_5_node_149 | 0.4 | n |  | TRUE
23 | bus_LV_52-1_0_5_node_95 | 0.4 | n |  | TRUE
24 | bus_LV_52-1_0_5_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_52-1_0_5_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_52-1_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_52-1_0_5_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_52-1_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_52-1_0_5_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_52-1_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_52-1_0_5_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_52-1_0_5_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_52-1_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_52-1_0_5_node_153 | 0.4 | n |  | TRUE
35 | bus_LV_52-1_0_5_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_52-1_0_5_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_52-1_0_5_node_139 | 0.4 | n |  | TRUE
38 | bus_LV_52-1_0_5_node_152 | 0.4 | n |  | TRUE
39 | bus_LV_52-1_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_52-1_0_5_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_52-1_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_52-1_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_52-1_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_52-1_0_5_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_52-1_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_52-1_0_5_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_52-1_0_5_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_52-1_0_5_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_52-1_0_5_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_52-1_0_5_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_52-1_0_5_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_52-1_0_5_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_52-1_0_5_node_90 | 0.4 | n |  | TRUE
54 | bus_LV_52-1_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_52-1_0_5_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_52-1_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_52-1_0_5_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_52-1_0_5_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_52-1_0_5_node_148 | 0.4 | n |  | TRUE
60 | bus_LV_52-1_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_52-1_0_5_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_52-1_0_5_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_52-1_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_52-1_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_52-1_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_52-1_0_5_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_52-1_0_5_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_52-1_0_5_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_52-1_0_5_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_52-1_0_5_node_30 | 0.4 | n |  | TRUE
71 | bus_LV_52-1_0_5_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_52-1_0_5_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_52-1_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_52-1_0_5_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_52-1_0_5_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_52-1_0_5_node_37 | 0.4 | n |  | TRUE
77 | bus_LV_52-1_0_5_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_52-1_0_5_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_52-1_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_52-1_0_5_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_52-1_0_5_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_52-1_0_5_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_52-1_0_5_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_52-1_0_5_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_52-1_0_5_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_52-1_0_5_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_52-1_0_5_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_52-1_0_5_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_52-1_0_5_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_52-1_0_5_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_52-1_0_5_node_93 | 0.4 | n |  | TRUE
92 | bus_MV_457_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_52-1_0_5_load_0 | 0 | 0.008863 | 0.0022213 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_52-1_0_5_load_28 | 4 | 0.002274 | 0.00056991 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_52-1_0_5_load_96 | 7 | 0.0092402 | 0.0023158 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_52-1_0_5_load_42 | 9 | 0.0067332 | 0.0016875 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_52-1_0_5_load_39 | 11 | 0.019629 | 0.0049194 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_52-1_0_5_load_81 | 13 | 0.0041983 | 0.0010522 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_52-1_0_5_load_68 | 14 | 0.016019 | 0.0040147 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_52-1_0_5_load_72 | 15 | 0.010476 | 0.0026257 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_52-1_0_5_load_84 | 17 | 0.0040021 | 0.001003 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_52-1_0_5_load_91 | 18 | 0.0037993 | 0.00095219 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_52-1_0_5_load_149 | 22 | 0.0038652 | 0.00096871 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_52-1_0_5_load_95 | 23 | 0.002065 | 0.00051753 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_52-1_0_5_load_94 | 25 | 0.0030147 | 0.00075555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_52-1_0_5_load_38 | 27 | 0.016301 | 0.0040854 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_52-1_0_5_load_31 | 29 | 0.01163 | 0.0029147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_52-1_0_5_load_45 | 31 | 0.0095182 | 0.0023855 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_52-1_0_5_load_43 | 32 | 0.0080836 | 0.0020259 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_52-1_0_5_load_153 | 34 | 0.018177 | 0.0045555 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_52-1_0_5_load_139 | 37 | 0.006663 | 0.0016699 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_52-1_0_5_load_152 | 38 | 0.0004672 | 0.00011709 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_52-1_0_5_load_34 | 41 | 0.016379 | 0.0041049 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_52-1_0_5_load_71 | 44 | 0.0036659 | 0.00091877 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_52-1_0_5_load_29 | 45 | 0.0053198 | 0.0013333 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_52-1_0_5_load_77 | 46 | 0.0084738 | 0.0021237 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_52-1_0_5_load_80 | 47 | 0.0070728 | 0.0017726 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_52-1_0_5_load_87 | 49 | 0.0076401 | 0.0019148 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_52-1_0_5_load_86 | 50 | 0.01624 | 0.00407 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_52-1_0_5_load_90 | 53 | 0.0099916 | 0.0025041 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_52-1_0_5_load_41 | 54 | 0.012059 | 0.0030223 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_52-1_0_5_load_97 | 55 | 0.011555 | 0.002896 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_52-1_0_5_load_59 | 56 | 0.0096073 | 0.0024078 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_52-1_0_5_load_148 | 59 | 0.0073011 | 0.0018298 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_52-1_0_5_load_49 | 60 | 0.022066 | 0.0055303 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_52-1_0_5_load_52 | 62 | 0.0060432 | 0.0015146 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_52-1_0_5_load_48 | 64 | 0.0099166 | 0.0024853 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_52-1_0_5_load_54 | 65 | 0.0073339 | 0.001838 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_52-1_0_5_load_70 | 69 | 0.0044015 | 0.0011031 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_52-1_0_5_load_30 | 70 | 0.010973 | 0.00275 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_52-1_0_5_load_56 | 71 | 0.0082517 | 0.0020681 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_52-1_0_5_load_67 | 73 | 0.0070183 | 0.0017589 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_52-1_0_5_load_75 | 74 | 0.0036677 | 0.00091922 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_52-1_0_5_load_74 | 75 | 0.0020924 | 0.00052441 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_52-1_0_5_load_65 | 77 | 0.01297 | 0.0032506 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_52-1_0_5_load_62 | 78 | 0.013093 | 0.0032815 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_52-1_0_5_load_73 | 79 | 0.0022271 | 0.00055817 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_52-1_0_5_load_63 | 80 | 0.014377 | 0.0036031 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_52-1_0_5_load_66 | 83 | 0.0080408 | 0.0020152 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_52-1_0_5_load_51 | 84 | 0.0069187 | 0.001734 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_52-1_0_5_load_60 | 85 | 0.0054294 | 0.0013607 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_52-1_0_5_load_61 | 86 | 0.0082186 | 0.0020598 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_52-1_0_5_load_83 | 87 | 0.0037728 | 0.00094555 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_52-1_0_5_load_88 | 88 | 0.007276 | 0.0018235 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_52-1_0_5_load_89 | 89 | 0.0069888 | 0.0017516 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_52-1_0_5_load_92 | 90 | 0.0036769 | 0.00092152 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_52-1_0_5_load_93 | 91 | 0.0045072 | 0.0011296 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_52-1_0_5_line_0 |  | 0 | 1 | 0.001758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_52-1_0_5_line_1 |  | 0 | 2 | 0.053837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_52-1_0_5_line_2 |  | 1 | 3 | 0.041812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_52-1_0_5_line_3 |  | 2 | 4 | 0.038916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_52-1_0_5_line_4 |  | 2 | 5 | 0.011669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_52-1_0_5_line_5 |  | 3 | 6 | 0.073117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_52-1_0_5_line_6 |  | 3 | 7 | 0.019018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_52-1_0_5_line_7 |  | 5 | 38 | 0.089515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_52-1_0_5_line_8 |  | 5 | 36 | 0.081919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_52-1_0_5_line_9 |  | 6 | 12 | 0.018702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_52-1_0_5_line_10 |  | 6 | 13 | 0.021373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_52-1_0_5_line_11 |  | 8 | 9 | 0.017614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_52-1_0_5_line_12 |  | 8 | 10 | 0.010006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_52-1_0_5_line_13 |  | 8 | 11 | 0.024159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_52-1_0_5_line_14 |  | 10 | 14 | 0.043382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_52-1_0_5_line_15 |  | 10 | 15 | 0.041432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_52-1_0_5_line_16 |  | 11 | 21 | 0.035569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_52-1_0_5_line_17 |  | 12 | 49 | 0.014377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_52-1_0_5_line_18 |  | 12 | 50 | 0.026951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_52-1_0_5_line_19 |  | 14 | 51 | 0.023668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_52-1_0_5_line_20 |  | 15 | 40 | 0.023808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_52-1_0_5_line_21 |  | 16 | 17 | 0.023891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_52-1_0_5_line_22 |  | 16 | 18 | 0.033818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_52-1_0_5_line_23 |  | 17 | 52 | 0.010407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_52-1_0_5_line_24 |  | 18 | 53 | 0.029244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_52-1_0_5_line_25 |  | 19 | 20 | 0.037874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_52-1_0_5_line_26 |  | 19 | 21 | 0.026249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_52-1_0_5_line_27 |  | 19 | 22 | 0.012386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_52-1_0_5_line_28 |  | 20 | 23 | 0.030914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_52-1_0_5_line_29 |  | 20 | 24 | 0.020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_52-1_0_5_line_30 |  | 20 | 25 | 0.045949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_52-1_0_5_line_31 |  | 21 | 54 | 0.019589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_52-1_0_5_line_32 |  | 23 | 55 | 0.03845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_52-1_0_5_line_33 |  | 24 | 46 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_52-1_0_5_line_34 |  | 26 | 27 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_52-1_0_5_line_35 |  | 26 | 28 | 0.011079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_52-1_0_5_line_36 |  | 27 | 39 | 0.032027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_52-1_0_5_line_37 |  | 28 | 29 | 0.032197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_52-1_0_5_line_38 |  | 30 | 31 | 0.027576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_52-1_0_5_line_39 |  | 30 | 32 | 0.041993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_52-1_0_5_line_40 |  | 31 | 56 | 0.042052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_52-1_0_5_line_41 |  | 32 | 66 | 0.0039361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_52-1_0_5_line_42 |  | 33 | 34 | 0.072356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_52-1_0_5_line_43 |  | 33 | 35 | 0.008275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_52-1_0_5_line_44 |  | 35 | 56 | 0.028552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_52-1_0_5_line_45 |  | 36 | 37 | 0.016963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_52-1_0_5_line_46 |  | 39 | 40 | 0.046041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_52-1_0_5_line_47 |  | 39 | 41 | 0.018779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_52-1_0_5_line_48 |  | 41 | 67 | 0.036882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_52-1_0_5_line_49 |  | 42 | 43 | 0.003331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_52-1_0_5_line_50 |  | 42 | 44 | 0.05588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_52-1_0_5_line_51 |  | 43 | 45 | 0.04863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_52-1_0_5_line_52 |  | 44 | 68 | 0.048171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_52-1_0_5_line_53 |  | 45 | 70 | 0.07306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_52-1_0_5_line_54 |  | 46 | 48 | 0.013891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_52-1_0_5_line_55 |  | 47 | 48 | 0.021694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_52-1_0_5_line_56 |  | 49 | 88 | 0.039263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_52-1_0_5_line_57 |  | 50 | 87 | 0.011143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_52-1_0_5_line_58 |  | 51 | 73 | 0.013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_52-1_0_5_line_59 |  | 52 | 87 | 0.030322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_52-1_0_5_line_60 |  | 53 | 90 | 0.020016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_52-1_0_5_line_61 |  | 54 | 68 | 0.022643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_52-1_0_5_line_62 |  | 55 | 91 | 0.025543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_52-1_0_5_line_63 |  | 57 | 58 | 0.003571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_52-1_0_5_line_64 |  | 57 | 59 | 0.052702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_52-1_0_5_line_65 |  | 58 | 69 | 0.042302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_52-1_0_5_line_66 |  | 58 | 75 | 0.010092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_52-1_0_5_line_67 |  | 60 | 61 | 0.062538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_52-1_0_5_line_68 |  | 61 | 84 | 0.014758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_52-1_0_5_line_69 |  | 61 | 62 | 0.044889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_52-1_0_5_line_70 |  | 63 | 64 | 0.014577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_52-1_0_5_line_71 |  | 63 | 65 | 0.035722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_52-1_0_5_line_72 |  | 64 | 66 | 0.022733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_52-1_0_5_line_73 |  | 65 | 72 | 0.02036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_52-1_0_5_line_74 |  | 67 | 76 | 0.022143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_52-1_0_5_line_75 |  | 68 | 69 | 0.028099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_52-1_0_5_line_76 |  | 71 | 72 | 0.045249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_52-1_0_5_line_77 |  | 72 | 82 | 0.023329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_52-1_0_5_line_78 |  | 74 | 75 | 0.0080573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_52-1_0_5_line_79 |  | 76 | 77 | 0.00038637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_52-1_0_5_line_80 |  | 76 | 78 | 0.023498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_52-1_0_5_line_81 |  | 77 | 79 | 0.035009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_52-1_0_5_line_82 |  | 78 | 80 | 0.011924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_52-1_0_5_line_83 |  | 79 | 86 | 0.013325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_52-1_0_5_line_84 |  | 80 | 81 | 0.0097313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_52-1_0_5_line_85 |  | 81 | 82 | 0.019721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_52-1_0_5_line_86 |  | 82 | 83 | 0.015341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_52-1_0_5_line_87 |  | 84 | 85 | 0.024982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_52-1_0_5_line_88 |  | 85 | 86 | 0.017161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_52-1_0_5_line_89 |  | 88 | 89 | 0.024439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_52-1_0_5_line_90 |  | 90 | 91 | 0.0086408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_52-1_0_5_trafo_68 | 0.63 MVA 20/0.4 kV | 92 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2689596.2013 | 1254890.7628 | 2689594.4807 | 1254891.1233
1 | 2689541.7502 | 1254901.9814 | 2689575.7593 | 1254895.0458 | 2689594.4807 | 1254891.1233
2 | 2689596.2013 | 1254890.7628 | 2689597.5056 | 1254898.2995 | 2689598.5877 | 1254903.064 | 2689600.9237 | 1254914.2079 | 2689618.4577 | 1254910.6482
3 | 2689541.7502 | 1254901.9814 | 2689539.4552 | 1254890.1153 | 2689539.6883 | 1254887.6725 | 2689541.8668 | 1254885.3036 | 2689545.9286 | 1254884.1085 | 2689554.3137 | 1254882.3895 | 2689559.9914 | 1254881.1077 | 2689562.3447 | 1254880.1425
4 | 2689541.7502 | 1254901.9814 | 2689538.2238 | 1254902.6953 | 2689530.3156 | 1254904.3103
5 | 2689593.8562 | 1254956.467 | 2689586.8632 | 1254923.0465 | 2689586.0079 | 1254917.2513 | 2689600.9237 | 1254914.2079 | 2689618.4577 | 1254910.6482
6 | 2689618.4577 | 1254910.6482 | 2689620.7725 | 1254920.2017 | 2689625.357 | 1254928.1645
7 | 2689447.4359 | 1254911.1634 | 2689466.999 | 1254907.1224 | 2689525.1788 | 1254895.2701 | 2689530.3156 | 1254904.3103
8 | 2689458.7009 | 1254931.5382 | 2689460.1378 | 1254922.8198 | 2689466.9907 | 1254918.6534 | 2689523.194 | 1254907.2827 | 2689525.857 | 1254906.3 | 2689530.3156 | 1254904.3103
9 | 2689593.8562 | 1254956.467 | 2689596.2737 | 1254965.2215 | 2689597.9936 | 1254971.708 | 2689599.7083 | 1254974.058
10 | 2689593.8562 | 1254956.467 | 2689572.7246 | 1254959.6733
11 | 2689539.8503 | 1255116.8188 | 2689534.2375 | 1255124.2953 | 2689529.5279 | 1255128.4273 | 2689528.0223 | 1255129.7434
12 | 2689539.8503 | 1255116.8188 | 2689541.5204 | 1255111.1396 | 2689537.5277 | 1255110.2675
13 | 2689539.8503 | 1255116.8188 | 2689548.9614 | 1255125.4299 | 2689555.9141 | 1255134.7434
14 | 2689537.5277 | 1255110.2675 | 2689515.4736 | 1255105.4749 | 2689498.7625 | 1255093.0683
15 | 2689537.5277 | 1255110.2675 | 2689536.1898 | 1255114.4283 | 2689532.3659 | 1255120.3528 | 2689523.3015 | 1255128.0996 | 2689519.3733 | 1255128.952 | 2689512.3601 | 1255136.2516 | 2689509.8685 | 1255139.3092
16 | 2689578.6055 | 1255162.0731 | 2689572.3712 | 1255155.7851 | 2689558.8769 | 1255138.7123 | 2689555.9141 | 1255134.7434
17 | 2689599.7083 | 1254974.058 | 2689603.0021 | 1254978.7448 | 2689607.0347 | 1254986.396
18 | 2689599.7083 | 1254974.058 | 2689587.982 | 1254980.2076 | 2689576.1195 | 1254987.082
19 | 2689480.7217 | 1255079.2961 | 2689496.4304 | 1255093.6335 | 2689498.7625 | 1255093.0683
20 | 2689496.6708 | 1255159.0544 | 2689500.8281 | 1255151.5336 | 2689506.157 | 1255143.8638 | 2689509.8685 | 1255139.3092
21 | 2689510.3782 | 1254977.4878 | 2689516.7623 | 1254977.8734 | 2689522.2297 | 1254977.5225 | 2689527.9856 | 1254976.542 | 2689531.5452 | 1254975.6285 | 2689533.8095 | 1254974.5619
22 | 2689510.3782 | 1254977.4878 | 2689510.716 | 1254983.0861 | 2689514.3756 | 1254993.5161 | 2689519.0575 | 1255003.1944 | 2689522.7267 | 1255008.4441
23 | 2689544.2076 | 1254974.419 | 2689536.974 | 1254974.3318 | 2689533.8095 | 1254974.5619
24 | 2689539.4794 | 1255032.4134 | 2689522.7267 | 1255008.4441
25 | 2689598.2778 | 1255149.7723 | 2689601.9165 | 1255147.1142 | 2689608.8916 | 1255142.3382 | 2689612.0612 | 1255139.7731 | 2689607.0643 | 1255132.9811 | 2689613.4846 | 1255127.474 | 2689615.9976 | 1255124.4319
26 | 2689598.2778 | 1255149.7723 | 2689595.2614 | 1255147.2025 | 2689578.6055 | 1255162.0731
27 | 2689598.2778 | 1255149.7723 | 2689596.9633 | 1255150.8866 | 2689590.6283 | 1255156.2394 | 2689588.9412 | 1255157.9027
28 | 2689615.9976 | 1255124.4319 | 2689612.91 | 1255120.5822 | 2689611.7198 | 1255121.4649 | 2689607.8075 | 1255121.7615 | 2689604.0029 | 1255120.4251 | 2689600.8362 | 1255117.3192 | 2689593.7412 | 1255107.5104
29 | 2689628.9008 | 1255108.7928 | 2689615.9976 | 1255124.4319
30 | 2689615.9976 | 1255124.4319 | 2689618.8376 | 1255127.6885 | 2689616.8595 | 1255130.2828 | 2689615.6031 | 1255133.0437 | 2689616.0512 | 1255136.8312 | 2689623.2167 | 1255147.8815 | 2689634.1067 | 1255162.6485
31 | 2689578.6055 | 1255162.0731 | 2689564.5749 | 1255175.4491 | 2689564.442 | 1255175.6036
32 | 2689593.7412 | 1255107.5104 | 2689571.2067 | 1255076.3562
33 | 2689628.9008 | 1255108.7928 | 2689640.3055 | 1255094.9638
34 | 2689438.2603 | 1255235.2643 | 2689440.2402 | 1255234.0377 | 2689451.1406 | 1255222.146
35 | 2689438.2603 | 1255235.2643 | 2689439.7946 | 1255237.5671 | 2689442.2299 | 1255241.1511 | 2689444.5422 | 1255244.3885
36 | 2689472.1379 | 1255197.9694 | 2689457.5522 | 1255215.1512 | 2689451.1406 | 1255222.146
37 | 2689444.5422 | 1255244.3885 | 2689444.8184 | 1255244.0813 | 2689462.9583 | 1255224.3289 | 2689466.2269 | 1255220.5903
38 | 2689353.9081 | 1255068.6512 | 2689331.4094 | 1255084.5967
39 | 2689353.9081 | 1255068.6512 | 2689363.7874 | 1255082.8668 | 2689373.5749 | 1255075.6867 | 2689382.8779 | 1255084.1002
40 | 2689297.4813 | 1255109.4404 | 2689305.9263 | 1255103.2431 | 2689329.6509 | 1255085.843 | 2689331.4094 | 1255084.5967
41 | 2689385.5321 | 1255081.1936 | 2689382.8779 | 1255084.1002
42 | 2689271.3791 | 1255123.9494 | 2689226.472 | 1255089.7685 | 2689210.3992 | 1255089.5262
43 | 2689271.3791 | 1255123.9494 | 2689278.0723 | 1255128.843
44 | 2689278.0723 | 1255128.843 | 2689283.3236 | 1255124.2964 | 2689284.3529 | 1255119.0746 | 2689297.4813 | 1255109.4404
45 | 2689458.7009 | 1254931.5382 | 2689462.9073 | 1254934.7486 | 2689469.6908 | 1254944.2463
46 | 2689496.6708 | 1255159.0544 | 2689485.4685 | 1255178.9783 | 2689476.9303 | 1255191.8482 | 2689472.1379 | 1255197.9694
47 | 2689472.1379 | 1255197.9694 | 2689458.1906 | 1255185.3944
48 | 2689442.0891 | 1255155.6272 | 2689442.1967 | 1255170.974 | 2689458.1906 | 1255185.3944
49 | 2689499.9792 | 1255282.9892 | 2689496.8903 | 1255281.7193
50 | 2689499.9792 | 1255282.9892 | 2689522.5333 | 1255255.6867 | 2689531.8972 | 1255237.4882
51 | 2689496.8903 | 1255281.7193 | 2689499.1747 | 1255278.8182 | 2689500.8932 | 1255274.9301 | 2689501.1902 | 1255271.2539 | 2689509.8296 | 1255260.6652 | 2689518.1894 | 1255248.1152 | 2689522.1536 | 1255240.8769
52 | 2689549.6776 | 1255192.7706 | 2689543.447 | 1255211.1684 | 2689532.9172 | 1255235.5058 | 2689531.8972 | 1255237.4882
53 | 2689522.1536 | 1255240.8769 | 2689524.3804 | 1255236.8111 | 2689537.0592 | 1255207.0575 | 2689541.423 | 1255198.8505 | 2689542.7412 | 1255192.4988 | 2689526.9382 | 1255179.7579
54 | 2689649.1437 | 1255084.2469 | 2689640.3055 | 1255094.9638
55 | 2689649.1437 | 1255084.2469 | 2689662.9466 | 1255067.5107
56 | 2689607.0347 | 1254986.396 | 2689607.6515 | 1254987.5664 | 2689616.4836 | 1255003.1565 | 2689630.8933 | 1255017.0581
57 | 2689565.4331 | 1254990.0641 | 2689568.4818 | 1254989.5755 | 2689575.3783 | 1254987.5115 | 2689576.1195 | 1254987.082
58 | 2689480.7217 | 1255079.2961 | 2689477.6182 | 1255076.4915 | 2689483.5718 | 1255069.6517
59 | 2689544.2076 | 1254974.419 | 2689545.001 | 1254978.3229 | 2689547.2955 | 1254983.2391 | 2689549.8477 | 1254986.5803 | 2689553.4412 | 1254988.9142 | 2689557.7894 | 1254990.7258 | 2689560.3672 | 1254990.876 | 2689565.4331 | 1254990.0641
60 | 2689539.4794 | 1255032.4134 | 2689541.1219 | 1255034.7634 | 2689551.1726 | 1255048.6587
61 | 2689549.6776 | 1255192.7706 | 2689564.442 | 1255175.6036
62 | 2689571.2067 | 1255076.3562 | 2689556.2368 | 1255055.66
63 | 2689602.0622 | 1255243.6244 | 2689598.4994 | 1255243.2591
64 | 2689602.0622 | 1255243.6244 | 2689601.2279 | 1255241.9216 | 2689579.0827 | 1255216.7671 | 2689567.788 | 1255203.6726
65 | 2689598.4994 | 1255243.2591 | 2689589.0857 | 1255231.2296 | 2689570.3166 | 1255211.7832
66 | 2689598.4994 | 1255243.2591 | 2689594.4841 | 1255244.3882 | 2689591.6374 | 1255246.5579 | 2689590.3751 | 1255248.5304
67 | 2689336.1938 | 1255200.6416 | 2689305.0788 | 1255190.8981 | 2689276.5881 | 1255181.717
68 | 2689336.1938 | 1255200.6416 | 2689344.5638 | 1255188.4871
69 | 2689336.1938 | 1255200.6416 | 2689349.5734 | 1255204.8578 | 2689378.9398 | 1255214.3437
70 | 2689410.6408 | 1255053.5957 | 2689400.8307 | 1255064.3783
71 | 2689410.6408 | 1255053.5957 | 2689428.4491 | 1255069.7882 | 2689436.2001 | 1255061.0874
72 | 2689385.5321 | 1255081.1936 | 2689400.8307 | 1255064.3783
73 | 2689451.2777 | 1255074.7701 | 2689436.2001 | 1255061.0874
74 | 2689419.9233 | 1255154.2359 | 2689442.0891 | 1255155.6272
75 | 2689549.6776 | 1255192.7706 | 2689561.8568 | 1255203.0182 | 2689570.3166 | 1255211.7832
76 | 2689451.2777 | 1255074.7701 | 2689456.0273 | 1255049.0219 | 2689456.5655 | 1255032.3839 | 2689454.8787 | 1255030.6496
77 | 2689447.0533 | 1255097.7129 | 2689449.4777 | 1255084.5505 | 2689451.2777 | 1255074.7701
78 | 2689590.3751 | 1255248.5304 | 2689589.7134 | 1255249.5644 | 2689588.9488 | 1255252.7331 | 2689589.3024 | 1255256.2856
79 | 2689419.9233 | 1255154.2359 | 2689419.5387 | 1255154.1992
80 | 2689419.9233 | 1255154.2359 | 2689434.2037 | 1255139.7848 | 2689435.785 | 1255137.024
81 | 2689419.5387 | 1255154.1992 | 2689395.7119 | 1255151.9242 | 2689384.7602 | 1255153.5658
82 | 2689435.785 | 1255137.024 | 2689441.7119 | 1255126.6769
83 | 2689372.3724 | 1255157.23 | 2689374.8206 | 1255155.0557 | 2689384.7602 | 1255153.5658
84 | 2689443.4785 | 1255117.1073 | 2689441.7119 | 1255126.6769
85 | 2689443.4785 | 1255117.1073 | 2689447.0533 | 1255097.7129
86 | 2689447.0533 | 1255097.7129 | 2689439.3524 | 1255091.1138 | 2689435.9427 | 1255095.039
87 | 2689344.5638 | 1255188.4871 | 2689356.1937 | 1255171.5986 | 2689359.5409 | 1255168.6259
88 | 2689372.3724 | 1255157.23 | 2689359.5409 | 1255168.6259
89 | 2689630.8933 | 1255017.0581 | 2689639.7865 | 1255025.6377 | 2689648.1695 | 1255016.9371
90 | 2689556.2368 | 1255055.66 | 2689551.1726 | 1255048.6587

## bus_geodata
| x | y | coords
0 | 2689594.4807 | 1254891.1233
1 | 2689596.2013 | 1254890.7628
2 | 2689541.7502 | 1254901.9814
3 | 2689618.4577 | 1254910.6482
4 | 2689562.3447 | 1254880.1425
5 | 2689530.3156 | 1254904.3103
6 | 2689593.8562 | 1254956.467
7 | 2689625.357 | 1254928.1645
8 | 2689539.8503 | 1255116.8188
9 | 2689528.0223 | 1255129.7434
10 | 2689537.5277 | 1255110.2675
11 | 2689555.9141 | 1255134.7434
12 | 2689599.7083 | 1254974.058
13 | 2689572.7246 | 1254959.6733
14 | 2689498.7625 | 1255093.0683
15 | 2689509.8685 | 1255139.3092
16 | 2689510.3782 | 1254977.4878
17 | 2689533.8095 | 1254974.5619
18 | 2689522.7267 | 1255008.4441
19 | 2689598.2778 | 1255149.7723
20 | 2689615.9976 | 1255124.4319
21 | 2689578.6055 | 1255162.0731
22 | 2689588.9412 | 1255157.9027
23 | 2689593.7412 | 1255107.5104
24 | 2689628.9008 | 1255108.7928
25 | 2689634.1067 | 1255162.6485
26 | 2689438.2603 | 1255235.2643
27 | 2689451.1406 | 1255222.146
28 | 2689444.5422 | 1255244.3885
29 | 2689466.2269 | 1255220.5903
30 | 2689353.9081 | 1255068.6512
31 | 2689331.4094 | 1255084.5967
32 | 2689382.8779 | 1255084.1002
33 | 2689271.3791 | 1255123.9494
34 | 2689210.3992 | 1255089.5262
35 | 2689278.0723 | 1255128.843
36 | 2689458.7009 | 1254931.5382
37 | 2689469.6908 | 1254944.2463
38 | 2689447.4359 | 1254911.1634
39 | 2689472.1379 | 1255197.9694
40 | 2689496.6708 | 1255159.0544
41 | 2689458.1906 | 1255185.3944
42 | 2689499.9792 | 1255282.9892
43 | 2689496.8903 | 1255281.7193
44 | 2689531.8972 | 1255237.4882
45 | 2689522.1536 | 1255240.8769
46 | 2689640.3055 | 1255094.9638
47 | 2689662.9466 | 1255067.5107
48 | 2689649.1437 | 1255084.2469
49 | 2689607.0347 | 1254986.396
50 | 2689576.1195 | 1254987.082
51 | 2689480.7217 | 1255079.2961
52 | 2689544.2076 | 1254974.419
53 | 2689539.4794 | 1255032.4134
54 | 2689564.442 | 1255175.6036
55 | 2689571.2067 | 1255076.3562
56 | 2689297.4813 | 1255109.4404
57 | 2689602.0622 | 1255243.6244
58 | 2689598.4994 | 1255243.2591
59 | 2689567.788 | 1255203.6726
60 | 2689276.5881 | 1255181.717
61 | 2689336.1938 | 1255200.6416
62 | 2689378.9398 | 1255214.3437
63 | 2689410.6408 | 1255053.5957
64 | 2689400.8307 | 1255064.3783
65 | 2689436.2001 | 1255061.0874
66 | 2689385.5321 | 1255081.1936
67 | 2689442.0891 | 1255155.6272
68 | 2689549.6776 | 1255192.7706
69 | 2689570.3166 | 1255211.7832
70 | 2689526.9382 | 1255179.7579
71 | 2689454.8787 | 1255030.6496
72 | 2689451.2777 | 1255074.7701
73 | 2689483.5718 | 1255069.6517
74 | 2689589.3024 | 1255256.2856
75 | 2689590.3751 | 1255248.5304
76 | 2689419.9233 | 1255154.2359
77 | 2689419.5387 | 1255154.1992
78 | 2689435.785 | 1255137.024
79 | 2689384.7602 | 1255153.5658
80 | 2689441.7119 | 1255126.6769
81 | 2689443.4785 | 1255117.1073
82 | 2689447.0533 | 1255097.7129
83 | 2689435.9427 | 1255095.039
84 | 2689344.5638 | 1255188.4871
85 | 2689359.5409 | 1255168.6259
86 | 2689372.3724 | 1255157.23
87 | 2689565.4331 | 1254990.0641
88 | 2689630.8933 | 1255017.0581
89 | 2689648.1695 | 1255016.9371
90 | 2689551.1726 | 1255048.6587
91 | 2689556.2368 | 1255055.66
92 | 2689480.7217 | 1255079.2961

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1