## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_52-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_52-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_52-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_52-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_52-3_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_52-3_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_52-3_0_6_node_59 | 0.4 | n |  | TRUE
7 | bus_LV_52-3_0_6_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_52-3_0_6_node_153 | 0.4 | n |  | TRUE
9 | bus_LV_52-3_0_6_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_52-3_0_6_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_52-3_0_6_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_52-3_0_6_node_152 | 0.4 | n |  | TRUE
13 | bus_LV_52-3_0_6_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_52-3_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_52-3_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_52-3_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_52-3_0_6_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_52-3_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_52-3_0_6_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_52-3_0_6_node_163 | 0.4 | n |  | TRUE
21 | bus_LV_52-3_0_6_node_144 | 0.4 | n |  | TRUE
22 | bus_LV_52-3_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_52-3_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_52-3_0_6_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_52-3_0_6_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_52-3_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_52-3_0_6_node_176 | 0.4 | n |  | TRUE
28 | bus_LV_52-3_0_6_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_52-3_0_6_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_52-3_0_6_node_138 | 0.4 | n |  | TRUE
31 | bus_LV_52-3_0_6_node_131 | 0.4 | n |  | TRUE
32 | bus_LV_52-3_0_6_node_145 | 0.4 | n |  | TRUE
33 | bus_LV_52-3_0_6_node_136 | 0.4 | n |  | TRUE
34 | bus_LV_52-3_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_52-3_0_6_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_52-3_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_52-3_0_6_node_173 | 0.4 | n |  | TRUE
38 | bus_LV_52-3_0_6_node_137 | 0.4 | n |  | TRUE
39 | bus_LV_52-3_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_52-3_0_6_node_169 | 0.4 | n |  | TRUE
41 | bus_LV_52-3_0_6_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_52-3_0_6_node_135 | 0.4 | n |  | TRUE
43 | bus_LV_52-3_0_6_node_129 | 0.4 | n |  | TRUE
44 | bus_LV_52-3_0_6_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_52-3_0_6_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_52-3_0_6_node_172 | 0.4 | n |  | TRUE
47 | bus_LV_52-3_0_6_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_52-3_0_6_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_52-3_0_6_node_21 | 0.4 | n |  | TRUE
50 | bus_LV_52-3_0_6_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_52-3_0_6_node_22 | 0.4 | n |  | TRUE
52 | bus_LV_52-3_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_52-3_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_52-3_0_6_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_52-3_0_6_node_24 | 0.4 | n |  | TRUE
56 | bus_LV_52-3_0_6_node_101 | 0.4 | n |  | TRUE
57 | bus_LV_52-3_0_6_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_52-3_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_52-3_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_52-3_0_6_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_52-3_0_6_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_52-3_0_6_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_52-3_0_6_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_52-3_0_6_node_98 | 0.4 | n |  | TRUE
65 | bus_LV_52-3_0_6_node_99 | 0.4 | n |  | TRUE
66 | bus_LV_52-3_0_6_node_29 | 0.4 | n |  | TRUE
67 | bus_LV_52-3_0_6_node_31 | 0.4 | n |  | TRUE
68 | bus_LV_52-3_0_6_node_32 | 0.4 | n |  | TRUE
69 | bus_LV_52-3_0_6_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_52-3_0_6_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_52-3_0_6_node_167 | 0.4 | n |  | TRUE
72 | bus_LV_52-3_0_6_node_168 | 0.4 | n |  | TRUE
73 | bus_LV_52-3_0_6_node_39 | 0.4 | n |  | TRUE
74 | bus_LV_52-3_0_6_node_41 | 0.4 | n |  | TRUE
75 | bus_LV_52-3_0_6_node_158 | 0.4 | n |  | TRUE
76 | bus_LV_52-3_0_6_node_134 | 0.4 | n |  | TRUE
77 | bus_LV_52-3_0_6_node_126 | 0.4 | n |  | TRUE
78 | bus_LV_52-3_0_6_node_127 | 0.4 | n |  | TRUE
79 | bus_LV_52-3_0_6_node_128 | 0.4 | n |  | TRUE
80 | bus_LV_52-3_0_6_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_52-3_0_6_node_125 | 0.4 | n |  | TRUE
82 | bus_LV_52-3_0_6_node_159 | 0.4 | n |  | TRUE
83 | bus_LV_52-3_0_6_node_160 | 0.4 | n |  | TRUE
84 | bus_LV_52-3_0_6_node_171 | 0.4 | n |  | TRUE
85 | bus_LV_52-3_0_6_node_170 | 0.4 | n |  | TRUE
86 | bus_LV_52-3_0_6_node_40 | 0.4 | n |  | TRUE
87 | bus_LV_52-3_0_6_node_51 | 0.4 | n |  | TRUE
88 | bus_LV_52-3_0_6_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_52-3_0_6_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_52-3_0_6_node_143 | 0.4 | n |  | TRUE
91 | bus_LV_52-3_0_6_node_53 | 0.4 | n |  | TRUE
92 | bus_LV_52-3_0_6_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_52-3_0_6_node_54 | 0.4 | n |  | TRUE
94 | bus_LV_52-3_0_6_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_52-3_0_6_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_52-3_0_6_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_52-3_0_6_node_58 | 0.4 | n |  | TRUE
98 | bus_LV_52-3_0_6_node_57 | 0.4 | n |  | TRUE
99 | bus_LV_52-3_0_6_node_63 | 0.4 | n |  | TRUE
100 | bus_LV_52-3_0_6_node_60 | 0.4 | n |  | TRUE
101 | bus_LV_52-3_0_6_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_52-3_0_6_node_76 | 0.4 | n |  | TRUE
103 | bus_LV_52-3_0_6_node_61 | 0.4 | n |  | TRUE
104 | bus_LV_52-3_0_6_node_62 | 0.4 | n |  | TRUE
105 | bus_LV_52-3_0_6_node_112 | 0.4 | n |  | TRUE
106 | bus_LV_52-3_0_6_node_111 | 0.4 | n |  | TRUE
107 | bus_LV_52-3_0_6_node_78 | 0.4 | n |  | TRUE
108 | bus_LV_52-3_0_6_node_66 | 0.4 | n |  | TRUE
109 | bus_LV_52-3_0_6_node_175 | 0.4 | n |  | TRUE
110 | bus_LV_52-3_0_6_node_165 | 0.4 | n |  | TRUE
111 | bus_LV_52-3_0_6_node_67 | 0.4 | n |  | TRUE
112 | bus_LV_52-3_0_6_node_68 | 0.4 | n |  | TRUE
113 | bus_LV_52-3_0_6_node_155 | 0.4 | n |  | TRUE
114 | bus_LV_52-3_0_6_node_69 | 0.4 | n |  | TRUE
115 | bus_LV_52-3_0_6_node_70 | 0.4 | n |  | TRUE
116 | bus_LV_52-3_0_6_node_71 | 0.4 | n |  | TRUE
117 | bus_LV_52-3_0_6_node_72 | 0.4 | n |  | TRUE
118 | bus_LV_52-3_0_6_node_73 | 0.4 | n |  | TRUE
119 | bus_LV_52-3_0_6_node_74 | 0.4 | n |  | TRUE
120 | bus_LV_52-3_0_6_node_75 | 0.4 | n |  | TRUE
121 | bus_LV_52-3_0_6_node_77 | 0.4 | n |  | TRUE
122 | bus_LV_52-3_0_6_node_83 | 0.4 | n |  | TRUE
123 | bus_LV_52-3_0_6_node_110 | 0.4 | n |  | TRUE
124 | bus_LV_52-3_0_6_node_178 | 0.4 | n |  | TRUE
125 | bus_LV_52-3_0_6_node_82 | 0.4 | n |  | TRUE
126 | bus_LV_52-3_0_6_node_79 | 0.4 | n |  | TRUE
127 | bus_LV_52-3_0_6_node_80 | 0.4 | n |  | TRUE
128 | bus_LV_52-3_0_6_node_84 | 0.4 | n |  | TRUE
129 | bus_LV_52-3_0_6_node_105 | 0.4 | n |  | TRUE
130 | bus_LV_52-3_0_6_node_108 | 0.4 | n |  | TRUE
131 | bus_LV_52-3_0_6_node_174 | 0.4 | n |  | TRUE
132 | bus_LV_52-3_0_6_node_107 | 0.4 | n |  | TRUE
133 | bus_LV_52-3_0_6_node_103 | 0.4 | n |  | TRUE
134 | bus_LV_52-3_0_6_node_119 | 0.4 | n |  | TRUE
135 | bus_LV_52-3_0_6_node_124 | 0.4 | n |  | TRUE
136 | bus_LV_52-3_0_6_node_86 | 0.4 | n |  | TRUE
137 | bus_LV_52-3_0_6_node_89 | 0.4 | n |  | TRUE
138 | bus_LV_52-3_0_6_node_94 | 0.4 | n |  | TRUE
139 | bus_LV_52-3_0_6_node_95 | 0.4 | n |  | TRUE
140 | bus_LV_52-3_0_6_node_104 | 0.4 | n |  | TRUE
141 | bus_LV_52-3_0_6_node_106 | 0.4 | n |  | TRUE
142 | bus_LV_52-3_0_6_node_123 | 0.4 | n |  | TRUE
143 | bus_LV_52-3_0_6_node_121 | 0.4 | n |  | TRUE
144 | bus_LV_52-3_0_6_node_116 | 0.4 | n |  | TRUE
145 | bus_LV_52-3_0_6_node_113 | 0.4 | n |  | TRUE
146 | bus_LV_52-3_0_6_node_114 | 0.4 | n |  | TRUE
147 | bus_LV_52-3_0_6_node_120 | 0.4 | n |  | TRUE
148 | bus_LV_52-3_0_6_node_177 | 0.4 | n |  | TRUE
149 | bus_LV_52-3_0_6_node_130 | 0.4 | n |  | TRUE
150 | bus_LV_52-3_0_6_node_132 | 0.4 | n |  | TRUE
151 | bus_LV_52-3_0_6_node_133 | 0.4 | n |  | TRUE
152 | bus_LV_52-3_0_6_node_156 | 0.4 | n |  | TRUE
153 | bus_LV_52-3_0_6_node_149 | 0.4 | n |  | TRUE
154 | bus_LV_52-3_0_6_node_150 | 0.4 | n |  | TRUE
155 | bus_LV_52-3_0_6_node_147 | 0.4 | n |  | TRUE
156 | bus_LV_52-3_0_6_node_148 | 0.4 | n |  | TRUE
157 | bus_LV_52-3_0_6_node_162 | 0.4 | n |  | TRUE
158 | bus_LV_52-3_0_6_node_139 | 0.4 | n |  | TRUE
159 | bus_LV_52-3_0_6_node_151 | 0.4 | n |  | TRUE
160 | bus_LV_52-3_0_6_node_140 | 0.4 | n |  | TRUE
161 | bus_LV_52-3_0_6_node_141 | 0.4 | n |  | TRUE
162 | bus_LV_52-3_0_6_node_142 | 0.4 | n |  | TRUE
163 | bus_LV_52-3_0_6_node_161 | 0.4 | n |  | TRUE
164 | bus_LV_52-3_0_6_node_154 | 0.4 | n |  | TRUE
165 | bus_MV_457_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_52-3_0_6_load_0 | 0 | 0.020169 | 0.0050549 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_52-3_0_6_load_1 | 1 | 0.00060455 | 0.00015151 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_52-3_0_6_load_3 | 3 | 0.022826 | 0.0057208 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_52-3_0_6_load_5 | 5 | 0.00094414 | 0.00023662 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_52-3_0_6_load_59 | 6 | 0.00091093 | 0.0002283 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_52-3_0_6_load_153 | 8 | 0.00018269 | 4.5787e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_52-3_0_6_load_55 | 9 | 0.0018965 | 0.00047531 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_52-3_0_6_load_28 | 10 | 0.022706 | 0.0056907 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_52-3_0_6_load_25 | 11 | 0.0084598 | 0.0021202 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_52-3_0_6_load_152 | 12 | 0.00021692 | 5.4365e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_52-3_0_6_load_6 | 14 | 0.061487 | 0.01541 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_52-3_0_6_load_7 | 15 | 0.0030134 | 0.00075522 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_52-3_0_6_load_9 | 17 | 0.0041186 | 0.0010322 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_52-3_0_6_load_10 | 18 | 0.0020454 | 0.00051264 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_52-3_0_6_load_163 | 20 | 0.00038759 | 9.714e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_52-3_0_6_load_11 | 22 | 0.0049983 | 0.0012527 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_52-3_0_6_load_13 | 24 | 0.0022606 | 0.00056655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_52-3_0_6_load_176 | 27 | 0.002905 | 0.00072806 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_52-3_0_6_load_138 | 30 | 0.0065875 | 0.001651 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_52-3_0_6_load_145 | 32 | 0.0032672 | 0.00081883 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_52-3_0_6_load_136 | 33 | 0.0052866 | 0.0013249 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_52-3_0_6_load_43 | 35 | 0.0069397 | 0.0017393 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_52-3_0_6_load_30 | 36 | 0.0077494 | 0.0019422 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_52-3_0_6_load_173 | 37 | 0.001367 | 0.00034261 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_52-3_0_6_load_169 | 40 | 0.0095699 | 0.0023984 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_52-3_0_6_load_129 | 43 | 0.0037164 | 0.00093141 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_52-3_0_6_load_172 | 46 | 0.0021147 | 0.00053 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_52-3_0_6_load_19 | 47 | 0.0036117 | 0.00090518 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_52-3_0_6_load_20 | 48 | 0.0037017 | 0.00092773 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_52-3_0_6_load_46 | 53 | 0.0026354 | 0.00066049 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_52-3_0_6_load_26 | 54 | 0.010154 | 0.0025448 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_52-3_0_6_load_97 | 57 | 0.001354 | 0.00033935 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_52-3_0_6_load_52 | 58 | 0.0074871 | 0.0018765 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_52-3_0_6_load_50 | 59 | 0.0042625 | 0.0010683 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_52-3_0_6_load_47 | 60 | 0.0069585 | 0.001744 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_52-3_0_6_load_109 | 61 | 0.0029897 | 0.0007493 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_52-3_0_6_load_96 | 63 | 0.00098016 | 0.00024565 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_52-3_0_6_load_98 | 64 | 0.023508 | 0.0058917 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_52-3_0_6_load_99 | 65 | 0.0033322 | 0.00083512 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_52-3_0_6_load_29 | 66 | 0.0028232 | 0.00070756 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_52-3_0_6_load_42 | 69 | 0.0068442 | 0.0017153 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_52-3_0_6_load_38 | 70 | 0.0096903 | 0.0024286 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_52-3_0_6_load_167 | 71 | 0.0068442 | 0.0017153 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_52-3_0_6_load_168 | 72 | 0.0068467 | 0.0017159 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_52-3_0_6_load_158 | 75 | 0.0066508 | 0.0016668 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_52-3_0_6_load_134 | 76 | 0.0021606 | 0.0005415 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_52-3_0_6_load_127 | 78 | 0.0010662 | 0.00026721 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_52-3_0_6_load_87 | 80 | 0.00033241 | 8.331e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_52-3_0_6_load_125 | 81 | 0.0013417 | 0.00033625 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_52-3_0_6_load_159 | 82 | 0.0071078 | 0.0017814 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_52-3_0_6_load_160 | 83 | 0.0038927 | 0.00097561 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_52-3_0_6_load_171 | 84 | 0.0095704 | 0.0023986 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_52-3_0_6_load_170 | 85 | 0.0095704 | 0.0023986 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_52-3_0_6_load_88 | 88 | 0.0031681 | 0.00079399 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_52-3_0_6_load_85 | 89 | 0.0022236 | 0.00055728 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_52-3_0_6_load_143 | 90 | 0.003901 | 0.00097768 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_52-3_0_6_load_53 | 91 | 0.0044842 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_52-3_0_6_load_91 | 92 | 0.0024672 | 0.00061833 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_52-3_0_6_load_54 | 93 | 0.00056288 | 0.00014107 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_52-3_0_6_load_93 | 95 | 0.00094229 | 0.00023616 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_52-3_0_6_load_90 | 96 | 0.00077619 | 0.00019453 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_52-3_0_6_load_63 | 99 | 0.0043166 | 0.0010818 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_52-3_0_6_load_60 | 100 | 0.00081374 | 0.00020394 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_52-3_0_6_load_102 | 101 | 0.0029544 | 0.00074043 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_52-3_0_6_load_61 | 103 | 0.0055245 | 0.0013846 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_52-3_0_6_load_62 | 104 | 0.021923 | 0.0054943 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_52-3_0_6_load_111 | 106 | 0.0039873 | 0.00099931 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_52-3_0_6_load_78 | 107 | 0.0019606 | 0.00049137 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_52-3_0_6_load_175 | 109 | 0.0056689 | 0.0014208 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_52-3_0_6_load_67 | 111 | 0.0022858 | 0.00057287 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_52-3_0_6_load_68 | 112 | 0.0012163 | 0.00030484 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_52-3_0_6_load_155 | 113 | 0.00020239 | 5.0724e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_52-3_0_6_load_69 | 114 | 0.00058153 | 0.00014574 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_52-3_0_6_load_70 | 115 | 0.0014706 | 0.00036857 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_52-3_0_6_load_71 | 116 | 0.00088038 | 0.00022064 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_52-3_0_6_load_73 | 118 | 0.01062 | 0.0026616 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_52-3_0_6_load_74 | 119 | 0.0056858 | 0.001425 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_52-3_0_6_load_110 | 123 | 0.013706 | 0.0034349 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_52-3_0_6_load_178 | 124 | 0.010344 | 0.0025925 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_52-3_0_6_load_79 | 126 | 0.01307 | 0.0032755 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_52-3_0_6_load_174 | 131 | 0.00019608 | 4.9143e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_52-3_0_6_load_107 | 132 | 0.00093334 | 0.00023392 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_52-3_0_6_load_103 | 133 | 0.0068317 | 0.0017122 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_52-3_0_6_load_124 | 135 | 0.01051 | 0.0026341 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_52-3_0_6_load_86 | 136 | 0.00045058 | 0.00011292 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_52-3_0_6_load_89 | 137 | 0.0032366 | 0.00081117 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_52-3_0_6_load_94 | 138 | 0.0028421 | 0.00071229 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_52-3_0_6_load_95 | 139 | 0.0011961 | 0.00029976 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_52-3_0_6_load_104 | 140 | 0.0048598 | 0.001218 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_52-3_0_6_load_106 | 141 | 0.0019954 | 0.00050008 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_52-3_0_6_load_116 | 144 | 0.0049141 | 0.0012316 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_52-3_0_6_load_113 | 145 | 0.008199 | 0.0020549 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_52-3_0_6_load_114 | 146 | 0.0094039 | 0.0023568 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_52-3_0_6_load_120 | 147 | 0.0038657 | 0.00096882 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_52-3_0_6_load_177 | 148 | 0.001769 | 0.00044335 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_52-3_0_6_load_133 | 151 | 0.00507 | 0.0012707 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_52-3_0_6_load_156 | 152 | 0.0033696 | 0.0008445 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_52-3_0_6_load_149 | 153 | 0.0015087 | 0.00037811 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_52-3_0_6_load_150 | 154 | 0.00642 | 0.001609 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_52-3_0_6_load_147 | 155 | 0.0050752 | 0.001272 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_52-3_0_6_load_148 | 156 | 0.0076499 | 0.0019173 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_52-3_0_6_load_162 | 157 | 0.0060702 | 0.0015213 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_52-3_0_6_load_139 | 158 | 0.0024683 | 0.00061862 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_52-3_0_6_load_151 | 159 | 0.0064667 | 0.0016207 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_52-3_0_6_load_140 | 160 | 0.0056683 | 0.0014206 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_52-3_0_6_load_142 | 162 | 0.002379 | 0.00059623 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_52-3_0_6_load_161 | 163 | 0.0020922 | 0.00052435 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_52-3_0_6_load_154 | 164 | 0.0003488 | 8.7418e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 96 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_52-3_0_6_line_0 |  | 0 | 1 | 0.009686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_52-3_0_6_line_1 |  | 0 | 2 | 0.024415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_52-3_0_6_line_2 |  | 1 | 3 | 0.027674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_52-3_0_6_line_3 |  | 2 | 4 | 0.029233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_52-3_0_6_line_4 |  | 2 | 5 | 0.018662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_52-3_0_6_line_5 |  | 3 | 6 | 0.0036148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_52-3_0_6_line_6 |  | 4 | 7 | 0.00539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_52-3_0_6_line_7 |  | 4 | 8 | 0.022962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_52-3_0_6_line_8 |  | 5 | 9 | 0.011234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_52-3_0_6_line_9 |  | 7 | 10 | 0.026896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_52-3_0_6_line_10 |  | 7 | 11 | 0.032951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_52-3_0_6_line_11 |  | 8 | 12 | 0.01496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_52-3_0_6_line_12 |  | 9 | 13 | 0.016705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_52-3_0_6_line_13 |  | 10 | 64 | 0.031251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_52-3_0_6_line_14 |  | 11 | 54 | 0.011889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_52-3_0_6_line_15 |  | 12 | 164 | 0.019529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_52-3_0_6_line_16 |  | 13 | 97 | 0.031936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_52-3_0_6_line_17 |  | 14 | 15 | 0.0074965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_52-3_0_6_line_18 |  | 14 | 16 | 0.01132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_52-3_0_6_line_19 |  | 16 | 17 | 0.062777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_52-3_0_6_line_20 |  | 16 | 18 | 0.026891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_52-3_0_6_line_21 |  | 17 | 19 | 0.020865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_52-3_0_6_line_22 |  | 18 | 20 | 0.032241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_52-3_0_6_line_23 |  | 19 | 21 | 0.051208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_52-3_0_6_line_24 |  | 21 | 37 | 0.019294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_52-3_0_6_line_25 |  | 22 | 23 | 0.014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_52-3_0_6_line_26 |  | 22 | 24 | 0.016902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_52-3_0_6_line_27 |  | 23 | 25 | 0.027794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_52-3_0_6_line_28 |  | 23 | 26 | 0.099765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_52-3_0_6_line_29 |  | 25 | 27 | 0.031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_52-3_0_6_line_30 |  | 25 | 28 | 0.025039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_52-3_0_6_line_31 |  | 26 | 33 | 0.03005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_52-3_0_6_line_32 |  | 28 | 37 | 0.010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_52-3_0_6_line_33 |  | 28 | 34 | 0.0083182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_52-3_0_6_line_34 |  | 29 | 30 | 0.022799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_52-3_0_6_line_35 |  | 29 | 31 | 0.007762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_52-3_0_6_line_36 |  | 29 | 32 | 0.011127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_52-3_0_6_line_37 |  | 30 | 38 | 0.010531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_52-3_0_6_line_38 |  | 31 | 42 | 0.015396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_52-3_0_6_line_39 |  | 31 | 43 | 0.020927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_52-3_0_6_line_40 |  | 33 | 38 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_52-3_0_6_line_41 |  | 34 | 35 | 0.020375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_52-3_0_6_line_42 |  | 34 | 36 | 0.032239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_52-3_0_6_line_43 |  | 35 | 44 | 0.00026378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_52-3_0_6_line_44 |  | 38 | 158 | 0.034954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_52-3_0_6_line_45 |  | 39 | 40 | 0.016238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_52-3_0_6_line_46 |  | 39 | 41 | 0.012891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_52-3_0_6_line_47 |  | 40 | 74 | 0.025052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_52-3_0_6_line_48 |  | 41 | 71 | 0.0035932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_52-3_0_6_line_49 |  | 42 | 154 | 0.040684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_52-3_0_6_line_50 |  | 42 | 155 | 0.0079574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_52-3_0_6_line_51 |  | 44 | 60 | 0.012339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_52-3_0_6_line_52 |  | 44 | 45 | 0.003872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_52-3_0_6_line_53 |  | 45 | 46 | 0.011319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_52-3_0_6_line_54 |  | 46 | 90 | 0.0071809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_52-3_0_6_line_55 |  | 47 | 48 | 0.025161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_52-3_0_6_line_56 |  | 47 | 49 | 0.02627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_52-3_0_6_line_57 |  | 49 | 50 | 0.022611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_52-3_0_6_line_58 |  | 50 | 54 | 0.0070726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_52-3_0_6_line_59 |  | 51 | 52 | 0.023463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_52-3_0_6_line_60 |  | 51 | 53 | 0.016879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_52-3_0_6_line_61 |  | 52 | 58 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_52-3_0_6_line_62 |  | 52 | 59 | 0.0062161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_52-3_0_6_line_63 |  | 53 | 60 | 0.011969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_52-3_0_6_line_64 |  | 55 | 56 | 0.010584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_52-3_0_6_line_65 |  | 55 | 57 | 0.020671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_52-3_0_6_line_66 |  | 56 | 61 | 0.035664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_52-3_0_6_line_67 |  | 56 | 62 | 0.023178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_52-3_0_6_line_68 |  | 57 | 63 | 0.001992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_52-3_0_6_line_69 |  | 58 | 91 | 0.031651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_52-3_0_6_line_70 |  | 59 | 86 | 0.015833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_52-3_0_6_line_71 |  | 61 | 132 | 0.040366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_52-3_0_6_line_72 |  | 62 | 65 | 0.03041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_52-3_0_6_line_73 |  | 62 | 102 | 0.029993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_52-3_0_6_line_74 |  | 63 | 94 | 0.012126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_52-3_0_6_line_75 |  | 64 | 65 | 0.031393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_52-3_0_6_line_76 |  | 66 | 67 | 0.038027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_52-3_0_6_line_77 |  | 67 | 68 | 0.002811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_52-3_0_6_line_78 |  | 68 | 69 | 0.025188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_52-3_0_6_line_79 |  | 68 | 70 | 0.012032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_52-3_0_6_line_80 |  | 69 | 72 | 0.022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_52-3_0_6_line_81 |  | 70 | 73 | 0.050789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_52-3_0_6_line_82 |  | 71 | 72 | 0.019331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_52-3_0_6_line_83 |  | 73 | 86 | 0.022018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_52-3_0_6_line_84 |  | 74 | 85 | 0.04829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_52-3_0_6_line_85 |  | 75 | 76 | 0.023662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_52-3_0_6_line_86 |  | 76 | 149 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_52-3_0_6_line_87 |  | 77 | 78 | 0.026223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_52-3_0_6_line_88 |  | 77 | 79 | 0.1009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_52-3_0_6_line_89 |  | 77 | 80 | 0.0096088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_52-3_0_6_line_90 |  | 77 | 81 | 0.019044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_52-3_0_6_line_91 |  | 79 | 148 | 0.030555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_52-3_0_6_line_92 |  | 80 | 136 | 0.047222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_52-3_0_6_line_93 |  | 81 | 142 | 0.018174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_52-3_0_6_line_94 |  | 82 | 83 | 0.038174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_52-3_0_6_line_95 |  | 83 | 163 | 0.048947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_52-3_0_6_line_96 |  | 84 | 85 | 0.023218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_52-3_0_6_line_97 |  | 86 | 87 | 0.009143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_52-3_0_6_line_98 |  | 87 | 88 | 0.025884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_52-3_0_6_line_99 |  | 87 | 89 | 0.043597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_52-3_0_6_line_100 |  | 88 | 92 | 0.0035327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_52-3_0_6_line_101 |  | 90 | 161 | 0.0097155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_52-3_0_6_line_102 |  | 92 | 137 | 0.01868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_52-3_0_6_line_103 |  | 93 | 94 | 0.0083675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_52-3_0_6_line_104 |  | 94 | 95 | 0.018243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_52-3_0_6_line_105 |  | 94 | 96 | 0.010743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_52-3_0_6_line_106 |  | 95 | 138 | 0.019149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_52-3_0_6_line_107 |  | 96 | 137 | 0.020825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_52-3_0_6_line_108 |  | 97 | 100 | 0.024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_52-3_0_6_line_109 |  | 97 | 98 | 0.022777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_52-3_0_6_line_110 |  | 98 | 99 | 0.0052895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_52-3_0_6_line_111 |  | 101 | 102 | 0.024258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_52-3_0_6_line_112 |  | 102 | 119 | 0.020973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_52-3_0_6_line_113 |  | 103 | 104 | 0.017667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_52-3_0_6_line_114 |  | 104 | 105 | 0.018741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_52-3_0_6_line_115 |  | 105 | 106 | 0.002687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_52-3_0_6_line_116 |  | 105 | 107 | 0.044309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_52-3_0_6_line_117 |  | 106 | 117 | 0.039626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_52-3_0_6_line_118 |  | 107 | 120 | 0.013998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_52-3_0_6_line_119 |  | 108 | 109 | 0.053286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_52-3_0_6_line_120 |  | 108 | 110 | 0.028665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_52-3_0_6_line_121 |  | 110 | 113 | 0.046231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_52-3_0_6_line_122 |  | 111 | 112 | 0.03001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_52-3_0_6_line_123 |  | 112 | 114 | 0.020934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_52-3_0_6_line_124 |  | 113 | 164 | 0.011322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_52-3_0_6_line_125 |  | 114 | 115 | 0.0069669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_52-3_0_6_line_126 |  | 115 | 116 | 0.024251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_52-3_0_6_line_127 |  | 116 | 117 | 0.070971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_52-3_0_6_line_128 |  | 118 | 119 | 0.053654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_52-3_0_6_line_129 |  | 118 | 120 | 0.0055649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_52-3_0_6_line_130 |  | 120 | 121 | 0.021005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_52-3_0_6_line_131 |  | 121 | 122 | 0.009894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_52-3_0_6_line_132 |  | 121 | 123 | 0.020544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_52-3_0_6_line_133 |  | 122 | 124 | 0.047405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_52-3_0_6_line_134 |  | 123 | 125 | 0.02507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_52-3_0_6_line_135 |  | 125 | 127 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_52-3_0_6_line_136 |  | 126 | 127 | 0.015095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_52-3_0_6_line_137 |  | 128 | 129 | 0.073669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_52-3_0_6_line_138 |  | 128 | 130 | 0.071898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_52-3_0_6_line_139 |  | 128 | 131 | 0.044104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_52-3_0_6_line_140 |  | 129 | 132 | 0.0022429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_52-3_0_6_line_141 |  | 129 | 133 | 0.041929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_52-3_0_6_line_142 |  | 130 | 134 | 0.030941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_52-3_0_6_line_143 |  | 130 | 135 | 0.024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_52-3_0_6_line_144 |  | 134 | 144 | 0.015588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_52-3_0_6_line_145 |  | 135 | 143 | 0.021898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_52-3_0_6_line_146 |  | 138 | 139 | 0.008382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_52-3_0_6_line_147 |  | 140 | 141 | 0.0067128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_52-3_0_6_line_148 |  | 141 | 142 | 0.017717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_52-3_0_6_line_149 |  | 142 | 143 | 0.020333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_52-3_0_6_line_150 |  | 143 | 147 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_52-3_0_6_line_151 |  | 144 | 146 | 0.026094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_52-3_0_6_line_152 |  | 145 | 146 | 0.022174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_52-3_0_6_line_153 |  | 149 | 150 | 0.004497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_52-3_0_6_line_154 |  | 149 | 151 | 0.02826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_52-3_0_6_line_155 |  | 150 | 152 | 0.027772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_52-3_0_6_line_156 |  | 151 | 153 | 0.0065269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_52-3_0_6_line_157 |  | 153 | 156 | 0.017359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_52-3_0_6_line_158 |  | 154 | 157 | 0.041099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_52-3_0_6_line_159 |  | 155 | 156 | 0.0055032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_52-3_0_6_line_160 |  | 157 | 163 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_52-3_0_6_line_161 |  | 158 | 159 | 0.027649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_52-3_0_6_line_162 |  | 160 | 161 | 0.030456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_52-3_0_6_line_163 |  | 160 | 162 | 0.0025727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_52-3_0_6_trafo_90 | 0.63 MVA 20/0.4 kV | 165 | 96 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2689940.9136 | 1255797.8729 | 2689950.4203 | 1255799.7285
1 | 2689916.8275 | 1255793.8994 | 2689935.2045 | 1255796.7585 | 2689940.9136 | 1255797.8729
2 | 2689950.4203 | 1255799.7285 | 2689968.6272 | 1255803.2823 | 2689977.4794 | 1255805.4893
3 | 2689916.8275 | 1255793.8994 | 2689913.3159 | 1255764.8792
4 | 2689916.8275 | 1255793.8994 | 2689917.804 | 1255807.0801 | 2689917.1958 | 1255812.4917
5 | 2689977.4794 | 1255805.4893 | 2689980.9869 | 1255806.3637
6 | 2689914.9929 | 1255759.7562 | 2689913.3159 | 1255764.8792
7 | 2689913.3159 | 1255764.8792 | 2689894.7873 | 1255778.4417
8 | 2689915.9411 | 1255823.6556 | 2689917.1958 | 1255812.4917
9 | 2689914.9929 | 1255759.7562 | 2689941.4871 | 1255764.3852
10 | 2689914.9929 | 1255759.7562 | 2689919.5268 | 1255750.2955 | 2689924.4465 | 1255743.7429 | 2689932.2694 | 1255735.7666 | 2689934.3505 | 1255733.4774
11 | 2689880.2249 | 1255781.8679 | 2689894.7873 | 1255778.4417 | 2689894.7873 | 1255778.4417
12 | 2689910.689 | 1255839.4639 | 2689915.728 | 1255825.5518 | 2689915.9411 | 1255823.6556
13 | 2689972.2715 | 1255769.7638 | 2689941.4871 | 1255764.3852
14 | 2689934.3505 | 1255733.4774 | 2689942.3479 | 1255724.6806
15 | 2689880.2249 | 1255781.8679 | 2689879.3819 | 1255782.0663 | 2689860.7196 | 1255782.2246
16 | 2689910.689 | 1255839.4639 | 2689920.2613 | 1255844.9245 | 2689914.2602 | 1255858.6107 | 2689910.9107 | 1255863.5971
17 | 2689876.7316 | 1255717.1757 | 2689880.2976 | 1255714.3276 | 2689882.1501 | 1255712.0539
18 | 2689879.7672 | 1255701.0759 | 2689882.3325 | 1255710.967 | 2689882.1501 | 1255712.0539
19 | 2689879.7672 | 1255701.0759 | 2689887.2471 | 1255699.2881 | 2689897.1107 | 1255689.0632 | 2689913.3666 | 1255665.7252 | 2689917.0764 | 1255657.3861 | 2689917.9466 | 1255654.1919
20 | 2689879.7672 | 1255701.0759 | 2689874.5964 | 1255702.3095 | 2689861.1759 | 1255697.9024 | 2689855.6093 | 1255692.9525
21 | 2689918.7154 | 1255633.915 | 2689920.1116 | 1255637.8393 | 2689920.6463 | 1255641.8727 | 2689919.7766 | 1255647.475 | 2689917.9466 | 1255654.1919
22 | 2689831.5163 | 1255671.5285 | 2689855.6093 | 1255692.9525
23 | 2689918.7154 | 1255633.915 | 2689952.4628 | 1255595.3198
24 | 2689952.4628 | 1255595.3198 | 2689964.9846 | 1255580.6417
25 | 2689936.9139 | 1255532.9019 | 2689926.0435 | 1255543.2138
26 | 2689914.0216 | 1255555.0937 | 2689925.1806 | 1255544.0323 | 2689926.0435 | 1255543.2138
27 | 2689955.182 | 1255553.8956 | 2689936.9139 | 1255532.9019
28 | 2689936.9139 | 1255532.9019 | 2689942.5884 | 1255527.3282 | 2689946.28 | 1255531.6098 | 2689950.2223 | 1255528.823 | 2689955.1028 | 1255526.8512 | 2689959.7114 | 1255524.8975 | 2689966.498 | 1255522.0873 | 2689977.0489 | 1255514.8086 | 2689979.9681 | 1255509.8602 | 2689981.8685 | 1255500.9711 | 2689991.2161 | 1255471.6237 | 2689992.8162 | 1255466.6107
29 | 2689933.9946 | 1255576.5803 | 2689955.182 | 1255553.8956
30 | 2689971.8479 | 1255572.5966 | 2689967.6991 | 1255568.6194 | 2689955.182 | 1255553.8956
31 | 2689992.8162 | 1255466.6107 | 2690001.485 | 1255472.9807 | 2690016.6715 | 1255484.8795
32 | 2689971.8479 | 1255572.5966 | 2689964.9846 | 1255580.6417
33 | 2689971.8479 | 1255572.5966 | 2689974.8521 | 1255571.9751 | 2689979.9905 | 1255570.8968
34 | 2690061.2621 | 1255491.704 | 2690056.7926 | 1255489.4676 | 2690045.9458 | 1255488.4241 | 2690039.2589 | 1255490.1437
35 | 2690067.267 | 1255496.6436 | 2690061.2621 | 1255491.704
36 | 2690061.2621 | 1255491.704 | 2690064.0932 | 1255488.0887 | 2690068.5683 | 1255483.3259
37 | 2690029.9672 | 1255494.9529 | 2690037.1684 | 1255490.6813 | 2690039.2589 | 1255490.1437
38 | 2690073.1098 | 1255510.7545 | 2690071.3942 | 1255504.0232 | 2690067.267 | 1255496.6436
39 | 2690067.267 | 1255496.6436 | 2690066.8617 | 1255494.0354 | 2690067.4061 | 1255490.9746 | 2690069.7618 | 1255486.874 | 2690076.9543 | 1255479.2933
40 | 2690029.9672 | 1255494.9529 | 2690027.7859 | 1255493.0516 | 2690020.7778 | 1255488.0968 | 2690016.6715 | 1255484.8795
41 | 2689979.9905 | 1255570.8968 | 2689981.2211 | 1255572.817 | 2689992.2297 | 1255587.1775
42 | 2689979.9905 | 1255570.8968 | 2689984.5462 | 1255569.943 | 2689988.0573 | 1255565.7487 | 2689992.8738 | 1255562.0301 | 2689997.6864 | 1255556.0875 | 2690002.0106 | 1255549.5259 | 2690002.2693 | 1255549.07
43 | 2689992.2297 | 1255587.1775 | 2689992.3901 | 1255587.3869
44 | 2690029.9672 | 1255494.9529 | 2690024.3079 | 1255499.0256 | 2690018.6056 | 1255504.4431 | 2690013.5928 | 1255511.6392 | 2690007.9857 | 1255521.5034
45 | 2690122.1312 | 1255633.8625 | 2690118.7981 | 1255640.7283 | 2690115.0392 | 1255648.4698
46 | 2690110.0321 | 1255629.3749 | 2690116.1771 | 1255632.0372 | 2690122.1312 | 1255633.8625
47 | 2690106.2137 | 1255670.5822 | 2690109.1117 | 1255664.0545 | 2690108.6627 | 1255656.3862 | 2690114.1567 | 1255650.2873 | 2690115.0392 | 1255648.4698
48 | 2690110.0321 | 1255629.3749 | 2690106.9118 | 1255627.593
49 | 2690073.1098 | 1255510.7545 | 2690073.101 | 1255516.7813 | 2690071.9914 | 1255524.7595 | 2690070.563 | 1255533.8559 | 2690069.7225 | 1255539.5142 | 2690069.2377 | 1255546.0897 | 2690069.2689 | 1255551.1705
50 | 2690073.1098 | 1255510.7545 | 2690080.8352 | 1255512.6616
51 | 2689992.3901 | 1255587.3869 | 2689998.9296 | 1255597.8499
52 | 2689992.3901 | 1255587.3869 | 2689989.4846 | 1255589.9558
53 | 2689989.4846 | 1255589.9558 | 2689980.9945 | 1255597.4413
54 | 2689975.6082 | 1255602.1902 | 2689980.9945 | 1255597.4413
55 | 2689979.5349 | 1255653.6916 | 2689973.1707 | 1255670.1591 | 2689970.3724 | 1255677.1246
56 | 2689960.8946 | 1255701.6193 | 2689963.1982 | 1255694.9824 | 2689970.3724 | 1255677.1246
57 | 2689946.5397 | 1255718.9925 | 2689954.5876 | 1255707.6281 | 2689960.8946 | 1255701.6193
58 | 2689946.5397 | 1255718.9925 | 2689943.0785 | 1255723.877 | 2689942.3479 | 1255724.6806
59 | 2690021.9864 | 1255630.8037 | 2690014.1188 | 1255629.8056 | 2690007.9069 | 1255628.5546 | 2690004.2418 | 1255627.4981 | 2689999.2824 | 1255625.2432
60 | 2689999.2824 | 1255625.2432 | 2690002.6827 | 1255617.9225 | 2690002.9599 | 1255609.1199
61 | 2690021.9864 | 1255630.8037 | 2690016.0391 | 1255651.6364
62 | 2690021.9864 | 1255630.8037 | 2690028.1691 | 1255631.4477
63 | 2690002.9599 | 1255609.1199 | 2689998.9296 | 1255597.8499
64 | 2690034.8395 | 1255757.2862 | 2690024.5526 | 1255754.6722
65 | 2690024.5526 | 1255754.6722 | 2690025.8821 | 1255750.5782 | 2690026.6998 | 1255745.4199 | 2690028.438 | 1255734.4124
66 | 2690034.8395 | 1255757.2862 | 2690070.376 | 1255760.2944
67 | 2690034.8395 | 1255757.2862 | 2690033.1527 | 1255780.4008
68 | 2690028.7487 | 1255732.4447 | 2690028.438 | 1255734.4124
69 | 2690016.0391 | 1255651.6364 | 2690010.3612 | 1255671.5253 | 2690008.4498 | 1255682.3246
70 | 2690042.2845 | 1255638.3181 | 2690030.1129 | 1255631.6501 | 2690028.1691 | 1255631.4477
71 | 2690110.6076 | 1255763.5791 | 2690089.774 | 1255761.9364 | 2690070.376 | 1255760.2944
72 | 2690033.1527 | 1255780.4008 | 2690003.1966 | 1255775.1669
73 | 2690034.8232 | 1255809.9157 | 2690031.7002 | 1255798.5261 | 2690033.1527 | 1255780.4008
74 | 2690027.2184 | 1255720.7531 | 2690029.513 | 1255727.6044 | 2690028.7487 | 1255732.4447
75 | 2689972.2715 | 1255769.7638 | 2690003.1966 | 1255775.1669
76 | 2690064.0187 | 1255577.2456 | 2690061.0177 | 1255568.2375 | 2690059.4225 | 1255561.0298 | 2690058.8214 | 1255553.9374 | 2690059.2767 | 1255544.8373 | 2690059.9027 | 1255539.9562
77 | 2690064.0187 | 1255577.2456 | 2690061.9974 | 1255579.2053
78 | 2690061.9974 | 1255579.2053 | 2690066.7765 | 1255587.3621 | 2690071.1733 | 1255593.8674 | 2690076.2887 | 1255599.865
79 | 2690061.9974 | 1255579.2053 | 2690053.3429 | 1255587.5638
80 | 2690091.6822 | 1255615.8335 | 2690086.4886 | 1255610.58 | 2690083.1677 | 1255607.2268 | 2690077.5247 | 1255601.3142 | 2690076.2887 | 1255599.865
81 | 2690063.3986 | 1255631.8675 | 2690047.4484 | 1255603.8365 | 2690046.8354 | 1255596.0323 | 2690051.8072 | 1255589.0469 | 2690053.3429 | 1255587.5638
82 | 2690106.9118 | 1255627.593 | 2690103.5707 | 1255625.6849 | 2690099.6724 | 1255623.1013 | 2690093.6873 | 1255617.8618 | 2690091.6822 | 1255615.8335
83 | 2690063.3986 | 1255631.8675 | 2690042.2845 | 1255638.3181
84 | 2690106.2137 | 1255670.5822 | 2690119.5228 | 1255675.3662 | 2690153.613 | 1255673.3943
85 | 2690148.3121 | 1255564.9292 | 2690143.7295 | 1255561.9576 | 2690139.5789 | 1255557.1129 | 2690136.5811 | 1255551.8632 | 2690134.7118 | 1255546.3989
86 | 2690135.6125 | 1255530.2762 | 2690134.1213 | 1255535.0683 | 2690134.0534 | 1255544.4746 | 2690134.7118 | 1255546.3989
87 | 2690255.2638 | 1255738.2711 | 2690260.9505 | 1255739.8146 | 2690265.5171 | 1255740.1177 | 2690274.3548 | 1255737.3503 | 2690280.8141 | 1255736.688
88 | 2690322.8743 | 1255687.3512 | 2690313.9249 | 1255693.9755 | 2690307.2875 | 1255697.388 | 2690302.2464 | 1255696.5438 | 2690297.1044 | 1255692.4177 | 2690290.0896 | 1255690.4092 | 2690283.6479 | 1255691.3784 | 2690273.1345 | 1255703.1162 | 2690269.252 | 1255703.9577 | 2690264.9735 | 1255714.4339 | 2690257.1105 | 1255733.4177 | 2690255.2638 | 1255738.2711
89 | 2690255.2638 | 1255738.2711 | 2690247.7312 | 1255736.088 | 2690245.9751 | 1255735.8991
90 | 2690255.2638 | 1255738.2711 | 2690252.9544 | 1255743.7847 | 2690245.2582 | 1255754.3445
91 | 2690313.7143 | 1255713.7098 | 2690325.6212 | 1255697.1674 | 2690322.8743 | 1255687.3512
92 | 2690204.3778 | 1255716.1864 | 2690210.1909 | 1255718.6024 | 2690232.4284 | 1255734.4424 | 2690245.9751 | 1255735.8991
93 | 2690236.0577 | 1255769.992 | 2690239.0047 | 1255764.2102 | 2690244.4102 | 1255755.508 | 2690245.2582 | 1255754.3445
94 | 2690172.3836 | 1255620.6593 | 2690136.5568 | 1255622.7957 | 2690134.3092 | 1255622.3927
95 | 2690134.3092 | 1255622.3927 | 2690128.56 | 1255621.3618 | 2690120.6239 | 1255619.4062 | 2690113.9468 | 1255616.5134 | 2690109.1475 | 1255613.6493 | 2690103.1159 | 1255608.9872 | 2690098.5656 | 1255604.6368 | 2690092.8787 | 1255598.802
96 | 2690153.613 | 1255673.3943 | 2690176.7918 | 1255672.0535
97 | 2690042.2845 | 1255638.3181 | 2690047.1376 | 1255646.0757
98 | 2690047.1376 | 1255646.0757 | 2690048.4316 | 1255650.2653 | 2690050.5084 | 1255660.0267 | 2690045.2932 | 1255670.2978
99 | 2690047.1376 | 1255646.0757 | 2690050.1385 | 1255648.1452 | 2690065.0198 | 1255668.087 | 2690072.1892 | 1255676.3024 | 2690075.4806 | 1255678.8564
100 | 2690043.6938 | 1255673.4476 | 2690045.2932 | 1255670.2978
101 | 2689968.3206 | 1255608.6154 | 2689975.6082 | 1255602.1902
102 | 2690043.6938 | 1255673.4476 | 2690040.4457 | 1255679.8446 | 2690036.0443 | 1255690.4755
103 | 2690027.2184 | 1255720.7531 | 2690019.1862 | 1255718.4083
104 | 2690027.2184 | 1255720.7531 | 2690036.218 | 1255721.2236 | 2690045.1416 | 1255723.5847
105 | 2690027.2184 | 1255720.7531 | 2690030.0429 | 1255710.3877
106 | 2690045.1416 | 1255723.5847 | 2690063.6538 | 1255728.4829
107 | 2690036.0443 | 1255690.4755 | 2690034.3609 | 1255694.5413 | 2690030.0429 | 1255710.3877
108 | 2689910.9107 | 1255863.5971 | 2689934.8087 | 1255860.4169
109 | 2689892.2265 | 1255876.012 | 2689896.5928 | 1255875.0886 | 2689910.9107 | 1255863.5971
110 | 2689892.2265 | 1255876.012 | 2689889.5154 | 1255880.5539
111 | 2690034.8232 | 1255809.9157 | 2690025.5552 | 1255814.2115 | 2690011.5565 | 1255813.0965
112 | 2690034.8232 | 1255809.9157 | 2690055.6708 | 1255812.2061
113 | 2690002.1456 | 1255855.8361 | 2690005.0982 | 1255855.8663 | 2690019.4532 | 1255859.0966
114 | 2690037.1359 | 1255865.1494 | 2690025.2373 | 1255860.3981 | 2690019.4532 | 1255859.0966
115 | 2690037.1359 | 1255865.1494 | 2690039.3148 | 1255866.7217
116 | 2690037.1359 | 1255865.1494 | 2690058.5317 | 1255861.9389 | 2690081.1944 | 1255861.2275
117 | 2690039.5599 | 1255901.6591 | 2690044.4016 | 1255890.8131 | 2690047.4619 | 1255875.5923 | 2690043.448 | 1255869.7044 | 2690039.3148 | 1255866.7217
118 | 2690081.4075 | 1255847.2309 | 2690081.1944 | 1255861.2275
119 | 2689816.0784 | 1255810.4612 | 2689869.5214 | 1255809.9828
120 | 2689816.0784 | 1255810.4612 | 2689813.7897 | 1255805.2002 | 2689811.5888 | 1255800.1185 | 2689808.89 | 1255796.0299 | 2689803.4561 | 1255784.7832
121 | 2689803.4561 | 1255784.7832 | 2689811.2581 | 1255782.6443 | 2689849.3977 | 1255782.3207
122 | 2689899.3357 | 1255926.7129 | 2689926.5077 | 1255913.9742
123 | 2689926.5077 | 1255913.9742 | 2689926.9467 | 1255913.7684 | 2689946.3444 | 1255907.2964
124 | 2689860.7196 | 1255782.2246 | 2689849.3977 | 1255782.3207
125 | 2689952.9532 | 1255905.0914 | 2689946.3444 | 1255907.2964
126 | 2689952.9532 | 1255905.0914 | 2689975.958 | 1255897.4159
127 | 2690039.5599 | 1255901.6591 | 2690027.6893 | 1255907.4609 | 2690016.7347 | 1255910.5745 | 2690007.7331 | 1255908.2804 | 2689997.375 | 1255897.4701 | 2689988.4251 | 1255894.7431 | 2689976.3856 | 1255897.2732 | 2689975.958 | 1255897.4159
128 | 2690055.6708 | 1255812.2061 | 2690082.6424 | 1255815.1693 | 2690081.6217 | 1255841.6702
129 | 2690081.4075 | 1255847.2309 | 2690081.6217 | 1255841.6702
130 | 2690081.4075 | 1255847.2309 | 2690102.2983 | 1255849.9509
131 | 2690102.2983 | 1255849.9509 | 2690112.1376 | 1255851.2349
132 | 2690102.2983 | 1255849.9509 | 2690101.1151 | 1255839.9696 | 2690111.5806 | 1255839.2165
133 | 2690112.1376 | 1255851.2349 | 2690111.401 | 1255857.006 | 2690151.1338 | 1255869.665
134 | 2690135.8061 | 1255835.5051 | 2690119.8855 | 1255836.2968 | 2690116.1651 | 1255838.8866 | 2690111.5806 | 1255839.2165
135 | 2690152.7941 | 1255842.3801 | 2690135.8061 | 1255835.5051
136 | 2690152.7941 | 1255842.3801 | 2690162.5979 | 1255846.4881 | 2690167.0614 | 1255846.3685
137 | 2690148.1393 | 1255803.8015 | 2690150.4507 | 1255790.2262 | 2690157.1773 | 1255779.9539 | 2690146.5688 | 1255773.6987 | 2690136.1745 | 1255769.2259 | 2690126.0434 | 1255766.2916 | 2690112.8436 | 1255763.7554
138 | 2690148.1393 | 1255803.8015 | 2690150.4507 | 1255790.2262 | 2690157.1773 | 1255779.9539 | 2690165.9493 | 1255786.9373 | 2690191.0284 | 1255810.8267
139 | 2690148.1393 | 1255803.8015 | 2690131.7527 | 1255802.9959 | 2690104.1651 | 1255800.5289
140 | 2690112.8436 | 1255763.7554 | 2690110.6076 | 1255763.5791
141 | 2690112.8436 | 1255763.7554 | 2690113.501 | 1255758.7282 | 2690114.3849 | 1255749.7236 | 2690114.8104 | 1255742.5912 | 2690135.4721 | 1255742.196
142 | 2690191.0284 | 1255810.8267 | 2690200.5863 | 1255822.1588 | 2690209.5617 | 1255835.5838
143 | 2690191.0284 | 1255810.8267 | 2690195.8095 | 1255809.4206 | 2690212.2719 | 1255806.736 | 2690214.3455 | 1255805.4396
144 | 2690209.5617 | 1255835.5838 | 2690215.4789 | 1255849.7071 | 2690215.551 | 1255849.9729
145 | 2690226.805 | 1255788.1096 | 2690225.8952 | 1255789.8971 | 2690224.3021 | 1255794.9434 | 2690221.3726 | 1255799.0798 | 2690216.4911 | 1255804.0982 | 2690214.3455 | 1255805.4396
146 | 2690071.757 | 1255730.6269 | 2690063.6538 | 1255728.4829
147 | 2690215.5471 | 1255757.3362 | 2690216.3186 | 1255759.0049 | 2690220.5776 | 1255761.3756
148 | 2690236.0577 | 1255769.992 | 2690220.5776 | 1255761.3756
149 | 2690236.0577 | 1255769.992 | 2690226.805 | 1255788.1096
150 | 2690226.805 | 1255788.1096 | 2690247.8855 | 1255793.1088
151 | 2690222.3812 | 1255875.1569 | 2690215.551 | 1255849.9729
152 | 2690224.2704 | 1255897.234 | 2690223.6684 | 1255889.4405 | 2690222.6348 | 1255876.0922 | 2690222.3812 | 1255875.1569
153 | 2690135.6125 | 1255530.2762 | 2690139.8197 | 1255531.897
154 | 2690135.6125 | 1255530.2762 | 2690133.7 | 1255529.5465 | 2690126.4852 | 1255526.779 | 2690109.226 | 1255520.1578
155 | 2690139.8197 | 1255531.897 | 2690139.0705 | 1255543.9394 | 2690143.102 | 1255553.6305 | 2690146.6299 | 1255557.4648
156 | 2690103.0315 | 1255518.1407 | 2690105.6585 | 1255518.7892 | 2690109.226 | 1255520.1578
157 | 2690103.0315 | 1255518.1407 | 2690086.1781 | 1255513.9804
158 | 2690069.2689 | 1255551.1705 | 2690069.2898 | 1255554.5638 | 2690069.8706 | 1255560.5105 | 2690071.6836 | 1255567.7771 | 2690075.2799 | 1255576.8277 | 2690078.2452 | 1255581.7322 | 2690082.8821 | 1255587.8297 | 2690083.613 | 1255588.6659
159 | 2690080.8352 | 1255512.6616 | 2690086.1781 | 1255513.9804
160 | 2690092.8787 | 1255598.802 | 2690088.9396 | 1255594.7605 | 2690083.613 | 1255588.6659
161 | 2690007.9857 | 1255521.5034 | 2690004.8885 | 1255526.9521 | 2689993.5633 | 1255545.0881
162 | 2689968.3206 | 1255608.6154 | 2689965.0787 | 1255611.4795 | 2689970.6169 | 1255616.8456 | 2689958.6424 | 1255630.8403
163 | 2689956.9698 | 1255632.7951 | 2689958.6424 | 1255630.8403

## bus_geodata
| x | y | coords
0 | 2689940.9136 | 1255797.8729
1 | 2689950.4203 | 1255799.7285
2 | 2689916.8275 | 1255793.8995
3 | 2689977.4794 | 1255805.4893
4 | 2689913.3159 | 1255764.8792
5 | 2689917.1958 | 1255812.4917
6 | 2689980.9869 | 1255806.3637
7 | 2689914.9929 | 1255759.7562
8 | 2689894.7873 | 1255778.4417
9 | 2689915.9411 | 1255823.6556
10 | 2689941.4871 | 1255764.3852
11 | 2689934.3505 | 1255733.4774
12 | 2689880.2249 | 1255781.8679
13 | 2689910.689 | 1255839.4639
14 | 2689882.1501 | 1255712.0539
15 | 2689876.7316 | 1255717.1757
16 | 2689879.7672 | 1255701.0759
17 | 2689917.9466 | 1255654.1919
18 | 2689855.6093 | 1255692.9525
19 | 2689918.7154 | 1255633.915
20 | 2689831.5163 | 1255671.5285
21 | 2689952.4628 | 1255595.3198
22 | 2689926.0435 | 1255543.2138
23 | 2689936.9139 | 1255532.9019
24 | 2689914.0216 | 1255555.0937
25 | 2689955.182 | 1255553.8956
26 | 2689992.8162 | 1255466.6107
27 | 2689933.9946 | 1255576.5803
28 | 2689971.8479 | 1255572.5966
29 | 2690061.2621 | 1255491.704
30 | 2690039.2589 | 1255490.1437
31 | 2690067.267 | 1255496.6436
32 | 2690068.5683 | 1255483.3259
33 | 2690016.6715 | 1255484.8795
34 | 2689979.9905 | 1255570.8968
35 | 2689992.2297 | 1255587.1775
36 | 2690002.2693 | 1255549.07
37 | 2689964.9846 | 1255580.6417
38 | 2690029.9672 | 1255494.9529
39 | 2690122.1312 | 1255633.8625
40 | 2690115.0392 | 1255648.4698
41 | 2690110.0321 | 1255629.3749
42 | 2690073.1098 | 1255510.7545
43 | 2690076.9543 | 1255479.2933
44 | 2689992.3901 | 1255587.3869
45 | 2689989.4846 | 1255589.9558
46 | 2689980.9945 | 1255597.4413
47 | 2689970.3724 | 1255677.1246
48 | 2689979.5349 | 1255653.6916
49 | 2689960.8946 | 1255701.6193
50 | 2689946.5397 | 1255718.9925
51 | 2689999.2824 | 1255625.2432
52 | 2690021.9864 | 1255630.8037
53 | 2690002.9599 | 1255609.1199
54 | 2689942.3479 | 1255724.6806
55 | 2690024.5526 | 1255754.6722
56 | 2690034.8395 | 1255757.2862
57 | 2690028.438 | 1255734.4124
58 | 2690016.0391 | 1255651.6364
59 | 2690028.1691 | 1255631.4477
60 | 2689998.9296 | 1255597.8499
61 | 2690070.376 | 1255760.2944
62 | 2690033.1527 | 1255780.4008
63 | 2690028.7487 | 1255732.4447
64 | 2689972.2715 | 1255769.7638
65 | 2690003.1966 | 1255775.1669
66 | 2690059.9027 | 1255539.9562
67 | 2690064.0187 | 1255577.2456
68 | 2690061.9974 | 1255579.2053
69 | 2690076.2887 | 1255599.865
70 | 2690053.3429 | 1255587.5638
71 | 2690106.9118 | 1255627.593
72 | 2690091.6822 | 1255615.8335
73 | 2690063.3986 | 1255631.8675
74 | 2690106.2137 | 1255670.5822
75 | 2690148.3121 | 1255564.9292
76 | 2690134.7118 | 1255546.3989
77 | 2690255.2638 | 1255738.2711
78 | 2690280.8141 | 1255736.688
79 | 2690322.8743 | 1255687.3512
80 | 2690245.9751 | 1255735.8991
81 | 2690245.2582 | 1255754.3445
82 | 2690172.3836 | 1255620.6593
83 | 2690134.3092 | 1255622.3927
84 | 2690176.7918 | 1255672.0535
85 | 2690153.613 | 1255673.3943
86 | 2690042.2845 | 1255638.3181
87 | 2690047.1376 | 1255646.0757
88 | 2690045.2932 | 1255670.2978
89 | 2690075.4806 | 1255678.8564
90 | 2689975.6082 | 1255602.1902
91 | 2690008.4498 | 1255682.3246
92 | 2690043.6938 | 1255673.4476
93 | 2690019.1862 | 1255718.4083
94 | 2690027.2184 | 1255720.7531
95 | 2690045.1416 | 1255723.5847
96 | 2690030.0429 | 1255710.3877
97 | 2689910.9107 | 1255863.5971
98 | 2689892.2265 | 1255876.012
99 | 2689889.5154 | 1255880.5539
100 | 2689934.8087 | 1255860.4169
101 | 2690011.5565 | 1255813.0965
102 | 2690034.8232 | 1255809.9157
103 | 2690002.1456 | 1255855.8361
104 | 2690019.4532 | 1255859.0966
105 | 2690037.1359 | 1255865.1494
106 | 2690039.3148 | 1255866.7217
107 | 2690081.1944 | 1255861.2275
108 | 2689816.0784 | 1255810.4612
109 | 2689869.5214 | 1255809.9828
110 | 2689803.4561 | 1255784.7832
111 | 2689899.3357 | 1255926.7129
112 | 2689926.5077 | 1255913.9742
113 | 2689849.3977 | 1255782.3207
114 | 2689946.3444 | 1255907.2964
115 | 2689952.9532 | 1255905.0914
116 | 2689975.958 | 1255897.4159
117 | 2690039.5599 | 1255901.6591
118 | 2690081.6217 | 1255841.6702
119 | 2690055.6708 | 1255812.2061
120 | 2690081.4075 | 1255847.2309
121 | 2690102.2983 | 1255849.9509
122 | 2690112.1376 | 1255851.2349
123 | 2690111.5806 | 1255839.2165
124 | 2690151.1338 | 1255869.665
125 | 2690135.8061 | 1255835.5051
126 | 2690167.0614 | 1255846.3685
127 | 2690152.7941 | 1255842.3801
128 | 2690148.1393 | 1255803.8015
129 | 2690112.8436 | 1255763.7554
130 | 2690191.0284 | 1255810.8267
131 | 2690104.1651 | 1255800.5289
132 | 2690110.6076 | 1255763.5791
133 | 2690135.4721 | 1255742.196
134 | 2690209.5617 | 1255835.5838
135 | 2690214.3455 | 1255805.4396
136 | 2690204.3778 | 1255716.1864
137 | 2690036.0443 | 1255690.4755
138 | 2690063.6538 | 1255728.4829
139 | 2690071.757 | 1255730.6269
140 | 2690215.5471 | 1255757.3362
141 | 2690220.5776 | 1255761.3756
142 | 2690236.0577 | 1255769.992
143 | 2690226.805 | 1255788.1096
144 | 2690215.551 | 1255849.9729
145 | 2690224.2704 | 1255897.234
146 | 2690222.3812 | 1255875.1569
147 | 2690247.8855 | 1255793.1088
148 | 2690313.7143 | 1255713.7098
149 | 2690135.6125 | 1255530.2762
150 | 2690139.8197 | 1255531.897
151 | 2690109.226 | 1255520.1578
152 | 2690146.6299 | 1255557.4647
153 | 2690103.0315 | 1255518.1407
154 | 2690069.2689 | 1255551.1705
155 | 2690080.8352 | 1255512.6616
156 | 2690086.1781 | 1255513.9804
157 | 2690083.613 | 1255588.6659
158 | 2690007.9857 | 1255521.5034
159 | 2689993.5633 | 1255545.0881
160 | 2689958.6424 | 1255630.8403
161 | 2689968.3206 | 1255608.6154
162 | 2689956.9698 | 1255632.7951
163 | 2690092.8787 | 1255598.802
164 | 2689860.7196 | 1255782.2246
165 | 2690027.2184 | 1255720.7531

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1