## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_52-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_52-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_52-4_0_6_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_52-4_0_6_node_119 | 0.4 | n |  | TRUE
4 | bus_LV_52-4_0_6_node_117 | 0.4 | n |  | TRUE
5 | bus_LV_52-4_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_52-4_0_6_node_146 | 0.4 | n |  | TRUE
7 | bus_LV_52-4_0_6_node_145 | 0.4 | n |  | TRUE
8 | bus_LV_52-4_0_6_node_134 | 0.4 | n |  | TRUE
9 | bus_LV_52-4_0_6_node_118 | 0.4 | n |  | TRUE
10 | bus_LV_52-4_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_52-4_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_52-4_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_52-4_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_52-4_0_6_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_52-4_0_6_node_125 | 0.4 | n |  | TRUE
16 | bus_LV_52-4_0_6_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_52-4_0_6_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_52-4_0_6_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_52-4_0_6_node_123 | 0.4 | n |  | TRUE
20 | bus_LV_52-4_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_52-4_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_52-4_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_52-4_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_52-4_0_6_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_52-4_0_6_node_126 | 0.4 | n |  | TRUE
26 | bus_LV_52-4_0_6_node_155 | 0.4 | n |  | TRUE
27 | bus_LV_52-4_0_6_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_52-4_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_52-4_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_52-4_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_52-4_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_52-4_0_6_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_52-4_0_6_node_103 | 0.4 | n |  | TRUE
34 | bus_LV_52-4_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_52-4_0_6_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_52-4_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_52-4_0_6_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_52-4_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_52-4_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_52-4_0_6_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_52-4_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_52-4_0_6_node_157 | 0.4 | n |  | TRUE
43 | bus_LV_52-4_0_6_node_102 | 0.4 | n |  | TRUE
44 | bus_LV_52-4_0_6_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_52-4_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_52-4_0_6_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_52-4_0_6_node_120 | 0.4 | n |  | TRUE
48 | bus_LV_52-4_0_6_node_127 | 0.4 | n |  | TRUE
49 | bus_LV_52-4_0_6_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_52-4_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_52-4_0_6_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_52-4_0_6_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_52-4_0_6_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_52-4_0_6_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_52-4_0_6_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_52-4_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_52-4_0_6_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_52-4_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_52-4_0_6_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_52-4_0_6_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_52-4_0_6_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_52-4_0_6_node_153 | 0.4 | n |  | TRUE
63 | bus_LV_52-4_0_6_node_110 | 0.4 | n |  | TRUE
64 | bus_LV_52-4_0_6_node_112 | 0.4 | n |  | TRUE
65 | bus_LV_52-4_0_6_node_108 | 0.4 | n |  | TRUE
66 | bus_LV_52-4_0_6_node_171 | 0.4 | n |  | TRUE
67 | bus_LV_52-4_0_6_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_52-4_0_6_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_52-4_0_6_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_52-4_0_6_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_52-4_0_6_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_52-4_0_6_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_52-4_0_6_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_52-4_0_6_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_52-4_0_6_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_52-4_0_6_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_52-4_0_6_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_52-4_0_6_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_52-4_0_6_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_52-4_0_6_node_105 | 0.4 | n |  | TRUE
81 | bus_LV_52-4_0_6_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_52-4_0_6_node_55 | 0.4 | n |  | TRUE
83 | bus_LV_52-4_0_6_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_52-4_0_6_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_52-4_0_6_node_58 | 0.4 | n |  | TRUE
86 | bus_LV_52-4_0_6_node_59 | 0.4 | n |  | TRUE
87 | bus_LV_52-4_0_6_node_60 | 0.4 | n |  | TRUE
88 | bus_LV_52-4_0_6_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_52-4_0_6_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_52-4_0_6_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_52-4_0_6_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_52-4_0_6_node_75 | 0.4 | n |  | TRUE
93 | bus_LV_52-4_0_6_node_76 | 0.4 | n |  | TRUE
94 | bus_LV_52-4_0_6_node_154 | 0.4 | n |  | TRUE
95 | bus_LV_52-4_0_6_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_52-4_0_6_node_63 | 0.4 | n |  | TRUE
97 | bus_LV_52-4_0_6_node_158 | 0.4 | n |  | TRUE
98 | bus_LV_52-4_0_6_node_64 | 0.4 | n |  | TRUE
99 | bus_LV_52-4_0_6_node_65 | 0.4 | n |  | TRUE
100 | bus_LV_52-4_0_6_node_66 | 0.4 | n |  | TRUE
101 | bus_LV_52-4_0_6_node_67 | 0.4 | n |  | TRUE
102 | bus_LV_52-4_0_6_node_68 | 0.4 | n |  | TRUE
103 | bus_LV_52-4_0_6_node_170 | 0.4 | n |  | TRUE
104 | bus_LV_52-4_0_6_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_52-4_0_6_node_87 | 0.4 | n |  | TRUE
106 | bus_LV_52-4_0_6_node_92 | 0.4 | n |  | TRUE
107 | bus_LV_52-4_0_6_node_95 | 0.4 | n |  | TRUE
108 | bus_LV_52-4_0_6_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_52-4_0_6_node_98 | 0.4 | n |  | TRUE
110 | bus_LV_52-4_0_6_node_93 | 0.4 | n |  | TRUE
111 | bus_LV_52-4_0_6_node_69 | 0.4 | n |  | TRUE
112 | bus_LV_52-4_0_6_node_70 | 0.4 | n |  | TRUE
113 | bus_LV_52-4_0_6_node_71 | 0.4 | n |  | TRUE
114 | bus_LV_52-4_0_6_node_72 | 0.4 | n |  | TRUE
115 | bus_LV_52-4_0_6_node_100 | 0.4 | n |  | TRUE
116 | bus_LV_52-4_0_6_node_111 | 0.4 | n |  | TRUE
117 | bus_LV_52-4_0_6_node_152 | 0.4 | n |  | TRUE
118 | bus_LV_52-4_0_6_node_99 | 0.4 | n |  | TRUE
119 | bus_LV_52-4_0_6_node_80 | 0.4 | n |  | TRUE
120 | bus_LV_52-4_0_6_node_81 | 0.4 | n |  | TRUE
121 | bus_LV_52-4_0_6_node_85 | 0.4 | n |  | TRUE
122 | bus_LV_52-4_0_6_node_86 | 0.4 | n |  | TRUE
123 | bus_LV_52-4_0_6_node_106 | 0.4 | n |  | TRUE
124 | bus_LV_52-4_0_6_node_109 | 0.4 | n |  | TRUE
125 | bus_LV_52-4_0_6_node_107 | 0.4 | n |  | TRUE
126 | bus_LV_52-4_0_6_node_164 | 0.4 | n |  | TRUE
127 | bus_LV_52-4_0_6_node_167 | 0.4 | n |  | TRUE
128 | bus_LV_52-4_0_6_node_115 | 0.4 | n |  | TRUE
129 | bus_LV_52-4_0_6_node_113 | 0.4 | n |  | TRUE
130 | bus_LV_52-4_0_6_node_165 | 0.4 | n |  | TRUE
131 | bus_LV_52-4_0_6_node_163 | 0.4 | n |  | TRUE
132 | bus_LV_52-4_0_6_node_172 | 0.4 | n |  | TRUE
133 | bus_LV_52-4_0_6_node_116 | 0.4 | n |  | TRUE
134 | bus_LV_52-4_0_6_node_130 | 0.4 | n |  | TRUE
135 | bus_LV_52-4_0_6_node_150 | 0.4 | n |  | TRUE
136 | bus_LV_52-4_0_6_node_114 | 0.4 | n |  | TRUE
137 | bus_LV_52-4_0_6_node_169 | 0.4 | n |  | TRUE
138 | bus_LV_52-4_0_6_node_168 | 0.4 | n |  | TRUE
139 | bus_LV_52-4_0_6_node_143 | 0.4 | n |  | TRUE
140 | bus_LV_52-4_0_6_node_129 | 0.4 | n |  | TRUE
141 | bus_LV_52-4_0_6_node_149 | 0.4 | n |  | TRUE
142 | bus_LV_52-4_0_6_node_132 | 0.4 | n |  | TRUE
143 | bus_LV_52-4_0_6_node_128 | 0.4 | n |  | TRUE
144 | bus_LV_52-4_0_6_node_121 | 0.4 | n |  | TRUE
145 | bus_LV_52-4_0_6_node_122 | 0.4 | n |  | TRUE
146 | bus_LV_52-4_0_6_node_124 | 0.4 | n |  | TRUE
147 | bus_LV_52-4_0_6_node_156 | 0.4 | n |  | TRUE
148 | bus_LV_52-4_0_6_node_142 | 0.4 | n |  | TRUE
149 | bus_LV_52-4_0_6_node_147 | 0.4 | n |  | TRUE
150 | bus_LV_52-4_0_6_node_131 | 0.4 | n |  | TRUE
151 | bus_LV_52-4_0_6_node_133 | 0.4 | n |  | TRUE
152 | bus_LV_52-4_0_6_node_135 | 0.4 | n |  | TRUE
153 | bus_LV_52-4_0_6_node_136 | 0.4 | n |  | TRUE
154 | bus_LV_52-4_0_6_node_144 | 0.4 | n |  | TRUE
155 | bus_LV_52-4_0_6_node_137 | 0.4 | n |  | TRUE
156 | bus_LV_52-4_0_6_node_138 | 0.4 | n |  | TRUE
157 | bus_LV_52-4_0_6_node_139 | 0.4 | n |  | TRUE
158 | bus_LV_52-4_0_6_node_140 | 0.4 | n |  | TRUE
159 | bus_LV_52-4_0_6_node_141 | 0.4 | n |  | TRUE
160 | bus_LV_52-4_0_6_node_148 | 0.4 | n |  | TRUE
161 | bus_LV_52-4_0_6_node_160 | 0.4 | n |  | TRUE
162 | bus_LV_52-4_0_6_node_161 | 0.4 | n |  | TRUE
163 | bus_LV_52-4_0_6_node_162 | 0.4 | n |  | TRUE
164 | bus_MV_457_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_52-4_0_6_load_0 | 0 | 0.0046409 | 0.0011631 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_52-4_0_6_load_119 | 3 | 0.0011602 | 0.00029076 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_52-4_0_6_load_117 | 4 | 0.0018822 | 0.00047172 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_52-4_0_6_load_3 | 5 | 0.00080497 | 0.00020175 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_52-4_0_6_load_134 | 8 | 0.0083698 | 0.0020977 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_52-4_0_6_load_118 | 9 | 0.00076537 | 0.00019182 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_52-4_0_6_load_5 | 10 | 0.0033772 | 0.00084642 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_52-4_0_6_load_6 | 11 | 0.0030974 | 0.00077628 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_52-4_0_6_load_8 | 12 | 0.00501 | 0.0012556 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_52-4_0_6_load_125 | 15 | 0.0045689 | 0.0011451 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_52-4_0_6_load_27 | 16 | 0.0012015 | 0.00030113 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_52-4_0_6_load_28 | 17 | 0.0038396 | 0.00096229 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_52-4_0_6_load_23 | 18 | 0.0016824 | 0.00042166 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_52-4_0_6_load_123 | 19 | 0.0057882 | 0.0014507 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_52-4_0_6_load_10 | 20 | 0.0016412 | 0.00041133 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_52-4_0_6_load_11 | 21 | 0.0016105 | 0.00040363 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_52-4_0_6_load_13 | 23 | 0.0031691 | 0.00079425 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_52-4_0_6_load_126 | 25 | 0.0051725 | 0.0012963 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_52-4_0_6_load_155 | 26 | 0.0073733 | 0.0018479 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_52-4_0_6_load_15 | 27 | 0.0030505 | 0.00076452 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_52-4_0_6_load_17 | 29 | 0.0020518 | 0.00051424 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_52-4_0_6_load_19 | 31 | 0.0022362 | 0.00056046 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_52-4_0_6_load_54 | 32 | 0.0027276 | 0.00068361 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_52-4_0_6_load_103 | 33 | 0.0023288 | 0.00058365 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_52-4_0_6_load_20 | 34 | 0.0022112 | 0.00055418 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_52-4_0_6_load_21 | 36 | 0.0022139 | 0.00055485 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_52-4_0_6_load_22 | 37 | 0.0011935 | 0.00029911 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_52-4_0_6_load_24 | 38 | 0.0023205 | 0.00058156 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_52-4_0_6_load_26 | 39 | 0.0017134 | 0.00042941 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_52-4_0_6_load_29 | 41 | 0.0023279 | 0.00058343 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_52-4_0_6_load_157 | 42 | 0.0019761 | 0.00049526 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_52-4_0_6_load_102 | 43 | 0.0020613 | 0.0005166 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_52-4_0_6_load_30 | 45 | 0.0030468 | 0.00076361 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_52-4_0_6_load_31 | 46 | 0.0026407 | 0.00066182 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_52-4_0_6_load_120 | 47 | 0.0056643 | 0.0014196 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_52-4_0_6_load_127 | 48 | 0.0087048 | 0.0021816 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_52-4_0_6_load_32 | 49 | 0.003801 | 0.00095263 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_52-4_0_6_load_33 | 50 | 0.0023507 | 0.00058914 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_52-4_0_6_load_34 | 51 | 0.0012885 | 0.00032293 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_52-4_0_6_load_36 | 52 | 0.0019644 | 0.00049232 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_52-4_0_6_load_61 | 53 | 0.0013702 | 0.00034341 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_52-4_0_6_load_37 | 55 | 0.0036413 | 0.0009126 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_52-4_0_6_load_38 | 56 | 0.006066 | 0.0015203 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_52-4_0_6_load_40 | 57 | 0.0022083 | 0.00055344 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_52-4_0_6_load_39 | 58 | 0.0039036 | 0.00097833 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_52-4_0_6_load_41 | 59 | 0.002785 | 0.00069799 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_52-4_0_6_load_153 | 62 | 0.0052819 | 0.0013238 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_52-4_0_6_load_110 | 63 | 0.0006431 | 0.00016118 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_52-4_0_6_load_112 | 64 | 0.0051518 | 0.0012912 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_52-4_0_6_load_171 | 66 | 0.0012012 | 0.00030104 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_52-4_0_6_load_73 | 67 | 0.0057203 | 0.0014336 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_52-4_0_6_load_43 | 68 | 0.0033007 | 0.00082722 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_52-4_0_6_load_46 | 71 | 0.0023946 | 0.00060014 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_52-4_0_6_load_47 | 72 | 0.0044732 | 0.0011211 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_52-4_0_6_load_48 | 73 | 0.00207 | 0.00051879 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_52-4_0_6_load_50 | 74 | 0.0030942 | 0.00077548 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_52-4_0_6_load_84 | 75 | 0.0012454 | 0.00031213 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_52-4_0_6_load_51 | 76 | 0.0023932 | 0.00059978 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_52-4_0_6_load_82 | 77 | 0.0012943 | 0.00032439 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_52-4_0_6_load_79 | 79 | 0.0026149 | 0.00065535 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_52-4_0_6_load_105 | 80 | 0.0077559 | 0.0019438 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_52-4_0_6_load_78 | 81 | 0.0020212 | 0.00050655 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_52-4_0_6_load_55 | 82 | 0.0032937 | 0.00082548 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_52-4_0_6_load_56 | 83 | 0.0012944 | 0.0003244 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_52-4_0_6_load_58 | 85 | 0.0012944 | 0.0003244 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_52-4_0_6_load_59 | 86 | 0.0050811 | 0.0012734 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_52-4_0_6_load_83 | 88 | 0.0012943 | 0.00032439 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_52-4_0_6_load_90 | 91 | 0.0018841 | 0.00047219 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_52-4_0_6_load_154 | 94 | 0.0059299 | 0.0014862 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_52-4_0_6_load_158 | 97 | 0.00068051 | 0.00017055 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_52-4_0_6_load_64 | 98 | 0.0028248 | 0.00070797 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_52-4_0_6_load_65 | 99 | 0.0026542 | 0.0006652 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_52-4_0_6_load_66 | 100 | 0.0019018 | 0.00047664 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_52-4_0_6_load_67 | 101 | 0.0021881 | 0.00054839 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_52-4_0_6_load_170 | 103 | 0.00564 | 0.0014135 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_52-4_0_6_load_87 | 105 | 0.0019662 | 0.00049277 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_52-4_0_6_load_92 | 106 | 0.0016792 | 0.00042084 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_52-4_0_6_load_98 | 109 | 0.0017969 | 0.00045035 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_52-4_0_6_load_93 | 110 | 0.0016264 | 0.00040761 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_52-4_0_6_load_69 | 111 | 0.0033611 | 0.00084237 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_52-4_0_6_load_70 | 112 | 0.0059736 | 0.0014971 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_52-4_0_6_load_71 | 113 | 0.0056891 | 0.0014258 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_52-4_0_6_load_72 | 114 | 0.0017576 | 0.00044049 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_52-4_0_6_load_111 | 116 | 0.035924 | 0.0090034 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_52-4_0_6_load_152 | 117 | 0.027386 | 0.0068635 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_52-4_0_6_load_80 | 119 | 0.0022193 | 0.00055621 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_52-4_0_6_load_81 | 120 | 0.00072013 | 0.00018048 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_52-4_0_6_load_85 | 121 | 0.001496 | 0.00037494 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_52-4_0_6_load_86 | 122 | 0.0022374 | 0.00056075 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_52-4_0_6_load_106 | 123 | 0.0091926 | 0.0023039 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_52-4_0_6_load_109 | 124 | 0.0049503 | 0.0012407 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_52-4_0_6_load_107 | 125 | 0.0058916 | 0.0014766 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_52-4_0_6_load_164 | 126 | 0.0032887 | 0.00082422 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_52-4_0_6_load_167 | 127 | 0.00055147 | 0.00013821 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_52-4_0_6_load_115 | 128 | 0.01649 | 0.0041329 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_52-4_0_6_load_113 | 129 | 0.026787 | 0.0067134 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_52-4_0_6_load_165 | 130 | 0.0042909 | 0.0010754 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_52-4_0_6_load_163 | 131 | 0.00079525 | 0.00019931 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_52-4_0_6_load_172 | 132 | 0.019582 | 0.0049078 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_52-4_0_6_load_150 | 135 | 0.00013684 | 3.4295e-05 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_52-4_0_6_load_114 | 136 | 0.0035344 | 0.00088581 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_52-4_0_6_load_169 | 137 | 0.0017042 | 0.00042712 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_52-4_0_6_load_168 | 138 | 0.0015721 | 0.000394 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_52-4_0_6_load_129 | 140 | 0.0073233 | 0.0018354 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_52-4_0_6_load_149 | 141 | 0.00013895 | 3.4823e-05 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_52-4_0_6_load_132 | 142 | 0.00096525 | 0.00024192 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_52-4_0_6_load_128 | 143 | 0.0039003 | 0.00097751 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_52-4_0_6_load_121 | 144 | 0.0028695 | 0.00071916 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_52-4_0_6_load_122 | 145 | 0.0028752 | 0.0007206 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_52-4_0_6_load_124 | 146 | 0.0071443 | 0.0017905 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_52-4_0_6_load_156 | 147 | 0.0030307 | 0.00075957 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_52-4_0_6_load_142 | 148 | 0.0032004 | 0.00080209 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_52-4_0_6_load_147 | 149 | 0.0023238 | 0.00058241 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_52-4_0_6_load_131 | 150 | 0.0027943 | 0.00070032 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_52-4_0_6_load_135 | 152 | 0.0012606 | 0.00031595 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_52-4_0_6_load_136 | 153 | 0.0018861 | 0.00047271 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_52-4_0_6_load_144 | 154 | 0.0045238 | 0.0011338 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_52-4_0_6_load_137 | 155 | 0.017001 | 0.0042608 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_52-4_0_6_load_138 | 156 | 0.016989 | 0.0042577 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_52-4_0_6_load_139 | 157 | 0.0021094 | 0.00052865 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_52-4_0_6_load_140 | 158 | 0.0018125 | 0.00045426 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_52-4_0_6_load_141 | 159 | 0.0020378 | 0.00051071 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_52-4_0_6_load_148 | 160 | 0.00078373 | 0.00019642 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_52-4_0_6_load_160 | 161 | 0.00093405 | 0.00023409 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_52-4_0_6_load_161 | 162 | 0.0018756 | 0.00047007 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_52-4_0_6_load_162 | 163 | 0.00029759 | 7.4584e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_52-4_0_6_line_0 |  | 0 | 1 | 0.022599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_52-4_0_6_line_1 |  | 1 | 2 | 0.031383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_52-4_0_6_line_2 |  | 2 | 3 | 0.032201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_52-4_0_6_line_3 |  | 2 | 4 | 0.010555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_52-4_0_6_line_4 |  | 3 | 8 | 0.0088258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_52-4_0_6_line_5 |  | 4 | 9 | 0.018579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_52-4_0_6_line_6 |  | 5 | 6 | 0.011586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_52-4_0_6_line_7 |  | 6 | 7 | 0.022907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_52-4_0_6_line_8 |  | 7 | 160 | 0.020552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_52-4_0_6_line_9 |  | 7 | 149 | 0.05639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_52-4_0_6_line_10 |  | 7 | 154 | 0.040426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_52-4_0_6_line_11 |  | 8 | 142 | 0.0081314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_52-4_0_6_line_12 |  | 9 | 24 | 0.042129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_52-4_0_6_line_13 |  | 10 | 11 | 0.043528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_52-4_0_6_line_14 |  | 11 | 12 | 0.035719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_52-4_0_6_line_15 |  | 12 | 13 | 0.013473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_52-4_0_6_line_16 |  | 13 | 14 | 0.002418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_52-4_0_6_line_17 |  | 13 | 15 | 0.010483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_52-4_0_6_line_18 |  | 14 | 16 | 0.024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_52-4_0_6_line_19 |  | 14 | 17 | 0.038721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_52-4_0_6_line_20 |  | 14 | 18 | 0.011933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_52-4_0_6_line_21 |  | 15 | 19 | 0.031052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_52-4_0_6_line_22 |  | 16 | 41 | 0.027822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_52-4_0_6_line_23 |  | 17 | 42 | 0.046373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_52-4_0_6_line_24 |  | 18 | 37 | 0.0064977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_52-4_0_6_line_25 |  | 19 | 144 | 0.037078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_52-4_0_6_line_26 |  | 20 | 21 | 0.013512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_52-4_0_6_line_27 |  | 20 | 22 | 0.011081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_52-4_0_6_line_28 |  | 21 | 23 | 0.007164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_52-4_0_6_line_29 |  | 22 | 24 | 0.085876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_52-4_0_6_line_30 |  | 24 | 25 | 0.039113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_52-4_0_6_line_31 |  | 25 | 26 | 0.00037307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_52-4_0_6_line_32 |  | 27 | 28 | 0.042175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_52-4_0_6_line_33 |  | 28 | 29 | 0.0072665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_52-4_0_6_line_34 |  | 28 | 30 | 0.003212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_52-4_0_6_line_35 |  | 29 | 31 | 0.020918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_52-4_0_6_line_36 |  | 30 | 32 | 0.012339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_52-4_0_6_line_37 |  | 30 | 33 | 0.014844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_52-4_0_6_line_38 |  | 31 | 34 | 0.001142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_52-4_0_6_line_39 |  | 32 | 35 | 0.022117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_52-4_0_6_line_40 |  | 34 | 36 | 0.012565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_52-4_0_6_line_41 |  | 35 | 78 | 0.024763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_52-4_0_6_line_42 |  | 35 | 76 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_52-4_0_6_line_43 |  | 37 | 38 | 0.02655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_52-4_0_6_line_44 |  | 38 | 39 | 0.0029682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_52-4_0_6_line_45 |  | 39 | 40 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_52-4_0_6_line_46 |  | 40 | 43 | 0.010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_52-4_0_6_line_47 |  | 40 | 44 | 0.009555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_52-4_0_6_line_48 |  | 41 | 45 | 0.028981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_52-4_0_6_line_49 |  | 43 | 137 | 0.0088624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_52-4_0_6_line_50 |  | 44 | 80 | 0.051674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_52-4_0_6_line_51 |  | 44 | 78 | 0.022055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_52-4_0_6_line_52 |  | 45 | 46 | 0.035169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_52-4_0_6_line_53 |  | 46 | 47 | 0.028524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_52-4_0_6_line_54 |  | 47 | 48 | 0.038182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_52-4_0_6_line_55 |  | 48 | 143 | 0.028819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_52-4_0_6_line_56 |  | 49 | 50 | 0.017143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_52-4_0_6_line_57 |  | 49 | 51 | 0.019919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_52-4_0_6_line_58 |  | 51 | 52 | 0.026512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_52-4_0_6_line_59 |  | 52 | 53 | 0.0031554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_52-4_0_6_line_60 |  | 53 | 54 | 0.015345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_52-4_0_6_line_61 |  | 54 | 96 | 0.003659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_52-4_0_6_line_62 |  | 55 | 56 | 0.02645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_52-4_0_6_line_63 |  | 56 | 57 | 0.047758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_52-4_0_6_line_64 |  | 57 | 60 | 0.022754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_52-4_0_6_line_65 |  | 58 | 59 | 0.029561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_52-4_0_6_line_66 |  | 59 | 61 | 0.018264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_52-4_0_6_line_67 |  | 60 | 62 | 0.032626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_52-4_0_6_line_68 |  | 60 | 63 | 0.012131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_52-4_0_6_line_69 |  | 61 | 64 | 0.020646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_52-4_0_6_line_70 |  | 61 | 65 | 0.003026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_52-4_0_6_line_71 |  | 62 | 66 | 0.0082587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_52-4_0_6_line_72 |  | 63 | 67 | 0.032438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_52-4_0_6_line_73 |  | 64 | 66 | 0.02374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_52-4_0_6_line_74 |  | 65 | 124 | 0.028928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_52-4_0_6_line_75 |  | 65 | 125 | 0.0032149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_52-4_0_6_line_76 |  | 67 | 113 | 0.033698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_52-4_0_6_line_77 |  | 68 | 69 | 0.033791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_52-4_0_6_line_78 |  | 68 | 70 | 0.01478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_52-4_0_6_line_79 |  | 69 | 71 | 0.023778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_52-4_0_6_line_80 |  | 69 | 72 | 0.034392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_52-4_0_6_line_81 |  | 70 | 73 | 0.0050517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_52-4_0_6_line_82 |  | 71 | 74 | 0.021367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_52-4_0_6_line_83 |  | 72 | 75 | 0.023809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_52-4_0_6_line_84 |  | 74 | 76 | 0.00092993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_52-4_0_6_line_85 |  | 75 | 77 | 0.020157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_52-4_0_6_line_86 |  | 77 | 88 | 0.019573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_52-4_0_6_line_87 |  | 78 | 79 | 0.014361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_52-4_0_6_line_88 |  | 79 | 81 | 0.023283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_52-4_0_6_line_89 |  | 80 | 123 | 0.044014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_52-4_0_6_line_90 |  | 82 | 83 | 0.022271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_52-4_0_6_line_91 |  | 82 | 84 | 0.016521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_52-4_0_6_line_92 |  | 83 | 85 | 0.022932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_52-4_0_6_line_93 |  | 84 | 86 | 0.025784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_52-4_0_6_line_94 |  | 84 | 87 | 0.02163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_52-4_0_6_line_95 |  | 85 | 88 | 0.02352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_52-4_0_6_line_96 |  | 86 | 89 | 0.008391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_52-4_0_6_line_97 |  | 87 | 90 | 0.016321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_52-4_0_6_line_98 |  | 87 | 91 | 0.017285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_52-4_0_6_line_99 |  | 89 | 92 | 0.011408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_52-4_0_6_line_100 |  | 89 | 93 | 0.026308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_52-4_0_6_line_101 |  | 90 | 94 | 0.011039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_52-4_0_6_line_102 |  | 91 | 95 | 0.017378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_52-4_0_6_line_103 |  | 92 | 97 | 0.071907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_52-4_0_6_line_104 |  | 93 | 101 | 0.032996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_52-4_0_6_line_105 |  | 95 | 105 | 0.033876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_52-4_0_6_line_106 |  | 96 | 97 | 0.0096225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_52-4_0_6_line_107 |  | 98 | 99 | 0.001947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_52-4_0_6_line_108 |  | 98 | 100 | 0.024727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_52-4_0_6_line_109 |  | 99 | 101 | 0.028218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_52-4_0_6_line_110 |  | 100 | 102 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_52-4_0_6_line_111 |  | 102 | 103 | 0.023052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_52-4_0_6_line_112 |  | 102 | 104 | 0.10037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_52-4_0_6_line_113 |  | 104 | 106 | 0.037289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_52-4_0_6_line_114 |  | 105 | 122 | 0.025442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_52-4_0_6_line_115 |  | 106 | 110 | 0.043647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_52-4_0_6_line_116 |  | 107 | 108 | 0.068393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_52-4_0_6_line_117 |  | 107 | 109 | 0.025409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_52-4_0_6_line_118 |  | 107 | 110 | 0.024026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_52-4_0_6_line_119 |  | 108 | 126 | 0.083773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_52-4_0_6_line_120 |  | 109 | 127 | 0.0040611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_52-4_0_6_line_121 |  | 111 | 112 | 0.01265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_52-4_0_6_line_122 |  | 111 | 113 | 0.035893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_52-4_0_6_line_123 |  | 112 | 114 | 0.088906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_52-4_0_6_line_124 |  | 115 | 116 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_52-4_0_6_line_125 |  | 115 | 117 | 0.044231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_52-4_0_6_line_126 |  | 115 | 118 | 0.003698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_52-4_0_6_line_127 |  | 118 | 128 | 0.032553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_52-4_0_6_line_128 |  | 118 | 129 | 0.046445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_52-4_0_6_line_129 |  | 119 | 120 | 0.0094801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_52-4_0_6_line_130 |  | 120 | 121 | 0.015441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_52-4_0_6_line_131 |  | 121 | 122 | 0.02684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_52-4_0_6_line_132 |  | 123 | 125 | 0.038712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_52-4_0_6_line_133 |  | 124 | 136 | 0.023475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_52-4_0_6_line_134 |  | 126 | 130 | 0.0020352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_52-4_0_6_line_135 |  | 127 | 131 | 0.041978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_52-4_0_6_line_136 |  | 128 | 132 | 0.011025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_52-4_0_6_line_137 |  | 129 | 136 | 0.025854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_52-4_0_6_line_138 |  | 131 | 163 | 0.022959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_52-4_0_6_line_139 |  | 133 | 134 | 0.012484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_52-4_0_6_line_140 |  | 133 | 135 | 0.017724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_52-4_0_6_line_141 |  | 134 | 139 | 0.016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
142 | LV_52-4_0_6_line_142 |  | 134 | 140 | 0.092094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
143 | LV_52-4_0_6_line_143 |  | 135 | 141 | 0.013275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_52-4_0_6_line_144 |  | 137 | 138 | 0.015499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_52-4_0_6_line_145 |  | 139 | 149 | 0.038118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
146 | LV_52-4_0_6_line_146 |  | 140 | 146 | 0.033581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_52-4_0_6_line_147 |  | 142 | 150 | 0.024413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_52-4_0_6_line_148 |  | 143 | 147 | 0.004905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_52-4_0_6_line_149 |  | 144 | 145 | 0.064405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
150 | LV_52-4_0_6_line_150 |  | 145 | 146 | 0.045116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
151 | LV_52-4_0_6_line_151 |  | 147 | 148 | 0.00011447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_52-4_0_6_line_152 |  | 148 | 159 | 0.039181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_52-4_0_6_line_153 |  | 150 | 151 | 0.063118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_52-4_0_6_line_154 |  | 151 | 152 | 0.012887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_52-4_0_6_line_155 |  | 151 | 153 | 0.056085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_52-4_0_6_line_156 |  | 152 | 154 | 0.044278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_52-4_0_6_line_157 |  | 155 | 156 | 0.068901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_52-4_0_6_line_158 |  | 156 | 157 | 0.021279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_52-4_0_6_line_159 |  | 157 | 158 | 0.0123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_52-4_0_6_line_160 |  | 158 | 159 | 0.0098833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_52-4_0_6_line_161 |  | 161 | 162 | 0.029119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_52-4_0_6_line_162 |  | 162 | 163 | 0.018984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_52-4_0_6_trafo_91 | 0.63 MVA 20/0.4 kV | 164 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2689673.4517 | 1256007.1192 | 2689685.287 | 1256005.5972 | 2689695.5554 | 1256002.7124
1 | 2689673.4517 | 1256007.1192 | 2689644.4141 | 1255995.0035
2 | 2689644.4141 | 1255995.0035 | 2689668.7712 | 1255973.9403
3 | 2689644.4141 | 1255995.0035 | 2689634.7725 | 1255999.2985
4 | 2689668.7712 | 1255973.9403 | 2689675.4471 | 1255968.1673
5 | 2689634.7725 | 1255999.2985 | 2689617.8014 | 1256006.8587
6 | 2689867.5791 | 1255915.0237 | 2689865.8735 | 1255926.483
7 | 2689853.0927 | 1255897.3902 | 2689860.5922 | 1255904.7319 | 2689867.5791 | 1255915.0237
8 | 2689853.0927 | 1255897.3902 | 2689862.5401 | 1255897.656 | 2689873.1749 | 1255894.4738
9 | 2689853.0927 | 1255897.3902 | 2689840.921 | 1255869.3838 | 2689836.3319 | 1255860.1404 | 2689831.1884 | 1255847.1634 | 2689830.5823 | 1255845.7113
10 | 2689853.0927 | 1255897.3902 | 2689813.8444 | 1255907.0757
11 | 2689682.1666 | 1255963.6291 | 2689677.1953 | 1255966.6555 | 2689675.4471 | 1255968.1673
12 | 2689579.3756 | 1256024.1308 | 2689598.2569 | 1256015.5653 | 2689617.8014 | 1256006.8587
13 | 2689450.9694 | 1255975.9852 | 2689463.3274 | 1255966.832 | 2689479.2197 | 1255957.3981 | 2689487.8769 | 1255953.0953
14 | 2689487.8769 | 1255953.0953 | 2689497.1104 | 1255948.506 | 2689520.2774 | 1255938.0731
15 | 2689532.5625 | 1255932.5406 | 2689520.2774 | 1255938.0731
16 | 2689532.5625 | 1255932.5406 | 2689531.6991 | 1255930.2814
17 | 2689532.5625 | 1255932.5406 | 2689542.2596 | 1255928.5588
18 | 2689531.6991 | 1255930.2814 | 2689541.0676 | 1255926.2866 | 2689553.8212 | 1255920.6987
19 | 2689531.6991 | 1255930.2814 | 2689514.6639 | 1255937.4628 | 2689496.2139 | 1255945.77
20 | 2689531.6991 | 1255930.2814 | 2689527.4214 | 1255919.1418
21 | 2689570.7831 | 1255916.2875 | 2689544.2893 | 1255927.7253 | 2689542.2596 | 1255928.5588
22 | 2689553.8212 | 1255920.6987 | 2689566.4825 | 1255915.1512 | 2689579.3921 | 1255909.7383
23 | 2689496.2139 | 1255945.77 | 2689495.8595 | 1255945.9296 | 2689479.2125 | 1255953.8842 | 2689466.8828 | 1255961.1702 | 2689456.0991 | 1255968.8051
24 | 2689527.4214 | 1255919.1418 | 2689525.3854 | 1255913.8398 | 2689525.1327 | 1255913.0615
25 | 2689570.7831 | 1255916.2875 | 2689573.7031 | 1255915.0269 | 2689602.7417 | 1255903.7019 | 2689605.318 | 1255902.8039
26 | 2689518.0747 | 1256009.8466 | 2689518.6963 | 1256008.9681 | 2689529.8586 | 1256003.4856
27 | 2689511.6746 | 1256018.8919 | 2689518.0747 | 1256009.8466
28 | 2689536.2889 | 1256000.3273 | 2689529.8586 | 1256003.4856
29 | 2689511.6746 | 1256018.8919 | 2689517.3491 | 1256022.2358 | 2689525.2603 | 1256042.7602 | 2689569.4261 | 1256028.6505 | 2689579.3756 | 1256024.1308
30 | 2689579.3756 | 1256024.1308 | 2689567.7322 | 1255986.791
31 | 2689567.6212 | 1255986.4348 | 2689567.7322 | 1255986.791
32 | 2689456.571 | 1255882.3755 | 2689447.2955 | 1255890.197 | 2689433.7718 | 1255899.6112 | 2689422.2995 | 1255906.848
33 | 2689456.571 | 1255882.3755 | 2689459.0597 | 1255889.2025
34 | 2689456.571 | 1255882.3755 | 2689455.4701 | 1255879.3565
35 | 2689459.0597 | 1255889.2025 | 2689466.224 | 1255908.8555
36 | 2689455.4701 | 1255879.3565 | 2689464.2877 | 1255870.7254
37 | 2689455.4701 | 1255879.3565 | 2689443.2779 | 1255887.8234
38 | 2689466.6151 | 1255909.9285 | 2689466.224 | 1255908.8555
39 | 2689480.093 | 1255855.2543 | 2689464.2877 | 1255870.7254
40 | 2689470.9186 | 1255921.7339 | 2689466.6151 | 1255909.9285
41 | 2689480.093 | 1255855.2543 | 2689498.8492 | 1255839.0251
42 | 2689480.093 | 1255855.2543 | 2689470.3362 | 1255839.528 | 2689469.6009 | 1255838.3498
43 | 2689516.9327 | 1255887.8099 | 2689525.1327 | 1255913.0615
44 | 2689516.9327 | 1255887.8099 | 2689516.016 | 1255884.9868
45 | 2689512.7062 | 1255865.4328 | 2689512.3619 | 1255873.7341 | 2689516.016 | 1255884.9868
46 | 2689512.7062 | 1255865.4328 | 2689503.1624 | 1255869.5347
47 | 2689512.7062 | 1255865.4328 | 2689513.107 | 1255855.887
48 | 2689579.3921 | 1255909.7383 | 2689584.6559 | 1255907.5312 | 2689601.216 | 1255901.3436 | 2689606.4996 | 1255899.5036
49 | 2689495.4287 | 1255873.7844 | 2689499.26 | 1255871.2119 | 2689503.1624 | 1255869.5347
50 | 2689513.107 | 1255855.887 | 2689527.3628 | 1255857.426 | 2689563.3674 | 1255847.5449
51 | 2689513.107 | 1255855.887 | 2689498.8492 | 1255839.0251
52 | 2689606.4996 | 1255899.5036 | 2689631.7225 | 1255890.7193 | 2689639.7142 | 1255887.9424
53 | 2689666.6582 | 1255878.5804 | 2689639.7142 | 1255887.9424
54 | 2689666.6582 | 1255878.5804 | 2689675.6355 | 1255875.4611 | 2689702.6047 | 1255865.7105
55 | 2689729.8287 | 1255856.2551 | 2689725.7272 | 1255857.6727 | 2689702.9402 | 1255865.5892 | 2689702.6047 | 1255865.7105
56 | 2689404.8659 | 1255700.9763 | 2689388.7481 | 1255706.8166
57 | 2689404.8659 | 1255700.9763 | 2689404.8659 | 1255700.9763 | 2689419.2437 | 1255688.9729 | 2689420.0215 | 1255688.0734
58 | 2689437.3621 | 1255668.0187 | 2689420.0215 | 1255688.0734
59 | 2689439.4259 | 1255665.6318 | 2689437.3621 | 1255668.0187
60 | 2689449.4624 | 1255654.0244 | 2689439.4259 | 1255665.6318
61 | 2689449.4624 | 1255654.0244 | 2689452.9351 | 1255652.8426
62 | 2689517.3207 | 1255829.4731 | 2689524.9487 | 1255824.0413 | 2689539.0255 | 1255814.3588
63 | 2689539.0255 | 1255814.3588 | 2689540.7196 | 1255813.1936 | 2689550.1345 | 1255804.1511 | 2689555.2137 | 1255797.0002 | 2689564.5894 | 1255782.5752 | 2689567.7348 | 1255777.5967 | 2689568.1201 | 1255776.9143
64 | 2689579.3071 | 1255757.1003 | 2689568.1201 | 1255776.9143
65 | 2689597.5066 | 1255832.0062 | 2689620.1299 | 1255822.9134 | 2689624.7962 | 1255820.6678
66 | 2689641.2538 | 1255812.7475 | 2689624.7962 | 1255820.6678
67 | 2689579.3071 | 1255757.1003 | 2689604.5225 | 1255774.1394 | 2689606.6983 | 1255774.417
68 | 2689579.3071 | 1255757.1003 | 2689584.7809 | 1255746.2742
69 | 2689641.2538 | 1255812.7475 | 2689630.4623 | 1255795.1458
70 | 2689642.8365 | 1255815.329 | 2689641.2538 | 1255812.7475
71 | 2689606.6983 | 1255774.417 | 2689613.6681 | 1255778.8474
72 | 2689584.7809 | 1255746.2742 | 2689594.0427 | 1255727.9562 | 2689600.0461 | 1255717.668
73 | 2689630.4623 | 1255795.1458 | 2689628.7985 | 1255792.4321 | 2689621.3569 | 1255783.7349 | 2689613.6681 | 1255778.8474
74 | 2689642.8365 | 1255815.329 | 2689668.0241 | 1255801.1011
75 | 2689642.8365 | 1255815.329 | 2689640.0375 | 1255816.9106
76 | 2689619.3721 | 1255690.0851 | 2689609.5305 | 1255703.4493 | 2689602.0502 | 1255714.2333 | 2689600.0461 | 1255717.668
77 | 2689445.2077 | 1255799.2616 | 2689417.3625 | 1255818.4052
78 | 2689405.1829 | 1255826.7786 | 2689417.3625 | 1255818.4052
79 | 2689445.2077 | 1255799.2616 | 2689457.7965 | 1255819.4342
80 | 2689445.2077 | 1255799.2616 | 2689472.513 | 1255778.3524
81 | 2689405.1829 | 1255826.7786 | 2689402.2842 | 1255830.9158
82 | 2689469.1086 | 1255837.5609 | 2689457.7965 | 1255819.4342
83 | 2689491.4167 | 1255763.8768 | 2689491.4167 | 1255763.8768 | 2689472.513 | 1255778.3524
84 | 2689469.1086 | 1255837.5609 | 2689469.6009 | 1255838.3498
85 | 2689504.3731 | 1255748.4359 | 2689491.4167 | 1255763.8768
86 | 2689504.3731 | 1255748.4359 | 2689510.8667 | 1255740.6972 | 2689516.1313 | 1255732.8249
87 | 2689498.8492 | 1255839.0251 | 2689510.7724 | 1255831.0206
88 | 2689530.1032 | 1255818.043 | 2689510.7724 | 1255831.0206
89 | 2689563.3674 | 1255847.5449 | 2689574.2114 | 1255844.5688 | 2689604.6607 | 1255832.4588
90 | 2689555.2064 | 1255676.3032 | 2689542.1901 | 1255694.3749
91 | 2689564.8619 | 1255662.8977 | 2689555.2064 | 1255676.3032
92 | 2689529.2062 | 1255713.2738 | 2689537.3621 | 1255701.0781 | 2689542.1901 | 1255694.3749
93 | 2689564.8619 | 1255662.8977 | 2689543.889 | 1255647.8986
94 | 2689582.4653 | 1255675.5404 | 2689564.8619 | 1255662.8977
95 | 2689516.1313 | 1255732.8249 | 2689529.2062 | 1255713.2738
96 | 2689537.0638 | 1255643.0175 | 2689543.889 | 1255647.8986
97 | 2689587.0187 | 1255660.2752 | 2689584.9555 | 1255672.4868 | 2689582.4653 | 1255675.5404
98 | 2689582.4653 | 1255675.5404 | 2689596.501 | 1255685.6284
99 | 2689528.7336 | 1255635.1966 | 2689537.0638 | 1255643.0175
100 | 2689556.6111 | 1255625.4105 | 2689548.4129 | 1255632.7922 | 2689537.0638 | 1255643.0175
101 | 2689587.0187 | 1255660.2752 | 2689593.8633 | 1255651.6148
102 | 2689610.6123 | 1255695.7708 | 2689596.501 | 1255685.6284
103 | 2689528.7336 | 1255635.1966 | 2689512.383 | 1255634.4711 | 2689499.7326 | 1255634.9803 | 2689479.5791 | 1255635.8208 | 2689467.1084 | 1255639.9134 | 2689462.3138 | 1255643.7106 | 2689459.8293 | 1255646.1297
104 | 2689556.6111 | 1255625.4105 | 2689572.1503 | 1255615.9493 | 2689586.9263 | 1255615.0501
105 | 2689610.6123 | 1255695.7708 | 2689602.1249 | 1255708.3076 | 2689599.185 | 1255712.6554 | 2689592.5378 | 1255724.3919
106 | 2689452.9351 | 1255652.8426 | 2689459.8293 | 1255646.1297
107 | 2689613.5588 | 1255626.2506 | 2689612.0992 | 1255624.962
108 | 2689632.0957 | 1255642.6151 | 2689613.5588 | 1255626.2506
109 | 2689586.9263 | 1255615.0501 | 2689591.0262 | 1255614.8006 | 2689604.075 | 1255617.8781 | 2689612.0992 | 1255624.962
110 | 2689640.3563 | 1255649.9076 | 2689632.0957 | 1255642.6151
111 | 2689640.3563 | 1255649.9076 | 2689656.7203 | 1255633.6715
112 | 2689640.3563 | 1255649.9076 | 2689643.4604 | 1255652.6456 | 2689666.0889 | 1255629.8482 | 2689672.7882 | 1255621.332 | 2689676.7182 | 1255611.3838 | 2689677.9768 | 1255597.025 | 2689673.0905 | 1255575.0006 | 2689677.377 | 1255571.3961
113 | 2689677.377 | 1255571.3961 | 2689682.2906 | 1255585.1478 | 2689683.3965 | 1255598.2858 | 2689682.6871 | 1255607.7602
114 | 2689580.8914 | 1255746.9923 | 2689586.6526 | 1255734.783 | 2689592.5378 | 1255724.3919
115 | 2689682.6871 | 1255607.7602 | 2689680.3052 | 1255615.608 | 2689680.2356 | 1255620.1994 | 2689680.8575 | 1255622.4661 | 2689682.8209 | 1255624.8199 | 2689695.8254 | 1255638.2717 | 2689700.3674 | 1255643.2349
116 | 2689762.7955 | 1255610.4204 | 2689716.5878 | 1255660.9594
117 | 2689716.5878 | 1255660.9594 | 2689734.0037 | 1255679.461
118 | 2689716.5878 | 1255660.9594 | 2689700.3674 | 1255643.2349
119 | 2689762.7955 | 1255610.4204 | 2689825.398 | 1255666.0879
120 | 2689734.0037 | 1255679.461 | 2689736.7872 | 1255682.4181
121 | 2689640.9308 | 1255661.3977 | 2689649.344 | 1255651.9511
122 | 2689640.9308 | 1255661.3977 | 2689639.5093 | 1255662.9938 | 2689631.5397 | 1255673.7037 | 2689619.4348 | 1255689.9998 | 2689619.3721 | 1255690.0851
123 | 2689714.6609 | 1255668.7842 | 2689704.0367 | 1255657.411 | 2689701.1639 | 1255656.3333 | 2689682.127 | 1255635.7623 | 2689677.9395 | 1255632.3407 | 2689673.9601 | 1255631.1128 | 2689670.0727 | 1255632.2771 | 2689666.034 | 1255635.4629 | 2689652.3784 | 1255648.5441 | 2689649.344 | 1255651.9511
124 | 2689740.8191 | 1255739.91 | 2689727.8288 | 1255751.6047
125 | 2689740.8191 | 1255739.91 | 2689719.7772 | 1255718.2744 | 2689709.1222 | 1255727.4329
126 | 2689743.404 | 1255742.5623 | 2689740.8191 | 1255739.91
127 | 2689743.404 | 1255742.5623 | 2689765.1839 | 1255766.7557
128 | 2689743.404 | 1255742.5623 | 2689741.6136 | 1255744.2254 | 2689708.1349 | 1255772.7783
129 | 2689560.0608 | 1255783.7785 | 2689555.3583 | 1255792.0101
130 | 2689560.0608 | 1255783.7785 | 2689567.7199 | 1255770.3713
131 | 2689567.7199 | 1255770.3713 | 2689576.4252 | 1255755.133 | 2689580.0205 | 1255748.838 | 2689580.8914 | 1255746.9923
132 | 2689640.0375 | 1255816.9106 | 2689631.2035 | 1255821.9025 | 2689604.6607 | 1255832.4588
133 | 2689688.4634 | 1255789.5554 | 2689688.4634 | 1255789.5554 | 2689668.0241 | 1255801.1011
134 | 2689825.398 | 1255666.0879 | 2689826.9189 | 1255667.4403
135 | 2689736.7872 | 1255682.4181 | 2689748.4653 | 1255694.8242 | 2689765.5822 | 1255712.9636
136 | 2689766.2848 | 1255777.7253 | 2689765.1839 | 1255766.7557
137 | 2689708.1349 | 1255772.7783 | 2689688.4634 | 1255789.5554
138 | 2689779.7679 | 1255730.9767 | 2689778.2667 | 1255728.7801 | 2689769.245 | 1255716.8451 | 2689765.5822 | 1255712.9636
139 | 2689808.89 | 1255796.0299 | 2689803.4561 | 1255784.7832
140 | 2689803.4561 | 1255784.7832 | 2689811.2581 | 1255782.6443 | 2689820.8923 | 1255782.5626
141 | 2689816.0784 | 1255810.4612 | 2689813.7897 | 1255805.2002 | 2689811.5888 | 1255800.1185 | 2689808.89 | 1255796.0299
142 | 2689808.89 | 1255796.0299 | 2689794.9792 | 1255808.0394 | 2689777.5369 | 1255830.081 | 2689761.9713 | 1255844.7786 | 2689746.8535 | 1255853.3228 | 2689740.4221 | 1255855.6368
143 | 2689834.1669 | 1255782.4499 | 2689820.8923 | 1255782.5626
144 | 2689482.5613 | 1255882.4243 | 2689495.4287 | 1255873.7844
145 | 2689816.0784 | 1255810.4612 | 2689822.5052 | 1255826.3599 | 2689830.5823 | 1255845.7113
146 | 2689708.7794 | 1255866.8786 | 2689717.8202 | 1255863.7688 | 2689740.4221 | 1255855.6368
147 | 2689703.0197 | 1255950.9344 | 2689682.1666 | 1255963.6291
148 | 2689729.8287 | 1255856.2551 | 2689734.4646 | 1255854.6527
149 | 2689605.318 | 1255902.8039 | 2689666.1348 | 1255881.6055
150 | 2689708.7794 | 1255866.8786 | 2689678.8379 | 1255877.1776 | 2689666.1348 | 1255881.6055
151 | 2689734.4646 | 1255854.6527 | 2689734.5728 | 1255854.6153
152 | 2689734.5728 | 1255854.6153 | 2689741.5374 | 1255852.208 | 2689752.4917 | 1255846.6253 | 2689762.9292 | 1255839.3111 | 2689767.8604 | 1255834.6703
153 | 2689758.3444 | 1255920.7715 | 2689735.0102 | 1255931.4596 | 2689703.0197 | 1255950.9344
154 | 2689758.3444 | 1255920.7715 | 2689770.8563 | 1255917.684
155 | 2689707.3301 | 1255912.8702 | 2689738.4526 | 1255908.8942 | 2689745.4834 | 1255909.3455 | 2689751.4448 | 1255912.1714 | 2689757.5277 | 1255918.424 | 2689758.3444 | 1255920.7715
156 | 2689770.8563 | 1255917.684 | 2689813.8444 | 1255907.0757
157 | 2689778.1952 | 1255740.6968 | 2689779.4459 | 1255742.5419 | 2689791.5375 | 1255767.4112 | 2689801.0313 | 1255789.4834 | 2689802.3842 | 1255793.7851 | 2689801.5985 | 1255796.8422 | 2689798.2366 | 1255799.6712 | 2689796.2577 | 1255801.8349
158 | 2689782.4458 | 1255818.0066 | 2689789.2392 | 1255809.5091 | 2689796.2577 | 1255801.8349
159 | 2689782.4458 | 1255818.0066 | 2689780.2891 | 1255820.7043 | 2689774.6813 | 1255827.5454
160 | 2689767.8604 | 1255834.6703 | 2689772.1503 | 1255830.6331 | 2689774.6813 | 1255827.5454
161 | 2689804.1452 | 1255772.0264 | 2689799.166 | 1255767.2601 | 2689791.9393 | 1255752.3612 | 2689789.3609 | 1255747.3148
162 | 2689779.7679 | 1255730.9767 | 2689784.7016 | 1255738.196 | 2689789.3609 | 1255747.3148

## bus_geodata
| x | y | coords
0 | 2689695.5554 | 1256002.7124
1 | 2689673.4517 | 1256007.1192
2 | 2689644.4141 | 1255995.0035
3 | 2689668.7712 | 1255973.9403
4 | 2689634.7725 | 1255999.2985
5 | 2689865.8735 | 1255926.483
6 | 2689867.5791 | 1255915.0237
7 | 2689853.0927 | 1255897.3902
8 | 2689675.4471 | 1255968.1673
9 | 2689617.8014 | 1256006.8587
10 | 2689450.9694 | 1255975.9852
11 | 2689487.8769 | 1255953.0953
12 | 2689520.2774 | 1255938.0731
13 | 2689532.5625 | 1255932.5406
14 | 2689531.6991 | 1255930.2814
15 | 2689542.2596 | 1255928.5588
16 | 2689553.8212 | 1255920.6987
17 | 2689496.2139 | 1255945.77
18 | 2689527.4214 | 1255919.1418
19 | 2689570.7831 | 1255916.2875
20 | 2689518.0747 | 1256009.8466
21 | 2689529.8586 | 1256003.4856
22 | 2689511.6746 | 1256018.8919
23 | 2689536.2889 | 1256000.3273
24 | 2689579.3756 | 1256024.1308
25 | 2689567.7322 | 1255986.791
26 | 2689567.6212 | 1255986.4348
27 | 2689422.2995 | 1255906.848
28 | 2689456.571 | 1255882.3755
29 | 2689459.0597 | 1255889.2025
30 | 2689455.4701 | 1255879.3565
31 | 2689466.224 | 1255908.8555
32 | 2689464.2877 | 1255870.7254
33 | 2689443.2779 | 1255887.8234
34 | 2689466.6151 | 1255909.9285
35 | 2689480.093 | 1255855.2543
36 | 2689470.9186 | 1255921.7339
37 | 2689525.1327 | 1255913.0615
38 | 2689516.9327 | 1255887.8099
39 | 2689516.016 | 1255884.9868
40 | 2689512.7062 | 1255865.4328
41 | 2689579.3921 | 1255909.7383
42 | 2689456.0991 | 1255968.8051
43 | 2689503.1624 | 1255869.5347
44 | 2689513.107 | 1255855.887
45 | 2689606.4996 | 1255899.5036
46 | 2689639.7142 | 1255887.9424
47 | 2689666.6582 | 1255878.5804
48 | 2689702.6047 | 1255865.7105
49 | 2689404.8659 | 1255700.9763
50 | 2689388.7481 | 1255706.8166
51 | 2689420.0215 | 1255688.0734
52 | 2689437.3621 | 1255668.0187
53 | 2689439.4259 | 1255665.6318
54 | 2689449.4624 | 1255654.0244
55 | 2689517.3207 | 1255829.4731
56 | 2689539.0255 | 1255814.3588
57 | 2689568.1201 | 1255776.9143
58 | 2689597.5066 | 1255832.0062
59 | 2689624.7962 | 1255820.6678
60 | 2689579.3071 | 1255757.1003
61 | 2689641.2538 | 1255812.7475
62 | 2689606.6983 | 1255774.417
63 | 2689584.7809 | 1255746.2742
64 | 2689630.4623 | 1255795.1458
65 | 2689642.8365 | 1255815.329
66 | 2689613.6681 | 1255778.8474
67 | 2689600.0461 | 1255717.668
68 | 2689417.3625 | 1255818.4052
69 | 2689445.2077 | 1255799.2616
70 | 2689405.1829 | 1255826.7786
71 | 2689457.7965 | 1255819.4342
72 | 2689472.513 | 1255778.3524
73 | 2689402.2842 | 1255830.9158
74 | 2689469.1086 | 1255837.5609
75 | 2689491.4167 | 1255763.8768
76 | 2689469.6009 | 1255838.3498
77 | 2689504.3731 | 1255748.4359
78 | 2689498.8492 | 1255839.0251
79 | 2689510.7724 | 1255831.0206
80 | 2689563.3674 | 1255847.5449
81 | 2689530.1032 | 1255818.043
82 | 2689555.2064 | 1255676.3032
83 | 2689542.1901 | 1255694.3749
84 | 2689564.8619 | 1255662.8977
85 | 2689529.2062 | 1255713.2738
86 | 2689543.889 | 1255647.8986
87 | 2689582.4653 | 1255675.5404
88 | 2689516.1313 | 1255732.8249
89 | 2689537.0638 | 1255643.0175
90 | 2689587.0187 | 1255660.2752
91 | 2689596.501 | 1255685.6284
92 | 2689528.7336 | 1255635.1966
93 | 2689556.6111 | 1255625.4105
94 | 2689593.8633 | 1255651.6148
95 | 2689610.6123 | 1255695.7708
96 | 2689452.9351 | 1255652.8426
97 | 2689459.8293 | 1255646.1297
98 | 2689613.5588 | 1255626.2506
99 | 2689612.0992 | 1255624.962
100 | 2689632.0957 | 1255642.6151
101 | 2689586.9263 | 1255615.0501
102 | 2689640.3563 | 1255649.9076
103 | 2689656.7203 | 1255633.6715
104 | 2689677.377 | 1255571.3961
105 | 2689592.5378 | 1255724.3919
106 | 2689682.6871 | 1255607.7602
107 | 2689716.5878 | 1255660.9594
108 | 2689762.7955 | 1255610.4204
109 | 2689734.0037 | 1255679.461
110 | 2689700.3674 | 1255643.2349
111 | 2689640.9308 | 1255661.3977
112 | 2689649.344 | 1255651.9511
113 | 2689619.3721 | 1255690.0851
114 | 2689714.6609 | 1255668.7842
115 | 2689740.8191 | 1255739.91
116 | 2689727.8288 | 1255751.6047
117 | 2689709.1222 | 1255727.4329
118 | 2689743.404 | 1255742.5623
119 | 2689555.3583 | 1255792.0101
120 | 2689560.0608 | 1255783.7785
121 | 2689567.7199 | 1255770.3713
122 | 2689580.8914 | 1255746.9923
123 | 2689604.6607 | 1255832.4588
124 | 2689668.0241 | 1255801.1011
125 | 2689640.0375 | 1255816.9106
126 | 2689825.398 | 1255666.0879
127 | 2689736.7872 | 1255682.4181
128 | 2689765.1839 | 1255766.7557
129 | 2689708.1349 | 1255772.7783
130 | 2689826.9189 | 1255667.4403
131 | 2689765.5822 | 1255712.9636
132 | 2689766.2848 | 1255777.7253
133 | 2689803.4561 | 1255784.7832
134 | 2689808.89 | 1255796.0299
135 | 2689820.8923 | 1255782.5626
136 | 2689688.4634 | 1255789.5554
137 | 2689495.4287 | 1255873.7844
138 | 2689482.5613 | 1255882.4243
139 | 2689816.0784 | 1255810.4612
140 | 2689740.4221 | 1255855.6368
141 | 2689834.1669 | 1255782.4499
142 | 2689682.1666 | 1255963.6291
143 | 2689729.8287 | 1255856.2551
144 | 2689605.318 | 1255902.8039
145 | 2689666.1348 | 1255881.6055
146 | 2689708.7794 | 1255866.8786
147 | 2689734.4646 | 1255854.6527
148 | 2689734.5728 | 1255854.6153
149 | 2689830.5823 | 1255845.7113
150 | 2689703.0197 | 1255950.9344
151 | 2689758.3444 | 1255920.7715
152 | 2689770.8563 | 1255917.684
153 | 2689707.3301 | 1255912.8702
154 | 2689813.8444 | 1255907.0757
155 | 2689778.1952 | 1255740.6968
156 | 2689796.2577 | 1255801.8349
157 | 2689782.4458 | 1255818.0066
158 | 2689774.6813 | 1255827.5454
159 | 2689767.8604 | 1255834.6703
160 | 2689873.1749 | 1255894.4738
161 | 2689804.1452 | 1255772.0264
162 | 2689789.3609 | 1255747.3148
163 | 2689779.7679 | 1255730.9768
164 | 2689642.8365 | 1255815.329

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1