## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_53-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_53-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_53-23_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_53-23_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_53-23_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_53-23_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_53-23_0_4_node_38 | 0.4 | n |  | TRUE
7 | bus_LV_53-23_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_53-23_0_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_53-23_0_4_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_53-23_0_4_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_53-23_0_4_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_53-23_0_4_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_53-23_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_53-23_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_53-23_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_53-23_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_53-23_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_53-23_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_53-23_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_53-23_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_53-23_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_53-23_0_4_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_53-23_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_53-23_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_53-23_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_53-23_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_53-23_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_53-23_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_53-23_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_53-23_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_53-23_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_53-23_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_53-23_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_53-23_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_53-23_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_53-23_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_53-23_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_53-23_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_53-23_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_53-23_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_53-23_0_4_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_53-23_0_4_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_53-23_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_53-23_0_4_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_53-23_0_4_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_53-23_0_4_node_80 | 0.4 | n |  | TRUE
47 | bus_LV_53-23_0_4_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_53-23_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_53-23_0_4_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_53-23_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_53-23_0_4_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_53-23_0_4_node_66 | 0.4 | n |  | TRUE
53 | bus_LV_53-23_0_4_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_53-23_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_53-23_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_53-23_0_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_53-23_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_53-23_0_4_node_90 | 0.4 | n |  | TRUE
59 | bus_LV_53-23_0_4_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_53-23_0_4_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_53-23_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_53-23_0_4_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_53-23_0_4_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_53-23_0_4_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_53-23_0_4_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_53-23_0_4_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_53-23_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_53-23_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_53-23_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_53-23_0_4_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_53-23_0_4_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_53-23_0_4_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_53-23_0_4_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_53-23_0_4_node_91 | 0.4 | n |  | TRUE
75 | bus_LV_53-23_0_4_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_53-23_0_4_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_53-23_0_4_node_52 | 0.4 | n |  | TRUE
78 | bus_LV_53-23_0_4_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_53-23_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_53-23_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_53-23_0_4_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_53-23_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_MV_351_1_node_78 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_53-23_0_4_load_0 | 0 | 0.0062437 | 0.0015648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_53-23_0_4_load_6 | 5 | 0.0058445 | 0.0014648 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_53-23_0_4_load_18 | 7 | 0.0053387 | 0.001338 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_53-23_0_4_load_36 | 8 | 0.01681 | 0.004213 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_53-23_0_4_load_68 | 9 | 0.0058165 | 0.0014578 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_53-23_0_4_load_69 | 10 | 0.0048777 | 0.0012225 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_53-23_0_4_load_70 | 12 | 0.0045765 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_53-23_0_4_load_17 | 13 | 0.002174 | 0.00054486 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_53-23_0_4_load_7 | 15 | 0.0012947 | 0.00032448 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_53-23_0_4_load_8 | 16 | 0.0016626 | 0.00041668 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_53-23_0_4_load_10 | 18 | 0.0021736 | 0.00054475 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_53-23_0_4_load_11 | 19 | 0.0012943 | 0.00032439 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_53-23_0_4_load_13 | 20 | 0.0035268 | 0.00088389 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_53-23_0_4_load_14 | 21 | 0.0021744 | 0.00054496 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_53-23_0_4_load_24 | 22 | 0.0015418 | 0.0003864 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_53-23_0_4_load_25 | 23 | 0.0012947 | 0.00032448 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_53-23_0_4_load_15 | 24 | 0.0021723 | 0.00054442 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_53-23_0_4_load_16 | 25 | 0.0034765 | 0.00087128 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_53-23_0_4_load_26 | 27 | 0.00070452 | 0.00017657 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_53-23_0_4_load_19 | 28 | 0.0025713 | 0.00064443 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_53-23_0_4_load_35 | 32 | 0.011157 | 0.0027963 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_53-23_0_4_load_32 | 33 | 0.015728 | 0.0039417 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_53-23_0_4_load_29 | 34 | 0.0013422 | 0.00033638 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_53-23_0_4_load_28 | 35 | 0.0025713 | 0.00064443 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_53-23_0_4_load_33 | 36 | 0.014093 | 0.0035321 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_53-23_0_4_load_27 | 38 | 0.0025695 | 0.00064399 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_53-23_0_4_load_30 | 39 | 0.0013427 | 0.00033652 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_53-23_0_4_load_65 | 41 | 0.0097524 | 0.0024442 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_53-23_0_4_load_61 | 42 | 0.010195 | 0.002555 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_53-23_0_4_load_93 | 44 | 0.029456 | 0.0073825 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_53-23_0_4_load_56 | 47 | 0.0036075 | 0.00090412 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_53-23_0_4_load_71 | 49 | 0.005058 | 0.0012677 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_53-23_0_4_load_66 | 52 | 0.0083186 | 0.0020848 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_53-23_0_4_load_92 | 53 | 0.0085336 | 0.0021387 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_53-23_0_4_load_44 | 54 | 0.020944 | 0.005249 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_53-23_0_4_load_90 | 58 | 0.017681 | 0.0044313 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_53-23_0_4_load_79 | 60 | 0.017973 | 0.0045046 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_53-23_0_4_load_89 | 62 | 0.026524 | 0.0066475 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_53-23_0_4_load_88 | 64 | 0.014457 | 0.0036234 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_53-23_0_4_load_72 | 67 | 0.018409 | 0.0046136 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_53-23_0_4_load_84 | 71 | 0.0031085 | 0.00077906 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_53-23_0_4_load_91 | 74 | 0.0041087 | 0.0010297 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_53-23_0_4_load_85 | 75 | 0.017798 | 0.0044607 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_53-23_0_4_load_86 | 76 | 0.0072119 | 0.0018075 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_53-23_0_4_load_52 | 77 | 0.010006 | 0.0025077 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_53-23_0_4_load_57 | 78 | 0.003605 | 0.0009035 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_53-23_0_4_load_82 | 81 | 0.010844 | 0.0027177 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_53-23_0_4_load_83 | 82 | 0.010893 | 0.00273 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_53-23_0_4_line_0 |  | 0 | 1 | 0.019828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_53-23_0_4_line_1 |  | 0 | 2 | 0.027024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_53-23_0_4_line_2 |  | 1 | 3 | 0.013731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_53-23_0_4_line_3 |  | 2 | 4 | 0.031469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_53-23_0_4_line_4 |  | 2 | 5 | 0.0050102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_53-23_0_4_line_5 |  | 3 | 6 | 0.04352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_53-23_0_4_line_6 |  | 3 | 7 | 0.023829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_53-23_0_4_line_7 |  | 3 | 8 | 0.029403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_53-23_0_4_line_8 |  | 4 | 9 | 0.014823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_53-23_0_4_line_9 |  | 6 | 11 | 0.022656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_53-23_0_4_line_10 |  | 6 | 12 | 0.01777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_53-23_0_4_line_11 |  | 7 | 13 | 0.021251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_53-23_0_4_line_12 |  | 8 | 14 | 0.027709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_53-23_0_4_line_13 |  | 9 | 10 | 0.015602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_53-23_0_4_line_14 |  | 11 | 47 | 0.031588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_53-23_0_4_line_15 |  | 11 | 48 | 0.003557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_53-23_0_4_line_16 |  | 12 | 49 | 0.018413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_53-23_0_4_line_17 |  | 13 | 28 | 0.01625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_53-23_0_4_line_18 |  | 14 | 40 | 0.0078829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_53-23_0_4_line_19 |  | 15 | 16 | 0.022947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_53-23_0_4_line_20 |  | 15 | 17 | 0.024301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_53-23_0_4_line_21 |  | 16 | 18 | 0.0013409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_53-23_0_4_line_22 |  | 17 | 19 | 0.020139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_53-23_0_4_line_23 |  | 18 | 20 | 0.0080753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_53-23_0_4_line_24 |  | 20 | 21 | 0.011064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_53-23_0_4_line_25 |  | 21 | 24 | 0.0057682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_53-23_0_4_line_26 |  | 22 | 23 | 0.00079867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_53-23_0_4_line_27 |  | 23 | 26 | 0.01318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_53-23_0_4_line_28 |  | 24 | 25 | 0.019645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_53-23_0_4_line_29 |  | 25 | 26 | 0.018954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_53-23_0_4_line_30 |  | 26 | 27 | 0.010693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_53-23_0_4_line_31 |  | 27 | 38 | 0.021895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_53-23_0_4_line_32 |  | 28 | 29 | 0.016389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_53-23_0_4_line_33 |  | 29 | 30 | 0.018547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_53-23_0_4_line_34 |  | 29 | 31 | 0.023464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_53-23_0_4_line_35 |  | 30 | 32 | 0.027258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_53-23_0_4_line_36 |  | 30 | 33 | 0.014092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_53-23_0_4_line_37 |  | 31 | 34 | 0.032323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_53-23_0_4_line_38 |  | 31 | 35 | 0.021088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_53-23_0_4_line_39 |  | 33 | 36 | 0.017053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_53-23_0_4_line_40 |  | 34 | 37 | 0.022655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_53-23_0_4_line_41 |  | 35 | 38 | 0.0010215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_53-23_0_4_line_42 |  | 37 | 39 | 0.038856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_53-23_0_4_line_43 |  | 40 | 41 | 0.038502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_53-23_0_4_line_44 |  | 40 | 42 | 0.017529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_53-23_0_4_line_45 |  | 42 | 45 | 0.024947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_53-23_0_4_line_46 |  | 43 | 44 | 0.01703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_53-23_0_4_line_47 |  | 43 | 45 | 0.0090625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_53-23_0_4_line_48 |  | 43 | 46 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_53-23_0_4_line_49 |  | 45 | 56 | 0.04431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_53-23_0_4_line_50 |  | 46 | 59 | 0.039242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_53-23_0_4_line_51 |  | 46 | 60 | 0.040322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_53-23_0_4_line_52 |  | 46 | 57 | 0.004295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_53-23_0_4_line_53 |  | 47 | 73 | 0.021813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_53-23_0_4_line_54 |  | 48 | 51 | 0.012175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_53-23_0_4_line_55 |  | 48 | 78 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_53-23_0_4_line_56 |  | 50 | 51 | 0.026318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_53-23_0_4_line_57 |  | 50 | 52 | 0.02341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_53-23_0_4_line_58 |  | 51 | 53 | 0.022853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_53-23_0_4_line_59 |  | 54 | 55 | 0.021233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_53-23_0_4_line_60 |  | 55 | 68 | 0.038684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_53-23_0_4_line_61 |  | 55 | 69 | 0.045166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_53-23_0_4_line_62 |  | 56 | 64 | 0.010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_53-23_0_4_line_63 |  | 57 | 58 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_53-23_0_4_line_64 |  | 59 | 82 | 0.024067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_53-23_0_4_line_65 |  | 60 | 66 | 0.041125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_53-23_0_4_line_66 |  | 61 | 62 | 0.02248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_53-23_0_4_line_67 |  | 61 | 63 | 0.031381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_53-23_0_4_line_68 |  | 63 | 66 | 0.0074355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_53-23_0_4_line_69 |  | 65 | 66 | 0.047778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_53-23_0_4_line_70 |  | 65 | 67 | 0.032459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_53-23_0_4_line_71 |  | 67 | 79 | 0.018195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_53-23_0_4_line_72 |  | 68 | 70 | 0.071653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_53-23_0_4_line_73 |  | 68 | 71 | 0.0095207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_53-23_0_4_line_74 |  | 69 | 72 | 0.078157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_53-23_0_4_line_75 |  | 69 | 73 | 0.007157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_53-23_0_4_line_76 |  | 69 | 74 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_53-23_0_4_line_77 |  | 70 | 75 | 0.011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_53-23_0_4_line_78 |  | 72 | 76 | 0.01025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_53-23_0_4_line_79 |  | 73 | 77 | 0.036745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_53-23_0_4_line_80 |  | 79 | 80 | 0.051596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_53-23_0_4_line_81 |  | 80 | 81 | 0.032602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_53-23_0_4_trafo_61 | 0.63 MVA 20/0.4 kV | 83 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2682394.227 | 1263224.7913 | 2682381.9144 | 1263240.333
1 | 2682365.1335 | 1263261.5148 | 2682381.9144 | 1263240.333
2 | 2682404.8734 | 1263216.5665 | 2682398.6543 | 1263219.56 | 2682394.227 | 1263224.7913
3 | 2682365.1335 | 1263261.5148 | 2682371.7864 | 1263267.3898 | 2682388.8376 | 1263282.2945
4 | 2682365.1335 | 1263261.5148 | 2682362.018 | 1263265.4386
5 | 2682404.8734 | 1263216.5665 | 2682424.1258 | 1263226.5092 | 2682425.863 | 1263227.2673 | 2682428.9182 | 1263228.5887 | 2682442.1347 | 1263234.3218 | 2682444.2688 | 1263235.2523
6 | 2682404.8734 | 1263216.5665 | 2682391.9069 | 1263208.5685 | 2682384.9054 | 1263203.5843
7 | 2682404.8734 | 1263216.5665 | 2682414.2011 | 1263204.5871 | 2682423.8117 | 1263194.1061
8 | 2682388.8376 | 1263282.2945 | 2682396.8604 | 1263269.8305
9 | 2682465.5451 | 1263243.2107 | 2682453.1581 | 1263238.501 | 2682444.2688 | 1263235.2523
10 | 2682444.2688 | 1263235.2523 | 2682442.369 | 1263238.0502 | 2682439.9846 | 1263241.5642 | 2682444.7565 | 1263250.5124
11 | 2682367.5928 | 1263191.2598 | 2682384.9054 | 1263203.5843
12 | 2682443.3464 | 1263174.4586 | 2682425.8594 | 1263191.873 | 2682423.8117 | 1263194.1061
13 | 2682396.8604 | 1263269.8305 | 2682397.9391 | 1263268.1547 | 2682400.9616 | 1263264.2604 | 2682406.7991 | 1263257.8367 | 2682406.7991 | 1263257.8367
14 | 2682465.5451 | 1263243.2107 | 2682493.9024 | 1263252.8136 | 2682495.4992 | 1263253.2243
15 | 2682465.5451 | 1263243.2107 | 2682466.7669 | 1263239.8695
16 | 2682444.7565 | 1263250.5124 | 2682449.7707 | 1263259.9149 | 2682449.1944 | 1263263.4207 | 2682451.1532 | 1263267.1412
17 | 2682367.5928 | 1263191.2598 | 2682354.3549 | 1263181.836
18 | 2682443.3464 | 1263174.4586 | 2682446.4022 | 1263171.4211 | 2682448.9459 | 1263168.9101
19 | 2682300.0727 | 1263265.7994 | 2682314.0546 | 1263247.6034
20 | 2682279.7617 | 1263263.3947 | 2682293.5199 | 1263270.803 | 2682296.9686 | 1263269.8392 | 2682300.0727 | 1263265.7994
21 | 2682314.0546 | 1263247.6034 | 2682314.8716 | 1263246.5402
22 | 2682279.7617 | 1263263.3947 | 2682282.2513 | 1263257.1801 | 2682279.858 | 1263251.0642 | 2682275.3576 | 1263245.8642 | 2682275.3576 | 1263245.8642
23 | 2682319.7919 | 1263240.137 | 2682314.8716 | 1263246.5402
24 | 2682319.7919 | 1263240.137 | 2682322.6942 | 1263236.3599 | 2682323.5872 | 1263230.123 | 2682323.5872 | 1263230.123
25 | 2682323.5872 | 1263230.123 | 2682321.2424 | 1263224.8529
26 | 2682282.7558 | 1263214.7009 | 2682282.3086 | 1263215.3626
27 | 2682290.1364 | 1263203.7814 | 2682282.7558 | 1263214.7009
28 | 2682306.0646 | 1263212.3799 | 2682321.2424 | 1263224.8529 | 2682321.2424 | 1263224.8529
29 | 2682290.1364 | 1263203.7814 | 2682292.8675 | 1263203.497 | 2682296.0675 | 1263204.1642 | 2682306.0646 | 1263212.3799
30 | 2682290.1364 | 1263203.7814 | 2682296.1305 | 1263194.9269
31 | 2682308.5751 | 1263176.9151 | 2682305.066 | 1263181.7275 | 2682296.1305 | 1263194.9269
32 | 2682341.0035 | 1263172.3314 | 2682354.3549 | 1263181.836
33 | 2682341.0035 | 1263172.3314 | 2682353.7574 | 1263158.8318
34 | 2682321.6014 | 1263159.051 | 2682341.0035 | 1263172.3314
35 | 2682353.7574 | 1263158.8318 | 2682333.3533 | 1263140.6891
36 | 2682353.7574 | 1263158.8318 | 2682363.399 | 1263148.5548
37 | 2682321.6014 | 1263159.051 | 2682294.8091 | 1263140.9689
38 | 2682321.6014 | 1263159.051 | 2682309.177 | 1263176.0897
39 | 2682363.399 | 1263148.5548 | 2682375.0666 | 1263136.1181
40 | 2682276.1991 | 1263128.0506 | 2682287.9714 | 1263136.3542 | 2682294.8091 | 1263140.9689
41 | 2682308.5751 | 1263176.9151 | 2682309.177 | 1263176.0897
42 | 2682276.1991 | 1263128.0506 | 2682252.6445 | 1263158.9533
43 | 2682448.9459 | 1263168.9101 | 2682418.0952 | 1263145.751
44 | 2682448.9459 | 1263168.9101 | 2682460.9749 | 1263156.1603
45 | 2682478.0947 | 1263138.0146 | 2682460.9749 | 1263156.1603
46 | 2682482.7896 | 1263151.4016 | 2682488.59 | 1263141.7194 | 2682484.4726 | 1263137.6922
47 | 2682478.0947 | 1263138.0146 | 2682481.3436 | 1263134.635 | 2682484.4726 | 1263137.6922
48 | 2682484.4726 | 1263137.6922 | 2682493.8547 | 1263127.7708
49 | 2682478.0947 | 1263138.0146 | 2682466.1966 | 1263125.2498 | 2682468.0063 | 1263115.4118 | 2682471.0555 | 1263098.808
50 | 2682525.9468 | 1263150.4918 | 2682493.8547 | 1263127.7708
51 | 2682493.8547 | 1263127.7708 | 2682521.8407 | 1263098.7425
52 | 2682490.3411 | 1263125.2865 | 2682493.8547 | 1263127.7708
53 | 2682516.6244 | 1263258.6573 | 2682495.4992 | 1263253.2243
54 | 2682455.2992 | 1263235.6842 | 2682466.7669 | 1263239.8695
55 | 2682466.7669 | 1263239.8695 | 2682470.6825 | 1263229.1222
56 | 2682455.2992 | 1263235.6842 | 2682448.7363 | 1263233.0795 | 2682434.1951 | 1263226.7163 | 2682431.1363 | 1263225.1169
57 | 2682431.1363 | 1263225.1169 | 2682444.0039 | 1263205.5604
58 | 2682455.2992 | 1263235.6842 | 2682468.3474 | 1263216.9226
59 | 2682545.6964 | 1263231.6418 | 2682534.5411 | 1263223.9691 | 2682527.8636 | 1263220.1469
60 | 2682545.6964 | 1263231.6418 | 2682550.3858 | 1263234.0759 | 2682567.281 | 1263208.3582 | 2682565.0105 | 1263206.9477
61 | 2682523.5754 | 1263260.4446 | 2682535.313 | 1263263.0993 | 2682539.0215 | 1263252.6985 | 2682545.6964 | 1263231.6418
62 | 2682471.0555 | 1263098.808 | 2682463.1051 | 1263091.2435
63 | 2682490.3411 | 1263125.2865 | 2682494.8205 | 1263120.6454 | 2682500.6386 | 1263114.6008
64 | 2682525.9468 | 1263150.4918 | 2682546.5208 | 1263162.9785
65 | 2682550.3843 | 1263069.1359 | 2682521.8407 | 1263098.7425
66 | 2682522.6284 | 1263046.075 | 2682506.9107 | 1263062.1463
67 | 2682522.6284 | 1263046.075 | 2682544.8588 | 1263068.2914
68 | 2682544.8588 | 1263068.2914 | 2682546.6653 | 1263066.2484 | 2682550.3843 | 1263069.1359
69 | 2682585.8947 | 1263042.3996 | 2682584.3218 | 1263044.9796 | 2682581.7255 | 1263043.6979 | 2682578.1458 | 1263043.2476 | 2682574.8308 | 1263044.3355 | 2682572.5903 | 1263046.1723 | 2682550.3843 | 1263069.1359
70 | 2682585.8947 | 1263042.3996 | 2682587.0084 | 1263043.0267 | 2682613.2775 | 1263059.8256
71 | 2682628.6066 | 1263069.6284 | 2682613.2775 | 1263059.8256
72 | 2682565.0105 | 1263206.9477 | 2682577.3403 | 1263189.8731 | 2682605.2787 | 1263208.4333 | 2682595.9113 | 1263222.6803
73 | 2682565.0105 | 1263206.9477 | 2682556.9354 | 1263201.9043
74 | 2682523.5754 | 1263260.4446 | 2682535.313 | 1263263.0993 | 2682564.6262 | 1263270.592 | 2682570.7826 | 1263272.0903 | 2682564.6727 | 1263282.3574 | 2682555.6778 | 1263297.4659
75 | 2682516.6244 | 1263258.6573 | 2682523.5754 | 1263260.4446
76 | 2682523.5754 | 1263260.4446 | 2682529.8567 | 1263249.5645
77 | 2682595.9113 | 1263222.6803 | 2682589.5608 | 1263232.3384
78 | 2682555.6778 | 1263297.4659 | 2682547.4309 | 1263291.3794
79 | 2682516.6244 | 1263258.6573 | 2682504.2468 | 1263277.0212 | 2682499.2439 | 1263278.6972 | 2682490.3955 | 1263275.7604
80 | 2682620.087 | 1263109.9854 | 2682628.5476 | 1263096.4819 | 2682633.1831 | 1263088.2291 | 2682639.6656 | 1263077.1999 | 2682628.6066 | 1263069.6284
81 | 2682620.087 | 1263109.9854 | 2682617.4172 | 1263120.9678 | 2682605.6371 | 1263138.7132

## bus_geodata
| x | y | coords
0 | 2682381.9144 | 1263240.333
1 | 2682394.227 | 1263224.7913
2 | 2682365.1335 | 1263261.5148
3 | 2682404.8734 | 1263216.5665
4 | 2682388.8376 | 1263282.2945
5 | 2682362.018 | 1263265.4386
6 | 2682444.2688 | 1263235.2523
7 | 2682384.9054 | 1263203.5843
8 | 2682423.8117 | 1263194.1061
9 | 2682396.8604 | 1263269.8305
10 | 2682406.7991 | 1263257.8367
11 | 2682465.5451 | 1263243.2107
12 | 2682444.7565 | 1263250.5124
13 | 2682367.5928 | 1263191.2598
14 | 2682443.3464 | 1263174.4586
15 | 2682300.0727 | 1263265.7994
16 | 2682314.0546 | 1263247.6034
17 | 2682279.7617 | 1263263.3947
18 | 2682314.8716 | 1263246.5402
19 | 2682275.3576 | 1263245.8642
20 | 2682319.7919 | 1263240.137
21 | 2682323.5872 | 1263230.123
22 | 2682282.3086 | 1263215.3626
23 | 2682282.7558 | 1263214.7009
24 | 2682321.2424 | 1263224.8529
25 | 2682306.0646 | 1263212.3799
26 | 2682290.1364 | 1263203.7814
27 | 2682296.1305 | 1263194.9269
28 | 2682354.3549 | 1263181.836
29 | 2682341.0035 | 1263172.3314
30 | 2682353.7574 | 1263158.8318
31 | 2682321.6014 | 1263159.051
32 | 2682333.3533 | 1263140.6891
33 | 2682363.399 | 1263148.5548
34 | 2682294.8091 | 1263140.9689
35 | 2682309.177 | 1263176.0897
36 | 2682375.0666 | 1263136.1181
37 | 2682276.1991 | 1263128.0506
38 | 2682308.5751 | 1263176.9151
39 | 2682252.6445 | 1263158.9533
40 | 2682448.9459 | 1263168.9101
41 | 2682418.0952 | 1263145.751
42 | 2682460.9749 | 1263156.1603
43 | 2682484.4726 | 1263137.6922
44 | 2682482.7896 | 1263151.4016
45 | 2682478.0947 | 1263138.0146
46 | 2682493.8547 | 1263127.7708
47 | 2682495.4992 | 1263253.2243
48 | 2682466.7669 | 1263239.8695
49 | 2682451.1532 | 1263267.1412
50 | 2682431.1363 | 1263225.1169
51 | 2682455.2992 | 1263235.6842
52 | 2682444.0039 | 1263205.5604
53 | 2682468.3474 | 1263216.9226
54 | 2682527.8636 | 1263220.1469
55 | 2682545.6964 | 1263231.6418
56 | 2682471.0555 | 1263098.808
57 | 2682490.3411 | 1263125.2865
58 | 2682500.6386 | 1263114.6008
59 | 2682525.9468 | 1263150.4918
60 | 2682521.8407 | 1263098.7425
61 | 2682522.6284 | 1263046.075
62 | 2682506.9107 | 1263062.1463
63 | 2682544.8588 | 1263068.2914
64 | 2682463.1051 | 1263091.2435
65 | 2682585.8947 | 1263042.3996
66 | 2682550.3843 | 1263069.1359
67 | 2682613.2775 | 1263059.8256
68 | 2682565.0105 | 1263206.9477
69 | 2682523.5754 | 1263260.4446
70 | 2682595.9113 | 1263222.6803
71 | 2682556.9354 | 1263201.9043
72 | 2682555.6778 | 1263297.4659
73 | 2682516.6244 | 1263258.6573
74 | 2682529.8567 | 1263249.5645
75 | 2682589.5608 | 1263232.3384
76 | 2682547.4309 | 1263291.3794
77 | 2682490.3955 | 1263275.7604
78 | 2682470.6825 | 1263229.1222
79 | 2682628.6066 | 1263069.6284
80 | 2682620.087 | 1263109.9854
81 | 2682605.6371 | 1263138.7132
82 | 2682546.5208 | 1263162.9785
83 | 2682448.9459 | 1263168.9101

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1