## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_53-35_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_53-35_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_53-35_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_53-35_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_53-35_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_53-35_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_53-35_0_5_node_63 | 0.4 | n |  | TRUE
7 | bus_LV_53-35_0_5_node_65 | 0.4 | n |  | TRUE
8 | bus_LV_53-35_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_53-35_0_5_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_53-35_0_5_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_53-35_0_5_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_53-35_0_5_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_53-35_0_5_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_53-35_0_5_node_97 | 0.4 | n |  | TRUE
15 | bus_LV_53-35_0_5_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_53-35_0_5_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_53-35_0_5_node_90 | 0.4 | n |  | TRUE
18 | bus_LV_53-35_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_53-35_0_5_node_103 | 0.4 | n |  | TRUE
20 | bus_LV_53-35_0_5_node_104 | 0.4 | n |  | TRUE
21 | bus_LV_53-35_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_53-35_0_5_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_53-35_0_5_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_53-35_0_5_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_53-35_0_5_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_53-35_0_5_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_53-35_0_5_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_53-35_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_53-35_0_5_node_101 | 0.4 | n |  | TRUE
30 | bus_LV_53-35_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_53-35_0_5_node_80 | 0.4 | n |  | TRUE
32 | bus_LV_53-35_0_5_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_53-35_0_5_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_53-35_0_5_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_53-35_0_5_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_53-35_0_5_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_53-35_0_5_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_53-35_0_5_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_53-35_0_5_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_53-35_0_5_node_102 | 0.4 | n |  | TRUE
41 | bus_LV_53-35_0_5_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_53-35_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_53-35_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_53-35_0_5_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_53-35_0_5_node_17 | 0.4 | n |  | TRUE
46 | bus_LV_53-35_0_5_node_8 | 0.4 | n |  | TRUE
47 | bus_LV_53-35_0_5_node_11 | 0.4 | n |  | TRUE
48 | bus_LV_53-35_0_5_node_9 | 0.4 | n |  | TRUE
49 | bus_LV_53-35_0_5_node_6 | 0.4 | n |  | TRUE
50 | bus_LV_53-35_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_53-35_0_5_node_12 | 0.4 | n |  | TRUE
52 | bus_LV_53-35_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_53-35_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_53-35_0_5_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_53-35_0_5_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_53-35_0_5_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_53-35_0_5_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_53-35_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_53-35_0_5_node_20 | 0.4 | n |  | TRUE
60 | bus_LV_53-35_0_5_node_23 | 0.4 | n |  | TRUE
61 | bus_LV_53-35_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_53-35_0_5_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_53-35_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_53-35_0_5_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_53-35_0_5_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_53-35_0_5_node_5 | 0.4 | n |  | TRUE
67 | bus_LV_53-35_0_5_node_7 | 0.4 | n |  | TRUE
68 | bus_LV_53-35_0_5_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_53-35_0_5_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_53-35_0_5_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_53-35_0_5_node_105 | 0.4 | n |  | TRUE
72 | bus_LV_53-35_0_5_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_53-35_0_5_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_53-35_0_5_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_53-35_0_5_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_53-35_0_5_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_53-35_0_5_node_95 | 0.4 | n |  | TRUE
78 | bus_LV_53-35_0_5_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_53-35_0_5_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_53-35_0_5_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_53-35_0_5_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_53-35_0_5_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_53-35_0_5_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_53-35_0_5_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_53-35_0_5_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_53-35_0_5_node_45 | 0.4 | n |  | TRUE
87 | bus_LV_53-35_0_5_node_46 | 0.4 | n |  | TRUE
88 | bus_LV_53-35_0_5_node_47 | 0.4 | n |  | TRUE
89 | bus_LV_53-35_0_5_node_59 | 0.4 | n |  | TRUE
90 | bus_LV_53-35_0_5_node_57 | 0.4 | n |  | TRUE
91 | bus_LV_53-35_0_5_node_56 | 0.4 | n |  | TRUE
92 | bus_LV_53-35_0_5_node_55 | 0.4 | n |  | TRUE
93 | bus_LV_53-35_0_5_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_53-35_0_5_node_70 | 0.4 | n |  | TRUE
95 | bus_LV_53-35_0_5_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_53-35_0_5_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_53-35_0_5_node_73 | 0.4 | n |  | TRUE
98 | bus_LV_53-35_0_5_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_53-35_0_5_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_53-35_0_5_node_93 | 0.4 | n |  | TRUE
101 | bus_MV_351_1_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_53-35_0_5_load_0 | 0 | 0.0047211 | 0.0011832 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_53-35_0_5_load_1 | 1 | 0.0020751 | 0.00052007 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_53-35_0_5_load_2 | 2 | 0.0053143 | 0.0013319 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_53-35_0_5_load_3 | 3 | 0.011025 | 0.0027631 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_53-35_0_5_load_63 | 6 | 0.0023826 | 0.00059714 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_53-35_0_5_load_65 | 7 | 0.0041926 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_53-35_0_5_load_77 | 11 | 0.0098937 | 0.0024796 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_53-35_0_5_load_97 | 14 | 0.0054023 | 0.0013539 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_53-35_0_5_load_90 | 17 | 0.014641 | 0.0036694 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_53-35_0_5_load_103 | 19 | 0.011698 | 0.0029318 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_53-35_0_5_load_89 | 25 | 0.001208 | 0.00030275 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_53-35_0_5_load_88 | 26 | 0.00088254 | 0.00022119 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_53-35_0_5_load_68 | 27 | 0.0048706 | 0.0012207 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_53-35_0_5_load_101 | 29 | 0.00059557 | 0.00014926 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_53-35_0_5_load_80 | 31 | 0.0056027 | 0.0014042 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_53-35_0_5_load_78 | 32 | 0.014744 | 0.0036953 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_53-35_0_5_load_81 | 33 | 0.0081407 | 0.0020402 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_53-35_0_5_load_66 | 34 | 0.0015338 | 0.0003844 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_53-35_0_5_load_85 | 36 | 0.0054578 | 0.0013679 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_53-35_0_5_load_94 | 37 | 0.0083431 | 0.002091 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_53-35_0_5_load_96 | 38 | 0.0098195 | 0.002461 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_53-35_0_5_load_102 | 40 | 0.013787 | 0.0034554 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_53-35_0_5_load_106 | 44 | 0.022981 | 0.0057595 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_53-35_0_5_load_9 | 48 | 0.0048853 | 0.0012244 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_53-35_0_5_load_6 | 49 | 0.0074944 | 0.0018783 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_53-35_0_5_load_42 | 50 | 0.0063537 | 0.0015924 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_53-35_0_5_load_43 | 52 | 0.0059364 | 0.0014878 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_53-35_0_5_load_44 | 53 | 0.0064436 | 0.0016149 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_53-35_0_5_load_62 | 54 | 0.0019826 | 0.00049687 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_53-35_0_5_load_61 | 55 | 0.003327 | 0.00083383 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_53-35_0_5_load_52 | 56 | 0.00565 | 0.001416 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_53-35_0_5_load_51 | 58 | 0.0027783 | 0.00069631 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_53-35_0_5_load_53 | 61 | 0.014029 | 0.0035159 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_53-35_0_5_load_49 | 63 | 0.020192 | 0.0050607 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_53-35_0_5_load_48 | 64 | 0.035992 | 0.0090206 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_53-35_0_5_load_64 | 65 | 0.0019827 | 0.00049691 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_53-35_0_5_load_5 | 66 | 0.0079881 | 0.002002 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_53-35_0_5_load_7 | 67 | 0.0035771 | 0.00089651 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_53-35_0_5_load_79 | 68 | 0.0010368 | 0.00025985 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_53-35_0_5_load_105 | 71 | 0.010823 | 0.0027126 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_53-35_0_5_load_60 | 72 | 0.016573 | 0.0041537 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_53-35_0_5_load_100 | 73 | 0.0011241 | 0.00028172 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_53-35_0_5_load_98 | 74 | 0.019315 | 0.0048407 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_53-35_0_5_load_54 | 75 | 0.0036862 | 0.00092384 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_53-35_0_5_load_67 | 76 | 0.0048706 | 0.0012207 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_53-35_0_5_load_95 | 77 | 0.008283 | 0.0020759 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_53-35_0_5_load_92 | 79 | 0.0056056 | 0.0014049 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_53-35_0_5_load_82 | 81 | 0.014188 | 0.003556 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_53-35_0_5_load_99 | 83 | 0.011195 | 0.0028057 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_53-35_0_5_load_87 | 84 | 0.0015905 | 0.00039861 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_53-35_0_5_load_86 | 85 | 0.0019231 | 0.00048198 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_53-35_0_5_load_45 | 86 | 0.0084645 | 0.0021214 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_53-35_0_5_load_46 | 87 | 0.0019953 | 0.00050007 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_53-35_0_5_load_47 | 88 | 0.0013613 | 0.00034117 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_53-35_0_5_load_59 | 89 | 0.0059575 | 0.0014931 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_53-35_0_5_load_56 | 91 | 0.0033029 | 0.00082779 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_53-35_0_5_load_55 | 92 | 0.006522 | 0.0016346 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_53-35_0_5_load_69 | 93 | 0.0050783 | 0.0012727 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_53-35_0_5_load_70 | 94 | 0.0035942 | 0.0009008 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_53-35_0_5_load_75 | 98 | 0.0069394 | 0.0017392 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_53-35_0_5_load_93 | 100 | 0.0029754 | 0.00074569 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_53-35_0_5_line_0 |  | 0 | 1 | 0.01689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_53-35_0_5_line_1 |  | 0 | 2 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_53-35_0_5_line_2 |  | 1 | 3 | 0.0042821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_53-35_0_5_line_3 |  | 2 | 4 | 0.019703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_53-35_0_5_line_4 |  | 4 | 5 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_53-35_0_5_line_5 |  | 4 | 6 | 0.015137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_53-35_0_5_line_6 |  | 5 | 7 | 0.051278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_53-35_0_5_line_7 |  | 6 | 65 | 0.025829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_53-35_0_5_line_8 |  | 7 | 34 | 0.019665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_53-35_0_5_line_9 |  | 8 | 9 | 0.089709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_53-35_0_5_line_10 |  | 8 | 10 | 0.071939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_53-35_0_5_line_11 |  | 8 | 11 | 0.019447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_53-35_0_5_line_12 |  | 9 | 33 | 0.019504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_53-35_0_5_line_13 |  | 10 | 34 | 0.028949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_53-35_0_5_line_14 |  | 10 | 35 | 0.045569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_53-35_0_5_line_15 |  | 11 | 70 | 0.024898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_53-35_0_5_line_16 |  | 12 | 13 | 0.064438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_53-35_0_5_line_17 |  | 12 | 14 | 0.018635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_53-35_0_5_line_18 |  | 13 | 36 | 0.0060071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_53-35_0_5_line_19 |  | 13 | 30 | 0.034501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_53-35_0_5_line_20 |  | 15 | 16 | 0.1028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_53-35_0_5_line_21 |  | 15 | 17 | 0.043955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_53-35_0_5_line_22 |  | 16 | 38 | 0.071205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_53-35_0_5_line_23 |  | 18 | 19 | 0.009305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_53-35_0_5_line_24 |  | 18 | 20 | 0.038752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_53-35_0_5_line_25 |  | 18 | 21 | 0.074643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_53-35_0_5_line_26 |  | 18 | 22 | 0.062873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_53-35_0_5_line_27 |  | 18 | 23 | 0.058387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_53-35_0_5_line_28 |  | 20 | 71 | 0.01114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_53-35_0_5_line_29 |  | 21 | 26 | 0.050179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_53-35_0_5_line_30 |  | 22 | 27 | 0.026492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_53-35_0_5_line_31 |  | 23 | 37 | 0.035489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_53-35_0_5_line_32 |  | 24 | 25 | 0.0059215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_53-35_0_5_line_33 |  | 24 | 26 | 0.019857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_53-35_0_5_line_34 |  | 25 | 28 | 0.013987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_53-35_0_5_line_35 |  | 27 | 76 | 0.034704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_53-35_0_5_line_36 |  | 28 | 29 | 0.0094312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_53-35_0_5_line_37 |  | 29 | 73 | 0.0038972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_53-35_0_5_line_38 |  | 30 | 31 | 0.014768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_53-35_0_5_line_39 |  | 30 | 32 | 0.030153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_53-35_0_5_line_40 |  | 32 | 70 | 0.029648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_53-35_0_5_line_41 |  | 33 | 81 | 0.039467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_53-35_0_5_line_42 |  | 35 | 54 | 0.019925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_53-35_0_5_line_43 |  | 35 | 55 | 0.023281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_53-35_0_5_line_44 |  | 36 | 85 | 0.020883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_53-35_0_5_line_45 |  | 37 | 77 | 0.014823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_53-35_0_5_line_46 |  | 38 | 77 | 0.021255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_53-35_0_5_line_47 |  | 39 | 40 | 0.043046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_53-35_0_5_line_48 |  | 39 | 41 | 0.008414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_53-35_0_5_line_49 |  | 39 | 42 | 0.0096463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_53-35_0_5_line_50 |  | 41 | 64 | 0.059315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_53-35_0_5_line_51 |  | 42 | 63 | 0.010382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_53-35_0_5_line_52 |  | 43 | 44 | 0.004571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_53-35_0_5_line_53 |  | 43 | 45 | 0.067982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_53-35_0_5_line_54 |  | 45 | 56 | 0.021273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_53-35_0_5_line_55 |  | 45 | 57 | 0.038943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_53-35_0_5_line_56 |  | 45 | 58 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_53-35_0_5_line_57 |  | 46 | 47 | 0.039121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_53-35_0_5_line_58 |  | 46 | 48 | 0.017999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_53-35_0_5_line_59 |  | 46 | 49 | 0.0064207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_53-35_0_5_line_60 |  | 47 | 50 | 0.018285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_53-35_0_5_line_61 |  | 49 | 66 | 0.013602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_53-35_0_5_line_62 |  | 50 | 51 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_53-35_0_5_line_63 |  | 51 | 52 | 0.057075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_53-35_0_5_line_64 |  | 51 | 53 | 0.024233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_53-35_0_5_line_65 |  | 53 | 55 | 0.040031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_53-35_0_5_line_66 |  | 54 | 72 | 0.011034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_53-35_0_5_line_67 |  | 56 | 74 | 0.0012084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_53-35_0_5_line_68 |  | 57 | 62 | 0.011142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_53-35_0_5_line_69 |  | 57 | 63 | 0.046166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_53-35_0_5_line_70 |  | 58 | 60 | 0.0052888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_53-35_0_5_line_71 |  | 59 | 60 | 0.019572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_53-35_0_5_line_72 |  | 59 | 61 | 0.038123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_53-35_0_5_line_73 |  | 61 | 75 | 0.0043015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_53-35_0_5_line_74 |  | 62 | 82 | 0.002791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_53-35_0_5_line_75 |  | 62 | 83 | 0.017186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_53-35_0_5_line_76 |  | 66 | 67 | 0.0016666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_53-35_0_5_line_77 |  | 68 | 69 | 0.03518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_53-35_0_5_line_78 |  | 69 | 96 | 0.021585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_53-35_0_5_line_79 |  | 70 | 97 | 0.018777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_53-35_0_5_line_80 |  | 72 | 90 | 0.019469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_53-35_0_5_line_81 |  | 75 | 92 | 0.026572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_53-35_0_5_line_82 |  | 76 | 92 | 0.036278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_53-35_0_5_line_83 |  | 78 | 79 | 0.013215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_53-35_0_5_line_84 |  | 78 | 80 | 0.033474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_53-35_0_5_line_85 |  | 79 | 99 | 0.039812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_53-35_0_5_line_86 |  | 80 | 81 | 0.022016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_53-35_0_5_line_87 |  | 82 | 91 | 0.016856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_53-35_0_5_line_88 |  | 84 | 85 | 0.021724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_53-35_0_5_line_89 |  | 86 | 87 | 0.005371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_53-35_0_5_line_90 |  | 87 | 88 | 0.022322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_53-35_0_5_line_91 |  | 88 | 89 | 0.020711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_53-35_0_5_line_92 |  | 89 | 90 | 0.02187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_53-35_0_5_line_93 |  | 90 | 91 | 0.0077066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_53-35_0_5_line_94 |  | 93 | 94 | 0.031108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_53-35_0_5_line_95 |  | 93 | 95 | 0.022312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_53-35_0_5_line_96 |  | 94 | 96 | 0.0082336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_53-35_0_5_line_97 |  | 95 | 97 | 0.030798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_53-35_0_5_line_98 |  | 97 | 98 | 0.011679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_53-35_0_5_line_99 |  | 99 | 100 | 0.0046416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_53-35_0_5_trafo_52 | 0.63 MVA 20/0.4 kV | 101 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2683303.2348 | 1263924.5274 | 2683299.2278 | 1263940.9355
1 | 2683303.2348 | 1263924.5274 | 2683305.9964 | 1263913.2187
2 | 2683298.212 | 1263945.0953 | 2683299.2278 | 1263940.9355
3 | 2683310.4491 | 1263894.0276 | 2683308.8602 | 1263901.4777 | 2683306.7176 | 1263910.2656 | 2683305.9964 | 1263913.2187
4 | 2683310.4491 | 1263894.0276 | 2683310.8144 | 1263891.6309 | 2683318.8719 | 1263892.8676 | 2683319.129 | 1263891.1921
5 | 2683310.4491 | 1263894.0276 | 2683325.0672 | 1263897.9563
6 | 2683319.129 | 1263891.1921 | 2683369.7593 | 1263899.3172
7 | 2683350.0111 | 1263904.66 | 2683325.0672 | 1263897.9563
8 | 2683369.7593 | 1263899.3172 | 2683389.1759 | 1263902.4331
9 | 2683460.2211 | 1263940.3534 | 2683462.4637 | 1263941.5638 | 2683469.5181 | 1263941.8191 | 2683482.212 | 1263950.772 | 2683484.6341 | 1263947.2812 | 2683477.8148 | 1263942.1142 | 2683480.0546 | 1263939.2658 | 2683491.5522 | 1263924.6611 | 2683501.6443 | 1263917.3089 | 2683512.0344 | 1263914.4533 | 2683518.3017 | 1263913.9081
10 | 2683417.5796 | 1263907.7818 | 2683426.5585 | 1263911.5114 | 2683432.916 | 1263915.2484 | 2683438.9102 | 1263919.6364 | 2683452.7216 | 1263930.0061 | 2683469.5181 | 1263941.8191 | 2683462.4637 | 1263941.5638 | 2683460.2211 | 1263940.3534
11 | 2683460.2211 | 1263940.3534 | 2683458.1666 | 1263944.4832 | 2683451.8234 | 1263957.8927
12 | 2683518.3017 | 1263913.9081 | 2683522.7626 | 1263922.8559 | 2683524.8637 | 1263932.1266
13 | 2683417.5796 | 1263907.7818 | 2683412.42 | 1263906.1633 | 2683389.1759 | 1263902.4331
14 | 2683384.7658 | 1263891.8955 | 2683397.9656 | 1263893.8387 | 2683415.8224 | 1263893.5236 | 2683416.8128 | 1263900.7321 | 2683417.5796 | 1263907.7818
15 | 2683443.9107 | 1263979.9989 | 2683453.2216 | 1263958.6134 | 2683451.8232 | 1263957.8931 | 2683451.8234 | 1263957.8927
16 | 2683510.8975 | 1263974.1175 | 2683511.1599 | 1263971.0077 | 2683512.1107 | 1263967.6851 | 2683514.5568 | 1263965.1621 | 2683517.6539 | 1263964.005 | 2683518.6277 | 1263959.593 | 2683564.0497 | 1263969.6537
17 | 2683564.0497 | 1263969.6537 | 2683562.0655 | 1263988.183
18 | 2683510.8975 | 1263974.1175 | 2683510.2632 | 1263980.091 | 2683510.2632 | 1263980.091
19 | 2683500.2805 | 1263999.9657 | 2683502.9433 | 1263973.5714 | 2683506.6307 | 1263973.8237 | 2683510.8975 | 1263974.1175
20 | 2683529.9521 | 1263704.1078 | 2683540.7019 | 1263705.672 | 2683561.8373 | 1263715.923 | 2683565.1408 | 1263717.76 | 2683571.0433 | 1263714.7967 | 2683577.3482 | 1263713.7405 | 2683602.1105 | 1263712.0113 | 2683628.9063 | 1263710.311
21 | 2683628.9063 | 1263710.311 | 2683627.3344 | 1263682.4558 | 2683629.8308 | 1263675.8526 | 2683637.5807 | 1263671.285
22 | 2683529.9521 | 1263704.1078 | 2683522.6352 | 1263760.7823 | 2683536.5793 | 1263762.5842
23 | 2683586.3544 | 1263799.7019 | 2683589.2424 | 1263808.5497
24 | 2683553.9502 | 1263816.6352 | 2683556.3297 | 1263819.8935 | 2683589.2424 | 1263808.5497
25 | 2683589.2424 | 1263808.5497 | 2683607.748 | 1263802.3175 | 2683617.7238 | 1263802.681 | 2683632.9546 | 1263803.2413 | 2683638.1108 | 1263801.3683 | 2683646.093 | 1263824.4326
26 | 2683589.2424 | 1263808.5497 | 2683607.748 | 1263802.3175 | 2683609.4828 | 1263813.8733 | 2683612.7347 | 1263832.1336 | 2683614.7283 | 1263845.0942
27 | 2683603.8432 | 1263763.6541 | 2683607.748 | 1263802.3175 | 2683589.2424 | 1263808.5497
28 | 2683553.9502 | 1263816.6352 | 2683550.6885 | 1263805.9807
29 | 2683646.093 | 1263824.4326 | 2683680.6012 | 1263810.0094 | 2683679.1824 | 1263797.3109
30 | 2683614.7283 | 1263845.0942 | 2683589.5553 | 1263853.3503
31 | 2683603.8432 | 1263763.6541 | 2683568.5414 | 1263760.0121
32 | 2683676.9777 | 1263777.5771 | 2683671.8804 | 1263780.5908
33 | 2683676.9777 | 1263777.5771 | 2683679.1824 | 1263797.3109
34 | 2683659.8403 | 1263787.7093 | 2683671.8804 | 1263780.5908
35 | 2683556.5796 | 1263864.1654 | 2683589.5553 | 1263853.3503
36 | 2683659.8403 | 1263787.7093 | 2683657.766 | 1263778.509
37 | 2683656.9088 | 1263774.7072 | 2683657.766 | 1263778.509
38 | 2683500.2805 | 1263999.9657 | 2683498.7634 | 1264014.6558
39 | 2683500.2805 | 1263999.9657 | 2683471.8577 | 1263989.898
40 | 2683443.9107 | 1263979.9989 | 2683471.8577 | 1263989.898
41 | 2683524.8637 | 1263932.1266 | 2683526.0241 | 1263937.2466 | 2683534.9847 | 1263951.3286 | 2683552.4495 | 1263949.8703
42 | 2683384.7658 | 1263891.8955 | 2683394.8243 | 1263874.6957
43 | 2683384.7658 | 1263891.8955 | 2683361.773 | 1263888.2445
44 | 2683510.2632 | 1263980.091 | 2683507.8099 | 1264000.8289
45 | 2683568.5414 | 1263760.0121 | 2683553.797 | 1263758.491
46 | 2683536.5793 | 1263762.5842 | 2683545.8239 | 1263763.7788 | 2683547.5142 | 1263758.7766 | 2683548.3848 | 1263757.9326 | 2683553.797 | 1263758.491
47 | 2683495.3487 | 1263771.1051 | 2683452.1742 | 1263771.4071
48 | 2683452.1742 | 1263771.4071 | 2683453.4141 | 1263763.0848
49 | 2683442.6103 | 1263770.149 | 2683447.1968 | 1263770.7475 | 2683452.1742 | 1263771.4071
50 | 2683453.4141 | 1263763.0848 | 2683484.806 | 1263762.8832 | 2683485.7953 | 1263735.509 | 2683486.3261 | 1263735.5068
51 | 2683442.6103 | 1263770.149 | 2683441.1844 | 1263780.4325
52 | 2683480.6655 | 1263811.2294 | 2683476.133 | 1263810.5426
53 | 2683443.092 | 1263853.3989 | 2683443.6334 | 1263841.7307 | 2683476.9042 | 1263832.7376 | 2683477.2376 | 1263830.4628 | 2683478.1488 | 1263825.683 | 2683480.6655 | 1263811.2294
54 | 2683443.092 | 1263853.3989 | 2683444.2254 | 1263853.1481 | 2683447.6309 | 1263852.5623 | 2683464.0415 | 1263849.7128
55 | 2683434.8441 | 1263826.1612 | 2683439.1292 | 1263826.7666 | 2683437.5312 | 1263843.3793 | 2683436.5739 | 1263854.6302 | 2683441.5655 | 1263853.7443 | 2683443.092 | 1263853.3989
56 | 2683443.092 | 1263853.3989 | 2683443.5097 | 1263874.4166
57 | 2683247.8871 | 1263904.9886 | 2683251.6826 | 1263892.7546 | 2683253.1898 | 1263887.8943 | 2683255.3363 | 1263880.9635 | 2683256.7093 | 1263876.546 | 2683261.0703 | 1263877.1078 | 2683262.3578 | 1263872.3333
58 | 2683247.8871 | 1263904.9886 | 2683230.3054 | 1263901.1372
59 | 2683247.8871 | 1263904.9886 | 2683246.0236 | 1263911.133
60 | 2683262.3578 | 1263872.3333 | 2683280.4063 | 1263875.262
61 | 2683242.076 | 1263924.1493 | 2683246.0236 | 1263911.133
62 | 2683298.3042 | 1263878.1663 | 2683280.4063 | 1263875.262
63 | 2683298.3042 | 1263878.1663 | 2683301.0972 | 1263853.6975 | 2683320.0998 | 1263827.3967
64 | 2683298.3042 | 1263878.1663 | 2683322.237 | 1263881.9666
65 | 2683322.237 | 1263881.9666 | 2683361.773 | 1263888.2445
66 | 2683394.8243 | 1263874.6957 | 2683400.3943 | 1263865.1711
67 | 2683465.2322 | 1263849.506 | 2683464.0415 | 1263849.7128
68 | 2683423.778 | 1263824.6039 | 2683434.8441 | 1263826.1612
69 | 2683434.8441 | 1263826.1612 | 2683441.1844 | 1263780.4325
70 | 2683443.7903 | 1263879.6961 | 2683443.55 | 1263876.4457 | 2683443.5097 | 1263874.4166
71 | 2683455.6597 | 1263893.1742 | 2683446.0286 | 1263887.6228 | 2683444.7111 | 1263885.9696 | 2683444.0738 | 1263883.6254 | 2683443.7903 | 1263879.6961
72 | 2683455.6597 | 1263893.1742 | 2683463.8327 | 1263892.6335 | 2683473.4045 | 1263890.656 | 2683487.4082 | 1263886.884 | 2683492.7784 | 1263885.1112
73 | 2683492.7784 | 1263885.1112 | 2683496.8631 | 1263883.7627
74 | 2683423.778 | 1263824.6039 | 2683422.3954 | 1263827.0307
75 | 2683423.778 | 1263824.6039 | 2683411.1678 | 1263812.927
76 | 2683242.076 | 1263924.1493 | 2683241.5923 | 1263925.7441
77 | 2683356.9832 | 1263960.9469 | 2683389.9962 | 1263948.79
78 | 2683356.9832 | 1263960.9469 | 2683359.1094 | 1263966.1477 | 2683355.5572 | 1263977.1396 | 2683357.7249 | 1263980.9954
79 | 2683425.6311 | 1263975.6042 | 2683439.9684 | 1263978.5977 | 2683443.9107 | 1263979.9989
80 | 2683410.2227 | 1263848.3647 | 2683400.3943 | 1263865.1711
81 | 2683522.1079 | 1263875.4711 | 2683502.4607 | 1263881.9148 | 2683496.8631 | 1263883.7627
82 | 2683522.1079 | 1263875.4711 | 2683556.5796 | 1263864.1654
83 | 2683566.1708 | 1263916.0748 | 2683579.3698 | 1263915.419
84 | 2683566.1708 | 1263916.0748 | 2683567.8926 | 1263926.4184 | 2683574.4809 | 1263941.5234 | 2683574.3887 | 1263948.0383
85 | 2683618.3287 | 1263907.9279 | 2683601.069 | 1263912.8989 | 2683581.6762 | 1263915.3044 | 2683579.3698 | 1263915.419
86 | 2683574.3887 | 1263948.0383 | 2683552.4495 | 1263949.8703
87 | 2683422.3954 | 1263827.0307 | 2683414.042 | 1263841.671
88 | 2683505.2576 | 1264022.403 | 2683507.8099 | 1264000.8289
89 | 2683358.076 | 1263814.2821 | 2683353.94 | 1263810.8555
90 | 2683375.2649 | 1263828.5229 | 2683358.076 | 1263814.2821
91 | 2683375.2649 | 1263828.5229 | 2683391.2131 | 1263841.7367
92 | 2683410.2227 | 1263848.3647 | 2683405.9102 | 1263850.2387 | 2683397.0284 | 1263846.555 | 2683391.2131 | 1263841.7367
93 | 2683410.2227 | 1263848.3647 | 2683414.042 | 1263841.671
94 | 2683394.1223 | 1263995.9277 | 2683365.3423 | 1263984.1205
95 | 2683414.7542 | 1264004.4179 | 2683410.9492 | 1264002.8963 | 2683409.2051 | 1264002.1156 | 2683394.1223 | 1263995.9277
96 | 2683357.7249 | 1263980.9954 | 2683365.3423 | 1263984.1205
97 | 2683425.6311 | 1263975.6042 | 2683420.7403 | 1263988.5676 | 2683414.7542 | 1264004.4179
98 | 2683425.6311 | 1263975.6042 | 2683414.1983 | 1263973.2188
99 | 2683618.3287 | 1263907.9279 | 2683622.7889 | 1263906.6428

## bus_geodata
| x | y | coords
0 | 2683303.2348 | 1263924.5274
1 | 2683299.2278 | 1263940.9355
2 | 2683305.9964 | 1263913.2187
3 | 2683298.212 | 1263945.0953
4 | 2683310.4491 | 1263894.0276
5 | 2683319.129 | 1263891.1921
6 | 2683325.0672 | 1263897.9563
7 | 2683369.7593 | 1263899.3172
8 | 2683460.2211 | 1263940.3534
9 | 2683518.3017 | 1263913.9081
10 | 2683417.5796 | 1263907.7818
11 | 2683451.8234 | 1263957.8927
12 | 2683564.0497 | 1263969.6537
13 | 2683510.8975 | 1263974.1175
14 | 2683562.0655 | 1263988.183
15 | 2683628.9063 | 1263710.311
16 | 2683529.9521 | 1263704.1078
17 | 2683637.5807 | 1263671.285
18 | 2683589.2424 | 1263808.5497
19 | 2683586.3544 | 1263799.7019
20 | 2683553.9502 | 1263816.6352
21 | 2683646.093 | 1263824.4326
22 | 2683614.7283 | 1263845.0942
23 | 2683603.8432 | 1263763.6541
24 | 2683676.9777 | 1263777.5771
25 | 2683671.8804 | 1263780.5908
26 | 2683679.1824 | 1263797.3109
27 | 2683589.5553 | 1263853.3503
28 | 2683659.8403 | 1263787.7093
29 | 2683657.766 | 1263778.509
30 | 2683500.2805 | 1263999.9657
31 | 2683498.7634 | 1264014.6558
32 | 2683471.8577 | 1263989.898
33 | 2683524.8637 | 1263932.1266
34 | 2683389.1759 | 1263902.4331
35 | 2683384.7658 | 1263891.8955
36 | 2683510.2632 | 1263980.091
37 | 2683568.5414 | 1263760.0121
38 | 2683536.5793 | 1263762.5842
39 | 2683452.1742 | 1263771.4071
40 | 2683495.3487 | 1263771.1051
41 | 2683453.4141 | 1263763.0848
42 | 2683442.6103 | 1263770.149
43 | 2683480.6655 | 1263811.2294
44 | 2683476.133 | 1263810.5426
45 | 2683443.092 | 1263853.3989
46 | 2683247.8871 | 1263904.9886
47 | 2683262.3578 | 1263872.3333
48 | 2683230.3054 | 1263901.1372
49 | 2683246.0236 | 1263911.133
50 | 2683280.4063 | 1263875.262
51 | 2683298.3042 | 1263878.1663
52 | 2683320.0998 | 1263827.3967
53 | 2683322.237 | 1263881.9666
54 | 2683394.8243 | 1263874.6957
55 | 2683361.773 | 1263888.2445
56 | 2683464.0415 | 1263849.7128
57 | 2683434.8441 | 1263826.1612
58 | 2683443.5097 | 1263874.4166
59 | 2683455.6597 | 1263893.1742
60 | 2683443.7903 | 1263879.6961
61 | 2683492.7784 | 1263885.1112
62 | 2683423.778 | 1263824.6039
63 | 2683441.1844 | 1263780.4325
64 | 2683486.3261 | 1263735.5068
65 | 2683350.0111 | 1263904.66
66 | 2683242.076 | 1263924.1493
67 | 2683241.5923 | 1263925.7441
68 | 2683389.9962 | 1263948.79
69 | 2683356.9832 | 1263960.9469
70 | 2683443.9107 | 1263979.9989
71 | 2683550.6885 | 1263805.9807
72 | 2683400.3943 | 1263865.1711
73 | 2683656.9088 | 1263774.7072
74 | 2683465.2322 | 1263849.506
75 | 2683496.8631 | 1263883.7627
76 | 2683556.5796 | 1263864.1654
77 | 2683553.797 | 1263758.491
78 | 2683566.1708 | 1263916.0748
79 | 2683579.3698 | 1263915.419
80 | 2683574.3887 | 1263948.0383
81 | 2683552.4495 | 1263949.8703
82 | 2683422.3954 | 1263827.0307
83 | 2683411.1678 | 1263812.927
84 | 2683505.2576 | 1264022.403
85 | 2683507.8099 | 1264000.8289
86 | 2683353.94 | 1263810.8555
87 | 2683358.076 | 1263814.2821
88 | 2683375.2649 | 1263828.5229
89 | 2683391.2131 | 1263841.7367
90 | 2683410.2227 | 1263848.3647
91 | 2683414.042 | 1263841.671
92 | 2683522.1079 | 1263875.4711
93 | 2683394.1222 | 1263995.9277
94 | 2683365.3423 | 1263984.1205
95 | 2683414.7542 | 1264004.4179
96 | 2683357.7249 | 1263980.9954
97 | 2683425.6311 | 1263975.6042
98 | 2683414.1983 | 1263973.2188
99 | 2683618.3287 | 1263907.9279
100 | 2683622.7889 | 1263906.6428
101 | 2683443.092 | 1263853.3989

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1