## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_53-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_53-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_53-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_53-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_53-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_53-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_53-4_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_53-4_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_53-4_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_53-4_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_53-4_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_53-4_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_53-4_0_4_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_53-4_0_4_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_53-4_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_53-4_0_4_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_53-4_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_53-4_0_4_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_53-4_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_53-4_0_4_node_85 | 0.4 | n |  | TRUE
20 | bus_LV_53-4_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_53-4_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_53-4_0_4_node_89 | 0.4 | n |  | TRUE
23 | bus_LV_53-4_0_4_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_53-4_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_53-4_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_53-4_0_4_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_53-4_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_53-4_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_53-4_0_4_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_53-4_0_4_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_53-4_0_4_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_53-4_0_4_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_53-4_0_4_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_53-4_0_4_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_53-4_0_4_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_53-4_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_53-4_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_53-4_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_53-4_0_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_53-4_0_4_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_53-4_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_53-4_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_53-4_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_53-4_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_53-4_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_53-4_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_53-4_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_53-4_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_53-4_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_53-4_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_53-4_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_53-4_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_53-4_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_53-4_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_53-4_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_53-4_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_53-4_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_53-4_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_53-4_0_4_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_53-4_0_4_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_53-4_0_4_node_91 | 0.4 | n |  | TRUE
62 | bus_LV_53-4_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_53-4_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_53-4_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_53-4_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_53-4_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_53-4_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_53-4_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_53-4_0_4_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_53-4_0_4_node_78 | 0.4 | n |  | TRUE
71 | bus_LV_53-4_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_53-4_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_53-4_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_53-4_0_4_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_53-4_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_53-4_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_53-4_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_53-4_0_4_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_53-4_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_53-4_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_53-4_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_53-4_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_53-4_0_4_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_53-4_0_4_node_87 | 0.4 | n |  | TRUE
85 | bus_MV_618_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_53-4_0_4_load_0 | 0 | 0.011841 | 0.0029676 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_53-4_0_4_load_4 | 4 | 0.014391 | 0.0036068 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_53-4_0_4_load_7 | 6 | 0.01349 | 0.0033809 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_53-4_0_4_load_8 | 7 | 0.013187 | 0.003305 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_53-4_0_4_load_10 | 8 | 0.013058 | 0.0032726 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_53-4_0_4_load_11 | 9 | 0.012666 | 0.0031745 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_53-4_0_4_load_6 | 10 | 0.0019366 | 0.00048536 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_53-4_0_4_load_67 | 12 | 0.0052724 | 0.0013214 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_53-4_0_4_load_90 | 13 | 0.011859 | 0.0029722 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_53-4_0_4_load_76 | 17 | 0.0011336 | 0.00028411 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_53-4_0_4_load_85 | 19 | 0.001232 | 0.00030876 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_53-4_0_4_load_89 | 22 | 0.016165 | 0.0040513 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_53-4_0_4_load_92 | 23 | 0.0091864 | 0.0023023 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_53-4_0_4_load_58 | 26 | 0.0041974 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_53-4_0_4_load_25 | 27 | 0.014918 | 0.0037389 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_53-4_0_4_load_26 | 28 | 0.016728 | 0.0041926 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_53-4_0_4_load_65 | 29 | 0.0061442 | 0.0015399 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_53-4_0_4_load_75 | 30 | 0.00020502 | 5.1384e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_53-4_0_4_load_81 | 31 | 0.0010457 | 0.00026207 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_53-4_0_4_load_88 | 32 | 0.0079424 | 0.0019906 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_53-4_0_4_load_86 | 33 | 0.0017227 | 0.00043175 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_53-4_0_4_load_82 | 34 | 0.002599 | 0.00065138 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_53-4_0_4_load_56 | 35 | 0.0099315 | 0.0024891 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_53-4_0_4_load_33 | 38 | 0.0024916 | 0.00062446 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_53-4_0_4_load_64 | 39 | 0.0046326 | 0.001161 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_53-4_0_4_load_27 | 41 | 0.0024458 | 0.00061298 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_53-4_0_4_load_28 | 42 | 0.0020569 | 0.00051551 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_53-4_0_4_load_30 | 44 | 0.0061246 | 0.001535 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_53-4_0_4_load_31 | 45 | 0.0023615 | 0.00059186 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_53-4_0_4_load_32 | 46 | 0.0061243 | 0.0015349 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_53-4_0_4_load_34 | 47 | 0.0021901 | 0.00054888 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_53-4_0_4_load_35 | 48 | 0.0028435 | 0.00071264 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_53-4_0_4_load_40 | 49 | 0.0015044 | 0.00037703 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_53-4_0_4_load_54 | 50 | 0.0018675 | 0.00046805 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_53-4_0_4_load_51 | 52 | 0.0046128 | 0.0011561 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_53-4_0_4_load_36 | 53 | 0.0014379 | 0.00036038 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_53-4_0_4_load_37 | 54 | 0.0029952 | 0.00075066 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_53-4_0_4_load_38 | 55 | 0.0024662 | 0.00061808 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_53-4_0_4_load_42 | 57 | 0.0030882 | 0.00077397 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_53-4_0_4_load_43 | 58 | 0.0017009 | 0.00042629 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_53-4_0_4_load_68 | 59 | 0.0036394 | 0.00091212 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_53-4_0_4_load_69 | 60 | 0.0032626 | 0.00081768 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_53-4_0_4_load_91 | 61 | 0.0023523 | 0.00058955 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_53-4_0_4_load_46 | 62 | 0.0025265 | 0.0006332 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_53-4_0_4_load_47 | 63 | 0.0029709 | 0.00074458 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_53-4_0_4_load_49 | 65 | 0.0039612 | 0.00099278 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_53-4_0_4_load_50 | 67 | 0.0071503 | 0.001792 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_53-4_0_4_load_53 | 68 | 0.0037967 | 0.00095154 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_53-4_0_4_load_74 | 69 | 0.0045869 | 0.0011496 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_53-4_0_4_load_78 | 70 | 0.0043145 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_53-4_0_4_load_73 | 71 | 0.0083707 | 0.0020979 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_53-4_0_4_load_72 | 72 | 0.0064619 | 0.0016195 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_53-4_0_4_load_63 | 73 | 0.0050129 | 0.0012563 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_53-4_0_4_load_55 | 74 | 0.0045041 | 0.0011288 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_53-4_0_4_load_59 | 76 | 0.00010807 | 2.7084e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_53-4_0_4_load_60 | 77 | 0.0047708 | 0.0011957 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_53-4_0_4_load_61 | 78 | 0.00046568 | 0.00011671 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_53-4_0_4_load_70 | 79 | 0.0077855 | 0.0019512 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_53-4_0_4_load_77 | 80 | 0.0021192 | 0.00053112 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_53-4_0_4_load_79 | 81 | 0.0010467 | 0.00026232 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_53-4_0_4_load_83 | 83 | 0.0022283 | 0.00055848 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_53-4_0_4_load_87 | 84 | 0.0015518 | 0.00038892 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_53-4_0_4_line_0 |  | 0 | 1 | 0.015886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_53-4_0_4_line_1 |  | 0 | 2 | 0.0064323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_53-4_0_4_line_2 |  | 1 | 3 | 0.029075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_53-4_0_4_line_3 |  | 1 | 4 | 0.013928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_53-4_0_4_line_4 |  | 2 | 5 | 0.029816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_53-4_0_4_line_5 |  | 3 | 6 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_53-4_0_4_line_6 |  | 3 | 7 | 0.012373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_53-4_0_4_line_7 |  | 5 | 8 | 0.016757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_53-4_0_4_line_8 |  | 5 | 9 | 0.015107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_53-4_0_4_line_9 |  | 8 | 12 | 0.031906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_53-4_0_4_line_10 |  | 9 | 13 | 0.032755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_53-4_0_4_line_11 |  | 10 | 11 | 0.026467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_53-4_0_4_line_12 |  | 11 | 14 | 0.027082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_53-4_0_4_line_13 |  | 11 | 15 | 0.028542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_53-4_0_4_line_14 |  | 12 | 15 | 0.023292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_53-4_0_4_line_15 |  | 14 | 28 | 0.021037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_53-4_0_4_line_16 |  | 14 | 24 | 0.072147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_53-4_0_4_line_17 |  | 15 | 29 | 0.020807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_53-4_0_4_line_18 |  | 15 | 25 | 0.004284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_53-4_0_4_line_19 |  | 16 | 17 | 0.02459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_53-4_0_4_line_20 |  | 16 | 18 | 0.030161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_53-4_0_4_line_21 |  | 16 | 19 | 0.02968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_53-4_0_4_line_22 |  | 17 | 30 | 0.019725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_53-4_0_4_line_23 |  | 18 | 23 | 0.025182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_53-4_0_4_line_24 |  | 19 | 31 | 0.0129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_53-4_0_4_line_25 |  | 20 | 21 | 0.069737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_53-4_0_4_line_26 |  | 20 | 22 | 0.021392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_53-4_0_4_line_27 |  | 21 | 24 | 0.035704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_53-4_0_4_line_28 |  | 22 | 32 | 0.033087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_53-4_0_4_line_29 |  | 24 | 27 | 0.02404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_53-4_0_4_line_30 |  | 25 | 26 | 0.019948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_53-4_0_4_line_31 |  | 26 | 35 | 0.0045888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_53-4_0_4_line_32 |  | 29 | 73 | 0.028606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_53-4_0_4_line_33 |  | 30 | 78 | 0.019155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_53-4_0_4_line_34 |  | 31 | 82 | 0.012648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_53-4_0_4_line_35 |  | 33 | 34 | 0.012064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_53-4_0_4_line_36 |  | 34 | 82 | 0.022869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_53-4_0_4_line_37 |  | 35 | 74 | 0.029552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_53-4_0_4_line_38 |  | 36 | 37 | 0.043543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_53-4_0_4_line_39 |  | 36 | 38 | 0.0040762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_53-4_0_4_line_40 |  | 37 | 61 | 0.033424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_53-4_0_4_line_41 |  | 38 | 44 | 0.018819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_53-4_0_4_line_42 |  | 39 | 40 | 0.0095682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_53-4_0_4_line_43 |  | 40 | 73 | 0.018972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_53-4_0_4_line_44 |  | 40 | 68 | 0.018858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_53-4_0_4_line_45 |  | 41 | 42 | 0.023382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_53-4_0_4_line_46 |  | 41 | 43 | 0.009137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_53-4_0_4_line_47 |  | 42 | 44 | 0.00072018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_53-4_0_4_line_48 |  | 43 | 45 | 0.017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_53-4_0_4_line_49 |  | 43 | 46 | 0.023506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_53-4_0_4_line_50 |  | 45 | 47 | 0.0024759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_53-4_0_4_line_51 |  | 46 | 48 | 0.010203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_53-4_0_4_line_52 |  | 47 | 49 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_53-4_0_4_line_53 |  | 48 | 50 | 0.018165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_53-4_0_4_line_54 |  | 49 | 51 | 0.01453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_53-4_0_4_line_55 |  | 50 | 52 | 0.011852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_53-4_0_4_line_56 |  | 51 | 56 | 0.007943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_53-4_0_4_line_57 |  | 51 | 55 | 0.034412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_53-4_0_4_line_58 |  | 52 | 64 | 0.018473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_53-4_0_4_line_59 |  | 53 | 54 | 0.010603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_53-4_0_4_line_60 |  | 54 | 55 | 0.010113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_53-4_0_4_line_61 |  | 56 | 57 | 0.01501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_53-4_0_4_line_62 |  | 56 | 58 | 0.0039048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_53-4_0_4_line_63 |  | 58 | 59 | 0.013598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_53-4_0_4_line_64 |  | 59 | 60 | 0.0085408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_53-4_0_4_line_65 |  | 60 | 79 | 0.023017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_53-4_0_4_line_66 |  | 62 | 63 | 0.017815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_53-4_0_4_line_67 |  | 62 | 64 | 0.014274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_53-4_0_4_line_68 |  | 63 | 65 | 0.0062473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_53-4_0_4_line_69 |  | 65 | 66 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_53-4_0_4_line_70 |  | 66 | 69 | 0.01363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_53-4_0_4_line_71 |  | 67 | 68 | 0.0087732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_53-4_0_4_line_72 |  | 69 | 70 | 0.018574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_53-4_0_4_line_73 |  | 70 | 80 | 0.0087888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_53-4_0_4_line_74 |  | 71 | 72 | 0.018646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_53-4_0_4_line_75 |  | 72 | 79 | 0.0021005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_53-4_0_4_line_76 |  | 74 | 75 | 0.019806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_53-4_0_4_line_77 |  | 75 | 76 | 0.052416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_53-4_0_4_line_78 |  | 75 | 77 | 0.010248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_53-4_0_4_line_79 |  | 77 | 78 | 0.02637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_53-4_0_4_line_80 |  | 80 | 81 | 0.019609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_53-4_0_4_line_81 |  | 81 | 82 | 0.023469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_53-4_0_4_line_82 |  | 82 | 83 | 0.026116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_53-4_0_4_line_83 |  | 83 | 84 | 0.0029936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_53-4_0_4_trafo_56 | 0.63 MVA 20/0.4 kV | 85 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2683309.4105 | 1262961.9379 | 2683309.692 | 1262960.1405 | 2683312.5426 | 1262958.3348 | 2683314.6144 | 1262947.8454
1 | 2683315.8607 | 1262941.535 | 2683314.6144 | 1262947.8454
2 | 2683281.593 | 1262955.7191 | 2683291.7367 | 1262957.6301 | 2683294.4455 | 1262960.0034 | 2683297.6613 | 1262960.6159 | 2683300.169 | 1262960.1619 | 2683309.4105 | 1262961.9379
3 | 2683309.4105 | 1262961.9379 | 2683309.0716 | 1262964.0682 | 2683310.0879 | 1262966.262 | 2683308.6498 | 1262975.5042
4 | 2683315.8607 | 1262941.535 | 2683345.1421 | 1262947.5967
5 | 2683281.593 | 1262955.7191 | 2683284.2422 | 1262939.6332
6 | 2683281.593 | 1262955.7191 | 2683279.0866 | 1262967.8353
7 | 2683345.1421 | 1262947.5967 | 2683348.6051 | 1262931.2016
8 | 2683345.1421 | 1262947.5967 | 2683342.0183 | 1262962.3777
9 | 2683348.6051 | 1262931.2016 | 2683355.1988 | 1262899.9846
10 | 2683342.0183 | 1262962.3777 | 2683335.2455 | 1262994.4244
11 | 2683332.4875 | 1262869.4239 | 2683329.872 | 1262879.6618 | 2683324.5024 | 1262882.7219 | 2683322.5783 | 1262892.2491
12 | 2683319.2253 | 1262854.1029 | 2683317.8065 | 1262862.8231 | 2683317.1944 | 1262865.094 | 2683328.3967 | 1262868.3433 | 2683332.4875 | 1262869.4239
13 | 2683360.0123 | 1262877.1956 | 2683355.4933 | 1262875.4973 | 2683332.4875 | 1262869.4239
14 | 2683360.0123 | 1262877.1956 | 2683355.1988 | 1262899.9846
15 | 2683319.2253 | 1262854.1029 | 2683324.0046 | 1262833.6159
16 | 2683266.6086 | 1262865.849 | 2683270.4212 | 1262851.3802 | 2683276.4925 | 1262853.0559 | 2683278.6762 | 1262853.676 | 2683279.0237 | 1262852.5356 | 2683281.534 | 1262844.409 | 2683319.2253 | 1262854.1029
17 | 2683360.0123 | 1262877.1956 | 2683366.109 | 1262857.302
18 | 2683360.0123 | 1262877.1956 | 2683363.7648 | 1262879.2835
19 | 2683502.3017 | 1262970.2309 | 2683493.9178 | 1262952.5431 | 2683491.353 | 1262948.2324
20 | 2683484.8994 | 1262983.5068 | 2683500.1007 | 1262980.9749 | 2683505.4857 | 1262978.4267 | 2683502.3017 | 1262970.2309
21 | 2683502.3017 | 1262970.2309 | 2683524.355 | 1262960.5013 | 2683522.3416 | 1262955.3021
22 | 2683481.2675 | 1262931.2813 | 2683491.353 | 1262948.2324
23 | 2683484.8994 | 1262983.5068 | 2683465.4888 | 1262981.0976 | 2683459.8066 | 1262980.6838
24 | 2683534.408 | 1262950.7394 | 2683522.3416 | 1262955.3021
25 | 2683224.9052 | 1262943.6563 | 2683230.4869 | 1262944.7913 | 2683230.9497 | 1262942.9519 | 2683238.2561 | 1262944.656 | 2683245.187 | 1262946.2771 | 2683257.3458 | 1262900.3345
26 | 2683224.9052 | 1262943.6563 | 2683230.1402 | 1262922.9152
27 | 2683266.6086 | 1262865.849 | 2683257.3458 | 1262900.3345
28 | 2683238.2374 | 1262890.8342 | 2683230.1402 | 1262922.9152
29 | 2683266.6086 | 1262865.849 | 2683289.9391 | 1262871.645
30 | 2683363.7648 | 1262879.2835 | 2683381.2068 | 1262888.9633
31 | 2683381.2068 | 1262888.9633 | 2683385.219 | 1262891.1901
32 | 2683374.4911 | 1262829.9515 | 2683366.109 | 1262857.302
33 | 2683481.2675 | 1262931.2813 | 2683481.2675 | 1262931.2813 | 2683471.0361 | 1262922.7747 | 2683465.4097 | 1262921.1759
34 | 2683546.2385 | 1262946.2659 | 2683534.408 | 1262950.7394
35 | 2683556.7343 | 1262966.5844 | 2683562.271 | 1262977.3027
36 | 2683546.2385 | 1262946.2659 | 2683556.7343 | 1262966.5844
37 | 2683411.5682 | 1262904.4107 | 2683404.2663 | 1262901.7609 | 2683385.219 | 1262891.1901
38 | 2683431.8532 | 1262720.4414 | 2683425.878 | 1262748.2456 | 2683422.0163 | 1262755.4856 | 2683416.4066 | 1262759.5319
39 | 2683416.4066 | 1262759.5319 | 2683419.903 | 1262761.6273 | 2683419.903 | 1262761.6273
40 | 2683431.8532 | 1262720.4414 | 2683465.1063 | 1262723.8131
41 | 2683419.903 | 1262761.6273 | 2683438.5667 | 1262764.0404
42 | 2683387.1628 | 1262816.9645 | 2683386.2931 | 1262810.7919 | 2683387.0981 | 1262807.5559
43 | 2683387.1628 | 1262816.9645 | 2683377.8312 | 1262822.6263 | 2683374.7014 | 1262829.2652 | 2683374.4911 | 1262829.9515
44 | 2683387.1628 | 1262816.9645 | 2683393.5777 | 1262825.2614 | 2683401.3605 | 1262828.342
45 | 2683439.2809 | 1262764.1328 | 2683462.47 | 1262767.131
46 | 2683470.5295 | 1262771.3935 | 2683462.7688 | 1262767.1696 | 2683462.47 | 1262767.131
47 | 2683439.2809 | 1262764.1328 | 2683438.5667 | 1262764.0404
48 | 2683470.5295 | 1262771.3935 | 2683479.2801 | 1262768.4703 | 2683487.696 | 1262769.1738
49 | 2683470.5295 | 1262771.3935 | 2683470.2875 | 1262794.8988
50 | 2683487.696 | 1262769.1738 | 2683490.1632 | 1262769.3801
51 | 2683470.2875 | 1262794.8988 | 2683470.1824 | 1262805.1008
52 | 2683507.8596 | 1262770.8594 | 2683490.1632 | 1262769.3801
53 | 2683470.1824 | 1262805.1008 | 2683470.0427 | 1262818.6681 | 2683468.6677 | 1262823.0547
54 | 2683522.3391 | 1262772.0698 | 2683507.8596 | 1262770.8594
55 | 2683465.1227 | 1262834.3638 | 2683468.6677 | 1262823.0547
56 | 2683522.4604 | 1262780.0111 | 2683522.3391 | 1262772.0698
57 | 2683522.3391 | 1262772.0698 | 2683521.6613 | 1262753.9238 | 2683521.3439 | 1262737.674
58 | 2683459.5972 | 1262851.9912 | 2683465.1227 | 1262834.3638
59 | 2683521.1464 | 1262727.5626 | 2683520.94 | 1262716.9959 | 2683520.9452 | 1262716.9619
60 | 2683521.1464 | 1262727.5626 | 2683521.3439 | 1262737.674
61 | 2683522.4604 | 1262780.0111 | 2683537.4633 | 1262779.5527
62 | 2683522.4604 | 1262780.0111 | 2683522.4614 | 1262783.9159
63 | 2683522.4614 | 1262783.9159 | 2683522.4649 | 1262797.514
64 | 2683522.2967 | 1262806.0519 | 2683522.4658 | 1262800.9609 | 2683522.4649 | 1262797.514
65 | 2683522.2967 | 1262806.0519 | 2683521.5327 | 1262829.0566
66 | 2683472.8843 | 1262857.2072 | 2683488.5403 | 1262863.353 | 2683489.2239 | 1262864.0772
67 | 2683459.5972 | 1262851.9912 | 2683472.8843 | 1262857.2072
68 | 2683489.2239 | 1262864.0772 | 2683493.512 | 1262868.6205
69 | 2683500.8474 | 1262876.3925 | 2683493.512 | 1262868.6205
70 | 2683500.8474 | 1262876.3925 | 2683509.8544 | 1262886.6227
71 | 2683409.5179 | 1262831.571 | 2683401.3605 | 1262828.342
72 | 2683522.1281 | 1262900.5632 | 2683509.8544 | 1262886.6227
73 | 2683527.3536 | 1262907.5476 | 2683526.2063 | 1262905.1953 | 2683522.1281 | 1262900.5632
74 | 2683521.463 | 1262831.1559 | 2683521.2462 | 1262837.6835 | 2683517.8914 | 1262849.3247
75 | 2683521.463 | 1262831.1559 | 2683521.5327 | 1262829.0566
76 | 2683430.1857 | 1262911.1671 | 2683411.5682 | 1262904.4107
77 | 2683430.1857 | 1262911.1671 | 2683434.0186 | 1262921.974 | 2683438.7547 | 1262926.4332 | 2683445.4795 | 1262931.4431 | 2683449.2535 | 1262937.8792 | 2683447.9288 | 1262956.4639
78 | 2683430.1857 | 1262911.1671 | 2683440.0438 | 1262913.9682
79 | 2683440.0438 | 1262913.9682 | 2683465.4097 | 1262921.1759
80 | 2683527.3536 | 1262907.5476 | 2683535.9498 | 1262925.1718
81 | 2683546.2385 | 1262946.2659 | 2683535.9498 | 1262925.1718
82 | 2683546.2385 | 1262946.2659 | 2683570.2532 | 1262936.0028
83 | 2683573.006 | 1262934.8263 | 2683570.2532 | 1262936.0028

## bus_geodata
| x | y | coords
0 | 2683314.6144 | 1262947.8454
1 | 2683309.4105 | 1262961.9379
2 | 2683315.8607 | 1262941.535
3 | 2683281.593 | 1262955.7191
4 | 2683308.6498 | 1262975.5042
5 | 2683345.1421 | 1262947.5967
6 | 2683284.2422 | 1262939.6332
7 | 2683279.0866 | 1262967.8353
8 | 2683348.6051 | 1262931.2016
9 | 2683342.0183 | 1262962.3777
10 | 2683322.5783 | 1262892.2491
11 | 2683332.4875 | 1262869.4239
12 | 2683355.1988 | 1262899.9846
13 | 2683335.2455 | 1262994.4244
14 | 2683319.2253 | 1262854.1029
15 | 2683360.0123 | 1262877.1956
16 | 2683502.3017 | 1262970.2309
17 | 2683491.353 | 1262948.2324
18 | 2683484.8994 | 1262983.5068
19 | 2683522.3416 | 1262955.3021
20 | 2683224.9052 | 1262943.6563
21 | 2683257.3458 | 1262900.3345
22 | 2683230.1402 | 1262922.9152
23 | 2683459.8066 | 1262980.6838
24 | 2683266.6086 | 1262865.849
25 | 2683363.7648 | 1262879.2835
26 | 2683381.2068 | 1262888.9633
27 | 2683289.9391 | 1262871.645
28 | 2683324.0046 | 1262833.6159
29 | 2683366.109 | 1262857.302
30 | 2683481.2675 | 1262931.2813
31 | 2683534.408 | 1262950.7394
32 | 2683238.2374 | 1262890.8342
33 | 2683562.271 | 1262977.3027
34 | 2683556.7343 | 1262966.5844
35 | 2683385.219 | 1262891.1901
36 | 2683416.4066 | 1262759.5319
37 | 2683431.8532 | 1262720.4414
38 | 2683419.903 | 1262761.6273
39 | 2683387.0981 | 1262807.5559
40 | 2683387.1628 | 1262816.9645
41 | 2683462.47 | 1262767.131
42 | 2683439.2809 | 1262764.1328
43 | 2683470.5295 | 1262771.3935
44 | 2683438.5667 | 1262764.0404
45 | 2683487.696 | 1262769.1738
46 | 2683470.2875 | 1262794.8988
47 | 2683490.1632 | 1262769.3801
48 | 2683470.1824 | 1262805.1008
49 | 2683507.8596 | 1262770.8594
50 | 2683468.6677 | 1262823.0547
51 | 2683522.3391 | 1262772.0698
52 | 2683465.1227 | 1262834.3638
53 | 2683520.9452 | 1262716.9619
54 | 2683521.1464 | 1262727.5626
55 | 2683521.3439 | 1262737.674
56 | 2683522.4604 | 1262780.0111
57 | 2683537.4633 | 1262779.5527
58 | 2683522.4614 | 1262783.9159
59 | 2683522.4649 | 1262797.514
60 | 2683522.2967 | 1262806.0519
61 | 2683465.1063 | 1262723.8131
62 | 2683472.8843 | 1262857.2072
63 | 2683489.2239 | 1262864.0772
64 | 2683459.5972 | 1262851.9912
65 | 2683493.512 | 1262868.6205
66 | 2683500.8474 | 1262876.3925
67 | 2683409.5179 | 1262831.571
68 | 2683401.3605 | 1262828.342
69 | 2683509.8544 | 1262886.6227
70 | 2683522.1281 | 1262900.5632
71 | 2683517.8914 | 1262849.3247
72 | 2683521.463 | 1262831.1559
73 | 2683374.4911 | 1262829.9515
74 | 2683411.5682 | 1262904.4107
75 | 2683430.1857 | 1262911.1671
76 | 2683447.9288 | 1262956.4639
77 | 2683440.0438 | 1262913.9682
78 | 2683465.4097 | 1262921.1759
79 | 2683521.5327 | 1262829.0566
80 | 2683527.3536 | 1262907.5476
81 | 2683535.9498 | 1262925.1718
82 | 2683546.2385 | 1262946.2659
83 | 2683570.2532 | 1262936.0028
84 | 2683573.006 | 1262934.8263
85 | 2683363.7648 | 1262879.2835

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1