## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_54-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_54-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_54-11_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_54-11_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_54-11_0_6_node_98 | 0.4 | n |  | TRUE
5 | bus_LV_54-11_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_54-11_0_6_node_97 | 0.4 | n |  | TRUE
7 | bus_LV_54-11_0_6_node_102 | 0.4 | n |  | TRUE
8 | bus_LV_54-11_0_6_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_54-11_0_6_node_123 | 0.4 | n |  | TRUE
10 | bus_LV_54-11_0_6_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_54-11_0_6_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_54-11_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_54-11_0_6_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_54-11_0_6_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_54-11_0_6_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_54-11_0_6_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_54-11_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_54-11_0_6_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_54-11_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_54-11_0_6_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_54-11_0_6_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_54-11_0_6_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_54-11_0_6_node_88 | 0.4 | n |  | TRUE
24 | bus_LV_54-11_0_6_node_96 | 0.4 | n |  | TRUE
25 | bus_LV_54-11_0_6_node_100 | 0.4 | n |  | TRUE
26 | bus_LV_54-11_0_6_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_54-11_0_6_node_113 | 0.4 | n |  | TRUE
28 | bus_LV_54-11_0_6_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_54-11_0_6_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_54-11_0_6_node_122 | 0.4 | n |  | TRUE
31 | bus_LV_54-11_0_6_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_54-11_0_6_node_124 | 0.4 | n |  | TRUE
33 | bus_LV_54-11_0_6_node_56 | 0.4 | n |  | TRUE
34 | bus_LV_54-11_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_54-11_0_6_node_108 | 0.4 | n |  | TRUE
36 | bus_LV_54-11_0_6_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_54-11_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_54-11_0_6_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_54-11_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_54-11_0_6_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_54-11_0_6_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_54-11_0_6_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_54-11_0_6_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_54-11_0_6_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_54-11_0_6_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_54-11_0_6_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_54-11_0_6_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_54-11_0_6_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_54-11_0_6_node_121 | 0.4 | n |  | TRUE
50 | bus_LV_54-11_0_6_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_54-11_0_6_node_117 | 0.4 | n |  | TRUE
52 | bus_LV_54-11_0_6_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_54-11_0_6_node_115 | 0.4 | n |  | TRUE
54 | bus_LV_54-11_0_6_node_111 | 0.4 | n |  | TRUE
55 | bus_LV_54-11_0_6_node_118 | 0.4 | n |  | TRUE
56 | bus_LV_54-11_0_6_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_54-11_0_6_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_54-11_0_6_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_54-11_0_6_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_54-11_0_6_node_105 | 0.4 | n |  | TRUE
61 | bus_LV_54-11_0_6_node_106 | 0.4 | n |  | TRUE
62 | bus_LV_54-11_0_6_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_54-11_0_6_node_110 | 0.4 | n |  | TRUE
64 | bus_LV_54-11_0_6_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_54-11_0_6_node_104 | 0.4 | n |  | TRUE
66 | bus_LV_54-11_0_6_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_54-11_0_6_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_54-11_0_6_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_54-11_0_6_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_54-11_0_6_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_54-11_0_6_node_27 | 0.4 | n |  | TRUE
72 | bus_LV_54-11_0_6_node_29 | 0.4 | n |  | TRUE
73 | bus_LV_54-11_0_6_node_34 | 0.4 | n |  | TRUE
74 | bus_LV_54-11_0_6_node_35 | 0.4 | n |  | TRUE
75 | bus_LV_54-11_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_54-11_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_54-11_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_54-11_0_6_node_47 | 0.4 | n |  | TRUE
79 | bus_LV_54-11_0_6_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_54-11_0_6_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_54-11_0_6_node_48 | 0.4 | n |  | TRUE
82 | bus_LV_54-11_0_6_node_107 | 0.4 | n |  | TRUE
83 | bus_LV_54-11_0_6_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_54-11_0_6_node_49 | 0.4 | n |  | TRUE
85 | bus_LV_54-11_0_6_node_112 | 0.4 | n |  | TRUE
86 | bus_LV_54-11_0_6_node_109 | 0.4 | n |  | TRUE
87 | bus_LV_54-11_0_6_node_119 | 0.4 | n |  | TRUE
88 | bus_LV_54-11_0_6_node_120 | 0.4 | n |  | TRUE
89 | bus_LV_54-11_0_6_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_54-11_0_6_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_54-11_0_6_node_55 | 0.4 | n |  | TRUE
92 | bus_LV_54-11_0_6_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_54-11_0_6_node_52 | 0.4 | n |  | TRUE
94 | bus_LV_54-11_0_6_node_53 | 0.4 | n |  | TRUE
95 | bus_LV_54-11_0_6_node_65 | 0.4 | n |  | TRUE
96 | bus_LV_54-11_0_6_node_116 | 0.4 | n |  | TRUE
97 | bus_LV_54-11_0_6_node_114 | 0.4 | n |  | TRUE
98 | bus_LV_54-11_0_6_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_54-11_0_6_node_71 | 0.4 | n |  | TRUE
100 | bus_LV_54-11_0_6_node_70 | 0.4 | n |  | TRUE
101 | bus_LV_54-11_0_6_node_73 | 0.4 | n |  | TRUE
102 | bus_LV_54-11_0_6_node_80 | 0.4 | n |  | TRUE
103 | bus_LV_54-11_0_6_node_81 | 0.4 | n |  | TRUE
104 | bus_LV_54-11_0_6_node_75 | 0.4 | n |  | TRUE
105 | bus_LV_54-11_0_6_node_77 | 0.4 | n |  | TRUE
106 | bus_LV_54-11_0_6_node_86 | 0.4 | n |  | TRUE
107 | bus_LV_54-11_0_6_node_90 | 0.4 | n |  | TRUE
108 | bus_LV_54-11_0_6_node_93 | 0.4 | n |  | TRUE
109 | bus_LV_54-11_0_6_node_95 | 0.4 | n |  | TRUE
110 | bus_LV_54-11_0_6_node_103 | 0.4 | n |  | TRUE
111 | bus_LV_54-11_0_6_node_101 | 0.4 | n |  | TRUE
112 | bus_LV_54-11_0_6_node_91 | 0.4 | n |  | TRUE
113 | bus_LV_54-11_0_6_node_94 | 0.4 | n |  | TRUE
114 | bus_LV_54-11_0_6_node_92 | 0.4 | n |  | TRUE
115 | bus_LV_54-11_0_6_node_99 | 0.4 | n |  | TRUE
116 | bus_MV_499_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_54-11_0_6_load_0 | 0 | 0.0031191 | 0.00078172 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_54-11_0_6_load_98 | 4 | 0.033812 | 0.0084741 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_54-11_0_6_load_97 | 6 | 0.0061473 | 0.0015407 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_54-11_0_6_load_102 | 7 | 0.0022724 | 0.00056953 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_54-11_0_6_load_123 | 9 | 0.011104 | 0.0027828 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_54-11_0_6_load_18 | 14 | 0.0075727 | 0.0018979 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_54-11_0_6_load_26 | 16 | 0.015443 | 0.0038704 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_54-11_0_6_load_44 | 18 | 0.0036677 | 0.00091921 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_54-11_0_6_load_43 | 20 | 0.0056103 | 0.0014061 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_54-11_0_6_load_63 | 21 | 0.0045619 | 0.0011433 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_54-11_0_6_load_25 | 22 | 0.01409 | 0.0035313 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_54-11_0_6_load_88 | 23 | 0.057698 | 0.014461 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_54-11_0_6_load_96 | 24 | 0.0031595 | 0.00079183 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_54-11_0_6_load_100 | 25 | 0.0023682 | 0.00059353 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_54-11_0_6_load_113 | 27 | 0.010045 | 0.0025174 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_54-11_0_6_load_122 | 30 | 0.007852 | 0.0019679 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_54-11_0_6_load_46 | 31 | 0.0039871 | 0.00099925 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_54-11_0_6_load_124 | 32 | 0.0089893 | 0.0022529 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_54-11_0_6_load_108 | 35 | 0.033978 | 0.0085158 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_54-11_0_6_load_51 | 40 | 0.0076464 | 0.0019164 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_54-11_0_6_load_20 | 41 | 0.0047001 | 0.0011779 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_54-11_0_6_load_45 | 44 | 0.0031417 | 0.00078739 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_54-11_0_6_load_64 | 47 | 0.0045938 | 0.0011513 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_54-11_0_6_load_121 | 49 | 0.0085026 | 0.002131 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_54-11_0_6_load_117 | 51 | 0.031937 | 0.0080043 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_54-11_0_6_load_118 | 55 | 0.029473 | 0.0073867 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_54-11_0_6_load_57 | 56 | 0.038161 | 0.0095641 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_54-11_0_6_load_105 | 60 | 0.0063082 | 0.001581 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_54-11_0_6_load_110 | 63 | 0.0075958 | 0.0019037 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_54-11_0_6_load_104 | 65 | 0.008134 | 0.0020386 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_54-11_0_6_load_38 | 66 | 0.0073289 | 0.0018368 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_54-11_0_6_load_36 | 67 | 0.0069344 | 0.0017379 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_54-11_0_6_load_83 | 69 | 0.0038486 | 0.00096455 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_54-11_0_6_load_50 | 70 | 0.0091076 | 0.0022826 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_54-11_0_6_load_27 | 71 | 0.0013851 | 0.00034713 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_54-11_0_6_load_69 | 76 | 0.0016837 | 0.00042196 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_54-11_0_6_load_66 | 77 | 0.0031301 | 0.00078448 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_54-11_0_6_load_79 | 79 | 0.001629 | 0.00040827 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_54-11_0_6_load_107 | 82 | 0.007265 | 0.0018208 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_54-11_0_6_load_112 | 85 | 0.0064612 | 0.0016193 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_54-11_0_6_load_109 | 86 | 0.0079288 | 0.0019871 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_54-11_0_6_load_119 | 87 | 0.008429 | 0.0021125 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_54-11_0_6_load_120 | 88 | 0.028941 | 0.0072532 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_54-11_0_6_load_78 | 89 | 0.0040078 | 0.0010044 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_54-11_0_6_load_74 | 90 | 0.00083635 | 0.00020961 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_54-11_0_6_load_82 | 92 | 0.0016534 | 0.00041439 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_54-11_0_6_load_52 | 93 | 0.002106 | 0.00052782 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_54-11_0_6_load_53 | 94 | 0.0024026 | 0.00060214 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_54-11_0_6_load_65 | 95 | 0.0019745 | 0.00049486 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_54-11_0_6_load_116 | 96 | 0.0059123 | 0.0014818 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_54-11_0_6_load_114 | 97 | 0.031395 | 0.0078683 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_54-11_0_6_load_85 | 98 | 0.0015235 | 0.00038183 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_54-11_0_6_load_71 | 99 | 0.0013604 | 0.00034095 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_54-11_0_6_load_70 | 100 | 0.00082535 | 0.00020685 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_54-11_0_6_load_73 | 101 | 0.00078748 | 0.00019736 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_54-11_0_6_load_81 | 103 | 0.00075473 | 0.00018915 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_54-11_0_6_load_75 | 104 | 0.00079516 | 0.00019928 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_54-11_0_6_load_86 | 106 | 0.0028685 | 0.00071891 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_54-11_0_6_load_93 | 108 | 0.00047392 | 0.00011878 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_54-11_0_6_load_95 | 109 | 0.0065657 | 0.0016455 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_54-11_0_6_load_103 | 110 | 0.0017811 | 0.00044639 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_54-11_0_6_load_101 | 111 | 0.0023483 | 0.00058853 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_54-11_0_6_load_91 | 112 | 0.0028736 | 0.00072018 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_54-11_0_6_load_94 | 113 | 0.0068483 | 0.0017163 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_54-11_0_6_load_92 | 114 | 0.0010646 | 0.00026681 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_54-11_0_6_load_99 | 115 | 0.0019588 | 0.00049093 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_54-11_0_6_line_0 |  | 0 | 1 | 0.021392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_54-11_0_6_line_1 |  | 1 | 2 | 0.057332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_54-11_0_6_line_2 |  | 2 | 3 | 0.049896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_54-11_0_6_line_3 |  | 2 | 4 | 0.029583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_54-11_0_6_line_4 |  | 3 | 5 | 0.003902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_54-11_0_6_line_5 |  | 3 | 6 | 0.01064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_54-11_0_6_line_6 |  | 5 | 7 | 0.014154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_54-11_0_6_line_7 |  | 6 | 24 | 0.030313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_54-11_0_6_line_8 |  | 7 | 25 | 0.0023775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_54-11_0_6_line_9 |  | 8 | 9 | 0.033552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_54-11_0_6_line_10 |  | 8 | 10 | 0.070776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_54-11_0_6_line_11 |  | 8 | 11 | 0.044557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_54-11_0_6_line_12 |  | 10 | 15 | 0.048645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_54-11_0_6_line_13 |  | 10 | 16 | 0.038549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_54-11_0_6_line_14 |  | 11 | 31 | 0.020504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_54-11_0_6_line_15 |  | 12 | 13 | 0.015855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_54-11_0_6_line_16 |  | 12 | 14 | 0.01821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_54-11_0_6_line_17 |  | 13 | 32 | 0.001793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_54-11_0_6_line_18 |  | 13 | 33 | 0.03215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_54-11_0_6_line_19 |  | 15 | 21 | 0.014368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_54-11_0_6_line_20 |  | 15 | 22 | 0.0030067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_54-11_0_6_line_21 |  | 17 | 18 | 0.028975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_54-11_0_6_line_22 |  | 17 | 19 | 0.3749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_54-11_0_6_line_23 |  | 17 | 20 | 0.023208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_54-11_0_6_line_24 |  | 18 | 43 | 0.016021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_54-11_0_6_line_25 |  | 19 | 23 | 0.021689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_54-11_0_6_line_26 |  | 22 | 42 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_54-11_0_6_line_27 |  | 23 | 46 | 0.09468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_54-11_0_6_line_28 |  | 24 | 113 | 0.0013458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_54-11_0_6_line_29 |  | 25 | 115 | 0.017636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_54-11_0_6_line_30 |  | 26 | 27 | 0.006477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_54-11_0_6_line_31 |  | 26 | 28 | 0.051243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_54-11_0_6_line_32 |  | 26 | 29 | 0.024908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_54-11_0_6_line_33 |  | 28 | 30 | 0.006517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_54-11_0_6_line_34 |  | 29 | 75 | 0.022986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_54-11_0_6_line_35 |  | 29 | 69 | 0.015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_54-11_0_6_line_36 |  | 31 | 78 | 0.012964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_54-11_0_6_line_37 |  | 33 | 47 | 0.012309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_54-11_0_6_line_38 |  | 33 | 45 | 0.042671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_54-11_0_6_line_39 |  | 34 | 35 | 0.005635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_54-11_0_6_line_40 |  | 34 | 36 | 0.085343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_54-11_0_6_line_41 |  | 36 | 38 | 0.052265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_54-11_0_6_line_42 |  | 36 | 56 | 0.0055792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_54-11_0_6_line_43 |  | 37 | 38 | 0.039559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_54-11_0_6_line_44 |  | 37 | 39 | 0.055703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_54-11_0_6_line_45 |  | 37 | 40 | 0.03851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_54-11_0_6_line_46 |  | 38 | 65 | 0.010567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_54-11_0_6_line_47 |  | 39 | 66 | 0.024859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_54-11_0_6_line_48 |  | 39 | 67 | 0.021353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_54-11_0_6_line_49 |  | 39 | 59 | 0.033265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_54-11_0_6_line_50 |  | 40 | 70 | 0.030723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_54-11_0_6_line_51 |  | 41 | 42 | 0.020454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_54-11_0_6_line_52 |  | 42 | 48 | 0.012884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_54-11_0_6_line_53 |  | 43 | 89 | 0.015172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_54-11_0_6_line_54 |  | 43 | 90 | 0.0041173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_54-11_0_6_line_55 |  | 44 | 45 | 0.016494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_54-11_0_6_line_56 |  | 45 | 91 | 0.01829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_54-11_0_6_line_57 |  | 45 | 81 | 0.014965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_54-11_0_6_line_58 |  | 46 | 107 | 0.20199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_54-11_0_6_line_59 |  | 46 | 106 | 0.06294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_54-11_0_6_line_60 |  | 47 | 95 | 0.015356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_54-11_0_6_line_61 |  | 48 | 49 | 0.020358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_54-11_0_6_line_62 |  | 50 | 51 | 0.006863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_54-11_0_6_line_63 |  | 50 | 52 | 0.047084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_54-11_0_6_line_64 |  | 50 | 53 | 0.043072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_54-11_0_6_line_65 |  | 52 | 54 | 0.019867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_54-11_0_6_line_66 |  | 52 | 55 | 0.00445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_54-11_0_6_line_67 |  | 53 | 96 | 0.006994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_54-11_0_6_line_68 |  | 53 | 97 | 0.023009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_54-11_0_6_line_69 |  | 54 | 87 | 0.005569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_54-11_0_6_line_70 |  | 54 | 62 | 0.044457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_54-11_0_6_line_71 |  | 56 | 57 | 0.023658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_54-11_0_6_line_72 |  | 57 | 58 | 0.011921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_54-11_0_6_line_73 |  | 58 | 88 | 0.003919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_54-11_0_6_line_74 |  | 59 | 60 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_54-11_0_6_line_75 |  | 59 | 61 | 0.038549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_54-11_0_6_line_76 |  | 61 | 85 | 0.032373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_54-11_0_6_line_77 |  | 61 | 68 | 0.017049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_54-11_0_6_line_78 |  | 62 | 63 | 0.007056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_54-11_0_6_line_79 |  | 62 | 64 | 0.032005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_54-11_0_6_line_80 |  | 64 | 68 | 0.018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_54-11_0_6_line_81 |  | 64 | 69 | 0.014203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_54-11_0_6_line_82 |  | 68 | 86 | 0.008131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_54-11_0_6_line_83 |  | 70 | 93 | 0.011667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_54-11_0_6_line_84 |  | 71 | 72 | 0.013286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_54-11_0_6_line_85 |  | 72 | 73 | 0.00647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_54-11_0_6_line_86 |  | 72 | 74 | 0.013239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_54-11_0_6_line_87 |  | 73 | 76 | 0.012503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_54-11_0_6_line_88 |  | 73 | 77 | 0.0081351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_54-11_0_6_line_89 |  | 74 | 78 | 0.009225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_54-11_0_6_line_90 |  | 74 | 79 | 0.011846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_54-11_0_6_line_91 |  | 75 | 80 | 0.001857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_54-11_0_6_line_92 |  | 75 | 77 | 0.014079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_54-11_0_6_line_93 |  | 76 | 83 | 0.016375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_54-11_0_6_line_94 |  | 78 | 84 | 0.011488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_54-11_0_6_line_95 |  | 80 | 98 | 0.016486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_54-11_0_6_line_96 |  | 81 | 82 | 0.030341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_54-11_0_6_line_97 |  | 83 | 101 | 0.0064175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_54-11_0_6_line_98 |  | 83 | 100 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_54-11_0_6_line_99 |  | 84 | 92 | 0.012438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_54-11_0_6_line_100 |  | 89 | 91 | 0.012733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_54-11_0_6_line_101 |  | 90 | 104 | 0.017811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_54-11_0_6_line_102 |  | 93 | 94 | 0.011313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_54-11_0_6_line_103 |  | 99 | 100 | 0.01181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_54-11_0_6_line_104 |  | 101 | 102 | 0.013431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_54-11_0_6_line_105 |  | 102 | 103 | 0.0043264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_54-11_0_6_line_106 |  | 103 | 105 | 0.015867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_54-11_0_6_line_107 |  | 104 | 105 | 0.00077624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_54-11_0_6_line_108 |  | 107 | 108 | 0.016222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_54-11_0_6_line_109 |  | 107 | 109 | 0.033901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
110 | LV_54-11_0_6_line_110 |  | 108 | 112 | 0.03918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_54-11_0_6_line_111 |  | 109 | 113 | 0.020547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_54-11_0_6_line_112 |  | 110 | 111 | 0.04232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_54-11_0_6_line_113 |  | 111 | 115 | 0.0029684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_54-11_0_6_line_114 |  | 112 | 114 | 0.017982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_54-11_0_6_trafo_27 | 0.63 MVA 20/0.4 kV | 116 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2689160.6048 | 1252259.1571 | 2689162.7646 | 1252249.5601 | 2689161.3973 | 1252245.6254 | 2689156.9599 | 1252239.717
1 | 2689153.0163 | 1252269.3952 | 2689166.9629 | 1252286.5293 | 2689171.3625 | 1252281.5583 | 2689157.0939 | 1252263.7523 | 2689160.6048 | 1252259.1571
2 | 2689146.3082 | 1252309.8808 | 2689163.0162 | 1252290.9955 | 2689155.0156 | 1252281.479 | 2689153.0163 | 1252269.3952
3 | 2689153.0163 | 1252269.3952 | 2689134.3381 | 1252246.4538
4 | 2689149.2047 | 1252312.5042 | 2689146.3082 | 1252309.8808
5 | 2689146.3082 | 1252309.8808 | 2689139.4131 | 1252317.9838
6 | 2689149.2047 | 1252312.5042 | 2689159.6688 | 1252322.0347
7 | 2689139.4131 | 1252317.9838 | 2689119.7686 | 1252341.0695
8 | 2689159.6688 | 1252322.0347 | 2689161.4265 | 1252323.6355
9 | 2688752.0334 | 1252313.6763 | 2688755.7614 | 1252316.223 | 2688759.8699 | 1252309.5016 | 2688762.1896 | 1252308.3244 | 2688758.8788 | 1252317.7153 | 2688765.1371 | 1252323.6691
10 | 2688733.9354 | 1252376.5533 | 2688735.483 | 1252375.0197 | 2688727.5972 | 1252367.3736 | 2688741.8081 | 1252350.8293 | 2688765.1371 | 1252323.6691
11 | 2688765.1371 | 1252323.6691 | 2688781.8295 | 1252304.2266 | 2688785.9699 | 1252299.4071 | 2688795.9077 | 1252307.1175
12 | 2688702.2586 | 1252360.9337 | 2688706.7956 | 1252365.4051 | 2688711.0033 | 1252368.6817 | 2688719.7544 | 1252376.5076 | 2688727.5972 | 1252367.3736 | 2688735.483 | 1252375.0197 | 2688733.9354 | 1252376.5533
13 | 2688733.9354 | 1252376.5533 | 2688736.29 | 1252379.0905 | 2688755.0536 | 1252376.5362 | 2688767.7008 | 1252386.5804
14 | 2688795.9077 | 1252307.1175 | 2688812.4538 | 1252295.0079
15 | 2688767.2529 | 1252375.8629 | 2688777.8904 | 1252364.0799
16 | 2688767.2529 | 1252375.8629 | 2688780.7312 | 1252388.1073
17 | 2688777.8904 | 1252364.0799 | 2688776.5728 | 1252362.8592
18 | 2688803.4745 | 1252356.6576 | 2688796.3824 | 1252357.9968 | 2688794.1791 | 1252359.9764 | 2688788.6268 | 1252355.2674 | 2688786.0107 | 1252355.0725 | 2688777.8904 | 1252364.0799
19 | 2688702.2586 | 1252360.9337 | 2688694.122 | 1252368.5177 | 2688692.8969 | 1252368.6773 | 2688691.4772 | 1252367.2216
20 | 2688702.2586 | 1252360.9337 | 2688700.1855 | 1252358.7561
21 | 2688891.5899 | 1252328.1348 | 2688889.2718 | 1252326.1874 | 2688885.3174 | 1252330.1756 | 2688873.9341 | 1252319.2187 | 2688871.8293 | 1252315.2055
22 | 2688923.3726 | 1252324.1197 | 2688916.6284 | 1252308.3176 | 2688914.5576 | 1252302.9713 | 2688914.2999 | 1252300.5322 | 2688915.4176 | 1252297.4689 | 2688962.1527 | 1252255.7496 | 2688972.9359 | 1252244.8587 | 2688977.4179 | 1252247.4613 | 2688921.3637 | 1252314.1486 | 2688902.1711 | 1252336.7112 | 2688872.9246 | 1252368.8748 | 2688881.1845 | 1252377.2273 | 2688895.2706 | 1252364.4956 | 2688902.3391 | 1252368.2489 | 2688915.0763 | 1252364.426 | 2688911.9811 | 1252354.9279 | 2688907.3387 | 1252342.9046 | 2688900.2717 | 1252327.4868 | 2688898.4478 | 1252325.3022 | 2688895.3158 | 1252324.7881 | 2688891.5899 | 1252328.1348
23 | 2688891.5899 | 1252328.1348 | 2688876.0164 | 1252345.3421
24 | 2688864.3879 | 1252301.0172 | 2688871.8293 | 1252315.2055
25 | 2688923.3726 | 1252324.1197 | 2688931.6415 | 1252344.1707
26 | 2688686.7733 | 1252344.6673 | 2688700.1855 | 1252358.7561
27 | 2688967.7358 | 1252431.7012 | 2688954.6572 | 1252399.9806 | 2688931.6415 | 1252344.1707
28 | 2689118.8965 | 1252342.0945 | 2689119.7686 | 1252341.0695
29 | 2689174.4649 | 1252335.5108 | 2689161.4265 | 1252323.6355
30 | 2688760.4938 | 1252271.9156 | 2688754.6957 | 1252268.9932
31 | 2688729.9781 | 1252294.12 | 2688737.2379 | 1252280.0846 | 2688752.9836 | 1252288.0488 | 2688760.4938 | 1252271.9156
32 | 2688774.4201 | 1252252.7207 | 2688767.9589 | 1252255.7707 | 2688760.4938 | 1252271.9156
33 | 2688729.9781 | 1252294.12 | 2688724.321 | 1252290.855
34 | 2688774.4201 | 1252252.7207 | 2688795.7449 | 1252243.9891
35 | 2688774.4201 | 1252252.7207 | 2688768.5574 | 1252238.4968
36 | 2688822.9151 | 1252287.3516 | 2688812.4538 | 1252295.0079
37 | 2688803.4745 | 1252356.6576 | 2688804.56 | 1252368.9187
38 | 2688803.4745 | 1252356.6576 | 2688802.7963 | 1252349.0416 | 2688819.8345 | 1252325.668 | 2688825.8664 | 1252326.5814
39 | 2688608.8795 | 1252276.2943 | 2688605.0086 | 1252272.1888
40 | 2688608.8795 | 1252276.2943 | 2688623.257 | 1252263.2327 | 2688624.8158 | 1252264.4791 | 2688626.6686 | 1252265.2408 | 2688628.6584 | 1252265.4262 | 2688630.619 | 1252265.0441 | 2688632.3838 | 1252264.1254 | 2688633.9932 | 1252262.4927 | 2688634.9751 | 1252260.428 | 2688635.2281 | 1252258.1523 | 2688634.7181 | 1252255.9207 | 2688633.5091 | 1252253.9901 | 2688650.6153 | 1252238.6565 | 2688666.6502 | 1252224.2965
41 | 2688666.6502 | 1252224.2965 | 2688689.5782 | 1252203.7573 | 2688694.5739 | 1252199.2842 | 2688705.5753 | 1252189.4192
42 | 2688666.6502 | 1252224.2965 | 2688662.9311 | 1252220.1377
43 | 2688705.5753 | 1252189.4192 | 2688710.1196 | 1252185.3508 | 2688725.1163 | 1252168.7737 | 2688716.1881 | 1252162.1684
44 | 2688716.1881 | 1252162.1684 | 2688725.1163 | 1252168.7737 | 2688729.1079 | 1252172.8811 | 2688757.2948 | 1252161.0609 | 2688759.8732 | 1252157.7303 | 2688758.5652 | 1252153.8522
45 | 2688716.1881 | 1252162.1684 | 2688710.2936 | 1252140.4858 | 2688713.2336 | 1252124.7174
46 | 2688698.7525 | 1252181.3331 | 2688705.5753 | 1252189.4192
47 | 2688758.5652 | 1252153.8522 | 2688773.8395 | 1252141.4271 | 2688770.938 | 1252137.1025
48 | 2688758.5652 | 1252153.8522 | 2688754.2152 | 1252140.9216 | 2688749.4023 | 1252134.8974
49 | 2688758.5652 | 1252153.8522 | 2688759.8732 | 1252157.7303 | 2688761.6556 | 1252159.6696 | 2688766.0299 | 1252164.4276 | 2688779.6131 | 1252179.209
50 | 2688724.2811 | 1252098.2313 | 2688722.3099 | 1252100.6798 | 2688724.206 | 1252106.1123 | 2688713.8228 | 1252121.5575 | 2688713.2336 | 1252124.7174
51 | 2688686.7733 | 1252344.6673 | 2688681.2375 | 1252338.8467 | 2688672.2533 | 1252347.4245
52 | 2688686.7733 | 1252344.6673 | 2688693.5791 | 1252333.7164
53 | 2688864.3879 | 1252301.0172 | 2688851.7458 | 1252309.4065
54 | 2688864.3879 | 1252301.0172 | 2688862.4868 | 1252297.365
55 | 2688825.8664 | 1252326.5814 | 2688838.3989 | 1252337.3041
56 | 2688841.1362 | 1252316.447 | 2688825.8664 | 1252326.5814
57 | 2688812.8288 | 1252320.2367 | 2688819.8345 | 1252325.668 | 2688825.8664 | 1252326.5814
58 | 2688967.7358 | 1252431.7012 | 2688991.3293 | 1252488.9325 | 2689034.7498 | 1252437.7012 | 2689083.6113 | 1252383.5609
59 | 2688967.7358 | 1252431.7012 | 2689008.6063 | 1252383.8363
60 | 2688805.9142 | 1252384.2152 | 2688804.56 | 1252368.9187
61 | 2688693.5791 | 1252333.7164 | 2688704.9812 | 1252322.2783 | 2688702.5577 | 1252318.8061
62 | 2688678.4637 | 1252280.6497 | 2688673.9141 | 1252275.4999
63 | 2688678.4637 | 1252280.6497 | 2688687.4858 | 1252272.9121 | 2688691.0551 | 1252267.9173 | 2688693.8185 | 1252262.3099 | 2688686.5924 | 1252257.9762 | 2688686.0464 | 1252257.6456 | 2688691.6269 | 1252246.3761 | 2688690.8703 | 1252245.4863
64 | 2688646.3002 | 1252289.931 | 2688648.5793 | 1252284.9057 | 2688651.0433 | 1252283.1635 | 2688661.1646 | 1252283.6709 | 2688667.0745 | 1252290.7202 | 2688678.4637 | 1252280.6497
65 | 2688690.8703 | 1252245.4863 | 2688705.1616 | 1252231.6452
66 | 2688687.9928 | 1252242.0851 | 2688690.8703 | 1252245.4863
67 | 2688646.3002 | 1252289.931 | 2688650.9083 | 1252295.204
68 | 2688630.0588 | 1252300.9521 | 2688632.2765 | 1252303.565 | 2688643.7829 | 1252293.2181 | 2688646.3002 | 1252289.931
69 | 2688705.1616 | 1252231.6452 | 2688708.8884 | 1252235.793
70 | 2688705.1616 | 1252231.6452 | 2688704.8899 | 1252229.6285 | 2688705.6687 | 1252228.0278 | 2688708.3749 | 1252225.7332 | 2688710.133 | 1252224.2584 | 2688718.2698 | 1252224.7362 | 2688720.4377 | 1252225.6249 | 2688725.7033 | 1252231.8529 | 2688737.4473 | 1252221.7877 | 2688737.0022 | 1252221.2696
71 | 2688656.648 | 1252199.1944 | 2688659.288 | 1252201.3244 | 2688661.7481 | 1252204.3747 | 2688663.9304 | 1252209.8559 | 2688664.2711 | 1252214.32 | 2688662.9311 | 1252220.1377
72 | 2688656.648 | 1252199.1944 | 2688665.3149 | 1252190.9845
73 | 2688665.3149 | 1252190.9845 | 2688662.9312 | 1252187.8687
74 | 2688779.6131 | 1252179.209 | 2688789.6151 | 1252171.0749 | 2688786.1341 | 1252166.6416
75 | 2688795.3335 | 1252211.5248 | 2688786.7843 | 1252192.749 | 2688780.368 | 1252184.2353 | 2688782.6134 | 1252182.4787 | 2688779.6131 | 1252179.209
76 | 2688795.3335 | 1252211.5248 | 2688806.5235 | 1252206.711 | 2688813.628 | 1252201.0354 | 2688806.7708 | 1252192.237
77 | 2688795.3335 | 1252211.5248 | 2688779.6313 | 1252218.2725
78 | 2688732.4413 | 1252215.8749 | 2688737.0022 | 1252221.2696
79 | 2688762.9717 | 1252225.4395 | 2688759.2132 | 1252216.8655 | 2688737.0022 | 1252221.2696
80 | 2688762.9717 | 1252225.4395 | 2688779.6313 | 1252218.2725
81 | 2688762.9717 | 1252225.4395 | 2688766.3727 | 1252233.1963 | 2688768.5574 | 1252238.4968
82 | 2688779.6313 | 1252218.2725 | 2688776.5287 | 1252210.7536
83 | 2688724.2811 | 1252098.2313 | 2688731.5973 | 1252089.1438
84 | 2688810.9737 | 1252268.3025 | 2688799.4057 | 1252274.838
85 | 2688807.5388 | 1252262.8135 | 2688810.9737 | 1252268.3025
86 | 2688818.0133 | 1252279.5277 | 2688810.9737 | 1252268.3025
87 | 2688807.5388 | 1252262.8135 | 2688818.109 | 1252256.1358
88 | 2688807.5388 | 1252262.8135 | 2688803.2197 | 1252255.9197
89 | 2688818.0133 | 1252279.5277 | 2688822.9151 | 1252287.3516
90 | 2688818.0133 | 1252279.5277 | 2688828.0543 | 1252273.2419
91 | 2688795.7449 | 1252243.9891 | 2688797.2999 | 1252242.9672
92 | 2688795.7449 | 1252243.9891 | 2688803.2197 | 1252255.9197
93 | 2688831.9528 | 1252247.3899 | 2688818.109 | 1252256.1358
94 | 2688829.0183 | 1252297.095 | 2688822.9151 | 1252287.3516
95 | 2688797.2999 | 1252242.9672 | 2688790.5158 | 1252227.9414
96 | 2688812.8288 | 1252320.2367 | 2688798.4263 | 1252337.9677 | 2688795.5569 | 1252340.0707 | 2688792.5774 | 1252337.4352
97 | 2688831.9528 | 1252247.3899 | 2688835.4718 | 1252252.7565
98 | 2688831.9528 | 1252247.3899 | 2688825.9869 | 1252238.2887
99 | 2688829.0183 | 1252297.095 | 2688839.4389 | 1252290.3045
100 | 2688841.1362 | 1252316.447 | 2688851.7458 | 1252309.4065
101 | 2688862.4868 | 1252297.365 | 2688854.263 | 1252281.5665
102 | 2688738.6917 | 1252080.3318 | 2688731.5973 | 1252089.1438
103 | 2688825.9869 | 1252238.2887 | 2688819.5122 | 1252228.4112 | 2688819.5122 | 1252228.4112
104 | 2688842.8366 | 1252263.988 | 2688835.4718 | 1252252.7565
105 | 2688842.8366 | 1252263.988 | 2688845.2079 | 1252267.6067
106 | 2688853.9046 | 1252280.8779 | 2688845.2079 | 1252267.6067
107 | 2688853.9046 | 1252280.8779 | 2688854.263 | 1252281.5665
108 | 2689083.6113 | 1252383.5609 | 2689072.5136 | 1252371.7295
109 | 2689083.6113 | 1252383.5609 | 2689105.5811 | 1252357.7425
110 | 2689045.7093 | 1252343.1532 | 2689072.5136 | 1252371.7295
111 | 2689118.8965 | 1252342.0945 | 2689105.5811 | 1252357.7425
112 | 2689188.9031 | 1252370.2254 | 2689194.5276 | 1252363.6364 | 2689195.2339 | 1252356.8307 | 2689180.1778 | 1252340.714 | 2689176.6595 | 1252337.5096
113 | 2689174.4649 | 1252335.5108 | 2689176.6595 | 1252337.5096
114 | 2689045.7093 | 1252343.1532 | 2689033.4071 | 1252330.0378

## bus_geodata
| x | y | coords
0 | 2689156.9599 | 1252239.717
1 | 2689160.6048 | 1252259.1571
2 | 2689153.0163 | 1252269.3952
3 | 2689146.3082 | 1252309.8808
4 | 2689134.3381 | 1252246.4538
5 | 2689149.2047 | 1252312.5042
6 | 2689139.4131 | 1252317.9838
7 | 2689159.6688 | 1252322.0347
8 | 2688765.1371 | 1252323.6691
9 | 2688752.0334 | 1252313.6763
10 | 2688733.9354 | 1252376.5533
11 | 2688795.9077 | 1252307.1175
12 | 2688767.2529 | 1252375.8629
13 | 2688777.8904 | 1252364.0799
14 | 2688780.7312 | 1252388.1073
15 | 2688702.2586 | 1252360.9337
16 | 2688767.7008 | 1252386.5804
17 | 2688891.5899 | 1252328.1348
18 | 2688871.8293 | 1252315.2055
19 | 2688923.3726 | 1252324.1197
20 | 2688876.0164 | 1252345.3421
21 | 2688691.4772 | 1252367.2216
22 | 2688700.1855 | 1252358.7561
23 | 2688931.6415 | 1252344.1707
24 | 2689119.7686 | 1252341.0695
25 | 2689161.4265 | 1252323.6355
26 | 2688760.4938 | 1252271.9156
27 | 2688754.6957 | 1252268.9932
28 | 2688729.9781 | 1252294.12
29 | 2688774.4201 | 1252252.7207
30 | 2688724.321 | 1252290.855
31 | 2688812.4538 | 1252295.0079
32 | 2688776.5728 | 1252362.8592
33 | 2688803.4745 | 1252356.6576
34 | 2688608.8795 | 1252276.2943
35 | 2688605.0086 | 1252272.1888
36 | 2688666.6502 | 1252224.2965
37 | 2688716.1881 | 1252162.1684
38 | 2688705.5753 | 1252189.4192
39 | 2688758.5652 | 1252153.8522
40 | 2688713.2336 | 1252124.7174
41 | 2688672.2533 | 1252347.4245
42 | 2688686.7733 | 1252344.6673
43 | 2688864.3879 | 1252301.0172
44 | 2688838.3989 | 1252337.3041
45 | 2688825.8664 | 1252326.5814
46 | 2688967.7358 | 1252431.7012
47 | 2688804.56 | 1252368.9187
48 | 2688693.5791 | 1252333.7164
49 | 2688702.5577 | 1252318.8061
50 | 2688678.4637 | 1252280.6497
51 | 2688673.9141 | 1252275.4999
52 | 2688690.8703 | 1252245.4863
53 | 2688646.3002 | 1252289.931
54 | 2688705.1616 | 1252231.6452
55 | 2688687.9928 | 1252242.0851
56 | 2688662.9311 | 1252220.1377
57 | 2688656.648 | 1252199.1944
58 | 2688665.3149 | 1252190.9845
59 | 2688779.6131 | 1252179.209
60 | 2688786.1341 | 1252166.6416
61 | 2688795.3335 | 1252211.5248
62 | 2688737.0022 | 1252221.2696
63 | 2688732.4413 | 1252215.8749
64 | 2688762.9717 | 1252225.4395
65 | 2688698.7525 | 1252181.3331
66 | 2688770.938 | 1252137.1025
67 | 2688749.4023 | 1252134.8974
68 | 2688779.6313 | 1252218.2725
69 | 2688768.5574 | 1252238.4968
70 | 2688724.2811 | 1252098.2313
71 | 2688799.4057 | 1252274.838
72 | 2688810.9737 | 1252268.3025
73 | 2688807.5388 | 1252262.8135
74 | 2688818.0133 | 1252279.5277
75 | 2688795.7449 | 1252243.9891
76 | 2688818.109 | 1252256.1358
77 | 2688803.2197 | 1252255.9197
78 | 2688822.9151 | 1252287.3516
79 | 2688828.0543 | 1252273.2419
80 | 2688797.2999 | 1252242.9672
81 | 2688812.8288 | 1252320.2367
82 | 2688792.5774 | 1252337.4352
83 | 2688831.9528 | 1252247.3899
84 | 2688829.0183 | 1252297.095
85 | 2688806.7708 | 1252192.237
86 | 2688776.5287 | 1252210.7536
87 | 2688708.8884 | 1252235.793
88 | 2688662.9312 | 1252187.8687
89 | 2688851.7458 | 1252309.4065
90 | 2688862.4868 | 1252297.365
91 | 2688841.1362 | 1252316.447
92 | 2688839.4389 | 1252290.3045
93 | 2688731.5973 | 1252089.1438
94 | 2688738.6917 | 1252080.3318
95 | 2688805.9142 | 1252384.2152
96 | 2688650.9083 | 1252295.204
97 | 2688630.0588 | 1252300.9521
98 | 2688790.5158 | 1252227.9414
99 | 2688819.5122 | 1252228.4112
100 | 2688825.9869 | 1252238.2887
101 | 2688835.4718 | 1252252.7565
102 | 2688842.8366 | 1252263.988
103 | 2688845.2079 | 1252267.6067
104 | 2688854.263 | 1252281.5665
105 | 2688853.9046 | 1252280.8779
106 | 2689008.6063 | 1252383.8363
107 | 2689083.6113 | 1252383.5609
108 | 2689072.5136 | 1252371.7295
109 | 2689105.5811 | 1252357.7425
110 | 2689188.9031 | 1252370.2254
111 | 2689176.6595 | 1252337.5096
112 | 2689045.7093 | 1252343.1532
113 | 2689118.8965 | 1252342.0945
114 | 2689033.4071 | 1252330.0378
115 | 2689174.4649 | 1252335.5108
116 | 2688810.9737 | 1252268.3025

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1