## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_54-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_54-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_54-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_54-13_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_54-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_54-13_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_54-13_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_54-13_0_4_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_54-13_0_4_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_54-13_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_54-13_0_4_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_54-13_0_4_node_79 | 0.4 | n |  | TRUE
12 | bus_LV_54-13_0_4_node_81 | 0.4 | n |  | TRUE
13 | bus_LV_54-13_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_54-13_0_4_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_54-13_0_4_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_54-13_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_54-13_0_4_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_54-13_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_54-13_0_4_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_54-13_0_4_node_98 | 0.4 | n |  | TRUE
21 | bus_LV_54-13_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_54-13_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_54-13_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_54-13_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_54-13_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_54-13_0_4_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_54-13_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_54-13_0_4_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_54-13_0_4_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_54-13_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_54-13_0_4_node_96 | 0.4 | n |  | TRUE
32 | bus_LV_54-13_0_4_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_54-13_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_54-13_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_54-13_0_4_node_87 | 0.4 | n |  | TRUE
36 | bus_LV_54-13_0_4_node_99 | 0.4 | n |  | TRUE
37 | bus_LV_54-13_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_54-13_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_54-13_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_54-13_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_54-13_0_4_node_100 | 0.4 | n |  | TRUE
42 | bus_LV_54-13_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_54-13_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_54-13_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_54-13_0_4_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_54-13_0_4_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_54-13_0_4_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_54-13_0_4_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_54-13_0_4_node_88 | 0.4 | n |  | TRUE
50 | bus_LV_54-13_0_4_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_54-13_0_4_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_54-13_0_4_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_54-13_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_54-13_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_54-13_0_4_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_54-13_0_4_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_54-13_0_4_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_54-13_0_4_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_54-13_0_4_node_92 | 0.4 | n |  | TRUE
60 | bus_LV_54-13_0_4_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_54-13_0_4_node_26 | 0.4 | n |  | TRUE
62 | bus_LV_54-13_0_4_node_27 | 0.4 | n |  | TRUE
63 | bus_LV_54-13_0_4_node_28 | 0.4 | n |  | TRUE
64 | bus_LV_54-13_0_4_node_29 | 0.4 | n |  | TRUE
65 | bus_LV_54-13_0_4_node_31 | 0.4 | n |  | TRUE
66 | bus_LV_54-13_0_4_node_30 | 0.4 | n |  | TRUE
67 | bus_LV_54-13_0_4_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_54-13_0_4_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_54-13_0_4_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_54-13_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_54-13_0_4_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_54-13_0_4_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_54-13_0_4_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_54-13_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_54-13_0_4_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_54-13_0_4_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_54-13_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_54-13_0_4_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_54-13_0_4_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_54-13_0_4_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_54-13_0_4_node_53 | 0.4 | n |  | TRUE
82 | bus_LV_54-13_0_4_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_54-13_0_4_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_54-13_0_4_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_54-13_0_4_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_54-13_0_4_node_58 | 0.4 | n |  | TRUE
87 | bus_LV_54-13_0_4_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_54-13_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_54-13_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_54-13_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_54-13_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_54-13_0_4_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_54-13_0_4_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_54-13_0_4_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_54-13_0_4_node_94 | 0.4 | n |  | TRUE
96 | bus_MV_504_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_54-13_0_4_load_0 | 0 | 0.0087025 | 0.0021811 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_54-13_0_4_load_1 | 1 | 0.008158 | 0.0020446 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_54-13_0_4_load_3 | 3 | 0.0084875 | 0.0021272 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_54-13_0_4_load_25 | 6 | 0.010245 | 0.0025677 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_54-13_0_4_load_71 | 8 | 0.013504 | 0.0033843 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_54-13_0_4_load_35 | 10 | 0.0090278 | 0.0022626 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_54-13_0_4_load_81 | 12 | 0.0050289 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_54-13_0_4_load_78 | 14 | 0.0057196 | 0.0014335 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_54-13_0_4_load_77 | 15 | 0.0048771 | 0.0012223 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_54-13_0_4_load_69 | 19 | 0.016073 | 0.0040283 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_54-13_0_4_load_98 | 20 | 0.062889 | 0.015761 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_54-13_0_4_load_36 | 23 | 0.0066245 | 0.0016602 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_54-13_0_4_load_38 | 25 | 0.00099956 | 0.00025051 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_54-13_0_4_load_37 | 26 | 0.0025709 | 0.00064432 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_54-13_0_4_load_91 | 28 | 0.0033607 | 0.00084228 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_54-13_0_4_load_89 | 29 | 0.0018786 | 0.00047081 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_54-13_0_4_load_96 | 31 | 0.00090811 | 0.00022759 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_54-13_0_4_load_90 | 32 | 0.0018757 | 0.00047011 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_54-13_0_4_load_87 | 35 | 0.0013379 | 0.00033532 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_54-13_0_4_load_99 | 36 | 0.0018908 | 0.00047389 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_54-13_0_4_load_34 | 39 | 0.0050343 | 0.0012617 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_54-13_0_4_load_100 | 41 | 0.0023323 | 0.00058452 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_54-13_0_4_load_33 | 42 | 0.0029727 | 0.00074503 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_54-13_0_4_load_44 | 43 | 0.0010796 | 0.00027056 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_54-13_0_4_load_48 | 44 | 0.0020797 | 0.00052122 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_54-13_0_4_load_64 | 46 | 0.023018 | 0.0057688 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_54-13_0_4_load_63 | 47 | 0.021867 | 0.0054804 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_54-13_0_4_load_59 | 48 | 0.0044521 | 0.0011158 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_54-13_0_4_load_88 | 49 | 0.0012453 | 0.0003121 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_54-13_0_4_load_95 | 50 | 0.00090107 | 0.00022583 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_54-13_0_4_load_97 | 52 | 0.0053629 | 0.0013441 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_54-13_0_4_load_68 | 55 | 0.016062 | 0.0040256 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_54-13_0_4_load_66 | 58 | 0.017253 | 0.004324 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_54-13_0_4_load_92 | 59 | 0.0040882 | 0.0010246 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_54-13_0_4_load_32 | 60 | 0.0039217 | 0.00098287 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_54-13_0_4_load_26 | 61 | 0.0027432 | 0.00068751 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_54-13_0_4_load_29 | 64 | 0.0091695 | 0.0022981 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_54-13_0_4_load_31 | 65 | 0.0020155 | 0.00050513 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_54-13_0_4_load_47 | 67 | 0.0028605 | 0.0007169 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_54-13_0_4_load_49 | 68 | 0.0031736 | 0.00079538 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_54-13_0_4_load_46 | 69 | 0.0021412 | 0.00053664 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_54-13_0_4_load_60 | 70 | 0.00048281 | 0.000121 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_54-13_0_4_load_39 | 71 | 0.005105 | 0.0012794 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_54-13_0_4_load_40 | 72 | 0.0070795 | 0.0017743 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_54-13_0_4_load_42 | 73 | 0.0043201 | 0.0010827 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_54-13_0_4_load_62 | 74 | 0.0039641 | 0.0009935 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_54-13_0_4_load_75 | 75 | 0.032974 | 0.0082639 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_54-13_0_4_load_55 | 76 | 0.00089112 | 0.00022334 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_54-13_0_4_load_93 | 78 | 0.00083093 | 0.00020825 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_54-13_0_4_load_51 | 79 | 0.00291 | 0.00072932 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_54-13_0_4_load_52 | 80 | 0.002016 | 0.00050526 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_54-13_0_4_load_54 | 82 | 0.0018924 | 0.00047429 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_54-13_0_4_load_56 | 83 | 0.0014482 | 0.00036295 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_54-13_0_4_load_57 | 84 | 0.0017645 | 0.00044223 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_54-13_0_4_load_61 | 85 | 0.001153 | 0.00028898 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_54-13_0_4_load_58 | 86 | 0.0019561 | 0.00049024 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_54-13_0_4_load_73 | 87 | 0.024306 | 0.0060916 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_54-13_0_4_load_76 | 88 | 0.035162 | 0.0088125 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_54-13_0_4_load_80 | 89 | 0.036797 | 0.0092223 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_54-13_0_4_load_82 | 90 | 0.0013157 | 0.00032975 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_54-13_0_4_load_83 | 91 | 0.0017576 | 0.00044049 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_54-13_0_4_load_84 | 92 | 0.00092363 | 0.00023148 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_54-13_0_4_load_85 | 93 | 0.0023238 | 0.0005824 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_54-13_0_4_load_86 | 94 | 0.0033127 | 0.00083025 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_54-13_0_4_load_94 | 95 | 0.0014394 | 0.00036075 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_54-13_0_4_line_0 |  | 0 | 1 | 0.022783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_54-13_0_4_line_1 |  | 0 | 2 | 0.017996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_54-13_0_4_line_2 |  | 1 | 3 | 0.021195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_54-13_0_4_line_3 |  | 2 | 4 | 0.02882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_54-13_0_4_line_4 |  | 2 | 5 | 0.050839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_54-13_0_4_line_5 |  | 3 | 6 | 0.044112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_54-13_0_4_line_6 |  | 4 | 7 | 0.039613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_54-13_0_4_line_7 |  | 4 | 8 | 0.022871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_54-13_0_4_line_8 |  | 5 | 11 | 0.02266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_54-13_0_4_line_9 |  | 5 | 12 | 0.025314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_54-13_0_4_line_10 |  | 6 | 9 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_54-13_0_4_line_11 |  | 7 | 43 | 0.031896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_54-13_0_4_line_12 |  | 7 | 44 | 0.023387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_54-13_0_4_line_13 |  | 8 | 45 | 0.018263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_54-13_0_4_line_14 |  | 9 | 10 | 0.021458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_54-13_0_4_line_15 |  | 11 | 14 | 0.0011732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_54-13_0_4_line_16 |  | 12 | 17 | 0.021985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_54-13_0_4_line_17 |  | 13 | 14 | 0.030955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_54-13_0_4_line_18 |  | 13 | 15 | 0.020452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_54-13_0_4_line_19 |  | 16 | 17 | 0.054877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_54-13_0_4_line_20 |  | 16 | 18 | 0.14843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_54-13_0_4_line_21 |  | 16 | 19 | 0.016687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_54-13_0_4_line_22 |  | 18 | 20 | 0.014039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_54-13_0_4_line_23 |  | 21 | 22 | 0.02818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_54-13_0_4_line_24 |  | 21 | 23 | 0.019565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_54-13_0_4_line_25 |  | 22 | 38 | 0.019851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_54-13_0_4_line_26 |  | 22 | 39 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_54-13_0_4_line_27 |  | 24 | 25 | 0.022792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_54-13_0_4_line_28 |  | 24 | 26 | 0.039516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_54-13_0_4_line_29 |  | 25 | 48 | 0.0046714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_54-13_0_4_line_30 |  | 26 | 40 | 0.073868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_54-13_0_4_line_31 |  | 27 | 28 | 0.016544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_54-13_0_4_line_32 |  | 27 | 29 | 0.016678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_54-13_0_4_line_33 |  | 29 | 49 | 0.027019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_54-13_0_4_line_34 |  | 30 | 31 | 0.01853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_54-13_0_4_line_35 |  | 30 | 32 | 0.022732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_54-13_0_4_line_36 |  | 31 | 50 | 0.018374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_54-13_0_4_line_37 |  | 32 | 33 | 0.040259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_54-13_0_4_line_38 |  | 33 | 34 | 0.051611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_54-13_0_4_line_39 |  | 33 | 35 | 0.017486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_54-13_0_4_line_40 |  | 34 | 36 | 0.004416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_54-13_0_4_line_41 |  | 34 | 37 | 0.024825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_54-13_0_4_line_42 |  | 35 | 49 | 0.033778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_54-13_0_4_line_43 |  | 37 | 41 | 0.003893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_54-13_0_4_line_44 |  | 38 | 42 | 0.019168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_54-13_0_4_line_45 |  | 38 | 40 | 0.053907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_54-13_0_4_line_46 |  | 42 | 60 | 0.017404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_54-13_0_4_line_47 |  | 43 | 75 | 0.026586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_54-13_0_4_line_48 |  | 43 | 56 | 0.039821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_54-13_0_4_line_49 |  | 44 | 68 | 0.00038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_54-13_0_4_line_50 |  | 45 | 87 | 0.028614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_54-13_0_4_line_51 |  | 46 | 47 | 0.031122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_54-13_0_4_line_52 |  | 47 | 57 | 0.035945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_54-13_0_4_line_53 |  | 48 | 70 | 0.00053612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_54-13_0_4_line_54 |  | 50 | 95 | 0.020876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_54-13_0_4_line_55 |  | 51 | 52 | 0.041442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_54-13_0_4_line_56 |  | 51 | 53 | 0.024695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_54-13_0_4_line_57 |  | 53 | 59 | 0.014926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_54-13_0_4_line_58 |  | 53 | 56 | 0.061163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_54-13_0_4_line_59 |  | 54 | 55 | 0.0057181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_54-13_0_4_line_60 |  | 54 | 56 | 0.022204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_54-13_0_4_line_61 |  | 55 | 58 | 0.040251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_54-13_0_4_line_62 |  | 56 | 71 | 0.019705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_54-13_0_4_line_63 |  | 57 | 58 | 0.0018791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_54-13_0_4_line_64 |  | 59 | 78 | 0.0020302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_54-13_0_4_line_65 |  | 61 | 62 | 0.017714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_54-13_0_4_line_66 |  | 61 | 63 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_54-13_0_4_line_67 |  | 62 | 64 | 0.048274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_54-13_0_4_line_68 |  | 63 | 65 | 0.021846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_54-13_0_4_line_69 |  | 65 | 69 | 0.016571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_54-13_0_4_line_70 |  | 66 | 67 | 0.013375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_54-13_0_4_line_71 |  | 66 | 68 | 0.014037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_54-13_0_4_line_72 |  | 67 | 69 | 0.00015983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_54-13_0_4_line_73 |  | 70 | 85 | 0.021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_54-13_0_4_line_74 |  | 71 | 72 | 0.007011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_54-13_0_4_line_75 |  | 72 | 73 | 0.021787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_54-13_0_4_line_76 |  | 73 | 74 | 0.03386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_54-13_0_4_line_77 |  | 74 | 76 | 0.010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_54-13_0_4_line_78 |  | 75 | 77 | 0.019628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_54-13_0_4_line_79 |  | 76 | 81 | 0.006561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_54-13_0_4_line_80 |  | 77 | 88 | 0.018113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_54-13_0_4_line_81 |  | 78 | 94 | 0.02476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_54-13_0_4_line_82 |  | 79 | 80 | 0.0080064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_54-13_0_4_line_83 |  | 79 | 81 | 0.023775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_54-13_0_4_line_84 |  | 80 | 82 | 0.013542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_54-13_0_4_line_85 |  | 81 | 83 | 0.01346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_54-13_0_4_line_86 |  | 82 | 84 | 0.0059516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_54-13_0_4_line_87 |  | 83 | 85 | 0.0059323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_54-13_0_4_line_88 |  | 84 | 86 | 0.019552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_54-13_0_4_line_89 |  | 88 | 89 | 0.037155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_54-13_0_4_line_90 |  | 90 | 91 | 0.0092633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_54-13_0_4_line_91 |  | 90 | 92 | 0.020015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_54-13_0_4_line_92 |  | 91 | 93 | 0.018122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_54-13_0_4_line_93 |  | 92 | 94 | 0.0054913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_54-13_0_4_line_94 |  | 93 | 95 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_54-13_0_4_trafo_74 | 0.63 MVA 20/0.4 kV | 96 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2688752.1915 | 1252619.318 | 2688766.3421 | 1252601.4618
1 | 2688741.0142 | 1252633.4222 | 2688752.1915 | 1252619.318
2 | 2688766.3421 | 1252601.4618 | 2688775.1083 | 1252590.4 | 2688769.3346 | 1252586.3015
3 | 2688741.0142 | 1252633.4222 | 2688759.7799 | 1252655.3422
4 | 2688741.0142 | 1252633.4222 | 2688733.4484 | 1252624.591 | 2688727.0167 | 1252619.1572 | 2688706.7002 | 1252642.2929
5 | 2688769.3346 | 1252586.3015 | 2688748.6724 | 1252571.6341 | 2688734.2315 | 1252559.638
6 | 2688784.1256 | 1252686.642 | 2688761.4637 | 1252657.3023 | 2688759.7799 | 1252655.3422
7 | 2688759.7799 | 1252655.3422 | 2688744.4605 | 1252672.3252
8 | 2688706.7002 | 1252642.2929 | 2688689.2575 | 1252627.7652
9 | 2688706.7002 | 1252642.2929 | 2688700.7572 | 1252649.0647 | 2688701.0016 | 1252652.9046 | 2688692.7655 | 1252662.2496
10 | 2688720.4275 | 1252548.171 | 2688734.2315 | 1252559.638
11 | 2688784.1256 | 1252686.642 | 2688799.9969 | 1252714.3344
12 | 2688784.1256 | 1252686.642 | 2688805.1085 | 1252676.3149
13 | 2688732.2279 | 1252685.8863 | 2688744.4605 | 1252672.3252
14 | 2688720.4275 | 1252548.171 | 2688734.8854 | 1252532.315
15 | 2688689.2575 | 1252627.7652 | 2688688.3682 | 1252626.9999
16 | 2688678.1478 | 1252678.6711 | 2688690.9132 | 1252664.3512 | 2688692.7655 | 1252662.2496
17 | 2688664.1434 | 1252609.9312 | 2688672.1067 | 1252617.4228 | 2688676.6725 | 1252616.9352 | 2688688.3682 | 1252626.9999
18 | 2688664.1434 | 1252609.9312 | 2688650.582 | 1252625.2399
19 | 2688651.1501 | 1252692.3998 | 2688667.6062 | 1252706.7793 | 2688671.7763 | 1252701.9714 | 2688669.7272 | 1252688.119 | 2688678.1478 | 1252678.6711
20 | 2688563.3328 | 1252742.814 | 2688573.8491 | 1252767.8125 | 2688579.0051 | 1252767.7229 | 2688585.2267 | 1252767.5268 | 2688588.5793 | 1252767.4102 | 2688599.4183 | 1252766.8052 | 2688604.244 | 1252764.5756 | 2688606.8128 | 1252759.3434 | 2688609.8307 | 1252745.7892 | 2688614.4726 | 1252744.2464 | 2688619.5954 | 1252737.2955 | 2688624.1859 | 1252730.6146 | 2688624.3488 | 1252725.78 | 2688623.5585 | 1252723.6221 | 2688629.7598 | 1252719.2448 | 2688634.8823 | 1252712.8165 | 2688651.1501 | 1252692.3998
21 | 2688651.1501 | 1252692.3998 | 2688638.5845 | 1252681.42
22 | 2688563.3328 | 1252742.814 | 2688558.0039 | 1252729.8252
23 | 2688865.5887 | 1252599.163 | 2688852.8276 | 1252581.4804 | 2688849.1014 | 1252576.3094
24 | 2688849.1014 | 1252576.3094 | 2688833.2382 | 1252587.7607
25 | 2688880.7048 | 1252595.2089 | 2688877.7351 | 1252590.9278 | 2688865.5887 | 1252599.163
26 | 2688865.5887 | 1252599.163 | 2688847.3797 | 1252611.4919
27 | 2688971.8209 | 1252680.1859 | 2688950.5638 | 1252688.4078
28 | 2688971.8209 | 1252680.1859 | 2688954.3153 | 1252644.7584
29 | 2688946.207 | 1252690.093 | 2688950.5638 | 1252688.4078
30 | 2688926.0409 | 1252577.1198 | 2688928.2007 | 1252591.6077 | 2688935.5795 | 1252606.8412 | 2688954.3153 | 1252644.7584
31 | 2688933.9655 | 1252828.8424 | 2688919.3652 | 1252836.6238
32 | 2688933.9655 | 1252828.8424 | 2688939.5496 | 1252825.8684 | 2688949.2068 | 1252822.1409
33 | 2688949.2068 | 1252822.1409 | 2688974.4131 | 1252812.4119
34 | 2689000.4513 | 1252735.1357 | 2688983.5309 | 1252742.6889
35 | 2689000.4513 | 1252735.1357 | 2689010.0597 | 1252753.6386 | 2689010.6708 | 1252755.4198
36 | 2688966.7532 | 1252750.1785 | 2688983.5309 | 1252742.6889
37 | 2689022.2382 | 1252793.9524 | 2689016.885 | 1252773.5341 | 2689010.6708 | 1252755.4198
38 | 2689006.3428 | 1252833.7107 | 2689025.1299 | 1252824.4859 | 2689024.1048 | 1252809.3478 | 2689022.2382 | 1252793.9524
39 | 2689022.2382 | 1252793.9524 | 2689005.9251 | 1252800.2489
40 | 2689006.3428 | 1252833.7107 | 2689004.2885 | 1252829.7991
41 | 2688985.986 | 1252839.4204 | 2688992.6666 | 1252835.7958 | 2688994.5732 | 1252839.4939 | 2689006.3428 | 1252833.7107
42 | 2689005.9251 | 1252800.2489 | 2688974.4131 | 1252812.4119
43 | 2688985.986 | 1252839.4204 | 2688984.1813 | 1252835.9685
44 | 2688880.7048 | 1252595.2089 | 2688891.4019 | 1252611.1149
45 | 2688880.7048 | 1252595.2089 | 2688913.8041 | 1252571.7765 | 2688921.4971 | 1252575.139 | 2688926.0409 | 1252577.1198
46 | 2688891.4019 | 1252611.1149 | 2688891.4019 | 1252611.1149 | 2688877.088 | 1252621.0145
47 | 2688799.9969 | 1252714.3344 | 2688776.4069 | 1252726.5954
48 | 2688799.9969 | 1252714.3344 | 2688818.9196 | 1252749.4004
49 | 2688805.4494 | 1252676.1471 | 2688805.1085 | 1252676.3149
50 | 2688732.2279 | 1252685.8863 | 2688713.0621 | 1252707.1335
51 | 2688724.7321 | 1252798.1317 | 2688705.5677 | 1252808.0471 | 2688697.0886 | 1252812.4301
52 | 2688756.6568 | 1252781.6142 | 2688724.7321 | 1252798.1317
53 | 2688945.7069 | 1252690.2864 | 2688946.207 | 1252690.093
54 | 2688947.6902 | 1252758.6882 | 2688966.7532 | 1252750.1785
55 | 2688844.0878 | 1252818.8753 | 2688805.6913 | 1252834.4685
56 | 2688844.0878 | 1252818.8753 | 2688854.6924 | 1252814.7756 | 2688848.6292 | 1252802.909
57 | 2688848.6292 | 1252802.909 | 2688862.2586 | 1252796.8248
58 | 2688848.6292 | 1252802.909 | 2688818.9196 | 1252749.4004
59 | 2688799.1516 | 1252759.623 | 2688794.0732 | 1252762.251
60 | 2688799.1516 | 1252759.623 | 2688818.9196 | 1252749.4004
61 | 2688794.0732 | 1252762.251 | 2688765.0082 | 1252777.2916 | 2688758.3256 | 1252780.7504
62 | 2688818.9196 | 1252749.4004 | 2688836.2542 | 1252740.0299
63 | 2688756.6568 | 1252781.6142 | 2688758.3256 | 1252780.7504
64 | 2688862.2586 | 1252796.8248 | 2688864.1125 | 1252795.9972
65 | 2688807.6907 | 1252645.1746 | 2688820.5048 | 1252632.9445
66 | 2688833.6177 | 1252634.9443 | 2688830.6422 | 1252636.0783 | 2688822.476 | 1252631.0632 | 2688820.5048 | 1252632.9445
67 | 2688807.6907 | 1252645.1746 | 2688788.7675 | 1252624.7087 | 2688801.9742 | 1252609.1604
68 | 2688833.6177 | 1252634.9443 | 2688841.4824 | 1252655.3255
69 | 2688841.4824 | 1252655.3255 | 2688842.517 | 1252658.0065 | 2688830.2071 | 1252664.0133
70 | 2688818.0436 | 1252669.9487 | 2688830.0634 | 1252664.0834
71 | 2688818.0436 | 1252669.9487 | 2688805.4494 | 1252676.1471
72 | 2688830.2071 | 1252664.0133 | 2688830.0634 | 1252664.0834
73 | 2688925.6296 | 1252698.1272 | 2688928.6497 | 1252696.8839 | 2688945.7069 | 1252690.2864
74 | 2688836.2542 | 1252740.0299 | 2688842.4217 | 1252736.6959
75 | 2688861.5877 | 1252726.3354 | 2688842.4217 | 1252736.6959
76 | 2688861.5877 | 1252726.3354 | 2688868.6961 | 1252722.4928 | 2688892.3318 | 1252712.2005
77 | 2688892.3318 | 1252712.2005 | 2688901.6823 | 1252708.1288
78 | 2688758.9911 | 1252735.6474 | 2688776.4069 | 1252726.5954
79 | 2688907.6977 | 1252705.5094 | 2688901.6823 | 1252708.1288
80 | 2688758.9911 | 1252735.6474 | 2688742.8838 | 1252743.933
81 | 2688864.1125 | 1252795.9972 | 2688886.7221 | 1252785.9043
82 | 2688897.9667 | 1252683.8174 | 2688894.6897 | 1252676.5123
83 | 2688907.6977 | 1252705.5094 | 2688897.9667 | 1252683.8174
84 | 2688894.6897 | 1252676.5123 | 2688889.147 | 1252664.1566
85 | 2688907.6977 | 1252705.5094 | 2688920.144 | 1252700.3855
86 | 2688886.711 | 1252658.7263 | 2688889.147 | 1252664.1566
87 | 2688925.6296 | 1252698.1272 | 2688920.144 | 1252700.3855
88 | 2688886.711 | 1252658.7263 | 2688878.7081 | 1252640.8866
89 | 2688709.8435 | 1252760.929 | 2688742.8838 | 1252743.933
90 | 2688910.0133 | 1252775.5071 | 2688918.4721 | 1252771.7311
91 | 2688910.0133 | 1252775.5071 | 2688891.7365 | 1252783.6659
92 | 2688935.0197 | 1252764.3443 | 2688918.4721 | 1252771.7311
93 | 2688886.7221 | 1252785.9043 | 2688891.7365 | 1252783.6659
94 | 2688947.6902 | 1252758.6882 | 2688935.0197 | 1252764.3443

## bus_geodata
| x | y | coords
0 | 2688752.1915 | 1252619.318
1 | 2688766.3421 | 1252601.4618
2 | 2688741.0142 | 1252633.4222
3 | 2688769.3346 | 1252586.3015
4 | 2688759.7799 | 1252655.3422
5 | 2688706.7002 | 1252642.2929
6 | 2688734.2315 | 1252559.638
7 | 2688784.1256 | 1252686.642
8 | 2688744.4605 | 1252672.3252
9 | 2688720.4275 | 1252548.171
10 | 2688734.8854 | 1252532.315
11 | 2688689.2575 | 1252627.7652
12 | 2688692.7655 | 1252662.2496
13 | 2688664.1434 | 1252609.9312
14 | 2688688.3682 | 1252626.9999
15 | 2688650.5819 | 1252625.2399
16 | 2688651.1501 | 1252692.3998
17 | 2688678.1478 | 1252678.6711
18 | 2688563.3328 | 1252742.814
19 | 2688638.5845 | 1252681.42
20 | 2688558.0039 | 1252729.8252
21 | 2688849.1014 | 1252576.3094
22 | 2688865.5887 | 1252599.163
23 | 2688833.2382 | 1252587.7607
24 | 2688971.8209 | 1252680.1859
25 | 2688950.5638 | 1252688.4078
26 | 2688954.3153 | 1252644.7584
27 | 2688933.9655 | 1252828.8424
28 | 2688919.3652 | 1252836.6238
29 | 2688949.2068 | 1252822.1409
30 | 2689000.4513 | 1252735.1357
31 | 2688983.5309 | 1252742.6889
32 | 2689010.6708 | 1252755.4198
33 | 2689022.2382 | 1252793.9524
34 | 2689006.3428 | 1252833.7107
35 | 2689005.9251 | 1252800.2489
36 | 2689004.2885 | 1252829.7991
37 | 2688985.986 | 1252839.4204
38 | 2688880.7048 | 1252595.2089
39 | 2688847.3797 | 1252611.4919
40 | 2688926.0409 | 1252577.1198
41 | 2688984.1813 | 1252835.9685
42 | 2688891.4019 | 1252611.1149
43 | 2688799.9969 | 1252714.3344
44 | 2688805.1085 | 1252676.3149
45 | 2688732.2279 | 1252685.8863
46 | 2688697.0886 | 1252812.4302
47 | 2688724.7321 | 1252798.1317
48 | 2688946.207 | 1252690.093
49 | 2688974.4131 | 1252812.4119
50 | 2688966.7532 | 1252750.1785
51 | 2688844.0878 | 1252818.8753
52 | 2688805.6913 | 1252834.4685
53 | 2688848.6292 | 1252802.909
54 | 2688799.1516 | 1252759.623
55 | 2688794.0732 | 1252762.251
56 | 2688818.9196 | 1252749.4004
57 | 2688756.6568 | 1252781.6142
58 | 2688758.3256 | 1252780.7504
59 | 2688862.2586 | 1252796.8248
60 | 2688877.088 | 1252621.0145
61 | 2688820.5048 | 1252632.9445
62 | 2688807.6907 | 1252645.1746
63 | 2688833.6177 | 1252634.9443
64 | 2688801.9742 | 1252609.1604
65 | 2688841.4824 | 1252655.3255
66 | 2688818.0436 | 1252669.9487
67 | 2688830.0634 | 1252664.0834
68 | 2688805.4494 | 1252676.1471
69 | 2688830.2071 | 1252664.0133
70 | 2688945.7069 | 1252690.2864
71 | 2688836.2542 | 1252740.0299
72 | 2688842.4217 | 1252736.6959
73 | 2688861.5877 | 1252726.3354
74 | 2688892.3318 | 1252712.2005
75 | 2688776.4069 | 1252726.5954
76 | 2688901.6823 | 1252708.1288
77 | 2688758.9911 | 1252735.6474
78 | 2688864.1125 | 1252795.9972
79 | 2688897.9667 | 1252683.8174
80 | 2688894.6897 | 1252676.5123
81 | 2688907.6977 | 1252705.5094
82 | 2688889.147 | 1252664.1566
83 | 2688920.144 | 1252700.3855
84 | 2688886.711 | 1252658.7263
85 | 2688925.6296 | 1252698.1272
86 | 2688878.7081 | 1252640.8866
87 | 2688713.0621 | 1252707.1335
88 | 2688742.8838 | 1252743.933
89 | 2688709.8435 | 1252760.929
90 | 2688910.0133 | 1252775.5071
91 | 2688918.4721 | 1252771.7311
92 | 2688891.7365 | 1252783.6659
93 | 2688935.0197 | 1252764.3443
94 | 2688886.7221 | 1252785.9043
95 | 2688947.6902 | 1252758.6882
96 | 2688799.9969 | 1252714.3344

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1