## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_544-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_544-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_544-12_0_4_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_544-12_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_544-12_0_4_node_27 | 0.4 | n |  | TRUE
5 | bus_LV_544-12_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_544-12_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_544-12_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_544-12_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_544-12_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_544-12_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_544-12_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_544-12_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_544-12_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_544-12_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_544-12_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_544-12_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_544-12_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_544-12_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_544-12_0_4_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_544-12_0_4_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_544-12_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_544-12_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_544-12_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_544-12_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_544-12_0_4_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_544-12_0_4_node_108 | 0.4 | n |  | TRUE
27 | bus_LV_544-12_0_4_node_73 | 0.4 | n |  | TRUE
28 | bus_LV_544-12_0_4_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_544-12_0_4_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_544-12_0_4_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_544-12_0_4_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_544-12_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_544-12_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_544-12_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_544-12_0_4_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_544-12_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_544-12_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_544-12_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_544-12_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_544-12_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_544-12_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_544-12_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_544-12_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_544-12_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_544-12_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_544-12_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_544-12_0_4_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_544-12_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_544-12_0_4_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_544-12_0_4_node_125 | 0.4 | n |  | TRUE
51 | bus_LV_544-12_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_544-12_0_4_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_544-12_0_4_node_126 | 0.4 | n |  | TRUE
54 | bus_LV_544-12_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_544-12_0_4_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_544-12_0_4_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_544-12_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_544-12_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_544-12_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_544-12_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_544-12_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_544-12_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_544-12_0_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_544-12_0_4_node_112 | 0.4 | n |  | TRUE
65 | bus_LV_544-12_0_4_node_105 | 0.4 | n |  | TRUE
66 | bus_LV_544-12_0_4_node_114 | 0.4 | n |  | TRUE
67 | bus_LV_544-12_0_4_node_111 | 0.4 | n |  | TRUE
68 | bus_LV_544-12_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_544-12_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_544-12_0_4_node_128 | 0.4 | n |  | TRUE
71 | bus_LV_544-12_0_4_node_107 | 0.4 | n |  | TRUE
72 | bus_LV_544-12_0_4_node_127 | 0.4 | n |  | TRUE
73 | bus_LV_544-12_0_4_node_106 | 0.4 | n |  | TRUE
74 | bus_LV_544-12_0_4_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_544-12_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_544-12_0_4_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_544-12_0_4_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_544-12_0_4_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_544-12_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_544-12_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_544-12_0_4_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_544-12_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_544-12_0_4_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_544-12_0_4_node_124 | 0.4 | n |  | TRUE
85 | bus_LV_544-12_0_4_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_544-12_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_544-12_0_4_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_544-12_0_4_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_544-12_0_4_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_544-12_0_4_node_96 | 0.4 | n |  | TRUE
91 | bus_LV_544-12_0_4_node_121 | 0.4 | n |  | TRUE
92 | bus_LV_544-12_0_4_node_122 | 0.4 | n |  | TRUE
93 | bus_LV_544-12_0_4_node_97 | 0.4 | n |  | TRUE
94 | bus_LV_544-12_0_4_node_120 | 0.4 | n |  | TRUE
95 | bus_LV_544-12_0_4_node_123 | 0.4 | n |  | TRUE
96 | bus_LV_544-12_0_4_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_544-12_0_4_node_74 | 0.4 | n |  | TRUE
98 | bus_LV_544-12_0_4_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_544-12_0_4_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_544-12_0_4_node_77 | 0.4 | n |  | TRUE
101 | bus_LV_544-12_0_4_node_79 | 0.4 | n |  | TRUE
102 | bus_LV_544-12_0_4_node_81 | 0.4 | n |  | TRUE
103 | bus_LV_544-12_0_4_node_103 | 0.4 | n |  | TRUE
104 | bus_LV_544-12_0_4_node_102 | 0.4 | n |  | TRUE
105 | bus_LV_544-12_0_4_node_84 | 0.4 | n |  | TRUE
106 | bus_LV_544-12_0_4_node_85 | 0.4 | n |  | TRUE
107 | bus_LV_544-12_0_4_node_86 | 0.4 | n |  | TRUE
108 | bus_LV_544-12_0_4_node_87 | 0.4 | n |  | TRUE
109 | bus_LV_544-12_0_4_node_90 | 0.4 | n |  | TRUE
110 | bus_LV_544-12_0_4_node_91 | 0.4 | n |  | TRUE
111 | bus_LV_544-12_0_4_node_88 | 0.4 | n |  | TRUE
112 | bus_LV_544-12_0_4_node_92 | 0.4 | n |  | TRUE
113 | bus_LV_544-12_0_4_node_93 | 0.4 | n |  | TRUE
114 | bus_LV_544-12_0_4_node_116 | 0.4 | n |  | TRUE
115 | bus_LV_544-12_0_4_node_118 | 0.4 | n |  | TRUE
116 | bus_LV_544-12_0_4_node_129 | 0.4 | n |  | TRUE
117 | bus_LV_544-12_0_4_node_100 | 0.4 | n |  | TRUE
118 | bus_LV_544-12_0_4_node_113 | 0.4 | n |  | TRUE
119 | bus_LV_544-12_0_4_node_98 | 0.4 | n |  | TRUE
120 | bus_LV_544-12_0_4_node_119 | 0.4 | n |  | TRUE
121 | bus_LV_544-12_0_4_node_99 | 0.4 | n |  | TRUE
122 | bus_LV_544-12_0_4_node_101 | 0.4 | n |  | TRUE
123 | bus_LV_544-12_0_4_node_110 | 0.4 | n |  | TRUE
124 | bus_LV_544-12_0_4_node_130 | 0.4 | n |  | TRUE
125 | bus_MV_429_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_544-12_0_4_load_0 | 0 | 0.0032804 | 0.00082215 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_544-12_0_4_load_1 | 1 | 0.00087716 | 0.00021984 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_544-12_0_4_load_18 | 2 | 0.0024927 | 0.00062472 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_544-12_0_4_load_2 | 3 | 0.0023886 | 0.00059863 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_544-12_0_4_load_27 | 4 | 0.0029984 | 0.00075147 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_544-12_0_4_load_12 | 5 | 0.0030323 | 0.00075996 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_544-12_0_4_load_3 | 6 | 0.002469 | 0.00061879 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_544-12_0_4_load_15 | 8 | 0.0023552 | 0.00059027 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_544-12_0_4_load_5 | 9 | 0.00059432 | 0.00014895 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_544-12_0_4_load_9 | 11 | 0.00093882 | 0.00023529 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_544-12_0_4_load_16 | 12 | 0.0024474 | 0.00061337 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_544-12_0_4_load_7 | 13 | 0.00099714 | 0.00024991 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_544-12_0_4_load_6 | 14 | 0.012865 | 0.0032243 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_544-12_0_4_load_10 | 16 | 0.0074607 | 0.0018698 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_544-12_0_4_load_11 | 17 | 0.0032435 | 0.0008129 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_544-12_0_4_load_22 | 18 | 0.0036242 | 0.00090831 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_544-12_0_4_load_24 | 19 | 0.0028852 | 0.00072309 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_544-12_0_4_load_20 | 20 | 0.00091324 | 0.00022888 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_544-12_0_4_load_26 | 21 | 0.00095985 | 0.00024056 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_544-12_0_4_load_13 | 22 | 0.0074663 | 0.0018712 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_544-12_0_4_load_14 | 23 | 0.002805 | 0.00070301 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_544-12_0_4_load_19 | 24 | 0.002641 | 0.00066189 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_544-12_0_4_load_108 | 26 | 0.0022114 | 0.00055422 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_544-12_0_4_load_73 | 27 | 0.0015151 | 0.00037972 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_544-12_0_4_load_41 | 29 | 0.014369 | 0.0036013 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_544-12_0_4_load_83 | 30 | 0.0024413 | 0.00061184 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_544-12_0_4_load_94 | 31 | 0.0012509 | 0.00031349 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_544-12_0_4_load_28 | 32 | 0.0017667 | 0.00044278 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_544-12_0_4_load_21 | 33 | 0.0023476 | 0.00058835 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_544-12_0_4_load_23 | 34 | 0.0058393 | 0.0014635 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_544-12_0_4_load_95 | 35 | 0.0074949 | 0.0018784 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_544-12_0_4_load_25 | 36 | 0.00060982 | 0.00015284 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_544-12_0_4_load_29 | 37 | 0.0029507 | 0.00073952 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_544-12_0_4_load_31 | 38 | 0.0028736 | 0.00072018 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_544-12_0_4_load_32 | 39 | 0.002828 | 0.00070876 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_544-12_0_4_load_35 | 42 | 0.0024878 | 0.0006235 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_544-12_0_4_load_36 | 43 | 0.0032271 | 0.00080878 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_544-12_0_4_load_38 | 44 | 0.0028368 | 0.00071097 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_544-12_0_4_load_80 | 47 | 0.0027128 | 0.00067989 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_544-12_0_4_load_53 | 48 | 0.0094125 | 0.002359 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_544-12_0_4_load_82 | 49 | 0.0029646 | 0.00074301 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_544-12_0_4_load_125 | 50 | 0.0026893 | 0.000674 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_544-12_0_4_load_51 | 51 | 0.0073088 | 0.0018317 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_544-12_0_4_load_126 | 53 | 0.0021337 | 0.00053475 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_544-12_0_4_load_40 | 54 | 0.0085712 | 0.0021482 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_544-12_0_4_load_64 | 55 | 0.0085686 | 0.0021475 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_544-12_0_4_load_60 | 56 | 0.0074791 | 0.0018744 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_544-12_0_4_load_44 | 57 | 0.0022698 | 0.00056887 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_544-12_0_4_load_45 | 58 | 0.0023925 | 0.00059962 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_544-12_0_4_load_46 | 59 | 0.0023631 | 0.00059226 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_544-12_0_4_load_48 | 60 | 0.0022698 | 0.00056887 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_544-12_0_4_load_50 | 61 | 0.0023654 | 0.00059282 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_544-12_0_4_load_49 | 62 | 0.0024733 | 0.00061986 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_544-12_0_4_load_104 | 63 | 0.0024139 | 0.00060499 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_544-12_0_4_load_105 | 65 | 0.002241 | 0.00056164 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_544-12_0_4_load_111 | 67 | 0.002679 | 0.00067141 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_544-12_0_4_load_52 | 68 | 0.006969 | 0.0017466 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_544-12_0_4_load_54 | 69 | 0.0012329 | 0.00030898 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_544-12_0_4_load_128 | 70 | 0.0024122 | 0.00060456 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_544-12_0_4_load_107 | 71 | 0.0024724 | 0.00061964 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_544-12_0_4_load_127 | 72 | 0.0022418 | 0.00056185 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_544-12_0_4_load_106 | 73 | 0.0023472 | 0.00058827 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_544-12_0_4_load_56 | 74 | 0.0075715 | 0.0018976 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_544-12_0_4_load_58 | 76 | 0.0074264 | 0.0018612 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_544-12_0_4_load_61 | 78 | 0.0087887 | 0.0022027 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_544-12_0_4_load_63 | 80 | 0.0021705 | 0.00054399 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_544-12_0_4_load_65 | 81 | 0.0095207 | 0.0023861 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_544-12_0_4_load_66 | 83 | 0.0099721 | 0.0024993 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_544-12_0_4_load_124 | 84 | 0.0080765 | 0.0020242 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_544-12_0_4_load_71 | 85 | 0.010035 | 0.0025151 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_544-12_0_4_load_72 | 86 | 0.013104 | 0.0032842 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_544-12_0_4_load_67 | 87 | 0.0095282 | 0.002388 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_544-12_0_4_load_68 | 88 | 0.0092868 | 0.0023275 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_544-12_0_4_load_70 | 89 | 0.0094133 | 0.0023592 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_544-12_0_4_load_96 | 90 | 0.035297 | 0.0088463 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_544-12_0_4_load_121 | 91 | 0.0056694 | 0.0014209 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_544-12_0_4_load_122 | 92 | 0.0065104 | 0.0016317 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_544-12_0_4_load_97 | 93 | 0.0096148 | 0.0024097 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_544-12_0_4_load_120 | 94 | 0.0059569 | 0.0014929 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_544-12_0_4_load_89 | 96 | 0.0013854 | 0.00034721 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_544-12_0_4_load_74 | 97 | 0.0022106 | 0.00055402 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_544-12_0_4_load_75 | 98 | 0.0025523 | 0.00063967 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_544-12_0_4_load_77 | 100 | 0.0022077 | 0.0005533 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_544-12_0_4_load_79 | 101 | 0.002805 | 0.00070301 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_544-12_0_4_load_81 | 102 | 0.0022114 | 0.00055422 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_544-12_0_4_load_84 | 105 | 0.0018672 | 0.00046795 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_544-12_0_4_load_85 | 106 | 0.0036551 | 0.00091607 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_544-12_0_4_load_90 | 109 | 0.0026124 | 0.00065473 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_544-12_0_4_load_91 | 110 | 0.0023024 | 0.00057703 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_544-12_0_4_load_93 | 113 | 0.0029937 | 0.00075028 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_544-12_0_4_load_116 | 114 | 0.0026485 | 0.00066379 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_544-12_0_4_load_118 | 115 | 0.0029283 | 0.00073389 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_544-12_0_4_load_129 | 116 | 0.002461 | 0.00061679 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_544-12_0_4_load_100 | 117 | 0.0027124 | 0.0006798 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_544-12_0_4_load_113 | 118 | 0.0025019 | 0.00062703 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_544-12_0_4_load_119 | 120 | 0.0096508 | 0.0024187 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_544-12_0_4_load_99 | 121 | 0.0025615 | 0.00064197 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_544-12_0_4_load_101 | 122 | 0.002769 | 0.00069398 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_544-12_0_4_load_130 | 124 | 0.0047907 | 0.0012007 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_544-12_0_4_line_0 |  | 0 | 1 | 0.018755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_544-12_0_4_line_1 |  | 0 | 2 | 0.054055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_544-12_0_4_line_2 |  | 1 | 3 | 0.016604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_544-12_0_4_line_3 |  | 2 | 4 | 0.024304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_544-12_0_4_line_4 |  | 2 | 5 | 0.026399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_544-12_0_4_line_5 |  | 3 | 6 | 0.038214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_544-12_0_4_line_6 |  | 3 | 7 | 0.25891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_544-12_0_4_line_7 |  | 4 | 32 | 0.0087032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_544-12_0_4_line_8 |  | 5 | 10 | 0.015932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_544-12_0_4_line_9 |  | 5 | 11 | 0.028481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_544-12_0_4_line_10 |  | 6 | 8 | 0.0026987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_544-12_0_4_line_11 |  | 7 | 9 | 0.030411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_544-12_0_4_line_12 |  | 8 | 12 | 4.0119e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_544-12_0_4_line_13 |  | 10 | 27 | 0.0048137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_544-12_0_4_line_14 |  | 11 | 13 | 0.0025666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_544-12_0_4_line_15 |  | 12 | 21 | 7.5223e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_544-12_0_4_line_16 |  | 13 | 14 | 0.027249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_544-12_0_4_line_17 |  | 14 | 15 | 0.01447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_544-12_0_4_line_18 |  | 15 | 16 | 0.022715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_544-12_0_4_line_19 |  | 15 | 17 | 0.020398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_544-12_0_4_line_20 |  | 16 | 22 | 0.0025617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_544-12_0_4_line_21 |  | 17 | 23 | 0.0091355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_544-12_0_4_line_22 |  | 18 | 19 | 0.00023798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_544-12_0_4_line_23 |  | 18 | 20 | 0.020334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_544-12_0_4_line_24 |  | 19 | 21 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_544-12_0_4_line_25 |  | 20 | 24 | 0.012381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_544-12_0_4_line_26 |  | 22 | 25 | 0.007488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_544-12_0_4_line_27 |  | 23 | 26 | 0.0059852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_544-12_0_4_line_28 |  | 24 | 33 | 0.004353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_544-12_0_4_line_29 |  | 25 | 28 | 0.010562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_544-12_0_4_line_30 |  | 25 | 29 | 0.038497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_544-12_0_4_line_31 |  | 26 | 30 | 0.0096084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_544-12_0_4_line_32 |  | 27 | 31 | 0.0074417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_544-12_0_4_line_33 |  | 28 | 55 | 0.01677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_544-12_0_4_line_34 |  | 28 | 35 | 0.006958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_544-12_0_4_line_35 |  | 29 | 54 | 0.010792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_544-12_0_4_line_36 |  | 30 | 101 | 0.0063634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_544-12_0_4_line_37 |  | 31 | 96 | 0.0070927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_544-12_0_4_line_38 |  | 32 | 37 | 0.013479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_544-12_0_4_line_39 |  | 33 | 34 | 0.0057845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_544-12_0_4_line_40 |  | 34 | 36 | 0.01389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_544-12_0_4_line_41 |  | 38 | 39 | 0.006116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_544-12_0_4_line_42 |  | 38 | 40 | 0.0085098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_544-12_0_4_line_43 |  | 39 | 41 | 0.0064841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_544-12_0_4_line_44 |  | 40 | 42 | 0.0040062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_544-12_0_4_line_45 |  | 40 | 43 | 0.0086081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_544-12_0_4_line_46 |  | 41 | 44 | 0.0049708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_544-12_0_4_line_47 |  | 42 | 45 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_544-12_0_4_line_48 |  | 43 | 46 | 0.0040355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_544-12_0_4_line_49 |  | 44 | 49 | 0.0065191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_544-12_0_4_line_50 |  | 45 | 47 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_544-12_0_4_line_51 |  | 45 | 48 | 0.022105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_544-12_0_4_line_52 |  | 46 | 50 | 0.0090257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_544-12_0_4_line_53 |  | 48 | 51 | 0.028511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_544-12_0_4_line_54 |  | 49 | 52 | 0.015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_544-12_0_4_line_55 |  | 50 | 53 | 0.0043323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_544-12_0_4_line_56 |  | 51 | 68 | 0.00071933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_544-12_0_4_line_57 |  | 52 | 102 | 0.010869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_544-12_0_4_line_58 |  | 52 | 99 | 0.003641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_544-12_0_4_line_59 |  | 53 | 72 | 0.0058315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_544-12_0_4_line_60 |  | 55 | 56 | 0.005291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_544-12_0_4_line_61 |  | 56 | 76 | 0.023736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_544-12_0_4_line_62 |  | 57 | 58 | 0.0061309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_544-12_0_4_line_63 |  | 57 | 59 | 0.0060929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_544-12_0_4_line_64 |  | 59 | 60 | 0.0097442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_544-12_0_4_line_65 |  | 60 | 61 | 0.006091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_544-12_0_4_line_66 |  | 61 | 64 | 0.015588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_544-12_0_4_line_67 |  | 62 | 63 | 0.018535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_544-12_0_4_line_68 |  | 63 | 65 | 0.0059162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_544-12_0_4_line_69 |  | 64 | 66 | 0.012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_544-12_0_4_line_70 |  | 64 | 67 | 0.010438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_544-12_0_4_line_71 |  | 65 | 73 | 0.0058314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_544-12_0_4_line_72 |  | 66 | 115 | 0.0047796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_544-12_0_4_line_73 |  | 67 | 118 | 0.0081418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_544-12_0_4_line_74 |  | 68 | 69 | 0.014734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_544-12_0_4_line_75 |  | 70 | 71 | 0.01448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_544-12_0_4_line_76 |  | 70 | 72 | 0.005916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_544-12_0_4_line_77 |  | 71 | 73 | 0.0055569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_544-12_0_4_line_78 |  | 74 | 75 | 0.024835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_544-12_0_4_line_79 |  | 74 | 76 | 0.012678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_544-12_0_4_line_80 |  | 75 | 77 | 0.018154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_544-12_0_4_line_81 |  | 76 | 78 | 0.020092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_544-12_0_4_line_82 |  | 77 | 79 | 0.031002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_544-12_0_4_line_83 |  | 77 | 80 | 0.0075416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_544-12_0_4_line_84 |  | 78 | 81 | 0.031717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_544-12_0_4_line_85 |  | 79 | 82 | 0.009691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_544-12_0_4_line_86 |  | 79 | 83 | 0.019577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_544-12_0_4_line_87 |  | 81 | 84 | 0.006638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_544-12_0_4_line_88 |  | 82 | 85 | 0.027696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_544-12_0_4_line_89 |  | 82 | 86 | 0.017999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_544-12_0_4_line_90 |  | 83 | 87 | 0.010693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_544-12_0_4_line_91 |  | 85 | 91 | 0.013316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_544-12_0_4_line_92 |  | 86 | 92 | 0.034039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_544-12_0_4_line_93 |  | 87 | 88 | 0.012019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_544-12_0_4_line_94 |  | 89 | 90 | 0.031322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_544-12_0_4_line_95 |  | 90 | 93 | 0.027929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_544-12_0_4_line_96 |  | 91 | 94 | 0.0012854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_544-12_0_4_line_97 |  | 92 | 95 | 0.045423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_544-12_0_4_line_98 |  | 93 | 119 | 0.018094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_544-12_0_4_line_99 |  | 94 | 120 | 0.010707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_544-12_0_4_line_100 |  | 95 | 123 | 0.042439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_544-12_0_4_line_101 |  | 96 | 107 | 0.021598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_544-12_0_4_line_102 |  | 97 | 98 | 0.020637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_544-12_0_4_line_103 |  | 97 | 99 | 0.021159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_544-12_0_4_line_104 |  | 98 | 100 | 0.0093108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_544-12_0_4_line_105 |  | 99 | 101 | 0.01069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_544-12_0_4_line_106 |  | 102 | 103 | 0.014132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_544-12_0_4_line_107 |  | 103 | 104 | 0.014347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_544-12_0_4_line_108 |  | 104 | 117 | 0.001146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_544-12_0_4_line_109 |  | 104 | 109 | 0.0058624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_544-12_0_4_line_110 |  | 105 | 106 | 0.012041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_544-12_0_4_line_111 |  | 105 | 107 | 0.02559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_544-12_0_4_line_112 |  | 108 | 109 | 0.013476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_544-12_0_4_line_113 |  | 108 | 110 | 0.01513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_544-12_0_4_line_114 |  | 110 | 114 | 0.0068796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_544-12_0_4_line_115 |  | 111 | 112 | 0.0135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_544-12_0_4_line_116 |  | 111 | 113 | 0.0080861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_544-12_0_4_line_117 |  | 112 | 115 | 0.020295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_544-12_0_4_line_118 |  | 112 | 116 | 0.0028591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_544-12_0_4_line_119 |  | 114 | 118 | 0.0060553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_544-12_0_4_line_120 |  | 117 | 121 | 0.011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_544-12_0_4_line_121 |  | 119 | 120 | 0.029182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_544-12_0_4_line_122 |  | 121 | 122 | 0.006313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_544-12_0_4_line_123 |  | 123 | 124 | 0.044449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_544-12_0_4_trafo_40 | 0.63 MVA 20/0.4 kV | 125 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2603567.1628 | 1206621.3888 | 2603584.7054 | 1206628.0219
1 | 2603545.6213 | 1206670.9666 | 2603567.1628 | 1206621.3888
2 | 2603584.7054 | 1206628.0219 | 2603600.2365 | 1206633.8944
3 | 2603545.6213 | 1206670.9666 | 2603544.4456 | 1206670.1846 | 2603523.1832 | 1206661.7032
4 | 2603567.1724 | 1206686.1621 | 2603562.1106 | 1206681.9346 | 2603545.6213 | 1206670.9666
5 | 2603600.2365 | 1206633.8944 | 2603623.5673 | 1206642.7161 | 2603633.49 | 1206651.5291
6 | 2603600.2365 | 1206633.8944 | 2603705.0735 | 1206397.1641
7 | 2603523.1832 | 1206661.7032 | 2603515.0994 | 1206658.4786
8 | 2603567.1724 | 1206686.1621 | 2603553.3208 | 1206694.1028
9 | 2603567.1724 | 1206686.1621 | 2603577.2505 | 1206694.5615 | 2603585.4057 | 1206701.3589 | 2603589.3385 | 1206698.7043 | 2603589.3385 | 1206698.7043
10 | 2603633.49 | 1206651.5291 | 2603635.5077 | 1206653.3211
11 | 2603705.0735 | 1206397.1641 | 2603729.2093 | 1206378.6631
12 | 2603635.5377 | 1206653.3478 | 2603635.5077 | 1206653.3211
13 | 2603553.3208 | 1206694.1028 | 2603549.1435 | 1206696.495
14 | 2603591.3042 | 1206700.3545 | 2603589.3385 | 1206698.7043
15 | 2603635.5939 | 1206653.3977 | 2603635.5377 | 1206653.3478
16 | 2603612.3701 | 1206717.6376 | 2603597.5012 | 1206705.5573 | 2603591.3042 | 1206700.3545
17 | 2603623.6009 | 1206726.7621 | 2603612.3701 | 1206717.6376
18 | 2603623.6009 | 1206726.7621 | 2603640.651 | 1206741.7707
19 | 2603623.6009 | 1206726.7621 | 2603609.5496 | 1206741.548
20 | 2603640.651 | 1206741.7707 | 2603642.5739 | 1206743.4633
21 | 2603609.5496 | 1206741.548 | 2603605.8725 | 1206745.4174 | 2603602.6134 | 1206747.3668
22 | 2603653.9812 | 1206669.7287 | 2603653.8033 | 1206669.5707
23 | 2603669.1827 | 1206683.2337 | 2603664.2124 | 1206678.8158 | 2603653.9812 | 1206669.7287
24 | 2603653.8033 | 1206669.5707 | 2603635.5939 | 1206653.3977
25 | 2603669.1827 | 1206683.2337 | 2603672.3976 | 1206686.0913 | 2603680.424 | 1206687.0161
26 | 2603648.1945 | 1206748.4109 | 2603642.5739 | 1206743.4633
27 | 2603597.477 | 1206750.4392 | 2603602.6134 | 1206747.3668
28 | 2603684.7484 | 1206687.5144 | 2603680.424 | 1206687.0161
29 | 2603655.5734 | 1206755.975 | 2603652.1083 | 1206752.1153 | 2603648.1945 | 1206748.4109
30 | 2603648.1945 | 1206748.4109 | 2603642.2679 | 1206753.5657 | 2603624.7227 | 1206771.0537 | 2603620.202 | 1206774.7978
31 | 2603597.477 | 1206750.4392 | 2603589.2311 | 1206755.3715
32 | 2603542.6858 | 1206700.1931 | 2603549.1435 | 1206696.495
33 | 2603655.5734 | 1206755.975 | 2603662.1384 | 1206764.1613 | 2603665.6374 | 1206769.3725
34 | 2603655.5734 | 1206755.975 | 2603659.6982 | 1206750.3633
35 | 2603611.3423 | 1206780.9357 | 2603618.0964 | 1206776.5417 | 2603620.202 | 1206774.7978
36 | 2603583.7653 | 1206758.6298 | 2603584.6498 | 1206758.1118 | 2603589.2311 | 1206755.3715
37 | 2603542.6858 | 1206700.1931 | 2603536.5309 | 1206703.7178
38 | 2603502.5794 | 1206653.4845 | 2603515.0994 | 1206658.4786
39 | 2603690.4949 | 1206688.1764 | 2603684.7484 | 1206687.5144
40 | 2603690.4949 | 1206688.1764 | 2603704.294 | 1206689.7663
41 | 2603540.0468 | 1206777.3908 | 2603534.1484 | 1206779.0074
42 | 2603525.9413 | 1206781.2569 | 2603534.1484 | 1206779.0074
43 | 2603546.3003 | 1206775.6768 | 2603540.0468 | 1206777.3908
44 | 2603525.9413 | 1206781.2569 | 2603529.322 | 1206783.4064
45 | 2603525.9413 | 1206781.2569 | 2603518.7325 | 1206776.5524
46 | 2603546.3003 | 1206775.6768 | 2603548.9329 | 1206772.8656 | 2603550.0143 | 1206772.5762
47 | 2603541.2196 | 1206790.9711 | 2603529.322 | 1206783.4064
48 | 2603515.353 | 1206774.347 | 2603518.7325 | 1206776.5524
49 | 2603556.3117 | 1206770.8904 | 2603550.0143 | 1206772.5762
50 | 2603541.2196 | 1206790.9711 | 2603547.4599 | 1206795.3326 | 2603552.0884 | 1206799.1485 | 2603553.2782 | 1206800.6283
51 | 2603541.2196 | 1206790.9711 | 2603532.4861 | 1206811.2771
52 | 2603515.353 | 1206774.347 | 2603507.9514 | 1206779.5122
53 | 2603532.4861 | 1206811.2771 | 2603505.8628 | 1206821.4795
54 | 2603571.3232 | 1206765.7526 | 2603566.7518 | 1206768.0957 | 2603556.3117 | 1206770.8904
55 | 2603507.9514 | 1206779.5122 | 2603504.2673 | 1206781.7919
56 | 2603505.8628 | 1206821.4795 | 2603505.1911 | 1206821.7369
57 | 2603571.3232 | 1206765.7526 | 2603565.6855 | 1206756.4597
58 | 2603574.5407 | 1206764.0313 | 2603571.3232 | 1206765.7526
59 | 2603499.3084 | 1206784.8604 | 2603504.2673 | 1206781.7919
60 | 2603668.5868 | 1206773.7651 | 2603665.6374 | 1206769.3725
61 | 2603680.7347 | 1206794.1333 | 2603673.5189 | 1206781.1107 | 2603668.5868 | 1206773.7651
62 | 2603454.7469 | 1206775.4583 | 2603449.4835 | 1206778.6024
63 | 2603454.7469 | 1206775.4583 | 2603459.9775 | 1206772.3337
64 | 2603468.3429 | 1206767.3367 | 2603459.9775 | 1206772.3337
65 | 2603473.5719 | 1206764.2131 | 2603468.3429 | 1206767.3367
66 | 2603486.955 | 1206756.2207 | 2603484.7947 | 1206757.5091 | 2603473.5719 | 1206764.2131
67 | 2603468.0138 | 1206800.2586 | 2603458.792 | 1206805.9208 | 2603454.6506 | 1206799.4135
68 | 2603468.0138 | 1206800.2586 | 2603473.0555 | 1206797.163
69 | 2603486.955 | 1206756.2207 | 2603476.4879 | 1206749.978
70 | 2603486.955 | 1206756.2207 | 2603496.991 | 1206753.3536
71 | 2603473.0555 | 1206797.163 | 2603478.0249 | 1206794.1118
72 | 2603476.4879 | 1206749.978 | 2603478.3986 | 1206746.1659 | 2603478.2624 | 1206745.6688
73 | 2603504.8197 | 1206751.1171 | 2603496.991 | 1206753.3536
74 | 2603505.1911 | 1206821.7369 | 2603496.3063 | 1206825.1416 | 2603493.0908 | 1206821.0309
75 | 2603482.7604 | 1206791.2042 | 2603484.7967 | 1206793.8401 | 2603494.2777 | 1206787.9734
76 | 2603499.3084 | 1206784.8604 | 2603494.2777 | 1206787.9734
77 | 2603482.7604 | 1206791.2042 | 2603482.7604 | 1206791.2042 | 2603478.0249 | 1206794.1118
78 | 2603699.0251 | 1206826.8846 | 2603686.9162 | 1206805.202
79 | 2603680.7347 | 1206794.1333 | 2603686.9162 | 1206805.202
80 | 2603707.7599 | 1206842.8098 | 2603699.0251 | 1206826.8846
81 | 2603680.7347 | 1206794.1333 | 2603662.8312 | 1206803.2528
82 | 2603707.7599 | 1206842.8098 | 2603695.9219 | 1206853.1971 | 2603686.717 | 1206860.162 | 2603684.2593 | 1206863.0065
83 | 2603707.7599 | 1206842.8098 | 2603713.4871 | 1206837.9031
84 | 2603634.5696 | 1206817.6482 | 2603662.8312 | 1206803.2528
85 | 2603680.8853 | 1206872.0539 | 2603682.4321 | 1206866.7186 | 2603684.2593 | 1206863.0065
86 | 2603684.2593 | 1206863.0065 | 2603679.4789 | 1206858.957 | 2603672.9362 | 1206847.3641
87 | 2603628.6548 | 1206820.661 | 2603634.5696 | 1206817.6482
88 | 2603680.8853 | 1206872.0539 | 2603676.0338 | 1206872.4178 | 2603670.9311 | 1206873.3375 | 2603665.1437 | 1206874.8571 | 2603658.9828 | 1206877.7216 | 2603654.6787 | 1206879.9956
89 | 2603680.8853 | 1206872.0539 | 2603685.0134 | 1206873.3127 | 2603690.365 | 1206875.7617 | 2603697.1517 | 1206879.6018
90 | 2603672.9362 | 1206847.3641 | 2603667.6804 | 1206838.0515
91 | 2603654.6787 | 1206879.9956 | 2603642.9053 | 1206886.2159
92 | 2603726.7521 | 1206896.0172 | 2603726.7521 | 1206896.0172 | 2603721.5673 | 1206894.491 | 2603714.6728 | 1206890.9404 | 2603700.8091 | 1206881.6713 | 2603697.1517 | 1206879.6018
93 | 2603661.7732 | 1206827.5847 | 2603661.7732 | 1206827.5847 | 2603667.6804 | 1206838.0515
94 | 2603587.0284 | 1206863.7489 | 2603615.2229 | 1206850.1058
95 | 2603598.8446 | 1206889.0548 | 2603587.0284 | 1206863.7489 | 2603587.0284 | 1206863.7489
96 | 2603641.7687 | 1206886.8163 | 2603642.9053 | 1206886.2159
97 | 2603770.6401 | 1206885.683 | 2603738.9262 | 1206895.3465 | 2603732.8806 | 1206896.3656 | 2603726.7521 | 1206896.0172
98 | 2603606.5 | 1206905.4499 | 2603598.8446 | 1206889.0548
99 | 2603632.302 | 1206891.8179 | 2603641.7687 | 1206886.8163
100 | 2603758.5296 | 1206845.0088 | 2603760.0015 | 1206850.2125 | 2603770.6401 | 1206885.683
101 | 2603517.8176 | 1206706.8781 | 2603524.4538 | 1206710.684 | 2603524.5603 | 1206710.5729 | 2603536.5309 | 1206703.7178
102 | 2603584.0848 | 1206782.9143 | 2603587.3838 | 1206789.7196 | 2603587.177 | 1206792.3654 | 2603583.7082 | 1206794.7091 | 2603578.2541 | 1206797.7281
103 | 2603574.5407 | 1206764.0313 | 2603581.179 | 1206776.9201 | 2603584.0848 | 1206782.9143
104 | 2603570.1093 | 1206802.2393 | 2603570.146 | 1206802.2163 | 2603578.2541 | 1206797.7281
105 | 2603574.5407 | 1206764.0313 | 2603583.7653 | 1206758.6298
106 | 2603558.3557 | 1206744.3778 | 2603565.6855 | 1206756.4597
107 | 2603558.3557 | 1206744.3778 | 2603551.7202 | 1206739.5824 | 2603548.8719 | 1206734.0999
108 | 2603548.8719 | 1206734.0999 | 2603549.8428 | 1206733.491
109 | 2603548.8719 | 1206734.0999 | 2603543.7393 | 1206736.9324
110 | 2603507.9688 | 1206683.2595 | 2603507.9688 | 1206683.2595 | 2603500.6664 | 1206687.591 | 2603497.1177 | 1206687.4932
111 | 2603517.8176 | 1206706.8781 | 2603508.7206 | 1206685.0498 | 2603507.9688 | 1206683.2595
112 | 2603531.378 | 1206742.1386 | 2603538.3674 | 1206739.897 | 2603543.7393 | 1206736.9324
113 | 2603531.378 | 1206742.1386 | 2603522.251 | 1206745.8798 | 2603517.2082 | 1206747.3973
114 | 2603510.6204 | 1206749.3798 | 2603517.2082 | 1206747.3973
115 | 2603483.57 | 1206718.3758 | 2603477.7495 | 1206724.4203 | 2603472.8972 | 1206726.0962
116 | 2603483.57 | 1206718.3758 | 2603481.4194 | 1206710.5809
117 | 2603472.8972 | 1206726.0962 | 2603478.2624 | 1206745.6688
118 | 2603472.8972 | 1206726.0962 | 2603470.1342 | 1206726.8313
119 | 2603504.8197 | 1206751.1171 | 2603505.7323 | 1206750.8508 | 2603510.6204 | 1206749.3798
120 | 2603559.4112 | 1206727.4898 | 2603549.8428 | 1206733.491
121 | 2603606.5 | 1206905.4499 | 2603632.302 | 1206891.8179
122 | 2603559.4112 | 1206727.4898 | 2603564.7594 | 1206724.1355
123 | 2603758.5296 | 1206845.0088 | 2603719.0984 | 1206865.7404

## bus_geodata
| x | y | coords
0 | 2603567.1628 | 1206621.3888
1 | 2603584.7054 | 1206628.0219
2 | 2603545.6213 | 1206670.9666
3 | 2603600.2365 | 1206633.8944
4 | 2603523.1832 | 1206661.7032
5 | 2603567.1724 | 1206686.1621
6 | 2603633.49 | 1206651.5291
7 | 2603705.0735 | 1206397.1641
8 | 2603635.5077 | 1206653.3211
9 | 2603729.2093 | 1206378.6631
10 | 2603553.3208 | 1206694.1028
11 | 2603589.3385 | 1206698.7043
12 | 2603635.5377 | 1206653.3478
13 | 2603591.3042 | 1206700.3545
14 | 2603612.3701 | 1206717.6376
15 | 2603623.6009 | 1206726.7621
16 | 2603640.651 | 1206741.7707
17 | 2603609.5496 | 1206741.548
18 | 2603653.9812 | 1206669.7287
19 | 2603653.8033 | 1206669.5707
20 | 2603669.1827 | 1206683.2337
21 | 2603635.5939 | 1206653.3977
22 | 2603642.5739 | 1206743.4633
23 | 2603602.6134 | 1206747.3668
24 | 2603680.424 | 1206687.0161
25 | 2603648.1945 | 1206748.4109
26 | 2603597.477 | 1206750.4392
27 | 2603549.1435 | 1206696.495
28 | 2603655.5734 | 1206755.975
29 | 2603620.202 | 1206774.7978
30 | 2603589.2311 | 1206755.3715
31 | 2603542.6858 | 1206700.1931
32 | 2603515.0994 | 1206658.4786
33 | 2603684.7484 | 1206687.5143
34 | 2603690.4949 | 1206688.1764
35 | 2603659.6982 | 1206750.3633
36 | 2603704.294 | 1206689.7663
37 | 2603502.5794 | 1206653.4845
38 | 2603534.1484 | 1206779.0074
39 | 2603540.0468 | 1206777.3908
40 | 2603525.9413 | 1206781.2569
41 | 2603546.3003 | 1206775.6768
42 | 2603529.322 | 1206783.4064
43 | 2603518.7325 | 1206776.5524
44 | 2603550.0143 | 1206772.5762
45 | 2603541.2196 | 1206790.9711
46 | 2603515.353 | 1206774.347
47 | 2603553.2782 | 1206800.6283
48 | 2603532.4861 | 1206811.2771
49 | 2603556.3117 | 1206770.8904
50 | 2603507.9514 | 1206779.5122
51 | 2603505.8628 | 1206821.4795
52 | 2603571.3232 | 1206765.7526
53 | 2603504.2673 | 1206781.7919
54 | 2603611.3423 | 1206780.9357
55 | 2603665.6374 | 1206769.3725
56 | 2603668.5868 | 1206773.7651
57 | 2603454.7469 | 1206775.4583
58 | 2603449.4835 | 1206778.6024
59 | 2603459.9776 | 1206772.3337
60 | 2603468.3429 | 1206767.3367
61 | 2603473.5719 | 1206764.2131
62 | 2603454.6506 | 1206799.4135
63 | 2603468.0138 | 1206800.2586
64 | 2603486.955 | 1206756.2207
65 | 2603473.0555 | 1206797.163
66 | 2603476.4879 | 1206749.978
67 | 2603496.991 | 1206753.3536
68 | 2603505.1911 | 1206821.7369
69 | 2603493.0908 | 1206821.0309
70 | 2603494.2777 | 1206787.9734
71 | 2603482.7604 | 1206791.2042
72 | 2603499.3084 | 1206784.8604
73 | 2603478.0249 | 1206794.1118
74 | 2603686.9162 | 1206805.202
75 | 2603699.0251 | 1206826.8846
76 | 2603680.7347 | 1206794.1333
77 | 2603707.7599 | 1206842.8098
78 | 2603662.8312 | 1206803.2528
79 | 2603684.2593 | 1206863.0065
80 | 2603713.4871 | 1206837.9031
81 | 2603634.5696 | 1206817.6482
82 | 2603680.8853 | 1206872.0539
83 | 2603672.9362 | 1206847.3641
84 | 2603628.6548 | 1206820.661
85 | 2603654.6787 | 1206879.9956
86 | 2603697.1517 | 1206879.6018
87 | 2603667.6804 | 1206838.0515
88 | 2603661.7732 | 1206827.5847
89 | 2603615.2229 | 1206850.1058
90 | 2603587.0284 | 1206863.7489
91 | 2603642.9053 | 1206886.2159
92 | 2603726.7521 | 1206896.0172
93 | 2603598.8446 | 1206889.0548
94 | 2603641.7687 | 1206886.8163
95 | 2603770.6401 | 1206885.683
96 | 2603536.5309 | 1206703.7178
97 | 2603584.0848 | 1206782.9143
98 | 2603578.2541 | 1206797.7281
99 | 2603574.5407 | 1206764.0313
100 | 2603570.1093 | 1206802.2393
101 | 2603583.7653 | 1206758.6298
102 | 2603565.6855 | 1206756.4597
103 | 2603558.3557 | 1206744.3778
104 | 2603548.8719 | 1206734.0999
105 | 2603507.9688 | 1206683.2595
106 | 2603497.1177 | 1206687.4932
107 | 2603517.8176 | 1206706.8781
108 | 2603531.378 | 1206742.1386
109 | 2603543.7393 | 1206736.9324
110 | 2603517.2082 | 1206747.3973
111 | 2603483.57 | 1206718.3758
112 | 2603472.8972 | 1206726.0962
113 | 2603481.4194 | 1206710.5809
114 | 2603510.6204 | 1206749.3798
115 | 2603478.2624 | 1206745.6688
116 | 2603470.1342 | 1206726.8313
117 | 2603549.8428 | 1206733.491
118 | 2603504.8197 | 1206751.1171
119 | 2603606.5 | 1206905.4499
120 | 2603632.302 | 1206891.8179
121 | 2603559.4112 | 1206727.4898
122 | 2603564.7594 | 1206724.1355
123 | 2603758.5296 | 1206845.0088
124 | 2603719.0984 | 1206865.7404
125 | 2603607.0023 | 1206776.335

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1