## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_544-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_544-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_544-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_544-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_544-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_544-2_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_544-2_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_544-2_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_544-2_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_544-2_0_6_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_544-2_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_544-2_0_6_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_544-2_0_6_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_544-2_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_544-2_0_6_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_544-2_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_544-2_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_544-2_0_6_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_544-2_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_544-2_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_544-2_0_6_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_544-2_0_6_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_544-2_0_6_node_93 | 0.4 | n |  | TRUE
23 | bus_LV_544-2_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_544-2_0_6_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_544-2_0_6_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_544-2_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_544-2_0_6_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_544-2_0_6_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_544-2_0_6_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_544-2_0_6_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_544-2_0_6_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_544-2_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_544-2_0_6_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_544-2_0_6_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_544-2_0_6_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_544-2_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_544-2_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_544-2_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_544-2_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_544-2_0_6_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_544-2_0_6_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_544-2_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_544-2_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_544-2_0_6_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_544-2_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_544-2_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_544-2_0_6_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_544-2_0_6_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_544-2_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_544-2_0_6_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_544-2_0_6_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_544-2_0_6_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_544-2_0_6_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_544-2_0_6_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_544-2_0_6_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_544-2_0_6_node_106 | 0.4 | n |  | TRUE
57 | bus_LV_544-2_0_6_node_110 | 0.4 | n |  | TRUE
58 | bus_LV_544-2_0_6_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_544-2_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_544-2_0_6_node_95 | 0.4 | n |  | TRUE
61 | bus_LV_544-2_0_6_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_544-2_0_6_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_544-2_0_6_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_544-2_0_6_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_544-2_0_6_node_109 | 0.4 | n |  | TRUE
66 | bus_LV_544-2_0_6_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_544-2_0_6_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_544-2_0_6_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_544-2_0_6_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_544-2_0_6_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_544-2_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_544-2_0_6_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_544-2_0_6_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_544-2_0_6_node_108 | 0.4 | n |  | TRUE
75 | bus_LV_544-2_0_6_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_544-2_0_6_node_98 | 0.4 | n |  | TRUE
77 | bus_LV_544-2_0_6_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_544-2_0_6_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_544-2_0_6_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_544-2_0_6_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_544-2_0_6_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_544-2_0_6_node_107 | 0.4 | n |  | TRUE
83 | bus_LV_544-2_0_6_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_544-2_0_6_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_544-2_0_6_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_544-2_0_6_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_544-2_0_6_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_544-2_0_6_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_544-2_0_6_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_544-2_0_6_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_544-2_0_6_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_544-2_0_6_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_544-2_0_6_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_544-2_0_6_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_544-2_0_6_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_544-2_0_6_node_102 | 0.4 | n |  | TRUE
97 | bus_LV_544-2_0_6_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_544-2_0_6_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_544-2_0_6_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_544-2_0_6_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_544-2_0_6_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_544-2_0_6_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_544-2_0_6_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_544-2_0_6_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_544-2_0_6_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_544-2_0_6_node_105 | 0.4 | n |  | TRUE
107 | bus_MV_429_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_544-2_0_6_load_0 | 0 | 0.023419 | 0.0058693 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_544-2_0_6_load_1 | 1 | 0.003935 | 0.00098619 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_544-2_0_6_load_3 | 3 | 0.012577 | 0.003152 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_544-2_0_6_load_4 | 4 | 0.0065455 | 0.0016404 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_544-2_0_6_load_5 | 5 | 0.027608 | 0.0069192 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_544-2_0_6_load_6 | 6 | 0.0066835 | 0.001675 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_544-2_0_6_load_7 | 7 | 0.0096037 | 0.0024069 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_544-2_0_6_load_8 | 8 | 0.014096 | 0.0035328 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_544-2_0_6_load_16 | 11 | 0.01233 | 0.0030901 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_544-2_0_6_load_19 | 12 | 0.0005625 | 0.00014097 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_544-2_0_6_load_10 | 13 | 0.014397 | 0.0036082 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_544-2_0_6_load_17 | 14 | 0.015623 | 0.0039155 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_544-2_0_6_load_26 | 17 | 0.0075205 | 0.0018848 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_544-2_0_6_load_48 | 21 | 0.0010721 | 0.00026869 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_544-2_0_6_load_93 | 22 | 0.019517 | 0.0048913 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_544-2_0_6_load_46 | 24 | 0.0054272 | 0.0013602 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_544-2_0_6_load_41 | 25 | 0.0029591 | 0.00074161 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_544-2_0_6_load_22 | 26 | 0.0040049 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_544-2_0_6_load_66 | 27 | 0.0064626 | 0.0016197 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_544-2_0_6_load_39 | 31 | 0.012615 | 0.0031617 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_544-2_0_6_load_28 | 32 | 0.0086989 | 0.0021802 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_544-2_0_6_load_47 | 33 | 0.0051178 | 0.0012826 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_544-2_0_6_load_64 | 34 | 0.013292 | 0.0033313 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_544-2_0_6_load_40 | 35 | 0.0063 | 0.0015789 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_544-2_0_6_load_23 | 37 | 0.018673 | 0.0046799 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_544-2_0_6_load_24 | 38 | 0.0058525 | 0.0014668 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_544-2_0_6_load_25 | 39 | 0.011869 | 0.0029745 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_544-2_0_6_load_86 | 41 | 0.010186 | 0.0025528 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_544-2_0_6_load_27 | 42 | 0.044529 | 0.01116 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_544-2_0_6_load_35 | 45 | 0.0034697 | 0.00086958 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_544-2_0_6_load_36 | 46 | 0.010658 | 0.0026711 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_544-2_0_6_load_38 | 49 | 0.028717 | 0.0071972 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_544-2_0_6_load_57 | 50 | 0.0033688 | 0.00084429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_544-2_0_6_load_59 | 52 | 0.031278 | 0.0078391 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_544-2_0_6_load_63 | 54 | 0.00061121 | 0.00015318 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_544-2_0_6_load_65 | 55 | 0.0011727 | 0.0002939 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_544-2_0_6_load_106 | 56 | 0.00075907 | 0.00019024 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_544-2_0_6_load_110 | 57 | 0.0016682 | 0.0004181 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_544-2_0_6_load_95 | 60 | 0.0032905 | 0.00082467 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_544-2_0_6_load_43 | 62 | 0.0028489 | 0.00071401 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_544-2_0_6_load_109 | 65 | 0.0079991 | 0.0020048 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_544-2_0_6_load_67 | 67 | 0.008 | 0.002005 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_544-2_0_6_load_76 | 69 | 0.00069212 | 0.00017346 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_544-2_0_6_load_75 | 70 | 0.0055113 | 0.0013813 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_544-2_0_6_load_55 | 71 | 0.0015396 | 0.00038586 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_544-2_0_6_load_56 | 72 | 0.0017188 | 0.00043078 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_544-2_0_6_load_70 | 73 | 0.010568 | 0.0026486 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_544-2_0_6_load_108 | 74 | 0.0079977 | 0.0020044 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_544-2_0_6_load_98 | 76 | 0.0033311 | 0.00083486 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_544-2_0_6_load_72 | 77 | 0.0023739 | 0.00059494 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_544-2_0_6_load_107 | 82 | 0.00071369 | 0.00017887 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_544-2_0_6_load_96 | 83 | 0.0071855 | 0.0018008 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_544-2_0_6_load_73 | 84 | 0.0038208 | 0.00095758 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_544-2_0_6_load_74 | 85 | 0.0049231 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_544-2_0_6_load_99 | 86 | 0.0012284 | 0.00030786 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_544-2_0_6_load_100 | 87 | 0.00034559 | 8.6613e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_544-2_0_6_load_77 | 88 | 0.00032902 | 8.2461e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_544-2_0_6_load_78 | 89 | 0.00099494 | 0.00024936 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_544-2_0_6_load_79 | 90 | 0.0035879 | 0.00089921 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_544-2_0_6_load_80 | 91 | 0.0013956 | 0.00034977 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_544-2_0_6_load_81 | 92 | 0.0024681 | 0.00061858 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_544-2_0_6_load_82 | 93 | 0.004385 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_544-2_0_6_load_83 | 94 | 0.0023992 | 0.00060129 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_544-2_0_6_load_102 | 96 | 0.008604 | 0.0021564 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_544-2_0_6_load_88 | 97 | 0.0069167 | 0.0017335 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_544-2_0_6_load_85 | 98 | 0.006457 | 0.0016183 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_544-2_0_6_load_103 | 99 | 0.0050218 | 0.0012586 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_544-2_0_6_load_89 | 100 | 0.0033429 | 0.0008378 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_544-2_0_6_load_90 | 101 | 0.0018945 | 0.00047481 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_544-2_0_6_load_92 | 103 | 0.00095176 | 0.00023853 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_544-2_0_6_load_101 | 104 | 0.0013639 | 0.00034182 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_544-2_0_6_load_105 | 106 | 0.0016667 | 0.00041772 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_544-2_0_6_line_0 |  | 0 | 1 | 0.011573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_544-2_0_6_line_1 |  | 0 | 2 | 0.00096385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_544-2_0_6_line_2 |  | 1 | 3 | 0.019235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_544-2_0_6_line_3 |  | 2 | 4 | 0.021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_544-2_0_6_line_4 |  | 2 | 5 | 0.029202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_544-2_0_6_line_5 |  | 3 | 6 | 0.0085256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_544-2_0_6_line_6 |  | 4 | 7 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_544-2_0_6_line_7 |  | 5 | 8 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_544-2_0_6_line_8 |  | 6 | 9 | 0.022973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_544-2_0_6_line_9 |  | 7 | 10 | 0.027593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_544-2_0_6_line_10 |  | 8 | 11 | 0.017041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_544-2_0_6_line_11 |  | 9 | 12 | 0.041502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_544-2_0_6_line_12 |  | 10 | 13 | 0.0052276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_544-2_0_6_line_13 |  | 11 | 14 | 0.0032265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_544-2_0_6_line_14 |  | 13 | 15 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_544-2_0_6_line_15 |  | 14 | 16 | 0.019287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_544-2_0_6_line_16 |  | 15 | 26 | 0.017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_544-2_0_6_line_17 |  | 16 | 17 | 0.047603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_544-2_0_6_line_18 |  | 17 | 27 | 0.019353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_544-2_0_6_line_19 |  | 18 | 19 | 0.017534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_544-2_0_6_line_20 |  | 18 | 20 | 0.033401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_544-2_0_6_line_21 |  | 18 | 21 | 0.0108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_544-2_0_6_line_22 |  | 19 | 22 | 0.026177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_544-2_0_6_line_23 |  | 20 | 28 | 0.014292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_544-2_0_6_line_24 |  | 21 | 33 | 0.018241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_544-2_0_6_line_25 |  | 22 | 34 | 0.027985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_544-2_0_6_line_26 |  | 23 | 24 | 0.012433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_544-2_0_6_line_27 |  | 23 | 25 | 0.011898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_544-2_0_6_line_28 |  | 24 | 33 | 0.037848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_544-2_0_6_line_29 |  | 25 | 35 | 0.016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_544-2_0_6_line_30 |  | 26 | 39 | 0.0019654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_544-2_0_6_line_31 |  | 28 | 32 | 0.017486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_544-2_0_6_line_32 |  | 29 | 30 | 0.009648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_544-2_0_6_line_33 |  | 29 | 31 | 0.0069104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_544-2_0_6_line_34 |  | 30 | 34 | 0.0057557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_544-2_0_6_line_35 |  | 31 | 47 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_544-2_0_6_line_36 |  | 32 | 42 | 0.0050288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_544-2_0_6_line_37 |  | 35 | 61 | 0.018287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_544-2_0_6_line_38 |  | 36 | 37 | 0.007109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_544-2_0_6_line_39 |  | 36 | 38 | 0.019244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_544-2_0_6_line_40 |  | 38 | 40 | 0.00659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_544-2_0_6_line_41 |  | 39 | 40 | 0.021284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_544-2_0_6_line_42 |  | 40 | 41 | 0.017187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_544-2_0_6_line_43 |  | 41 | 98 | 0.0092253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_544-2_0_6_line_44 |  | 42 | 43 | 0.010822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_544-2_0_6_line_45 |  | 43 | 44 | 0.024735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_544-2_0_6_line_46 |  | 44 | 45 | 0.02457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_544-2_0_6_line_47 |  | 44 | 46 | 0.020214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_544-2_0_6_line_48 |  | 45 | 50 | 0.0012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_544-2_0_6_line_49 |  | 46 | 51 | 0.029054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_544-2_0_6_line_50 |  | 47 | 48 | 0.016361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_544-2_0_6_line_51 |  | 47 | 49 | 0.012708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_544-2_0_6_line_52 |  | 48 | 52 | 0.004569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_544-2_0_6_line_53 |  | 48 | 53 | 0.039362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_544-2_0_6_line_54 |  | 49 | 54 | 0.020208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_544-2_0_6_line_55 |  | 50 | 57 | 0.027028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_544-2_0_6_line_56 |  | 51 | 58 | 0.00432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_544-2_0_6_line_57 |  | 51 | 59 | 0.030674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_544-2_0_6_line_58 |  | 53 | 60 | 0.018868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_544-2_0_6_line_59 |  | 55 | 56 | 0.0049324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_544-2_0_6_line_60 |  | 56 | 82 | 0.0085298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_544-2_0_6_line_61 |  | 58 | 71 | 0.020791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_544-2_0_6_line_62 |  | 58 | 72 | 0.036472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_544-2_0_6_line_63 |  | 59 | 66 | 0.045319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_544-2_0_6_line_64 |  | 59 | 67 | 0.0086754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_544-2_0_6_line_65 |  | 60 | 81 | 0.049479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_544-2_0_6_line_66 |  | 61 | 62 | 0.045874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_544-2_0_6_line_67 |  | 62 | 63 | 0.0096963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_544-2_0_6_line_68 |  | 63 | 64 | 0.014843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_544-2_0_6_line_69 |  | 64 | 65 | 0.040173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_544-2_0_6_line_70 |  | 66 | 70 | 0.0039484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_544-2_0_6_line_71 |  | 66 | 68 | 0.00411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_544-2_0_6_line_72 |  | 68 | 69 | 0.034342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_544-2_0_6_line_73 |  | 69 | 74 | 0.0046402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_544-2_0_6_line_74 |  | 72 | 73 | 0.0052602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_544-2_0_6_line_75 |  | 73 | 80 | 0.027506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_544-2_0_6_line_76 |  | 74 | 82 | 0.0023491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_544-2_0_6_line_77 |  | 75 | 76 | 0.035566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_544-2_0_6_line_78 |  | 75 | 77 | 0.055358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_544-2_0_6_line_79 |  | 76 | 78 | 0.014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_544-2_0_6_line_80 |  | 77 | 80 | 0.0040668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_544-2_0_6_line_81 |  | 78 | 79 | 0.006639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_544-2_0_6_line_82 |  | 79 | 83 | 0.018789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_544-2_0_6_line_83 |  | 80 | 84 | 0.0076261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_544-2_0_6_line_84 |  | 81 | 103 | 0.042749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_544-2_0_6_line_85 |  | 84 | 85 | 0.0075324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_544-2_0_6_line_86 |  | 85 | 86 | 0.029801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_544-2_0_6_line_87 |  | 86 | 87 | 0.00017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_544-2_0_6_line_88 |  | 87 | 104 | 0.0081491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_544-2_0_6_line_89 |  | 88 | 89 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_544-2_0_6_line_90 |  | 88 | 90 | 0.0031906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_544-2_0_6_line_91 |  | 89 | 91 | 0.0031039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_544-2_0_6_line_92 |  | 90 | 92 | 0.0069742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_544-2_0_6_line_93 |  | 91 | 93 | 0.0012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_544-2_0_6_line_94 |  | 92 | 94 | 0.0073427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_544-2_0_6_line_95 |  | 93 | 95 | 0.023786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_544-2_0_6_line_96 |  | 94 | 96 | 0.04247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_544-2_0_6_line_97 |  | 95 | 97 | 0.023264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_544-2_0_6_line_98 |  | 95 | 98 | 0.010039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_544-2_0_6_line_99 |  | 96 | 99 | 0.015677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_544-2_0_6_line_100 |  | 97 | 100 | 0.0012842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_544-2_0_6_line_101 |  | 99 | 105 | 0.13891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_544-2_0_6_line_102 |  | 100 | 101 | 0.012527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_544-2_0_6_line_103 |  | 101 | 102 | 0.00059744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_544-2_0_6_line_104 |  | 102 | 103 | 0.016079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_544-2_0_6_line_105 |  | 105 | 106 | 0.049214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_544-2_0_6_trafo_13 | 0.63 MVA 20/0.4 kV | 107 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2603424.5514 | 1207379.9196 | 2603429.5139 | 1207390.3748
1 | 2603424.5514 | 1207379.9196 | 2603424.1381 | 1207379.0489
2 | 2603438.5691 | 1207407.2081 | 2603436.3571 | 1207404.7921 | 2603429.5139 | 1207390.3748
3 | 2603424.1381 | 1207379.0489 | 2603414.8541 | 1207359.4756
4 | 2603424.1381 | 1207379.0489 | 2603442.2604 | 1207372.1219 | 2603449.016 | 1207365.0219
5 | 2603444.3262 | 1207413.4963 | 2603438.5691 | 1207407.2081
6 | 2603408.2138 | 1207345.4793 | 2603413.6049 | 1207356.8419 | 2603414.8541 | 1207359.4756
7 | 2603446.7342 | 1207353.1919 | 2603448.1085 | 1207356.4722 | 2603449.016 | 1207365.0219
8 | 2603460.0873 | 1207430.2084 | 2603450.1559 | 1207419.8637 | 2603444.3262 | 1207413.4963
9 | 2603391.9768 | 1207323.9673 | 2603401.9553 | 1207332.2885 | 2603408.2138 | 1207345.4793
10 | 2603446.7342 | 1207353.1919 | 2603446.7342 | 1207353.1919 | 2603452.5642 | 1207337.1786
11 | 2603460.0873 | 1207430.2084 | 2603439.3622 | 1207441.9031 | 2603429.4727 | 1207451.5472 | 2603426.5166 | 1207448.8997
12 | 2603391.9768 | 1207323.9673 | 2603388.5777 | 1207327.9389
13 | 2603453.668 | 1207334.1468 | 2603452.5642 | 1207337.1786
14 | 2603374.4737 | 1207338.4989 | 2603380.6571 | 1207335.0226 | 2603386.575 | 1207330.2789 | 2603388.5777 | 1207327.9389
15 | 2603460.2662 | 1207316.0236 | 2603453.668 | 1207334.1468
16 | 2603374.4737 | 1207338.4989 | 2603360.3121 | 1207349.3402
17 | 2603460.2662 | 1207316.0236 | 2603505.9527 | 1207329.395
18 | 2603524.5262 | 1207334.8311 | 2603505.9527 | 1207329.395
19 | 2603393.7162 | 1207286.2365 | 2603390.9593 | 1207294.2393 | 2603382.3312 | 1207291.4441
20 | 2603393.7162 | 1207286.2365 | 2603391.7324 | 1207285.068 | 2603388.4109 | 1207282.9317 | 2603386.1309 | 1207281.2406 | 2603383.8209 | 1207278.6601 | 2603381.7012 | 1207275.8241 | 2603379.4527 | 1207272.0207 | 2603374.9202 | 1207259.956
21 | 2603393.7162 | 1207286.2365 | 2603396.0574 | 1207287.305 | 2603399.3033 | 1207288.552 | 2603403.8556 | 1207289.9058
22 | 2603382.3312 | 1207291.4441 | 2603371.5139 | 1207287.3359 | 2603360.355 | 1207282.4715 | 2603358.1466 | 1207281.452
23 | 2603369.9702 | 1207246.546 | 2603374.9202 | 1207259.956
24 | 2603421.3402 | 1207295.1054 | 2603403.8556 | 1207289.9058
25 | 2603358.1466 | 1207281.452 | 2603348.8541 | 1207277.1622 | 2603338.2962 | 1207271.4755 | 2603333.3051 | 1207268.6039
26 | 2603470.0717 | 1207307.4578 | 2603457.9967 | 1207304.4954
27 | 2603470.0717 | 1207307.4578 | 2603481.4867 | 1207310.8149
28 | 2603457.9967 | 1207304.4954 | 2603428.9665 | 1207297.3734 | 2603421.3402 | 1207295.1054
29 | 2603497.2954 | 1207315.4642 | 2603481.4867 | 1207310.8149
30 | 2603358.8232 | 1207350.6232 | 2603360.3105 | 1207349.3415 | 2603360.3121 | 1207349.3402
31 | 2603369.9702 | 1207246.546 | 2603363.9213 | 1207230.1393
32 | 2603328.3161 | 1207265.7336 | 2603333.2248 | 1207257.4206
33 | 2603333.2248 | 1207257.4206 | 2603329.1817 | 1207254.0721 | 2603328.0855 | 1207252.8246
34 | 2603328.3161 | 1207265.7336 | 2603333.3051 | 1207268.6039
35 | 2603317.7465 | 1207239.7024 | 2603326.621 | 1207251.158 | 2603328.0855 | 1207252.8246
36 | 2603362.1817 | 1207225.421 | 2603363.9213 | 1207230.1393
37 | 2603514.8398 | 1207320.624 | 2603497.2954 | 1207315.4642
38 | 2603363.7445 | 1207354.0793 | 2603366.5921 | 1207360.5956
39 | 2603363.7445 | 1207354.0793 | 2603355.4226 | 1207361.2898 | 2603349.0027 | 1207366.4446
40 | 2603342.7007 | 1207364.5179 | 2603349.0027 | 1207366.4446
41 | 2603342.7007 | 1207364.5179 | 2603358.8232 | 1207350.6232
42 | 2603342.7007 | 1207364.5179 | 2603337.0115 | 1207368.2057 | 2603331.1026 | 1207370.4148 | 2603327.0471 | 1207371.0099
43 | 2603317.8536 | 1207371.4179 | 2603319.2259 | 1207371.2643 | 2603324.9131 | 1207371.323 | 2603327.0471 | 1207371.0099
44 | 2603358.438 | 1207215.2669 | 2603362.1817 | 1207225.421
45 | 2603373.5188 | 1207195.6311 | 2603358.438 | 1207215.2669
46 | 2603373.5188 | 1207195.6311 | 2603353.878 | 1207180.8694
47 | 2603373.5188 | 1207195.6311 | 2603378.9745 | 1207188.1967 | 2603379.2256 | 1207187.8744 | 2603379.7278 | 1207187.2188 | 2603385.634 | 1207179.4513
48 | 2603352.8431 | 1207180.0916 | 2603353.878 | 1207180.8694
49 | 2603404.9723 | 1207158.0391 | 2603397.2438 | 1207164.1826 | 2603385.634 | 1207179.4513
50 | 2603317.7465 | 1207239.7024 | 2603315.7308 | 1207241.2022 | 2603313.068 | 1207244.2024 | 2603307.2851 | 1207252.1814
51 | 2603307.0295 | 1207232.8262 | 2603317.7465 | 1207239.7024
52 | 2603307.2851 | 1207252.1814 | 2603311.1258 | 1207254.6563
53 | 2603278.4164 | 1207264.0946 | 2603287.553 | 1207254.6832 | 2603296.0968 | 1207244.9714 | 2603307.2851 | 1207252.1814
54 | 2603307.0295 | 1207232.8262 | 2603300.538 | 1207229.5431 | 2603290.0278 | 1207222.0053
55 | 2603332.0372 | 1207162.857 | 2603347.2294 | 1207175.8724 | 2603352.8431 | 1207180.0916
56 | 2603407.111 | 1207154.2826 | 2603404.9723 | 1207158.0391
57 | 2603404.9723 | 1207158.0391 | 2603419.7859 | 1207168.0084 | 2603427.9804 | 1207158.152
58 | 2603278.4164 | 1207264.0946 | 2603266.0025 | 1207278.3035
59 | 2603407.9884 | 1207228.2188 | 2603411.9403 | 1207225.2673
60 | 2603418.749 | 1207220.1363 | 2603418.6465 | 1207220.2586 | 2603411.9403 | 1207225.2673
61 | 2603407.111 | 1207154.2826 | 2603392.3125 | 1207144.3912 | 2603390.8436 | 1207146.9973
62 | 2603407.111 | 1207154.2826 | 2603407.6447 | 1207151.7593 | 2603408.7653 | 1207119.3422 | 2603408.5798 | 1207117.8981
63 | 2603427.9804 | 1207158.152 | 2603441.5244 | 1207167.6982 | 2603455.4177 | 1207177.8116 | 2603452.7394 | 1207181.1453 | 2603450.7913 | 1207184.0235 | 2603448.653 | 1207187.1796
64 | 2603427.9804 | 1207158.152 | 2603434.3193 | 1207152.2291
65 | 2603231.113 | 1207312.8516 | 2603236.2391 | 1207309.9416 | 2603239.5173 | 1207307.7533 | 2603242.6513 | 1207305.0312 | 2603266.0025 | 1207278.3035
66 | 2603514.8398 | 1207320.624 | 2603527.9352 | 1207276.6589
67 | 2603533.7938 | 1207269.9627 | 2603530.1967 | 1207271.228 | 2603527.9506 | 1207276.6074 | 2603527.9352 | 1207276.6589
68 | 2603542.7878 | 1207258.1392 | 2603538.6863 | 1207263.6955 | 2603533.7938 | 1207269.9627
69 | 2603542.7878 | 1207258.1392 | 2603537.3158 | 1207253.9671 | 2603510.7918 | 1207233.7295
70 | 2603448.653 | 1207187.1796 | 2603451.8183 | 1207189.5399
71 | 2603448.653 | 1207187.1796 | 2603446.3396 | 1207190.5802
72 | 2603446.3396 | 1207190.5802 | 2603444.323 | 1207193.5584 | 2603438.9529 | 1207197.313 | 2603436.9448 | 1207198.746 | 2603421.8898 | 1207212.6118 | 2603421.3086 | 1207213.7275
73 | 2603420.0202 | 1207218.1808 | 2603420.9838 | 1207214.7347 | 2603421.2124 | 1207213.9122 | 2603421.3086 | 1207213.7275
74 | 2603407.9095 | 1207112.6808 | 2603408.5798 | 1207117.8981
75 | 2603404.4046 | 1207085.3989 | 2603407.9095 | 1207112.6808
76 | 2603420.0202 | 1207218.1808 | 2603419.9705 | 1207218.3583 | 2603419.354 | 1207219.4141 | 2603418.749 | 1207220.1363
77 | 2603395.4347 | 1207026.8507 | 2603389.2679 | 1207027.1808 | 2603380.0906 | 1207026.7199 | 2603372.6926 | 1207026.1043 | 2603366.8307 | 1207025.1339 | 2603361.4785 | 1207023.8636 | 2603360.2148 | 1207023.4327
78 | 2603395.4347 | 1207026.8507 | 2603397.8503 | 1207044.584 | 2603399.1101 | 1207062.5279 | 2603399.6094 | 1207067.0528 | 2603400.4967 | 1207071.1889 | 2603402.9637 | 1207078.75 | 2603403.5433 | 1207081.4244
79 | 2603351.1664 | 1207012.8519 | 2603356.8411 | 1207022.2824 | 2603360.2148 | 1207023.4327
80 | 2603404.4046 | 1207085.3989 | 2603403.5433 | 1207081.4244
81 | 2603345.0164 | 1207010.3916 | 2603349.0909 | 1207012.3504 | 2603351.1664 | 1207012.8519
82 | 2603345.0164 | 1207010.3916 | 2603331.9758 | 1207023.9176
83 | 2603404.4046 | 1207085.3989 | 2603398.1673 | 1207089.7867
84 | 2603231.113 | 1207312.8516 | 2603235.147 | 1207319.0572 | 2603238.5438 | 1207322.6943 | 2603244.7607 | 1207327.3668 | 2603263.4373 | 1207340.0811
85 | 2603398.1673 | 1207089.7867 | 2603398.1673 | 1207089.7867 | 2603393.0621 | 1207095.3252
86 | 2603372.8639 | 1207117.2372 | 2603393.0621 | 1207095.3252
87 | 2603372.7482 | 1207117.3628 | 2603372.8639 | 1207117.2372
88 | 2603367.2251 | 1207123.3546 | 2603372.7482 | 1207117.3628
89 | 2603282.9282 | 1207399.4371 | 2603290.5578 | 1207391.4625
90 | 2603282.9282 | 1207399.4371 | 2603281.6198 | 1207400.8046 | 2603280.6762 | 1207401.6959
91 | 2603290.5578 | 1207391.4625 | 2603292.7036 | 1207389.2198
92 | 2603280.6762 | 1207401.6959 | 2603275.6063 | 1207406.485
93 | 2603292.7036 | 1207389.2198 | 2603293.5606 | 1207388.324
94 | 2603270.2685 | 1207411.5272 | 2603275.6063 | 1207406.485
95 | 2603308.2249 | 1207369.7686 | 2603305.6373 | 1207374.4365 | 2603302.0915 | 1207379.4373 | 2603298.1508 | 1207383.5263 | 2603293.5606 | 1207388.324
96 | 2603254.4006 | 1207446.4075 | 2603252.1099 | 1207433.1622 | 2603252.4766 | 1207429.905 | 2603254.0368 | 1207426.8597 | 2603270.2685 | 1207411.5272
97 | 2603308.2249 | 1207369.7686 | 2603302.4407 | 1207366.3859 | 2603295.6917 | 1207361.5462 | 2603288.7829 | 1207357.0224
98 | 2603308.2249 | 1207369.7686 | 2603313.7893 | 1207371.8728 | 2603317.8536 | 1207371.4179
99 | 2603254.4006 | 1207446.4075 | 2603257.0722 | 1207461.8555
100 | 2603288.7829 | 1207357.0224 | 2603287.7085 | 1207356.3189
101 | 2603358.7711 | 1207548.8279 | 2603332.6249 | 1207534.061 | 2603290.2366 | 1207509.0465 | 2603278.4493 | 1207499.6794 | 2603272.9854 | 1207494.7516 | 2603268.1906 | 1207489.6796 | 2603265.9797 | 1207486.7434 | 2603264.1186 | 1207483.663 | 2603261.1266 | 1207476.9243 | 2603259.0012 | 1207470.4307 | 2603257.3323 | 1207463.3593 | 2603257.0722 | 1207461.8555
102 | 2603287.7085 | 1207356.3189 | 2603277.2281 | 1207349.4565
103 | 2603276.7283 | 1207349.1292 | 2603277.2281 | 1207349.4565
104 | 2603276.7283 | 1207349.1292 | 2603263.4373 | 1207340.0811
105 | 2603358.7711 | 1207548.8279 | 2603381.5932 | 1207592.4308

## bus_geodata
| x | y | coords
0 | 2603424.5514 | 1207379.9196
1 | 2603429.5139 | 1207390.3748
2 | 2603424.1381 | 1207379.0489
3 | 2603438.5691 | 1207407.2081
4 | 2603414.8541 | 1207359.4756
5 | 2603449.016 | 1207365.0219
6 | 2603444.3262 | 1207413.4963
7 | 2603408.2138 | 1207345.4793
8 | 2603446.7342 | 1207353.1919
9 | 2603460.0873 | 1207430.2084
10 | 2603391.9768 | 1207323.9673
11 | 2603452.5642 | 1207337.1786
12 | 2603426.5166 | 1207448.8997
13 | 2603388.5777 | 1207327.9389
14 | 2603453.668 | 1207334.1468
15 | 2603374.4737 | 1207338.4989
16 | 2603460.2662 | 1207316.0236
17 | 2603505.9527 | 1207329.395
18 | 2603393.7162 | 1207286.2365
19 | 2603382.3312 | 1207291.4441
20 | 2603374.9202 | 1207259.956
21 | 2603403.8556 | 1207289.9058
22 | 2603358.1466 | 1207281.452
23 | 2603470.0717 | 1207307.4578
24 | 2603457.9967 | 1207304.4954
25 | 2603481.4867 | 1207310.8149
26 | 2603360.3121 | 1207349.3402
27 | 2603524.5262 | 1207334.8311
28 | 2603369.9702 | 1207246.546
29 | 2603333.2248 | 1207257.4206
30 | 2603328.3161 | 1207265.7336
31 | 2603328.0855 | 1207252.8246
32 | 2603363.9213 | 1207230.1393
33 | 2603421.3402 | 1207295.1054
34 | 2603333.3051 | 1207268.6039
35 | 2603497.2954 | 1207315.4642
36 | 2603363.7445 | 1207354.0793
37 | 2603366.5921 | 1207360.5956
38 | 2603349.0027 | 1207366.4446
39 | 2603358.8232 | 1207350.6232
40 | 2603342.7007 | 1207364.5179
41 | 2603327.0471 | 1207371.0099
42 | 2603362.1817 | 1207225.421
43 | 2603358.438 | 1207215.2669
44 | 2603373.5188 | 1207195.6311
45 | 2603353.878 | 1207180.8694
46 | 2603385.634 | 1207179.4513
47 | 2603317.7465 | 1207239.7024
48 | 2603307.2851 | 1207252.1814
49 | 2603307.0295 | 1207232.8262
50 | 2603352.8431 | 1207180.0916
51 | 2603404.9723 | 1207158.0391
52 | 2603311.1258 | 1207254.6563
53 | 2603278.4164 | 1207264.0946
54 | 2603290.0278 | 1207222.0053
55 | 2603407.9884 | 1207228.2188
56 | 2603411.9403 | 1207225.2672
57 | 2603332.0372 | 1207162.857
58 | 2603407.111 | 1207154.2826
59 | 2603427.9804 | 1207158.152
60 | 2603266.0025 | 1207278.3035
61 | 2603514.8398 | 1207320.624
62 | 2603527.9352 | 1207276.6589
63 | 2603533.7938 | 1207269.9627
64 | 2603542.7878 | 1207258.1392
65 | 2603510.7918 | 1207233.7295
66 | 2603448.653 | 1207187.1796
67 | 2603434.3193 | 1207152.2291
68 | 2603446.3396 | 1207190.5802
69 | 2603421.3086 | 1207213.7275
70 | 2603451.8183 | 1207189.5399
71 | 2603390.8436 | 1207146.9973
72 | 2603408.5798 | 1207117.8981
73 | 2603407.9095 | 1207112.6808
74 | 2603420.0202 | 1207218.1808
75 | 2603395.4347 | 1207026.8507
76 | 2603360.2148 | 1207023.4327
77 | 2603403.5433 | 1207081.4244
78 | 2603351.1664 | 1207012.8519
79 | 2603345.0164 | 1207010.3916
80 | 2603404.4046 | 1207085.3989
81 | 2603231.113 | 1207312.8516
82 | 2603418.749 | 1207220.1363
83 | 2603331.9758 | 1207023.9176
84 | 2603398.1673 | 1207089.7867
85 | 2603393.0621 | 1207095.3252
86 | 2603372.8639 | 1207117.2372
87 | 2603372.7482 | 1207117.3628
88 | 2603282.9282 | 1207399.4371
89 | 2603290.5578 | 1207391.4625
90 | 2603280.6762 | 1207401.6959
91 | 2603292.7036 | 1207389.2198
92 | 2603275.6063 | 1207406.485
93 | 2603293.5606 | 1207388.324
94 | 2603270.2685 | 1207411.5272
95 | 2603308.2249 | 1207369.7686
96 | 2603254.4006 | 1207446.4075
97 | 2603288.7829 | 1207357.0224
98 | 2603317.8536 | 1207371.4179
99 | 2603257.0722 | 1207461.8555
100 | 2603287.7085 | 1207356.3189
101 | 2603277.2282 | 1207349.4565
102 | 2603276.7283 | 1207349.1292
103 | 2603263.4373 | 1207340.0811
104 | 2603367.2251 | 1207123.3546
105 | 2603358.7711 | 1207548.8279
106 | 2603381.5932 | 1207592.4308
107 | 2603390.9593 | 1207294.2393

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1