## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_544-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_544-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_544-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_544-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_544-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_544-4_0_5_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_544-4_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_544-4_0_5_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_544-4_0_5_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_544-4_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_544-4_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_544-4_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_544-4_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_544-4_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_544-4_0_5_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_544-4_0_5_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_544-4_0_5_node_64 | 0.4 | n |  | TRUE
17 | bus_LV_544-4_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_544-4_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_544-4_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_544-4_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_544-4_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_544-4_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_544-4_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_544-4_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_544-4_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_544-4_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_544-4_0_5_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_544-4_0_5_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_544-4_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_544-4_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_544-4_0_5_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_544-4_0_5_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_544-4_0_5_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_544-4_0_5_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_544-4_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_544-4_0_5_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_544-4_0_5_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_544-4_0_5_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_544-4_0_5_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_544-4_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_544-4_0_5_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_544-4_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_544-4_0_5_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_544-4_0_5_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_544-4_0_5_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_544-4_0_5_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_544-4_0_5_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_544-4_0_5_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_544-4_0_5_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_544-4_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_544-4_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_544-4_0_5_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_544-4_0_5_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_544-4_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_544-4_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_544-4_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_544-4_0_5_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_544-4_0_5_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_544-4_0_5_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_544-4_0_5_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_544-4_0_5_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_544-4_0_5_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_544-4_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_544-4_0_5_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_544-4_0_5_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_544-4_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_544-4_0_5_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_544-4_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_544-4_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_544-4_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_544-4_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_MV_429_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_544-4_0_5_load_0 | 0 | 0.0079074 | 0.0019818 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_544-4_0_5_load_1 | 1 | 0.0018694 | 0.00046852 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_544-4_0_5_load_2 | 2 | 0.01318 | 0.0033033 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_544-4_0_5_load_3 | 3 | 0.010735 | 0.0026904 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_544-4_0_5_load_65 | 8 | 0.0083435 | 0.0020911 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_544-4_0_5_load_5 | 9 | 0.0075028 | 0.0018804 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_544-4_0_5_load_6 | 10 | 0.0017544 | 0.0004397 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_544-4_0_5_load_8 | 11 | 0.0054258 | 0.0013598 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_544-4_0_5_load_10 | 12 | 0.007153 | 0.0017927 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_544-4_0_5_load_11 | 13 | 0.0072825 | 0.0018252 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_544-4_0_5_load_55 | 14 | 0.010719 | 0.0026864 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_544-4_0_5_load_62 | 15 | 0.0014827 | 0.0003716 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_544-4_0_5_load_64 | 16 | 0.0042706 | 0.0010703 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_544-4_0_5_load_12 | 17 | 0.0023945 | 0.00060012 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_544-4_0_5_load_13 | 18 | 0.007704 | 0.0019308 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_544-4_0_5_load_14 | 19 | 0.0080675 | 0.0020219 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_544-4_0_5_load_15 | 20 | 0.0025241 | 0.00063259 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_544-4_0_5_load_16 | 21 | 0.0076819 | 0.0019253 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_544-4_0_5_load_17 | 22 | 0.011703 | 0.002933 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_544-4_0_5_load_18 | 23 | 0.0034725 | 0.00087029 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_544-4_0_5_load_20 | 25 | 0.026519 | 0.0066463 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_544-4_0_5_load_31 | 27 | 0.0018387 | 0.00046082 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_544-4_0_5_load_42 | 29 | 0.0085198 | 0.0021353 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_544-4_0_5_load_32 | 30 | 0.038475 | 0.0096427 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_544-4_0_5_load_71 | 31 | 0.0097685 | 0.0024482 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_544-4_0_5_load_69 | 32 | 0.014518 | 0.0036386 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_544-4_0_5_load_22 | 34 | 0.02141 | 0.0053658 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_544-4_0_5_load_74 | 37 | 0.059397 | 0.014886 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_544-4_0_5_load_28 | 40 | 0.0043475 | 0.0010896 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_544-4_0_5_load_73 | 41 | 0.0036379 | 0.00091174 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_544-4_0_5_load_54 | 44 | 0.0031251 | 0.00078323 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_544-4_0_5_load_50 | 45 | 0.027546 | 0.0069037 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_544-4_0_5_load_25 | 46 | 0.0076855 | 0.0019262 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_544-4_0_5_load_30 | 49 | 0.0027825 | 0.00069735 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_544-4_0_5_load_49 | 50 | 0.0041506 | 0.0010402 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_544-4_0_5_load_33 | 51 | 0.017105 | 0.004287 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_544-4_0_5_load_34 | 52 | 0.016219 | 0.0040648 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_544-4_0_5_load_35 | 53 | 0.0064119 | 0.001607 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_544-4_0_5_load_36 | 56 | 0.0097036 | 0.002432 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_544-4_0_5_load_40 | 58 | 0.0066709 | 0.0016719 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_544-4_0_5_load_41 | 59 | 0.0071934 | 0.0018028 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_544-4_0_5_load_68 | 60 | 0.0066536 | 0.0016676 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_544-4_0_5_load_72 | 61 | 0.0070618 | 0.0017699 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_544-4_0_5_load_46 | 62 | 0.0055745 | 0.0013971 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_544-4_0_5_load_66 | 63 | 0.0098642 | 0.0024722 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_544-4_0_5_load_70 | 64 | 0.0080991 | 0.0020298 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_544-4_0_5_load_67 | 65 | 0.0053738 | 0.0013468 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_544-4_0_5_load_56 | 66 | 0.0024834 | 0.00062239 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_544-4_0_5_load_57 | 67 | 0.0088795 | 0.0022254 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_544-4_0_5_load_58 | 68 | 0.012611 | 0.0031605 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_544-4_0_5_load_59 | 69 | 0.010805 | 0.002708 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_544-4_0_5_load_60 | 70 | 0.0030949 | 0.00077566 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_544-4_0_5_load_61 | 71 | 0.0016853 | 0.00042238 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_544-4_0_5_line_0 |  | 0 | 1 | 0.0058202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_544-4_0_5_line_1 |  | 0 | 2 | 0.018593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_544-4_0_5_line_2 |  | 1 | 3 | 0.044163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_544-4_0_5_line_3 |  | 2 | 4 | 0.019298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_544-4_0_5_line_4 |  | 4 | 5 | 0.036914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_544-4_0_5_line_5 |  | 4 | 6 | 0.051533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_544-4_0_5_line_6 |  | 5 | 7 | 0.10304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_544-4_0_5_line_7 |  | 5 | 8 | 0.042369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_544-4_0_5_line_8 |  | 6 | 9 | 0.042974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_544-4_0_5_line_9 |  | 7 | 14 | 0.0054523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_544-4_0_5_line_10 |  | 7 | 15 | 0.020671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_544-4_0_5_line_11 |  | 8 | 16 | 0.026145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_544-4_0_5_line_12 |  | 9 | 10 | 0.0103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_544-4_0_5_line_13 |  | 10 | 11 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_544-4_0_5_line_14 |  | 11 | 12 | 0.030618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_544-4_0_5_line_15 |  | 12 | 13 | 0.0024314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_544-4_0_5_line_16 |  | 13 | 17 | 0.014285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_544-4_0_5_line_17 |  | 14 | 55 | 0.047445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_544-4_0_5_line_18 |  | 15 | 44 | 0.01375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_544-4_0_5_line_19 |  | 16 | 70 | 0.00084728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_544-4_0_5_line_20 |  | 17 | 18 | 0.016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_544-4_0_5_line_21 |  | 18 | 19 | 0.0018042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_544-4_0_5_line_22 |  | 19 | 20 | 0.01496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_544-4_0_5_line_23 |  | 20 | 21 | 0.017309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_544-4_0_5_line_24 |  | 22 | 23 | 0.01341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_544-4_0_5_line_25 |  | 22 | 24 | 0.023401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_544-4_0_5_line_26 |  | 24 | 25 | 0.04131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_544-4_0_5_line_27 |  | 24 | 26 | 0.013564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_544-4_0_5_line_28 |  | 25 | 27 | 0.0067294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_544-4_0_5_line_29 |  | 26 | 28 | 0.007581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_544-4_0_5_line_30 |  | 26 | 29 | 0.017717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_544-4_0_5_line_31 |  | 27 | 30 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_544-4_0_5_line_32 |  | 28 | 31 | 0.053601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_544-4_0_5_line_33 |  | 28 | 32 | 0.033779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_544-4_0_5_line_34 |  | 29 | 33 | 0.01413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_544-4_0_5_line_35 |  | 31 | 61 | 0.0039292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_544-4_0_5_line_36 |  | 32 | 64 | 0.0050869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_544-4_0_5_line_37 |  | 33 | 62 | 0.01922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_544-4_0_5_line_38 |  | 33 | 54 | 0.002811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_544-4_0_5_line_39 |  | 34 | 35 | 0.018786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_544-4_0_5_line_40 |  | 35 | 36 | 0.012717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_544-4_0_5_line_41 |  | 36 | 37 | 0.031159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_544-4_0_5_line_42 |  | 36 | 38 | 0.072194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_544-4_0_5_line_43 |  | 36 | 39 | 0.071099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_544-4_0_5_line_44 |  | 38 | 40 | 0.021679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_544-4_0_5_line_45 |  | 39 | 41 | 0.031908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_544-4_0_5_line_46 |  | 40 | 47 | 0.08988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_544-4_0_5_line_47 |  | 41 | 43 | 0.018228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_544-4_0_5_line_48 |  | 42 | 43 | 0.004623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_544-4_0_5_line_49 |  | 42 | 44 | 0.027867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_544-4_0_5_line_50 |  | 42 | 45 | 0.039856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_544-4_0_5_line_51 |  | 46 | 47 | 0.026632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_544-4_0_5_line_52 |  | 46 | 48 | 0.01821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_544-4_0_5_line_53 |  | 48 | 49 | 0.030378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_544-4_0_5_line_54 |  | 49 | 50 | 0.01303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_544-4_0_5_line_55 |  | 51 | 52 | 0.015299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_544-4_0_5_line_56 |  | 52 | 53 | 0.009812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_544-4_0_5_line_57 |  | 53 | 54 | 0.034041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_544-4_0_5_line_58 |  | 54 | 55 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_544-4_0_5_line_59 |  | 56 | 57 | 0.023512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_544-4_0_5_line_60 |  | 57 | 58 | 0.0061294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_544-4_0_5_line_61 |  | 57 | 59 | 0.023674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_544-4_0_5_line_62 |  | 58 | 60 | 0.0014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_544-4_0_5_line_63 |  | 59 | 61 | 0.0020227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_544-4_0_5_line_64 |  | 62 | 63 | 0.013405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_544-4_0_5_line_65 |  | 63 | 65 | 0.012698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_544-4_0_5_line_66 |  | 66 | 67 | 0.015875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_544-4_0_5_line_67 |  | 66 | 68 | 0.031215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_544-4_0_5_line_68 |  | 67 | 69 | 0.021049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_544-4_0_5_line_69 |  | 68 | 70 | 0.04591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_544-4_0_5_line_70 |  | 69 | 71 | 0.041489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_544-4_0_5_trafo_46 | 0.63 MVA 20/0.4 kV | 72 | 62 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2603583.8185 | 1207049.22 | 2603588.6712 | 1207046.0067
1 | 2603583.8185 | 1207049.22 | 2603568.3155 | 1207059.4852
2 | 2603625.4934 | 1207021.6249 | 2603588.6712 | 1207046.0067
3 | 2603560.3215 | 1207075.4604 | 2603562.488 | 1207063.3439 | 2603568.3155 | 1207059.4852
4 | 2603560.3215 | 1207075.4604 | 2603535.3769 | 1207070.8544 | 2603529.9638 | 1207069.684 | 2603524.1862 | 1207067.6906
5 | 2603560.3215 | 1207075.4604 | 2603558.8042 | 1207082.6079 | 2603567.3719 | 1207085.2588 | 2603594.9299 | 1207093.5795 | 2603600.981 | 1207095.8733
6 | 2603455.8393 | 1207011.1872 | 2603459.3176 | 1207018.4153 | 2603463.2982 | 1207024.8878 | 2603473.5541 | 1207040.7134 | 2603478.3179 | 1207047.2753 | 2603482.2082 | 1207052.069 | 2603486.7219 | 1207056.9299 | 2603492.1254 | 1207061.5799 | 2603495.7961 | 1207064.8505 | 2603499.8394 | 1207067.8878 | 2603504.1266 | 1207070.1026 | 2603508.29 | 1207062.6231 | 2603510.1609 | 1207061.9794 | 2603512.3124 | 1207062.4809 | 2603524.1862 | 1207067.6906
7 | 2603524.1862 | 1207067.6906 | 2603526.0673 | 1207062.5889 | 2603528.0306 | 1207059.8552 | 2603530.5717 | 1207057.2998 | 2603536.2237 | 1207052.9673 | 2603539.1299 | 1207050.0785 | 2603541.6865 | 1207046.9672 | 2603549.5739 | 1207034.5436
8 | 2603600.981 | 1207095.8733 | 2603606.5781 | 1207081.5465 | 2603616.6051 | 1207072.2807 | 2603627.9142 | 1207064.1311
9 | 2603455.8393 | 1207011.1872 | 2603454.6704 | 1207007.3955 | 2603454.3033 | 1207005.9571
10 | 2603455.8393 | 1207011.1872 | 2603447.9373 | 1207014.251 | 2603444.5683 | 1207015.3053 | 2603440.9941 | 1207016.0815 | 2603436.0429 | 1207016.8336
11 | 2603566.0131 | 1207014.3199 | 2603565.1471 | 1207015.2191 | 2603559.1061 | 1207021.5412 | 2603553.483 | 1207028.3861 | 2603549.5739 | 1207034.5436
12 | 2603627.9142 | 1207064.1311 | 2603636.2705 | 1207058.1092
13 | 2603648.0574 | 1207049.782 | 2603645.2449 | 1207051.642 | 2603636.2705 | 1207058.1092
14 | 2603648.0574 | 1207049.782 | 2603673.5953 | 1207032.8924
15 | 2603673.5953 | 1207032.8924 | 2603675.6233 | 1207031.5511
16 | 2603687.5383 | 1207023.6711 | 2603675.6233 | 1207031.5511
17 | 2603474.1434 | 1206967.4291 | 2603469.732 | 1206969.6056 | 2603466.8492 | 1206971.316 | 2603463.9205 | 1206973.5711 | 2603461.4175 | 1206976.0711 | 2603459.1043 | 1206978.9491 | 2603457.5821 | 1206981.5275 | 2603455.9911 | 1206984.7839 | 2603454.7343 | 1206988.7187 | 2603453.6065 | 1206993.0315 | 2603453.2924 | 1206997.1336 | 2603453.3129 | 1207001.1469 | 2603453.9497 | 1207004.5714 | 2603454.3033 | 1207005.9571
18 | 2603436.0429 | 1207016.8336 | 2603422.4487 | 1207018.8987
19 | 2603566.0131 | 1207014.3199 | 2603566.6009 | 1207013.7097
20 | 2603701.1441 | 1207014.6728 | 2603687.5383 | 1207023.6711
21 | 2603701.1441 | 1207014.6728 | 2603702.1276 | 1207014.0224 | 2603702.6589 | 1207013.6931
22 | 2603702.6589 | 1207013.6931 | 2603715.3751 | 1207005.8123
23 | 2603715.3751 | 1207005.8123 | 2603730.0876 | 1206996.6943
24 | 2603552.6583 | 1206917.0913 | 2603540.4616 | 1206922.665
25 | 2603519.1777 | 1206932.3913 | 2603540.4616 | 1206922.665
26 | 2603519.1777 | 1206932.3913 | 2603507.3216 | 1206909.1273 | 2603495.0362 | 1206918.0766
27 | 2603524.6376 | 1206944.7902 | 2603520.582 | 1206936.4499 | 2603519.1777 | 1206932.3913
28 | 2603489.5969 | 1206922.0388 | 2603495.0362 | 1206918.0766
29 | 2603524.6376 | 1206944.7902 | 2603531.4829 | 1206941.4923
30 | 2603524.6376 | 1206944.7902 | 2603508.4616 | 1206952.017
31 | 2603477.9664 | 1206930.5111 | 2603489.5969 | 1206922.0388
32 | 2603531.4829 | 1206941.4923 | 2603568.4247 | 1206923.6708 | 2603579.7766 | 1206918.2383
33 | 2603531.4829 | 1206941.4923 | 2603548.7036 | 1206970.5516 | 2603548.7036 | 1206970.5516
34 | 2603495.561 | 1206957.7806 | 2603508.4616 | 1206952.017
35 | 2603583.3209 | 1206916.5422 | 2603579.7766 | 1206918.2383
36 | 2603548.7036 | 1206970.5516 | 2603546.3833 | 1206972.607 | 2603547.4471 | 1206974.2854
37 | 2603495.561 | 1206957.7806 | 2603507.2072 | 1206973.0705
38 | 2603495.561 | 1206957.7806 | 2603492.9903 | 1206958.9353
39 | 2603401.4347 | 1206971.0568 | 2603413.615 | 1206985.3585
40 | 2603401.4347 | 1206971.0568 | 2603394.3904 | 1206976.7893 | 2603390.8781 | 1206975.8535
41 | 2603398.4986 | 1206945.6412 | 2603390.8781 | 1206975.8535
42 | 2603393.5496 | 1206916.5336 | 2603381.0245 | 1206960.6619 | 2603377.2162 | 1206972.244 | 2603390.8781 | 1206975.8535
43 | 2603351.1664 | 1207012.8519 | 2603352.4513 | 1207012.9637 | 2603355.8503 | 1207012.8211 | 2603358.6487 | 1207012.3557 | 2603361.949 | 1207011.7238 | 2603368.8008 | 1207010.1379 | 2603368.4685 | 1207005.991 | 2603369.0333 | 1207002.1892 | 2603377.2162 | 1206972.244 | 2603390.8781 | 1206975.8535
44 | 2603393.5496 | 1206916.5336 | 2603398.6235 | 1206895.4571
45 | 2603351.1664 | 1207012.8519 | 2603356.8411 | 1207022.2824 | 2603361.4785 | 1207023.8636 | 2603366.8307 | 1207025.1339 | 2603372.6926 | 1207026.1043 | 2603377.2367 | 1207026.4824
46 | 2603419.9043 | 1206808.1334 | 2603417.0386 | 1206819.9938 | 2603400.5232 | 1206887.5661 | 2603398.6235 | 1206895.4571
47 | 2603395.4347 | 1207026.8507 | 2603389.2679 | 1207027.1808 | 2603380.0906 | 1207026.7199 | 2603377.2367 | 1207026.4824
48 | 2603394.8137 | 1207022.2701 | 2603395.4347 | 1207026.8507
49 | 2603394.8137 | 1207022.2701 | 2603399.6345 | 1207022.106 | 2603405.0486 | 1207021.542 | 2603422.4487 | 1207018.8987
50 | 2603394.8137 | 1207022.2701 | 2603403.0666 | 1207016.994 | 2603407.9485 | 1207016.4409 | 2603432.7711 | 1207012.4132
51 | 2603419.9043 | 1206808.1334 | 2603441.4767 | 1206821.5306 | 2603442.7063 | 1206821.6777
52 | 2603460.1919 | 1206817.9949 | 2603447.4529 | 1206822.2455 | 2603442.7063 | 1206821.6777
53 | 2603460.1919 | 1206817.9949 | 2603477.9458 | 1206842.6443
54 | 2603485.5611 | 1206853.2175 | 2603477.9458 | 1206842.6443
55 | 2603448.1019 | 1206971.8112 | 2603456.3446 | 1206964.762 | 2603459.3232 | 1206961.452
56 | 2603466.4711 | 1206954.8689 | 2603463.8238 | 1206956.4506 | 2603459.3232 | 1206961.452
57 | 2603492.9903 | 1206958.9353 | 2603480.5729 | 1206946.4435 | 2603466.4711 | 1206954.8689
58 | 2603474.1434 | 1206967.4291 | 2603483.5515 | 1206963.3434 | 2603492.9903 | 1206958.9353
59 | 2603606.5 | 1206905.4499 | 2603596.5524 | 1206884.1458
60 | 2603606.5 | 1206905.4499 | 2603611.9195 | 1206902.5866
61 | 2603606.5 | 1206905.4499 | 2603585.1455 | 1206915.6691
62 | 2603611.9195 | 1206902.5866 | 2603613.1695 | 1206901.9262
63 | 2603583.3209 | 1206916.5422 | 2603585.1455 | 1206915.6691
64 | 2603507.2072 | 1206973.0705 | 2603515.3296 | 1206983.7342
65 | 2603523.0235 | 1206993.8353 | 2603515.3296 | 1206983.7342
66 | 2603625.2616 | 1206964.2161 | 2603639.3599 | 1206956.9177
67 | 2603625.2616 | 1206964.2161 | 2603617.6479 | 1206968.1576 | 2603606.6026 | 1206976.0553 | 2603599.7427 | 1206981.9787
68 | 2603639.3599 | 1206956.9177 | 2603658.0525 | 1206947.2409
69 | 2603599.7427 | 1206981.9787 | 2603593.1448 | 1206987.676 | 2603578.6746 | 1207001.1748 | 2603566.6009 | 1207013.7097
70 | 2603658.0525 | 1206947.2409 | 2603666.4257 | 1206942.9062 | 2603689.1291 | 1206932.6477 | 2603695.8158 | 1206930.124

## bus_geodata
| x | y | coords
0 | 2603583.8185 | 1207049.22
1 | 2603588.6712 | 1207046.0067
2 | 2603568.3155 | 1207059.4852
3 | 2603625.4934 | 1207021.6249
4 | 2603560.3215 | 1207075.4604
5 | 2603524.1862 | 1207067.6906
6 | 2603600.981 | 1207095.8733
7 | 2603455.8392 | 1207011.1872
8 | 2603549.5739 | 1207034.5436
9 | 2603627.9142 | 1207064.1311
10 | 2603636.2705 | 1207058.1092
11 | 2603648.0574 | 1207049.782
12 | 2603673.5953 | 1207032.8924
13 | 2603675.6233 | 1207031.5511
14 | 2603454.3033 | 1207005.9571
15 | 2603436.0429 | 1207016.8336
16 | 2603566.0131 | 1207014.3199
17 | 2603687.5383 | 1207023.6711
18 | 2603701.1441 | 1207014.6728
19 | 2603702.6589 | 1207013.6931
20 | 2603715.3751 | 1207005.8123
21 | 2603730.0876 | 1206996.6943
22 | 2603540.4616 | 1206922.665
23 | 2603552.6583 | 1206917.0913
24 | 2603519.1777 | 1206932.3913
25 | 2603495.0362 | 1206918.0766
26 | 2603524.6376 | 1206944.7902
27 | 2603489.5969 | 1206922.0388
28 | 2603531.4829 | 1206941.4923
29 | 2603508.4616 | 1206952.017
30 | 2603477.9664 | 1206930.5111
31 | 2603579.7766 | 1206918.2383
32 | 2603548.7036 | 1206970.5516
33 | 2603495.561 | 1206957.7806
34 | 2603413.615 | 1206985.3585
35 | 2603401.4347 | 1206971.0568
36 | 2603390.8781 | 1206975.8535
37 | 2603398.4986 | 1206945.6412
38 | 2603393.5496 | 1206916.5336
39 | 2603351.1664 | 1207012.8519
40 | 2603398.6235 | 1206895.4571
41 | 2603377.2367 | 1207026.4824
42 | 2603394.8137 | 1207022.2701
43 | 2603395.4347 | 1207026.8507
44 | 2603422.4487 | 1207018.8987
45 | 2603432.7711 | 1207012.4132
46 | 2603442.7063 | 1206821.6777
47 | 2603419.9043 | 1206808.1334
48 | 2603460.1919 | 1206817.9949
49 | 2603477.9458 | 1206842.6444
50 | 2603485.5611 | 1206853.2175
51 | 2603448.1019 | 1206971.8112
52 | 2603459.3232 | 1206961.452
53 | 2603466.4711 | 1206954.8689
54 | 2603492.9903 | 1206958.9353
55 | 2603474.1434 | 1206967.4291
56 | 2603596.5524 | 1206884.1458
57 | 2603606.5 | 1206905.4499
58 | 2603611.9195 | 1206902.5866
59 | 2603585.1455 | 1206915.6691
60 | 2603613.1695 | 1206901.9262
61 | 2603583.3209 | 1206916.5422
62 | 2603507.2072 | 1206973.0705
63 | 2603515.3296 | 1206983.7342
64 | 2603547.4471 | 1206974.2854
65 | 2603523.0235 | 1206993.8353
66 | 2603625.2616 | 1206964.2161
67 | 2603639.3599 | 1206956.9177
68 | 2603599.7427 | 1206981.9787
69 | 2603658.0525 | 1206947.2409
70 | 2603566.6009 | 1207013.7097
71 | 2603695.8158 | 1206930.124
72 | 2603495.561 | 1206957.7806

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1