## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_551-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_551-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_551-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_551-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_551-17_0_4_node_70 | 0.4 | n |  | TRUE
5 | bus_LV_551-17_0_4_node_74 | 0.4 | n |  | TRUE
6 | bus_LV_551-17_0_4_node_108 | 0.4 | n |  | TRUE
7 | bus_LV_551-17_0_4_node_69 | 0.4 | n |  | TRUE
8 | bus_LV_551-17_0_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_551-17_0_4_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_551-17_0_4_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_551-17_0_4_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_551-17_0_4_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_551-17_0_4_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_551-17_0_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_551-17_0_4_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_551-17_0_4_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_551-17_0_4_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_551-17_0_4_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_551-17_0_4_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_551-17_0_4_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_551-17_0_4_node_100 | 0.4 | n |  | TRUE
22 | bus_LV_551-17_0_4_node_104 | 0.4 | n |  | TRUE
23 | bus_LV_551-17_0_4_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_551-17_0_4_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_551-17_0_4_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_551-17_0_4_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_551-17_0_4_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_551-17_0_4_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_551-17_0_4_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_551-17_0_4_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_551-17_0_4_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_551-17_0_4_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_551-17_0_4_node_119 | 0.4 | n |  | TRUE
34 | bus_LV_551-17_0_4_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_551-17_0_4_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_551-17_0_4_node_105 | 0.4 | n |  | TRUE
37 | bus_LV_551-17_0_4_node_117 | 0.4 | n |  | TRUE
38 | bus_LV_551-17_0_4_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_551-17_0_4_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_551-17_0_4_node_99 | 0.4 | n |  | TRUE
41 | bus_LV_551-17_0_4_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_551-17_0_4_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_551-17_0_4_node_90 | 0.4 | n |  | TRUE
44 | bus_LV_551-17_0_4_node_107 | 0.4 | n |  | TRUE
45 | bus_LV_551-17_0_4_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_551-17_0_4_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_551-17_0_4_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_551-17_0_4_node_96 | 0.4 | n |  | TRUE
49 | bus_LV_551-17_0_4_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_551-17_0_4_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_551-17_0_4_node_80 | 0.4 | n |  | TRUE
52 | bus_LV_551-17_0_4_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_551-17_0_4_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_551-17_0_4_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_551-17_0_4_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_551-17_0_4_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_551-17_0_4_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_551-17_0_4_node_97 | 0.4 | n |  | TRUE
59 | bus_LV_551-17_0_4_node_120 | 0.4 | n |  | TRUE
60 | bus_LV_551-17_0_4_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_551-17_0_4_node_101 | 0.4 | n |  | TRUE
62 | bus_LV_551-17_0_4_node_118 | 0.4 | n |  | TRUE
63 | bus_MV_429_0_node_86 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_551-17_0_4_load_0 | 0 | 0.014372 | 0.003602 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_551-17_0_4_load_3 | 3 | 0.010716 | 0.0026857 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_551-17_0_4_load_70 | 4 | 0.01042 | 0.0026116 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_551-17_0_4_load_74 | 5 | 0.0094666 | 0.0023726 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_551-17_0_4_load_108 | 6 | 0.014158 | 0.0035484 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_551-17_0_4_load_69 | 7 | 0.0098806 | 0.0024763 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_551-17_0_4_load_28 | 8 | 0.003768 | 0.00094435 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_551-17_0_4_load_29 | 9 | 0.0033698 | 0.00084456 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_551-17_0_4_load_32 | 12 | 0.0058926 | 0.0014768 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_551-17_0_4_load_41 | 13 | 0.0071002 | 0.0017795 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_551-17_0_4_load_59 | 14 | 0.0045369 | 0.001137 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_551-17_0_4_load_76 | 15 | 0.007334 | 0.0018381 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_551-17_0_4_load_60 | 16 | 0.0029505 | 0.00073946 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_551-17_0_4_load_83 | 19 | 0.0056173 | 0.0014078 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_551-17_0_4_load_61 | 20 | 0.0025931 | 0.0006499 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_551-17_0_4_load_62 | 23 | 0.0078789 | 0.0019746 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_551-17_0_4_load_63 | 24 | 0.0092883 | 0.0023279 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_551-17_0_4_load_65 | 26 | 0.0080474 | 0.0020169 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_551-17_0_4_load_66 | 27 | 0.0099652 | 0.0024975 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_551-17_0_4_load_98 | 28 | 0.0070613 | 0.0017697 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_551-17_0_4_load_75 | 31 | 0.0092287 | 0.0023129 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_551-17_0_4_load_119 | 33 | 0.0098726 | 0.0024743 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_551-17_0_4_load_73 | 35 | 0.0076443 | 0.0019159 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_551-17_0_4_load_105 | 36 | 0.010499 | 0.0026313 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_551-17_0_4_load_117 | 37 | 0.012711 | 0.0031857 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_551-17_0_4_load_72 | 39 | 0.011938 | 0.0029919 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_551-17_0_4_load_99 | 40 | 0.010452 | 0.0026196 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_551-17_0_4_load_95 | 41 | 0.011793 | 0.0029556 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_551-17_0_4_load_107 | 44 | 0.0088928 | 0.0022287 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_551-17_0_4_load_84 | 46 | 0.0085796 | 0.0021503 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_551-17_0_4_load_91 | 47 | 0.0056424 | 0.0014141 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_551-17_0_4_load_96 | 48 | 0.0052807 | 0.0013235 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_551-17_0_4_load_78 | 49 | 0.0065621 | 0.0016446 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_551-17_0_4_load_79 | 50 | 0.0094703 | 0.0023735 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_551-17_0_4_load_80 | 51 | 0.0078758 | 0.0019739 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_551-17_0_4_load_81 | 52 | 0.005694 | 0.001427 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_551-17_0_4_load_85 | 53 | 0.0084126 | 0.0021084 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_551-17_0_4_load_106 | 54 | 0.010856 | 0.0027208 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_551-17_0_4_load_92 | 56 | 0.010598 | 0.0026561 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_551-17_0_4_load_93 | 57 | 0.0097807 | 0.0024513 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_551-17_0_4_load_120 | 59 | 0.0078319 | 0.0019629 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_551-17_0_4_load_101 | 61 | 0.015995 | 0.0040087 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_551-17_0_4_load_118 | 62 | 0.004786 | 0.0011995 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_551-17_0_4_line_0 |  | 0 | 1 | 0.022151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_551-17_0_4_line_1 |  | 1 | 2 | 0.023077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_551-17_0_4_line_2 |  | 1 | 3 | 0.012579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_551-17_0_4_line_3 |  | 2 | 4 | 0.019459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_551-17_0_4_line_4 |  | 2 | 5 | 0.029148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_551-17_0_4_line_5 |  | 3 | 6 | 0.01037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_551-17_0_4_line_6 |  | 4 | 7 | 0.016665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_551-17_0_4_line_7 |  | 7 | 38 | 0.02671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_551-17_0_4_line_8 |  | 8 | 9 | 0.00061858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_551-17_0_4_line_9 |  | 8 | 10 | 0.011478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_551-17_0_4_line_10 |  | 9 | 11 | 0.008002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_551-17_0_4_line_11 |  | 10 | 12 | 0.033567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_551-17_0_4_line_12 |  | 11 | 13 | 0.051171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_551-17_0_4_line_13 |  | 12 | 14 | 0.022235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_551-17_0_4_line_14 |  | 13 | 15 | 0.019079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_551-17_0_4_line_15 |  | 14 | 16 | 0.045268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_551-17_0_4_line_16 |  | 15 | 17 | 0.016178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_551-17_0_4_line_17 |  | 16 | 20 | 0.024769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_551-17_0_4_line_18 |  | 17 | 18 | 0.015254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_551-17_0_4_line_19 |  | 18 | 19 | 0.038548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_551-17_0_4_line_20 |  | 19 | 26 | 0.011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_551-17_0_4_line_21 |  | 20 | 21 | 0.042453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_551-17_0_4_line_22 |  | 21 | 22 | 0.028334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_551-17_0_4_line_23 |  | 22 | 62 | 0.010297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_551-17_0_4_line_24 |  | 22 | 60 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_551-17_0_4_line_25 |  | 23 | 24 | 0.013064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_551-17_0_4_line_26 |  | 23 | 25 | 0.024301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_551-17_0_4_line_27 |  | 24 | 26 | 0.026585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_551-17_0_4_line_28 |  | 25 | 27 | 0.00049178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_551-17_0_4_line_29 |  | 27 | 28 | 0.015058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_551-17_0_4_line_30 |  | 29 | 30 | 0.038803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_551-17_0_4_line_31 |  | 29 | 31 | 0.029223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_551-17_0_4_line_32 |  | 29 | 32 | 0.002182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_551-17_0_4_line_33 |  | 30 | 33 | 0.004709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_551-17_0_4_line_34 |  | 30 | 34 | 0.023652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_551-17_0_4_line_35 |  | 31 | 35 | 0.021529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_551-17_0_4_line_36 |  | 32 | 36 | 0.028406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_551-17_0_4_line_37 |  | 34 | 37 | 0.020867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_551-17_0_4_line_38 |  | 36 | 54 | 0.0060753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_551-17_0_4_line_39 |  | 38 | 39 | 0.050966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_551-17_0_4_line_40 |  | 39 | 40 | 0.017563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_551-17_0_4_line_41 |  | 40 | 41 | 0.031286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_551-17_0_4_line_42 |  | 41 | 57 | 0.017168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_551-17_0_4_line_43 |  | 42 | 43 | 0.0079723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_551-17_0_4_line_44 |  | 42 | 44 | 0.023677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_551-17_0_4_line_45 |  | 42 | 45 | 0.039104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_551-17_0_4_line_46 |  | 43 | 47 | 0.034725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_551-17_0_4_line_47 |  | 43 | 48 | 0.032116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_551-17_0_4_line_48 |  | 44 | 54 | 0.020378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_551-17_0_4_line_49 |  | 45 | 46 | 0.0090055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_551-17_0_4_line_50 |  | 46 | 53 | 0.024764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_551-17_0_4_line_51 |  | 47 | 52 | 0.012344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_551-17_0_4_line_52 |  | 48 | 55 | 0.036642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_551-17_0_4_line_53 |  | 49 | 50 | 0.015109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_551-17_0_4_line_54 |  | 49 | 51 | 0.011412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_551-17_0_4_line_55 |  | 50 | 52 | 0.0034038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_551-17_0_4_line_56 |  | 55 | 58 | 0.038177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_551-17_0_4_line_57 |  | 55 | 56 | 0.051754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_551-17_0_4_line_58 |  | 56 | 57 | 0.029943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_551-17_0_4_line_59 |  | 58 | 59 | 0.009417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_551-17_0_4_line_60 |  | 58 | 60 | 0.027705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_551-17_0_4_line_61 |  | 60 | 61 | 0.036433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_551-17_0_4_trafo_88 | 0.63 MVA 20/0.4 kV | 63 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2605353.5641 | 1207625.1359 | 2605343.1896 | 1207605.5649
1 | 2605353.5641 | 1207625.1359 | 2605337.0135 | 1207641.2635
2 | 2605353.5641 | 1207625.1359 | 2605362.5734 | 1207616.3568
3 | 2605337.0135 | 1207641.2635 | 2605323.2676 | 1207655.0367
4 | 2605337.0135 | 1207641.2635 | 2605352.4568 | 1207647.7363 | 2605355.1413 | 1207655.5096 | 2605358.4257 | 1207658.0936
5 | 2605370.0005 | 1207609.1195 | 2605362.5734 | 1207616.3568
6 | 2605311.4955 | 1207666.8321 | 2605323.2676 | 1207655.0367
7 | 2605292.6271 | 1207685.7378 | 2605311.4955 | 1207666.8321
8 | 2605613.8165 | 1207701.1154 | 2605613.2707 | 1207700.8244
9 | 2605623.9455 | 1207706.5151 | 2605613.8165 | 1207701.1154
10 | 2605606.2094 | 1207697.0601 | 2605613.2707 | 1207700.8244
11 | 2605623.9455 | 1207706.5151 | 2605622.3607 | 1207710.1045 | 2605608.5973 | 1207736.3593
12 | 2605606.2094 | 1207697.0601 | 2605597.0178 | 1207696.8514 | 2605588.1462 | 1207695.9316 | 2605588.3804 | 1207705.7261 | 2605586.0962 | 1207709.3482 | 2605568.6878 | 1207701.7889
13 | 2605598.2739 | 1207756.0521 | 2605608.5973 | 1207736.3593
14 | 2605568.6878 | 1207701.7889 | 2605551.1872 | 1207694.1896
15 | 2605598.2739 | 1207756.0521 | 2605577.2561 | 1207796.1454
16 | 2605536.3483 | 1207687.7461 | 2605551.1872 | 1207694.1896
17 | 2605577.2561 | 1207796.1454 | 2605572.6728 | 1207804.8883 | 2605566.5488 | 1207818.4686
18 | 2605536.3483 | 1207687.7461 | 2605535.1092 | 1207679.2292 | 2605532.9102 | 1207672.957
19 | 2605532.9102 | 1207672.957 | 2605528.128 | 1207664.6815 | 2605521.5957 | 1207657.8829 | 2605512.5541 | 1207651.6378 | 2605504.4423 | 1207648.8629
20 | 2605492.9908 | 1207646.267 | 2605500.5301 | 1207647.5246 | 2605504.4423 | 1207648.8629
21 | 2605547.0733 | 1207856.0374 | 2605554.1684 | 1207845.716 | 2605559.3029 | 1207834.5368 | 2605566.5488 | 1207818.4686
22 | 2605522.3929 | 1207842.0626 | 2605530.0898 | 1207847.0613 | 2605535.9026 | 1207850.4463 | 2605547.0733 | 1207856.0374
23 | 2605522.3929 | 1207842.0626 | 2605529.493 | 1207834.5872
24 | 2605522.3929 | 1207842.0626 | 2605511.6121 | 1207834.0817
25 | 2605453.5176 | 1207645.596 | 2605464.366 | 1207644.6124 | 2605466.5375 | 1207644.6195
26 | 2605429.3894 | 1207648.4497 | 2605445.7907 | 1207646.2966 | 2605453.5176 | 1207645.596
27 | 2605492.9908 | 1207646.267 | 2605483.4415 | 1207644.6742 | 2605466.5375 | 1207644.6195
28 | 2605428.9106 | 1207648.5618 | 2605429.3894 | 1207648.4497
29 | 2605414.249 | 1207651.9936 | 2605428.9106 | 1207648.5618
30 | 2605445.5684 | 1207707.3411 | 2605439.441 | 1207698.4418 | 2605438.5867 | 1207693.0825 | 2605439.4048 | 1207688.0138 | 2605449.3383 | 1207683.2646 | 2605455.5058 | 1207681.458
31 | 2605445.5684 | 1207707.3411 | 2605423.5936 | 1207710.4119 | 2605418.1138 | 1207706.0015
32 | 2605447.1332 | 1207708.8655 | 2605445.5684 | 1207707.3411
33 | 2605455.5058 | 1207681.458 | 2605452.2321 | 1207678.0643
34 | 2605478.7396 | 1207681.857 | 2605467.4551 | 1207684.0147 | 2605464.1939 | 1207683.5337 | 2605455.5058 | 1207681.458
35 | 2605401.342 | 1207692.5029 | 2605418.1138 | 1207706.0015
36 | 2605447.1332 | 1207708.8655 | 2605442.8261 | 1207713.2752 | 2605444.2054 | 1207726.517 | 2605451.388 | 1207731.8213
37 | 2605478.7396 | 1207681.857 | 2605484.2015 | 1207678.449 | 2605486.3504 | 1207673.1036 | 2605487.0729 | 1207664.4661
38 | 2605451.388 | 1207731.8213 | 2605456.2751 | 1207735.4304
39 | 2605292.6271 | 1207685.7378 | 2605301.1537 | 1207690.081 | 2605308.5545 | 1207695.0013 | 2605324.0549 | 1207705.4874 | 2605335.5065 | 1207713.1797
40 | 2605335.5065 | 1207713.1797 | 2605350.0854 | 1207722.9727
41 | 2605376.056 | 1207740.4178 | 2605350.0854 | 1207722.9727
42 | 2605376.056 | 1207740.4178 | 2605390.3072 | 1207749.9907
43 | 2605498.8752 | 1207736.5943 | 2605502.955 | 1207739.7664 | 2605501.174 | 1207741.9327
44 | 2605498.8752 | 1207736.5943 | 2605475.369 | 1207739.437
45 | 2605498.8752 | 1207736.5943 | 2605507.027 | 1207734.8341 | 2605517.1879 | 1207722.5032 | 2605517.2698 | 1207707.7174
46 | 2605501.174 | 1207741.9327 | 2605528.334 | 1207763.5693
47 | 2605501.174 | 1207741.9327 | 2605481.0661 | 1207766.9745
48 | 2605456.2751 | 1207735.4304 | 2605457.2431 | 1207736.1452 | 2605463.1472 | 1207739.6747 | 2605468.8563 | 1207740.2246 | 2605475.369 | 1207739.437
49 | 2605517.2698 | 1207707.7174 | 2605517.1792 | 1207698.7124
50 | 2605520.7031 | 1207677.9042 | 2605524.9369 | 1207687.3354 | 2605522.9388 | 1207694.0818 | 2605517.1792 | 1207698.7124
51 | 2605528.334 | 1207763.5693 | 2605528.334 | 1207763.5693 | 2605537.6023 | 1207755.4157
52 | 2605458.1245 | 1207795.5453 | 2605481.0661 | 1207766.9745
53 | 2605551.5019 | 1207743.1878 | 2605540.1579 | 1207753.1675
54 | 2605560.0705 | 1207735.6498 | 2605551.5019 | 1207743.1878
55 | 2605540.1579 | 1207753.1675 | 2605537.6023 | 1207755.4157
56 | 2605489.3819 | 1207817.4635 | 2605466.1251 | 1207801.0778 | 2605461.9538 | 1207798.2392 | 2605458.1245 | 1207795.5453
57 | 2605458.1245 | 1207795.5453 | 2605415.1635 | 1207766.6873
58 | 2605415.1635 | 1207766.6873 | 2605390.3072 | 1207749.9907
59 | 2605489.3819 | 1207817.4635 | 2605495.4554 | 1207810.2539
60 | 2605511.6121 | 1207834.0817 | 2605489.3819 | 1207817.4635
61 | 2605511.6121 | 1207834.0817 | 2605489.1835 | 1207862.7932

## bus_geodata
| x | y | coords
0 | 2605343.1896 | 1207605.5649
1 | 2605353.5641 | 1207625.1359
2 | 2605337.0135 | 1207641.2635
3 | 2605362.5734 | 1207616.3568
4 | 2605323.2676 | 1207655.0367
5 | 2605358.4257 | 1207658.0936
6 | 2605370.0005 | 1207609.1195
7 | 2605311.4955 | 1207666.8321
8 | 2605613.8165 | 1207701.1154
9 | 2605613.2707 | 1207700.8244
10 | 2605623.9455 | 1207706.5151
11 | 2605606.2094 | 1207697.0601
12 | 2605608.5973 | 1207736.3593
13 | 2605568.6878 | 1207701.7889
14 | 2605598.2739 | 1207756.0521
15 | 2605551.1872 | 1207694.1896
16 | 2605577.2561 | 1207796.1454
17 | 2605536.3483 | 1207687.7461
18 | 2605532.9102 | 1207672.957
19 | 2605504.4423 | 1207648.8629
20 | 2605566.5488 | 1207818.4686
21 | 2605547.0733 | 1207856.0374
22 | 2605522.3929 | 1207842.0626
23 | 2605453.5176 | 1207645.596
24 | 2605466.5375 | 1207644.6195
25 | 2605429.3894 | 1207648.4497
26 | 2605492.9908 | 1207646.267
27 | 2605428.9106 | 1207648.5618
28 | 2605414.249 | 1207651.9936
29 | 2605445.5684 | 1207707.3411
30 | 2605455.5058 | 1207681.458
31 | 2605418.1138 | 1207706.0015
32 | 2605447.1332 | 1207708.8655
33 | 2605452.2321 | 1207678.0643
34 | 2605478.7396 | 1207681.857
35 | 2605401.342 | 1207692.5029
36 | 2605451.388 | 1207731.8213
37 | 2605487.0729 | 1207664.4661
38 | 2605292.6271 | 1207685.7378
39 | 2605335.5065 | 1207713.1797
40 | 2605350.0854 | 1207722.9727
41 | 2605376.056 | 1207740.4178
42 | 2605498.8752 | 1207736.5943
43 | 2605501.174 | 1207741.9327
44 | 2605475.369 | 1207739.437
45 | 2605517.2698 | 1207707.7174
46 | 2605517.1792 | 1207698.7124
47 | 2605528.334 | 1207763.5693
48 | 2605481.0661 | 1207766.9745
49 | 2605551.5019 | 1207743.1878
50 | 2605540.1579 | 1207753.1675
51 | 2605560.0705 | 1207735.6498
52 | 2605537.6023 | 1207755.4157
53 | 2605520.7031 | 1207677.9042
54 | 2605456.2751 | 1207735.4304
55 | 2605458.1245 | 1207795.5453
56 | 2605415.1635 | 1207766.6873
57 | 2605390.3072 | 1207749.9907
58 | 2605489.382 | 1207817.4635
59 | 2605495.4554 | 1207810.2539
60 | 2605511.6121 | 1207834.0817
61 | 2605489.1835 | 1207862.7932
62 | 2605529.493 | 1207834.5872
63 | 2605445.5684 | 1207707.3411

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1