## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_551-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_551-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_551-5_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_551-5_0_5_node_82 | 0.4 | n |  | TRUE
4 | bus_LV_551-5_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_551-5_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_551-5_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_551-5_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_551-5_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_551-5_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_551-5_0_5_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_551-5_0_5_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_551-5_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_551-5_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_551-5_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_551-5_0_5_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_551-5_0_5_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_551-5_0_5_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_551-5_0_5_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_551-5_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_551-5_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_551-5_0_5_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_551-5_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_551-5_0_5_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_551-5_0_5_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_551-5_0_5_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_551-5_0_5_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_551-5_0_5_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_551-5_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_551-5_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_551-5_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_551-5_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_551-5_0_5_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_551-5_0_5_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_551-5_0_5_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_551-5_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_551-5_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_551-5_0_5_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_551-5_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_551-5_0_5_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_551-5_0_5_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_551-5_0_5_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_551-5_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_551-5_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_551-5_0_5_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_551-5_0_5_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_551-5_0_5_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_551-5_0_5_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_551-5_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_551-5_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_551-5_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_551-5_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_551-5_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_551-5_0_5_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_551-5_0_5_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_551-5_0_5_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_551-5_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_551-5_0_5_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_551-5_0_5_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_551-5_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_551-5_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_551-5_0_5_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_551-5_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_551-5_0_5_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_551-5_0_5_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_551-5_0_5_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_551-5_0_5_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_551-5_0_5_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_551-5_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_551-5_0_5_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_551-5_0_5_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_551-5_0_5_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_551-5_0_5_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_551-5_0_5_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_551-5_0_5_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_551-5_0_5_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_551-5_0_5_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_551-5_0_5_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_551-5_0_5_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_551-5_0_5_node_80 | 0.4 | n |  | TRUE
80 | bus_MV_429_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_551-5_0_5_load_0 | 0 | 0.010785 | 0.002703 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_551-5_0_5_load_82 | 3 | 0.095907 | 0.024037 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_551-5_0_5_load_4 | 5 | 0.010637 | 0.0026658 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_551-5_0_5_load_6 | 7 | 0.069702 | 0.017469 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_551-5_0_5_load_9 | 9 | 0.0016242 | 0.00040707 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_551-5_0_5_load_15 | 10 | 0.0014075 | 0.00035275 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_551-5_0_5_load_10 | 12 | 0.019519 | 0.004892 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_551-5_0_5_load_11 | 13 | 0.0041151 | 0.0010313 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_551-5_0_5_load_72 | 16 | 0.00081658 | 0.00020465 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_551-5_0_5_load_73 | 18 | 0.00059362 | 0.00014878 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_551-5_0_5_load_16 | 19 | 0.002475 | 0.00062029 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_551-5_0_5_load_17 | 20 | 0.0021165 | 0.00053043 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_551-5_0_5_load_18 | 21 | 0.0026948 | 0.00067539 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_551-5_0_5_load_19 | 22 | 0.0023146 | 0.00058009 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_551-5_0_5_load_20 | 23 | 0.0011999 | 0.00030073 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_551-5_0_5_load_45 | 24 | 0.0021861 | 0.0005479 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_551-5_0_5_load_30 | 25 | 0.0020612 | 0.00051659 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_551-5_0_5_load_43 | 26 | 0.0021987 | 0.00055105 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_551-5_0_5_load_31 | 27 | 0.0024344 | 0.00061011 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_551-5_0_5_load_21 | 28 | 0.0020437 | 0.0005122 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_551-5_0_5_load_22 | 29 | 0.0015666 | 0.00039263 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_551-5_0_5_load_23 | 30 | 0.0018476 | 0.00046305 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_551-5_0_5_load_24 | 31 | 0.0020857 | 0.00052273 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_551-5_0_5_load_25 | 35 | 0.0017088 | 0.00042827 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_551-5_0_5_load_26 | 36 | 0.0036152 | 0.00090604 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_551-5_0_5_load_27 | 37 | 0.0048619 | 0.0012185 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_551-5_0_5_load_29 | 38 | 0.0023864 | 0.00059809 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_551-5_0_5_load_41 | 40 | 0.0022168 | 0.00055559 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_551-5_0_5_load_49 | 41 | 0.0024516 | 0.00061442 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_551-5_0_5_load_42 | 42 | 0.0069329 | 0.0017376 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_551-5_0_5_load_32 | 43 | 0.0019855 | 0.00049761 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_551-5_0_5_load_57 | 46 | 0.0025259 | 0.00063306 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_551-5_0_5_load_62 | 47 | 0.0020459 | 0.00051275 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_551-5_0_5_load_34 | 48 | 0.0062002 | 0.0015539 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_551-5_0_5_load_35 | 49 | 0.0017496 | 0.0004385 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_551-5_0_5_load_36 | 50 | 0.010916 | 0.0027358 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_551-5_0_5_load_37 | 51 | 0.0021756 | 0.00054525 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_551-5_0_5_load_40 | 52 | 0.0020325 | 0.00050938 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_551-5_0_5_load_47 | 54 | 0.0023945 | 0.00060011 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_551-5_0_5_load_44 | 55 | 0.0022842 | 0.00057247 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_551-5_0_5_load_46 | 56 | 0.0021995 | 0.00055124 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_551-5_0_5_load_50 | 57 | 0.0019156 | 0.00048011 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_551-5_0_5_load_48 | 58 | 0.0020384 | 0.00051088 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_551-5_0_5_load_51 | 59 | 0.002871 | 0.00071954 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_551-5_0_5_load_52 | 60 | 0.0024739 | 0.00062002 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_551-5_0_5_load_55 | 61 | 0.001725 | 0.00043233 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_551-5_0_5_load_60 | 62 | 0.0046861 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_551-5_0_5_load_71 | 63 | 0.0015561 | 0.00039 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_551-5_0_5_load_70 | 64 | 0.0022648 | 0.00056762 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_551-5_0_5_load_63 | 65 | 0.0031874 | 0.00079883 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_551-5_0_5_load_64 | 66 | 0.0013861 | 0.00034738 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_551-5_0_5_load_65 | 67 | 0.0029198 | 0.00073176 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_551-5_0_5_load_67 | 69 | 0.020495 | 0.0051365 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_551-5_0_5_load_68 | 70 | 0.0048848 | 0.0012243 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_551-5_0_5_load_69 | 71 | 0.0054744 | 0.001372 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_551-5_0_5_load_83 | 72 | 0.00089036 | 0.00022315 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_551-5_0_5_load_74 | 73 | 0.00079397 | 0.00019899 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_551-5_0_5_load_75 | 74 | 0.00070923 | 0.00017775 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_551-5_0_5_load_76 | 75 | 0.010514 | 0.0026349 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_551-5_0_5_load_78 | 76 | 0.00090514 | 0.00022685 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_551-5_0_5_load_77 | 77 | 0.0012825 | 0.00032142 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_551-5_0_5_load_79 | 78 | 0.00087125 | 0.00021836 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_551-5_0_5_load_80 | 79 | 0.008333 | 0.0020885 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_551-5_0_5_line_0 |  | 0 | 1 | 0.010165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_551-5_0_5_line_1 |  | 1 | 2 | 0.042654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_551-5_0_5_line_2 |  | 2 | 3 | 0.048367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_551-5_0_5_line_3 |  | 3 | 4 | 0.030348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_551-5_0_5_line_4 |  | 4 | 6 | 0.07761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_551-5_0_5_line_5 |  | 5 | 6 | 0.047825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_551-5_0_5_line_6 |  | 6 | 7 | 0.031708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_551-5_0_5_line_7 |  | 7 | 8 | 0.02005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_551-5_0_5_line_8 |  | 8 | 9 | 0.020567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_551-5_0_5_line_9 |  | 9 | 10 | 0.019195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_551-5_0_5_line_10 |  | 10 | 11 | 0.040392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_551-5_0_5_line_11 |  | 11 | 14 | 0.020766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_551-5_0_5_line_12 |  | 11 | 12 | 0.030436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_551-5_0_5_line_13 |  | 12 | 13 | 0.046133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_551-5_0_5_line_14 |  | 14 | 15 | 0.047267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_551-5_0_5_line_15 |  | 14 | 16 | 0.011976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_551-5_0_5_line_16 |  | 15 | 17 | 0.035965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_551-5_0_5_line_17 |  | 16 | 18 | 0.0027881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_551-5_0_5_line_18 |  | 17 | 61 | 0.017402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_551-5_0_5_line_19 |  | 17 | 59 | 0.033058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_551-5_0_5_line_20 |  | 18 | 73 | 0.01135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_551-5_0_5_line_21 |  | 19 | 20 | 0.025497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_551-5_0_5_line_22 |  | 19 | 21 | 7.3698e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_551-5_0_5_line_23 |  | 20 | 22 | 9.1026e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_551-5_0_5_line_24 |  | 21 | 23 | 0.0023878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_551-5_0_5_line_25 |  | 22 | 24 | 0.017865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_551-5_0_5_line_26 |  | 23 | 25 | 4.5458e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_551-5_0_5_line_27 |  | 24 | 26 | 2.5473e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_551-5_0_5_line_28 |  | 25 | 27 | 0.023985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_551-5_0_5_line_29 |  | 26 | 55 | 0.0076957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_551-5_0_5_line_30 |  | 27 | 43 | 1.1779e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_551-5_0_5_line_31 |  | 28 | 29 | 0.010932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_551-5_0_5_line_32 |  | 28 | 30 | 0.00606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_551-5_0_5_line_33 |  | 29 | 31 | 0.051759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_551-5_0_5_line_34 |  | 31 | 32 | 0.032943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_551-5_0_5_line_35 |  | 32 | 33 | 0.043706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_551-5_0_5_line_36 |  | 32 | 34 | 0.024756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_551-5_0_5_line_37 |  | 33 | 53 | 0.034773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_551-5_0_5_line_38 |  | 33 | 52 | 0.036539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_551-5_0_5_line_39 |  | 34 | 39 | 0.042733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_551-5_0_5_line_40 |  | 34 | 36 | 0.024525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_551-5_0_5_line_41 |  | 35 | 36 | 0.010151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_551-5_0_5_line_42 |  | 35 | 37 | 0.0062044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_551-5_0_5_line_43 |  | 37 | 38 | 0.033138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_551-5_0_5_line_44 |  | 38 | 40 | 0.014646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_551-5_0_5_line_45 |  | 39 | 41 | 0.026182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_551-5_0_5_line_46 |  | 40 | 42 | 0.031216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_551-5_0_5_line_47 |  | 41 | 54 | 2.4681e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_551-5_0_5_line_48 |  | 43 | 44 | 0.016265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_551-5_0_5_line_49 |  | 44 | 45 | 0.059899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_551-5_0_5_line_50 |  | 44 | 46 | 0.015086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_551-5_0_5_line_51 |  | 45 | 47 | 0.099233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_551-5_0_5_line_52 |  | 47 | 65 | 0.017011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_551-5_0_5_line_53 |  | 48 | 49 | 0.025211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_551-5_0_5_line_54 |  | 48 | 50 | 0.011719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_551-5_0_5_line_55 |  | 49 | 51 | 5.1428e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_551-5_0_5_line_56 |  | 51 | 52 | 0.02927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_551-5_0_5_line_57 |  | 53 | 62 | 0.017996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_551-5_0_5_line_58 |  | 53 | 60 | 0.011231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_551-5_0_5_line_59 |  | 54 | 58 | 0.0057553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_551-5_0_5_line_60 |  | 55 | 56 | 0.00010334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_551-5_0_5_line_61 |  | 56 | 57 | 0.019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_551-5_0_5_line_62 |  | 57 | 58 | 0.00018754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_551-5_0_5_line_63 |  | 59 | 60 | 0.016163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_551-5_0_5_line_64 |  | 61 | 63 | 0.023958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_551-5_0_5_line_65 |  | 63 | 64 | 0.026364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_551-5_0_5_line_66 |  | 64 | 70 | 0.0066026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_551-5_0_5_line_67 |  | 65 | 66 | 0.029068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_551-5_0_5_line_68 |  | 66 | 67 | 0.024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_551-5_0_5_line_69 |  | 67 | 68 | 0.02206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_551-5_0_5_line_70 |  | 68 | 69 | 0.024413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_551-5_0_5_line_71 |  | 70 | 71 | 0.021154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_551-5_0_5_line_72 |  | 71 | 72 | 0.034688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_551-5_0_5_line_73 |  | 73 | 74 | 0.015121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_551-5_0_5_line_74 |  | 74 | 75 | 0.0098188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_551-5_0_5_line_75 |  | 75 | 76 | 0.005067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_551-5_0_5_line_76 |  | 76 | 77 | 0.01679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_551-5_0_5_line_77 |  | 77 | 78 | 0.014241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_551-5_0_5_line_78 |  | 78 | 79 | 0.0080997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_551-5_0_5_trafo_8 | 0.63 MVA 20/0.4 kV | 80 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2604769.4099 | 1207396.3772 | 2604774.094 | 1207395.8028 | 2604779.489 | 1207395.0632
1 | 2604769.4099 | 1207396.3772 | 2604760.272 | 1207385.3195 | 2604762.6115 | 1207378.562 | 2604770.297 | 1207370.6193 | 2604768.7618 | 1207369.8065 | 2604767.5615 | 1207368.5382 | 2604766.8252 | 1207366.959 | 2604766.6288 | 1207365.3468 | 2604766.919 | 1207363.7462 | 2604767.6729 | 1207362.3015
2 | 2604767.6729 | 1207362.3015 | 2604766.1155 | 1207360.5883 | 2604763.2879 | 1207359.6633 | 2604760.7258 | 1207359.3389 | 2604757.6311 | 1207359.6922 | 2604754.4977 | 1207360.7681 | 2604751.135 | 1207363.4003 | 2604748.8059 | 1207366.5557 | 2604745.1449 | 1207371.5556 | 2604742.0931 | 1207375.2552 | 2604738.4483 | 1207378.8877 | 2604731.188 | 1207385.3729
3 | 2604708.5546 | 1207405.5902 | 2604731.188 | 1207385.3729
4 | 2604649.4845 | 1207377.418 | 2604677.3723 | 1207407.8895 | 2604681.7792 | 1207411.7172 | 2604688.0191 | 1207414.6904 | 2604693.9721 | 1207414.9618 | 2604699.5695 | 1207413.0428 | 2604704.119 | 1207409.4666 | 2604708.5546 | 1207405.5902
5 | 2604649.4845 | 1207377.418 | 2604612.2876 | 1207407.4775
6 | 2604649.4845 | 1207377.418 | 2604628.5935 | 1207353.5647
7 | 2604615.3835 | 1207338.4816 | 2604628.5935 | 1207353.5647
8 | 2604615.3835 | 1207338.4816 | 2604608.4924 | 1207331.8283 | 2604600.8963 | 1207323.8884
9 | 2604600.8963 | 1207323.8884 | 2604595.4328 | 1207318.1775 | 2604587.6247 | 1207310.0202
10 | 2604559.6951 | 1207280.8412 | 2604587.6247 | 1207310.0202
11 | 2604559.6951 | 1207280.8412 | 2604566.1229 | 1207276.8438 | 2604571.0759 | 1207272.5785 | 2604575.6264 | 1207267.6682
12 | 2604559.6951 | 1207280.8412 | 2604553.6787 | 1207283.7827 | 2604548.7277 | 1207285.4355 | 2604544.4158 | 1207286.4105 | 2604538.1958 | 1207287.1507 | 2604530.3779 | 1207287.6696
13 | 2604530.3779 | 1207287.6696 | 2604484.346 | 1207290.7245
14 | 2604601.257 | 1207227.9436 | 2604580.3832 | 1207261.3461 | 2604575.6264 | 1207267.6682
15 | 2604575.6264 | 1207267.6682 | 2604566.3167 | 1207260.1339
16 | 2604601.257 | 1207227.9436 | 2604620.4103 | 1207197.4747
17 | 2604566.3167 | 1207260.1339 | 2604564.1494 | 1207258.38
18 | 2604620.4103 | 1207197.4747 | 2604616.4593 | 1207193.892 | 2604607.1201 | 1207186.2478
19 | 2604620.4103 | 1207197.4747 | 2604634.6917 | 1207174.751 | 2604638.0018 | 1207169.4857
20 | 2604555.3268 | 1207251.2399 | 2604564.1494 | 1207258.38
21 | 2604788.1426 | 1207074.8619 | 2604807.0564 | 1207091.961
22 | 2604807.111 | 1207092.0104 | 2604807.0564 | 1207091.961
23 | 2604788.1426 | 1207074.8619 | 2604788.0751 | 1207074.8009
24 | 2604807.111 | 1207092.0104 | 2604808.8823 | 1207093.6117
25 | 2604788.0751 | 1207074.8009 | 2604774.8226 | 1207062.8199
26 | 2604808.916 | 1207093.6422 | 2604808.8823 | 1207093.6117
27 | 2604774.8226 | 1207062.8199 | 2604774.8037 | 1207062.8028
28 | 2604808.916 | 1207093.6422 | 2604813.3961 | 1207097.6925 | 2604818.0637 | 1207098.9413 | 2604827.7525 | 1207107.7783
29 | 2604774.8037 | 1207062.8028 | 2604769.095 | 1207057.6419
30 | 2604827.7612 | 1207107.7863 | 2604827.7525 | 1207107.7783
31 | 2604757.3525 | 1207136.617 | 2604765.4704 | 1207143.9382
32 | 2604769.9706 | 1207147.9968 | 2604765.4704 | 1207143.9382
33 | 2604757.3525 | 1207136.617 | 2604718.916 | 1207101.9523
34 | 2604694.4524 | 1207079.8894 | 2604718.916 | 1207101.9523
35 | 2604671.1037 | 1207116.836 | 2604679.4322 | 1207103.5907 | 2604694.4524 | 1207079.8894
36 | 2604707.5545 | 1207058.8658 | 2604694.4524 | 1207079.8894
37 | 2604671.1037 | 1207116.836 | 2604652.5817 | 1207146.2935
38 | 2604671.1037 | 1207116.836 | 2604697.0119 | 1207142.6018
39 | 2604730.6139 | 1207022.8529 | 2604707.5545 | 1207058.8658
40 | 2604707.5545 | 1207058.8658 | 2604725.482 | 1207075.6021
41 | 2604725.482 | 1207075.6021 | 2604732.9019 | 1207082.529
42 | 2604737.4372 | 1207086.7629 | 2604732.9019 | 1207082.529
43 | 2604761.7803 | 1207109.2416 | 2604758.6132 | 1207106.5318 | 2604737.4372 | 1207086.7629
44 | 2604772.9086 | 1207118.7631 | 2604761.7803 | 1207109.2416
45 | 2604730.6139 | 1207022.8529 | 2604750.0358 | 1207040.4113
46 | 2604796.6279 | 1207139.0574 | 2604772.9086 | 1207118.7631
47 | 2604750.0541 | 1207040.4279 | 2604750.0358 | 1207040.4113
48 | 2604839.7788 | 1207118.7473 | 2604827.7612 | 1207107.7863
49 | 2604839.7788 | 1207118.7473 | 2604851.0215 | 1207112.9531 | 2604897.2576 | 1207123.4405
50 | 2604839.7788 | 1207118.7473 | 2604827.8186 | 1207127.9417
51 | 2604897.2576 | 1207123.4405 | 2604891.2289 | 1207159.9668 | 2604886.9638 | 1207206.5889 | 2604885.6954 | 1207221.9324
52 | 2604885.6954 | 1207221.9324 | 2604884.294 | 1207238.886
53 | 2604717.8024 | 1207163.2781 | 2604735.6782 | 1207181.0556
54 | 2604743.9874 | 1207189.319 | 2604735.6782 | 1207181.0556
55 | 2604717.8024 | 1207163.2781 | 2604717.766 | 1207163.2418
56 | 2604697.0119 | 1207142.6018 | 2604717.766 | 1207163.2418
57 | 2604652.5817 | 1207146.2935 | 2604642.6569 | 1207131.2815
58 | 2604652.5817 | 1207146.2935 | 2604646.6042 | 1207155.8019
59 | 2604750.0541 | 1207040.4279 | 2604754.3234 | 1207044.2875
60 | 2604769.095 | 1207057.6419 | 2604769.0184 | 1207057.5726
61 | 2604769.0184 | 1207057.5726 | 2604754.4625 | 1207044.4133
62 | 2604754.4625 | 1207044.4133 | 2604754.3234 | 1207044.2875
63 | 2604638.0018 | 1207169.4857 | 2604646.6042 | 1207155.8019
64 | 2604588.6448 | 1207170.9952 | 2604594.9929 | 1207176.3216 | 2604607.1201 | 1207186.2478
65 | 2604588.6448 | 1207170.9952 | 2604568.4482 | 1207154.0493
66 | 2604563.3902 | 1207149.8054 | 2604568.4482 | 1207154.0493
67 | 2604881.8993 | 1207267.8557 | 2604884.294 | 1207238.886
68 | 2604881.8993 | 1207267.8557 | 2604879.9127 | 1207291.889
69 | 2604878.0953 | 1207313.874 | 2604879.9127 | 1207291.889
70 | 2604878.0953 | 1207313.874 | 2604881.9816 | 1207312.6876 | 2604901.1599 | 1207305.8844
71 | 2604563.3902 | 1207149.8054 | 2604563.3902 | 1207149.8054 | 2604555.2996 | 1207150.433 | 2604549.5876 | 1207152.8522 | 2604542.8083 | 1207153.7292
72 | 2604542.8083 | 1207153.7292 | 2604508.1433 | 1207152.4649
73 | 2604555.3268 | 1207251.2399 | 2604543.5727 | 1207241.7275
74 | 2604535.9402 | 1207235.5506 | 2604543.5727 | 1207241.7275
75 | 2604532.0015 | 1207232.363 | 2604535.9402 | 1207235.5506
76 | 2604518.9499 | 1207221.8005 | 2604532.0015 | 1207232.363
77 | 2604518.9499 | 1207221.8005 | 2604507.8802 | 1207212.8419
78 | 2604501.584 | 1207207.7465 | 2604507.8802 | 1207212.8419

## bus_geodata
| x | y | coords
0 | 2604779.489 | 1207395.0632
1 | 2604769.4099 | 1207396.3772
2 | 2604767.6729 | 1207362.3015
3 | 2604731.188 | 1207385.3729
4 | 2604708.5546 | 1207405.5902
5 | 2604612.2876 | 1207407.4775
6 | 2604649.4845 | 1207377.418
7 | 2604628.5935 | 1207353.5647
8 | 2604615.3835 | 1207338.4816
9 | 2604600.8963 | 1207323.8884
10 | 2604587.6247 | 1207310.0202
11 | 2604559.6951 | 1207280.8412
12 | 2604530.3779 | 1207287.6696
13 | 2604484.346 | 1207290.7245
14 | 2604575.6264 | 1207267.6682
15 | 2604601.257 | 1207227.9436
16 | 2604566.3167 | 1207260.1339
17 | 2604620.4103 | 1207197.4747
18 | 2604564.1494 | 1207258.38
19 | 2604807.0564 | 1207091.961
20 | 2604788.1426 | 1207074.8619
21 | 2604807.111 | 1207092.0104
22 | 2604788.0751 | 1207074.8009
23 | 2604808.8823 | 1207093.6117
24 | 2604774.8226 | 1207062.8199
25 | 2604808.916 | 1207093.6422
26 | 2604774.8037 | 1207062.8028
27 | 2604827.7525 | 1207107.7783
28 | 2604765.4704 | 1207143.9382
29 | 2604757.3525 | 1207136.617
30 | 2604769.9706 | 1207147.9968
31 | 2604718.916 | 1207101.9523
32 | 2604694.4524 | 1207079.8894
33 | 2604671.1037 | 1207116.836
34 | 2604707.5545 | 1207058.8658
35 | 2604732.9019 | 1207082.529
36 | 2604725.482 | 1207075.6021
37 | 2604737.4372 | 1207086.7629
38 | 2604761.7803 | 1207109.2416
39 | 2604730.6139 | 1207022.8529
40 | 2604772.9086 | 1207118.7631
41 | 2604750.0358 | 1207040.4113
42 | 2604796.6279 | 1207139.0574
43 | 2604827.7612 | 1207107.7863
44 | 2604839.7788 | 1207118.7473
45 | 2604897.2576 | 1207123.4405
46 | 2604827.8186 | 1207127.9417
47 | 2604885.6954 | 1207221.9324
48 | 2604735.6782 | 1207181.0556
49 | 2604717.8024 | 1207163.2781
50 | 2604743.9874 | 1207189.319
51 | 2604717.766 | 1207163.2418
52 | 2604697.0119 | 1207142.6018
53 | 2604652.5817 | 1207146.2935
54 | 2604750.0541 | 1207040.4279
55 | 2604769.095 | 1207057.6419
56 | 2604769.0184 | 1207057.5726
57 | 2604754.4625 | 1207044.4133
58 | 2604754.3234 | 1207044.2875
59 | 2604638.0018 | 1207169.4857
60 | 2604646.6042 | 1207155.8019
61 | 2604607.1201 | 1207186.2478
62 | 2604642.6569 | 1207131.2815
63 | 2604588.6448 | 1207170.9952
64 | 2604568.4482 | 1207154.0493
65 | 2604884.294 | 1207238.886
66 | 2604881.8993 | 1207267.8557
67 | 2604879.9127 | 1207291.889
68 | 2604878.0953 | 1207313.874
69 | 2604901.1599 | 1207305.8844
70 | 2604563.3902 | 1207149.8054
71 | 2604542.8083 | 1207153.7292
72 | 2604508.1433 | 1207152.4649
73 | 2604555.3268 | 1207251.2399
74 | 2604543.5727 | 1207241.7275
75 | 2604535.9402 | 1207235.5506
76 | 2604532.0015 | 1207232.363
77 | 2604518.9499 | 1207221.8005
78 | 2604507.8802 | 1207212.8419
79 | 2604501.584 | 1207207.7465
80 | 2604649.4845 | 1207377.418

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1