## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_551-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_551-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_551-6_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_551-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_551-6_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_551-6_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_551-6_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_551-6_0_5_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_551-6_0_5_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_551-6_0_5_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_551-6_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_551-6_0_5_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_551-6_0_5_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_551-6_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_551-6_0_5_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_551-6_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_551-6_0_5_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_551-6_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_551-6_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_551-6_0_5_node_62 | 0.4 | n |  | TRUE
20 | bus_LV_551-6_0_5_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_551-6_0_5_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_551-6_0_5_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_551-6_0_5_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_551-6_0_5_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_551-6_0_5_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_551-6_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_551-6_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_551-6_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_551-6_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_551-6_0_5_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_551-6_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_551-6_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_551-6_0_5_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_551-6_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_551-6_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_551-6_0_5_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_551-6_0_5_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_551-6_0_5_node_78 | 0.4 | n |  | TRUE
39 | bus_LV_551-6_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_551-6_0_5_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_551-6_0_5_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_551-6_0_5_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_551-6_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_551-6_0_5_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_551-6_0_5_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_551-6_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_551-6_0_5_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_551-6_0_5_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_551-6_0_5_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_551-6_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_551-6_0_5_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_551-6_0_5_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_551-6_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_551-6_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_551-6_0_5_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_551-6_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_551-6_0_5_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_551-6_0_5_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_551-6_0_5_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_551-6_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_551-6_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_551-6_0_5_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_551-6_0_5_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_551-6_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_551-6_0_5_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_551-6_0_5_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_551-6_0_5_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_551-6_0_5_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_551-6_0_5_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_551-6_0_5_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_551-6_0_5_node_75 | 0.4 | n |  | TRUE
72 | bus_MV_429_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_551-6_0_5_load_0 | 0 | 0.0091028 | 0.0022814 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_551-6_0_5_load_1 | 1 | 0.010382 | 0.0026021 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_551-6_0_5_load_6 | 6 | 0.010954 | 0.0027453 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_551-6_0_5_load_33 | 7 | 0.010514 | 0.002635 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_551-6_0_5_load_74 | 9 | 0.050016 | 0.012535 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_551-6_0_5_load_77 | 12 | 0.03751 | 0.0094009 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_551-6_0_5_load_31 | 14 | 0.0098451 | 0.0024674 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_551-6_0_5_load_12 | 15 | 0.0098876 | 0.0024781 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_551-6_0_5_load_73 | 16 | 0.014974 | 0.0037527 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_551-6_0_5_load_9 | 18 | 0.010374 | 0.0025999 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_551-6_0_5_load_62 | 19 | 0.013893 | 0.003482 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_551-6_0_5_load_56 | 21 | 0.01062 | 0.0026616 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_551-6_0_5_load_65 | 24 | 0.030128 | 0.0075508 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_551-6_0_5_load_11 | 25 | 0.010266 | 0.002573 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_551-6_0_5_load_16 | 28 | 0.010729 | 0.0026889 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_551-6_0_5_load_24 | 29 | 0.0074395 | 0.0018645 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_551-6_0_5_load_58 | 30 | 0.0073699 | 0.0018471 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_551-6_0_5_load_17 | 31 | 0.0099018 | 0.0024816 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_551-6_0_5_load_18 | 34 | 0.0090202 | 0.0022607 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_551-6_0_5_load_63 | 37 | 0.0083392 | 0.00209 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_551-6_0_5_load_78 | 38 | 0.0092695 | 0.0023231 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_551-6_0_5_load_20 | 40 | 0.0076896 | 0.0019272 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_551-6_0_5_load_23 | 41 | 0.0070933 | 0.0017777 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_551-6_0_5_load_57 | 42 | 0.006957 | 0.0017436 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_551-6_0_5_load_25 | 43 | 0.0077731 | 0.0019481 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_551-6_0_5_load_26 | 44 | 0.0074335 | 0.001863 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_551-6_0_5_load_29 | 46 | 0.0052398 | 0.0013132 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_551-6_0_5_load_48 | 48 | 0.0053655 | 0.0013447 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_551-6_0_5_load_43 | 49 | 0.011666 | 0.0029237 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_551-6_0_5_load_32 | 51 | 0.0098637 | 0.0024721 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_551-6_0_5_load_35 | 52 | 0.018561 | 0.0046518 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_551-6_0_5_load_59 | 56 | 0.0078199 | 0.0019598 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_551-6_0_5_load_52 | 57 | 0.012194 | 0.0030561 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_551-6_0_5_load_60 | 58 | 0.0079045 | 0.0019811 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_551-6_0_5_load_42 | 59 | 0.0071101 | 0.001782 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_551-6_0_5_load_47 | 61 | 0.006297 | 0.0015782 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_551-6_0_5_load_46 | 62 | 0.0068267 | 0.0017109 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_551-6_0_5_load_50 | 64 | 0.0072279 | 0.0018115 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_551-6_0_5_load_71 | 65 | 0.0030288 | 0.0007591 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_551-6_0_5_load_79 | 66 | 0.0066306 | 0.0016618 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_551-6_0_5_load_53 | 67 | 0.012617 | 0.0031622 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_551-6_0_5_load_61 | 68 | 0.0017959 | 0.00045009 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_551-6_0_5_load_66 | 69 | 0.018151 | 0.0045491 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_551-6_0_5_load_76 | 70 | 0.01174 | 0.0029424 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_551-6_0_5_load_75 | 71 | 0.014884 | 0.0037302 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_551-6_0_5_line_0 |  | 0 | 1 | 0.015218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_551-6_0_5_line_1 |  | 0 | 2 | 0.01327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_551-6_0_5_line_2 |  | 1 | 3 | 0.0060118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_551-6_0_5_line_3 |  | 2 | 4 | 0.015458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_551-6_0_5_line_4 |  | 2 | 5 | 0.017145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_551-6_0_5_line_5 |  | 3 | 6 | 0.012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_551-6_0_5_line_6 |  | 4 | 7 | 0.0059651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_551-6_0_5_line_7 |  | 5 | 8 | 0.035586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_551-6_0_5_line_8 |  | 5 | 9 | 0.013192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_551-6_0_5_line_9 |  | 6 | 13 | 0.025658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_551-6_0_5_line_10 |  | 7 | 14 | 0.017267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_551-6_0_5_line_11 |  | 8 | 15 | 0.013044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_551-6_0_5_line_12 |  | 9 | 16 | 0.010296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_551-6_0_5_line_13 |  | 10 | 11 | 0.037165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_551-6_0_5_line_14 |  | 10 | 12 | 0.0085009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_551-6_0_5_line_15 |  | 11 | 23 | 0.033198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_551-6_0_5_line_16 |  | 11 | 24 | 0.016643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_551-6_0_5_line_17 |  | 12 | 22 | 0.023723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_551-6_0_5_line_18 |  | 13 | 17 | 0.013175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_551-6_0_5_line_19 |  | 13 | 18 | 0.0076188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_551-6_0_5_line_20 |  | 14 | 51 | 0.025082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_551-6_0_5_line_21 |  | 15 | 25 | 0.017083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_551-6_0_5_line_22 |  | 17 | 19 | 0.019964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_551-6_0_5_line_23 |  | 18 | 20 | 0.028608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_551-6_0_5_line_24 |  | 19 | 21 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_551-6_0_5_line_25 |  | 20 | 22 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_551-6_0_5_line_26 |  | 21 | 55 | 0.026024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_551-6_0_5_line_27 |  | 22 | 53 | 0.027502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_551-6_0_5_line_28 |  | 23 | 70 | 0.024146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_551-6_0_5_line_29 |  | 24 | 69 | 0.0022817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_551-6_0_5_line_30 |  | 25 | 26 | 0.033671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_551-6_0_5_line_31 |  | 26 | 27 | 0.025234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_551-6_0_5_line_32 |  | 26 | 28 | 0.0039987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_551-6_0_5_line_33 |  | 27 | 29 | 0.005851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_551-6_0_5_line_34 |  | 27 | 30 | 0.0087837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_551-6_0_5_line_35 |  | 28 | 31 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_551-6_0_5_line_36 |  | 29 | 32 | 0.0061802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_551-6_0_5_line_37 |  | 30 | 33 | 0.0078656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_551-6_0_5_line_38 |  | 31 | 34 | 0.012103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_551-6_0_5_line_39 |  | 32 | 41 | 0.0051861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_551-6_0_5_line_40 |  | 32 | 40 | 0.024235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_551-6_0_5_line_41 |  | 33 | 45 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_551-6_0_5_line_42 |  | 34 | 35 | 0.021649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_551-6_0_5_line_43 |  | 35 | 36 | 0.017782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_551-6_0_5_line_44 |  | 35 | 37 | 0.01582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_551-6_0_5_line_45 |  | 36 | 38 | 0.015155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_551-6_0_5_line_46 |  | 36 | 39 | 0.019054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_551-6_0_5_line_47 |  | 39 | 47 | 0.008374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_551-6_0_5_line_48 |  | 39 | 44 | 0.0067629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_551-6_0_5_line_49 |  | 41 | 42 | 0.0045997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_551-6_0_5_line_50 |  | 43 | 44 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_551-6_0_5_line_51 |  | 45 | 46 | 0.022883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_551-6_0_5_line_52 |  | 46 | 48 | 0.018563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_551-6_0_5_line_53 |  | 47 | 49 | 0.0046686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_551-6_0_5_line_54 |  | 48 | 50 | 0.014421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_551-6_0_5_line_55 |  | 49 | 59 | 0.016692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_551-6_0_5_line_56 |  | 50 | 64 | 0.026552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_551-6_0_5_line_57 |  | 50 | 63 | 0.022321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_551-6_0_5_line_58 |  | 52 | 53 | 0.011032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_551-6_0_5_line_59 |  | 54 | 55 | 0.012458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_551-6_0_5_line_60 |  | 54 | 56 | 0.028788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_551-6_0_5_line_61 |  | 55 | 57 | 0.034028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_551-6_0_5_line_62 |  | 56 | 58 | 0.0085664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_551-6_0_5_line_63 |  | 57 | 67 | 0.027973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_551-6_0_5_line_64 |  | 58 | 68 | 0.0053011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_551-6_0_5_line_65 |  | 59 | 60 | 0.01781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_551-6_0_5_line_66 |  | 60 | 61 | 0.014517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_551-6_0_5_line_67 |  | 62 | 63 | 0.0066722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_551-6_0_5_line_68 |  | 64 | 65 | 0.018843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_551-6_0_5_line_69 |  | 64 | 66 | 0.02534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_551-6_0_5_line_70 |  | 70 | 71 | 0.022151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_551-6_0_5_trafo_31 | 0.63 MVA 20/0.4 kV | 72 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2604618.1315 | 1207786.3382 | 2604633.0804 | 1207783.4907
1 | 2604605.096 | 1207788.8212 | 2604618.1315 | 1207786.3382
2 | 2604638.986 | 1207782.3657 | 2604633.0804 | 1207783.4907
3 | 2604609.952 | 1207801.5208 | 2604610.8814 | 1207799.1202 | 2604611.081 | 1207796.5522 | 2604610.5203 | 1207794.0393 | 2604609.2524 | 1207791.7927 | 2604607.3911 | 1207790.0014 | 2604605.096 | 1207788.8212
4 | 2604594.5601 | 1207776.8844 | 2604597.2035 | 1207780.066 | 2604599.7934 | 1207783.4476 | 2604601.6599 | 1207788.3739 | 2604603.4009 | 1207788.4308 | 2604605.096 | 1207788.8212
5 | 2604638.986 | 1207782.3657 | 2604643.6121 | 1207787.4721 | 2604646.3794 | 1207792.1701
6 | 2604609.952 | 1207801.5208 | 2604611.5203 | 1207807.276
7 | 2604579.11 | 1207808.957 | 2604594.5601 | 1207776.8844
8 | 2604594.5601 | 1207776.8844 | 2604592.1369 | 1207774.2367 | 2604585.3692 | 1207767.4237
9 | 2604668.9959 | 1207799.3092 | 2604652.6658 | 1207798.7741 | 2604648.5322 | 1207795.8249 | 2604646.3794 | 1207792.1701
10 | 2604611.5203 | 1207807.276 | 2604615.4334 | 1207821.636 | 2604616.2245 | 1207823.8841
11 | 2604579.11 | 1207808.957 | 2604582.5921 | 1207821.5277
12 | 2604578.1133 | 1207760.1193 | 2604585.3692 | 1207767.4237
13 | 2604646.5487 | 1207725.5514 | 2604673.4349 | 1207751.2862
14 | 2604673.4349 | 1207751.2862 | 2604679.5763 | 1207757.164
15 | 2604622.5643 | 1207702.5982 | 2604642.6817 | 1207721.8464 | 2604646.5487 | 1207725.5514
16 | 2604646.5487 | 1207725.5514 | 2604652.62 | 1207719.9085 | 2604658.732 | 1207714.2125
17 | 2604697.1994 | 1207773.0055 | 2604691.5236 | 1207768.5986 | 2604679.5763 | 1207757.164
18 | 2604668.9959 | 1207799.3092 | 2604670.3011 | 1207812.4174
19 | 2604668.9959 | 1207799.3092 | 2604676.5007 | 1207797.9962
20 | 2604628.2312 | 1207845.231 | 2604625.0042 | 1207842.7549 | 2604622.1635 | 1207839.2286 | 2604620.6299 | 1207836.4036 | 2604616.2245 | 1207823.8841
21 | 2604587.1522 | 1207837.9906 | 2604582.5921 | 1207821.5277
22 | 2604670.3011 | 1207812.4174 | 2604685.0322 | 1207825.8918
23 | 2604702.1445 | 1207788.2732 | 2604699.1549 | 1207790.4388 | 2604689.6159 | 1207797.3241 | 2604678.6754 | 1207797.6158 | 2604676.5007 | 1207797.9962
24 | 2604696.0325 | 1207826.7786 | 2604685.0322 | 1207825.8918 | 2604685.0322 | 1207825.8918
25 | 2604697.1994 | 1207773.0055 | 2604695.6801 | 1207781.1087 | 2604701.1571 | 1207787.0162 | 2604702.1445 | 1207788.2732
26 | 2604716.7087 | 1207840.2465 | 2604712.4926 | 1207835.9964 | 2604705.9088 | 1207835.9135 | 2604696.0325 | 1207826.7786
27 | 2604697.1994 | 1207773.0055 | 2604702.8838 | 1207776.0893 | 2604707.611 | 1207778.2275 | 2604707.7539 | 1207780.2287 | 2604708.2239 | 1207781.9078 | 2604708.8767 | 1207783.2757 | 2604709.7728 | 1207784.5771 | 2604711.0035 | 1207785.8121 | 2604712.2952 | 1207786.7247 | 2604713.6708 | 1207787.3928 | 2604715.6699 | 1207787.928 | 2604717.7453 | 1207788.0186
28 | 2604622.5643 | 1207702.5982 | 2604618.9273 | 1207706.3197 | 2604607.6814 | 1207718.2288 | 2604605.1443 | 1207718.5875
29 | 2604658.732 | 1207714.2125 | 2604660.0456 | 1207712.9882 | 2604660.3854 | 1207712.6407
30 | 2604601.8579 | 1207867.9623 | 2604593.6722 | 1207855.0267 | 2604590.0659 | 1207848.5093 | 2604587.1522 | 1207837.9906
31 | 2604601.8579 | 1207867.9623 | 2604593.7427 | 1207872.2918 | 2604580.8491 | 1207881.9096
32 | 2604601.8579 | 1207867.9623 | 2604604.2966 | 1207870.3099 | 2604604.7673 | 1207870.7036
33 | 2604580.8491 | 1207881.9096 | 2604579.74 | 1207880.6747 | 2604577.5592 | 1207879.2723 | 2604576.0044 | 1207878.9013
34 | 2604580.8491 | 1207881.9096 | 2604582.1542 | 1207885.2013 | 2604582.099 | 1207887.8249 | 2604581.1621 | 1207890.27
35 | 2604617.0829 | 1207881.0037 | 2604604.7673 | 1207870.7036
36 | 2604570.1081 | 1207880.0227 | 2604572.4581 | 1207878.9238 | 2604575.0356 | 1207878.6701 | 2604576.0044 | 1207878.9013
37 | 2604574.6134 | 1207894.056 | 2604577.191 | 1207893.5799 | 2604579.4652 | 1207892.2587 | 2604581.1621 | 1207890.27
38 | 2604617.0829 | 1207881.0037 | 2604624.5065 | 1207887.2123 | 2604626.0014 | 1207889.1217
39 | 2604570.1081 | 1207880.0227 | 2604568.3354 | 1207881.7111 | 2604567.1934 | 1207883.8781 | 2604567.1446 | 1207884.1625
40 | 2604570.1081 | 1207880.0227 | 2604559.4231 | 1207858.2701
41 | 2604574.6134 | 1207894.056 | 2604578.1609 | 1207907.9107
42 | 2604639.3473 | 1207906.1674 | 2604626.0014 | 1207889.1217
43 | 2604639.3473 | 1207906.1674 | 2604638.3622 | 1207921.7641 | 2604637.7297 | 1207923.8203
44 | 2604639.3473 | 1207906.1674 | 2604647.927 | 1207892.8754
45 | 2604637.7297 | 1207923.8203 | 2604652.0018 | 1207928.9184
46 | 2604637.7297 | 1207923.8203 | 2604625.0757 | 1207928.3131 | 2604619.8913 | 1207927.631 | 2604619.4961 | 1207927.4195
47 | 2604616.3656 | 1207935.1881 | 2604619.4961 | 1207927.4195
48 | 2604619.4961 | 1207927.4195 | 2604613.5538 | 1207924.1906
49 | 2604567.1518 | 1207888.703 | 2604566.7811 | 1207886.2791 | 2604567.1446 | 1207884.1625
50 | 2604613.5538 | 1207924.1906 | 2604612.7555 | 1207923.7568 | 2604605.2929 | 1207919.8156 | 2604604.1259 | 1207914.7564 | 2604603.7133 | 1207914.6628
51 | 2604578.1609 | 1207907.9107 | 2604570.0639 | 1207929.3135
52 | 2604570.0639 | 1207929.3135 | 2604566.8715 | 1207937.752 | 2604561.5848 | 1207945.6937
53 | 2604616.3656 | 1207935.1881 | 2604614.8354 | 1207939.5988
54 | 2604552.3367 | 1207956.4402 | 2604556.0942 | 1207953.9416 | 2604561.5848 | 1207945.6937
55 | 2604614.8354 | 1207939.5988 | 2604610.3312 | 1207952.5819 | 2604608.1251 | 1207954.3812 | 2604608.0928 | 1207954.4788
56 | 2604552.3367 | 1207956.4402 | 2604546.2593 | 1207960.4934 | 2604541.7386 | 1207966.9825 | 2604542.4858 | 1207974.2426 | 2604543.7961 | 1207978.064
57 | 2604552.3367 | 1207956.4402 | 2604556.1278 | 1207959.8672 | 2604560.7499 | 1207960.0707 | 2604564.8027 | 1207959.1511 | 2604565.2808 | 1207960.252 | 2604566.0784 | 1207961.1531 | 2604567.1195 | 1207961.7654 | 2604568.2901 | 1207962.0331 | 2604569.4913 | 1207961.9228 | 2604570.6016 | 1207961.4456 | 2604571.5069 | 1207960.6569
58 | 2604717.7453 | 1207788.0186 | 2604719.5854 | 1207787.7198 | 2604721.5475 | 1207786.9654 | 2604722.5819 | 1207786.3436 | 2604724.0046 | 1207785.133 | 2604725.1689 | 1207783.6664 | 2604726.1055 | 1207781.7661
59 | 2604728.4807 | 1207836.1312 | 2604721.8269 | 1207838.0937 | 2604716.7087 | 1207840.2465
60 | 2604728.4807 | 1207836.1312 | 2604732.1789 | 1207851.3202 | 2604735.2134 | 1207864.1207
61 | 2604716.7087 | 1207840.2465 | 2604713.2858 | 1207842.4784 | 2604709.8161 | 1207846.2333 | 2604706.9695 | 1207850.3778 | 2604704.556 | 1207854.7672 | 2604702.7888 | 1207859.2461 | 2604699.5835 | 1207868.6944
62 | 2604735.2134 | 1207864.1207 | 2604737.1894 | 1207872.4561
63 | 2604699.5835 | 1207868.6944 | 2604690.5966 | 1207895.1849
64 | 2604737.1894 | 1207872.4561 | 2604738.4122 | 1207877.6143
65 | 2604602.494 | 1207971.3863 | 2604608.0928 | 1207954.4788
66 | 2604602.494 | 1207971.3863 | 2604597.8834 | 1207985.1519
67 | 2604571.5069 | 1207960.6569 | 2604577.8119 | 1207962.8401
68 | 2604557.0457 | 1207989.0843 | 2604546.0815 | 1207984.7288 | 2604543.7961 | 1207978.064
69 | 2604543.7961 | 1207978.064 | 2604518.6746 | 1207974.7473
70 | 2604588.1987 | 1207731.7429 | 2604600.8762 | 1207719.1908 | 2604605.1443 | 1207718.5875

## bus_geodata
| x | y | coords
0 | 2604618.1315 | 1207786.3382
1 | 2604633.0804 | 1207783.4907
2 | 2604605.096 | 1207788.8212
3 | 2604638.986 | 1207782.3657
4 | 2604609.952 | 1207801.5208
5 | 2604594.5601 | 1207776.8844
6 | 2604646.3794 | 1207792.1701
7 | 2604611.5203 | 1207807.276
8 | 2604579.11 | 1207808.957
9 | 2604585.3692 | 1207767.4237
10 | 2604673.4349 | 1207751.2862
11 | 2604646.5487 | 1207725.5514
12 | 2604679.5763 | 1207757.164
13 | 2604668.9959 | 1207799.3092
14 | 2604616.2245 | 1207823.8841
15 | 2604582.5921 | 1207821.5277
16 | 2604578.1133 | 1207760.1193
17 | 2604670.3011 | 1207812.4174
18 | 2604676.5007 | 1207797.9962
19 | 2604685.0322 | 1207825.8918
20 | 2604702.1445 | 1207788.2732
21 | 2604696.0325 | 1207826.7786
22 | 2604697.1994 | 1207773.0055
23 | 2604622.5643 | 1207702.5982
24 | 2604658.732 | 1207714.2125
25 | 2604587.1522 | 1207837.9906
26 | 2604601.8579 | 1207867.9623
27 | 2604580.8491 | 1207881.9096
28 | 2604604.7673 | 1207870.7036
29 | 2604576.0044 | 1207878.9013
30 | 2604581.1621 | 1207890.27
31 | 2604617.0829 | 1207881.0037
32 | 2604570.1081 | 1207880.0227
33 | 2604574.6134 | 1207894.056
34 | 2604626.0014 | 1207889.1217
35 | 2604639.3473 | 1207906.1674
36 | 2604637.7297 | 1207923.8203
37 | 2604647.927 | 1207892.8754
38 | 2604652.0018 | 1207928.9184
39 | 2604619.4961 | 1207927.4195
40 | 2604559.4231 | 1207858.2701
41 | 2604567.1446 | 1207884.1625
42 | 2604567.1518 | 1207888.703
43 | 2604603.7133 | 1207914.6628
44 | 2604613.5538 | 1207924.1906
45 | 2604578.1609 | 1207907.9107
46 | 2604570.0639 | 1207929.3135
47 | 2604616.3656 | 1207935.1881
48 | 2604561.5848 | 1207945.6937
49 | 2604614.8354 | 1207939.5988
50 | 2604552.3367 | 1207956.4402
51 | 2604628.2312 | 1207845.231
52 | 2604726.1055 | 1207781.7661
53 | 2604717.7453 | 1207788.0186
54 | 2604728.4807 | 1207836.1312
55 | 2604716.7087 | 1207840.2465
56 | 2604735.2134 | 1207864.1207
57 | 2604699.5835 | 1207868.6944
58 | 2604737.1894 | 1207872.4561
59 | 2604608.0928 | 1207954.4788
60 | 2604602.494 | 1207971.3863
61 | 2604597.8834 | 1207985.1519
62 | 2604577.8119 | 1207962.8401
63 | 2604571.5069 | 1207960.6569
64 | 2604543.7961 | 1207978.064
65 | 2604557.0457 | 1207989.0843
66 | 2604518.6746 | 1207974.7473
67 | 2604690.5966 | 1207895.1849
68 | 2604738.4122 | 1207877.6143
69 | 2604660.3854 | 1207712.6407
70 | 2604605.1443 | 1207718.5875
71 | 2604588.1987 | 1207731.7429
72 | 2604609.952 | 1207801.5208

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1