## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_551-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_551-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_551-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_551-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_551-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_551-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_551-9_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_551-9_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_551-9_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_551-9_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_551-9_0_3_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_551-9_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_551-9_0_3_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_551-9_0_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_551-9_0_3_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_551-9_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_551-9_0_3_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_551-9_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_551-9_0_3_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_551-9_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_551-9_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_551-9_0_3_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_551-9_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_551-9_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_551-9_0_3_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_551-9_0_3_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_551-9_0_3_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_551-9_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_551-9_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_551-9_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_551-9_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_551-9_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_551-9_0_3_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_551-9_0_3_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_551-9_0_3_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_551-9_0_3_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_551-9_0_3_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_551-9_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_551-9_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_551-9_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_551-9_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_551-9_0_3_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_551-9_0_3_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_551-9_0_3_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_551-9_0_3_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_551-9_0_3_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_551-9_0_3_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_551-9_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_551-9_0_3_node_65 | 0.4 | n |  | TRUE
49 | bus_LV_551-9_0_3_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_551-9_0_3_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_551-9_0_3_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_551-9_0_3_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_551-9_0_3_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_551-9_0_3_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_551-9_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_551-9_0_3_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_551-9_0_3_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_551-9_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_551-9_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_551-9_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_551-9_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_551-9_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_551-9_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_551-9_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_551-9_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_551-9_0_3_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_551-9_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_551-9_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_551-9_0_3_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_551-9_0_3_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_551-9_0_3_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_551-9_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_551-9_0_3_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_551-9_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_551-9_0_3_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_551-9_0_3_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_551-9_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_551-9_0_3_node_77 | 0.4 | n |  | TRUE
79 | bus_MV_429_0_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_551-9_0_3_load_0 | 0 | 0.010407 | 0.0026083 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_551-9_0_3_load_1 | 1 | 0.0026184 | 0.00065624 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_551-9_0_3_load_2 | 2 | 0.0063961 | 0.001603 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_551-9_0_3_load_3 | 3 | 0.010295 | 0.0025802 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_551-9_0_3_load_4 | 4 | 0.0091001 | 0.0022807 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_551-9_0_3_load_12 | 6 | 0.0079912 | 0.0020028 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_551-9_0_3_load_6 | 7 | 0.017744 | 0.004447 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_551-9_0_3_load_7 | 8 | 0.0090959 | 0.0022796 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_551-9_0_3_load_13 | 9 | 0.0075584 | 0.0018943 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_551-9_0_3_load_34 | 10 | 0.0035964 | 0.00090135 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_551-9_0_3_load_35 | 11 | 0.0053059 | 0.0013298 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_551-9_0_3_load_36 | 12 | 0.0052364 | 0.0013124 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_551-9_0_3_load_29 | 13 | 0.0064225 | 0.0016096 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_551-9_0_3_load_38 | 14 | 0.011581 | 0.0029025 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_551-9_0_3_load_73 | 16 | 0.0092237 | 0.0023117 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_551-9_0_3_load_74 | 18 | 0.009064 | 0.0022717 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_551-9_0_3_load_8 | 19 | 0.061615 | 0.015442 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_551-9_0_3_load_82 | 21 | 0.0038518 | 0.00096534 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_551-9_0_3_load_14 | 23 | 0.0079249 | 0.0019862 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_551-9_0_3_load_76 | 24 | 0.0074543 | 0.0018682 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_551-9_0_3_load_62 | 25 | 0.0016571 | 0.0004153 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_551-9_0_3_load_61 | 26 | 0.0025656 | 0.000643 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_551-9_0_3_load_17 | 27 | 0.0075246 | 0.0018858 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_551-9_0_3_load_18 | 28 | 0.0019731 | 0.00049452 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_551-9_0_3_load_19 | 29 | 0.0025336 | 0.00063499 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_551-9_0_3_load_20 | 30 | 0.0019856 | 0.00049764 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_551-9_0_3_load_21 | 31 | 0.0028822 | 0.00072234 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_551-9_0_3_load_49 | 32 | 0.0025548 | 0.0006403 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_551-9_0_3_load_68 | 33 | 0.0024555 | 0.00061541 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_551-9_0_3_load_48 | 34 | 0.0067355 | 0.0016881 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_551-9_0_3_load_69 | 35 | 0.0030071 | 0.00075366 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_551-9_0_3_load_80 | 36 | 0.001981 | 0.00049649 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_551-9_0_3_load_22 | 37 | 0.0092585 | 0.0023204 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_551-9_0_3_load_23 | 38 | 0.0016398 | 0.00041097 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_551-9_0_3_load_24 | 39 | 0.0021077 | 0.00052825 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_551-9_0_3_load_26 | 40 | 0.0093669 | 0.0023476 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_551-9_0_3_load_66 | 41 | 0.0018944 | 0.00047477 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_551-9_0_3_load_64 | 43 | 0.0016119 | 0.00040398 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_551-9_0_3_load_72 | 44 | 0.0030495 | 0.00076427 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_551-9_0_3_load_27 | 45 | 0.0033347 | 0.00083576 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_551-9_0_3_load_63 | 46 | 0.0029153 | 0.00073065 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_551-9_0_3_load_28 | 47 | 0.0034184 | 0.00085673 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_551-9_0_3_load_65 | 48 | 0.0026144 | 0.00065524 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_551-9_0_3_load_67 | 49 | 0.0024437 | 0.00061244 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_551-9_0_3_load_30 | 50 | 0.0034381 | 0.00086167 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_551-9_0_3_load_31 | 51 | 0.0067315 | 0.0016871 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_551-9_0_3_load_78 | 52 | 0.0027781 | 0.00069625 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_551-9_0_3_load_32 | 53 | 0.001781 | 0.00044636 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_551-9_0_3_load_33 | 54 | 0.0021504 | 0.00053895 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_551-9_0_3_load_39 | 55 | 0.0026906 | 0.00067433 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_551-9_0_3_load_40 | 56 | 0.0020224 | 0.00050687 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_551-9_0_3_load_81 | 57 | 0.0015894 | 0.00039835 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_551-9_0_3_load_41 | 58 | 0.0030386 | 0.00076155 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_551-9_0_3_load_44 | 61 | 0.0030635 | 0.00076778 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_551-9_0_3_load_45 | 62 | 0.0015156 | 0.00037985 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_551-9_0_3_load_46 | 63 | 0.0048754 | 0.0012219 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_551-9_0_3_load_57 | 64 | 0.0027996 | 0.00070165 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_551-9_0_3_load_60 | 65 | 0.0016078 | 0.00040295 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_551-9_0_3_load_47 | 66 | 0.0020107 | 0.00050394 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_551-9_0_3_load_59 | 68 | 0.0019788 | 0.00049593 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_551-9_0_3_load_51 | 69 | 0.0022175 | 0.00055575 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_551-9_0_3_load_52 | 70 | 0.0055038 | 0.0013794 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_551-9_0_3_load_53 | 71 | 0.0019968 | 0.00050045 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_551-9_0_3_load_70 | 72 | 0.0019725 | 0.00049435 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_551-9_0_3_load_54 | 73 | 0.0020171 | 0.00050554 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_551-9_0_3_load_55 | 75 | 0.001886 | 0.00047267 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_551-9_0_3_load_56 | 76 | 0.003415 | 0.00085589 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_551-9_0_3_load_79 | 77 | 0.0014356 | 0.00035981 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_551-9_0_3_load_77 | 78 | 0.0060922 | 0.0015268 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_551-9_0_3_line_0 |  | 0 | 1 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_551-9_0_3_line_1 |  | 0 | 2 | 0.062895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_551-9_0_3_line_2 |  | 1 | 3 | 0.016012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_551-9_0_3_line_3 |  | 2 | 4 | 0.030898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_551-9_0_3_line_4 |  | 3 | 5 | 0.038866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_551-9_0_3_line_5 |  | 4 | 6 | 0.023267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_551-9_0_3_line_6 |  | 5 | 7 | 0.023767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_551-9_0_3_line_7 |  | 5 | 8 | 0.027665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_551-9_0_3_line_8 |  | 6 | 9 | 0.021624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_551-9_0_3_line_9 |  | 7 | 15 | 0.051772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_551-9_0_3_line_10 |  | 8 | 16 | 0.022775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_551-9_0_3_line_11 |  | 9 | 23 | 0.021394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_551-9_0_3_line_12 |  | 10 | 11 | 0.026562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_551-9_0_3_line_13 |  | 10 | 12 | 0.0019386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_551-9_0_3_line_14 |  | 10 | 13 | 0.072505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_551-9_0_3_line_15 |  | 12 | 14 | 0.007037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_551-9_0_3_line_16 |  | 13 | 50 | 0.02007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_551-9_0_3_line_17 |  | 13 | 47 | 0.009857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_551-9_0_3_line_18 |  | 15 | 17 | 0.017502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_551-9_0_3_line_19 |  | 16 | 18 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_551-9_0_3_line_20 |  | 17 | 24 | 0.028876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_551-9_0_3_line_21 |  | 17 | 25 | 0.018754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_551-9_0_3_line_22 |  | 19 | 20 | 0.018474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_551-9_0_3_line_23 |  | 19 | 21 | 0.064942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_551-9_0_3_line_24 |  | 20 | 22 | 0.044749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_551-9_0_3_line_25 |  | 22 | 23 | 0.035075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_551-9_0_3_line_26 |  | 25 | 26 | 0.00020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_551-9_0_3_line_27 |  | 26 | 68 | 0.0057451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_551-9_0_3_line_28 |  | 27 | 28 | 0.013385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_551-9_0_3_line_29 |  | 27 | 29 | 0.015919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_551-9_0_3_line_30 |  | 28 | 30 | 0.003346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_551-9_0_3_line_31 |  | 29 | 31 | 0.0079508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_551-9_0_3_line_32 |  | 30 | 32 | 0.014508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_551-9_0_3_line_33 |  | 31 | 33 | 0.0060136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_551-9_0_3_line_34 |  | 32 | 34 | 0.0076165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_551-9_0_3_line_35 |  | 33 | 35 | 0.011112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_551-9_0_3_line_36 |  | 33 | 36 | 0.031215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_551-9_0_3_line_37 |  | 34 | 63 | 0.012423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_551-9_0_3_line_38 |  | 35 | 78 | 0.0042857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_551-9_0_3_line_39 |  | 36 | 57 | 0.020539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_551-9_0_3_line_40 |  | 36 | 77 | 0.0090547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_551-9_0_3_line_41 |  | 37 | 38 | 0.014421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_551-9_0_3_line_42 |  | 37 | 39 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_551-9_0_3_line_43 |  | 39 | 40 | 0.01325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_551-9_0_3_line_44 |  | 40 | 45 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_551-9_0_3_line_45 |  | 41 | 42 | 0.029546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_551-9_0_3_line_46 |  | 41 | 43 | 0.0035318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_551-9_0_3_line_47 |  | 42 | 44 | 0.060668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_551-9_0_3_line_48 |  | 43 | 46 | 0.031658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_551-9_0_3_line_49 |  | 44 | 74 | 0.017265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_551-9_0_3_line_50 |  | 45 | 47 | 0.00062104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_551-9_0_3_line_51 |  | 46 | 48 | 0.0006782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_551-9_0_3_line_52 |  | 48 | 49 | 0.024866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_551-9_0_3_line_53 |  | 49 | 52 | 0.0009752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_551-9_0_3_line_54 |  | 50 | 51 | 0.0064643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_551-9_0_3_line_55 |  | 51 | 53 | 0.023388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_551-9_0_3_line_56 |  | 53 | 54 | 0.0017449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_551-9_0_3_line_57 |  | 54 | 55 | 0.0027425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_551-9_0_3_line_58 |  | 55 | 56 | 0.0011929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_551-9_0_3_line_59 |  | 56 | 57 | 0.011647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_551-9_0_3_line_60 |  | 58 | 59 | 0.029475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_551-9_0_3_line_61 |  | 58 | 60 | 0.014387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_551-9_0_3_line_62 |  | 59 | 61 | 0.042199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_551-9_0_3_line_63 |  | 59 | 62 | 0.018185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_551-9_0_3_line_64 |  | 60 | 63 | 0.027843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_551-9_0_3_line_65 |  | 61 | 64 | 0.022918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_551-9_0_3_line_66 |  | 62 | 65 | 0.0066172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_551-9_0_3_line_67 |  | 65 | 68 | 0.0029356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_551-9_0_3_line_68 |  | 66 | 67 | 0.016399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_551-9_0_3_line_69 |  | 67 | 69 | 0.026947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_551-9_0_3_line_70 |  | 67 | 70 | 0.021292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_551-9_0_3_line_71 |  | 69 | 71 | 0.0060651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_551-9_0_3_line_72 |  | 70 | 72 | 0.029848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_551-9_0_3_line_73 |  | 71 | 73 | 0.010535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_551-9_0_3_line_74 |  | 72 | 74 | 0.021814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_551-9_0_3_line_75 |  | 73 | 75 | 0.015872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_551-9_0_3_line_76 |  | 75 | 76 | 0.0028692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_551-9_0_3_line_77 |  | 76 | 77 | 0.026298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_551-9_0_3_trafo_77 | 0.63 MVA 20/0.4 kV | 79 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2604277.9261 | 1207961.6833 | 2604274.3861 | 1207980.6021
1 | 2604277.9261 | 1207961.6833 | 2604281.1199 | 1207944.6139 | 2604259.0365 | 1207942.1081 | 2604260.9984 | 1207918.8861
2 | 2604271.4412 | 1207996.3407 | 2604274.3861 | 1207980.6021
3 | 2604271.791 | 1207893.7323 | 2604262.7547 | 1207898.0976 | 2604260.9984 | 1207918.8861
4 | 2604279.8374 | 1208027.5142 | 2604267.0328 | 1208019.9009 | 2604271.4412 | 1207996.3407
5 | 2604292.7419 | 1207883.6113 | 2604271.791 | 1207893.7323
6 | 2604279.8374 | 1208027.5142 | 2604261.9642 | 1208043.18
7 | 2604279.8374 | 1208027.5142 | 2604285.8705 | 1208021.2817 | 2604300.3763 | 1208009.0248
8 | 2604292.7419 | 1207883.6113 | 2604312.2125 | 1207874.2054
9 | 2604225.0497 | 1208078.5594 | 2604226.1015 | 1208074.6135 | 2604261.9642 | 1208043.18
10 | 2604317.7726 | 1207994.3256 | 2604300.3763 | 1208009.0248
11 | 2604312.2125 | 1207874.2054 | 2604331.4762 | 1207864.8995
12 | 2604205.3275 | 1207824.2009 | 2604187.0846 | 1207804.8947
13 | 2604205.3275 | 1207824.2009 | 2604206.6589 | 1207825.61
14 | 2604152.5933 | 1207873.9606 | 2604205.3275 | 1207824.2009
15 | 2604211.492 | 1207830.7248 | 2604206.6589 | 1207825.61
16 | 2604166.9438 | 1207887.9922 | 2604152.5933 | 1207873.9606
17 | 2604145.5454 | 1207867.0694 | 2604152.5933 | 1207873.9606
18 | 2604208.5443 | 1208079.6596 | 2604214.1846 | 1208080.5307 | 2604214.3448 | 1208079.7526 | 2604218.8144 | 1208080.4672 | 2604225.0497 | 1208078.5594
19 | 2604317.7726 | 1207994.3256 | 2604332.6776 | 1207981.7315
20 | 2604208.5443 | 1208079.6596 | 2604209.0622 | 1208078.2926 | 2604212.258 | 1208063.331 | 2604212.2825 | 1208060.8185 | 2604211.9269 | 1208058.3725 | 2604211.1148 | 1208056.4931 | 2604207.7496 | 1208052.6776
21 | 2604208.5443 | 1208079.6596 | 2604207.3727 | 1208080.8373 | 2604203.3949 | 1208083.5249 | 2604201.7676 | 1208084.0796 | 2604200.0873 | 1208084.3897 | 2604198.0422 | 1208084.4661 | 2604191.2299 | 1208084.1935
22 | 2604342.2541 | 1207877.1869 | 2604342.8034 | 1207895.653
23 | 2604342.8034 | 1207895.653 | 2604401.2526 | 1207923.9573
24 | 2604363.0593 | 1207849.6423 | 2604367.5473 | 1207856.7161 | 2604368.4729 | 1207859.4516 | 2604368.4479 | 1207862.4087 | 2604367.4201 | 1207864.4758 | 2604365.0771 | 1207866.453 | 2604356.2855 | 1207870.5934 | 2604342.2541 | 1207877.1869
25 | 2604363.0593 | 1207849.6423 | 2604331.4762 | 1207864.8995
26 | 2604191.2299 | 1208084.1935 | 2604191.0217 | 1208084.1851
27 | 2604185.2856 | 1208083.9139 | 2604185.6052 | 1208083.9684 | 2604191.0217 | 1208084.1851
28 | 2604182.8334 | 1208001.4898 | 2604191.8649 | 1207991.6108 | 2604191.8649 | 1207991.6108
29 | 2604192.7045 | 1207975.7137 | 2604192.7045 | 1207975.7137 | 2604191.8649 | 1207991.6108
30 | 2604182.8334 | 1208001.4898 | 2604180.5757 | 1208003.9593
31 | 2604197.6347 | 1207969.476 | 2604192.7045 | 1207975.7137
32 | 2604170.7869 | 1208014.6667 | 2604180.5757 | 1208003.9593
33 | 2604197.6347 | 1207969.476 | 2604201.3637 | 1207964.7581 | 2604201.3637 | 1207964.7581
34 | 2604165.6477 | 1208020.2881 | 2604170.7869 | 1208014.6667
35 | 2604201.3637 | 1207964.7581 | 2604211.9002 | 1207961.2273
36 | 2604201.3637 | 1207964.7581 | 2604179.2637 | 1207942.7141
37 | 2604165.6477 | 1208020.2881 | 2604157.2656 | 1208029.4568
38 | 2604215.9638 | 1207959.8656 | 2604211.9002 | 1207961.2273
39 | 2604189.1985 | 1207926.7986 | 2604188.1475 | 1207936.3556 | 2604179.2637 | 1207942.7141
40 | 2604171.9006 | 1207947.9841 | 2604179.2637 | 1207942.7141
41 | 2604105.8385 | 1207827.0633 | 2604108.6437 | 1207830.9878 | 2604115.5055 | 1207837.6971
42 | 2604124.4658 | 1207846.4583 | 2604115.5055 | 1207837.6971
43 | 2604124.4658 | 1207846.4583 | 2604133.94 | 1207855.7219
44 | 2604145.1014 | 1207866.6352 | 2604133.94 | 1207855.7219
45 | 2604049.4703 | 1207868.5575 | 2604070.8751 | 1207888.9248
46 | 2604073.4337 | 1207891.3593 | 2604070.8751 | 1207888.9248
47 | 2604049.4703 | 1207868.5575 | 2604048.4569 | 1207883.2983 | 2604047.9934 | 1207894.2707 | 2604047.9331 | 1207904.8987 | 2604048.0774 | 1207916.5274 | 2604048.468 | 1207923.6094 | 2604049.0032 | 1207929.1437
48 | 2604096.3683 | 1207913.182 | 2604073.4337 | 1207891.3593
49 | 2604053.0451 | 1207945.8802 | 2604051.6792 | 1207941.9994 | 2604050.4581 | 1207937.6184 | 2604049.14 | 1207930.5581 | 2604049.0032 | 1207929.1437
50 | 2604145.5454 | 1207867.0694 | 2604145.1014 | 1207866.6352
51 | 2604096.8596 | 1207913.6496 | 2604096.3683 | 1207913.182
52 | 2604114.8739 | 1207930.7905 | 2604096.8596 | 1207913.6496
53 | 2604115.5804 | 1207931.4628 | 2604114.8739 | 1207930.7905
54 | 2604166.9438 | 1207887.9922 | 2604171.5658 | 1207892.5115
55 | 2604186.5916 | 1207910.2332 | 2604186.0681 | 1207908.9947 | 2604178.275 | 1207898.6947 | 2604174.4304 | 1207895.3125 | 2604171.5658 | 1207892.5115
56 | 2604187.271 | 1207911.8404 | 2604186.5916 | 1207910.2332
57 | 2604187.271 | 1207911.8404 | 2604188.3388 | 1207914.3665
58 | 2604188.8033 | 1207915.4653 | 2604188.3388 | 1207914.3665
59 | 2604188.8033 | 1207915.4653 | 2604190.106 | 1207918.5471 | 2604189.1985 | 1207926.7986
60 | 2604158.8649 | 1208088.4636 | 2604157.5683 | 1208083.4488 | 2604156.0431 | 1208079.2788 | 2604153.4626 | 1208073.0069 | 2604146.6282 | 1208061.8628
61 | 2604138.479 | 1208050.0063 | 2604146.6282 | 1208061.8628
62 | 2604158.8649 | 1208088.4636 | 2604162.7379 | 1208116.6373 | 2604165.1107 | 1208130.1916
63 | 2604158.8649 | 1208088.4636 | 2604175.1229 | 1208082.1824 | 2604175.8684 | 1208082.3094
64 | 2604138.479 | 1208050.0063 | 2604157.2656 | 1208029.4568
65 | 2604165.1107 | 1208130.1916 | 2604166.9558 | 1208140.7312 | 2604170.7812 | 1208152.3346
66 | 2604182.3917 | 1208083.4208 | 2604175.8684 | 1208082.3094
67 | 2604185.2856 | 1208083.9139 | 2604182.3917 | 1208083.4208
68 | 2604100.8656 | 1208000.6313 | 2604110.8258 | 1208013.6593
69 | 2604100.8656 | 1208000.6313 | 2604121.8535 | 1207983.731
70 | 2604100.8656 | 1208000.6313 | 2604087.7648 | 1207983.8474
71 | 2604121.8535 | 1207983.731 | 2604126.5774 | 1207979.927
72 | 2604067.1005 | 1207962.3519 | 2604084.7776 | 1207980.0203 | 2604087.7648 | 1207983.8474
73 | 2604134.783 | 1207973.3195 | 2604126.5774 | 1207979.927
74 | 2604053.0451 | 1207945.8802 | 2604054.8369 | 1207949.4167 | 2604057.108 | 1207952.3643 | 2604067.1005 | 1207962.3519
75 | 2604134.783 | 1207973.3195 | 2604147.1456 | 1207963.3646
76 | 2604149.3804 | 1207961.565 | 2604147.1456 | 1207963.3646
77 | 2604149.3804 | 1207961.565 | 2604171.9006 | 1207947.9841

## bus_geodata
| x | y | coords
0 | 2604277.9261 | 1207961.6833
1 | 2604274.3861 | 1207980.6021
2 | 2604260.9984 | 1207918.8861
3 | 2604271.4412 | 1207996.3407
4 | 2604271.791 | 1207893.7323
5 | 2604279.8374 | 1208027.5142
6 | 2604292.7419 | 1207883.6113
7 | 2604261.9642 | 1208043.18
8 | 2604300.3763 | 1208009.0248
9 | 2604312.2125 | 1207874.2054
10 | 2604205.3275 | 1207824.2009
11 | 2604187.0846 | 1207804.8947
12 | 2604206.6589 | 1207825.61
13 | 2604152.5933 | 1207873.9606
14 | 2604211.492 | 1207830.7248
15 | 2604225.0497 | 1208078.5594
16 | 2604317.7726 | 1207994.3256
17 | 2604208.5443 | 1208079.6596
18 | 2604332.6776 | 1207981.7315
19 | 2604342.8034 | 1207895.653
20 | 2604342.2541 | 1207877.1869
21 | 2604401.2526 | 1207923.9573
22 | 2604363.0593 | 1207849.6423
23 | 2604331.4762 | 1207864.8995
24 | 2604207.7496 | 1208052.6776
25 | 2604191.2299 | 1208084.1935
26 | 2604191.0217 | 1208084.1851
27 | 2604191.8649 | 1207991.6108
28 | 2604182.8334 | 1208001.4898
29 | 2604192.7045 | 1207975.7137
30 | 2604180.5757 | 1208003.9593
31 | 2604197.6347 | 1207969.476
32 | 2604170.7869 | 1208014.6667
33 | 2604201.3637 | 1207964.7581
34 | 2604165.6477 | 1208020.2881
35 | 2604211.9002 | 1207961.2273
36 | 2604179.2637 | 1207942.7141
37 | 2604115.5055 | 1207837.6971
38 | 2604105.8385 | 1207827.0633
39 | 2604124.4658 | 1207846.4583
40 | 2604133.94 | 1207855.7219
41 | 2604070.8751 | 1207888.9248
42 | 2604049.4703 | 1207868.5575
43 | 2604073.4337 | 1207891.3593
44 | 2604049.0032 | 1207929.1437
45 | 2604145.1014 | 1207866.6352
46 | 2604096.3683 | 1207913.1821
47 | 2604145.5454 | 1207867.0694
48 | 2604096.8596 | 1207913.6496
49 | 2604114.8739 | 1207930.7905
50 | 2604166.9438 | 1207887.9922
51 | 2604171.5658 | 1207892.5115
52 | 2604115.5804 | 1207931.4628
53 | 2604186.5916 | 1207910.2332
54 | 2604187.271 | 1207911.8404
55 | 2604188.3388 | 1207914.3665
56 | 2604188.8033 | 1207915.4653
57 | 2604189.1985 | 1207926.7986
58 | 2604146.6282 | 1208061.8628
59 | 2604158.8649 | 1208088.4636
60 | 2604138.479 | 1208050.0063
61 | 2604165.1107 | 1208130.1916
62 | 2604175.8684 | 1208082.3094
63 | 2604157.2656 | 1208029.4568
64 | 2604170.7812 | 1208152.3346
65 | 2604182.3916 | 1208083.4208
66 | 2604110.8258 | 1208013.6593
67 | 2604100.8656 | 1208000.6313
68 | 2604185.2856 | 1208083.9139
69 | 2604121.8535 | 1207983.731
70 | 2604087.7648 | 1207983.8474
71 | 2604126.5774 | 1207979.927
72 | 2604067.1005 | 1207962.3519
73 | 2604134.783 | 1207973.3195
74 | 2604053.0451 | 1207945.8802
75 | 2604147.1456 | 1207963.3646
76 | 2604149.3804 | 1207961.565
77 | 2604171.9006 | 1207947.9841
78 | 2604215.9638 | 1207959.8656
79 | 2604138.479 | 1208050.0063

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1