## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5581-1_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5581-1_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5581-1_0_10_node_42 | 0.4 | n |  | TRUE
3 | bus_LV_5581-1_0_10_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5581-1_0_10_node_72 | 0.4 | n |  | TRUE
5 | bus_LV_5581-1_0_10_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_5581-1_0_10_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5581-1_0_10_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_5581-1_0_10_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_5581-1_0_10_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_5581-1_0_10_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5581-1_0_10_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5581-1_0_10_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5581-1_0_10_node_78 | 0.4 | n |  | TRUE
14 | bus_LV_5581-1_0_10_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_5581-1_0_10_node_40 | 0.4 | n |  | TRUE
16 | bus_LV_5581-1_0_10_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_5581-1_0_10_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_5581-1_0_10_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5581-1_0_10_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_5581-1_0_10_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5581-1_0_10_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5581-1_0_10_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5581-1_0_10_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_5581-1_0_10_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_5581-1_0_10_node_77 | 0.4 | n |  | TRUE
26 | bus_LV_5581-1_0_10_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_5581-1_0_10_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_5581-1_0_10_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5581-1_0_10_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5581-1_0_10_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5581-1_0_10_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_5581-1_0_10_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5581-1_0_10_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_5581-1_0_10_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_5581-1_0_10_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_5581-1_0_10_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_5581-1_0_10_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_5581-1_0_10_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5581-1_0_10_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5581-1_0_10_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5581-1_0_10_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5581-1_0_10_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5581-1_0_10_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5581-1_0_10_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_5581-1_0_10_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_5581-1_0_10_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_5581-1_0_10_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_5581-1_0_10_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_5581-1_0_10_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_5581-1_0_10_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_5581-1_0_10_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_5581-1_0_10_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_5581-1_0_10_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_5581-1_0_10_node_53 | 0.4 | n |  | TRUE
55 | bus_LV_5581-1_0_10_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_5581-1_0_10_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_5581-1_0_10_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_5581-1_0_10_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_5581-1_0_10_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_5581-1_0_10_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5581-1_0_10_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_5581-1_0_10_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_5581-1_0_10_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_5581-1_0_10_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5581-1_0_10_node_38 | 0.4 | n |  | TRUE
66 | bus_LV_5581-1_0_10_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_5581-1_0_10_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_5581-1_0_10_node_36 | 0.4 | n |  | TRUE
69 | bus_LV_5581-1_0_10_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_5581-1_0_10_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_5581-1_0_10_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_5581-1_0_10_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_5581-1_0_10_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_5581-1_0_10_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_5581-1_0_10_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_5581-1_0_10_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_5581-1_0_10_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_5581-1_0_10_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_5581-1_0_10_node_57 | 0.4 | n |  | TRUE
80 | bus_MV_619_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5581-1_0_10_load_0 | 0 | 0.060318 | 0.015117 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5581-1_0_10_load_72 | 4 | 0.0038664 | 0.00096901 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5581-1_0_10_load_41 | 5 | 0.0022858 | 0.00057287 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5581-1_0_10_load_3 | 7 | 0.062856 | 0.015753 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5581-1_0_10_load_71 | 8 | 0.0099453 | 0.0024925 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5581-1_0_10_load_5 | 9 | 0.068029 | 0.01705 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5581-1_0_10_load_6 | 11 | 0.067142 | 0.016827 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5581-1_0_10_load_8 | 12 | 0.064988 | 0.016288 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5581-1_0_10_load_79 | 14 | 0.065036 | 0.0163 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5581-1_0_10_load_40 | 15 | 0.0024394 | 0.00061138 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5581-1_0_10_load_46 | 16 | 0.0031685 | 0.0007941 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5581-1_0_10_load_45 | 17 | 0.0022249 | 0.00055761 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5581-1_0_10_load_9 | 18 | 0.0021241 | 0.00053236 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5581-1_0_10_load_10 | 19 | 0.0012562 | 0.00031482 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5581-1_0_10_load_13 | 22 | 0.0042919 | 0.0010756 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5581-1_0_10_load_14 | 23 | 0.0065363 | 0.0016381 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5581-1_0_10_load_77 | 25 | 0.0021322 | 0.00053439 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5581-1_0_10_load_15 | 27 | 0.0034306 | 0.0008598 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5581-1_0_10_load_16 | 28 | 0.0019521 | 0.00048923 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5581-1_0_10_load_18 | 30 | 0.0035313 | 0.00088502 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5581-1_0_10_load_20 | 32 | 0.0030343 | 0.00076047 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5581-1_0_10_load_59 | 33 | 0.0024848 | 0.00062274 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5581-1_0_10_load_75 | 34 | 0.0021141 | 0.00052985 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5581-1_0_10_load_21 | 38 | 0.0044144 | 0.0011064 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5581-1_0_10_load_22 | 39 | 0.0035056 | 0.00087858 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5581-1_0_10_load_24 | 41 | 0.0020493 | 0.00051359 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5581-1_0_10_load_26 | 43 | 0.0018366 | 0.00046029 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5581-1_0_10_load_55 | 44 | 0.0036708 | 0.00091998 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5581-1_0_10_load_76 | 45 | 0.0036903 | 0.00092488 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5581-1_0_10_load_34 | 46 | 0.0017667 | 0.00044278 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5581-1_0_10_load_56 | 47 | 0.0044542 | 0.0011163 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5581-1_0_10_load_37 | 48 | 0.0033274 | 0.00083392 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5581-1_0_10_load_35 | 49 | 0.0012738 | 0.00031923 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5581-1_0_10_load_27 | 50 | 0.0047826 | 0.0011986 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5581-1_0_10_load_29 | 52 | 0.0051067 | 0.0012799 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5581-1_0_10_load_53 | 54 | 0.0051685 | 0.0012953 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5581-1_0_10_load_64 | 56 | 0.0042985 | 0.0010773 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5581-1_0_10_load_61 | 57 | 0.004721 | 0.0011832 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5581-1_0_10_load_49 | 58 | 0.0037787 | 0.00094704 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5581-1_0_10_load_51 | 60 | 0.0077394 | 0.0019397 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5581-1_0_10_load_31 | 61 | 0.0062913 | 0.0015768 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5581-1_0_10_load_32 | 62 | 0.0058382 | 0.0014632 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5581-1_0_10_load_38 | 65 | 0.0016824 | 0.00042166 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5581-1_0_10_load_70 | 66 | 0.01389 | 0.0034813 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5581-1_0_10_load_69 | 67 | 0.0041512 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5581-1_0_10_load_36 | 68 | 0.003466 | 0.00086865 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5581-1_0_10_load_74 | 70 | 0.0051576 | 0.0012926 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5581-1_0_10_load_65 | 71 | 0.0017001 | 0.00042608 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5581-1_0_10_load_48 | 73 | 0.0017006 | 0.00042622 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5581-1_0_10_load_80 | 74 | 0.0017744 | 0.0004447 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5581-1_0_10_load_68 | 76 | 0.0028027 | 0.00070241 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5581-1_0_10_load_50 | 77 | 0.011387 | 0.0028539 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5581-1_0_10_load_73 | 78 | 0.007997 | 0.0020042 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5581-1_0_10_load_57 | 79 | 0.0063202 | 0.001584 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5581-1_0_10_line_0 |  | 0 | 1 | 0.042424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_5581-1_0_10_line_1 |  | 0 | 2 | 0.038539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5581-1_0_10_line_2 |  | 1 | 3 | 0.064453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_5581-1_0_10_line_3 |  | 1 | 4 | 0.049863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5581-1_0_10_line_4 |  | 2 | 5 | 0.088278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_5581-1_0_10_line_5 |  | 3 | 6 | 0.06125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5581-1_0_10_line_6 |  | 3 | 7 | 0.075576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5581-1_0_10_line_7 |  | 4 | 8 | 0.01838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5581-1_0_10_line_8 |  | 5 | 15 | 0.029362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5581-1_0_10_line_9 |  | 6 | 9 | 0.083532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5581-1_0_10_line_10 |  | 9 | 10 | 0.054642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5581-1_0_10_line_11 |  | 10 | 12 | 0.033474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5581-1_0_10_line_12 |  | 10 | 11 | 0.041787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5581-1_0_10_line_13 |  | 12 | 13 | 0.059836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5581-1_0_10_line_14 |  | 13 | 14 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5581-1_0_10_line_15 |  | 15 | 21 | 0.0029318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5581-1_0_10_line_16 |  | 16 | 17 | 0.012509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5581-1_0_10_line_17 |  | 17 | 72 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5581-1_0_10_line_18 |  | 18 | 19 | 0.0081111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5581-1_0_10_line_19 |  | 18 | 20 | 0.02126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5581-1_0_10_line_20 |  | 19 | 21 | 0.029091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5581-1_0_10_line_21 |  | 20 | 22 | 0.007984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5581-1_0_10_line_22 |  | 20 | 23 | 0.047862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5581-1_0_10_line_23 |  | 21 | 24 | 0.002569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_5581-1_0_10_line_24 |  | 24 | 25 | 0.022583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5581-1_0_10_line_25 |  | 24 | 26 | 0.040348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5581-1_0_10_line_26 |  | 26 | 71 | 0.011796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5581-1_0_10_line_27 |  | 26 | 69 | 0.004706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5581-1_0_10_line_28 |  | 27 | 28 | 0.0045712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5581-1_0_10_line_29 |  | 27 | 29 | 0.024668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5581-1_0_10_line_30 |  | 28 | 30 | 0.019309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5581-1_0_10_line_31 |  | 29 | 31 | 0.016898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5581-1_0_10_line_32 |  | 29 | 32 | 0.031693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5581-1_0_10_line_33 |  | 30 | 33 | 0.039289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5581-1_0_10_line_34 |  | 31 | 34 | 0.043093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5581-1_0_10_line_35 |  | 32 | 35 | 0.013136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5581-1_0_10_line_36 |  | 33 | 36 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5581-1_0_10_line_37 |  | 35 | 37 | 0.013553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5581-1_0_10_line_38 |  | 36 | 57 | 0.019052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5581-1_0_10_line_39 |  | 37 | 48 | 0.042395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5581-1_0_10_line_40 |  | 37 | 42 | 0.009449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5581-1_0_10_line_41 |  | 38 | 39 | 0.015575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5581-1_0_10_line_42 |  | 38 | 40 | 0.035607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5581-1_0_10_line_43 |  | 39 | 41 | 0.0076017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5581-1_0_10_line_44 |  | 40 | 42 | 0.006587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5581-1_0_10_line_45 |  | 40 | 43 | 0.0070581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5581-1_0_10_line_46 |  | 41 | 44 | 0.027616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5581-1_0_10_line_47 |  | 42 | 45 | 0.019971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5581-1_0_10_line_48 |  | 43 | 46 | 0.02505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5581-1_0_10_line_49 |  | 44 | 47 | 0.024299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5581-1_0_10_line_50 |  | 46 | 49 | 0.0038763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5581-1_0_10_line_51 |  | 47 | 79 | 0.00082912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5581-1_0_10_line_52 |  | 48 | 68 | 0.0084506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5581-1_0_10_line_53 |  | 49 | 69 | 0.029094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_5581-1_0_10_line_54 |  | 50 | 51 | 0.013864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5581-1_0_10_line_55 |  | 51 | 52 | 0.038756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5581-1_0_10_line_56 |  | 51 | 53 | 0.021901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5581-1_0_10_line_57 |  | 52 | 54 | 0.033553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5581-1_0_10_line_58 |  | 53 | 55 | 0.034627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5581-1_0_10_line_59 |  | 53 | 56 | 0.01929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5581-1_0_10_line_60 |  | 54 | 57 | 0.050211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5581-1_0_10_line_61 |  | 54 | 58 | 0.034464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5581-1_0_10_line_62 |  | 55 | 59 | 0.014328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5581-1_0_10_line_63 |  | 55 | 60 | 0.014523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5581-1_0_10_line_64 |  | 59 | 78 | 0.01613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5581-1_0_10_line_65 |  | 60 | 77 | 0.038462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5581-1_0_10_line_66 |  | 61 | 62 | 0.022435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5581-1_0_10_line_67 |  | 62 | 63 | 0.022171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5581-1_0_10_line_68 |  | 63 | 64 | 0.021629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5581-1_0_10_line_69 |  | 63 | 65 | 0.036809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5581-1_0_10_line_70 |  | 64 | 66 | 0.037858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5581-1_0_10_line_71 |  | 64 | 67 | 0.0051102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5581-1_0_10_line_72 |  | 65 | 68 | 0.019039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5581-1_0_10_line_73 |  | 69 | 70 | 0.025455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5581-1_0_10_line_74 |  | 71 | 75 | 0.003043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5581-1_0_10_line_75 |  | 72 | 73 | 0.021973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5581-1_0_10_line_76 |  | 73 | 74 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5581-1_0_10_line_77 |  | 73 | 75 | 0.032137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5581-1_0_10_line_78 |  | 75 | 76 | 0.0713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5581-1_0_10_trafo_41 | 0.63 MVA 20/0.4 kV | 80 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2541353.2191 | 1152621.4753 | 2541358.2292 | 1152608.8085 | 2541370.5528 | 1152582.7757
1 | 2541390.0883 | 1152549.5549 | 2541370.5528 | 1152582.7757
2 | 2541306.1051 | 1152580.9245 | 2541318.8585 | 1152599.7323 | 2541327.1282 | 1152608.8898 | 2541336.0123 | 1152615.7401 | 2541348.3941 | 1152620.8776 | 2541353.2191 | 1152621.4753
3 | 2541400.1324 | 1152638.3714 | 2541353.2191 | 1152621.4753
4 | 2541390.0883 | 1152549.5549 | 2541389.373 | 1152543.8811 | 2541387.7657 | 1152530.9454 | 2541386.5442 | 1152520.5739 | 2541378.9421 | 1152478.381 | 2541376.9933 | 1152463.4809 | 2541377.2179 | 1152462.3212
5 | 2541272.6293 | 1152529.6128 | 2541280.3603 | 1152540.1762 | 2541306.1051 | 1152580.9245
6 | 2541306.1051 | 1152580.9245 | 2541319.7716 | 1152552.5758 | 2541318.0578 | 1152549.1796 | 2541307.3352 | 1152544.2372 | 2541306.5127 | 1152540.9435 | 2541316.3816 | 1152517.8655
7 | 2541400.1324 | 1152638.3714 | 2541409.4931 | 1152622.5535
8 | 2541386.0653 | 1152434.4675 | 2541379.4992 | 1152450.5384 | 2541377.2179 | 1152462.3212
9 | 2541272.6293 | 1152529.6128 | 2541287.9089 | 1152491.2318 | 2541276.8428 | 1152485.7036 | 2541275.8743 | 1152481.6108 | 2541286.1126 | 1152458.0976
10 | 2541286.1126 | 1152458.0976 | 2541241.1532 | 1152427.043
11 | 2541241.1532 | 1152427.043 | 2541254.5276 | 1152396.3568
12 | 2541241.1532 | 1152427.043 | 2541224.2452 | 1152465.2563
13 | 2541254.5276 | 1152396.3568 | 2541198.7935 | 1152374.5846
14 | 2541198.7935 | 1152374.5846 | 2541186.9525 | 1152369.1086
15 | 2541387.1741 | 1152431.7535 | 2541386.0653 | 1152434.4675
16 | 2541346.9398 | 1152341.3863 | 2541359.071 | 1152338.336
17 | 2541372.3553 | 1152336.5469 | 2541368.0991 | 1152336.0659 | 2541359.071 | 1152338.336
18 | 2541393.3597 | 1152460.1788 | 2541395.1049 | 1152468.1
19 | 2541399.6795 | 1152488.8622 | 2541395.1049 | 1152468.1
20 | 2541387.1741 | 1152431.7535 | 2541388.6391 | 1152438.7541 | 2541393.3597 | 1152460.1788
21 | 2541399.6795 | 1152488.8622 | 2541407.5868 | 1152487.6067
22 | 2541399.6795 | 1152488.8622 | 2541402.1179 | 1152498.8883 | 2541428.0928 | 1152504.2714 | 2541429.6401 | 1152515.1788
23 | 2541387.1741 | 1152431.7535 | 2541388.1486 | 1152429.376
24 | 2541406.2023 | 1152440.0613 | 2541399.4821 | 1152440.2936 | 2541393.9662 | 1152436.5343 | 2541388.1486 | 1152429.376
25 | 2541388.1486 | 1152429.376 | 2541397.7948 | 1152405.7693 | 2541407.3143 | 1152394.3482
26 | 2541407.3143 | 1152394.3482 | 2541405.0297 | 1152382.776
27 | 2541411.5611 | 1152392.2946 | 2541407.3143 | 1152394.3482
28 | 2541542.4969 | 1152417.0048 | 2541541.446 | 1152421.4536
29 | 2541541.1936 | 1152392.555 | 2541541.523 | 1152395.6535 | 2541543.3826 | 1152413.256 | 2541542.4969 | 1152417.0048
30 | 2541541.5147 | 1152440.2603 | 2541539.2919 | 1152430.5717 | 2541541.446 | 1152421.4536
31 | 2541557.3278 | 1152387.3843 | 2541541.1936 | 1152392.555
32 | 2541541.1936 | 1152392.555 | 2541518.9809 | 1152402.3986 | 2541512.3954 | 1152405.7667
33 | 2541541.5147 | 1152440.2603 | 2541562.0145 | 1152473.7772
34 | 2541564.2567 | 1152429.9064 | 2541557.8237 | 1152391.0259 | 2541557.3278 | 1152387.3843
35 | 2541500.7003 | 1152411.7481 | 2541512.3954 | 1152405.7667
36 | 2541574.8644 | 1152475.1275 | 2541568.0975 | 1152474.493 | 2541562.0145 | 1152473.7772
37 | 2541500.7003 | 1152411.7481 | 2541487.8115 | 1152416.0536
38 | 2541574.8644 | 1152475.1275 | 2541571.873 | 1152480.0037 | 2541574.2378 | 1152493.1241
39 | 2541487.8115 | 1152416.0536 | 2541476.8969 | 1152375.0881
40 | 2541478.3652 | 1152415.3007 | 2541487.8115 | 1152416.0536
41 | 2541454.0042 | 1152439.6632 | 2541453.8792 | 1152443.054 | 2541456.9598 | 1152454.8396
42 | 2541472.4506 | 1152412.3678 | 2541462.6257 | 1152420.8125 | 2541454.4437 | 1152427.7403 | 2541454.0042 | 1152439.6632
43 | 2541458.8821 | 1152462.1942 | 2541456.9598 | 1152454.8396
44 | 2541478.3652 | 1152415.3007 | 2541472.4506 | 1152412.3678
45 | 2541472.4506 | 1152412.3678 | 2541466.0147 | 1152409.4703
46 | 2541465.8659 | 1152488.9128 | 2541458.8821 | 1152462.1942
47 | 2541476.0045 | 1152433.7225 | 2541473.9571 | 1152426.0049 | 2541475.3738 | 1152418.6094 | 2541478.3652 | 1152415.3007
48 | 2541466.0147 | 1152409.4703 | 2541443.1729 | 1152399.1865
49 | 2541465.8659 | 1152488.9128 | 2541472.0109 | 1152512.422
50 | 2541443.1729 | 1152399.1865 | 2541439.6383 | 1152397.5952
51 | 2541472.2205 | 1152513.2242 | 2541472.0109 | 1152512.422
52 | 2541474.7212 | 1152366.9224 | 2541476.8969 | 1152375.0881
53 | 2541411.5611 | 1152392.2946 | 2541420.7852 | 1152391.5043 | 2541436.6554 | 1152396.2522 | 2541439.6383 | 1152397.5952
54 | 2541544.1166 | 1152565.2192 | 2541540.3968 | 1152566.2115 | 2541537.0377 | 1152564.0541 | 2541534.3459 | 1152558.6669
55 | 2541544.1166 | 1152565.2192 | 2541533.1844 | 1152528.0375
56 | 2541538.47 | 1152579.5485 | 2541547.2319 | 1152577.8068 | 2541544.1166 | 1152565.2192
57 | 2541533.1844 | 1152528.0375 | 2541531.4182 | 1152522.0306 | 2541524.0952 | 1152495.7394
58 | 2541504.499 | 1152586.7383 | 2541538.47 | 1152579.5485
59 | 2541538.47 | 1152579.5485 | 2541538.3003 | 1152598.8377
60 | 2541524.0952 | 1152495.7394 | 2541574.2378 | 1152493.1241
61 | 2541524.0952 | 1152495.7394 | 2541514.8477 | 1152462.5388
62 | 2541504.499 | 1152586.7383 | 2541499.3022 | 1152584.2098 | 2541496.2698 | 1152576.2016
63 | 2541504.499 | 1152586.7383 | 2541501.6657 | 1152590.5124 | 2541501.4552 | 1152600.3143
64 | 2541496.2698 | 1152576.2016 | 2541493.6391 | 1152569.2569 | 2541493.3369 | 1152560.5585
65 | 2541504.4147 | 1152637.8224 | 2541504.1821 | 1152633.0107 | 2541504.1839 | 1152616.6463 | 2541501.1958 | 1152612.3954 | 2541501.4552 | 1152600.3143
66 | 2541490.6944 | 1152269.4656 | 2541486.4003 | 1152291.4857
67 | 2541481.3369 | 1152313.0614 | 2541484.8422 | 1152299.4755 | 2541486.4003 | 1152291.4857
68 | 2541460.7569 | 1152307.7589 | 2541463.6658 | 1152309.3759 | 2541475.3845 | 1152310.1845 | 2541481.3369 | 1152313.0614
69 | 2541481.3369 | 1152313.0614 | 2541480.1907 | 1152317.5083 | 2541474.2794 | 1152329.0942 | 2541472.0776 | 1152341.7669 | 2541472.4462 | 1152348.1036
70 | 2541460.7569 | 1152307.7589 | 2541459.1451 | 1152303.7947 | 2541460.4352 | 1152294.4327 | 2541462.4592 | 1152280.0497 | 2541461.407 | 1152270.5104
71 | 2541460.7569 | 1152307.7589 | 2541456.2343 | 1152309.8596 | 2541456.221 | 1152309.9824
72 | 2541474.7212 | 1152366.9224 | 2541473.2113 | 1152361.2552 | 2541472.4462 | 1152348.1036
73 | 2541411.5611 | 1152392.2946 | 2541411.7238 | 1152381.4427 | 2541413.4268 | 1152378.2244 | 2541424.0192 | 1152375.2974
74 | 2541404.4404 | 1152379.7906 | 2541405.0297 | 1152382.776
75 | 2541386.4787 | 1152353.3849 | 2541382.7655 | 1152349.5524 | 2541372.3553 | 1152336.5469
76 | 2541383.8233 | 1152333.7002 | 2541385.9585 | 1152344.1072 | 2541386.4787 | 1152353.3849
77 | 2541386.4787 | 1152353.3849 | 2541393.6418 | 1152360.7857 | 2541400.2582 | 1152372.7276 | 2541404.4404 | 1152379.7906
78 | 2541409.1281 | 1152315.1436 | 2541401.5642 | 1152320.9315 | 2541395.8873 | 1152327.4348 | 2541396.2697 | 1152338.3147 | 2541404.4404 | 1152379.7906

## bus_geodata
| x | y | coords
0 | 2541370.5528 | 1152582.7757
1 | 2541353.2191 | 1152621.4753
2 | 2541390.0883 | 1152549.5549
3 | 2541306.1051 | 1152580.9245
4 | 2541400.1324 | 1152638.3714
5 | 2541377.2179 | 1152462.3212
6 | 2541272.6292 | 1152529.6128
7 | 2541316.3816 | 1152517.8655
8 | 2541409.4931 | 1152622.5535
9 | 2541286.1126 | 1152458.0976
10 | 2541241.1532 | 1152427.043
11 | 2541224.2452 | 1152465.2563
12 | 2541254.5276 | 1152396.3568
13 | 2541198.7935 | 1152374.5846
14 | 2541186.9525 | 1152369.1086
15 | 2541386.0653 | 1152434.4675
16 | 2541346.9398 | 1152341.3863
17 | 2541359.071 | 1152338.336
18 | 2541395.1049 | 1152468.1
19 | 2541393.3597 | 1152460.1788
20 | 2541399.6795 | 1152488.8622
21 | 2541387.1741 | 1152431.7535
22 | 2541407.5868 | 1152487.6067
23 | 2541429.6401 | 1152515.1788
24 | 2541388.1486 | 1152429.376
25 | 2541406.2023 | 1152440.0613
26 | 2541407.3143 | 1152394.3482
27 | 2541542.4969 | 1152417.0048
28 | 2541541.446 | 1152421.4536
29 | 2541541.1936 | 1152392.555
30 | 2541541.5147 | 1152440.2603
31 | 2541557.3278 | 1152387.3843
32 | 2541512.3954 | 1152405.7667
33 | 2541562.0145 | 1152473.7772
34 | 2541564.2567 | 1152429.9064
35 | 2541500.7003 | 1152411.7481
36 | 2541574.8644 | 1152475.1275
37 | 2541487.8115 | 1152416.0536
38 | 2541454.0042 | 1152439.6632
39 | 2541456.9598 | 1152454.8396
40 | 2541472.4506 | 1152412.3678
41 | 2541458.8821 | 1152462.1942
42 | 2541478.3652 | 1152415.3007
43 | 2541466.0147 | 1152409.4703
44 | 2541465.8659 | 1152488.9128
45 | 2541476.0045 | 1152433.7225
46 | 2541443.1729 | 1152399.1865
47 | 2541472.0109 | 1152512.422
48 | 2541476.8969 | 1152375.0881
49 | 2541439.6383 | 1152397.5952
50 | 2541534.3459 | 1152558.6669
51 | 2541544.1166 | 1152565.2192
52 | 2541533.1844 | 1152528.0375
53 | 2541538.47 | 1152579.5485
54 | 2541524.0952 | 1152495.7394
55 | 2541504.499 | 1152586.7383
56 | 2541538.3003 | 1152598.8377
57 | 2541574.2378 | 1152493.1241
58 | 2541514.8477 | 1152462.5388
59 | 2541496.2698 | 1152576.2017
60 | 2541501.4552 | 1152600.3143
61 | 2541490.6944 | 1152269.4656
62 | 2541486.4003 | 1152291.4857
63 | 2541481.3369 | 1152313.0614
64 | 2541460.7569 | 1152307.7589
65 | 2541472.4462 | 1152348.1036
66 | 2541461.407 | 1152270.5104
67 | 2541456.221 | 1152309.9824
68 | 2541474.7212 | 1152366.9224
69 | 2541411.5611 | 1152392.2946
70 | 2541424.0192 | 1152375.2974
71 | 2541405.0297 | 1152382.776
72 | 2541372.3553 | 1152336.5469
73 | 2541386.4787 | 1152353.3849
74 | 2541383.8233 | 1152333.7002
75 | 2541404.4404 | 1152379.7906
76 | 2541409.1281 | 1152315.1436
77 | 2541504.4147 | 1152637.8224
78 | 2541493.3369 | 1152560.5585
79 | 2541472.2205 | 1152513.2242
80 | 2541387.1741 | 1152431.7535

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1