## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5581-2_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5581-2_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5581-2_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5581-2_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5581-2_0_8_node_98 | 0.4 | n |  | TRUE
5 | bus_LV_5581-2_0_8_node_95 | 0.4 | n |  | TRUE
6 | bus_LV_5581-2_0_8_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_5581-2_0_8_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_5581-2_0_8_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5581-2_0_8_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_5581-2_0_8_node_100 | 0.4 | n |  | TRUE
11 | bus_LV_5581-2_0_8_node_96 | 0.4 | n |  | TRUE
12 | bus_LV_5581-2_0_8_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_5581-2_0_8_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_5581-2_0_8_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_5581-2_0_8_node_99 | 0.4 | n |  | TRUE
16 | bus_LV_5581-2_0_8_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_5581-2_0_8_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_5581-2_0_8_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_5581-2_0_8_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_5581-2_0_8_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_5581-2_0_8_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_5581-2_0_8_node_94 | 0.4 | n |  | TRUE
23 | bus_LV_5581-2_0_8_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5581-2_0_8_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5581-2_0_8_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_5581-2_0_8_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_5581-2_0_8_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_5581-2_0_8_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_5581-2_0_8_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5581-2_0_8_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5581-2_0_8_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_5581-2_0_8_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5581-2_0_8_node_65 | 0.4 | n |  | TRUE
34 | bus_LV_5581-2_0_8_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_5581-2_0_8_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_5581-2_0_8_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5581-2_0_8_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5581-2_0_8_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5581-2_0_8_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_5581-2_0_8_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_5581-2_0_8_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_5581-2_0_8_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_5581-2_0_8_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_5581-2_0_8_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_5581-2_0_8_node_83 | 0.4 | n |  | TRUE
46 | bus_LV_5581-2_0_8_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_5581-2_0_8_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5581-2_0_8_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_5581-2_0_8_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_5581-2_0_8_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_5581-2_0_8_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5581-2_0_8_node_106 | 0.4 | n |  | TRUE
53 | bus_LV_5581-2_0_8_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_5581-2_0_8_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_5581-2_0_8_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_5581-2_0_8_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_5581-2_0_8_node_89 | 0.4 | n |  | TRUE
58 | bus_LV_5581-2_0_8_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_5581-2_0_8_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_5581-2_0_8_node_93 | 0.4 | n |  | TRUE
61 | bus_LV_5581-2_0_8_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_5581-2_0_8_node_107 | 0.4 | n |  | TRUE
63 | bus_LV_5581-2_0_8_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5581-2_0_8_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_5581-2_0_8_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_5581-2_0_8_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_5581-2_0_8_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_5581-2_0_8_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_5581-2_0_8_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_5581-2_0_8_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_5581-2_0_8_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_5581-2_0_8_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_5581-2_0_8_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_5581-2_0_8_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_5581-2_0_8_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_5581-2_0_8_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_5581-2_0_8_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_5581-2_0_8_node_55 | 0.4 | n |  | TRUE
79 | bus_LV_5581-2_0_8_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_5581-2_0_8_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_5581-2_0_8_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_5581-2_0_8_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_5581-2_0_8_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_5581-2_0_8_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_5581-2_0_8_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_5581-2_0_8_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_5581-2_0_8_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_5581-2_0_8_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_5581-2_0_8_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_5581-2_0_8_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_5581-2_0_8_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_5581-2_0_8_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_5581-2_0_8_node_105 | 0.4 | n |  | TRUE
94 | bus_LV_5581-2_0_8_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_5581-2_0_8_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_5581-2_0_8_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_5581-2_0_8_node_104 | 0.4 | n |  | TRUE
98 | bus_LV_5581-2_0_8_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_5581-2_0_8_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_5581-2_0_8_node_102 | 0.4 | n |  | TRUE
101 | bus_LV_5581-2_0_8_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_5581-2_0_8_node_81 | 0.4 | n |  | TRUE
103 | bus_LV_5581-2_0_8_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_5581-2_0_8_node_87 | 0.4 | n |  | TRUE
105 | bus_LV_5581-2_0_8_node_97 | 0.4 | n |  | TRUE
106 | bus_MV_620_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5581-2_0_8_load_0 | 0 | 0.001806 | 0.00045264 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5581-2_0_8_load_98 | 4 | 0.051363 | 0.012873 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5581-2_0_8_load_95 | 5 | 0.0037815 | 0.00094772 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5581-2_0_8_load_23 | 7 | 0.0017034 | 0.0004269 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5581-2_0_8_load_100 | 10 | 0.012128 | 0.0030395 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5581-2_0_8_load_96 | 11 | 0.0035328 | 0.00088541 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5581-2_0_8_load_20 | 12 | 0.0056368 | 0.0014127 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5581-2_0_8_load_24 | 13 | 0.0017376 | 0.00043548 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5581-2_0_8_load_68 | 14 | 0.0057549 | 0.0014423 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5581-2_0_8_load_5 | 16 | 0.0040944 | 0.0010262 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5581-2_0_8_load_6 | 17 | 0.005176 | 0.0012972 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5581-2_0_8_load_22 | 18 | 0.0044734 | 0.0011211 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5581-2_0_8_load_8 | 20 | 0.0068498 | 0.0017167 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5581-2_0_8_load_9 | 21 | 0.0077128 | 0.001933 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5581-2_0_8_load_94 | 22 | 0.002109 | 0.00052857 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5581-2_0_8_load_17 | 23 | 0.01157 | 0.0028997 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5581-2_0_8_load_10 | 25 | 0.0056188 | 0.0014082 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5581-2_0_8_load_11 | 26 | 0.006149 | 0.0015411 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5581-2_0_8_load_12 | 27 | 0.0054229 | 0.0013591 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5581-2_0_8_load_14 | 31 | 0.002944 | 0.00073783 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5581-2_0_8_load_65 | 33 | 0.0074606 | 0.0018698 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5581-2_0_8_load_25 | 34 | 0.0039707 | 0.00099516 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5581-2_0_8_load_66 | 35 | 0.0016002 | 0.00040105 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5581-2_0_8_load_29 | 37 | 0.0015881 | 0.00039802 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5581-2_0_8_load_50 | 40 | 0.0055383 | 0.001388 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5581-2_0_8_load_51 | 41 | 0.0024254 | 0.00060786 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5581-2_0_8_load_48 | 42 | 0.0016155 | 0.00040489 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5581-2_0_8_load_67 | 43 | 0.0012102 | 0.0003033 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5581-2_0_8_load_56 | 44 | 0.0055912 | 0.0014013 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5581-2_0_8_load_83 | 45 | 0.0013366 | 0.00033499 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5581-2_0_8_load_31 | 46 | 0.021324 | 0.0053443 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5581-2_0_8_load_34 | 49 | 0.031696 | 0.0079437 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5581-2_0_8_load_36 | 51 | 0.01976 | 0.0049524 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5581-2_0_8_load_106 | 52 | 0.014021 | 0.0035139 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5581-2_0_8_load_37 | 53 | 0.016326 | 0.0040917 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5581-2_0_8_load_46 | 54 | 0.014003 | 0.0035096 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5581-2_0_8_load_88 | 56 | 0.008393 | 0.0021035 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5581-2_0_8_load_92 | 61 | 0.0015968 | 0.00040021 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5581-2_0_8_load_107 | 62 | 0.0018023 | 0.00045169 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5581-2_0_8_load_53 | 63 | 0.011779 | 0.0029522 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5581-2_0_8_load_58 | 65 | 0.029765 | 0.0074598 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5581-2_0_8_load_38 | 66 | 0.011105 | 0.0027833 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5581-2_0_8_load_39 | 67 | 0.01057 | 0.002649 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5581-2_0_8_load_47 | 71 | 0.024148 | 0.0060521 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5581-2_0_8_load_44 | 72 | 0.034313 | 0.0085997 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5581-2_0_8_load_64 | 74 | 0.0047195 | 0.0011828 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5581-2_0_8_load_63 | 75 | 0.0051917 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5581-2_0_8_load_57 | 76 | 0.010605 | 0.0026579 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5581-2_0_8_load_55 | 78 | 0.012514 | 0.0031362 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5581-2_0_8_load_52 | 79 | 0.019078 | 0.0047813 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5581-2_0_8_load_54 | 80 | 0.023794 | 0.0059634 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5581-2_0_8_load_61 | 82 | 0.0025791 | 0.00064639 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5581-2_0_8_load_62 | 83 | 0.0090742 | 0.0022742 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5581-2_0_8_load_77 | 84 | 0.0013429 | 0.00033655 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5581-2_0_8_load_84 | 85 | 0.002486 | 0.00062306 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5581-2_0_8_load_78 | 86 | 0.0036273 | 0.00090908 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5581-2_0_8_load_71 | 87 | 0.00302 | 0.00075687 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5581-2_0_8_load_72 | 88 | 0.0035614 | 0.00089257 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5581-2_0_8_load_76 | 92 | 0.0032903 | 0.00082463 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5581-2_0_8_load_105 | 93 | 0.0089095 | 0.0022329 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5581-2_0_8_load_85 | 94 | 0.0017083 | 0.00042815 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5581-2_0_8_load_80 | 95 | 0.0031671 | 0.00079375 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5581-2_0_8_load_104 | 97 | 0.008301 | 0.0020804 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5581-2_0_8_load_79 | 99 | 0.0019524 | 0.00048931 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5581-2_0_8_load_102 | 100 | 0.0029327 | 0.000735 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5581-2_0_8_load_103 | 101 | 0.0026237 | 0.00065756 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5581-2_0_8_load_82 | 103 | 0.0026058 | 0.00065309 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5581-2_0_8_load_87 | 104 | 0.0026177 | 0.00065606 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5581-2_0_8_load_97 | 105 | 0.013268 | 0.0033253 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5581-2_0_8_line_0 |  | 0 | 1 | 0.028318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5581-2_0_8_line_1 |  | 1 | 2 | 0.10811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_5581-2_0_8_line_2 |  | 1 | 3 | 0.079548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_5581-2_0_8_line_3 |  | 2 | 4 | 0.041931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5581-2_0_8_line_4 |  | 2 | 5 | 0.041584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5581-2_0_8_line_5 |  | 3 | 6 | 0.00818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5581-2_0_8_line_6 |  | 3 | 7 | 0.023635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5581-2_0_8_line_7 |  | 5 | 11 | 0.029826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5581-2_0_8_line_8 |  | 6 | 12 | 0.033286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5581-2_0_8_line_9 |  | 7 | 13 | 0.026269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5581-2_0_8_line_10 |  | 8 | 9 | 0.036118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5581-2_0_8_line_11 |  | 8 | 10 | 0.029923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5581-2_0_8_line_12 |  | 9 | 14 | 0.0053187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5581-2_0_8_line_13 |  | 10 | 15 | 0.015794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5581-2_0_8_line_14 |  | 11 | 105 | 0.021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5581-2_0_8_line_15 |  | 12 | 18 | 0.0041813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5581-2_0_8_line_16 |  | 14 | 77 | 0.034536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5581-2_0_8_line_17 |  | 15 | 105 | 0.0058161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5581-2_0_8_line_18 |  | 16 | 17 | 0.0041094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5581-2_0_8_line_19 |  | 16 | 18 | 0.057142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5581-2_0_8_line_20 |  | 18 | 20 | 0.062919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5581-2_0_8_line_21 |  | 19 | 20 | 0.0097212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5581-2_0_8_line_22 |  | 19 | 21 | 0.01135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5581-2_0_8_line_23 |  | 20 | 22 | 0.0079346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5581-2_0_8_line_24 |  | 21 | 23 | 0.060159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5581-2_0_8_line_25 |  | 23 | 24 | 0.094521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5581-2_0_8_line_26 |  | 24 | 28 | 0.034627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5581-2_0_8_line_27 |  | 25 | 26 | 0.026813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5581-2_0_8_line_28 |  | 25 | 27 | 0.026043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5581-2_0_8_line_29 |  | 27 | 28 | 0.044643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5581-2_0_8_line_30 |  | 28 | 29 | 0.008908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5581-2_0_8_line_31 |  | 29 | 30 | 0.10151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5581-2_0_8_line_32 |  | 29 | 31 | 0.0083005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5581-2_0_8_line_33 |  | 30 | 32 | 0.016693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5581-2_0_8_line_34 |  | 30 | 33 | 0.050637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5581-2_0_8_line_35 |  | 32 | 34 | 0.026978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5581-2_0_8_line_36 |  | 33 | 35 | 0.018374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5581-2_0_8_line_37 |  | 34 | 36 | 0.0053296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5581-2_0_8_line_38 |  | 36 | 37 | 0.034141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5581-2_0_8_line_39 |  | 36 | 38 | 0.086874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5581-2_0_8_line_40 |  | 38 | 43 | 0.017065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5581-2_0_8_line_41 |  | 39 | 40 | 0.0094356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5581-2_0_8_line_42 |  | 39 | 41 | 0.045091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5581-2_0_8_line_43 |  | 39 | 42 | 0.023449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5581-2_0_8_line_44 |  | 40 | 44 | 0.038764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5581-2_0_8_line_45 |  | 41 | 45 | 0.029856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5581-2_0_8_line_46 |  | 44 | 76 | 0.0055944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5581-2_0_8_line_47 |  | 46 | 47 | 0.044465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_5581-2_0_8_line_48 |  | 46 | 48 | 0.038235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5581-2_0_8_line_49 |  | 47 | 49 | 0.019061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5581-2_0_8_line_50 |  | 47 | 50 | 0.09622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5581-2_0_8_line_51 |  | 48 | 51 | 0.068735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5581-2_0_8_line_52 |  | 48 | 52 | 0.084038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5581-2_0_8_line_53 |  | 49 | 53 | 0.049669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5581-2_0_8_line_54 |  | 50 | 54 | 0.0262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5581-2_0_8_line_55 |  | 51 | 55 | 0.024646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_5581-2_0_8_line_56 |  | 52 | 58 | 0.047058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5581-2_0_8_line_57 |  | 54 | 63 | 0.026741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5581-2_0_8_line_58 |  | 54 | 64 | 0.006636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5581-2_0_8_line_59 |  | 55 | 65 | 0.013905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_5581-2_0_8_line_60 |  | 56 | 57 | 0.037019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5581-2_0_8_line_61 |  | 57 | 58 | 0.069251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5581-2_0_8_line_62 |  | 58 | 59 | 0.06679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5581-2_0_8_line_63 |  | 59 | 60 | 0.005311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5581-2_0_8_line_64 |  | 59 | 61 | 0.031541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5581-2_0_8_line_65 |  | 60 | 62 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5581-2_0_8_line_66 |  | 63 | 79 | 0.031118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5581-2_0_8_line_67 |  | 64 | 72 | 0.035718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5581-2_0_8_line_68 |  | 65 | 81 | 0.069186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_5581-2_0_8_line_69 |  | 66 | 67 | 0.014616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5581-2_0_8_line_70 |  | 66 | 68 | 0.040921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5581-2_0_8_line_71 |  | 67 | 69 | 0.014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5581-2_0_8_line_72 |  | 68 | 70 | 0.02151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5581-2_0_8_line_73 |  | 69 | 71 | 0.018311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5581-2_0_8_line_74 |  | 69 | 72 | 0.032044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5581-2_0_8_line_75 |  | 70 | 76 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5581-2_0_8_line_76 |  | 70 | 77 | 0.02091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_5581-2_0_8_line_77 |  | 73 | 74 | 0.0028753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5581-2_0_8_line_78 |  | 73 | 75 | 0.019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5581-2_0_8_line_79 |  | 75 | 78 | 0.027207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5581-2_0_8_line_80 |  | 78 | 80 | 0.038147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5581-2_0_8_line_81 |  | 79 | 80 | 0.008757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5581-2_0_8_line_82 |  | 81 | 82 | 0.03084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5581-2_0_8_line_83 |  | 81 | 83 | 0.0084121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5581-2_0_8_line_84 |  | 82 | 84 | 0.043405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5581-2_0_8_line_85 |  | 83 | 85 | 0.0049623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5581-2_0_8_line_86 |  | 84 | 86 | 0.012601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5581-2_0_8_line_87 |  | 86 | 91 | 0.027827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5581-2_0_8_line_88 |  | 87 | 88 | 0.03951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5581-2_0_8_line_89 |  | 87 | 89 | 0.010186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5581-2_0_8_line_90 |  | 88 | 90 | 0.029917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5581-2_0_8_line_91 |  | 89 | 91 | 0.03828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5581-2_0_8_line_92 |  | 89 | 92 | 0.014097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5581-2_0_8_line_93 |  | 90 | 93 | 0.0028345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5581-2_0_8_line_94 |  | 91 | 94 | 0.029241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5581-2_0_8_line_95 |  | 91 | 95 | 0.022243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5581-2_0_8_line_96 |  | 92 | 96 | 0.014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5581-2_0_8_line_97 |  | 93 | 97 | 0.031175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5581-2_0_8_line_98 |  | 94 | 98 | 0.0091962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5581-2_0_8_line_99 |  | 95 | 99 | 0.0033129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5581-2_0_8_line_100 |  | 96 | 100 | 0.012369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5581-2_0_8_line_101 |  | 96 | 101 | 0.039748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5581-2_0_8_line_102 |  | 98 | 104 | 0.012585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5581-2_0_8_line_103 |  | 99 | 102 | 0.050074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5581-2_0_8_line_104 |  | 102 | 103 | 0.027565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5581-2_0_8_trafo_44 | 0.63 MVA 20/0.4 kV | 106 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2541562.9332 | 1152732.526 | 2541556.3038 | 1152727.8546 | 2541553.2038 | 1152719.9805 | 2541552.162 | 1152708.2808
1 | 2541562.9332 | 1152732.526 | 2541568.9558 | 1152709.5218 | 2541577.8363 | 1152723.1539 | 2541575.5253 | 1152746.7001 | 2541571.3669 | 1152768.8635 | 2541573.811 | 1152790.5736
2 | 2541562.9332 | 1152732.526 | 2541549.874 | 1152782.3464 | 2541540.0237 | 1152791.2803 | 2541528.2467 | 1152800.1551
3 | 2541583.8318 | 1152830.7311 | 2541577.3678 | 1152817.8092 | 2541575.2198 | 1152798.1418 | 2541573.811 | 1152790.5736
4 | 2541573.811 | 1152790.5736 | 2541601.8856 | 1152784.7533 | 2541606.6665 | 1152783.1949 | 2541610.7021 | 1152776.4225
5 | 2541527.981 | 1152808.3288 | 2541528.2467 | 1152800.1551
6 | 2541528.2467 | 1152800.1551 | 2541530.684 | 1152786.4463 | 2541534.4894 | 1152777.512
7 | 2541610.7021 | 1152776.4225 | 2541612.4501 | 1152773.4891 | 2541615.8103 | 1152764.7184 | 2541617.8655 | 1152753.5258 | 2541618.5441 | 1152747.9278
8 | 2541527.981 | 1152808.3288 | 2541503.518 | 1152785.7561
9 | 2541538.6088 | 1152752.3398 | 2541536.1964 | 1152759.9229 | 2541537.5784 | 1152770.2594 | 2541534.4894 | 1152777.512
10 | 2541627.9903 | 1152675.6746 | 2541630.2238 | 1152669.4051 | 2541634.9537 | 1152668.9144 | 2541641.3923 | 1152668.1626 | 2541654.3143 | 1152668.115 | 2541659.6167 | 1152668.0968
11 | 2541627.9903 | 1152675.6746 | 2541625.8336 | 1152681.9544 | 2541623.4479 | 1152705.1146
12 | 2541659.6167 | 1152668.0968 | 2541663.8909 | 1152664.9314
13 | 2541621.8296 | 1152720.8253 | 2541623.4479 | 1152705.1146
14 | 2541618.5441 | 1152747.9278 | 2541621.1297 | 1152726.5991
15 | 2541503.4684 | 1152781.9753 | 2541502.7773 | 1152785.0726 | 2541503.518 | 1152785.7561
16 | 2541680.6617 | 1152647.137 | 2541680.8172 | 1152664.7449 | 2541663.8909 | 1152664.9314
17 | 2541621.8296 | 1152720.8253 | 2541621.1297 | 1152726.5991
18 | 2541446.3267 | 1152781.7729 | 2541443.8133 | 1152785.0241
19 | 2541503.4684 | 1152781.9753 | 2541446.3267 | 1152781.7729
20 | 2541503.4684 | 1152781.9753 | 2541460.2439 | 1152736.2536
21 | 2541467.3919 | 1152729.6651 | 2541460.2439 | 1152736.2536
22 | 2541467.3919 | 1152729.6651 | 2541465.7497 | 1152718.4348
23 | 2541454.4096 | 1152741.6313 | 2541460.2439 | 1152736.2536
24 | 2541509.6136 | 1152677.2643 | 2541465.7497 | 1152718.4348
25 | 2541504.499 | 1152586.7383 | 2541501.6657 | 1152590.5124 | 2541501.1958 | 1152612.3954 | 2541504.1839 | 1152616.6463 | 2541504.1821 | 1152633.0107 | 2541505.1334 | 1152652.6898 | 2541509.3784 | 1152655.9947 | 2541509.6136 | 1152677.2643
26 | 2541504.499 | 1152586.7383 | 2541538.47 | 1152579.5485
27 | 2541548.7319 | 1152672.9766 | 2541548.7323 | 1152658.68 | 2541545.5845 | 1152656.943 | 2541545.4361 | 1152648.0228
28 | 2541542.1547 | 1152622.7894 | 2541542.4403 | 1152633.4832 | 2541545.2703 | 1152638.0582 | 2541545.4361 | 1152648.0228
29 | 2541538.47 | 1152579.5485 | 2541538.1895 | 1152611.4461 | 2541541.9695 | 1152615.8561 | 2541542.1547 | 1152622.7894
30 | 2541547.2319 | 1152577.8068 | 2541538.47 | 1152579.5485
31 | 2541547.2319 | 1152577.8068 | 2541550.8448 | 1152590.2783 | 2541562.2837 | 1152592.3683 | 2541570.1078 | 1152592.8369 | 2541572.9821 | 1152595.6438 | 2541582.9776 | 1152618.181 | 2541588.884 | 1152598.9911 | 2541594.8574 | 1152579.5782
32 | 2541547.2319 | 1152577.8068 | 2541545.2378 | 1152569.7494
33 | 2541600.4522 | 1152563.8487 | 2541595.8217 | 1152576.9452 | 2541594.8574 | 1152579.5782
34 | 2541594.8574 | 1152579.5782 | 2541599.4164 | 1152582.8134 | 2541600.4492 | 1152588.8066 | 2541606.0279 | 1152627.3706
35 | 2541600.4522 | 1152563.8487 | 2541604.2522 | 1152550.5825 | 2541605.371 | 1152545.6801 | 2541607.052 | 1152537.7054
36 | 2541607.7007 | 1152645.6333 | 2541607.5651 | 1152637.9972 | 2541606.0279 | 1152627.3706
37 | 2541608.1512 | 1152532.4905 | 2541607.052 | 1152537.7054
38 | 2541631.0088 | 1152548.7883 | 2541628.8389 | 1152536.3249 | 2541626.1338 | 1152534.3501 | 2541615.5048 | 1152534.2755 | 2541608.1512 | 1152532.4905
39 | 2541608.1512 | 1152532.4905 | 2541611.03 | 1152512.0738 | 2541613.0276 | 1152477.5692 | 2541620.1403 | 1152482.9919 | 2541629.4794 | 1152490.0939 | 2541630.0774 | 1152501.094
40 | 2541630.0774 | 1152501.094 | 2541630.4244 | 1152507.583 | 2541631.7289 | 1152512.3173 | 2541635.0409 | 1152512.7854 | 2541637.2959 | 1152512.2792
41 | 2541706.7638 | 1152573.9779 | 2541706.7859 | 1152576.2567 | 2541706.8542 | 1152581.7145 | 2541705.9136 | 1152583.1287
42 | 2541706.7638 | 1152573.9779 | 2541733.7366 | 1152573.9053 | 2541733.7454 | 1152589.0577 | 2541733.9727 | 1152592.0147
43 | 2541706.7638 | 1152573.9779 | 2541705.8917 | 1152560.0122 | 2541704.985 | 1152550.6001
44 | 2541702.8556 | 1152620.9102 | 2541702.7073 | 1152590.0925 | 2541702.6641 | 1152588.0141 | 2541705.9136 | 1152583.1287
45 | 2541733.9727 | 1152592.0147 | 2541734.7464 | 1152602.0772 | 2541735.5586 | 1152621.8243
46 | 2541702.8556 | 1152620.9102 | 2541702.881 | 1152626.188 | 2541702.879 | 1152626.5046
47 | 2541754.686 | 1152870.7392 | 2541784.7644 | 1152880.0861 | 2541797.4253 | 1152882.8888
48 | 2541834.7564 | 1152891.1526 | 2541797.4253 | 1152882.8888
49 | 2541754.686 | 1152870.7392 | 2541755.9059 | 1152851.7171
50 | 2541678.493 | 1152814.2476 | 2541687.3558 | 1152825.312 | 2541700.7734 | 1152839.2004 | 2541713.4369 | 1152848.9273 | 2541733.3536 | 1152861.2186 | 2541754.686 | 1152870.7392
51 | 2541834.7564 | 1152891.1526 | 2541837.09 | 1152874.5989 | 2541832.7977 | 1152822.7591
52 | 2541834.7564 | 1152891.1526 | 2541917.684 | 1152904.7692
53 | 2541755.9059 | 1152851.7171 | 2541750.2398 | 1152851.4052 | 2541750.9951 | 1152839.0802 | 2541749.1752 | 1152836.5742 | 2541750.0363 | 1152824.8707 | 2541749.0639 | 1152819.5551 | 2541743.048 | 1152809.86
54 | 2541678.493 | 1152814.2476 | 2541700.2818 | 1152799.6062
55 | 2541830.764 | 1152798.197 | 2541832.7977 | 1152822.7591
56 | 2541939.2418 | 1152945.605 | 2541932.2851 | 1152937.9792 | 2541919.9494 | 1152916.8538 | 2541917.684 | 1152904.7692
57 | 2541700.2818 | 1152799.6062 | 2541722.0709 | 1152784.1038
58 | 2541700.2818 | 1152799.6062 | 2541700.8622 | 1152792.997
59 | 2541830.764 | 1152798.197 | 2541829.6105 | 1152784.3397
60 | 2541997.8716 | 1152968.4401 | 2542001.3737 | 1152975.1099 | 2542010.3593 | 1152986.2625 | 2542009.1745 | 1152990.7097 | 2542000.8018 | 1152997.1465
61 | 2541939.2418 | 1152945.605 | 2541939.8885 | 1152955.3484 | 2541944.7855 | 1152957.091 | 2541959.605 | 1152960.5052 | 2541997.8716 | 1152968.4401
62 | 2541939.2418 | 1152945.605 | 2541939.8885 | 1152955.3484 | 2541944.7855 | 1152957.091 | 2541944.9244 | 1152961.1362 | 2541947.2655 | 1152969.1624 | 2541958.2589 | 1152992.7355 | 2541962.0969 | 1153005.5831
63 | 2541963.6193 | 1153010.6711 | 2541962.0969 | 1153005.5831
64 | 2541962.0969 | 1153005.5831 | 2541942.8212 | 1153013.4735 | 2541939.6136 | 1153011.8703 | 2541937.0435 | 1153005.2231
65 | 2541963.6193 | 1153010.6711 | 2541958.7502 | 1153012.6081 | 2541954.9251 | 1153016.1914 | 2541954.1813 | 1153021.0011
66 | 2541742.2589 | 1152761.2661 | 2541739.7149 | 1152767.8402 | 2541727.4657 | 1152780.2656 | 2541722.0709 | 1152784.1038
67 | 2541700.8622 | 1152792.997 | 2541703.6267 | 1152757.3864
68 | 2541824.6516 | 1152715.3339 | 2541827.5859 | 1152760.0184 | 2541829.6105 | 1152784.3397
69 | 2541715.0686 | 1152703.0999 | 2541715.0686 | 1152703.0999 | 2541713.8015 | 1152717.6609
70 | 2541701.3786 | 1152668.2696 | 2541701.4236 | 1152669.7477 | 2541710.6494 | 1152680.2416 | 2541709.4427 | 1152698.2297 | 2541715.0686 | 1152703.0999
71 | 2541707.7145 | 1152725.7501 | 2541713.0527 | 1152726.2652 | 2541713.8015 | 1152717.6609
72 | 2541701.3786 | 1152668.2696 | 2541701.6303 | 1152646.7667
73 | 2541707.7145 | 1152725.7501 | 2541709.0721 | 1152707.4938
74 | 2541707.7145 | 1152725.7501 | 2541707.2467 | 1152731.3131 | 2541706.3523 | 1152742.739 | 2541704.2591 | 1152749.2406 | 2541703.6267 | 1152757.3864
75 | 2541701.6303 | 1152646.7667 | 2541702.7509 | 1152646.7892 | 2541702.879 | 1152626.5046
76 | 2541680.6617 | 1152647.137 | 2541684.6359 | 1152647.065 | 2541701.6303 | 1152646.7667
77 | 2541742.1929 | 1152669.6413 | 2541741.0115 | 1152667.0199
78 | 2541742.1929 | 1152669.6413 | 2541744.9144 | 1152675.7071 | 2541747.1886 | 1152680.7433 | 2541747.1458 | 1152687.8029
79 | 2541747.1458 | 1152687.8029 | 2541746.9806 | 1152715.0093
80 | 2541745.4193 | 1152753.0992 | 2541746.8606 | 1152734.7643 | 2541746.9806 | 1152715.0093
81 | 2541742.2589 | 1152761.2661 | 2541745.4193 | 1152753.0992 | 2541745.4193 | 1152753.0992
82 | 2541824.6516 | 1152715.3339 | 2541821.7956 | 1152685.0676 | 2541821.7809 | 1152684.6289
83 | 2541824.6516 | 1152715.3339 | 2541821.2844 | 1152716.2781 | 2541816.9638 | 1152718.6212
84 | 2541821.4669 | 1152641.2471 | 2541820.9205 | 1152658.8842 | 2541821.7809 | 1152684.6289
85 | 2541815.3594 | 1152723.317 | 2541816.9638 | 1152718.6212
86 | 2541821.4669 | 1152641.2471 | 2541821.8384 | 1152629.2594 | 2541821.9354 | 1152628.6598
87 | 2541826.378 | 1152601.1894 | 2541821.9354 | 1152628.6598
88 | 2541855.4416 | 1152640.0142 | 2541857.8258 | 1152643.2855 | 2541868.724 | 1152663.2686 | 2541870.2712 | 1152675.8744
89 | 2541849.4422 | 1152631.7826 | 2541855.4416 | 1152640.0142
90 | 2541868.426 | 1152705.4385 | 2541871.6146 | 1152686.8199 | 2541870.2712 | 1152675.8744
91 | 2541849.4422 | 1152631.7826 | 2541826.378 | 1152601.1894
92 | 2541849.4422 | 1152631.7826 | 2541861.7341 | 1152624.8809
93 | 2541868.426 | 1152705.4385 | 2541868.1001 | 1152708.2542
94 | 2541826.378 | 1152601.1894 | 2541807.4693 | 1152578.8845
95 | 2541826.378 | 1152601.1894 | 2541832.2256 | 1152582.1781 | 2541832.6058 | 1152579.8561
96 | 2541874.3234 | 1152617.8123 | 2541861.7341 | 1152624.8809
97 | 2541864.5157 | 1152739.2225 | 2541868.1001 | 1152708.2542
98 | 2541801.5226 | 1152571.8698 | 2541807.4693 | 1152578.8845
99 | 2541833.1412 | 1152576.5868 | 2541832.6058 | 1152579.8561
100 | 2541874.3234 | 1152617.8123 | 2541877.9652 | 1152619.8559 | 2541883.2061 | 1152626.1753
101 | 2541903.5449 | 1152633.6716 | 2541899.0467 | 1152622.4202 | 2541893.5778 | 1152617.9151 | 2541886.1861 | 1152614.5403 | 2541877.9412 | 1152615.7873 | 2541874.3234 | 1152617.8123
102 | 2541803.4357 | 1152559.4335 | 2541801.5226 | 1152571.8698
103 | 2541840.9089 | 1152527.1202 | 2541840.1227 | 1152532.3195 | 2541837.0878 | 1152552.5374 | 2541833.8775 | 1152572.0901 | 2541833.1412 | 1152576.5868
104 | 2541867.0648 | 1152535.405 | 2541860.7612 | 1152531.8863 | 2541840.9089 | 1152527.1202

## bus_geodata
| x | y | coords
0 | 2541552.162 | 1152708.2808
1 | 2541562.9332 | 1152732.526
2 | 2541573.811 | 1152790.5736
3 | 2541528.2467 | 1152800.1551
4 | 2541583.8318 | 1152830.7311
5 | 2541610.7021 | 1152776.4225
6 | 2541527.981 | 1152808.3288
7 | 2541534.4894 | 1152777.512
8 | 2541627.9903 | 1152675.6746
9 | 2541659.6167 | 1152668.0968
10 | 2541623.4479 | 1152705.1146
11 | 2541618.5441 | 1152747.9278
12 | 2541503.518 | 1152785.7561
13 | 2541538.6088 | 1152752.3398
14 | 2541663.8909 | 1152664.9314
15 | 2541621.8296 | 1152720.8253
16 | 2541446.3267 | 1152781.7729
17 | 2541443.8133 | 1152785.0241
18 | 2541503.4684 | 1152781.9753
19 | 2541467.3919 | 1152729.6651
20 | 2541460.2439 | 1152736.2536
21 | 2541465.7497 | 1152718.4348
22 | 2541454.4096 | 1152741.6313
23 | 2541509.6136 | 1152677.2643
24 | 2541504.499 | 1152586.7383
25 | 2541545.4361 | 1152648.0228
26 | 2541548.7319 | 1152672.9766
27 | 2541542.1547 | 1152622.7894
28 | 2541538.47 | 1152579.5485
29 | 2541547.2319 | 1152577.8068
30 | 2541594.8574 | 1152579.5782
31 | 2541545.2378 | 1152569.7494
32 | 2541600.4522 | 1152563.8487
33 | 2541606.0279 | 1152627.3706
34 | 2541607.052 | 1152537.7054
35 | 2541607.7007 | 1152645.6333
36 | 2541608.1512 | 1152532.4905
37 | 2541631.0088 | 1152548.7883
38 | 2541630.0774 | 1152501.094
39 | 2541706.7638 | 1152573.9779
40 | 2541705.9136 | 1152583.1287
41 | 2541733.9727 | 1152592.0147
42 | 2541704.985 | 1152550.6001
43 | 2541637.2959 | 1152512.2792
44 | 2541702.8556 | 1152620.9102
45 | 2541735.5586 | 1152621.8243
46 | 2541797.4253 | 1152882.8888
47 | 2541754.686 | 1152870.7392
48 | 2541834.7564 | 1152891.1526
49 | 2541755.9059 | 1152851.7171
50 | 2541678.493 | 1152814.2476
51 | 2541832.7977 | 1152822.7591
52 | 2541917.684 | 1152904.7692
53 | 2541743.0479 | 1152809.86
54 | 2541700.2818 | 1152799.6062
55 | 2541830.764 | 1152798.197
56 | 2542000.8018 | 1152997.1465
57 | 2541997.8716 | 1152968.4401
58 | 2541939.2418 | 1152945.605
59 | 2541962.0969 | 1153005.5831
60 | 2541963.6193 | 1153010.6711
61 | 2541937.0435 | 1153005.2231
62 | 2541954.1813 | 1153021.0011
63 | 2541722.0709 | 1152784.1038
64 | 2541700.8622 | 1152792.997
65 | 2541829.6105 | 1152784.3397
66 | 2541715.0687 | 1152703.0999
67 | 2541713.8015 | 1152717.6609
68 | 2541701.3786 | 1152668.2696
69 | 2541707.7145 | 1152725.7501
70 | 2541701.6303 | 1152646.7667
71 | 2541709.0721 | 1152707.4938
72 | 2541703.6267 | 1152757.3864
73 | 2541742.1929 | 1152669.6413
74 | 2541741.0115 | 1152667.0199
75 | 2541747.1458 | 1152687.8029
76 | 2541702.879 | 1152626.5046
77 | 2541680.6617 | 1152647.137
78 | 2541746.9806 | 1152715.0093
79 | 2541742.2589 | 1152761.2661
80 | 2541745.4193 | 1152753.0992
81 | 2541824.6516 | 1152715.3339
82 | 2541821.7809 | 1152684.6289
83 | 2541816.9638 | 1152718.6212
84 | 2541821.4669 | 1152641.2471
85 | 2541815.3594 | 1152723.317
86 | 2541821.9354 | 1152628.6598
87 | 2541855.4416 | 1152640.0142
88 | 2541870.2712 | 1152675.8744
89 | 2541849.4422 | 1152631.7826
90 | 2541868.426 | 1152705.4385
91 | 2541826.378 | 1152601.1894
92 | 2541861.7341 | 1152624.8809
93 | 2541868.1001 | 1152708.2542
94 | 2541807.4693 | 1152578.8845
95 | 2541832.6058 | 1152579.8561
96 | 2541874.3234 | 1152617.8123
97 | 2541864.5157 | 1152739.2225
98 | 2541801.5226 | 1152571.8698
99 | 2541833.1412 | 1152576.5868
100 | 2541883.2061 | 1152626.1753
101 | 2541903.5449 | 1152633.6716
102 | 2541840.9089 | 1152527.1202
103 | 2541867.0648 | 1152535.405
104 | 2541803.4357 | 1152559.4335
105 | 2541621.1297 | 1152726.5991
106 | 2541707.7145 | 1152725.7501

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1