## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5584-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5584-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5584-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5584-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5584-12_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5584-12_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5584-12_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5584-12_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_5584-12_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_5584-12_0_4_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_5584-12_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_5584-12_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5584-12_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5584-12_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_5584-12_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_5584-12_0_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_5584-12_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5584-12_0_4_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_5584-12_0_4_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_5584-12_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5584-12_0_4_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_5584-12_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_5584-12_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5584-12_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_5584-12_0_4_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_5584-12_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_5584-12_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_5584-12_0_4_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_5584-12_0_4_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_5584-12_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5584-12_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_5584-12_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_5584-12_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_5584-12_0_4_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_5584-12_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_5584-12_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_5584-12_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5584-12_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5584-12_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_5584-12_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_5584-12_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5584-12_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5584-12_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5584-12_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5584-12_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_MV_625_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5584-12_0_4_load_0 | 0 | 0.051861 | 0.012998 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5584-12_0_4_load_3 | 3 | 0.091136 | 0.022841 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5584-12_0_4_load_6 | 5 | 0.078976 | 0.019793 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5584-12_0_4_load_43 | 9 | 0.057702 | 0.014461 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5584-12_0_4_load_8 | 13 | 0.012915 | 0.0032369 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5584-12_0_4_load_22 | 14 | 0.077752 | 0.019486 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5584-12_0_4_load_18 | 15 | 0.031156 | 0.0078084 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5584-12_0_4_load_45 | 17 | 0.0046724 | 0.001171 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5584-12_0_4_load_46 | 18 | 0.0047903 | 0.0012006 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5584-12_0_4_load_44 | 20 | 0.0067523 | 0.0016923 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5584-12_0_4_load_24 | 23 | 0.0031651 | 0.00079324 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5584-12_0_4_load_26 | 24 | 0.0052322 | 0.0013113 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5584-12_0_4_load_25 | 25 | 0.001729 | 0.00043332 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5584-12_0_4_load_42 | 26 | 0.00046806 | 0.00011731 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5584-12_0_4_load_39 | 28 | 0.012244 | 0.0030686 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5584-12_0_4_load_36 | 31 | 0.00042782 | 0.00010722 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5584-12_0_4_load_33 | 32 | 0.00064126 | 0.00016071 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5584-12_0_4_load_40 | 33 | 0.00048579 | 0.00012175 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5584-12_0_4_load_41 | 34 | 0.00080228 | 0.00020107 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5584-12_0_4_load_23 | 36 | 0.004492 | 0.0011258 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5584-12_0_4_load_27 | 37 | 0.0024482 | 0.00061358 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5584-12_0_4_load_30 | 41 | 0.0018598 | 0.00046612 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5584-12_0_4_load_38 | 43 | 0.0005482 | 0.00013739 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5584-12_0_4_load_31 | 44 | 0.0039309 | 0.00098519 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5584-12_0_4_line_0 |  | 0 | 1 | 0.0080638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5584-12_0_4_line_1 |  | 0 | 2 | 0.073962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5584-12_0_4_line_2 |  | 1 | 3 | 0.043579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5584-12_0_4_line_3 |  | 1 | 4 | 0.080307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5584-12_0_4_line_4 |  | 2 | 5 | 0.044503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5584-12_0_4_line_5 |  | 2 | 6 | 0.037373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5584-12_0_4_line_6 |  | 3 | 7 | 0.018406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5584-12_0_4_line_7 |  | 4 | 12 | 0.072745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5584-12_0_4_line_8 |  | 4 | 13 | 0.028725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5584-12_0_4_line_9 |  | 6 | 14 | 0.041587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5584-12_0_4_line_10 |  | 6 | 15 | 0.0050751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5584-12_0_4_line_11 |  | 7 | 16 | 0.084859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5584-12_0_4_line_12 |  | 8 | 9 | 0.018602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5584-12_0_4_line_13 |  | 8 | 10 | 0.040418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5584-12_0_4_line_14 |  | 8 | 11 | 0.080252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5584-12_0_4_line_15 |  | 10 | 17 | 0.004423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5584-12_0_4_line_16 |  | 10 | 18 | 0.009169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5584-12_0_4_line_17 |  | 11 | 19 | 0.045313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5584-12_0_4_line_18 |  | 11 | 13 | 0.029085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5584-12_0_4_line_19 |  | 12 | 24 | 0.019255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5584-12_0_4_line_20 |  | 12 | 25 | 0.046769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5584-12_0_4_line_21 |  | 12 | 22 | 0.23115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5584-12_0_4_line_22 |  | 15 | 29 | 0.010089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5584-12_0_4_line_23 |  | 16 | 20 | 0.003446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5584-12_0_4_line_24 |  | 16 | 21 | 0.0046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5584-12_0_4_line_25 |  | 19 | 26 | 0.038051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5584-12_0_4_line_26 |  | 19 | 27 | 0.11646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5584-12_0_4_line_27 |  | 21 | 28 | 0.13074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5584-12_0_4_line_28 |  | 22 | 23 | 0.040949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5584-12_0_4_line_29 |  | 27 | 33 | 0.0319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5584-12_0_4_line_30 |  | 27 | 34 | 0.014292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5584-12_0_4_line_31 |  | 27 | 30 | 0.12027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5584-12_0_4_line_32 |  | 29 | 35 | 0.014329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5584-12_0_4_line_33 |  | 30 | 31 | 0.017226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5584-12_0_4_line_34 |  | 30 | 32 | 0.0065212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5584-12_0_4_line_35 |  | 32 | 42 | 0.01531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5584-12_0_4_line_36 |  | 35 | 36 | 0.060859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5584-12_0_4_line_37 |  | 37 | 38 | 0.010672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5584-12_0_4_line_38 |  | 38 | 39 | 0.02213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5584-12_0_4_line_39 |  | 39 | 40 | 0.010214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5584-12_0_4_line_40 |  | 39 | 41 | 0.0065651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5584-12_0_4_line_41 |  | 40 | 42 | 0.00618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5584-12_0_4_line_42 |  | 40 | 43 | 0.035038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5584-12_0_4_line_43 |  | 41 | 44 | 0.003342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5584-12_0_4_trafo_0 | 0.63 MVA 20/0.4 kV | 45 | 0 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39
0 | 2540481.2362 | 1154901.551 | 2540475.5172 | 1154895.8661
1 | 2540431.3817 | 1154841.0679 | 2540429.7094 | 1154843.3858 | 2540429.5864 | 1154846.4553 | 2540429.9514 | 1154849.2198 | 2540431.9572 | 1154851.9125 | 2540436.9858 | 1154856.9765 | 2540447.7062 | 1154868.2208 | 2540475.5172 | 1154895.8661
2 | 2540481.2362 | 1154901.551 | 2540440.1437 | 1154916.0612
3 | 2540536.3011 | 1154960.0041 | 2540507.5751 | 1154929.9166 | 2540481.2362 | 1154901.551
4 | 2540431.3817 | 1154841.0679 | 2540391.068 | 1154859.9177
5 | 2540431.3817 | 1154841.0679 | 2540434.2142 | 1154838.9387 | 2540437.3667 | 1154837.3733 | 2540464.5266 | 1154823.9191
6 | 2540424.0576 | 1154924.7635 | 2540434.202 | 1154918.1593 | 2540440.1437 | 1154916.0612
7 | 2540495.0134 | 1154982.8807 | 2540490.753 | 1154978.6984 | 2540490.4323 | 1154974.9773 | 2540494.3378 | 1154968.8909 | 2540494.9345 | 1154967.9512 | 2540496.0078 | 1154965.5615 | 2540504.4673 | 1154970.069 | 2540512.4852 | 1154973.3692 | 2540516.9172 | 1154974.7372 | 2540521.0591 | 1154974.7073 | 2540525.2155 | 1154973.8212 | 2540528.7369 | 1154971.5407 | 2540537.8576 | 1154965.3582 | 2540536.3011 | 1154960.0041
8 | 2540536.3011 | 1154960.0041 | 2540541.4623 | 1154958.3299 | 2540561.882 | 1154953.6809 | 2540564.1068 | 1154952.904
9 | 2540464.5266 | 1154823.9191 | 2540446.5776 | 1154786.4052
10 | 2540464.5266 | 1154823.9191 | 2540469.1266 | 1154821.7751
11 | 2540367.1663 | 1154885.6955 | 2540380.3465 | 1154903.63 | 2540399.7181 | 1154927.862 | 2540402.4803 | 1154925.6112 | 2540403.7834 | 1154927.0657 | 2540407.8857 | 1154930.7715 | 2540412.9965 | 1154934.067 | 2540424.0576 | 1154924.7635
12 | 2540542.0639 | 1154881.1712 | 2540535.5399 | 1154863.7486
13 | 2540578.1712 | 1154875.0108 | 2540554.6142 | 1154886.6723 | 2540552.2869 | 1154884.0383 | 2540542.0639 | 1154881.1712
14 | 2540590.3734 | 1154940.7033 | 2540586.484 | 1154930.5919 | 2540572.6396 | 1154918.3333 | 2540568.8426 | 1154912.1453 | 2540560.8413 | 1154893.481 | 2540554.6142 | 1154886.6723 | 2540552.2869 | 1154884.0383 | 2540542.0639 | 1154881.1712
15 | 2540578.1712 | 1154875.0108 | 2540580.1435 | 1154878.9712
16 | 2540574.0781 | 1154866.8024 | 2540578.1712 | 1154875.0108
17 | 2540590.3734 | 1154940.7033 | 2540597.7556 | 1154936.3391 | 2540598.577 | 1154935.6306 | 2540602.9599 | 1154937.466 | 2540604.6961 | 1154940.0614 | 2540629.0571 | 1154926.7135
18 | 2540590.3734 | 1154940.7033 | 2540583.3071 | 1154945.2089 | 2540573.448 | 1154949.6422 | 2540564.1068 | 1154952.904
19 | 2540512.3188 | 1154991.4139 | 2540500.55 | 1154985.8052 | 2540495.0134 | 1154982.8807
20 | 2540495.0134 | 1154982.8807 | 2540496.3623 | 1154988.9595 | 2540498.0983 | 1154996.9466 | 2540516.5653 | 1155023.53
21 | 2540495.0134 | 1154982.8807 | 2540490.753 | 1154978.6984 | 2540490.4323 | 1154974.9773 | 2540494.3378 | 1154968.8909 | 2540489.648 | 1154965.4911 | 2540484.8201 | 1154962.0926 | 2540481.046 | 1154959.7621 | 2540478.7157 | 1154958.3844 | 2540477.0549 | 1154957.9895 | 2540475.4369 | 1154958.0389 | 2540474.0155 | 1154958.5866 | 2540472.8578 | 1154959.4208 | 2540472.0264 | 1154960.663 | 2540471.6428 | 1154962.2121 | 2540471.6197 | 1154964.5247 | 2540472.245 | 1154969.5656 | 2540472.4919 | 1154973.5765 | 2540472.5921 | 1154978.278 | 2540472.9376 | 1154980.6314 | 2540473.6261 | 1154982.7591 | 2540474.7103 | 1154984.5715 | 2540476.2981 | 1154986.1122 | 2540479.4269 | 1154989.1273 | 2540485.6849 | 1154995.1797 | 2540494.1519 | 1155005.0901 | 2540498.5212 | 1155011.7615 | 2540504.5803 | 1155024.0748 | 2540513.6892 | 1155040.7158 | 2540517.5169 | 1155046.1364 | 2540524.9497 | 1155054.6452 | 2540530.0607 | 1155059.5306 | 2540540.4343 | 1155066.0203 | 2540542.441 | 1155067.2678 | 2540544.6097 | 1155068.6026 | 2540549.7706 | 1155070.7861 | 2540551.4564 | 1155071.3809 | 2540553.0476 | 1155070.9427 | 2540559.7749 | 1155068.6304 | 2540577.5634 | 1155060.9059 | 2540593.0005 | 1155055.0835
22 | 2540478.2709 | 1154817.5129 | 2540469.1266 | 1154821.7751
23 | 2540370.1016 | 1154883.8765 | 2540367.1663 | 1154885.6955
24 | 2540363.2554 | 1154888.1357 | 2540367.1663 | 1154885.6955
25 | 2540629.0571 | 1154926.7135 | 2540641.5582 | 1154890.7706
26 | 2540629.0571 | 1154926.7135 | 2540654.704 | 1154909.1952 | 2540664.4359 | 1154900.4054 | 2540674.6563 | 1154896.0244 | 2540698.6159 | 1154876.9554 | 2540695.867 | 1154872.7914 | 2540683.6166 | 1154859.5941 | 2540677.1725 | 1154855.6556
27 | 2540363.2554 | 1154888.1357 | 2540360.3904 | 1154883.8951 | 2540355.3254 | 1154876.7193 | 2540350.3401 | 1154869.854 | 2540345.3769 | 1154863.6555 | 2540340.5863 | 1154857.0884 | 2540320.1913 | 1154827.9529 | 2540315.3987 | 1154821.9528 | 2540308.3046 | 1154812.0735 | 2540300.4143 | 1154804.6701 | 2540283.018 | 1154793.2479 | 2540278.0586 | 1154791.5437
28 | 2540593.0005 | 1155055.0835 | 2540583.1423 | 1155024.6979 | 2540578.3588 | 1155022.6774 | 2540574.8393 | 1155024.1395
29 | 2540677.1725 | 1154855.6556 | 2540645.1858 | 1154854.9933
30 | 2540668.5615 | 1154866.1018 | 2540671.6492 | 1154858.7451 | 2540677.1725 | 1154855.6556
31 | 2540677.1725 | 1154855.6556 | 2540683.6166 | 1154859.5941 | 2540695.867 | 1154872.7914 | 2540698.6159 | 1154876.9554 | 2540731.7769 | 1154848.1683 | 2540699.7844 | 1154828.2621 | 2540692.8842 | 1154823.9723
32 | 2540491.141 | 1154811.1375 | 2540478.2709 | 1154817.5129
33 | 2540681.3163 | 1154836.3932 | 2540684.6044 | 1154830.6799 | 2540692.8842 | 1154823.9723
34 | 2540692.8842 | 1154823.9723 | 2540687.2607 | 1154820.6706
35 | 2540674.0579 | 1154812.9189 | 2540687.2607 | 1154820.6706
36 | 2540491.141 | 1154811.1375 | 2540546.9822 | 1154786.9383
37 | 2540635.9877 | 1154808.359 | 2540631.1963 | 1154807.1057 | 2540625.5398 | 1154807.9546
38 | 2540658.1463 | 1154809.6186 | 2540635.9877 | 1154808.359
39 | 2540668.3149 | 1154810.8522 | 2540658.1463 | 1154809.6186
40 | 2540658.1463 | 1154809.6186 | 2540658.8369 | 1154804.976 | 2540660.2288 | 1154803.7251
41 | 2540668.3149 | 1154810.8522 | 2540671.7505 | 1154811.5298 | 2540674.0579 | 1154812.9189
42 | 2540668.3149 | 1154810.8522 | 2540666.5873 | 1154814.5713 | 2540655.2464 | 1154843.3547
43 | 2540662.7146 | 1154801.4914 | 2540660.2288 | 1154803.7251

## bus_geodata
| x | y | coords
0 | 2540475.5172 | 1154895.8661
1 | 2540481.2362 | 1154901.551
2 | 2540431.3817 | 1154841.0679
3 | 2540440.1437 | 1154916.0612
4 | 2540536.3011 | 1154960.0041
5 | 2540391.068 | 1154859.9177
6 | 2540464.5266 | 1154823.9191
7 | 2540424.0576 | 1154924.7635
8 | 2540542.0639 | 1154881.1712
9 | 2540535.5399 | 1154863.7486
10 | 2540578.1712 | 1154875.0108
11 | 2540590.3734 | 1154940.7033
12 | 2540495.0134 | 1154982.8807
13 | 2540564.1068 | 1154952.904
14 | 2540446.5776 | 1154786.4052
15 | 2540469.1266 | 1154821.7751
16 | 2540367.1663 | 1154885.6955
17 | 2540580.1435 | 1154878.9712
18 | 2540574.0781 | 1154866.8024
19 | 2540629.0571 | 1154926.7135
20 | 2540370.1016 | 1154883.8765
21 | 2540363.2554 | 1154888.1357
22 | 2540593.0005 | 1155055.0834
23 | 2540574.8393 | 1155024.1395
24 | 2540512.3188 | 1154991.4139
25 | 2540516.5653 | 1155023.53
26 | 2540641.5582 | 1154890.7706
27 | 2540677.1725 | 1154855.6556
28 | 2540278.0586 | 1154791.5437
29 | 2540478.2709 | 1154817.5129
30 | 2540692.8842 | 1154823.9723
31 | 2540681.3163 | 1154836.3932
32 | 2540687.2607 | 1154820.6706
33 | 2540645.1858 | 1154854.9933
34 | 2540668.5615 | 1154866.1018
35 | 2540491.141 | 1154811.1375
36 | 2540546.9822 | 1154786.9383
37 | 2540625.5398 | 1154807.9546
38 | 2540635.9877 | 1154808.359
39 | 2540658.1463 | 1154809.6186
40 | 2540668.3149 | 1154810.8522
41 | 2540660.2288 | 1154803.7251
42 | 2540674.0579 | 1154812.9189
43 | 2540655.2464 | 1154843.3547
44 | 2540662.7147 | 1154801.4914
45 | 2540481.2362 | 1154901.551

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1