## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5584-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5584-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5584-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5584-17_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5584-17_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5584-17_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_5584-17_0_3_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_5584-17_0_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_5584-17_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_5584-17_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_5584-17_0_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_5584-17_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5584-17_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_5584-17_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_5584-17_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5584-17_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_5584-17_0_3_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_5584-17_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5584-17_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5584-17_0_3_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_5584-17_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5584-17_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5584-17_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_5584-17_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_5584-17_0_3_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_5584-17_0_3_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_5584-17_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5584-17_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_5584-17_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5584-17_0_3_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_5584-17_0_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_5584-17_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5584-17_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5584-17_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5584-17_0_3_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_5584-17_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5584-17_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_5584-17_0_3_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_5584-17_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_5584-17_0_3_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_5584-17_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_5584-17_0_3_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_5584-17_0_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_5584-17_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_5584-17_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_5584-17_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_5584-17_0_3_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_5584-17_0_3_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_5584-17_0_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_5584-17_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_5584-17_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_MV_366_2_node_219 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5584-17_0_3_load_0 | 0 | 0.0088245 | 0.0022116 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5584-17_0_3_load_4 | 3 | 0.019079 | 0.0047817 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5584-17_0_3_load_24 | 5 | 0.0044207 | 0.0011079 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5584-17_0_3_load_28 | 7 | 0.0044834 | 0.0011236 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5584-17_0_3_load_25 | 8 | 0.009487 | 0.0023777 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5584-17_0_3_load_30 | 10 | 0.0041579 | 0.0010421 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5584-17_0_3_load_39 | 13 | 0.00264 | 0.00066163 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5584-17_0_3_load_33 | 16 | 0.007014 | 0.0017579 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5584-17_0_3_load_45 | 19 | 0.003722 | 0.00093281 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5584-17_0_3_load_31 | 23 | 0.024122 | 0.0060456 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5584-17_0_3_load_38 | 24 | 0.032303 | 0.0080958 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5584-17_0_3_load_55 | 25 | 0.013582 | 0.0034041 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5584-17_0_3_load_35 | 27 | 0.025091 | 0.0062884 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5584-17_0_3_load_40 | 29 | 0.004744 | 0.0011889 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5584-17_0_3_load_51 | 30 | 0.0036372 | 0.00091156 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5584-17_0_3_load_27 | 32 | 0.0083372 | 0.0020895 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5584-17_0_3_load_53 | 34 | 0.0010543 | 0.00026423 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5584-17_0_3_load_26 | 35 | 0.0040475 | 0.0010144 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5584-17_0_3_load_29 | 36 | 0.006302 | 0.0015794 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5584-17_0_3_load_42 | 37 | 0.0066878 | 0.0016761 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5584-17_0_3_load_44 | 39 | 0.0019528 | 0.00048942 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5584-17_0_3_load_34 | 40 | 0.015594 | 0.0039083 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5584-17_0_3_load_50 | 41 | 0.0016211 | 0.00040629 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5584-17_0_3_load_46 | 43 | 0.0028121 | 0.00070478 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5584-17_0_3_load_47 | 44 | 0.0047712 | 0.0011958 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5584-17_0_3_load_41 | 45 | 0.0021728 | 0.00054456 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5584-17_0_3_load_52 | 46 | 0.0022849 | 0.00057264 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5584-17_0_3_load_36 | 47 | 0.010586 | 0.0026531 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5584-17_0_3_load_54 | 48 | 0.00069903 | 0.00017519 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5584-17_0_3_load_37 | 49 | 0.017723 | 0.0044419 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5584-17_0_3_load_48 | 50 | 0.0018142 | 0.00045469 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5584-17_0_3_line_0 |  | 0 | 1 | 0.023537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5584-17_0_3_line_1 |  | 0 | 2 | 0.021937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5584-17_0_3_line_2 |  | 1 | 3 | 0.021156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5584-17_0_3_line_3 |  | 1 | 4 | 0.034776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5584-17_0_3_line_4 |  | 2 | 5 | 0.0013219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5584-17_0_3_line_5 |  | 3 | 9 | 0.019462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5584-17_0_3_line_6 |  | 4 | 10 | 0.021656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5584-17_0_3_line_7 |  | 5 | 31 | 0.010849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5584-17_0_3_line_8 |  | 6 | 7 | 0.025443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5584-17_0_3_line_9 |  | 6 | 8 | 0.017765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5584-17_0_3_line_10 |  | 8 | 35 | 0.017629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5584-17_0_3_line_11 |  | 9 | 33 | 0.026126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5584-17_0_3_line_12 |  | 9 | 21 | 0.011185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5584-17_0_3_line_13 |  | 10 | 36 | 0.001333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5584-17_0_3_line_14 |  | 11 | 12 | 0.013235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5584-17_0_3_line_15 |  | 11 | 13 | 0.03502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5584-17_0_3_line_16 |  | 12 | 26 | 0.030218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5584-17_0_3_line_17 |  | 12 | 27 | 0.051445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5584-17_0_3_line_18 |  | 12 | 18 | 0.026203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5584-17_0_3_line_19 |  | 14 | 15 | 0.12008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5584-17_0_3_line_20 |  | 14 | 16 | 0.0088927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5584-17_0_3_line_21 |  | 15 | 28 | 0.077938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5584-17_0_3_line_22 |  | 15 | 29 | 0.045257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5584-17_0_3_line_23 |  | 16 | 40 | 0.052896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5584-17_0_3_line_24 |  | 17 | 18 | 0.025567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5584-17_0_3_line_25 |  | 17 | 19 | 0.012371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5584-17_0_3_line_26 |  | 18 | 25 | 0.018862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5584-17_0_3_line_27 |  | 19 | 38 | 0.016134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5584-17_0_3_line_28 |  | 20 | 21 | 0.012297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5584-17_0_3_line_29 |  | 20 | 22 | 0.27593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5584-17_0_3_line_30 |  | 20 | 23 | 0.016025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5584-17_0_3_line_31 |  | 21 | 24 | 0.028267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5584-17_0_3_line_32 |  | 22 | 30 | 0.020645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5584-17_0_3_line_33 |  | 26 | 31 | 0.020678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5584-17_0_3_line_34 |  | 26 | 32 | 0.015192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5584-17_0_3_line_35 |  | 27 | 40 | 0.051705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5584-17_0_3_line_36 |  | 28 | 34 | 0.022161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5584-17_0_3_line_37 |  | 29 | 45 | 0.033034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5584-17_0_3_line_38 |  | 30 | 46 | 0.014347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5584-17_0_3_line_39 |  | 32 | 35 | 0.015817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5584-17_0_3_line_40 |  | 33 | 47 | 0.011821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5584-17_0_3_line_41 |  | 34 | 48 | 0.0041564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5584-17_0_3_line_42 |  | 37 | 38 | 0.029992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5584-17_0_3_line_43 |  | 38 | 39 | 0.032579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5584-17_0_3_line_44 |  | 39 | 42 | 0.022011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5584-17_0_3_line_45 |  | 41 | 42 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5584-17_0_3_line_46 |  | 42 | 50 | 0.038434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5584-17_0_3_line_47 |  | 43 | 44 | 0.019155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5584-17_0_3_line_48 |  | 44 | 50 | 0.01382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5584-17_0_3_line_49 |  | 47 | 49 | 0.028773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5584-17_0_3_trafo_3 | 0.63 MVA 20/0.4 kV | 51 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43
0 | 2541228.7048 | 1155468.733 | 2541219.9241 | 1155465.7617 | 2541206.389 | 1155461.2514
1 | 2541185.3747 | 1155455.2608 | 2541189.751 | 1155455.7071 | 2541206.389 | 1155461.2514
2 | 2541228.7048 | 1155468.733 | 2541232.9058 | 1155470.0815 | 2541248.831 | 1155475.2539
3 | 2541203.896 | 1155473.8562 | 2541205.0485 | 1155467.7861 | 2541226.5439 | 1155474.4349 | 2541228.7048 | 1155468.733
4 | 2541185.3747 | 1155455.2608 | 2541184.1317 | 1155454.8108
5 | 2541267.3391 | 1155481.2731 | 2541262.9762 | 1155479.8483 | 2541248.831 | 1155475.2539
6 | 2541203.896 | 1155473.8562 | 2541210.7537 | 1155474.7007 | 2541216.2283 | 1155476.8594 | 2541224.5879 | 1155479.7994
7 | 2541177.1055 | 1155448.1379 | 2541177.4205 | 1155450.5361 | 2541178.6471 | 1155452.8253 | 2541184.1317 | 1155454.8108
8 | 2541240.0787 | 1155441.2069 | 2541246.2865 | 1155427.361 | 2541252.0072 | 1155423.314 | 2541255.2218 | 1155422.6155
9 | 2541240.0787 | 1155441.2069 | 2541234.2764 | 1155437.6951 | 2541223.8853 | 1155434.1391
10 | 2541223.8853 | 1155434.1391 | 2541207.2061 | 1155428.4311
11 | 2541279.1007 | 1155458.079 | 2541275.4732 | 1155462.8281 | 2541268.3418 | 1155478.7063 | 2541267.3391 | 1155481.2731
12 | 2541277.9218 | 1155484.9828 | 2541267.3391 | 1155481.2731
13 | 2541225.8454 | 1155480.2416 | 2541224.5879 | 1155479.7994
14 | 2541172.4133 | 1155389.6079 | 2541175.2885 | 1155391.0583 | 2541173.6147 | 1155397.1446 | 2541177.3133 | 1155397.3085
15 | 2541172.4133 | 1155389.6079 | 2541158.1299 | 1155382.4105 | 2541153.9642 | 1155379.2051 | 2541150.3915 | 1155374.6821 | 2541147.1798 | 1155372.5458 | 2541143.1728 | 1155373.618
16 | 2541177.3133 | 1155397.3085 | 2541176.9962 | 1155400.1687 | 2541177.9464 | 1155427.4852
17 | 2541177.3133 | 1155397.3085 | 2541228.7249 | 1155399.1536
18 | 2541177.3133 | 1155397.3085 | 2541177.5816 | 1155394.9379 | 2541178.3729 | 1155392.7179 | 2541185.2978 | 1155374.5737 | 2541186.1309 | 1155372.7089
19 | 2541230.3283 | 1155339.9255 | 2541232.3173 | 1155335.4704 | 2541233.7137 | 1155313.5671 | 2541235.4406 | 1155305.0457 | 2541236.2752 | 1155296.2772 | 2541238.5772 | 1155295.5877 | 2541239.6545 | 1155299.8572 | 2541241.7502 | 1155302.3825 | 2541268.3979 | 1155315.0288 | 2541278.5253 | 1155323.1342 | 2541283.3544 | 1155321.2416 | 2541287.1548 | 1155322.3939 | 2541294.5881 | 1155328.7469 | 2541298.732 | 1155329.7292
20 | 2541230.3283 | 1155339.9255 | 2541238.9117 | 1155342.2504
21 | 2541298.732 | 1155329.7292 | 2541309.7723 | 1155332.3672 | 2541314.8958 | 1155333.1176 | 2541335.5269 | 1155333.7054 | 2541337.422 | 1155333.7535 | 2541347.1419 | 1155333.9254 | 2541356.3355 | 1155339.1051 | 2541365.2392 | 1155345.2327 | 2541363.4319 | 1155349.4637 | 2541360.9044 | 1155351.4116
22 | 2541298.732 | 1155329.7292 | 2541298.4002 | 1155334.2349 | 2541297.4544 | 1155337.9239 | 2541288.529 | 1155346.8381 | 2541285.914 | 1155351.5995 | 2541285.1946 | 1155356.4759 | 2541288.4458 | 1155370.0468
23 | 2541265.138 | 1155376.8577 | 2541264.6111 | 1155374.0865 | 2541256.6383 | 1155343.1589 | 2541247.4016 | 1155344.55 | 2541238.9117 | 1155342.2504
24 | 2541182.1938 | 1155362.2974 | 2541184.3963 | 1155357.7067 | 2541188.373 | 1155359.6355 | 2541191.3478 | 1155361.0738 | 2541186.769 | 1155371.2908 | 2541186.1309 | 1155372.7089
25 | 2541182.1938 | 1155362.2974 | 2541178.2309 | 1155350.5784
26 | 2541186.1309 | 1155372.7089 | 2541191.2057 | 1155374.7604 | 2541203.6654 | 1155379.7856
27 | 2541173.0625 | 1155335.2945 | 2541178.2309 | 1155350.5784
28 | 2541274.1013 | 1155496.6708 | 2541275.9539 | 1155490.8162 | 2541277.9218 | 1155484.9828
29 | 2541240.9452 | 1155663.0289 | 2541256.4399 | 1155692.2043 | 2541273.0188 | 1155676.9673 | 2541274.8978 | 1155675.3814 | 2541276.6087 | 1155673.8639 | 2541283.6353 | 1155667.6919 | 2541303.3354 | 1155651.613 | 2541305.8318 | 1155649.632 | 2541307.5279 | 1155648.1702 | 2541309.1998 | 1155646.5864 | 2541311.2562 | 1155644.3206 | 2541312.5449 | 1155642.7627 | 2541313.2941 | 1155640.9433 | 2541313.5713 | 1155639.4843 | 2541313.4871 | 1155637.9398 | 2541312.9863 | 1155636.1326 | 2541311.9886 | 1155634.5082 | 2541316.8309 | 1155629.2692 | 2541312.9996 | 1155625.7269 | 2541308.8709 | 1155621.565 | 2541306.3908 | 1155618.9322 | 2541302.7995 | 1155614.8318 | 2541297.4046 | 1155608.2476 | 2541294.6212 | 1155604.4061 | 2541292.0743 | 1155600.4399 | 2541289.6161 | 1155596.1283 | 2541287.4024 | 1155591.7142 | 2541285.525 | 1155587.1857 | 2541283.854 | 1155582.5884 | 2541281.4845 | 1155574.7963 | 2541279.5529 | 1155566.2995 | 2541278.7712 | 1155560.8708 | 2541278.2497 | 1155555.3841 | 2541278.0732 | 1155549.8829 | 2541278.2032 | 1155544.3564 | 2541278.802 | 1155538.1361 | 2541279.6313 | 1155531.958 | 2541280.7572 | 1155525.5213 | 2541282.1521 | 1155519.1376 | 2541285.4597 | 1155505.9759 | 2541280.3209 | 1155504.4253 | 2541280.0509 | 1155501.1262 | 2541277.7611 | 1155498.3582 | 2541274.1013 | 1155496.6708
30 | 2541274.1013 | 1155496.6708 | 2541269.3053 | 1155494.8723 | 2541258.9531 | 1155491.4514
31 | 2541277.9218 | 1155484.9828 | 2541282.8909 | 1155486.435 | 2541304.8186 | 1155493.6681
32 | 2541240.9452 | 1155663.0289 | 2541238.777 | 1155658.57 | 2541239.8138 | 1155650.0886 | 2541246.1756 | 1155646.8412
33 | 2541177.1055 | 1155448.1379 | 2541177.5876 | 1155440.1956 | 2541177.9464 | 1155427.4852
34 | 2541177.9464 | 1155427.4852 | 2541180.6489 | 1155425.4021 | 2541192.241 | 1155423.3097
35 | 2541228.7249 | 1155399.1536 | 2541239.8629 | 1155399.5533 | 2541261.282 | 1155392.8847 | 2541265.8039 | 1155388.6049 | 2541266.3981 | 1155383.4852 | 2541265.138 | 1155376.8577
36 | 2541360.9044 | 1155351.4116 | 2541358.1365 | 1155350.7383 | 2541352.5227 | 1155346.1128 | 2541348.3801 | 1155345.2528 | 2541344.2154 | 1155346.0716 | 2541341.7941 | 1155348.6856
37 | 2541296.1419 | 1155402.1713 | 2541288.4458 | 1155370.0468
38 | 2541258.9543 | 1155640.3184 | 2541246.1756 | 1155646.8412
39 | 2541192.241 | 1155423.3097 | 2541207.2061 | 1155428.4311
40 | 2541279.1007 | 1155458.079 | 2541284.4101 | 1155456.6819 | 2541290.4283 | 1155458.646
41 | 2541341.7941 | 1155348.6856 | 2541341.0833 | 1155352.0832 | 2541341.2847 | 1155352.7382
42 | 2541173.0625 | 1155335.2945 | 2541172.6245 | 1155328.9509 | 2541169.1932 | 1155313.7986 | 2541177.0174 | 1155311.7125
43 | 2541173.0625 | 1155335.2945 | 2541152.6482 | 1155336.4839 | 2541140.5747 | 1155337.659
44 | 2541118.6619 | 1155339.6964 | 2541119.751 | 1155339.6857 | 2541140.5747 | 1155337.659
45 | 2541102.541 | 1155339.91 | 2541118.6619 | 1155339.6964
46 | 2541118.6619 | 1155339.6964 | 2541116.3833 | 1155301.3296
47 | 2541096.7637 | 1155284.4145 | 2541115.5567 | 1155287.4098 | 2541115.564 | 1155287.534
48 | 2541115.564 | 1155287.534 | 2541116.3833 | 1155301.3296
49 | 2541317.782 | 1155467.5729 | 2541290.4283 | 1155458.646

## bus_geodata
| x | y | coords
0 | 2541206.389 | 1155461.2514
1 | 2541228.7048 | 1155468.733
2 | 2541185.3747 | 1155455.2608
3 | 2541248.831 | 1155475.2539
4 | 2541203.896 | 1155473.8562
5 | 2541184.1317 | 1155454.8108
6 | 2541240.0787 | 1155441.2069
7 | 2541255.2218 | 1155422.6155
8 | 2541223.8853 | 1155434.1391
9 | 2541267.3391 | 1155481.2731
10 | 2541224.5879 | 1155479.7994
11 | 2541172.4133 | 1155389.6079
12 | 2541177.3133 | 1155397.3085
13 | 2541143.1728 | 1155373.618
14 | 2541230.3283 | 1155339.9255
15 | 2541298.732 | 1155329.7292
16 | 2541238.9117 | 1155342.2504
17 | 2541182.1938 | 1155362.2974
18 | 2541186.1309 | 1155372.7089
19 | 2541178.2309 | 1155350.5784
20 | 2541274.1013 | 1155496.6708
21 | 2541277.9218 | 1155484.9828
22 | 2541240.9452 | 1155663.029
23 | 2541258.9531 | 1155491.4514
24 | 2541304.8186 | 1155493.6681
25 | 2541203.6654 | 1155379.7856
26 | 2541177.9464 | 1155427.4852
27 | 2541228.7249 | 1155399.1536
28 | 2541360.9044 | 1155351.4116
29 | 2541288.4458 | 1155370.0468
30 | 2541246.1756 | 1155646.8412
31 | 2541177.1055 | 1155448.1379
32 | 2541192.241 | 1155423.3097
33 | 2541279.1007 | 1155458.079
34 | 2541341.7941 | 1155348.6856
35 | 2541207.2061 | 1155428.4311
36 | 2541225.8454 | 1155480.2416
37 | 2541177.0174 | 1155311.7125
38 | 2541173.0625 | 1155335.2945
39 | 2541140.5747 | 1155337.659
40 | 2541265.138 | 1155376.8577
41 | 2541102.541 | 1155339.91
42 | 2541118.6619 | 1155339.6964
43 | 2541096.7637 | 1155284.4145
44 | 2541115.564 | 1155287.534
45 | 2541296.1419 | 1155402.1713
46 | 2541258.9543 | 1155640.3184
47 | 2541290.4283 | 1155458.646
48 | 2541341.2847 | 1155352.7382
49 | 2541317.782 | 1155467.5729
50 | 2541116.3833 | 1155301.3296
51 | 2541255.2218 | 1155422.6155

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1