## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5584-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5584-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5584-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5584-19_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_5584-19_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5584-19_0_4_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_5584-19_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_5584-19_0_4_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_5584-19_0_4_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_5584-19_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5584-19_0_4_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_5584-19_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5584-19_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5584-19_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5584-19_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5584-19_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5584-19_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5584-19_0_4_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_5584-19_0_4_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_5584-19_0_4_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_5584-19_0_4_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_5584-19_0_4_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_5584-19_0_4_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_5584-19_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_5584-19_0_4_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_5584-19_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_5584-19_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5584-19_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_5584-19_0_4_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_5584-19_0_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_5584-19_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5584-19_0_4_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_5584-19_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_5584-19_0_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_5584-19_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_5584-19_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_5584-19_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5584-19_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5584-19_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_5584-19_0_4_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_5584-19_0_4_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_5584-19_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5584-19_0_4_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_5584-19_0_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_5584-19_0_4_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_5584-19_0_4_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_5584-19_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_5584-19_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5584-19_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5584-19_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5584-19_0_4_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_5584-19_0_4_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_5584-19_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5584-19_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5584-19_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_5584-19_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_5584-19_0_4_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_5584-19_0_4_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_5584-19_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_5584-19_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_5584-19_0_4_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_5584-19_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_5584-19_0_4_node_92 | 0.4 | n |  | TRUE
63 | bus_LV_5584-19_0_4_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_5584-19_0_4_node_89 | 0.4 | n |  | TRUE
65 | bus_LV_5584-19_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_5584-19_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_5584-19_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_5584-19_0_4_node_94 | 0.4 | n |  | TRUE
69 | bus_LV_5584-19_0_4_node_95 | 0.4 | n |  | TRUE
70 | bus_LV_5584-19_0_4_node_96 | 0.4 | n |  | TRUE
71 | bus_LV_5584-19_0_4_node_103 | 0.4 | n |  | TRUE
72 | bus_LV_5584-19_0_4_node_97 | 0.4 | n |  | TRUE
73 | bus_LV_5584-19_0_4_node_90 | 0.4 | n |  | TRUE
74 | bus_LV_5584-19_0_4_node_104 | 0.4 | n |  | TRUE
75 | bus_LV_5584-19_0_4_node_105 | 0.4 | n |  | TRUE
76 | bus_LV_5584-19_0_4_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_5584-19_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_5584-19_0_4_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_5584-19_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_5584-19_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_5584-19_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_5584-19_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_5584-19_0_4_node_86 | 0.4 | n |  | TRUE
84 | bus_LV_5584-19_0_4_node_100 | 0.4 | n |  | TRUE
85 | bus_LV_5584-19_0_4_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_5584-19_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_5584-19_0_4_node_88 | 0.4 | n |  | TRUE
88 | bus_LV_5584-19_0_4_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_5584-19_0_4_node_98 | 0.4 | n |  | TRUE
90 | bus_LV_5584-19_0_4_node_99 | 0.4 | n |  | TRUE
91 | bus_LV_5584-19_0_4_node_101 | 0.4 | n |  | TRUE
92 | bus_LV_5584-19_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_5584-19_0_4_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_5584-19_0_4_node_70 | 0.4 | n |  | TRUE
95 | bus_LV_5584-19_0_4_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_5584-19_0_4_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_5584-19_0_4_node_73 | 0.4 | n |  | TRUE
98 | bus_LV_5584-19_0_4_node_75 | 0.4 | n |  | TRUE
99 | bus_LV_5584-19_0_4_node_74 | 0.4 | n |  | TRUE
100 | bus_LV_5584-19_0_4_node_76 | 0.4 | n |  | TRUE
101 | bus_LV_5584-19_0_4_node_77 | 0.4 | n |  | TRUE
102 | bus_LV_5584-19_0_4_node_78 | 0.4 | n |  | TRUE
103 | bus_LV_5584-19_0_4_node_79 | 0.4 | n |  | TRUE
104 | bus_LV_5584-19_0_4_node_82 | 0.4 | n |  | TRUE
105 | bus_MV_366_2_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5584-19_0_4_load_0 | 0 | 0.0086036 | 0.0021563 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5584-19_0_4_load_1 | 1 | 0.0018687 | 0.00046835 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5584-19_0_4_load_2 | 2 | 0.006233 | 0.0015621 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5584-19_0_4_load_4 | 3 | 0.0048128 | 0.0012062 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5584-19_0_4_load_14 | 5 | 0.0014579 | 0.00036539 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5584-19_0_4_load_11 | 6 | 0.010433 | 0.0026147 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5584-19_0_4_load_59 | 7 | 0.012297 | 0.0030819 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5584-19_0_4_load_83 | 8 | 0.0014578 | 0.00036536 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5584-19_0_4_load_12 | 9 | 0.0045674 | 0.0011447 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5584-19_0_4_load_34 | 10 | 0.002747 | 0.00068846 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5584-19_0_4_load_5 | 11 | 0.0049656 | 0.0012445 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5584-19_0_4_load_6 | 12 | 0.0015339 | 0.00038443 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5584-19_0_4_load_8 | 14 | 0.0033519 | 0.00084006 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5584-19_0_4_load_9 | 15 | 0.0045839 | 0.0011488 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5584-19_0_4_load_62 | 18 | 0.0042051 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5584-19_0_4_load_55 | 20 | 0.0048011 | 0.0012033 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5584-19_0_4_load_50 | 21 | 0.0067173 | 0.0016835 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5584-19_0_4_load_51 | 22 | 0.0046234 | 0.0011587 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5584-19_0_4_load_58 | 23 | 0.005844 | 0.0014646 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5584-19_0_4_load_32 | 24 | 0.0051264 | 0.0012848 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5584-19_0_4_load_40 | 27 | 0.0049372 | 0.0012374 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5584-19_0_4_load_61 | 28 | 0.0050312 | 0.0012609 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5584-19_0_4_load_37 | 29 | 0.0046241 | 0.0011589 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5584-19_0_4_load_23 | 30 | 0.0086859 | 0.0021769 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5584-19_0_4_load_15 | 32 | 0.0079512 | 0.0019928 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5584-19_0_4_load_16 | 33 | 0.0044397 | 0.0011127 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5584-19_0_4_load_18 | 35 | 0.0050668 | 0.0012698 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5584-19_0_4_load_19 | 36 | 0.0041067 | 0.0010292 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5584-19_0_4_load_20 | 37 | 0.0078986 | 0.0019796 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5584-19_0_4_load_26 | 38 | 0.0067073 | 0.001681 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5584-19_0_4_load_48 | 39 | 0.010345 | 0.0025928 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5584-19_0_4_load_57 | 40 | 0.0057949 | 0.0014523 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5584-19_0_4_load_25 | 41 | 0.0048321 | 0.001211 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5584-19_0_4_load_47 | 42 | 0.021974 | 0.0055073 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5584-19_0_4_load_56 | 43 | 0.010476 | 0.0026256 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5584-19_0_4_load_21 | 44 | 0.0011579 | 0.00029019 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5584-19_0_4_load_22 | 45 | 0.0046476 | 0.0011648 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5584-19_0_4_load_24 | 46 | 0.0035077 | 0.0008791 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5584-19_0_4_load_44 | 48 | 0.0039476 | 0.00098936 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5584-19_0_4_load_38 | 49 | 0.0040337 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5584-19_0_4_load_27 | 50 | 0.0064008 | 0.0016042 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5584-19_0_4_load_28 | 51 | 0.0056264 | 0.0014101 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5584-19_0_4_load_42 | 53 | 0.0047108 | 0.0011806 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5584-19_0_4_load_30 | 55 | 0.0055221 | 0.001384 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5584-19_0_4_load_31 | 56 | 0.0036225 | 0.00090788 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5584-19_0_4_load_46 | 57 | 0.0011455 | 0.0002871 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5584-19_0_4_load_43 | 58 | 0.0041742 | 0.0010461 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5584-19_0_4_load_45 | 59 | 0.0060456 | 0.0015152 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5584-19_0_4_load_35 | 60 | 0.0016508 | 0.00041372 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5584-19_0_4_load_36 | 61 | 0.0016511 | 0.00041381 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5584-19_0_4_load_93 | 63 | 0.0023487 | 0.00058863 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5584-19_0_4_load_52 | 65 | 0.0034771 | 0.00087145 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5584-19_0_4_load_54 | 66 | 0.0052812 | 0.0013236 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5584-19_0_4_load_60 | 67 | 0.00392 | 0.00098243 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5584-19_0_4_load_94 | 68 | 0.0016508 | 0.00041372 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5584-19_0_4_load_95 | 69 | 0.0016495 | 0.0004134 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5584-19_0_4_load_96 | 70 | 0.0016511 | 0.00041381 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5584-19_0_4_load_97 | 72 | 0.0016513 | 0.00041387 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5584-19_0_4_load_90 | 73 | 0.0016511 | 0.00041381 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5584-19_0_4_load_105 | 75 | 0.0049095 | 0.0012304 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5584-19_0_4_load_106 | 76 | 0.0042006 | 0.0010528 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5584-19_0_4_load_63 | 77 | 0.0087198 | 0.0021854 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5584-19_0_4_load_64 | 78 | 0.0029305 | 0.00073444 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5584-19_0_4_load_67 | 80 | 0.0049897 | 0.0012505 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5584-19_0_4_load_68 | 81 | 0.0012695 | 0.00031817 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5584-19_0_4_load_81 | 82 | 0.0042121 | 0.0010556 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5584-19_0_4_load_86 | 83 | 0.0082551 | 0.0020689 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5584-19_0_4_load_100 | 84 | 0.0020741 | 0.00051982 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5584-19_0_4_load_84 | 85 | 0.0032646 | 0.0008182 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5584-19_0_4_load_87 | 86 | 0.0016512 | 0.00041383 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5584-19_0_4_load_91 | 88 | 0.0016514 | 0.00041387 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5584-19_0_4_load_99 | 90 | 0.0019531 | 0.0004895 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5584-19_0_4_load_101 | 91 | 0.0016509 | 0.00041377 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5584-19_0_4_load_80 | 92 | 0.0063773 | 0.0015983 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5584-19_0_4_load_69 | 93 | 0.011683 | 0.0029279 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5584-19_0_4_load_70 | 94 | 0.0043281 | 0.0010847 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5584-19_0_4_load_71 | 95 | 0.0056308 | 0.0014112 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5584-19_0_4_load_72 | 96 | 0.0019697 | 0.00049366 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5584-19_0_4_load_73 | 97 | 0.001212 | 0.00030375 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5584-19_0_4_load_75 | 98 | 0.0049303 | 0.0012357 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5584-19_0_4_load_74 | 99 | 0.0065413 | 0.0016394 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5584-19_0_4_load_77 | 101 | 0.0031253 | 0.00078327 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5584-19_0_4_load_78 | 102 | 0.0048134 | 0.0012063 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5584-19_0_4_load_79 | 103 | 0.0023914 | 0.00059935 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5584-19_0_4_load_82 | 104 | 0.0073235 | 0.0018354 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5584-19_0_4_line_0 |  | 0 | 1 | 0.007135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5584-19_0_4_line_1 |  | 0 | 2 | 0.02592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5584-19_0_4_line_2 |  | 2 | 3 | 0.00044336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5584-19_0_4_line_3 |  | 3 | 7 | 0.035243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5584-19_0_4_line_4 |  | 4 | 5 | 0.020616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5584-19_0_4_line_5 |  | 4 | 6 | 0.042235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_5584-19_0_4_line_6 |  | 5 | 8 | 0.039544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5584-19_0_4_line_7 |  | 6 | 9 | 0.0095945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5584-19_0_4_line_8 |  | 7 | 10 | 0.048664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5584-19_0_4_line_9 |  | 8 | 31 | 0.014647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5584-19_0_4_line_10 |  | 9 | 26 | 0.015362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5584-19_0_4_line_11 |  | 10 | 60 | 0.022851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5584-19_0_4_line_12 |  | 11 | 12 | 0.019169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5584-19_0_4_line_13 |  | 11 | 13 | 0.024784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5584-19_0_4_line_14 |  | 12 | 14 | 0.014051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5584-19_0_4_line_15 |  | 13 | 15 | 0.020989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5584-19_0_4_line_16 |  | 13 | 16 | 0.026964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5584-19_0_4_line_17 |  | 14 | 17 | 0.018954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5584-19_0_4_line_18 |  | 15 | 18 | 0.032373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5584-19_0_4_line_19 |  | 16 | 19 | 0.009016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5584-19_0_4_line_20 |  | 16 | 20 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5584-19_0_4_line_21 |  | 17 | 21 | 0.0051381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5584-19_0_4_line_22 |  | 17 | 22 | 0.023188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5584-19_0_4_line_23 |  | 19 | 23 | 0.0098813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5584-19_0_4_line_24 |  | 19 | 24 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5584-19_0_4_line_25 |  | 20 | 25 | 0.017428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5584-19_0_4_line_26 |  | 21 | 54 | 0.026223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5584-19_0_4_line_27 |  | 22 | 28 | 0.0261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5584-19_0_4_line_28 |  | 24 | 55 | 0.00074928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5584-19_0_4_line_29 |  | 25 | 66 | 0.010733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5584-19_0_4_line_30 |  | 25 | 65 | 0.022189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5584-19_0_4_line_31 |  | 26 | 27 | 0.01435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5584-19_0_4_line_32 |  | 27 | 28 | 0.034531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5584-19_0_4_line_33 |  | 29 | 30 | 0.033978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5584-19_0_4_line_34 |  | 30 | 44 | 0.010062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5584-19_0_4_line_35 |  | 31 | 63 | 0.037646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5584-19_0_4_line_36 |  | 31 | 78 | 0.022927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5584-19_0_4_line_37 |  | 32 | 33 | 0.0035855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5584-19_0_4_line_38 |  | 32 | 34 | 0.030267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5584-19_0_4_line_39 |  | 33 | 35 | 0.027008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5584-19_0_4_line_40 |  | 34 | 36 | 0.026127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5584-19_0_4_line_41 |  | 34 | 37 | 0.018148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5584-19_0_4_line_42 |  | 35 | 38 | 0.0024356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5584-19_0_4_line_43 |  | 36 | 39 | 0.011556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5584-19_0_4_line_44 |  | 37 | 40 | 0.018182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5584-19_0_4_line_45 |  | 38 | 41 | 0.024157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5584-19_0_4_line_46 |  | 39 | 42 | 0.031351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5584-19_0_4_line_47 |  | 40 | 43 | 0.00081799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5584-19_0_4_line_48 |  | 41 | 50 | 0.0083435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5584-19_0_4_line_49 |  | 42 | 54 | 0.00041797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5584-19_0_4_line_50 |  | 44 | 45 | 0.0061231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5584-19_0_4_line_51 |  | 45 | 46 | 0.0055457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5584-19_0_4_line_52 |  | 46 | 47 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5584-19_0_4_line_53 |  | 47 | 48 | 0.01155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5584-19_0_4_line_54 |  | 47 | 49 | 0.015492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5584-19_0_4_line_55 |  | 48 | 58 | 0.019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5584-19_0_4_line_56 |  | 50 | 51 | 0.017813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5584-19_0_4_line_57 |  | 51 | 52 | 0.038287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5584-19_0_4_line_58 |  | 52 | 53 | 0.023419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5584-19_0_4_line_59 |  | 55 | 56 | 0.040978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5584-19_0_4_line_60 |  | 56 | 57 | 0.043752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5584-19_0_4_line_61 |  | 57 | 59 | 0.0026326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5584-19_0_4_line_62 |  | 58 | 59 | 0.013941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5584-19_0_4_line_63 |  | 60 | 61 | 0.017228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5584-19_0_4_line_64 |  | 61 | 62 | 0.029253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5584-19_0_4_line_65 |  | 62 | 63 | 0.025572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5584-19_0_4_line_66 |  | 62 | 64 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5584-19_0_4_line_67 |  | 64 | 86 | 0.017753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5584-19_0_4_line_68 |  | 66 | 67 | 0.034828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5584-19_0_4_line_69 |  | 68 | 69 | 0.016867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5584-19_0_4_line_70 |  | 68 | 70 | 0.0098725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5584-19_0_4_line_71 |  | 69 | 71 | 0.15475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5584-19_0_4_line_72 |  | 70 | 72 | 0.026127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5584-19_0_4_line_73 |  | 71 | 74 | 0.028465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5584-19_0_4_line_74 |  | 71 | 75 | 0.020209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5584-19_0_4_line_75 |  | 72 | 73 | 0.027186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5584-19_0_4_line_76 |  | 73 | 87 | 0.025798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5584-19_0_4_line_77 |  | 74 | 76 | 0.007634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5584-19_0_4_line_78 |  | 77 | 78 | 0.03636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5584-19_0_4_line_79 |  | 77 | 79 | 0.025547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5584-19_0_4_line_80 |  | 79 | 80 | 0.0050812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5584-19_0_4_line_81 |  | 79 | 81 | 0.014866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5584-19_0_4_line_82 |  | 80 | 82 | 0.035867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5584-19_0_4_line_83 |  | 82 | 92 | 0.030121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5584-19_0_4_line_84 |  | 83 | 84 | 0.087774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5584-19_0_4_line_85 |  | 83 | 85 | 0.043956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5584-19_0_4_line_86 |  | 84 | 89 | 0.023848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5584-19_0_4_line_87 |  | 86 | 87 | 0.019919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5584-19_0_4_line_88 |  | 87 | 88 | 0.045414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5584-19_0_4_line_89 |  | 88 | 89 | 0.027964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5584-19_0_4_line_90 |  | 89 | 90 | 0.030668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5584-19_0_4_line_91 |  | 90 | 91 | 0.018639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5584-19_0_4_line_92 |  | 92 | 103 | 0.001263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5584-19_0_4_line_93 |  | 93 | 94 | 0.013217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5584-19_0_4_line_94 |  | 93 | 95 | 0.031383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5584-19_0_4_line_95 |  | 94 | 96 | 0.0013131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5584-19_0_4_line_96 |  | 95 | 97 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5584-19_0_4_line_97 |  | 97 | 98 | 0.0073544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5584-19_0_4_line_98 |  | 98 | 99 | 0.0082676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5584-19_0_4_line_99 |  | 99 | 100 | 0.027913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5584-19_0_4_line_100 |  | 100 | 101 | 0.0096527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5584-19_0_4_line_101 |  | 100 | 102 | 0.017511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5584-19_0_4_line_102 |  | 101 | 103 | 0.032383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5584-19_0_4_line_103 |  | 102 | 104 | 0.0085425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5584-19_0_4_trafo_40 | 0.63 MVA 20/0.4 kV | 105 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2540766.5517 | 1156994.2931 | 2540766.4664 | 1157001.4275
1 | 2540766.5517 | 1156994.2931 | 2540766.7945 | 1156974.0026 | 2540769.843 | 1156969.2719
2 | 2540769.843 | 1156969.2719 | 2540770.0831 | 1156968.8992
3 | 2540789.173 | 1156939.2744 | 2540770.0831 | 1156968.8992
4 | 2540803.8294 | 1157020.4071 | 2540816.8224 | 1157004.4003
5 | 2540803.8294 | 1157020.4071 | 2540781.3495 | 1157041.7179 | 2540770.224 | 1157043.4486
6 | 2540816.8224 | 1157004.4003 | 2540829.5733 | 1156988.6919 | 2540841.5227 | 1156973.5206
7 | 2540770.224 | 1157043.4486 | 2540760.7435 | 1157044.9235
8 | 2540789.173 | 1156939.2744 | 2540820.0803 | 1156901.6851
9 | 2540855.0356 | 1156968.8416 | 2540842.7133 | 1156972.009 | 2540841.5227 | 1156973.5206
10 | 2540745.5636 | 1157047.2849 | 2540760.7435 | 1157044.9235
11 | 2540820.0803 | 1156901.6851 | 2540832.7537 | 1156882.67 | 2540832.7537 | 1156882.67
12 | 2540639.364 | 1157085.3812 | 2540643.1721 | 1157066.594
13 | 2540634.4405 | 1157109.6713 | 2540639.364 | 1157085.3812
14 | 2540643.1721 | 1157066.594 | 2540645.9635 | 1157052.8226
15 | 2540634.4405 | 1157109.6713 | 2540654.7691 | 1157114.8951
16 | 2540628.4356 | 1157135.9559 | 2540634.4405 | 1157109.6713
17 | 2540649.7288 | 1157034.2461 | 2540645.9635 | 1157052.8226
18 | 2540654.7691 | 1157114.8951 | 2540667.9352 | 1157118.2783 | 2540662.6585 | 1157136.3011
19 | 2540628.4356 | 1157135.9559 | 2540626.5367 | 1157144.7683
20 | 2540628.4356 | 1157135.9559 | 2540615.6587 | 1157133.3414
21 | 2540649.7288 | 1157034.2461 | 2540644.7803 | 1157032.8634
22 | 2540649.7288 | 1157034.2461 | 2540672.2013 | 1157039.9625
23 | 2540626.5367 | 1157144.7683 | 2540624.4682 | 1157154.4306
24 | 2540626.5367 | 1157144.7683 | 2540643.4471 | 1157148.7869
25 | 2540598.5849 | 1157129.8477 | 2540615.6587 | 1157133.3414
26 | 2540619.5249 | 1157025.8067 | 2540644.7803 | 1157032.8634
27 | 2540672.2013 | 1157039.9625 | 2540697.4959 | 1157046.3968
28 | 2540644.176 | 1157148.9602 | 2540643.4471 | 1157148.7869
29 | 2540598.5849 | 1157129.8477 | 2540600.7027 | 1157119.3253
30 | 2540598.5849 | 1157129.8477 | 2540595.4937 | 1157145.2422 | 2540592.5402 | 1157151.0177
31 | 2540745.5636 | 1157047.2849 | 2540731.3249 | 1157049.0684
32 | 2540697.4959 | 1157046.3968 | 2540715.6949 | 1157051.0261 | 2540731.3249 | 1157049.0684
33 | 2540713.985 | 1157086.3163 | 2540738.4673 | 1157109.8776
34 | 2540738.4673 | 1157109.8776 | 2540734.2409 | 1157119.0087
35 | 2540855.0356 | 1156968.8416 | 2540855.2935 | 1156931.1965
36 | 2540855.0356 | 1156968.8416 | 2540857.088 | 1156980.2497 | 2540863.1251 | 1156989.8438
37 | 2540541.6378 | 1157056.2647 | 2540542.3823 | 1157052.7574
38 | 2540551.1375 | 1157023.9821 | 2540546.3233 | 1157034.1908 | 2540542.3823 | 1157052.7574
39 | 2540536.0299 | 1157082.6843 | 2540541.6378 | 1157056.2647
40 | 2540551.1375 | 1157023.9821 | 2540561.5949 | 1157019.9098 | 2540576.4225 | 1157021.4191
41 | 2540551.1375 | 1157023.9821 | 2540541.9113 | 1157008.3539
42 | 2540536.0299 | 1157082.6843 | 2540535.5242 | 1157085.0669
43 | 2540587.9193 | 1157022.5895 | 2540576.4225 | 1157021.4191
44 | 2540541.0778 | 1156990.3749 | 2540540.3055 | 1157001.0658 | 2540541.9113 | 1157008.3539 | 2540541.9113 | 1157008.3539
45 | 2540535.5242 | 1157085.0669 | 2540530.5083 | 1157108.6974
46 | 2540619.109 | 1157025.7644 | 2540587.9193 | 1157022.5895
47 | 2540541.1367 | 1156989.5591 | 2540541.0778 | 1156990.3749
48 | 2540528.7758 | 1157116.859 | 2540530.5083 | 1157108.6974
49 | 2540619.5249 | 1157025.8067 | 2540619.109 | 1157025.7644
50 | 2540731.6689 | 1157124.5654 | 2540734.2409 | 1157119.0087
51 | 2540729.3395 | 1157129.5981 | 2540731.6689 | 1157124.5654
52 | 2540722.4529 | 1157144.4765 | 2540729.3395 | 1157129.5981
53 | 2540722.4529 | 1157144.4765 | 2540718.3218 | 1157155.2625
54 | 2540722.4529 | 1157144.4765 | 2540709.3776 | 1157136.1669
55 | 2540711.4942 | 1157173.089 | 2540711.4942 | 1157173.089 | 2540718.3218 | 1157155.2625
56 | 2540525.0771 | 1157134.2841 | 2540528.7758 | 1157116.859
57 | 2540504.9912 | 1157165.6711 | 2540513.3417 | 1157148.6458 | 2540524.0002 | 1157139.3575 | 2540525.0771 | 1157134.2841
58 | 2540504.9912 | 1157165.6711 | 2540523.0273 | 1157180.6094
59 | 2540644.176 | 1157148.9602 | 2540652.6309 | 1157150.9694 | 2540658.043 | 1157154.6957 | 2540653.5737 | 1157172.6496 | 2540658.1259 | 1157178.2468
60 | 2540658.1259 | 1157178.2468 | 2540701.5952 | 1157183.2144
61 | 2540701.5952 | 1157183.2144 | 2540702.6758 | 1157180.8138
62 | 2540711.4942 | 1157173.089 | 2540706.2397 | 1157172.8963 | 2540702.6758 | 1157180.8138
63 | 2540846.5999 | 1156892.9215 | 2540832.7537 | 1156882.67
64 | 2540870.1102 | 1156910.3283 | 2540846.5999 | 1156892.9215
65 | 2540870.1102 | 1156910.3283 | 2540855.2935 | 1156931.1965
66 | 2540880.5306 | 1156918.041 | 2540870.1102 | 1156910.3283
67 | 2540880.5306 | 1156918.041 | 2540883.8626 | 1156912.205 | 2540889.6442 | 1156902.8079
68 | 2540607.5746 | 1157085.1821 | 2540600.7027 | 1157119.3253
69 | 2540826.9261 | 1156835.1825 | 2540813.0593 | 1156825.5798
70 | 2540826.9261 | 1156835.1825 | 2540835.0425 | 1156840.803
71 | 2540813.0593 | 1156825.5798 | 2540670.7232 | 1156764.86
72 | 2540835.0425 | 1156840.803 | 2540856.5223 | 1156855.6775
73 | 2540670.7232 | 1156764.86 | 2540643.8798 | 1156755.1755
74 | 2540670.7232 | 1156764.86 | 2540665.3379 | 1156780.1659 | 2540661.5226 | 1156778.9807
75 | 2540856.5223 | 1156855.6775 | 2540878.8729 | 1156871.1551
76 | 2540900.0822 | 1156885.8423 | 2540878.8729 | 1156871.1551
77 | 2540643.8798 | 1156755.1755 | 2540639.7255 | 1156761.5867
78 | 2540886.2426 | 1157017.6693 | 2540870.2767 | 1157001.209 | 2540863.1251 | 1156989.8438
79 | 2540904.0295 | 1157036.0067 | 2540886.2426 | 1157017.6693
80 | 2540904.0295 | 1157036.0067 | 2540908.0932 | 1157039.0571
81 | 2540915.6703 | 1157026.7206 | 2540904.0295 | 1157036.0067
82 | 2540908.0932 | 1157039.0571 | 2540924.5398 | 1157051.4022 | 2540934.3443 | 1157063.1515
83 | 2540944.1429 | 1157091.033 | 2540938.802 | 1157068.4934 | 2540934.3443 | 1157063.1515
84 | 2540953.7559 | 1156805.5881 | 2541036.9844 | 1156833.4689
85 | 2541036.9844 | 1156833.4689 | 2541034.0489 | 1156827.3722 | 2541047.2742 | 1156818.5154 | 2541068.4359 | 1156816.3533
86 | 2540943.7059 | 1156827.2151 | 2540953.7559 | 1156805.5881
87 | 2540900.0822 | 1156885.8423 | 2540889.6442 | 1156902.8079
88 | 2540900.0822 | 1156885.8423 | 2540915.6001 | 1156860.6205 | 2540926.6374 | 1156849.3135
89 | 2540943.7059 | 1156827.2151 | 2540930.1841 | 1156845.6802 | 2540926.6374 | 1156849.3135
90 | 2540943.7059 | 1156827.2151 | 2540918.2204 | 1156815.9596 | 2540915.6438 | 1156817.0746
91 | 2540915.6438 | 1156817.0746 | 2540903.1318 | 1156822.4893 | 2540900.5028 | 1156826.7484
92 | 2540944.4341 | 1157092.262 | 2540944.4341 | 1157092.262 | 2540944.1429 | 1157091.033
93 | 2540983.201 | 1157209.7623 | 2540992.6387 | 1157219.0146
94 | 2540983.201 | 1157209.7623 | 2540971.8659 | 1157198.6498 | 2540962.935 | 1157185.9702
95 | 2540993.5764 | 1157219.9339 | 2540992.6387 | 1157219.0146
96 | 2540953.453 | 1157172.5082 | 2540962.935 | 1157185.9702
97 | 2540953.453 | 1157172.5082 | 2540949.218 | 1157166.4956
98 | 2540944.6738 | 1157159.5934 | 2540946.9032 | 1157163.2093 | 2540949.218 | 1157166.4956
99 | 2540936.8277 | 1157133.6035 | 2540938.0668 | 1157148.8774 | 2540944.6738 | 1157159.5934
100 | 2540936.8277 | 1157133.6035 | 2540938.5743 | 1157124.1102
101 | 2540936.8277 | 1157133.6035 | 2540919.6998 | 1157129.9589
102 | 2540944.4341 | 1157092.262 | 2540938.5743 | 1157124.1102
103 | 2540911.2382 | 1157131.1316 | 2540919.6998 | 1157129.9589

## bus_geodata
| x | y | coords
0 | 2540766.5517 | 1156994.2931
1 | 2540766.4664 | 1157001.4275
2 | 2540769.843 | 1156969.2719
3 | 2540770.0831 | 1156968.8992
4 | 2540803.8294 | 1157020.4071
5 | 2540816.8224 | 1157004.4003
6 | 2540770.224 | 1157043.4486
7 | 2540789.173 | 1156939.2744
8 | 2540841.5227 | 1156973.5206
9 | 2540760.7435 | 1157044.9235
10 | 2540820.0802 | 1156901.6851
11 | 2540639.364 | 1157085.3812
12 | 2540643.1721 | 1157066.594
13 | 2540634.4405 | 1157109.6713
14 | 2540645.9635 | 1157052.8226
15 | 2540654.7691 | 1157114.8951
16 | 2540628.4356 | 1157135.9559
17 | 2540649.7288 | 1157034.2461
18 | 2540662.6585 | 1157136.3011
19 | 2540626.5367 | 1157144.7683
20 | 2540615.6587 | 1157133.3414
21 | 2540644.7803 | 1157032.8634
22 | 2540672.2013 | 1157039.9625
23 | 2540624.4682 | 1157154.4306
24 | 2540643.4471 | 1157148.7869
25 | 2540598.5849 | 1157129.8477
26 | 2540745.5636 | 1157047.2849
27 | 2540731.3249 | 1157049.0684
28 | 2540697.4959 | 1157046.3968
29 | 2540713.985 | 1157086.3163
30 | 2540738.4673 | 1157109.8776
31 | 2540855.0356 | 1156968.8416
32 | 2540542.3823 | 1157052.7574
33 | 2540541.6378 | 1157056.2647
34 | 2540551.1375 | 1157023.9821
35 | 2540536.0299 | 1157082.6843
36 | 2540576.4225 | 1157021.4191
37 | 2540541.9113 | 1157008.3539
38 | 2540535.5242 | 1157085.0669
39 | 2540587.9193 | 1157022.5895
40 | 2540541.0778 | 1156990.3749
41 | 2540530.5083 | 1157108.6974
42 | 2540619.109 | 1157025.7644
43 | 2540541.1367 | 1156989.5591
44 | 2540734.2409 | 1157119.0087
45 | 2540731.6689 | 1157124.5654
46 | 2540729.3395 | 1157129.5981
47 | 2540722.4529 | 1157144.4765
48 | 2540718.3218 | 1157155.2625
49 | 2540709.3776 | 1157136.1669
50 | 2540528.7758 | 1157116.859
51 | 2540525.0771 | 1157134.2841
52 | 2540504.9912 | 1157165.671
53 | 2540523.0273 | 1157180.6094
54 | 2540619.5249 | 1157025.8067
55 | 2540644.176 | 1157148.9602
56 | 2540658.1259 | 1157178.2468
57 | 2540701.5952 | 1157183.2144
58 | 2540711.4942 | 1157173.089
59 | 2540702.6758 | 1157180.8138
60 | 2540832.7537 | 1156882.67
61 | 2540846.5999 | 1156892.9215
62 | 2540870.1102 | 1156910.3283
63 | 2540855.2935 | 1156931.1965
64 | 2540880.5306 | 1156918.041
65 | 2540592.5402 | 1157151.0177
66 | 2540600.7027 | 1157119.3253
67 | 2540607.5746 | 1157085.1821
68 | 2540826.9261 | 1156835.1825
69 | 2540813.0593 | 1156825.5798
70 | 2540835.0425 | 1156840.803
71 | 2540670.7233 | 1156764.86
72 | 2540856.5223 | 1156855.6775
73 | 2540878.8729 | 1156871.1551
74 | 2540643.8798 | 1156755.1755
75 | 2540661.5226 | 1156778.9807
76 | 2540639.7255 | 1156761.5867
77 | 2540886.2426 | 1157017.6693
78 | 2540863.1251 | 1156989.8438
79 | 2540904.0295 | 1157036.0067
80 | 2540908.0932 | 1157039.0571
81 | 2540915.6703 | 1157026.7206
82 | 2540934.3443 | 1157063.1515
83 | 2541036.9844 | 1156833.4689
84 | 2540953.7559 | 1156805.5881
85 | 2541068.4359 | 1156816.3533
86 | 2540889.6442 | 1156902.8079
87 | 2540900.0822 | 1156885.8423
88 | 2540926.6374 | 1156849.3135
89 | 2540943.7059 | 1156827.2151
90 | 2540915.6438 | 1156817.0746
91 | 2540900.5028 | 1156826.7484
92 | 2540944.1429 | 1157091.033
93 | 2540983.201 | 1157209.7623
94 | 2540992.6387 | 1157219.0146
95 | 2540962.935 | 1157185.9702
96 | 2540993.5764 | 1157219.9339
97 | 2540953.453 | 1157172.5082
98 | 2540949.218 | 1157166.4956
99 | 2540944.6738 | 1157159.5934
100 | 2540936.8277 | 1157133.6035
101 | 2540938.5743 | 1157124.1102
102 | 2540919.6998 | 1157129.9589
103 | 2540944.4341 | 1157092.262
104 | 2540911.2382 | 1157131.1316
105 | 2540745.5636 | 1157047.2849

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1