## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5584-21_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5584-21_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5584-21_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5584-21_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5584-21_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5584-21_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5584-21_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5584-21_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5584-21_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5584-21_0_6_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_5584-21_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5584-21_0_6_node_95 | 0.4 | n |  | TRUE
12 | bus_LV_5584-21_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_5584-21_0_6_node_96 | 0.4 | n |  | TRUE
14 | bus_LV_5584-21_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5584-21_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5584-21_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5584-21_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5584-21_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5584-21_0_6_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_5584-21_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_5584-21_0_6_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_5584-21_0_6_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_5584-21_0_6_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5584-21_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5584-21_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5584-21_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5584-21_0_6_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_5584-21_0_6_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_5584-21_0_6_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_5584-21_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5584-21_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5584-21_0_6_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5584-21_0_6_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5584-21_0_6_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_5584-21_0_6_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_5584-21_0_6_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_5584-21_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5584-21_0_6_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_5584-21_0_6_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5584-21_0_6_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5584-21_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_5584-21_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_5584-21_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5584-21_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_5584-21_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_5584-21_0_6_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_5584-21_0_6_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_5584-21_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_5584-21_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_5584-21_0_6_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_5584-21_0_6_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_5584-21_0_6_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_5584-21_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5584-21_0_6_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_5584-21_0_6_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_5584-21_0_6_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_5584-21_0_6_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_5584-21_0_6_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_5584-21_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_5584-21_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5584-21_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5584-21_0_6_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_5584-21_0_6_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5584-21_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5584-21_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_5584-21_0_6_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_5584-21_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5584-21_0_6_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_5584-21_0_6_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5584-21_0_6_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_5584-21_0_6_node_100 | 0.4 | n |  | TRUE
72 | bus_LV_5584-21_0_6_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_5584-21_0_6_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_5584-21_0_6_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_5584-21_0_6_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_5584-21_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5584-21_0_6_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_5584-21_0_6_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_5584-21_0_6_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_5584-21_0_6_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_5584-21_0_6_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_5584-21_0_6_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_5584-21_0_6_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_5584-21_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_5584-21_0_6_node_88 | 0.4 | n |  | TRUE
86 | bus_LV_5584-21_0_6_node_99 | 0.4 | n |  | TRUE
87 | bus_LV_5584-21_0_6_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_5584-21_0_6_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_5584-21_0_6_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_5584-21_0_6_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_5584-21_0_6_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_5584-21_0_6_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_5584-21_0_6_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_5584-21_0_6_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_5584-21_0_6_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_5584-21_0_6_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_5584-21_0_6_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_5584-21_0_6_node_102 | 0.4 | n |  | TRUE
99 | bus_LV_5584-21_0_6_node_103 | 0.4 | n |  | TRUE
100 | bus_LV_5584-21_0_6_node_104 | 0.4 | n |  | TRUE
101 | bus_LV_5584-21_0_6_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_5584-21_0_6_node_105 | 0.4 | n |  | TRUE
103 | bus_MV_366_2_node_154 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5584-21_0_6_load_0 | 0 | 0.0027398 | 0.00068665 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5584-21_0_6_load_1 | 1 | 0.0024968 | 0.00062577 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5584-21_0_6_load_2 | 2 | 0.0020569 | 0.00051552 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5584-21_0_6_load_3 | 3 | 0.0018599 | 0.00046614 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5584-21_0_6_load_4 | 4 | 0.0025201 | 0.0006316 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5584-21_0_6_load_7 | 7 | 0.0023121 | 0.00057947 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5584-21_0_6_load_16 | 9 | 0.0052706 | 0.0013209 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5584-21_0_6_load_9 | 10 | 0.0064731 | 0.0016223 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5584-21_0_6_load_95 | 11 | 0.003841 | 0.00096265 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5584-21_0_6_load_96 | 13 | 0.0022517 | 0.00056432 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5584-21_0_6_load_10 | 14 | 0.0024614 | 0.00061689 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5584-21_0_6_load_11 | 15 | 0.00069231 | 0.00017351 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5584-21_0_6_load_12 | 16 | 0.00091964 | 0.00023048 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5584-21_0_6_load_13 | 17 | 0.00085227 | 0.0002136 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5584-21_0_6_load_14 | 18 | 0.0042895 | 0.0010751 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5584-21_0_6_load_29 | 19 | 0.0038228 | 0.00095808 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5584-21_0_6_load_22 | 22 | 0.0013455 | 0.00033721 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5584-21_0_6_load_18 | 24 | 0.0054464 | 0.001365 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5584-21_0_6_load_21 | 25 | 0.002494 | 0.00062505 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5584-21_0_6_load_19 | 26 | 0.0052266 | 0.0013099 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5584-21_0_6_load_61 | 27 | 0.003083 | 0.00077268 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5584-21_0_6_load_62 | 28 | 0.002713 | 0.00067995 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5584-21_0_6_load_63 | 29 | 0.0020596 | 0.00051619 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5584-21_0_6_load_25 | 31 | 0.0014597 | 0.00036584 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5584-21_0_6_load_27 | 32 | 0.0032273 | 0.00080883 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5584-21_0_6_load_46 | 35 | 0.0039953 | 0.0010013 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5584-21_0_6_load_37 | 36 | 0.011577 | 0.0029013 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5584-21_0_6_load_47 | 38 | 0.0034463 | 0.00086372 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5584-21_0_6_load_30 | 39 | 0.0047311 | 0.0011857 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5584-21_0_6_load_34 | 41 | 0.0039095 | 0.00097982 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5584-21_0_6_load_35 | 42 | 0.0019189 | 0.00048092 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5584-21_0_6_load_36 | 43 | 0.0017242 | 0.00043212 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5584-21_0_6_load_38 | 44 | 0.0036559 | 0.00091625 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5584-21_0_6_load_39 | 45 | 0.0067336 | 0.0016876 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5584-21_0_6_load_40 | 46 | 0.0019406 | 0.00048637 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5584-21_0_6_load_55 | 47 | 0.0011563 | 0.0002898 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5584-21_0_6_load_45 | 49 | 0.0046478 | 0.0011649 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5584-21_0_6_load_58 | 51 | 0.0047667 | 0.0011946 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5584-21_0_6_load_56 | 52 | 0.0027851 | 0.00069801 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5584-21_0_6_load_43 | 54 | 0.0020975 | 0.00052568 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5584-21_0_6_load_59 | 55 | 0.0020459 | 0.00051274 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5584-21_0_6_load_60 | 56 | 0.0014105 | 0.00035352 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5584-21_0_6_load_48 | 57 | 0.0010447 | 0.00026183 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5584-21_0_6_load_49 | 58 | 0.0024442 | 0.00061259 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5584-21_0_6_load_50 | 59 | 0.0029655 | 0.00074322 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5584-21_0_6_load_51 | 60 | 0.002446 | 0.00061303 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5584-21_0_6_load_52 | 61 | 0.0034709 | 0.00086988 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5584-21_0_6_load_64 | 62 | 0.0026796 | 0.00067157 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5584-21_0_6_load_53 | 63 | 0.0023138 | 0.00057988 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5584-21_0_6_load_54 | 64 | 0.0030126 | 0.00075503 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5584-21_0_6_load_57 | 65 | 0.0016036 | 0.00040189 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5584-21_0_6_load_65 | 66 | 0.002054 | 0.00051477 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5584-21_0_6_load_97 | 68 | 0.0034443 | 0.00086322 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5584-21_0_6_load_67 | 69 | 0.0049418 | 0.0012385 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5584-21_0_6_load_98 | 70 | 0.0045606 | 0.001143 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5584-21_0_6_load_69 | 72 | 0.012851 | 0.0032208 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5584-21_0_6_load_70 | 73 | 0.012058 | 0.0030219 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5584-21_0_6_load_75 | 77 | 0.024008 | 0.0060169 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5584-21_0_6_load_77 | 79 | 0.012681 | 0.0031782 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5584-21_0_6_load_78 | 80 | 0.004165 | 0.0010438 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5584-21_0_6_load_79 | 81 | 0.0039 | 0.00097744 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5584-21_0_6_load_80 | 83 | 0.029926 | 0.0075001 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5584-21_0_6_load_99 | 86 | 0.0022486 | 0.00056355 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5584-21_0_6_load_91 | 87 | 0.022662 | 0.0056796 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5584-21_0_6_load_83 | 90 | 0.030978 | 0.0077639 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5584-21_0_6_load_86 | 91 | 0.023725 | 0.0059461 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5584-21_0_6_load_89 | 92 | 0.012582 | 0.0031533 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5584-21_0_6_load_90 | 93 | 0.012149 | 0.0030449 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5584-21_0_6_load_92 | 94 | 0.013163 | 0.003299 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5584-21_0_6_load_87 | 95 | 0.060879 | 0.015258 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5584-21_0_6_load_93 | 96 | 0.033757 | 0.0084602 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5584-21_0_6_load_102 | 98 | 0.0077372 | 0.0019391 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5584-21_0_6_load_103 | 99 | 0.0076626 | 0.0019204 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5584-21_0_6_load_104 | 100 | 0.0067203 | 0.0016843 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5584-21_0_6_load_101 | 101 | 0.01713 | 0.0042931 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5584-21_0_6_line_0 |  | 0 | 1 | 0.013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5584-21_0_6_line_1 |  | 1 | 2 | 0.014064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5584-21_0_6_line_2 |  | 2 | 3 | 0.0089906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5584-21_0_6_line_3 |  | 3 | 4 | 0.015985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5584-21_0_6_line_4 |  | 4 | 5 | 0.006858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5584-21_0_6_line_5 |  | 5 | 6 | 0.031892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5584-21_0_6_line_6 |  | 5 | 7 | 0.01944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5584-21_0_6_line_7 |  | 6 | 8 | 0.016555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5584-21_0_6_line_8 |  | 8 | 9 | 0.0085171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5584-21_0_6_line_9 |  | 8 | 10 | 0.0099539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5584-21_0_6_line_10 |  | 9 | 12 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5584-21_0_6_line_11 |  | 10 | 11 | 0.046167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5584-21_0_6_line_12 |  | 11 | 13 | 0.027352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5584-21_0_6_line_13 |  | 12 | 23 | 0.012844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5584-21_0_6_line_14 |  | 12 | 24 | 0.030633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5584-21_0_6_line_15 |  | 13 | 86 | 0.014876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5584-21_0_6_line_16 |  | 14 | 15 | 0.011537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5584-21_0_6_line_17 |  | 14 | 16 | 0.0077892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5584-21_0_6_line_18 |  | 15 | 17 | 0.014435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5584-21_0_6_line_19 |  | 16 | 18 | 0.035347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5584-21_0_6_line_20 |  | 18 | 21 | 0.022718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5584-21_0_6_line_21 |  | 19 | 20 | 0.04396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5584-21_0_6_line_22 |  | 20 | 33 | 0.005077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5584-21_0_6_line_23 |  | 20 | 30 | 0.004187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5584-21_0_6_line_24 |  | 21 | 22 | 0.038998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5584-21_0_6_line_25 |  | 22 | 30 | 0.025704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5584-21_0_6_line_26 |  | 23 | 25 | 0.01335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5584-21_0_6_line_27 |  | 24 | 26 | 0.016648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5584-21_0_6_line_28 |  | 26 | 27 | 0.045755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5584-21_0_6_line_29 |  | 27 | 28 | 0.028462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5584-21_0_6_line_30 |  | 27 | 29 | 0.036618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5584-21_0_6_line_31 |  | 28 | 62 | 0.00039237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_5584-21_0_6_line_32 |  | 29 | 66 | 0.011143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5584-21_0_6_line_33 |  | 30 | 31 | 0.059709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5584-21_0_6_line_34 |  | 31 | 32 | 0.0087224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5584-21_0_6_line_35 |  | 33 | 34 | 0.037429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5584-21_0_6_line_36 |  | 33 | 35 | 0.02168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5584-21_0_6_line_37 |  | 34 | 36 | 0.055861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5584-21_0_6_line_38 |  | 34 | 37 | 0.022737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5584-21_0_6_line_39 |  | 35 | 38 | 0.035763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5584-21_0_6_line_40 |  | 37 | 41 | 0.018112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5584-21_0_6_line_41 |  | 37 | 39 | 0.063128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5584-21_0_6_line_42 |  | 38 | 57 | 0.015601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5584-21_0_6_line_43 |  | 39 | 40 | 0.010351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5584-21_0_6_line_44 |  | 40 | 42 | 0.047156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5584-21_0_6_line_45 |  | 40 | 43 | 0.01296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5584-21_0_6_line_46 |  | 41 | 44 | 0.029183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5584-21_0_6_line_47 |  | 42 | 45 | 0.0082532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5584-21_0_6_line_48 |  | 43 | 46 | 0.011074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5584-21_0_6_line_49 |  | 44 | 47 | 0.020067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5584-21_0_6_line_50 |  | 45 | 48 | 0.055801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5584-21_0_6_line_51 |  | 46 | 51 | 0.019894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5584-21_0_6_line_52 |  | 47 | 52 | 0.0019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5584-21_0_6_line_53 |  | 48 | 53 | 0.02108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5584-21_0_6_line_54 |  | 48 | 50 | 0.11162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5584-21_0_6_line_55 |  | 49 | 50 | 0.059343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5584-21_0_6_line_56 |  | 52 | 65 | 0.03791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5584-21_0_6_line_57 |  | 53 | 54 | 0.031954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5584-21_0_6_line_58 |  | 54 | 55 | 0.024807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5584-21_0_6_line_59 |  | 55 | 56 | 0.00077248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5584-21_0_6_line_60 |  | 57 | 58 | 0.017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5584-21_0_6_line_61 |  | 58 | 59 | 0.027279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5584-21_0_6_line_62 |  | 59 | 60 | 0.004236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5584-21_0_6_line_63 |  | 60 | 61 | 0.02684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5584-21_0_6_line_64 |  | 60 | 62 | 0.04861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_5584-21_0_6_line_65 |  | 61 | 63 | 0.0013368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5584-21_0_6_line_66 |  | 63 | 64 | 0.0186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5584-21_0_6_line_67 |  | 66 | 67 | 0.028392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5584-21_0_6_line_68 |  | 67 | 69 | 0.031841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5584-21_0_6_line_69 |  | 67 | 68 | 0.019467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5584-21_0_6_line_70 |  | 69 | 70 | 0.010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5584-21_0_6_line_71 |  | 70 | 71 | 0.043376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5584-21_0_6_line_72 |  | 71 | 102 | 0.009262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5584-21_0_6_line_73 |  | 72 | 73 | 0.080289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5584-21_0_6_line_74 |  | 72 | 74 | 0.029531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5584-21_0_6_line_75 |  | 74 | 75 | 0.007005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5584-21_0_6_line_76 |  | 75 | 80 | 0.02613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5584-21_0_6_line_77 |  | 75 | 81 | 0.0093307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5584-21_0_6_line_78 |  | 76 | 77 | 0.033412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5584-21_0_6_line_79 |  | 76 | 78 | 0.006717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_5584-21_0_6_line_80 |  | 76 | 79 | 0.024053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5584-21_0_6_line_81 |  | 77 | 85 | 0.029058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5584-21_0_6_line_82 |  | 78 | 81 | 0.041703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5584-21_0_6_line_83 |  | 78 | 86 | 0.043444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5584-21_0_6_line_84 |  | 79 | 87 | 0.056961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5584-21_0_6_line_85 |  | 80 | 84 | 0.0088187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5584-21_0_6_line_86 |  | 82 | 83 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5584-21_0_6_line_87 |  | 82 | 84 | 0.006987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5584-21_0_6_line_88 |  | 84 | 91 | 0.02331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5584-21_0_6_line_89 |  | 85 | 92 | 0.016684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5584-21_0_6_line_90 |  | 85 | 93 | 0.0099114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5584-21_0_6_line_91 |  | 87 | 94 | 0.054668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5584-21_0_6_line_92 |  | 88 | 89 | 0.006213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5584-21_0_6_line_93 |  | 88 | 90 | 0.073859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5584-21_0_6_line_94 |  | 89 | 91 | 0.040208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5584-21_0_6_line_95 |  | 92 | 95 | 0.012192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5584-21_0_6_line_96 |  | 94 | 96 | 0.033541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5584-21_0_6_line_97 |  | 96 | 97 | 0.039002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5584-21_0_6_line_98 |  | 97 | 98 | 0.012217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5584-21_0_6_line_99 |  | 98 | 101 | 0.0054977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5584-21_0_6_line_100 |  | 99 | 100 | 0.0077636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5584-21_0_6_line_101 |  | 100 | 102 | 0.03934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5584-21_0_6_trafo_95 | 0.63 MVA 20/0.4 kV | 103 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2541960.4666 | 1156068.8768 | 2541972.3182 | 1156072.2744 | 2541973.4001 | 1156072.7493
1 | 2541973.4001 | 1156072.7493 | 2541986.2785 | 1156078.4018
2 | 2541986.2785 | 1156078.4018 | 2541992.12 | 1156080.9657 | 2541994.1531 | 1156082.6043
3 | 2541994.1531 | 1156082.6043 | 2542006.5987 | 1156092.6349
4 | 2542011.9384 | 1156096.9385 | 2542006.5987 | 1156092.6349
5 | 2542011.9384 | 1156096.9385 | 2542025.628 | 1156112.8149 | 2542031.073 | 1156122.323
6 | 2542001.7911 | 1156113.5342 | 2542011.9384 | 1156096.9385
7 | 2542031.073 | 1156122.323 | 2542028.656 | 1156124.592 | 2542027.1583 | 1156127.5414 | 2542026.7452 | 1156130.8249 | 2542027.4667 | 1156134.0641 | 2542029.2423 | 1156136.8596
8 | 2542029.2423 | 1156136.8596 | 2542025.359 | 1156144.4399
9 | 2542029.2423 | 1156136.8596 | 2542031.8541 | 1156138.8911 | 2542035.0086 | 1156139.939 | 2542038.3286 | 1156139.8513
10 | 2542019.0201 | 1156156.8134 | 2542025.359 | 1156144.4399
11 | 2542038.3286 | 1156139.8513 | 2542080.1692 | 1156120.3379
12 | 2542080.1692 | 1156120.3379 | 2542077.3292 | 1156112.2826 | 2542070.4605 | 1156095.8956 | 2542069.9994 | 1156094.961
13 | 2542012.362 | 1156167.8058 | 2542019.0201 | 1156156.8134
14 | 2542019.0201 | 1156156.8134 | 2542040.8788 | 1156178.2742
15 | 2542063.4179 | 1156081.6197 | 2542069.9994 | 1156094.961
16 | 2541870.9649 | 1156116.6968 | 2541859.8785 | 1156113.5027
17 | 2541870.9649 | 1156116.6968 | 2541878.4496 | 1156118.8533
18 | 2541846.0073 | 1156109.5063 | 2541859.8785 | 1156113.5027
19 | 2541912.4154 | 1156128.6391 | 2541878.4496 | 1156118.8533
20 | 2541933.3442 | 1156137.4749 | 2541912.4154 | 1156128.6391
21 | 2541856.3672 | 1156177.8077 | 2541855.9686 | 1156184.1594 | 2541892.6058 | 1156193.032
22 | 2541892.6058 | 1156193.032 | 2541889.6008 | 1156197.1299
23 | 2541892.6058 | 1156193.032 | 2541895.0809 | 1156189.6507
24 | 2541933.3442 | 1156137.4749 | 2541910.2816 | 1156168.923
25 | 2541895.0809 | 1156189.6507 | 2541910.2816 | 1156168.923
26 | 2542012.362 | 1156167.8058 | 2542000.9905 | 1156160.8118
27 | 2542052.7584 | 1156189.9374 | 2542040.8788 | 1156178.2742
28 | 2542052.7584 | 1156189.9374 | 2542043.9635 | 1156234.8388
29 | 2542043.9635 | 1156234.8388 | 2542021.4888 | 1156252.3015
30 | 2542043.9635 | 1156234.8388 | 2542057.2222 | 1156224.5368 | 2542070.6198 | 1156239.1528
31 | 2542021.179 | 1156252.5423 | 2542021.4888 | 1156252.3015
32 | 2542070.6198 | 1156239.1528 | 2542078.1493 | 1156247.367
33 | 2541895.0809 | 1156189.6507 | 2541934.743 | 1156223.4409 | 2541941.9864 | 1156221.1236
34 | 2541950.2939 | 1156218.4658 | 2541941.9864 | 1156221.1236
35 | 2541867.4456 | 1156227.3383 | 2541889.6008 | 1156197.1299
36 | 2541889.6008 | 1156197.1299 | 2541906.4364 | 1156210.7899
37 | 2541814.2108 | 1156219.0936 | 2541822.9264 | 1156226.5688 | 2541867.4456 | 1156227.3383
38 | 2541853.9875 | 1156245.6895 | 2541867.4456 | 1156227.3383
39 | 2541906.4364 | 1156210.7899 | 2541934.2075 | 1156233.3226
40 | 2541853.9875 | 1156245.6895 | 2541866.3549 | 1156258.9214
41 | 2541853.9875 | 1156245.6895 | 2541816.6546 | 1156296.5953
42 | 2541934.2075 | 1156233.3226 | 2541946.3222 | 1156243.1521
43 | 2541810.5333 | 1156304.942 | 2541816.6546 | 1156296.5953
44 | 2541810.5333 | 1156304.942 | 2541782.65 | 1156342.9709
45 | 2541810.5333 | 1156304.942 | 2541819.3431 | 1156314.447
46 | 2541866.3549 | 1156258.9214 | 2541886.2823 | 1156280.2421
47 | 2541777.7699 | 1156349.6268 | 2541782.65 | 1156342.9709
48 | 2541819.3431 | 1156314.447 | 2541826.871 | 1156322.5688
49 | 2541886.2823 | 1156280.2421 | 2541899.9847 | 1156294.9025
50 | 2541744.7747 | 1156394.6275 | 2541777.7699 | 1156349.6268
51 | 2541840.3942 | 1156337.1591 | 2541826.871 | 1156322.5688
52 | 2541901.3051 | 1156296.3152 | 2541899.9847 | 1156294.9025
53 | 2541755.5948 | 1156412.7324 | 2541744.7747 | 1156394.6275
54 | 2541744.7747 | 1156394.6275 | 2541668.4217 | 1156313.2023
55 | 2541695.1368 | 1156267.7853 | 2541699.0455 | 1156279.3758 | 2541697.456 | 1156287.8624 | 2541668.4217 | 1156313.2023
56 | 2541927.1911 | 1156324.011 | 2541901.3051 | 1156296.3152
57 | 2541755.5948 | 1156412.7324 | 2541779.1626 | 1156393.0822 | 2541780.4307 | 1156393.04
58 | 2541780.4307 | 1156393.04 | 2541783.4021 | 1156392.9411 | 2541786.5468 | 1156394.567 | 2541798.3727 | 1156408.5244
59 | 2541798.872 | 1156409.1138 | 2541798.3727 | 1156408.5244
60 | 2541959.7356 | 1156254.0354 | 2541946.3222 | 1156243.1521
61 | 2541959.7356 | 1156254.0354 | 2541963.9229 | 1156257.4328 | 2541977.2694 | 1156274.7793
62 | 2541979.8525 | 1156278.1366 | 2541977.2694 | 1156274.7793
63 | 2541979.8525 | 1156278.1366 | 2541982.5084 | 1156281.5885 | 2541993.2273 | 1156301.3542
64 | 2541979.8525 | 1156278.1366 | 2542021.179 | 1156252.5423
65 | 2541993.8646 | 1156302.5293 | 2541993.2273 | 1156301.3542
66 | 2542002.7315 | 1156318.88 | 2541993.8646 | 1156302.5293
67 | 2542099.4733 | 1156264.4954 | 2542092.5963 | 1156263.1276 | 2542078.1493 | 1156247.367
68 | 2542099.4733 | 1156264.4954 | 2542100.2641 | 1156269.3571 | 2542102.8427 | 1156284.6515 | 2542104.945 | 1156295.8613
69 | 2542107.5122 | 1156246.7657 | 2542099.4733 | 1156264.4954
70 | 2542115.5582 | 1156295.6834 | 2542104.945 | 1156295.8613
71 | 2542122.5573 | 1156338.4905 | 2542119.8576 | 1156321.7631 | 2542115.5582 | 1156295.6834
72 | 2542122.5573 | 1156338.4905 | 2542131.0973 | 1156342.1324
73 | 2542117.1179 | 1155961.9518 | 2542122.0726 | 1155964.3609 | 2542131.5714 | 1155967.9602 | 2542139.0269 | 1155972.8132 | 2542142.7901 | 1155978.9247 | 2542143.674 | 1155985.4864 | 2542140.0371 | 1155992.4918 | 2542134.3175 | 1155996.6492 | 2542109.0602 | 1156006.0877
74 | 2542081.3974 | 1156016.4253 | 2542109.0602 | 1156006.0877
75 | 2542075.0061 | 1156019.3329 | 2542081.3974 | 1156016.4253
76 | 2542075.0061 | 1156019.3329 | 2542063.5585 | 1156006.1139 | 2542057.5462 | 1155999.9043
77 | 2542075.0061 | 1156019.3329 | 2542080.4581 | 1156026.9051
78 | 2542108.566 | 1156059.7534 | 2542126.3818 | 1156054.968 | 2542139.5975 | 1156047.9481
79 | 2542102.348 | 1156062.3369 | 2542108.566 | 1156059.7534
80 | 2542108.566 | 1156059.7534 | 2542110.2161 | 1156063.0614 | 2542117.1868 | 1156078.1024 | 2542118.5249 | 1156081.6362
81 | 2542168.3631 | 1156051.7065 | 2542150.1867 | 1156048.5242 | 2542139.5975 | 1156047.9481
82 | 2542102.348 | 1156062.3369 | 2542095.5951 | 1156050.0064 | 2542088.3766 | 1156037.9028 | 2542080.4581 | 1156026.9051
83 | 2542102.348 | 1156062.3369 | 2542063.4179 | 1156081.6197
84 | 2542132.8649 | 1156136.6184 | 2542130.7987 | 1156123.34 | 2542128.7312 | 1156114.1216 | 2542124.0354 | 1156097.1911 | 2542121.5151 | 1156089.5335 | 2542118.5249 | 1156081.6362
85 | 2542051.4118 | 1155993.5688 | 2542057.5462 | 1155999.9043
86 | 2542071.7758 | 1155970.6823 | 2542056.0628 | 1155988.3433
87 | 2542051.4118 | 1155993.5688 | 2542056.0628 | 1155988.3433
88 | 2542051.4118 | 1155993.5688 | 2542034.1702 | 1155977.8811
89 | 2542168.3631 | 1156051.7065 | 2542169.0545 | 1156049.4319 | 2542170.4316 | 1156047.4954 | 2542172.3661 | 1156046.0872 | 2542174.6371 | 1156045.376 | 2542177.0226 | 1156045.4198 | 2542179.2775 | 1156046.2207 | 2542181.1552 | 1156047.6812
90 | 2542168.3631 | 1156051.7065 | 2542168.4483 | 1156054.1848 | 2542169.3602 | 1156056.4883 | 2542170.9734 | 1156058.3627 | 2542173.1251 | 1156059.5982
91 | 2542132.8649 | 1156136.6184 | 2542135.516 | 1156153.6553 | 2542136.7822 | 1156166.4722 | 2542137.456 | 1156171.1349 | 2542139.5388 | 1156187.5125 | 2542140.3238 | 1156190.7448
92 | 2542004.4301 | 1155950.8214 | 2542009.5498 | 1155947.2811
93 | 2542009.5498 | 1155947.2811 | 2542018.6709 | 1155937.9548 | 2542045.158 | 1155928.861 | 2542077.764 | 1155932.5034
94 | 2542004.4301 | 1155950.8214 | 2542034.1702 | 1155977.8811
95 | 2542181.1552 | 1156047.6812 | 2542182.4628 | 1156049.6697 | 2542183.0679 | 1156051.9762 | 2542182.8923 | 1156054.4459 | 2542181.9017 | 1156056.7122 | 2542180.2166 | 1156058.5294
96 | 2542150.818 | 1156222.4881 | 2542148.5811 | 1156217.7972 | 2542144.0429 | 1156206.0569 | 2542140.3238 | 1156190.7448
97 | 2542167.3876 | 1156257.7932 | 2542166.1055 | 1156255.2598 | 2542156.7606 | 1156234.9499 | 2542150.818 | 1156222.4881
98 | 2542167.3876 | 1156257.7932 | 2542179.4233 | 1156255.6985
99 | 2542183.622 | 1156258.6005 | 2542182.7238 | 1156256.7895 | 2542179.4233 | 1156255.6985 | 2542179.4233 | 1156255.6985
100 | 2542169.5444 | 1156319.1692 | 2542167.3735 | 1156320.0268 | 2542162.2968 | 1156321.9517
101 | 2542131.0973 | 1156342.1324 | 2542132.1663 | 1156338.4646 | 2542133.06 | 1156336.4994 | 2542134.0849 | 1156334.6218 | 2542135.6241 | 1156332.7949 | 2542137.751 | 1156331.4737 | 2542149.6843 | 1156326.734 | 2542162.2968 | 1156321.9517

## bus_geodata
| x | y | coords
0 | 2541960.4666 | 1156068.8768
1 | 2541973.4001 | 1156072.7493
2 | 2541986.2785 | 1156078.4018
3 | 2541994.1531 | 1156082.6043
4 | 2542006.5987 | 1156092.6349
5 | 2542011.9384 | 1156096.9385
6 | 2542031.073 | 1156122.323
7 | 2542001.7911 | 1156113.5342
8 | 2542029.2423 | 1156136.8596
9 | 2542025.359 | 1156144.4399
10 | 2542038.3286 | 1156139.8513
11 | 2542080.1692 | 1156120.3379
12 | 2542019.0201 | 1156156.8134
13 | 2542069.9994 | 1156094.961
14 | 2541870.9649 | 1156116.6968
15 | 2541859.8785 | 1156113.5027
16 | 2541878.4496 | 1156118.8533
17 | 2541846.0073 | 1156109.5063
18 | 2541912.4154 | 1156128.6391
19 | 2541856.3672 | 1156177.8077
20 | 2541892.6058 | 1156193.032
21 | 2541933.3442 | 1156137.4749
22 | 2541910.2816 | 1156168.923
23 | 2542012.362 | 1156167.8058
24 | 2542040.8788 | 1156178.2742
25 | 2542000.9905 | 1156160.8118
26 | 2542052.7584 | 1156189.9374
27 | 2542043.9635 | 1156234.8388
28 | 2542021.4888 | 1156252.3015
29 | 2542070.6198 | 1156239.1528
30 | 2541895.0809 | 1156189.6507
31 | 2541941.9864 | 1156221.1236
32 | 2541950.2939 | 1156218.4658
33 | 2541889.6008 | 1156197.1299
34 | 2541867.4456 | 1156227.3383
35 | 2541906.4364 | 1156210.7899
36 | 2541814.2108 | 1156219.0936
37 | 2541853.9875 | 1156245.6895
38 | 2541934.2075 | 1156233.3226
39 | 2541816.6546 | 1156296.5953
40 | 2541810.5333 | 1156304.942
41 | 2541866.3549 | 1156258.9214
42 | 2541782.65 | 1156342.9709
43 | 2541819.3431 | 1156314.447
44 | 2541886.2823 | 1156280.2421
45 | 2541777.7699 | 1156349.6268
46 | 2541826.871 | 1156322.5688
47 | 2541899.9847 | 1156294.9025
48 | 2541744.7747 | 1156394.6275
49 | 2541695.1368 | 1156267.7853
50 | 2541668.4217 | 1156313.2023
51 | 2541840.3942 | 1156337.1591
52 | 2541901.3051 | 1156296.3152
53 | 2541755.5948 | 1156412.7324
54 | 2541780.4307 | 1156393.04
55 | 2541798.3727 | 1156408.5244
56 | 2541798.872 | 1156409.1138
57 | 2541946.3222 | 1156243.1521
58 | 2541959.7356 | 1156254.0354
59 | 2541977.2694 | 1156274.7793
60 | 2541979.8525 | 1156278.1366
61 | 2541993.2273 | 1156301.3542
62 | 2542021.179 | 1156252.5423
63 | 2541993.8646 | 1156302.5293
64 | 2542002.7315 | 1156318.88
65 | 2541927.1911 | 1156324.011
66 | 2542078.1493 | 1156247.367
67 | 2542099.4733 | 1156264.4954
68 | 2542107.5122 | 1156246.7657
69 | 2542104.945 | 1156295.8613
70 | 2542115.5582 | 1156295.6834
71 | 2542122.5573 | 1156338.4905
72 | 2542109.0602 | 1156006.0877
73 | 2542117.1179 | 1155961.9518
74 | 2542081.3974 | 1156016.4253
75 | 2542075.0061 | 1156019.3329
76 | 2542108.566 | 1156059.7534
77 | 2542139.5975 | 1156047.9481
78 | 2542102.348 | 1156062.3369
79 | 2542118.5249 | 1156081.6362
80 | 2542057.5462 | 1155999.9043
81 | 2542080.4581 | 1156026.9051
82 | 2542056.0628 | 1155988.3433
83 | 2542071.7758 | 1155970.6823
84 | 2542051.4118 | 1155993.5688
85 | 2542168.3631 | 1156051.7065
86 | 2542063.4179 | 1156081.6197
87 | 2542132.8649 | 1156136.6184
88 | 2542009.5498 | 1155947.2811
89 | 2542004.4301 | 1155950.8214
90 | 2542077.764 | 1155932.5034
91 | 2542034.1702 | 1155977.8811
92 | 2542181.1552 | 1156047.6812
93 | 2542173.1251 | 1156059.5982
94 | 2542140.3238 | 1156190.7448
95 | 2542180.2166 | 1156058.5294
96 | 2542150.818 | 1156222.4881
97 | 2542167.3876 | 1156257.7932
98 | 2542179.4233 | 1156255.6985
99 | 2542169.5444 | 1156319.1692
100 | 2542162.2968 | 1156321.9517
101 | 2542183.622 | 1156258.6005
102 | 2542131.0973 | 1156342.1324
103 | 2541989.7412 | 1155988.7391

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1