## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5584-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5584-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5584-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5584-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5584-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5584-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5584-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5584-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5584-3_0_3_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_5584-3_0_3_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_5584-3_0_3_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_5584-3_0_3_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_5584-3_0_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_5584-3_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_5584-3_0_3_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_5584-3_0_3_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_5584-3_0_3_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_5584-3_0_3_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_5584-3_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_5584-3_0_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_5584-3_0_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_5584-3_0_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_5584-3_0_3_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_5584-3_0_3_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_5584-3_0_3_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_5584-3_0_3_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_5584-3_0_3_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_5584-3_0_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_5584-3_0_3_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_5584-3_0_3_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_5584-3_0_3_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_5584-3_0_3_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_5584-3_0_3_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_5584-3_0_3_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_5584-3_0_3_node_115 | 0.4 | n |  | TRUE
35 | bus_LV_5584-3_0_3_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_5584-3_0_3_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_5584-3_0_3_node_201 | 0.4 | n |  | TRUE
38 | bus_LV_5584-3_0_3_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_5584-3_0_3_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_5584-3_0_3_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_5584-3_0_3_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_5584-3_0_3_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_5584-3_0_3_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_5584-3_0_3_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_5584-3_0_3_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_5584-3_0_3_node_116 | 0.4 | n |  | TRUE
47 | bus_LV_5584-3_0_3_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_5584-3_0_3_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_5584-3_0_3_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_5584-3_0_3_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_5584-3_0_3_node_81 | 0.4 | n |  | TRUE
52 | bus_LV_5584-3_0_3_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_5584-3_0_3_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_5584-3_0_3_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_5584-3_0_3_node_89 | 0.4 | n |  | TRUE
56 | bus_LV_5584-3_0_3_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_5584-3_0_3_node_152 | 0.4 | n |  | TRUE
58 | bus_LV_5584-3_0_3_node_80 | 0.4 | n |  | TRUE
59 | bus_LV_5584-3_0_3_node_202 | 0.4 | n |  | TRUE
60 | bus_LV_5584-3_0_3_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_5584-3_0_3_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_5584-3_0_3_node_100 | 0.4 | n |  | TRUE
63 | bus_LV_5584-3_0_3_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_5584-3_0_3_node_85 | 0.4 | n |  | TRUE
65 | bus_LV_5584-3_0_3_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_5584-3_0_3_node_91 | 0.4 | n |  | TRUE
67 | bus_LV_5584-3_0_3_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_5584-3_0_3_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_5584-3_0_3_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_5584-3_0_3_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_5584-3_0_3_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_5584-3_0_3_node_97 | 0.4 | n |  | TRUE
73 | bus_LV_5584-3_0_3_node_99 | 0.4 | n |  | TRUE
74 | bus_LV_5584-3_0_3_node_101 | 0.4 | n |  | TRUE
75 | bus_LV_5584-3_0_3_node_102 | 0.4 | n |  | TRUE
76 | bus_LV_5584-3_0_3_node_103 | 0.4 | n |  | TRUE
77 | bus_LV_5584-3_0_3_node_153 | 0.4 | n |  | TRUE
78 | bus_LV_5584-3_0_3_node_154 | 0.4 | n |  | TRUE
79 | bus_LV_5584-3_0_3_node_206 | 0.4 | n |  | TRUE
80 | bus_LV_5584-3_0_3_node_111 | 0.4 | n |  | TRUE
81 | bus_LV_5584-3_0_3_node_112 | 0.4 | n |  | TRUE
82 | bus_LV_5584-3_0_3_node_203 | 0.4 | n |  | TRUE
83 | bus_LV_5584-3_0_3_node_113 | 0.4 | n |  | TRUE
84 | bus_LV_5584-3_0_3_node_114 | 0.4 | n |  | TRUE
85 | bus_LV_5584-3_0_3_node_117 | 0.4 | n |  | TRUE
86 | bus_LV_5584-3_0_3_node_155 | 0.4 | n |  | TRUE
87 | bus_LV_5584-3_0_3_node_157 | 0.4 | n |  | TRUE
88 | bus_LV_5584-3_0_3_node_158 | 0.4 | n |  | TRUE
89 | bus_LV_5584-3_0_3_node_160 | 0.4 | n |  | TRUE
90 | bus_LV_5584-3_0_3_node_193 | 0.4 | n |  | TRUE
91 | bus_LV_5584-3_0_3_node_196 | 0.4 | n |  | TRUE
92 | bus_LV_5584-3_0_3_node_197 | 0.4 | n |  | TRUE
93 | bus_LV_5584-3_0_3_node_198 | 0.4 | n |  | TRUE
94 | bus_MV_366_2_node_220 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5584-3_0_3_load_0 | 0 | 0.0043176 | 0.0010821 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5584-3_0_3_load_1 | 1 | 0.0034398 | 0.0008621 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5584-3_0_3_load_3 | 3 | 0.0055436 | 0.0013894 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5584-3_0_3_load_5 | 5 | 0.0037796 | 0.00094726 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5584-3_0_3_load_6 | 6 | 0.0041951 | 0.0010514 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5584-3_0_3_load_7 | 7 | 0.0030146 | 0.00075553 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5584-3_0_3_load_57 | 8 | 0.00092686 | 0.00023229 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5584-3_0_3_load_67 | 9 | 0.0026164 | 0.00065573 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5584-3_0_3_load_37 | 10 | 0.003448 | 0.00086416 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5584-3_0_3_load_53 | 11 | 0.0016509 | 0.00041376 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5584-3_0_3_load_30 | 12 | 0.0036489 | 0.00091451 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5584-3_0_3_load_31 | 13 | 0.0037559 | 0.00094132 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5584-3_0_3_load_33 | 15 | 0.003251 | 0.00081478 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5584-3_0_3_load_36 | 18 | 0.00061627 | 0.00015445 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5584-3_0_3_load_38 | 19 | 0.0036448 | 0.00091346 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5584-3_0_3_load_51 | 20 | 0.0026521 | 0.00066467 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5584-3_0_3_load_52 | 21 | 0.0039945 | 0.0010011 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5584-3_0_3_load_45 | 22 | 0.002733 | 0.00068495 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5584-3_0_3_load_46 | 23 | 0.0039588 | 0.00099217 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5584-3_0_3_load_47 | 24 | 0.0044128 | 0.0011059 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5584-3_0_3_load_49 | 26 | 0.0058167 | 0.0014578 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5584-3_0_3_load_50 | 27 | 0.0030276 | 0.00075879 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5584-3_0_3_load_54 | 28 | 0.0032085 | 0.00080412 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5584-3_0_3_load_55 | 29 | 0.0041607 | 0.0010428 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5584-3_0_3_load_56 | 30 | 0.0025099 | 0.00062905 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5584-3_0_3_load_58 | 31 | 0.0026873 | 0.0006735 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5584-3_0_3_load_59 | 32 | 0.0027314 | 0.00068455 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5584-3_0_3_load_60 | 33 | 0.0027389 | 0.00068644 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5584-3_0_3_load_115 | 34 | 0.0039876 | 0.0009994 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5584-3_0_3_load_61 | 35 | 0.0035188 | 0.0008819 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5584-3_0_3_load_62 | 36 | 0.0025225 | 0.00063221 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5584-3_0_3_load_201 | 37 | 0.005926 | 0.0014852 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5584-3_0_3_load_63 | 38 | 0.0051765 | 0.0012973 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5584-3_0_3_load_65 | 40 | 0.004017 | 0.0010067 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5584-3_0_3_load_68 | 43 | 0.0058773 | 0.001473 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5584-3_0_3_load_69 | 44 | 0.0087606 | 0.0021956 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5584-3_0_3_load_75 | 45 | 0.0014607 | 0.00036608 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5584-3_0_3_load_116 | 46 | 0.0037093 | 0.00092963 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5584-3_0_3_load_71 | 47 | 0.0033414 | 0.00083744 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5584-3_0_3_load_72 | 48 | 0.0020421 | 0.00051181 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5584-3_0_3_load_76 | 52 | 0.0022357 | 0.00056032 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5584-3_0_3_load_77 | 53 | 0.00085979 | 0.00021548 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5584-3_0_3_load_78 | 54 | 0.0029014 | 0.00072716 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5584-3_0_3_load_89 | 55 | 0.0017767 | 0.00044528 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5584-3_0_3_load_152 | 57 | 0.0022035 | 0.00055225 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5584-3_0_3_load_202 | 59 | 0.0014913 | 0.00037376 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5584-3_0_3_load_100 | 62 | 0.0058061 | 0.0014552 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5584-3_0_3_load_98 | 63 | 0.0023186 | 0.00058109 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5584-3_0_3_load_92 | 65 | 0.0026732 | 0.00066998 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5584-3_0_3_load_91 | 66 | 0.0026573 | 0.00066598 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5584-3_0_3_load_96 | 67 | 0.0016489 | 0.00041325 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5584-3_0_3_load_95 | 68 | 0.0037063 | 0.00092888 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5584-3_0_3_load_90 | 69 | 0.0018477 | 0.00046309 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5584-3_0_3_load_97 | 72 | 0.002107 | 0.00052807 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5584-3_0_3_load_99 | 73 | 0.0019031 | 0.00047695 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5584-3_0_3_load_153 | 77 | 0.0031881 | 0.00079902 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5584-3_0_3_load_154 | 78 | 0.002226 | 0.00055788 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5584-3_0_3_load_206 | 79 | 0.0029085 | 0.00072894 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5584-3_0_3_load_111 | 80 | 0.0031045 | 0.00077805 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5584-3_0_3_load_112 | 81 | 0.0059711 | 0.0014965 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5584-3_0_3_load_203 | 82 | 0.0015179 | 0.00038042 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5584-3_0_3_load_113 | 83 | 0.0050353 | 0.001262 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5584-3_0_3_load_114 | 84 | 0.0018061 | 0.00045266 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5584-3_0_3_load_117 | 85 | 0.0024543 | 0.00061511 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5584-3_0_3_load_155 | 86 | 0.0019403 | 0.00048629 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5584-3_0_3_load_158 | 88 | 0.0019113 | 0.00047902 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5584-3_0_3_load_193 | 90 | 0.0022395 | 0.00056128 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5584-3_0_3_load_196 | 91 | 0.0071648 | 0.0017957 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5584-3_0_3_load_197 | 92 | 0.0025485 | 0.00063871 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5584-3_0_3_load_198 | 93 | 0.0030839 | 0.00077289 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5584-3_0_3_line_0 |  | 0 | 1 | 0.011019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5584-3_0_3_line_1 |  | 0 | 2 | 0.029848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5584-3_0_3_line_2 |  | 1 | 3 | 0.022608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5584-3_0_3_line_3 |  | 2 | 4 | 0.049321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5584-3_0_3_line_4 |  | 2 | 5 | 0.016535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5584-3_0_3_line_5 |  | 2 | 6 | 0.030974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5584-3_0_3_line_6 |  | 3 | 7 | 0.0026747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5584-3_0_3_line_7 |  | 4 | 8 | 0.031519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5584-3_0_3_line_8 |  | 4 | 9 | 0.010737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5584-3_0_3_line_9 |  | 5 | 10 | 0.031882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5584-3_0_3_line_10 |  | 6 | 11 | 0.029808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5584-3_0_3_line_11 |  | 8 | 29 | 0.00073844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5584-3_0_3_line_12 |  | 9 | 39 | 0.0080815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5584-3_0_3_line_13 |  | 10 | 16 | 0.016676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5584-3_0_3_line_14 |  | 11 | 28 | 0.0059803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5584-3_0_3_line_15 |  | 12 | 13 | 0.017861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5584-3_0_3_line_16 |  | 12 | 14 | 0.016323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5584-3_0_3_line_17 |  | 13 | 15 | 0.025627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5584-3_0_3_line_18 |  | 14 | 16 | 0.037696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5584-3_0_3_line_19 |  | 14 | 17 | 0.018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5584-3_0_3_line_20 |  | 15 | 18 | 0.0090926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5584-3_0_3_line_21 |  | 16 | 19 | 0.037715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5584-3_0_3_line_22 |  | 17 | 20 | 0.042286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5584-3_0_3_line_23 |  | 19 | 21 | 0.023224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5584-3_0_3_line_24 |  | 20 | 27 | 0.028005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5584-3_0_3_line_25 |  | 22 | 23 | 0.028829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5584-3_0_3_line_26 |  | 23 | 24 | 0.029024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5584-3_0_3_line_27 |  | 24 | 25 | 0.022383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5584-3_0_3_line_28 |  | 25 | 26 | 0.032605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5584-3_0_3_line_29 |  | 25 | 27 | 0.025246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5584-3_0_3_line_30 |  | 29 | 30 | 0.030353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5584-3_0_3_line_31 |  | 30 | 31 | 0.028752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5584-3_0_3_line_32 |  | 31 | 32 | 0.029563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5584-3_0_3_line_33 |  | 32 | 33 | 0.030124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5584-3_0_3_line_34 |  | 32 | 34 | 0.038318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5584-3_0_3_line_35 |  | 33 | 35 | 0.015211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5584-3_0_3_line_36 |  | 34 | 84 | 0.0041149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5584-3_0_3_line_37 |  | 35 | 36 | 0.019986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5584-3_0_3_line_38 |  | 36 | 37 | 0.037805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5584-3_0_3_line_39 |  | 38 | 39 | 0.023111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5584-3_0_3_line_40 |  | 38 | 40 | 0.026673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5584-3_0_3_line_41 |  | 39 | 41 | 0.029074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5584-3_0_3_line_42 |  | 41 | 42 | 0.057466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5584-3_0_3_line_43 |  | 41 | 43 | 0.022277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5584-3_0_3_line_44 |  | 42 | 45 | 0.0082245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5584-3_0_3_line_45 |  | 42 | 46 | 0.027422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5584-3_0_3_line_46 |  | 43 | 44 | 0.032185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5584-3_0_3_line_47 |  | 45 | 49 | 0.0043645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5584-3_0_3_line_48 |  | 46 | 85 | 0.026505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5584-3_0_3_line_49 |  | 47 | 48 | 0.024956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5584-3_0_3_line_50 |  | 47 | 49 | 0.046472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5584-3_0_3_line_51 |  | 49 | 50 | 0.004486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5584-3_0_3_line_52 |  | 50 | 51 | 0.01154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5584-3_0_3_line_53 |  | 50 | 52 | 0.028757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5584-3_0_3_line_54 |  | 51 | 62 | 0.018504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5584-3_0_3_line_55 |  | 51 | 56 | 0.003465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5584-3_0_3_line_56 |  | 52 | 53 | 0.015591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5584-3_0_3_line_57 |  | 53 | 54 | 0.012492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5584-3_0_3_line_58 |  | 54 | 55 | 0.026706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5584-3_0_3_line_59 |  | 55 | 69 | 0.018857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5584-3_0_3_line_60 |  | 56 | 57 | 0.021418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5584-3_0_3_line_61 |  | 57 | 75 | 0.023673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5584-3_0_3_line_62 |  | 58 | 59 | 0.093241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5584-3_0_3_line_63 |  | 58 | 60 | 0.044921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5584-3_0_3_line_64 |  | 58 | 61 | 0.0071406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5584-3_0_3_line_65 |  | 59 | 93 | 0.070919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5584-3_0_3_line_66 |  | 60 | 63 | 0.041601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5584-3_0_3_line_67 |  | 61 | 64 | 0.005502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5584-3_0_3_line_68 |  | 61 | 65 | 0.040353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5584-3_0_3_line_69 |  | 61 | 66 | 0.022794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5584-3_0_3_line_70 |  | 63 | 73 | 0.029686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5584-3_0_3_line_71 |  | 64 | 67 | 0.050808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5584-3_0_3_line_72 |  | 64 | 68 | 0.034112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5584-3_0_3_line_73 |  | 66 | 69 | 0.047899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5584-3_0_3_line_74 |  | 68 | 70 | 0.035312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5584-3_0_3_line_75 |  | 70 | 71 | 0.013326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5584-3_0_3_line_76 |  | 71 | 72 | 0.070168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5584-3_0_3_line_77 |  | 74 | 75 | 0.002579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5584-3_0_3_line_78 |  | 74 | 76 | 0.010923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5584-3_0_3_line_79 |  | 75 | 77 | 0.034004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5584-3_0_3_line_80 |  | 75 | 78 | 0.020056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5584-3_0_3_line_81 |  | 76 | 79 | 0.065301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5584-3_0_3_line_82 |  | 77 | 86 | 0.0282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5584-3_0_3_line_83 |  | 78 | 87 | 0.017234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5584-3_0_3_line_84 |  | 80 | 81 | 0.032614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5584-3_0_3_line_85 |  | 80 | 82 | 0.043403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5584-3_0_3_line_86 |  | 81 | 83 | 0.010382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5584-3_0_3_line_87 |  | 83 | 84 | 0.033836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5584-3_0_3_line_88 |  | 87 | 88 | 0.026907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5584-3_0_3_line_89 |  | 87 | 89 | 0.002513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5584-3_0_3_line_90 |  | 89 | 90 | 0.024039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5584-3_0_3_line_91 |  | 91 | 92 | 0.037629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5584-3_0_3_line_92 |  | 92 | 93 | 0.00035644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5584-3_0_3_trafo_66 | 0.63 MVA 20/0.4 kV | 94 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2540820.8041 | 1155827.863 | 2540827.602 | 1155819.1913
1 | 2540809.1684 | 1155855.1815 | 2540818.3711 | 1155830.9667 | 2540820.8041 | 1155827.863
2 | 2540827.602 | 1155819.1913 | 2540841.5497 | 1155801.3988
3 | 2540809.1684 | 1155855.1815 | 2540830.6728 | 1155865.9533 | 2540851.8937 | 1155879.863
4 | 2540809.1684 | 1155855.1815 | 2540793.7859 | 1155849.1178
5 | 2540809.1684 | 1155855.1815 | 2540795.3059 | 1155871.1712 | 2540787.2162 | 1155876.7243
6 | 2540843.1999 | 1155799.2938 | 2540841.5497 | 1155801.3988
7 | 2540851.8937 | 1155879.863 | 2540826.0616 | 1155897.9224
8 | 2540851.8937 | 1155879.863 | 2540860.7406 | 1155885.9476
9 | 2540764.1252 | 1155837.4256 | 2540793.7859 | 1155849.1178
10 | 2540762.6414 | 1155893.5934 | 2540787.2162 | 1155876.7243
11 | 2540826.0616 | 1155897.9224 | 2540825.4564 | 1155898.3455
12 | 2540867.3992 | 1155890.5272 | 2540860.7406 | 1155885.9476
13 | 2540748.6111 | 1155831.31 | 2540764.1252 | 1155837.4256
14 | 2540757.7109 | 1155896.9779 | 2540762.6414 | 1155893.5934
15 | 2540723.1637 | 1155805.5219 | 2540734.1725 | 1155791.4566
16 | 2540713.1032 | 1155818.3755 | 2540723.1637 | 1155805.5219
17 | 2540749.9676 | 1155771.2763 | 2540734.1725 | 1155791.4566
18 | 2540713.1032 | 1155818.3755 | 2540744.4473 | 1155829.8391 | 2540748.6111 | 1155831.31
19 | 2540713.1032 | 1155818.3755 | 2540694.7502 | 1155814.5545
20 | 2540755.5719 | 1155764.1162 | 2540749.9676 | 1155771.2763
21 | 2540748.6111 | 1155831.31 | 2540722.5357 | 1155858.5589
22 | 2540694.7502 | 1155814.5545 | 2540679.1594 | 1155837.2429 | 2540669.4552 | 1155848.3606
23 | 2540706.4791 | 1155875.3382 | 2540722.5357 | 1155858.5589
24 | 2540651.0392 | 1155869.4593 | 2540669.4552 | 1155848.3606
25 | 2540579.816 | 1155946.9871 | 2540601.3568 | 1155927.827
26 | 2540601.3568 | 1155927.827 | 2540601.3568 | 1155927.827 | 2540620.034 | 1155905.6114
27 | 2540634.4378 | 1155888.4789 | 2540620.034 | 1155905.6114
28 | 2540634.4378 | 1155888.4789 | 2540658.6828 | 1155910.3512
29 | 2540634.4378 | 1155888.4789 | 2540651.0392 | 1155869.4593
30 | 2540825.4564 | 1155898.3455 | 2540800.58 | 1155915.7369
31 | 2540800.58 | 1155915.7369 | 2540799.8611 | 1155916.2395 | 2540776.33 | 1155931.1824
32 | 2540776.33 | 1155931.1824 | 2540751.374 | 1155947.0302
33 | 2540751.374 | 1155947.0302 | 2540743.4369 | 1155952.0705 | 2540729.4571 | 1155953.0312 | 2540723.6383 | 1155956.3708
34 | 2540751.374 | 1155947.0302 | 2540764.9468 | 1155982.8639
35 | 2540723.6383 | 1155956.3708 | 2540716.3704 | 1155960.5421 | 2540714.4997 | 1155967.1123
36 | 2540764.9468 | 1155982.8639 | 2540767.5795 | 1155986.0265
37 | 2540714.4997 | 1155967.1123 | 2540712.3899 | 1155974.5223 | 2540715.6175 | 1155986.3718
38 | 2540715.6175 | 1155986.3718 | 2540711.459 | 1156023.947
39 | 2540867.3992 | 1155890.5272 | 2540881.8444 | 1155872.4871
40 | 2540898.5158 | 1155851.6668 | 2540881.8444 | 1155872.4871
41 | 2540867.3992 | 1155890.5272 | 2540886.7489 | 1155912.2707
42 | 2540886.7489 | 1155912.2707 | 2540889.789 | 1155915.6871 | 2540921.7797 | 1155957.873
43 | 2540886.7489 | 1155912.2707 | 2540906.2151 | 1155901.4385
44 | 2540921.7797 | 1155957.873 | 2540926.7495 | 1155964.4261
45 | 2540921.7797 | 1155957.873 | 2540914.15 | 1155958.8041 | 2540908.5545 | 1155954.4568 | 2540905.6737 | 1155953.9737 | 2540897.8213 | 1155959.7179
46 | 2540934.3389 | 1155885.7885 | 2540906.2151 | 1155901.4385
47 | 2540929.3868 | 1155967.9036 | 2540926.7495 | 1155964.4261
48 | 2540878.1271 | 1155976.8015 | 2540880.2406 | 1155972.5784 | 2540897.8213 | 1155959.7179
49 | 2540949.346 | 1155912.0662 | 2540929.614 | 1155927.346
50 | 2540929.3868 | 1155967.9036 | 2540930.3183 | 1155963.581 | 2540922.7819 | 1155949.0473 | 2540920.6391 | 1155944.0657 | 2540920.594 | 1155939.4747 | 2540921.9472 | 1155935.148 | 2540923.87 | 1155931.794 | 2540929.614 | 1155927.346
51 | 2540929.3868 | 1155967.9036 | 2540931.9463 | 1155971.5916
52 | 2540931.9463 | 1155971.5916 | 2540934.918 | 1155975.8535 | 2540937.2997 | 1155981.7333
53 | 2540931.9463 | 1155971.5916 | 2540933.5909 | 1155970.3636 | 2540935.8638 | 1155970.6414 | 2540951.2905 | 1155958.5055 | 2540955.0333 | 1155955.5211
54 | 2540937.2997 | 1155981.7333 | 2540946.4583 | 1155997.812
55 | 2540934.4586 | 1155983.729 | 2540937.2997 | 1155981.7333
56 | 2540967.2233 | 1155945.8015 | 2540955.0333 | 1155955.5211
57 | 2540967.2233 | 1155945.8015 | 2540976.9907 | 1155938.0135
58 | 2540976.9907 | 1155938.0135 | 2540983.9141 | 1155932.4932 | 2540997.7847 | 1155921.2567
59 | 2540997.7847 | 1155921.2567 | 2541003.6822 | 1155916.4793 | 2541012.4459 | 1155909.3978
60 | 2540934.4586 | 1155983.729 | 2540940.4053 | 1155993.3757 | 2540945.5451 | 1156002.0531
61 | 2540957.5487 | 1156022.4562 | 2540955.5742 | 1156018.9849 | 2540945.5451 | 1156002.0531
62 | 2541125.7713 | 1155941.2395 | 2541119.6136 | 1155942.1225 | 2541116.0845 | 1155938.8776 | 2541070.987 | 1155870.0271
63 | 2541070.987 | 1155870.0271 | 2541063.9293 | 1155876.1107 | 2541036.7061 | 1155899.168
64 | 2541066.8268 | 1155864.2315 | 2541069.0404 | 1155867.0557 | 2541070.987 | 1155870.0271
65 | 2541125.7713 | 1155941.2395 | 2541135.3721 | 1156011.5055
66 | 2541036.7061 | 1155899.168 | 2541047.8649 | 1155926.4621 | 2541047.8104 | 1155928.7305 | 2541046.0948 | 1155931.3154 | 2541041.8238 | 1155936.532
67 | 2541066.8268 | 1155864.2315 | 2541070.9711 | 1155860.6
68 | 2541038.0204 | 1155836.966 | 2541045.9142 | 1155840.257 | 2541057.5219 | 1155852.3385 | 2541066.8268 | 1155864.2315
69 | 2541066.8268 | 1155864.2315 | 2541064.4995 | 1155866.222 | 2541049.3724 | 1155878.8917
70 | 2541023.0179 | 1155959.5015 | 2541041.8238 | 1155936.532
71 | 2541043.3574 | 1155821.2274 | 2541041.939 | 1155829.09 | 2541061.9694 | 1155849.9047 | 2541070.9711 | 1155860.6
72 | 2541070.9711 | 1155860.6 | 2541084.9822 | 1155848.7339 | 2541096.8624 | 1155838.3921
73 | 2541012.4459 | 1155909.3978 | 2541026.7456 | 1155897.8428 | 2541049.3724 | 1155878.8917
74 | 2541123.4848 | 1155815.194 | 2541118.4354 | 1155819.6126 | 2541096.8624 | 1155838.3921
75 | 2541123.4848 | 1155815.194 | 2541126.2205 | 1155817.3017 | 2541121.8706 | 1155821.0908 | 2541125.2678 | 1155823.3921
76 | 2541125.2678 | 1155823.3921 | 2541183.358 | 1155862.7505
77 | 2540959.604 | 1156020.8907 | 2540957.5487 | 1156022.4562
78 | 2540965.0123 | 1156030.3871 | 2540959.604 | 1156020.8907
79 | 2540957.5487 | 1156022.4562 | 2540930.4924 | 1156043.0536
80 | 2540957.5487 | 1156022.4562 | 2540967.4738 | 1156039.8842
81 | 2541006.2742 | 1155979.6879 | 2540965.0123 | 1156030.3871
82 | 2540930.4924 | 1156043.0536 | 2540908.0548 | 1156060.1349
83 | 2540976.0435 | 1156054.8364 | 2540971.9473 | 1156047.7395 | 2540967.4738 | 1156039.8842
84 | 2540816.7353 | 1156045.0771 | 2540795.8695 | 1156020.0111
85 | 2540853.9373 | 1156022.7199 | 2540816.7353 | 1156045.0771
86 | 2540789.2271 | 1156012.0317 | 2540795.8695 | 1156020.0111
87 | 2540767.5795 | 1155986.0265 | 2540789.2271 | 1156012.0317
88 | 2540976.0435 | 1156054.8364 | 2540953.0886 | 1156068.8745
89 | 2540978.1934 | 1156053.5257 | 2540976.0435 | 1156054.8364
90 | 2540978.1934 | 1156053.5257 | 2540990.0509 | 1156074.4363
91 | 2541116.2575 | 1156044.3313 | 2541135.1927 | 1156011.8135
92 | 2541135.3721 | 1156011.5055 | 2541135.1927 | 1156011.8135

## bus_geodata
| x | y | coords
0 | 2540820.8041 | 1155827.863
1 | 2540827.602 | 1155819.1913
2 | 2540809.1684 | 1155855.1815
3 | 2540841.5497 | 1155801.3988
4 | 2540851.8937 | 1155879.863
5 | 2540793.7859 | 1155849.1178
6 | 2540787.2162 | 1155876.7243
7 | 2540843.1999 | 1155799.2938
8 | 2540826.0616 | 1155897.9224
9 | 2540860.7406 | 1155885.9476
10 | 2540764.1252 | 1155837.4256
11 | 2540762.6414 | 1155893.5934
12 | 2540723.1637 | 1155805.5219
13 | 2540734.1725 | 1155791.4566
14 | 2540713.1032 | 1155818.3755
15 | 2540749.9676 | 1155771.2763
16 | 2540748.6111 | 1155831.31
17 | 2540694.7502 | 1155814.5545
18 | 2540755.5719 | 1155764.1162
19 | 2540722.5357 | 1155858.5589
20 | 2540669.4552 | 1155848.3606
21 | 2540706.4791 | 1155875.3382
22 | 2540579.816 | 1155946.9871
23 | 2540601.3568 | 1155927.827
24 | 2540620.034 | 1155905.6114
25 | 2540634.4378 | 1155888.4789
26 | 2540658.6828 | 1155910.3512
27 | 2540651.0392 | 1155869.4593
28 | 2540757.7109 | 1155896.9779
29 | 2540825.4564 | 1155898.3455
30 | 2540800.58 | 1155915.7369
31 | 2540776.33 | 1155931.1824
32 | 2540751.374 | 1155947.0302
33 | 2540723.6383 | 1155956.3708
34 | 2540764.9468 | 1155982.8639
35 | 2540714.4997 | 1155967.1123
36 | 2540715.6175 | 1155986.3718
37 | 2540711.459 | 1156023.947
38 | 2540881.8444 | 1155872.4871
39 | 2540867.3992 | 1155890.5272
40 | 2540898.5158 | 1155851.6668
41 | 2540886.7489 | 1155912.2707
42 | 2540921.7797 | 1155957.873
43 | 2540906.2151 | 1155901.4385
44 | 2540934.3389 | 1155885.7885
45 | 2540926.7495 | 1155964.4261
46 | 2540897.8213 | 1155959.7179
47 | 2540929.614 | 1155927.346
48 | 2540949.346 | 1155912.0662
49 | 2540929.3868 | 1155967.9036
50 | 2540931.9463 | 1155971.5916
51 | 2540937.2997 | 1155981.7333
52 | 2540955.0333 | 1155955.5211
53 | 2540967.2233 | 1155945.8015
54 | 2540976.9907 | 1155938.0135
55 | 2540997.7847 | 1155921.2567
56 | 2540934.4586 | 1155983.729
57 | 2540945.5451 | 1156002.0531
58 | 2541070.987 | 1155870.0271
59 | 2541125.7713 | 1155941.2395
60 | 2541036.7061 | 1155899.168
61 | 2541066.8268 | 1155864.2314
62 | 2540946.4583 | 1155997.812
63 | 2541041.8238 | 1155936.532
64 | 2541070.9711 | 1155860.6
65 | 2541038.0204 | 1155836.966
66 | 2541049.3724 | 1155878.8917
67 | 2541043.3574 | 1155821.2274
68 | 2541096.8624 | 1155838.3921
69 | 2541012.4459 | 1155909.3978
70 | 2541123.4848 | 1155815.194
71 | 2541125.2678 | 1155823.3921
72 | 2541183.358 | 1155862.7505
73 | 2541023.0179 | 1155959.5015
74 | 2540959.604 | 1156020.8907
75 | 2540957.5487 | 1156022.4562
76 | 2540965.0123 | 1156030.3871
77 | 2540930.4924 | 1156043.0536
78 | 2540967.4738 | 1156039.8842
79 | 2541006.2742 | 1155979.6879
80 | 2540816.7353 | 1156045.0771
81 | 2540795.8695 | 1156020.0111
82 | 2540853.9373 | 1156022.7199
83 | 2540789.2271 | 1156012.0317
84 | 2540767.5795 | 1155986.0265
85 | 2540878.1271 | 1155976.8015
86 | 2540908.0548 | 1156060.1349
87 | 2540976.0435 | 1156054.8364
88 | 2540953.0886 | 1156068.8745
89 | 2540978.1934 | 1156053.5257
90 | 2540990.0509 | 1156074.4363
91 | 2541116.2575 | 1156044.3313
92 | 2541135.1927 | 1156011.8135
93 | 2541135.3721 | 1156011.5055
94 | 2540867.3992 | 1155890.5272

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1