## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5584-3_1_3_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_5584-3_1_3_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_5584-3_1_3_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_5584-3_1_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_5584-3_1_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_5584-3_1_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_5584-3_1_3_node_183 | 0.4 | n |  | TRUE
7 | bus_LV_5584-3_1_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_5584-3_1_3_node_190 | 0.4 | n |  | TRUE
9 | bus_LV_5584-3_1_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_5584-3_1_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_5584-3_1_3_node_194 | 0.4 | n |  | TRUE
12 | bus_LV_5584-3_1_3_node_173 | 0.4 | n |  | TRUE
13 | bus_LV_5584-3_1_3_node_191 | 0.4 | n |  | TRUE
14 | bus_LV_5584-3_1_3_node_195 | 0.4 | n |  | TRUE
15 | bus_LV_5584-3_1_3_node_174 | 0.4 | n |  | TRUE
16 | bus_LV_5584-3_1_3_node_172 | 0.4 | n |  | TRUE
17 | bus_LV_5584-3_1_3_node_192 | 0.4 | n |  | TRUE
18 | bus_LV_5584-3_1_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5584-3_1_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_5584-3_1_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_5584-3_1_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5584-3_1_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5584-3_1_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5584-3_1_3_node_199 | 0.4 | n |  | TRUE
25 | bus_LV_5584-3_1_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_5584-3_1_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_5584-3_1_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5584-3_1_3_node_207 | 0.4 | n |  | TRUE
29 | bus_LV_5584-3_1_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_5584-3_1_3_node_147 | 0.4 | n |  | TRUE
31 | bus_LV_5584-3_1_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_5584-3_1_3_node_146 | 0.4 | n |  | TRUE
33 | bus_LV_5584-3_1_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5584-3_1_3_node_179 | 0.4 | n |  | TRUE
35 | bus_LV_5584-3_1_3_node_180 | 0.4 | n |  | TRUE
36 | bus_LV_5584-3_1_3_node_184 | 0.4 | n |  | TRUE
37 | bus_LV_5584-3_1_3_node_176 | 0.4 | n |  | TRUE
38 | bus_LV_5584-3_1_3_node_177 | 0.4 | n |  | TRUE
39 | bus_LV_5584-3_1_3_node_181 | 0.4 | n |  | TRUE
40 | bus_LV_5584-3_1_3_node_185 | 0.4 | n |  | TRUE
41 | bus_LV_5584-3_1_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_5584-3_1_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_5584-3_1_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_5584-3_1_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5584-3_1_3_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5584-3_1_3_node_127 | 0.4 | n |  | TRUE
47 | bus_LV_5584-3_1_3_node_125 | 0.4 | n |  | TRUE
48 | bus_LV_5584-3_1_3_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_5584-3_1_3_node_107 | 0.4 | n |  | TRUE
50 | bus_LV_5584-3_1_3_node_87 | 0.4 | n |  | TRUE
51 | bus_LV_5584-3_1_3_node_104 | 0.4 | n |  | TRUE
52 | bus_LV_5584-3_1_3_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_5584-3_1_3_node_119 | 0.4 | n |  | TRUE
54 | bus_LV_5584-3_1_3_node_118 | 0.4 | n |  | TRUE
55 | bus_LV_5584-3_1_3_node_205 | 0.4 | n |  | TRUE
56 | bus_LV_5584-3_1_3_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_5584-3_1_3_node_140 | 0.4 | n |  | TRUE
58 | bus_LV_5584-3_1_3_node_110 | 0.4 | n |  | TRUE
59 | bus_LV_5584-3_1_3_node_138 | 0.4 | n |  | TRUE
60 | bus_LV_5584-3_1_3_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_5584-3_1_3_node_151 | 0.4 | n |  | TRUE
62 | bus_LV_5584-3_1_3_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_5584-3_1_3_node_121 | 0.4 | n |  | TRUE
64 | bus_LV_5584-3_1_3_node_122 | 0.4 | n |  | TRUE
65 | bus_LV_5584-3_1_3_node_120 | 0.4 | n |  | TRUE
66 | bus_LV_5584-3_1_3_node_149 | 0.4 | n |  | TRUE
67 | bus_LV_5584-3_1_3_node_204 | 0.4 | n |  | TRUE
68 | bus_LV_5584-3_1_3_node_162 | 0.4 | n |  | TRUE
69 | bus_LV_5584-3_1_3_node_164 | 0.4 | n |  | TRUE
70 | bus_LV_5584-3_1_3_node_166 | 0.4 | n |  | TRUE
71 | bus_LV_5584-3_1_3_node_168 | 0.4 | n |  | TRUE
72 | bus_LV_5584-3_1_3_node_143 | 0.4 | n |  | TRUE
73 | bus_LV_5584-3_1_3_node_139 | 0.4 | n |  | TRUE
74 | bus_LV_5584-3_1_3_node_128 | 0.4 | n |  | TRUE
75 | bus_LV_5584-3_1_3_node_131 | 0.4 | n |  | TRUE
76 | bus_LV_5584-3_1_3_node_123 | 0.4 | n |  | TRUE
77 | bus_LV_5584-3_1_3_node_124 | 0.4 | n |  | TRUE
78 | bus_LV_5584-3_1_3_node_126 | 0.4 | n |  | TRUE
79 | bus_LV_5584-3_1_3_node_129 | 0.4 | n |  | TRUE
80 | bus_LV_5584-3_1_3_node_130 | 0.4 | n |  | TRUE
81 | bus_LV_5584-3_1_3_node_134 | 0.4 | n |  | TRUE
82 | bus_LV_5584-3_1_3_node_200 | 0.4 | n |  | TRUE
83 | bus_LV_5584-3_1_3_node_136 | 0.4 | n |  | TRUE
84 | bus_LV_5584-3_1_3_node_132 | 0.4 | n |  | TRUE
85 | bus_LV_5584-3_1_3_node_133 | 0.4 | n |  | TRUE
86 | bus_LV_5584-3_1_3_node_135 | 0.4 | n |  | TRUE
87 | bus_LV_5584-3_1_3_node_137 | 0.4 | n |  | TRUE
88 | bus_LV_5584-3_1_3_node_142 | 0.4 | n |  | TRUE
89 | bus_LV_5584-3_1_3_node_141 | 0.4 | n |  | TRUE
90 | bus_LV_5584-3_1_3_node_144 | 0.4 | n |  | TRUE
91 | bus_LV_5584-3_1_3_node_145 | 0.4 | n |  | TRUE
92 | bus_LV_5584-3_1_3_node_148 | 0.4 | n |  | TRUE
93 | bus_LV_5584-3_1_3_node_150 | 0.4 | n |  | TRUE
94 | bus_LV_5584-3_1_3_node_156 | 0.4 | n |  | TRUE
95 | bus_LV_5584-3_1_3_node_159 | 0.4 | n |  | TRUE
96 | bus_LV_5584-3_1_3_node_170 | 0.4 | n |  | TRUE
97 | bus_LV_5584-3_1_3_node_161 | 0.4 | n |  | TRUE
98 | bus_LV_5584-3_1_3_node_171 | 0.4 | n |  | TRUE
99 | bus_LV_5584-3_1_3_node_163 | 0.4 | n |  | TRUE
100 | bus_LV_5584-3_1_3_node_165 | 0.4 | n |  | TRUE
101 | bus_LV_5584-3_1_3_node_178 | 0.4 | n |  | TRUE
102 | bus_LV_5584-3_1_3_node_167 | 0.4 | n |  | TRUE
103 | bus_LV_5584-3_1_3_node_169 | 0.4 | n |  | TRUE
104 | bus_LV_5584-3_1_3_node_175 | 0.4 | n |  | TRUE
105 | bus_LV_5584-3_1_3_node_182 | 0.4 | n |  | TRUE
106 | bus_LV_5584-3_1_3_node_188 | 0.4 | n |  | TRUE
107 | bus_LV_5584-3_1_3_node_186 | 0.4 | n |  | TRUE
108 | bus_LV_5584-3_1_3_node_187 | 0.4 | n |  | TRUE
109 | bus_LV_5584-3_1_3_node_189 | 0.4 | n |  | TRUE
110 | bus_MV_366_2_node_210 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5584-3_1_3_load_8 | 0 | 0.0020643 | 0.00051737 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5584-3_1_3_load_9 | 1 | 0.0061413 | 0.0015392 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5584-3_1_3_load_10 | 2 | 0.0021426 | 0.00053699 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5584-3_1_3_load_11 | 3 | 0.0035462 | 0.00088876 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5584-3_1_3_load_13 | 5 | 0.0056723 | 0.0014216 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5584-3_1_3_load_183 | 6 | 0.0018222 | 0.00045669 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5584-3_1_3_load_190 | 8 | 0.001823 | 0.00045689 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5584-3_1_3_load_25 | 9 | 0.0021646 | 0.00054251 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5584-3_1_3_load_191 | 13 | 0.0042084 | 0.0010547 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5584-3_1_3_load_195 | 14 | 0.0077107 | 0.0019325 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5584-3_1_3_load_174 | 15 | 0.0020912 | 0.00052411 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5584-3_1_3_load_172 | 16 | 0.001446 | 0.00036241 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5584-3_1_3_load_192 | 17 | 0.0040872 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5584-3_1_3_load_16 | 18 | 0.0018885 | 0.0004733 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5584-3_1_3_load_17 | 19 | 0.0020582 | 0.00051583 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5584-3_1_3_load_18 | 20 | 0.0018769 | 0.00047039 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5584-3_1_3_load_19 | 21 | 0.0014245 | 0.00035702 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5584-3_1_3_load_20 | 22 | 0.0014628 | 0.00036661 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5584-3_1_3_load_21 | 23 | 0.0044406 | 0.0011129 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5584-3_1_3_load_199 | 24 | 0.0077565 | 0.001944 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5584-3_1_3_load_24 | 27 | 0.0053611 | 0.0013436 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5584-3_1_3_load_207 | 28 | 0.0013714 | 0.0003437 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5584-3_1_3_load_29 | 31 | 0.0017352 | 0.00043489 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5584-3_1_3_load_146 | 32 | 0.0030675 | 0.00076879 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5584-3_1_3_load_180 | 35 | 0.0017072 | 0.00042787 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5584-3_1_3_load_184 | 36 | 0.0039205 | 0.00098256 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5584-3_1_3_load_176 | 37 | 0.0035397 | 0.00088714 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5584-3_1_3_load_177 | 38 | 0.0026893 | 0.00067401 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5584-3_1_3_load_181 | 39 | 0.0021094 | 0.00052866 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5584-3_1_3_load_185 | 40 | 0.0011868 | 0.00029745 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5584-3_1_3_load_39 | 41 | 0.0020177 | 0.00050569 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5584-3_1_3_load_43 | 44 | 0.0017455 | 0.00043746 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5584-3_1_3_load_44 | 45 | 0.0019225 | 0.00048181 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5584-3_1_3_load_127 | 46 | 0.0083214 | 0.0020855 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5584-3_1_3_load_104 | 51 | 0.0011841 | 0.00029675 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5584-3_1_3_load_119 | 53 | 0.0041901 | 0.0010501 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5584-3_1_3_load_118 | 54 | 0.0050877 | 0.0012751 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5584-3_1_3_load_205 | 55 | 0.0039173 | 0.00098177 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5584-3_1_3_load_140 | 57 | 0.0025548 | 0.0006403 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5584-3_1_3_load_138 | 59 | 0.0044298 | 0.0011102 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5584-3_1_3_load_151 | 61 | 0.0012581 | 0.00031531 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5584-3_1_3_load_105 | 62 | 0.00091573 | 0.0002295 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5584-3_1_3_load_121 | 63 | 0.0049392 | 0.0012379 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5584-3_1_3_load_122 | 64 | 0.0072814 | 0.0018249 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5584-3_1_3_load_120 | 65 | 0.0060785 | 0.0015234 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5584-3_1_3_load_149 | 66 | 0.0018469 | 0.00046288 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5584-3_1_3_load_204 | 67 | 0.0029584 | 0.00074144 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5584-3_1_3_load_164 | 69 | 0.003373 | 0.00084534 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5584-3_1_3_load_168 | 71 | 0.001117 | 0.00027994 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5584-3_1_3_load_143 | 72 | 0.0035331 | 0.00088548 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5584-3_1_3_load_139 | 73 | 0.00086133 | 0.00021587 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5584-3_1_3_load_131 | 75 | 0.0023031 | 0.00057721 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5584-3_1_3_load_123 | 76 | 0.0032205 | 0.00080713 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5584-3_1_3_load_124 | 77 | 0.0060989 | 0.0015285 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5584-3_1_3_load_126 | 78 | 0.0073955 | 0.0018535 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5584-3_1_3_load_129 | 79 | 0.0063166 | 0.0015831 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5584-3_1_3_load_130 | 80 | 0.0065142 | 0.0016326 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5584-3_1_3_load_200 | 82 | 0.004729 | 0.0011852 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5584-3_1_3_load_136 | 83 | 0.0031306 | 0.00078461 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5584-3_1_3_load_132 | 84 | 0.0018584 | 0.00046577 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5584-3_1_3_load_133 | 85 | 0.0018554 | 0.00046502 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5584-3_1_3_load_135 | 86 | 0.0016828 | 0.00042174 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5584-3_1_3_load_137 | 87 | 0.0017981 | 0.00045064 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5584-3_1_3_load_141 | 89 | 0.0028532 | 0.00071507 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5584-3_1_3_load_144 | 90 | 0.003329 | 0.00083434 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5584-3_1_3_load_148 | 92 | 0.00085267 | 0.0002137 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5584-3_1_3_load_150 | 93 | 0.00396 | 0.00099248 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5584-3_1_3_load_156 | 94 | 0.0010281 | 0.00025768 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5584-3_1_3_load_159 | 95 | 0.0022599 | 0.00056638 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5584-3_1_3_load_170 | 96 | 0.0017061 | 0.00042759 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5584-3_1_3_load_161 | 97 | 0.001885 | 0.00047242 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5584-3_1_3_load_171 | 98 | 0.0026953 | 0.0006755 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5584-3_1_3_load_163 | 99 | 0.0022841 | 0.00057245 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5584-3_1_3_load_165 | 100 | 0.0036959 | 0.00092627 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5584-3_1_3_load_178 | 101 | 0.0036202 | 0.0009073 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5584-3_1_3_load_167 | 102 | 0.0033423 | 0.00083766 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5584-3_1_3_load_169 | 103 | 0.001448 | 0.0003629 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5584-3_1_3_load_175 | 104 | 0.00085835 | 0.00021512 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5584-3_1_3_load_182 | 105 | 0.0015558 | 0.00038992 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5584-3_1_3_load_188 | 106 | 0.00074141 | 0.00018581 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5584-3_1_3_load_186 | 107 | 0.001046 | 0.00026214 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5584-3_1_3_load_187 | 108 | 0.0015586 | 0.00039062 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5584-3_1_3_load_189 | 109 | 0.000741 | 0.00018571 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5584-3_1_3_line_0 |  | 0 | 1 | 0.026739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5584-3_1_3_line_1 |  | 0 | 2 | 0.028245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5584-3_1_3_line_2 |  | 1 | 3 | 0.0034136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5584-3_1_3_line_3 |  | 2 | 4 | 0.0095343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5584-3_1_3_line_4 |  | 3 | 5 | 0.028973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5584-3_1_3_line_5 |  | 4 | 6 | 0.029721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5584-3_1_3_line_6 |  | 4 | 7 | 0.022248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5584-3_1_3_line_7 |  | 6 | 8 | 0.00768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5584-3_1_3_line_8 |  | 7 | 9 | 0.024196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5584-3_1_3_line_9 |  | 8 | 106 | 0.023044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5584-3_1_3_line_10 |  | 9 | 29 | 0.016045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5584-3_1_3_line_11 |  | 10 | 11 | 0.031855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5584-3_1_3_line_12 |  | 10 | 12 | 0.009831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5584-3_1_3_line_13 |  | 10 | 13 | 0.0166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5584-3_1_3_line_14 |  | 11 | 14 | 0.037118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5584-3_1_3_line_15 |  | 12 | 15 | 0.047981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5584-3_1_3_line_16 |  | 12 | 16 | 0.00403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5584-3_1_3_line_17 |  | 13 | 17 | 0.044204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5584-3_1_3_line_18 |  | 15 | 104 | 0.014023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5584-3_1_3_line_19 |  | 16 | 98 | 0.018757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5584-3_1_3_line_20 |  | 18 | 19 | 0.0098822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5584-3_1_3_line_21 |  | 18 | 20 | 0.019122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_5584-3_1_3_line_22 |  | 19 | 21 | 0.010818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5584-3_1_3_line_23 |  | 20 | 22 | 0.022453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5584-3_1_3_line_24 |  | 21 | 23 | 0.041231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5584-3_1_3_line_25 |  | 22 | 24 | 0.036715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5584-3_1_3_line_26 |  | 23 | 25 | 0.026555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5584-3_1_3_line_27 |  | 24 | 71 | 0.0052909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5584-3_1_3_line_28 |  | 25 | 26 | 0.013686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5584-3_1_3_line_29 |  | 25 | 27 | 0.0047278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5584-3_1_3_line_30 |  | 26 | 28 | 0.049328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5584-3_1_3_line_31 |  | 26 | 29 | 0.034647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5584-3_1_3_line_32 |  | 27 | 30 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_5584-3_1_3_line_33 |  | 29 | 31 | 0.02131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5584-3_1_3_line_34 |  | 30 | 32 | 0.038373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5584-3_1_3_line_35 |  | 31 | 36 | 0.0063756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5584-3_1_3_line_36 |  | 32 | 91 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5584-3_1_3_line_37 |  | 33 | 34 | 0.009614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5584-3_1_3_line_38 |  | 33 | 35 | 0.0099788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5584-3_1_3_line_39 |  | 34 | 37 | 0.0064332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5584-3_1_3_line_40 |  | 34 | 38 | 0.028139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5584-3_1_3_line_41 |  | 35 | 39 | 0.031427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5584-3_1_3_line_42 |  | 36 | 40 | 0.033276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5584-3_1_3_line_43 |  | 37 | 104 | 0.055606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5584-3_1_3_line_44 |  | 38 | 103 | 0.018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5584-3_1_3_line_45 |  | 39 | 105 | 0.00070821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5584-3_1_3_line_46 |  | 40 | 107 | 0.032632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5584-3_1_3_line_47 |  | 41 | 42 | 0.074348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5584-3_1_3_line_48 |  | 41 | 43 | 0.02629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5584-3_1_3_line_49 |  | 42 | 44 | 0.093258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5584-3_1_3_line_50 |  | 43 | 45 | 0.0034206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5584-3_1_3_line_51 |  | 44 | 46 | 0.028745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5584-3_1_3_line_52 |  | 46 | 47 | 0.029821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5584-3_1_3_line_53 |  | 47 | 74 | 0.008751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5584-3_1_3_line_54 |  | 47 | 76 | 0.012763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5584-3_1_3_line_55 |  | 48 | 49 | 0.01002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5584-3_1_3_line_56 |  | 48 | 50 | 0.007324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5584-3_1_3_line_57 |  | 48 | 51 | 0.01586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5584-3_1_3_line_58 |  | 49 | 55 | 0.058301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5584-3_1_3_line_59 |  | 50 | 52 | 0.042844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5584-3_1_3_line_60 |  | 51 | 62 | 0.048835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5584-3_1_3_line_61 |  | 52 | 53 | 0.037744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5584-3_1_3_line_62 |  | 52 | 54 | 0.025882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5584-3_1_3_line_63 |  | 55 | 70 | 0.020227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5584-3_1_3_line_64 |  | 55 | 71 | 0.032344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5584-3_1_3_line_65 |  | 56 | 57 | 0.013087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5584-3_1_3_line_66 |  | 56 | 58 | 0.020589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5584-3_1_3_line_67 |  | 56 | 59 | 0.041009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5584-3_1_3_line_68 |  | 57 | 72 | 0.028449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5584-3_1_3_line_69 |  | 58 | 63 | 0.004433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5584-3_1_3_line_70 |  | 58 | 64 | 0.021948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5584-3_1_3_line_71 |  | 58 | 65 | 0.0049861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5584-3_1_3_line_72 |  | 59 | 73 | 0.017703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5584-3_1_3_line_73 |  | 60 | 61 | 0.041221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5584-3_1_3_line_74 |  | 60 | 62 | 0.04164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5584-3_1_3_line_75 |  | 61 | 66 | 0.020709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5584-3_1_3_line_76 |  | 64 | 74 | 0.013682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5584-3_1_3_line_77 |  | 66 | 92 | 0.010154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5584-3_1_3_line_78 |  | 67 | 68 | 0.019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5584-3_1_3_line_79 |  | 67 | 69 | 0.012514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5584-3_1_3_line_80 |  | 68 | 99 | 0.026605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5584-3_1_3_line_81 |  | 68 | 94 | 0.030622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5584-3_1_3_line_82 |  | 68 | 97 | 0.022164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5584-3_1_3_line_83 |  | 69 | 70 | 0.020374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5584-3_1_3_line_84 |  | 72 | 88 | 0.026521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5584-3_1_3_line_85 |  | 74 | 75 | 0.030519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5584-3_1_3_line_86 |  | 75 | 81 | 0.0038862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5584-3_1_3_line_87 |  | 76 | 77 | 0.041544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5584-3_1_3_line_88 |  | 77 | 78 | 0.0089928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5584-3_1_3_line_89 |  | 78 | 79 | 0.020608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5584-3_1_3_line_90 |  | 79 | 80 | 0.01383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5584-3_1_3_line_91 |  | 80 | 82 | 0.024694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5584-3_1_3_line_92 |  | 81 | 83 | 0.020293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5584-3_1_3_line_93 |  | 81 | 84 | 0.028249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5584-3_1_3_line_94 |  | 84 | 85 | 0.014571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5584-3_1_3_line_95 |  | 85 | 86 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5584-3_1_3_line_96 |  | 86 | 87 | 0.0087646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5584-3_1_3_line_97 |  | 88 | 90 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5584-3_1_3_line_98 |  | 88 | 89 | 0.017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5584-3_1_3_line_99 |  | 90 | 91 | 0.032905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5584-3_1_3_line_100 |  | 92 | 93 | 0.029522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5584-3_1_3_line_101 |  | 95 | 96 | 0.025989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5584-3_1_3_line_102 |  | 96 | 98 | 0.040573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5584-3_1_3_line_103 |  | 99 | 100 | 0.031781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5584-3_1_3_line_104 |  | 100 | 101 | 0.025718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5584-3_1_3_line_105 |  | 101 | 102 | 0.025673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5584-3_1_3_line_106 |  | 102 | 103 | 0.0132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5584-3_1_3_line_107 |  | 106 | 108 | 0.0066603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5584-3_1_3_line_108 |  | 108 | 109 | 0.00092671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5584-3_1_3_trafo_20 | 0.63 MVA 20/0.4 kV | 110 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2540928.2371 | 1156274.7785 | 2540954.5355 | 1156269.9442
1 | 2540900.3007 | 1156278.4313 | 2540910.144 | 1156278.1045 | 2540928.2371 | 1156274.7785
2 | 2540957.8928 | 1156269.327 | 2540954.5355 | 1156269.9442
3 | 2540890.7949 | 1156278.1059 | 2540895.3935 | 1156278.5943 | 2540900.3007 | 1156278.4313
4 | 2540957.8928 | 1156269.327 | 2540968.2246 | 1156267.4278 | 2540986.6272 | 1156265.8696
5 | 2540890.7949 | 1156278.1059 | 2540890.5816 | 1156285.2675 | 2540899.0945 | 1156306.156
6 | 2540868.6079 | 1156275.7452 | 2540890.7949 | 1156278.1059
7 | 2540899.0945 | 1156306.156 | 2540901.993 | 1156313.2681
8 | 2540868.6079 | 1156275.7452 | 2540845.7401 | 1156283.6509
9 | 2540910.69 | 1156334.6083 | 2540901.993 | 1156313.2681
10 | 2540830.576 | 1156288.8934 | 2540845.7401 | 1156283.6509
11 | 2541058.1406 | 1156160.7208 | 2541036.9664 | 1156164.6863 | 2541027.1765 | 1156168.1954
12 | 2541027.1765 | 1156168.1954 | 2541020.576 | 1156175.4974
13 | 2541027.1765 | 1156168.1954 | 2541027.6885 | 1156151.6036
14 | 2541058.1406 | 1156160.7208 | 2541091.0722 | 1156157.5851 | 2541095.1037 | 1156157.3652
15 | 2541020.576 | 1156175.4974 | 2541013.6266 | 1156183.192 | 2540995.8708 | 1156194.7504 | 2540980.5499 | 1156200.6743
16 | 2541020.576 | 1156175.4974 | 2541020.4397 | 1156173.3309 | 2541021.6968 | 1156171.9611
17 | 2541027.6885 | 1156151.6036 | 2541020.4785 | 1156128.0951 | 2541010.803 | 1156111.0323
18 | 2540980.5499 | 1156200.6743 | 2540967.4705 | 1156205.7315
19 | 2541021.6968 | 1156171.9611 | 2541024.1047 | 1156169.3373 | 2541024.8914 | 1156158.079 | 2541024.6079 | 1156154.1791
20 | 2540810.4276 | 1156233.2221 | 2540811.0502 | 1156223.3595
21 | 2540812.2551 | 1156204.2751 | 2540811.0502 | 1156223.3595
22 | 2540810.4276 | 1156233.2221 | 2540809.746 | 1156244.0186
23 | 2540811.6452 | 1156181.9444 | 2540813.039 | 1156191.8582 | 2540812.2551 | 1156204.2751
24 | 2540800.9995 | 1156283.6726 | 2540806.5472 | 1156273.1772 | 2540808.8997 | 1156257.4233 | 2540809.746 | 1156244.0186
25 | 2540811.6452 | 1156181.9444 | 2540835.0877 | 1156153.6872
26 | 2540784.7075 | 1156304.487 | 2540798.1828 | 1156289.0014 | 2540800.9995 | 1156283.6726
27 | 2540835.0877 | 1156153.6872 | 2540839.535 | 1156150.8209
28 | 2540784.7075 | 1156304.487 | 2540797.8518 | 1156300.5443
29 | 2540784.7075 | 1156304.487 | 2540780.0408 | 1156305.2443
30 | 2540797.9239 | 1156349.859 | 2540797.8518 | 1156300.5443
31 | 2540830.576 | 1156288.8934 | 2540799.6172 | 1156299.9154 | 2540797.8518 | 1156300.5443
32 | 2540768.5134 | 1156307.1148 | 2540780.0408 | 1156305.2443
33 | 2540830.576 | 1156288.8934 | 2540833.9036 | 1156291.9289 | 2540846.3222 | 1156303.2524
34 | 2540768.5134 | 1156307.1148 | 2540753.9534 | 1156305.9243 | 2540740.2529 | 1156300.9012 | 2540732.2886 | 1156296.3518
35 | 2540846.3222 | 1156303.2524 | 2540851.0333 | 1156307.5482
36 | 2540721.2494 | 1156286.97 | 2540729.4244 | 1156294.7158 | 2540732.2886 | 1156296.3518
37 | 2540909.606 | 1156228.1051 | 2540900.5505 | 1156231.407
38 | 2540900.5505 | 1156231.407 | 2540897.2577 | 1156225.6696 | 2540894.0052 | 1156224.8123 | 2540894.0052 | 1156224.8123
39 | 2540909.606 | 1156228.1051 | 2540915.6063 | 1156225.785
40 | 2540909.606 | 1156228.1051 | 2540903.7453 | 1156200.5827
41 | 2540894.0052 | 1156224.8123 | 2540886.8758 | 1156226.6723 | 2540864.0421 | 1156234.2514
42 | 2540851.0333 | 1156307.5482 | 2540864.0222 | 1156319.3917 | 2540870.1566 | 1156330.2149 | 2540870.809 | 1156333.4059
43 | 2540915.6063 | 1156225.785 | 2540967.4705 | 1156205.7315
44 | 2540903.7453 | 1156200.5827 | 2540894.2974 | 1156185.1547
45 | 2540863.37 | 1156234.4745 | 2540864.0421 | 1156234.2514
46 | 2540870.809 | 1156333.4059 | 2540877.3449 | 1156365.3766
47 | 2540558.5409 | 1156003.3134 | 2540507.9625 | 1156057.8066
48 | 2540490.078 | 1156077.0754 | 2540507.9625 | 1156057.8066
49 | 2540558.5409 | 1156003.3134 | 2540590.4554 | 1156041.485 | 2540614.9227 | 1156077.4547
50 | 2540490.078 | 1156077.0754 | 2540487.751 | 1156079.5824
51 | 2540631.0897 | 1156101.2221 | 2540614.9227 | 1156077.4547
52 | 2540648.9477 | 1156125.052 | 2540640.7226 | 1156115.3836 | 2540631.0897 | 1156101.2221
53 | 2540654.6275 | 1156131.7217 | 2540648.9477 | 1156125.052
54 | 2540648.9477 | 1156125.052 | 2540653.843 | 1156120.6346 | 2540656.9617 | 1156115.3122
55 | 2540840.2207 | 1156071.3923 | 2540833.156 | 1156064.2691
56 | 2540828.2174 | 1156058.8704 | 2540830.3596 | 1156061.4507 | 2540833.156 | 1156064.2691
57 | 2540833.156 | 1156064.2691 | 2540826.4113 | 1156070.1609 | 2540821.2726 | 1156074.7718
58 | 2540840.2207 | 1156071.3923 | 2540850.0254 | 1156088.8607 | 2540860.8918 | 1156114.4453 | 2540853.0536 | 1156121.4373
59 | 2540796.4592 | 1156087.721 | 2540800.5047 | 1156084.2126 | 2540822.4162 | 1156063.9969 | 2540828.2174 | 1156058.8704
60 | 2540821.2726 | 1156074.7718 | 2540801.5068 | 1156092.5072 | 2540785.6373 | 1156106.3488 | 2540784.6824 | 1156107.1097
61 | 2540770.6764 | 1156060.6716 | 2540777.8346 | 1156064.8255 | 2540796.4592 | 1156087.721
62 | 2540796.4592 | 1156087.721 | 2540778.8095 | 1156103.0254 | 2540776.8498 | 1156104.6117
63 | 2540853.0536 | 1156121.4373 | 2540873.2566 | 1156122.4279
64 | 2540853.0536 | 1156121.4373 | 2540839.535 | 1156150.8209
65 | 2540687.5002 | 1156175.4096 | 2540692.2017 | 1156187.6224
66 | 2540679.1485 | 1156157.5713 | 2540681.901 | 1156160.6013 | 2540683.9751 | 1156161.7148 | 2540687.5002 | 1156175.4096
67 | 2540687.5002 | 1156175.4096 | 2540678.057 | 1156182.162 | 2540675.211 | 1156185.97 | 2540674.4921 | 1156190.057 | 2540677.2758 | 1156195.4658 | 2540677.7807 | 1156199.9966 | 2540676.444 | 1156202.878 | 2540671.4188 | 1156207.2758
68 | 2540692.2017 | 1156187.6224 | 2540694.4583 | 1156193.484 | 2540698.7177 | 1156207.7719 | 2540699.5914 | 1156214.9776
69 | 2540675.7408 | 1156160.4176 | 2540679.1485 | 1156157.5713
70 | 2540679.1485 | 1156157.5713 | 2540664.0437 | 1156141.6481
71 | 2540679.1485 | 1156157.5713 | 2540683.3555 | 1156154.895
72 | 2540658.0969 | 1156218.9345 | 2540671.4188 | 1156207.2758
73 | 2540750.9127 | 1156131.438 | 2540770.8102 | 1156167.5391
74 | 2540750.9127 | 1156131.438 | 2540761.4739 | 1156124.4968 | 2540779.9302 | 1156110.8964 | 2540784.6824 | 1156107.1097
75 | 2540770.9303 | 1156188.2476 | 2540770.8102 | 1156167.5391
76 | 2540654.6275 | 1156131.7217 | 2540664.0437 | 1156141.6481
77 | 2540770.9303 | 1156188.2476 | 2540770.9892 | 1156198.4019
78 | 2540893.9135 | 1156098.6229 | 2540913.0047 | 1156093.3879
79 | 2540893.9135 | 1156098.6229 | 2540889.7078 | 1156110.4087
80 | 2540913.0047 | 1156093.3879 | 2540925.9267 | 1156116.6435
81 | 2540913.0047 | 1156093.3879 | 2540901.8183 | 1156064.8825
82 | 2540913.0047 | 1156093.3879 | 2540931.9129 | 1156081.8245
83 | 2540873.2566 | 1156122.4279 | 2540889.7078 | 1156110.4087
84 | 2540702.7838 | 1156241.3054 | 2540699.5914 | 1156214.9776
85 | 2540654.6275 | 1156131.7217 | 2540629.8709 | 1156149.569
86 | 2540626.7185 | 1156151.8417 | 2540629.8709 | 1156149.569
87 | 2540677.5978 | 1156085.3473 | 2540663.3307 | 1156091.9921 | 2540665.3222 | 1156101.044 | 2540656.9617 | 1156115.3122
88 | 2540677.5978 | 1156085.3473 | 2540685.7498 | 1156081.5505
89 | 2540704.4314 | 1156072.8496 | 2540685.7498 | 1156081.5505
90 | 2540716.9681 | 1156067.0107 | 2540704.4314 | 1156072.8496
91 | 2540720.1102 | 1156045.3811 | 2540723.4849 | 1156059.7143 | 2540718.6637 | 1156066.2209 | 2540716.9681 | 1156067.0107
92 | 2540626.7185 | 1156151.8417 | 2540611.3922 | 1156165.1418
93 | 2540626.7185 | 1156151.8417 | 2540638.8805 | 1156170.3203 | 2540636.8605 | 1156176.1051
94 | 2540636.8605 | 1156176.1051 | 2540634.167 | 1156183.8186 | 2540629.5139 | 1156188.2138
95 | 2540629.5139 | 1156188.2138 | 2540621.5953 | 1156195.6934
96 | 2540621.5953 | 1156195.6934 | 2540615.2237 | 1156201.7118
97 | 2540702.7838 | 1156241.3054 | 2540706.0139 | 1156258.2445
98 | 2540702.7838 | 1156241.3054 | 2540697.1195 | 1156243.1845 | 2540687.9936 | 1156249.9591
99 | 2540721.2494 | 1156286.97 | 2540710.9217 | 1156272.4752 | 2540706.7469 | 1156262.0886 | 2540706.0139 | 1156258.2445
100 | 2540771.1604 | 1156227.9237 | 2540770.9892 | 1156198.4019
101 | 2540998.593 | 1156093.8709 | 2541011.7952 | 1156116.2568
102 | 2541011.7952 | 1156116.2568 | 2541017.3331 | 1156125.6469 | 2541020.6425 | 1156133.0739 | 2541024.1023 | 1156147.2254 | 2541024.6079 | 1156154.1791
103 | 2540925.9267 | 1156116.6435 | 2540926.8709 | 1156118.3428 | 2540934.7003 | 1156147.134
104 | 2540916.3568 | 1156165.1603 | 2540934.7003 | 1156147.134
105 | 2540916.3568 | 1156165.1603 | 2540891.6731 | 1156172.2181
106 | 2540894.2974 | 1156185.1547 | 2540891.6731 | 1156172.2181
107 | 2540913.2036 | 1156340.7761 | 2540910.69 | 1156334.6083
108 | 2540913.5533 | 1156341.6343 | 2540913.2036 | 1156340.7761

## bus_geodata
| x | y | coords
0 | 2540928.2371 | 1156274.7785
1 | 2540954.5355 | 1156269.9442
2 | 2540900.3007 | 1156278.4313
3 | 2540957.8928 | 1156269.327
4 | 2540890.7949 | 1156278.1059
5 | 2540986.6272 | 1156265.8696
6 | 2540899.0945 | 1156306.156
7 | 2540868.6079 | 1156275.7452
8 | 2540901.993 | 1156313.2681
9 | 2540845.7401 | 1156283.6509
10 | 2541027.1765 | 1156168.1954
11 | 2541058.1406 | 1156160.7208
12 | 2541020.576 | 1156175.4974
13 | 2541027.6885 | 1156151.6036
14 | 2541095.1037 | 1156157.3652
15 | 2540980.5499 | 1156200.6743
16 | 2541021.6968 | 1156171.9611
17 | 2541010.803 | 1156111.0323
18 | 2540811.0502 | 1156223.3595
19 | 2540810.4276 | 1156233.2221
20 | 2540812.2551 | 1156204.2751
21 | 2540809.746 | 1156244.0186
22 | 2540811.6452 | 1156181.9444
23 | 2540800.9995 | 1156283.6726
24 | 2540835.0877 | 1156153.6872
25 | 2540784.7075 | 1156304.487
26 | 2540797.8518 | 1156300.5443
27 | 2540780.0408 | 1156305.2443
28 | 2540797.9239 | 1156349.859
29 | 2540830.576 | 1156288.8934
30 | 2540768.5134 | 1156307.1148
31 | 2540846.3222 | 1156303.2524
32 | 2540732.2886 | 1156296.3518
33 | 2540900.5505 | 1156231.407
34 | 2540909.606 | 1156228.1051
35 | 2540894.0052 | 1156224.8123
36 | 2540851.0333 | 1156307.5482
37 | 2540915.6063 | 1156225.785
38 | 2540903.7453 | 1156200.5827
39 | 2540864.0421 | 1156234.2514
40 | 2540870.809 | 1156333.4059
41 | 2540507.9625 | 1156057.8066
42 | 2540558.5409 | 1156003.3134
43 | 2540490.078 | 1156077.0754
44 | 2540614.9227 | 1156077.4547
45 | 2540487.751 | 1156079.5824
46 | 2540631.0897 | 1156101.2221
47 | 2540648.9477 | 1156125.052
48 | 2540833.156 | 1156064.2691
49 | 2540840.2207 | 1156071.3923
50 | 2540828.2174 | 1156058.8704
51 | 2540821.2726 | 1156074.7718
52 | 2540796.4592 | 1156087.721
53 | 2540770.6764 | 1156060.6716
54 | 2540776.8498 | 1156104.6117
55 | 2540853.0536 | 1156121.4373
56 | 2540687.5002 | 1156175.4096
57 | 2540692.2017 | 1156187.6224
58 | 2540679.1485 | 1156157.5713
59 | 2540671.4188 | 1156207.2758
60 | 2540750.9127 | 1156131.438
61 | 2540770.8102 | 1156167.5391
62 | 2540784.6824 | 1156107.1097
63 | 2540675.7408 | 1156160.4176
64 | 2540664.0437 | 1156141.6481
65 | 2540683.3555 | 1156154.895
66 | 2540770.9303 | 1156188.2476
67 | 2540893.9135 | 1156098.6229
68 | 2540913.0047 | 1156093.3879
69 | 2540889.7078 | 1156110.4087
70 | 2540873.2566 | 1156122.4279
71 | 2540839.535 | 1156150.8209
72 | 2540699.5914 | 1156214.9776
73 | 2540658.0969 | 1156218.9345
74 | 2540654.6275 | 1156131.7217
75 | 2540629.8709 | 1156149.569
76 | 2540656.9617 | 1156115.3122
77 | 2540677.5978 | 1156085.3473
78 | 2540685.7498 | 1156081.5505
79 | 2540704.4314 | 1156072.8496
80 | 2540716.9681 | 1156067.0107
81 | 2540626.7185 | 1156151.8417
82 | 2540720.1102 | 1156045.3811
83 | 2540611.3922 | 1156165.1418
84 | 2540636.8605 | 1156176.1051
85 | 2540629.5139 | 1156188.2138
86 | 2540621.5953 | 1156195.6934
87 | 2540615.2237 | 1156201.7118
88 | 2540702.7838 | 1156241.3054
89 | 2540687.9936 | 1156249.9591
90 | 2540706.0139 | 1156258.2445
91 | 2540721.2494 | 1156286.97
92 | 2540770.9892 | 1156198.4019
93 | 2540771.1604 | 1156227.9237
94 | 2540901.8183 | 1156064.8825
95 | 2540998.593 | 1156093.8709
96 | 2541011.7952 | 1156116.2568
97 | 2540931.9129 | 1156081.8245
98 | 2541024.6079 | 1156154.1791
99 | 2540925.9267 | 1156116.6435
100 | 2540934.7003 | 1156147.134
101 | 2540916.3568 | 1156165.1603
102 | 2540891.6731 | 1156172.2181
103 | 2540894.2974 | 1156185.1547
104 | 2540967.4705 | 1156205.7315
105 | 2540863.37 | 1156234.4745
106 | 2540910.69 | 1156334.6083
107 | 2540877.3449 | 1156365.3766
108 | 2540913.2036 | 1156340.7761
109 | 2540913.5533 | 1156341.6343
110 | 2540784.7075 | 1156304.487

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1