## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5584-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5584-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5584-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5584-4_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5584-4_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5584-4_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5584-4_0_3_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_5584-4_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5584-4_0_3_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_5584-4_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_5584-4_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_5584-4_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_5584-4_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5584-4_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5584-4_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5584-4_0_3_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_5584-4_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_5584-4_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_5584-4_0_3_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_5584-4_0_3_node_49 | 0.4 | n |  | TRUE
20 | bus_LV_5584-4_0_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_5584-4_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_5584-4_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_5584-4_0_3_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_5584-4_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_5584-4_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_5584-4_0_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_5584-4_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5584-4_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5584-4_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5584-4_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5584-4_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_5584-4_0_3_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_5584-4_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_5584-4_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5584-4_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5584-4_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5584-4_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_5584-4_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5584-4_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_5584-4_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5584-4_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_5584-4_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_5584-4_0_3_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_5584-4_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_5584-4_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_5584-4_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_5584-4_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5584-4_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5584-4_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5584-4_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_MV_366_2_node_158 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5584-4_0_3_load_0 | 0 | 0.0024429 | 0.00061224 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5584-4_0_3_load_2 | 2 | 0.0044475 | 0.0011146 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5584-4_0_3_load_52 | 6 | 0.00086539 | 0.00021689 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5584-4_0_3_load_4 | 7 | 0.0068105 | 0.0017069 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5584-4_0_3_load_12 | 9 | 0.003823 | 0.00095812 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5584-4_0_3_load_13 | 10 | 0.0038028 | 0.00095308 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5584-4_0_3_load_11 | 11 | 0.0030959 | 0.00077589 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5584-4_0_3_load_14 | 13 | 0.0015935 | 0.00039936 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5584-4_0_3_load_32 | 15 | 0.0073082 | 0.0018316 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5584-4_0_3_load_27 | 16 | 0.09446 | 0.023674 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5584-4_0_3_load_53 | 18 | 0.0051805 | 0.0012984 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5584-4_0_3_load_33 | 20 | 0.0055367 | 0.0013876 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5584-4_0_3_load_34 | 21 | 0.0036742 | 0.00092085 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5584-4_0_3_load_47 | 23 | 0.0048267 | 0.0012097 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5584-4_0_3_load_16 | 24 | 0.0023775 | 0.00059585 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5584-4_0_3_load_17 | 25 | 0.0006118 | 0.00015333 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5584-4_0_3_load_51 | 26 | 0.0072534 | 0.0018179 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5584-4_0_3_load_18 | 27 | 0.0019224 | 0.0004818 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5584-4_0_3_load_19 | 28 | 0.0016809 | 0.00042128 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5584-4_0_3_load_20 | 29 | 0.00090889 | 0.00022779 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5584-4_0_3_load_21 | 30 | 0.0022433 | 0.00056222 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5584-4_0_3_load_29 | 31 | 0.0021586 | 0.000541 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5584-4_0_3_load_28 | 32 | 0.0056696 | 0.0014209 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5584-4_0_3_load_22 | 33 | 0.0018188 | 0.00045584 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5584-4_0_3_load_23 | 34 | 0.0024433 | 0.00061235 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5584-4_0_3_load_26 | 36 | 0.02362 | 0.0059197 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5584-4_0_3_load_31 | 38 | 0.0050191 | 0.0012579 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5584-4_0_3_load_37 | 39 | 0.0037688 | 0.00094455 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5584-4_0_3_load_36 | 40 | 0.0060183 | 0.0015083 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5584-4_0_3_load_45 | 41 | 0.0023236 | 0.00058234 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5584-4_0_3_load_39 | 42 | 0.0053115 | 0.0013312 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5584-4_0_3_load_42 | 45 | 0.004746 | 0.0011895 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5584-4_0_3_load_35 | 46 | 0.0025771 | 0.00064587 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5584-4_0_3_load_46 | 47 | 0.0017211 | 0.00043134 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5584-4_0_3_load_40 | 48 | 0.0099552 | 0.002495 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5584-4_0_3_load_41 | 49 | 0.0085248 | 0.0021365 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5584-4_0_3_load_48 | 50 | 0.0048573 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5584-4_0_3_line_0 |  | 0 | 1 | 0.045099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5584-4_0_3_line_1 |  | 0 | 2 | 0.0025237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5584-4_0_3_line_2 |  | 1 | 3 | 0.067818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5584-4_0_3_line_3 |  | 1 | 4 | 0.049025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5584-4_0_3_line_4 |  | 3 | 9 | 0.023691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5584-4_0_3_line_5 |  | 3 | 10 | 0.042495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5584-4_0_3_line_6 |  | 3 | 11 | 0.019044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5584-4_0_3_line_7 |  | 4 | 5 | 0.091806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5584-4_0_3_line_8 |  | 5 | 6 | 0.0804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5584-4_0_3_line_9 |  | 7 | 8 | 0.0071306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5584-4_0_3_line_10 |  | 8 | 17 | 0.32347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5584-4_0_3_line_11 |  | 8 | 12 | 0.0083838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5584-4_0_3_line_12 |  | 8 | 14 | 0.098707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5584-4_0_3_line_13 |  | 10 | 13 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5584-4_0_3_line_14 |  | 12 | 13 | 0.013979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5584-4_0_3_line_15 |  | 14 | 15 | 0.028637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5584-4_0_3_line_16 |  | 14 | 16 | 0.021436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5584-4_0_3_line_17 |  | 16 | 22 | 0.078541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5584-4_0_3_line_18 |  | 17 | 18 | 0.051953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5584-4_0_3_line_19 |  | 17 | 19 | 0.10988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5584-4_0_3_line_20 |  | 19 | 23 | 0.06283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5584-4_0_3_line_21 |  | 20 | 21 | 0.034457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5584-4_0_3_line_22 |  | 21 | 46 | 0.024484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5584-4_0_3_line_23 |  | 22 | 36 | 0.01166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_5584-4_0_3_line_24 |  | 22 | 33 | 0.068831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5584-4_0_3_line_25 |  | 23 | 50 | 0.070052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5584-4_0_3_line_26 |  | 24 | 25 | 0.082189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5584-4_0_3_line_27 |  | 24 | 26 | 0.13725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5584-4_0_3_line_28 |  | 25 | 27 | 0.010555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5584-4_0_3_line_29 |  | 27 | 28 | 0.053474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5584-4_0_3_line_30 |  | 28 | 29 | 0.041663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5584-4_0_3_line_31 |  | 29 | 30 | 0.006531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5584-4_0_3_line_32 |  | 30 | 31 | 0.010412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5584-4_0_3_line_33 |  | 31 | 32 | 0.0048148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5584-4_0_3_line_34 |  | 32 | 36 | 0.033053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5584-4_0_3_line_35 |  | 33 | 34 | 0.039723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5584-4_0_3_line_36 |  | 34 | 35 | 0.048454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5584-4_0_3_line_37 |  | 35 | 37 | 0.00333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5584-4_0_3_line_38 |  | 35 | 38 | 0.010951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5584-4_0_3_line_39 |  | 37 | 39 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5584-4_0_3_line_40 |  | 37 | 40 | 0.039216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5584-4_0_3_line_41 |  | 38 | 41 | 0.0012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5584-4_0_3_line_42 |  | 39 | 42 | 0.038766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5584-4_0_3_line_43 |  | 40 | 46 | 0.040529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5584-4_0_3_line_44 |  | 41 | 47 | 0.021075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5584-4_0_3_line_45 |  | 42 | 48 | 0.042701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5584-4_0_3_line_46 |  | 43 | 44 | 0.004066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5584-4_0_3_line_47 |  | 43 | 45 | 0.024329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5584-4_0_3_line_48 |  | 44 | 47 | 0.014848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5584-4_0_3_line_49 |  | 48 | 49 | 0.025105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5584-4_0_3_trafo_26 | 0.63 MVA 20/0.4 kV | 51 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35
0 | 2541215.9001 | 1155740.3044 | 2541219.4076 | 1155757.0013 | 2541221.0845 | 1155761.4206 | 2541223.5651 | 1155765.6764 | 2541226.6612 | 1155769.337 | 2541230.4104 | 1155772.3464 | 2541237.703 | 1155777.2405
1 | 2541239.7985 | 1155778.6468 | 2541237.703 | 1155777.2405
2 | 2541215.9001 | 1155740.3044 | 2541214.6524 | 1155736.6369 | 2541258.4932 | 1155695.108 | 2541256.4399 | 1155692.2043
3 | 2541181.8636 | 1155761.649 | 2541184.0632 | 1155764.6179 | 2541214.6524 | 1155736.6369 | 2541215.9001 | 1155740.3044
4 | 2541256.4399 | 1155692.2043 | 2541245.3278 | 1155671.281
5 | 2541256.4399 | 1155692.2043 | 2541273.0188 | 1155676.9673 | 2541274.8978 | 1155675.3814 | 2541276.6087 | 1155673.8639 | 2541283.6353 | 1155667.6919 | 2541288.19 | 1155663.9744
6 | 2541256.4399 | 1155692.2043 | 2541242.7376 | 1155705.4302
7 | 2541125.2678 | 1155823.3921 | 2541121.8706 | 1155821.0908 | 2541126.2205 | 1155817.3017 | 2541184.0632 | 1155764.6179 | 2541181.8636 | 1155761.649
8 | 2541193.1353 | 1155863.9604 | 2541186.1472 | 1155864.6403 | 2541125.2678 | 1155823.3921
9 | 2541316.4288 | 1155650.9181 | 2541310.7637 | 1155655.2484
10 | 2541316.4288 | 1155650.9181 | 2541321.5037 | 1155647.5111 | 2541323.6276 | 1155646.6566 | 2541325.505 | 1155646.4826 | 2541327.4321 | 1155646.6861 | 2541329.8851 | 1155647.3292 | 2541331.9116 | 1155648.2877 | 2541334.8584 | 1155650.0154 | 2541338.615 | 1155645.1317 | 2541342.6016 | 1155640.2457 | 2541342.1454 | 1155638.2935 | 2541342.1932 | 1155636.1252 | 2541342.8794 | 1155634.1286 | 2541343.869 | 1155632.5847 | 2541345.1066 | 1155631.2942 | 2541348.6265 | 1155629.6589 | 2541361.9889 | 1155621.1573 | 2541372.1883 | 1155616.2885 | 2541376.2561 | 1155614.2032 | 2541379.4691 | 1155612.5599 | 2541384.4373 | 1155610.01 | 2541387.4927 | 1155607.9347 | 2541397.0461 | 1155599.7259 | 2541403.6985 | 1155595.2698 | 2541407.9405 | 1155593.7498 | 2541413.7949 | 1155593.1924 | 2541422.4982 | 1155594.5528 | 2541429.9165 | 1155597.0596 | 2541442.4818 | 1155601.9731 | 2541449.4493 | 1155604.6622 | 2541459.1784 | 1155607.3911 | 2541466.5194 | 1155609.8431 | 2541489.0702 | 1155623.3418 | 2541508.0197 | 1155636.4311 | 2541550.8097 | 1155668.6987 | 2541584.9548 | 1155694.6028
11 | 2541311.2562 | 1155644.3206 | 2541313.9817 | 1155647.7403 | 2541316.4288 | 1155650.9181
12 | 2541316.4288 | 1155650.9181 | 2541321.5037 | 1155647.5111 | 2541323.6276 | 1155646.6566 | 2541325.505 | 1155646.4826 | 2541327.4321 | 1155646.6861 | 2541329.8851 | 1155647.3292 | 2541331.9116 | 1155648.2877 | 2541334.8584 | 1155650.0154 | 2541338.615 | 1155645.1317 | 2541358.7443 | 1155661.9887 | 2541363.1229 | 1155666.604 | 2541367.3427 | 1155671.4543 | 2541371.2123 | 1155676.586 | 2541374.7078 | 1155681.8769 | 2541379.6178 | 1155690.656 | 2541384.0874 | 1155699.884
13 | 2541288.19 | 1155663.9744 | 2541300.8636 | 1155653.6305
14 | 2541311.2562 | 1155644.3206 | 2541309.1998 | 1155646.5864 | 2541307.5279 | 1155648.1702 | 2541305.8318 | 1155649.632 | 2541303.3354 | 1155651.613 | 2541300.8636 | 1155653.6305
15 | 2541384.0874 | 1155699.884 | 2541380.6238 | 1155701.7855 | 2541376.077 | 1155706.6436 | 2541371.7818 | 1155708.2086 | 2541367.4636 | 1155708.1951 | 2541358.3364 | 1155708.7187
16 | 2541384.0874 | 1155699.884 | 2541384.6376 | 1155701.2572 | 2541392.5564 | 1155719.5755
17 | 2541423.3945 | 1155791.8057 | 2541406.3567 | 1155751.3723 | 2541401.0413 | 1155738.7729 | 2541396.5729 | 1155728.8667 | 2541392.5564 | 1155719.5755
18 | 2541584.9548 | 1155694.6028 | 2541584.0545 | 1155695.8789 | 2541583.187 | 1155698.1663 | 2541583.8302 | 1155700.4168 | 2541585.5654 | 1155702.1787 | 2541587.6902 | 1155704.5704 | 2541589.1178 | 1155707.0468 | 2541589.2976 | 1155709.7576 | 2541588.0787 | 1155712.1819 | 2541577.2438 | 1155728.218 | 2541575.1613 | 1155730.962 | 2541572.3274 | 1155732.1457 | 2541566.6089 | 1155733.2575
19 | 2541584.9548 | 1155694.6028 | 2541636.3219 | 1155733.5023 | 2541660.7753 | 1155751.8858 | 2541672.7745 | 1155760.952
20 | 2541672.7745 | 1155760.952 | 2541666.419 | 1155768.3399 | 2541658.0596 | 1155774.7134 | 2541645.9797 | 1155782.6016 | 2541638.2761 | 1155783.8437 | 2541626.574 | 1155783.2571 | 2541618.2226 | 1155781.1011
21 | 2541430.2949 | 1155808.6453 | 2541438.7237 | 1155842.0558
22 | 2541446.3172 | 1155865.2455 | 2541442.2278 | 1155855.9455 | 2541438.7237 | 1155842.0558
23 | 2541423.3945 | 1155791.8057 | 2541413.8957 | 1155798.5684
24 | 2541423.3945 | 1155791.8057 | 2541439.9147 | 1155858.6251
25 | 2541618.2226 | 1155781.1011 | 2541617.278 | 1155780.8572 | 2541605.6932 | 1155776.5453 | 2541594.4289 | 1155772.0746 | 2541588.4712 | 1155769.0975 | 2541586.5902 | 1155767.326 | 2541586.4787 | 1155764.5367 | 2541587.3856 | 1155761.5707 | 2541601.9822 | 1155735.9826
26 | 2541289.475 | 1155899.413 | 2541272.3336 | 1155908.0651 | 2541229.8019 | 1155954.5246
27 | 2541229.8019 | 1155954.5246 | 2541316.4553 | 1156060.9608
28 | 2541289.475 | 1155899.413 | 2541294.367 | 1155896.9438 | 2541298.0891 | 1155893.4934
29 | 2541337.5499 | 1155857.416 | 2541331.5042 | 1155862.5181 | 2541298.0891 | 1155893.4934
30 | 2541337.5499 | 1155857.416 | 2541369.39 | 1155830.5454
31 | 2541369.39 | 1155830.5454 | 2541371.5928 | 1155828.6863 | 2541374.565 | 1155826.5702
32 | 2541383.0473 | 1155820.5312 | 2541374.565 | 1155826.5702
33 | 2541386.9696 | 1155817.7387 | 2541383.0473 | 1155820.5312
34 | 2541386.9696 | 1155817.7387 | 2541413.8957 | 1155798.5684
35 | 2541439.9147 | 1155858.6251 | 2541452.1328 | 1155886.1986 | 2541455.8019 | 1155895.0308
36 | 2541474.3906 | 1155939.7773 | 2541455.8019 | 1155895.0308
37 | 2541474.3906 | 1155939.7773 | 2541477.5239 | 1155938.6239
38 | 2541474.3906 | 1155939.7773 | 2541480.2779 | 1155949.0106
39 | 2541477.5239 | 1155938.6239 | 2541498.1098 | 1155931.1629
40 | 2541477.5239 | 1155938.6239 | 2541462.63 | 1155902.3463
41 | 2541480.9668 | 1155950.091 | 2541480.2779 | 1155949.0106
42 | 2541498.1098 | 1155931.1629 | 2541517.0511 | 1155924.298 | 2541534.4778 | 1155917.7424
43 | 2541446.3172 | 1155865.2455 | 2541462.6131 | 1155902.3052 | 2541462.63 | 1155902.3463
44 | 2541480.9668 | 1155950.091 | 2541492.297 | 1155967.8607
45 | 2541534.4778 | 1155917.7424 | 2541540.3808 | 1155915.5218 | 2541545.1837 | 1155910.1833 | 2541545.5993 | 1155906.3994 | 2541536.2732 | 1155882.7664 | 2541536.2732 | 1155882.7664
46 | 2541500.2797 | 1155980.3803 | 2541503.6861 | 1155978.146
47 | 2541503.6861 | 1155978.146 | 2541509.8438 | 1155974.1172 | 2541523.886 | 1155964.5882
48 | 2541500.2797 | 1155980.3803 | 2541492.297 | 1155967.8607
49 | 2541513.1029 | 1155882.7868 | 2541526.5279 | 1155878.3255 | 2541531.8464 | 1155879.4743 | 2541536.2732 | 1155882.7664

## bus_geodata
| x | y | coords
0 | 2541237.703 | 1155777.2405
1 | 2541215.9001 | 1155740.3044
2 | 2541239.7985 | 1155778.6468
3 | 2541256.4399 | 1155692.2043
4 | 2541181.8636 | 1155761.649
5 | 2541125.2678 | 1155823.3921
6 | 2541193.1353 | 1155863.9604
7 | 2541310.7637 | 1155655.2484
8 | 2541316.4288 | 1155650.9181
9 | 2541245.3278 | 1155671.281
10 | 2541288.19 | 1155663.9744
11 | 2541242.7376 | 1155705.4302
12 | 2541311.2562 | 1155644.3206
13 | 2541300.8636 | 1155653.6305
14 | 2541384.0874 | 1155699.884
15 | 2541358.3364 | 1155708.7187
16 | 2541392.5564 | 1155719.5755
17 | 2541584.9548 | 1155694.6028
18 | 2541566.6089 | 1155733.2575
19 | 2541672.7745 | 1155760.952
20 | 2541430.2949 | 1155808.6453
21 | 2541438.7237 | 1155842.0558
22 | 2541423.3945 | 1155791.8057
23 | 2541618.2226 | 1155781.1011
24 | 2541229.8019 | 1155954.5246
25 | 2541289.475 | 1155899.413
26 | 2541316.4553 | 1156060.9608
27 | 2541298.0891 | 1155893.4934
28 | 2541337.5499 | 1155857.416
29 | 2541369.39 | 1155830.5454
30 | 2541374.565 | 1155826.5702
31 | 2541383.0473 | 1155820.5312
32 | 2541386.9696 | 1155817.7387
33 | 2541439.9147 | 1155858.6251
34 | 2541455.8019 | 1155895.0308
35 | 2541474.3906 | 1155939.7773
36 | 2541413.8957 | 1155798.5684
37 | 2541477.5239 | 1155938.6239
38 | 2541480.2779 | 1155949.0106
39 | 2541498.1098 | 1155931.1629
40 | 2541462.63 | 1155902.3463
41 | 2541480.9668 | 1155950.091
42 | 2541534.4778 | 1155917.7424
43 | 2541503.6861 | 1155978.146
44 | 2541500.2797 | 1155980.3803
45 | 2541523.886 | 1155964.5882
46 | 2541446.3172 | 1155865.2455
47 | 2541492.297 | 1155967.8607
48 | 2541536.2732 | 1155882.7664
49 | 2541513.1029 | 1155882.7868
50 | 2541601.9822 | 1155735.9826
51 | 2541423.3945 | 1155791.8057

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1