## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5584-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5584-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5584-9_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5584-9_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5584-9_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5584-9_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5584-9_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5584-9_0_6_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_5584-9_0_6_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_5584-9_0_6_node_68 | 0.4 | n |  | TRUE
10 | bus_LV_5584-9_0_6_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_5584-9_0_6_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_5584-9_0_6_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_5584-9_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5584-9_0_6_node_86 | 0.4 | n |  | TRUE
15 | bus_LV_5584-9_0_6_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_5584-9_0_6_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_5584-9_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5584-9_0_6_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_5584-9_0_6_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_5584-9_0_6_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_5584-9_0_6_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_5584-9_0_6_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_5584-9_0_6_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_5584-9_0_6_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_5584-9_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5584-9_0_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_5584-9_0_6_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_5584-9_0_6_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_5584-9_0_6_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_5584-9_0_6_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_5584-9_0_6_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_5584-9_0_6_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_5584-9_0_6_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_5584-9_0_6_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_5584-9_0_6_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_5584-9_0_6_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_5584-9_0_6_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_5584-9_0_6_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_5584-9_0_6_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_5584-9_0_6_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_5584-9_0_6_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_5584-9_0_6_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_5584-9_0_6_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_5584-9_0_6_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_5584-9_0_6_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_5584-9_0_6_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_5584-9_0_6_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_5584-9_0_6_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_5584-9_0_6_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_5584-9_0_6_node_79 | 0.4 | n |  | TRUE
51 | bus_LV_5584-9_0_6_node_27 | 0.4 | n |  | TRUE
52 | bus_LV_5584-9_0_6_node_24 | 0.4 | n |  | TRUE
53 | bus_LV_5584-9_0_6_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_5584-9_0_6_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_5584-9_0_6_node_74 | 0.4 | n |  | TRUE
56 | bus_LV_5584-9_0_6_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_5584-9_0_6_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_5584-9_0_6_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_5584-9_0_6_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_5584-9_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_5584-9_0_6_node_85 | 0.4 | n |  | TRUE
62 | bus_LV_5584-9_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_5584-9_0_6_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_5584-9_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_5584-9_0_6_node_30 | 0.4 | n |  | TRUE
66 | bus_LV_5584-9_0_6_node_31 | 0.4 | n |  | TRUE
67 | bus_LV_5584-9_0_6_node_32 | 0.4 | n |  | TRUE
68 | bus_LV_5584-9_0_6_node_33 | 0.4 | n |  | TRUE
69 | bus_LV_5584-9_0_6_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_5584-9_0_6_node_39 | 0.4 | n |  | TRUE
71 | bus_LV_5584-9_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_5584-9_0_6_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_5584-9_0_6_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_5584-9_0_6_node_38 | 0.4 | n |  | TRUE
75 | bus_LV_5584-9_0_6_node_36 | 0.4 | n |  | TRUE
76 | bus_LV_5584-9_0_6_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_5584-9_0_6_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_5584-9_0_6_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_5584-9_0_6_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_5584-9_0_6_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_5584-9_0_6_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_5584-9_0_6_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_5584-9_0_6_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_5584-9_0_6_node_78 | 0.4 | n |  | TRUE
85 | bus_MV_625_0_node_165 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5584-9_0_6_load_0 | 0 | 0.0032012 | 0.00080229 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5584-9_0_6_load_3 | 3 | 0.0016277 | 0.00040794 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5584-9_0_6_load_4 | 4 | 0.0016364 | 0.00041011 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5584-9_0_6_load_5 | 5 | 0.010644 | 0.0026677 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5584-9_0_6_load_6 | 6 | 0.003172 | 0.00079497 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5584-9_0_6_load_76 | 7 | 0.0040202 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5584-9_0_6_load_68 | 9 | 0.0043456 | 0.0010891 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5584-9_0_6_load_70 | 10 | 0.002189 | 0.00054861 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5584-9_0_6_load_62 | 12 | 0.010644 | 0.0026677 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5584-9_0_6_load_7 | 13 | 0.001176 | 0.00029474 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5584-9_0_6_load_86 | 14 | 0.0028014 | 0.0007021 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5584-9_0_6_load_61 | 16 | 0.0014139 | 0.00035435 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5584-9_0_6_load_67 | 19 | 0.012682 | 0.0031784 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5584-9_0_6_load_43 | 20 | 0.050773 | 0.012725 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5584-9_0_6_load_42 | 21 | 0.012073 | 0.0030257 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5584-9_0_6_load_8 | 22 | 0.0015376 | 0.00038535 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5584-9_0_6_load_10 | 24 | 0.0024828 | 0.00062224 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5584-9_0_6_load_12 | 25 | 0.0077966 | 0.001954 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5584-9_0_6_load_34 | 26 | 0.0012977 | 0.00032523 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5584-9_0_6_load_72 | 28 | 0.0018033 | 0.00045195 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5584-9_0_6_load_55 | 29 | 0.0083815 | 0.0021006 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5584-9_0_6_load_35 | 30 | 0.0014748 | 0.00036963 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5584-9_0_6_load_49 | 31 | 0.010644 | 0.0026677 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5584-9_0_6_load_47 | 32 | 0.012603 | 0.0031587 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5584-9_0_6_load_13 | 33 | 0.0036051 | 0.00090353 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5584-9_0_6_load_14 | 34 | 0.0051222 | 0.0012837 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5584-9_0_6_load_15 | 35 | 0.006297 | 0.0015782 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5584-9_0_6_load_16 | 36 | 0.016555 | 0.0041492 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5584-9_0_6_load_71 | 39 | 0.0068013 | 0.0017046 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5584-9_0_6_load_51 | 40 | 0.005973 | 0.001497 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5584-9_0_6_load_18 | 41 | 0.0043865 | 0.0010994 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5584-9_0_6_load_19 | 42 | 0.017867 | 0.0044778 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5584-9_0_6_load_22 | 45 | 0.0059792 | 0.0014985 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5584-9_0_6_load_75 | 47 | 0.017446 | 0.0043725 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5584-9_0_6_load_79 | 50 | 0.0041875 | 0.0010495 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5584-9_0_6_load_27 | 51 | 0.051851 | 0.012995 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5584-9_0_6_load_24 | 52 | 0.0058932 | 0.001477 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5584-9_0_6_load_83 | 53 | 0.0061732 | 0.0015472 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5584-9_0_6_load_84 | 54 | 0.015557 | 0.0038989 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5584-9_0_6_load_80 | 59 | 0.0089157 | 0.0022345 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5584-9_0_6_load_85 | 61 | 0.015474 | 0.0038782 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5584-9_0_6_load_46 | 62 | 0.016314 | 0.0040886 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5584-9_0_6_load_30 | 65 | 0.0085995 | 0.0021552 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5584-9_0_6_load_33 | 68 | 0.011124 | 0.0027878 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5584-9_0_6_load_52 | 72 | 0.0070197 | 0.0017593 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5584-9_0_6_load_41 | 73 | 0.0095281 | 0.002388 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5584-9_0_6_load_38 | 74 | 0.0096313 | 0.0024138 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5584-9_0_6_load_36 | 75 | 0.0021885 | 0.00054849 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5584-9_0_6_load_77 | 76 | 0.0074667 | 0.0018713 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5584-9_0_6_load_59 | 77 | 0.0012545 | 0.0003144 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5584-9_0_6_load_57 | 79 | 0.0017546 | 0.00043974 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5584-9_0_6_load_58 | 80 | 0.0036112 | 0.00090505 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5584-9_0_6_load_60 | 81 | 0.0037604 | 0.00094245 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5584-9_0_6_load_63 | 82 | 0.029158 | 0.0073076 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5584-9_0_6_load_81 | 83 | 0.055325 | 0.013866 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5584-9_0_6_load_78 | 84 | 0.0067112 | 0.001682 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5584-9_0_6_line_0 |  | 0 | 1 | 0.026548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5584-9_0_6_line_1 |  | 0 | 2 | 0.025285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5584-9_0_6_line_2 |  | 1 | 3 | 0.023822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5584-9_0_6_line_3 |  | 1 | 4 | 0.013659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5584-9_0_6_line_4 |  | 2 | 5 | 0.02781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5584-9_0_6_line_5 |  | 2 | 6 | 0.10632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5584-9_0_6_line_6 |  | 3 | 10 | 0.03782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5584-9_0_6_line_7 |  | 4 | 11 | 0.022853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5584-9_0_6_line_8 |  | 5 | 12 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5584-9_0_6_line_9 |  | 6 | 13 | 0.074586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5584-9_0_6_line_10 |  | 7 | 8 | 0.021207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5584-9_0_6_line_11 |  | 7 | 9 | 0.053077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5584-9_0_6_line_12 |  | 8 | 18 | 0.042157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5584-9_0_6_line_13 |  | 9 | 19 | 0.00045216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5584-9_0_6_line_14 |  | 10 | 15 | 0.015773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5584-9_0_6_line_15 |  | 11 | 16 | 0.015822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5584-9_0_6_line_16 |  | 11 | 17 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5584-9_0_6_line_17 |  | 13 | 14 | 0.071137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5584-9_0_6_line_18 |  | 15 | 19 | 0.022653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5584-9_0_6_line_19 |  | 16 | 77 | 0.042114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5584-9_0_6_line_20 |  | 17 | 26 | 0.057777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5584-9_0_6_line_21 |  | 17 | 23 | 0.02536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5584-9_0_6_line_22 |  | 18 | 64 | 0.01597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5584-9_0_6_line_23 |  | 18 | 82 | 0.037589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5584-9_0_6_line_24 |  | 20 | 21 | 0.033871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5584-9_0_6_line_25 |  | 21 | 63 | 0.02088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5584-9_0_6_line_26 |  | 22 | 23 | 0.011312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5584-9_0_6_line_27 |  | 22 | 24 | 0.043235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5584-9_0_6_line_28 |  | 23 | 25 | 0.024346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5584-9_0_6_line_29 |  | 25 | 27 | 0.0059365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5584-9_0_6_line_30 |  | 26 | 30 | 0.043467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5584-9_0_6_line_31 |  | 27 | 31 | 0.030358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5584-9_0_6_line_32 |  | 27 | 32 | 0.038549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5584-9_0_6_line_33 |  | 28 | 29 | 0.062208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5584-9_0_6_line_34 |  | 29 | 71 | 0.030803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5584-9_0_6_line_35 |  | 30 | 75 | 0.0051296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5584-9_0_6_line_36 |  | 33 | 34 | 0.001972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5584-9_0_6_line_37 |  | 33 | 35 | 0.038097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5584-9_0_6_line_38 |  | 34 | 36 | 0.025032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5584-9_0_6_line_39 |  | 35 | 37 | 0.019156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5584-9_0_6_line_40 |  | 37 | 38 | 0.029791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5584-9_0_6_line_41 |  | 37 | 39 | 0.01431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5584-9_0_6_line_42 |  | 38 | 40 | 0.014991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5584-9_0_6_line_43 |  | 40 | 72 | 0.053203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5584-9_0_6_line_44 |  | 41 | 42 | 0.0023383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5584-9_0_6_line_45 |  | 41 | 43 | 0.021165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5584-9_0_6_line_46 |  | 42 | 44 | 0.024833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_5584-9_0_6_line_47 |  | 43 | 45 | 0.013306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5584-9_0_6_line_48 |  | 43 | 46 | 0.006112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5584-9_0_6_line_49 |  | 44 | 47 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5584-9_0_6_line_50 |  | 44 | 48 | 0.022402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5584-9_0_6_line_51 |  | 46 | 49 | 0.032827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5584-9_0_6_line_52 |  | 46 | 50 | 0.0062054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5584-9_0_6_line_53 |  | 48 | 51 | 0.010425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5584-9_0_6_line_54 |  | 48 | 52 | 0.032304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5584-9_0_6_line_55 |  | 49 | 53 | 0.017409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5584-9_0_6_line_56 |  | 49 | 54 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5584-9_0_6_line_57 |  | 50 | 55 | 0.032184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5584-9_0_6_line_58 |  | 52 | 56 | 0.0059896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_5584-9_0_6_line_59 |  | 55 | 84 | 0.051744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5584-9_0_6_line_60 |  | 55 | 78 | 0.018548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5584-9_0_6_line_61 |  | 56 | 57 | 0.007505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5584-9_0_6_line_62 |  | 56 | 58 | 0.025872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5584-9_0_6_line_63 |  | 57 | 59 | 0.045815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_5584-9_0_6_line_64 |  | 58 | 60 | 0.038229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5584-9_0_6_line_65 |  | 58 | 61 | 0.022744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5584-9_0_6_line_66 |  | 59 | 64 | 0.047039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_5584-9_0_6_line_67 |  | 60 | 62 | 0.011603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5584-9_0_6_line_68 |  | 60 | 63 | 0.045136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5584-9_0_6_line_69 |  | 64 | 83 | 0.056698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5584-9_0_6_line_70 |  | 65 | 66 | 0.039847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5584-9_0_6_line_71 |  | 66 | 67 | 0.010228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5584-9_0_6_line_72 |  | 66 | 68 | 0.0082671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5584-9_0_6_line_73 |  | 67 | 69 | 0.016084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5584-9_0_6_line_74 |  | 68 | 70 | 0.041694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5584-9_0_6_line_75 |  | 69 | 71 | 0.018002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5584-9_0_6_line_76 |  | 69 | 72 | 0.022759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5584-9_0_6_line_77 |  | 70 | 73 | 0.019426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_5584-9_0_6_line_78 |  | 70 | 74 | 0.03796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5584-9_0_6_line_79 |  | 73 | 78 | 0.025205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_5584-9_0_6_line_80 |  | 75 | 76 | 0.015918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5584-9_0_6_line_81 |  | 77 | 79 | 0.025691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5584-9_0_6_line_82 |  | 79 | 80 | 0.0098345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5584-9_0_6_line_83 |  | 80 | 81 | 0.0078109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5584-9_0_6_trafo_65 | 0.63 MVA 20/0.4 kV | 85 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2540180.7161 | 1155462.3932 | 2540184.1986 | 1155477.8224 | 2540188.0439 | 1155487.8402
1 | 2540197.1048 | 1155511.4454 | 2540188.0439 | 1155487.8402
2 | 2540180.7161 | 1155462.3932 | 2540182.6927 | 1155449.0663 | 2540185.4661 | 1155439.0956
3 | 2540180.7161 | 1155462.3932 | 2540170.7166 | 1155467.2509 | 2540168.4677 | 1155468.4349
4 | 2540197.1048 | 1155511.4454 | 2540175.3075 | 1155528.7162
5 | 2540197.1048 | 1155511.4454 | 2540299.7659 | 1155483.7978
6 | 2540195.6011 | 1155402.659 | 2540185.4661 | 1155439.0956
7 | 2540148.2459 | 1155479.0811 | 2540168.4677 | 1155468.4349
8 | 2540165.4319 | 1155536.541 | 2540175.3075 | 1155528.7162
9 | 2540299.7659 | 1155483.7978 | 2540317.8606 | 1155453.3357 | 2540348.2814 | 1155428.684
10 | 2540168.9324 | 1155321.2565 | 2540153.1244 | 1155332.8647 | 2540152.0113 | 1155334.0071
11 | 2540152.0113 | 1155334.0071 | 2540177.8359 | 1155380.3776
12 | 2540159.3923 | 1155288.3338 | 2540165.2779 | 1155300.9042 | 2540176.5933 | 1155316.4666 | 2540168.9324 | 1155321.2565
13 | 2540177.8359 | 1155380.3776 | 2540178.2663 | 1155380.5162
14 | 2540199.8281 | 1155387.4625 | 2540195.6011 | 1155402.659
15 | 2540148.2459 | 1155479.0811 | 2540145.0821 | 1155474.8659 | 2540137.9398 | 1155467.0988
16 | 2540148.2459 | 1155479.0811 | 2540129.8573 | 1155488.7584
17 | 2540348.2814 | 1155428.684 | 2540388.9526 | 1155487.0482
18 | 2540199.8281 | 1155387.4625 | 2540178.2663 | 1155380.5162
19 | 2540130.3723 | 1155433.4957 | 2540128.7377 | 1155437.9977 | 2540123.7489 | 1155443.0724 | 2540122.2235 | 1155447.0119 | 2540123.0291 | 1155450.8838 | 2540137.9398 | 1155467.0988
20 | 2540129.8573 | 1155488.7584 | 2540120.0362 | 1155479.1955 | 2540089.7278 | 1155451.9162 | 2540086.6963 | 1155450.6324
21 | 2540129.8573 | 1155488.7584 | 2540113.1016 | 1155497.5746 | 2540108.8164 | 1155502.431
22 | 2540154.7689 | 1155273.1272 | 2540157.2291 | 1155283.7084 | 2540159.3923 | 1155288.3338
23 | 2540159.3923 | 1155288.3338 | 2540196.0879 | 1155280.187
24 | 2540224.791 | 1155261.2769 | 2540257.647 | 1155253.047
25 | 2540213.7871 | 1155247.915 | 2540216.9678 | 1155259.9898 | 2540221.4991 | 1155262.1015 | 2540224.791 | 1155261.2769
26 | 2540108.8164 | 1155502.431 | 2540102.553 | 1155501.2039 | 2540097.9939 | 1155499.3299
27 | 2540057.0279 | 1155490.1408 | 2540071.3688 | 1155488.3857 | 2540097.9939 | 1155499.3299
28 | 2540108.8164 | 1155502.431 | 2540106.631 | 1155509.4121 | 2540104.8206 | 1155526.346
29 | 2540104.1896 | 1155532.2488 | 2540104.8206 | 1155526.346
30 | 2540086.6963 | 1155450.6324 | 2540083.1882 | 1155449.1466 | 2540063.44 | 1155449.3993 | 2540051.6229 | 1155441.9798 | 2540049.1066 | 1155437.3246 | 2540049.0921 | 1155436.6622
31 | 2540104.1896 | 1155532.2488 | 2540113.6196 | 1155534.9118 | 2540125.3115 | 1155534.4061 | 2540132.608 | 1155529.2529
32 | 2540104.1896 | 1155532.2488 | 2540103.3057 | 1155540.5287 | 2540103.9146 | 1155550.05 | 2540110.4563 | 1155565.3486 | 2540113.0068 | 1155568.4847
33 | 2539981.651 | 1155329.5455 | 2539946.7545 | 1155381.0435
34 | 2540007.0893 | 1155314.4665 | 2540000.2398 | 1155315.2464 | 2539994.9161 | 1155322.1144 | 2539983.9046 | 1155328.5612 | 2539981.651 | 1155329.5455
35 | 2540049.0921 | 1155436.6622 | 2540048.9798 | 1155431.5339
36 | 2540130.3884 | 1155265.7784 | 2540130.2141 | 1155267.7427
37 | 2540098.9183 | 1155282.5996 | 2540100.2872 | 1155282.475 | 2540124.0699 | 1155277.5353 | 2540129.7813 | 1155272.6202 | 2540130.2141 | 1155267.7427
38 | 2540132.6006 | 1155240.8447 | 2540130.3884 | 1155265.7784
39 | 2540079.8411 | 1155284.3354 | 2540098.9183 | 1155282.5996
40 | 2540079.8411 | 1155284.3354 | 2540081.0999 | 1155294.4172 | 2540082.6127 | 1155309.9661 | 2540080.6379 | 1155313.4543
41 | 2540079.8411 | 1155284.3354 | 2540072.2749 | 1155277.8629 | 2540072.3799 | 1155273.5115
42 | 2540080.6379 | 1155313.4543 | 2540077.3909 | 1155315.5211 | 2540066.3595 | 1155317.0855
43 | 2540066.3595 | 1155317.0855 | 2540043.9112 | 1155320.2688 | 2540034.5948 | 1155312.8911 | 2540030.7702 | 1155308.5714 | 2540028.6261 | 1155295.8748
44 | 2540128.0972 | 1155159.8089 | 2540126.0736 | 1155160.9805
45 | 2540107.7569 | 1155171.5851 | 2540126.0736 | 1155160.9805
46 | 2540149.5884 | 1155147.3664 | 2540128.0972 | 1155159.8089
47 | 2540107.7569 | 1155171.5851 | 2540113.9288 | 1155183.3736
48 | 2540102.5267 | 1155174.7723 | 2540107.7569 | 1155171.5851
49 | 2540149.5884 | 1155147.3664 | 2540137.5981 | 1155124.1511
50 | 2540149.5884 | 1155147.3664 | 2540169.0133 | 1155136.1113
51 | 2540118.2015 | 1155203.6317 | 2540102.5267 | 1155174.7723
52 | 2540102.5267 | 1155174.7723 | 2540097.1365 | 1155177.8469
53 | 2540169.0133 | 1155136.1113 | 2540168.5462 | 1155129.2679 | 2540168.3204 | 1155125.7096
54 | 2540169.0133 | 1155136.1113 | 2540169.7369 | 1155154.8587 | 2540168.2223 | 1155168.3167
55 | 2540118.2015 | 1155203.6317 | 2540135.4403 | 1155200.8696
56 | 2540118.2015 | 1155203.6317 | 2540105.2757 | 1155208.1407
57 | 2540069.1809 | 1155193.7928 | 2540097.1365 | 1155177.8469
58 | 2540167.5524 | 1155174.2687 | 2540168.2223 | 1155168.3167
59 | 2540069.1809 | 1155193.7928 | 2540083.4227 | 1155218.9311 | 2540082.7913 | 1155224.8406 | 2540068.132 | 1155233.268
60 | 2540053.0492 | 1155202.9476 | 2540065.2834 | 1155196.0107 | 2540069.1809 | 1155193.7928
61 | 2540167.5524 | 1155174.2687 | 2540166.2761 | 1155181.6632
62 | 2540167.5524 | 1155174.2687 | 2540192.5427 | 1155167.3051
63 | 2540166.2761 | 1155181.6632 | 2540157.6215 | 1155226.6536
64 | 2540192.5427 | 1155167.3051 | 2540196.6403 | 1155182.8616 | 2540202.2842 | 1155204.2725
65 | 2540214.5116 | 1155161.1832 | 2540192.5427 | 1155167.3051
66 | 2540154.7689 | 1155273.1272 | 2540153.3343 | 1155266.9492 | 2540153.4117 | 1155248.5385 | 2540157.6215 | 1155226.6536
67 | 2540202.2842 | 1155204.2725 | 2540213.6517 | 1155201.9471
68 | 2540213.7871 | 1155247.915 | 2540202.2842 | 1155204.2725
69 | 2540154.7689 | 1155273.1272 | 2540175.9725 | 1155267.2239 | 2540177.383 | 1155263.2967 | 2540170.0383 | 1155233.6204
70 | 2539998.8811 | 1155271.3807 | 2540005.525 | 1155271.5144 | 2540010.9997 | 1155269.014 | 2540014.0579 | 1155265.715 | 2540015.5911 | 1155260.2412 | 2540030.8357 | 1155252.7185
71 | 2540002.8404 | 1155280.7351 | 2539999.0494 | 1155272.8687 | 2539998.8811 | 1155271.3807
72 | 2539998.8811 | 1155271.3807 | 2539997.9783 | 1155263.1631
73 | 2540002.8404 | 1155280.7351 | 2540006.0124 | 1155296.5009
74 | 2540014.8505 | 1155226.0301 | 2540006.8387 | 1155234.8593 | 2540002.3231 | 1155245.0766 | 2539997.9783 | 1155263.1631
75 | 2540007.0893 | 1155314.4665 | 2540006.0124 | 1155296.5009
76 | 2540006.0124 | 1155296.5009 | 2540018.2633 | 1155297.4013 | 2540028.6261 | 1155295.8748
77 | 2540014.8505 | 1155226.0301 | 2540031.4771 | 1155215.9831
78 | 2540014.8505 | 1155226.0301 | 2539989.2273 | 1155235.6245 | 2539978.7133 | 1155236.9637
79 | 2540053.0492 | 1155202.9476 | 2540031.4771 | 1155215.9831
80 | 2540060.0488 | 1155420.095 | 2540048.9798 | 1155431.5339 | 2540048.9798 | 1155431.5339
81 | 2540124.8232 | 1155409.2654 | 2540131.4783 | 1155425.9305 | 2540131.3953 | 1155430.6784 | 2540130.3723 | 1155433.4957
82 | 2540124.8232 | 1155409.2654 | 2540122.8644 | 1155404.3603 | 2540122.2212 | 1155399.8531
83 | 2540125.5178 | 1155392.772 | 2540122.2212 | 1155399.8531

## bus_geodata
| x | y | coords
0 | 2540188.0439 | 1155487.8402
1 | 2540180.7161 | 1155462.3932
2 | 2540197.1048 | 1155511.4454
3 | 2540185.4661 | 1155439.0956
4 | 2540168.4677 | 1155468.4349
5 | 2540175.3075 | 1155528.7162
6 | 2540299.7659 | 1155483.7978
7 | 2540152.0114 | 1155334.0071
8 | 2540168.9324 | 1155321.2565
9 | 2540177.8359 | 1155380.3776
10 | 2540195.6011 | 1155402.659
11 | 2540148.2459 | 1155479.0811
12 | 2540165.4319 | 1155536.541
13 | 2540348.2814 | 1155428.684
14 | 2540388.9526 | 1155487.0482
15 | 2540199.8281 | 1155387.4625
16 | 2540137.9398 | 1155467.0988
17 | 2540129.8573 | 1155488.7584
18 | 2540159.3923 | 1155288.3338
19 | 2540178.2663 | 1155380.5162
20 | 2540257.647 | 1155253.047
21 | 2540224.791 | 1155261.2769
22 | 2540097.9939 | 1155499.3299
23 | 2540108.8164 | 1155502.431
24 | 2540057.0278 | 1155490.1408
25 | 2540104.8206 | 1155526.346
26 | 2540086.6963 | 1155450.6324
27 | 2540104.1896 | 1155532.2488
28 | 2539946.7545 | 1155381.0435
29 | 2539981.651 | 1155329.5455
30 | 2540049.0921 | 1155436.6622
31 | 2540132.608 | 1155529.2529
32 | 2540113.0068 | 1155568.4847
33 | 2540130.2141 | 1155267.7427
34 | 2540130.3884 | 1155265.7784
35 | 2540098.9183 | 1155282.5996
36 | 2540132.6006 | 1155240.8447
37 | 2540079.8411 | 1155284.3354
38 | 2540080.6379 | 1155313.4543
39 | 2540072.3799 | 1155273.5115
40 | 2540066.3595 | 1155317.0855
41 | 2540126.0736 | 1155160.9805
42 | 2540128.0972 | 1155159.8089
43 | 2540107.7569 | 1155171.5851
44 | 2540149.5884 | 1155147.3664
45 | 2540113.9288 | 1155183.3736
46 | 2540102.5267 | 1155174.7723
47 | 2540137.5981 | 1155124.1511
48 | 2540169.0133 | 1155136.1113
49 | 2540118.2015 | 1155203.6317
50 | 2540097.1365 | 1155177.8469
51 | 2540168.3204 | 1155125.7096
52 | 2540168.2223 | 1155168.3167
53 | 2540135.4403 | 1155200.8696
54 | 2540105.2757 | 1155208.1407
55 | 2540069.1809 | 1155193.7928
56 | 2540167.5524 | 1155174.2687
57 | 2540166.2761 | 1155181.6632
58 | 2540192.5427 | 1155167.3051
59 | 2540157.6215 | 1155226.6536
60 | 2540202.2842 | 1155204.2725
61 | 2540214.5116 | 1155161.1832
62 | 2540213.6517 | 1155201.9471
63 | 2540213.7871 | 1155247.915
64 | 2540154.7689 | 1155273.1272
65 | 2540030.8357 | 1155252.7185
66 | 2539998.8811 | 1155271.3807
67 | 2540002.8404 | 1155280.7351
68 | 2539997.9783 | 1155263.1631
69 | 2540006.0124 | 1155296.5009
70 | 2540014.8505 | 1155226.0301
71 | 2540007.0893 | 1155314.4665
72 | 2540028.6261 | 1155295.8748
73 | 2540031.4771 | 1155215.9831
74 | 2539978.7133 | 1155236.9637
75 | 2540048.9798 | 1155431.5339
76 | 2540060.0488 | 1155420.095
77 | 2540130.3723 | 1155433.4957
78 | 2540053.0492 | 1155202.9476
79 | 2540124.8232 | 1155409.2654
80 | 2540122.2212 | 1155399.8531
81 | 2540125.5178 | 1155392.772
82 | 2540196.0879 | 1155280.187
83 | 2540170.0383 | 1155233.6204
84 | 2540068.132 | 1155233.268
85 | 2540143.5311 | 1155283.0667

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1