## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5585-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5585-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5585-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5585-3_0_3_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_5585-3_0_3_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_5585-3_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_5585-3_0_3_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_5585-3_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_5585-3_0_3_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_5585-3_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5585-3_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_5585-3_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5585-3_0_3_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_5585-3_0_3_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_5585-3_0_3_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_5585-3_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_5585-3_0_3_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_5585-3_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5585-3_0_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_5585-3_0_3_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_5585-3_0_3_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_5585-3_0_3_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_5585-3_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_5585-3_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_5585-3_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5585-3_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5585-3_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5585-3_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5585-3_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5585-3_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5585-3_0_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_5585-3_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_5585-3_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5585-3_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_5585-3_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5585-3_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5585-3_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_5585-3_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5585-3_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_5585-3_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_5585-3_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5585-3_0_3_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5585-3_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_5585-3_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5585-3_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_5585-3_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5585-3_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_5585-3_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_5585-3_0_3_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_5585-3_0_3_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_5585-3_0_3_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_5585-3_0_3_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_5585-3_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5585-3_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5585-3_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_5585-3_0_3_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_5585-3_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_5585-3_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_5585-3_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_5585-3_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_5585-3_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_5585-3_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_5585-3_0_3_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_5585-3_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_5585-3_0_3_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5585-3_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5585-3_0_3_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_5585-3_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_MV_624_0_node_171 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5585-3_0_3_load_0 | 0 | 0.0026037 | 0.00065254 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5585-3_0_3_load_1 | 1 | 0.001945 | 0.00048746 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5585-3_0_3_load_22 | 3 | 0.0008653 | 0.00021686 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5585-3_0_3_load_28 | 4 | 0.0020925 | 0.00052442 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5585-3_0_3_load_11 | 5 | 0.0051473 | 0.00129 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5585-3_0_3_load_25 | 6 | 0.005732 | 0.0014366 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5585-3_0_3_load_27 | 7 | 0.0052475 | 0.0013151 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5585-3_0_3_load_9 | 10 | 0.0037791 | 0.00094714 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5585-3_0_3_load_6 | 11 | 0.0024229 | 0.00060724 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5585-3_0_3_load_69 | 12 | 0.0027003 | 0.00067676 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5585-3_0_3_load_5 | 13 | 0.0068655 | 0.0017207 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5585-3_0_3_load_62 | 14 | 0.0051938 | 0.0013017 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5585-3_0_3_load_7 | 15 | 0.0021728 | 0.00054456 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5585-3_0_3_load_61 | 16 | 0.0046097 | 0.0011553 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5585-3_0_3_load_8 | 17 | 0.0049104 | 0.0012307 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5585-3_0_3_load_48 | 18 | 0.0026085 | 0.00065375 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5585-3_0_3_load_68 | 19 | 0.014779 | 0.0037039 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5585-3_0_3_load_67 | 20 | 0.031969 | 0.0080122 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5585-3_0_3_load_43 | 21 | 0.0045955 | 0.0011517 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5585-3_0_3_load_12 | 22 | 0.00244 | 0.00061153 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5585-3_0_3_load_15 | 25 | 0.0064106 | 0.0016066 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5585-3_0_3_load_16 | 26 | 0.0037555 | 0.00094121 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5585-3_0_3_load_18 | 28 | 0.0045196 | 0.0011327 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5585-3_0_3_load_19 | 29 | 0.0025165 | 0.0006307 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5585-3_0_3_load_23 | 31 | 0.0053825 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5585-3_0_3_load_20 | 32 | 0.0042878 | 0.0010746 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5585-3_0_3_load_34 | 33 | 0.005843 | 0.0014644 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5585-3_0_3_load_24 | 34 | 0.0036226 | 0.00090791 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5585-3_0_3_load_37 | 36 | 0.0019289 | 0.00048343 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5585-3_0_3_load_32 | 37 | 0.002537 | 0.00063582 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5585-3_0_3_load_30 | 39 | 0.0032789 | 0.00082177 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5585-3_0_3_load_29 | 40 | 0.0072876 | 0.0018265 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5585-3_0_3_load_31 | 41 | 0.0013142 | 0.00032937 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5585-3_0_3_load_33 | 42 | 0.0044175 | 0.0011071 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5585-3_0_3_load_35 | 43 | 0.0060414 | 0.0015141 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5585-3_0_3_load_39 | 44 | 0.0044594 | 0.0011176 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5585-3_0_3_load_40 | 45 | 0.0042739 | 0.0010711 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5585-3_0_3_load_41 | 46 | 0.0031022 | 0.00077748 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5585-3_0_3_load_55 | 47 | 0.0041655 | 0.001044 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5585-3_0_3_load_56 | 48 | 0.002985 | 0.00074812 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5585-3_0_3_load_57 | 50 | 0.0033722 | 0.00084515 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5585-3_0_3_load_58 | 51 | 0.0065864 | 0.0016507 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5585-3_0_3_load_50 | 52 | 0.0083121 | 0.0020832 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5585-3_0_3_load_42 | 53 | 0.0074246 | 0.0018608 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5585-3_0_3_load_47 | 57 | 0.032474 | 0.0081388 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5585-3_0_3_load_60 | 58 | 0.005351 | 0.0013411 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5585-3_0_3_load_66 | 62 | 0.0044233 | 0.0011086 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5585-3_0_3_load_65 | 63 | 0.033029 | 0.0082779 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5585-3_0_3_load_49 | 64 | 0.0063139 | 0.0015824 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5585-3_0_3_load_53 | 66 | 0.004826 | 0.0012095 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5585-3_0_3_load_59 | 67 | 0.009508 | 0.0023829 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5585-3_0_3_line_0 |  | 0 | 1 | 0.010464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5585-3_0_3_line_1 |  | 1 | 2 | 0.016077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5585-3_0_3_line_2 |  | 2 | 8 | 0.047623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5585-3_0_3_line_3 |  | 2 | 9 | 0.079736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5585-3_0_3_line_4 |  | 3 | 4 | 0.006024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5585-3_0_3_line_5 |  | 3 | 5 | 0.041668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5585-3_0_3_line_6 |  | 4 | 14 | 0.050527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5585-3_0_3_line_7 |  | 5 | 10 | 0.037907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5585-3_0_3_line_8 |  | 6 | 7 | 0.077071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5585-3_0_3_line_9 |  | 7 | 34 | 0.058207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5585-3_0_3_line_10 |  | 8 | 11 | 0.078041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5585-3_0_3_line_11 |  | 9 | 12 | 0.051395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5585-3_0_3_line_12 |  | 10 | 17 | 0.0077362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5585-3_0_3_line_13 |  | 11 | 13 | 0.025991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5585-3_0_3_line_14 |  | 13 | 15 | 0.0088401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5585-3_0_3_line_15 |  | 14 | 15 | 0.20746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5585-3_0_3_line_16 |  | 14 | 16 | 0.020218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5585-3_0_3_line_17 |  | 16 | 60 | 0.052527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5585-3_0_3_line_18 |  | 18 | 19 | 0.05415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5585-3_0_3_line_19 |  | 18 | 20 | 0.066568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5585-3_0_3_line_20 |  | 18 | 21 | 0.038481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5585-3_0_3_line_21 |  | 20 | 63 | 0.037496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5585-3_0_3_line_22 |  | 21 | 53 | 0.031503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5585-3_0_3_line_23 |  | 22 | 23 | 0.029279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5585-3_0_3_line_24 |  | 22 | 24 | 0.014326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5585-3_0_3_line_25 |  | 23 | 25 | 0.016962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_5585-3_0_3_line_26 |  | 23 | 26 | 0.036318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5585-3_0_3_line_27 |  | 24 | 27 | 0.044322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5585-3_0_3_line_28 |  | 24 | 28 | 0.026863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5585-3_0_3_line_29 |  | 25 | 29 | 0.014537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5585-3_0_3_line_30 |  | 26 | 30 | 0.0067229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5585-3_0_3_line_31 |  | 27 | 31 | 0.030625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5585-3_0_3_line_32 |  | 29 | 32 | 0.018723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5585-3_0_3_line_33 |  | 30 | 33 | 0.026444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5585-3_0_3_line_34 |  | 31 | 34 | 0.0040645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5585-3_0_3_line_35 |  | 32 | 35 | 0.037696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5585-3_0_3_line_36 |  | 33 | 43 | 0.032748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5585-3_0_3_line_37 |  | 35 | 36 | 0.024149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5585-3_0_3_line_38 |  | 35 | 37 | 0.0076686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5585-3_0_3_line_39 |  | 36 | 38 | 0.045917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5585-3_0_3_line_40 |  | 37 | 39 | 0.016426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5585-3_0_3_line_41 |  | 38 | 44 | 0.053306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5585-3_0_3_line_42 |  | 38 | 45 | 0.032172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5585-3_0_3_line_43 |  | 38 | 46 | 0.027684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5585-3_0_3_line_44 |  | 39 | 40 | 0.022112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5585-3_0_3_line_45 |  | 40 | 41 | 0.023673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5585-3_0_3_line_46 |  | 41 | 42 | 0.017446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5585-3_0_3_line_47 |  | 44 | 47 | 0.010195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5585-3_0_3_line_48 |  | 45 | 48 | 0.019819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5585-3_0_3_line_49 |  | 46 | 49 | 0.02598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5585-3_0_3_line_50 |  | 48 | 50 | 0.077724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5585-3_0_3_line_51 |  | 49 | 51 | 0.050702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5585-3_0_3_line_52 |  | 49 | 52 | 0.032464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5585-3_0_3_line_53 |  | 51 | 67 | 0.027028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5585-3_0_3_line_54 |  | 52 | 64 | 0.057883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_5585-3_0_3_line_55 |  | 53 | 54 | 0.056651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5585-3_0_3_line_56 |  | 54 | 55 | 0.038436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5585-3_0_3_line_57 |  | 54 | 56 | 0.005477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5585-3_0_3_line_58 |  | 55 | 57 | 0.030513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5585-3_0_3_line_59 |  | 56 | 58 | 0.069351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5585-3_0_3_line_60 |  | 58 | 59 | 0.0017003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5585-3_0_3_line_61 |  | 59 | 65 | 0.024882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5585-3_0_3_line_62 |  | 60 | 61 | 0.00651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5585-3_0_3_line_63 |  | 61 | 62 | 0.022483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5585-3_0_3_line_64 |  | 62 | 63 | 0.0335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5585-3_0_3_line_65 |  | 64 | 65 | 0.034211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5585-3_0_3_line_66 |  | 65 | 66 | 0.058175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5585-3_0_3_trafo_68 | 0.63 MVA 20/0.4 kV | 68 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2535961.9564 | 1155281.6043 | 2535971.0981 | 1155286.6964
1 | 2535985.1433 | 1155294.5198 | 2535971.0981 | 1155286.6964
2 | 2535985.1433 | 1155294.5198 | 2535993.5979 | 1155288.2041 | 2536019.5758 | 1155273.6083 | 2536025.3956 | 1155269.0884
3 | 2535929.4483 | 1155341.2945 | 2535931.8703 | 1155346.1602 | 2535962.3433 | 1155319.3874 | 2535985.1433 | 1155294.5198
4 | 2535710.8751 | 1155206.4617 | 2535709.4088 | 1155212.3045
5 | 2535701.3854 | 1155253.1378 | 2535701.4651 | 1155252.2028 | 2535704.5291 | 1155231.7477 | 2535709.4088 | 1155212.3045
6 | 2535726.4155 | 1155158.3865 | 2535719.4105 | 1155179.471 | 2535710.9663 | 1155206.0982 | 2535710.8751 | 1155206.4617
7 | 2535701.3854 | 1155253.1378 | 2535698.5963 | 1155285.8742 | 2535697.9667 | 1155290.8867
8 | 2535480.9795 | 1155322.5933 | 2535494.5126 | 1155334.9659 | 2535521.2473 | 1155355.2679 | 2535543.4526 | 1155367.1084
9 | 2535423.1035 | 1155328.7961 | 2535480.9795 | 1155322.5933
10 | 2536025.3956 | 1155269.0884 | 2536019.0046 | 1155262.4639 | 2536011.85 | 1155259.0604 | 2535998.7952 | 1155255.4975 | 2535977.3746 | 1155244.2862 | 2535962.3037 | 1155238.6881 | 2535955.4921 | 1155236.5908
11 | 2535929.4483 | 1155341.2945 | 2535906.5365 | 1155295.2691
12 | 2535697.0027 | 1155298.5627 | 2535697.9667 | 1155290.8867
13 | 2535931.4143 | 1155227.0705 | 2535941.6096 | 1155232.3163 | 2535955.4921 | 1155236.5908
14 | 2535923.5537 | 1155223.0259 | 2535931.4143 | 1155227.0705
15 | 2535726.4155 | 1155158.3865 | 2535923.5537 | 1155223.0259
16 | 2535733.1768 | 1155139.3331 | 2535727.0796 | 1155156.3875 | 2535726.4155 | 1155158.3865
17 | 2535750.1218 | 1155089.649 | 2535749.3305 | 1155093.1149 | 2535741.0178 | 1155118.4399 | 2535736.0766 | 1155131.2219 | 2535733.1768 | 1155139.3331
18 | 2535596.3668 | 1155028.4856 | 2535569.6468 | 1155075.5845
19 | 2535596.3668 | 1155028.4856 | 2535661.0621 | 1155044.1627
20 | 2535559.751 | 1155016.6516 | 2535596.3668 | 1155028.4856
21 | 2535694.4555 | 1155061.2154 | 2535661.0621 | 1155044.1627
22 | 2535535.6243 | 1155012.3513 | 2535550.3996 | 1155023.996 | 2535552.0443 | 1155024.2896 | 2535554.2954 | 1155023.1871 | 2535559.751 | 1155016.6516
23 | 2535324.2616 | 1155309.5373 | 2535349.418 | 1155324.5171
24 | 2535361.7266 | 1155331.8465 | 2535349.418 | 1155324.5171
25 | 2535324.2616 | 1155309.5373 | 2535312.9289 | 1155296.9166
26 | 2535324.2616 | 1155309.5373 | 2535307.4761 | 1155341.7439
27 | 2535361.7266 | 1155331.8465 | 2535399.886 | 1155354.5708
28 | 2535361.7266 | 1155331.8465 | 2535359.8192 | 1155337.0699 | 2535359.4529 | 1155340.8092 | 2535360.1089 | 1155344.7487 | 2535362.3065 | 1155347.9602 | 2535369.4849 | 1155354.4246
29 | 2535312.9289 | 1155296.9166 | 2535312.6939 | 1155296.6548 | 2535308.8511 | 1155282.9996
30 | 2535304.369 | 1155347.7057 | 2535307.4761 | 1155341.7439
31 | 2535399.886 | 1155354.5708 | 2535420.3831 | 1155331.8161
32 | 2535303.7794 | 1155264.9769 | 2535308.8511 | 1155282.9996
33 | 2535304.369 | 1155347.7057 | 2535283.9609 | 1155330.889
34 | 2535423.1035 | 1155328.7961 | 2535420.3831 | 1155331.8161
35 | 2535293.5678 | 1155228.6901 | 2535303.7794 | 1155264.9769
36 | 2535283.9609 | 1155330.889 | 2535258.6876 | 1155310.0632
37 | 2535293.5678 | 1155228.6901 | 2535311.2309 | 1155219.217 | 2535314.1553 | 1155216.3348
38 | 2535293.5678 | 1155228.6901 | 2535291.4644 | 1155221.3156
39 | 2535346.8587 | 1155184.1032 | 2535314.1553 | 1155216.3348
40 | 2535286.959 | 1155205.5195 | 2535291.4644 | 1155221.3156
41 | 2535346.8587 | 1155184.1032 | 2535314.7361 | 1155170.0412 | 2535321.7767 | 1155153.2145
42 | 2535346.8587 | 1155184.1032 | 2535376.4174 | 1155196.8036
43 | 2535346.8587 | 1155184.1032 | 2535353.3026 | 1155176.3074 | 2535356.7057 | 1155162.5188 | 2535357.1376 | 1155159.179
44 | 2535280.894 | 1155184.2557 | 2535286.959 | 1155205.5195
45 | 2535280.894 | 1155184.2557 | 2535276.883 | 1155170.1932 | 2535270.1346 | 1155164.1633
46 | 2535257.1256 | 1155152.5393 | 2535270.1346 | 1155164.1633
47 | 2535325.712 | 1155143.8094 | 2535321.7767 | 1155153.2145
48 | 2535376.4174 | 1155196.8036 | 2535394.6271 | 1155204.6277
49 | 2535363.4706 | 1155134.6641 | 2535356.7813 | 1155149.5887 | 2535356.5576 | 1155153.0374 | 2535357.1376 | 1155159.179
50 | 2535466.0383 | 1155235.3108 | 2535394.6271 | 1155204.6277
51 | 2535363.4706 | 1155134.6641 | 2535355.2724 | 1155131.2615 | 2535328.0468 | 1155116.8021 | 2535323.2602 | 1155113.2405 | 2535322.6541 | 1155108.2443
52 | 2535363.4706 | 1155134.6641 | 2535385.637 | 1155110.9457
53 | 2535341.7018 | 1155089.1178 | 2535329.269 | 1155100.6578 | 2535322.6541 | 1155108.2443
54 | 2535427.0799 | 1155070.5558 | 2535392.5531 | 1155103.5455 | 2535385.637 | 1155110.9457
55 | 2535514.9234 | 1154968.4016 | 2535519.039 | 1154970.9144 | 2535513.8839 | 1154988.7573 | 2535514.1312 | 1154992.5011 | 2535515.3952 | 1154995.2001 | 2535533.1709 | 1155010.4178 | 2535535.6243 | 1155012.3513
56 | 2535533.8103 | 1154934.9029 | 2535514.9234 | 1154968.4016
57 | 2535512.2362 | 1154973.1775 | 2535514.9234 | 1154968.4016
58 | 2535533.8103 | 1154934.9029 | 2535559.5344 | 1154951.3134
59 | 2535512.2362 | 1154973.1775 | 2535505.3083 | 1154987.3708 | 2535494.3838 | 1155002.2628 | 2535472.5214 | 1155025.7882 | 2535470.4412 | 1155027.9108
60 | 2535469.2511 | 1155029.1251 | 2535470.4412 | 1155027.9108
61 | 2535451.8148 | 1155046.9221 | 2535469.2511 | 1155029.1251
62 | 2535744.314 | 1155086.6762 | 2535750.1218 | 1155089.649
63 | 2535744.314 | 1155086.6762 | 2535724.2907 | 1155076.4511
64 | 2535694.4555 | 1155061.2154 | 2535724.2907 | 1155076.4511
65 | 2535451.8148 | 1155046.9221 | 2535427.0799 | 1155070.5558
66 | 2535451.8148 | 1155046.9221 | 2535401.3491 | 1155017.7372

## bus_geodata
| x | y | coords
0 | 2535961.9564 | 1155281.6043
1 | 2535971.0981 | 1155286.6964
2 | 2535985.1433 | 1155294.5198
3 | 2535709.4088 | 1155212.3045
4 | 2535710.8751 | 1155206.4617
5 | 2535701.3854 | 1155253.1378
6 | 2535543.4526 | 1155367.1084
7 | 2535480.9795 | 1155322.5933
8 | 2536025.3956 | 1155269.0884
9 | 2535929.4483 | 1155341.2945
10 | 2535697.9667 | 1155290.8867
11 | 2535955.4921 | 1155236.5908
12 | 2535906.5365 | 1155295.2691
13 | 2535931.4143 | 1155227.0705
14 | 2535726.4155 | 1155158.3865
15 | 2535923.5537 | 1155223.0259
16 | 2535733.1768 | 1155139.3331
17 | 2535697.0027 | 1155298.5627
18 | 2535596.3668 | 1155028.4856
19 | 2535569.6468 | 1155075.5845
20 | 2535661.0621 | 1155044.1627
21 | 2535559.751 | 1155016.6516
22 | 2535349.418 | 1155324.5171
23 | 2535324.2616 | 1155309.5373
24 | 2535361.7266 | 1155331.8465
25 | 2535312.9289 | 1155296.9166
26 | 2535307.4761 | 1155341.7439
27 | 2535399.886 | 1155354.5708
28 | 2535369.4849 | 1155354.4246
29 | 2535308.8511 | 1155282.9996
30 | 2535304.369 | 1155347.7057
31 | 2535420.3831 | 1155331.8161
32 | 2535303.7794 | 1155264.9769
33 | 2535283.9609 | 1155330.889
34 | 2535423.1035 | 1155328.7961
35 | 2535293.5678 | 1155228.6901
36 | 2535314.1553 | 1155216.3348
37 | 2535291.4644 | 1155221.3156
38 | 2535346.8587 | 1155184.1032
39 | 2535286.959 | 1155205.5195
40 | 2535280.894 | 1155184.2557
41 | 2535270.1346 | 1155164.1633
42 | 2535257.1256 | 1155152.5393
43 | 2535258.6876 | 1155310.0632
44 | 2535321.7767 | 1155153.2145
45 | 2535376.4174 | 1155196.8036
46 | 2535357.1377 | 1155159.179
47 | 2535325.712 | 1155143.8094
48 | 2535394.6271 | 1155204.6277
49 | 2535363.4706 | 1155134.6641
50 | 2535466.0383 | 1155235.3108
51 | 2535322.6541 | 1155108.2443
52 | 2535385.637 | 1155110.9457
53 | 2535535.6243 | 1155012.3513
54 | 2535514.9234 | 1154968.4016
55 | 2535533.8103 | 1154934.9029
56 | 2535512.2362 | 1154973.1775
57 | 2535559.5344 | 1154951.3134
58 | 2535470.4412 | 1155027.9108
59 | 2535469.2511 | 1155029.1251
60 | 2535750.1218 | 1155089.649
61 | 2535744.314 | 1155086.6762
62 | 2535724.2907 | 1155076.4511
63 | 2535694.4555 | 1155061.2154
64 | 2535427.0799 | 1155070.5558
65 | 2535451.8148 | 1155046.9221
66 | 2535401.3491 | 1155017.7372
67 | 2535341.7018 | 1155089.1178
68 | 2535469.2511 | 1155029.1251

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1