## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5585-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5585-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5585-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5585-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5585-4_0_3_node_114 | 0.4 | n |  | TRUE
5 | bus_LV_5585-4_0_3_node_112 | 0.4 | n |  | TRUE
6 | bus_LV_5585-4_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_5585-4_0_3_node_111 | 0.4 | n |  | TRUE
8 | bus_LV_5585-4_0_3_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_5585-4_0_3_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_5585-4_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5585-4_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5585-4_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5585-4_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5585-4_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5585-4_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_5585-4_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5585-4_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5585-4_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5585-4_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5585-4_0_3_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_5585-4_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5585-4_0_3_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_5585-4_0_3_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_5585-4_0_3_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_5585-4_0_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_5585-4_0_3_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_5585-4_0_3_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_5585-4_0_3_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_5585-4_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_5585-4_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5585-4_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5585-4_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5585-4_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_5585-4_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5585-4_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_5585-4_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5585-4_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5585-4_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5585-4_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_5585-4_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_5585-4_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5585-4_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5585-4_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_5585-4_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_5585-4_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5585-4_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_5585-4_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_5585-4_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5585-4_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5585-4_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_5585-4_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_5585-4_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5585-4_0_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5585-4_0_3_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_5585-4_0_3_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_5585-4_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5585-4_0_3_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_5585-4_0_3_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_5585-4_0_3_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_5585-4_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5585-4_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_5585-4_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_5585-4_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5585-4_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5585-4_0_3_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_5585-4_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_5585-4_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_5585-4_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_5585-4_0_3_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_5585-4_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_5585-4_0_3_node_99 | 0.4 | n |  | TRUE
72 | bus_LV_5585-4_0_3_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_5585-4_0_3_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_5585-4_0_3_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_5585-4_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_5585-4_0_3_node_105 | 0.4 | n |  | TRUE
77 | bus_LV_5585-4_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_5585-4_0_3_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_5585-4_0_3_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_5585-4_0_3_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_5585-4_0_3_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_5585-4_0_3_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_5585-4_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_5585-4_0_3_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_5585-4_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_5585-4_0_3_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_5585-4_0_3_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5585-4_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_5585-4_0_3_node_113 | 0.4 | n |  | TRUE
90 | bus_LV_5585-4_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_5585-4_0_3_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_5585-4_0_3_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_5585-4_0_3_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_5585-4_0_3_node_104 | 0.4 | n |  | TRUE
95 | bus_LV_5585-4_0_3_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_5585-4_0_3_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_5585-4_0_3_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_5585-4_0_3_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_5585-4_0_3_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_5585-4_0_3_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_5585-4_0_3_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_5585-4_0_3_node_108 | 0.4 | n |  | TRUE
103 | bus_LV_5585-4_0_3_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_5585-4_0_3_node_94 | 0.4 | n |  | TRUE
105 | bus_LV_5585-4_0_3_node_95 | 0.4 | n |  | TRUE
106 | bus_LV_5585-4_0_3_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_5585-4_0_3_node_97 | 0.4 | n |  | TRUE
108 | bus_LV_5585-4_0_3_node_107 | 0.4 | n |  | TRUE
109 | bus_LV_5585-4_0_3_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_5585-4_0_3_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_5585-4_0_3_node_102 | 0.4 | n |  | TRUE
112 | bus_LV_5585-4_0_3_node_109 | 0.4 | n |  | TRUE
113 | bus_MV_624_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5585-4_0_3_load_0 | 0 | 0.0025701 | 0.00064412 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5585-4_0_3_load_3 | 3 | 0.0032759 | 0.00082103 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5585-4_0_3_load_114 | 4 | 0.00070205 | 0.00017595 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5585-4_0_3_load_24 | 6 | 0.0019758 | 0.00049518 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5585-4_0_3_load_111 | 7 | 0.00057155 | 0.00014324 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5585-4_0_3_load_5 | 10 | 0.0027239 | 0.00068267 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5585-4_0_3_load_7 | 12 | 0.0025124 | 0.00062967 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5585-4_0_3_load_12 | 13 | 0.0071222 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5585-4_0_3_load_11 | 17 | 0.0056754 | 0.0014224 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5585-4_0_3_load_9 | 18 | 0.0026143 | 0.00065522 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5585-4_0_3_load_73 | 20 | 0.0041756 | 0.0010465 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5585-4_0_3_load_66 | 23 | 0.0040417 | 0.0010129 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5585-4_0_3_load_64 | 24 | 0.0021128 | 0.00052951 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5585-4_0_3_load_47 | 25 | 0.0068208 | 0.0017095 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5585-4_0_3_load_45 | 26 | 0.013811 | 0.0034614 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5585-4_0_3_load_72 | 27 | 0.0082265 | 0.0020618 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5585-4_0_3_load_44 | 28 | 0.012008 | 0.0030095 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5585-4_0_3_load_16 | 29 | 0.0055898 | 0.0014009 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5585-4_0_3_load_17 | 30 | 0.00066678 | 0.00016711 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5585-4_0_3_load_18 | 31 | 0.0098919 | 0.0024791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5585-4_0_3_load_20 | 32 | 0.0017605 | 0.00044123 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5585-4_0_3_load_25 | 33 | 0.0064094 | 0.0016064 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5585-4_0_3_load_21 | 35 | 0.0082753 | 0.002074 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5585-4_0_3_load_32 | 37 | 0.0041447 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5585-4_0_3_load_31 | 38 | 0.0018524 | 0.00046426 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5585-4_0_3_load_41 | 39 | 0.0096324 | 0.0024141 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5585-4_0_3_load_29 | 40 | 0.0015736 | 0.00039439 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5585-4_0_3_load_27 | 41 | 0.0016476 | 0.00041294 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5585-4_0_3_load_28 | 42 | 0.0039433 | 0.00098829 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5585-4_0_3_load_30 | 43 | 0.0016582 | 0.00041557 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5585-4_0_3_load_33 | 46 | 0.0037563 | 0.00094142 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5585-4_0_3_load_34 | 48 | 0.0086154 | 0.0021592 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5585-4_0_3_load_37 | 50 | 0.0030206 | 0.00075704 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5585-4_0_3_load_60 | 51 | 0.005268 | 0.0013203 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5585-4_0_3_load_38 | 52 | 0.0029207 | 0.00073199 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5585-4_0_3_load_39 | 53 | 0.0033903 | 0.00084969 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5585-4_0_3_load_86 | 54 | 0.0024837 | 0.00062247 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5585-4_0_3_load_61 | 55 | 0.0056467 | 0.0014152 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5585-4_0_3_load_70 | 57 | 0.0012439 | 0.00031174 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5585-4_0_3_load_78 | 58 | 0.0071222 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5585-4_0_3_load_69 | 59 | 0.0039088 | 0.00097963 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5585-4_0_3_load_48 | 60 | 0.0028365 | 0.00071089 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5585-4_0_3_load_49 | 61 | 0.0035437 | 0.00088814 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5585-4_0_3_load_51 | 63 | 0.0027332 | 0.00068501 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5585-4_0_3_load_57 | 66 | 0.00098198 | 0.00024611 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5585-4_0_3_load_53 | 67 | 0.0020804 | 0.0005214 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5585-4_0_3_load_54 | 68 | 0.0022501 | 0.00056394 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5585-4_0_3_load_56 | 69 | 0.0016076 | 0.00040289 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5585-4_0_3_load_58 | 70 | 0.0028002 | 0.0007018 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5585-4_0_3_load_59 | 72 | 0.004688 | 0.0011749 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5585-4_0_3_load_98 | 74 | 0.0036336 | 0.00091066 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5585-4_0_3_load_62 | 75 | 0.0042854 | 0.001074 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5585-4_0_3_load_105 | 76 | 0.0030995 | 0.00077682 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5585-4_0_3_load_63 | 77 | 0.002682 | 0.00067218 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5585-4_0_3_load_68 | 80 | 0.0037136 | 0.00093072 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5585-4_0_3_load_71 | 81 | 0.0054558 | 0.0013674 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5585-4_0_3_load_74 | 82 | 0.0032468 | 0.00081372 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5585-4_0_3_load_84 | 83 | 0.0027047 | 0.00067787 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5585-4_0_3_load_83 | 85 | 0.0043615 | 0.0010931 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5585-4_0_3_load_76 | 86 | 0.0037251 | 0.00093359 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5585-4_0_3_load_79 | 88 | 0.0022572 | 0.0005657 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5585-4_0_3_load_113 | 89 | 0.0012719 | 0.00031877 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5585-4_0_3_load_81 | 91 | 0.0033432 | 0.00083789 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5585-4_0_3_load_82 | 92 | 0.0039804 | 0.00099757 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5585-4_0_3_load_90 | 93 | 0.0030882 | 0.00077398 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5585-4_0_3_load_104 | 94 | 0.0021203 | 0.00053139 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5585-4_0_3_load_87 | 95 | 0.003031 | 0.00075963 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5585-4_0_3_load_85 | 96 | 0.0035902 | 0.00089978 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5585-4_0_3_load_88 | 97 | 0.0011962 | 0.0002998 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5585-4_0_3_load_89 | 98 | 0.0028516 | 0.00071467 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5585-4_0_3_load_92 | 100 | 0.001236 | 0.00030976 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5585-4_0_3_load_108 | 102 | 0.0039982 | 0.001002 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5585-4_0_3_load_93 | 103 | 0.0040706 | 0.0010202 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5585-4_0_3_load_94 | 104 | 0.0019339 | 0.00048467 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5585-4_0_3_load_95 | 105 | 0.0013533 | 0.00033917 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5585-4_0_3_load_96 | 106 | 0.0058423 | 0.0014642 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5585-4_0_3_load_106 | 109 | 0.005483 | 0.0013742 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5585-4_0_3_load_101 | 110 | 0.0039951 | 0.0010013 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5585-4_0_3_load_102 | 111 | 0.0026512 | 0.00066445 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5585-4_0_3_load_109 | 112 | 0.0022671 | 0.0005682 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5585-4_0_3_line_0 |  | 0 | 1 | 0.022959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5585-4_0_3_line_1 |  | 1 | 2 | 0.039219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5585-4_0_3_line_2 |  | 1 | 3 | 0.069032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5585-4_0_3_line_3 |  | 2 | 4 | 0.024038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5585-4_0_3_line_4 |  | 2 | 5 | 0.013789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5585-4_0_3_line_5 |  | 3 | 6 | 0.047293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5585-4_0_3_line_6 |  | 5 | 7 | 0.031566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5585-4_0_3_line_7 |  | 6 | 8 | 0.043477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5585-4_0_3_line_8 |  | 7 | 64 | 0.010246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5585-4_0_3_line_9 |  | 8 | 36 | 0.052421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5585-4_0_3_line_10 |  | 8 | 35 | 0.046909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5585-4_0_3_line_11 |  | 9 | 10 | 0.054164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5585-4_0_3_line_12 |  | 9 | 11 | 0.040654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5585-4_0_3_line_13 |  | 10 | 12 | 0.033516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5585-4_0_3_line_14 |  | 11 | 13 | 0.17053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5585-4_0_3_line_15 |  | 12 | 14 | 0.039752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5585-4_0_3_line_16 |  | 13 | 15 | 0.037844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5585-4_0_3_line_17 |  | 14 | 16 | 0.005433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5585-4_0_3_line_18 |  | 15 | 19 | 0.023001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5585-4_0_3_line_19 |  | 16 | 17 | 0.029189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5585-4_0_3_line_20 |  | 16 | 18 | 0.016121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5585-4_0_3_line_21 |  | 19 | 20 | 0.018245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5585-4_0_3_line_22 |  | 20 | 21 | 0.011963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5585-4_0_3_line_23 |  | 21 | 22 | 0.020688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5585-4_0_3_line_24 |  | 22 | 25 | 0.027333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5585-4_0_3_line_25 |  | 23 | 24 | 0.023295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5585-4_0_3_line_26 |  | 24 | 77 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5585-4_0_3_line_27 |  | 25 | 27 | 0.041908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5585-4_0_3_line_28 |  | 26 | 27 | 0.042691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5585-4_0_3_line_29 |  | 26 | 28 | 0.032805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5585-4_0_3_line_30 |  | 28 | 47 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5585-4_0_3_line_31 |  | 29 | 30 | 0.078475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5585-4_0_3_line_32 |  | 29 | 31 | 0.030219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5585-4_0_3_line_33 |  | 31 | 32 | 0.03519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5585-4_0_3_line_34 |  | 32 | 33 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5585-4_0_3_line_35 |  | 33 | 34 | 0.032128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5585-4_0_3_line_36 |  | 34 | 40 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5585-4_0_3_line_37 |  | 34 | 38 | 0.031941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5585-4_0_3_line_38 |  | 36 | 37 | 0.023277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5585-4_0_3_line_39 |  | 36 | 38 | 0.018867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5585-4_0_3_line_40 |  | 37 | 39 | 0.039225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_5585-4_0_3_line_41 |  | 39 | 47 | 0.022598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5585-4_0_3_line_42 |  | 40 | 41 | 0.0077875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5585-4_0_3_line_43 |  | 41 | 42 | 0.031628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5585-4_0_3_line_44 |  | 42 | 43 | 0.018008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5585-4_0_3_line_45 |  | 43 | 44 | 0.03844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5585-4_0_3_line_46 |  | 44 | 45 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5585-4_0_3_line_47 |  | 44 | 46 | 0.054065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5585-4_0_3_line_48 |  | 45 | 49 | 0.072145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5585-4_0_3_line_49 |  | 45 | 50 | 0.032012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5585-4_0_3_line_50 |  | 46 | 48 | 0.00021086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5585-4_0_3_line_51 |  | 47 | 56 | 0.025653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5585-4_0_3_line_52 |  | 49 | 51 | 0.021276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5585-4_0_3_line_53 |  | 50 | 52 | 0.003036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5585-4_0_3_line_54 |  | 51 | 55 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5585-4_0_3_line_55 |  | 52 | 53 | 0.027679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5585-4_0_3_line_56 |  | 53 | 54 | 0.031014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5585-4_0_3_line_57 |  | 55 | 75 | 0.043228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5585-4_0_3_line_58 |  | 56 | 57 | 0.032807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_5585-4_0_3_line_59 |  | 56 | 58 | 0.046199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5585-4_0_3_line_60 |  | 57 | 59 | 0.017679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5585-4_0_3_line_61 |  | 59 | 79 | 0.0048906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5585-4_0_3_line_62 |  | 60 | 61 | 0.0071829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5585-4_0_3_line_63 |  | 60 | 62 | 0.037219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5585-4_0_3_line_64 |  | 62 | 63 | 0.064833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5585-4_0_3_line_65 |  | 62 | 64 | 0.072994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5585-4_0_3_line_66 |  | 64 | 65 | 0.05223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5585-4_0_3_line_67 |  | 65 | 66 | 0.076014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5585-4_0_3_line_68 |  | 65 | 67 | 0.02044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5585-4_0_3_line_69 |  | 66 | 71 | 0.038805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5585-4_0_3_line_70 |  | 67 | 68 | 0.046016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5585-4_0_3_line_71 |  | 68 | 69 | 0.033081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5585-4_0_3_line_72 |  | 69 | 70 | 0.045667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5585-4_0_3_line_73 |  | 70 | 72 | 0.010477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5585-4_0_3_line_74 |  | 71 | 73 | 0.038413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5585-4_0_3_line_75 |  | 71 | 74 | 0.044916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5585-4_0_3_line_76 |  | 73 | 110 | 0.051612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5585-4_0_3_line_77 |  | 75 | 76 | 0.020017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5585-4_0_3_line_78 |  | 77 | 78 | 0.024787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5585-4_0_3_line_79 |  | 78 | 79 | 0.025763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5585-4_0_3_line_80 |  | 78 | 80 | 0.041677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5585-4_0_3_line_81 |  | 79 | 81 | 0.018604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5585-4_0_3_line_82 |  | 80 | 82 | 0.044055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5585-4_0_3_line_83 |  | 81 | 83 | 0.020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5585-4_0_3_line_84 |  | 82 | 84 | 0.029718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5585-4_0_3_line_85 |  | 83 | 85 | 0.026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5585-4_0_3_line_86 |  | 84 | 86 | 0.029954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5585-4_0_3_line_87 |  | 84 | 87 | 0.072652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5585-4_0_3_line_88 |  | 85 | 96 | 0.063943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5585-4_0_3_line_89 |  | 86 | 88 | 0.00041003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5585-4_0_3_line_90 |  | 87 | 89 | 0.027038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5585-4_0_3_line_91 |  | 88 | 90 | 0.029492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5585-4_0_3_line_92 |  | 90 | 91 | 0.020215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5585-4_0_3_line_93 |  | 90 | 92 | 0.058399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5585-4_0_3_line_94 |  | 91 | 93 | 0.0063426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5585-4_0_3_line_95 |  | 92 | 94 | 0.019743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5585-4_0_3_line_96 |  | 93 | 95 | 0.067986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5585-4_0_3_line_97 |  | 95 | 97 | 0.00048904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5585-4_0_3_line_98 |  | 97 | 98 | 0.0090213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5585-4_0_3_line_99 |  | 98 | 99 | 0.029658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5585-4_0_3_line_100 |  | 99 | 100 | 0.016326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5585-4_0_3_line_101 |  | 100 | 101 | 0.071483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5585-4_0_3_line_102 |  | 101 | 102 | 0.11964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5585-4_0_3_line_103 |  | 102 | 107 | 0.061505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5585-4_0_3_line_104 |  | 103 | 104 | 0.0018613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5585-4_0_3_line_105 |  | 103 | 105 | 0.019138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5585-4_0_3_line_106 |  | 104 | 106 | 0.020928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5585-4_0_3_line_107 |  | 105 | 107 | 0.032274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5585-4_0_3_line_108 |  | 107 | 108 | 0.008883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5585-4_0_3_line_109 |  | 108 | 109 | 0.027478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5585-4_0_3_line_110 |  | 110 | 111 | 0.007154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5585-4_0_3_line_111 |  | 110 | 112 | 0.088961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5585-4_0_3_trafo_32 | 0.63 MVA 20/0.4 kV | 113 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2535759.9543 | 1155569.3065 | 2535775.2194 | 1155552.1571
1 | 2535759.9543 | 1155569.3065 | 2535784.5041 | 1155599.9386
2 | 2535759.9543 | 1155569.3065 | 2535746.6505 | 1155565.3688 | 2535738.2817 | 1155564.5912 | 2535731.2115 | 1155565.4672 | 2535710.9604 | 1155577.4682 | 2535699.2533 | 1155588.5046
3 | 2535802.2908 | 1155584.8403 | 2535788.6469 | 1155599.3051 | 2535784.5041 | 1155599.9386
4 | 2535784.069 | 1155612.3278 | 2535787.3174 | 1155605.5227 | 2535784.5041 | 1155599.9386
5 | 2535699.2533 | 1155588.5046 | 2535693.1157 | 1155594.2906 | 2535669.2556 | 1155618.7927 | 2535664.6536 | 1155619.509 | 2535664.6536 | 1155619.509
6 | 2535784.069 | 1155612.3278 | 2535793.9912 | 1155636.4573 | 2535798.7488 | 1155639.17
7 | 2535623.8639 | 1155604.4598 | 2535664.6536 | 1155619.509
8 | 2535808.1763 | 1155640.3412 | 2535803.082 | 1155641.6407 | 2535798.7488 | 1155639.17
9 | 2535574.8929 | 1155585.3964 | 2535623.8639 | 1155604.4598
10 | 2535623.8639 | 1155604.4598 | 2535610.064 | 1155635.1022 | 2535621.7562 | 1155641.4466
11 | 2535859.7793 | 1155450.6197 | 2535877.0221 | 1155418.2846 | 2535887.1451 | 1155403.9864
12 | 2535820.1205 | 1155441.6826 | 2535840.4513 | 1155446.4126 | 2535859.7793 | 1155450.6197
13 | 2535887.1451 | 1155403.9864 | 2535906.5115 | 1155376.6324
14 | 2535820.1205 | 1155441.6826 | 2535736.2659 | 1155293.191
15 | 2535931.8703 | 1155346.1602 | 2535917.366 | 1155361.3009 | 2535906.5115 | 1155376.6324
16 | 2535709.469 | 1155319.8987 | 2535731.6127 | 1155298.3056 | 2535736.2659 | 1155293.191
17 | 2535929.4483 | 1155341.2945 | 2535931.8703 | 1155346.1602
18 | 2535691.6616 | 1155324.514 | 2535696.274 | 1155327.6108 | 2535700.8312 | 1155329.1295 | 2535709.469 | 1155319.8987
19 | 2535937.4878 | 1155313.3379 | 2535930.3055 | 1155334.6483 | 2535929.4483 | 1155341.2945
20 | 2535929.4483 | 1155341.2945 | 2535922.2639 | 1155326.8625
21 | 2535691.6616 | 1155324.514 | 2535684.1025 | 1155341.1199
22 | 2535679.1464 | 1155352.0074 | 2535684.1025 | 1155341.1199
23 | 2535679.1464 | 1155352.0074 | 2535669.2776 | 1155370.2008
24 | 2535669.2776 | 1155370.2008 | 2535664.3428 | 1155368.5082 | 2535661.2618 | 1155368.7413 | 2535656.8602 | 1155371.0008 | 2535651.1893 | 1155379.3661 | 2535648.7983 | 1155382.538
25 | 2535557.475 | 1155376.024 | 2535544.7083 | 1155395.5094
26 | 2535536.7288 | 1155407.6881 | 2535544.7083 | 1155395.5094
27 | 2535625.8344 | 1155417.4694 | 2535637.1333 | 1155397.6155 | 2535643.3239 | 1155389.8005 | 2535648.7983 | 1155382.538
28 | 2535619.6808 | 1155459.7143 | 2535625.8344 | 1155417.4694
29 | 2535605.0884 | 1155489.0799 | 2535615.0087 | 1155468.1467 | 2535619.6808 | 1155459.7143
30 | 2535597.5923 | 1155504.8979 | 2535605.0884 | 1155489.0799
31 | 2535530.5337 | 1155740.3052 | 2535531.4594 | 1155746.406 | 2535534.9791 | 1155753.4721 | 2535539.2492 | 1155759.7186 | 2535548.8284 | 1155768.2427 | 2535568.8485 | 1155776.9773 | 2535574.5615 | 1155781.1739 | 2535578.5028 | 1155786.0788 | 2535580.6762 | 1155792.7814 | 2535580.7824 | 1155794.53
32 | 2535530.5337 | 1155740.3052 | 2535530.2956 | 1155738.7365 | 2535529.9111 | 1155732.2037 | 2535530.7652 | 1155723.1785 | 2535535.1726 | 1155710.9241
33 | 2535535.1726 | 1155710.9241 | 2535547.0821 | 1155677.8106
34 | 2535551.7984 | 1155664.6974 | 2535547.0821 | 1155677.8106
35 | 2535562.6716 | 1155634.4654 | 2535551.7984 | 1155664.6974
36 | 2535562.6716 | 1155634.4654 | 2535555.7286 | 1155633.6061 | 2535546.6489 | 1155635.9047 | 2535546.6489 | 1155635.9047
37 | 2535562.6716 | 1155634.4654 | 2535569.7066 | 1155614.5902 | 2535571.3589 | 1155608.458 | 2535572.3753 | 1155604.0671
38 | 2535574.8929 | 1155585.3964 | 2535575.52 | 1155570.2147 | 2535575.8561 | 1155562.1396
39 | 2535574.8929 | 1155585.3964 | 2535573.4407 | 1155599.4641 | 2535572.3753 | 1155604.0671
40 | 2535588.1894 | 1155525.4468 | 2535576.9748 | 1155549.9547 | 2535576.2152 | 1155553.5092 | 2535575.8561 | 1155562.1396
41 | 2535597.5923 | 1155504.8979 | 2535588.1894 | 1155525.4468
42 | 2535546.6489 | 1155635.9047 | 2535539.7384 | 1155639.4951
43 | 2535511.6724 | 1155654.0769 | 2535539.7384 | 1155639.4951
44 | 2535511.6724 | 1155654.0769 | 2535505.529 | 1155657.2687 | 2535501.6618 | 1155657.8439 | 2535494.6476 | 1155656.3305
45 | 2535456.7369 | 1155651.2782 | 2535471.6715 | 1155651.3734 | 2535494.6476 | 1155656.3305
46 | 2535437.9192 | 1155648.1453 | 2535456.7369 | 1155651.2782
47 | 2535456.7369 | 1155651.2782 | 2535443.3871 | 1155703.6688
48 | 2535366.0343 | 1155640.1914 | 2535397.8306 | 1155642.6953 | 2535437.9192 | 1155648.1453
49 | 2535437.9192 | 1155648.1453 | 2535433.0068 | 1155629.977 | 2535432.0788 | 1155627.1298 | 2535432.2091 | 1155622.8372 | 2535433.2202 | 1155617.0223
50 | 2535443.335 | 1155703.8732 | 2535443.3871 | 1155703.6688
51 | 2535597.5923 | 1155504.8979 | 2535578.372 | 1155487.8501
52 | 2535366.0343 | 1155640.1914 | 2535368.765 | 1155619.091
53 | 2535433.2202 | 1155617.0223 | 2535433.7403 | 1155614.0312
54 | 2535368.765 | 1155619.091 | 2535370.8577 | 1155602.9214
55 | 2535433.7403 | 1155614.0312 | 2535438.1179 | 1155588.8551 | 2535439.6282 | 1155587.3602
56 | 2535467.4057 | 1155577.7344 | 2535450.9525 | 1155588.3725 | 2535442.0956 | 1155587.1336 | 2535439.6282 | 1155587.3602
57 | 2535370.8577 | 1155602.9214 | 2535376.4058 | 1155560.0513
58 | 2535578.372 | 1155487.8501 | 2535556.3134 | 1155463.5665
59 | 2535578.372 | 1155487.8501 | 2535573.9059 | 1155491.9558 | 2535573.6119 | 1155493.1485 | 2535574.0808 | 1155493.955 | 2535581.5039 | 1155500.2344 | 2535582.398 | 1155502.0703 | 2535582.4277 | 1155504.8382 | 2535581.5398 | 1155508.5942 | 2535572.4692 | 1155525.9453
60 | 2535544.4263 | 1155450.4803 | 2535556.3134 | 1155463.5665
61 | 2535541.1379 | 1155446.8603 | 2535544.4263 | 1155450.4803
62 | 2535856.2552 | 1155606.8172 | 2535862.2421 | 1155610.7861
63 | 2535826.305 | 1155584.7505 | 2535847.7111 | 1155601.1531 | 2535856.2552 | 1155606.8172
64 | 2535826.305 | 1155584.7505 | 2535870.1682 | 1155537.0087
65 | 2535808.1763 | 1155640.3412 | 2535799.9005 | 1155630.313 | 2535793.5908 | 1155622.6762 | 2535826.305 | 1155584.7505
66 | 2535831.1817 | 1155686.5541 | 2535828.6629 | 1155674.0631 | 2535816.6893 | 1155652.468 | 2535808.1763 | 1155640.3412
67 | 2535831.1817 | 1155686.5541 | 2535832.4856 | 1155704.5056 | 2535823.7771 | 1155735.7935 | 2535816.8725 | 1155760.3805
68 | 2535831.1817 | 1155686.5541 | 2535849.7137 | 1155695.1763
69 | 2535809.5485 | 1155798.1462 | 2535809.0443 | 1155791.8815 | 2535809.805 | 1155785.5477 | 2535816.8725 | 1155760.3805
70 | 2535849.7137 | 1155695.1763 | 2535891.4346 | 1155714.5873
71 | 2535891.4346 | 1155714.5873 | 2535895.1141 | 1155716.2992 | 2535905.8499 | 1155722.5658 | 2535915.5046 | 1155736.0591
72 | 2535915.5046 | 1155736.0591 | 2535915.5046 | 1155736.0591 | 2535920.2994 | 1155751.2608 | 2535921.3047 | 1155761.3778 | 2535911.858 | 1155778.5057
73 | 2535906.7978 | 1155787.6803 | 2535911.858 | 1155778.5057
74 | 2535809.5485 | 1155798.1462 | 2535810.3754 | 1155803.7516 | 2535811.6526 | 1155809.8746 | 2535813.2286 | 1155815.9611 | 2535818.0555 | 1155835.5759
75 | 2535809.5485 | 1155798.1462 | 2535851.1127 | 1155815.1719
76 | 2535818.0555 | 1155835.5759 | 2535858.4492 | 1155851.7979 | 2535866.4245 | 1155853.1135
77 | 2535376.4058 | 1155560.0513 | 2535378.9749 | 1155540.2003
78 | 2535523.1448 | 1155428.421 | 2535536.7288 | 1155407.6881
79 | 2535523.1448 | 1155428.421 | 2535527.937 | 1155432.5385 | 2535541.1379 | 1155446.8603
80 | 2535523.1448 | 1155428.421 | 2535487.4078 | 1155406.9766
81 | 2535541.1379 | 1155446.8603 | 2535532.6917 | 1155463.4362
82 | 2535449.6321 | 1155384.309 | 2535487.4078 | 1155406.9766
83 | 2535523.2332 | 1155481.9987 | 2535532.6917 | 1155463.4362
84 | 2535424.1495 | 1155369.018 | 2535449.6321 | 1155384.309
85 | 2535511.0564 | 1155505.8962 | 2535523.2332 | 1155481.9987
86 | 2535424.1495 | 1155369.018 | 2535419.8528 | 1155373.8891 | 2535408.6023 | 1155394.4735
87 | 2535361.7266 | 1155331.8465 | 2535399.886 | 1155354.5708 | 2535424.1495 | 1155369.018
88 | 2535459.6137 | 1155512.8603 | 2535495.2786 | 1155524.128 | 2535499.8068 | 1155524.3906 | 2535502.5938 | 1155522.5041 | 2535511.0564 | 1155505.8962
89 | 2535408.4057 | 1155394.8333 | 2535408.6023 | 1155394.4735
90 | 2535369.626 | 1155354.5517 | 2535362.3065 | 1155347.9602 | 2535360.1089 | 1155344.7487 | 2535359.4529 | 1155340.8092 | 2535359.8192 | 1155337.0699 | 2535361.7266 | 1155331.8465
91 | 2535394.2617 | 1155420.712 | 2535408.4057 | 1155394.8333
92 | 2535394.2617 | 1155420.712 | 2535389.1214 | 1155423.4577 | 2535381.1289 | 1155432.7265 | 2535379.7357 | 1155434.3615
93 | 2535394.2617 | 1155420.712 | 2535415.5137 | 1155431.1782 | 2535418.5937 | 1155435.8477 | 2535419.3885 | 1155442.7095 | 2535418.3339 | 1155450.2028 | 2535415.6215 | 1155456.1796 | 2535410.3701 | 1155462.3174
94 | 2535375.6221 | 1155439.1892 | 2535379.7357 | 1155434.3615
95 | 2535410.3701 | 1155462.3174 | 2535403.8422 | 1155469.9471 | 2535400.0187 | 1155473.1678 | 2535395.5075 | 1155474.4948
96 | 2535375.6221 | 1155439.1892 | 2535318.5092 | 1155402.3076
97 | 2535318.5092 | 1155402.3076 | 2535318.037 | 1155402.1806
98 | 2535309.3256 | 1155399.8365 | 2535318.037 | 1155402.1806
99 | 2535287.0767 | 1155380.8767 | 2535295.8447 | 1155391.6327 | 2535309.3256 | 1155399.8365 | 2535309.3256 | 1155399.8365
100 | 2535287.0767 | 1155380.8767 | 2535277.6714 | 1155394.221
101 | 2535236.4896 | 1155452.6499 | 2535277.6714 | 1155394.221
102 | 2535300.4369 | 1155553.761 | 2535236.4896 | 1155452.6499
103 | 2535300.4369 | 1155553.761 | 2535297.0289 | 1155552.8194 | 2535294.2505 | 1155552.6492 | 2535291.4226 | 1155552.8798 | 2535289.7393 | 1155553.9763 | 2535288.7377 | 1155556.3995 | 2535288.7346 | 1155566.0826 | 2535289.4433 | 1155569.2101 | 2535291.1575 | 1155570.9815 | 2535293.0135 | 1155571.6841 | 2535305.8272 | 1155572.1019 | 2535322.8746 | 1155576.7765
104 | 2535332.6584 | 1155526.5993 | 2535332.6584 | 1155526.5993 | 2535333.6342 | 1155525.0143
105 | 2535332.6584 | 1155526.5993 | 2535330.2117 | 1155531.595 | 2535328.5582 | 1155536.8935 | 2535327.3702 | 1155542.665 | 2535327.0915 | 1155544.779
106 | 2535344.6067 | 1155507.1934 | 2535333.6342 | 1155525.0143
107 | 2535322.8746 | 1155576.7765 | 2535327.0915 | 1155544.779
108 | 2535322.8746 | 1155576.7765 | 2535321.7192 | 1155585.5827
109 | 2535321.7192 | 1155585.5827 | 2535349.0977 | 1155587.9211
110 | 2535873.569 | 1155853.4819 | 2535866.4245 | 1155853.1135
111 | 2535866.4245 | 1155853.1135 | 2535845.2737 | 1155939.5234

## bus_geodata
| x | y | coords
0 | 2535775.2194 | 1155552.1571
1 | 2535759.9543 | 1155569.3065
2 | 2535784.5041 | 1155599.9386
3 | 2535699.2533 | 1155588.5046
4 | 2535802.2908 | 1155584.8403
5 | 2535784.069 | 1155612.3278
6 | 2535664.6536 | 1155619.509
7 | 2535798.7488 | 1155639.17
8 | 2535623.8639 | 1155604.4598
9 | 2535859.7793 | 1155450.6197
10 | 2535887.1451 | 1155403.9864
11 | 2535820.1205 | 1155441.6826
12 | 2535906.5115 | 1155376.6324
13 | 2535736.2659 | 1155293.191
14 | 2535931.8703 | 1155346.1602
15 | 2535709.469 | 1155319.8987
16 | 2535929.4483 | 1155341.2945
17 | 2535937.4878 | 1155313.3379
18 | 2535922.2639 | 1155326.8625
19 | 2535691.6616 | 1155324.514
20 | 2535684.1025 | 1155341.1199
21 | 2535679.1464 | 1155352.0074
22 | 2535669.2776 | 1155370.2008
23 | 2535557.475 | 1155376.024
24 | 2535544.7083 | 1155395.5094
25 | 2535648.7983 | 1155382.538
26 | 2535619.6808 | 1155459.7143
27 | 2535625.8344 | 1155417.4694
28 | 2535605.0884 | 1155489.0799
29 | 2535530.5337 | 1155740.3052
30 | 2535580.7824 | 1155794.53
31 | 2535535.1726 | 1155710.9241
32 | 2535547.0821 | 1155677.8106
33 | 2535551.7984 | 1155664.6974
34 | 2535562.6716 | 1155634.4654
35 | 2535621.7562 | 1155641.4466
36 | 2535574.8929 | 1155585.3964
37 | 2535575.8561 | 1155562.1396
38 | 2535572.3753 | 1155604.0671
39 | 2535588.1894 | 1155525.4468
40 | 2535546.6489 | 1155635.9047
41 | 2535539.7384 | 1155639.4951
42 | 2535511.6724 | 1155654.0769
43 | 2535494.6476 | 1155656.3305
44 | 2535456.7369 | 1155651.2782
45 | 2535437.9192 | 1155648.1452
46 | 2535443.3871 | 1155703.6688
47 | 2535597.5923 | 1155504.8979
48 | 2535443.335 | 1155703.8732
49 | 2535366.0343 | 1155640.1914
50 | 2535433.2202 | 1155617.0223
51 | 2535368.765 | 1155619.091
52 | 2535433.7403 | 1155614.0312
53 | 2535439.6282 | 1155587.3602
54 | 2535467.4057 | 1155577.7344
55 | 2535370.8577 | 1155602.9214
56 | 2535578.372 | 1155487.8501
57 | 2535556.3134 | 1155463.5665
58 | 2535572.4692 | 1155525.9453
59 | 2535544.4263 | 1155450.4803
60 | 2535856.2552 | 1155606.8172
61 | 2535862.2421 | 1155610.7861
62 | 2535826.305 | 1155584.7505
63 | 2535870.1682 | 1155537.0087
64 | 2535808.1763 | 1155640.3412
65 | 2535831.1817 | 1155686.5541
66 | 2535816.8725 | 1155760.3805
67 | 2535849.7137 | 1155695.1763
68 | 2535891.4346 | 1155714.5873
69 | 2535915.5046 | 1155736.0591
70 | 2535911.858 | 1155778.5057
71 | 2535809.5485 | 1155798.1462
72 | 2535906.7978 | 1155787.6803
73 | 2535818.0555 | 1155835.5759
74 | 2535851.1127 | 1155815.1719
75 | 2535376.4058 | 1155560.0513
76 | 2535378.9749 | 1155540.2003
77 | 2535536.7288 | 1155407.6881
78 | 2535523.1448 | 1155428.421
79 | 2535541.1379 | 1155446.8603
80 | 2535487.4078 | 1155406.9766
81 | 2535532.6917 | 1155463.4362
82 | 2535449.6321 | 1155384.309
83 | 2535523.2332 | 1155481.9987
84 | 2535424.1495 | 1155369.018
85 | 2535511.0564 | 1155505.8962
86 | 2535408.6023 | 1155394.4735
87 | 2535361.7266 | 1155331.8465
88 | 2535408.4057 | 1155394.8333
89 | 2535369.626 | 1155354.5517
90 | 2535394.2617 | 1155420.712
91 | 2535379.7357 | 1155434.3615
92 | 2535410.3701 | 1155462.3174
93 | 2535375.6221 | 1155439.1892
94 | 2535395.5075 | 1155474.4948
95 | 2535318.5092 | 1155402.3076
96 | 2535459.6137 | 1155512.8603
97 | 2535318.037 | 1155402.1806
98 | 2535309.3256 | 1155399.8365
99 | 2535287.0767 | 1155380.8767
100 | 2535277.6714 | 1155394.221
101 | 2535236.4896 | 1155452.6499
102 | 2535300.4369 | 1155553.761
103 | 2535332.6584 | 1155526.5993
104 | 2535333.6342 | 1155525.0143
105 | 2535327.0915 | 1155544.779
106 | 2535344.6067 | 1155507.1934
107 | 2535322.8746 | 1155576.7765
108 | 2535321.7192 | 1155585.5827
109 | 2535349.0977 | 1155587.9211
110 | 2535866.4245 | 1155853.1135
111 | 2535873.569 | 1155853.4819
112 | 2535845.2737 | 1155939.5234
113 | 2535574.8929 | 1155585.3964

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1