## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-103_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-103_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-103_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-103_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5586-103_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5586-103_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_5586-103_0_5_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_5586-103_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5586-103_0_5_node_50 | 0.4 | n |  | TRUE
9 | bus_LV_5586-103_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5586-103_0_5_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_5586-103_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5586-103_0_5_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_5586-103_0_5_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_5586-103_0_5_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_5586-103_0_5_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_5586-103_0_5_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_5586-103_0_5_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_5586-103_0_5_node_54 | 0.4 | n |  | TRUE
19 | bus_LV_5586-103_0_5_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_5586-103_0_5_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_5586-103_0_5_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_5586-103_0_5_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_5586-103_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_5586-103_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5586-103_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5586-103_0_5_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_5586-103_0_5_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_5586-103_0_5_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_5586-103_0_5_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_5586-103_0_5_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5586-103_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5586-103_0_5_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_5586-103_0_5_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_5586-103_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5586-103_0_5_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_5586-103_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5586-103_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_5586-103_0_5_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_5586-103_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5586-103_0_5_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_5586-103_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_5586-103_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_5586-103_0_5_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_5586-103_0_5_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_5586-103_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_5586-103_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5586-103_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5586-103_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5586-103_0_5_node_40 | 0.4 | n |  | TRUE
50 | bus_MV_626_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-103_0_5_load_0 | 0 | 0.0081618 | 0.0020455 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-103_0_5_load_51 | 6 | 0.0040311 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-103_0_5_load_7 | 7 | 0.0069154 | 0.0017332 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-103_0_5_load_50 | 8 | 0.013832 | 0.0034667 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-103_0_5_load_52 | 13 | 0.0032258 | 0.00080847 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-103_0_5_load_18 | 14 | 0.0083379 | 0.0020897 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-103_0_5_load_53 | 15 | 0.0025793 | 0.00064643 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-103_0_5_load_54 | 18 | 0.0027846 | 0.00069788 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-103_0_5_load_44 | 21 | 0.019747 | 0.004949 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-103_0_5_load_25 | 23 | 0.01028 | 0.0025763 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-103_0_5_load_11 | 26 | 0.0095356 | 0.0023899 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-103_0_5_load_45 | 28 | 0.053569 | 0.013426 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-103_0_5_load_12 | 29 | 0.0053175 | 0.0013327 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-103_0_5_load_14 | 30 | 0.021536 | 0.0053973 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-103_0_5_load_41 | 33 | 0.025177 | 0.0063099 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-103_0_5_load_35 | 35 | 0.022664 | 0.0056801 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-103_0_5_load_33 | 36 | 0.048945 | 0.012267 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-103_0_5_load_48 | 38 | 0.057537 | 0.01442 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-103_0_5_load_21 | 39 | 0.057865 | 0.014502 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-103_0_5_load_49 | 40 | 0.019313 | 0.0048402 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-103_0_5_load_47 | 43 | 0.023332 | 0.0058475 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-103_0_5_load_43 | 44 | 0.027232 | 0.006825 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-103_0_5_load_32 | 45 | 0.040042 | 0.010036 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-103_0_5_load_36 | 46 | 0.0092169 | 0.00231 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-103_0_5_load_39 | 48 | 0.012087 | 0.0030292 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-103_0_5_load_40 | 49 | 0.013579 | 0.0034031 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-103_0_5_line_0 |  | 0 | 1 | 0.037987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5586-103_0_5_line_1 |  | 0 | 2 | 0.018513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5586-103_0_5_line_2 |  | 1 | 3 | 0.035341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5586-103_0_5_line_3 |  | 2 | 4 | 0.015485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-103_0_5_line_4 |  | 2 | 5 | 0.014803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5586-103_0_5_line_5 |  | 3 | 6 | 0.039026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5586-103_0_5_line_6 |  | 4 | 7 | 0.037541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-103_0_5_line_7 |  | 5 | 8 | 0.018416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_5586-103_0_5_line_8 |  | 6 | 9 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5586-103_0_5_line_9 |  | 8 | 14 | 0.015617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5586-103_0_5_line_10 |  | 9 | 10 | 0.025966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5586-103_0_5_line_11 |  | 10 | 27 | 0.006398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5586-103_0_5_line_12 |  | 10 | 28 | 0.02564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-103_0_5_line_13 |  | 11 | 12 | 0.43147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-103_0_5_line_14 |  | 11 | 13 | 0.0087884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-103_0_5_line_15 |  | 12 | 15 | 0.14116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-103_0_5_line_16 |  | 13 | 16 | 0.094128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-103_0_5_line_17 |  | 14 | 31 | 0.024534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5586-103_0_5_line_18 |  | 16 | 17 | 0.23162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-103_0_5_line_19 |  | 17 | 18 | 0.017546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-103_0_5_line_20 |  | 17 | 19 | 0.034413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-103_0_5_line_21 |  | 19 | 44 | 0.03031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-103_0_5_line_22 |  | 20 | 21 | 0.050657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-103_0_5_line_23 |  | 20 | 22 | 0.017553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-103_0_5_line_24 |  | 22 | 45 | 0.037378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-103_0_5_line_25 |  | 22 | 23 | 0.0093856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5586-103_0_5_line_26 |  | 24 | 25 | 0.014077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5586-103_0_5_line_27 |  | 24 | 26 | 0.018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5586-103_0_5_line_28 |  | 25 | 32 | 0.010801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-103_0_5_line_29 |  | 25 | 33 | 0.090155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-103_0_5_line_30 |  | 26 | 29 | 0.0014081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5586-103_0_5_line_31 |  | 27 | 36 | 0.025764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-103_0_5_line_32 |  | 29 | 30 | 0.024887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5586-103_0_5_line_33 |  | 30 | 31 | 0.019573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5586-103_0_5_line_34 |  | 31 | 34 | 0.063716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5586-103_0_5_line_35 |  | 32 | 35 | 0.018224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-103_0_5_line_36 |  | 34 | 39 | 0.027373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-103_0_5_line_37 |  | 34 | 37 | 0.078853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-103_0_5_line_38 |  | 35 | 46 | 0.019538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-103_0_5_line_39 |  | 36 | 45 | 0.00042058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-103_0_5_line_40 |  | 37 | 38 | 0.0039948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-103_0_5_line_41 |  | 38 | 40 | 0.0052895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-103_0_5_line_42 |  | 39 | 41 | 0.045262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-103_0_5_line_43 |  | 41 | 42 | 0.07225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-103_0_5_line_44 |  | 42 | 43 | 0.021986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-103_0_5_line_45 |  | 44 | 49 | 0.020778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-103_0_5_line_46 |  | 46 | 47 | 0.0062838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-103_0_5_line_47 |  | 47 | 48 | 0.01417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-103_0_5_line_48 |  | 47 | 49 | 0.034266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-103_0_5_trafo_15 | 0.63 MVA 20/0.4 kV | 50 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2535996.0577 | 1152118.3243 | 2535998.396 | 1152121.7012 | 2536001.6304 | 1152124.1904 | 2536003.6484 | 1152124.8693 | 2536031.3 | 1152123.8953
1 | 2536040.6581 | 1152133.0911 | 2536040.4456 | 1152128.2685 | 2536040.2882 | 1152123.5787 | 2536031.3 | 1152123.8953
2 | 2535996.0577 | 1152118.3243 | 2535996.0907 | 1152114.9443 | 2535997.4881 | 1152112.1168 | 2536004.6457 | 1152107.5381 | 2536013.1738 | 1152102.6446 | 2536022.7037 | 1152098.1408
3 | 2536025.1389 | 1152133.6898 | 2536040.6581 | 1152133.0911
4 | 2536055.3825 | 1152134.9799 | 2536040.6581 | 1152133.0911
5 | 2536022.7037 | 1152098.1408 | 2536026.5548 | 1152096.5545 | 2536032.7336 | 1152094.4654 | 2536042.9393 | 1152091.4441 | 2536056.1048 | 1152088.9027 | 2536059.1307 | 1152085.8662
6 | 2536025.1389 | 1152133.6898 | 2536005.0491 | 1152153.3477 | 2536000.8793 | 1152157.4276 | 2535997.8287 | 1152159.3378
7 | 2536055.3825 | 1152134.9799 | 2536063.7739 | 1152133.1119 | 2536073.5577 | 1152132.2777
8 | 2536066.4396 | 1152078.5316 | 2536059.1307 | 1152085.8662
9 | 2536073.5577 | 1152132.2777 | 2536079.4158 | 1152131.7782 | 2536089.15 | 1152132.0526 | 2536089.15 | 1152132.0526
10 | 2536066.4396 | 1152078.5316 | 2536070.5388 | 1152077.8987 | 2536081.3612 | 1152076.5718 | 2536080.8001 | 1152065.6719
11 | 2536080.8001 | 1152065.6719 | 2536087.2139 | 1152065.4702
12 | 2536080.8001 | 1152065.6719 | 2536080.5853 | 1152062.7948 | 2536057.8398 | 1152063.451
13 | 2535763.8266 | 1151848.3978 | 2535767.9269 | 1151857.9148 | 2535766.0237 | 1151857.9351 | 2535762.4656 | 1151857.4951 | 2535747.7915 | 1151862.5435 | 2535741.2717 | 1151867.2158 | 2535743.5243 | 1151873.3172 | 2535743.0577 | 1151879.2032 | 2535740.6756 | 1151881.8079 | 2535740.5544 | 1151885.5445 | 2535757.3906 | 1151888.1883 | 2535774.1959 | 1151890.8213 | 2535790.9552 | 1151893.4549 | 2535807.5836 | 1151896.0566 | 2535815.5376 | 1151897.7615 | 2535825.442 | 1151903.8702 | 2535854.8155 | 1151908.3704 | 2535881.9796 | 1151913.6835 | 2535909.6622 | 1151913.644 | 2535927.1187 | 1151908.9887 | 2535942.7672 | 1151901.7403 | 2535972.8467 | 1151875.9836 | 2536005.7069 | 1151847.5516 | 2536019.9621 | 1151837.0164 | 2536033.159 | 1151829.4386 | 2536036.9843 | 1151827.5746 | 2536067.8907 | 1151814.5388 | 2536070.0436 | 1151813.4709 | 2536077.3727 | 1151809.8132
14 | 2536077.3727 | 1151809.8132 | 2536085.2132 | 1151805.9055 | 2536085.2406 | 1151805.8999
15 | 2535763.8266 | 1151848.3978 | 2535765.1861 | 1151849.2171 | 2535768.0038 | 1151850.0319 | 2535775.2371 | 1151850.3659 | 2535781.0439 | 1151850.0704 | 2535786.5705 | 1151849.4221 | 2535795.4239 | 1151846.9485 | 2535800.9287 | 1151844.2438 | 2535809.8977 | 1151838.2225 | 2535813.8948 | 1151834.4889 | 2535817.7908 | 1151830.623 | 2535820.8749 | 1151825.4873 | 2535823.5973 | 1151820.2443 | 2535825.5869 | 1151813.9418 | 2535827.3462 | 1151807.6418 | 2535827.79 | 1151801.0446 | 2535827.7714 | 1151796.4312 | 2535826.7911 | 1151789.4378 | 2535825.2519 | 1151782.5727 | 2535813.0001 | 1151754.5768
16 | 2536178.1183 | 1151805.185 | 2536164.9986 | 1151801.9892 | 2536146.1876 | 1151799.1207 | 2536127.786 | 1151798.6715 | 2536109.5052 | 1151800.9224 | 2536085.2406 | 1151805.8999
17 | 2536112.8511 | 1152138.0374 | 2536104.3913 | 1152134.9144 | 2536095.8681 | 1152133.0485 | 2536089.15 | 1152132.0526
18 | 2536178.1183 | 1151805.185 | 2536189.3396 | 1151810.2909 | 2536198.4328 | 1151815.9309 | 2536204.6867 | 1151822.3235 | 2536209.9556 | 1151828.4821 | 2536218.0122 | 1151838.4132 | 2536227.3103 | 1151856.1242 | 2536252.5379 | 1151909.697 | 2536257.888 | 1151921.3466 | 2536245.6154 | 1151926.3573 | 2536233.3126 | 1151931.4016 | 2536206.0707 | 1151942.5855 | 2536217.6545 | 1151971.0337
19 | 2536217.6545 | 1151971.0337 | 2536201.323 | 1151977.5661
20 | 2536217.6545 | 1151971.0337 | 2536224.3833 | 1151986.7598 | 2536229.6498 | 1151997.7655 | 2536231.7942 | 1152002.4008
21 | 2536231.7942 | 1152002.4008 | 2536226.121 | 1152002.9724 | 2536213.2662 | 1152005.8881 | 2536210.0559 | 1152004.2324 | 2536202.445 | 1152006.0028
22 | 2536093.6709 | 1151986.3251 | 2536099.0396 | 1151994.6504 | 2536108.5497 | 1151995.4831 | 2536126.2365 | 1151991.5597 | 2536131.0284 | 1152003.738
23 | 2536093.6709 | 1151986.3251 | 2536085.6172 | 1152001.9304
24 | 2536085.6172 | 1152001.9304 | 2536086.434 | 1152039.2993
25 | 2536085.6172 | 1152001.9304 | 2536076.2347 | 1152002.1697
26 | 2536127.7425 | 1152074.7669 | 2536113.6347 | 1152075.3059
27 | 2536113.6347 | 1152075.3059 | 2536113.978 | 1152088.1093 | 2536114.1047 | 1152094.2446 | 2536114.1047 | 1152094.2446
28 | 2536127.9271 | 1152063.9701 | 2536127.7425 | 1152074.7669
29 | 2536127.7425 | 1152074.7669 | 2536217.8472 | 1152071.7536
30 | 2536114.1047 | 1152094.2446 | 2536115.3398 | 1152094.9207 | 2536115.3398 | 1152094.9207
31 | 2536087.2139 | 1152065.4702 | 2536087.1003 | 1152059.1124 | 2536086.6487 | 1152049.1229 | 2536086.4432 | 1152039.7198
32 | 2536115.3398 | 1152094.9207 | 2536116.8051 | 1152119.7644
33 | 2536112.8511 | 1152138.0374 | 2536117.4368 | 1152130.4734 | 2536116.8051 | 1152119.7644
34 | 2536112.8511 | 1152138.0374 | 2536121.362 | 1152142.3604 | 2536129.9234 | 1152147.8169 | 2536140.6446 | 1152157.9196 | 2536161.4162 | 1152178.5659
35 | 2536127.9271 | 1152063.9701 | 2536132.4066 | 1152052.1828 | 2536135.0453 | 1152047.2273
36 | 2536161.4162 | 1152178.5659 | 2536181.3941 | 1152159.8526
37 | 2536159.1765 | 1152115.1106 | 2536159.6934 | 1152131.981 | 2536158.9927 | 1152136.1018 | 2536140.6446 | 1152157.9196 | 2536161.4162 | 1152178.5659
38 | 2536135.0453 | 1152047.2273 | 2536137.1395 | 1152043.2944 | 2536143.3616 | 1152037.325 | 2536149.3821 | 1152034.9844
39 | 2536086.4432 | 1152039.7198 | 2536086.434 | 1152039.2993
40 | 2536159.1765 | 1152115.1106 | 2536159.0515 | 1152111.1178
41 | 2536158.886 | 1152105.8309 | 2536159.0515 | 1152111.1178
42 | 2536221.289 | 1152155.1177 | 2536211.1635 | 1152151.9567 | 2536197.7632 | 1152150.4536 | 2536185.114 | 1152152.4667 | 2536182.3282 | 1152158.9776 | 2536181.3941 | 1152159.8526
43 | 2536221.6597 | 1152096.0371 | 2536219.3602 | 1152100.6529 | 2536219.7216 | 1152107.9419 | 2536222.4983 | 1152112.8707 | 2536237.5636 | 1152125.907 | 2536227.6677 | 1152137.1514 | 2536223.2987 | 1152145.6245 | 2536221.289 | 1152155.1177
44 | 2536221.6597 | 1152096.0371 | 2536199.6835 | 1152096.6813
45 | 2536202.445 | 1152006.0028 | 2536194.8822 | 1152007.762 | 2536186.4889 | 1152010.9194 | 2536182.8197 | 1152012.6239
46 | 2536155.2389 | 1152032.7075 | 2536149.3821 | 1152034.9844
47 | 2536155.2389 | 1152032.7075 | 2536169.4015 | 1152031.5343
48 | 2536155.2389 | 1152032.7075 | 2536160.2149 | 1152027.9187 | 2536178.7985 | 1152014.4919 | 2536182.8197 | 1152012.6239

## bus_geodata
| x | y | coords
0 | 2536031.3 | 1152123.8953
1 | 2535996.0577 | 1152118.3243
2 | 2536040.6581 | 1152133.0911
3 | 2536022.7037 | 1152098.1408
4 | 2536025.1389 | 1152133.6898
5 | 2536055.3825 | 1152134.9799
6 | 2536059.1307 | 1152085.8662
7 | 2535997.8287 | 1152159.3378
8 | 2536073.5577 | 1152132.2777
9 | 2536066.4396 | 1152078.5316
10 | 2536080.8001 | 1152065.6719
11 | 2536077.3727 | 1151809.8132
12 | 2535763.8266 | 1151848.3978
13 | 2536085.2406 | 1151805.8999
14 | 2536089.15 | 1152132.0526
15 | 2535813.0001 | 1151754.5768
16 | 2536178.1183 | 1151805.185
17 | 2536217.6545 | 1151971.0337
18 | 2536201.323 | 1151977.5661
19 | 2536231.7942 | 1152002.4008
20 | 2536093.6709 | 1151986.3251
21 | 2536131.0284 | 1152003.738
22 | 2536085.6172 | 1152001.9303
23 | 2536076.2347 | 1152002.1697
24 | 2536113.6347 | 1152075.3059
25 | 2536127.7425 | 1152074.7669
26 | 2536114.1046 | 1152094.2446
27 | 2536087.2139 | 1152065.4702
28 | 2536057.8398 | 1152063.451
29 | 2536115.3398 | 1152094.9207
30 | 2536116.8051 | 1152119.7644
31 | 2536112.8511 | 1152138.0374
32 | 2536127.9271 | 1152063.9701
33 | 2536217.8472 | 1152071.7536
34 | 2536161.4162 | 1152178.5659
35 | 2536135.0453 | 1152047.2273
36 | 2536086.4432 | 1152039.7198
37 | 2536159.1765 | 1152115.1106
38 | 2536159.0515 | 1152111.1178
39 | 2536181.3941 | 1152159.8526
40 | 2536158.886 | 1152105.8309
41 | 2536221.289 | 1152155.1177
42 | 2536221.6597 | 1152096.0371
43 | 2536199.6835 | 1152096.6813
44 | 2536202.445 | 1152006.0028
45 | 2536086.434 | 1152039.2993
46 | 2536149.3821 | 1152034.9844
47 | 2536155.2389 | 1152032.7075
48 | 2536169.4015 | 1152031.5343
49 | 2536182.8197 | 1152012.6239
50 | 2536127.9271 | 1152063.9701

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1