## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-146_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-146_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-146_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-146_0_4_node_66 | 0.4 | n |  | TRUE
4 | bus_LV_5586-146_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5586-146_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5586-146_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5586-146_0_4_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_5586-146_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_5586-146_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_5586-146_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_5586-146_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_5586-146_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_5586-146_0_4_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_5586-146_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_5586-146_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_5586-146_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5586-146_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_5586-146_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_5586-146_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5586-146_0_4_node_6 | 0.4 | n |  | TRUE
21 | bus_LV_5586-146_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_5586-146_0_4_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_5586-146_0_4_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_5586-146_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5586-146_0_4_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_5586-146_0_4_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_5586-146_0_4_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_5586-146_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_5586-146_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5586-146_0_4_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_5586-146_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_5586-146_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_5586-146_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_5586-146_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_5586-146_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_5586-146_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5586-146_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_5586-146_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_5586-146_0_4_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_5586-146_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_5586-146_0_4_node_68 | 0.4 | n |  | TRUE
42 | bus_LV_5586-146_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5586-146_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_5586-146_0_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_5586-146_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_5586-146_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_5586-146_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5586-146_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5586-146_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5586-146_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_5586-146_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5586-146_0_4_node_108 | 0.4 | n |  | TRUE
53 | bus_LV_5586-146_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5586-146_0_4_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_5586-146_0_4_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_5586-146_0_4_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_5586-146_0_4_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_5586-146_0_4_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_5586-146_0_4_node_109 | 0.4 | n |  | TRUE
60 | bus_LV_5586-146_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_5586-146_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_5586-146_0_4_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5586-146_0_4_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5586-146_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5586-146_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_5586-146_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_5586-146_0_4_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_5586-146_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_5586-146_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_5586-146_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_5586-146_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_5586-146_0_4_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_5586-146_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_5586-146_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_5586-146_0_4_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_5586-146_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_5586-146_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_5586-146_0_4_node_106 | 0.4 | n |  | TRUE
79 | bus_LV_5586-146_0_4_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_5586-146_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_5586-146_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5586-146_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_5586-146_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_5586-146_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_5586-146_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_5586-146_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_5586-146_0_4_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_5586-146_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_5586-146_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_5586-146_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_5586-146_0_4_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_5586-146_0_4_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_5586-146_0_4_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_5586-146_0_4_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_5586-146_0_4_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_5586-146_0_4_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_5586-146_0_4_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_5586-146_0_4_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_5586-146_0_4_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_5586-146_0_4_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_5586-146_0_4_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_5586-146_0_4_node_110 | 0.4 | n |  | TRUE
103 | bus_LV_5586-146_0_4_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_5586-146_0_4_node_96 | 0.4 | n |  | TRUE
105 | bus_LV_5586-146_0_4_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_5586-146_0_4_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_5586-146_0_4_node_101 | 0.4 | n |  | TRUE
108 | bus_MV_625_0_node_183 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-146_0_4_load_0 | 0 | 0.0065757 | 0.001648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-146_0_4_load_1 | 1 | 0.002753 | 0.00068996 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-146_0_4_load_66 | 3 | 0.0031685 | 0.00079411 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-146_0_4_load_5 | 6 | 0.0028286 | 0.00070892 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-146_0_4_load_70 | 7 | 0.0036883 | 0.00092437 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-146_0_4_load_17 | 8 | 0.0035913 | 0.00090005 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-146_0_4_load_14 | 10 | 0.0046939 | 0.0011764 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-146_0_4_load_16 | 11 | 0.0028427 | 0.00071244 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-146_0_4_load_25 | 12 | 0.0029004 | 0.00072692 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-146_0_4_load_20 | 13 | 0.0043273 | 0.0010845 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-146_0_4_load_21 | 14 | 0.001668 | 0.00041804 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-146_0_4_load_12 | 16 | 0.0045824 | 0.0011485 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-146_0_4_load_8 | 17 | 0.0031599 | 0.00079194 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-146_0_4_load_9 | 18 | 0.0044549 | 0.0011165 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-146_0_4_load_15 | 19 | 0.0047563 | 0.001192 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-146_0_4_load_6 | 20 | 0.0040373 | 0.0010118 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-146_0_4_load_55 | 22 | 0.016972 | 0.0042535 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-146_0_4_load_56 | 23 | 0.0076202 | 0.0019098 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-146_0_4_load_13 | 24 | 0.0022971 | 0.0005757 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-146_0_4_load_59 | 26 | 0.003943 | 0.0009882 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-146_0_4_load_60 | 27 | 0.0051687 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-146_0_4_load_28 | 30 | 0.0037012 | 0.0009276 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-146_0_4_load_29 | 31 | 0.0086158 | 0.0021593 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-146_0_4_load_27 | 32 | 0.013622 | 0.003414 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-146_0_4_load_30 | 33 | 0.0025055 | 0.00062793 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-146_0_4_load_23 | 34 | 0.0020763 | 0.00052036 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-146_0_4_load_24 | 35 | 0.0022801 | 0.00057145 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-146_0_4_load_32 | 36 | 0.0025054 | 0.00062791 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-146_0_4_load_31 | 38 | 0.0024874 | 0.00062339 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-146_0_4_load_47 | 39 | 0.0021321 | 0.00053436 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-146_0_4_load_37 | 42 | 0.013925 | 0.0034899 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-146_0_4_load_34 | 43 | 0.0019611 | 0.00049151 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-146_0_4_load_67 | 44 | 0.0038104 | 0.00095498 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-146_0_4_load_38 | 46 | 0.015064 | 0.0037753 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-146_0_4_load_39 | 47 | 0.015574 | 0.0039032 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-146_0_4_load_40 | 48 | 0.0024491 | 0.0006138 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-146_0_4_load_42 | 50 | 0.0020669 | 0.00051801 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-146_0_4_load_43 | 51 | 0.00349 | 0.00087467 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-146_0_4_load_108 | 52 | 0.0015413 | 0.00038629 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5586-146_0_4_load_102 | 54 | 0.0018891 | 0.00047344 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5586-146_0_4_load_103 | 55 | 0.00083504 | 0.00020928 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5586-146_0_4_load_104 | 56 | 0.0024508 | 0.00061423 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5586-146_0_4_load_109 | 59 | 0.0027252 | 0.00068301 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5586-146_0_4_load_45 | 60 | 0.0028426 | 0.00071242 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5586-146_0_4_load_46 | 61 | 0.018094 | 0.0045348 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5586-146_0_4_load_48 | 62 | 0.0034311 | 0.00085992 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5586-146_0_4_load_49 | 63 | 0.0026063 | 0.0006532 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5586-146_0_4_load_50 | 64 | 0.0053505 | 0.001341 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5586-146_0_4_load_69 | 67 | 0.011044 | 0.002768 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5586-146_0_4_load_53 | 69 | 0.0026466 | 0.00066331 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5586-146_0_4_load_71 | 70 | 0.0054448 | 0.0013646 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5586-146_0_4_load_73 | 72 | 0.0035438 | 0.00088816 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5586-146_0_4_load_64 | 73 | 0.005386 | 0.0013499 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5586-146_0_4_load_61 | 75 | 0.0031714 | 0.00079483 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5586-146_0_4_load_62 | 76 | 0.0066429 | 0.0016649 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5586-146_0_4_load_106 | 78 | 0.0026899 | 0.00067416 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5586-146_0_4_load_72 | 79 | 0.0070228 | 0.0017601 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5586-146_0_4_load_77 | 80 | 0.0072254 | 0.0018109 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5586-146_0_4_load_78 | 81 | 0.0063581 | 0.0015935 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5586-146_0_4_load_74 | 82 | 0.0025031 | 0.00062733 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5586-146_0_4_load_75 | 83 | 0.0034398 | 0.0008621 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5586-146_0_4_load_83 | 86 | 0.0069156 | 0.0017332 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5586-146_0_4_load_84 | 87 | 0.0031579 | 0.00079143 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5586-146_0_4_load_80 | 89 | 0.0021437 | 0.00053726 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5586-146_0_4_load_82 | 90 | 0.0024749 | 0.00062026 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5586-146_0_4_load_85 | 91 | 0.0041938 | 0.0010511 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5586-146_0_4_load_87 | 93 | 0.0017347 | 0.00043476 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5586-146_0_4_load_94 | 96 | 0.0016212 | 0.00040632 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5586-146_0_4_load_88 | 97 | 0.0024758 | 0.0006205 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5586-146_0_4_load_89 | 98 | 0.0027218 | 0.00068215 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5586-146_0_4_load_90 | 99 | 0.0027686 | 0.00069387 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5586-146_0_4_load_95 | 101 | 0.0082927 | 0.0020783 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5586-146_0_4_load_110 | 102 | 0.013841 | 0.0034688 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5586-146_0_4_load_96 | 104 | 0.0025433 | 0.0006374 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5586-146_0_4_load_100 | 106 | 0.0014985 | 0.00037556 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5586-146_0_4_load_101 | 107 | 0.0017037 | 0.00042699 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-146_0_4_line_0 |  | 0 | 1 | 0.028637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-146_0_4_line_1 |  | 0 | 2 | 0.035624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-146_0_4_line_2 |  | 0 | 3 | 0.045854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-146_0_4_line_3 |  | 1 | 4 | 0.020271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-146_0_4_line_4 |  | 2 | 5 | 0.001926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-146_0_4_line_5 |  | 2 | 6 | 0.010142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-146_0_4_line_6 |  | 3 | 7 | 0.045074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-146_0_4_line_7 |  | 4 | 8 | 0.025418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-146_0_4_line_8 |  | 5 | 9 | 0.034456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-146_0_4_line_9 |  | 5 | 10 | 0.017157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5586-146_0_4_line_10 |  | 7 | 41 | 0.023327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-146_0_4_line_11 |  | 9 | 16 | 0.026764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-146_0_4_line_12 |  | 9 | 17 | 0.042654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5586-146_0_4_line_13 |  | 9 | 18 | 0.032893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-146_0_4_line_14 |  | 10 | 19 | 0.011711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-146_0_4_line_15 |  | 11 | 12 | 0.056965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5586-146_0_4_line_16 |  | 12 | 28 | 0.017617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-146_0_4_line_17 |  | 13 | 14 | 0.00014342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-146_0_4_line_18 |  | 13 | 15 | 0.030275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-146_0_4_line_19 |  | 15 | 34 | 0.023448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-146_0_4_line_20 |  | 15 | 35 | 0.0087466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-146_0_4_line_21 |  | 17 | 20 | 0.010778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-146_0_4_line_22 |  | 18 | 21 | 0.018348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-146_0_4_line_23 |  | 21 | 24 | 0.028894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-146_0_4_line_24 |  | 22 | 23 | 0.0057072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5586-146_0_4_line_25 |  | 23 | 71 | 0.049672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5586-146_0_4_line_26 |  | 24 | 25 | 0.0068419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-146_0_4_line_27 |  | 25 | 26 | 0.015813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-146_0_4_line_28 |  | 25 | 27 | 0.010202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5586-146_0_4_line_29 |  | 28 | 32 | 0.041578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-146_0_4_line_30 |  | 28 | 34 | 0.0030197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-146_0_4_line_31 |  | 29 | 30 | 0.046777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-146_0_4_line_32 |  | 29 | 31 | 0.02045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-146_0_4_line_33 |  | 30 | 32 | 0.015255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5586-146_0_4_line_34 |  | 31 | 33 | 0.057065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-146_0_4_line_35 |  | 33 | 38 | 0.0047985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-146_0_4_line_36 |  | 35 | 36 | 0.0040382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-146_0_4_line_37 |  | 36 | 37 | 0.02328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-146_0_4_line_38 |  | 37 | 40 | 0.021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-146_0_4_line_39 |  | 37 | 41 | 0.047449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5586-146_0_4_line_40 |  | 38 | 39 | 0.010929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5586-146_0_4_line_41 |  | 40 | 42 | 0.019631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-146_0_4_line_42 |  | 40 | 43 | 0.0064799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-146_0_4_line_43 |  | 41 | 44 | 0.020029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5586-146_0_4_line_44 |  | 43 | 45 | 0.013683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5586-146_0_4_line_45 |  | 44 | 65 | 0.014138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-146_0_4_line_46 |  | 45 | 46 | 0.032719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-146_0_4_line_47 |  | 45 | 47 | 0.043449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5586-146_0_4_line_48 |  | 46 | 48 | 0.018151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5586-146_0_4_line_49 |  | 48 | 49 | 0.0057555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5586-146_0_4_line_50 |  | 49 | 50 | 0.032808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5586-146_0_4_line_51 |  | 49 | 51 | 0.032855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5586-146_0_4_line_52 |  | 50 | 52 | 0.033836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5586-146_0_4_line_53 |  | 51 | 53 | 0.0093983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5586-146_0_4_line_54 |  | 52 | 58 | 0.015677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5586-146_0_4_line_55 |  | 53 | 60 | 0.025714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5586-146_0_4_line_56 |  | 53 | 61 | 0.029902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5586-146_0_4_line_57 |  | 54 | 55 | 0.014446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5586-146_0_4_line_58 |  | 55 | 56 | 0.047826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5586-146_0_4_line_59 |  | 56 | 57 | 0.04051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5586-146_0_4_line_60 |  | 57 | 58 | 0.016036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5586-146_0_4_line_61 |  | 57 | 105 | 0.002026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5586-146_0_4_line_62 |  | 58 | 59 | 0.036719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5586-146_0_4_line_63 |  | 62 | 63 | 0.026903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5586-146_0_4_line_64 |  | 62 | 64 | 0.034713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5586-146_0_4_line_65 |  | 63 | 65 | 0.0091552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5586-146_0_4_line_66 |  | 64 | 66 | 0.00020651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5586-146_0_4_line_67 |  | 65 | 67 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5586-146_0_4_line_68 |  | 66 | 68 | 0.027783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5586-146_0_4_line_69 |  | 66 | 69 | 0.011809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5586-146_0_4_line_70 |  | 67 | 70 | 0.01785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5586-146_0_4_line_71 |  | 68 | 71 | 0.008267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5586-146_0_4_line_72 |  | 68 | 72 | 0.021389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5586-146_0_4_line_73 |  | 70 | 79 | 0.0019625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5586-146_0_4_line_74 |  | 71 | 73 | 0.007696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5586-146_0_4_line_75 |  | 73 | 74 | 0.036483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5586-146_0_4_line_76 |  | 74 | 78 | 0.056971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5586-146_0_4_line_77 |  | 74 | 77 | 0.005746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5586-146_0_4_line_78 |  | 75 | 76 | 0.033823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5586-146_0_4_line_79 |  | 76 | 77 | 0.022643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5586-146_0_4_line_80 |  | 79 | 80 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5586-146_0_4_line_81 |  | 80 | 81 | 0.026978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5586-146_0_4_line_82 |  | 81 | 84 | 0.026402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5586-146_0_4_line_83 |  | 82 | 83 | 0.01758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5586-146_0_4_line_84 |  | 83 | 84 | 0.030741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5586-146_0_4_line_85 |  | 84 | 85 | 0.001635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5586-146_0_4_line_86 |  | 85 | 86 | 0.019801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5586-146_0_4_line_87 |  | 85 | 87 | 0.030089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5586-146_0_4_line_88 |  | 86 | 88 | 0.0022687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5586-146_0_4_line_89 |  | 88 | 90 | 0.02802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5586-146_0_4_line_90 |  | 88 | 89 | 0.014799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5586-146_0_4_line_91 |  | 91 | 92 | 0.045159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5586-146_0_4_line_92 |  | 92 | 93 | 0.012442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5586-146_0_4_line_93 |  | 93 | 94 | 0.0055913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5586-146_0_4_line_94 |  | 94 | 95 | 0.0262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5586-146_0_4_line_95 |  | 94 | 96 | 0.029949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5586-146_0_4_line_96 |  | 95 | 102 | 0.043813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5586-146_0_4_line_97 |  | 95 | 100 | 0.004751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5586-146_0_4_line_98 |  | 96 | 103 | 0.04262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5586-146_0_4_line_99 |  | 97 | 98 | 0.024847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5586-146_0_4_line_100 |  | 97 | 99 | 0.0037541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5586-146_0_4_line_101 |  | 98 | 100 | 0.010691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5586-146_0_4_line_102 |  | 100 | 101 | 0.018127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5586-146_0_4_line_103 |  | 103 | 107 | 0.041963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5586-146_0_4_line_104 |  | 103 | 104 | 0.0076978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5586-146_0_4_line_105 |  | 104 | 105 | 0.014826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5586-146_0_4_line_106 |  | 105 | 106 | 0.033784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-146_0_4_trafo_68 | 0.63 MVA 20/0.4 kV | 108 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2540282.4025 | 1152808.6415 | 2540289.7188 | 1152812.9585 | 2540307.8579 | 1152821.7154
1 | 2540252.6794 | 1152789.1137 | 2540264.2235 | 1152797.9148 | 2540282.4025 | 1152808.6415
2 | 2540259.864 | 1152848.5736 | 2540282.4025 | 1152808.6415
3 | 2540326.7865 | 1152828.8657 | 2540313.6137 | 1152824.4941 | 2540307.8579 | 1152821.7154
4 | 2540251.1483 | 1152787.9394 | 2540252.6794 | 1152789.1137
5 | 2540252.6794 | 1152789.1137 | 2540251.6922 | 1152794.015 | 2540251.9964 | 1152799.1481 | 2540251.9964 | 1152799.1481
6 | 2540276.8978 | 1152890.3053 | 2540259.864 | 1152848.5736
7 | 2540311.9009 | 1152846.7342 | 2540312.0292 | 1152841.8859 | 2540313.9424 | 1152836.7307 | 2540321.7054 | 1152832.607 | 2540326.7865 | 1152828.8657
8 | 2540225.6566 | 1152764.7914 | 2540241.2047 | 1152780.3563 | 2540251.1483 | 1152787.9394
9 | 2540251.1483 | 1152787.9394 | 2540253.5458 | 1152783.6466 | 2540262.6817 | 1152775.5007
10 | 2540276.8978 | 1152890.3053 | 2540271.2591 | 1152892.7515 | 2540264.4368 | 1152900.4123 | 2540261.3141 | 1152906.6245
11 | 2540225.6566 | 1152764.7914 | 2540224.3774 | 1152771.9636 | 2540220.0408 | 1152782.6569 | 2540212.6656 | 1152785.6541
12 | 2540225.6566 | 1152764.7914 | 2540244.8763 | 1152726.7132
13 | 2540225.6566 | 1152764.7914 | 2540214.0248 | 1152752.5894 | 2540202.5472 | 1152741.3918
14 | 2540273.7038 | 1152773.563 | 2540268.907 | 1152772.7102 | 2540262.9394 | 1152775.2709 | 2540262.6817 | 1152775.5007
15 | 2540371.8841 | 1152893.7686 | 2540383.2648 | 1152837.9522
16 | 2540370.6916 | 1152911.3188 | 2540370.6155 | 1152905.9723 | 2540371.8841 | 1152893.7686
17 | 2540358.1156 | 1152889.465 | 2540358.2585 | 1152889.4526
18 | 2540344.3251 | 1152913.5705 | 2540345.7248 | 1152908.4761 | 2540348.0156 | 1152901.9388 | 2540352.5539 | 1152896.8577 | 2540352.8472 | 1152891.6186 | 2540354.9157 | 1152889.7415 | 2540358.1156 | 1152889.465
19 | 2540344.3251 | 1152913.5705 | 2540357.7372 | 1152912.6925 | 2540367.6887 | 1152911.6373
20 | 2540344.3251 | 1152913.5705 | 2540335.5831 | 1152913.8527
21 | 2540244.8763 | 1152726.7132 | 2540244.3373 | 1152715.9486
22 | 2540188.1549 | 1152730.0235 | 2540201.6731 | 1152740.5391 | 2540202.5472 | 1152741.3918
23 | 2540188.1549 | 1152730.0235 | 2540170.9202 | 1152753.2151
24 | 2540174.8093 | 1152827.2242 | 2540170.1377 | 1152830.5027
25 | 2540129.439 | 1152856.5984 | 2540134.4933 | 1152852.5014 | 2540138.972 | 1152849.922 | 2540143.7767 | 1152843.8709 | 2540155.5558 | 1152835.4269 | 2540165.2708 | 1152833.9183 | 2540170.1377 | 1152830.5027
26 | 2540166.8392 | 1152758.7066 | 2540170.9202 | 1152753.2151
27 | 2540166.8392 | 1152758.7066 | 2540156.2363 | 1152770.4629
28 | 2540166.8392 | 1152758.7066 | 2540175.1779 | 1152764.6157
29 | 2540370.6916 | 1152911.3188 | 2540382.5211 | 1152909.4783 | 2540410.0064 | 1152902.4353 | 2540411.1821 | 1152902.0654
30 | 2540370.6916 | 1152911.3188 | 2540367.6887 | 1152911.6373
31 | 2540461.8941 | 1152870.6819 | 2540452.2902 | 1152884.9514 | 2540438.0191 | 1152893.6196 | 2540425.7339 | 1152897.4858
32 | 2540461.8941 | 1152870.6819 | 2540477.0482 | 1152884.4135
33 | 2540411.1821 | 1152902.0654 | 2540425.7339 | 1152897.4858
34 | 2540477.0482 | 1152884.4135 | 2540496.9309 | 1152902.4299 | 2540503.4936 | 1152919.6742 | 2540492.4453 | 1152923.769
35 | 2540492.4453 | 1152923.769 | 2540487.9458 | 1152925.4367
36 | 2540335.5831 | 1152913.8527 | 2540331.547 | 1152913.9829
37 | 2540308.2763 | 1152913.6618 | 2540326.4134 | 1152914.1486 | 2540331.547 | 1152913.9829
38 | 2540308.2763 | 1152913.6618 | 2540306.3567 | 1152918.1721 | 2540302.4498 | 1152925.7817 | 2540298.4438 | 1152932.6808
39 | 2540308.2763 | 1152913.6618 | 2540280.1955 | 1152910.9614 | 2540261.3141 | 1152906.6245
40 | 2540477.6983 | 1152929.2347 | 2540487.9458 | 1152925.4367
41 | 2540282.6067 | 1152943.5662 | 2540290.5958 | 1152935.9605 | 2540295.2036 | 1152933.2466 | 2540298.4438 | 1152932.6808
42 | 2540298.4438 | 1152932.6808 | 2540295.5542 | 1152938.4807
43 | 2540261.3141 | 1152906.6245 | 2540241.9787 | 1152901.4013
44 | 2540291.3397 | 1152951.3614 | 2540291.2927 | 1152949.7165 | 2540294.1856 | 1152941.2277 | 2540295.5542 | 1152938.4807
45 | 2540228.3295 | 1152897.7142 | 2540241.9787 | 1152901.4013
46 | 2540291.3397 | 1152951.3614 | 2540291.6087 | 1152961.4419 | 2540297.9879 | 1152971.7397 | 2540306.8193 | 1152977.4578
47 | 2540291.3397 | 1152951.3614 | 2540286.1862 | 1152954.7477 | 2540277.785 | 1152960.2675 | 2540274.8813 | 1152966.1217 | 2540265.9452 | 1152969.5457 | 2540255.8676 | 1152974.2598
48 | 2540322.0558 | 1152987.3229 | 2540306.8193 | 1152977.4578
49 | 2540327.2854 | 1152989.5806 | 2540324.1148 | 1152988.656 | 2540322.0558 | 1152987.3229
50 | 2540327.2854 | 1152989.5806 | 2540325.0129 | 1152994.0945 | 2540321.8445 | 1153001.8968 | 2540321.0555 | 1153008.208 | 2540322.9253 | 1153013.37 | 2540327.7626 | 1153019.0918
51 | 2540327.2854 | 1152989.5806 | 2540334.8964 | 1152991.8062 | 2540345.8093 | 1152989.6412 | 2540358.3737 | 1152983.935
52 | 2540327.7626 | 1153019.0918 | 2540295.5297 | 1153029.384
53 | 2540366.9308 | 1152980.0487 | 2540358.3737 | 1152983.935
54 | 2540284.2589 | 1153040.313 | 2540295.5297 | 1153029.384
55 | 2540366.9308 | 1152980.0487 | 2540374.0437 | 1153004.7581
56 | 2540394.2247 | 1152967.6602 | 2540366.9308 | 1152980.0487
57 | 2540345.8328 | 1153096.3318 | 2540344.8824 | 1153104.1677 | 2540339.8575 | 1153108.3729
58 | 2540300.6975 | 1153080.5173 | 2540345.8328 | 1153096.3318
59 | 2540272.5901 | 1153051.3459 | 2540277.7164 | 1153056.8091 | 2540300.6975 | 1153080.5173
60 | 2540284.2589 | 1153040.313 | 2540272.5901 | 1153051.3459
61 | 2540271.1154 | 1153052.7391 | 2540272.5901 | 1153051.3459
62 | 2540284.2589 | 1153040.313 | 2540290.77 | 1153039.1921 | 2540295.8656 | 1153040.7868 | 2540303.9048 | 1153047.4995 | 2540311.4935 | 1153054.439 | 2540315.254 | 1153056.0469
63 | 2540194.7055 | 1152884.6918 | 2540195.5762 | 1152885.0665 | 2540219.789 | 1152894.4163
64 | 2540194.7055 | 1152884.6918 | 2540162.8207 | 1152870.9683
65 | 2540228.3295 | 1152897.7142 | 2540219.789 | 1152894.4163
66 | 2540162.8207 | 1152870.9683 | 2540162.631 | 1152870.8867
67 | 2540228.3295 | 1152897.7142 | 2540219.9568 | 1152916.1185
68 | 2540137.0529 | 1152859.8687 | 2540162.631 | 1152870.8867
69 | 2540162.631 | 1152870.8867 | 2540167.5389 | 1152863.645 | 2540170.0942 | 1152861.9599
70 | 2540219.9568 | 1152916.1185 | 2540204.8394 | 1152925.6106
71 | 2540137.0529 | 1152859.8687 | 2540129.439 | 1152856.5984
72 | 2540137.0529 | 1152859.8687 | 2540128.5423 | 1152879.4915
73 | 2540204.8394 | 1152925.6106 | 2540203.1774 | 1152926.6542
74 | 2540129.439 | 1152856.5984 | 2540122.3688 | 1152853.5582
75 | 2540088.7438 | 1152839.4056 | 2540105.333 | 1152846.2329 | 2540122.3688 | 1152853.5582
76 | 2540088.7438 | 1152839.4056 | 2540094.4095 | 1152851.9782 | 2540095.5744 | 1152857.992 | 2540095.8344 | 1152864.0594 | 2540095.0048 | 1152872.4388 | 2540092.8 | 1152880.6541 | 2540087.4749 | 1152886.8327 | 2540082.9285 | 1152890.5915
77 | 2540088.7438 | 1152839.4056 | 2540083.3596 | 1152837.3582
78 | 2540102.785 | 1152784.3682 | 2540090.8955 | 1152816.0328
79 | 2540083.3596 | 1152837.3582 | 2540084.1099 | 1152834.1045 | 2540090.8955 | 1152816.0328
80 | 2540185.1778 | 1152937.9561 | 2540203.1774 | 1152926.6542
81 | 2540162.3302 | 1152952.302 | 2540185.1778 | 1152937.9561
82 | 2540139.9707 | 1152966.3415 | 2540162.3302 | 1152952.302
83 | 2540130.2519 | 1152919.0073 | 2540133.7878 | 1152936.2283
84 | 2540139.9707 | 1152966.3415 | 2540133.7878 | 1152936.2283
85 | 2540139.9707 | 1152966.3415 | 2540138.5828 | 1152967.2113
86 | 2540138.5828 | 1152967.2113 | 2540121.8137 | 1152977.7418
87 | 2540138.5828 | 1152967.2113 | 2540139.9486 | 1152969.5101 | 2540152.1879 | 1152990.3439 | 2540154.267 | 1152992.8449
88 | 2540119.8924 | 1152978.9482 | 2540121.8137 | 1152977.7418
89 | 2540119.8924 | 1152978.9482 | 2540121.1344 | 1152981.1482 | 2540134.528 | 1153002.84
90 | 2540119.8924 | 1152978.9482 | 2540107.361 | 1152986.8206
91 | 2540176.0478 | 1153056.2086 | 2540173.2446 | 1153052.1009 | 2540154.0093 | 1153016.8178
92 | 2540176.0478 | 1153056.2086 | 2540185.6252 | 1153048.2666
93 | 2540189.9292 | 1153044.6976 | 2540185.6252 | 1153048.2666
94 | 2540189.9292 | 1153044.6976 | 2540209.3977 | 1153027.1055
95 | 2540189.9292 | 1153044.6976 | 2540202.2883 | 1153059.0935 | 2540209.5128 | 1153060.2667 | 2540212.7405 | 1153058.4447
96 | 2540233.3124 | 1152992.8826 | 2540231.0288 | 1153007.0685 | 2540209.3977 | 1153027.1055
97 | 2540209.3977 | 1153027.1055 | 2540206.658 | 1153023.2196
98 | 2540212.7405 | 1153058.4447 | 2540254.3299 | 1153067.7585
99 | 2540180.1706 | 1153000.4242 | 2540189.4839 | 1153008.438 | 2540197.1031 | 1153018.4231
100 | 2540177.3249 | 1152997.9756 | 2540180.1706 | 1153000.4242
101 | 2540206.658 | 1153023.2196 | 2540197.1031 | 1153018.4231
102 | 2540211.6026 | 1153005.7832 | 2540208.1605 | 1153018.4465 | 2540206.658 | 1153023.2196
103 | 2540254.3299 | 1153067.7585 | 2540256.7767 | 1153070.7469 | 2540283.5652 | 1153097.8402
104 | 2540254.3299 | 1153067.7585 | 2540260.0665 | 1153062.6255
105 | 2540271.1154 | 1153052.7391 | 2540260.0665 | 1153062.6255
106 | 2540269.7679 | 1153032.9752 | 2540267.2187 | 1153031.2663 | 2540264.3255 | 1153031.2283 | 2540262.1933 | 1153032.0944 | 2540260.2741 | 1153034.3147 | 2540259.7196 | 1153037.9777 | 2540260.9347 | 1153041.3341 | 2540263.5725 | 1153045.0099 | 2540267.5284 | 1153048.5169 | 2540271.1154 | 1153052.7391

## bus_geodata
| x | y | coords
0 | 2540282.4025 | 1152808.6415
1 | 2540307.8579 | 1152821.7154
2 | 2540252.6794 | 1152789.1137
3 | 2540259.864 | 1152848.5736
4 | 2540326.7865 | 1152828.8657
5 | 2540251.1483 | 1152787.9394
6 | 2540251.9964 | 1152799.1481
7 | 2540276.8978 | 1152890.3053
8 | 2540311.9009 | 1152846.7342
9 | 2540225.6566 | 1152764.7914
10 | 2540262.6817 | 1152775.5007
11 | 2540383.2648 | 1152837.9522
12 | 2540371.8841 | 1152893.7686
13 | 2540358.1156 | 1152889.465
14 | 2540358.2585 | 1152889.4526
15 | 2540344.3251 | 1152913.5705
16 | 2540212.6656 | 1152785.6541
17 | 2540244.8763 | 1152726.7132
18 | 2540202.5472 | 1152741.3918
19 | 2540273.7038 | 1152773.563
20 | 2540244.3373 | 1152715.9486
21 | 2540188.1549 | 1152730.0235
22 | 2540174.8093 | 1152827.2242
23 | 2540170.1377 | 1152830.5027
24 | 2540170.9202 | 1152753.2151
25 | 2540166.8392 | 1152758.7066
26 | 2540156.2363 | 1152770.4629
27 | 2540175.1779 | 1152764.6157
28 | 2540370.6916 | 1152911.3189
29 | 2540461.8941 | 1152870.6819
30 | 2540425.7339 | 1152897.4858
31 | 2540477.0482 | 1152884.4135
32 | 2540411.1821 | 1152902.0654
33 | 2540492.4453 | 1152923.769
34 | 2540367.6887 | 1152911.6373
35 | 2540335.5831 | 1152913.8527
36 | 2540331.547 | 1152913.9829
37 | 2540308.2763 | 1152913.6618
38 | 2540487.9458 | 1152925.4367
39 | 2540477.6983 | 1152929.2347
40 | 2540298.4438 | 1152932.6808
41 | 2540261.3141 | 1152906.6245
42 | 2540282.6067 | 1152943.5662
43 | 2540295.5542 | 1152938.4807
44 | 2540241.9787 | 1152901.4013
45 | 2540291.3397 | 1152951.3614
46 | 2540306.8193 | 1152977.4578
47 | 2540255.8676 | 1152974.2598
48 | 2540322.0558 | 1152987.3229
49 | 2540327.2854 | 1152989.5806
50 | 2540327.7626 | 1153019.0918
51 | 2540358.3737 | 1152983.935
52 | 2540295.5297 | 1153029.384
53 | 2540366.9308 | 1152980.0487
54 | 2540339.8575 | 1153108.3729
55 | 2540345.8328 | 1153096.3318
56 | 2540300.6975 | 1153080.5173
57 | 2540272.5901 | 1153051.3459
58 | 2540284.2589 | 1153040.313
59 | 2540315.254 | 1153056.0469
60 | 2540374.0437 | 1153004.7581
61 | 2540394.2247 | 1152967.6602
62 | 2540194.7055 | 1152884.6918
63 | 2540219.789 | 1152894.4163
64 | 2540162.8207 | 1152870.9683
65 | 2540228.3295 | 1152897.7142
66 | 2540162.631 | 1152870.8867
67 | 2540219.9568 | 1152916.1185
68 | 2540137.0529 | 1152859.8687
69 | 2540170.0942 | 1152861.9599
70 | 2540204.8394 | 1152925.6106
71 | 2540129.439 | 1152856.5983
72 | 2540128.5423 | 1152879.4915
73 | 2540122.3688 | 1152853.5582
74 | 2540088.7438 | 1152839.4056
75 | 2540102.785 | 1152784.3682
76 | 2540090.8955 | 1152816.0328
77 | 2540083.3596 | 1152837.3582
78 | 2540082.9285 | 1152890.5915
79 | 2540203.1774 | 1152926.6542
80 | 2540185.1778 | 1152937.9561
81 | 2540162.3302 | 1152952.302
82 | 2540130.2519 | 1152919.0073
83 | 2540133.7878 | 1152936.2283
84 | 2540139.9707 | 1152966.3415
85 | 2540138.5828 | 1152967.2113
86 | 2540121.8137 | 1152977.7418
87 | 2540154.267 | 1152992.8449
88 | 2540119.8924 | 1152978.9482
89 | 2540107.361 | 1152986.8206
90 | 2540134.528 | 1153002.84
91 | 2540154.0093 | 1153016.8178
92 | 2540176.0478 | 1153056.2086
93 | 2540185.6252 | 1153048.2666
94 | 2540189.9292 | 1153044.6976
95 | 2540209.3977 | 1153027.1055
96 | 2540212.7405 | 1153058.4447
97 | 2540180.1706 | 1153000.4242
98 | 2540197.1031 | 1153018.4231
99 | 2540177.3249 | 1152997.9756
100 | 2540206.658 | 1153023.2196
101 | 2540211.6026 | 1153005.7832
102 | 2540233.3124 | 1152992.8826
103 | 2540254.3299 | 1153067.7585
104 | 2540260.0665 | 1153062.6255
105 | 2540271.1154 | 1153052.7391
106 | 2540269.7679 | 1153032.9752
107 | 2540283.5652 | 1153097.8402
108 | 2540276.8978 | 1152890.3053

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1