## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5586-168_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5586-168_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5586-168_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5586-168_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5586-168_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5586-168_0_6_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5586-168_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_5586-168_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5586-168_0_6_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_5586-168_0_6_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_5586-168_0_6_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_5586-168_0_6_node_70 | 0.4 | n |  | TRUE
12 | bus_LV_5586-168_0_6_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_5586-168_0_6_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_5586-168_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5586-168_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5586-168_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5586-168_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5586-168_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5586-168_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_5586-168_0_6_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_5586-168_0_6_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5586-168_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5586-168_0_6_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5586-168_0_6_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_5586-168_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_5586-168_0_6_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_5586-168_0_6_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_5586-168_0_6_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_5586-168_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_5586-168_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_5586-168_0_6_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_5586-168_0_6_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_5586-168_0_6_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_5586-168_0_6_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_5586-168_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5586-168_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_5586-168_0_6_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_5586-168_0_6_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_5586-168_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5586-168_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_5586-168_0_6_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_5586-168_0_6_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_5586-168_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_5586-168_0_6_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_5586-168_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_5586-168_0_6_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_5586-168_0_6_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_5586-168_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5586-168_0_6_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_5586-168_0_6_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_5586-168_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5586-168_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_5586-168_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5586-168_0_6_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_5586-168_0_6_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_5586-168_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5586-168_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_5586-168_0_6_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_5586-168_0_6_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_5586-168_0_6_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_5586-168_0_6_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_5586-168_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_5586-168_0_6_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_5586-168_0_6_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_5586-168_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_5586-168_0_6_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_5586-168_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_5586-168_0_6_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_5586-168_0_6_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_5586-168_0_6_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_5586-168_0_6_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_5586-168_0_6_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_5586-168_0_6_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_5586-168_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_5586-168_0_6_node_76 | 0.4 | n |  | TRUE
76 | bus_MV_629_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5586-168_0_6_load_0 | 0 | 0.0016001 | 0.00040103 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5586-168_0_6_load_4 | 4 | 0.0033524 | 0.00084019 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5586-168_0_6_load_7 | 6 | 0.0011169 | 0.00027992 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5586-168_0_6_load_79 | 8 | 0.003514 | 0.00088068 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5586-168_0_6_load_13 | 10 | 0.0049232 | 0.0012339 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5586-168_0_6_load_70 | 11 | 0.0054817 | 0.0013738 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5586-168_0_6_load_67 | 12 | 0.025825 | 0.0064724 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5586-168_0_6_load_14 | 13 | 0.0027185 | 0.00068131 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5586-168_0_6_load_8 | 14 | 0.0055052 | 0.0013797 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5586-168_0_6_load_10 | 16 | 0.0072157 | 0.0018084 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5586-168_0_6_load_11 | 17 | 0.021394 | 0.0053619 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5586-168_0_6_load_12 | 18 | 0.0054573 | 0.0013677 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5586-168_0_6_load_20 | 23 | 0.0087356 | 0.0021893 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5586-168_0_6_load_23 | 24 | 0.0088035 | 0.0022064 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5586-168_0_6_load_21 | 25 | 0.0072775 | 0.0018239 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5586-168_0_6_load_77 | 26 | 0.0059172 | 0.001483 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5586-168_0_6_load_68 | 27 | 0.028767 | 0.0072097 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5586-168_0_6_load_28 | 28 | 0.0093748 | 0.0023495 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5586-168_0_6_load_65 | 31 | 0.021065 | 0.0052793 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5586-168_0_6_load_75 | 33 | 0.008012 | 0.002008 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5586-168_0_6_load_74 | 34 | 0.021723 | 0.0054442 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5586-168_0_6_load_25 | 35 | 0.0082044 | 0.0020562 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5586-168_0_6_load_32 | 37 | 0.0078596 | 0.0019698 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5586-168_0_6_load_31 | 39 | 0.0078623 | 0.0019705 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5586-168_0_6_load_49 | 41 | 0.0036282 | 0.0009093 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5586-168_0_6_load_33 | 42 | 0.0072096 | 0.0018069 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5586-168_0_6_load_30 | 43 | 0.01607 | 0.0040275 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5586-168_0_6_load_40 | 44 | 0.0098275 | 0.002463 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5586-168_0_6_load_34 | 45 | 0.0088331 | 0.0022138 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5586-168_0_6_load_41 | 47 | 0.018735 | 0.0046954 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5586-168_0_6_load_50 | 49 | 0.012246 | 0.0030691 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5586-168_0_6_load_29 | 50 | 0.0081613 | 0.0020454 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5586-168_0_6_load_63 | 54 | 0.016267 | 0.0040769 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5586-168_0_6_load_62 | 55 | 0.0062037 | 0.0015548 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5586-168_0_6_load_61 | 59 | 0.022497 | 0.0056384 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5586-168_0_6_load_78 | 61 | 0.046357 | 0.011618 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5586-168_0_6_load_60 | 62 | 0.020859 | 0.0052278 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5586-168_0_6_load_64 | 63 | 0.016765 | 0.0042017 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5586-168_0_6_load_57 | 64 | 0.038362 | 0.0096145 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5586-168_0_6_load_59 | 65 | 0.061874 | 0.015507 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5586-168_0_6_load_55 | 66 | 0.0043331 | 0.001086 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5586-168_0_6_load_54 | 67 | 0.0024592 | 0.00061634 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5586-168_0_6_load_73 | 68 | 0.0053228 | 0.001334 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5586-168_0_6_load_51 | 69 | 0.0035211 | 0.00088248 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5586-168_0_6_load_52 | 70 | 0.0033114 | 0.00082991 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5586-168_0_6_load_53 | 71 | 0.0043575 | 0.0010921 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5586-168_0_6_load_72 | 72 | 0.0039621 | 0.00099299 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5586-168_0_6_load_71 | 73 | 0.0054108 | 0.0013561 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5586-168_0_6_load_69 | 74 | 0.0064557 | 0.0016179 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5586-168_0_6_load_76 | 75 | 0.0057316 | 0.0014365 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5586-168_0_6_line_0 |  | 0 | 1 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5586-168_0_6_line_1 |  | 1 | 2 | 0.01586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5586-168_0_6_line_2 |  | 2 | 3 | 0.16702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5586-168_0_6_line_3 |  | 2 | 4 | 0.026747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5586-168_0_6_line_4 |  | 3 | 7 | 0.097075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5586-168_0_6_line_5 |  | 3 | 8 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5586-168_0_6_line_6 |  | 4 | 5 | 0.024062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5586-168_0_6_line_7 |  | 5 | 6 | 0.020825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5586-168_0_6_line_8 |  | 7 | 9 | 0.031629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5586-168_0_6_line_9 |  | 7 | 10 | 0.021144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5586-168_0_6_line_10 |  | 9 | 11 | 0.016243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5586-168_0_6_line_11 |  | 9 | 12 | 0.044595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5586-168_0_6_line_12 |  | 10 | 13 | 0.03672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_5586-168_0_6_line_13 |  | 11 | 26 | 0.01143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5586-168_0_6_line_14 |  | 12 | 27 | 0.028141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5586-168_0_6_line_15 |  | 13 | 22 | 0.024823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5586-168_0_6_line_16 |  | 14 | 15 | 0.052862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5586-168_0_6_line_17 |  | 15 | 16 | 0.013648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5586-168_0_6_line_18 |  | 15 | 17 | 0.022722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5586-168_0_6_line_19 |  | 16 | 18 | 0.030659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5586-168_0_6_line_20 |  | 17 | 19 | 0.029604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5586-168_0_6_line_21 |  | 19 | 20 | 0.002538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5586-168_0_6_line_22 |  | 19 | 21 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5586-168_0_6_line_23 |  | 20 | 28 | 0.020154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5586-168_0_6_line_24 |  | 21 | 24 | 0.02672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5586-168_0_6_line_25 |  | 21 | 22 | 0.028957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_5586-168_0_6_line_26 |  | 22 | 23 | 0.021069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5586-168_0_6_line_27 |  | 23 | 25 | 0.02706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5586-168_0_6_line_28 |  | 24 | 29 | 0.036597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5586-168_0_6_line_29 |  | 25 | 30 | 0.030288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5586-168_0_6_line_30 |  | 26 | 75 | 0.015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5586-168_0_6_line_31 |  | 27 | 74 | 0.026584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5586-168_0_6_line_32 |  | 29 | 35 | 0.018303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5586-168_0_6_line_33 |  | 29 | 36 | 0.038465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5586-168_0_6_line_34 |  | 30 | 31 | 0.019941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5586-168_0_6_line_35 |  | 30 | 32 | 0.005229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5586-168_0_6_line_36 |  | 32 | 33 | 0.014638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5586-168_0_6_line_37 |  | 32 | 34 | 0.050198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5586-168_0_6_line_38 |  | 34 | 68 | 0.047817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5586-168_0_6_line_39 |  | 36 | 37 | 0.013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5586-168_0_6_line_40 |  | 36 | 38 | 0.091277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5586-168_0_6_line_41 |  | 36 | 39 | 0.019252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5586-168_0_6_line_42 |  | 37 | 42 | 0.0024764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5586-168_0_6_line_43 |  | 38 | 40 | 0.046244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_5586-168_0_6_line_44 |  | 38 | 41 | 0.0098972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_5586-168_0_6_line_45 |  | 39 | 43 | 0.0099203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5586-168_0_6_line_46 |  | 40 | 44 | 0.0023796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5586-168_0_6_line_47 |  | 40 | 45 | 0.018027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_5586-168_0_6_line_48 |  | 41 | 49 | 0.0060719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_5586-168_0_6_line_49 |  | 43 | 50 | 0.0088423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5586-168_0_6_line_50 |  | 45 | 48 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_5586-168_0_6_line_51 |  | 46 | 47 | 0.022594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_5586-168_0_6_line_52 |  | 46 | 48 | 0.023685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_5586-168_0_6_line_53 |  | 47 | 51 | 0.034572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_5586-168_0_6_line_54 |  | 49 | 69 | 0.021628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_5586-168_0_6_line_55 |  | 51 | 52 | 0.062699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_5586-168_0_6_line_56 |  | 52 | 53 | 0.014852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_5586-168_0_6_line_57 |  | 52 | 54 | 0.036513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5586-168_0_6_line_58 |  | 53 | 55 | 0.0055798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_5586-168_0_6_line_59 |  | 54 | 63 | 0.013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5586-168_0_6_line_60 |  | 55 | 59 | 0.031355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_5586-168_0_6_line_61 |  | 56 | 57 | 0.006939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_5586-168_0_6_line_62 |  | 56 | 58 | 0.10076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5586-168_0_6_line_63 |  | 56 | 59 | 0.043283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_5586-168_0_6_line_64 |  | 57 | 62 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5586-168_0_6_line_65 |  | 57 | 60 | 0.093448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_5586-168_0_6_line_66 |  | 58 | 64 | 0.001223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5586-168_0_6_line_67 |  | 60 | 61 | 0.063901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5586-168_0_6_line_68 |  | 62 | 65 | 0.030017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5586-168_0_6_line_69 |  | 66 | 67 | 0.013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5586-168_0_6_line_70 |  | 67 | 71 | 0.0035334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5586-168_0_6_line_71 |  | 69 | 70 | 0.00054758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_5586-168_0_6_line_72 |  | 70 | 71 | 0.015815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_5586-168_0_6_line_73 |  | 72 | 73 | 0.015498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5586-168_0_6_line_74 |  | 73 | 74 | 0.021169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5586-168_0_6_trafo_53 | 0.63 MVA 20/0.4 kV | 76 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2538408.3344 | 1154788.3102 | 2538394.8161 | 1154790.3659
1 | 2538408.3344 | 1154788.3102 | 2538423.592 | 1154792.7896
2 | 2538333.7164 | 1154854.6669 | 2538342.7453 | 1154854.6854 | 2538364.0156 | 1154853.8001 | 2538367.7694 | 1154853.3169 | 2538372.6404 | 1154851.8106 | 2538377.5248 | 1154849.3703 | 2538417.6952 | 1154826.6795 | 2538429.4481 | 1154820.0333 | 2538442.3622 | 1154812.1634 | 2538453.9696 | 1154806.2858 | 2538450.9749 | 1154802.2476 | 2538449.1702 | 1154799.8092 | 2538423.592 | 1154792.7896
3 | 2538423.592 | 1154792.7896 | 2538433.4091 | 1154767.9089
4 | 2538297.4307 | 1154766.3581 | 2538300.949 | 1154773.5592 | 2538306.105 | 1154784.1231 | 2538324.6763 | 1154813.215 | 2538328.7267 | 1154823.6902 | 2538331.2693 | 1154832.2465 | 2538333.0549 | 1154841.0441 | 2538333.7387 | 1154847.8741 | 2538333.7164 | 1154854.6669
5 | 2538333.7164 | 1154854.6669 | 2538332.6706 | 1154862.6375 | 2538331.4004 | 1154866.9901
6 | 2538419.8957 | 1154750.2488 | 2538424.1072 | 1154759.2328 | 2538429.0494 | 1154767.6645 | 2538433.4091 | 1154767.9089
7 | 2538419.8957 | 1154750.2488 | 2538425.5005 | 1154735.0165 | 2538429.5088 | 1154732.7723
8 | 2538297.4307 | 1154766.3581 | 2538296.5687 | 1154764.5882 | 2538289.5345 | 1154744.4495 | 2538287.7785 | 1154736.3076
9 | 2538297.4307 | 1154766.3581 | 2538277.4554 | 1154773.2902
10 | 2538287.7785 | 1154736.3076 | 2538281.1682 | 1154738.0097 | 2538272.2024 | 1154740.8888
11 | 2538287.7785 | 1154736.3076 | 2538283.9118 | 1154718.3375 | 2538283.6324 | 1154715.0386 | 2538281.7246 | 1154692.215
12 | 2538242.3407 | 1154773.5894 | 2538248.324 | 1154773.433 | 2538269.9715 | 1154769.6752 | 2538273.2789 | 1154771.2754 | 2538276.3031 | 1154773.6901 | 2538277.4554 | 1154773.2902
13 | 2538261.3194 | 1154744.3837 | 2538272.2024 | 1154740.8888
14 | 2538281.7246 | 1154692.215 | 2538281.612 | 1154690.8684 | 2538282.5188 | 1154664.0938
15 | 2538217.6795 | 1154772.0916 | 2538224.3071 | 1154773.5576 | 2538238.5076 | 1154773.6895 | 2538242.3407 | 1154773.5894
16 | 2538254.2134 | 1154834.4278 | 2538278.3949 | 1154842.884 | 2538286.0137 | 1154839.2927 | 2538291.9108 | 1154821.4189
17 | 2538254.2134 | 1154834.4278 | 2538258.0059 | 1154821.3176
18 | 2538254.2134 | 1154834.4278 | 2538247.4539 | 1154832.0626 | 2538239.6466 | 1154827.0179 | 2538233.6272 | 1154825.2797
19 | 2538258.6375 | 1154793.1822 | 2538263.9546 | 1154800.7539 | 2538258.0059 | 1154821.3176
20 | 2538205.1857 | 1154817.0667 | 2538233.6272 | 1154825.2797
21 | 2538205.1857 | 1154817.0667 | 2538204.4205 | 1154819.487
22 | 2538205.1857 | 1154817.0667 | 2538210.4732 | 1154800.1254
23 | 2538204.4205 | 1154819.487 | 2538185.1547 | 1154813.5697
24 | 2538210.4732 | 1154800.1254 | 2538187.3289 | 1154786.7724
25 | 2538217.6795 | 1154772.0916 | 2538215.7447 | 1154780.8719 | 2538212.2986 | 1154794.1256 | 2538210.4732 | 1154800.1254
26 | 2538217.6795 | 1154772.0916 | 2538221.2914 | 1154754.0781 | 2538221.7827 | 1154751.4267
27 | 2538225.7741 | 1154724.6663 | 2538222.6287 | 1154746.8604 | 2538221.7827 | 1154751.4267
28 | 2538155.6292 | 1154768.4834 | 2538187.3289 | 1154786.7724
29 | 2538230.024 | 1154694.6783 | 2538225.7741 | 1154724.6663
30 | 2538262.1573 | 1154759.1091 | 2538259.8808 | 1154750.7019 | 2538259.2509 | 1154748.3738 | 2538261.3194 | 1154744.3837 | 2538261.3194 | 1154744.3837
31 | 2538282.5188 | 1154664.0938 | 2538282.589 | 1154662.0205 | 2538283.6159 | 1154640.2648 | 2538283.8796 | 1154637.548
32 | 2538155.6292 | 1154768.4834 | 2538147.4825 | 1154784.8733
33 | 2538147.7183 | 1154742.2172 | 2538164.5588 | 1154751.3823 | 2538155.6292 | 1154768.4834
34 | 2538230.024 | 1154694.6783 | 2538223.1248 | 1154692.9149 | 2538211.7682 | 1154686.967
35 | 2538230.7532 | 1154689.5013 | 2538230.024 | 1154694.6783
36 | 2538217.1377 | 1154684.3607 | 2538224.0405 | 1154687.9695 | 2538230.7532 | 1154689.5013
37 | 2538230.7532 | 1154689.5013 | 2538237.8003 | 1154639.8008
38 | 2538244.5132 | 1154592.4573 | 2538237.8003 | 1154639.8008
39 | 2538147.7183 | 1154742.2172 | 2538153.6362 | 1154729.5371
40 | 2538145.8842 | 1154694.4658 | 2538150.526 | 1154699.7542 | 2538171.2414 | 1154719.4406 | 2538174.095 | 1154723.1577 | 2538175.7824 | 1154726.1198 | 2538176.1457 | 1154729.3622 | 2538175.6829 | 1154732.8466 | 2538164.5588 | 1154751.3823 | 2538147.7183 | 1154742.2172
41 | 2538147.7183 | 1154742.2172 | 2538138.3335 | 1154759.0268
42 | 2538154.6835 | 1154727.293 | 2538153.6362 | 1154729.5371
43 | 2538107.2136 | 1154719.7665 | 2538117.2243 | 1154712.3038 | 2538120.5249 | 1154710.2687 | 2538141.0902 | 1154697.4945 | 2538145.8842 | 1154694.4658
44 | 2538145.8842 | 1154694.4658 | 2538147.9482 | 1154693.0215 | 2538150.5161 | 1154690.5938 | 2538153.1432 | 1154687.7872
45 | 2538138.3335 | 1154759.0268 | 2538133.4976 | 1154767.6886 | 2538133.4976 | 1154767.6886
46 | 2538107.2136 | 1154719.7665 | 2538105.3055 | 1154721.1885
47 | 2538107.2136 | 1154719.7665 | 2538103.9781 | 1154714.7304 | 2538103.1136 | 1154711.2374 | 2538102.1049 | 1154702.8552
48 | 2538153.1432 | 1154687.7872 | 2538154.6666 | 1154686.1598 | 2538156.8044 | 1154682.9666
49 | 2538134.6085 | 1154776.3521 | 2538134.4067 | 1154776.2616 | 2538133.4976 | 1154767.6886
50 | 2538100.4625 | 1154689.2083 | 2538102.1049 | 1154702.8552
51 | 2538124.1847 | 1154687.9856 | 2538125.1344 | 1154683.3733 | 2538124.6155 | 1154665.4958
52 | 2538124.1847 | 1154687.9856 | 2538100.4625 | 1154689.2083
53 | 2538123.6123 | 1154630.9383 | 2538124.6155 | 1154665.4958
54 | 2538167.2152 | 1154664.0151 | 2538157.4846 | 1154681.9507 | 2538156.8044 | 1154682.9666
55 | 2538092.9581 | 1154598.2029 | 2538093.2009 | 1154623.2473 | 2538093.8263 | 1154631.0896 | 2538123.6123 | 1154630.9383
56 | 2538093.7489 | 1154583.3756 | 2538092.9581 | 1154598.2029
57 | 2538092.9581 | 1154598.2029 | 2538056.542 | 1154600.8672
58 | 2538093.7489 | 1154583.3756 | 2538094.0468 | 1154577.8037
59 | 2538056.542 | 1154600.8672 | 2538042.9021 | 1154601.8651
60 | 2538099.9181 | 1154547.038 | 2538097.6864 | 1154556.0424 | 2538094.1605 | 1154575.6783 | 2538094.0468 | 1154577.8037
61 | 2538112.4815 | 1154498.4143 | 2538110.7171 | 1154505.125
62 | 2538010.4352 | 1154516.1867 | 2538020.7232 | 1154515.5024 | 2538102.2348 | 1154504.6009 | 2538110.7171 | 1154505.125
63 | 2538110.7171 | 1154505.125 | 2538103.2471 | 1154533.6063 | 2538099.9181 | 1154547.038
64 | 2538112.4815 | 1154498.4143 | 2538103.9611 | 1154498.6688 | 2538096.1942 | 1154499.0016
65 | 2538102.1702 | 1154431.3285 | 2538121.0768 | 1154433.2015 | 2538128.9088 | 1154433.8879 | 2538125.2649 | 1154448.7891 | 2538123.0268 | 1154457.9171 | 2538113.8027 | 1154493.3757 | 2538112.4815 | 1154498.4143
66 | 2538010.4352 | 1154516.1867 | 2538009.2165 | 1154516.2893
67 | 2538102.1702 | 1154431.3285 | 2538094.0144 | 1154430.4898 | 2538073.8808 | 1154430.8974 | 2538057.239 | 1154428.4454 | 2538048.0352 | 1154420.4581 | 2538047.9675 | 1154413.9016
68 | 2538066.2048 | 1154500.2863 | 2538096.1942 | 1154499.0016
69 | 2538183.3406 | 1154634.2926 | 2538176.7031 | 1154646.527
70 | 2538175.0181 | 1154649.6328 | 2538176.7031 | 1154646.527
71 | 2538167.4763 | 1154663.5338 | 2538167.2152 | 1154664.0151
72 | 2538175.0181 | 1154649.6328 | 2538167.4763 | 1154663.5338
73 | 2538285.9246 | 1154616.4782 | 2538286.2103 | 1154613.5348 | 2538288.6226 | 1154601.2282
74 | 2538283.8796 | 1154637.548 | 2538285.9246 | 1154616.4782

## bus_geodata
| x | y | coords
0 | 2538394.8161 | 1154790.3659
1 | 2538408.3344 | 1154788.3102
2 | 2538423.592 | 1154792.7896
3 | 2538333.7164 | 1154854.6669
4 | 2538433.4091 | 1154767.9089
5 | 2538419.8957 | 1154750.2488
6 | 2538429.5088 | 1154732.7723
7 | 2538297.4307 | 1154766.3581
8 | 2538331.4004 | 1154866.9901
9 | 2538287.7785 | 1154736.3076
10 | 2538277.4554 | 1154773.2902
11 | 2538272.2024 | 1154740.8888
12 | 2538281.7246 | 1154692.215
13 | 2538242.3407 | 1154773.5894
14 | 2538291.9108 | 1154821.4189
15 | 2538254.2134 | 1154834.4278
16 | 2538258.0059 | 1154821.3176
17 | 2538233.6272 | 1154825.2797
18 | 2538258.6375 | 1154793.1822
19 | 2538205.1857 | 1154817.0667
20 | 2538204.4205 | 1154819.487
21 | 2538210.4732 | 1154800.1254
22 | 2538217.6795 | 1154772.0916
23 | 2538221.7827 | 1154751.4267
24 | 2538187.3289 | 1154786.7724
25 | 2538225.7741 | 1154724.6663
26 | 2538261.3194 | 1154744.3837
27 | 2538282.5188 | 1154664.0938
28 | 2538185.1547 | 1154813.5697
29 | 2538155.6292 | 1154768.4834
30 | 2538230.024 | 1154694.6783
31 | 2538211.7682 | 1154686.967
32 | 2538230.7532 | 1154689.5013
33 | 2538217.1377 | 1154684.3607
34 | 2538237.8003 | 1154639.8008
35 | 2538147.4825 | 1154784.8733
36 | 2538147.7183 | 1154742.2173
37 | 2538153.6362 | 1154729.5371
38 | 2538145.8842 | 1154694.4658
39 | 2538138.3335 | 1154759.0268
40 | 2538107.2136 | 1154719.7665
41 | 2538153.1432 | 1154687.7872
42 | 2538154.6835 | 1154727.293
43 | 2538133.4976 | 1154767.6886
44 | 2538105.3055 | 1154721.1885
45 | 2538102.1049 | 1154702.8552
46 | 2538124.1847 | 1154687.9856
47 | 2538124.6155 | 1154665.4958
48 | 2538100.4625 | 1154689.2083
49 | 2538156.8044 | 1154682.9666
50 | 2538134.6085 | 1154776.3521
51 | 2538123.6123 | 1154630.9383
52 | 2538092.9581 | 1154598.2029
53 | 2538093.7489 | 1154583.3756
54 | 2538056.542 | 1154600.8672
55 | 2538094.0468 | 1154577.8037
56 | 2538110.7171 | 1154505.125
57 | 2538112.4815 | 1154498.4143
58 | 2538010.4352 | 1154516.1867
59 | 2538099.9181 | 1154547.038
60 | 2538102.1702 | 1154431.3285
61 | 2538047.9675 | 1154413.9016
62 | 2538096.1942 | 1154499.0016
63 | 2538042.9021 | 1154601.8651
64 | 2538009.2165 | 1154516.2893
65 | 2538066.2048 | 1154500.2863
66 | 2538183.3406 | 1154634.2926
67 | 2538176.7031 | 1154646.527
68 | 2538244.5132 | 1154592.4573
69 | 2538167.2152 | 1154664.0151
70 | 2538167.4763 | 1154663.5338
71 | 2538175.0181 | 1154649.6328
72 | 2538288.6226 | 1154601.2282
73 | 2538285.9246 | 1154616.4782
74 | 2538283.8796 | 1154637.548
75 | 2538262.1573 | 1154759.1091
76 | 2538145.8842 | 1154694.4658

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1